136 FERC ¶ 61,213

UNITED STATES OF AMERICA

FEDERAL ENERGY REGULATORY COMMISSION

Before Commissioners:  Jon Wellinghoff, Chairman;

Marc Spitzer, Philip D. Moeller,

John R. Norris, and Cheryl A. LaFleur.

TC Ravenswood, LLC	Docket Nos. ER11-4200-000

ER11-4200-001

ORDER ON WAIVER REQUESTS AND REQUEST FOR SETTLEMENT 
	CONFERENCE

(Issued September 27, 2011)

1. 	On August 2, 2011, TC Ravenswood, LLC (Ravenswood) filed a request for

waivers of certain of the New York Independent System Operator, Inc. (NYISO)

requirements applicable to Black Start and System Restoration Services (Black Start

Services) under NYISO’s Market Administration and Control Area Services Tariff

(Services Tariff).  Ravenswood also requested that the Commission convene a settlement 
conference to provide Ravenswood, NYISO, and the Consolidated Edison Company of 
New York, Inc. (Con Edison) the opportunity to try to reach agreement on revised 
Black Start testing procedures.  On August 26, 2011, Ravenswood amended its 
August 2, 2011 Filing in order to withdraw its request for one of the initially 
requested waivers and its request that a settlement conference be convened.1  On 
September 2, 2011, NYISO filed an answer in opposition to Ravenswood’s 
August 26, 2011 Amendment and also filed a request for a waiver of the Black Start 
commitment period and withdrawal provisions in section 15.5.3.1 of its Services Tariff. 
In this order, the Commission denies Ravenswood’s remaining request for a waiver and 
also denies NYISO’s requested waiver.

1 On August 26, 2011, Ravenswood filed a second amendment to its

August 2, 2011 pleading in order to replace a draft affidavit inadvertently included in that pleading with a final version of that affidavit.

Docket Nos. ER11-4200-000 and ER11-4200-001	- 2 -

Background

2. 	A system restoration plan that includes Black Start generators is a North American 
Electric Reliability Corporation (NERC) requirement for registered transmission 
operators.2  NYISO is the registered transmission operator in New York.  In addition 
to the generators identified in the NYISO plan, additional generators are included in 
Con Edison’s system restoration plan.3  Section 15.5 of the NYISO Services Tariff 
provides for payments and certain charges for Black Start Services, including payments 
to generators that are part of individual transmission owner plans, specifically those listed 
in Con Edison’s plan.  Under section 15.5.3, selected generators receive annual 
compensation for providing the Con Edison local transmission system with Black Start 
Services based on the unit type and the level of interconnection to the Con Edison local 
transmission system.  In order to qualify for payments, a generator must conduct tests that 
are deemed necessary and appropriate under the ISO procedures or local transmission 
owner procedures.4  NYISO’s Services Tariff provides that under the Consolidated 
Edison Plan, generators identified in the plan are eligible for Black Start payments 
only if, annually, they successfully test all necessary equipment in compliance with the 
Con Edison testing criteria.5

3. 	Section 15.5.3.1 of the Services Tariff provides that eligible generators must

commit to providing Black Start Services for a minimum period of three years, but, at the 
end of the second year, they may give notice of their intent to withdraw at the end of the 
initial three year period.  For subsequent periods, they may provide one year’s advance 
notice of withdrawal at the end of every subsequent two-year period, so that a rolling 
three-year commitment is maintained.  Ravenswood has provided Black Start Service

2 NERC Reliability Standard EOP-005-2 addresses the requirements of registered 
Transmission Operators as it pertains to Black Start plans.  The Standard is available at: 
http://www.nerc.com/files/EOP-005-2.pdf

3 According to the NYISO, “[b]lack start capability represents the key Generators that, following a system-wide blackout, can start without the availability of an outside electric supply and are available to participate in system restoration activities that are under the control of the NYISO or, in some cases, under local Transmission Owner 
Control.  If a partial or system-wide blackout occurs, these units assist in the restoration of the New York Control Area (NYCA).”  NYISO Ancillary Services Manual at 7-1, Version 3.20, revised 5/16/2011, available at

http://www.nyiso.com/public/webdocs/documents/manuals/operations/ancserv.pdf.

4 NYISO Services Tariff, section 15.5.2.

5 NYISO Services Tariff, section 15.5, Rate Schedule 5, Appendix 1.

Docket Nos. ER11-4200-000 and ER11-4200-001	- 3 -

from certain generation units for several years.  However, on September 8, 2010, Ravenswood gave notice under section 15.5.3.1 to terminate its Black Start Service effective September 30, 2011.

Notice of Filings and Responsive Pleadings

4. 	Notice of Ravenswood’s August 2, 2011 Filing was published in the Federal 
Register, 76 Fed. Reg. 49,467 (2011), with interventions and protests due on or before 
August 23, 2011.  NRG Companies6 and Astoria Generating Company, L.P. filed 
motions to intervene.  On August 5, 2011, NYISO filed a motion to intervene and 
comments.  On August 12, 2011, Con Edison filed a motion to intervene and comments. 
The New York State Public Service Commission (New York Commission) filed a notice 
of intervention.

5. 	Notice of Ravenswood’s August 26, 2011 Amendments to its August 2, 2011

Filing was published in the Federal Register, 76 Fed. Reg. 55,372 (2011) with

interventions and protests due on or before September 16, 2011.  On September 2, 2011, 
NYISO filed an answer in opposition to Ravenswood’s August 26, 2011 Filing and a 
request for waiver of the NYISO Services Tariff.  Notice of NYISO’s filing was 
published with comments due on or before September 13, 2011.  On September 13, 2011, 
Ravenswood filed a response in opposition to NYISO’s September 2, 2011 Filing.  On 
September 14, 2011, Astoria Generating Company, L.P. (Astoria) filed an answer out-of-
time in opposition to NYISO’s September 2, 2011 Filing.  On September 16, 2011, the 
New York Transmission Owners7 filed a motion to intervene, and the City of 
New York filed a motion to intervene and comments on Ravenswood’s August 26, 2011 
Filing.

6. 	Pursuant to Rule 214 of the Commission’s Rules of Practice and Procedure,

18 C.F.R. § 385.214 (2011), the notice of intervention and timely, unopposed motions to intervene serve to make the entities that filed them parties to this proceeding.  Further, we accept Astoria’s late-filed answer, given its interest in the proceeding and the absence of undue prejudice or delay.

6 For purposes of this filing, the NRG Companies are NRG Power Marketing LLC, Arthur Kill Power LLC, Astoria Gas Turbine Power LLC, Dunkirk Power LLC, Huntley Power LLC, and Oswego Harbor Power LLC.

7 For purposes of this filing, the New York Transmission Owners are Central

Hudson Gas & Electric Corporation, Consolidated Edison Company of New York, Inc., Long Island Power Authority, New York Power Authority, New York State Electric & Gas Corporation, Niagara Mohawk Power Corporation d/b/a National Grid, Orange and Rockland Utilities, Inc., and Rochester Gas and Electric Corporation.

Docket Nos. ER11-4200-000 and ER11-4200-001	- 4 -

Summary of Ravenswood’s August 2, 2011 Filing

7. 	In its August 2, 2011 Filing, Ravenswood sought waiver of the testing

requirements of section 15.5.3.1 and Rate Schedule 5, Appendix I, of the Services Tariff, as well as waiver of the three-year commitment period and one-year notice requirements of section 15.5.3.1.  Ravenswood stated that, currently, Ravenswood Gas Turbines and 
Steam Units 10, 20, and 30 participate in the NYISO Services Tariff Black Start 
Program.  Ravenswood added, however, that on September 8, 2010, it submitted notices to withdraw those specific units, which, without the granting of a waiver, will become 
effective on September 30, 2011.

8. 	Ravenswood stated that on March 11, 2011, its Unit 30 performed a Black Start 
test, and it successfully completed the testing sequence, although it did so in eight hours 
and twenty-seven minutes, taking twenty-seven minutes longer than the time provided by the testing protocols set forth in the NYISO Services Tariff.  Ravenswood added that 
completion of the test was delayed by issues related to field locking, which it asserts are 
not directly related to Black Start Service.  According to Ravenswood, it determined that the field locking8 issue was caused by a faulty relay, which has since been replaced. 
Ravenswood stated that its other units were successfully within the test parameters set 
forth in the NYISO Services Tariff.

9. 	Ravenswood stated that beginning approximately two years ago, it raised concerns 
to NYISO, Con Edison, and the New York State Reliability Council (NYSRC) regarding 
the scheduling and testing requirements for Black Start Services.  Ravenswood further 
stated that its concerns were with scheduling difficulties and excessive cycling of the 
large steam facilities in the context of general operations and Black Start testing 
requirements.  Ravenswood contended that the steam units were not designed to be 
operated as peaking facilities that can be cycled on and off in the manner contemplated 
by recent dispatch orders or Black Start testing criteria.  Ravenswood added that this 
is particularly true of its Unit 30, which experienced a cracked generator rotor in 
September 2008 shortly after performing a Dependable Maximum Net Capability test.

10. 	Ravenswood further stated that it commenced discussions with NYISO,

Con Edison and the NYSRC with the objective of developing revised testing procedures 
for steam units that would allow those plants to remain in the Black Start Program while

8 TC Ravenswood Filing, Attachment 2, “Schaub Affidavit” at 3.  According to Mr. Schaub, “Field locking is the closure of the field excitation breakers at the precise moment to ensure that Pole 1 of the [high pressure] generator is in phase with the 
corresponding pole of the [low pressure] generator.”  It is required whenever a unit is being put on line and is not directly related to performing a black start.

Docket Nos. ER11-4200-000 and ER11-4200-001	- 5 -

mitigating the potential for the tests to cause serious equipment damage.  Since no

agreement has been reached regarding these discussions, Ravenswood stated that it was 
compelled to provide NYISO, on September 8, 2010, the advance notice required by 
section 15.5.3.1 of the NYISO Services Tariff that Units 10, 20, and 30 would cease 
participation in the Black Start Program after September 30, 2011.  Ravenswood stated 
that, despite this notification, it continued to discuss possible test revisions and was not 
seeking to cease providing Black Start Service entirely, nor was it suggesting that its 
large steam units should not undergo some form of testing regime.  Ravenswood added 
however, that it believes that the testing regimen must be one that is based upon, and is

consistent with, its operational protocols and the equipment design of its units, rather than a “one-size-fits-all” type of test.

11. 	Ravenswood requested a waiver of the testing requirements under section 15.5.3.1 
of the NYISO Services Tariff and Rate Schedule 5, Appendix 1, and the three-year 
commitment of section 15.5.3.1.  Ravenswood requested these waivers for a period 
extending through April 30, 2012.  Ravenswood stated that the requested waivers would 
allow Unit 30 to remain qualified as a Black Start Service provider despite exceeding the 
times allowed under the NYISO tariff during its most recent Black Start Service test. 
Ravenswood also stated that the waivers would allow Units 10, 20, and 30 to remain in 
the Black Start Program through April 30, 2012, during settlement discussions and 
without Ravenswood having to assume a three-year commitment or having to satisfy 
additional testing requirements during this time.  In addition, Ravenswood stated that if a 
testing regimen was not agreed upon during settlement discussions, Ravenswood would 
exit the program on May 1, 2012, pursuant to the terms of the Services Tariff.

12. 	Ravenswood argued that the Commission has previously granted tariff waivers

where:  (i) a concrete problem needs to be remedied; (ii) the entity seeking the waiver

acted in good faith; (iii) the waiver is of a limited scope; and (iv) the waiver will not have undesirable consequences.9  Ravenswood asserted that its requested waivers satisfy these factors in that: (i) Ravenswood is withdrawing its steam units from the Black Start 
Program on September 30, 2011, because of operational concerns surrounding the testing requirements; (ii) Ravenswood, NYISO and Con Edison have each acted in good faith in attempting to reach a resolution of this matter; (iii) the scope of the waiver request is 
limited to allowing Unit 30 to remain qualified and allowing Units 10, 20, and 30 to 
remain in the Black Start Program through April 30, 2012 without having to assume a 
three-year commitment or satisfy additional testing requirements during this time; and 
(iv) the Commission’s granting these waivers will have no undesirable consequences but rather, will have a positive impact on reliability.

9 Ravenswood August 2, 2011 Filing at 8-9 (citing ISO New England, Inc., 117 FERC ¶ 61,171, at P 21 (2006).

Docket Nos. ER11-4200-000 and ER11-4200-001	- 6 -

13. 	In addition to requesting waivers, Ravenswood requested that the Commission 
convene a settlement conference to provide the parties the opportunity, with the 
assistance of a Commission settlement judge, to try to agree to revised testing 
procedures that will enable Ravenswood to remain in the Black Start Program beyond 
April 30, 2012.

Comments in Support of Ravenswood’s August 2, 2011 Filing

14. 	In its August 5, 2011 comments to Ravenswood’s August 2, 2011 Filing, NYISO 
stated that it supports the requested waivers as they provide the parties with more time to 
develop and implement revisions to the Black Start requirements in the NYISO tariffs 
with the objective of retaining the Ravenswood units in the Black Start Program beyond 
April 30, 2012.  NYISO stated that Ravenswood has notified NYISO and Con Edison of 
its intent to withdraw its units from their participation in the Black Start Program at the 
conclusion of the current three-year commitment period ending on September 30, 2011, 
and that the notice was provided in large part due to Ravenswood’s concerns regarding 
the strain that the annual Black Start capability tests place on the aging Ravenswood

units.

15. 	NYISO asserted that NYISO and Con Edison have identified significant reliability 
concerns regarding the adequacy of the Con Edison portion of the Black Start Program if 
the Ravenswood units withdraw as indicated.  NYISO explained that the large size of the 
Ravenswood units, which together are 1,827 MW, along with their strategic location, 
enables these units to pick up large increments of load, provide voltage support, and 
assist in stabilizing the local transmission system of the Con Edison service territory 
during a system restoration process.  NYISO added that there are not currently any units 
located in the Con Edison service territory that can replace the Ravenswood Units and 
provide comparable Black Start capability.  Moreover, NYISO stated that it will be at 
least two years before alternative Black Start resources will become available.

16. 	NYISO stated that based on discussions with Ravenswood, Con Edison, and other 
generators participating in the Black Start Program, it has identified an initial package of 
potential enhancements, intended to address certain operational issues identified by 
Ravenswood and other generators and to enhance the ability of Con Edison and NYISO 
to procure and retain Black Start resources.  NYISO added, however, that 
notwithstanding extensive discussions, the parties will not be able to complete the 
ongoing discussions and development of the tariff revisions by the scheduled withdrawal 
of the Ravenswood Units on September 30, 2011.  Thus, NYISO supported 
Ravenswood’s initial request for tariff waivers and contends that the parties could suffer 
undesirable consequences if the waivers are not granted and the tariff requirements are 
not revised in a manner that facilitates continued participation of the Ravenswood Units 
in the Con Edison portion of the New York Restoration Program.

Docket Nos. ER11-4200-000 and ER11-4200-001	- 7 -

17. 	In addition, NYISO stated that it supports Ravenswood’s waiver request to accept 
the Ravenswood Unit 30 test results, a waiver that would allow Unit 30 to remain 
qualified to participate in the Black Start Program through April 30, 2012, without being 
required to re-test prior to that date.   NYISO also stated that it supports Ravenswood’s 
initial request for the Commission to convene a settlement conference as a mechanism for 
facilitating the implementation of revisions to the Black Start Program requirements 
before April 30, 2012, and NYISO specifically requested expedited appointment of a 
settlement judge.

18. 	In its comments on Ravenswood’s August 2, 2011 Filing, Con Edison stated that it does not oppose Ravenswood’s request for the two waivers and that it supports 
Ravenswood’s request for the Commission to convene a settlement conference.

Ravenswood’s August 26, 2011 Amendment to Its Filing

19. 	On August 26, 2011, Ravenswood filed an amendment to its August 2, 2011 
Filing.  The amendment withdraws Ravenswood’s request for a waiver of the Services 
Tariff requirement of a three-year commitment period for the Black Start Program. 
The amendment also withdraws Ravenswood’s request for a settlement conference. 
Ravenswood states that it will withdraw from the Black Start Program on 
September 30, 2011, as outlined in a September 8, 2010 notice it provided to NYISO and Con Edison.  Ravenswood further states that it is not withdrawing its request to waive the eight hour testing requirement and continues to seek expedited treatment no later than 
September 30, 2011, with respect to this request.

20. 	Ravenswood states that beyond its concerns respecting testing requirements, and 
in light of positions taken by parties in Docket No. EL11-50-000,10 its withdrawal from 
the Black Start Program is now additionally due to financial concerns related to future 
capacity compensation under the Services Tariff.  Ravenswood asserts that capacity 
under NYISO’s Services Tariff is not adequately compensated and such compensation 
could be reduced to near zero levels in the near future.  Ravenswood states that with this 
likelihood and indications from certain market participants that they think existing 
resources should retire, it cannot commit to provide Black Start service, or any

10 In Docket No. EL11-50-000, Ravenswood is one of a number of Complainants asserting that NYISO improperly implemented its market power mitigation rules in the installed capacity market in the New York City capacity zone, with respect to its failure to mitigate at least two new facilities.  Complainants assert that this failure resulted in a 50 percent decrease in the market clearing price over the prior month and, if 
left unchecked will drive prices to close to zero.  Ravenswood, et al., Docket 
No. EL11-50-000, Complaint at 2 (filed July 11, 2011).

Docket Nos. ER11-4200-000 and ER11-4200-001	- 8 -

incremental service, on a forward basis because of uncertainty whether available market revenues will support continued operation of the underlying capacity.

21. 	Ravenswood states that its concerns are exacerbated by a petition Con Edison filed on August 12, 2011, with the New York Commission seeking a declaratory order that obligates Black Start service providers to obtain the New York Commission’s written consent before terminating Black Start service.11

NYISO’s September 2, 2011 Answer to Ravenswood’s Amended Filing

22. 	In its September 2, 2011 Answer to Ravenswood’s August 26, 2011 Filing,

NYISO argues that good cause exists for the Commission to reject Ravenswood’s

proposed amendments to its filing.  NYISO asserts that withdrawal of the Ravenswood 
units at this time could result in significant harm to the robustness of the Black Start 
Program, such that New York City’s ability to recover in a timely manner from a 
blackout could be threatened.  NYISO states that NYISO and Con Edison would still be 
capable of restoring electric service to New York City in a manner that meets applicable 
reliability requirements, but the absence of the Ravenswood units would delay the 
restoration process at significant cost and inconvenience to New York City.  NYISO 
states that the total 1,827 MW of the Ravenswood units, along with their strategic 
location, enables these units to pick up large increments of load, provide voltage support, 
and assist in stabilizing the local transmission system of the Con Edison service territory. 
NYISO adds that currently there are no units located in the Con Edison service territory 
that can replace the Ravenswood units and provide comparable Black Start service and 
that NYISO anticipates it will be at least two years before alternative Black Start 
resources will become available.12

23. 	NYISO contends that Ravenswood is adequately compensated for its participation 
in the Black Start Program and has provided no evidence that it will suffer financial harm 
if its participation is extended beyond September 30, 2011.  NYISO argues that 
Ravenswood’s claim that it cannot commit to participation in the Black Start Program 
due to concerns regarding its capacity compensation is inconsistent with its previously 
stated position that its request for waivers was not related to the compensation paid for

11 The Con Edison petition is provided at Attachment 2 to Ravenswood’s August 26, 2011 Filing.

12 NYISO states that Ravenswood has previously indicated that it will continue to provide Black Start service in the event of an actual blackout regardless of whether it remains in the Black Start Program beyond September 30, 2011 but NYISO and 
Con Edison must maintain Black Start plans that specify the Black Start resources upon which they will rely.  NYISO September 2, 2011 Filing at 14.

Docket Nos. ER11-4200-000 and ER11-4200-001	- 9 -

Black Start service and where it did not identify other financial concerns.  NYISO adds 
that Ravenswood informed the New York Commission as late as August 19, 2011, that it 
was seeking waivers from the Commission to extend its participation in the Black Start 
Program and it has provided no information indicating a changed circumstance regarding 
capacity or capacity compensation that occurred between August 19 and its August 26 
amended filing; nor has it indicated any reason why it cannot continue to participate in 
the Black Start Program while its separate complaint regarding application of in-City

buyer-side mitigation rules is pending before the Commission.  NYISO argues that

Ravenswood has provided no evidence of financial harm as a result of its participation in the Black Start Program.  NYISO adds that if Ravenswood’s remaining waiver request is granted, it will receive $350,000 for each of the three Ravenswood units, and moreover, would be able to recover annual testing, training, and equipment damage costs.

24. 	NYISO states that, nevertheless, it is aware that the compensation mechanism for 
the Black Start Program was last reviewed in 2005 and may need to be updated in the 
future.  NYISO further states that it has included as part of its package of proposed 
enhancements to the program, a potential update of the set annual payment amount, along 
with provisions for recovery of additional costs incurred by a generator in connection 
with its participation in the Black Start program.  NYISO believes the settlement process 
initially requested by Ravenswood would be an appropriate forum for such a discussion. 
NYISO adds that, while Ravenswood hints in its August 26, 2011 Filing that it may have 
to retire the Ravenswood units, it has provided no evidence in this proceeding, or 
informed NYISO or the New York Commission, of its intent to actually retire the 
Ravenswood units.

25. 	NYISO reiterates that the Ravenswood units play a unique and important role in 
the New York Black Start Program and cannot be replaced at this time.  NYISO also 
states that, as the New York Commission noted, following the 2003 blackout, the black 
start and system restoration process in New York City was delayed in large part as a 
result of the failure of generators to start up as required due to lack of testing.

26. 	NYISO further states that the New York Commission proceeding initiated by 
Con Edison does not impair the parties’ ability to resolve their concerns regarding the 
Black Start Program through this proceeding.  NYISO adds that it believes that the 
Commission granting the requested relief is appropriate even if the New York 
Commission takes the actions requested in Con Edison’s petition.  NYISO states that the 
proceeding will not specifically address the status of the Ravenswood units but instead 
would generally address requirements for the New York Commission notice and approval 
for discontinuation of Black Start service.  NYISO believes it is appropriate to address 
the underlying NYISO tariff issues through a Commission-administered proceeding. 
NYISO states that if the Commission accepts Ravenswood’s amendments, NYISO, 
nevertheless, requests that the Commission still initiate a supervised process to

Docket Nos. ER11-4200-000 and ER11-4200-001	- 10 -

thoroughly explore Ravenswood’s concerns and that this be open to all generators that participate in the Black Start Program.

27. 	Finally, NYISO requests a waiver of the commitment period and withdrawal

provisions in section 15.5.3.1 of its Services Tariff to temporarily suspend the effective 
date of Ravenswood’s withdrawal from September 30, 2011, until April 30, 2012. 
NYISO states that this waiver, in coordination with the initiation of a settlement process 
supervised by the Commission, will provide an opportunity for NYISO, Con Edison, 
Ravenswood, and other generators participating in the Black Start Program to complete 
the development and Implementation of program enhancements, while ensuring the 
timely restoration of electric service in New York City in the event of an outage.

28. 	NYISO argues that the requested waivers satisfy those conditions under which the 
Commission has previously granted waivers, i.e., significant reliability concerns exist, 
NYISO has acted in good faith to address them, the scope of the request is limited to a 
seven-month period, and granting the request will not harm Ravenswood, which is the 
only market participant that will be directly impacted by the requested waiver. 
Moreover, according to NYISO, if the requested waivers are granted, the Ravenswood 
units will not be required to conduct another Black Start capability test during the waiver 
period, thus avoiding any possibility of equipment damage as a result of a test.

Ravenswood’s September 13, 2011 Response to NYISO’s Answer

29. 	Ravenswood argues that the relief NYISO seeks is barred by the Commission’s 
Rules of Practice and Procedure and is inconsistent with NYISO’s Services Tariff.

30. 	With respect to the Commission rules, Ravenswood asserts that it may amend its request as a matter of right, that its August 26, 2011 Amendment was effective upon filing, pursuant to Rule 215(a)(3)(i),13 and that NYISO is prohibited by Rule 215(c)14 from opposing it.  Ravenswood states that accordingly, Rules 215(a)(3)(i) and 215(c) mandate the rejection of NYISO’s September 2, 2011 Motion.

31. 	Further, Ravenswood asserts that, as it also demonstrated in the initial

August 2, 2011 Filing, section 15.5.3.1 of the NYISO Services Tariff requires denial of 
NYISO’s September 2, 2011 Motion.  It states that, according to section 15.5.3.1, a 
Black Start Service provider must “commit to be available to provide these services for 
an initial minimum period of three years.”  In addition, it states, section 15.5.3.1 provides 
that a generator may give notice at the end of the second year of the initial three-year

13 18 C.F.R. § 385.215(a)(3)(i) (2011).

14 18 C.F.R. § 385.215(c).

Docket Nos. ER11-4200-000 and ER11-4200-001	- 11 -

period that it will no longer be part of the Black Start Service effective at the end of the third year.  Ravenswood states that it did provide timely notice of its intent to withdraw as required.

32. 	Therefore, according to Ravenswood, NYISO’s September 2, 2011 Motion 
contradicts NYISO’s own tariff.  Ravenswood argues that under the tariff, it need not 
justify its operating or business decisions, or provide any justification for withdrawing 
from being a Black Start provider.  Ravenswood contends that such withdrawal is 
effective as long as Ravenswood has provided one year advance notice under section

15.5.3.1 of the NYISO Services Tariff, which Ravenswood has done.  Ravenswood adds that NYISO does not have authority to force a market participant to provide service under a waiver the market participant is not seeking, especially when the waiver requested by NYISO would convert a voluntary service into a mandatory one.

33. 	Ravenswood states that the September 2, 2011 Motion is also based on erroneous 
and serious misstatements of fact.  According to Ravenswood, NYISO’s claim that 
Ravenswood has not provided any information indicating changed circumstances, and the 
alleged basis for that claim, completely ignores the information Ravenswood provided to 
the Commission in its August 2, 2011 Filing and August 26, 2011 Amendment to the 
initial filing.  Specifically, Ravenswood states that Con Edison and New York City’s 
pleadings in Docket EL11-50, as well as Con Edison’s August 12, 2011 petition with the 
New York Commission forced Ravenswood to stand by its earlier decision to terminate 
its participation in the Black Start Program and not provide service on a forward basis 
after that date.  Moreover, Ravenswood states that although it was under no obligation to 
explain its reasons for withdrawing its request for a waiver, sufficient detail was provided 
in the August 26, 2011 Amendment that explained these post-August 2 developments as 
the basis for the amendment.

34. 	Ravenswood further contends that NYISO’s assertion that following the 2003 
blackout, “the black start and system restoration process in New York City was delayed 
in large part as a result of the failure of generators to start up as required due to lack of 
testing” is extremely misleading.  Ravenswood states that this failure had nothing to do 
with testing, but rather was due to the fact that, in 2003, Con Edison, NYISO, and 
NYSRC had not informed Black Start providers that they were, in fact, providers, and 
that they were supposed to be ready to perform Black Start service, for which they were 
not being compensated.

35. 	Finally, Ravenswood argues that the Commission should grant Ravenswood’s 
request for waiver of the 8-hour testing requirement for its Unit 30 and reject NYISO’s 
request that the Commission decline to provide that waiver if the August 26, 2011 
Amendment is accepted.  Ravenswood contends that the 8-hour testing requirement 
is independent of the other matters set forth in its August 2, 2011 Motion and 
August 26, 2011 Amendment.  Ravenswood states that NYISO is incorrect in suggesting

Docket Nos. ER11-4200-000 and ER11-4200-001	- 12 -

that the waiver of the 8-hour testing requirement is meaningless.  Ravenswood states that 
the purpose of the waiver for Unit 30 was to establish that the unit met the Black Start 
requirements for the period from May 1, 2011 through September 30, 2011.  Ravenswood 
states that without the waiver, Unit 30 cannot be considered a Black Start provider during 
that period.  Ravenswood contends that NYISO previously supported the request for 
waiver contained in Ravenswood’s initial filing.  Since none of the technical facts 
associated with the waiver have changed, Ravenswood contends that the waiver should 
be granted.

Astoria’s Response

36. 	Astoria states that it supports Ravenswood’s response to NYISO’s

September 2, 2011 Filing.  Like Ravenswood, Astoria disputes NYISO’s statement

relating the 2003 blackout to generators’ failure to start up as required due to lack of

testing.  Astoria states that it did provide Black Start Service and it was provided with no compensation and little, if any, guidance from NYISO and Con Edison.  Astoria states 
that any delay was due to specific facts and circumstances associated with the manner in which Con Edison and NYISO conducted the Black Start process as well as the lack of notification to service providers that they were part of the system restoration plan or how they were expected to perform.

City of New York Comments

37. 	The City of New York asserts that the Commission should reject Ravenswood’s 
August 26, 2011 Amendment, grant the requests in Ravenswood’s initial filing, and 
ensure that reliability and public health and safety within New York City are not 
jeopardized while the technical issues raised by Ravenswood are resolved.  The City of 
New York claims that Ravenswood’s amendment is contrary to the public interest and 
will result in inadequate and unsafe service.  Moreover, the City of New York claims that 
Ravenswood’s amendment is an attempt to make an end-run around the New York 
Commission’s regulatory jurisdiction over safety and reliability which, it states, is 
specifically reserved to the New York Commission under FPA § 215(i)(3).15

38. 	The City of New York also asserts that Ravenswood’s concerns with the capacity markets are irrelevant to its provision of Black Start services.  Accordingly, it asserts that the Commission should not allow Ravenswood to discontinue providing critically 
important Black Start service based on speculation regarding such markets.

15 City of New York Comments at 5-7.

Docket Nos. ER11-4200-000 and ER11-4200-001	- 13 -

Commission Determination

39. 	We accept Ravenswood’s August 26, 2011 Amendment to its August 2, 2011 
Filing and reject NYISO’s arguments in opposition to the amendment.  We also deny 
Ravenswood’s requested waiver of the testing requirement and NYISO’s requested 
waiver of section 15.5.3.1 of its Services Tariff for the reasons discussed below.

NYISO’s Request to Reject the August 26, 2011 Amendment

40. 	In its August 26, 2011 Filing, Ravenswood stated that it was amending its

August 2, 2011 Filing, by withdrawing certain of its original waiver requests and the

request for settlement judge procedures contained in that filing, while retaining its request for waiver of the Service Tariff’s testing requirements.  Ravenswood’s August 2, 2011 
Filing is a “pleading” as defined in Rule 202 of the Commission’s Rules of Practice and Procedure.16  Section 215(a)(3)(i) of the Commission’s Rules of Practice and Procedure17 provides that a written amendment of a pleading filed in a proceeding that is not set for hearing becomes effective as an amendment on the date filed.  Section 215(c) provides 
that motions opposing amendments to pleadings are not allowed, although section 215(b) permits answers to amendments to pleadings.

41. 	In its September 2, 2011 Filing, NYISO argues that Ravenswood’s

August 26, 2011 Filing is actually a withdrawal of its August 2, 2011 pleading, not an amendment and, as such, NYISO argues that it is allowed to file a motion in opposition pursuant to Rule 216(b).18  We disagree with NYISO’s characterization of the filing 
because Ravenswood did not withdraw its August 2, 2011 Pleading; it modified it to 
withdraw only certain of the waiver requests contained in that pleading and its request that a settlement proceeding be convened, while retaining its request for waiver of the Service Tariff’s testing requirements.

42. 	However, even if we were to treat Ravenswood’s filing as a withdrawal of its 
August 2, 2011 Pleading under Rule 216, as NYISO argues, we would allow the 
withdrawal.  Under Rule 216(b), the Commission may disallow, for a good cause, all or 
part of a withdrawal of a pleading.19  NYISO’s filing fails to establish such good cause. 
NYISO argues that Ravenswood’s withdrawal could result in significant harm to the

16 18 C.F.R. § 385.202 (2011).

17 18 C.F.R. § 385.215(a)(3)(i).

18 18 C.F.R. § 385.216(b) (2011).

19 Id.

Docket Nos. ER11-4200-000 and ER11-4200-001	- 14 -

robustness of the Black Start Program, asserting that these units can pick up large

increments of load, provide voltage support, and assist in stabilizing the local

transmission system of the Con Edison service territory.  However, while the continuance of these additional units in NYISO’s Black Start program may enhance that program, these units are not relied on as part of NYISO’s System Restoration Plan.20

43. 	Further, NYISO states that even without the Ravenswood units, it would still be capable of restoring electric service to New York City in a manner that meets applicable reliability requirements.21  We accept NYISO’s statement that it is in compliance with NERC’s requirements for both facilities and restoration time even without the 
Ravenswood units.22  We also note that NYISO and Con Edison have had a year’s notice of Ravenswood’s intent to leave the Black Start program on September 30, 2011.  This is the notice period required by NYISO’s Services Tariff, a period that should be adequate to prepare for a unit that is not part of NYISO’s Reliability Plan to leave the Black Start Program or to negotiate an extension of that unit’s commitment.

44. 	In addition, NYISO’s argument that Ravenswood fails to show evidence that a

required continuation of its Black Start service would cause financial harm and NYISO’s 
claim of inconsistencies in Ravenswood’s stated reasons for withdrawal are inapposite. 
The Commission’s Rules do not require any justification for the amendment or 
withdrawal of a pleading.  It is extraordinary to oppose a withdrawal of a waiver request 
and it would be even more extraordinary for the Commission to deny such a request.  For 
the reasons stated above, we accept Ravenswood’s amendment to its August 2, 2011 
Filing and turn to Ravenswood’s remaining request for waiver and NYISO’s request for 
waiver.

Waiver Requests

45. 	Ravenswood continues to request a waiver of the eight-hour testing requirement. 
Ravenswood argues that its failure to meet the test time limits was justified because it 
claims that the failure was due to an event not directly related to Black Start Service. 
However, there is no tariff provision that provides for an exception in these or any other

20 NYISO Emergency Operations Manual Attachment B (designated as non-public Critical Energy Infrastructure Information as defined in 18 C.F. R. § 388.113 (2011) and exempt from public disclosure pursuant to 18 C.F.R. § 388.107 (2011)).

21 NYISO September 2, 2011 Filing at 6.

22 Additional resources, such as Ravenswood, would make NYISO’s restoration 
plan more robust than the national standard, and is something that we encourage but do 
not require.

Docket Nos. ER11-4200-000 and ER11-4200-001	- 15 -

circumstances.  The test is performed to show that the designated unit is operationally 
capable of providing Black Start Service when called on, so it does not matter why the 
unit was operationally unable to pass the test.  Accordingly, Ravenswood has not shown 
the application of the eight-hour test requirement to be unreasonable in these 
circumstances.  Further, since Ravenswood has stated that it does not intend to provide 
Black Start service after September 30, 2011, the only effect of granting such a waiver 
would be to provide compensation to Ravenswood for the period starting when its 
Black Start Service compensation was suspended through September 30, 2011, when its 
Black Start Service terminates.  Finally, there is nothing in the record to indicate that 
Ravenswood Unit No. 30 was considered to be a provider of Black Start service during 
that period; thus, it would not be appropriate to provide compensation to Ravenswood for 
that period.  Accordingly, we deny Ravenswood’s request for waiver.

46. 	We also deny NYISO’s waiver request.  As explained above, NYISO has not

shown good cause for disallowing Ravenswood’s withdrawal of its pleading and thereby preventing Ravenswood’s immediate withdrawal from the Black Start Program.  We 
agree with Ravenswood that NYISO’s request for a limited waiver of its Services Tariff should be rejected as it is simply another procedural device to ask for the same end result that we rejected above.  Accordingly, for the same reasons discussed above, we deny 
NYISO’s request for waiver.

Request for Settlement Procedures

47. 	Finally, with respect to NYISO’s request that the Commission initiate a settlement 
process, we believe that, in light of this order, a settlement process is not the correct 
vehicle for revising NYISO’s Services Tariff to alter the Black Start Program.  Such 
changes require a filing pursuant to FPA section 205 and should be done through the 
NYISO stakeholder process.  Although we will not initiate a settlement process in this 
proceeding because Ravenswood has revised its filing to remove such request, we will 
make available our dispute resolution service for the parties to use in reaching a 
satisfactory solution.

The Commission orders:

(A)  Ravenswood’s waiver request is hereby denied, as discussed in the body of this order.

Docket Nos. ER11-4200-000 and ER11-4200-001	- 16 -

(B)  NYISO’s waiver requests and request for settlement procedures are hereby denied, as discussed in the body of this order.

By the Commission.

( S E A L )

Nathaniel J. Davis, Sr., 
	Deputy Secretary.