142 FERC ¶ 61,026

FEDERAL ENERGY REGULATORY COMMISSION 
	WASHINGTON, D.C.  20426

January 14, 2013

In Reply Refer To:

PJM Interconnection, L.L.C. and New York Independent System Operator

Docket No. ER12-718-003

Mr. James M. Burlew

PJM Interconnection, L.L.C. 
955 Jefferson Avenue 
Norristown, PA  19403

Mr. Alex M. Schnell

New York Independent System Operator, Inc.

10 Krey Boulevard

Rensselaer, NY  12144

Dear Messrs. Burlew and Schnell:

1. 	In a joint petition submitted December 24, 2012, PJM Interconnection, L.L.C. 
(PJM) and the New York Independent System Operator, Inc. (NYISO) request a 
temporary, limited waiver of sections 7 and 10 of Schedule D to the Joint Operating 
Agreement (JOA) among and between NYISO and PJM (JOA), and of any other 
provisions of the JOA, as may be necessary to permit NYISO and PJM (RTOs) to 
temporarily suspend Market-to-Market Coordination in the event of a failure of:  (i) 
the data link between PJM and NYISO, (ii) an energy management system (EMS), or 
(iii) real-time security constrained economic dispatch (RTD).  You request that this 
limited waiver be effective January 15, 2013, through June 30, 2013.  As discussed 
below, we grant the requested waiver.

2. 	You state that Market-to-Market coordination is a process to address certain 
inter-regional transactions in, and around, the Lake Erie region. 1  You further state 
that, under sections 7 and 10 of Schedule D of the JOA, PJM and NYISO are required

1 See New York Independent System Operator, Inc., 138 FERC ¶ 61,192 (2012) (accepting, subject to conditions, PJM and NYISO joint market-to-market 
coordination process proposal); New York Independent System Operator, Inc., 140 
FERC ¶ 61,205 (2012).

Docket No. ER12-718-003	- 2 -

to initiate Market-to-Market coordination in certain scenarios unless a qualifying 
exception in section 10 applies.  You state that a procedure is necessary to suspend 
Market-to-Market coordination in the event of data system failures.  You assert, 
however, that the existing provisions of Schedule D may not provide this necessary 
authorization.  You note that section 10.1.5 allows the RTOs to delay or suspend the 
Market-to-Market coordination when either RTO is “experiencing system conditions 
that require the system operator’s immediate attention.”  You assert that this provision 
clearly applies to bulk-electric system conditions (e.g., generation outages, 
transmission outages, excessive loadings, etc.), but arguably may not apply to outages 
of data “systems”  like the data link between PJM and NYISO, or the RTOs’ EMS or 
RTD systems.  You state that while clarifying tariff revisions are currently being 
prepared and will be filed with the Commission by June 30, 2013, out of an 
abundance of caution PJM and NYISO seek the requested waiver of section 7 and 10 
and any other provisions of the JOA as may be necessary for an interim period, i.e., 
from January 15, 2013, the date on which the requirement to conduct Market-to-
Market coordination becomes effective, through June 30, 2013.

3. 	Notice of your request was issued by the Commission with protests and

interventions due on or before January 4, 2013.  The New York Transmission Owners 
filed comments in support of PJM’s and NYISO’s limited waiver request.  The New 
York Transmission Owners request that the Commission grant the waiver for the 
period requested to allow each RTO to obtain stakeholder approval for the needed 
tariff changes.

4. 	Although not the only basis for a grant of waivers, the Commission has

previously granted one-time waivers of tariffs when:  (i) an underlying error has been made in good faith; (ii) the waiver is of limited scope; (iii) a concrete problem needs to be remedied; and (iv) the waiver will not have undesirable consequences, such as harming third parties.2

5. 	NYISO and PJM seek the limited, temporary waiver requested here to provide 
clarity in scenarios arguably not covered by an ambiguous provision in the JOA until 
that ambiguity is addressed in proposed tariff revisions, i.e., the asserted failure of 
Schedule D to provide express authorization to temporarily suspend Market-to-
Market coordination in the event of data, EMS, and RTD system failures.  For the

2 See, e.g., Air Energy TCI, Inc., 142 FERC ¶ 61,005 (2012); PJM

Interconnection, LLC, 137 FERC ¶ 61,184 (2011); ISO New England, Inc, 134 FERC ¶ 61,182 (2011); Hudson Transmission Partners, 131 FERC ¶ 61,157 (2010); Stony Creek Energy LLC, 131 FERC ¶ 61,059 (2010); Central Vermont Public Service Corp., 121 FERC ¶ 61,225 (2007).

Docket No. ER12-718-003	- 3 -

reasons discussed below, we find that your request satisfies the aforementioned

factors and that good cause therefore exists to grant the limited waiver, as requested.

6. 	First, we find that NYISO and PJM have acted in good faith in developing and 
implementing Market-to-Market coordination; it was not until operational details 
were addressed that it became apparent that the tariff is ambiguous, and so the 
underlying failure to provide clear authority in the tariff to suspend Market-to-Market 
coordination in the above-stated scenarios was made in good faith.  We also find that 
the requested waiver is of limited scope and duration as it will apply only during the 
above-identified system failure conditions that occur during a limited, finite period, 
i.e., from January 15, 2013, until June 30, 2013.  In addition, we find that the waiver 
is required to remedy a concrete problem, i.e., the need for clear authority to suspend 
Market-to-Market coordination under the circumstances of the above-described data 
system failures.  Finally, we find that granting the waiver will have no undesirable 
consequences, and will not harm third parties, given that the waivers to permit 
suspension of Market-to-Market coordination will only apply when PJM and NYISO 
are physically incapable of performing Market-to-Market coordination.

By direction of the Commission.

Nathaniel J. Davis, Sr.,

Deputy Secretary.