155 FERC ¶ 61,243

UNITED STATES OF AMERICA

FEDERAL ENERGY REGULATORY COMMISSION

Before Commissioners:  Norman C. Bay, Chairman;

Cheryl A. LaFleur, Tony Clark,

and Colette D. Honorable.

New York Independent System Operator, Inc.	Docket Nos.  ER14-2006-000

ER11-4338-002

ORDER ACCEPTING COMPLIANCE FILING

AND PARTIAL COMPLIANCE WITH ORDER NO. 745

(Issued June 3, 2016)

1. 	On June 17, 2013, Demand Response Supporters1 (Complainants) filed a

complaint (Complaint) against the New York Independent System Operator, Inc.

(NYISO) alleging that NYISO’s tariff provisions for its Day-Ahead Demand Response 
Program (DADRP)2 discriminate against demand response facilitated by behind-the-
meter generation,3 in violation of the Federal Power Act (FPA), Order No. 745,4 and

1 Demand Response Supporters consist of:  EnerNOC, Inc.; Viridity, Inc.;

Walmart Stores, Inc.; Comverge, Inc.; and EnergyConnect, a Johnson Controls Company.

2 NYISO’s DADRP is an economic demand response program pursuant to which a 
demand response provider may offer into NYISO’s day-ahead energy market a quantity 
of reduced electricity demand, a demand reduction, that is facilitated by a demand 
response resource curtailing its load.  A demand response provider may offer the demand 
reduction of an individual demand response resource registered as a DADRP resource or 
a group of demand response resources collectively registered as a single DADRP 
resource.

3 “Behind-the-meter” generation refers to a generator located behind the retail

delivery point that can directly serve the host customer’s electrical demand in lieu of or in addition to electricity the customer takes through the NYISO grid.

4 Demand Response Compensation in Organized Wholesale Energy Markets, 
Order No. 745, FERC Stats. & Regs. ¶ 31,322, order on reh’g, Order No. 745-A, 137

(continued ...)

Docket Nos. ER14-2006-000 and	ER11-4338-002	- 2 -

other Commission orders and regulations.  On November 22, 2013, the Commission 
issued an order granting, in part, and denying, in part, the Complaint and directing 
NYISO to make a compliance filing.5  On May 21, 2014, NYISO submitted its 
compliance filing (May 2014 Filing).  In this order, the Commission accepts the 
May 2014 Filing. As set forth below, the Commission also grants NYISO's request and

accepts certain, limited tariff provisions filed in Docket No. ER11-4338-002 to comply

with Order No. 745, so that NYISO may implement the tariff provisions that we accept in Docket No. ER14-2006-000.

I.	Background

A.	November 22 Order

2.	In the November 22 Order, the Commission agreed with Complainants that

NYISO’s DADRP tariff provisions are unduly discriminatory because they exclude from participation in the DADRP demand response facilitated by behind-the-meter generation, while permitting participation by similarly-situated demand response accomplished 
without the use of such behind-the-meter generation.6  However, the Commission 
declined to grant the specific relief requested, and instead, directed NYISO to undertake a stakeholder process and to file, within 180 days, proposed tariff provisions that will allow resources providing demand response facilitated by behind-the-meter generation to 
participate in the DADRP on a comparable basis with all other demand response 
resources.7  The Commission also stated that these tariff provisions should address 
appropriate eligibility, measurement, verification, and control requirements to ensure that demand response facilitated by behind-the-meter generation is provided in a manner that maintains system reliability and ensures that the resources are compensated only for the 
demand response service that they actually provide.8

FERC ¶ 61,215 (2011), reh’g denied, Order No. 745-B, 138 FERC ¶ 61,148 (2012), 
vacated sub nom. Elec. Power Supply Ass’n v. FERC, 753 F.3d 216 (D.C. Cir. 2014), 
rev’d & remanded sub nom. FERC v. Elec. Power Supply Ass’n, 136 S.Ct. 760 (2016).

5 Demand Response Supporters v. New York Independent System Operator, Inc., 145 FERC ¶ 61,162 (2013), denying motion for extension of time, 146 FERC ¶ 61,139 (2014) (November 22 Order).

6 November 22 Order, 145 FERC ¶ 61,162 at P 31.

7 Id. PP 31, 37 and 38.

8 Id. P 37.

Docket Nos. ER14-2006-000 and	ER11-4338-002	- 3 -

B.	May 2014 Filing

3.	In the May 2014 Filing, NYISO submits revisions to its Market Administration

and Control Area Services Tariff (Services Tariff) and its Open Access Transmission

Tariff (OATT) to permit participation in the DADRP by demand response facilitated by 
behind-the-meter generation, which NYISO defines as a Local Generator.9  The proposed 
tariff revisions include revised definitions, and metering and data reporting requirements.

1.	Revised Definitions

4.	NYISO proposes to revise the definition of “Demand Side Resource,” in

section 2.4 of its Services Tariff and section 1.4 of its OATT, to include resources that 
are capable of operating a Local Generator to facilitate load reduction.  NYISO also 
proposes to revise the definition of “Demand Reduction Incentive Payment,” in 
section 2.4 of its Services Tariff, to remove the existing restriction on a demand response 
provider receiving an incentive payment for demand reductions by a Local Generator.

2.	Measurement and Verification Requirements

5.	NYISO explains that it measures a demand response resource’s load reduction in

comparison to an estimated baseline of load for that demand response resource.  NYISO 
states that it currently uses the Customer Baseline Load (CBL)10 methodology to 
calculate the estimated baseline load.  NYISO states that, in response to Order No. 745,11

9 NYISO states that a “Local Generator” is defined in Section 2.12 of the Services 
Tariff as: “A resource operated by or on behalf of a Load that is either:  (i) not 
synchronized to a local distribution system; or (ii) synchronized to a local distribution 
system solely in order to support a Load that is equal to or in excess of the resource’s 
Capacity.  Local Generators supply Energy only to the Load they are being operated to 
serve and do not supply Energy to the distribution system.”  NYISO May 2014 Filing 
at 3 n.7.

10 The CBL for demand response resources bidding curtailable load is based upon the five highest energy consumption levels in comparable time periods over the past 
ten days, beginning two days prior to the day for which the load reduction is bid.  See Section 2.5 of the DADRP Manual, New York Independent System Operator, Day Ahead Demand Response Program Manual (July 2003),

http://www.nyiso.com/public/webdocs/markets_operations/documents/Manuals_and_Gui 
des/Manuals/Operations/dadrp_mnl.pdf.

11 Supra note 4.

Docket Nos. ER14-2006-000 and	ER11-4338-002	- 4 -

it developed, and filed with the Commission, as section 24.2 of Attachment R of the 
OATT, a new baseline load methodology:  the Economic Customer Baseline Load 
(ECBL) methodology.12  NYISO notes that this proposed ECBL methodology is 
currently pending before the Commission in its August 14, 2013 compliance filing for Docket No. ER11-4338-002 (August 2013 Compliance Filing), which it submitted in response to an order issued May 16, 2013.13  NYISO states that, until the Commission acts on the proposed ECBL, it intends to continue to use its existing CBL methodology for all demand response resources participating in the DADRP, including demand 
response resources that operate Local Generators to reduce load.14  NYISO states that, if the Commission accepts the ECBL, it will apply the new ECBL methodology to all demand response resources participating in the DADRP, including demand response 
resources that operate Local Generators to reduce load.15

6. 	NYISO explains that, for purposes of calculating the CBL or ECBL and ensuring 
that the baseline accurately represents the demand reduction being performed by the 
demand response resource, it relies on meter data provided on behalf of the demand 
response resource.  NYISO states that, under section 6.1 of NYISO’s DADRP Manual, 
it currently requires all demand response resources participating in the DADRP to have a 
New York Public Service Commission (New York Commission)-approved revenue-grade 
hourly-interval meter that measures the resource’s net load.  NYISO proposes to 
incorporate this meter requirement from the DADRP Manual into section 24.4 of 
Attachment R of the OATT to require that a demand response resource that seeks to 
enroll and participate in the DADRP and that has a Local Generator must have:  (1) a 
New York Commission-approved revenue-grade hourly-interval meter that measures the 
net load of that resource for CBL or ECBL calculation and settlement purposes; and

(2) an hourly-interval meter that measures output of the Local Generator within a

12 NYISO states that the ECBL represents a better method for calculating the demand response resource’s baseline load, with distinct procedures for calculating the resource’s baseline load on weekdays and weekends.  NYISO August 19, 2011 
Compliance Filing, Docket No. ER11-4338-000, at 11.

13 New York Independent System Operator, Inc., 143 FERC ¶ 61,134 (2013 (May 2013 Compliance Order).

14 NYISO May 2014 Filing at 6.

15 Id.

Docket Nos. ER14-2006-000 and	ER11-4338-002	- 5 -

2 percent accuracy threshold to ensure that demand response resources with a Local Generator are compensated only for the demand reduction they actually provide.16 
NYISO explains that this metering will be required for all demand response resources that are enrolled to participate in the DADRP and have a Local Generator, regardless of whether the resource plans at the time of enrollment to operate its Local Generator to provide demand reduction in the DADRP.17

7. 	NYISO states that certain stakeholders have questioned the need for metering a 
Local Generator when the demand response resource does not plan to operate its Local 
Generator to provide the demand reduction in the DADRP.  NYISO asserts that it 
requires the meter data of a Local Generator’s output to monitor the accuracy of the 
CBL or ECBL of the demand response resource, and to confirm that the actual demand 
reduction is occurring and is not the product of a resource improperly influencing the 
calculation of its baseline through the use of a Local Generator.  Furthermore, NYISO 
asserts that the metering is consistent with the Commission’s directives in the 
November 22 Order, because the metering is necessary to ensure that “resources are 
compensated only for the demand response service that they actually provide.”18

8. 	NYISO also asserts that it needs meter information regarding the output of a Local 
Generator to verify that its operation is in accordance with the registration of the demand 
response resource in the DADRP.19  Without meter information regarding the output of a 
Local Generator, NYISO states that a change in a Local Generator’s output would not be

16 NYISO notes that it initially proposed to stakeholders that the meters used to

measure the output of the Local Generator must also be New York Commission-approved 
revenue-grade hourly-interval meters.  However, in response to stakeholder concerns 
regarding the cost of installing these meters, NYISO modified its proposal to only 
require hourly interval meters that can measure the output of a Local Generator within 
a 2 percent accuracy threshold, instead of the New York Commission approved revenue-
grade meter requirement it initially proposed.  NYISO states that these hourly interval 
meters that can measure the output of the Local Generator within a 2 percent accuracy 
threshold should be sufficient to enable it to perform its monitoring obligations.

17 NYISO May 2014 Filing at 7.

18 Id. (citing November 22 Order, 145 FERC ¶ 61,162 at P 37).

19 NYISO states that it will include in the DADRP Manual a separate baseline that will determine the incremental output of the Local Generator, and this incremental output will be the difference between the Local Generator’s metered output and the monitoring baseline of that Local Generator.  Id. at 7 n.24.

Docket Nos. ER14-2006-000 and	ER11-4338-002	- 6 -

visible to NYISO, and a change in net load could be the result of either a change in the

base load generation of the Local Generator or a change in the actual load associated with 
the resource.  NYISO explains that a change in base load generation in conjunction with 
an upcoming economic schedule could result in overstatement of the in-day adjustment to 
the CBL, which would result in NYISO compensating the resource for more of a load 
reduction than it actually reduced during the scheduled period.  NYISO also explains that 
the same could occur as a result of a change in load, which, if timed correctly, could also 
affect the in-day adjustment.  NYISO states that if the Local Generator meter data 
supplied on behalf of the demand response resource demonstrates behavior that is 
inconsistent with the baseline, it may audit the resource or take additional action to 
ensure that the resource is only being compensated for the actual demand reduction it 
performs.

3.	Data Reporting Requirements

9.	NYISO states that, in response to Order No. 745, it proposed a new section 24.3

of Attachment R of its OATT to provide it with the explicit authority to verify a demand 
reduction, and to require demand reduction providers to report both their metered load 
data and the data they use in making their baseline calculations.  In its August 2013 
Compliance Filing, NYISO states that it proposed a new section 24.4 of Attachment R 
of the OATT that lists the specific data that a demand reduction provider must report to 
the NYISO for:  (1) the enrollment of demand response resources participating in the 
DADRP; (2) the verification of demand reductions scheduled in NYISO’s energy market, 
and (3) additional data required upon the NYISO’s request to verify participation in the 
DADRP and the NYISO’s energy market.20  NYISO states that the data reporting 
requirements set forth in sections 24.3 and 24.4 of its August 2013 Compliance Filing, 
as amended by its proposed revisions in this proceeding, are necessary to ensure that 
NYISO can verify that all demand response resources, including demand response 
resources that operate a Local Generator to reduce load, satisfy enrollment requirements, 
and provide a demand reduction that is consistent with their scheduling and 
compensation.

10. 	In addition to adopting the data reporting requirements of the August 2013

Compliance Filing, NYISO proposes to amend the data reporting requirements in

Attachment R to include, among other things, technical details regarding a Local

Generator located at a demand response resource’s site, including its system, primary fuel

20 Id. at 8.

Docket Nos. ER14-2006-000 and	ER11-4338-002	- 7 -

type, the year it was built, the year of any retrofit, its nameplate, and its horsepower, if applicable.21

11. 	NYISO also proposes to replace the meter data requirements from

section 24.4.2(c) and (d) of Attachment R of the OATT with a new section 24.4.2(c),

which provides that NYISO will require the hourly-interval metered load data for each of 
the individual demand response resources that are registered as part of a single DADRP 
resource for all hours of each of the thirty days preceding the day the DADRP resource is 
scheduled.22  NYISO states that certain stakeholders have questioned the need to submit 
this meter data for the preceding 30-day period.  NYISO asserts that it requires this data 
to ensure the accuracy of the baseline and to confirm that the actual demand reduction 
occurred.  NYISO notes that it requires meter data from ten preceding, eligible days for 
the calculation of the CBL.  NYISO explains that, to capture these 10 eligible days, it

may need to go back as far as 30 days, because weekend days and low usage days are excluded.  In addition, NYISO states that, in order to determine which days must be 
excluded due to low usage, it must first review the demand response resource’s peak 
hourly load over the past 30 days to calculate the data that is used to determine which days should be excluded under the low usage criteria.  In addition, NYISO states that, because a DADRP resource may be scheduled for multiple, non-contiguous hours during the course of a day, it is requiring meter data for all 24 hours of each day to ensure it can verify the in-day adjustment calculation of the CBL.

12. 	For comparison purposes, NYISO points out that its request for the DADRP

resource’s meter data for the 30-day period prior to the day in which the resource was

scheduled is in lieu of the data that is normally provided by resources in NYISO’s energy 
market that are in communication with NYISO via telemetry.  NYISO also points out that 
the current requirement to submit meter data to NYISO for settlement purposes occurs at

55 days after the scheduled load reduction occurs, which provides the demand response 
provider with sufficient time to verify the meter data, calculate the CBL, and determine 
the actual load reduction prior to submitting that load reduction data to NYISO for 
settlement.  NYISO maintains that the submission of this limited amount of meter data to 
NYISO should not be burdensome because demand response providers are already 
required to maintain the data to calculate the CBL that is used to determine their energy 
payments.23

21 Id. at 9.

22 Id. at 10.

23 Id.  NYISO states that it also proposes a small number of non-substantive

changes to Attachment R of the OATT.  It also states that, consistent with the proposed

(continued ...)

Docket Nos. ER14-2006-000 and	ER11-4338-002	- 8 -

13. 	NYISO requests that the Commission make the proposed tariff changes effective

60 days after it issues an order accepting them, so that NYISO has sufficient time to

implement the procedures for participation of behind-the-meter generation in the

DADRP.  NYISO also requests that, if the Commission has not yet accepted the proposed new sections 24.3 and 24.4 in the August 2013 Compliance Filing at the time that it acts on the instant filing, the Commission should authorize NYISO in the instant filing to 
apply all of the requirements in sections 24.3 and 24.4 of the August 2013 Compliance Filing, as they are amended by the instant filing.

II.	Notice and Responsive Pleadings

14.	Notice of the May 2014 Filing was published in the Federal Register, 79 Fed.

Reg. 31,933 (2014), with interventions and protests due on or before June 11, 2014.

15.	Timely interventions were filed by Multiple Intervenors,24 NRG Companies,25

New York Transmission Owners,26 and EnerNOC, Inc.

16.	A timely protest was filed by Demand Response Supporters.  On June 26, 2014,

NYISO filed an answer to the protest.

A.	Protest

17.	Demand Response Supporters argue that the Commission should reject

two aspects of the May 2014 Filing: (1) NYISO's proposal to impose metering

tariff provisions, it will make related changes to its non-tariff procedures, including its registration, enrollment, and qualification procedures for demand response resources participating in the DADRP.  Id. at 10-11.

24 Multiple Intervenors is an unincorporated association of over 55 large industrial, commercial and institutional energy consumers with manufacturing and other facilities located throughout the State of New York.

25 NRG Companies include NRG Power Marketing LLC and GenOn Energy Management, LLC.

26 New York Transmission Owners include Central Hudson Gas & Electric

Corporation, Consolidated Edison Company of New York, Inc., Power Supply Long

Island, New York Power Authority, New York State Electric & Gas Corporation,

Niagara Mohawk Power Corporation d/b/a National Grid, Orange and Rockland Utilities, Inc., and Rochester Gas and Electric Corporation.

Docket Nos. ER14-2006-000 and	ER11-4338-002	- 9 -

requirements on all Local Generators sited at a demand response resource facility, 
regardless of whether those Local Generators are participating in the DADRP; and

(2) NYISO's requested 30-day reporting period for hourly-interval metered load data.

18. 	Demand Response Supporters assert that NYISO's proposal to impose metering 
requirements on all Local Generators sited at a demand response resource facility, 
regardless of whether those Local Generators are participating in the DADRP, would 
impose new metering requirements on customers that have Local Generators, but that 
have solely relied on, and continue to rely on, load curtailment for their demand response. 
They assert that this metering requirement goes beyond the scope of compliance with the 
November 22 Order, which stated that "[t]hese tariff provisions should address 
appropriate eligibility, measurement, verification, and control requirements to ensure that 
demand response facilitated by behind-the-meter generation is provided in a manner that 
maintains system reliability and ensures that the resources are compensated only for the 
demand response service that they actually provide."27  They assert that this new 
metering requirement could drastically change the economics of DADRP participation 
for customers that have Local Generators but rely on load curtailment to participate in the 
DADRP, and it therefore should be rejected.

19. 	Demand Response Supporters also argue that, for customers who wish to use a 
Local Generator for DADRP participation, metering every Local Generator regardless of 
whether it is used for program participation would impose significant, upfront fixed costs 
that exceed the directives of Order No. 745 and the November 22 Order, and would be 
cost-prohibitive to DADRP participation, notably for small Local Generators.28  They 
also assert that, for larger customers who may have several distributed generators on site, 
metering costs could provide a significant deterrent to participation in the DADRP.  In 
addition, they assert that NYISO's proposal ignores the fact that a significant portion of 
the Local Generators that are being installed are renewable resources, which cannot be 
reasonably controlled or manipulated, and that applying the metering requirement to such 
resources is inexplicable.

20. 	Demand Response Supporters also assert that individual metering of all Local

Generators is unreasonable and unnecessary given that NYISO requires hourly integrated 
metering devices to measure the net load of all demand response resources participating

27 Demand Response Supporters Protest at 5-6 (citing November 22 Order, 145 FERC ¶ 61,162 at P 37 (emphasis added)).

28 Demand Response Supporters state that, based on their experience, the

estimated per meter cost for a Local Generator ranges from $2,500 to $5,000.  Id. at 6 
n.19.

Docket Nos. ER14-2006-000 and	ER11-4338-002	- 10 -

in the DADRP.  Although NYISO suggests that the purpose of metering non-

participating Local Generators is to detect market manipulation, Demand Response

Supporters argue that the cost-prohibitive nature of the metering requirement far

outweighs any potential benefit NYISO might receive in detecting market manipulation. 
They assert that, because of these costs, potential demand response participants, who 
would have participated in the DADRP and lowered wholesale energy prices for all 
New York customers, likely will not participate in the DADRP.  With respect to 
NYISO’s market manipulation concerns, Demand Response Supporters argue that it is 
difficult to imagine that many customers would choose to turn off Local Generators to 
inflate their baseline and, at the same time, incur higher energy and demand charges in 
those hours and risk large penalties from the Commission’s Office of Enforcement.29 
Moreover, they assert that metering every Local Generator would not necessarily prevent 
market manipulation, because load could also be manipulated.  Demand Response 
Supporters state that, in the case of either form of manipulation, such large anomalies 
could be easily detected at the net load meter, and NYISO’s internal market monitor 
would investigate the matter.30  They therefore assert that the combination of the 
metering at the net load meter and the enforcement consequences are sufficient to ensure 
that demand response resources are compensated only for the service they actually 
provide.

21. 	Demand Response Supporters also argue that NYISO's requested 30-day

reporting period for hourly-interval metered load data is unduly burdensome.  They

explain that this requirement would mean that for just a one-hour event, demand response 
aggregators would be required to validate 720 intervals of hourly-interval metered load 
data, despite the fact that little, if any, of this data would have an impact on settlement.31 
They note that the majority of the hours during a 24-hour period do not even meet the 
threshold for bidding into the DADRP, and are consequently irrelevant for settlement 
purposes.  They therefore urge the Commission to reject NYISO's proposal, and assert 
that a much more reasonable alternative is that NYISO should only require submission 
and validation of data that impact settlements.  They note that, if NYISO believes more 
meter data is required to determine whether an actual demand reduction occurred, the 
tariff already allows such a request.32

29 Id. at 7.

30 Id.

31 Id. at 8.

32 Id. at 9.

Docket Nos. ER14-2006-000 and	ER11-4338-002	- 11 -

B.	Answer

22.	In response to Demand Response Supporters’ protest of NYISO’s proposal that

a DADRP resource that has a Local Generator must have an hourly-interval meter

measuring the output of that generator, regardless of whether the resource plans to use the 
Local Generator in the DADRP, NYISO argues that this proposal is consistent with the 
Commission’s directive in the November 22 Order that NYISO develop tariff provisions 
to ensure that resources “are compensated only for the demand response service they 
actually provide.”33  NYISO reiterates that this proposal allows it to monitor the accuracy 
of the resource’s baseline, and to confirm that the actual demand reduction is occurring in 
response to NYISO’s scheduling of the resource in its Day-Ahead Energy market. 
NYISO largely restates its justification for requiring the additional metering requirement 
for purposes of visibility and accuracy to avoid potential baseline manipulation and to 
ensure that DADRP resources are compensated only for the demand response service 
they actually provide.34  NYISO argues that, although Demand Response Supporters find 
baseline manipulation difficult to imagine, the Commission has assessed penalties to 
demand response providers in other regions who used their behind-the-meter generators 
to manipulate and inflate their baselines, which allowed them to get paid for phantom 
load reductions.35

23. 	NYISO also asserts that a demand response resource could selectively operate a 
Local Generator to exclude from the calculation of its baseline certain days in which its 
load is lower than usual, which would result in the resource being compensated based on 
its load reduction from a higher, overstated baseline level.  NYISO states that, on days 
that a resource expects to have lower than usual load, such as during a planned partial or 
full shutdown of a facility, the resource could operate its Local Generator differently

from its normal output level in a manner that would not draw the NYISO’s attention to a 
significant change in net load, but would allow that resource to exclude the low load day 
from the baseline calculation under NYISO’s low usage exclusion requirements.36

24. 	NYISO asserts that, in developing its compliance filing, it evaluated several 
metering alternatives for addressing these concerns, and it modified its proposal in 
response to stakeholder concerns about costs.  NYISO notes that other suppliers

33 NYISO Answer at 3 (citing November 22 Order at P 37).

34 Id. at 4-5.

35 Id. at 4-5.

36 Id.

Docket Nos. ER14-2006-000 and	ER11-4338-002	- 12 -

participating in NYISO’s energy market are required to connect through their local

transmission owner and install real-time metering and telemetry that is then relayed to the 
NYISO every six seconds.  NYISO states, for example, that demand response resources 
that provide real-time services, such as Operating Reserves and Regulation Service 
through NYISO’s Demand Side Ancillary Services Program, are required to have real-
time metering and telemetry.37  NYISO states that it did not propose to adopt real-time 
metering and telemetry for the DADRP because real-time metering and telemetry, which 
are relatively expensive to install and maintain, are not required at this time to measure 
and verify participation in the DADRP.  NYISO reasserts its initial argument that in 
response to stakeholder cost concerns, it revised its proposal to the more affordable 
hourly-interval meter that measures output of a Local Generator within a 2 percent 
accuracy threshold,38 which minimizes the cost to demand response resources, but still 
provides NYISO with the data needed to verify participation in the DADRP.

25. 	In response to Demand Response Supporters’ assertion that applying the proposed 
metering requirement to renewable resources is inexplicable because renewable resources 
cannot control or manipulate their output, NYISO argues that the definition of demand 
response requires a resource to be able to control its demand in a responsive, measurable 
and verifiable manner within time limits.39  NYISO therefore maintains that metering 
renewable resources is just as important as metering other behind-the-meter generation.

26. 	NYISO asserts that the metering requirement should apply to all demand response 
resources that have a Local Generator, regardless of whether they use the Local 
Generator in the DADRP, because the potential for baseline manipulation exists for any 
resource with a Local Generator, regardless of whether the resource intends to use the 
Local Generator to provide a demand reduction.  Thus, the metering requirement would

37 NYISO notes that the Commission referenced these metering and telemetry 
requirements in its November 22 Order as part of its determination that NYISO had 
previously enacted measurement and verification requirements that ensure that demand 
response facilitated by behind-the-meter generation is compensated only for the demand 
reduction they actually provide.  Id. at 5 (citing November 22 Order at P 37 n.46).

38 Id. at 6.

39 Id. at 7 (citing section 2.4 of the Services Tariff, defining a “Demand Side

Resource” as  “A Resource located in the NYCA that is capable of controlling demand in a responsive, measurable and verifiable manner within time limits	 ).

Docket Nos. ER14-2006-000 and	ER11-4338-002	- 13 -

treat demand response facilitated by behind-the meter generation comparable to all other demand response resources, consistent with the November 22 Order.40

27. 	In response to Demand Response Supporters’ assertion that the proposed metering requirement on Local Generators will negatively shift the economics of participating in the DADRP, NYISO notes that resources enrolled in the DADRP have chosen not to 
participate in the DADRP at all over the past three years, so there is no basis to argue that this requirement will shift the economics of participation.41  NYISO also maintains that its proposed tariff revisions to permit demand response by behind-the-meter generation could facilitate new enrollees in the DADRP.

28. 	NYISO argues that the Commission should reject Demand Response Supporters’ protest of its proposed requirement that demand resources provide hourly-interval data for all hours of each of the thirty days preceding the day the resource is scheduled. 
NYISO states that this meter data is used to calculate the demand response resource’s baseline and restates the process it uses to calculate the baseline.42

29. 	NYISO maintains that the requirement to submit to NYISO, for measurement and 
verification purposes, a small subset of the data that is already required to be maintained 
by the demand response resource,43 and is already used by the demand response provider, 
is reasonable and does not constitute an unreasonable burden to the resource.44  NYISO 
states that it reviewed several alternatives to the proposed reporting requirement, and 
determined that its proposed requirement was the least burdensome.  NYISO notes that 
its request for the prior thirty days of data is not a rolling requirement; it is only initiated 
when the resource is scheduled.  NYISO also emphasizes that this data reporting 
requirement is in lieu of the data that is normally provided to NYISO by suppliers in 
NYISO’s energy market that communicate with NYISO through telemetry.45  NYISO

40 Id. at 7 (citing November 22 Order, 145 FERC ¶ 61,162 at P 37).

41 Id. at 8 & n.17.

42 Id. at 9 (citing section 5.1.I.A of the NYISO DADRP Manual), Id. at 10 n.20.

43 Id. at 9 (citing, e.g., Article 10 of the NYISO Services Tariff, and section 6.4 of the NYISO DADRP Manual).

44 Id. at 10.

45 NYISO states, for comparison purposes, that its reporting requirements for 
Demand Side Ancillary Services Program resources, real-time telemetry and after-the-

(continued ...)

Docket Nos. ER14-2006-000 and	ER11-4338-002	- 14 -

explains that, because it is not requiring telemetry for the DADRP, it will not have access 
to the data required to verify the value that allows for the exclusion of low usage days, or 
sufficient data to confirm the CBL against which the resource’s performance is measured, 
unless it establishes the proposed 30-day reporting requirement for each DADRP 
schedule.  NYISO explains that the current requirement to submit data to NYISO for 
settlement purposes at 55 days after the scheduled load reduction occurs, provides the 
demand response provider with sufficient time to verify the meter data, calculate the 
baseline, and determine the actual load reduction prior to submitting that load reduction 
data to the NYISO for settlement.

III.	Discussion

A.	Procedural Matters

30.	Pursuant to Rule 214 of the Commission’s Rules of Practice and Procedure,

18 C.F.R. § 385.214 (2015), the timely, unopposed motions to intervene serve to make

the entities that filed them parties to this proceeding.46

31.	Rule 213(a)(2) of the Commission’s Rules of Practice and Procedure, 18 C.F.R.

§ 385.213(a)(2)(2015), prohibits an answer to a protest unless otherwise ordered by the

decisional authority.  We will accept NYISO’s answer because it has provided

information that assisted us in the decision-making process.

B.	Substantive Matters

32.	We accept NYISO’s proposed revisions to the relevant definitions, measurement

and verification, and data reporting requirements as in compliance with the Commission’s directives in the November 22 Order.

33. 	Demand Response Supporters argue that NYISO's proposal to impose metering requirements on all behind-the-meter generators sited at a demand response resource facility is beyond the scope of this compliance proceeding, which they assert is limited to consideration of requirements for demand response resources that use behind-the-meter generators to participate in the DADRP.  We disagree for two reasons.

fact hourly interval meter data, are identical to those of other suppliers of Operating Reserves and Regulation Service.  Id. at 10 n.21.

46 We note that EnerNOC, Inc. is a member of Demand Response Supporters, who filed the Complaint in this docket, which serves to make it a party to the compliance 
filing in this docket.

Docket Nos. ER14-2006-000 and	ER11-4338-002	- 15 -

34. 	First, in the November 22 Order, the Commission required NYISO to develop 
proposed tariff provisions that “will allow resources providing demand response 
facilitated by behind-the-meter generation to participate in the DADRP on a comparable basis as all other demand response resources.”47  We find that NYISO’s proposal to 
impose metering requirements on all behind-the-meter generators sited at a demand 
response resource facility responds to the November 22 Order by seeking to treat demand response resources that have behind-the-meter generation comparably.  Thus, the 
proposal is within the scope of this proceeding.

35. 	Second, we agree with NYISO that individually metering behind-the-meter

generation enables NYISO to monitor the accuracy of the demand response resource’s baseline, and to confirm that the actual demand reduction is occurring in response to NYISO’s scheduling of the resource in its day-ahead energy market.48  Therefore, we find that NYISO’s proposal is consistent with the directive in the November 22 Order to develop requirements that ensure that “the resources are compensated only for the 
demand response service that they actually provide.”49

36. 	Demand Response Supporters also object to the costs of individually metering 
behind-the-meter generators, and they argue that the cost of the metering requirement 
outweighs any potential benefit NYISO might receive in detecting market manipulation. 
We disagree.  We note that NYISO stated that it initially proposed to stakeholders that a 
resource with a behind-the-meter generator participating in the DADRP must install a 
New York Commission-approved revenue-grade, hourly-interval meter for its behind-
the-meter generator.  NYISO stated that, in response to stakeholder cost concerns, it

revised its proposal to the more affordable hourly-interval meter that measures output of 
a behind-the meter generator within a two percent accuracy threshold.50  We find that 
NYISO’s proposal reasonably balances cost concerns and provides NYISO with the data

47 November 22 Order, 145 FERC ¶ 61,162 at P 37.

48 As NYISO notes, the Commission previously has assessed penalties where a

demand response resource improperly inflated the calculation of its baseline.  NYISO

May 2014 Filing at 7 n.22 (citing Rumford Paper Company, Order Approving Stipulation and Consent Agreement, 142 FERC ¶ 61,218 (2013); Rumford Paper Company, Order to Show Cause and Notice of Proposed Penalty, 140 FERC ¶ 61,030 (2012)).

49 November 22 Order, 145 FERC ¶ 61,162 at P 37.  Moreover, the Commission has previously accepted provisions requiring behind-the-meter generation to be metered. ISO New England Inc., Order on Compliance Filing, 138 FERC ¶ 61,042 (2012).

50 NYISO Answer at 6.

Docket Nos. ER14-2006-000 and	ER11-4338-002	- 16 -

needed to perform its monitoring functions, verify participation in the DADRP, and address the potential baseline manipulation as explained above.

37. 	Demand Response Supporters assert that NYISO’s proposed requirement to 
provide hourly-interval data for all hours of each of the 30 days preceding the day the 
resource is scheduled, is unduly burdensome.  We disagree.  We note that DADRP 
resources are already required to maintain 30 days of meter data requested by NYISO, 
which is used calculate the demand response resource’s baseline.  As NYISO explains, 
the resource’s peak hourly load is reviewed for all hours of each of the past 30 days to 
calculate the data that is used to properly determine the CBL calculation.  We agree with 
NYISO that maintaining the requirement to submit to NYISO, for measurement and 
verification purposes, a small subset of the data that is already required to be maintained 
by the demand response resource, and is already used by the demand response provider, 
is reasonable and not unduly burdensome.  We also note that NYISO’s request for the 
prior 30 days of data is not a rolling requirement; it is only initiated when the resource is 
scheduled.

38. 	Demand Response Supporters also argue that the Commission should not allow NYISO to apply the proposed metering requirement to renewable resources because 
renewable resources cannot control or manipulate their output.  We agree with NYISO that given the potential impact of behind-the-meter renewable resources on the load of a demand response resource, metering these resources is as important as metering other 
behind-the-meter resources.

39. 	As requested by NYISO, we accept the tariff changes in the May 2014 Filing

and make them effective 60 days after the issuance of this order accepting them, so that 
NYISO will have sufficient time to implement the procedures for participation in the 
DADRP of demand response facilitated by behind-the-meter generation.  NYISO also 
requested that, if the Commission has not yet accepted the proposed new sections 24.3 
and 24.4 of Attachment R of the OATT in the August 2013 Compliance Filing, in Docket 
No. ER11-4338-002, at the time that it acts on the filing in the instant proceeding, the 
Commission should authorize NYISO in the instant proceeding to apply all of the 
requirements in sections 24.3 and 24.4 of the August 2013 Compliance Filing, as they 
are amended by the instant filing.  The proposed new sections 24.3 and 24.4 in the 
August 2013 Compliance Filing describe the data that demand response resources must 
report to NYISO for enrollment, registration, settlements, and verification of participation 
in the DADRP.  No party filed comments in Docket No. ER11-4338-002 concerning 
these provisions.  We find that these proposed provisions comply with the requirements 
of the May 2013 Compliance Order, and the proposed provisions, as amended by the 
instant filing in Docket No. ER14-2006-000, comply with our November 22 Order in 
Docket No. ER14-2006-000.  We therefore grant NYISO’s request and accept these 
provisions.  We will address the remaining, proposed provisions in Docket No. ER11-
4338-002 in a future order.

Docket Nos. ER14-2006-000 and	ER11-4338-002	- 17 -

The Commission orders:

NYISO’s  tariff changes in the May 	2014 filing 	and certain, limited tariff

provisions filed to comply with Order No. 745 are hereby accepted, effective 60 days after the issuance of this order accepting them, as discussed in the body of this order.

By the Commission.

( S E A L )

Nathaniel J. Davis, Sr., 
	Deputy Secretary.