162 FERC ¶ 61,127

UNITED STATES OF AMERICA

FEDERAL ENERGY REGULATORY COMMISSION

18 CFR Part 35

[Docket Nos. RM16-23-000; AD16-20-000; Order No. 841]

Electric Storage Participation in Markets Operated by Regional Transmission 
	Organizations and Independent System Operators

(Issued February 15, 2018)

AGENCY:  Federal Energy Regulatory Commission. ACTION:  Final rule.

SUMMARY:  The Federal Energy Regulatory Commission (Commission) is amending 
its regulations under the Federal Power Act (FPA) to remove barriers to the participation 
of electric storage resources in the capacity, energy, and ancillary service markets 
operated by Regional Transmission Organizations (RTO) and Independent System 
Operators (ISO) (RTO/ISO markets).  Specifically, we require each RTO and ISO to 
revise its tariff to establish a participation model consisting of market rules that, 
recognizing the physical and operational characteristics of electric storage resources, 
facilitates their participation in the RTO/ISO markets. The participation model must

(1) ensure that a resource using the participation model is eligible to provide all capacity, 
energy, and ancillary services that the resource is technically capable of providing in the 
RTO/ISO markets; (2) ensure that a resource using the participation model can be 
dispatched and can set the wholesale market clearing price as both a wholesale seller and 
wholesale buyer consistent with existing market rules that govern when a resource can set

Docket Nos. RM16-23-000 and AD16-20-000	ii

the wholesale price; (3) account for the physical and operational characteristics of electric storage resources through bidding parameters or other means; and (4) establish a 
minimum size requirement for participation in the RTO/ISO markets that does not exceed 100 kW.  Additionally, each RTO/ISO must specify that the sale of electric energy from the RTO/ISO markets to an electric storage resource that the resource then resells back to those markets must be at the wholesale locational marginal price.  We are taking this 
action pursuant to our legal authority under section 206 of the FPA to ensure that 
RTO/ISO tariffs are just and reasonable.

In the Notice of Proposed Rulemaking (NOPR), the Commission also proposed

reforms related to distributed energy resource aggregations.  While we continue to

believe that removing barriers to distributed energy resource aggregations in the

RTO/ISO markets is important, we have determined that more information is needed with 
respect to those proposals; therefore, we will not take final action on the proposed 
distributed energy resource aggregation reforms in this proceeding.  Instead, the 
Commission will continue to explore the proposed distributed energy resource 
aggregation reforms under Docket No. RM18-9-000.  To that end, concurrent with this 
Final Rule, a Notice of Technical Conference is being issued in Docket No. RM18-9-000 
with questions related to the participation of distributed energy resource aggregations in 
the RTO/ISO markets so that we can gather additional information to help us determine 
what action to take on the distributed energy resource aggregation reforms proposed in 
the NOPR.  All comments filed in response to the NOPR in this proceeding will be 
incorporated by reference into Docket No. RM18-9-000, and any further comments

Docket Nos. RM16-23-000 and AD16-20-000	iii

regarding the proposed distributed energy resource aggregation reforms, including comments regarding the technical conference, should be filed henceforth in Docket No. RM18-9-000.

EFFECTIVE DATE: This rule will become effective [INSERT DATE 90 DAYS AFTER DATE OF PUBLICATION IN THE FEDERAL REGISTER].

FOR FURTHER INFORMATION CONTACT:

Michael Herbert (Technical Information) Office of Energy Policy and Innovation Federal Energy Regulatory Commission 888 First Street, NE

Washington, DC 20426 (202) 502-8929

michael.herbert@ferc.gov

Heidi Nielsen (Legal Information) 
Office of the General Counsel

Federal Energy Regulatory Commission 888 First Street, NE

Washington, DC 20426 (202) 502-8435

heidi.nielsen@ferc.gov

SUPPLEMENTARY INFORMATION:

- 1 -

UNITED STATES OF AMERICA

FEDERAL ENERGY REGULATORY COMMISSION

Electric Storage Participation in Markets Operated by Regional Transmission Organizations and

Independent System Operators

Electric Storage Participation in Regions with Organized Wholesale Electric Markets

ORDER NO. 841 
	FINAL RULE

TABLE OF CONTENTS

Docket Nos.   RM16-23-000

AD16-20-000

Paragraph Numbers

I.  Introduction		1.

II.  Background		7.

III.  Need for Reform		10.

1.  Comments		13.

2.  Commission Determination		19.

IV.  Discussion		22.

A.  Definition of Electric Storage Resource		22.

1.  NOPR Proposal		22.

2.  Comments		23.

3.   Commission Determination		29.

B.  Creation of a Participation Model for Electric Storage Resources		37.

1.  Participation Model for Electric Storage Resources		37.

a.  NOPR Proposal		37.

b.  Comments		38.

c.  Commission Determination		51.

2.  Qualification Criteria for the Participation Model for Electric Storage

Resources		57.

a.  NOPR Proposal		57.

b.  Comments		58.

c.  Commission Determination		61.

3.  Relationship between Electric Storage Resource Participation Model and

Docket Nos. RM16-23-000 and AD16-20-000	- 2 -

Existing Market Rules		66.

a.  NOPR Proposal		66.

b.  Comments		67.

c.  Commission Determination		68.

C.  Eligibility of Electric Storage Resources to Participate in the RTO/ISO Markets 70.

1.  Eligibility to Provide all Capacity, Energy, and Ancillary Services		70.

a.  NOPR Proposal		70.

b.  Comments		71.

c.  Commission Determination		76.

2.  Ability to De-Rate Capacity to Meet Minimum Run-Time Requirements		82.

a.  NOPR Proposal		82.

b.  Comments		83.

c.  Commission Determination		94.

3.  Energy Schedule Requirement for Provision of Ancillary Services		102.

a.  NOPR Request for Comments		102.

b.  Comments		104.

c.  Commission Determination		119.

4.  NERC Definitions		121.

a.  NOPR Request for Comment		121.

b.  Comments		122.

c.  Commission Determination		126.

D.  Participation in the RTO/ISO Markets as Supply and Demand		127.

1.  Eligibility to Participate as a Wholesale Seller and Wholesale Buyer		127.

a.  NOPR Proposal		127.

b.  Comments		129.

i.  Wholesale Seller/Wholesale Buyer		129.

ii.  Dispatchability		136.

iii.  Limitations on Price Setting		138.

c.  Commission Determination		142.

2.  Mechanisms to Prevent Conflicting Dispatch Instructions		151.

a.  NOPR Request for Comments		151.

b.  Comments		152.

c.  Commission Determination		162.

3.  Make-Whole Payments		166.

a.  NOPR Request for Comments		166.

b.  Comments		167.

c.  Commission Determination		174.

E.  Physical and Operational Characteristics of Electric Storage Resources		180.

1.  Requirement to Incorporate Bidding Parameters as Part of the Electric Storage

Resource Participation Model		180.

a.  NOPR Proposal		180.

b.  Comments		181.

c.  Commission Determination		189.

Docket Nos. RM16-23-000 and AD16-20-000	- 3 -

2.  State of Charge, Upper and Lower Charge Limits, and Maximum Charge and

Discharge Rates		195.

a.  NOPR Proposal		195.

b.  Comments		196.

i.  State of Charge		197.

ii.  Upper and Lower Charge Limit		208.

iii.  Maximum Energy Charge and Discharge Rate		209.

c.  Commission Determination		211.

3.  Minimum Charge Time, Maximum Charge Time, Minimum Run Time, and

Maximum Run Time		217.

a.  NOPR Proposal		217.

b.  Comments		218.

c.  Commission Determination		220.

4.  Additional Physical and Operational Characteristics		225.

a.  Comments		225.

b.  Commission Determination		229.

5.  Summary of Physical and Operational Characteristics of Electric Storage

Resources		236.

F.  State of Charge Management		237.

1.  NOPR Proposal		237.

2.  Comments		238.

3.  Commission Determination		251.

G.  Minimum Size Requirement		258.

1.  NOPR Proposal		258.

2.  Comments		259.

3.  Commission Determination		270.

H.  Energy Used to Charge Electric Storage Resources		277.

1.  Price for Charging Energy		277.

a.  NOPR Proposal		277.

b.  Comments		278.

c.  Commission Determination		294.

2.  Metering and Accounting Practices for Charging Energy		303.

a.  NOPR Proposal		303.

b.  Comments		304.

c.  Commission Determination		322.

I.  Issues Outside the Scope of this Final Rule		329.

1.  Comments		329.

2.  Commission Determination		331.

V.  Compliance Requirements		332.

A.  NOPR Proposal		332.

B.  Comments		335.

C.  Commission Determination		348.

Docket Nos. RM16-23-000 and AD16-20-000	- 4 -

VI.  Information Collection Statement		351.

VII.  Environmental Analysis		355.

VIII.  Regulatory Flexibility Act Certification		356.

IX.  Document Availability		361.

X.  Effective Date and Congressional Notification		364.

XI.  Regulatory Text

XII.  Appendix A:  Abbreviated Names of Commenters

- 5 -

162 FERC ¶ 61,127

UNITED STATES OF AMERICA

FEDERAL ENERGY REGULATORY COMMISSION

Before Commissioners:  Kevin J. McIntyre, Chairman;

Cheryl A. LaFleur, Neil Chatterjee,

Robert F. Powelson, and Richard Glick.

Electric Storage Participation in Markets Operated by Regional Transmission Organizations and Independent System Operators

Electric Storage Participation in Regions with Organized Wholesale Electric Markets

ORDER NO. 841 
	FINAL RULE

Docket Nos. RM16-23-000

AD16-20-000

(Issued February 15, 2018)

I.	Introduction

In this Final Rule, the Federal Energy Regulatory Commission (Commission) is

adopting reforms to remove barriers to the participation of electric storage resources1 in 
the Regional Transmission Organization and Independent System Operator markets 
(RTO/ISO markets).2  For the reasons discussed below, we find that existing RTO/ISO

1 We define an electric storage resource as a resource capable of receiving electric energy from the grid and storing it for later injection of electric energy back to the grid. See infra PP 29-36.

2 For purposes of this Final Rule, we define RTO/ISO markets as the capacity,

energy, and ancillary services markets operated by the RTOs and ISOs. We note that, in 
the Notice of Proposed Rulemaking in this proceeding, the Commission used “organized 
wholesale electric markets” and included that term in the proposed regulatory text.  See 
Electric Storage Participation in Markets Operated by Regional Transmission 
Organizations and Independent System Operators, Notice of Proposed Rulemaking,

Docket Nos. RM16-23-000 and AD16-20-000	- 6 -

market rules are unjust and unreasonable in light of barriers that they present to the

participation of electric storage resources in the RTO/ISO markets, thereby reducing

competition and failing to ensure just and reasonable rates.  To help ensure that the

RTO/ISO markets produce just and reasonable rates, pursuant to the Commission’s legal 
authority under Federal Power Act (FPA) section 206,3 the Commission modifies 
section 35.28 of its regulations4 to require each RTO/ISO to revise its tariff to establish 
market rules that, recognizing the physical and operational characteristics of electric 
storage resources, facilitate their participation in the RTO/ISO markets, as discussed 
further below.

As the Commission explained in the NOPR, barriers to the participation of new

technologies, such as many types of electric storage resources, in the RTO/ISO markets 
can emerge when the rules governing participation in those markets are designed for 
traditional resources and in effect limit the services that emerging technologies can 
provide.5  For instance, electric storage resources in MISO that want to sell services other 
than frequency regulation would not have bidding parameters for electric storage

FERC Stats. & Regs. ¶ 32,718 (2016) (NOPR).  We find that using “RTO/ISO markets” 
is sufficient to describe the markets at issue in this Final Rule and therefore will no longer 
use “organized wholesale electric markets” here or include that term in the regulatory 
text.

3 16 U.S.C. § 824e (2012).

4 18 CFR § 35.28 (2017).

5 See NOPR, FERC Stats. & Regs. ¶ 32,718 at P 2.

Docket Nos. RM16-23-000 and AD16-20-000	- 7 -

resources available to them and it is unclear if or how they would be eligible to purchase 
energy from the MISO market.6  Where such conditions exist, resources that are 
technically capable of providing services are precluded from competing with resources 
that are already participating in the RTO/ISO markets.  This restriction on competition 
can reduce the efficiency of the RTO/ISO markets, potentially leading an RTO/ISO to 
dispatch more expensive resources to meet its system needs.  By removing barriers to the 
participation of electric storage resources in the RTO/ISO markets, our actions in this 
Final Rule will enhance competition and, in turn, help to ensure that the RTO/ISO 
markets produce just and reasonable rates.  Furthermore, due to electric storage 
resources’ unique physical and operational characteristics—including their ability to both 
inject energy into the grid and receive energy from it—our actions here will help support 
the resilience of the bulk power system.

To address barriers to the participation of electric storage resources in the RTO/ISO 
markets, in this Final Rule, we require each RTO/ISO to revise its tariff to establish a 
participation model consisting of market rules that, recognizing the physical and 
operational characteristics of electric storage resources, facilitates their participation in 
the RTO/ISO markets.  The RTOs/ISOs generally have a set of tariff provisions that 
apply to all market participants.  In addition, the RTOs/ISOs create tariff provisions for 
specific types of resources when those resources have unique physical and operational

6 See MISO Data Request Response, Docket No. AD16-20-000, at 14, 17 (filed May 16, 2016) (MISO Data Request Response).

Docket Nos. RM16-23-000 and AD16-20-000	- 8 -

characteristics or other attributes that warrant distinctive treatment from other market participants.7  These distinct tariff provisions that are created for a particular type of 
resource are what we refer to in this Final Rule as a participation model.  Accordingly, the participation model for electric storage resources that we require in this Final Rule is a set of tariff provisions that will help facilitate the participation of electric storage 
resources in the RTO/ISO markets.

For each RTO/ISO, the tariff provisions for the participation model for electric 
storage resources must (1) ensure that a resource using the participation model for 
electric storage resources is eligible to provide all capacity, energy, and ancillary 
services that it is technically capable of providing in the RTO/ISO markets; (2) ensure 
that a resource using the participation model for electric storage resources can be 
dispatched and can set the wholesale market clearing price as both a wholesale seller and 
wholesale buyer consistent with existing market rules that govern when a resource can 
set the wholesale price; (3) account for the physical and operational characteristics of

7 As examples of RTO/ISO participation models, we point to Non-Generator

Resources in CAISO, Alternative Technology Regulation Resources in ISO-NE,

Generation Resources in MISO, Energy Limited Resources in NYISO, Economic Load 
Response resources in PJM, and Variable Energy Resources in SPP.  See CAISO Data 
Request Response, Docket No. AD16-20-000, at 2 (filed May 16, 2016) (CAISO Data 
Request Response); ISO-NE Data Request Response, Docket No. AD16-20-000, at 3 
(filed May 16, 2016) (ISO-NE Data Request Response); MISO Data Request Response 
at 4; NYISO Data Request Response, Docket No. AD16-20-000, at 2-3 (filed May 16, 
2016) (NYISO Data Request Response); PJM Data Request Response, Docket

No. AD16-20-000, at 5 (PJM Data Request Response); SPP Data Request Response, 
Docket No. AD16-20-000, at 3 (filed May 16, 2016) (SPP Data Request Response).

Docket Nos. RM16-23-000 and AD16-20-000	- 9 -

electric storage resources through bidding parameters or other means; and (4) establish a 
minimum size requirement for participation in the RTO/ISO markets that does not 
exceed 100 kW.  Additionally, each RTO/ISO must specify that the sale of electric 
energy from the RTO/ISO markets to an electric storage resource that the resource then 
resells back to those markets must be at the wholesale locational marginal price (LMP). 
	In the NOPR, the Commission also proposed reforms related to distributed energy resource aggregations.8  While we continue to believe removing barriers to distributed energy resource aggregations in the RTO/ISO markets is important, we have determined that more information is needed with respect to those proposals; therefore, we will not take final action on the proposed distributed energy resource aggregation reforms in this proceeding.9  Instead, the Commission will continue to explore the proposed distributed energy resource aggregation reforms under Docket No. RM18-9-000.  To that end, 
concurrent with this Final Rule, a Notice of Technical Conference is being issued in 
Docket No. RM18-9-000 with questions related to the participation of distributed energy 
resource aggregations in the RTO/ISO markets so that we can gather additional 
information to help us determine what action to take on the distributed energy resource 
aggregation reforms proposed in the NOPR.10  All comments filed in response to the

8 See NOPR, FERC Stats. & Regs. ¶ 32,718 at PP 1-16, 103-158.

9 We clarify that the reforms adopted here regarding electric storage resources represent final agency action subject to rehearing and appeal.

10 Notice of Technical Conference, Docket No. RM18-9-000 (Feb. 15, 2018).

Docket Nos. RM16-23-000 and AD16-20-000	- 10 -

NOPR in this proceeding will be incorporated by reference into Docket No. RM18-9-
000, and any further comments regarding the proposed distributed energy resource 
aggregation reforms, including comments regarding the technical conference, should be filed henceforth in Docket No. RM18-9-000.11

As discussed further below, each RTO/ISO must file the tariff changes needed to implement the requirements of this Final Rule within 270 days of the publication date of this Final Rule in the Federal Register.  We will allow each RTO/ISO a further 365 days from that date to implement the tariff provisions.

II.   Background

Electric storage resources have unique physical and operational characteristics,

namely their ability to both inject energy to the grid and receive energy from it.  Certain 
electric storage resources, such as pumped-hydro resources,12 have been participating in 
the RTO/ISO markets for many years, and, as the RTOs/ISOs have gained experience 
with these resources, the RTOs/ISOs have found new ways to facilitate the participation

11 Further comments regarding the proposed distributed energy resource 
aggregation reforms should no longer be filed in Docket No. RM16-23-000.

12 Pumped-hydro storage projects move water between two reservoirs located at 
different elevations (i.e., an upper and lower reservoir) to store energy and generate 
electricity.  See https://www.ferc.gov/industries/hydropower/gen-info/licensing/pump-
storage.asp.

Docket Nos. RM16-23-000 and AD16-20-000	- 11 -

of pumped-hydro resources.13  More recently, other types of electric storage resources, 
such as batteries and flywheels, are participating in the RTO/ISO markets.14 
	As the capabilities of electric storage resources improve and their costs decline to the point that they may be competitive with existing resources,15 the Commission has become concerned that these resources face barriers that limit their participation in the RTO/ISO markets.  To further examine this issue, the Commission hosted a panel to discuss electric storage resources at its November 19, 2015 open meeting.  Subsequently, on April 11, 2016, Commission staff issued data requests to each of the six RTOs/ISOs seeking information about the rules in the RTO/ISO markets that affect the participation of electric storage resources.16  Concurrently, Commission staff issued a request for

13 See, e.g., ISO New England Inc., Docket Nos. ER16-954-000 and ER16-954-
001 (March 22, 2016) (delegated letter order).

14 Midwest Indep. Trans. Sys. Operator, Inc., 129 FERC ¶ 61,303 (2009); NYISO 
Services Tariff, section 2.12 (defining “Limited Energy Storage Resource” as “[a] 
Generator authorized to offer Regulation Service only and characterized by limited 
Energy storage, that is, the inability to sustain continuous operation at maximum Energy 
withdrawal or maximum Energy injection for a minimum period of one hour”); PJM 
Operating Agreement, Schedule 1, section 1.3 (defining an “Energy Storage Resource” as 
“[a] flywheel or battery storage facility solely used for short term storage and injection of 
energy at a later time to participate in the PJM energy and/or ancillary services markets 
as a Market Seller.”)

15 See, e.g., Lazard’s Levelized Cost of Storage Analysis - Version 3.0 (Nov. 
2017), available at https://www.lazard.com/media/450338/lazard-levelized-cost-of-
storage-version-30.pdf.

16 Specifically, Commission staff requested information related to (1) the

eligibility of electric storage resources to participate in the capacity, energy, and ancillary 
service markets in the RTOs/ISOs; (2) the technical qualification and performance 
requirements for market participants; (3) the bidding parameters for different types of

Docket Nos. RM16-23-000 and AD16-20-000	- 12 -

comments, seeking information from interested persons on whether barriers exist to the participation of electric storage resources in the RTO/ISO markets that may potentially lead to unjust and unreasonable wholesale rates.  In addition to the responses from the RTOs/ISOs, Commission staff received 44 comments.

On November 17, 2016, the Commission issued the NOPR in this proceeding,

proposing to amend its regulations under the FPA to remove barriers to the participation of electric storage resources in the RTO/ISO markets.  The Commission received 
109 comments on the NOPR proposals from a diverse set of stakeholders.17

III.  Need for Reform

In the NOPR, the Commission stated that its proposal in this proceeding is a

continuation of efforts pursuant to its authority under the FPA to ensure that the

RTO/ISO tariffs and market rules produce just and reasonable rates, terms and

conditions of service.18  Specifically, the Commission noted that it has observed that

resources; (4) opportunities for distribution-level and aggregated electric storage

resources to participate in the RTO/ISO markets; (5) the treatment of electric storage resources when they are receiving electricity for later injection to the grid; and (6) any forthcoming rule changes or other stakeholder initiatives that may affect the participation of electric storage resources in the RTO/ISO markets.

17 See Appendix A for a list of entities that submitted comments and the shortened names used throughout this Final Rule to describe those entities.

18 See NOPR, FERC Stats. & Regs. ¶ 32,718 at P 9 (citing Integration of Variable 
Energy Resources, Order No. 764, FERC Stats. & Regs. ¶ 31,331, order on reh’g, Order 
No. 764-A, 141 FERC ¶ 61,232 (2012), order on reh’g, Order No. 764-B, 144 FERC 
¶ 61,222 (2013); Wholesale Competition in Regions with Organized Electric Markets, 
Order No. 719, FERC Stats. & Regs. ¶ 31,281 (2008), order on reh’g, Order No. 719-A,

Docket Nos. RM16-23-000 and AD16-20-000	- 13 -

market rules designed for traditional resources can create barriers to entry for emerging technologies.  The Commission explained that it was proposing to require the 
RTOs/ISOs to address barriers to the participation of electric storage resources in the RTO/ISO markets.19

The Commission acknowledged in the NOPR that electric storage resources are

already providing energy and ancillary services in some RTO/ISO markets.20  However, 
the Commission explained that these resources must often use existing participation 
models designed for traditional generation or load resources that do not recognize 
electric storage resources’ unique physical and operational characteristics and their 
capability to provide capacity, energy, and ancillary services in the RTO/ISO markets.21 
Even where the RTOs/ISOs have established distinct participation models for electric 
storage resources, the Commission stated that those models limit the services that 
electric storage resources may provide22 or are designed for electric storage resources

FERC Stats. & Regs. ¶ 31,292 (2009), order on reh’g, Order No. 719-B, 129 FERC ¶ 61,252 (2009)).

19 See id. P 10.

20 See id. P 11.

21 See id. PP 11-12.

22 See id. P 11 (citing Midwest Indep. Trans. Sys. Operator, Inc., 129 FERC

¶ 61,303 at PP 40, 64; MISO FERC Electric Tariff, section 1.S (Stored Energy

Resources); NYISO Services Tariff, section 2.12 (defining Limited Energy Storage

Resource as a “Generator authorized to offer Regulation Service only and characterized 
by limited Energy storage, that is, the inability to sustain continuous operation at 
maximum Energy withdrawal or maximum Energy injection for a minimum period of

Docket Nos. RM16-23-000 and AD16-20-000	- 14 -

with very specific characteristics (such as pumped-hydro facilities or resources with a

maximum run-time that is less than one hour).  The Commission also noted that existing 
RTO/ISO tariffs generally limit smaller electric storage resources to participating in the 
RTO/ISO markets as demand response resources, which can restrict these electric 
storage resources’ ability to employ their full operational range, prohibit them from 
injecting power onto the grid, and preclude them from providing certain services that 
they are technically capable of providing (such as operating reserves). 
	Thus, the Commission preliminarily found that current tariffs that do not recognize the operational characteristics of electric storage resources limit the participation of 
electric storage resources in the RTO/ISO markets and result in inefficient use of these 
resources.23  As a result, the Commission stated that the RTOs/ISOs may not efficiently 
dispatch resources, including electric storage resources, thereby reducing competition in 
the RTO/ISO markets.  The Commission stated that limiting the services an electric 
storage resource is eligible to provide and limiting the efficiency with which it is 
dispatched to provide services could also inhibit developers’ incentives to design their 
electric storage resources to provide all capacity, energy, and ancillary services that these 
resources could otherwise provide, further reducing competition in the RTO/ISO

one hour.”)).  The Commission noted that NYISO limits Limited Energy Storage

Resources to providing regulation service only and Demand Side Resources and

Generators that can sustain operation for longer than one hour are not eligible to be

Limited Energy Storage Resources.  Id. (citing NYISO Data Request Response at 3-4).

23 See id. P 12.

Docket Nos. RM16-23-000 and AD16-20-000	- 15 -

markets.  The Commission stated that effective integration of electric storage resources into the RTO/ISO markets would enhance competition and, in turn, help to ensure that these markets produce just and reasonable rates.

A.	Comments

In response to the NOPR, commenters elaborate on the degree to which, and how, 
existing RTO/ISO market rules pose barriers to the participation of electric storage 
resources in the RTO/ISO markets and the impact of those barriers.24  For example, 
Advanced Energy Economy and GridWise state that RTO/ISO tariffs often lack 
participation models that allow for participation by advanced energy technologies, apply 
unnecessary and burdensome technical requirements originally developed for traditional 
generation technologies, or impose performance requirements that arbitrarily exclude 
advanced technologies.

Alevo, Eagle Crest, Massachusetts State Entities, and NYISO Indicated

Transmission Owners claim that RTO/ISO market rules hinder the full participation of 
electric storage resources by failing to recognize these resources’ unique operating 
characteristics and requiring them to use market rules designed for other types of 
resources, such as generation.25  For example, Massachusetts State Entities explain that, 
in ISO-NE, electric storage resources have to use participation models for pumped-hydro

24 See Advanced Energy Economy Comments at 14-15; GridWise Comments at 3.

25 See Alevo Comments at 4-6; Eagle Crest Comments at 5; Massachusetts State 
Entities Comments at 13-14; NYISO Indicated Transmission Owners Comments at 3.

Docket Nos. RM16-23-000 and AD16-20-000	- 16 -

resources, which do not take advantage of the flexibility of newer electric storage technologies.

A few commenters emphasize that making market rules technology neutral will

remove barriers to entry for electric storage resources.  For example, several commenters 
argue that market design should be technology neutral to ensure equal access to 
markets26 and to reduce long-term investment risk associated with developing electric 
storage resources.27  Microgrid Resources Coalition shares the Commission’s concerns 
that the varying participation models among RTOs/ISOs limit market opportunities for 
new technologies.28

While commenters addressed concerns with specific aspects of the NOPR proposals, 
most commenters, including the RTOs/ISOs, generally agree that the Commission 
should act to remove barriers to the participation of electric storage resources in the 
RTO/ISO markets.29  Further, commenters state that allowing electric storage resources

26 See AES Companies Comments at 14; Alevo Comments at 7-8; EEI Comments at 6-7; Efficient Holdings Comments at 2, 5; ELCON Comments at 2-4; GridWise 
Comments at 3; Tesla/SolarCity Comments at 10-11.

27 See Massachusetts State Entities Comments at 9.

28 See Microgrid Resources Coalition Comments at 2.

29 See, e.g., Advanced Energy Economy Comments at 1, 3-6, 8-17; American

Petroleum Institute Comments at 2; APPA/NRECA Comments at 1-2; EEI Comments at 
2-4; EPRI Comments at 2; EPSA/PJM Power Providers Comments at 3, 6-9, 11-12; 
Energy Storage Association Comments at 3-5; IRC Comments at 2; NARUC Comments 
at 3; National Hydropower Association Comments at 2-4; TAPS Comments at 1.

Docket Nos. RM16-23-000 and AD16-20-000	- 17 -

to fully participate in the RTO/ISO markets could create more reliable and resilient 
electric markets and could provide energy security, fuel diversity, and valuable fast-
responding capability to the RTO/ISO markets.30  CAISO explains that there is no 
reason to exclude an electric storage resource from providing an existing wholesale 
electric service if that resource has the technical capabilities required to do so.31

Some commenters note that implementation of the reforms proposed in the NOPR 
could improve competition and/or efficiency in the RTO/ISO markets and provide other 
system benefits.32  More specifically, Energy Storage Association contends that the 
benefits from participation of electric storage resources in the RTO/ISO markets include 
avoided capacity payments, lower peak prices, reduced need for traditional generators to 
cycle, facilitating effective ramp management, avoiding generator start-up and shut-
down costs, and absorbing over-generation.  Dominion argues that recognizing the 
characteristics of electric storage resources can lead to more efficient dispatch and 
utilization of resources.  In addition, City of New York, Energy Storage Association,

30 See, e.g., IRC Comments at 2; ISO-NE Comments at 1, 4; NYISO Comments at 2; SPP Comments at 1-2.

31 See CAISO Comments at 3.

32 See, e.g., Dominion Comments at 4-5; Energy Storage Association Comments 
at 4 (citing Massachusetts Department of Energy Resources, State-of-Charge: 
Massachusetts Energy Storage Initiative Study (Sept. 2016), available at 
http://www.mass.gov/eea/docs/doer/state-of-charge-report.pdf); Imperial Irrigation 
District Comments at 6; IRC Comments at 2; ISO-NE Comments at 1; Starwood Energy 
Comments at 3; TechNet Comments at 1; Telsa/SolarCity Comments at 1.

Docket Nos. RM16-23-000 and AD16-20-000	- 18 -

NYISO, Sunrun, and Tesla/SolarCity suggest that the NOPR reforms will lead to lower 
costs for consumers,33 while Silicon Valley Leadership Group and Starwood Energy 
state that use of electric storage resources will reduce greenhouse gas emissions.34 
Institute for Policy Integrity explains that new storage technologies can reduce 
dependence on expensive transmission infrastructure.35  Commenters also argue that 
electric storage resources can improve grid “resiliency” in the event of a significant 
weather emergency.36

EPSA/PJM Power Providers argue that, because there are many unanswered

questions (such as the cost of software changes), the Commission should not develop generic requirements for the RTOs/ISOs in a final rule without a clear record that such specification will not constrain any particular region.37

B.	Commission Determination

For the reasons discussed below, we find that existing RTO/ISO market rules are 
unjust and unreasonable in light of barriers that they present to the participation of

33 See City of New York Comments at 4; Energy Storage Association Comments 
at 4; NYISO Comments at 2; Sunrun Comments at 1; Tesla/SolarCity Comments at 2, 5.

34 See Silicon Valley Leadership Group Comments at 1; Starwood Energy Comments at 3.

35 See Institute for Policy Integrity Comments at 3.

36 See Advanced Energy Economy Comments at 3; Institute for Policy Integrity Comments at 3; IRC Comments at 2; Massachusetts State Entities Comments at 17; SPP Comments at 2.

37 EPSA/PJM Power Providers Comments at 12-13.

Docket Nos. RM16-23-000 and AD16-20-000	- 19 -

electric storage resources in the RTO/ISO markets, thereby reducing competition and

failing to ensure just and reasonable rates.  Specifically, RTO/ISO market rules that limit the services that electric storage resources are technically capable of providing may 
create barriers to the participation of electric storage resources in the RTO/ISO markets. Barriers also exist in the RTOs/ISOs that have already adopted market rules that provide for the participation of electric storage resources because these participation models 
were often designed for electric storage resources with very specific characteristics (such as pumped-hydro resources or other electric storage resources with a maximum run-time that is less than one hour), thus limiting electric storage resources from providing the full range of services they are technically capable of providing.

These barriers adversely affect competition in the RTO/ISO markets by limiting the 
participation of resources that are technically capable of providing services in those 
markets.  Moreover, these barriers reduce competition and market efficiency by 
inhibiting developers’ incentives to design their electric storage resources to provide all 
capacity, energy, and ancillary services that these resources could otherwise provide. 
We find that better integration of electric storage resources into the RTO/ISO markets is 
necessary to enhance competition and, in turn, help to ensure that these markets produce 
just and reasonable rates.  Accordingly, as discussed further below, we require each 
RTO/ISO to revise its tariffs to remove barriers to the participation of electric storage 
resources in the RTO/ISO markets.

While we agree with EPSA/PJM Power Providers that it is necessary to provide 
each RTO/ISO with flexibility in the manner it incorporates certain aspects of these

Docket Nos. RM16-23-000 and AD16-20-000	- 20 -

reforms into its tariff as explained below, we find that the record in this proceeding

provides sufficient basis for requiring the generic requirements discussed herein.

IV.  Discussion

A.	Definition of Electric Storage Resource

1.	NOPR Proposal

For the purpose of defining the set of resources for which an RTO/ISO must create a participation model, in the NOPR, the Commission proposed to define an electric storage resource as “a resource capable of receiving electric energy from the grid and storing it for later injection of electricity back to the grid regardless of where the resource is 
located on the electrical system.”38  The Commission stated that these resources include all types of electric storage technologies, regardless of their size, storage medium 
(e.g., batteries, flywheels, compressed air, pumped-hydro, etc.), or whether the resource is located on the interstate grid or on a distribution system.

2.	Comments

The comments received on the proposed definition of electric storage resources

generally ask the Commission to modify or clarify the definition but disagree on how the 
Commission should do so.  Some commenters ask the Commission to modify or clarify 
the definition of electric storage resource to broaden its application.  For example, they 
raise concerns with how the Commission’s proposed definition treats behind-the-meter

38 See NOPR, FERC Stats. & Regs. ¶ 32,718 at P 10.

Docket Nos. RM16-23-000 and AD16-20-000	- 21 -

resources.  First, Energy Storage Association argues that the NOPR definition only

applies to resources connected directly to the transmission or distribution system and, 
therefore, asks the Commission to extend these reforms to behind-the-meter electric 
storage resources that net inject energy to the grid.39  Second, some commenters ask that the Commission extend the NOPR reforms to behind-the-meter resources that do not 
inject power back to the grid.40  Advanced Microgrid Solutions and Stem note that the 
definition of an electric storage resource in the NOPR implies that all such resources will inject electricity back to the grid.  However, Advanced Microgrid Solutions and Stem 
argue that behind-the-meter electric storage resources can provide value to the grid even when they do not inject electricity to the grid.  Advanced Microgrid Solutions and Stem thus ask the Commission to clarify that behind-the-meter electric storage resources that do not inject electricity back to the grid can use the participation model for electric 
storage resources to participate in the RTO/ISO markets.

Advanced Energy Economy expresses a related concern, arguing that the

Commission’s proposed definition of an electric storage resource does not capture all

energy storage technologies, such as thermal and kinetic storage; storage co-located with 
generation resources (including variable resources) on the transmission grid; and other 
types of technologies that can perform an energy storage function but may not physically

39 See Energy Storage Association Comments at 7, 21-22.

40 See Advanced Energy Economy Comments at 18-20; Advanced Microgrid Solutions Comments at 10; Stem Comments at 6.

Docket Nos. RM16-23-000 and AD16-20-000	- 22 -

export electricity to the wholesale grid.  Advanced Energy Economy suggests that the 
Commission remedy this concern by revising the definition of an electric storage 
resource to include all storage technologies that are capable of converting electric energy 
into stored energy and later supplying electric energy (either back to the grid or to a host 
customer or site).

In contrast, other commenters recommend that the Commission narrow its proposed 
definition of an electric storage resource.41  Robert Borlick urges the Commission to 
limit the application of its proposed reforms to those electric storage resources that 
directly connect to transmission systems controlled by RTOs/ISOs, citing potential 
adverse impacts of distribution-interconnected resources on power systems.  Xcel 
Energy Services also suggests that the proposed reforms should apply only to electric 
storage resources connected to the transmission system.  While TAPS strongly supports 
facilitating the participation of transmission-interconnected storage and believes that 
distribution-interconnected storage could yield benefits to the RTO/ISO markets, it 
cautions that distribution-interconnected storage should comply with distribution utility 
tariffs and rates for delivery of energy between the transmission system and the 
resource’s point of interconnection to the distribution system (including provisions 
related to losses and other terms and conditions of service), both for the resource’s sales

41 See Robert Borlick Comments at 2; Xcel Energy Services Comments at 3-4.

Docket Nos. RM16-23-000 and AD16-20-000	- 23 -

to the RTO/ISO markets and the resource’s purchases of energy from the RTO/ISO markets.42

Several commenters address the implications of the proposed definition for state and 
federal jurisdiction.  Connecticut State Entities state that they welcome the 
Commission’s efforts to fully provide resources access to wholesale electric markets 
without changing existing state and federal jurisdiction.43  Some commenters express 
concerns regarding the jurisdictional implications of including electric storage resources 
connected at the distribution level in the definition of an electric storage resource.44 
NARUC asserts that state authority must remain intact under any final rule. 
Organization of MISO States supports the NOPR on the condition that state and other 
regulatory jurisdiction is maintained.  APPA/NRECA, Maryland and New Jersey 
Commissions, MISO Transmission Owners, and NYISO Indicated Transmission Owners 
state that RTO/ISO market rules and Commission policy must maintain the ability of 
state and local authorities to regulate existing and future electric storage resources that 
interconnect at the distribution level or behind a customer meter and provide retail- or 
distribution-level services without the Commission considering such action as a barrier

42 See TAPS Comments at 28-29.

43 See Connecticut State Entities Comments at 7.

44 See APPA/NRECA Comments at 3-4; Maryland and New Jersey Commissions Comments at 3; Massachusetts State Entities Comments at 9; MISO Transmission 
Owners Comments at 6; NARUC Comments at 4; NYISO Indicated Transmission 
Owners Comments at 4; Organization of MISO States Comments at 1-2.

Docket Nos. RM16-23-000 and AD16-20-000	- 24 -

to participation in wholesale markets.  This request includes Commission confirmation of state jurisdiction over matters such as distribution system design, interconnection to the distribution system, distribution system operations, distribution power quality, the ability of electric storage resources to participate in programs at the distribution level, and distribution system costs.  APPA/NRECA believe that the NOPR confines the 
proposed reforms to the RTO/ISO markets and urge the Commission to reject requests to expand the scope of this final rule beyond that limited scope.

DTE Electric/Consumers Energy and MISO Transmission Owners assert that the Commission should allow states to decide whether electric storage resources in their state that are located on the distribution system or behind a retail meter are permitted to participate in the RTO/ISO markets through the electric storage resource participation model proposed in the NOPR.45  Massachusetts Municipal Electric asks the Commission to clarify that its proposed reforms will enable, but not compel, electric storage resources located behind the meter to participate in the RTO/ISO markets.46

In contrast, Genbright argues that the Commission must not only assert primary

jurisdiction over electric storage resources’ sales of services in the RTO/ISO markets but also ensure that RTOs/ISOs do not rely on ad hoc interpretations of retail rules and

45 See DTE Electric/Consumers Energy Comments at 7; MISO Transmission Owners Comments at 4, 7.

46 See Massachusetts Municipal Electric Comments at 2.

Docket Nos. RM16-23-000 and AD16-20-000	- 25 -

regulations to erect barriers to the participation of electric storage resources in those markets.47

3.	Commission Determination

Consistent with the NOPR proposal, in this Final Rule, we revise section 35.38(b) of 
the Commission’s regulations to define an electric storage resource as “a resource 
capable of receiving electric energy from the grid and storing it for later injection of 
electric energy back to the grid.”  We find that removing the phrase “regardless of where 
the resource is located on the electrical system” from the NOPR proposal and instead 
clarifying where an electric storage resources may be located does not change the 
applicability of the definition and will also provide a more adaptable definition for other 
Commission actions.48  We clarify that this definition is intended to cover electric 
storage resources capable of receiving electric energy from the grid and storing it for 
later injection of electric energy back to the grid, regardless of their storage medium 
(e.g., batteries, flywheels, compressed air, and pumped-hydro).  Additionally, consistent 
with the NOPR proposal, we clarify that electric storage resources located on the 
interstate transmission system, on a distribution system, or behind the meter fall under 
this definition, subject to the additional clarifications provided below.  By including all

47 See Genbright Comments at 3-4.

48 See, e.g., Essential Reliability Services and the Evolving Bulk-Power System— 
Primary Frequency Response, Final Rule, Electric Storage Participation in Markets 
Operated by Regional Transmission Organizations and Independent System Operators,

162 FERC ¶ 61,128 (2018), Notice of Proposed Rulemaking, FERC Stats. & Regs. ¶ 32,718, Notice of Inquiry, FERC Stats. & Regs. ¶ 35,576 (2016).

Docket Nos. RM16-23-000 and AD16-20-000	- 26 -

electric storage technologies, and by allowing resources that are interconnected to the transmission system, distribution system, or behind the meter to use the participation model for electric storage resources, we are ensuring that the market rules will not be designed for any particular electric storage technology.

We observe that an electric storage resource that injects electric energy back to the grid for purposes of participating in an RTO/ISO market engages in a sale of electric 
energy at wholesale in interstate commerce.49  As a result, such an electric storage 
resource must fulfill certain responsibilities set forth in the FPA and the Commission’s rules and regulations.50

We disagree with commenters who assert that the definition of an electric storage 
resource should be limited to those electric storage resources that are interconnected to 
the transmission system.  Electric storage resources interconnected to the distribution 
system are already participating in the RTO/ISO markets,51 and they should continue to

49 We note that injections of electric energy back to the grid do not necessarily

trigger the Commission’s jurisdiction.  See Sun Edison LLC, 129 FERC ¶ 61,146 (2009), reh’g granted on other grounds, 131 FERC ¶ 61,213 (2010) (the Commission’s 
jurisdiction would arise only when a facility operating under a state net metering program produces more power than it consumes over the relevant netting period); MidAmerican Energy Co., 94 FERC ¶ 61,340 (2001).

50 Examples of such responsibilities include filing rates under FPA section 205 (potentially including obtaining market-based rate authority); submitting FPA sections 203 and 204 filings related to corporate mergers and other activities; and fulfilling FPA section 301 accounting obligations and FPA section 305(b) interlocking directorate obligations.  See 16 U.S.C. §§ 824b, 824c, 824d, 825, 825d(b).

51 See, e.g., PJM Interconnection L.L.C., 149 FERC ¶ 61,185 (2014), order on reh’g, 151 FERC ¶ 61,231 (2015).

Docket Nos. RM16-23-000 and AD16-20-000	- 27 -

be able to do so.  Such a limitation also would be inconsistent with the participation of other types of resources because various types of traditional generation and demand-side resources that are not connected directly to the transmission system currently participate in the RTO/ISO markets.

Some commenters argue that the Commission should broaden its definition of an 
electric storage resource to apply to behind-the-meter resources that do not inject 
electricity onto the grid.  We decline to do so.  Through this Final Rule, we seek to 
ensure that RTO/ISO market rules account for the unique physical and operational 
characteristic of electric storage resources, namely their bidirectional capability to both 
inject energy to the grid and receive energy from it.  Expanding the definition of an 
electric storage resource to include behind-the-meter resources that do not inject electric 
energy onto the grid would not advance this purpose because they would not be injecting 
electric energy back to the grid.  In addition, we have previously found that behind-the-
meter resources that do not inject electric energy onto the grid are considered demand 
response.52  There are existing participation models for demand response that already 
have well-established rules that are in some cases unique to demand response and we do 
not want the requirements of this Final Rule to disrupt or otherwise conflict with those 
rules.53

52 See ISO New England Inc., 138 FERC ¶ 61,042, at PP 76-86, reh’g denied, 139 FERC ¶ 61,116, at PP 10-12, 26-31 (2012).

53 Participation by demand response resources in an RTO/ISO market does not involve a sale of electric energy at wholesale in interstate commerce.  See

Docket Nos. RM16-23-000 and AD16-20-000	- 28 -

We also clarify that, by “capable of … later injection of electric energy back to the 
grid,” we mean that the electric storage resource is both physically designed and 
configured to inject electric energy back onto the grid and, as relevant, is contractually 
permitted to do so (e.g., per the interconnection agreement between an electric storage 
resource that is interconnected on a distribution system or behind-the-meter with the 
distribution utility to which it is interconnected).  Consequently, the definition of an 
electric storage resource excludes a resource that is either (1) physically incapable of 
injecting electric energy back onto the grid due to its design or configuration or

(2) contractually barred from injecting electric energy back onto the grid.

While we decline in this Final Rule to expand the definition of an electric storage

resource to include behind-the-meter resources that do not inject electric energy onto the grid, we note that the definition in this Final Rule establishes the minimum set of 
resources that each RTO/ISO must consider when developing an electric storage 
resource participation model to comply with this Final Rule.  It does not preclude any RTO/ISO from proposing a broader definition for electric storage resources through a separate FPA section 205 filing.54

EnergyConnect, Inc., 130 FERC ¶ 61,031, at P 30 (2010); see also FERC v. Elec. Power 
Supply Ass’n, 136 S.Ct. 760 (2016) (RTO/ISO rules governing participation of demand 
response resources in the RTO/ISO markets are practices that directly affect rates in those 
markets.).

54 See 16 U.S.C. § 824d.  We acknowledge that the definition of an electric storage 
resource that we adopt in this Final Rule may differ from existing, Commission-accepted 
practices.  For example, in CAISO, a stand-alone electric storage resource or an 
aggregation of behind-the-meter electric storage resources that cannot or does not inject

Docket Nos. RM16-23-000 and AD16-20-000	- 29 -

Further, this Final Rule requires each RTO/ISO to implement market rules 
applicable to electric storage resources, as defined herein, that voluntarily seek to 
participate in the RTO/ISO markets; this Final Rule does not require electric storage 
resources to participate in those markets.  The Commission has exclusive jurisdiction 
over the wholesale markets and the criteria for participation in those markets, including 
the wholesale market rules for participation of resources connected at or below 
distribution-level voltages.55  We also understand that numerous resources connected to 
the distribution system participate in the RTO/ISO markets today.56  Under these 
circumstances, we are not persuaded to grant the MISO Transmission Owners’ and DTE 
Electric/Consumers Energy’s request that the Commission allow states to decide whether 
electric storage resources in their state that are located behind a retail meter or on the

electric energy back to the grid is able to use CAISO’s participation model for electric 
storage resources (the Non-Generator Resource model).  See California Indep. Sys. 
Operator Corp., 132 FERC ¶ 61,211 (2010).  This Final Rule does not require each 
RTO/ISO to limit the applicability of its existing participation models to electric storage 
resources as they are defined in this Final Rule or prevent them from arguing on 
compliance why its Commission-accepted tariff complies with the requirements of this 
Final Rule.

55 See FERC v. Elec. Power Supply Ass’n, 136 S.Ct. 760 (2016); see also Advanced Energy Economy, 161 FERC ¶ 61,245, at PP 59-60 (2017).

56 See, e.g., Southern California Edison Co., Docket No. ER10-1356-000 (2010) 
(accepting Southern California Edison’s Wholesale Distribution Access Tariff); 
PJM Interconnection, L.L.C., Docket No. ER11-3148-000 (May 13, 2011) (delegated 
letter order) (accepting Wholesale Market Participation Agreement among PJM,

CleanLight Power, L.L.C. and Public Service Electric and Gas Company); PJM Manual 
14C, § 1.3 (discussing requirements of Wholesale Market Participation Agreements).

Docket Nos. RM16-23-000 and AD16-20-000	- 30 -

distribution system are permitted to participate in the RTO/ISO markets through the electric storage resource participation model.

That said, we emphasize the ongoing, vital role of the states with respect to the

development and operation of electric storage resources.  Such state responsibilities

include, among other things, retail services and matters related to the distribution system, including design, operations, power quality, reliability, and system costs.  We add that nothing in this Final Rule is intended to affect or implicate the responsibilities of 
distribution utilities to maintain the safety and the reliability of the distribution system or their use of electric storage resources on their systems.

B.	Creation of a Participation Model for Electric Storage Resources

1.	Participation Model for Electric Storage Resources

a.	NOPR Proposal

In the NOPR, the Commission proposed to require each RTO/ISO to revise its tariff

to include a participation model consisting of market rules that, recognizing the physical and operational characteristics of electric storage resources, facilitates their participation in RTO/ISO markets.57  The Commission further proposed that the electric storage 
resource participation model satisfy certain requirements to accommodate the physical and operational characteristics of electric storage resources.58

57 See NOPR, FERC Stats. & Regs.¶32,718 at P 26.

58 See id. P 28.

Docket Nos. RM16-23-000 and AD16-20-000	- 31 -

b.	Comments

Many commenters support the Commission’s proposal to require each RTO/ISO to 
create a participation model for electric storage resources.59  These commenters agree 
that there is a need to recognize the physical, technical and operational characteristics of 
electric storage resources,60 remove artificial barriers to electric storage resource 
participation in the RTO/ISO markets,61 and allow electric storage resources to be 
adequately and fairly compensated for the services they provide.62  Commenters argue 
that these reforms will provide system and consumer benefits63 (including increased

59 See, e.g., Advanced Microgrid Solutions Comments at 3; AES Companies 
Comments at 5, 14; Brookfield Renewable Comments at 2; CAISO Comments at 3-4; EEI Comments at 3-4; Energy Storage Association Comments at 1, 4-5; EPSA/PJM 
Power Providers Comments at 4, 11; Massachusetts State Entities Comments at 13-14; NYISO Comments at 5.

60 See, e.g., Advanced Energy Economy Comments at 22-24; AES Companies Comments at 3; APPA/NRECA Comments at 11; CAISO Comments at 3; City of New York Comments at 3; Research Scientists Comments at 2.

61 See, e.g., City of New York Comments at 3; Energy Storage Association Comments at 5; Exelon Comments at 4; NYISO Indicated Transmission Owners Comments at 2-3.

62 See, e.g., Dominion Comments at 4-5; Massachusetts Municipal Electric Comments at 2; NYISO Indicated Transmission Owners Comments at 2-3.

63 See, e.g., Alevo Comments at 4-6; NESCOE Comments at 3; Ohio Commission Comments at 4.

Docket Nos. RM16-23-000 and AD16-20-000	- 32 -

competition and lower costs to consumers,64 efficiency,65 and system reliability benefits66) and will improve air quality.67

Some commenters, however, condition their support for the Commission’s proposed 
electric storage resource participation model.68  For example, EEI expresses support 
contingent on the proposed participation model ensuring adequate reliability, not causing 
undue discrimination to other market participants, and addressing cost allocation and 
double recovery.  Similarly, Exelon emphasizes that the Commission should avoid 
approving tariff changes that may have a detrimental effect on reliability, safety, or 
markets.  Xcel Energy Services supports the participation model if it is feasible and cost-
effective.  According to EPSA/PJM Power Providers, any initiatives or rules to facilitate 
participation of electric storage resources in the RTO/ISO markets must be compatible 
with, and support, the extensive system of conventional resources that make up the 
backbone of the bulk power system and implementation of a participation model for

64 See, e.g., Beacon Power Comments at 2, 6; City of New York Comments at 3-4; EPRI Comments at 2; NESCOE Comments at 3; Union of Concerned Scientists 
Comments at 7.

65 See EPRI Comments at 8-9; NESCOE Comments at 5.

66 See, e.g., EPRI Comments at 2; Institute for Policy Integrity Comments at 4; NESCOE Comments at 5.

67 See City of New York Comments at 3-4.

68 See, e.g., EEI Comments at 4-6; EPSA/PJM Power Providers Comments at 3-4; Exelon Comments at 5-6, 12; Xcel Energy Services Comments at 14-15.

Docket Nos. RM16-23-000 and AD16-20-000	- 33 -

electric storage resources must preserve efficient operational and investment signals for all resources.

Whether or not they support the Commission’s proposal to require each RTO/ISO to 
establish a participation model for electric storage resources, many commenters caution 
against granting undue preference in the markets to electric storage resources.69  For 
example, Independent Energy Producers Association argues that the electric storage 
resource participation model should impose comparable performance obligations (such 
as penalties for non-performance, schedule deviations, and replacement obligations) to 
those required of other resources participating in the RTO/ISO markets.  Similarly, 
several commenters contend that the Commission should focus on the technical 
requirements of the electric system and remain neutral about how or from which 
technology services are provided.70  For example, Massachusetts State Entities urge the 
Commission to ensure that participation is not limited based on type, vintage, ownership, 
business model, or other criteria unrelated to how well a particular resource satisfies the 
physical and operational parameters of a defined electric market or service.

69 See, e.g., Avangrid Comments at 5; EEI Comments at 5; ELCON Comments at 3; EPSA/PJM Power Providers Comments at 4, 7-8; Exelon Comments at 2, 12; Independent Energy Producers Association Comments at 4; New York Utility 
Intervention Unit Comments at 3.

70 See, e.g., American Petroleum Institute Comments at 2-4; EEI Comments at 6-7; 
EPSA/PJM Power Providers Comments at 7-8; Massachusetts State Entities Comments 
at 8-9; MISO Transmission Owners Comments at 7; PJM Market Monitor Comments 
at 2-3, 4-5.

Docket Nos. RM16-23-000 and AD16-20-000	- 34 -

Commenters also address whether the Commission should provide regional

flexibility for each RTO/ISO to comply with the rule by proposing requirements that accommodate electric storage resources that comport to their unique circumstances. Several commenters contend that regional flexibility is appropriate, with EEI, 
EPSA/PJM Power Providers, and Exelon noting that the proposed electric storage resource participation model provides such flexibility.71  Connecticut State Entities suggest that the Commission should create threshold standards for all RTOs/ISOs but allow regional variations for cost allocation and rate design.72

Other commenters argue that the Commission should defer to the RTOs/ISOs to 
develop the detailed participation rules that take into account the unique needs of each 
market.73

For example, ISO-NE urges the Commission to avoid a one-size-fits-all approach. 
Specifically, ISO-NE is concerned that (1) the focus on participation models and market 
participant types rather than on services is inconsistent with its core market design 
objective of technology neutrality and (2) the rulemaking could require ISO-NE to 
fundamentally change this technology-neutral approach to the detriment of its markets.

71 See, e.g., APPA/NRECA Comments at 11; EEI Comments at 4; EPSA/PJM 
Power Providers Comments at 11-12; Exelon Comments at 2; NESCOE Comments 
at 2-3, 9.

72 See Connecticut State Entities Comments at 6.

73 See, e.g., Duke Energy Comments at 3; ISO-NE Comments at 10-14; MISO Comments at 2; National Hydropower Association Comments at 4.

Docket Nos. RM16-23-000 and AD16-20-000	- 35 -

ISO-NE argues that adopting participation models could allow resource owners to

engage in participation model “shopping,” a form of tariff rule arbitrage.

Given these concerns, ISO-NE asks the Commission to provide only general

guidance to RTOs/ISOs, requiring them to (1) examine the requirements associated with providing each wholesale service in their markets and (2) assess whether and how to revise those requirements to better accommodate the participation of electric storage resources.  ISO-NE also asks the Commission to clarify that RTOs/ISOs are not required to adopt a specific participation model construct but instead may propose to incorporate the participation of electric storage resources in their markets in a manner consistent 
with the RTO’s/ISO’s existing market constructs.

Similarly, while NESCOE supports the intent of the NOPR, it observes that further 
information is required on whether each RTO/ISO could modify its existing participation 
model(s) to address any barrier to the participation of electric storage resources in the 
RTO/ISO markets, rather than being required to create a new participation model.74 
TeMix also questions the need for a new participation model for electric storage 
resources, arguing that such a participation model will only add to the complexity of the 
RTO/ISO markets.75  TeMix instead proposes that the Commission encourage reform of 
retail energy and distribution tariffs and require the RTOs/ISOs to frequently post

74 See NESCOE Comments at 2, 5.

75 See TeMix Comments at 2-3, 4-5.

Docket Nos. RM16-23-000 and AD16-20-000	- 36 -

wholesale bids and offers at the retail/wholesale interface to better allow retail customers to respond to the wholesale price of electricity.

Some commenters request that the Commission establish detailed requirements for a participation model for electric storage resources.76  For example, Energy Storage 
Association argues that prescriptive requirements for the proposed electric storage 
resource participation model are necessary to ensure that the participation model is 
adequately defined.  Starwood Energy requests that the Commission require uniform 
participation models across all of the RTOs/ISOs to ensure that all electric storage 
resources have the same opportunity to fully participate in the RTO/ISO markets, 
including the capacity markets, regardless of the region in which they are located.  EPRI suggests that the definition of a participation model include, in addition to a set of tariff provisions, the set of software provisions required to represent the physical and 
operational characteristics of the particular resource.77

Several commenters suggest that the participation model for electric storage

resources should account for the physical and operational differences among electric

storage technologies because different electric storage resources (such as pumped-hydro) 
have different operating characteristics, provide different services, and are not intended

76 See Energy Storage Association Comments at 8; Starwood Energy Comments

at 7.

77 See EPRI Comments at 2-3.

Docket Nos. RM16-23-000 and AD16-20-000	- 37 -

to serve the same roles within the electric grid.78  EPRI suggests that, given the current form of the day-ahead and real-time energy markets, there may need to be two 
participation models for electric storage resources.79  EPRI explains that one 
participation model would be for resources whose transition time from charge to 
discharge, or vice versa, exceeds the market interval (e.g., pumped-hydro and 
compressed-air) with the operational mode of these resources determined by the 
RTO’s/ISO’s security constrained unit commitment model.  EPRI further explains that 
the second participation model would be for resources that transition from charge to 
discharge, or vice versa, within the market interval (e.g., batteries and flywheels).  EPRI states that it is likely these resources can be online and responsive at zero power output, and therefore do not need to be committed to a particular mode of operation, and can be dispatched as an injector or withdrawer of power.

Other commenters discuss the need to distinguish between electric storage resources 
based on their point of interconnection with the grid.80  Organization of MISO States 
recommends that electric storage resource participation models differentiate between 
transmission-interconnected electric storage resources and distribution-interconnected

78 See, e.g., Brookfield Renewable Comments at 3; Dominion Comments at 4-5; 
DTE Electric/Consumers Energy Comments at 4-5; National Hydropower Association 
Comments at 4; NYPA Comments at 5; San Diego Water Comments at 12-13, 15.

79 See EPRI Comments at 7-8.

80 See Organization of MISO States Comments at 3; Stem Comments at 2-3; TeMix Comments at 3.

Docket Nos. RM16-23-000 and AD16-20-000	- 38 -

electric storage resources due to the interplay and potential overlap between wholesale 
and retail rates for energy use of retail customers.  Stem suggests that, in developing 
their electric storage resource participation models, RTOs/ISOs should distinguish 
between behind-the-meter and front-of-the-meter electric storage resources, as well as 
single site and aggregated resources, to ensure that each resource is being used to its full 
technical capabilities and behind-the-meter resources are not precluded from the most 
efficient use cases.

Two RTOs/ISOs request clarifications with respect to the Commission’s proposal to 
require them to establish a participation model for electric storage resources.81  ISO-NE 
and PJM want to ensure that the requirement that they establish a participation model for 
electric storage resources does not preclude electric storage resources participating in 
their markets from using other participation models (such as demand response or 
Alternative Technology Regulation Resource).  PJM also argues that its current rules for 
electric storage resources should be carried forward because it allows electric storage 
resources to provide all services that they are capable of providing in a manner 
comparable to generation resources of similar size and with similar operational 
characteristics.

81 See ISO-NE Comments at 29-30; PJM Comments at 6, 9, 11.

Docket Nos. RM16-23-000 and AD16-20-000	- 39 -

Finally, several commenters share information on existing RTO/ISO initiatives to remove barriers to the participation of electric storage resources in their markets.82 
California Commission notes that, in CAISO, most of the NOPR proposals are either already in place or under development.83  Stem suggests that CAISO’s current models, while incomplete, are the best place to start when designing a participation model for electric storage resources.84

c.	Commission Determination

In this Final Rule, we adopt the NOPR proposal and add section 35.28(g)(9)(i) to

the Commission’s regulations to require each RTO/ISO to revise its tariff to include a 
participation model consisting of market rules that, recognizing the physical and 
operational characteristics of electric storage resources, facilitates their participation in 
the RTO/ISO markets.  We find that requiring each RTO/ISO to create a participation 
model that recognizes the unique characteristics of electric storage resources will help 
eliminate barriers to their participation in the RTO/ISO markets, which will enhance 
competition and, in turn, help to ensure that these markets produce just and reasonable 
rates.

In response to concerns that the creation of a participation model for electric storage 
resources may undermine market designs that are based on services provided rather than

82 See, e.g., NYISO Comments at 4; MISO Comments at 3.

83 See California Commission Comments at 3.

84 See Stem Comments at 2-3.

Docket Nos. RM16-23-000 and AD16-20-000	- 40 -

resource type, we find that this Final Rule does not preclude an RTO/ISO from

structuring its markets based on the technical requirements that a resource must meet to provide needed services.  It simply requires that each RTO/ISO establish a participation model that ensures eligibility to participate in the RTO/ISO markets in a way that 
recognizes the physical and operational characteristics of electric storage resources.  As such, this Final Rule does not grant undue preference to electric storage resources as a 
group or to specific electric storage technologies; rather, it removes barriers to their 
participation, enhancing competition among all resources that are technically capable of providing wholesale services.  As noted above, resources that use the participation model required by this Final Rule must fulfill certain responsibilities set forth in the FPA and 
the Commission’s rules and regulations.85  Additionally, resources that use this 
participation model will be compensated for the wholesale services they provide in the 
same manner as other resources that provide these services.

With respect to commenters’ arguments concerning regional flexibility in

implementation, we find that this Final Rule strikes the appropriate balance between

allowing each RTO/ISO to adopt market rules that complement its unique market design 
and providing sufficiently detailed requirements to ensure that each RTO/ISO eliminates 
barriers to electric storage resource participation in its markets.  Specifically, this Final 
Rule does not adopt prescriptive, uniform market rules to which each RTO/ISO must 
adhere.  Instead, the regulations establish minimum requirements (for, among other

85 See supra P 30.

Docket Nos. RM16-23-000 and AD16-20-000	- 41 -

things, bidding parameters and resource size) that each RTO/ISO must meet when

proposing market rules to comply with this Final Rule, permitting each RTO/ISO to

propose market rules that comply with these minimum requirements in the way that best suits its individual market design.86  We therefore decline to adopt additional or more prescriptive requirements for the participation model at this time.

We are not convinced that separate participation models are necessary for different 
types of electric storage resources (e.g., slower, faster, or aggregated) because we 
believe that the physical differences between electric storage resources can be 
represented by complying with the requirements for bidding parameters that are 
discussed below and that a single participation model can be designed to be flexible 
enough to accommodate any type of electric storage resource.  However, to the extent an 
RTO/ISO seeks to include in its tariff additional market rules that accommodate electric 
storage resources with specific physical and operational characteristics, the RTO/ISO 
may propose such revisions to its tariff through a separate FPA section 205 filing.87 
	We agree with CAISO that electric storage resources currently participate in the

86 For example, we acknowledge that it may be necessary in some markets to

create market rules that differentiate between electric storage resources interconnected to the grid at different points (i.e., at the transmission system, the distribution system, or behind-the-meter).  Such differences could include different metering and accounting practices for certain electric storage resources, as discussed in the

Metering and Accounting Practices for Charging Energy section.  See infra P 317.

87 See 16 U.S.C. § 824d.

Docket Nos. RM16-23-000 and AD16-20-000	- 42 -

RTO/ISO markets in a variety of ways and may use a variety of existing participation 
models.  We clarify that, where an RTO/ISO already has a separate participation model that electric storage resources may use (such as participation models for pumped-hydro resources or demand response), we are not requiring the RTO/ISO to consolidate that 
participation model with the participation model for electric storage resources required by this Final Rule.  However, to the extent an RTO/ISO modifies existing participation models to comply with this Final Rule, it must ensure that those resulting participation models are available for all types of electric storage resources and comply with all of the other requirements set forth in this Final Rule.

While the participation model for electric storage resources should be designed to 
facilitate the participation of all types of electric storage technologies, we do not require 
all electric storage resources to use that participation model.  To that end, we clarify that 
this Final Rule does not preclude electric storage resources from continuing to 
participate in demand response programs, as Alternative Technology Regulation 
Resources in ISO-NE, or under other participation models in any RTO/ISO in which 
they are eligible to participate.  However, we clarify that, under section 35.28(g)(9) of 
the Commission’s regulations, section 35.28(g)(9)(i) applies to resources using the 
participation model for electric storage resources and section 35.28(g)(9)(ii) applies to 
all electric storage resources that fall under the definition established in this Final Rule. 
Therefore, electric storage resources that may elect not to use the participation model for 
electric storage resources would still be able to pay the wholesale LMP for the electric 
energy they purchase from the RTO/ISO markets and then resell back to those markets.

Docket Nos. RM16-23-000 and AD16-20-000	- 43 -

2.	Qualification Criteria for the Participation Model for Electric

Storage Resources

a.	NOPR Proposal

To ensure that the proposed participation model for electric storage resources will

facilitate the participation of both existing and future electric storage resource

technologies in the RTO/ISO markets, the Commission proposed that each RTO/ISO

define the criteria in its tariff that a resource must meet to qualify to use the participation 
model for electric storage resources (i.e., qualification criteria).88  The Commission 
stated that these qualification criteria must be based on the physical and operational 
attributes of electric storage resources, must not limit participation to any particular type 
of electric storage resource or other technology, and must ensure that the RTO/ISO is 
able to dispatch a resource in a way that recognizes its physical constraints and optimizes 
its benefits to the RTO/ISO.  The Commission invited comment on whether it should 
establish qualification criteria that each RTO/ISO must adopt and, if so, what specific 
criteria the Commission should require.  The Commission explained that it was not 
proposing to limit the use of the electric storage resource participation model to electric 
storage resources as defined in the NOPR, acknowledging that there may be other types 
of resources whose physical and operational characteristics could qualify under the 
proposed participation model.89

88 See NOPR, FERC Stat. & Regs. ¶ 32,718 at P 29.

89 See id. P 30.

Docket Nos. RM16-23-000 and AD16-20-000	- 44 -

b.	Comments

While several commenters support providing each RTO/ISO with flexibility to

propose appropriate qualification criteria on compliance with this Final Rule,90 a few

commenters suggest that the Commission require each RTO/ISO to propose qualification 
criteria that meet certain standards.91  For example, Exelon, Imperial Irrigation District, 
and Magnum assert that qualification criteria should not limit participation to certain 
types of electric storage resources.  Imperial Irrigation District argues that the 
qualification criteria for a resource to use the electric storage resource participation 
model should not be more specific than the physical and operational attributes cited in 
the NOPR (i.e., the ability to both charge and discharge energy).  EPRI states that, if an 
RTO/ISO adopts two different participation models for electric storage resources, one 
for slower responding resources and one for faster responding resources, then that 
RTO/ISO may need to establish different qualification criteria for each electric storage 
resource participation model.

Both MISO and SPP point to existing qualification criteria for providing certain 
services in their markets that they argue should apply to resources that use the electric

90 See, e.g., AES Companies Comments at 15-16; Bonneville Comments at 4; CAISO Comments at 4-5; MISO Comments at 9-10; NESCOE Comments at 9; PG&E Comments at 7; SoCal Edison Comments at 15-16.

91 See, e.g., EPRI Comments at 7-8; Exelon Comments at 4; Imperial Irrigation District Comments at 6-7; Magnum Comments at 8.

Docket Nos. RM16-23-000 and AD16-20-000	- 45 -

storage resource participation model to provide those services.92  MISO notes that, for 
certain services, a resource must be able to sustain provision of the service for the 
minimum amount of time (e.g., contingency reserves have a 90-minute replenishment 
time and capacity resources must be capable of providing four hours of continuous 
energy).  SPP makes similar arguments, noting that some products like regulation may 
have shorter output sustainability requirements than other products like energy. 
	In addition to qualification criteria, Fluidic argues that RTOs/ISOs should modify their protocols and procedures to include a uniform accrediting process for determining the capacity of an electric storage resource for participation in their markets.93

c.	Commission Determination

To implement the new requirement in section 35.28(g)(9)(i) of the Commission’s 
regulations for a participation model for electric storage resources, in this Final Rule, we 
adopt the NOPR proposal to require each RTO/ISO to define in its tariff the criteria that 
a resource must meet to use the participation model for electric storage resources 
(i.e., qualification criteria).  As proposed in the NOPR, these criteria must be based on 
the physical and operational characteristics of electric storage resources, such as their 
ability to both receive and inject electric energy, must not limit participation under the 
electric storage resource participation model to any particular type of electric storage 
resource or other technology and must ensure that the RTO/ISO is able to dispatch a

92 See MISO Comments at 9-10; SPP Comments at 4.

93 See Fluidic Comments at 4.

Docket Nos. RM16-23-000 and AD16-20-000	- 46 -

resource in a way that recognizes its physical and operational characteristics and

optimizes its benefits to the RTO/ISO.  We find that such criteria are necessary to ensure that the electric storage resource participation model will accommodate both existing and future technologies.

Because the qualification criteria must not limit participation to any particular

technology and instead will be based on the physical and operational characteristics of 
electric storage resources, these criteria will allow new electric storage resource 
technologies to participate in the RTO/ISO markets without the need for additional tariff 
revisions to explicitly permit their participation.  This focus on the physical and 
operational characteristics of electric storage resources rather than the specific 
technology in use will remove barriers to entry for existing and future technologies, 
which will enhance competition in the RTO/ISO markets and, in turn, help to ensure that 
these markets produce just and reasonable rates.  In addition, requiring each RTO/ISO to 
define in its tariff qualification criteria will provide greater certainty about which 
resources will be eligible to use the electric storage resource participation model in each 
RTO/ISO.

Also, as proposed in the NOPR, we provide each RTO/ISO with flexibility to

propose qualification criteria that best suit its proposed participation model for electric 
storage resources.  We decline to adopt Imperial Irrigation District’s suggestion to 
specify that the qualification criteria for a resource to use the electric storage resource 
participation model should be limited to the physical and operational characteristics cited 
in the definition proposed in the NOPR (i.e., the ability to both charge and discharge

Docket Nos. RM16-23-000 and AD16-20-000	- 47 -

energy).  We agree that the qualification criteria should not present barriers to the

participation of any electric storage resource in the RTO/ISO markets.  As long as any qualification criteria that the RTOs/ISOs propose do not create such barriers and are 
inclusive of, at a minimum, those resources set forth under the definition of electric 
storage resources in this NOPR, then we do not find that it is necessary to place 
additional limitations on any qualification criteria that the RTOs/ISOs may propose in response to this Final Rule.

In response to Fluidic, we clarify that the qualification criteria should not include a 
uniform accrediting process to determine the capacity of an electric storage resource.  As 
discussed in the Eligibility to Provide all Capacity, Energy, and Ancillary Services 
section,94 we understand that, like all other market participants, resources using the 
participation model for electric storage resources will be subject to testing procedures to 
determine their technical ability to provide a particular service and that this testing will 
be done based on the capacity that the resource wants to offer into the RTO/ISO markets. 
	With respect to MISO’s and SPP’s comments, we note that, based on our 
understanding, the requirements that MISO and SPP characterize as qualification criteria 
are technical requirements to provide a particular wholesale service.  Such technical 
requirements should not be used as qualification criteria to determine whether a resource 
may use the participation model for electric storage resources.  Rather, MISO and SPP 
would continue to use these requirements to determine whether individual resources

94 See infra P 80.

Docket Nos. RM16-23-000 and AD16-20-000	- 48 -

using the participation model for electric storage resources are eligible to provide

specific services.

3.	Relationship between Electric Storage Resource Participation

Model and Existing Market Rules

a.	NOPR Proposal

In the NOPR, the Commission proposed that each RTO/ISO propose any necessary additions or modifications to its existing tariff provisions to specify: (1) whether

resources that qualify to use the participation model for electric storage resources will participate in the RTO/ISO markets through existing or new market participation agreements; and (2) whether particular existing market rules apply to resources 
participating under the electric storage resource participation model.95

b.	Comments

CAISO supports the NOPR proposal.96  In contrast, ISO-NE requests that the

Commission omit any specific directive about market participation agreements from a 
final rule.97  ISO-NE notes that, in New England, all market participants use the same 
Market Participation Service Agreement regardless of resource type, and it does not 
interpret the NOPR to preclude its continued use of a single agreement.  SPP remains 
silent as to whether it supports the NOPR proposal but states that it will modify both its

95 See NOPR, FERC Stats. & Regs. ¶32,718 at P 31.

96 See CAISO Comments at 5.

97 See ISO-NE Comments at 56.

Docket Nos. RM16-23-000 and AD16-20-000	- 49 -

tariff and market protocols to accommodate the participation of electric storage

resources, noting that it will structure any new rules consistent with SPP balancing

authority needs and requirements, while providing as much flexibility and opportunity for the participation of electric storage resources as possible.98

c.	Commission Determination

To implement the new requirement in section 35.28(g)(9)(i) of the Commission’s 
regulations for a participation model for electric storage resources, in this Final Rule, we 
adopt the NOPR proposal to require each RTO/ISO to propose any necessary additions 
or modifications to its existing tariff provisions to specify: (1) whether resources that

qualify to use the participation model for electric storage resources will participate in the RTO/ISO markets through existing or new market participation agreements and

(2) whether particular existing market rules apply to resources participating under the electric storage resource participation model.  We find that these requirements are necessary to provide certainty to resources using the electric storage resource 
participation model about the market rules that will govern their participation in each RTO/ISO market, thus removing barriers to their participation.

With respect to ISO-NE’s concern that the RTOs/ISOs should not be precluded

from using a single market participation agreement for all market participants, we clarify that this Final Rule allows the use of one or more existing agreements so long as the agreement(s) complies with the terms of this Final Rule.

98 See SPP Comments at 5.

Docket Nos. RM16-23-000 and AD16-20-000	- 50 -

C.	Eligibility of Electric Storage Resources to Participate in the RTO/ISO

Markets

1.	Eligibility to Provide all Capacity, Energy, and Ancillary

Services

a.	NOPR Proposal

In the NOPR, the Commission proposed to require each RTO/ISO to modify its 
tariff to establish a participation model consisting of market rules for electric storage 
resources under which a participating resource is eligible to provide any capacity, 
energy, and ancillary service that it is technically capable of providing in the RTO/ISO 
markets.99  The Commission also proposed that electric storage resources should be 
eligible, as part of the participation model, to provide services that the RTOs/ISOs do not 
procure through a market mechanism, such as blackstart service, primary frequency 
response service, and reactive power service, if they are technically capable.  The 
Commission specified that, where compensation for these services exists, electric storage 
resources should also receive such compensation commensurate with the service 
provided.

99 See NOPR, FERC Stats. & Regs. ¶ 32,718 at P 48.

Docket Nos. RM16-23-000 and AD16-20-000	- 51 -

b.	Comments

Many commenters generally support the NOPR proposal.100  In particular, several 
commenters support the NOPR proposal that electric storage resources, if technically 
capable, must be eligible to provide services that the RTOs/ISOs do not procure through a market mechanism, such as blackstart service, primary frequency response service, and reactive power service.101  However, APPA/NRECA suggest that the Commission give each RTO/ISO flexibility to demonstrate on compliance the extent to which an electric 
storage resource may not be technically capable of providing a given service reliably, 
efficiently, and cost-effectively.102

Several of the RTOs/ISOs explain their ongoing efforts to improve the opportunities 
for electric storage resources to participate in their markets.103  MISO states that the 
NOPR proposal aligns with its tariff, which classifies resources based on their technical 
capabilities, including any technical limitations that they have.  Moreover, MISO states 
that it is exploring the potential to enhance the opportunities for electric storage 
resources to participate in its markets, noting, however, that implementing such

100 See, e.g., Advanced Energy Economy Comments at 23-25; American

Petroleum Institute Comments at 3; EEI Comments at 6; Mensah Comments at 2; MISO Comments at 4; National Hydropower Association Comments at 7.

101 See, e.g., Advanced Energy Economy Comments at 29; APPA/NRECA Comments at 12-13; Exelon Comments at 6; National Hydropower Association Comments at 7; Xcel Energy Services Comments at 21.

102 See APPA/NRECA Comments at 13.

103 See CAISO Comments at 5-6; MISO Comments at 4-6; NYISO Comments at 5-6; SPP Comments at 7.

Docket Nos. RM16-23-000 and AD16-20-000	- 52 -

enhancements may require significant changes to its settlement systems and software. 
NYISO explains that, to ensure that its market rules are fully accessible to new electric 
storage technologies, it is working with stakeholders on a comprehensive review and

reform of the rules related to electric storage resource participation in its markets.

CAISO points out that electric storage resources participating in CAISO’s market 
have the opportunity to provide energy and ancillary services, including those that 
CAISO may procure outside of its market processes, if they meet the technical criteria to do so.  Likewise, SPP notes that electric storage resources may provide non-market based services such as blackstart service and reactive power service if they meet the relevant 
technical requirements.

While ISO-NE states that it will revise its market rules in compliance with a final 
rule in this proceeding to eliminate barriers to the participation of electric storage 
resources in their markets, and SPP states that, prior to the issuance of the NOPR, it was 
planning to do so,104 they each request clarification of the NOPR proposal that a resource 
using the electric storage resource participation model must be eligible to provide any 
capacity, energy, and ancillary service that it is technically capable of providing. 
According to ISO-NE, electric storage resources should not receive different treatment 
than other technology types.  ISO-NE and SPP thus ask the Commission to clarify that 
an electric storage resource must be eligible to provide a service only if it meets the same

104 See ISO-NE Comments at 14-15; SPP Comments at 3-4, 6-7.

Docket Nos. RM16-23-000 and AD16-20-000	- 53 -

requisite performance requirements to provide that service that apply to all other resources.

Energy Storage Association contends that it is imperative that RTOs/ISOs establish 
a process for resources to demonstrate that they are technically capable of providing a 
specific service.105  Energy Storage Association asserts that such a process must be 
transparent and documented to create more certainty for new resources and to ensure that 
all resources that are technically capable of providing a particular service can do so.

c.	Commission Determination

In this Final Rule, we adopt the NOPR proposal and add section 35.28(g)(9)(i)(a) to 
the Commission’s regulations to require each RTO/ISO to establish market rules so that 
a resource using the participation model for electric storage resources is eligible to 
provide all capacity, energy, and ancillary services that it is technically capable of 
providing, including services that the RTOs/ISOs do not procure through an organized 
market.  To provide clarity, we add the phrase “technically capable of providing” to the 
regulatory text we proposed in the NOPR.  To be eligible to provide capacity, energy, 
and ancillary services, a resource using the participation model for electric storage 
resources will still need to meet the technical requirements for any of the services that it 
wants to provide.  We recognize that the RTOs/ISOs have ongoing efforts to enhance 
opportunities for electric storage resources to participate in their markets and encourage

105 See Energy Storage Association Comments at 10-11.

Docket Nos. RM16-23-000 and AD16-20-000	- 54 -

each RTO/ISO to build upon these efforts when developing tariff revisions to comply with this Final Rule.

In response to ISO-NE, we clarify that each RTO/ISO is required to revise its tariff 
to allow a resource using the electric storage resource participation model to be eligible 
to provide a service only if that resource is technically capable of doing so.  To the 
extent that an RTO/ISO has developed a standard set of technical requirements that all 
resources must meet to provide a given service, those requirements would also apply to a 
resource using the electric storage resource participation model if it wants to provide that 
service.

In response to ISO-NE and SPP, we clarify that “technically capable” of providing a service means that a resource can meet all of the technical, operational, and/or 
performance requirements that are necessary to reliably provide that service.  For 
example, these requirements may include a minimum run-time to provide energy or the ability to respond to automatic generation control to provide frequency regulation. 
While we are clarifying the definition of “technically capable” here, we note that we are not considering in this proceeding the requirements that determine whether resources are technically capable of providing individual wholesale services.106

106 To the extent that an RTO/ISO seeks to revise its tariff provisions setting forth the technical requirements for providing any specific wholesale service, the RTO/ISO may propose such revisions to its tariff through a separate FPA section 205 filing. 
See 16 U.S.C. § 824d.

Docket Nos. RM16-23-000 and AD16-20-000	- 55 -

We decline to adopt APPA/NRECA’s suggestion that the Commission give each

RTO/ISO flexibility to demonstrate on compliance the extent to which an electric

storage resource may not be technically capable of providing a given service reliably,

efficiently, and cost-effectively.  Each individual electric storage resource must still meet the technical requirements of providing any specific service, which would be determined by the RTO/ISO on a case-by-case basis.

As part of the requirement that each RTO/ISO develop a participation model for 
electric storage resources that allows electric storage resources to be eligible to provide 
services in all of its capacity, energy, and ancillary service markets, we also require that 
such participation model allow electric storage resources to be eligible to provide services 
that the RTOs/ISOs do not procure through an organized market mechanism (such as 
blackstart service, primary frequency response service, and reactive power service) if 
they are technically capable of providing those services.  As noted above, we are not 
requiring each RTO/ISO to revise or revisit the technical requirements or compensation 
provisions of those markets.

We will not require the RTOs/ISOs to establish new processes through which a

resource using the participation model for electric storage resources can demonstrate that 
it is technically capable of providing a specific service in their markets.  The RTOs/ISOs 
already have technical requirements and testing procedures in place to ensure that market 
participants can provide the particular services that they seek to provide.  We expect that 
these requirements and procedures will apply to resources using the electric storage 
resource participation model, just as they do to all other resources.  However, as part of

Docket Nos. RM16-23-000 and AD16-20-000	- 56 -

developing a participation model for electric storage resources, we encourage each

RTO/ISO to consider whether any modifications or additions to the existing technical requirements, testing protocols, or other qualification procedures are necessary to facilitate the participation of electric storage resources in its markets.

2.	Ability to De-Rate Capacity to Meet Minimum Run-Time

Requirements

a.	NOPR Proposal

In the NOPR, the Commission proposed to require each RTO/ISO to revise its tariff to clarify that an electric storage resource may de-rate its capacity to meet minimum runtime requirements to provide capacity or other services.107  In RTOs/ISOs with capacity markets, the Commission proposed that the de-rated capacity value for electric storage resources be consistent with the quantity of energy that must be offered into the dayahead energy market for resources with capacity obligations.

b.	Comments

Many commenters generally support the proposal to require each RTO/ISO to revise

its tariff to clarify that an electric storage resource may de-rate its capacity to meet

minimum run-time requirements to provide capacity or other services.108  Additionally,

107 See NOPR, FERC Stats. & Regs. ¶32,718 at P 49.

108 See, e.g., AES Companies Comments at 16; Avangrid Comments at 5; City of 
New York Comments at 6-7; Energy Storage Association Comments at 8; Minnesota 
Energy Storage Alliance Comments at 3; MISO Comments at 12; NESCOE Comments at 
10-11; NRG Comments at 14-15; R Street Institute Comments at 5; Xcel Energy Services 
Comments at 21.

Docket Nos. RM16-23-000 and AD16-20-000	- 57 -

while many commenters either support or do not oppose the NOPR proposal, multiple entities request that the Commission clarify the proposal or raise specific issues about the proposal and its interaction with the RTO/ISO markets.

Multiple commenters raised issues surrounding performance requirements for

electric storage resources in the RTO/ISO markets.109  NRG agrees that the final rule 
should allow flexibility to de-rate in capacity markets but argues that the Commission 
should clarify that electric storage resources participating in capacity markets must meet 
the same performance metrics and criteria as other resources.  American Petroleum 
Institute similarly supports allowing electric storage resources to de-rate to meet their 
capacity requirements but asserts that this should not affect the ability of these resources 
to participate in energy and ancillary services markets up to their nominal capacity. 
American Petroleum Institute also contends that electric storage resources should be 
subject to the same penalties for non-performance as generators and demand response. 
	Some entities raise issues about the interaction of the Commission’s de-rating 
proposal with resource obligations.110  Both Avangrid and EEI seek clarification that the 
proposal is intended to ensure that the resource’s de-rate is consistent with obligations 
that the resource has in organized wholesale markets.  AES Companies note that, 
because some electric storage resources may only provide wholesale services when there

109 See, e.g., AES Companies Comments at 17; American Petroleum Institute Comments at 7-8; NRG Comments at 15.

110 See, e.g., Avangrid Comments at 5; EEI Comments at 7; Xcel Energy Services Comments at 21-22.

Docket Nos. RM16-23-000 and AD16-20-000	- 58 -

is excess available after serving retail load, their nameplate capacity may not be the same as the capacity available for wholesale services and would need to be reduced by the 
capacity reserved for providing retail services.  Xcel Energy Services agrees that 
resources must reserve sufficient capacity to meet any applicable capacity obligations, 
but it also notes that there are regional differences in how capacity obligations are treated (e.g., CAISO does not “count” storage capacity, while other RTOs/ISOs have a four-
hour run-time requirement).

Energy Storage Association raises concerns regarding the Commission’s proposal 
that the de-rated capacity value for an electric storage resource should be consistent with 
the quantity of energy that must be offered into the day-ahead energy market for 
resources with capacity obligations.111  Energy Storage Association asserts that, because 
some RTOs/ISOs explicitly exempt electric storage resources from a day-ahead energy 
market must-offer obligation, there would not be a basis for determining a storage 
resource’s capacity value.  Instead, Energy Storage Association recommends that 
RTOs/ISOs assign electric storage resources a capacity value based on the quantity of 
energy that they can discharge continuously over the minimum run-time set by the 
RTO/ISO.  SPP also supports the ability to de-rate the maximum capacity of an electric 
storage resource in order to qualify for provision of other products but requests that the 
Commission find that a storage resource de-rating its capacity to meet minimum run-

111 See Energy Storage Association Comments at 8-9.

Docket Nos. RM16-23-000 and AD16-20-000	- 59 -

time requirements is not physical withholding.112

Several other commenters consider the interaction between the Commission’s de-
rating proposal and market power issues.113  For example, EEI asserts that the RTO/ISO or market monitor would need to verify minimum run-times and parameters to ensure 
that there is a reasonable basis for the de-rate.  Exelon agrees that electric storage 
resources should be treated the same as generators providing capacity, which can de-rate, and states that the market monitor can investigate a market participant if there is a 
concern about an exercise of market power.  NYISO also raises general concerns about 
market power issues, asking the Commission to consider the potential market power 
implications of allowing a resource to hold back energy through its offer, even if its 
intent is to discharge the energy at a later time.

Other commenters consider whether electric storage resources need to de-rate in all 
circumstances.114  For example, California Energy Storage Alliance asks the 
Commission to confirm that shorter-duration electric storage resources should be eligible 
to participate in the markets and provide services, when reasonable, without de-rating. 
California Energy Storage Alliance argues that each RTO/ISO should make 
determinations regarding de-rating capacity based on market needs.  CAISO contends

112 See SPP Comments at 7.

113 See, e.g., EEI Comments at 7; Exelon Comments at 7; NYISO Comments at 7.

114 See, e.g., CAISO Comments at 6; California Energy Storage Alliance Comments at 10-11.

Docket Nos. RM16-23-000 and AD16-20-000	- 60 -

that the Commission should not require any specific outage rules for electric storage

resources and that the general outage management rules that apply to all other resources 
in individual RTO/ISO markets should also apply to electric storage resources. 
	EPRI raises concerns about the effectiveness of the Commission’s proposal.  EPRI asserts that the Commission’s de-rating proposal is potentially an improved 
approximation of an electric storage resource’s capacity value.115  However, EPRI states 
that the proposal may not be entirely accurate because it assumes that an electric storage 
resource would contribute less than its maximum capacity to provide energy across the 
entire four-hour minimum duration required for providing capacity in many RTOs/ISOs. 
EPRI asserts that, during periods where the RTO/ISO requires maximum capacity, an 
electric storage resource with a two-hour duration at maximum discharge may exhaust 
all energy production during the first two hours.  EPRI argues that the Commission’s 
proposal also does not guarantee that an electric storage resource will have full energy 
levels when the maximum capacity period begins.  EPRI contends that, where the load 
typically peaks during just one hour of the highest load days, an electric storage resource 
with less than the minimum duration requirement of the capacity market may actually be 
providing greater capacity value than the proposed de-rated value.  EPRI asserts that, 
depending on the ability of an electric storage resource to provide capacity when its 
duration of energy storage is less than the minimum duration requirement of the capacity 
market, must-offer rules for the day-ahead energy market must be fairly determined.

115 See EPRI Comments at 12-13.

Docket Nos. RM16-23-000 and AD16-20-000	- 61 -

EPRI adds that the hours which an electric storage resource must bid as an injector of energy per day and how much capacity it must bid for those days must be determined. EPRI adds that those rules should be consistent with other principles of must-offer rules for capacity providers and ensure that they lead to the electric storage resource’s ability to perform during critical peak conditions.

Several commenters consider whether reforms beyond the Commission’s proposal 
are needed.  For example, some commenters argue for either exempting electric storage 
resources from minimum run-time requirements in some circumstances or developing 
new capacity products with shorter minimum run-time requirements.116  Alevo argues 
that the Commission should require each RTO/ISO to have additional capacity market 
products that better reflect the capabilities of electric storage resources because

minimum run-time requirements present a barrier to electric storage resource

participation in capacity markets.  R Street Institute states that capacity products and

performance requirements may not be well-suited to extracting the full economic value 
of electric storage resources for resource adequacy purposes.  R Street Institute states 
that these rules can create barriers to capacity market participation for electric storage 
resources but, at the same time, relaxing them too aggressively may raise reliability 
concerns. R Street Institute further explains that it may be useful for capacity 
constructs to distinguish between short- and long-duration resource needs.  R Street 
Institute encourages the Commission to seek additional detailed comments on

116 See, e.g., Alevo Comments at 8; R Street Institute Comments at 5.

Docket Nos. RM16-23-000 and AD16-20-000	- 62 -

methodologies for electric storage resources to participate in capacity markets, stating that reforms may be best left to individual RTO/ISO compliance filings or individual RTO/ISO proceedings.

NextEra asserts that, in most RTOs/ISOs, reserve product commitment requirements 
systematically discriminate against electric storage resources by restricting their ability 
to offer their full capacity into the market and that de-rating capacity to meet existing 
requirements diminishes the value of electric storage resources and arbitrarily restricts 
competition.117  In contrast, EPRI contends that each RTO/ISO should perform 
additional analysis to provide guidance on the amount of capacity that can be relied upon 
from limited-duration electric storage resources for particular services in each market.118 
	A few commenters address the must-offer requirements that are often associated with a resource’s capacity supply obligation.119  Energy Storage Association argues that electric storage resources should be exempt from, or otherwise allowed to manage, must-
offer obligations.  Advanced Energy Economy argues that must-offer requirements fail 
to account for the physical and operational characteristics of electric storage resources 
and arbitrarily exclude them from providing wholesale services that they are technically 
capable of providing.  Advanced Energy Economy asserts that must-offer requirements

117 See NextEra Comments at 7.

118 See EPRI Comments at 12-13.

119 See, e.g., Advanced Energy Economy Comments at 25-26, 28-29; AES 
Companies Comments at 16-17; Energy Storage Association Comments at 6, 12.

Docket Nos. RM16-23-000 and AD16-20-000	- 63 -

were developed to prevent the exercise of market power and electric storage resources have no incentive or ability to exercise market power.

AES Companies claim that it may be necessary to modify RTO/ISO must-offer

requirements to allow electric storage resources to participate in capacity markets while also providing non-dispatched services (such as primary frequency response and voltage control).  AES Companies add that most must-offer requirements apply to a capacity resource during all dispatch intervals, even though specific services may only be needed for a set number of hours in a day.

c.	Commission Determination

To implement section 35.28(g)(9)(i)(a) of the Commission’s regulations, in this 
Final Rule, we adopt the NOPR proposal, as modified and clarified below, to require 
each RTO/ISO to revise its tariff to allow electric storage resources to de-rate their 
capacity to meet minimum run-time requirements.  We find that allowing resources 
using the participation model for electric storage resources to de-rate their capacity to 
meet minimum run-time requirements to provide capacity or other services will help to 
ensure that electric storage resources are eligible to provide all services that they are 
technically capable of providing by taking into account their physical and operational 
characteristics, while still maintaining the quality and reliability of services they seek to 
provide.  For example, this requirement would allow a 10MW/20MWh electric storage 
resource to offer 5MW of capacity into a capacity market with a 4-hour minimum run-
time because that is the maximum output that the resource can sustain for the duration of 
the minimum run-time.  Absent the opportunity to de-rate its capacity, the

Docket Nos. RM16-23-000 and AD16-20-000	- 64 -

10MW/20MWh electric storage resource would not be able to participate in that capacity market, despite its ability to reliably provide 5MW of capacity for the duration of the 
minimum run-time.

We also clarify several aspects of the NOPR proposal in response to commenters. 
In response to NRG, we clarify that this Final Rule does not exempt electric storage 
resources that participate in RTO/ISO capacity markets from meeting the performance 
metrics and criteria that apply to all other resources that participate in those markets.  In 
fact, along with other requirements in this Final Rule that require an RTO’s/ISO’s 
participation model for electric storage resources to account for the physical and 
operational characteristics of electric storage resources,120 allowing electric storage 
resources to de-rate their capacity to meet minimum run-time requirements should make 
it possible for energy-limited electric storage resources to satisfy relevant performance 
metrics in the RTO/ISO markets.  In response to American Petroleum Institute, we 
clarify that this Final Rule does not exempt an electric storage resource that is 
participating in RTO/ISO capacity markets from any applicable penalties for non-
performance.

In response to SPP, we clarify that an electric storage resource de-rating its capacity to provide capacity or other services is not engaging in physical withholding if it is derating to meet minimum run-time requirements.  In the case of an electric storage

120 See, e.g., Physical and Operational Characteristics of Electric Storage 
Resources and State of Charge Management sections, infra PP 186-190, 246-252.

Docket Nos. RM16-23-000 and AD16-20-000	- 65 -

resource that de-rates its capacity to meet minimum run-time requirements, this resource would be de-rating its capacity for true and verifiable technical reasons pertaining to the market rules for providing various services.  However, as the Commission has 
previously explained, physical withholding may include a market participant declaring that an electric facility has been de-rated, forced out of service, or otherwise been made unavailable for technical reasons that are unrelated to physical or legitimate commercial issues or that cannot be verified.121  Thus, we find that each RTO/ISO may request that its market monitor verify whether an electric storage resource de-rated its capacity to 
meet a minimum run-time requirement to ensure that these resources are not engaging in physical withholding, as defined by the Commission.

Additionally, while commenters do not specifically describe any market power 
concerns outside the context of physical withholding, to the extent that market power 
concerns arise as a result of electric storage resources de-rating capacity to provide 
capacity or other services, each RTO/ISO may consider whether it is appropriate to

121 See Sw. Power Pool, Inc., 141 FERC ¶ 61,048, at P 451 (2012), order on reh’g, 
142 FERC ¶ 61,205 (2013).  Other examples of physical withholding that the 
Commission has identified, which we do not believe apply to de-rating to meet minimum 
run-time requirements, include:  (1) refusing to provide offers or schedules for an electric 
facility when it is required to offer into the market when it would otherwise have been in 
the economic interest to do so without market power; (2) operating a generation resource 
in real time to produce an output level that is less than dispatch targets; (3) de-rating a 
transmission facility or interface for technical reasons that are not true or verifiable;

(4) operating a transmission facility in a manner that is not economic and that causes a binding transmission constraint or binding reserve zone constraint or local reliability issue; and (5) declaring that the capability of resources to provide energy or operating reserves is reduced for reasons that are not true or verifiable.  Id.

Docket Nos. RM16-23-000 and AD16-20-000	- 66 -

update and/or apply existing market power mitigation processes to electric storage resources to alleviate market power concerns.

In response to California Energy Storage Alliance, we agree that electric storage

resources may provide services in the RTO/ISO markets without de-rating so long as they 
meet the requirements to provide the particular service that they seek to provide.  We also 
clarify that this Final Rule does not require any specific outage rules for electric storage 
resources.

Further, upon consideration of the comments, we clarify the part of the NOPR

proposal stating that the de-rated capacity value for electric storage resources should be 
consistent with the quantity of energy that must be offered into the day-ahead energy 
market for resources with capacity obligations.  Several commenters suggest that there 
may be reasons why the de-rated capacity value for electric storage resources might not 
be consistent with the quantity of energy that must be offered into the day-ahead energy 
market.  For example, an electric storage resource may choose to de-rate to reflect its 
capacity interconnection rights; to reserve capacity for providing retail services; or

because system operators may need the full capacity of electric storage resources based 
on real-time system conditions.122  We find these points compelling.  We also agree with 
Xcel Energy Services that the rules governing must-offer quantities vary between 
RTOs/ISOs and with Energy Storage Association that where electric storage resources

122 See, e.g., AES Companies Comments at 16-17; Avangrid Comments at 5; Energy Storage Association Comments at 8-9; EPRI Comments at 12-13.

Docket Nos. RM16-23-000 and AD16-20-000	- 67 -

do not have a must-offer obligation the de-rated quantity cannot be tied to such an

obligation.  We therefore provide each RTO/ISO flexibility either to use its existing rules 
for must-offer quantities or to modify its existing rules as necessary to reflect the 
physical and operational characteristics of electric storage resources.  However, in 
response to Avangrid and EEI, we clarify that, if an electric storage resource elects to de-
rate its capacity, it must not de-rate its capacity below any capacity obligations it has 
assumed, such as any applicable must-offer requirement.  We also agree with Energy 
Storage Association that the de-rated quantity should be based on the quantity of energy 
that an electric storage resource can discharge continuously over the minimum run-time 
set by the RTO/ISO.

In response to those commenters suggesting that the RTO/ISO resource adequacy

constructs provide accommodations for electric storage resources, we will not require the 
RTOs/ISOs to make specific changes to minimum run-time or must-offer requirements 
associated with providing capacity.  While we agree with commenters that some of the 
requirements to participate in the resource adequacy constructs of the RTOs/ISOs may 
limit the ability of electric storage resources to participate, there is significant variation 
in how each RTO/ISO approaches resource adequacy.  Thus, we do not believe it is

appropriate to establish one standard approach to this issue in the RTO/ISO markets. 
However, we do find that it is important for electric storage resources that can provide 
value in those resource adequacy constructs to be eligible to participate.  Therefore, in 
the interest of preserving flexibility for the RTOs/ISOs to address this issue given their 
unique resource adequacy constructs, we require each RTO/ISO to demonstrate on

Docket Nos. RM16-23-000 and AD16-20-000	- 68 -

compliance with this Final Rule that its existing market rules provide a means for

electric storage resources to provide capacity.  If an RTO/ISO does not have existing tariff provisions that enable electric storage resources to provide capacity, such as the RTO/ISO tariff provisions described below, we require the RTO/ISO to propose such rules on compliance with this Final Rule.

To provide guidance for this requirement, we note that several of the RTOs/ISOs 
already have developed rules that allow energy-limited resources to provide capacity. 
Some of these market rules explicitly facilitate the participation of electric storage 
resources.  For example, NYISO has an Energy Limited Resource model that facilitates 
the participation of electric storage resources in the capacity market by limiting their 
commitments to one four-hour interval per day, while CAISO requires that flexible 
resource adequacy resources be available only during peak hours.  Other RTOs/ISOs 
rely on opportunity costs in incremental energy offer reference levels, allowing for a 
resource to reflect its energy-limited nature through high offers in the energy market that 
make it unlikely to be dispatched.  For example, ISO-NE’s tariff allows opportunity 
costs included in an incremental energy reference level based on costs associated with 
complying with emissions limits, water storage limits, and other operating permits that 
limit production of energy.123  While some of these market rules may apply to resources 
using the participation model for electric storage resources, we require each RTO/ISO to 
demonstrate how such rules are applicable to resources using the participation model for

123 ISO-NE Tariff, Market Rule 1, Appendix A, § III.A.7.5.1.

Docket Nos. RM16-23-000 and AD16-20-000	- 69 -

electric storage resources on compliance with this Final Rule.

3.	Energy Schedule Requirement for Provision of Ancillary

Services

a.	NOPR Request for Comments

In the NOPR, the Commission stated that electric storage resources tend to be 
capable of faster start-up times and higher ramp rates than traditional synchronous 
generators and are therefore able to provide ramping, spinning, and regulating reserve 
services without already being online and running.124  However, the Commission 
acknowledged that the RTOs/ISOs that co-optimize energy and ancillary services 
dispatch and pricing may condition eligibility to provide ancillary services on having an 
energy schedule.125  The Commission therefore sought comment on whether the 
requirement to have an energy schedule to provide ancillary services could be adjusted so 
that electric storage resources and other technically-capable resources could participate in 
the ancillary service markets independent of offering energy to the RTO/ISO. 
	Specifically, the Commission sought comment on whether dispatch and pricing of energy and ancillary services would be internally consistent if a resource were not 
required to offer to provide energy in order to offer to provide ancillary services.  Further, 
the Commission sought comment on whether the capability of resources to provide an 
ancillary service absent an energy schedule can be determined in the regular performance

124 See NOPR, FERC Stats. & Regs. ¶ 32,718 at P 50.

125 See id. P 51.

Docket Nos. RM16-23-000 and AD16-20-000	- 70 -

tests that the RTO/ISO conducts and whether a resource’s start-up time and ramp

capability are generally represented in bidding parameters and would adequately

guarantee the resource’s ability to provide other services absent energy market

participation.  Finally, the Commission sought comment on the extent of software

changes necessary to factor the elimination of such an energy schedule requirement into the RTO/ISO co-optimization models.

b.	Comments

A number of commenters agree that the RTOs/ ISOs should base a market

participant’s eligibility to provide a particular ancillary service on its ability to provide 
services when called upon, rather than whether it is online and synchronized to the 
grid.126  They argue that the requirement to have an energy schedule to provide ancillary 
services is no longer technically necessary.  For example, Advanced Energy Economy 
and Efficient Holdings state that electric storage resources are able to provide services 
such as primary frequency response, even while they are charging and unable to supply 
energy.  Altametric and Energy Storage Association explain that an electric storage 
resource’s start-up time and ramp capability are generally represented in bidding 
parameters, adequately guaranteeing the resource’s ability to provide other services 
absent energy market participation.  Altametric adds that an RTO/ISO can validate a

126 See, e.g., Advanced Energy Economy Comments at 26-27; Altametric

Comments at 6; Beacon Power Comments at 3-4; Efficient Holdings Comments at 13-14; Energy Storage Association Comments at 10, 12-13; NRG Comments at 15-16; Pacific Gas & Electric Comments at 8.

Docket Nos. RM16-23-000 and AD16-20-000	- 71 -

resource’s ability to provide ancillary services through its regular performance, while Energy Storage Association, NRG, and Pacific Gas & Electric contend that periodic performance testing is sufficient.  Beacon Power notes that regulation resources are already required to undergo performance testing in PJM, with no requirement that they participate in the energy market.

A few commenters address the benefits of removing any requirement to have an

energy schedule to provide ancillary services.127  Specifically, Efficient Holdings, Energy 
Storage Association, and Magnum argue that removing any such requirement would 
eliminate a barrier to some electric storage resources’ ability to provide ancillary services 
because they are energy-limited, increasing competition.  Similarly, Starwood Energy 
states that electric storage resources should be allowed to participate in the ancillary 
service markets regardless of whether they offer energy to the RTO/ISO. 
	Energy Storage Association and Research Scientists opine that it is feasible for 
RTOs/ISOs to remove any requirement to have an energy schedule to provide ancillary 
services.128  Energy Storage Association and Research Scientists argue that, even if an 
electric storage resource is allowed to provide ancillary services without an energy 
schedule, dispatch and pricing of energy and ancillary services can be co-optimized and 
will be internally consistent.  However, Research Scientists also note that whether an

127 See., e.g., Efficient Holdings Comments at 13-14; Energy Storage Association Comments at 12; Magnum Comments at 10; Starwood Energy Comments at 6.

128 See Energy Storage Association Comments at 12-13; Research Scientists Comments at 5-6.

Docket Nos. RM16-23-000 and AD16-20-000	- 72 -

electric storage resource offers to provide energy may influence market outcomes, as an energy offer represents a resource’s opportunity cost of providing ancillary services 
under the market clearing optimization algorithm.  Energy Storage Association adds that, just as some resources currently provide only energy, RTOs/ISOs can manage resources that provide only ancillary services because they will receive enough information about electric storage resources’ capability to provide ancillary services through their bidding parameters and through regular performance tests.

In contrast, EPSA/PJM Power Providers and NRG contend that, if the Commission 
requires each RTO/ISO to remove any requirement that a resource have an energy 
schedule to provide ancillary services, the Commission should require each resource that 
seeks to provide ancillary services to provide economic offers into the energy market.129 
They argue that such offers are necessary to allow for the co-optimization of energy and 
ancillary services markets and to price the provision of ancillary services. 
	While not opining on whether the Commission should require each RTO/ISO to remove any requirement to have an energy schedule to provide ancillary services from its tariff, MISO Transmission Owners comment on the ability of resources to provide 
ancillary services without an energy schedule.130  MISO Transmission Owners claim that 
whether a resource can provide ancillary services without an energy schedule depends on 
the particular electric storage technology, the service being offered, and the ability of the

129 See EPSA/PJM Power Providers Comments at 17; NRG Comments at 15-16. 130 See MISO Transmission Owners Comments at 9.

Docket Nos. RM16-23-000 and AD16-20-000	- 73 -

resource to respond within the timeframe established for that service.  Similarly, EPRI

and Research Scientists assert that electric storage resources that transition from charge to 
discharge slowly (e.g., pumped-hydro resources) are unlikely to be able to provide certain 
ancillary services without an energy schedule, while electric storage resources that 
transition from charge to discharge and change operating levels quickly can.131 
	While Xcel Energy Services agrees that resources do not necessarily need to be synchronized to the grid to provide ancillary services, it argues that RTOs/ISOs must establish response time requirements to ensure that all resources provide those services within an adequate timeframe.132  Xcel Energy Services further notes that to provide 
some services, such as voltage support, resources do not need to submit an energy offer. 
Xcel Energy Services concludes that the larger issue is the capability of co-optimization 
software to evaluate the option between dispatching an electric storage resource to charge 
or discharge.

MISO, PJM, and SPP do not opine on whether the Commission should require each 
RTO/ISO to remove any requirement that a resource have an energy schedule to provide 
ancillary services, although MISO and SPP present considerations for the Commission to 
evaluate should it move forward on this issue, each discuss the feasibility of removing

131 See EPRI Comments at 14-15; Research Scientists Comments at 5. 132 See Xcel Energy Services Comments at 22.

Docket Nos. RM16-23-000 and AD16-20-000	- 74 -

any such requirement for some services.133  For example, PJM notes that it already allows 
market participants to offer to provide ancillary services without a corresponding energy 
offer and that no further software changes are needed to effectuate this outcome.134 
Likewise, MISO notes that, under its Stored Energy Resource model, the Stored Energy 
Resource submits regulation offers but not energy offers, illustrating the potential for 
resources to provide ancillary services without an energy schedule.  SPP states that it 
allows a resource that is not online or synchronized to provide supplemental reserves. 
SPP also explains that a resource that is not qualified to provide energy can participate in 
the regulation market; however, that resource would not be eligible to set the price in the 
energy market, and its output could not be substituted for contingency reserves. 
	While MISO agrees that electric storage resources that can start rapidly should not be required to be online and synchronized to provide ancillary services, it contends that an RTO must review and address its system limitations to ensure that it can handle such resources’ fast start and ramp capabilities before removing any such requirement. 
According to MISO, reflecting an electric storage resource’s start-up time and ramp 
capabilities in the clearing engine is feasible but would require extensive system and 
software changes.  For an electric storage resource that is managing its own state of 
charge, MISO states that it would need the resource’s energy schedule and dispatch range

133 See MISO Comments at 12-14; PJM Comments at 17; SPP Comments at 8-9.

134 But see NextEra Comments at 7, n.8 (asserting that this option is only available in PJM for regulation service).

Docket Nos. RM16-23-000 and AD16-20-000	- 75 -

to ensure that it dispatches the resource to provide ancillary services within that

resource’s physical limits.  MISO further contends, however, that if it were managing an 
electric storage resource’s state of charge, it would need to receive offers for all ancillary 
services that the resource seeks to provide and that, absent an energy offer, the 
optimization model would need to assume that the resource is a price taker in the energy 
market if that maximizes its profit from providing ancillary services. 
	SPP asserts that any change to an energy schedule requirement for providing 
spinning reserve needs to involve the North American Electric Reliability Corporation 
(NERC) because NERC defines spinning reserves as a resource that is synchronized and 
spinning.

AES Companies argue that, rather than adopting any prescriptive requirement in a final rule, the Commission should allow each RTO/ISO to determine whether it can remove or modify any tariff provision or business practice that requires a resource to 
have an energy offer or schedule to provide a specific ancillary service, given their 
differing operational characteristics and needs.135  That said, AES Companies note that some RTOs/ISOs permit demand response resources to provide certain ancillary services without providing energy and that it is important to remove barriers to the provision of essential reliability services.  AES Companies also mention that periodic testing of 
resources is sufficient to determine their ability to provide ancillary services but that 
testing and measurement procedures may vary by technology.

135 See AES Companies Comments at 17-19.

Docket Nos. RM16-23-000 and AD16-20-000	- 76 -

R Street Institute asserts that, unless they have a must-offer energy obligation,

electric storage resources should not have to submit an energy schedule to participate in 
ancillary service markets.136  However, R Street Institute contends that, before requiring 
each RTO/ISO to remove any requirement that a resource must have an energy schedule 
to provide ancillary services, the Commission should weigh the costs of any software 
changes necessary to implement such a requirement against its projected benefits.

CAISO, ISO-NE, and NYISO state that the Commission should not require each 
RTO/ISO to remove any requirement that a resource have an energy offer or schedule to 
provide ancillary services.137  They state that their markets cannot accommodate 
resources that seek to provide ancillary services without offering energy as well. 
Specifically, they contend that all other resource types must submit an energy offer or 
schedule to provide ancillary services because it is necessary to allow them to co-
optimize their energy and ancillary services markets.  They argue that, without such a 
requirement, an RTO/ISO may dispatch a resource to provide ancillary services when it 
would have been more economically efficient to dispatch the resource to provide energy 
or may not be able to determine which resource(s) that have cleared as reserves it would 
be most economically efficient to dispatch for energy when contingencies arise.  They

136 See R Street Institute Comments at 4.

137 See CAISO Comments at 7-8; ISO-NE Comments at 15-17; NYISO Comments

at 7-9.

Docket Nos. RM16-23-000 and AD16-20-000	- 77 -

contend that removing this requirement would therefore decrease overall market efficiency, increasing costs to consumers and uplift costs.

In terms of the technical difficulties of removing the requirement that a resource have an energy schedule to provide ancillary services, EPRI notes that some RTOs/ISOs require zero-cost offers for certain ancillary services in the real-time market.138  EPRI states that prices for these ancillary services are based on the opportunity costs that the marginal ancillary service provider incurs to provide ancillary services instead of energy. Energy Storage Association and EPRI contend that, without providing an energy offer, an electric storage resource will not have a lost opportunity cost.139  EPRI notes that 
therefore the electric storage resource will not be able to set the price at a non-zero value when it is the marginal resource providing ancillary services.

Guannan He argues that there is no need for the Commission to require each

RTO/ISO to remove any requirement that a resource have an energy schedule to provide ancillary services if electric storage resources specify through their energy schedules when they are online or offline.140

While Advanced Energy Economy and Electric Vehicle R&D Group argue that the 
Commission should require each RTO/ISO to remove any requirement that an electric

138 See EPRI Comments at 15.

139 See Energy Storage Association Comments at 12; EPRI Comments at 15; 140 See Guannan He Comments at 1-2.

Docket Nos. RM16-23-000 and AD16-20-000	- 78 -

storage resource have an energy schedule to provide ancillary services, they state that, if 
the Commission decides to retain the requirement, the Commission should make certain 
clarifications in the final rule or require each RTO/ISO to revise its existing market rules 
with respect to the provision of ancillary services.141  Specifically, Advanced Energy 
Economy argues that the Commission should require each RTO/ISO to revise its tariff to 
allow an electric storage resource to account for its charge and discharge parameters.  In 
addition, Advanced Energy Economy states that the Commission should provide 
assurances that an electric storage resource that manages its state of charge through 
energy offers will not be mitigated or deemed engaged in withholding.  Electric Vehicle 
R&D Group argues that electric storage resources should be allowed to set their energy 
schedule to zero or a small negative number to compensate for losses.

c.	Commission Determination

Upon consideration of the comments, we will not require each RTO/ISO to modify 
rules requiring resources to have an energy schedule to participate in the ancillary 
service markets.  While some electric storage resources may be technically capable of 
providing ancillary services without an energy schedule and could represent those 
capabilities in their bidding parameters and performance tests, we are persuaded by 
commenters that requiring the RTOs/ISOs to adjust the requirement to have an energy 
schedule to provide ancillary services could result in less efficient dispatch, potentially

141 See Advanced Energy Economy Comments at 27; Electric Vehicle R&D Group Comments at 1.

Docket Nos. RM16-23-000 and AD16-20-000	- 79 -

increasing costs.  Moreover, we recognize the importance of co-optimization in clearing and dispatch software and appreciate that the RTOs/ISOs have developed different, 
individual approaches to co-optimizing their energy and ancillary service markets.  Upon consideration of the comments, we do not find, on a generic basis, that a requirement to have an energy schedule to participate in the ancillary service markets is necessarily an unreasonable requirement for the participation of electric storage resources in those 
markets because such a requirement may be necessary to support economically efficient dispatch within a particular RTO/ISO market.

However, we agree with commenters that some fast-responding electric storage

resources are technically capable of providing ancillary services without an energy

schedule.  We also acknowledge that some RTO/ISO market rules already allow

resources to provide some ancillary services, namely regulation, without the requirement 
to participate in the energy market.  Such opportunities for participation in certain 
ancillary service markets without an energy schedule suggest that there may be instances 
(i.e., for certain ancillary services in certain RTO/ISO markets) in which allowing a 
resource to provide an ancillary service without an energy schedule may enhance market 
efficiency.  Therefore, we encourage each RTO/ISO to consider whether fast-responding 
electric storage resources may be able to provide certain ancillary services in its markets 
without an energy schedule.

Docket Nos. RM16-23-000 and AD16-20-000	- 80 -

4.	NERC Definitions

a.	NOPR Request for Comment

In the NOPR, the Commission noted that it appears that some of the Glossary of 
Terms definitions used in NERC reliability standards were created for synchronous 
generation.142  Therefore, the Commission sought comment on whether and to what

extent the Commission-approved NERC Glossary of Terms and associated reliability 
standards or regional reliability requirements may create barriers to the participation of 
electric storage resources or other non-synchronous technologies in the RTO/ISO 
markets.

b.	Comments

Several commenters argue that the NERC reliability standards and regional

reliability requirements do not present a barrier to electric storage resources participating 
in wholesale electric markets.143  Both AES Companies and EEI note, however, that 
modifications to the reliability standards may be appropriate in the future.  NERC argues 
that its reliability standards are technology neutral and provide the responsible entity, 
usually the balancing authority, with flexibility to meet their performance-based 
requirements.144  Furthermore, Imperial Irrigation District and NERC point to an

142 See NOPR, FERC Stats. & Regs. ¶ 32,718 at P 52.

143 See AES Companies Comments at 24; CAISO Comments at 8; EEI Comments at 8; NERC Comments at 2.

144 See NERC Comments at 4-5.

Docket Nos. RM16-23-000 and AD16-20-000	- 81 -

interpretation of regional Reliability Standard BAL-002-WECC-2 that acknowledges 
that non-traditional resources, including electric storage resources, are capable of 
meeting the operating reserves-spinning requirement of the regional standard.145 
	Other commenters contend that it may be appropriate to revise the NERC Glossary of Terms to ensure that the definitions reflect the physical and operational characteristics of electric storage resources and other non-synchronous technologies.146  NESCOE 
contends that certain definitions in the NERC Glossary of Terms may limit electric 
storage resources’ participation in the reserves markets, while Massachusetts State 
Entities assert that Northeast Power Coordinating Council rules, which Massachusetts 
State Entities do not specifically identify, may prohibit inverter-based resources, 
including electric storage resources, from providing spinning reserves.  Exelon notes that 
the NERC definitions were written before the development of electric storage resources 
and if those definitions or reliability standards are being read to exclude certain 
resources, then those definitions or reliability standards should be carefully reviewed to 
determine whether the exclusionary language is necessary for purposes of reliability.

145 See Imperial Irrigation District Comments at 4; NERC Comments at 6 (citing

N. Am. Elec. Reliability Corp., Docket No. RD17-3-000 (Jan. 24, 2017) (delegated letter 
order)).

146 See, e.g., ELCON Comments at 5, 9-10 (citing the NOPR’s summary of

comments that asserted, for example, that the NERC Glossary’s definitions of Spinning 
Reserves and Operating Reserve-Spinning may be barriers to non-synchronous resources 
seeking to provide reserve products; see, e.g., NOPR, FERC Stats. & Regs. ¶ 32,718 
at P 44); EPRI Comments at 15-16; Exelon Comments at 7-8; Massachusetts State 
Entities Comments at 15-16; MISO Comments at 14; National Hydropower Association 
Comments at 8; NYISO Comments at 7; Tesla/SolarCity Comments at 12-14.

Docket Nos. RM16-23-000 and AD16-20-000	- 82 -

Tesla/SolarCity suggest that (1) NERC should modify the definitions of ancillary 
services in its Glossary of Terms to eliminate any apparent requirement that ancillary 
service providers must be “generation” or “synchronized;” (2) in its compliance filing, 
each RTO/ISO should identify any reliability standards that prevent it from making 
Commission-directed tariff changes to accommodate electric storage resource 
participation; and (3) the Commission should make clear in the final rule that reliability 
standards that were developed for or favor conventional generators without technical 
justification must be changed to allow the participation of all resources unless there are 
technical limitations.

EPRI discusses the following potential revision to the NERC Glossary of Terms.

While EPRI notes that the NERC definition of Operating Reserve-Spinning includes the 
phrase “generation synchronized to the system,” according to EPRI, resources providing 
spinning/synchronized reserves do not necessarily need to be synchronous resources but 
rather must be able to respond as soon as they are directed to do so.  EPRI states that it 
would be useful to discuss this clarification with NERC and industry.  SPP also notes 
that a spinning reserve product, by definition, means the resource must be synchronized 
and spinning.147

c.	Commission Determination

Upon consideration of the comments, we find that the Commission-approved NERC 
reliability standards, the associated Glossary of Terms, and regional reliability standards

147 See SPP Comments at 8.

Docket Nos. RM16-23-000 and AD16-20-000	- 83 -

do not create barriers to the participation of electric storage resources or other non-

synchronous technologies in the RTO/ISO markets.  We find persuasive NERC’s

argument that its reliability standards are technology neutral and provide electric storage resources with flexibility to meet their performance-based requirements.  Moreover, no commenter has demonstrated that the NERC Glossary of Terms and associated 
reliability standards or regional reliability requirements preclude electric storage 
resources or other non-synchronous technologies from providing the services that they are technically capable of providing in the RTO/ISO markets.

D.	Participation in the RTO/ISO Markets as Supply and Demand

1.	Eligibility to Participate as a Wholesale Seller and Wholesale

Buyer

a.	NOPR Proposal

In the NOPR, the Commission proposed to require each RTO/ISO to revise its tariff 
to ensure that electric storage resources can be dispatched and can set the wholesale 
market clearing price as both a wholesale seller and wholesale buyer, consistent with 
existing rules that govern when a resource can set the wholesale price.148  The 
Commission also proposed that, for a resource using the proposed participation model 
for electric storage resources to be able to set prices in the RTO/ISO markets as either a 
wholesale seller or a wholesale buyer, it must be available to the RTO/ISO as a

148 See NOPR, FERC Stats. & Regs. ¶ 32,718 at P 81.

Docket Nos. RM16-23-000 and AD16-20-000	- 84 -

dispatchable resource.149  This proposal included the requirements that the RTOs/ISOs accept wholesale bids from electric storage resources to buy energy so that the economic preferences of electric storage resources are fully integrated into the market, the electric storage resource can set the price as a load resource where market rules allow, and the 
electric storage resource can be available to the RTO/ISO as a dispatchable demand 
asset.150  The Commission noted that these requirements must not prohibit electric 
storage resources from participating in the RTO/ISO markets as price takers, consistent with the existing rules for self-scheduled load resources.  The Commission also proposed that resources using the participation model for electric storage resources be able to set the price in the capacity markets, where applicable.

Finally, the Commission sought comment on whether any existing RTO/ISO rules may unnecessarily limit the ability of resources using the participation model for electric storage resources to set prices in the RTO/ISO markets.151

b.	Comments

i.	Wholesale Seller/Wholesale Buyer

Numerous commenters agree with the Commission’s proposal to require each

RTO/ISO to permit electric storage resources to be able to be dispatched as both supply

149 See id. P 84.

150 See id. P 81. 
151 See id. P 84.

Docket Nos. RM16-23-000 and AD16-20-000	- 85 -

and demand and to set wholesale market clearing prices as both a wholesale seller and 
wholesale buyer.152  Commenters state that this proposal appropriately recognizes the 
full bidirectional value of electric storage resources, their fast response times, and 
limited energy and allows for greater grid efficiency, greater competition, and downward pressure on wholesale prices and system costs.153  Institute for Policy Integrity also 
argues that such participation could reduce peak energy costs by replacing inefficient 
thermal units, reduce price volatility by shifting load from peak to off-peak, improve 
overall reliability on the electric grid, and reduce the need for cost-intensive investment in electric transmission infrastructure.

Tesla/SolarCity add that, as more variable energy resources come online, the value 
of having dispatchable loads capable of setting market prices will become greater and 
this feature of the market will become increasingly valuable.154  Research Scientists 
agree that the economic preferences of energy storage resources should be reflected in 
the market clearing as both load and supply, in line with other load resources in the

152 See, e.g., Efficient Holdings Comments at 17; Imperial Irrigation District 
Comments at 10-11; National Hydropower Association Comments at 9; NYPA 
Comments at 11; R Street Institute Comments at 6; Tesla/SolarCity Comments at 15.

153 See, e.g., Avangrid Comments at 7; Energy Storage Association Comments at 6-7, 17, 18; Imperial Irrigation District Comments at 11; Institute for Policy Integrity Comments at 3-4; SPP Comments at 13.

154 See Tesla/SolarCity Comments at 15.

Docket Nos. RM16-23-000 and AD16-20-000	- 86 -

grid.155  Magnum supports the ability of electric storage resources to participate as a 
dispatchable load but not if it precludes the generation function of its technology from participating in market opportunities because the two functions can occur 
simultaneously.156

Several RTOs/ISOs, including CAISO, ISO-NE, NYISO, and SPP, also express

general support for the Commission’s proposals.157  MISO agrees that a resource

optimized through the market clearing process should be allowed to set wholesale prices but states that determining the rules and conditions under which electric storage 
resources should be cleared and optimized in the markets will require significant time 
and resources.158

MISO Transmission Owners caution that state laws may affect an electric storage 
resource’s status as a seller or buyer, arguing that states and distribution utilities should 
retain authority to manage this aspect of electric storage resources in their areas.159 
MISO Transmission Owners also assert that it is technologically challenging to enforce a 
requirement for a behind-the-meter electric storage resource to buy electricity at

155 See Research Scientists Comments at 8.

156 See Magnum Comments at 13.

157 See CAISO Comments at 13; ISO-NE Comments at 21; NYISO Comments at 10; SPP Comments at 13.

158 See MISO Comments at 7.

159 See MISO Transmission Owners Comments at 11-12.

Docket Nos. RM16-23-000 and AD16-20-000	- 87 -

wholesale.  Xcel Energy Services conditions its support upon resources being dedicated 
wholesale resources that do not have the ability to arbitrage wholesale and retail rates.160 
EEI supports the proposal on the condition that the Commission clarify that an electric 
storage resource bidding into the wholesale markets that is interconnected to the 
transmission system must charge at wholesale rates, while an electric storage resource 
interconnected to the distribution system must pay any applicable charges under state 
jurisdictional tariffs for its use of state jurisdictional facilities.161 
	While Open Access Technology conditionally supports the NOPR proposal, it 
requests that the Commission clarify whether a storage resource in charging mode is 
considered as negative demand response (i.e., load increase instead of load reduction).162 
	Several commenters state that electric storage resources should have the same 
ability as other resources to self-schedule within the requirements of the RTO/ISO and 
participate in the RTO/ISO markets as a price taker.163  Energy Storage Association 
further recommends that the Commission clarify that the option to self-schedule should 
apply to storage resources both as buyers and as sellers and not just as “load resources.”

160 See Xcel Energy Services Comments at 23.

161 See EEI Comments at 12.

162 See Open Access Technology Comments at 2.

163 See, e.g., APPA/NRECA Comments at 15-16; Avangrid Comments at 7;

Energy Storage Association Comments at 18; NYISO Comments at 10; Tesla/SolarCity Comments at 15.

Docket Nos. RM16-23-000 and AD16-20-000	- 88 -

APPA/NRECA contend that, if electric storage resources are not permitted to participate as price takers on the same basis as any other self-scheduled resource, it will create a disincentive to load serving entity investment and utilization of electric storage 
resources, which will undermine the Commission’s goals.

Dominion asserts that, in order to improve price transparency, the Commission

should consider allowing a pumped-hydro resource to submit its dispatch cost to the

RTO while preserving its right to self-schedule in the real-time market.164  While MISO 
Transmission Owners generally support the Commission’s proposal to allow electric 
storage resources to participate as a wholesale buyer and seller, they state that it is 
important to consider any unintended consequences regarding an electric storage 
resource owner’s ability to self-schedule the unit if needed to meet load demand 
conditions and maintain power quality and reliability.165  NYISO points out that self-
schedule offers will not allow the resource to participate as a supply and demand 
resource simultaneously because self-schedule offers indicate the resource’s desired 
schedule.166  AES Companies argue that the Commission should not require the 
RTOs/ISOs to allow electric storage resources to be price takers; rather, this should be 
an RTO/ISO-specific decision because the markets are different and the decision to self-

164 See Dominion Comments at 6.

165 See MISO Transmission Owners Comments at 11. 166 See NYISO Comments at 10.

Docket Nos. RM16-23-000 and AD16-20-000	- 89 -

schedule may have unintended consequences and could skew market results.167

ii.	Dispatchability

Some commenters support the Commission’s proposal that an electric storage

resource must be available to the RTO/ISO as a dispatchable resource to set prices in the 
RTO/ISO markets.168  EPRI asserts that, assuming an energy storage resource is 
dispatchable with a range of output, it should have no limitations to setting the price as 
either a wholesale seller or a wholesale buyer when it is marginal. 
	SPP states that, while any resource type may set the price for any product that the resource is qualified to provide and offers to provide in the market, the resource must be dispatchable and must have available range to provide the system’s marginal MW.169

iii.	Limitations on Price Setting

Generally, the RTOs/ISOs do not believe that their rules limit the ability of an

electric storage resource to set prices.170  SPP adds that, other than dispatchability and 
range requirements described in the preceding section, it does not have restrictions that 
would unnecessarily limit the ability of any resource type, including electric storage 
resources, to set price.  MISO states that it is unaware of any rules that limit the ability of

167 See AES Companies Comments at 25.

168 See, e.g., EPRI Comments at 24; Imperial Irrigation District Comments at 11; Starwood Energy Comments at 6.

169 See SPP Comments at 15.

170 See, e.g., ISO-NE Comments at 21; MISO Comments at 18; PJM Comments at 18; SPP Comments at 15.

Docket Nos. RM16-23-000 and AD16-20-000	- 90 -

pumped-hydro resources to set prices in its markets.  MISO also states that stored energy 
resources provide only regulation and are price-takers for energy.  MISO recommends 
studying the basic participation model(s) for electric storage resources in more detail 
before identifying any necessary adjustments to an RTO/ISO market’s price-setting 
rules.

SoCal Edison and Xcel Energy Services state that they are not aware of any

RTO/ISO rules that would unnecessarily limit the ability of storage resources to set market prices, except in some cases where RTO market software does not allow a resource at minimum output to set price.171

Some commenters argue that electric storage resources should be allowed to set

prices if they meet certain requirements, including the minimum requirements for each 
service.172  PJM Market Monitor argues that storage resources should be eligible to set 
price on the basis of dispatch if the storage resource meets all other relevant 
requirements and has the necessary telemetry and metering.  Dominion supports the 
ability for electric storage resources to set prices in the energy market when applicable if

(1) the current day-ahead market pricing rules applicable to pumped-hydro optimization 
are preserved and (2) the Commission directs each RTO/ISO to create a methodology to

171 See SoCal Edison Comments at 17; Xcel Energy Services Comments at 23.

172 See, e.g., Dominion Comments at 6; NYPA Comments at 11; PJM Market Monitor Comments at 7.

Docket Nos. RM16-23-000 and AD16-20-000	- 91 -

calculate accurate real-time offers and in situations where electric storage resources designate themselves dispatchable.

AES Companies assert that the individual RTOs/ISOs and their stakeholders should 
decide whether and how electric storage resources may set prices in the capacity markets 
because the capacity constructs in each differ.173  Avangrid contends that electric storage 
resources should be able to set the capacity clearing price.174  However, Avangrid notes 
that capacity constructs that are based on real-time performance (such as ISO-NE’s Pay 
for Performance and PJM’s Capacity Performance) may need to guard against the ability 
of electric storage resources to switch from generation to load during a capacity

emergency because it could exacerbate the need for generating capacity.  Avangrid

suggests that these resources could be subjected to more severe penalties than a

generator that performs less than its capacity commitment to guard against such

concerns.  Relatedly, SPP asks the Commission to clarify the effects on scarcity pricing when an electric storage resource moves its capacity instantly from charging to 
discharging, eliminating any scarcity.175

c.	Commission Determination

In this Final Rule, we adopt the NOPR proposal and add section 35.28(g)(9)(i)(b) to 
the Commission’s regulations to require each RTO/ISO to revise its tariff to ensure that a

173 See AES Companies Comments at 25.

174 See Avangrid Comments at 8. 
175 See SPP Comments at 14.

Docket Nos. RM16-23-000 and AD16-20-000	- 92 -

resource using the participation model for electric storage resources can be dispatched as 
supply and demand and can set the wholesale market clearing price as both a wholesale 
seller and wholesale buyer, consistent with rules that govern the conditions under which 
a resource can set the wholesale price.  Consistent with the NOPR proposal, we find that, 
for a resource using the proposed participation model for electric storage resources to be 
able to set prices in the RTO/ISO markets as either a wholesale seller or a wholesale

buyer, it must be available to the RTO/ISO as a dispatchable resource.  Also, consistent 
with the NOPR, we require that (1) resources using the participation model for electric 
storage resources be able to set the price in the capacity markets, where applicable;

(2) RTOs/ISOs must accept wholesale bids from resources using the participation model 
for electric storage resources to buy energy; and (3)  resources using the participation 
model for electric storage resources must be allowed to participate in the RTO/ISO 
markets as price takers, consistent with the existing rules for self-scheduled resources. 
	Improving electric storage resources’ opportunity to participate as both wholesale sellers of services and wholesale buyers of energy will improve market efficiency and, in turn, competition, by allowing the RTO/ISO to dispatch these resources in accordance with their most economically efficient use (i.e., as supply when the market clearing price for energy is higher than their offer and as demand when the market clearing price is lower than their bid).  Additionally, allowing electric storage resources to participate in the RTO/ISO markets as dispatchable load will allow these resources to set the market clearing price under certain circumstances, thus better reflecting the value of the 
marginal resource and ensuring that electric storage resources are dispatched in

Docket Nos. RM16-23-000 and AD16-20-000	- 93 -

accordance with the highest value service that they are capable of providing during a set market interval.  A wide range of commenters, including most RTOs/ISOs, generally 
support this requirement as one that will increase economic efficiency to the benefit of both electric storage resources and the RTO/ISO markets in which they will more fully be able to participate.

We reject AES Companies’ assertion that an RTO/ISO must decide whether to

allow electric storage resources to be price takers.  None of the RTOs/ISOs have

indicated that this need exists.  We also find that AES Companies have not

provided support for their assertion that the decision to self-schedule may have

unintended consequences and could skew market results.  To ensure consistent treatment in the RTO/ISO markets, we find that electric storage resources must maintain the same ability to self-schedule their resource as other market participants.

In response to EEI’s, MISO Transmission Owners’, and Xcel Energy Services’ 
jurisdictional concerns, we find that the Commission has authority to require the 
RTOs/ISOs to permit any resource using the participation model for electric storage 
resources participating in the RTO/ISO markets to buy energy from those markets, 
consistent with the rules related to wholesale purchasers of energy in each RTO/ISO. 
As discussed in the Price for Charging Energy section below,176 we find that the sale of 
electric energy from the grid that is used to charge electric storage resources for later 
resale into the energy or ancillary service markets constitutes a sale for resale.

176 See infra P 289.

Docket Nos. RM16-23-000 and AD16-20-000	- 94 -

Therefore, to better facilitate these wholesale purchases and improve economic

efficiency in the RTO/ISO markets, it is reasonable for the RTOs/ISOs to allow electric 
storage resources to choose to participate in the RTO/ISO markets as both supply and 
demand.  This approach maximizes the ability of electric storage resources to participate 
as wholesale sellers and wholesale buyers in RTO/ISO markets, which will enhance 
competition and, in turn, helps to ensure these markets produce just and reasonable rates. 
Additionally, we note that we address EEI’s concern about an electric storage resource’s 
use of the distribution system in the Price for Charging Energy section below.177 
	We disagree with SPP that there is a need to clarify in this Final Rule the effects on scarcity pricing when an electric storage resource moves its capacity instantly from 
charging to discharging.  Scarcity pricing rules vary between RTOs/ISOs and we do not 
have information on the record to consider a generic clarification for all RTOs/ISOs, nor 
do we find clarification is necessary to ensure that the reforms in this Final Rule are just 
and reasonable and can be implemented.  In response to Avangrid, we find that it is not 
appropriate to require stricter penalties for electric storage resources during capacity 
emergencies.  Avangrid has not shown why electric storage resources should be subject 
to stricter penalties than other resources.  While we are not establishing a requirement 
for resources using the participation model for electric storage resources to pay stricter 
penalties during capacity emergencies, we note that each RTO/ISO is free to evaluate the

177 See infra P 296.

Docket Nos. RM16-23-000 and AD16-20-000	- 95 -

potential impacts of electric storage resources during scarcity events and propose in a 
separate FPA section 205 filing178 any market rules that it believes are necessary to 
account for the unique physical and operational characteristics of electric storage 
resources.

We also reject MISO’s recommendation to study in more detail the basic

participation model(s) for electric storage resources before identifying any necessary

adjustments to an RTO/ISO market’s price-setting rules.  We believe that the flexibility that we provide each RTO/ISO to implement this Final Rule renders moot MISO’s assertion that more study is necessary.

In response to Energy Storage Association’s recommendation that the option to self-
schedule should apply to electric storage resources both as buyers and as sellers, we 
clarify that the ability of electric storage resources to participate as price takers will not 
be limited to their participation as load.  Electric storage resources should also be able to 
self-schedule when they participate in the RTO/ISO markets as a supply resource 
consistent with rules governing how other resources self-schedule.  This requirement 
helps to ensure that electric storage resources are treated consistently with the ability of 
self-scheduled load resources and traditional generation resources to participate in the 
RTO/ISO markets.

Additionally, in response to Dominion’s concerns regarding the ability of electric 
storage resources to set prices in the energy market, particularly as it relates to pumped-

178 See 16 U.S.C. § 824d.

Docket Nos. RM16-23-000 and AD16-20-000	- 96 -

hydro resources and the preservation of existing rules related to their optimization, we clarify that we are not requiring the RTOs/ISOs to change their participation models for pumped-hydro resources in response to this Final Rule.  However, we require each 
RTO/ISO to establish means by which all electric storage resources, including pumpedhydro resources, can participate as wholesale sellers and wholesale buyers in the 
RTO/ISO markets using a participation model for electric storage resources.  This 
requirement ensures that the RTO/ISO markets value the participation of all electric 
storage resources as both supply and demand.

Additionally, in response to Open Access Technology, we clarify that we do not consider electric storage resources in charging mode to be negative demand response. This Final Rule requires an electric storage resource to be eligible to participate in the RTO/ISO markets as a wholesale buyer and for each RTO/ISO to be able to dispatch 
them as such.  Such a mechanism would entail participation in the energy markets, not the provision of a new service, recognizing that electric storage resources may also be dispatched to consume electricity when they are providing certain ancillary services 
(such as frequency regulation).

2.	Mechanisms to Prevent Conflicting Dispatch Instructions

a.	NOPR Request for Comments

In the NOPR, the Commission preliminarily concluded that the proposed

requirement to participate as a supply and demand resource simultaneously (i.e., submit 
bids to buy and offers to sell during the same market interval) is necessary to maximize

Docket Nos. RM16-23-000 and AD16-20-000	- 97 -

the value that electric storage resources can provide in the RTO/ISO markets, allowing 
the markets to identify whether it is more economic to dispatch an electric storage 
resource as supply or demand during a given market interval.179  The Commission stated 
that it expected that, through its bidding strategy, a resource using the electric storage 
resource participation model would be able to prevent any conflicting dispatch signals to 
itself.  However, the Commission sought comment on whether there should be a 
mechanism that identifies bids and offers coming from the same resource to ensure the 
price for the offer to sell is not lower than the price for the bid to buy during the same 
market interval so that an RTO/ISO does not accept both the offer and bid of a resource 
using the electric storage resource participation model for that interval.

b.	Comments

Regarding the issue of preventing conflicting dispatch signals, AES Companies,

Efficient Holdings, and PJM Market Monitor agree with the Commission that a resource 
using the electric storage resource participation model would be able to prevent any 
conflicting dispatch signals itself through a bidding strategy and fuel management

plan.180

In contrast, Bonneville, Imperial Irrigation District, and NRG argue that the

Commission should not rely on an electric storage resource’s bidding strategy to prevent

179 See NOPR, FERC Stats. & Regs. ¶ 32,718 at P 83.

180 See AES Companies Comments at 26; Efficient Holdings Comments at 17; PJM Market Monitor Comments at 8.

Docket Nos. RM16-23-000 and AD16-20-000	- 98 -

conflicting dispatch signals to itself and argue that a screening mechanism in RTO/ISO 
software would be a more robust approach than relying on rational bids and offers 
coming from the same resource.181  Xcel Energy Services agrees but seeks assurance that 
any RTO/ISO mechanism to prevent such conflicts would work and not create 
unintended consequences for market dispatch of the resource.182  EPRI states that an 
RTO/ISO can likely put a fairly straightforward constraint within its security-constrained 
unit commitment or security-constrained economic dispatch model to prevent conflicting 
dispatch signals.183  R Street Institute and Research Scientists believe that building 
logical checks into the market clearing software could avoid this problem.184 
	Avangrid, Imperial Irrigation District, and SoCal Edison agree with the Commission that the RTOs/ISOs should not allow an electric storage resource to submit a buy bid that is higher than its sell offer in the same market interval because there is no economic 
reason to do so.185  Imperial Irrigation District and NRG argue that RTO/ISO software 
should ensure that, when an electric storage resource submits both supply and demand

181 See Bonneville Comments at 5; Imperial Irrigation District Comments at 11; NRG Comments at 14.

182 See Xcel Energy Services Comments at 23. 183 See EPRI Comments at 23-24.

184 See R Street Institute Comments at 6; Research Scientists Comments at 8-9.

185 See Avangrid Comments at 8; Imperial Irrigation District Comments at 11; SoCal Edison Comments at 17.

Docket Nos. RM16-23-000 and AD16-20-000	- 99 -

bids, the offer to sell is not lower than the price for the bid to buy during a single market interval.186  SoCal Edison is also concerned that there may be an incentive for an electric storage resource to submit conflicting bids and offers in markets that allow some form of uplift payments.

CAISO states that its Non-Generator Resource participation model, which was

designed with electric storage resources in mind, allows Non-Generator Resources to

submit an economic bid that spans a negative to positive capacity range.187  CAISO

explains that this single bid curve avoids conflicting dispatch.  MISO similarly states that it has a method for Demand Response Resources - Type II that could be implemented for electric storage resources to allow a smooth dispatch range between a negative 
minimum limit and a positive maximum limit.188

SPP agrees that the coordination of a single asset as both load and generation is

important, stating that both the mechanism utilized and the rules should ensure that the 
offers for use as load and generation would be monotonically increasing.189  However, 
SPP notes that non-LMP components (e.g., start-up costs) may need specific 
consideration to avoid a situation where such costs are not considered in dispatch.  ISO-

186 See Imperial Irrigation District Comments at 11; NRG Comments at 14. 187 See CAISO Comments at 14.

188 See MISO Comments at 17. 
189 See SPP Comments at 15.

Docket Nos. RM16-23-000 and AD16-20-000	- 100 -

NE does not believe any mechanism is necessary to avoid conflicting dispatch

instructions, noting that to avoid this problem, starting in December 2018, it plans to use a single dispatch signal that reflects the net supply and demand dispatch.190  ISO-NE 
adds that the Commission should not be overly prescriptive in this area, instead allowing each RTO/ISO to address these sorts of issues as necessary.  NYISO requests that offers for simultaneous participation as supply and demand include an incremental cost 
construct that allows an electric storage resource’s offer price for demand to be less than its offer price for supply and gives each RTO/ISO flexibility to determine an offer 
construct that best fits its software design.191

Consistent with the single bid curve approach suggested by some RTOs/ISOs,

Energy Storage Association, and NextEra request that the Commission direct

RTOs/ISOs to permit electric storage resources to enter an energy bid curve with

price/quantity pairs for providing and withdrawing energy (bidding different quantities 
of positive or negative MW for different energy prices) in both day-ahead and real-time 
markets.192

Ohio Commission recommends that the market monitors review all buy bids and

sell offers to confirm that a resource is appropriately providing a marginal cost-based bid

190 See ISO-NE Comments at 22.

191 See NYISO Comments at 10.

192 See Energy Storage Association Comments at 17-18; NextEra Comments at 10,

n.14.

Docket Nos. RM16-23-000 and AD16-20-000	- 101 -

and not exercising market power.193  While EEI is not aware of this issue currently, it

claims that it could arise as new technologies buy and sell in the same interval; therefore, it suggests that the Commission discuss this issue at a technical conference to determine if adequate monitoring mechanisms exist.194

Efficient Holdings, Energy Storage Association, and NYPA support requiring

electric storage resources to participate simultaneously as generation and load to

maximize the value they can provide and provide the RTO/ISO with more flexibility to 
operate its system.195  Efficient Holdings contends that simultaneous buy and sell offers 
allow storage operators to absorb extra power when prices are low, thus lowering 
operators’ fuel costs and adding greater flexibility to market operations and optimizing 
energy costs.

While Energy Storage Association argues that electric storage resources should be 
permitted to participate in the RTO/ISO markets simultaneously as generation and load, 
it argues that they should not have to register as, or be modeled as, two separate 
resources (i.e., generation and load) because it would limit the flexibility of scheduling 
and dispatching the storage resource in several ways.196  Energy Storage Association

193 See Ohio Commission Comments at 8.

194 See EEI Comments at 13.

195 See Efficient Holdings Comments at 17; Energy Storage Association Comments at 18; NYPA Comments at 9.

196 See Energy Storage Association Comments at 13, 18.

Docket Nos. RM16-23-000 and AD16-20-000	- 102 -

asserts that this would generally (1) only allow a resource to inject or withdraw energy 
on a bidding interval (i.e., hourly) basis, rather than allowing switching between buying 
and selling energy on a dispatch interval (i.e., five-minute) basis; and (2) include 
transition time for switching from one mode of operation to another, which newer 
electric storage resources do not require.  Energy Storage Association believes that an 
electric storage resource should be able to both withdraw energy from, and provide 
energy to, the grid and switch between states from one (five-minute) dispatch interval to 
the next, so it can be dispatched seamlessly across its full range (i.e., from positive to 
negative).  Energy Storage Association contends that permitting resources to indicate 
their willingness to charge or discharge based on 5-minute pricing will allow RTOs/ISOs 
to more fully utilize the unique capabilities of electric storage resources. 
	In contrast, AES Companies argue that there is no reason to restrict an electric 
storage resource from both buying and selling in the same market interval because some 
electric storage technologies allow the resource owner to operate separate nodes 
independently.197  Tesla/SolarCity argue that, while it is very likely that many electric 
storage resources will participate both as demand and supply resources in the same 
intervals during most times, the Commission should not require this because there are no 
efficiency gains and some optionality will be lost.198

197 See AES Companies Comments at 25-26. 
198 See Tesla/SolarCity Comments at 16.

Docket Nos. RM16-23-000 and AD16-20-000	- 103 -

c.	Commission Determination

While we find that simultaneous participation of resources using the participation

model for electric storage resources as supply and demand may enable more efficient use 
of those resources, we also find that each RTO/ISO must have in place market rules that 
prevent conflicting dispatch signals in the same market interval in order to avoid any 
operational uncertainties or reliability concerns that could arise.  In addition, while we 
agree with commenters that conflicting dispatch instructions will be prevented if market 
participants accurately represent their economic preferences in their bids, we find that 
relying on the expected behavior of market participants is not sufficient to alleviate the 
related operational concerns.  Therefore, to mitigate the potential occurrence of 
conflicting dispatch instructions and to implement the new requirement in section

35.28(g)(9)(i)(b) of the Commission’s regulations, on compliance to this Final Rule, we require each RTO/ISO to either (1) demonstrate that its market design will not allow for conflicting supply offers and demand bids from the same resource for the same market interval or (2) modify its market rules to prevent conflicting supply offers and demand bids from the same resource for the same market interval.

Several approaches could address conflicting dispatch.  We agree with commenters 
that allowing electric storage resources to represent their full economic range (both 
charging and discharging) in a single bid could avoid concerns with conflicting dispatch 
signals and give electric storage resources the flexibility to participate as supply, 
demand, or both through one bid.  However, while we agree this approach could be 
effective at mitigating conflicting dispatch signals, there may be other reasonable

Docket Nos. RM16-23-000 and AD16-20-000	- 104 -

approaches compatible with existing market designs in other RTOs/ISOs to prevent

conflicting dispatch.  For example, we agree with Bonneville, Imperial Irrigation

District, and NRG that a screening mechanism in RTO/ISO software could also prevent 
conflicting dispatch.  We also agree with NYISO that a cost construct that ensures that 
the price of offers to sell are not lower than the price for bids to buy may be reasonable. 
Therefore, we will not require a specific approach in this Final Rule but require that the 
approach chosen by each RTO/ISO mitigates the possibility of conflicting dispatch 
instructions.  However, we disagree with the Ohio Commission that it could be the 
responsibility of the market monitors to review bids to address conflicting dispatch and 
clarify that the RTO/ISO is responsible for preventing conflicting dispatch. 
	In response to the comment suggesting resources using the participation model for electric storage resources should be able to enter an energy bid curve providing and withdrawing energy in both day-ahead and real-time markets, we clarify that resources using the participation model for electric storage resources should be able to submit offers to sell and bids to buy energy consistent with the opportunities available to other market participants in both the day-ahead and real-time markets.  We also find a 
technical conference, as recommended by EEI, is unnecessary at this time given the 
existence of viable solutions to this issue identified by other commenters and given the 
flexibility that we provide each RTO/ISO and other market participants to address this 
issue.

Lastly, we clarify that, while each RTO/ISO should allow resources using the

participation model for electric storage resources to participate as supply and demand

Docket Nos. RM16-23-000 and AD16-20-000	- 105 -

simultaneously (i.e., submit bids to buy and offers to sell during the same market

interval), the RTOs/ISOs should not require resources using the participation model for

electric storage resources to participate as supply and demand simultaneously.

3.	Make-Whole Payments

a.	NOPR Request for Comments

In the NOPR, the Commission noted that a resource using the proposed participation 
model for electric storage resources that elects to submit an economic bid as a wholesale 
buyer and participate as a dispatchable demand resource would still be able to self-
schedule its charging and be a price taker.199  However, the Commission noted that it is 
possible that the RTO/ISO could dispatch an electric storage resource as load when the 
wholesale price for energy is above the price of their bid to buy (a circumstance under 
which they would lose the opportunity to earn greater revenues as a supply resource). 
Therefore, to help alleviate any potential financial risk to electric storage resources when 
being dispatched as a demand resource, the Commission sought comments on whether 
the proposed participation model for electric storage resources should allow make-whole 
payments when a resource participating under this participation model is dispatched as 
load and the price of energy is higher than the resource’s bid price.

199 See NOPR, FERC Stats. & Regs. ¶ 32,718 at P 85.

Docket Nos. RM16-23-000 and AD16-20-000	- 106 -

b.	Comments

Several commenters support allowing make-whole payments when an electric

storage resource is dispatched as load and the price of energy is higher than the

resource’s bid price.200  Avangrid, EEI, and ISO-NE state that electric storage resources 
should be treated comparably to other resources with regard to make-whole payments.201 
Avangrid states that, if the RTO/ISO uses electric storage resources as both generation 
and load, the reasoning for make-whole payments exists in either direction.  California 
Energy Storage Alliance asks the Commission to require all electric storage participation 
models to include the ability to recover commitment costs and receive make-whole

payments.202  Trans Bay asks the Commission to clarify that the NOPR does not

preclude electric storage resources from receiving any non-market payments, including make-whole payments.203  While American Petroleum Institute does not oppose makewhole payments in principle, it argues these payments should not subsidize some 
technologies by mitigating the higher downside risk that should be managed by the 
owners of those resources.204

200 See, e.g., CAISO Comments at 15; NRG Comments at 19; SoCal Edison Comments at 17-18; Tesla/SolarCity Comments at 17.

201 See Avangrid Comments at 8; EEI Comments at 13; ISO-NE Comments at 21-22.

202 See California Energy Storage Alliance Comments at 11. 203 See Trans Bay Comments at 4.

204 See American Petroleum Institute Comments at 6.

Docket Nos. RM16-23-000 and AD16-20-000	- 107 -

Several commenters suggest that the Commission should not set specific

requirements for make-whole payments in this final rule but should provide the

RTOs/ISOs flexibility to establish rules for make-whole payments, if appropriate.205

Six Cities state that, if the Commission allows RTOs/ISOs to propose make-whole

payments for electric storage resources, such payments should only be allowed in limited circumstances to prevent any undue preference for electric storage resources.  Six Cities assert, if make-whole payments are allowed, they should be analogous to criteria for bid cost recovery within CAISO or other analogous payments.

Several commenters raise concerns about the complexity of requiring make-whole payments.206  MISO requests that the Commission hold a series of technical conferences to address significant design and compensation issues.  SoCal Edison contends that 
make-whole payments need to work in conjunction with other mechanisms (such as 
market power mitigation, temporal and product revenue netting, and specific bidding rules).  Xcel Energy Services states that make-whole payments require further 
consideration to ensure electric storage resources are treated comparably to other 
resources and to avoid unnecessary uplift charges.

Some commenters assert that make-whole payments are not necessary in certain

205 See MISO Transmission Owners Comments at 12; Six Cities Comments at 7-8 (citing CAISO Tariff at §11.8); SoCal Edison Comments at 18.

206 See MISO Comments at 18-19; SoCal Edison Comments at 18; Xcel Energy Services Comments at 18.

Docket Nos. RM16-23-000 and AD16-20-000	- 108 -

circumstances.207  ELCON and PJM reason that make-whole payments are not necessary for electric storage resources when they are dispatched as load and the price of energy is higher than the resource’s bid price.  Similarly, Electric Vehicle R&D Group states that make-whole payments do not seem necessary.  ELCON believes that the resource should bear the financial risk of uneconomic dispatch.

Similar to how self-committed resources may not be able to receive make-whole

payments for start-up costs, EPRI cautions that each RTO/ISO should consider whether 
certain costs should be eligible for make-whole payments when an electric storage 
resource self-manages its state-of-charge.208  MISO contends that the potential 
appropriateness of make-whole payments may depend on whether the state of charge is 
managed by an electric storage resource or optimized by the RTO.209  NYPA argues that, 
if the system operator is given state of charge control over a storage resource, RTO/ISO 
tariffs must compensate the resource if and when it is dispatched out of economic merit 
order.210  NYPA asserts that this compensation should apply to:  (1) electric storage 
resources that are dispatched as load when the wholesale price for energy is above the

207 See ELCON Comments at 5-6; Electric Vehicle R&D Group Comments at 1; PJM Comments at 18-19.

208 See EPRI Comments at 26.

209 See MISO Comments at 18-19. 
210 See NYPA Comments at 12.

Docket Nos. RM16-23-000 and AD16-20-000	- 109 -

price of their bid to buy and (2) resources withheld from generating when their energy offer is infra-marginal.

Other commenters believe that the Commission should not require the RTO/ISO to 
provide make-whole payments to electric storage resources because they should be able 
to self-manage in a way that eliminates the need for make-whole payments and achieves

better price formation.211  Acknowledging that make-whole payments are one potential 
solution to mitigate potential financial shortfalls, AES Companies contend that changes 
to the optimization price determination and the granting of flexibility for electric storage

resources to manage their fuel use is preferable to make-whole payments.  PJM Market 
Monitor similarly argues that market participants should decide when it is economic to 
buy and sell rather than create rules through which the market operator could dispatch a 
storage resource in a way inconsistent with its economics and then compensate it through 
an uplift payment.

Given that PJM does not dispatch load increases, it explains that, before engaging in 
this practice, it would need to consult with stakeholders to analyze whether the benefits 
would justify the costs.212  NYISO discourages creating price protections for electric 
storage resources when they are scheduled as demand because such treatment would not 
be comparable to the treatment of other resources that are scheduled as demand, noting

211 See AES Companies Comments at 28; PJM Market Monitor Comments at 8. 212 See PJM Comments at 18.

Docket Nos. RM16-23-000 and AD16-20-000	- 110 -

that regional flexibility will provide the RTOs/ISOs with the opportunity to treat resources comparably.213

c.	Commission Determination

Given the unique capability of electric storage resources to serve as both a supply of, and demand for, energy and to implement the new requirement in section

35.28(g)(9)(i)(b) of the Commission’s regulations that resources using the participation 
model for electric storage resources be able to be dispatched and set the wholesale 
market clearing price as both a wholesale seller and wholesale buyer, we find that the 
participation model for electric storage resources must allow make-whole payments 
when a resource is dispatched as load and the wholesale price is higher than the 
resource’s bid price and when it is dispatched as supply and the wholesale price is lower 
than the resource’s offer price.  Therefore, as part of this Final Rule, we require each 
RTO/ISO to revise its tariff to ensure that resources available for manual dispatch as a 
wholesale buyer and wholesale seller under the participation model for electric storage 
resources are held harmless for manual dispatch by being eligible for make-whole 
payments.  Any such make-whole payments must be consistent with the rules for make-
whole payments for other dispatchable resources.  This requirement is necessary to 
ensure that electric storage resources are treated like dispatchable resources that 
participate in the RTO/ISO markets.  Because the rules for make-whole payments vary 
by RTO/ISO and there are inherent complexities in implementing this requirement, we

213 See NYISO Comments at 10.

Docket Nos. RM16-23-000 and AD16-20-000	- 111 -

will not require a specific method of make-whole payments.  Instead, each RTO/ISO 
will have the flexibility to establish a methodology under which resources using the 
participation model for electric storage resources can receive make-whole payments.

Recognizing that comprehensive market design changes could be necessary to implement this requirement, we believe that the compliance deadline and 
implementation schedule set forth in the Compliance Requirements section214 should provide sufficient time for the each RTO/ISO to work with its stakeholders to establish the necessary market rules for make-whole payments.  In addition, given the time 
provided for each RTO/ISO to work with its stakeholders on this issue, we decline to hold the technical conferences requested by MISO.

We disagree with commenters who suggest that make-whole payments are not

necessary because electric storage resources should bear the risk of uneconomic

dispatch.  Modeling, software, and certain other limitations are inherent in the

complexity of the electric system and the tools available to maintain reliable operations. 
Uplift, or make-whole, payments may be needed to ensure that resources committed and 
dispatched out-of-market are able to recover their operating costs.  Electric storage 
resources participating in the RTO/ISO markets are subject to the same system 
conditions as other resources that may cause them to be dispatched out-of-market and 
unable to recover their operating costs.  Therefore, resources using the electric storage 
resource participation model should be able to receive the same make-whole payments

214 See infra P 343.

Docket Nos. RM16-23-000 and AD16-20-000	- 112 -

that other resources receive to remedy the problem.  Not offering make-whole payments to resources using the electric storage resource participation model could create a barrier to their participation in the RTO/ISO markets and be inconsistent with the treatment of other market participants.

Additionally, while the NOPR did not propose a requirement regarding make-whole 
payments for resources using the participation model for electric storage resources that 
are manually dispatched as supply, we agree with commenters’ concerns that, if a 
resource using the participation model for electric storage resources is available to be 
used by the RTO/ISO as both a supply and demand resource, then the RTO/ISO should 
provide make-whole payments for the resource in both directions.  Therefore, we require 
each RTO/ISO to modify its tariff to allow a resource using the participation model for 
electric storage resources to be eligible for make-whole payments when acting as a 
supply resource consistent with the rules governing the eligibility of other supply 
resources to receive make-whole payments.  This requirement will further ensure that 
resources using the participation model for electric storage resources are treated like 
other dispatchable resources in the RTO/ISO markets and help make resources using the 
participation model for electric storage resources available to grid operators to address 
any reliability concerns through manual dispatch.  As for NYPA’s suggestion to make 
electric storage resources whole when they are withheld from generating when their 
energy offer is infra-marginal, we find that such payments should only be provided to 
resources using the participation model for electric storage resources to the extent that 
such payments are already provided to other market participants.

Docket Nos. RM16-23-000 and AD16-20-000	- 113 -

Regarding state-of-charge management, we agree with commenters that, if the

market participant is controlling its resource, and it has not been dispatched

uneconomically by the RTO/ISO, then it would not be appropriate for the resource using 
the participation model for electric storage resources to receive make-whole payments. 
Similar to other market participants, make-whole payments should only be available to 
resources using the electric storage resource participation model if the system operator 
dispatches that resource in a way that is inconsistent with its bids to buy and offers to 
sell energy.  We agree with commenters that self-management could be a means to

minimize make-whole payments.  As discussed in the State of Charge Management

section,215 in this Final Rule, we require each RTO/ISO to allow electric storage

resources to self-manage their state of charge.  However, to the extent that an RTO/ISO manually dispatches a resource using the participation model for electric storage 
resources, that resource must be able to recover their costs consistent with the manner in which other market participants are able to recover their costs if the RTO/ISO dispatches them uneconomically.

In response to NYISO and PJM, we note that one of the requirements of this Final 
Rule is that each RTO/ISO have the ability to dispatch electric storage resources as 
load.216  Therefore, in response to PJM, it is necessary for each RTO/ISO to establish a 
methodology under which resources using the participation model for electric storage

215 See infra P 248.

216 See supra P 140.

Docket Nos. RM16-23-000 and AD16-20-000	- 114 -

resources that participate as load are able to receive make-whole payments.

Additionally, in response to NYISO, because electric storage resources must be able to 
be dispatched as load, their eligibility to receive make-whole payments when dispatched 
as load would need to be consistent with other dispatchable resources but would not need 
to be consistent with the eligibility of other load resources that are not dispatchable by 
the RTO/ISO.

E.	Physical and Operational Characteristics of Electric Storage Resources

1.	Requirement to Incorporate Bidding Parameters as Part of the

Electric Storage Resource Participation Model

a.	NOPR Proposal

In the NOPR, the Commission proposed to require each RTO/ISO to revise its tariff 
to include a participation model for electric storage resources that incorporates bidding 
parameters that reflect and account for the physical and operational characteristics of 
electric storage resources.217  Specifically, the Commission proposed that the 
RTOs/ISOs establish state of charge, upper charge limit, lower charge limit, maximum 
energy charge rate, and maximum energy discharge rate as bidding parameters for the 
participation model for electric storage resources that participating resources must 
submit, as applicable.218  The Commission also proposed that the participation model for

217 See NOPR, FERC Stats. & Regs. ¶ 32,718 at P 66.

218 See id. P 67.

Docket Nos. RM16-23-000 and AD16-20-000	- 115 -

electric storage resources include the following bidding parameters that market

participants may submit, at their discretion, for their resource based on its physical constraints or desired operation:  minimum charge time, maximum charge time, minimum run time, and maximum run time.219

b.	Comments

Several commenters support the NOPR proposal to require each RTO/ISO to

establish bidding parameters that reflect and account for the physical and operational characteristics of electric storage resources because they assert it will support efficient procurement of resources in the RTO/ISO markets and reduce system costs.220

Other commenters support the NOPR proposal, subject to clarification.221  EPRI contends that the definitions of the bidding parameters proposed in the NOPR are 
ambiguous and asks the Commission to explicitly define them.  Beacon Power asks the Commission to ensure that, when implementing the proposed bidding parameters, the RTOs/ISOs do not impose any arbitrary requirements that limit electric storage 
resources’ participation in their markets (such as a minimum time period over which energy must be dispatchable continuously at full capacity).

219 See id. P 68.

220 See, e.g., Advanced Energy Economy Comments at 24-25; Energy Storage Association Comments at 14; IRC Comments at 5; MISO Comments at 6; NESCOE Comments at 11; NYISO Comments at 9; Ohio Commission Comments at 7; Starwood Energy Comments at 5.

221 See Beacon Power Comments at 5; EPRI Comments at 16-17.

Docket Nos. RM16-23-000 and AD16-20-000	- 116 -

Several commenters do not necessarily oppose the NOPR proposal that each

RTO/ISO incorporate certain bidding parameters into its participation model for electric 
storage resources but request that the Commission grant each RTO/ISO flexibility on 
compliance with respect to the bidding parameters that it ultimately adopts.222  NYISO, 
Pacific Gas & Electric, and PJM ask the Commission to give each RTO/ISO flexibility 
to develop bidding parameters that are tailored to its market and reliability needs and to 
determine how to best use those bidding parameters in its market.  Magnum agrees and 
further contends that the Commission should not mandate that each RTO/ISO adopt

bidding parameters for specific types of electric storage resources.  Connecticut State Entities argue that bidding parameters should not be so prescriptive as to determine prematurely which electric storage resource technologies to deploy.  Connecticut State Entities claim that overly prescriptive bidding parameters would constrain load-serving entities’ ability to adopt least-cost solutions.

APPA/NRECA also argue for flexibility, stating that the Commission should allow each 
RTO/ISO to demonstrate on compliance that the proposed minimum bidding 
requirements would harm the participation of electric storage resources in its markets and 
to propose a superior alternative.223  Similarly, Imperial Irrigation District asks the 
Commission to allow an RTO/ISO to decline to adopt a bidding parameter if it can

222 See Connecticut State Entities Comments at 6; Magnum Comments at 10-11; 
NYISO Comments at 9; PJM Comments at 10; Pacific Gas & Electric Comments at 9.

223 See APPA/NRECA Comments at 14-15.

Docket Nos. RM16-23-000 and AD16-20-000	- 117 -

demonstrate that it would be unnecessary or impractical.224  R Street Institute states that, while the required and optional bidding parameters are reasonable, each RTO/ISO should incorporate the proposed optional bidding parameters in its software only if justified by forward cost/benefit analysis.225

Some commenters argue that certain of the physical and operational characteristics 
that the Commission proposed as bidding parameters in the NOPR are better represented 
through other means.226  For example, ISO-NE argues that it is a misnomer to 
characterize state of charge as a bidding parameter because it is a physical characteristic 
that constantly changes in real time.  Likewise, CAISO, IRC, and Pacific Gas & Electric 
assert that certain electric storage resource-specific characteristics (such as charging and 
discharging rates, charge limits, and minimum charge times) are physical characteristics 
that should be static and not subject to change through a resource’s offer or bid.  Pacific 
Gas & Electric notes that it may be better to include such physical and operational 
characteristics in each resource’s data file, while CAISO suggests that they may be 
accounted for through other means besides bidding parameters.

224 See Imperial Irrigation District Comments at 9. 225 See R Street Institute Comments at 5.

226 See CAISO Comments at 10-11; IRC Comments at 5; ISO-NE Comments at 18; Pacific Gas & Electric Comments at 10.

Docket Nos. RM16-23-000 and AD16-20-000	- 118 -

A few commenters oppose any requirement that each RTO/ISO incorporate bidding 
parameters into its participation model for electric storage resources.227  AES Companies 
contend that the proposed bidding parameters may artificially limit the performance of 
some electric storage technologies, while MISO Transmission Owners argue that they 
have the potential to limit the services that a resource can provide.  AES Companies and 
MISO Transmission Owners argue that, in place of the NOPR proposal, the Commission 
should require each RTO/ISO to determine the parameters and data requirements

necessary for it to efficiently dispatch a resource given the services offered and then set 
performance-based standards for each service.  Both AES Companies and MISO 
Transmission Owners further suggest that each RTO/ISO should include these 
technology-specific bidding parameters in its business practice manuals rather than its 
tariff.

In addition, DER/Storage Developers contend that bidding parameters should be

flexible and differ for different services.228  DTE Electric/Consumers Energy assert that 
the proposed bidding parameters are not clear, may not be applicable to all resource 
types, and may not take full advantage of the value of the existing pumped-hydro 
resources.  Therefore, DTE Electric/Consumers Energy asks the Commission to allow

227 See AES Companies Comments at 5-6; MISO Transmission Owners Comments at 10-11.

228 See DER/Storage Developers Comments at 4-5.

Docket Nos. RM16-23-000 and AD16-20-000	- 119 -

each RTO/ISO to work with its stakeholders to develop bidding parameters that

accommodate all electric storage resources or hold a technical conference on the issue. 
	A few commenters opine on the ability of resources using the electric storage 
resource participation model to update their bidding parameters as those values 
change.229  Energy Storage Association states that the Commission should require each 
RTO/ISO to allow a resource using the electric storage resource participation model to 
submit the state-of-charge bidding parameter in both the day-ahead and real-time 
markets.  According to Energy Storage Association, allowing a resource using the 
electric storage resource participation model to update its state-of-charge bidding 
parameter in the real-time market will provide the RTO/ISO with better information 
about such a resource’s limitations and availability in the next market interval. 
DER/Storage Developers contend that electric storage resources should be able to adjust 
their bidding parameters hourly to account for their state of charge.  Similarly, 
Tesla/SolarCity assert that, to maintain feasibility of schedules and increase asset value, 
electric storage resources should be able to change their bidding parameters as their state 
of charge changes.

c.	Commission Determination

Upon consideration of the comments, we will modify the NOPR proposal in this Final Rule to provide greater flexibility for each RTO/ISO to demonstrate that its

229 See DER/Storage Developers Comments at 5; Energy Storage Association Comments at 15; Tesla/SolarCity Comments at 14-15.

Docket Nos. RM16-23-000 and AD16-20-000	- 120 -

participation model for electric storage resources accounts for the physical and

operational characteristics of electric storage resources.  As the Commission stated in the NOPR, requiring each RTO/ISO to revise its tariff to include a participation model for electric storage resources that incorporates bidding parameters that account for the 
physical and operational characteristics of electric storage resources will allow such 
resources to provide all of the services that they are technically capable of providing and allow the RTOs/ISOs to procure these services more efficiently.230  We continue to 
believe that the lack of any means of accounting for the physical and operational 
characteristics of electric storage resources could present barriers to the participation of these resources in the RTO/ISO markets, limiting competition and thereby potentially 
rendering the resulting rates unjust and unreasonable.

We are persuaded, however, by commenters’ arguments that there may be other 
means of accounting for the physical and operational characteristics of electric storage 
resources than bidding parameters.  For example, some of the bidding parameters that 
the Commission proposed in the NOPR may account for physical characteristics that do 
not change over time, such that an electric storage resource could report that information 
when registering as a market participant in an RTO/ISO without updating that 
information continually through its bidding parameters.  However, we note that it may 
only be possible to represent some of the physical and operational characteristics (such 
as a forecasted State of Charge) through bidding parameters.  Furthermore, we agree

230 See NOPR, FERC Stats. and Regs. ¶ 32,718 at P 66.

Docket Nos. RM16-23-000 and AD16-20-000	- 121 -

with commenters that greater regional flexibility than the Commission proposed in the NOPR is appropriate; different RTOs/ISOs may be able to more effectively account for the physical and operational characteristics of electric storage resources through different mechanisms given their unique market designs.

Therefore, we add section 35.28(g)(9)(i)(c) to the Commission’s regulations to require 
each RTO/ISO to have tariff provisions providing a participation model for electric 
storage resources that accounts for the physical and operational characteristics of electric 
storage resources through bidding parameters or other means. In its compliance filing, 
each RTO/ISO must demonstrate how its proposed or existing tariff provisions account 
for the specific physical and operational characteristics of electric storage resources 
described below.  We find that this requirement will improve the ability of electric 
storage resources to provide all of the services that they are technically capable of 
providing and allow the RTOs/ISOs to procure these services more efficiently, which will 
enhance competition and, in turn, help to ensure that the RTO/ISO markets produce just 
and reasonable rates.

Additionally, as discussed in further detail below, we will not require the

RTOs/ISOs to make the submission of any information by the resource owner/operator 
mandatory.  Instead, we provide flexibility to each RTO/ISO to determine whether it is 
mandatory for resources using the participation model for electric storage resources to 
submit information regarding their physical and operational characteristics, or whether 
resources using the participation model for electric storage resources should be allowed 
to submit such information at their discretion.  This flexibility will allow each RTO/ISO

Docket Nos. RM16-23-000 and AD16-20-000	- 122 -

to accept information from resources using the participation model for electric storage resources consistent with how it accepts information from other market participants.  It also may help prevent resources using the participation model for electric storage 
resources from having to submit information that is not applicable given their physical, operational, or commercial circumstances.

With respect to commenters’ request that the RTOs/ISOs should allow electric

storage resources to update their bidding parameters, we find that, to the extent that an 
RTO/ISO adopts bidding parameters to account for the physical and operational 
characteristics set forth in this Final Rule, it must permit a resource using the 
participation model for electric storage resources to submit those bidding parameters in 
both the day-ahead and the real-time markets.  To efficiently dispatch its system, an 
RTO/ISO must have accurate information about the physical and operational 
characteristics of the resources participating in its markets.  Allowing a resource using 
the participation model for electric storage resources to provide updated information 
through any applicable bidding parameters, consistent with the opportunities that other 
market participants have to do so, will help to ensure that each RTO/ISO has the 
information necessary to efficiently dispatch its system, fully accounting for the physical 
and operational capabilities of the resources using the participation model for electric 
storage resources participating in its markets.

In the following subsections, we set forth the physical and operational

characteristics for which each RTO’s/ISO’s participation model for electric storage 
resources must account, whether through bidding parameters or other means.  We

Docket Nos. RM16-23-000 and AD16-20-000	- 123 -

discuss these physical and operational characteristics in terms of the bidding parameters 
proposed in the NOPR, making clarifications as necessary.  First, we discuss the physical 
and operational characteristics of electric storage resources associated with the bidding 
parameters that the Commission proposed a resource using an electric storage resource 
participation model must submit to the RTO/ISO, which were identified as the 
mandatory bidding parameters, including state of charge, upper and lower charge limits, 
and maximum charge and discharge rates.  Second, we discuss the physical and 
operational characteristics of electric storage resources associated with the bidding 
parameters that the Commission proposed a resource using an electric storage resource 
participation model could submit to the RTO/ISO at the resource’s discretion, which 
were identified as the optional bidding parameters, including maximum and minimum 
charge time and maximum and minimum run time.  Finally, we address the physical and 
operational characteristics for which each RTO’s/ISO’s participation model for electric 
storage resources must account that are not associated with any bidding parameter 
proposed in the NOPR but instead were suggested by commenters and we believe are 
appropriate to adopt here.

2. 	State of Charge, Upper and Lower Charge Limits, and

Maximum Charge and Discharge Rates

a.	NOPR Proposal

In the NOPR, the Commission proposed that each RTO/ISO establish the following 
bidding parameters for the participation model for electric storage resources that 
participating resources must submit, as applicable: state of charge, upper charge limit,

Docket Nos. RM16-23-000 and AD16-20-000	- 124 -

lower charge limit, maximum energy charge rate, and maximum energy discharge rate.231 The Commission explained that the state-of-charge bidding parameter would allow 
resources using the participation model for electric storage resources to identify their 
forecasted state of charge at the end of a market interval, as defined by the RTO/ISO, 
while the upper and lower charge limits would prevent the operator from trying to give 
too much energy to or take too much energy from the resource.  The Commission further stated that it expected that the state of charge would be telemetered in real time when the RTO/ISO is managing the state of charge so that the upper and lower charge limits are 
not exceeded.  However, the Commission did not propose any specific telemetry 
requirements.  Finally, the Commission explained that the maximum energy charge rate 
and maximum energy discharge rate would be used to indicate how quickly the resource can receive energy from or inject it back to the grid.

b.	Comments

The Commission received a number of comments on the NOPR proposal requiring

each RTO/ISO to establish state of charge, upper and lower charge limit, and maximum 
energy charge and discharge rate as mandatory bidding parameters for resources using 
the electric storage resource participation model.  Below, we present the comments 
received with respect to three groups of the proposed bidding parameters:  (1) State of 
Charge, (2) Upper and Lower Charge Limit, and (3) Maximum Energy Charge and 
Discharge Rate.

231 See id. P 67.

Docket Nos. RM16-23-000 and AD16-20-000	- 125 -

i.	State of Charge

Several commenters support the proposed requirement that each RTO/ISO adopt a 
state-of-charge bidding parameter.232  Advanced Energy Economy claims that many 
RTOs/ISOs do not have tariff provisions in place to account for the state of charge of 
electric storage resources, despite the fact that it is a defining characteristic of such 
resources.

Other commenters argue that the Commission should modify the NOPR proposal so 
that a resource using the electric storage resource participation model is not required to 
submit information for the state-of-charge bidding parameter to the RTO/ISO, at least 
under certain circumstances.233  Specifically, CAISO, Energy Storage Association, 
NextEra, and NYPA ask the Commission to clarify that an electric storage resource is 
only required to use the state of charge bidding parameter if the resource owner has 
opted for the RTO/ISO to manage its state of charge.  They argue that an electric storage 
resource that opts to manage its own state of charge would do so through its bidding 
strategy rather than the RTO/ISO market processes and that it is therefore unnecessary 
for such a resource to submit its state of charge to the RTO/ISO as a bidding parameter. 
SPP asserts that, to dispatch and clear the appropriate amount of resources, it must know

232 See, e.g., Advanced Energy Economy Comments at 24-25; Massachusetts State Entities Comments at 15; NESCOE Comments at 11; Ohio Commission Comments at 7; Tesla/SolarCity Comments at 14.

233 See CAISO Comments at 11-12; Energy Storage Association Comments at 14-15; NextEra Comments at 9; NYPA Comments at 9.

Docket Nos. RM16-23-000 and AD16-20-000	- 126 -

the real-time state of charge for an electric storage resource for which it is managing

state of charge.234  However, SPP states that it does not require information on the state 
of charge of electric storage resources that are self-managing their state of charge. 
	While stating that it supports the NOPR proposal directing RTOs/ISOs to institute new electric storage resource-related bidding parameters, Energy Storage Association also explains that requiring electric storage resources that provide both retail and 
wholesale services to use the proposed bidding parameters could adversely affect their 
capability to provide retail service.235  California Energy Storage Alliance and Stem 
contend that certain bidding parameters, including state of charge, may be difficult or 
infeasible for some electric storage resources to provide.236  Thus, California Energy 
Storage Alliance, National Hydropower Association, and Stem argue that it should be 
optional for an electric storage resource to provide its state of charge to the RTO/ISO.237 
	Pacific Gas & Electric supports the inclusion of a bidding parameter that a resource

234 See SPP Comments at 10.

235 See Energy Storage Association Comments at 14.  Energy Storage

Association’s statement applies equally to the proposed Upper and Lower Charge Limit and Maximum Energy Charge and Discharge Rate bidding parameters.

236 See California Energy Storage Alliance Comments at 6-7; Stem Comments at

15-16.

237 See California Energy Storage Alliance Comments at 6-7; National

Hydropower Association Comments at 8-9; Stem Comments at 15-16.  California Energy 
Storage Alliance’s and Stem’s statements apply equally to the proposed Upper and Lower 
Charge Limit and Maximum Energy Charge and Discharge Rate bidding parameters.

Docket Nos. RM16-23-000 and AD16-20-000	- 127 -

using the electric storage resource participation model can use in the day-ahead markets to indicate its state of charge at the beginning of the operating day.238  However, Pacific Gas & Electric opposes any requirement for each RTO/ISO to adopt an hourly or realtime state-of-charge bidding parameter.  Pacific Gas & Electric claims that such a 
requirement could enable market manipulation by allowing resources to indicate that 
they are unavailable to provide energy to the market without reporting an outage.  To the extent that a resource using the electric storage resource participation model desires to update its state of charge more frequently, Pacific Gas & Electric contends that it should manage its own state of charge through its market bidding.

ISO-NE opposes the NOPR proposal for a State of Charge bidding parameter and 
argues that it is a misnomer to characterize state of charge as a bidding parameter 
because it is a physical characteristic that constantly changes in real time.239  Thus, ISO-
NE asserts that the Commission should not require state of charge as a day-ahead or real-
time bidding parameter, nor require any optimization of this type of parameter in the 
day-ahead or real-time energy market.  ISO-NE contends that, instead, the Commission 
should allow RTOs/ISOs to develop methods to acquire communication of a resource’s 
current state of charge, use the state of charge data, and potentially require market 
participants to manage their state of charge using their energy market supply offers and

238 See Pacific Gas & Electric Comments at 8-9.

239 See ISO-NE Comments at 18.

Docket Nos. RM16-23-000 and AD16-20-000	- 128 -

demand bids.

AES Companies explain that, for certain electric storage technologies, dispatching 
the resource based on a state-of-charge or upper or lower charge limit bidding parameter 
could lead to its under-utilization.240  AES Companies add that the proposed state-of-

charge bidding parameter does not reflect the availability of the resource or the

sophisticated software used to optimize the resource’s useful life.  Moreover, AES

Companies assert that, if a resource is deployed in a manner that violates its optimal state of charge management, then the associated costs should be included in market offers and the decision to offer must be at the asset owner’s discretion.

Research Scientists explain that, to make use of the full flexibility of electric storage resources, a fixed state-of-charge target may not be ideal because it limits the dispatch flexibility in real-time operations.241  Research Scientists argue that state-of-charge range is a better strategy to enable the use of an electric storage resource to address unexpected system deviations in real time.

In addition, a few commenters, including those that support the NOPR proposal, 
take issue with the Commission’s statement that the state-of-charge bidding parameter 
will allow resources using the participation model for electric storage resources to 
identify their forecasted state of charge at the end of a market interval.242  Beacon Power

240 See AES Companies Comments at 20-22.

241 See Research Scientists Comments at 7.

242 See Beacon Power Comments at 6; Pacific Gas & Electric Comments at 9.

Docket Nos. RM16-23-000 and AD16-20-000	- 129 -

contends that any state-of-charge bidding parameters should reflect an actual state of 
charge at any point in time, rather than a forecasted state of charge, which would be 
difficult for the resource or RTO/ISO to predict.  Pacific Gas & Electric argues that

allowing an electric storage resource to target a particular state of charge at the end of a market interval could enable manipulation in circumstances in which the RTO/ISO is managing a resource’s state of charge because the RTO/ISO would have to dispatch the resource as necessary to achieve its specified state of charge regardless of whether such dispatch were economic.

Energy Storage Association clarifies that CAISO’s tariff allows electric storage

resources to submit a forecasted starting state-of-charge value for the day-ahead market, 
not for the end of a market interval.243  NextEra agrees and asks the Commission to 
clarify that the state-of-charge bidding parameter is not limited to the resource owner’s 
forecasted state of charge at the end of the market interval.244  Similarly, Research 
Scientists request clarification on whether the state-of-charge bidding parameter 
provides an electric storage resource’s desired state of charge at the beginning or end of 
a market interval.245  EPRI clarifies that it understands that the state of charge is the level

243 See Energy Storage Association Comments at 14-15.

244 See NextEra Comments at 9.

245 See Research Scientists Comments at 7.

Docket Nos. RM16-23-000 and AD16-20-000	- 130 -

of energy that an electric storage resource has available at present or anticipates to have at the start of the market interval.246

Finally, several commenters opine on the Commission’s statement in the NOPR 
that, when the RTO/ISO is managing the state of charge, it expects that the state of 
charge would be telemetered in real time.247  ISO-NE states that an electric storage 
resource’s state of charge should be telemetered in real time, arguing that this data is 
essential for reliable and efficient system operation.  IRC agrees that electric storage 
resources should provide information about their state of charge to the RTO/ISO, stating 
that the state of charge must be telemetered to the RTO/ISO in real time if other 
resources are required to be telemetered.  Xcel Energy Services argues that RTOs/ISOs 
should have the capability to monitor state of charge so that they can verify that an 
electric storage resource could provide ancillary services if called upon to do so.  Beacon 
Power asserts that an electric storage resource (whether or not the RTO/ISO is managing 
its state of charge) should be required to notify the RTO/ISO of its state of charge on a 
timely basis.

In contrast, Energy Storage Association also contends that the Commission should 
require each RTO/ISO to institute a capability to continually monitor an electric storage 
resource’s state of charge but should only perform such monitoring when an electric

246 See EPRI Comments at 17.

247 See Beacon Power Comments at 6; IRC Comments at 5; ISO-NE Comments at 18; Xcel Energy Services Comments at 19.

Docket Nos. RM16-23-000 and AD16-20-000	- 131 -

storage resource submits its state of charge as a bidding parameter.248  Energy Storage Association contends that monitoring such a resource’s state of charge will allow the RTO/ISO to better optimize the scheduling and dispatch of the resource.

ii.	Upper and Lower Charge Limit

ISO-NE, Massachusetts State Entities, and NESCOE support the proposed

requirement that each RTO/ISO establish upper charge limit and lower charge limit as 
bidding parameters for resources using the electric storage resource participation 
model.249  NYPA supports the proposed bidding parameters conditional on the 
Commission clarifying in this Final Rule that an electric storage resource managing its 
own state of charge is not required to submit information on its upper and lower charge 
limit.250  EPRI states that it interprets the upper charge limit as the maximum amount of 
power the electric storage resource can withdraw at any given instant and the lower 
charge limit as the minimum amount of power the electric storage resource can withdraw 
at any instant in time.251

248 See Energy Storage Association Comments at 15-16.

249 See ISO-NE Comments at 17; Massachusetts State Entities Comments at 15; NESCOE Comments at 11.

250 See NYPA Comments at 9. 
251 See EPRI Comments at 17.

Docket Nos. RM16-23-000 and AD16-20-000	- 132 -

iii.	Maximum Energy Charge and Discharge Rate

Several commenters support the proposed requirement that each RTO/ISO establish 
maximum energy charge rate and maximum energy discharge rate as bidding parameters 
for the participation model for electric storage resources.252  However, NextEra also 
states that electric storage resources can have different charge and discharge rates 
depending on their current state of charge and thus requests that the Commission clarify 
that it does not propose to require a single, static charge or discharge rate for an electric 
storage resource’s entire operating range.253  NYPA and Pacific Gas & Electric argue 
that maximum charge and discharge rates should be optional bidding parameters, at least 
when an electric storage resource is managing its own state of charge.254 
	Finally, EPRI requests clarification of the Commission’s definitions for maximum energy charge and discharge rate.255  EPRI notes that it understands that “maximum energy charge rate” is the speed at which an electric storage resource can change its 
withdrawn power amount.  EPRI also states that it understands that “maximum energy 
discharge rate” is the speed at which an electric storage resource can change its injected 
power amount, which is identical to the current ramp rates that generators provide.

252 See, e.g., IRC Comments at 5-6; ISO-NE Comments at 17; Massachusetts State Entities Comments at 15; NESCOE Comments at 11; NextEra Comments at 9; Ohio 
Commission Comments at 7.

253 See NextEra Comments at 10.

254 See NYPA Comments at 9; Pacific Gas & Electric Comments at 9. 255 See EPRI Comments at 17.

Docket Nos. RM16-23-000 and AD16-20-000	- 133 -

c.	Commission Determination

To implement the new requirement in section 35.28(g)(9)(i)(c) of the Commission’s 
regulations, in this Final Rule, we adopt the NOPR proposal, with the modifications 
discussed below, to require each RTO/ISO to revise its tariff to include a participation 
model for electric storage resources that accounts for the following physical and 
operational characteristics of such resources:  State of Charge, Minimum State of 
Charge, Maximum State of Charge, Minimum Charge Limit and Maximum Charge 
Limit.  As discussed above in the Requirement to Incorporate Bidding Parameters as Part 
of the Electric Storage Resource Participation Model section,256 each RTO’s/ISO’s 
participation model for electric storage resources must account for these physical and 
operational characteristics, whether through bidding parameters or other means.  To the 
extent that an RTO/ISO proposes to comply with this requirement through its existing 
bidding parameters or other existing market mechanisms, it must demonstrate in its 
compliance filing how its existing market rules already account for these characteristics 
of electric storage resources.

Upon consideration of the comments, however, we will modify the proposed 
requirement that a resource using an RTO’s/ISO’s participation model for electric 
storage resources must submit information concerning these physical and operational 
characteristics to the RTO/ISO.  As commenters state, not all of these physical and 
operational characteristics are applicable to all electric storage resources, particularly

256 See supra P 0.

Docket Nos. RM16-23-000 and AD16-20-000	- 134 -

when a resource is managing its own state of charge and when the resource is providing 
multiple services.  We agree that the physical and operational characteristics adopted in 
this Final Rule may need to acknowledge commercial obligations in addition to physical 
and operational limitations.  Thus, we find that an RTO/ISO should have flexibility in 
how a resource using a participation model for electric storage resources will be allowed 
to represent its physical, operational, and commercial circumstances.  This flexibility 
will allow an RTO/ISO to determine, consistent with how it treats other resources,

whether it is mandatory for resources using the participation model for electric storage resources to submit information regarding these physical and operational characteristics, or whether resources using the participation model for electric storage resources should be allowed to submit this information at their discretion.

In addition, we clarify the meaning of these proposed physical and operational

characteristics of electric storage resources, as commenters request.  First, we clarify that 
State of Charge represents the amount of energy stored in proportion to the limit on the 
amount of energy that can be stored, typically expressed as a percentage.  Moreover, we 
agree with EPRI and other commenters that the State of Charge as a bidding parameter is 
the level of energy that an electric storage resource is anticipated to have available at the 
start of the market interval rather than the end.  As noted above in the Requirement to 
Incorporate Bidding Parameters as Part of the Electric Storage Resource Participation

Model section,257 we require each RTO/ISO to allow a resource using the participation

257 See supra P 189.

Docket Nos. RM16-23-000 and AD16-20-000	- 135 -

model for electric storage resources to submit its State of Charge in both day-ahead and 
real-time markets.  We find that this requirement will provide the RTOs/ISOs with more 
accurate market information regarding the resource’s actual state of charge and prevent

the RTO/ISO from needing to make assumptions about the state of charge of an electric 
storage resource, which is particularly important if the resource did not receive an award 
in the previous market interval.  Moreover, it provides the electric storage resource

owner/operator with a usable bidding parameter to reflect the actual operating conditions 
of the resource, providing more certainty to the RTO/ISO about the capabilities of the 
resource.

Additionally, while the NOPR indicated the Commission’s expectation that the 
state of charge of a resource using the electric storage resource participation model 
would be telemetered in real time when the RTO/ISO manages that resource’s state of 
charge, as discussed further below, we provide each RTO/ISO the flexibility to propose 
telemetry requirements for such resources in their compliance filings.  This flexibility 
will allow the RTOs/ISOs to implement the requirements of this Final Rule consistent 
with the telemetry requirements for different services and other market participants in 
each RTO/ISO.  For example, telemetry may be necessary if an electric storage resource 
is

participating exclusively in the frequency regulation market but less important if that resource is providing capacity or energy to the RTOs/ISOs.

Second, we clarify that the upper and lower charge limits discussed in the NOPR 
represent the minimum and maximum state of charge of an electric storage resource.

Docket Nos. RM16-23-000 and AD16-20-000	- 136 -

Because they are state of charge values, we will refer to these values in this Final Rule as the Maximum and Minimum State of Charge.  More specifically, the Maximum State of Charge represents the state of charge that should not be exceeded (i.e., gone above) 
when the electric storage resource is receiving electric energy from the grid, while the 
Minimum State of Charge represents the state of charge that should not be exceeded 
(i.e., gone below) when an electric storage resource is injecting electric energy onto the 
grid.  These values will allow a resource using the participation model for electric 
storage resources to place limits on the degree to which the RTO/ISO can charge or 
discharge the resource, ensuring that it is operated within its design limitations and 
preventing excessive wear and tear.  These values may be either static values based on 
manufacturer specifications or dynamic values depending on the operational 
characteristics of the resource (e.g., if it is providing multiple services and needs to 
reserve part of its state of charge for another service).

Finally, we clarify that the maximum charge and discharge rates discussed in the

NOPR represent the operating limits of an electric storage resource.  As such, we refer to 
them in this Final Rule as Maximum Charge Limit and Maximum Discharge Limit. 
Specifically, we clarify that the Maximum Charge Limit for a resource using the electric 
storage resource participation model is the maximum MW quantity of electric energy 
that it can receive from the grid, and the Maximum Discharge Limit is the maximum 
MW quantity that the resource can inject onto the grid.  The Maximum Discharge Limit 
is analogous to, and could potentially be represented by, the economic maximum that 
traditional generation resources can generally submit with their offers.  Having both a

Docket Nos. RM16-23-000 and AD16-20-000	- 137 -

Maximum Charge Limit and Maximum Discharge Limit ensures that RTO/ISO

modeling and dispatch can account for the capabilities of resources using the

participation model for electric storage resources to both receive and inject electric 
energy in accordance with their maximum physical capabilities in both directions.

3.	Minimum Charge Time, Maximum Charge Time, Minimum

Run Time, and Maximum Run Time

a.	NOPR Proposal

In the NOPR, the Commission proposed to require that each RTO/ISO include in its participation model for electric storage resources the following bidding parameters that market participants may submit, at their discretion, for their resource based on its 
physical constraints or desired operation:  minimum charge time, maximum charge time, minimum run time, and maximum run time.258

b.	Comments

Energy Storage Association, NESCOE, Open Access Technology, and SPP support 
the NOPR proposal.259  Specifically, Energy Storage Association and NESCOE contend 
that establishing these optional bidding parameters that reflect the physical and 
operational characteristics of electric storage resources may allow RTOs/ISOs to more

258 See NOPR, FERC Stats. & Regs. ¶ 32,718 at P 68.  The Commission

acknowledged that some of these optional bidding parameters may not be necessary for 
resources participating under the proposed participation model for electric storage 
resources that provide certain information to the RTO/ISO through telemetry.  Id. n.130.

259 See Energy Storage Association Comments at 14; NESCOE Comments at 11-12; Open Access Technology Comments at 2; SPP Comments at 12.

Docket Nos. RM16-23-000 and AD16-20-000	- 138 -

efficiently dispatch all of the resources (including electric storage resources) that

participate in their markets, thereby reducing system costs.  Magnum supports the NOPR 
proposal given that the proposed bidding parameters are optional for resources using the 
electric storage resource participation model to submit; however, Magnum argues that 
these requirements should not require an electric storage resource to be a “must run” 
facility.260

CAISO and ISO-NE oppose the NOPR proposal.261  CAISO does not agree that

minimum charge time, maximum charge time, minimum run time, and maximum run

time should be bidding parameters because (1) they represent the physical characteristics of a particular electric storage resource and (2)other resources (such as pumped-hydro resources) are not permitted to change their physical operating characteristics through a bid.  According to ISO-NE, these bidding parameters are not necessary for all electric storage resources to participate in the RTO/ISO markets nor to clear these markets or 
operate the power system.  ISO-NE adds that these additional bidding parameters may increase the complexity of implementing the final rule’s requirements but provide little value.  Thus, ISO-NE requests that the Commission allow each RTO/ISO to determine whether and how to implement these parameters in the future based on their experience working with different types of electric storage technologies.

260 Magnum Comments at 12.

261 See CAISO Comments at 10-11; ISO-NE Comments at 19.

Docket Nos. RM16-23-000 and AD16-20-000	- 139 -

c.	Commission Determination

To implement the new requirement in section 35.28(g)(9)(i)(c) of the Commission’s 
regulations, in this Final Rule, we modify the NOPR proposal, with the clarification 
provided below, to require each RTO/ISO to revise its tariff to include a participation 
model for electric storage resources that accounts for the following physical and 
operational characteristics of such resources:  Minimum Charge Time, Maximum 
Charge Time, Minimum Run Time, and Maximum Run Time.  As discussed above in 
the Requirement to Incorporate Bidding Parameters as Part of the Electric Storage 
Resource Participation Model section,262 each RTO’s/ISO’s participation model for 
electric storage resources must account for these physical and operational characteristics, 
whether through bidding parameters or other means.  We do not adopt the component of 
the NOPR proposal to require the RTO/ISO to allow market participants to submit this 
information at their discretion.  Instead, consistent with the discussion above, we provide 
flexibility to each RTO/ISO to determine, consistent with how it treats other resources, 
whether it is mandatory for resources using the participation model for electric storage 
resources to submit information regarding these physical and operational characteristics, 
or whether resources using the participation model for electric storage resources should 
be allowed to submit this information at their discretion.  Additionally, to the extent that 
an RTO/ISO proposes to comply with this requirement through its existing bidding 
parameters or other existing market mechanisms, it must demonstrate in its compliance

262 See supra P 0.

Docket Nos. RM16-23-000 and AD16-20-000	- 140 -

filing how its existing market rules account for these characteristics of electric storage resources.

We find that it is necessary for a resource using an RTO’s/ISO’s participation model for electric storage resources to be able to provide information concerning these physical and operational characteristics to the RTO/ISO because, like traditional generation 
resources, it may only be economic for the resource to operate if it is guaranteed to do so for minimum amount of time.  Additionally, unlike traditional generation resources, it is physically impossible for an electric storage resource to charge or discharge energy for longer than their state of charge would allow.

However, we clarify the NOPR proposal, further explaining the meaning of these 
physical and operational characteristics.  First, we clarify that Minimum Charge Time 
represents the shortest duration that a resource using the participation model for electric 
storage resources is able to be dispatched by the RTO/ISO to receive electric energy 
from the grid.  For example, it may only be possible for resources with slower transition 
speeds (such as pumped-hydro resources) to receive electric energy from the grid if it 
can do so for some minimum period of time (e.g., for one hour).  Minimum Charge Time 
is similar to the Minimum Run Time for traditional generation resources but represents 
the minimum time the resource can receive electric energy from the grid, rather than 
provide electric energy to the grid.

We further clarify that Maximum Charge Time represents the maximum duration 
that a resource using the participation model for electric storage resources is able to be 
dispatched by the RTO/ISO to receive electric energy from the grid (e.g., for four hours).

Docket Nos. RM16-23-000 and AD16-20-000	- 141 -

If the RTO/ISO is not managing the state of charge of the electric storage resource in

real time, then this parameter will prevent it from dispatching the resource to charge for 
a duration that would exceed the resource’s Maximum State of Charge.  It also provides 
useful information about how long the electric storage resource can be relied upon to 
receive energy from the grid if the system operator needs to dispatch it to do so.

Finally, we clarify that Minimum Run Time and Maximum Run Time are the

minimum and maximum amounts of time that a resource using the participation model 
for electric storage resources is able to discharge electric energy.  Maximum Run Time 
reflects the maximum amount of time that a resource using the participation model for 
electric storage resources is able to inject electric energy to the grid due to physical or 
operational constraints, such as its state of charge or potential obligations to provide 
other services.  Similarly, Minimum Run Time allows the resource to identify the

minimum amount of time the resource is physically able to discharge electric energy

onto the grid.  Minimum Run Time already exists in the RTOs/ISOs to prevent excessive wear and tear on traditional generation resources due to starting and stopping a resource too frequently and to ensure they are able to recover the costs of starting.  To the extent that an RTO/ISO already accounts for this characteristic of the participation model for electric storage resources through its existing bidding parameters or other means, it must demonstrate in its compliance filing how its existing market rules do so.

Docket Nos. RM16-23-000 and AD16-20-000	- 142 -

4.	Additional Physical and Operational Characteristics

a.	Comments

In addition to the bidding parameters that the Commission proposed in the NOPR, a 
number of commenters identify physical and operational characteristics that they argue 
the Commission should also require each RTO/ISO to incorporate into its participation 
model for electric storage resources.263  For example, EPRI contends that, to the extent 
that the Upper and Lower Charge Limit bidding parameters proposed in the NOPR do not 
represent the maximum and minimum amount of energy that an electric storage resource 
can store, the Commission should adopt additional bidding parameters in the final rule to 
capture this information.  According to EPRI, this information is necessary for an

RTO/ISO to manage an electric storage resource’s state of charge within that resource’s 
limits.

Several commenters support the concept of a bidding parameter(s) that reflects the 
time that an electric storage resource needs to transition from charging to discharging 
and from discharging to charging.  NYPA asserts that an electric storage resource may 
also need a bidding parameter that reflects any ramp rate for those transitions.  Relatedly, 
EPRI explains that energy storage resources that cannot transition from charging to 
discharging (and vice versa) instantaneously may require minimum charge level as a 
bidding parameter.  EPRI further explains that software models may also require that the

263 See EPRI Comments at 7-8, 17-18; NRG Comments at 9, 15; NYPA Comments at 9; Pacific Gas & Electric Comments at 9.

Docket Nos. RM16-23-000 and AD16-20-000	- 143 -

values for maximum energy charge and discharge rates (ramp rates) bidding parameters to be the same for these resources.

Some commenters propose bidding parameters to reflect any limits on an electric 
storage resource’s operations.264  California Energy Storage Alliance and Pacific Gas 
& Electric suggest that the Commission could adopt through-put limit as a bidding 
parameter.  California Energy Storage Alliance claims that such a bidding parameter is 
necessary because cycling multiple times a day can cause excessive wear and tear to 
electric storage resources.  NYISO Indicated Transmission Owners suggest maximum 
and minimum allowable charge and maximum daily charging and discharging cycles as 
bidding parameters.  NYPA argues that bidding parameters should reflect the unique 
operating costs of electric storage resources (such as wear and tear, lost opportunity 
costs, and efficiency losses).  Research Scientists assert that, to contribute to their 
economic viability, bidding parameters for most electrochemical energy storage 
technologies should represent their power limits, efficiency/losses, and degradation. 
	Other commenters propose various additional bidding parameters, including charge and discharge price, maximum consumption for dispatch asset-related demand, 
minimum time between discharge cycles for demand response resources,265 minimum

264 See California Energy Storage Alliance Comments at 13; NYISO Indicated

Transmission Owners Comments at 6; NYPA Comments at 9-10; Pacific Gas & Electric Comments at 9; Research Scientists Comments at 6-7.

265 See NYISO Indicated Transmission Owners Comments at 6.

Docket Nos. RM16-23-000 and AD16-20-000	- 144 -

energy charge and discharge rate, self-discharge rate,266 round-trip efficiency (i.e., the ratio of how much energy is lost from charge to discharge),267 and separate ramp rates for energy and reserves,268 as well as bidding parameters that reflect electric storage resources’ ability to respond to transients with automatic voltage regulation, power system stability, and generator droop.269

b.	Commission Determination

Upon consideration of the comments, and to implement the new requirement in

section 35.28(g)(9)(i)(c) of the Commission’s regulations, we require each RTO/ISO to 
revise its tariff to incorporate a participation model for electric storage resources that 
accounts for the following physical and operational characteristics that were not 
proposed in the NOPR:  Minimum Discharge Limit, Minimum Charge Limit, Discharge 
Ramp Rate, and Charge Ramp Rate.  Each RTO’s/ISO’s participation model for electric 
storage resources must account for these physical and operational characteristics, 
whether through bidding parameters or other means.  Consistent with the discussion 
above, we provide flexibility to each RTO/ISO to determine, consistent with how it 
treats other resources, whether it is mandatory for resources using the participation 
model for electric storage resources to submit information regarding these physical and

266 See Pacific Gas & Electric Comments at 9.

267 See EPRI Comments at 17-18.

268 See Dominion Comments at 6-7. 
269 See Magnum Comments at 11.

Docket Nos. RM16-23-000 and AD16-20-000	- 145 -

operational characteristics, or whether resources using the participation model for

electric storage resources should be allowed to submit this information at their

discretion.   To the extent that an RTO/ISO proposes to comply with this requirement through its existing bidding parameters or other existing market mechanisms, it must demonstrate in its compliance filing how its existing market rules account for these characteristics of electric storage resources.

We find that requiring each RTO’s/ISO’s electric storage resource participation model to account for these physical and operational characteristics is necessary to improve the ability of electric storage resources to provide all of the services that they are technically capable of providing and to allow the RTOs/ISOs to procure these services more efficiently, which will enhance competition and, in turn, help to ensure that the RTO/ISO markets produce just and reasonable rates.

First, we are persuaded by EPRI’s suggestion that some electric storage resources may need to identify their minimum operating limits when they are charging or 
discharging.  Specifically, an electric storage resource may need to identify its Minimum Discharge Limit, which represents the minimum MW output level that the resource can inject onto the grid, and its Minimum Charge Limit, which represents the minimum MW level that the resource can receive from the grid.

Like traditional generation resources, some electric storage resources may not be 
able to inject energy onto the grid below a minimum MW output level due to the 
physical capabilities of individual turbines or the power electronic of the system.  Also 
like traditional generators, we find that resources using the participation model for

Docket Nos. RM16-23-000 and AD16-20-000	- 146 -

electric storage resources should be able to represent such a minimum value in the

RTO/ISO markets.  Because electric storage resources are also able to receive electric energy from the grid, there may be a Minimum Charge Limit in MWs that they are able to receive from the grid as well due to similar physical constraints of the resource or its power electronics.

Therefore, while the Commission did not propose in the NOPR to require each

RTO’s/ISO’s electric storage resource participation model to account for the Minimum Charge Limit or Minimum Discharge Limit of a resource using the electric storage 
resource participation model, in this Final Rule, we require each RTO/ISO to revise its tariff to account for these physical characteristics as part of its participation model for electric storage resources.

In addition, we agree with EPRI that the speed at which electric storage resources 
can move from zero output to full output, or its Maximum Discharge Limit, is the same 
as the current ramp rates provided by traditional generation resources.  However, we find 
that it is important to ensure that electric storage resources are able to represent this 
physical characteristic consistent with how other market participants are able to do so. 
Therefore, for purposes of this Final Rule, we refer to this parameter as the Discharge 
Ramp Rate and require each RTO/ISO to account for this physical characteristic in its 
participation model for electric storage resources by either making existing ramp rate 
parameters available to resources using the participation model for electric storage 
resources or by other means.  The unique consideration for electric storage resources is 
their ability to both charge and discharge energy and to transition from one operational

Docket Nos. RM16-23-000 and AD16-20-000	- 147 -

state to the other.  Therefore, in addition to a Discharge Ramp Rate, we require each 
RTO/ISO to account for a Charge Ramp Rate in its participation models for electric 
storage resources.  The Charge Ramp Rate represents the speed at which an electric 
storage resource can move from zero output to fully charging, or the resource’s 
Maximum Charge Limit.  While electric storage resources are often designed to charge 
and discharge at the same speeds, that is not always the case, and there may be other 
physical or operational reasons that resources using the participation model for electric 
storage resources need to differentiate their Charge Ramp Rate from the Discharge 
Ramp Rate.  Therefore, in this Final Rule, we require each RTO/ISO to revise its tariff to 
account for these characteristics as part of its participation model for electric storage 
resources.

We do not find it necessary to require each RTO/ISO to account for the other

physical and operational characteristics of electric storage resources that commenters

suggest in its participation model for electric storage resources.  However, we recognize 
that, given the different market structures of the RTOs/ISOs, there may be additional 
physical and operational characteristics of electric storage resources that each RTO/ISO 
wishes to reflect in its participation model for such resources to allow it to more 
efficiently dispatch its system.  Thus, we will allow each RTO/ISO to propose in its 
compliance filing bidding parameters or other means to account for physical and 
operational characteristics of electric storage resources besides those set forth in this 
Final Rule.  To the extent that an RTO/ISO includes such a proposal in its compliance 
filing, the RTO/ISO must demonstrate that such bidding parameters or other mechanisms

Docket Nos. RM16-23-000 and AD16-20-000	- 148 -

do not impose barriers to the participation of electric storage resources in its markets.

5. 	Summary of Physical and Operational Characteristics of

Electric Storage Resources

For ease of reference, the following chart summarizes the physical and operational characteristics of electric storage resources for which each RTO’s/ISO’s participation model for electric storage resources must account:

Physical or

Operational

Characteristic 
State of Charge

Maximum State of Charge

Minimum State of Charge

Maximum Charge Limit

Maximum Discharge Limit

Minimum Charge Time

Maximum Charge Time

Definition

State of Charge represents the amount of energy stored in proportion to the limit on the amount of energy that can be stored, typically expressed as a percentage.  It represents the forecasted starting State of Charge for the market interval being offered into.

Maximum State of Charge represents a State of Charge value that should not be exceeded (i.e., gone above) when a resource using the participation model for electric storage resources is receiving electric energy from the grid (e.g., 95% State of

Charge).

Minimum State of Charge represents a State of Charge value that should not be exceeded (i.e., gone below) when a

resource using the participation model for electric storage 
resources is injecting electric energy to the grid (e.g., 5% State of Charge).

Maximum Charge Limit represents the maximum MW quantity of electric energy that a resource using the

participation model for electric storage resources can receive from the grid.

Maximum Discharge Limit represents the maximum MW quantity that a resource using the participation model for electric storage resources can inject to the grid.

Minimum Charge Time represents the shortest duration that a resource using the participation model for electric storage

resources is able to be dispatched by the RTO/ISO to receive electric energy from the grid (e.g., one hour).

Maximum Charge Time represents the maximum duration that 
a resource using the participation model for electric storage 
resources is able to be dispatched by the RTO/ISO to receive

Docket Nos. RM16-23-000 and AD16-20-000	- 149 -

electric energy from the grid (e.g., four hours).

Minimum Run Time

Maximum Run Time

Minimum Discharge Limit

Minimum Charge Limit

Discharge Ramp Rate

Charge Ramp Rate

Minimum Run Time represents the minimum amount of time that a resource using the participation model for electric

storage resources is able to inject electric energy to the grid (e.g., one hour).

Maximum Run Time represents the maximum amount of time that a resource using the participation model for electric

storage resources is able to inject electric energy to the grid (e.g., four hours).

The minimum MW output level that a resource using the participation model for electric storage resources can inject onto the grid.

The minimum MW level that a resource using the 
participation model for electric storage resources can receive from the grid.

The speed at which a resource using the participation model for electric storage resources can move from zero output to its Maximum Discharge Limit.

The speed at which a resource using the participation model for electric storage resources can move from zero output to its Maximum Charge Limit.

F.	State of Charge Management

1.	NOPR Proposal

In the NOPR, the Commission proposed to require each RTO/ISO to allow electric 
storage resources to self-manage their state of charge and upper and lower charge 
limits.270  The Commission stated that an electric storage resource that self-manages its 
state of charge is subject to any penalties for deviating from a dispatch schedule to the 
extent the resource manages its state of charge by deviating from the dispatch 
schedule.271  However, the Commission sought comment on whether there are conditions

270 See NOPR, FERC Stats. & Regs. ¶ 32,718 at P 69.

271 See id. P 70.

Docket Nos. RM16-23-000 and AD16-20-000	- 150 -

under which an RTO/ISO should not allow an electric storage resource to manage its state of charge and upper and lower charge limits.

2.	Comments

Numerous commenters support the NOPR proposal to require each RTO/ISO to

allow electric storage resources to self-manage their state of charge and upper and lower charge limits.272  Some commenters assert that the proposal will allow for more efficient use of electric storage resources and will extend their useful lives.273  Other commenters state that permitting an electric storage resource to manage its state of charge would 
allow the asset owner to optimize the operations of its resource.274  Tesla/SolarCity point to CAISO’s tariff for Non-Generator Resources to self-manage energy limits and stateof-charge in real time as a good model.275

Several commenters, however, urge the Commission to go farther than the NOPR

272 See, e.g., Beacon Power Comments at 6; DTE Electric/Consumers Energy

Comments at 4-5; EEI Comments at 10; Energy Storage Association Comments at 16-17; IRC Comments at 5; Microgrid Resources Coalition Comments at 7; NESCOE

Comments at 11; Pacific Gas & Electric Comments at 8; Research Scientists Comments 
at 7-8.

273 See AES Companies Comments at 22; Electric Vehicle R&D Group Comments

at 1.

274 See Avangrid Comments at 6; Energy Storage Association Comments at 16;

Imperial Irrigation District Comments at 10; NRG Comments at 18; NYPA Comments at

10.

275 See Tesla/SolarCity Comments at 14-15 (citing California Indep. Sys. Operator Corp., 156 FERC ¶ 61,110 at P1).

Docket Nos. RM16-23-000 and AD16-20-000	- 151 -

proposal, stating that an electric storage resource should always, or almost always, be 
responsible for managing its own state of charge.  Most RTOs/ISOs, PJM Market 
Monitor, and Xcel Energy Services argue that the RTO/ISO should not be responsible 
for managing an electric storage resource’s state of charge.276  For example, IRC argues 
that the RTOs/ISOs should only be responsible for following reasonable operating 
parameters provided by the electric storage resource owner.277  Generally, commenters 
state that it would be challenging for the RTO/ISO to manage a storage resource’s state 
of charge, RTOs/ISOs traditionally do not manage how resources participate in the 
market, RTOs/ISOs should not be put in the position of managing market risk for or 
making business judgments on behalf of market participants, and electric storage 
resources should manage their own state of charge through their market offers, updates 
to market offers, and decisions to remove their resource from market dispatch.278 
	Other commenters argue that, to the extent the Commission permits an RTO/ISO to manage an electric storage resource’s state of charge, that RTO/ISO should be required to meet certain conditions.279  For example, AES Companies argue the related software

276 See IRC Comments at 5; ISO-NE Comments at 20; PJM Comments at 10; PJM Market Monitor Comments at 4.

277 See IRC Comments at 5.

278 See AES Companies Comments at 23; PJM Comments at 10; PJM Market Monitor Comments at 4; Xcel Energy Services Comments at 17-18.

279 See AES Companies Comments at 23.

Docket Nos. RM16-23-000 and AD16-20-000	- 152 -

development and administrative costs of RTO/ISO management of a resource’s state of 
charge should be allocated only to those resources requesting the state-of-charge 
management service from the RTO/ISO.  In contrast, Microgrid Resources Coalition 
contends that, if an RTO/ISO seeks to manage the state of charge or readiness of an 
electric storage resource, it should compensate the resource for that privilege.280  NRG 
asserts that to the extent an RTO/ISO manages an electric storage resource’s state of 
charge, it will have to include complex bidding parameters to ensure that the resource 
could meet any retail obligations that it has assumed.281  MISO Transmission Owners 
state that an RTO/ISO that manages an electric storage resource’s state of charge must 
do so in accordance with the criteria that the resource owner establishes.282 
	Imperial Irrigation District asserts that the RTO/ISO should manage an electric 
storage resource’s state of charge only if the resource owner agrees.283  Relatedly, NYPA 
argues that, if an RTO/ISO is managing an electric storage resource’s state of charge, 
that resource should be permitted to withdraw from RTO/ISO control without penalty if 
it believes it is under-recovering revenues due to the RTO’s/ISO’s directives.284  NYPA

280 See Microgrid Resources Coalition Comments at 7-8.

281 See NRG Comments at 18.

282 See MISO Transmission Owners Comments at 11. 283 See Imperial Irrigation District Comments at 10. 284 See NYPA Comments at 10-11.

Docket Nos. RM16-23-000 and AD16-20-000	- 153 -

contends that several RTOs/ISOs have considered or implemented performance

incentive structures and including electric storage resources in those market designs

could provide the proper market incentive for such resources to be available when they 
are most needed, instead of having the RTO/ISO manage a resource’s state of charge. 
	Other commenters suggest that there are certain circumstances when RTO/ISO state of charge management is beneficial and that each RTO/ISO should be permitted to 
manage an electric storage resource’s state of charge in certain circumstances.285  SPP 
asserts that RTOs/ISOs should manage the state of charge of regulation resources but 
that electric storage resources that qualify to provide other services should manage their 
own states of charge.286  CAISO notes that, under its existing market rules, it manages 
the state of charge for some electric storage resources and allows others to manage their 
own state of charge.  Specifically, CAISO notes that, for resources that seek to provide 
regulation, it can optimize a resource’s state of charge, allowing a resource to offer its 
full capacity as regulation consistent with continuous energy requirements for that 
service.  ISO-NE states that it recognizes that it may be necessary at times for an 
RTO/ISO to posture resources, including electric storage resources, to ensure reliability. 
	EPRI states that it may be appropriate for the RTO/ISO to manage a storage

285 See CAISO Comments at 10-11; EPRI Comments at 21-22 (citing

https://ncreview.org/smart_grid/pjms-frequency-regulation-market-and-the-changing-
nature-of-energy-storage-gtm-squared/45256); ISO-NE Comments at n.23; Research Scientists Comments at 7; SPP Comments at 11, 12.

286 See SPP Comments at 11, 12.

Docket Nos. RM16-23-000 and AD16-20-000	- 154 -

resource’s state of charge to ensure that sufficient regulating capability is available from 
the resource, noting that this has already occurred in some RTOs/ISOs.  EPRI adds that 
RTO/ISO management of state of charge could lead to more efficient and more reliable 
operations and better mitigation of day-ahead forecast uncertainty because the RTO/ISO 
has better knowledge of system conditions.  Research Scientists argue that, while it may 
be technically challenging to achieve, in principle, the RTO/ISO is in the best position to 
manage energy storage scheduling and state of charge in order to minimize system costs.

EEI and Exelon assert that, if an electric storage resource is used to address

reliability-related transmission needs or relieve congestion as a transmission asset, the 
RTO/ISO must have functional control over dispatch, including the timing and amount 
of energy that may be injected into or withdrawn from the transmission system and the 
amount of energy that must be made available for injection or withdrawal at the direction 
of the RTO/ISO to fulfill the resource’s transmission function.287  Exelon states that the 
RTO/ISO could release control of the electric storage resource when it is not needed for 
such services, noting that the RTO/ISO may still have to determine the level of energy to 
be available at all times from resources that provide blackstart service.  In contrast, AES 
Companies claim that, because advanced software is used to optimize a lithium array’s 
life, state of charge should still be managed by the owner of a storage resource used as a 
transmission asset under the RTO’s/ISO’s functional control.288

287 See EEI Comments at 11; Exelon Comments at 8-9, n.4. 288 See AES Companies Comments at 21.

Docket Nos. RM16-23-000 and AD16-20-000	- 155 -

EEI and Xcel Energy Services suggest that, given the lack of clarity about the

proposal for state of charge management, a technical conference may be warranted to

better explain the state of charge management concept and better ascertain the issues that 
need to be evaluated in determining how state of charge should be managed.289  EEI 
states that this technical conference should address the management of multiple payment 
streams for electric storage resources that are both receiving cost-based rates and 
participating in the RTO/ISO markets because such a resource must be able to fulfill 
both the obligations that it assumes in the market and as a transmission asset.  MISO also 
argues that further study is needed to comprehend the reliability and economic outcomes 
of different approaches to state-of-charge management for electric storage resources, 
noting that it must have an effective way to ensure that an electric storage resource 
managing its state of charge has enough stored energy to allow it to provide the services 
that it clears the market to provide.290

Altametric and Bonneville assert that an RTO/ISO may need to directly manage the 
state of charge and upper and lower charge limits of electric storage resources during an 
abnormal condition or system emergency to preserve system reliability.291  Bonneville 
encourages the Commission to allow the RTOs/ISOs to identify these reliability-based 
conditions.  City of New York contends that, while there may be limited circumstances

289 See EEI Comments at 10-11; Xcel Energy Services Comments at 18. 290 See MISO Comments at 15-16.

291 See Altametric Comments at 6; Bonneville Comments at 5.

Docket Nos. RM16-23-000 and AD16-20-000	- 156 -

under which an RTO/ISO is better suited than the asset owner to manage an electric 
storage resource’s state of charge and upper and lower charge limits, the scope of an 
RTO’s/ISO’s authority to do so should be established consistent with their limited 
experience with such resources, while changing over time as they gain additional 
experience.292

Some commenters argue that the Commission should require each RTO/ISO to offer 
state-of-charge management to electric storage resources.293  NYISO Indicated 
Transmission Owners state that, because electric storage resources can be used to 
support local or bulk electric system reliability, the Commission should ensure that 
electric storage resource owners can voluntarily elect to cede control of their resources’ 
state of charge to either an RTO/ISO or distribution utility.  Dominion stresses the 
importance of pumped-hydro resources’ ability to opt for PJM to optimize their pumping 
and dispatch in the day-ahead market when these facilities provide PJM with their 
starting and ending storage levels for the day, along with other resource-specific 
operating parameters and suggests expanding this ability to other electric storage 
resources.

To enable them to provide their full capabilities to the market in a continual manner, 
Energy Storage Association asks the Commission require each RTO/ISO to allow an

292 See City of New York Comments at 7.

293 See Dominion Comments at 5; NYISO Indicated Transmission Owners Comments at 6.

Docket Nos. RM16-23-000 and AD16-20-000	- 157 -

electric storage resource to opt to have the RTO/ISO manage its state of charge.294 
Energy Storage Association contends that, at a minimum, an active state-of-charge 
management mechanism should be available for electric storage resources providing 
services that need operational decisions faster than bidding intervals (e.g., frequency 
regulation) and state of charge cannot be predicted or managed through bidding alone. 
Energy Storage Association notes that CAISO, MISO, and NYISO offer state of charge 
management for electric storage resources providing frequency regulation service and 
argues that these practices should be expanded to all RTOs/ISOs and be available for 
resources of any duration, not just short-duration storage resources providing frequency 
regulation.

Xcel Energy Services contends that issues associated with managing state of charge 
may impact opportunity costs included in offers and raise concerns regarding economic 
withholding of resources from the market and market monitors may need to develop new 
monitoring tools and exhibit flexibility in evaluating offer opportunity costs when 
evaluating behavior of storage resources in the market.295  R Street Institute posits that 
economic withholding may be difficult to detect, given that electric storage resources’ 
offers reflect their opportunity costs (rather than physical marginal costs) and that these 
resources will likely supply energy when prices are high and the market is most

294 See Energy Storage Association Comments at 6, 17, n.24. 295 See Xcel Energy Services Comments at 18, n.27.

Docket Nos. RM16-23-000 and AD16-20-000	- 158 -

vulnerable to the exercise of market power.296  R Street Institute explains that physical withholding detection will prove challenging due to the complexity and heterogeneity of physical characteristics of electric storage resources.  Therefore, R Street Institute asks the Commission to seek comment on how electric storage resources may engage in 
economic or physical withholding.

With respect to the Commission’s statement in the NOPR that an electric storage 
resource that self-manages its state of charge is subject to any penalties for deviating 
from a dispatch schedule to the extent the resource manages its state of charge by doing 
so, several commenters agree that, if an electric storage resource self-manages its state of charge and does not perform when obligated to do so, the resource should incur non-
performance penalties.297  EPRI asserts that potential penalties will help incentivize 
energy storage resources that self-manage their state of charge to ensure that their state-
of-charge constraints are met.  EPRI adds, however, that the RTO/ISO may not have 
sufficient information about whether an electric storage resource that is providing 
spinning/synchronized reserve can meet its obligation to provide energy unless the 
RTO/ISO must call on that resource, making it more difficult to penalize such a resource for noncompliance unless an event has occurred.

296 See R Street Institute Comments at 6.

297 See, e.g., Energy Storage Association Comments at 17; EPRI Comments at 23; ISO-NE Comments at 20; Ohio Commission Comments at 7; Xcel Energy Services 
Comments at 22.

Docket Nos. RM16-23-000 and AD16-20-000	- 159 -

3.	Commission Determination

Upon consideration of the comments, we agree with commenters that resource

owners/operators using the participation model for electric storage resources must be

able to manage the state of charge of their resources.  Consistent with the NOPR, we find that each RTO/ISO must permit electric storage resources to manage their state of charge because it allows these resources to optimize their operations to provide all of the 
wholesale services that they are technically capable of providing, similar to the 
operational flexibility that traditional generation resources have to manage the wholesale services that they offer.  We find that, while the RTOs/ISOs may be in a better position to effectively manage the state of charge for a resource using the participation model for electric storage resources that, for example, exclusively provides frequency regulation service, some electric storage resources may be able to provide multiple services or 
services to another entity outside of the RTO/ISO markets.

We therefore agree with commenters that resources using the participation model 
for electric storage resources must have the ability to self-manage their state of charge 
and it is often desirable to allow them to do so.  Providing this flexibility will allow 
resource owners/operators to ensure their own Minimum and Maximum States of Charge 
are not violated,298 which will help prevent excessive wear and tear on the resource and

298 See supra P 210. Consistent with the changes in terminology adopted in the

State of Charge, Upper and Lower Charge Limits, and Maximum Charge and Discharge Rates section, we are using the terms Maximum State of Charge and Minimum State of Charge instead of Upper Charge Limit and Lower Charge Limit.

Docket Nos. RM16-23-000 and AD16-20-000	- 160 -

help maintain its technical capabilities to provide services in the RTO/ISO markets.

Additionally, depending on the telemetry rules adopted by each RTO/ISO, ensuring that 
a resource owner/operator is able to manage its own state of charge may also limit the 
need for the RTO/ISO to telemeter the resource in real time to ensure that the Minimum 
and Maximum States of Charge are not violated.  For these reasons, we find that a 
sufficient record exists in this proceeding to make these determinations without the need 
for additional process or a technical conference, as some commenters propose. 
	Therefore, we require each RTO/ISO to allow resources using the participation model for electric storage resources to self-manage their state of charge.  We also find here that a resource using the participation model for electric storage resources that self-manages its state of charge will be subject to any applicable penalties for deviating from a dispatch schedule to the extent that the resource deviates from the dispatch schedule in managing its state of charge.299  We also clarify that, to the extent that the provision of a particular wholesale service, such as frequency regulation, requires a resource providing that service to follow a dispatch signal that has the effect of maintaining the resource’s ability to provide the service, an electric storage resource that is managing its own state of charge would still be required to follow such a dispatch signal, just as all other 
resources providing that same service.

299 See NOPR, FERC Stats. & Regs. ¶ 32,718 at P 70.

Docket Nos. RM16-23-000 and AD16-20-000	- 161 -

Additionally, we clarify that the RTOs/ISOs are not required as part of this Final 
Rule to manage the state of charge for resources using the participation model for 
electric storage resources.300  However, if an RTO/ISO already has a mechanism to 
manage a resource’s state of charge (such as regulation energy management in CAISO 
or pumped-hydro resource operation in PJM), then we require the RTO/ISO to make the 
use of such mechanism optional so that an electric storage resource owner/operator is 
able to manage its own state of charge if it elects to do so.  Where an electric storage 
resource has the option to allow the RTO/ISO to manage its state of charge, we clarify 
that the electric storage resource is the default manager of the resource’s state of charge. 
	In response to the concerns about the ability of the RTOs/ISOs to use electric 
storage resources to address any reliability challenges and to know that the resources 
have an adequate state of charge to perform the service to which they have committed, 
we note that the RTO/ISO should be able to dispatch a resources using the participation 
model for electric storage resources in the same manner as any other market participant. 
Nothing in this Final Rule precludes an RTO/ISO from establishing telemetry or other 
communication requirements necessary to determine the capabilities of the electric 
storage resource in real time.  We believe that this flexibility will ensure sufficient 
visibility of a resource using the participation model for electric storage resources to

300 We note that, while the RTOs/ISOs must permit resources to manage their own 
state of charge, the RTOs/ISOs may provide an option for the RTO/ISO to manage an 
electric storage resource’s state of charge for any particular service or circumstance as 
they deem appropriate in their markets with consent of the electric storage resource.

Docket Nos. RM16-23-000 and AD16-20-000	- 162 -

safeguard operational reliability and market integrity.  We reiterate that self-managing electric storage resources, just like all market participants, are subject to any non-
performance penalties in the RTO/ISO tariff, thus incentivizing them to ensure that they have sufficient energy available to meet their obligations.

As for commenters’ concerns about economic and physical withholding, we agree 
that the energy limitations of electric storage resources will need to be factored into their 
market offers and that misrepresenting those limitations could constitute manipulation if 
an electric storage resource has an obligation to participate in an RTO/ISO market. 
However, as discussed in the Ability to De-Rate Capacity to Meet Minimum Run-Time 
Requirements section above, in this Final Rule, we require each RTO/ISO to 
demonstrate how its existing market rules provide a means for energy-limited resources, 
including electric storage resources, to provide capacity.301  This may include ways for 
energy-limited resources, such as electric storage resources, to represent their energy 
limitations through their offer prices, which, if allowed by the RTO/ISO, would not 
constitute economic withholding.  Also, as discussed above, we find that electric storage 
resources de-rating to provide capacity or other services are not engaging in physical 
withholding if they are de-rating to meet minimum run-time requirements. 
	However, there may still be concerns that electric storage resources managing their own state of charge could be doing so inconsistent with the physical and operational characteristics of the resource, which may create a need to ensure those resources are not

301 See supra P 98.

Docket Nos. RM16-23-000 and AD16-20-000	- 163 -

withholding services or otherwise violating its dispatch in a way inconsistent with its 
physical capabilities.  Therefore, we note that, as with other resources, market monitors 
have the ability to review the bids from electric storage resources to detect economic or 
physical withholding.  Additionally, if an RTO/ISO determines that additional rules are 
needed to ensure electric storage resources are not managing their state of charge in a 
way that could manipulate market outcomes through withholding, then the RTO/ISO

could propose such rules in response to this Final Rule or through a separate FPA section 205 filing.302

G.    Minimum Size Requirement

1.	NOPR Proposal

In the NOPR, the Commission proposed to require each RTO/ISO to revise its tariff 
to include a participation model for electric storage resources that establishes a minimum 
size requirement for participation in the RTO/ISO markets that does not exceed 
100 kW.303

302 See 16 U.S.C. § 824d.

303 See NOPR, FERC Stats. & Regs. ¶ 32,718 at P 94.  The Commission used the term “minimum size requirement” to collectively describe minimum capacity requirements to qualify to use a given participation model, “minimum offer 
requirements” for offers to sell services in the RTO/ISO markets, and “minimum bid requirements” for bids to buy energy in these markets.  Id. n.148.

Docket Nos. RM16-23-000 and AD16-20-000	- 164 -

2.	Comments

Several commenters agree with the proposed 100 kW minimum size requirement for 
electric storage resources.304  Many of these commenters argue that there is no 
justification for the minimum size requirement to be any higher.  Minnesota Energy 
Storage Alliance asserts that large minimum size requirements have and continue to pose 
a barrier to electric storage resource development in Minnesota.305  Energy Storage 
Association and Tesla/SolarCity note that most or all of the RTOs/ISOs currently allow 
at least some type of resource to participate in their markets at a size of 100 kW, 
including PJM, which allows participation by 100 kW electric storage resources.306 
Massachusetts State Entities and NESCOE state that the proposal would be technically 
feasible in ISO-NE and will not compromise the efficiency of market dispatch.307 
Massachusetts State Entities note that the 100kV threshold is consistent with the results 
of a pilot program in which ISO-NE reduced the minimum size requirement to 
participate in its frequency regulation market to 100 kW and found that resources 
smaller than one MW were technically capable of providing the service.  However,

304 See, e.g., Avangrid Comments at 8; Energy Storage Association Comments at 23; Massachusetts State Entities Comments at 16-17; NYISO Comments at 10; PJM Market Monitor Comments at 9; Tesla/SolarCity Comments at 17-18.

305 See Minnesota Energy Storage Alliance Comments at 3-4.

306 See Energy Storage Association Comments at 7, 23-24; Tesla/SolarCity Comments at 17-18.

307 See NESCOE Comments at 12.

Docket Nos. RM16-23-000 and AD16-20-000	- 165 -

Tesla/SolarCity request that the Commission clarify that the 100 kW minimum size

requirement applies not only to individual electric storage resources but also can be met through the aggregation of smaller electric storage resources.

Energy Storage Association asserts that electric storage resources less than 1 MW in size can provide the same services and the same flexibility, reliability, and cost reduction benefits as larger electric storage resources.308  NYISO Indicated Transmission Owners do not oppose the NOPR proposal.309

Other commenters support the concept of a minimum size requirement but have

reservations about the 100 kW value that the Commission proposed in the NOPR.310

Eagle Crest agrees that a minimum size requirement is appropriate but takes no position 
with respect to what that requirement should be.  Relatedly, Public Interest 
Organizations and R Street Institute contend that lowering the minimum size 
requirement will reduce barriers to the participation of electric storage resources but state 
that the NOPR proposal does not address the arbitrariness of choosing a particular 
minimum size.  R Street Institute argues that no economic rational justifies the 
RTOs/ISOs adopting different minimum size requirements.  While R Street Institute 
states that the NOPR correctly identifies the need to balance the benefits of lowering

308 See Energy Storage Association Comments at 24.

309 See NYISO Indicated Transmission Owners Comments at 7.

310 See Eagle Crest Comments at 7; National Hydropower Association Comments 
at 9, n.9; Public Interest Organizations Comments at 18; R Street Institute Comments at 
7.

Docket Nos. RM16-23-000 and AD16-20-000	- 166 -

minimum size requirements with the ability of market clearing software to model and dispatch smaller resources, it argues that it is unclear how the NOPR proposal balances these benefits and costs.  While the National Hydropower Association notes that it is concerned with market participation limitations based on project size, it believes that the NOPR proposal is compatible with existing and future pumped-hydro resources 
interconnected to the transmission system.

Other commenters oppose the NOPR proposal.311  CAISO explains that it requires 
resources to have a capacity of at least 500 kW to participate in its energy and ancillary 
service markets, while initial offer segments must be no less than 100 kW/kWh.  While 
CAISO agrees with the Commission that its software could model or dispatch a resource 
with a capacity of 100 kW, CAISO is concerned that the 100 kW minimum size 
requirement would also apply to distributed energy resources and requiring CAISO to 
clear congestion on its grid with thousands of resources with capacities in the range of 
100 kW will reduce the efficiency and performance of its market software.  Therefore, 
CAISO asks the Commission to allow each RTO/ISO to set its minimum size 
requirement up to 500 kW for installed capacity, with a minimum offer requirement of 
up to 100 kW/kWh offered into the market and for the initial offer segment.  CAISO 
states that a 500 kW minimum size requirement is consistent with the minimum size 
requirement that it applies to generators.  CAISO further states that the Commission 
could direct each RTO/ISO to explain how electric storage resources smaller than 500

311 See CAISO Comments at 16-19; ISO-NE Comments at 23.

Docket Nos. RM16-23-000 and AD16-20-000	- 167 -

kW may participate in their markets (e.g., through aggregation models or as demand response resources).

ISO-NE argues that imposing a 100 kW minimum size requirement could force it to 
change the minimum size requirement for all resources in its markets due to its product-
based market design.  ISO-NE asks the Commission to permit ISO-NE to work with 
transmission organizations and utility distribution companies in the regions to set 
minimum size requirements.  ISO-NE contends that it must assess whether such an 
outcome would increase the costs or time needed for implementation.  ISO-NE asserts 
that the proposed 100 kW minimum size requirement might increase costs and the time 
needed for implementation for the region’s transmission organizations and distribution 
utilities because smaller resources are more likely to be interconnected to the distribution 
system and these transmission organizations and distribution utilities would have to 
install metering and adopt accounting procedures to measure the consumption and output 
of these resources.

AES Companies, EEI, MISO Transmission Owners, Pacific Gas & Electric, and 
SoCal Edison argue that the Commission should allow each RTO/ISO to establish its 
own minimum size requirements for electric storage resources based on its unique 
circumstances.312  EEI argues that it could allow so many electric storage resources to 
participate in the RTO/ISO markets that the RTOs/ISOs will be unable to evaluate these

312 See EEI Comments at 13-14; AES Companies Comments at 7, 28-29; MISO Transmission Owners Comments at 13-14; Pacific Gas & Electric Comments at 10-11; SoCal Edison Comments at 15-16.

Docket Nos. RM16-23-000 and AD16-20-000	- 168 -

resources, distribution utilities will be unable to model these resources and implement 
infrastructure upgrades, and the implementation costs incurred to facilitate their 
participation will exceed the benefits of that participation.  While AES Companies 
support the concept of a minimum size requirement, they contend that 100 kW is 
significantly below the minimum size requirement for many distribution utilities and 
may be challenging for some of the RTOs/ISOs to implement (given their diverse 
operating characteristics and supporting software systems).  Likewise, MISO 
Transmission Owners state that 100 kW is very low, especially for distribution utilities. 
Pacific Gas & Electric contends that the Commission should allow each RTO/ISO to 
establish different minimum size requirements for the different services that electric 
storage resources can provide (e.g., energy or ancillary services) and the different 
participation models that they can use to participate in the RTO/ISO market.  Pacific Gas 
& Electric asserts that the appropriate minimum size requirement(s) may be based on the 
opportunities for aggregation of electric storage resources.

AES Companies, EEI, MISO Transmission Owners, and Pacific Gas & Electric

contend that the minimum size requirement for an electric storage resource to participate 
in an RTO/ISO market should take into account the point at which electric storage 
resources will interconnect to the system (i.e., the transmission or distribution system) 
and how it will be operated relative to other generation interconnected to the distribution 
system.313  AES Companies assert that the Commission does not have the authority to set

313 See AES Companies Comments at 7, 28-29; EEI Comments at 14; MISO

Docket Nos. RM16-23-000 and AD16-20-000	- 169 -

minimum size requirements for distribution utilities and the 100 kW proposed minimum size requirement conflicts with existing state tariffs and operating principles.  Thus, AES Companies and MISO Transmission Owners ask the Commission to allow each 
distribution utility (with its retail regulators) and each RTO/ISO (with its stakeholders) 
to establish its own minimum size requirement for distribution-interconnected and 
behind-the-meter electric storage resources and transmission-interconnected electric 
storage resources, respectively.

Alternatively, MISO Transmission Owners state that a one MW minimum size

requirement is more practical and appropriate due to administrative and settlement

burdens on the RTOs/ISOs, while a 500 kW minimum size requirement may be

appropriate for supporting innovation in immature technologies and markets through

pilot projects.314  In contrast, while acknowledging that smaller electric storage resources 
can be aggregated to meet minimum size requirements, SoCal Edison argues that a one 
MW minimum size requirement may be too large because electric storage resources with 
a capacity of one MW or more that are interconnected to the distribution system could 
create operational challenges for distribution operators.315  Altametric recommends a 
minimum power output size of 500 kW from no charge to full charge with a minimum

Transmission Owners Comments at 13; Pacific Gas & Electric Comments at 11. 
	314 See MISO Transmission Owners Comments at 13-14.

315 See SoCal Edison Comments at 15.

Docket Nos. RM16-23-000 and AD16-20-000	- 170 -

limit of 100 kWh.316  Xcel Energy Services contends that electric storage resources

should have to meet the same minimum size requirements like other, larger resources.317 
	A few commenters raise the potential impact of the NOPR proposal on the software that RTOs/ISOs use to clear their markets.318  MISO claims that a minimum size 
requirement that is too small could result in more very small electric storage resources 
participating in MISO’s markets than its current operational and market systems and 
software may be capable of tracking, processing, and settling.  Similarly, Pacific Gas 
& Electric and Xcel Energy Services suggest considering whether the market-clearing 
software is capable of managing the dispatch of many small resources when determining 
minimum size requirements.  MISO warns that its market systems may require 
significant upgrades to accommodate the potentially large number of electric storage 
resources and the multiplicity of variables associated with their transactions.  MISO also 
claims that its State Estimator (which it uses to track energy for real-time dispatch and 
performance measurement) may not have the ability to estimate the status of 100 kW 
resources.  Minnesota Energy Storage Alliance states that, while it defers to the 
RTOs’/ISOs’ comments on the software upgrades needed to implement the proposed 
minimum size requirement and the associated costs, it would like to see MISO modify

316 See Altametric Comments at 7.

317 See Xcel Energy Services Comments at 23.

318 See Minnesota Energy Storage Alliance Comments at 4; MISO Comments

at 8-9; Pacific Gas & Electric Comments at 11; Xcel Energy Services Comments at 23.

Docket Nos. RM16-23-000 and AD16-20-000	- 171 -

its markets to allow for the participation of smaller resources.

MISO Transmission Owners claim that any new rule would effectively direct

investment in software and/or infrastructure upgrades over other priorities that have been 
established based on customer need and that the Commission must balance prioritization 
of electric storage resource participation against other important system improvements 
and maintenance.319  MISO Transmission Owners assert that this concern is valid and 
timely because many distribution companies are implementing large-scale, advanced 
metering infrastructure deployment plans.  Xcel Energy Services also argues that any 
administrative costs that result from the growth in the number of small resources 
participating in the RTO/ISO markets should be borne by those resources.320  EPRI 
suggests further study on two issues:  (1) whether RTO/ISO market-clearing software 
will be capable of identifying the optimal dispatch of resources within existing market 
timelines when there are more resources participating in the RTO/ISO markets and

(2) whether small electric storage resources will be dispatched arbitrarily given that small resources that could reduce total production costs might not be dispatched, even though they would reduce production costs, because the market-clearing software has stopped looking for a better dispatch solution.321

319 See MISO Transmission Owners Comments at 14. 320 See Xcel Energy Services Comments at 23. 
321 See EPRI Comments at 26-27.

Docket Nos. RM16-23-000 and AD16-20-000	- 172 -

Finally, Open Access Technology recommends that the Commission clarify the

minimum size of a price-quantity pair that an electric storage resource can include in its offer because RTO/ISO market rules generally allow for an offer curve that consists of up to ten price-quantity pairs (i.e., whether an electric storage resource can submit a price-quantity pair for less than 100 kW in its offer).322

3.	Commission Determination

In this Final Rule, we adopt the NOPR proposal and add section 35.28(g)(9)(i)(d) to 
the Commission’s regulations to require each RTO/ISO to revise its tariff to include a 
participation model for electric storage resources that establishes a minimum size 
requirement for participation in the RTO/ISO markets that does not exceed 100 kW. 
This minimum size requirement includes all minimum capacity requirements, minimum 
offer to sell requirements, and minimum bid to buy requirements for resources 
participating in these markets under the participation model for electric storage 
resources.

Electric storage resources are generally smaller than traditional generation resources 
and are often in the 100 kW to 1 MW range.323  In many cases, existing minimum size

322 See Open Access Technology Comments at 3.

323 See NOPR, FERC Stats. & Regs. ¶ 32,718 at nn.146-147 (citing Sandia Report 
at 29, Figure 19 (Positioning of Energy Storage Technologies); U.S. Department of 
Energy, Grid Energy Storage at 12 (Dec. 2013) (stating that most storage systems are in 
the 10 kW to 10 MW range, with the largest proportion of those resources in the 100 kW 
to 1 MW range)).

Docket Nos. RM16-23-000 and AD16-20-000	- 173 -

requirements were created prior the emergence of new, smaller resources such as electric storage resources that are technically capable of participating in the RTO/ISO markets. We find that RTO/ISO market rules may create barriers to electric storage resource 
participation in those markets based on minimum size requirements that may have been designed for different types of resources.324  Therefore, as discussed below, we conclude that requiring the RTOs/ISOs to establish a minimum size requirement not to exceed 
100 kW for the participation model for electric storage resources balances the benefits of increased competition with the potential need to update RTO/ISO market clearing 
software to effectively model and dispatch smaller resources.

While some commenters argue that RTO/ISO modeling and dispatch software may 
be unable to accommodate a large number of smaller resources, the record shows that all 
RTOs/ISOs are already accommodating the participation of smaller resources in their 
markets.  For example, the record shows that all RTOs/ISOs already have the modeling 
and dispatch software capabilities to accommodate the participation of resources that are 
as small as 100 kW.  Specifically, both PJM and SPP have a minimum size requirement 
of 100 kW for all resources, and all of the RTOs/ISOs have at least one participation

model that allows resources as small as 100 kW to participate in their markets.325  In 
response to ISO-NE’s claim that its product-based market design does not permit such

324 See id. P 86.

325 See CAISO Data Request Response at 10-11; ISO-NE Data Request Response at 13-14; MISO Data Request Response at 10; NYISO Data Request Response at 9; PJM Data Request Response at 10; SPP Data Request Response at 5.

Docket Nos. RM16-23-000 and AD16-20-000	- 174 -

size requirements, we point to varying minimum size requirements for existing

participation models in ISO-NE (e.g., 1 MW for generators and 100 kW for demand response).

Further, we are not persuaded by commenters who argue that different minimum 
size requirements may be needed based on the service being provided, the location and 
concentration of electric storage resources, or where the electric storage resources are 
interconnected.  Commenters have failed to demonstrate how minimum size 
requirements should be varied based on the manner in which electric storage resources 
are operated or based on the location of these resources.  Additionally, in response to 
commenters that suggest that the Commission does not have the authority to set 
minimum size requirements for distribution utilities, we clarify that we are not setting 
minimum size requirements for distribution utilities in this Final Rule.  Rather, we are 
requiring each RTO/ISO to establish a minimum size requirement for resources 
participating in its markets.  Therefore, we find that minimum size requirements do not 
need to be resource-specific or location-specific.  We note that existing participation 
models in the RTOs/ISOs have standard minimum size requirements for all resources 
that elect to use them.

Moreover, in response to concerns about potential impacts on the distribution

systems and related costs, we note that numerous 100 kW minimum size requirements 
already exist, and there are resources located on the distribution system that are already 
participating in the RTO/ISO markets.  Establishing a standard minimum size 
requirement for resources using the participation model for electric storage resources

Docket Nos. RM16-23-000 and AD16-20-000	- 175 -

may potentially result in more resources on the distribution systems participating in the 
RTO/ISO markets.  However, it does not change the responsibilities of the RTOs/ISOs 
or the distribution utilities, and it does not change the ability of distribution utilities to 
allocate any costs that they incur in operating and maintaining their respective power 
systems.

With respect to CAISO’s and MISO’s concern that they may need to upgrade their 
software to manage the potentially large number of resources using the participation 
model for electric storage resources under the proposed minimum size requirement, as 
discussed in the Compliance Requirements section,326 we find that we are providing the 
RTOs/ISOs with adequate time to develop the requisite tariff language and update their 
modeling and dispatch software to comply with this Final Rule and are factoring into the 
effective date of this Final Rule the burden of implementing the requirements herein. 
We are not persuaded that more than 365 days after the RTOs/ISOs submit their 
compliance filings will be necessary to implement the reforms in this Final Rule.  We are 
also not concerned about the potential availability of software solutions as multiple 
RTOs/ISOs already provide a minimum size requirement of 100 kW for all resources 
and have not expressed similar concerns regarding the minimum size requirement. 
While establishing a minimum size requirement of 100 kW for the participation model 
for electric storage resources will result in some smaller resources entering the markets 
in the near term, we do not expect an immediate influx of these smaller resources or any

326 See infra P 343.

Docket Nos. RM16-23-000 and AD16-20-000	- 176 -

resulting inability to model and dispatch them.  However, we recognize this finding is based on the fact that there are currently fewer 100 kW resources than there may be in the future.  Therefore, in the future, we will consider requests to increase the minimum size requirement to the extent an RTO/ISO can show that it is experiencing difficulty calculating efficient market results and there is not a viable software solution for 
improving such calculations.

In response to Open Access Technology’s request for clarification of the number of 
allowed price-quantity bid segments for a 100 kW resource using the participation model 
for electric storage resources, we reiterate our requirement that the minimum size 
requirement applies to all minimum capacity requirements, minimum offer to sell 
requirements, and minimum bid to buy requirements.  We note that, under this 
requirement, an RTO/ISO could allow offer and/or bid quantities smaller than 100 kW, 
as CAISO indicates it does.327  An RTO/ISO could also allow minimum offer and/or bid 
quantities equal to 100 kW, as PJM indicates it does.328  However, this requirement 
would not permit an RTO/ISO to require a resource using the electric storage resource 
participation model to submit offer and/or bid quantities larger than 100 kW.

327 CAISO states the minimum participation requirement for electric storage resource energy bids is 10 kW.  CAISO Data Request Response at 16.

328 PJM states the 100 kW is both the minimum capacity requirement and also the minimum incremental offer amount.  PJM Data Request Response at 10 (citing PJM Tariff, Attachment DD, section 5.6).

Docket Nos. RM16-23-000 and AD16-20-000	- 177 -

H.    Energy Used to Charge Electric Storage Resources

1.	Price for Charging Energy

a.	NOPR Proposal

In the NOPR, the Commission stated that it has found that the sale of energy from 
the grid that is used to charge electric storage resources for later resale into the energy or 
ancillary service markets constitutes a sale for resale in interstate commerce.329  As such, 
the Commission stated that the just and reasonable rate for that wholesale sale of energy 
used to charge the electric storage resource is the RTO/ISO market’s wholesale price for 
energy or LMP.  The Commission thus proposed to require each RTO/ISO to revise its 
tariff to specify that the sale of energy from the RTO/ISO markets to an electric storage 
resource that the resource then resells back to those markets must be at the wholesale

LMP.

b.	Comments

Many commenters support the NOPR proposal that the sale of energy from the 
RTO/ISO markets to an electric storage resource that the resource then resells back to 
those markets must be at the wholesale LMP.330  MISO notes that the proposed

329 See NOPR, FERC Stats. & Regs. ¶ 32,718 at P 100 (citing Norton Energy

Storage, L.L.C., 95 FERC ¶ 61,476, at 62,701-02 (2001) (Norton Energy Storage); PJM Interconnection, L.L.C., 132 FERC ¶ 61,203 (2010)).

330 See, e.g., AES Companies Comments at 6, 8; American Petroleum Institute Comments at 12; APPA/NRECA Comments at 41; California Energy Storage Alliance Comments at 8; EEI Comments at 15; ELCON Comments at 6; ISO-NE Comments at 23-24; Mensah Comments at 2; NextEra Comments at 10; Ohio Commission Comments at 7; TAPS Comments at 28.

Docket Nos. RM16-23-000 and AD16-20-000	- 178 -

wholesale LMP requirement aligns with MISO’s current market design for Stored 
Energy Resources and Demand Response Resources.331  National Hydropower 
Association agrees with the NOPR’s characterization of charging and discharging as 
wholesale transactions,332 while NYISO Indicated Transmission Owners do not oppose the NOPR proposal.333

A few commenters support the NOPR proposal in principle but condition their

support.334  ISO-NE agrees with the general principle of paying LMP for charging

energy that is later resold into the wholesale market; however, ISO-NE notes that

implementing the NOPR proposal may be complicated and will depend on the

participation of the region’s transmission organizations and distribution utilities.  While 
Alevo supports the NOPR proposal, it states that, because electric storage resources that 
are participating in ancillary service markets (such as the market for frequency 
regulation) are responding to the grid operator’s needs, requiring them to settle energy to 
provide such services would be inappropriate and a barrier to their participation.

331 See MISO Comments at 9.

332 See National Hydropower Association Comments at 10.

333 See NYISO Indicated Transmission Owners Comments at 7. 
334 See Alevo Comments at 10-11; ISO-NE Comments at 23-24.

Docket Nos. RM16-23-000 and AD16-20-000	- 179 -

Other commenters assert that certain electric storage resources should not be

permitted to purchase charging energy at LMP unless they meet certain conditions.335 
According to Avangrid, NRG, and Pacific Gas & Electric, a behind-the-meter electric 
storage resource should not be eligible to pay LMP for its charging energy unless it has 
implemented the metering, accounting, and data protocols necessary to distinguish its 
wholesale and retail activities.  NRG contends that, otherwise, a behind-the-meter 
electric storage resource should pay the retail rate for its charging energy. 
	Similarly, Xcel Energy Services goes farther, contending that, given the practical impossibility of determining what charging energy will be used to provide wholesale services and what charging energy will be used to provide retail services, the default rate for distributed electric storage resources should be the retail rate.336  Xcel Energy 
Services further claims that, by paying the wholesale LMP, a distributed electric storage 
resource owner can bypass capacity and infrastructure costs, thus depriving the 
distribution utility of revenues to meet its obligation to serve.

APPA/NRECA, FirstLight, and TAPS argue that, instead of requiring RTOs/ISOs 
and distribution utilities to develop and administer elaborate metering and accounting 
schemes, which some argue may not be possible, storage resources must elect to

335 See Avangrid Comments at 9; NRG Comments at 16-17; Pacific Gas & Electric Comments at 13.

336 See Xcel Energy Services Comments at 13-14.

Docket Nos. RM16-23-000 and AD16-20-000	- 180 -

participate in either wholesale or retail markets, but not in both.337  FirstLight adds that introducing the ability to toggle between retail and wholesale rates may create incentives to shift the liability of bad decisions in the wholesale market to the retail supplier by discharging to meet retail load.

Some commenters ask the Commission to clarify that the Commission’s regulations 
will not require an electric storage resource that is participating in an RTO/ISO market to 
pay the wholesale LMP for the charging energy that it uses to provide wholesale 
services.338  For example, Energy Storage Association asks the Commission to clarify 
that RTOs/ISOs may not compel electric storage resources providing wholesale services 
to purchase their charging energy from wholesale markets because they may be able to 
charge from a co-located generator.  Similarly, AES Companies state that electric 
storage resources should be permitted to purchase charging energy for providing 
wholesale services from the wholesale markets and from other sources, such as 
generators not registered in an RTO/ISO.  AES Companies also assert that electric 
storage resources should be permitted to self-supply from other assets (such as co-
located behind-the-meter solar).  AES Companies argue that flexibility in procurement 
will provide a more competitive framework for electric storage devices, which would

337 See APPA/NRECA Comments at 42; FirstLight Comments at 12; TAPS Comments at 28.

338 See, e.g., AES Companies Comments at 7-9, 30; DER/Storage Developers Comments at 5; Energy Storage Association Comments at 7, 20; MISO Transmission Owners Comments at 15; Stem Comments at 10-11.

Docket Nos. RM16-23-000 and AD16-20-000	- 181 -

lower cost to consumers.  MISO Transmission Owners contend that requiring electric storage resources to purchase the charging energy that they use to provide wholesale services would result in inequitable treatment because synchronous generators have the opportunity to buy fuels from many sources.

While Stem contends that all charging energy that an electric storage resource

located in front of a retail meter is a sale for resale, it asserts that the only charging

energy for a behind-the-meter electric storage resource that is a sale for resale is

charging energy that it used to net inject energy back onto the grid.339  Stem argues that a behind-the-meter electric storage resource should not have to pay the wholesale rate for any of its charging energy because the resource may then have to pay twice for its 
charging energy if the local distribution utility does not “net out” that charging energy from the host customer’s retail bill.

In contrast, APPA/NRECA ask that the Commission require that electric storage 
resources pay wholesale LMP for all charging energy used to provide wholesale 
services.340  APPA/NRECA argue that, otherwise, electric storage resources could 
engage in arbitrage between the volatile wholesale markets and regulated retail markets, 
likely shifting costs to the distribution utility’s other customers.  Similarly, NYISO 
contends that all energy that an electric storage resource consumes at a wholesale rate

339 See Stem Comments at 11.

340 See APPA/NRECA Comments at 42.

Docket Nos. RM16-23-000 and AD16-20-000	- 182 -

must be sold back to the grid at a wholesale rate.341  Stem asks the Commission to clarify that all energy used to charge front-of-meter electric storage resource is a sale for resale and thus the resource must pay the wholesale LMP for energy withdrawn from the grid to charge the resource.342

Several commenters raise jurisdictional concerns with respect to the application of 
the NOPR proposal’s requirement that the sale of energy from the RTO/ISO markets to 
an electric storage resource that the resource then resells back to those markets must be 
at the wholesale LMP to electric storage resources interconnected to the distribution 
system or located behind a retail customer’s meter.  Specifically, commenters argue that 
applying the NOPR proposal to such resources raises issues related to regulatory 
oversight and may interfere with the exclusive right of state regulators to set retail rates 
and terms of service.343  EEI asserts that electric storage resources should charge at the 
retail rate when seeking to participate in the retail markets and requests that the 
Commission indicate that charging at LMP rates does not confer exclusive jurisdiction 
over electric storage resources to the Commission.  IRC requests that the Commission 
work with the states to address jurisdiction issues given that it may be unclear whether 
charging energy will be used to provide wholesale or retail services when it is being

341 See NYISO Comments at 10-11.

342 See Stem Comments at 10.

343 See, e.g., AES Companies Comments at 7; EEI Comments at 12, 15; IRC Comments at 2-3; MISO Transmission Owners Comments at 15.

Docket Nos. RM16-23-000 and AD16-20-000	- 183 -

absorbed.  MISO Transmission Owners recommend that any final rule recognize that

state or localities have jurisdiction over rate setting and provide flexibility in the rates at which an electric storage resource that is interconnected to a distribution system may buy and sell electricity.

MISO Transmission Owners further contend that electric storage resources located 
behind the meter should pay any retail rate applicable to them under state law for 
charging energy.344  Pacific Gas & Electric argues that the local regulatory authority 
must determine that an electric storage resource’s consumption is not a retail transaction 
before that resource is eligible to pay LMP for that consumption.345  AES Companies 
argue that the Commission does not have authority to require behind-the-meter resources 
under state jurisdiction (outside of retail choice states) to pay LMP.346 
	Microgrid Resources Coalition believes that LMP rates are the more economically efficient result for charging behind-the-meter resources but agrees that “retail rates are legally appropriate.”347  Specifically, Microgrid Resources Coalition contends that, in retail choice jurisdictions, large customers can typically arrange to pay LMP and a retail supplier could also agree to pass through to the customer the economic consequences of

344 See MISO Transmission Owners Comments at 6, 14-15.

345 See Pacific Gas & Electric Comments at 12.

346 See AES Companies Comments at 6, 29.

347 See Microgrid Resources Coalition Comments at 13.

Docket Nos. RM16-23-000 and AD16-20-000	- 184 -

a demand bid by the supplier on the customer’s behalf.  ELCON similarly states that an electric storage resource should be able to register as an energy service company in an applicable state and buy energy or capacity at the prevailing LMPs from an organized market and resell to direct access retail customers but that, without Commission 
regulation, concerns may arise regarding anti-competitive behavior and potential for 
double-recovery of costs.348

Several commenters address specific components of gross load for electric storage 
resources.349  California Energy Storage Alliance, Energy Storage Association, and 
NextEra request that the Commission clarify that efficiency losses experienced between 
charging and discharging an electric storage resource should be settled at the wholesale 
LMP.  In addition, California Energy Storage Alliance argues that loads that are 
unavoidable to the production or conversion of energy drawn from the grid or are 
integral to the optimal production or conversion of energy drawn from the grid represent 
efficiency losses and that these directly integrated loads should be counted as charging 
energy to provide wholesale services.  Energy Storage Association and NextEra further 
state that some electric storage resources have thermal management components that are 
integral to, or internalized within, the storage medium and the sale of the energy that 
these systems use should be considered wholesale transactions and thus priced at LMP.

348 See ELCON Comments at 7.

349 See California Energy Storage Alliance Comments at 8-9; EEI Comments 
at 12; Energy Storage Association Comments at 7, 19-20, n.30; NextEra Comments 
at 10-11.

Docket Nos. RM16-23-000 and AD16-20-000	- 185 -

EEI suggests the Commission should discuss the definition of charging energy at a 
technical conference to determine whether all ancillary loads of a battery installation 
should be considered wholesale or only the specific load associated with charging the 
battery.

Other commenters disagree that electric storage resources should pay wholesale 
LMP for these energy uses.350  IRC requests that the Commission work with states to 
address the jurisdictional issues surrounding injection and charging functions (such as 
energy losses, thermal regulation, and station power) to avoid future litigation. California 
Commission states that the energy consumption of behind-the-meter electric storage 
resources that will charge at a wholesale rate raises jurisdictional issues, particularly 
since station power is a retail service.  Likewise, Six Cities and Xcel Energy Services 
assert that the sale of power purchased to operate generating facilities (i.e., station 
power) must be at retail rates.  Six Cities argue that distribution utilities (subject to the 
oversight of their local regulatory authorities) should have the flexibility to identify 
measures needed to properly distinguish between station power and charging energy. 
	Several commenters are concerned about the NOPR proposal’s potential financial impacts on distribution utilities.351  EEI and NYISO Indicated Transmission Owners

350 See California Commission Comments at 5; IRC Comments at 2-3 Six Cities Comments at 5 (citing PJM Interconnection, L.L.C., 94 FERC ¶ 61,251, at 61,891 (2001)); Xcel Energy Services Comments at 12.

351 See EEI Comments at 12, 14, 15; MISO Transmission Owners Comments at 7, 
17; NYISO Indicated Transmission Owners Comments at 7-8; TAPS Comments at 29.

Docket Nos. RM16-23-000 and AD16-20-000	- 186 -

argue that resources located on distribution systems must pay any applicable charges 
covered under state jurisdictional tariffs in order to adequately reflect their use of, and 
cost to, state-jurisdictional facilities.  Likewise, MISO Transmission Owners ask the 
Commission to clarify how utilities and ratepayers will be compensated for allowing 
electric storage resources to use the distribution system to provide wholesale services. 
TAPS requests that the Commission clarify that distribution-interconnected electric

storage resources should be subject to distribution utility tariffs and rates for delivery of 
energy between the RTO grid and their point of interconnection to the distribution 
system.  Six Cities request confirmation that distribution utilities or their local regulatory 
authorities retain jurisdiction to determine how to manage the cost, reliability, 
operational, and interconnection impacts to the distribution system of any electric 
storage resource.352

As a separate issue, Energy Storage Association and NextEra suggest that energy 
stored for re-delivery to the grid should not be subject to the transmission charges that 
apply to load.353  NextEra explains that electric storage resources participating in the 
RTO/ISO markets are dispatched by the RTO/ISO for a wholesale service and the 
withdrawal of energy from the transmission network under RTO/ISO control is part the 
wholesale service, particularly with respect to regulation service.  Similarly, NRG asks

352 See Six Cities Comments at 3-4.

353 See Energy Storage Association Comments at 7, 20; NextEra Comments at 11.

Docket Nos. RM16-23-000 and AD16-20-000	- 187 -

the Commission to clarify that an electric storage resource will receive and pay the

applicable nodal LMP, and not the zonal price, for its wholesale transactions.354  To the extent that the Commission finds that any transmission charges apply to electric storage resources, NextEra states that those charges should apply only to station power.

In contrast, Open Access Technology argues that, if the NOPR assumes that both consumption (when charging) and generation (when discharging) from an electric 
storage resource are measured at the wholesale pricing node upstream of the physical location of the storage resource in the distribution feeder, then the Commission should make this assumption explicit given the effect of distribution system losses on these 
measurements.355  American Petroleum Institute also contends that the price signals that distribution-interconnected resources receive for wholesale market participation should account for congestion, losses, and voltage considerations on the distribution system, which current market models do not take into account.356

c.	Commission Determination

In this Final Rule, we adopt the NOPR proposal and add section 35.28(g)(9)(ii) to 
the Commission’s regulations to require that the sale of electric energy from the 
RTO/ISO markets to an electric storage resource that the resource then resells back to 
those markets be at the wholesale LMP.  The Commission is modifying this provision to

354 See NRG Comments at 16.

355 See Open Access Technology Comments at 3.

356 See American Petroleum Institute Comments at 13.

Docket Nos. RM16-23-000 and AD16-20-000	- 188 -

apply regardless of whether the electric storage resource is using the participation model 
for electric storage resources or another participation model to participate in the 
RTO/ISO markets, as long as the resource meets the definition of an electric storage 
resource set forth in this Final Rule.  The Commission has found that the sale of energy 
from the grid that is used to charge electric storage resources for later resale into the 
energy or ancillary service markets constitutes a sale for resale in interstate commerce.357 
As such, the just and reasonable rate for that wholesale sale of energy used to charge that 
electric storage resource is the RTO/ISO market’s wholesale LMP, regardless of whether 
the electric storage resource uses the participation model for electric storage resources. 
	In response to Alevo’s concerns that the requirement may not be appropriate for

357 See Norton Energy Storage, 95 FERC at 62,701-02 (citations omitted) (“[T]he 
use of compressed air as a medium for the storage of energy in an energy storage facility 
is a new technology. However, we find that a compressed air energy storage facility is 
analogous to a [pumped-hydro resource], in that compressed air is used in a 
conversion/storage cycle just as water is used in a [pumped-hydro resource] in the 
conversion/storage cycle…. [T]he Commission views the pumping energy not as being 
consumed, but rather as being converted and stored, as water in the upper reservoir, for 
later re-conversion … back to electric energy. It is this conversion/storage cycle that 
distinguishes energy storage facilities, whether [pumped-hydro resources] or compressed 
air energy storage facilities, from facilities that consume electricity (in the form of station 
power or otherwise). The fact that pumping energy or compression energy is not 
consumed means that the provision of such energy is not a sale for end use that this 
Commission cannot regulate.  Rather, based on Norton’s representations in its petition, 
we find that deliveries of compression energy to the Norton energy storage facility as part 
of energy exchange transactions employing the conversion/storage cycle are wholesale 
transactions subject to our exclusive authority under the FPA.”).  See also PJM 
Interconnection, L.L.C., 132 FERC at 62,053 (“Like pumping energy and compression 
energy, the energy used to charge Energy Storage Resources will be stored for later 
delivery and not used for operating the electric equipment on the site of a generation 
facility or associated buildings as Station Power is used.”).

Docket Nos. RM16-23-000 and AD16-20-000	- 189 -

electric storage resources that are participating in ancillary service markets, we reiterate 
that the sale of electric energy from the grid that is used to charge an electric storage 
resource for later resale into ancillary service markets constitutes a sale for resale in 
interstate commerce and therefore the just and reasonable rate is the wholesale LMP. 
Electric storage resources that are participating in RTO/ISO frequency regulation 
markets are already settled at wholesale LMP for their net energy at the end of a market 
interval, consistent with our requirements for charging energy here. 
	Additionally, in response to NRG’s concern, we clarify that an electric storage resource’s wholesale energy purchases should take place at the applicable nodal LMP, and not the zonal price.  Using the applicable nodal LMP will prevent any potential arbitrage between nodal and zonal prices and allows for consistent evaluation of a 
resource’s impacts on the energy, congestion, and loss components of LMP when it is 
both receiving and injecting energy.

We disagree with Energy Storage Association and NextEra that transmission

charges that apply to load should not apply to electric storage resources.  When an

electric storage resource is charging to resell energy at a later time, then its behavior is 
similar to other load-serving entities, and we find that applicable transmission charges 
should apply.  However, it may be possible for different transmission charges to apply to 
load resources located at a single node (such as pumped-hydro resources) that are paying 
a nodal price for energy and load resources that are located across multiple nodes (such 
as load-serving entities) that are paying a zonal price for energy.  Therefore, to the extent 
that load resources located at a single node pay different transmission charges than load

Docket Nos. RM16-23-000 and AD16-20-000	- 190 -

resources located across multiple nodes, then we require each RTO/ISO to apply those 
transmission charges for single-node resources to electric storage resources that are 
located at a single pricing node, as long as, as discussed in the next paragraph, they are 
not being dispatched to provide an ancillary service by an RTO/ISO. 
	In response to the concern that transmission charges should not apply when an electric storage resources is dispatched by an RTO/ISO, we find that electric storage resources that are dispatched to consume electricity to provide a service in the RTO/ISO markets (such as frequency regulation or a downward ramping service) should not pay the same transmission charges as load during the provision of that service.  We find that this would be consistent with the treatment afforded traditional generation resources that provide ancillary services, because they are not charged for their impacts on the 
transmission system when they reduce their output to provide a service such as 
frequency regulation down.  Therefore, we find that electric storage resources should not 
be charged transmission charges when they are dispatched by an RTO/ISO to provide a 
service because (1) their physical impacts on the bulk power system are comparable to 
traditional generators providing the same service and (2) assessing transmission charges 
when they are dispatched to provide a service would create a disincentive for them to 
provide the service.

In response to concerns about an electric storage resources being compelled to

purchase all of its energy for future use from the RTO/ISO markets, we clarify that we 
impose no such requirement.  Our finding regarding charging energy does not address 
payment of the retail rate for energy or charging a device off of co-located generation

Docket Nos. RM16-23-000 and AD16-20-000	- 191 -

resources, as suggested by commenters.  Also, while this finding requires each RTO/ISO to allow electric storage resources to be able to pay the wholesale LMP for their 
charging energy, it does not address whether they can pay some other rate, such as a retail rate or charging off of co-located generation.  Finally, like other market 
participants that purchase energy from the RTO/ISO markets, an electric storage 
resource that pays the wholesale LMP for charging energy may enter into bilateral 
financial transactions to hedge the purchase of that energy.

We disagree with commenters who argue that the requirement to pay LMP for

charging energy should only apply to electric storage resources that are interconnected to 
the transmission system.  As discussed above, this Final Rule applies to electric storage 
resources that are capable of receiving electric energy from the grid and storing it for 
later injection of electric energy back to the grid, irrespective of where the resource is 
interconnected.  The sale of charging energy to an electric storage resource that the 
resource then resells into the RTO/ISO markets is a sale for resale in interstate 
commerce and thus subject to the Commission’s jurisdiction.358 
	With respect to concerns about electric storage resources’ use of the distribution system, we note that, in PJM Interconnection L.L.C., the Commission permitted a 
distribution utility to assess a wholesale distribution charge to an electric storage

358 See Norton Energy Storage, 95 FERC at 62,701-02; see also PJM Interconnection, L.L.C., 132 FERC ¶ 61,203 at P 7.

Docket Nos. RM16-23-000 and AD16-20-000	- 192 -

resource participating in the PJM markets.359  Consistent with this precedent, we find 
that it may be appropriate, on a case-by-case basis, for distribution utilities to assess a 
charge on electric storage resources similar to those assessed to the market participant in that proceeding.

With respect to efficiency losses, consistent with Norton Energy Storage, we find that efficiency losses are charging energy and therefore not a component of station 
power load.360  Accordingly, the charging energy lost to conversion inefficiencies should also be settled at the wholesale LMP as long as those efficiency losses are an 
unavoidable component of the conversion, storage, and discharge process that is used to resell energy back to the RTO/ISO markets and are not a component of what an 
RTO/ISO considers onsite load.  With respect to directly integrated and other ancillary loads, we provide the RTOs/ISOs flexibility to determine whether they are a component of charging energy or a component of station power.

359 See PJM Interconnection L.L.C., 149 FERC ¶ 61,185 at P 12 (wholesale

distribution charge that ComEd will assess to Energy Vault is a weighted average

carrying charge that is applied on a case-by-case basis, depending on the distribution

facilities expected to be used in providing wholesale distribution service), order on reh’g, 151 FERC ¶ 61,231 at PP 16-18.

360 See Norton Energy Storage, L.L.C., 95 FERC at 62,702 (stating that “[t]he fact that pumping energy or compression energy is not consumed means that the provision of such energy is not a sale for end use that this Commission cannot regulate.”).

Docket Nos. RM16-23-000 and AD16-20-000	- 193 -

2.	Metering and Accounting Practices for Charging Energy

a.	NOPR Proposal

In the NOPR, the Commission sought comment on whether metering and

accounting practices designed to delineate between wholesale and retail activities would need to be established in the RTO/ISO tariffs to facilitate compliance with the proposed requirement that the sale of energy from the RTO/ISO markets to an electric storage resource that the resource then resells back to those markets must be at the wholesale LMP or whether it is possible to determine the end use for energy used to charge an electric storage resource under existing requirements.361

b.	Comments

As discussed above, commenters agree that electric storage resources providing 
retail services should not charge at the wholesale rate and discharge to serve a retail 
customer,362 and many commenters assert that metering and accounting practices 
designed to delineate between wholesale and retail activities are necessary to prevent 
such an outcome.363  Stem contends that the energy used to charge a behind-the-meter 
electric storage resource is considered a sale for resale only up to the amount that is

361 See NOPR, FERC Stats. & Regs. ¶ 32,718 at P 102.

362 See, e.g., California Municipals Comments at 4; FirstLight Comments at 12; PJM Market Monitor Comments at 9; SoCal Edison Comments at 9, 13; TAPS 
Comments at 30-31; Tesla/SolarCity Comments at 19.

363 See, e.g., American Petroleum Institute Comments at 12-13; Mensah

Comments at 2; MISO Comments at 19; Six Cities Comments at 4-5; SoCal Edison Comments at 9, 13; Tesla/SolarCity Comments at 19.

Docket Nos. RM16-23-000 and AD16-20-000	- 194 -

injected onto the grid for wholesale purposes, which requires each RTO/ISO to establish 
metering and accounting practices that separate wholesale from retail activity.364 
Independent Energy Producers Association argues that the Commission must address 
how to distinguish and measure wholesale and retail activities to ensure transparency in 
both markets and to prevent double-counting.365  Electric Vehicle R&D Group asks the 
Commission to propose different methods for reconciliation of wholesale and retail 
activities for behind-the-meter electric storage resources, giving RTOs/ISOs options 
from which to choose.366

Some commenters encourage the Commission to provide flexibility to the

RTOs/ISOs with respect to metering and accounting practices to distinguish wholesale 
and retail activities.367  Pacific Gas & Electric recommends that the Commission provide 
each RTO/ISO with flexibility to establish hardware and software requirements for 
telemetry and metering that account for its system characteristics, market rules, and 
utility tariffs.  Six Cities contend that distribution utilities or their local regulatory 
authorities should retain their own metering standards and technical requirements for 
resources interconnecting to the distribution system and any flexibility that the

364 See Stem Comments at 10.

365 See Independent Energy Producers Association Comments at 7. 366 See Electric Vehicle R&D Group Comments at 1-2.

367 See Pacific Gas & Electric Comments at 13; Six Cities Comments at 3.

Docket Nos. RM16-23-000 and AD16-20-000	- 195 -

Commission provides with respect to metering in the final rule should not compromise 
the accuracy of settlements or impose additional costs on the distribution system. 
	Minnesota Energy Storage Alliance contends that the Commission should not adopt explicit metering arrangements but instead should set forth requirements that metering solutions must meet to adequately delineate between wholesale and retail activities and allow the industry to develop those solutions at the lowest cost possible.368  Minnesota Energy Storage Alliance states that it is necessary to establish adequate accounting 
process to track and verify costs associated with operating an electric storage resource 
that can delineate between wholesale and retail transactions.  AES Companies argue that 
any criterion for accounting methodologies and data collection criterion for electric 
storage resources, including recognition of state jurisdiction, should be documented in 
the RTO/ISO business practice manuals rather than the tariff, so timely changes can 
occur as technology and regulation evolve.369

Many commenters are concerned, however, that requiring the establishment of 
metering and accounting practices designed to delineate between wholesale and retail 
activities raises jurisdictional issues.370  CAISO argues that the Commission should 
permit RTOs/ISOs to develop the rules governing these practices in collaboration with

368 See Minnesota Energy Storage Alliance Comments at 5-6.

369 See AES Companies Comments at 30-31.

370 See CAISO Comments at 20; MISO Comments at 19; PJM Comments at 7,

13-15.

Docket Nos. RM16-23-000 and AD16-20-000	- 196 -

their stakeholders to help prevent cross-jurisdictional disputes.  MISO states that it is 
unclear to what extent MISO’s current tariff and processes can make jurisdictional 
distinctions between wholesale and retail activities and that new rules are therefore 
necessary.

PJM believes that it is important for the Commission, working with the states, to 
provide guidance in the final rule on issues including, but not limited to, the rate 
treatment for energy used to charge behind-the-meter electric storage resources and for 
front-of-the meter electric storage resources that occasionally serve retail load through a 
separate connection to a retail customer and the ability of RTOs/ISOs to develop 
requirements associated with metering, visibility, and dispatchability of distributed 
electric storage resources.  With respect to the issue of how to account for the energy 
used to charge an electric storage resource that is located in front of the retail meter but 
occasionally provides retail services, PJM recommends that the RTO/ISO track what 
energy is used for retail services (i.e., any net load), like RTOs/ISOs do today for station 
power.  With respect to the issue of how to account for energy used to charge a behind-
the-meter electric storage resource, PJM argues that RTOs/ISOs and their stakeholders 
should not be put in the position of resolving purely legal and regulatory issues. 
	Massachusetts State Entities question whether the NOPR appropriately addresses states’ concerns regarding the ability of behind-the-meter storage resources to charge at a wholesale rate and discharge to serve a retail customer to avoid paying a retail rate.371

371 See Massachusetts State Entities Comments at 10.

Docket Nos. RM16-23-000 and AD16-20-000	- 197 -

Massachusetts State Entities and NARUC ask the Commission to clarify the appropriate 
metering and accounting practices that can be used to delineate between wholesale and 
retail uses.372  Massachusetts State Entities argue that the Commission should clarify 
whether an electric storage resource providing both wholesale and retail services must 
have separate metering both upstream and downstream of the resource.  Open Access 
Technology similarly requests that the Commission clarify whether a storage resource in 
charging mode is expected to be separately metered and settled from the load of the 
premises in which it is located.373  Relatedly, Organization of MISO States contends 
that, because state statutes may prohibit retail customers from purchasing energy directly 
from the wholesale market, a distribution-interconnected electric storage resource must 
have a

separate meter to participate in the wholesale market, unless a single meter is explicitly allowed by the relevant electric retail regulatory authority.374

A few commenters emphasize the importance of distribution utilities to the

successful implementation of any metering and accounting practices.375  ISO-NE states 
that it has no way to ensure compliance with a requirement that behind-the-meter sales 
for resale are metered and reported to ISO-NE for settlement without the cooperation of

372 See Massachusetts State Entities Comments at 9-10; NARUC Comments at 7. 373 See Open Access Technology Comments at 2.

374 See Organization of MISO States Comments at 3-4.

375 See ISO-NE Comments at 27; Mensah Comments at 2.

Docket Nos. RM16-23-000 and AD16-20-000	- 198 -

each distribution utility.  Mensah argues that metering and accounting practices should 
be coordinated with the local distribution utility to avoid any duplicate metering 
requirements and to ensure proper accounting is performed based on the collection, 
availability, and sharing of metered data points at different intervals with all parties. 
	Some commenters are concerned that there may not be a feasible or practical way to delineate between wholesale and retail activities, especially when there are multiple 
devices and retail load behind the same meter.376  MISO Transmission Owners argue 
that, when an electric storage resource is located behind a retail customer’s electric 
meter, it may be impractical, prohibitively expensive, or even impossible to distinguish 
between use of the resource (i.e., charging and discharging) and the customer’s other 
electric loads.  FirstLight claims that an RTO/ISO cannot in practice distinguish between 
charging energy that will be used to provide a wholesale service and charging energy 
that will be used to provide a retail service, especially given that an electric storage 
resource may charge at different times and use its capacity to provide different services. 
Avangrid claims that, even if behind-the-meter retail load, distributed energy resources 
(including energy storage), and generation are separately metered, ownership and 
reconciliation of the data to produce results suitable for retail billing and wholesale 
settlement in a timely manner may be impractically complex and likely subject to both 
state and federal regulation.

376 See, e.g., Avangrid Comments at 15; FirstLight Comments at 9-12; MISO Transmission Owners Comments at 15-16; NARUC Comments at 7, n.18; TAPS Comments at 28.

Docket Nos. RM16-23-000 and AD16-20-000	- 199 -

Likewise, TAPS contends that for distribution-interconnected electric storage

resources, even revenue-quality metering, might be insufficient to distinguish between 
the wholesale and retail activities of an electric storage resource behind the same meter 
as distributed generation and/or load.377  TAPS further states that any accounting 
practices would have to track two separate energy level balances, one for wholesale 
activities and one for retail activities.  According to TAPS, in each interval, discharge 
from the retail balance must be limited to the retail customer’s consumption in that 
interval (or perhaps sales to the distribution utility) and discharge from the wholesale 
balance must be reconciled with sales to the RTO.  Given these complexities, TAPS 
recommends that

electric storage resources should not be able to provide services at both wholesale and 
retail.

SoCal Edison asserts that current net metering configurations and accounting

practices cannot separate which generation is used by the customer and which is offered 
for wholesale use and that it is insufficient to have a policy that prevents mixing 
wholesale and retail with instruction to RTOs/ISOs to develop the provisions as 
necessary.378  Pacific Gas & Electric agrees that the needed metering and accounting

377 See TAPS Comments at 31-32.

378 See SoCal Edison Comments at 13.

Docket Nos. RM16-23-000 and AD16-20-000	- 200 -

requirements do not exist today, stating that RTOs/ISOs will have to develop such requirements with their local regulatory authorities.379

According to AES Companies, whether existing metering and accounting practices 
will allow an RTO/ISO to distinguish between wholesale and retail transactions depends 
on the RTO/ISO, the electric storage technology in question, and the state jurisdiction.380 
AES Companies contend that there are often state-mandated accounting procedures that 
involve more than the individual electric storage resource that render it impossible to 
separate parasitic load/charging (station power/state-of-charge management) when 
behind-the-meter and distribution-interconnected electric storage resources are selling 
excess capacity into the wholesale ancillary services markets.  AES Companies add that, 
for older electric storage resources or those that are already in service, the operating 
software may not provide a sufficient level of detail to distinguish between wholesale 
and retail transactions.

In contrast, several commenters suggest that metering and accounting practices can 
be developed to discern between wholesale and retail activities.381  Tesla/SolarCity 
recommend that the Commission specify that behind-the-meter resources participating in 
wholesale markets have appropriate metering that RTOs/ISOs can use for settlement

379 See Pacific Gas & Electric Comments at 13.

380 See AES Companies Comments at 30.

381 See, e.g., Energy Storage Association Comments at 22; Mensah Comments 
at 2; Minnesota Energy Storage Alliance Comments at 5-6; Tesla/SolarCity Comments 
at 19-20.

Docket Nos. RM16-23-000 and AD16-20-000	- 201 -

purpose to distinguish between wholesale energy uses and retail energy uses.

Tesla/SolarCity point to CAISO’s Metering Generation Output for Proxy Demand

Resources as a good example that relies on direct metering and not synthetic baselines to distinguish between wholesale and retail applications for behind-the-meter energy 
storage resources.

CAISO explains its existing metering and accounting practices can distinguish

between wholesale and retail activities.382  CAISO notes that a behind-the-meter

resource participating through its Non-Generator Resource model must separately meter its output and consumption and report that meter data to CAISO for settlement purposes, which is settled at the wholesale rate.  CAISO adds that this meter data can be used to 
adjust the end-use customer meter data to ensure that it reflects only the end-use load.  In contrast, CAISO notes that a behind-the-meter resource participating under CAISO’s 
Proxy Demand Resource model only settles with CAISO for intervals in which it has 
submitted a bid and received a schedule or dispatch instruction to discharge energy to 
reduce load as a demand response resource, such that its energy consumption for 
charging is a portion of the end-use retail load.

ISO-NE argues that the Commission should require individual customers or

resources that are directly settled in the wholesale market either as a load or a generator 
(or both as in the case of electric storage resource) to directly install revenue-quality

382 See CAISO Comments at 20-21.

Docket Nos. RM16-23-000 and AD16-20-000	- 202 -

interval metering; otherwise, it will be unclear what energy the rest of the customers or 
resources in that meter domain (i.e., defined areas of a transmission or distribution 
owner’s network for purposes of load measurement) have consumed.383  For behind-the-
meter resources, ISO-NE argues that submetering must be in place so that the 
distribution utility can report information to ISO-NE for settlement purposes and can 
itself determine net retail consumption for billing purposes.  According to ISO-NE, the 
distribution utility must develop the necessary accounting practices and ensure that the 
appropriate metering is installed, tested, and routinely read to ensure that behind-the-
meter electric storage resources are not charged at both the wholesale and retail rate for 
their charging energy and are not paid at both the wholesale and retail rate for 
discharging.  ISO-NE emphasizes that the Commission should not adopt requirements 
that could result in a material potential for double charging or double paying electric 
storage resources and should acknowledge that affected distribution utilities must have 
the necessary infrastructure, standards, and practices to support wholesale settlements of 
behind-the-meter electric storage resources before it can address these concerns. 
	ISO-NE contends that an alternative approach to direct metering is allowing a 
customer with an electric storage resource or other distributed energy resource to 
participate directly in the wholesale market and be charged or credited at wholesale 
prices for its entire net load as measured from its retail delivery point.  ISO-NE argues 
that the advantage of this approach is that only one meter, located at the customer’s

383 See ISO-NE Comments at 24-27, 29.

Docket Nos. RM16-23-000 and AD16-20-000	- 203 -

delivery point, is needed to measure net consumption; no sub-metering would be

required.  However, ISO-NE notes that, if this approach resulted in greater participation of distributed electric storage resources, it could require advanced metering 
infrastructure and software to manage settlement.

Other commenters state that direct metering is necessary to allow an RTO/ISO to 
distinguish between wholesale and retail services.384  Although perhaps inadequate for 
distribution-interconnected electric storage resources, TAPS contends that revenue-
quality metering will be needed.  Maryland and New Jersey Commissions state that it is 
important to install specialized metering devices and telemetry to distinguish the 
intended uses of energy used to charge a behind-the-meter electric storage resource, 
which will help to ensure that these resources do not receive inappropriate compensation 
or avoid paying retail rates.  PJM Market Monitor recommends that generation and 
storage facilities that seek to buy or sell at wholesale LMP locate in front of the retail 
meter and require them to have their own meters and telemetry that would link them to 
the RTO/ISO.

Some commenters comment on technical aspects of developing metering and

accounting practices to distinguish between wholesale and retail activities.385  IRC and 
ISO-NE contend that rules are needed to address circumstances in which the use of

384 See Maryland and New Jersey Commissions Comments at 4; PJM Market Monitor Comments at 9; TAPS Comments at 30-31.

385 See IRC Comments at 3; ISO-NE Comments at 27; Stem Comments at 10.

Docket Nos. RM16-23-000 and AD16-20-000	- 204 -

stored energy is unclear at the time of charging.  Stem asks the Commission to affirm

that metering and accounting practices established by the RTO/ISO for behind-the-meter electric storage resources that inject energy onto the grid would be for the sole purpose of proper settlement of wholesale sale of energy to electric storage resources without implications for a host customer’s retail bill.

Duke Energy believes that the Commission should encourage RTOs/ISOs to

develop measurement and verification requirements to examine a resource’s

performance against its scheduled output.386  FirstLight suggests that the RTO/ISO may 
be able to correct problems after-the-fact with telemetered state of charge for each 
storage asset location.387  Finally, Minnesota Energy Storage Alliance asks the 
Commission to contemplate the appropriateness of adapting the Uniform System of 
Accounts to handle costs associated with charging electricity used for retail services 
when those resources are also providing wholesale services, which the Commission 
declined to do under a SoCal Edison request for clarification under Order No. 784.388

c.	Commission Determination

Upon consideration of the comments, and to help implement the new requirement in 
section 35.28(g)(9)(ii) of the Commission’s regulations, we require each RTO/ISO to 
implement metering and accounting practices as needed to address the complexities of

386 See Duke Energy Comments at 4.

387 See FirstLight Comments at 12.

388 See Minnesota Energy Storage Alliance Comments at 6.

Docket Nos. RM16-23-000 and AD16-20-000	- 205 -

implementing the requirement that the sale of electric energy from the RTO/ISO markets 
to an electric storage resource that the resource then resells back to those markets be at 
the wholesale LMP.  To help accomplish this, we require each RTO/ISO to directly 
meter electric storage resources, so all the energy entering and exiting the resources is 
measured by that meter.  However, we recognize some electric storage resources (such 
as those located on a distribution system or behind a customer meter) may be subject to 
other metering requirements that could be used in lieu of a direct metering requirement 
by an RTO/ISO.  Therefore, the Commission will consider, in the individual RTO/ISO 
compliance filings, alternative proposals that may not entail direct metering but 
nonetheless address the complexities of implementing the requirement that the sale of 
electric energy from the RTO/ISO markets to a resource using the participation model 
for electric storage resources that the resource then resells back to those markets be at 
the wholesale LMP.

We are not persuaded by commenters who argue that developing metering practices 
that distinguish between wholesale and retail activity is impractically complex.  CAISO 
provides two examples of how it has achieved market rules that accurately account for 
wholesale and retail activities by using direct metering.  Additionally, retail metering 
infrastructure, which is subject to state jurisdiction, may be able to work in concert with 
the RTO/ISO requirements to lower the overall metering costs for electric storage

resources.  Therefore, we provide each RTO/ISO with the flexibility to propose in its 
compliance filing other reasonable metering solutions that may help reduce costs for 
developers.

Docket Nos. RM16-23-000 and AD16-20-000	- 206 -

Developing new accounting practices for electric storage resources in response to 
this requirement will be complex, but we nonetheless find that they are feasible to 
develop.  We recognize that it may be beneficial for each RTO/ISO to coordinate 
accounting requirements in cooperation with the distribution utilities and relevant 
electric retail regulatory authorities in its footprint to help identify workable accounting 
solutions for distribution-interconnected or behind-the-meter electric storage resources to 
participate in the RTO/ISO markets.  While the data obtained from directly metering a 
resource may be adequate to establish the necessary accounting practices, there may also 
be other reasonable approaches to address these concerns depending on local retail 
regulatory requirements, such as allowing the customer to be a direct wholesale market 
participant as suggested by ISO-NE.  We also find that metering and accounting rules 
may need to differ based on whether the resource is located on the transmission system, 
the distribution system, or behind the meter.  These unique considerations underscore the 
need to provide the RTOs/ISOs flexibility to comply with this requirement. 
	We are not persuaded by APPA/NRECA’s and TAPS’ suggestion that electric 
storage resources must choose to participate in either wholesale or retail markets due to 
the complexity of the metering and accounting practices.  It is possible for electric 
storage resources that are selling retail services also to be technically capable of 
providing wholesale services, and it would adversely affect competition in the RTO/ISO 
markets if these technically capable resources were excluded from participation. 
	With respect to Stem’s concerns regarding double payment for the same charging energy, we find that resources using the participation model for electric storage

Docket Nos. RM16-23-000 and AD16-20-000	- 207 -

resources should not be required to pay both the wholesale and retail price for the same charging energy because it would create market inefficiencies due to the double 
payment.  Therefore, we require each RTO/ISO to prevent resources using the 
participation model for electric storage resources from paying twice for the same 
charging energy.  To the extent that the host distribution utility is unable - due to a lack of the necessary metering infrastructure and accounting practices - or unwilling to net out any energy purchases associated with a resource using the participation model for electric storage resources’ wholesale charging activities from the host customer’s retail bill, the RTO/ISO would be prevented from charging that resource using the 
participation model for electric storage resources electric wholesale rates for the 
charging energy for which it is already paying retail rates.

We decline Stem’s request to clarify that metering and accounting practices

established by the RTO/ISO for behind-the-meter electric storage resources that inject

energy onto the grid would be for the sole purpose of proper settlement of wholesale sale 
of energy to electric storage resources without implications for a host customer’s retail 
bill.  We also decline Stem’s request that metering and accounting practices established 
by the RTOs/ISOs be for the sole purpose of proper settlement of wholesale sale of 
energy.  We recognize that each RTO/ISO may need to coordinate these metering and 
accounting practices with the distribution utilities and relevant electric retail regulatory 
authorities.  Therefore, we will not place limitations on the extent to which the hardware 
being used to collect information or the information itself can be shared as this may help

Docket Nos. RM16-23-000 and AD16-20-000	- 208 -

reduce costs for the electric storage resources and burdens on RTOs/ISOs, distribution utilities, or relevant electric retail regulatory authorities.

With respect to Minnesota Energy Storage Alliance’s request to modify the Uniform System of Accounts, we are not persuaded that it is necessary to address costs associated with charging energy used for retail-level services when those resources are also 
participating in the RTO/ISO markets.  Account 555.1 Power Purchased for Storage 
Operations, which was created in Order No. 784,389 already allows for the reporting of power purchased and stored for resale and any services provided by an electric storage resource, whether wholesale or retail, would be considered a resale.390  Accordingly, to the extent that a given electric storage resource subject to the Uniform System of 
Accounts is approved by relevant authorities to provide both retail and wholesale 
services, the cost of the charging energy used for providing both retail and wholesale 
services can already be accommodated by Account 555.1.

I.	Issues Outside the Scope of this Final Rule

1.	Comments

Some commenters raise issues that were not addressed in the NOPR.  Many raised 
issues with respect to compensation or cost recovery under a Policy Statement that the

389 Third-Party Provision of Ancillary Services; Accounting and Financial

Reporting for New Electric Storage Technologies, Order No. 784, FERC Stats. & Regs. 
¶ 31,349 (2013), order on clarification, Order No. 784-A, 146 FERC ¶ 61,114 (2014).

390 See 18 CFR pt. 101.

Docket Nos. RM16-23-000 and AD16-20-000	- 209 -

Commission issued in January 2017.391  Other commenters raised issues with respect to 
expanding the scope of the rule to apply to resources outside of the RTOs/ISOs;392 
whether to revise RTO/ISO interconnection procedures for electric storage resources;393 
price formation or additional services the Commission should require the RTOs/ISOs to 
develop;394 market-based rates;395 co-optimization models;396 how the RTO/ISO dispute 
resolution processes apply to electric storage resources and other new market entrants;397 
whether to incorporate electric storage resources into transmission planning;398 whether 
the RTOs/ISOs should modify their unit commitment or settlement periods399 and other

391 See Utilization of Electric Storage Resources for Multiple Services When

Receiving Cost-Based Rate Recovery, 158 FERC ¶ 61,051 (2017).  See, e.g.,

APPA/NRECA Comments at 4-5; EPSA/PJM Power Providers Comments at 13-16; 10; FirstLight Comments at 1-2, 4-5; Pacific Gas & Electric Comments at 14.

392 See, e.g., AWEA Comments at 6; SEIA Comments at 13-15.

393 See, e.g., AWEA Comments at 8; Organization of MISO States Comments at 2-3; Power Applications Comments at 8.

394 See, e.g., Brookfield Renewable Comments at 2-4; NRG Comments at 19;

NYISO Indicated Transmission Owners Comments at 4-5; Organization of MISO States Comments at 3; Tesla/SolarCity Comments at 8-10.

395 See AWEA Comments at 6.

396 See Mosaic Power Comments at 4. 397 See SEIA Comments at 8-10.

398 See National Hydropower Association Comments at 5-6.

399 See, e.g., AWEA Comments at 7; NextEra Comments at 7-8; Research Scientists Comments, Att. 2 at 280, Att. 12 at 290.

Docket Nos. RM16-23-000 and AD16-20-000	- 210 -

settlement rules;400 RTO/ISO governance issues;401 removing barriers to other types of 
resources;402 varying compensation based on resource characteristics;403 requiring the 
RTOs/ISOs to compensate resources for providing certain non-market services that they 
are not compensated for providing today;404 addressing issues in specific RTO/ISO 
markets;405 modifications to existing energy management systems communications 
infrastructure;406 whether to allow shaping of capacity and energy offers to reflect a 
resource’s capabilities;407 the submission of multiple bid stacks;408 and bids for 
dispatchable load coupled with offers for generation at a later time.409

400 See Guannan He Comments at 1-4.

401 See E4TheFuture Comments, Att. at 2. 402 See AWEA Comments at 4-5.

403 See Energy Storage Association Comments at 19, 27-28.

404 See, e.g., Advanced Energy Economy Comments at 29-31; AES Companies

Comments at 16; National Hydropower Association Comments at 7-8; San Diego Water Comments at 3-4.

405 See Advanced Microgrid Solutions Comments at 11-13; Advanced Rail Energy Storage Comments at 4-7; Advanced Energy Management Comments at 31-33.

406 See Power Applications Comments at 8.

407 See Fluidic Comments at 4-5.

408See California Energy Storage Alliance Comments at 12-13. 409 See Eagle Crest Comments at 6.

Docket Nos. RM16-23-000 and AD16-20-000	- 211 -

Commenters also raise issues related to the reform of existing wholesale services 
to change their technical requirements and product definitions;410 exploring whether the 
RTOs/ISOs are appropriately valuing market services (such as frequency regulation 
service);411 and requiring a reverse demand response or load increase product.412

2.	Commission Determination

We find that the NOPR did not propose reforms related to these issues raised by

commenters.  Therefore, these issues are outside the scope of this proceeding and will

not be addressed here.

V.	Compliance Requirements

A.	NOPR Proposal

In the NOPR, the Commission proposed to require each RTO/ISO to submit a

compliance filing to demonstrate that it satisfies the proposed requirements set forth in 
the Final Rule within six months of the date the Final Rule in this proceeding is 
published in the Federal Register.413  The Commission stated that, while it believed that 
six months would be sufficient for each RTO/ISO to develop and submit its compliance

410 See Alevo Comments at 8-10; Energy Storage Association Comments at 9; NextEra Comments at 6-9; R Street Institute Comments at 5.

411 See, e.g., Brookfield Renewable Comments at 2-4; National Hydropower

Association Comments at 7-8; NYPA Comments at 4-5; San Diego Water Comments at 
3-4.

412 See National Hydropower Association Comments at 11.

Docket Nos. RM16-23-000 and AD16-20-000	- 212 -

filing, it recognized that implementation of the reforms proposed therein could take more 
time due to the changes that may be necessary to each RTO’s/ISO’s modeling and 
dispatch software.  Therefore, the Commission proposed to allow 12 months from the 
date of the compliance filing for implementation of the proposed reforms to become 
effective.

In the NOPR, the Commission sought comment from the RTOs/ISOs on the changes 
that would be required to implement the proposed participation model for electric 
storage resources and the associated costs as well as how those costs could be 
minimized.414  The Commission sought comment on the time and resources that would 
be necessary for the RTOs/ISOs to incorporate these bidding parameters, including the 
optional bidding parameters, into their modeling and dispatch software.415  The 
Commission sought comment on the proposed deadline for each RTO/ISO to submit its 
compliance filing, as well as the proposed deadline for each RTO’s/ISO’s 
implementation of the proposed reforms to become effective.416  Specifically, the 
Commission sought comment on whether the proposed compliance and implementation 
timeline would allow sufficient time for each RTO/ISO to implement changes to its 
technological systems and business processes in response to a Final Rule.  The 
Commission also sought comment on whether the RTOs/ISOs would require more or

414 See NOPR, FERC Stats. & Regs. ¶ 32,718 at P 32.

415 See id. P 71.

416 See id. P 160.

Docket Nos. RM16-23-000 and AD16-20-000	- 213 -

less time to implement certain reforms versus others.

The Commission stated that, to the extent that any RTO/ISO believes that it already complies with any of the requirements adopted in a Final Rule in this proceeding, the 
RTO/ISO would be required to demonstrate how it complies in the filing due within 
six months of the date any Final Rule in this proceeding is published in the Federal 
Register.417  The Commission also stated that the proposed implementation deadline 
would apply only to the extent that an RTO/ISO does not already comply with the 
reforms proposed in this NOPR.

B.	Comments

A few commenters support the timeline proposed in the NOPR.418  For example, 
Energy Storage Association and NRG support the Commission’s proposed 
implementation timeline.  Public Interest Organizations also support finalizing the 
proposed rules as scheduled but adds that, if more time is needed, the Commission 
should allow the RTOs/ISOs more time to develop their compliance filings. 
	Other commenters, such as the RTOs/ISOs, generally express concerns about the feasibility of the Commission’s proposed timelines.419  NYISO argues that the proposed

417 See id. P 161.

418 See Energy Storage Association Comments at 26-27; NRG Comments at 21-22; Public Interest Organizations Comments at n.14

419 ISO-NE Comments at 21; MISO Comments at 10; NYISO Comments at 21; 
PJM Comments at 17 (citing PJM Interconnection, L.L.C., Order No. 825 Compliance 
Filing, Docket No. ER17-775-000, at 2 (Jan. 11, 2017)); SPP Comments at 5.  PJM states

Docket Nos. RM16-23-000 and AD16-20-000	- 214 -

filing deadline of six months after a final rule and another six months for implementation 
do not appear to be feasible.  Based on the comprehensive review of electric storage 
resource participation that NYISO is conducting in its own region, it asserts that the 
compliance deadline should not be before the end of 2018 and implementation should 
not be required until the end of 2021.  MISO requests that the Commission give it time 
to understand the system impacts of various integration options, noting, for example, that 
changing the minimum size to 100 kW could tax systems beyond current capabilities. 
SPP points out that the proposed participation model for electric storage resources will 
require extensive changes to software, the tariff, and market protocols. 
	PJM and ISO-NE state that the timeline depends upon the magnitude of the required changes.  PJM states that it can implement the necessary system changes in 
approximately 12 months at a cost of under $1 million if (1) the final rule is limited to 
changes in PJM’s real-time energy market and to offers to sell energy and (2) if PJM 
does not need to manage electric storage resources’ state of charge.  However, PJM 
asserts that, if more extensive system changes are necessary to comply, the cost could be 
significantly higher and will likely take more time to implement.  PJM also states that, 
given the timing of PJM’s upcoming implementations of 5-minute settlements and 
hourly offers, it could not realistically begin working on the necessary system changes 
until at least early 2018.  ISO-NE states that the changes contemplated in the NOPR are

that it will propose an effective date for implementing hourly offers by March 6, 2017, which it expects to be sometime around November 1, 2017.  PJM Comments at n.23 (citing PJM Interconnection, L.L.C., 158 FERC ¶ 61,133, at P 126 (2017)).

Docket Nos. RM16-23-000 and AD16-20-000	- 215 -

substantial but that the time and resources needed to comply with the final rule depend 
on the specific final provisions.  ISO-NE argues that, if the Commission accepts ISO-
NE’s suggestions to (1) only require implementation of state of charge in real time as an 
information communication requirement (for example, via telemetered information),

(2) not require implementation of the proposed voluntary bidding parameters, and

(3) require participants to manage their own bidding parameters (except when reliability 
needs dictate otherwise), then the implementation effort will be substantially shorter and 
easier.

Some commenters also point out that, in order to comply with the rule, the

RTOs/ISOs will need to change more than just their market rules.  For example, AES

Companies, Energy Storage Association, and EPRI note that the RTOs/ISOs will need to make changes to their software.420  AES Companies also note that RTOs/ISOs will have to adjust their business practice manuals to comply.

Multiple commenters argue that the Commission should take a phased approach to 
its proposed compliance and implementation timelines.421  For example, NextEra 
suggests that the Commission finalize proposed reforms related to both the electric 
storage resource and distributed energy resource aggregation resources, while extending 
the distributed energy resource aggregation requirements to allow further time to work

420 AES Companies Comments at 5, 14-15; Energy Storage Association Comments at n.8, 26-27; EPRI Comments 2-3.

421 See FirstLight Comments at 14; MISO Comments at 11; NextEra Comments

at 4-6.

Docket Nos. RM16-23-000 and AD16-20-000	- 216 -

through issues.  NextEra states that the Commission could stage compliance deadlines 
with electric storage resource tariff revisions being submitted within six months of a 
final rule and aggregation tariff revisions being due 12 months after a final rule. 
NextEra asserts that, if the Commission determines additional consideration needs to be 
given to the aggregation-related issues, the Commission should finalize the storage 
related revisions now.

MISO suggests that the Commission allow RTOs/ISOs to integrate electric storage 
resources using a phased approach.  MISO explains that electric storage resources can be 
accommodated in the short term through the RTO’s/ISO’s existing system or with 
relatively manageable modifications but argues that, in the long-term, the further 
integration of electric storage resources should be pursued through joint study of an 
RTO’s/ISO’s market design and system enhancements.  FirstLight also argues that, 
because the proposal includes changes to RTO/ISO bidding, dispatch, pricing and 
settlement software, the Commission should allow each RTO/ISO to address the phasing 
of market development and implementation efforts related to any final rule. 
	Several other commenters argue that the Commission should allow the RTOs/ISOs to develop their own implementation schedules.422  CAISO, IRC, NYISO Indicated 
Transmission Owners, and PJM argue that the Commission should permit each affected 
RTO/ISO to propose an implementation schedule for various aspects of the final rule.

422 See CAISO Comments at 53; IRC Comments at 11-12; NYISO Indicated Transmission Owners Comments at 20; PJM Comments at 30.

Docket Nos. RM16-23-000 and AD16-20-000	- 217 -

CAISO states that it does not oppose the Commission setting a compliance and

implementation timeframe but suggests that a better approach would be to direct the 
RTO/ISOs to establish independent timelines in their compliance filings.  PJM states 
that allowing RTOs/ISOs to propose implementation schedules is preferable to the 
Commission setting firm deadlines that may lead to requests for waivers.  IRC 
recommends that the final rule should require each RTO/ISO to file an implementation plan and schedule with the Commission within 180 days.  IRC states that the 
implementation plan and schedule should be subject to notice and comment and not 
necessarily limited to 12 months.

NYISO Indicated Transmission Owners state that the Commission should not set 
unrealistic goals for the participation of distributed energy resource aggregations in 
wholesale markets before the grid has the needed technological capabilities.423 
Therefore, NYISO Indicated Transmission Owners oppose the Commission’s proposal 
to make the compliance filing due in six months with full implementation 12 months 
thereafter.  Instead, NYISO Indicated Transmission Owners request that each RTO/ISO 
be allowed to utilize the stakeholder process to establish a timeline for implementation. 
	Xcel Energy Services also expresses concerns that the implementation timeline is too aggressive, stating that that Commission should further evaluate whether the 
technological capability exists to fully implement the NOPR requirements and, if not,

423 See NYISO Indicated Transmission Owners Comments at 20.

Docket Nos. RM16-23-000 and AD16-20-000	- 218 -

what timeline is needed to ensure that such functionality can be developed.424  Xcel

Energy Services contends that the requirements of the NOPR and the implementation

timeline must be tailored to fit within achievable technological capabilities.  Xcel Energy Services states that the RTOs/ISOs and their stakeholders should be permitted to propose alternate implementation timelines that allow higher priority regional projects to move forward before the software updates needed under the NOPR.

In contrast to other commenters, Advanced Microgrid Solutions argues that the

proposed compliance and implementation timeline will take 18 months and therefore not promptly end unduly discriminatory rules and practices and will impose on-going 
burdens on the storage industry.425  Advanced Microgrid Solutions argues that 
compliance plans should be filed within 90 days and specify the earliest possible 
implementation date for each compliance action.

Multiple entities discuss the proposed bidding parameters, including state of charge, 
in relation to the proposed timeline for compliance.426  MISO states that managing state 
of charge would require costly investments and upgrades, noting that in some cases it 
may not be technically feasible for large volumes of electric storage resources.  CAISO 
states that it will require at least 24 months to design and incorporate bidding parameters

424 See Xcel Energy Services Comments at 16-17.

425 See Advanced Microgrid Solutions Comments at 13.

426 See AES Companies Comments at 23; CAISO Comments at 12; EPRI 
Comments at 12; MISO Comments at 10; Tesla/SolarCity Comments at 15.

Docket Nos. RM16-23-000 and AD16-20-000	- 219 -

that account for all physical operating parameters (such as state of charge) into its

modeling and dispatch software, which would require stakeholder discussions, market 
design work, and implementation testing.  CAISO further explains that this directive 
would be inconsistent with how CAISO models other resources in its markets and asks 
that the Commission direct RTOs/ISOs to account for the physical operating constraints 
of resource in their market modeling and dispatch software and require them to explain 
how they do so.

AES Companies similarly explain that time, resources, and capital costs can be 
minimized if all energy storage resources managed their own state of charge.  EPRI 
notes that, assuming that the Commission does not require the RTOs/ISOs to manage 
state-of-charge of electric storage resources (which some already do), there would only 
be minimal changes to the bidding interface, market clearing, or settlement software. 
EPRI states that the large change absent RTOs/ISOs having to manage state of charge 
will be allowing electric storage resources to offer as an injector and withdrawer of 
energy in the same market interval but for the market clearing software to only allow 
acceptance of one or the other.  Tesla/SolarCity state that bidding parameters should 
reflect storage resources state of charge and be included in the unit commitment and 
economic dispatch optimization algorithms of each RTO/ISO.  Tesla/SolarCity believe 
that storage resources should manage their own state of charge or have the choice 
between relying on RTO/ISO estimates or self-managing.  In contrast to other 
commenters, Tesla/SolarCity assert that the time and resources necessary to incorporate

Docket Nos. RM16-23-000 and AD16-20-000	- 220 -

these bidding parameters into the dispatch software should be minimal and are justified given the increased efficiency of markets and operations.

NEPOOL raises regional issues.427  NEPOOL encourages the Commission to ensure that any final rule includes sufficient flexibility to allow the region to implement the requirements while also achieving the other regional priorities in ISO-NE’s Work Plan for 2017-2018.  Specifically, NEPOOL urges that the final rule take into account market rules that are currently being implemented in the region to eliminate barriers to the entry of electric storage resources into wholesale markets.

C.	Commission Determination

Upon consideration of the comments, we find that it is reasonable to provide the 
RTOs/ISOs additional time to submit their proposed tariff revisions in response to the 
Final Rule, given that the changes could require significant work on the part of the 
RTOs/ISOs.  We find that shorter timeframes proposed by commenters such as 
Advanced Microgrid Solutions would not provide the RTO/ISOs with sufficient time to 
implement the required reforms.  Taking into account that the Commission is not 
implementing the distributed energy resource aggregation reforms at this time, we 
require each RTO/ISO to file the tariff changes needed to implement the requirements of 
this Final Rule within  270 days of the publication date of this Final Rule in the Federal

427 See NEPOOL Comments at 5.

Docket Nos. RM16-23-000 and AD16-20-000	- 221 -

Register.  We will continue to allow each RTO/ISO a further 365 days from that date to implement the tariff provisions.

We find that, given the modifications and clarifications to the NOPR we make in 
this Final Rule and the record in this proceeding in support of the reforms we finalize 
here, our implementation schedule is reasonable.  Commenters highlight that managing 
state of charge will complicate or delay implementation, and we note that we are not 
requiring the RTOs/ISOs to manage state of charge.  Further, some commenters also 
provide feedback on the implementation of the entire NOPR and indicate that

implementing only the storage components would expedite compliance and

implementation.  We are not establishing any requirements for distributed energy

resource aggregations as part of this Final Rule.  Given the additional time we are

providing for each RTO/ISO to file proposed tariff revisions to comply with this Final 
Rule, we believe that the compliance and implementation schedule that we establish in 
this Final Rule is appropriate.  As a consequence, we are not persuaded that more than 
365 days after the RTOs/ISOs are required to submit their proposed tariff revisions will 
be necessary to implement the reforms in this Final Rule; therefore, we decline to adopt 
commenters’ other proposed recommendations, such as allowing the RTO/ISOs to

develop their own implementation schedules.  We disagree with Xcel Energy Services’ argument that the Commission needs to further evaluate whether the technological 
capability exists to fully implement the NOPR requirements, especially as we are not 
finalizing in this Final Rule the distributed energy resource aggregation reforms 
proposed in the NOPR.

Docket Nos. RM16-23-000 and AD16-20-000	- 222 -

Additionally, we note that many of the RTOs/ISOs already have rules in place to

enable the participation of electric storage resources in their markets.  To the extent that 
an RTO/ISO proposes to comply with certain requirements of this Final Rule using 
existing market rules, it must demonstrate on compliance how its existing market rules 
meet the requirements of this Final Rule.  We expect that the additional time that we are 
providing for the RTOs/ISOs to make their compliance filings, along with the ability of 
the RTOs/ISOs to use existing tariff provisions to demonstrate compliance with aspects 
of the Final Rule, will mean that the RTOs/ISOs can meet the deadlines that we are 
establishing here.  Finally, we also note that, throughout this Final Rule, we are allowing 
regional flexibility to the extent possible.  We believe that this flexibility will assist the 
RTOs/ISOs in meeting the compliance and implementation deadlines.

VI.  Information Collection Statement

The collection of information contained in this Final Rule is being submitted to the 
Office of Management and Budget (OMB) for review under section 3507(d) of the 
Paperwork Reduction Act of 1995.428  OMB’s regulations,429 in turn, require approval of 
certain information collection requirements imposed by agency rules.  Upon approval of 
a collection(s) of information, OMB will assign an OMB control number and an 
expiration date.  Respondents subject to the filing requirements of a rule will not be 
penalized for failing to respond to the collection of information unless the collection of

428 See 44 U.S.C. § 3507(d).

429 5 CFR § 1320.

Docket Nos. RM16-23-000 and AD16-20-000	- 223 -

information displays a valid OMB control number.

Public Reporting Burden:  In this Final Rule, we are not adopting any of the proposed

reforms in the NOPR related to distributed energy resource aggregations and are

modifying some of the requirements related to the participation model for electric storage resources.  Thus, we are revising the estimated public reporting burden and cost from the NOPR430 based on these changes.  The estimated burden and cost for the requirements contained in this Final Rule follow.

430 The burden estimates for the NOPR in Docket No. RM16-23-000 were

submitted to OMB under FERC-516 (OMB Control No. 1902-0096, in ICR 201611-
1902-005).  There is another unrelated item affecting FERC-516 which will also be pending OMB review.  Because only one item per OMB Control No. can be pending OMB review at a time, the reporting requirements in this Final Rule in RM16-23-000 will be submitted to OMB under a new collection number, FERC-516H.

Docket Nos. RM16-23-000 and AD16-20-000	- 224 -

FERC-516H, as implemented in the Final Rule in Docket No. RM16-23-000 431

Number of 
Respondents

(1)

One-Time

Tariff	6433

Filing432

Annual 
Number 
of

Response

s per	Total

Responde	Number of

nt	Responses

(2)	(1)×(2)=(3)

1	6

Average 
Burden

(Hours) & 
Cost Per 
Response

(4)

1,500 hrs; 
$115,500

Total

Annual 
Burden 
Hours & 
Total

Annual 
Cost

(3)×(4)=(5 
	)

9,000 hrs; 
$693,000

Cost per 
Responden 
t

($)

(5)÷(1)

$115,500

Title:  FERC-516H, Electric Rate Schedules and Tariff Filings (in Final Rule in Docket

431 The estimated hourly cost (salary plus benefits) provided in this section is

based on the salary figures for May 2016 posted by the Bureau of Labor Statistics (BLS) 
for the Utilities sector (at http://www.bls.gov/oes/current/naics2_22.htm) and benefits 
information for September 2017 (issued 12/15/2017, at

https://www.bls.gov/news.release/ecec.nr0.htm).  The hourly estimates for salary plus 
benefits are: (a) Legal (code 23-0000), $143.68; (b) Computer and mathematical (code 
15-0000), $60.70; (c) Computer and information systems manager (code 11-3021), 
$100.68; (d) Information security analyst (code 15-1122), $66.34; (e) Auditing and 
accounting (code 13-2011), $53.00; (f) Information and record clerk (code 43-4199), 
$39.14; (g) Electrical Engineer (code 17-2071), $68.12; (h) Economist (code 19-3011), 
$77.96; and (i) Management (code 11-0000), $81.52.  The average hourly cost (salary 
plus benefits), weighting all of these skill sets evenly, is $76.79.  The Commission rounds 
it to $77 per hour.

432 The one-time tariff filing is due within 270 days of the publication date of the Final Rule in the Federal Register.

433 Respondent entities are either RTOs or ISOs.

Docket Nos. RM16-23-000 and AD16-20-000	- 225 -

Nos. RM16-23-000 and AD16-20-000). 
Action:  Proposed information collection. 
OMB Control No.:  To be determined.

Respondents for this Rulemaking:  RTOs and ISOs. Frequency of Information:  One-time.

Necessity of Information:  The Commission implements this Final Rule to eliminate barriers to electric storage resource participation in the RTO/ISO markets.

Internal Review:  The Commission has reviewed the changes and has determined that such changes are necessary.  These requirements conform to the Commission’s need for efficient information collection, communication, and management within the energy industry.  The Commission has specific, objective support for the burden estimates 
associated with the information collection requirements.

Interested persons may obtain information on the reporting requirements by

contacting the following:  Federal Energy Regulatory Commission, 888 First Street, NE, Washington, DC  20426 [Attention:  Ellen Brown, Office of the Executive Director] E-mail: DataClearance@ferc.gov; Phone: (202) 502-8663; fax: (202) 273-0873. 
	Comments concerning the collection of information and the associated burden 
estimate(s) may also be sent to:  Office of Information and Regulatory Affairs, Office of Management and Budget, 725 17th Street, NW, Washington, DC  20503 [Attention: Desk Officer for the Federal Energy Regulatory Commission].

Docket Nos. RM16-23-000 and AD16-20-000	- 226 -

Due to security concerns, comments should be sent electronically to the following e-mail address:  oira_submission@omb.eop.gov.  Comments submitted to OMB should refer to FERC-516H and OMB Control No. To be determined.

VII. Environmental Analysis

The Commission is required to prepare an Environmental Assessment or an

Environmental Impact Statement for any action that may have a significant adverse

effect on the human environment.434  We conclude that neither an Environmental

Assessment nor an Environmental Impact Statement is required for this Final Rule under 
section 380.4(a)(15) of the Commission’s regulations, which provides a categorical 
exemption for approval of actions under sections 205 and 206 of the FPA relating to the 
filing of schedules containing all rates and charges for the transmission or sale of electric 
energy subject to the Commission’s jurisdiction, plus the classification, practices, 
contracts and regulations that affect rates, charges, classifications, and services.435

VIII. Regulatory Flexibility Act Certification

The Regulatory Flexibility Act of 1980 (RFA)436 generally requires a description 
and analysis of rules that will have a significant economic impact on a substantial

434 Regulations Implementing the National Environmental Policy Act of 1969, 
Order No. 486, 52 Fed. Reg. 47,897 (Dec. 17, 1987), FERC Stats. & Regs., ¶ 30,783 
(1987).

435 18 CFR § 380.4(a)(15). 
436 5 U.S.C. §§ 601-12.

Docket Nos. RM16-23-000 and AD16-20-000	- 227 -

number of small entities.  The RFA mandates consideration of regulatory alternatives 
that accomplish the stated objectives of a rule and that minimize any significant 
economic impact on a substantial number of small entities.  The Small Business 
Administration’s (SBA) Office of Size Standards develops the numerical definition of a 
small business.437  The small business size standards are provided in 13 CFR 121.201. 
	Under the SBA classification, the six RTOs/ISOs would be considered electric bulk power transmission and control, for which the small business size threshold is 500 or fewer employees.438  Because each RTO/ISO has more than 500 employees, none are considered small entities.

Furthermore, because of their pivotal roles in wholesale electric power markets in their regions, none of the RTOs/ISOs meet the last criterion of the two-part RFA 
definition of a small entity: “not dominant in its field of operation.” 439

The estimated cost related to this Final Rule includes:  (a) preparing and making a one-time tariff filing ($115,500 per entity, as detailed in the Information Collection

437 13 CFR §121.101.

438 13 CFR § 121.201 (Sector 22, Utilities).

439 The RFA definition of “small entity” refers to the definition provided in the 
Small Business Act, which defines a “small business concern” as a business that is 
independently owned and operated and that is not dominant in its field of operation.  The 
Small Business Administration’s regulations at 13 CFR § 121.201 define the threshold 
for a small Electric Bulk Power Transmission and Control entity (NAICS code 221121) 
to be 500 employees.  See 5 U.S.C. § 601(3) (citing to section 3 of the Small Business 
Act, 15 U.S.C. § 632).

Docket Nos. RM16-23-000 and AD16-20-000	- 228 -

section above), and (b) updating the economic dispatch software.  Revisions to the 
economic dispatch software are due to be implemented within 365 days after the due 
date of the tariff filing.  We estimate the one-time software work will take 1,500 hours 
with an approximate cost of $114,000 per entity.440  Therefore the total estimated one-
time cost for the tariff filing and software work is $229,500 per entity (or $115,500 + 
$114,000); the total estimated one-time industry cost is $1,377,000. 
	As a result, we certify that the reforms required by this Final Rule would not have a significant economic impact on a substantial number of small entities, and therefore no regulatory flexibility analysis is required.

IX.    Document Availability

In addition to publishing the full text of this document in the Federal Register, the 
Commission provides all interested persons an opportunity to view and/or print the 
contents of this document via the Internet through the Commission’s Home Page 
(http://www.ferc.gov) and in the Commission’s Public Reference Room during normal

440Based on the BLS data, the hourly estimates (for wages plus benefits) related 
to updating the software are: (a) Computer and mathematical (code 15-0000), $60.70;

(b) Computer and information systems manager (code 11-3021), $100.68; (c)Information 
security analyst (code 15-1122), $66.34; (d) Electrical Engineer (code 17-2071), $68.12;

(e) Economist (code 19-3011), $77.96; and (f) Management (code 11-0000), $81.52.  We estimate these skill sets are equally involved in updating the software.  The hourly 
average is $75.89, so we will round to $76 per hour.

We estimate a total of 1,500 hours per entity to develop and implement 
the software changes, so the related cost is estimated to be $114,000 per entity 
($76/hour X 1,500 hours).  The one-time industry-wide cost is $684,000.

Docket Nos. RM16-23-000 and AD16-20-000	- 229 -

business hours (8:30 a.m. to 5:00 p.m. Eastern time) at 888 First Street, NE, Room 2A, Washington, DC  20426.

From the Commission’s Home Page on the Internet, this information is available on eLibrary.  The full text of this document is available on eLibrary in PDF and Microsoft Word format for viewing, printing, and/or downloading.  To access this document in eLibrary, type the docket number of this document, excluding the last 
three digits, in the docket number field.

User assistance is available for eLibrary and the Commission’s website during

normal business hours from the Commission’s Online Support at (202) 502-6652 (toll

free at 1-866-208-3676) or email at ferconlinesupport@ferc.gov, or the Public Reference Room at (202) 502-8371, TTY (202) 502-8659.  E-mail the Public Reference Room at public.referenceroom@ferc.gov.

X.   Effective Date and Congressional Notification

This Final Rule will become effective on [INSERT DATE 90 DAYS AFTER

DATE OF PUBLICATION IN THE FEDERAL REGISTER].  The Commission has 
determined, with the concurrence of the Administrator of the Office of Information and 
Regulatory Affairs, Office of Management and Budget, that this rule is not a “major 
rule” as defined in section 351 of the Small Business Regulatory Enforcement Fairness

Docket Nos. RM16-23-000 and AD16-20-000	- 230 -

Act of 1996.  This Final Rule is being submitted to the Senate, House, and Government Accountability Office.

List of subjects in 18 CFR Part 35: Electric power rates

Electric utilities

By the Commission. ( S E A L )

Nathaniel J. Davis, Sr., 
	Deputy Secretary.

Docket Nos. RM16-23-000 and AD16-20-000	- 231 -

XI.  Regulatory Text

In consideration of the foregoing, the Commission amends Part 35 Chapter 1, Title 18 of the Code of Federal Regulations as follows:

PART 35 - FILING OF RATE SCHEDULES AND TARIFFS

1. 	The authority citation for Part 35 continues to read as follows:

AUTHORITY:  16 U.S.C. 791a-825r, 2601-2645; 31 U.S.C. 9701; 42 U.S.C. 7101-7352. 2. Amend § 35.28(b) as follows, by adding new paragraph (9).

§ 35.28 (b) Definitions

**

(9) Electric storage resource as used in this section means a resource capable of

receiving electric energy from the grid and storing it for later injection of electric energy back to the grid.

Amend § 35.28(g) as follows, by adding new paragraph (9)(i)(a-d), (ii).

§ 35.28

(g) Tariffs and operations of the Commission-approved independent system operators and regional transmission organizations.

**

(9) Electric Storage Resources.

(i) Each Commission-approved independent system operator and regional transmission organization must have tariff provisions providing a participation model for electric storage resources that

a.  Ensures that a resource using the participation model for electric storage resources 
	in an independent system operator or regional transmission organization market is 
	eligible to provide all capacity, energy, and ancillary services that it is technically 
	capable of providing;

b.  Ensures that a resource using the participation model for electric storage resources 
	can be dispatched and can set the wholesale market clearing price as both a 
	wholesale seller and wholesale buyer consistent with rules that govern the 
	conditions under which a resource can set the wholesale price;

Docket Nos. RM16-23-000 and AD16-20-000	- 232 -

c.  Accounts for the physical and operational characteristics of electric storage 
	resources through bidding parameters or other means; and

d.  Establishes a minimum size requirement for resources using the participation 
	model for electric storage resources that does not exceed 100 kW. 
 (ii) The sale of electric energy from an independent system operator or regional 
transmission organization market to an electric storage resource that the resource then 
resells back to that market must be at the wholesale locational marginal price.

NOTE: The following appendix will not be published in the Code of Federal Regulations.

XII. Appendix A:  Abbreviated Names of Commenters

The following table contains the abbreviated names of the commenters that are used in this Final Rule.

Abbreviation

Advanced Energy Economy 
Advanced Energy Management Advanced Microgrid Solutions Advanced Rail Energy Storage AES Companies

Alevo

Altametric

Amanda Drabek

American Petroleum Institute APPA/NRECA

Avangrid AWEA

Beacon Power

Benjamin Kingston Bonneville

Brookfield Renewable CAISO

California Commission

California Energy Storage Alliance California Municipals

Center for Biological Diversity City of New York

Connecticut State Entities

Commenter (Full Name)

Advanced Energy Economy

Advanced Energy Management Alliance Advanced Microgrid Solutions, Inc.

Advanced Rail Energy Storage, LLC AES Companies

Alevo USA Inc. 
Altametric LLC

Amanda Drabek, Pantsuit Nation of East Texas

American Petroleum Institute

American Public Power Association and National Rural Electric Cooperative

Association

AVANGRID, Inc.

American Wind Energy Association Beacon Power, LLC

Benjamin D. Kingston

Bonneville Power Administration Brookfield Renewable

California Independent System Operator Corporation

Public Utilities Commission of the State of California

California Energy Storage Alliance California Municipal Utilities Association (incorporated by reference

APPA/NRECA’s comments) Center for Biological Diversity City of New York

Bureau of Energy and Technology Policy of the Connecticut Department of Energy and Environmental Protection and the

Connecticut Public Utilities Regulatory

Docket No.

Abbreviation

Delaware Commission DER/Storage Developers Dominion

DTE Electric/Consumers Energy Duke Energy

E4TheFuture 
Eagle Crest 
EEI

Efficient Holdings ELCON

Electric Vehicle R&D Group 
Energy Storage Association 
EPRI

EPSA/PJM Power Providers

Exelon

FirstLight Fluidic

Fresh Energy/Sierra Club/Union of Concerned Scientists

Genbright 
GridWise

Guannan He

Harvard Environmental Policy Institute

Imperial Irrigation District 
Independent Energy Producers Association

Institute for Policy Integrity IPKeys/Motorola

IRC

ISO-NE 
Kathy Seal

- 2 -

Commenter (Full Name)

Authority (incorporate by reference NESCOE comments)

Delaware Public Service Commission DER and Storage Developers

Dominion Resources Services, Inc. (supports EEI’s comments)

DTE Electric Company and Consumers Energy Company

Duke Energy Corporation (supports EEI’s comments)

E4TheFuture

Eagle Crest Energy Company Edison Electric Institute

Efficient Holdings, LLC

Electricity Consumers Resource Council EV R&D Group, University of Delaware Energy Storage Association

Electric Power Research Institute Electric Power Supply Association and PJM Power Providers Group

Exelon Corporation

FirstLight Power Resources, Inc. Fluidic Energy

Fresh Energy, the Sierra Club, and the Union of Concerned Scientists

Genbright LLC

GridWise Alliance (supports some of Advanced Energy Economy’s and EEI’s comments)

Guannan He

Harvard Environmental Policy Institute

Imperial Irrigation District 
Independent Energy Producers Association

Institute for Policy Integrity 
IPKeys Technologies and Motorola Solutions

ISO-RTO Council 
ISO New England Inc. Kathy Seal

Docket No.

Abbreviation Liza White

Lyla Fadali Magnum

Maryland and New Jersey Commissions

Massachusetts State Entities

Massachusetts Municipal Electric

Matthew d’Alessio Mensah

Microgrid Resources Coalition 
Minnesota Energy Storage Alliance 
MISO

MISO Transmission Owners Mosaic Power

NARUC

National Hydropower Association NEPOOL

NERC

NESCOE

New York State Entities

New York Utility Intervention Unit

NextEra NRG

NYISO 
NYISO Indicated Transmission Owners

- 3 -

Commenter (Full Name)

Liza C White Lyla Fadali

Magnum CAES, LLC (supports some of APPA/NRECA’s and National

Hydropower Association’s comments) 
Maryland Public Service Commission and New Jersey Board of Public Utilities 
Massachusetts Department of Public 
Utilities and Massachusetts Department of Energy Resources

Massachusetts Municipal Wholesale Electric Company

Matthew d’Alessio AF Mensah Inc.

Microgrid Resources Coalition 
Minnesota Energy Storage Alliance Midcontinent Independent System Operator, Inc.

MISO Transmission Owners Mosaic Power, LLC

National Association of Regulatory Utility Commissioners

National Hydropower Association New England Power Pool

North American Electric Reliability Corporation

New England States Committee on Electricity

New York Public Service Commission and New York State Energy Research and Development Authority

Utility Intervention Unit of the New York State Department of State

NextEra Energy Resources, LLC NRG Energy, Inc.

New York Independent System Operator, 
Inc.

Central Hudson Gas & Electric 
Corporation, Consolidated Edison

Company of New York, Inc., National 
Grid, New York Power Authority, Orange

Docket No.

Abbreviation

NYPA

Ohio Commission

Open Access Technology

OpenADR

Organization of MISO States Pacific Gas & Electric

PJM

PJM Market Monitor Power Applications

Protect Sudbury

Public Interest Organizations R Street Institute

Research Scientists

Robert Borlick 
San Diego Water 
Schulte Associates 
SEIA

Silicon Valley Leadership Group Six Cities

SoCal Edison 
SPP

Starwood Energy Stem

Sunrun 
TAPS

TechNet TeMix

Tesla/SolarCity Trans Bay

Union of Concerned Scientists US Senators

- 4 -

Commenter (Full Name)

and Rockland Utilities, Inc., and Power Supply Long Island

New York Power Authority 
Public Utilities Commission of Ohio 
Open Access Technology International, 
Inc.

OpenADR Alliance

Organization of MISO States 
Pacific Gas and Electric Company 
PJM Interconnection, L.L.C. 
Monitoring Analytics, LLC 
Power Applications and Research 
Systems, Inc.

Protect Sudbury

Public Interest Organizations R Street Institute

Drs. Audun Botterud, Apurba Sakti, and Francis O’Sullivan

Robert L. Borlick

San Diego County Water Authority Schulte Associates LLC

Solar Energy Industries Association 
Silicon Valley Leadership Group 
Cities of Anaheim, Azusa, Banning, 
Colton, Pasadena, and Riverside, 
California

Southern California Edison Company Southwest Power Pool, Inc.

Starwood Energy Group Global, L.L.C. Stem, Inc.

Sunrun Inc.

Transmission Access Policy Study Group TechNet

TeMix Inc.

Tesla, Inc. and SolarCity Corporation Trans Bay Cable LLC

Union of Concerned Scientists

Senator Cory A. Booker, Senator Edward

J. Markey, Senator Bernard Sanders, Senator Elizabeth Warren, Senator

Sheldon Whitehouse, and Senator Ron

Docket No.	- 5 -

Abbreviation	Commenter (Full Name)

Wyden

Xcel Energy Services	Xcel Energy Services Inc.