FEDERAL ENERGY REGULATORY COMMISSION 
	WASHINGTON, D.C. 20426

OFFICE OF ENERGY MARKET REGULATION

New York Independent System

Operator, Inc.

Docket No. ER18-1668-000

Issued:  7/13/18

New York Independent System Operator, Inc.

10 Krey Boulevard

Rensselaer, NY 12144

Attention:	Gloria Kavanah

Senior Attorney

Reference:    External to Rest of State Deliverability Rights Dear Mr. Sweeney:

On May 22, 2018, New York Independent System Operator, Inc. (NYISO), filed 
proposed revisions to its Open Access Transmission Tariff (OATT) and Market 
Administration and Control Area Services Tariff (Services Tariff).1  NYISO states that 
the proposed revisions will allow entities that fund transmission upgrades on External 
Interfaces sinking into the Rest of State (ROS) region to receive Capacity Resource 
Interconnection Service (CRIS) commensurate with the incremental transfer capability 
created by the transmission upgrade if determined to be deliverable under applicable 
procedures.  NYISO also proposes “External-to-ROS Deliverability Rights” (EDRs), by 
which such CRIS can be utilized to import capacity from external resources, and include 
associated qualification requirements, interconnection procedures, and market rules.

1 New York Independent System Operator, Inc., NYISO Tariffs, NYISO OATT,

25.1 OATT Att S Introduction, 8.0.0, NYISO OATT, 25.3 OATT Att S Deliverability 
Interconnection Standard, 4.0.0, NYISO OATT, 25.6 OATT Att S Cost Allocation 
Methodology For ERIS, 7.0.0, NYISO OATT, 25.7 OATT Att S Cost Allocation 
Methodology for CRIS, 9.0.0, NYISO OATT, 25.8 OATT Att S Project Cost Allocation 
Decisions, 7.0.0, NYISO OATT, 30.14 OATT Att X Appendices, 15.0.0, NYISO MST,

2.5 MST Definitions - E, 16.0.0, NYISO MST, 5.12 MST Requirements Applicable to Installed Capacity Suppl, 21.0.0.

Docket No. ER18-1668-000	- 2 -

Pursuant to the authority delegated to the Director, Division of Electric Power Regulation - East, under 18 C.F.R. §375.307, your submittal is accepted for filing, effective July 22, 2018, as requested.

The filing was noticed on May 23, 2018, with comments, interventions, and

protests due on or before June 12, 2018.  Pursuant to Rule 214 (18 C.F.R. § 385.214

(2016)), to the extent that any timely filed motions to intervene and any motion to

intervene out-of-time were filed before the issuance date of this order, such interventions are granted.  Granting late interventions at this stage of the proceeding will not disrupt the proceeding or place additional burdens on existing parties.

This acceptance for filing shall not be construed as constituting approval of the referenced filing or of any rate, charge, classification, or any rule, regulation, or practice affecting such rate or service contained in your filing; nor shall such acceptance be 
deemed as recognition of any claimed contractual right or obligation associated 
therewith; and such acceptance is without prejudice to any findings or orders which have been or may hereafter be made by the Commission in any proceeding now pending or hereafter instituted by or against NYISO.

This order constitutes final agency action. Requests for rehearing by the

Commission may be filed within 30 days of the date of issuance of this order, pursuant to

18 C.F.R. § 385.713.

Sincerely,

Kurt M. Longo, Director

Division of Electric Power Regulation - East