156 FERC ¶ 61,202

UNITED STATES OF AMERICA

FEDERAL ENERGY REGULATORY COMMISSION

Before Commissioners:  Norman C. Bay, Chairman;

Cheryl A. LaFleur, Tony Clark,

and Colette D. Honorable.

Midwest Independent Transmission	Docket Nos.  ER11-1844-001

System Operator, Inc.	ER11-1844-002

OPINION NO. 550

ORDER ON INITIAL DECISION AND 
DISMISSING REHEARING AS MOOT

(Issued September 22, 2016)

1. 	This case is before the Commission on exceptions to an Initial Decision1 issued on 
December 18, 2012.  The Initial Decision addressed issues relating to a filing by Midwest 
Independent Transmission System Operator, Inc. (MISO)2 and International 
Transmission Company (ITC) (collectively, Joint Applicants) that proposed revisions to 
MISO’s Open Access Transmission, Energy, and Operating Reserve Markets Tariff 
(Tariff) to establish a methodology to recover costs of ITC’s Phase Angle Regulating 
Transformers (PAR) located at Bunce Creek on the Michigan-Ontario, Canada border.3 
In this order, we affirm in part, and reverse in part, certain determinations of the 
Presiding Administrative Law Judge (Presiding Judge), and we dismiss the remaining 
determinations of the Presiding Judge as moot.  Consistent with these conclusions, we 
find that Joint Applicants have not demonstrated that their proposal to allocate costs of 
the ITC PARs to entities outside of MISO, including to entities in the New York

1 Midwest Indep. Transmission Sys. Operator, Inc., 141 FERC ¶ 63,021 (2012) (Initial Decision).

2 Effective April 26, 2013, MISO changed its name from “Midwest Independent 
Transmission System Operator, Inc.” to “Midcontinent Independent System Operator, 
Inc.”

3 See Midwest Indep. Transmission Sys. Operator, Inc., 133 FERC ¶ 61,275 (2010) (Hearing Order).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 2 -

Independent System Operator, Inc. (NYISO) or PJM Interconnection, L.L.C. (PJM)

regions, is just and reasonable.  We also dismiss requests for rehearing of the Hearing

Order as moot.

I.	Background

A.	Lake Erie Loop Flow

1.	ITC PARs

2.	Loop flow issues have been common and volatile in the Lake Erie region.  In the

1990s, unscheduled flows increased between Ontario and Michigan, as well as Ontario 
and New York, culminating in numerous transmission line relief and curtailment events 
in 1998.  In response, Detroit Edison Company (Detroit Edison) and Ontario Hydro (a 
predecessor company to Hydro One Networks) developed plans to modify existing 
interconnection facilities between Ontario and Michigan to improve electric reliability 
and address Lake Erie loop flow problems.  On December 8, 1998, Detroit Edison 
submitted a request to the U.S. Department of Energy to amend its Presidential Permit. 
One requested modification was the installation of an 850 mega volt ampere (MVA) PAR 
at the Bunce Creek station switchyard on the Michigan-Ontario interface (Original 
PAR).4

3. 	On June 29, 2000, the Commission authorized a series of DTE Energy Company 
intra-corporate transactions which, among other things, resulted in the transfer of 
ownership, operation, and control of certain Detroit Edison transmission facilities to 
ITC.5  As a result of this corporate restructuring, Detroit Edison and ITC jointly applied 
to the U.S. Department of Energy to rescind Detroit Edison’s Presidential Permit and 
issue a new Presidential Permit to ITC.  The new permit, issued on April 19, 2001, 
transferred Detroit Edison’s international transmission facilities to ITC, including the 
Original PAR.6

4 Initial Decision, 141 FERC ¶ 63,021 at P 88 (citing Ex. ITC Tab F at 6).

5 See DTE Energy Company, The Detroit Edison Company, and International Transmission Company, 91 FERC ¶ 61,317 (2000).

6 Initial Decision, 141 FERC ¶ 63,021 at P 89 (citing Dep’t of Energy, Presidential 
Permit, Int’l Transmission Co., Order No. PP-230-2 (Apr. 19, 2001) (Presidential 
Permit)).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 3 -

4. 	In March 2003, the Original PAR failed while in service, and the tower supporting the Canadian side of the Bunce Creek transmission line collapsed due to inclement 
weather.  ITC ordered replacement facilities for the Original PAR after service on the Bunce Creek line was restored.7  Because of the failure of the Original PAR, ITC chose a different design for the new PARs, opting for two 700 MVA units connected in series (ITC PARs) instead of a singular 850 MVA unit (i.e., the Original PAR).8

2.	NYISO Proceedings

5.	Beginning in January 2008, a small number of market participants submitted

transactions to NYISO to export power to PJM, scheduled as circuitous flows around

Lake Erie.  The scheduled pathway exited NYISO, crossed through both the Independent Electricity System Operator of Ontario (IESO) and MISO, and ultimately sank in PJM. 
This scheduled pathway benefitted from lower market prices at the NYISO/IESO border, compared to the more congested NYISO/PJM border.  However, approximately 80 
percent of the power flows associated with this scheduled pathway flowed directly across the NYISO/PJM border.9

6. 	In July 2008, NYISO proposed requiring the use of more direct routing by

prohibiting the scheduling of external transactions over eight circuitous pathways.

NYISO stated that its proposal was a temporary solution until adequate controls were in place to ensure that actual and scheduled flows more closely aligned.  In August 2008, the Commission accepted NYISO’s temporary solution.10  The Commission noted that it had initiated a non-public investigation into the Lake Erie loop flow problem and 
encouraged affected parties to consider all appropriate long-term solutions, including market solutions and the installation of operational controls such as PARs, to ensure that actual and scheduled flows more closely aligned.

7. 	In July 2009, the Commission reaffirmed these directives, requiring NYISO and 
interested entities to develop long-term comprehensive solutions to the Lake Erie loop 
flow problem.11  The Commission also directed public disclosure of the Enforcement

7 Replacement of the tower and transmission line was completed in 2006.  Id.

P 91.

8 Id. (citing Ex. ITC Tab F at 9).

9 N.Y. Indep. Sys. Operator, Inc., 132 FERC ¶ 61,031, at P 2 (2010) (July 2010 
Order).

10 N.Y. Indep. Sys. Operator, Inc., 124 FERC ¶ 61,174 (2008).

11 N.Y. Indep. Sys. Operator, Inc., 128 FERC ¶ 61,049, at P 6 (2009).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 4 -

Staff Report resulting from the non-public investigation into the Lake Erie loop flow

problem.  Further, the Commission required NYISO to submit a report addressing its

proposed solutions to the Lake Erie loop flow problem, including, among other things, a 
proposed solution addressing interface pricing and congestion management.  In 
September 2009, the Commission clarified that NYISO should report on the status of all 
solutions to the Lake Erie loop flow problem, including the installation of PARs.12

8. 	In January 2010, NYISO filed its status report, which recommended the

implementation of four market initiatives.  The report also stated that the ITC PARs

installed on the Ontario-Michigan border would be available for service in early 2010.

The report noted, however, that ITC would not execute the operating agreements required 
to make the ITC PARs operational until an agreement addressing the allocation of costs 
associated with the ITC PARs was in place.  NYISO opposed paying for a portion of the 
ITC PARs because they were not developed pursuant to a Commission-approved regional 
planning process.  NYISO also noted that a regional study would be initiated during 2010 
to identify PARs and other devices capable of influencing Lake Erie loop flow.  In the

July 2010 Order, the Commission found that the initiatives described by NYISO

represented a workable framework for minimizing the occurrence of Lake Erie loop flow. 
The Commission noted, though, that some issues were not fully addressed in NYISO’s 
report, such as the equitable allocation of the ITC PARs costs.  The Commission 
requested further information on several matters, including implementation of the ITC 
PARs.13

B.	Procedural History

1.	Joint Applicants’ Filing and Hearing Order

9.	On October 20, 2010, pursuant to section 205 of the Federal Power Act (FPA),14

Joint Applicants proposed revisions to the MISO Tariff to establish a methodology to

allocate and recover the costs of the ITC PARs among MISO, NYISO, and PJM.15  Joint 
Applicants asserted that an initial transfer distribution factor (DFAX) analysis, based on 
2015 projections, supported allocating 49.6 percent of the ITC PARs revenue 
requirement to MISO, 19.5 percent to PJM, and 30.9 percent to NYISO, based on each

12 N.Y. Indep. Sys. Operator, Inc., 128 FERC ¶ 61,239 (2009).

13 July 2010 Order, 132 FERC ¶ 61,031 at PP 40-42.

14 16 U.S.C. § 824d (2012).

15 Specifically, Joint Applicants proposed the addition of Attachments SS and SS-1, as well as a new Schedule 36, to MISO’s Tariff.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 5 -

region’s alleged contribution to the loop flows over the Michigan-Ontario interface that 
would occur if the ITC PARs were not operational.  Joint Applicants further stated that 
each Regional Transmission Organization (RTO) would determine how its individual 
share of the ITC PARs revenue requirement would be recovered from load within its 
region.16

10. 	Numerous parties submitted motions to intervene and notices of intervention,

including:  Exelon Corporation (Exelon); NYISO; Ontario Power Generation, Inc.; PJM; 
Maryland Public Service Commission; Old Dominion Electric Cooperative; Dayton 
Power and Light Company; New England Power Pool Participants Committee; Rockland 
Electric Company; American Municipal Power, Inc. (AMP); Connecticut Department of 
Public Utility Control (Connecticut DPUC); Consumers Energy Company; New York 
Transmission Owners (NYTO)17 and New York Municipal Power Agency; Baltimore 
Gas and Electric Company; Duquesne Light Company; Pepco Holdings, Inc.; 
Consolidated Edison Solutions, Inc. and Consolidated Edison Energy, Inc. (Consolidated 
Edison); American Electric Power Service Corporation; Illinois Commerce Commission; 
New York State Public Service Commission (New York Commission); PSEG 
Companies;18 Indiana Utility Regulatory Commission; FirstEnergy Service Company; 
Connecticut Municipal Electric Energy Cooperative; Michigan Public Service 
Commission; Allegheny Power; MISO Transmission Owners (MISOTO);19 New York

16 Hearing Order, 133 FERC ¶ 61,275 at PP 10-11.

17 NYTOs include:  Central Hudson Gas & Electric Corporation; Consolidated

Edison Company of New York, Inc.; Long Island Power Authority; New York Power

Authority; New York State Electric & Gas Corporation; Niagara Mohawk Power

Corporation d/b/a/ National Grid; Orange and Rockland Utilities, Inc.; and Rochester Gas and Electric Corporation.

18 PSEG Companies include Public Service Electric and Gas Company; PSEG Power LLC; and PSEG Energy Resources & Trade LLC.

19 MISOTOs include:  Ameren Services Company, as agent for Union Electric 
Company d/b/a Ameren Missouri, Ameren Illinois Company d/b/a Ameren Illinois, and 
Ameren Transmission Company of Illinois; American Transmission Company LLC; City 
Water, Light & Power (Springfield, IL); Dairyland Power Cooperative; Duke Energy 
Corporation for Duke Energy Indiana, Inc.; Great River Energy; Hoosier Energy Rural 
Electric Cooperative, Inc.; Indiana Municipal Power Agency; Indianapolis Power & 
Light Company; MidAmerican Energy Company; Minnesota Power (and its subsidiary 
Superior Water, L&P); Montana-Dakota Utilities Co.; Northern Indiana Public Service 
Company; Northern States Power Company, a Minnesota corporation, and Northern 
States Power Company, a Wisconsin corporation, subsidiaries of Xcel Energy Inc.; 
Northwestern Wisconsin Electric Company; Otter Tail Power Company; Southern 
	(continued ...)

Docket Nos. ER11-1844-001 and ER11-1844-002	- 6 -

Association of Public Power; Massachusetts Department of Public Utilities

(Massachusetts DPU); Detroit Edison; DC Energy Midwest, LLC; New England

Conference of Public Utility Commissioners (NECPUC); ISO New England, Inc. (ISONE); IESO; Wisconsin Electric Power Company; PJM Transmission Owners (PJMTO);20 and Dominion Resources Services.21

11. 	Numerous parties submitted protests and comments, including:  NYTOs and New York Municipal Power Agency; NYISO; New York Commission; PSEG Companies, who also submitted a request for summary dismissal and motion to consolidate; PJM; Massachusetts DPU; PJMTOs; NECPUC, who also submitted a motion for summary 
rejection; AMP.; New England States Committee on Electricity (New England States Committee); Consolidated Edison; New England Power Pool Participants Committee (New England Participants); Connecticut Municipal Electric Energy Cooperative; 
Michigan Public Service Commission; MISOTOs; Detroit Edison; and ISO-NE.  Joint Applicants, MISOTOs, and NYTOs submitted answers.

Illinois Power Cooperative; Southern Indiana Gas & Electric Company (d/b/a Vectren 
Energy Delivery of Indiana); Southern Minnesota Municipal Power Agency; Wabash 
Valley Power Association, Inc.; and Wolverine Power Supply Cooperative, Inc.

20 PJMTOs include:  American Electric Power Service Corporation, on behalf of 
its affiliates Appalachian Power Company, Columbus Southern Power Company, Indiana 
Michigan Power Company, Kentucky Power Company, Kingsport Power Company, 
Ohio Power Company and Wheeling Power Company, AEP Appalachian Transmission 
Company Inc., AEP Indiana Michigan Transmission Company Inc., AEP Kentucky 
Transmission Company Inc., AEP Ohio Transmission Company Inc., and AEP West 
Virginia Transmission Company; Exelon; Jersey Central Power & Light Company, 
Metropolitan Edison Company, Pennsylvania Electric Company, Monongahela Power 
Company, The Potomac Edison Company, West Penn Power Company, and American 
Transmission Systems, Inc.; Pepco Holdings, Inc., on behalf of its affiliates Potomac 
Electric Power Company, Delmarva Power & Light Company, and Atlantic City Electric 
Company; Old Dominion Electric Cooperative; PPL Electric Utilities Corporation, PPL 
EnergyPlus, LLC, PPL Brunner Island, LLC, PPL Holtwood, LLC, PPL Martins Creek, 
LLC, PPL Montour, LLC, PPL Susquehanna, LLC, PPL University Park, LLC, Lower 
Mount Bethel Energy, LLC, PPL New Jersey Solar, LLC, PPL New Jersey Biogas, LLC, 
and PPL Renewable Energy, LLC; Public Service Electric and Gas Company; and 
Virginia Electric and Power Company, doing business as Dominion Virginia Power.

21 On March 24, 2011, Monitoring Analytics, LLC filed an out-of-time motion to intervene, which the Presiding Judge granted on April 21, 2011.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 7 -

12. 	In the December 30, 2010 Hearing Order, the Commission found that Joint

Applicants’ filing raised issues of material fact that could not be resolved based on the 
record before the Commission.  Accordingly, the Commission accepted the proposed 
Tariff revisions for filing, suspended them for a nominal period, made them effective 
January 1, 2011, subject to refund, and set them for hearing and settlement judge 
procedures.22

2.	Requests for Rehearing and Motions to Stay

13.	Requests for rehearing of the Hearing Order were filed by NYISO, NYTOs,

New York Commission, PJM, PJMTOs, AMP, Joint Rehearing Parties23 and MISOTOs. 
Several parties argue that because there is no customer or contractual relationship 
between NYISO or PJM and Joint Applicants, the Commission has no authority under 
section 205 of the FPA to accept the filing.24  Some parties maintain that the Commission 
erred by accepting Joint Applicants’ proposal despite conflict with the interregional cost 
allocation proposal in the Order No. 1000 Notice of Proposed Rulemaking,25 which 
proposed that cost allocation among neighboring RTOs is a consensual matter.26 
NYTOs argue that the Commission should not have accepted Joint Applicants’ filing 
because doing so would prejudge the Order No. 1000 final rule and they ask the 
Commission to either reject Joint Applicants’ filing without prejudice to refile after the

22 Hearing Order, 133 FERC ¶ 61,275 at PP 1, 44.

23 Joint Rehearing Parties include:  ISO-NE; the New England Participants;

NECPUC; Exelon; the New England States Committee; the Massachusetts DPU; and the Connecticut DPUC.

24 Joint Rehearing Parties Request for Rehearing at 6-7; PJM Request for

Rehearing at 4-5 (citing Commonwealth Edison Co., 129 FERC ¶ 61,298, at P 17 (2009) 
(Commonwealth Edison), on reh’g, 132 FERC ¶ 61,268 (2010)); NYISO Request for 
Rehearing at 5-10 (citing Midwest Indep. Transmission Sys. Operator, Inc., 131 FERC 
¶ 61,173 (2010); Commonwealth Edison, 129 FERC ¶ 61,298); NYTOs Request for 
Rehearing at 5-6 (citing In re Permian Basin Area Rate Case, 390 U.S. 747, 822 (1968) 
Permian Basin); Commonwealth Edison, 129 FERC ¶ 61,298); PJMTOs Request for 
Rehearing at 9.

25 See Transmission Planning and Cost Allocation by Transmission Owning and Operating Public Utilities, Notice of Proposed Rulemaking, FERC Stats. & Regs. 
¶ 32,660 (2010) (Order No. 1000 NOPR).

26 NYTOs Request for Rehearing at 6-7; New York Commission Request for Rehearing at 6-9; AMP Request for Rehearing at 3-6.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 8 -

issuance of the final rule on Order No. 1000 or to hold this proceeding in abeyance

pending the issuance of the final rule.  Several parties also argue that the cost allocation proposal violates Commission precedent in which the Commission has rejected unilateral filings proposing to compel charges on a neighboring utility without consensus.27

14. 	In addition, PJM argues that, because the ITC PARs replace failed equipment that 
was planned, developed and placed into service to meet local system needs, the ITC 
PARs should not be allocated to PJM and NYISO and the Commission should have 
dismissed Joint Applicants’ proposal.  Similarly, NYTOs state that under Commission 
precedent, Joint Applicants may not request payment after-the-fact from non-customers 
without agreement.  PJM and PJMTOs argue that the only agreement between MISO and 
PJM under which MISO may allocate costs to PJM is their Joint Operating Agreement 
(JOA); however, they argue the JOA does not permit unilateral section 205 amendments 
or allocations.  PJM also contests Joint Applicants’ exclusion of IESO from the cost 
allocation proposal arguing that it is inconsistent with the principle of cost causation. 
PJM argues that any cost allocation that spreads 100 percent of the costs among only 
three of the four regions contributing to loop flow and excludes one of the primary 
beneficiaries is unjust and unreasonable on its face, and the Commission should dismiss 
the proposal.28

15. 	Additionally, both NYISO and NYTOs requested that the Commission stay the 
hearing and settlement judge procedures until the Commission acted on requests for 
rehearing.  New England Power Pool Participants Committee, New England States 
Committee on Electricity, ISO-NE, and New England Conference of Public Utility

27 PJM Request for Rehearing at 9 (citing So. Cal. Edison Co., 70 FERC ¶ 61,087, at 61,250 (1995) (SoCal Edison)); PJMTOs Request for Rehearing at 7 (citing Midwest 
Indep. Transmission Sys. Operator, Inc., 133 FERC ¶ 61,221, at P 439 (2010), clarifying order on rehearing, 137 FERC ¶ 61,074 (2011); Ill. Commerce Comm’n v. FERC, 
721 F.3d 764 (7th Cir. 2013) (Illinois Commerce Commission II), cert. denied sub nom. 
Schuette v. FERC, 134 S.Ct. 1277 (2014) and cert. denied sub nom. Hoosier Rural 
Energy Co-op., Inc. v. FERC, 134 S.Ct. 1278 (2014); SoCal Edison, 70 FERC at 61,250); MISOTOs Request for Rehearing at 9 (citing SoCal Edison, 70 FERC ¶ 61,087; Ft. 
Pierce Utils. Auth. v. FERC, 730 F.2d 778, 784 (D.C. Cir. 1984); Order No. 1000 NOPR, FERC Stats. & Regs. ¶ 32,660 at P 164).

28 PJM Request for Rehearing at 11 (citing Illinois Commerce

Commission v. FERC, 576 F.3d 470 (7th Cir. (2009) (Illinois Commerce Commission I)).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 9 -

Commissioners; PJMTOs; and PJM supported requests to stay, while Joint Applicants

submitted a motion in opposition.  The Commission denied requests for stay.29

3.	Hearing and Settlement Judge Procedures and Initial Decision

16.	Settlement conferences began on May 6, 2011.  However, on December 13, 2011,

NYISO filed a motion to dismiss or for summary disposition of Joint Applicants’ filing

or, in the alternative, request for expedited action on rehearing requests, arguing that Joint 
Applicants’ filing is inconsistent with the policy enunciated by the Commission in Order 
No. 1000,30 which the Commission issued subsequent to the Hearing Order.  NYTOs, 
New York Commission, PJM, and the New York State Division of Consumer Protection 
submitted answers supporting NYISO’s motion to dismiss.  On December 28, 2011, Joint 
Applicants submitted an answer opposing NYISO’s motion.  NYTOs submitted an 
answer to Joint Applicants’ answer, and NYISO submitted an answer in support of 
NYTOs’ answer.  Settlement discussions were terminated on December 20, 2011.

17. 	The hearing commenced on August 13, 2012, continued until a recess was taken 
on August 20, 2012, recommenced on September 10, 2012, and continued until 
September 13, 2012.  On October 16, 2012, Joint Applicants, PJM, PJMTOs, NYISO, 
NYTOs, MISOTOs, and Commission Trial Staff (Trial Staff) filed Initial Briefs; on 
October 31, 2012, those parties filed Reply Briefs.  The Presiding Judge issued the Initial 
Decision on December 18, 2012.31  The Presiding Judge ordered that, subject to the 
Commission’s review on exceptions, within 30 days of the issuance of the final order in

29 Midwest Indep. Transmission Sys. Operator, Inc., 134 FERC ¶ 61,185 (2011). In that order, the Commission also denied Organization of PJM States, Inc. and New York State Consumer Protection Board’s late-filed motions to intervene but stated that they may direct any requests to intervene in the hearing and settlement judge procedures to the appropriate presiding officer or settlement judge.  Id. P 10 n.13.

30 See Transmission Planning and Cost Allocation by Transmission Owning and Operating Public Utilities, Order No. 1000, FERC Stats. & Regs. ¶ 31,323 (2011), order on reh'g and clarification, Order No. 1000-A, 139 FERC ¶ 61,132, order on reh'g and clarification, Order No. 1000-B, 141 FERC ¶ 61,044 (2012), aff'd sub nom. S.C. Pub. Serv. Auth. v. FERC, 762 F.3d 41 (D.C. Cir. Aug. 14, 2014).

31 See Initial Decision, 141 FERC ¶ 63,021.  The parties in the proceeding

developed a Joint Statement of Issues containing 11 issues that the Presiding Judge ruled on in the Initial Decision, which are listed in the Appendix of this order.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 10 -

this proceeding, all parties shall take appropriate action to implement all the rulings in the

Initial Decision.32

4.	Brief on Exceptions and Briefs Opposing Exceptions

18.	On January 17, 2013, Joint Applicants filed a Brief on Exceptions which listed 26

exceptions to the Initial Decision.  On February 6, 2013, PJM, MISOTOs, Trial Staff,

PJMTOs, NYTOs,33 and NYISO filed Briefs Opposing Exceptions.34

II.	Discussion

A.	Procedural Matters

1.	Motions to Lodge

19.	On December 11, 2012, Joint Applicants submitted a motion to lodge a

Commission order from a proceeding in Docket No. ER12-1761-001 concerning a filing 
by PJM to revise its Open Access Transmission Tariff to “establish terms and conditions 
for recovering from end users costs allocated to PJM under the . . . MISO Tariff[] for the 
portion of the revenue requirement” for the ITC PARs.35  Joint Applicants argued that the 
order was directly relevant to the obligations of NYISO and PJM to pursue deficiencies, 
if any, in their customers’ payments of PARs-related charges.36  The Presiding Judge

denied this motion to lodge in the Initial Decision.37  Joint Applicants did not except to the Presiding Judge’s denial of the motion.

20. 	On May 23, 2013, Joint Applicants submitted a motion to lodge slide 12 of a 2012 State of the Markets Report issued by the Commission’s Office of Enforcement on

32 Id. P 925.

33 NYTOs filed errata to their Brief Opposing Exceptions on February 7, 2013.

34 Relevant arguments will be discussed below.

35 See PJM Interconnection, L.L.C., 141 FERC ¶ 61,200 (2012).  This

Commission letter order accepted a compliance filing involving, inter alia, modifications 
to Rate Schedule 10 (Michigan-Ontario Interface) in PJM’s Open Access Transmission 
Tariff.

36 Joint Applicants December 11, 2012 Motion to Lodge at 1.

37 Initial Decision, 141 FERC ¶ 63,021 at P 923.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 11 -

May 16, 2013.  Joint Applicants claim that language on slide 12 confirms that the nature of Lake Erie loop flow is such that physically controlling flows at the Michigan-Ontario interface also serves to control flows at other interfaces around Lake Erie.38  Specifically, Joint Applicants note that slide 12 states as follows:

For years, loop flow around Lake Erie has caused difficult-to-manage congestion 
and reliability costs in the four surrounding regions, New York ISO, Ontario’s, 
Independent Electricity System Operator, MISO and PJM. Full PAR control on 
the interface was the culmination of more than 20 years of various projects.

Since the complete system of PARs on the Michigan-Ontario interface have gone 
into service, loop flows have decreased compared to earlier periods. Early reports 
indicate that congestion costs in Michigan are lower with fewer binding 
constraints and the interchange capacity across the Michigan-Ontario interface has 
been boosted.

NYTOs, PJMTOs, NYISO, and Trial Staff submitted answers opposing Joint Applicants’ 
motion to lodge.  PJMTOs argue that it is inappropriate to lodge new items for the 
Commission’s consideration since the hearing before the Presiding Judge has been 
completed and the record is closed.  Further, PJMTOs argue that Joint Applicants fail to 
identify any changes in conditions of fact or other criteria that would warrant reopening 
the record under Rule 716 of the Commission’s regulations.39  Finally, PJMTOs argue 
that Joint Applicants have conceded that the report “does not specifically address 
congestion costs and constraints in locations around Lake Erie other than Michigan.”40 
PJM filed an answer supporting Joint Applicants’ motion to lodge and state that, to the 
extent that the excerpt in the report, singled out by Joint Applicants, is pertinent to the 
Commission’s consideration in the ITC PARs cost allocation proceeding, it would be 
relevant only because it is consistent with the Presiding Judge’s findings in the Initial 
Decision.41

21. 	On April 7, 2014, Joint Applicants submitted a motion to lodge two PARs

performance evaluation reports.  Joint Applicants state that these reports confirm that the PARs installed on the Ontario-Michigan interface are effectively and consistently

38 Joint Applicants May 23, 2013 Motion to Lodge at 2.

39 18 C.F.R. § 385.716 (2016).

40 PJMTOs June 5, 2013 Response to Motion to Lodge at 2 (citing Joint Applicants May 23, 2013 Motion to Lodge).

41 PJM June 7, 2013 Answer to Motion to Lodge at 4.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 12 -

controlling and reducing Lake Erie loop flow and are thus necessarily benefitting all the 
RTOs around Lake Erie, including both NYISO and PJM.  On April 22, 2014, NYISO, 
PSEG Companies, Trial Staff, NYTOs, and PJM submitted answers opposing the motion 
to lodge.  NYTOs argue that Joint Applicants have failed to show “a change in core 
circumstances that go to the very heart of the case,” and have, therefore, failed to 
demonstrate “extraordinary circumstances” that clearly outweigh the “administrative 
chaos” and disruption to the proceedings that would result if the Commission were to 
grant the motion.42  NYISO and Trial Staff argue that Joint Applicants fail to demonstrate 
extraordinary circumstances to support reopening the evidentiary record in this docket.

22.	We reject Joint Applicants’ May 23, 2013 and April 7, 2014 motions to lodge

because, as explained below, the documents that Joint Applicants request to be added to

the record do not help Joint Applicants in supporting their cost allocation proposal.43

2.	Motions to Strike

23.	On February 25, 2013, Joint Applicants filed a motion to strike a portion of PJM’s

Brief Opposing Exceptions.44  Joint Applicants claim that PJM has impermissibly sought 
to challenge the Presiding Judge’s ruling that the MISO/PJM JOA was not the exclusive 
vehicle for cost allocation between MISO and PJM.  Joint Applicants further argue that 
PJM should have raised its challenge in a Brief on Exceptions and that failure to do so 
has effectively waived all objections to aspects of the Initial Decision.  According to Joint 
Applicants, PJM’s challenges are effectively raising new arguments in PJM’s Brief 
Opposing Exceptions.45  On March 12, 2013, PJM filed an answer opposing Joint 
Applicants’ motion to strike.  PJM asserts that Commission policy disfavors such 
motions, further contending that its arguments relating to the JOA—which PJM states is a 
central issue in the proceeding—are a reiteration of its previous position and responsive 
to arguments raised by Joint Applicants in their Brief on Exceptions.  PJM also argues 
that it had no reason to file a Brief on Exceptions because it was not aggrieved by the

42 NYTOs June 6, 2013 Answer to Motion to Lodge at 1.

43 See infra PP 133-134.

44 Specifically, Joint Applicants request to strike pages 18-21 from PJM’s Brief 
Opposing Exceptions that involve arguments concerning the MISO/PJM Joint Operating Agreement.

45 Joint Applicants February 25, 2013 Motion to Strike at 3.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 13 -

Initial Decision, further noting that nothing precludes the Commission from addressing any and all aspects of the Initial Decision.46

24. 	We find that Joint Applicants’ motion to strike is moot in view of other

determinations in this opinion, and we will dismiss it.  As discussed below, we find that we do not need to decide the merits of whether the JOA is the exclusive vehicle for cost allocation, because we find that Joint Applicants have not justified their proposal to allocate costs of the ITC PARs at issue in this proceeding outside of MISO.47

B.	Substantive Matters

25.	Before addressing the substantive matters presented in the Initial Decision and the

briefs on and opposing exceptions, we note as a threshold matter that, although the parties argue whether Joint Applicants’ proposal is consistent with Commission policies adopted in Order No. 1000, the polices adopted by the Commission in Order No. 1000 do not 
apply to Joint Applicants’ filing because that filing pre-dated the issuance and the 
effective date of Order No. 1000.

26. 	As discussed below, we reverse the Presiding Judge’s determinations, in part, and find that FPA section 205 and Commission cost allocation policies predating Order No. 1000 did not bar Joint Applicants from making their filing.  Nonetheless, we affirm the Presiding Judge’s determinations, in part, and find that Joint Applicants have not 
demonstrated the proposed cost allocation to be just and reasonable.  We dismiss the remaining determinations of the Presiding Judge as moot.

1.	Customer or Contractual Relationship

a.	Presiding Judge’s Findings

27.	The Presiding Judge found that FPA section 205 only permits assessment of costs

to entities with which that utility has a customer or contractual relationship.48  The Presiding Judge explained that FPA section 205(c) provides:

Under such rules and regulations as the Commission may prescribe, 
every public utility shall file with the Commission . . . schedules

46 PJM March 12, 2013 Answer Opposing Motion to Strike at 5-7.

47 See infra P 135.

48 Id. at P 367 (citing NYISO Initial Br. at 17; NYTOs Initial Br. at 16; PJMTOs Initial Br. at 7; Trial Staff Initial Br. at 6-7).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 14 -

showing all rates and charges for any transmission or sale subject to the jurisdiction of the Commission, and the classes, practices, and regulations affecting such rates and charges, together with all 
contracts which in any manner affect or relate to such rates, charges, classifications and services.49

28. 	The Presiding Judge explained that FPA section 205 permits a utility to assess

costs under two circumstances:  (1) where the entity assessed is taking jurisdictional

service from the utility (“charges for any transmission or sale subject to the jurisdiction of the Commission”); or (2) where the entity assessed is a party to an agreement authorizing the utility to assess the costs (“together with all contracts which in any manner affect or 
relate to such rates, charges, classifications and services”).  The Presiding Judge 
continued that, therefore, FPA section 205 authorizes a utility to assess rates or charges 
only to its customers or to parties to a contractual agreement for jurisdictional services. 
The Presiding Judge stated that filed and accepted tariffs govern the rates, terms, and 
conditions of service between a public utility and parties with which the utility has such a customer or contractual relationship.50

29. 	The Presiding Judge noted that FPA section 205 also mandates that “all rates and charges made, demanded, or received by any public utility for or in connection with the transmission or sale of electric energy subject to the jurisdiction of the Commission . . . shall be just and reasonable, and any such rate or charge that is not just and reasonable is hereby declared to be unlawful.”51

30. 	The Presiding Judge explained that in addition to the clear language of the statute, Commission precedent supports the proposition that FPA section 205 filings can only lawfully govern the rates, terms, and conditions of service between a public utility and its customers, not third parties.52  The Presiding Judge agreed with the proposition that 
Permian Basin conveys the principle that, absent a matter that would impair its financial ability to continue to provide public service, the Commission does not have the authority to abrogate existing contract arrangements.53

49 16 U.S.C. § 824d(c) (2012).

50 Initial Decision, 141 FERC ¶ 63,021 at P 369.

51 16 U.S.C. § 824d(a) (2012).

52 Initial Decision, 141 FERC ¶ 63,021 at P 371.

53 Id. P 372 (citing Permian Basin, 390 U.S. at 822 (“[T]he regulatory system

created by the [FPA] is premised on contractual agreements voluntarily devised by the

(continued ...)

Docket Nos. ER11-1844-001 and ER11-1844-002	- 15 -

31. 	The Presiding Judge also explained that in Morgan Stanley Capital Group

Inc. v. Public Utility District No. 1 of Snohomish County, the Supreme Court explained 
that the Court previously held in United Gas Pipe Line Co. v. Mobile Gas Service Corp. 
that the requirement that all new rates be filed with the Commission “is merely a 
precondition to changing a rate, not an authorization to change rates in violation of a 
lawful contract (i.e., a contract that sets a just and reasonable rate).”54  The Presiding 
Judge explained that the Court then went a step further, describing the standard the 
Commission uses to evaluate whether a contract rate is just and reasonable, stating:

[W]hile it may be that the Commission may not normally impose 
upon a public utility a rate which would produce less than a fair 
return, it does not follow that the public utility may not itself agree 
by contract to a rate affording less than a fair return or that, if it does 
so, it is entitled to be relieved of its improvident bargain	 In such

circumstances the sole concern of the Commission would seem to be whether the rate is so low as to adversely affect the public interest— as where it might impair the financial ability of the public utility to continue its service, cast upon other consumers an excessive burden, or be unduly discriminatory.55

32. 	Continuing, the Presiding Judge stated that the Court went on to clarify the

Mobile-Sierra standard, explaining that it is not “different from the statutory just-and-

reasonable standard,” but rather “the term ‘public interest standard’ refers to the differing application of that just-and-reasonable standard to contract rates.”56

regulated companies; it contemplates abrogation of these agreements only in circumstances of unequivocal public necessity.”)).

54 Id. P 376 (quoting Morgan Stanley Capital Group Inc. v. Public Utility District 
No. 1 of Snohomish County, 554 U.S. 527, 532-533 (2008) (Morgan Stanley) (citing 
United Gas Pipe Line Co. v. Mobile Gas Service Corp., 350 U.S. 332, 339-344 (1956) 
(Mobile))).

55 Id. (quoting Morgan Stanley, 554 U.S. at 533 (citing FPC v. Sierra Pacific Power Co., 350 U.S. 348, 354-355 (1956) (Sierra))).

56Id.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 16 -

33. 	The Presiding Judge also explained that, although Trial Staff and NYISO relied on 
Midwest Independent Transmission System Operator, Inc. and the decision on rehearing, 
neither case is dispositive of the facts of this case.57  Further, the Presiding Judge noted 
that NYISO, at the time, was seeking appellate judicial review of portions of Order No. 
1000-A.  Accordingly, the Presiding Judge declined to rely upon these cases.58

34. 	The Presiding Judge found that Joint Applicants have not met their burden of 
proving that they have authority to make a unilateral filing to impose costs on those 
outside of their region who are neither customers nor participants in an agreement to 
share costs.59  The Presiding Judge also found that Joint Applicants have failed to prove 
that NYISO or PJM are taking jurisdictional service from Joint Applicants or that Joint 
Applicants are assessing costs to NYISO or PJM pursuant to an agreement authorizing 
such.

35. 	First, the Presiding Judge found that Joint Applicants do not provide transmission 
service or make wholesale sales of electric power to PJM or NYISO, so there is no 
customer relationship that justifies the filing.  The Presiding Judge explained that FPA 
section 205 provides a mechanism whereby utilities establish rates and charges for 
transmission service and wholesale sales of electricity, subject to the Commission’s 
approval.  The Presiding Judge continued that, in contrast, FPA section 205 does not 
authorize a utility to charge entities that do not take jurisdictional service from the utility 
or that are not party to a contract with that utility, which provides for such assessment of 
costs.60

36. 	The Presiding Judge explained that while it can be argued that controlling loop

flows in a manner that benefits all is equivalent to providing a transmission service, Joint 
Applicants have not demonstrated that the ITC PARs will be operated in such a manner.61 
The Presiding Judge stated that proposed Schedule 36 “provides for recovery of a portion 
of the revenue requirement associated with [the ITC PARs] at the Bunce Creek Station on 
the Michigan-Ontario interface.”62  However, the Presiding Judge explained that the

57 Midwest Indep. Transmission Sys. Operator, Inc., 131 FERC ¶ 61,173 (2010), order on reh’g, 136 FERC ¶ 61,244 (2011).

58 Initial Decision, 141 FERC ¶ 63,021 at P 377.

59 Id. P 378 (citing 16 U.S.C. § 824d (2012)).

60 Id. P 380.

61 Id. P 381.

62 Id. (citing Ex. ITC Tab A, Proposed Schedule 36 § I).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 17 -

proposed tariff sheets do not encompass a charge for transmission service, but instead

charge PJM and NYISO for the cost of facilities installed for the express purpose of

denying PJM and NYISO use of the MISO transmission system.  Moreover, MISO chose to operate the ITC PARs on a “flow to schedule” basis, which prevents unscheduled 
flows of energy from PJM and NYISO across the Michigan-Ontario interface.63

37. 	The Presiding Judge agreed that Joint Applicants seek to charge for the installation 
of physical devices that prevent the flow of unscheduled energy across the Michigan-
Ontario interface.64  The Presiding Judge also agreed that, although Joint Applicants 
describe the ITC PARs as being necessary to address Lake Erie loop flow, they do not 
seek compensation for the loop flows on the MISO or ITC transmission systems.65  The 
Presiding Judge explained that Joint Applicants constructed the electrical equivalent of a 
barrier that prevents NYISO and PJM from accessing MISO’s system, and Joint 
Applicants seek to charge NYISO and PJM and their customers for the cost of that 
barrier.66

38. 	Second, the Presiding Judge found that there are no contractual relationships

between Joint Applicants and NYISO or between Joint Applicants and PJM that support the proposed cost allocation.67

39. 	The Presiding Judge explained that the only agreement providing for allocation of 
costs among MISO and PJM is the JOA.68  The Presiding Judge continued that the JOA 
precludes allocation of costs associated with the ITC PARs to PJM both because its 
procedures were not followed and because of the application of the Mobile-Sierra 
doctrine.69  The Presiding Judge explained that under the Mobile-Sierra doctrine, the

63 Id. P 381.

64 Id. P 382 (citing PJMTOs Initial Br. at 6-7).

65 Id. (citing PJMTOs Initial Br. at 9).

66 Id. (see Ex. PJM-1 at 4:17-18 (explaining that loop flows “are an accepted part 
of operating an interconnected transmission grid”); PJMTOs Initial Br. at 7; PJM Reply 
Br. at 26).

67 Id. P 384 (citing Hearing Tr. 91:14-92:25; Ex. PTO-1 at 23:12-14; Ex. NYT-1 
at 5-6).

68 Id. P 385 (citing Ex. PTO-1 at 23:12-15).

69 Id.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 18 -

Commission is bound to enforce the rates, terms, and conditions of all Commission-

accepted agreements and may modify such an agreement “only if it ‘adversely affects the public interest.’”70  The Presiding Judge continued that PJM argues that the Commission repeatedly has recognized its “obligation under the FPA to enforce the provisions of 
parties’ agreements” and, therefore, the Commission “will hold parties to the language they drafted and agreed to.”  The Presiding Judge also explained that PJM argues that the Commission may amend such agreements “only in circumstances of unequivocal public necessity” and “has no discretion to accept a FPA section 205(e) rate filing that 
contravenes a private contract.”71  The Presiding Judge concluded that the installation of the ITC PARs was a local decision made without any interregional involvement and 
without following the procedures outlined in the JOA.72

40. 	The Presiding Judge also explained that NYTOs argue that, despite the absence of 
any customer or contractual relationship, Joint Applicants seek to have the Commission 
force NYISO and PJM and their customers to pay for facilities that pre-exist the JOA.73 
The Presiding Judge continued that NYTOs argue that these are the very same costs that 
MISO refused to allocate to its customers outside of the ITC zone, but now seek approval 
to impose on non-customers outside of the ITC region.  Moreover, the Presiding Judge 
explained that NYTOs assert that Joint Applicants’ filing runs afoul of Opinion No. 49474 
because, with respect to pre-existing facilities, the fact that such facilities might provide 
some benefit outside a particular transmission zone does not justify reallocating the costs 
across regions.75  The Presiding Judge explained that in Opinion No. 494, discussed infra, 
the Commission determined that broad cost allocation is not warranted where “existing

70 Id. (citing PJM Initial Br. at 9 (citing Midwest Indep. Transmission Sys.

Operator, Inc., 122 FERC ¶ 61,090, at P 47 n.41 (2008) (quoting Sierra, 350 U.S. at 
355))).

71 Id. (citing PJM Initial Br. at 10).

72 Id.

73 Id. P 386 (citing NYTOs Initial Br. at 2).

74 PJM Interconnection, L.L.C., Opinion No. 494, 119 FERC ¶ 61,063 (2007),

order on reh’g, Opinion No. 494-A, 122 FERC ¶ 61,082, order denying reh’g, 124 FERC ¶ 61,033 (2008), Illinois Commerce Commission v. FERC, 576 F.3d 470 (7th Cir. 2009), order on remand, PJM Interconnection, L.L.C., 138 FERC ¶ 61,230 (2012), order on reh’g, 142 FERC ¶ 61,216 (2013).

75 Initial Decision, 141 FERC ¶ 63,021 at P 386 (citing NYTOs Initial Br. at 15).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 19 -

facilities represent sunk costs that were built primarily by individual utilities to serve their own internal needs and were financed by those utilities.”76

41. 	The Presiding Judge explained that Joint Applicants could have availed

themselves of the benefits of the JOA, but they did not, and that Joint Applicants also

could have filed for a transmission service rate to account for the purported extra costs of the unscheduled loop flows, but they did not.77  The Presiding Judge concluded that Joint Applicants have not demonstrated that the ITC PARs are backbone facilities that benefit the entire multi-regional footprint.78  Moreover, the Presiding Judge agreed with NYISO that Joint Applicants are not proposing to charge NYISO for its unscheduled use of 
MISO’s transmission system.79  Thus, the Presiding Judge concluded that not only is there no customer or contractual relationship that justifies the proposed cost allocation, but Joint Applicants also seek to allocate pre-existing sunk costs.

b.	Joint Applicants’ Brief on Exceptions

42.	Joint Applicants state that the Presiding Judge erred in finding that contracts are a

prerequisite to transmission charges under the FPA.  Joint Applicants explain the

Presiding Judge’s finding that FPA section 205 only permits the assessments of costs to 
entities with which the utility has a customer or contractual relationship is directly 
contrary to the Commission’s holding in Order No. 1000 that “[n]either section 205 nor 
section 206 of the FPA state or imply that an agreement is a precondition for any 
transmission charges.”80  Joint Applicants continue that Order No. 1000 states:

76 Id. (citing NYTOs Initial Br. at 15 (quoting Opinion No. 494, 119 FERC ¶ 61,063 at P 50)).

77 Id. P 387.

78 Id. (citing Opinion No. 494, 119 FERC ¶ 61,063 at P 80).

79 Id. (citing NYISO Initial Br. at 25).

80 Joint Applicants Brief on Exceptions at 13 (quoting Order No. 1000, FERC Stats. & Regs. ¶ 31,323 at P 533).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 20 -

On the contrary, the Commission’s jurisdiction is clearly broad

enough to allow it to ensure that all beneficiaries of service provided by specific transmission facilities bear the costs of those benefits regardless of their contractual relationship with the owner of those transmission facilities.[81]

43. 	Joint Applicants note that because neither ITC nor MISO has a customer or contractual relationship with either NYISO or PJM regarding the ITC PARs, the Presiding Judge’s finding that the existence of such a relationship is necessary as a prerequisite to the imposition of charges under the FPA negatively influenced Joint Applicants’ filing and the Presiding Judge’s findings on several other issues, and accordingly, the Initial Decision should be vacated.82

c.	Briefs Opposing Exceptions

44.	PJMTOs, PJM, NYTOs, NYISO, MISOTOs, and Trial Staff (the Opposing

Parties) state that they oppose Joint Applicants’ argument that the Presiding Judge erred in finding that contracts are a prerequisite to transmission charges under the FPA.83 NYISO also states that this legal finding has no relation to the factual findings, and as such, the Commission should reject Joint Applicants’ argument that the legal finding prejudiced the entire Initial Decision.84

45. 	PJMTOs, NYTOs, and Trial Staff explain that Joint Applicants mischaracterize 
the Presiding Judge’s finding that only contracts are a prerequisite to transmission 
charges.  PJMTOs, NYTOs, and Trial Staff explain that the Presiding Judge applied a 
two-pronged analysis and held that FPA section 205 permits a utility to assess costs under 
two circumstances:  (1) where the entity assessed is taking jurisdictional service from the 
utility or (2) where the entity assessed is a party to an agreement authorizing the utility to 
assess the costs.  PJMTOs, NYTOs, and Trial Staff state that under the first prong, the 
proposed allocation is not authorized by FPA section 205 because it does not involve any 
transmission service or sale subject to the jurisdiction of the Commission.  PJMTOs,

81 Id. (quoting Order No. 1000, FERC Stats. & Regs. ¶ 31,323 at P 531).

82 Id.

83 PJMTOs Brief Opposing Exceptions at 5-6; PJM Brief Opposing Exceptions at 
37; NYTOs Brief Opposing Exceptions at 15-17; NYISO Brief Opposing Exceptions at 
9-11; MISOTOs Brief Opposing Exceptions at 9; Trial Staff Brief Opposing Exceptions 
at 14-16.

84 NYISO Brief Opposing Exceptions at 9-10.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 21 -

NYTOs, and Trial Staff continue that under the second prong, there is no contractual relationship among the parties that would support the proposed cost allocation.  These parties conclude that the Presiding Judge correctly found that Joint Applicants did not meet the requirements under the two pronged analysis.85

46. 	NYTOs state that the fundamental issue addressed by the Presiding Judge was not 
whether Joint Applicants can charge other regions for the costs of the ITC PARs only if 
they have a customer or contractual relationship, but rather whether Joint Applicants have 
carried their burden to show that the tariff they filed establishes any service commitment 
that gives the Commission jurisdiction.  NYTOs state that if there is no transmission 
service involved, a utility may not collect charges under FPA section 205.  NYTOs 
explain that Joint Applicants’ tariff lacks the requisite service commitment because Joint 
Applicants have not taken exception to the Presiding Judge’s finding that the whole 
purpose of the ITC PARs is to deny transmission service to NYISO and PJM by ensuring 
that no flows of energy from the NYISO region move on ITC’s transmission facilities.86 
Additionally,  NYTOs explain that Joint Applicants’ Department of Energy-approved 
operating guide does not show a commitment to operate the ITC PARs to provide 
transmission service for NYISO or PJM, and NYISO and PJM and their customers are 
not parties to that agreement.87

47. 	PJMTOs, MISOTOs, and Trial Staff state that the Commission should reject Joint 
Applicants’ arguments as to Issue 1 because the Presiding Judge did not undermine Order 
No. 1000.88  MISOTOs explain that, while Order No. 1000 stated that FPA section 205 
provides the Commission with jurisdictional authority to approve the allocation of costs 
to parties who benefit from a service even when there is no specific contract allowing for 
such allocation, Order Nos. 1000 and 1000-A held that the cost of facilities constructed in 
one region cannot be allocated to other regions absent their consent.89  Trial Staff

85 PJMTOs Brief Opposing Exceptions at 6-8 (citing Initial Decision, 141 FERC ¶ 63,021 at P 369); NYTOs Brief Opposing Exceptions at 15-16; Trial Staff Brief 
Opposing Exceptions at 15-16.

86 NYTOs Brief Opposing Exceptions at 15-17 (citing Initial Decision, 141 FERC ¶ 63,021 at PP 381-382).

87 Id. at 17.

88 PJMTOs Brief Opposing Exceptions at 2-3; MISOTOs Brief Opposing Exceptions at 9-10; Trial Staff Brief on Exceptions at 16.

89 MISOTOs Brief Opposing Exceptions at 9-11 (citing Order No. 1000, FERC Stats. & Regs. ¶ 31,323 at P 657).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 22 -

explains that Order No. 1000’s holding that an agreement is not a precondition for

transmission charges is not triggered because neither NYISO nor PJM take transmission service from MISO or ITC.  Trial Staff continues that Joint Applicants repeatedly stated that Order No. 1000 does not apply in this case.90

48. 	NYISO states that the Commission held in Order No. 1000 that “[n]either section 
205 nor section 206 of the FPA state or imply that an agreement is a precondition for any 
transmission charges.”91  NYISO continues that in Order No. 1000-A, the Commission 
rejected on rehearing arguments that “the costs of new transmission facilities can only be 
allocated within a preexisting contractual relationship,” reasoning that “[r]ather than 
contractual relationships, the benefits received by users of the regional transmission grid 
provide for a basis for how costs should be allocated.”92  NYISO explains that the 
customer or contractual relationship issue is currently unresolved, as it is pending in 
judicial review,93 and the Presiding Judge’s finding related to this issue was made with 
full awareness of the current posture of Order No. 1000 and 1000-A.94

d.	Commission Determination

49.	We reverse the Initial Decision as it pertains to the Presiding Judge’s finding that

FPA section 205 only permits assessment of costs to entities with which the utility has a 
customer or contractual relationship.  Consistent with the subsequent conclusion of the 
D.C. Circuit in its decision affirming Order No. 1000, we find that a customer or 
contractual relationship is not a prerequisite to the allocation of transmission charges.

50. 	In Order No. 1000, the Commission rejected the argument that the FPA limits the 
allocation of transmission costs to beneficiaries that have a customer or contractual 
relationship with the entity that is collecting costs.  The Commission stated that “[n]either

90 Trial Staff Brief on Exceptions at 16.

91 NYISO Brief Opposing Exceptions at 10 (citing Order No. 1000, FERC Stats. & Regs. ¶ 31,323 at P 533).

92 Id. (citing Order No. 1000-A, 139 FERC ¶ 61,132 at P 564).

93 The oral argument in the Order No. 1000 appeal occurred on March 20, 2014. 
As cited above, the United States Court of Appeals for the District of Columbia (D.C. 
Circuit) issued its opinion after the issuance of the Initial Decision and the submission of 
briefs on and opposing exceptions.  See S.C. Pub. Serv. Auth. v. FERC, 762 F.3d 41.

94 NYISO Brief Opposing Exceptions at 11 (citing Initial Decision, 141 FERC ¶ 63,021 at PP 330, 336, 377).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 23 -

section 205 nor section 206 of the FPA state or imply that an agreement is a precondition 
for any transmission charges.”95  Additionally, the Commission found that nothing in the 
language of FPA section 205 or section 206 “precludes flows of funds to public utility 
transmission providers through mechanisms other than agreements between the service 
provider and the beneficiaries of those transmission facilities.”96  The Commission stated 
that, on the contrary, “the Commission’s jurisdiction is clearly broad enough to allow it to 
ensure that all beneficiaries of services provided by specific transmission facilities bear 
the costs of those benefits regardless of their contractual relationship with the owners of 
those transmission facilities.”97

51. 	In affirming Order No. 1000, the D.C. Circuit likewise rejected the argument that 
FPA section 206 unambiguously forecloses the Commission from mandating the 
allocation of costs beyond pre-existing commercial relationships.  The D.C. Circuit held 
that “[n]o such limitation exists in the statutory text	 Section 206 nowhere limits cost

allocation to entities with preexisting commercial relationships.  To the contrary, it

empowers the Commission to fix ‘any rate’ ‘demanded, observed, charged, or collected 
by any public utility for any transmission . . . subject to the jurisdiction of the 
Commission,’ and ‘any . . . practice’ ‘affecting such rate.’” 98  The D.C. Circuit added 
that “[t]he use of ‘any’ to describe ‘rate,’ ‘public utility,’ and ‘transmission’ bestows 
authority on the Commission that is not cabined to pre-existing commercial relationships 
of any given utility.”99

52. 	We agree with NYISO that the Initial Decision should not be vacated based on the Presiding Judge’s finding on this issue.  Contrary to Joint Applicants’ statement that this finding negatively influenced the Presiding Judge’s view of the entire record and thus the outcome of the Initial Decision, we find that Joint Applicants’ proposed cost allocation is unjust and unreasonable for other reasons, discussed infra.

95 Order No. 1000, FERC Stats. & Regs. ¶ 31,323 at P 533.

96 Id.; see also Order No. 1000-A, 139 FERC ¶ 61,132 at P 570.

97 Order No. 1000, FERC Stats. & Regs. ¶ 31,323 at PP 530-531.

98 S.C. Pub. Serv. Auth. v. FERC, 762 F.3d at 84 (citing section 206(a) of the FPA (emphasis supplied by the Court)).

99 Id.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 24 -

2.	Pre-Order No. 1000 Commission Precedent on Allocating Loop

Flow Costs to Neighboring Utilities Absent a Consensual

Arrangement

a.	Presiding Judge’s Findings

53.	The Presiding Judge found that, although the policies adopted by the Commission

in Order No. 1000 - including interregional cost allocation principle four,100  - do not apply to the ITC PARs or to Joint Applicants’ filing since the installation of the ITC PARs and the rate filing both pre-dated the issuance and the effective date of Order No. 1000, the Commission’s pre-Order No. 1000 policy with respect to interregional cost allocation was “the same as that found in cost allocation principle four of Order No. 1000.”101  The Presiding Judge further found that:

The Joint Applicants have violated this policy in that the proposed cost

allocation for the interregional transmission facility (the ITC PARs) is not limited to the transmission planning region in which the PARs are located and the Joint Applicants have not engaged in any consensual negotiation to resolve the alleged loop flow problem.[102]

54. 	In so doing, the Presiding Judge found that under pre-Order No. 1000 policy, the 
Commission has rejected unilateral filings by a utility to impose loop flow costs on 
neighboring utilities and instead has required consensual resolution, which the Presiding

100 Interregional Cost Allocation Principle 4: 	“Costs allocated for an interregional

transmission facility must be assigned only to transmission planning regions in which the transmission facility is located.  Costs cannot be assigned involuntarily under this rule to a transmission planning region in which that transmission facility is not located.” 
Order No. 1000, FERC Stats. & Regs. ¶ 31,323 at P 657.

101 Initial Decision, 141 FERC ¶ 63,021 at P 411 (citing Permian Basin, 390 U.S. 747, Sierra, 350 U.S. 348, Illinois Commerce Commission I, 576 F.3d 470, and Am. Elec. Power Serv. Corp., 49 FERC ¶ 61,377 (1989)).

102 Id. P 412.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 25 -

Judge found to be absent in this case.103  Citing Indiana Michigan Power,104 the Presiding Judge quoted the Commission:

While the Commission has left open an option for utilities to seek

compensation for unscheduled power flows if the problem cannot be

resolved through mutual agreement, this was not intended as an alternative 
to a good faith attempt at working out the problem.  Rather, it was intended 
as a last resort to address situations that could not be resolved consensually. 
Utilities that choose to interconnect bear the responsibility to exercise all 
appropriate measures to resolve loop flow and other operational problems 
on a mutually acceptable basis, including dispute resolution mechanisms 
clearly delineated in their contracts, before filing a transmission service rate 
with the Commission.  Even if utilities’ contracts do not contain specific 
provisions requiring attempts at mutual resolution, as here, we expect

utilities to make such attempts before filing a loop flow transmission rate. If, in the event good faith negotiation proves unsuccessful in resolving a 
loop flow problem, and a Commission filing is made, the Commission will consider all potential remedies (including options that the parties neglect to present to the Commission), and will select the remedy that in its view best reflects the public interest.[105]

55. 	The Presiding Judge found that Joint Applicants failed to overcome the

requirement of voluntary cost sharing between different regions, especially where the

sunk cost (the ITC PARs) is not located in the region being asked to pay.  The Presiding 
Judge found that in the instant case, and contrary to the Commission’s holding in Indiana 
Michigan Power, Joint Applicants made a unilateral filing without a showing that they 
engaged in a “good faith effort” to work out their problems with NYISO and PJM prior to 
their filing.106

103 Id. P 391 (“the Commission has rejected unilateral filings by a utility to impose loop flow costs on neighboring utilities and has required ‘good faith’ negotiation.”).

104 Indiana Michigan Power Co. and Ohio Power Co., 64 FERC ¶ 61,184 (1993) (Indiana Michigan Power).

105 Initial Decision, 141 FERC ¶ 63,021 at P 395 (quoting Indiana Michigan Power, 64 FERC at 62,554) (emphasis in original).

106 Id. P 404 (citing Indiana Michigan Power, 64 FERC ¶ 61,184).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 26 -

b.	Joint Applicants’ Brief on Exceptions

56.	Joint Applicants assert that, prior to Order No. 1000, the Commission never had a

policy that prohibited involuntary interregional cost allocation in appropriate cases.  That policy prohibition, they argue, was established for the first time in Order No. 1000, and it is inextricably linked to the new transmission planning reforms adopted in that order.107 They argue that, prior to Order No. 1000, there were no binding policy distinctions 
between regional and interregional cost allocation, and involuntary interregional cost allocations in appropriate circumstances were not barred.

57. 	In addition, Joint Applicants contend that they did attempt in good faith prior to 
the filing to negotiate a consensual cost sharing arrangement with NYISO and PJM with 
respect to the ITC PARs, but that attempt was rebuffed.108  They also contend that the 
Commission’s decision setting the filing for hearing shows that they attempted in good 
faith to negotiate a cost-sharing agreement.109  Joint Applicants contend that the Presiding 
Judge’s erroneous view of binding Commission policy negatively influenced the rest of 
the Initial Decision.

c.	Briefs Opposing Exceptions

i.	Involuntary Cost Allocation

58.	The Opposing Parties argue that the Presiding Judge correctly relied on

Commission precedent.110  Trial Staff argues that the Presiding Judge did not rely on

Commission policy per se but rather on Commission cases in which it rejected unilateral

107 Joint Applicants Brief on Exceptions at 14 (citing Order No. 1000, FERC Stats. & Regs. ¶ 31,323 at P 539).

108 Id. at 15 (citing Hearing Order, 133 FERC ¶ 61,275 at P 8; Ex. S-4, NYISO’s 
Broader Regional Markets Report filed on January 12, 2010 in Docket No. ER08-1281, 
transmittal letter at 14-15 and Attachment E).  According to Joint Applicants, the exhibit 
recounts ITC’s efforts a full year prior to the submission of the instant rate filing to 
commence discussions of interregional allocation of the costs of the ITC PARs and the 
rebuff of that proposal.

109 Id.

110 Trial Staff Brief Opposing Exceptions at 17-18; NYISO Brief Opposing

Exceptions at 12-14; NYTOs Brief Opposing Exceptions at 19-21; PJM Brief Opposing Exceptions at 22-25; PJMTOs Brief Opposing Exceptions at 9-11; MISOTOs Brief Opposing Exceptions at 12-15.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 27 -

filings by a utility to impose costs related to loop flow on neighboring utilities in the 
absence of good faith negotiations to resolve loop flows.  NYTOs assert that the Initial Decision was not “premised” on a single policy finding; rather, it is supported by an 
expansive record that, NYTOs contend, time and again illuminates Joint Applicants’ 
evidentiary failings.

59. 	NYISO argues that Joint Applicants gloss over the actual content of paragraph 411 
of the Initial Decision.  NYISO argues that, in that paragraph, as well as in paragraphs 
391-400, the Presiding Judge reviewed the cases cited in the parties’ briefs and 
appropriately found - citing American Elec. Service Power Corp. and Indiana Michigan 
Power - that the Commission’s pre-Order No. 1000 policy was, like Order No. 1000 cost 
allocation principle four, premised on consensual arrangements between neighboring 
utilities.  In support, NYISO cites a 1995 order involving the Western Systems 
Coordinating Council (WSCC), in which the Commission accepted for filing a plan 
addressing loop flow that was developed by the signatories to the WSCC Agreement to 
address a longstanding problem.111  NYISO states that the plan called for the use of 
controllable devices owned by five of the member utilities and included a cost allocation 
and compensation methodology.  The plan was approved by 57 of the 64 WSCC 
members.  In noting favorably the collaborative development and approval of the plan, 
the Commission contrasted attempts to impose charges on neighbors through section 205 
filings, stating: “The Commission has consistently rejected unilateral filings by single 
utilities proposing to impose charges, terms and conditions on a neighboring utility that, 
according to the filing utility, is responsible for loop flows.”112

60. 	NYTOs argue that the Commission, against that backdrop of rejection of such

unilateral filings, reaffirmed this approach in Order No. 890 while recognizing the

potential for “free rider problems.”113  NYTOs state that Order No. 1000 again reaffirmed

111 See S. Cal. Edison Co., 70 FERC ¶ 61,087 (footnote omitted) (S. Cal. Edison), subsequent order approving loop flow plan, 73 FERC ¶ 61,219 (1995).

112 NYISO Brief Opposing Exceptions at 12-13 (citing S. Cal. Edison, 70 FERC at 61,250).

113 NYTOs Brief Opposing Exceptions at 19 (citing Preventing Undue

Discrimination and Preference in Transmission Service, Order No. 890, FERC Stats. & 
Regs. ¶ 31,241, at P 561, order on reh’g, Order No. 890-A, FERC Stats. & Regs. ¶ 
31,261 (2007), order on reh’g, Order No. 890-B, 123 FERC ¶ 61,299 (2008), order on 
reh’g, Order No. 890-C, 126 FERC ¶ 61,228 (2009), order on clarification, Order No. 
890-D, 129 FERC ¶ 61,126 (2009) (“[W]e recognize that there are free rider problems 
associated with new transmission investment” . . . but “continue to believe that regional 
solutions that garner the support of stakeholders, including affected state authorities, are 
preferable.”)).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 28 -

this policy and rejected MISO’s argument that the Commission should change its policy as it applies to interregional cost allocations.  NYTOs also noted that, regarding Joint Applicants’ free rider concerns, the Initial Decision found that Joint Applicants had failed to establish that PJM and NYISO are free riders.

61. 	NYISO contends that Joint Applicants do not cite a single case from the pre-Order No. 1000 period where the Commission approved non-consensual charges imposed by 
one utility on another to address loop flow issues.  NYTOs assert that the record is 
undisputed that Joint Applicants have not proposed to use the ITC PARs to provide 
transmission service to NYISO or PJM.  As a result, NYTOs state that MISO witness 
Mr. Chatterjee confirmed that the cost allocation cases cited in his testimony are not 
analogous to the situation here as the Presiding Judge found114 and that MISO correctly 
admitted that its attempt to force other regions to pay for the costs of facilities that are not in their regions is a case of first impression.

62. 	Regarding Joint Applicants’ claim that “the Commission never had a policy that prohibited interregional cost allocation” and “involuntary interregional cost allocations in appropriate circumstances were not barred,” PJMTOs and MISOTOs argue that Joint Applicants neither cite any Commission decisions to support their claim nor attempt to distinguish or refute any of the several cases cited by the Initial Decision.115

ii.	Lack of Good Faith Effort to Negotiate

63.	The Opposing Parties argue that the Presiding Judge’s finding of a lack of a “good

faith effort” by Joint Applicants to work out the problem with NYISO and PJM was

supported by record evidence.  For example, NYISO states that ITC admitted in

discovery that it did not ask NYISO to contribute to the cost of the ITC PARs until after 
it had already begun its efforts to construct the ITC PARs.116  NYISO further argues that 
Joint Applicants do not assert that Detroit Edison (ITC’s predecessor) sought any 
agreement to share costs with NYISO or PJM prior to the construction of the Original 
PAR, of which the ITC PARs were simply replacements.  NYISO states that the 
December 23, 2009 letter from ITC (included as Attachment E to the January 12, 2010 
NYISO report on Broader Regional Markets) that asks for contributions from NYISO and 
others explicitly states in the first paragraph that ITC has already “installed new PARs.”

114 NYTOs Brief Opposing Exceptions at 20 (citing Chatterjee Cross Examination, Tr. 220:24-223:3).

115 PJMTOs Brief Opposing Exceptions at 10-11; MISOTOs Brief Opposing Exceptions at 13.

116 NYISO Brief Opposing Exceptions at 13-14 (citing Ex. NYT-11 at 1).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 29 -

Further, ITC’s request for NYISO to contribute was made after the completion of

MISO’s planning process, after the construction of the ITC PARs was essentially

complete, and over two years after ITC assumed a contractual obligation to construct the 
ITC PARs.  NYISO contends that ITC moved forward with the construction of the ITC 
PARs without any assurance that the ITC PARs were candidates for multi-regional cost-
sharing, according to NYISO.  Thus, NYISO argues, planning and building new 
transmission facilities without the involvement or consent of the neighboring regions, 
then demanding payment from those regions after the facilities were constructed and the 
costs sunk, does not constitute a “good faith effort” to consensually resolve an 
interregional cost sharing issue.  Regarding the matter being set for hearing, NYISO 
notes that the portion of the Hearing Order cited by Joint Applicants is part of the 
Background section of the order, in which the Commission recounted statements made by 
various parties but made no rulings.

64. 	PJM asserts that Joint Applicants provide no support whatsoever for their

contention that they ever approached or engaged in negotiations with PJM about cost

allocation for the ITC PARs.  PJM states that Joint Applicants cite to a report by NYISO but do not mention PJM.117  PJM adds that its unrebutted testimony shows that neither MISO nor ITC ever approached PJM to discuss an allocation of the costs to PJM prior to Joint Applicants filing their cost allocation proposal.118  Trial Staff notes that, at hearing, Joint Applicants presented no witnesses to testify to the timing of any negotiation 
sessions with PJM and/or NYISO.119

65. 	PJM argues that the Commission’s policy of requiring good faith negotiation

before bringing a unilateral rate filing before the Commission is based on the

fundamental premise that “[i]nadvertent or unauthorized power flows are an unavoidable 
consequence of interconnected utility operations”120 and “that fact alone traditionally has 
not entitled the interconnected neighboring transmission system to the Commission’s 
ordering compensation.”121  Rather, PJM states that the Commission has found that

117 PJM Brief Opposing Exceptions at 22-23 (citing Hearing Order, 133 FERC ¶ 61,275 at P 8).

118 Id.

119 Trial Staff Brief Opposing Exceptions at 18.

120 PJM Brief Opposing Exceptions at 24 (quoting Am. Elec. Power Serv. Corp.,

49 FERC, at 62,381 (emphasis added)).

121 Id. (quoting Am. Elec. Power Serv. Corp., 93 FERC ¶ 61,151, at 61,474 (2000) (emphasis added)).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 30 -

“[u]tilities that choose to interconnect bear the responsibility to exercise all appropriate 
measures to resolve loop flow and other operational problems on a mutually acceptable 
basis.”122  According to PJM, the Commission has “directed the utilities themselves, in 
the first instance to work to resolve such issues.”123  Moreover, PJM asserts that only “as 
a last resort to address situations that could not be resolved consensually”124 will the 
Commission consider unilateral cost allocations if the proponent can demonstrate that the 
loop flow places “a burden on its system.”125  PJM states that it and MISO did resolve 
consensually how to resolve loop flows and cross-border allocations when they entered 
into the JOA.

d.	Commission Determination

66.	We reverse the Initial Decision with respect to the Presiding Judge’s conclusion

that certain pre-Order No. 1000 Commission precedent with respect to allocation of loop flow costs to neighboring utilities absent a consensual resolution precludes Joint 
Applicants’ proposal.

67. 	In American Elec. Power Service Corp., the Commission expressed a preference for voluntary resolutions of certain operational issues, such as loop flow.  The 
Commission explained that:

Inadvertent or unauthorized power flows are an unavoidable consequence 
of interconnected utility operations.  Interconnected utilities must, and do, 
work closely to ensure that the operation of one system does not jeopardize 
the reliability of a neighboring system, nor diminish the neighbor's ability 
to utilize its system in the most economical manner	 The Commission,

however, does not and, indeed, could not oversee the operation of utility 
systems	 It is, in the first instance, for the interconnected parties as the 
owners and operators of utility systems to establish mutually acceptable

122 Id. (quoting Indiana Michigan Power, 64 FERC at 62,554 (emphasis added)). 123 Id. (quoting Am. Elec. Power Serv. Corp., 93 FERC at 61,474). 
124 Id. (quoting Pa. Elec. Co., 65 FERC ¶ 61,304, at 62,402 (1993)). 
125 Id. (quoting Am. Elec. Power Serv. Corp., 49 FERC at 62,381).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 31 -

operating practices.  In addition, if Allegheny can demonstrate that this transaction is a burden on its system, Allegheny can file a transmission service rate for Commission consideration which would account for any unauthorized loop flows.[126]

68. 	However, the Commission has explained that “[t]he Commission’s authority is not 
limited in principle by cases where the Commission expresses a preference not to 
exercise that authority.”127  Thus, while the Commission has made clear its preference 
that interconnected utilities strive to resolve loop flow-related issues among themselves 
rather than resort to unilaterally filing proposed solutions with the Commission, a public 
utility is legally permitted to make a unilateral filing to address loop flow.128

69. 	We also disagree with the Presiding Judge’s application to this case of Indiana 
Michigan Power.  In that case, the Commission determined that, in light of the terms of existing interconnection agreements between the parties, the filing was at best premature and inconsistent with the parties’ contractual commitment to resolve technical and 
operating problems of that kind according to mutually acceptable practice.129  The 
Commission further found:

The interconnection agreements provide for synchronous operations along 
with different types of energy transactions such as coordination, sale and 
purchase, interchange and energy transfer, as defined in specific service 
schedules among the parties.  All of the agreements contain provisions 
clearly stating that mutual agreement is necessary to change the terms and 
conditions of the various service schedules, and to provide for new or 
supplemental service.[130]

70. 	Thus, the Commission’s determination in Indiana Michigan Power turned on the 
applicants’ failure to follow procedures set forth in the relevant contracts requiring that 
the contracting parties resolve technical and operational difficulties by mutual agreement.

126 Am. Elec. Power Serv. Corp., 49 FERC at 62,381.

127 Order No. 1000, FERC Stats. & Regs. ¶ 31,323 at P 539.

128 While we agree with the Presiding Judge that Cost Allocation Principle 4 of Order No. 1000 is consistent with principles set forth in Commission orders prior to Order No. 1000, we interpret those cases differently, as discussed above.

129 Indiana Michigan Power, 64 FERC at 62,552.

130 Indiana Michigan Power, 64 FERC at 62,552..

Docket Nos. ER11-1844-001 and ER11-1844-002	- 32 -

That determination is consistent with the Commission’s preference for interconnected 
utilities to resolve such issues between themselves, as stated in American Elec. Power 
Service Corp., and did not preclude Joint Applicants from proposing to allocate the ITC 
PARs costs.

3.	Pre-Order No. 1000 Commission Precedent on Relationship

between Joint Transmission Planning and Cost Allocation

a.	Presiding Judge’s Findings

71.	The Presiding Judge agreed with PJM that Joint Applicants’ proposal was

inconsistent with the Commission’s policy dictating that cost allocation must follow 
transmission planning.131  PJM asserted that the intent of this policy was to ensure that 
the parties who are to pay for facilities are involved in the determination of whether such 
facilities “are necessary to meet [their] reliability and economic needs.”132  The Presiding 
Judge agreed with PJM that, while the Commission permits regional cost allocation for 
new transmission facilities to “influence[] the incentive to invest,” with regard to 
facilities constructed prior to the advent of regional transmission planning processes, the 
Commission has held that “[t]hese transmission facilities were developed by the 
individual companies to benefit their own systems and their own customers.”133  The 
Presiding Judge also found that the proposed cost allocation was created long after the 
decision to construct the Original PAR was made.  Further, the Presiding Judge found 
that neither NYISO nor PJM participated in the planning decision processes for either the 
Original PAR or the ITC PARs, nor did NYISO or PJM have any notice that they might 
be allocated costs for the ITC PARs.  The Presiding Judge found, therefore, that Joint 
Applicants’ request for an allocation of costs to NYISO and PJM as beneficiaries was 
barred.134

131 Initial Decision, 141 FERC ¶ 63,021 at PP 621-622 (citing PJM Initial Br. at 
29-30).

132 Id. P 621 (citing PJM Initial Br. at 29 (citing Opinion No. 494, 119 FERC ¶ 61,063 at P 44)).

133 Id. P 634 (citing PJM Initial Br. at 32 (citing Opinion No. 494, 119 FERC ¶ 61,063 at PP 42, 53)).

134 Id. P 623 (citing PJM Initial Br. at 31).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 33 -

72. 	The Presiding Judge also agreed with NYISO that Joint Applicants were seeking to impose a “super-regional postage stamp rate” on entities outside the MISO footprint.135 Both the Presiding Judge and NYISO noted that in Opinion Nos. 494 and 494-A, the 
Commission made a clear distinction between “zonal” license-plate rates and “postage 
stamp” rates, with the distinction centering around pre-existing facilities and associated sunk costs and the construction of new or planned facilities.136  The Presiding Judge 
pointed to the Commission’s determination in Opinion No. 494 that using a license-plate rate design137 was essentially the same as allocating existing system costs to the parties 
for whom the investment was originally made.138

73. 	In addition to reviewing Opinion No. 494, the Presiding Judge agreed with NYISO 
and PJM that AEP applied in this case.  The Presiding Judge explained that, in AEP, the 
Commission provided three reasons for rejecting AEP’s assertion that its existing high-
voltage facilities provided regional benefits and that, therefore, the costs for the facilities 
should be allocated on a regional basis within both MISO and PJM:  (1) AEP’s facilities 
were not “planned to address regional needs of either the [MISO] or PJM wholesale

market, and therefore they [were] not comparable to new facilities that were planned 
pursuant to each RTO’s regional planning process;” (2) AEP’s facilities “were created 
principally to serve the customers of the transmission owners on whose system they are 
located and were not the product of centralized regional planning;” and (3) “AEP 
undertook financial responsibility for the existing projects they planned before it was 
known whether any cost sharing policy would be adopted.”139  The Presiding Judge noted 
that Mr. Chatterjee attempted to distinguish the current filing from AEP but found that

135 Id. P 635 (citing NYISO Initial Br. at 47).

136 Id. (citing NYISO Initial Br. at 47-48 (citing Opinion No. 494, 119 FERC

¶ 61,063 at P 1 n.2, P 18; Midwest Indep. Transmission Sys. Operator, Inc., 114 FERC ¶ 61,106, order on reh’g, 117 FERC ¶ 61,241 (2006); and American Electric Power Service Corp. v. MISO, 122 FERC ¶ 61,083, at P 18 n.30 (AEP I), order on reh’g, 125 FERC ¶ 61,341 (2008) (AEP II))).

137 Under a license-plate (or zonal) rate design, a customer pays the embedded cost 
of transmission facilities that are located in the same zone as the customer.  A customer 
does not pay for other transmission facilities outside of the zone, even if the customer 
engages in transactions that rely on those zones.  Opinion No. 494-A, 122 FERC ¶ 61,082 
at P 1 n.2.

138 Initial Decision, 141 FERC ¶ 63,021 at P 636 (citing Opinion No. 494-A, 122 FERC ¶ 61,082 at P 26 n.28).

139 Id. P 652 (citing AEP II, 125 FERC ¶ 61,341 at P 42; PJM Initial Br. at 33).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 34 -

Mr. Chatterjee’s testimony was unsupported and contrary to Commission precedent.

Thus, the Presiding Judge found that the ITC PARs were pre-existing facilities planned to

meet the needs within MISO.140

b.	Joint Applicants’ Brief on Exceptions

74.	Joint Applicants argue that the Presiding Judge erroneously interpreted the

Commission’s policy regarding interregional cost allocation in Opinion No. 494 and AEP 
as barring the proposed cost allocation.141  Joint Applicants argue that both Opinion No. 
494 and AEP are limited to their specific facts and are readily distinguishable from this 
proceeding.  First, Joint Applicants argue that, unlike the instant case, Opinion No. 494 
and AEP involved requests under section 206 of the FPA to modify existing rates, thus 
requiring a different burden of proof.  Further, Joint Applicants argue that the ITC PARs 
are relatively small, discrete facilities, located at a single substation, that were neither in 
service nor approved by the U.S. Department of Energy when the cost allocation proposal 
was filed, whereas all facilities involved in Opinion No. 494 and AEP had been in service 
for many years.

75. 	Joint Applicants also argue that Opinion No. 494 and AEP involved large numbers of facilities that would have resulted in large, abrupt cost shifts if there had been a 
reallocation of costs.  In this case, Joint Applicants argue that the proposed cost allocation would involve such small cost shifts that they would be virtually lost in the rounding in NYISO’s and PJM’s rates.  Further, Joint Applicants assert that those costs would be 
more than offset by the benefits received from the physical loop flow control.  Joint 
Applicants also argue that the facilities involved in Opinion No. 494 and AEP provided only ancillary benefits to the surrounding regions.  In this case, Joint Applicants argue that the facilities are fundamentally different because they are designed to provide direct benefits to address Lake Erie loop flow, an interregional issue.142

c.	Briefs Opposing Exceptions

76.	The Opposing Parties agree with the Presiding Judge’s finding that the

Commission’s decisions in Opinion No. 494 and AEP barred Joint Applicants’ cost

allocation proposal.  The Opposing Parties disagree with Joint Applicants’ argument that Opinion No. 494 and AEP are distinguishable from the instant case because of the

140 Id. P 653 (quoting Ex. MSO Tab D at 25:3-13, 26:4-15).

141 Joint Applicants Brief on Exceptions at 15 (citing Initial Decision, 141 FERC ¶ 63,021 at PP 643, 652)).

142 Joint Applicants Brief on Exceptions at 17.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 35 -

different burdens of proof under sections 205 and 206 of the FPA.  NYISO argues that

the guidance that the Commission provided on cost allocation issues in those cases is just 
as relevant to determining whether Joint Applicants’ proposed cost allocation is just and 
reasonable in this proceeding.143  Similarly, PJMTOs assert that Joint Applicants 
incorrectly focus on burdens of proof in these cases, instead of how these cases illustrate 
the general principles that costs of pre-existing facilities must be allocated to those for 
whom the facility was constructed, and new transmission investments must go through a 
regional planning process before costs are allocated.144  NYTOs argue that Joint 
Applicants overlook the fact that the Commission ruled that joint planning is a 
precondition to cost allocation for new facilities apart from the rate design change 
issue.145  Trial Staff asserts that it is well-established that a party filing a rate adjustment 
with the Commission under section 205 of the FPA bears the burden of proving the 
adjustment is lawful,146 and MISOTOs assert that Joint Applicants failed to satisfy this 
burden.147

77. 	Several parties also dispute Joint Applicants’ claim that the instant case is

distinguishable from Opinion No. 494 and AEP because the ITC PARs facilities are small and the Joint Applicants’ cost allocation proposal would not involve large cost shifts. 
MISOTOs, PJMTOs, and Trial Staff argue that the relatively small cost impact of a 
proposed cost allocation does not justify a proposal that is otherwise contrary to 
Commission policy.148

143 NYISO Brief opposing Exceptions at 16. 
144 PJMTOs Brief opposing Exceptions at 13. 
145 NYTOs Brief opposing Exceptions at 22.

146 Trial Staff Brief opposing Exceptions at 19 (citing Al. Power Co. v. FERC, 993 F.2d 1557, 1571 (D.C. Cir. 1993)).

147 MISOTOs Brief opposing Exceptions at 14 (citing 16 U.S.C. § 824a(e) (2012); Allegheny Power v. FERC, 437 F.3d 1215, 1219 (D.C. Cir. 2006); 18 C.F.R. 
§ 35.13(e)(3) (2016)).

148 Id. Brief opposing at 14-15 (citing Joint Applicants Brief on Exceptions at 16-
17; La. Pub. Serv. Comm’n v. Entergy Servs., Inc., 113 FERC ¶ 61,282, at P 73 (2005)); 
PJMTOs Brief opposing Exceptions at 15-16; Trial Staff Brief opposing Exceptions at 
19-20.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 36 -

78. 	Several parties agree with the Presiding Judge that the ITC PARs should be

classified as pre-existing facilities.149  NYISO asserts that, even though the Commission’s 
license-plate rate design decisions are not limited to transmission facilities that have 
already been placed into service,150 the key issue is not whether the underlying 
transmission facility is already in service before a postage stamp cost allocation method 
takes effect, but rather whether the developer of a transmission facility moved forward in 
its effort to develop and construct that facility without any assurance that the project 
would be a candidate for regional or interregional cost-sharing.151  In this case, NYISO 
argues that there was no postage stamp rate in place for allocating costs across the MISO, 
PJM, and NYISO region in 1998 when Detroit Edison assumed the obligation to 
construct the Original PAR, or in 2007 when ITC assumed the obligation to construct the 
ITC PARs.  NYISO and Trial Staff also point out that ITC did not ask NYISO to 
contribute to the cost of the ITC PARs until October or November of 2009, after it had 
already begun its efforts to construct them, further supporting their contention that the 
ITC PARs are appropriately classified as pre-existing facilities not eligible for cost 
allocation outside of the local zone.152  Opposing Parties provide further arguments that 
the ITC PARs were existing facilities ineligible for a regional cost allocation.153

d.	Commission Determination

79.	We disagree with the Presiding Judge’s interpretation of Opinion No. 494 and

AEP and find that this precedent does not preclude the regional allocation of costs for 
existing facilities or facilities not developed as part of a joint transmission planning 
process.

149 See, e.g., PJM Brief opposing Exceptions at 28-29 (the Presiding Judge

correctly found that the ITC PARs are not new devices, but merely replacements for a pre-existing facility and, in turn, Joint Applicants’ proposal violates the Commission’s policies with regard to cost allocation for existing facilities as evidenced in Opinion No. 494 and AEP); PJMTOs Brief opposing Exceptions at 14-15 (noting that MISO classified the ITC PARs as a “like-for-like replacement” of the original PAR and determined that they are not eligible for cost sharing in MISO under the MISO Tariff).

150 NYISO Brief opposing Exceptions at 16-17 (citing Midwest Indep. Transmission Sys. Operator, Inc., 117 FERC ¶ 61,241 at P 96).

151 NYISO Brief opposing Exceptions at 16-17 (citing Midwest Indep. Transmission Sys. Operator, Inc., 117 FERC ¶ 61,241 at PP 86, 96).

152 Trial Staff Brief opposing Exceptions at 21.

153 See infra P 96.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 37 -

80. 	The Presiding Judge takes the position that Commission precedent, as articulated 
in Opinion No. 494 and AEP, makes clear that zonal or license-plate cost allocations are 
the only just and reasonable rate designs for existing facilities or facilities not planned 
through a transmission planning process of appropriate regional scope.  For instance, the 
Presiding Judge asserts that, “Opinion No. 494 clearly states that the Commission does 
not permit the involuntary allocation of pre-existing costs that were not incurred through 
joint planning.”154

81. 	We disagree with the Presiding Judge’s interpretation of Commission precedent 
pre-dating Order No. 1000 for two reasons.  First, we note the importance of context 
when considering Opinion No. 494 and AEP. Those decisions followed Order No. 2000, 
in which the Commission expressed reservations regarding the continued use of zonal or 
license-plate rates on a long-term basis, even for existing facilities.155  The Commission 
permitted RTOs to use zonal or license-plate cost allocations for a limited, transitional 
period, followed by a reevaluation of the appropriateness of such cost allocations for 
existing and new facilities in their regions.156  In Opinion No. 494 and AEP, the 
Commission found that zonal or license-plate rates continued to be just and reasonable 
for existing facilities in PJM and across the MISO-PJM seam, beyond the initial 
transition period envisioned in Order No. 2000.  This precedent did not make claims that 
zonal or license-plate cost allocations were the only just and reasonable rate designs for 
existing facilities or for facilities not planned through a regional planning process.

82. 	Second, Opinion No. 494 and AEP present a more nuanced view than is reflected 
in the Initial Decision.  The Commission stated in Opinion No. 494 that, based on the 
record in that proceeding, it could not find that sunk costs must be shared equally among 
all customers in order to produce just and reasonable rates.157  The Commission found 
that the record demonstrated that a license plate rate design for existing facilities was 
consistent with the principles of cost causation, further adding that, in PJM, new 
investments go through the PJM planning process, which in contrast to the investments in

154 Initial Decision, 141 FERC ¶ 63,021 at P 643 (citing Opinion No. 494, 119 FERC ¶ 61,063 at PP 42, 44).

155 Regional Transmission Organizations, Order No. 2000, FERC Stats. & Regs. 
¶ 31,089 (1999), order on reh’g, Order No. 2000-A, FERC Stats. & Regs. ¶ 31,092 
(2000), aff’d sub nom. Pub. Util. Dist. No. 1 v. FERC, 272 F.3d 607 (D.C. Cir. 2001).

156 Order No. 2000, FERC Stats. & Regs. ¶ 31,089 at PP 523-525. 157 Opinion No. 494, 119 FERC ¶ 61,063 at P 42.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 38 -

existing facilities, helps to ensure such projects are necessary to meet reliability and economic needs of the region.158  Of significance, the Commission stated that:

With respect to the allocation of existing or sunk costs, on the record

developed here, we conclude that, while other cost allocation

methodologies may also be just and reasonable, we cannot find that the

continued use of the existing zonal or license plate rate design is unjust and unreasonable . . . There is no identifiable threshold at which a particular rate design becomes unjust and unreasonable.[159]

83. 	Thus, in Opinion No. 494, the Commission emphasized that it based its

determinations on the record developed in the proceeding and that multiple just and

reasonable rate designs were possible for existing facilities.  The Commission also found that a regional transmission planning process can help ensure that facilities meet regional needs, thereby providing a basis for regional cost allocation.  However, the Commission in Opinion No. 494 did not find that a regional planning process is a prerequisite for 
regional cost allocation.  The Commission made similar statements in AEP, finding that the Commission should balance a variety of factors when determining whether a 
proposed rate design is just and reasonable and further noted that its decision applied in the context described in that proceeding.160

84. 	Accordingly, we find that, contrary to assertions made by the Presiding Judge and 
several Opposing Parties, Opinion No. 494 and AEP did not mandate that joint planning 
precede a regional allocation of costs for existing facilities.  This precedent did not bar 
Joint Applicants’ filing of the proposed cost allocation for the ITC PARs, and it permits 
consideration of a broader cost recovery of the ITC PARs beyond the local zone.161

158 Id. PP 42, 44.

159 Id. P 41 (citing Consolidated Edison Co. of New York, Inc. v. FERC, 165 F.3d 992 at 1003 (D.C. Cir. 1999)) (emphasis added).

160 AEP I, 122 FERC ¶ 61,083 at PP 82-83, 95.

161 Because of our finding here concerning the interpretation of AEP and Opinion No. 494 (i.e., that existing facilities are not required to be allocated on a license plate 
basis), we find the issue of whether the ITC PARs is a new facility or a replacement 
facility to be moot.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 39 -

4.	Justness and Reasonableness of Proposed Cost Allocation

85.	As discussed above, a customer or contractual relationship is not a prerequisite to

the allocation of costs of transmission facilities.  Recognizing the Commission’s ability to allocate costs in the absence of a pre-existing contractual relationship, a question remains of when the Commission should do so, consistent with its responsibility to ensure that rates are just and reasonable.

86. 	In order to address this question in this case, we find that the pre-Order No. 1000 
Commission precedent discussed above is instructive.  First, American Elec. Power 
Service Corp. and Indiana Michigan Power reflect the Commission’s preference for 
consensual resolution of loop flow cost issues.  In this case, Joint Applicants have not 
reached any agreement with NYISO or PJM over allocation of the cost of the ITC PARs. 
Second, Opinion No. 494 and AEP reflect the Commission’s belief that projects that are a 
result of joint transmission planning are more likely to have benefits that could warrant 
regional cost allocation.  In this case, as discussed in more detail below, Joint Applicants 
have not supported their proposed cost allocation with such joint planning efforts.

87. 	Despite the absence of these factors that could have supported Joint Applicants’ proposed cost allocation, we also examine whether there is sufficient evidence in this record to conclude that Joint Applicants’ proposed cost allocation is just and reasonable. For the reasons discussed below, we find that Joint Applicants’ proposed cost allocation has not been shown to be just and reasonable.

a.	Lack of Regional Planning Process

i.	Presiding Judge’s Findings

88.	The Presiding Judge found that there was no credible, persuasive evidence in the

record demonstrating that the ITC PARs were subject to a regional planning process or

were planned to address regional, rather than local, needs.  The Presiding Judge disagreed 
with Mr. Chatterjee’s testimony that the Original PAR and the ITC PARs were part of a 
regional planning process that would justify, pursuant to Opinion No. 494 and other 
Commission policy, the proposed cost allocation.162  Further, the Presiding Judge noted 
that ITC admitted that it did not ask NYISO to contribute to the cost of the ITC PARs 
until after it had already begun its efforts to construct them.163  Additionally, the 
Presiding Judge found that merely because the Commission and many parties may have 
said that the issue of Lake Erie loop flow is worthy of interregional attention did not

162 Initial Decision, 141 FERC ¶ 63,021 at P 646.

163 Id.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 40 -

mean that NYISO, PJM, or their stakeholders directly and financially would benefit from the Joint Applicants’ operation of the PARs, nor did it serve as evidence to support the 
conclusion that the facilities were the product of an interregional planning effort 
involving NYISO and PJM, as Mr. Chatterjee contended.164  The Presiding Judge also 
found unsupported Mr. Chatterjee’s argument that the Commission itself had identified 
Lake Erie loop flow as an issue to be resolved to ensure just and reasonable rates and 
address free rider problems.  Rather, the Presiding Judge found that the Joint Applicants’ own evidence demonstrated that ITC built the ITC PARs strictly for ITC’s local needs 
and that neither PJM nor NYISO were “free riders” engaged in activities that caused Joint Applicants to incur the ITC PARs costs.165

89. 	The Presiding Judge agreed with PJM that the Commission’s policy regarding 
previously allocated facilities costs is reflected in its approval of the JOA’s cross-border 
cost allocation provisions of the JOA.  The Presiding Judge found that the Commission 
expressly exempted pre-planned facilities in accordance with the “settled expectations” of 
the parties.166

90. 	The Presiding Judge also noted PJM’s point that, in evaluating competing cost

allocation proposals submitted by MISO and PJM for cross-border projects under the

JOA, the Commission selected MISO’s proposal because “its approach most closely

matches the actual modeled flow in the planning model” and that the decisions “on which 
cross-border facilities needed to be built are based on that model, and the cost allocation 
reasonably should parallel the planning model used to determine if the facilities should be 
built.”167  The Presiding Judge further noted PJM’s point that MISO witness Mr. 
Chatterjee admitted that the cost allocation model that MISO used in that proceeding did 
not match the planning model used to determine whether the ITC PARs should be 
installed.168  The Presiding Judge also found credible the portion of Mr. Chatterjee’s

164 Id. P 647.

165 Id. PP 648-649. 166 Id. P 660.

166 Id. P 640 (citing PJM Initial Br. at 34 (citing Midwest Indep. Transmission Sys. Operator, Inc., 113 FERC ¶ 61,194, at P 35 (2005) and Opinion No. 494, 119 FERC ¶ 61,063 at PP 50-57)).

167 Id. P 621 (citing PJM Initial Br. at 30 (citing Midwest Indep. Transmission Sys. Operator, Inc., 122 FERC ¶ 61,084, at PP 1, 24 (2008))).

168 Id. P 622 (citing PJM Initial Br. at 30 (citing Hearing Tr. 634:12-14)).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 41 -

testimony highlighting that Joint Applicants’ method for allocating the costs of the ITC PARs to PJM and NYISO did not follow MISO’s planning method for including the ITC PARs in the 2006 MISO Transmission Expansion Plan (MTEP06).169

91. 	The Presiding Judge agreed with PJMTOs that, while Joint Applicants proposed to 
allocate 23.8 percent of the costs of the ITC PARs to PJM, they had not demonstrated 
that PJM or NYISO would receive any benefits from installation and operation of the ITC 
PARs.170  The Presiding Judge found credible Trial Staff’s argument that any potential 
benefit from the ITC PARs would accrue primarily to ITC because both the Original and 
ITC PARs were intended to relieve thermal overload on the ITC system.  Further, the 
Presiding Judge found credible and persuasive PJMTOs’ assertion that Joint Applicants’ 
use of the ITC PARs may actually harm PJM “by increasing west-to-east congestion on 
PJM’s system and requiring the operation of more expensive eastern generation closer to 
the eastern loads.”171

92. 	Additionally, the Presiding Judge found that Joint Applicants did not support their 
contentions regarding the Presidential Permit.  The Presiding Judge found that Joint 
Applicants’ argument that both the Original PAR and the ITC PARs were specifically 
approved by the Department of Energy for interregional purposes was plainly 
unsupported.  The Presiding Judge found misleading Joint Applicants’ assertion that “the 
Presidential Permit for the Original PAR acknowledged that its purpose was ‘to provide 
enhanced control over the inadvertent power flow between Michigan and Ontario and, by 
extension, around Lake Erie.’”172  The Presiding Judge emphasized that the words “by 
extension, around Lake Erie” were found in Detroit Edison’s filing and were not in the 
Presidential Permit from the Department of Energy.  The Presiding Judge also found that 
the premise that the Original PAR was permitted to address thermal concerns at the 
Michigan-Ontario flowgate was not the equivalent of it controlling loop flow around 
Lake Erie.173  The Presiding Judge disagreed with Joint Applicants that, because 
NYISO’s witness Mr. Yeomans agreed that loop flow is “very similar” at each of the 
various interfaces around Lake Erie, “controlling loop flow at the Michigan-Ontario

169 Id. (citing Hearing Tr. 364: 12-14).

170 Id. P 627 & nn.2033-34 (citing PJMTOs Initial Br. at 35); see also Id. PP 628-

630).

171 Id. P 630 (citing PJMTOs Initial Br. at 35 (citing Ex. PJM-1 at 38:6-17)).

172 Id. P 661 (quoting Joint Applicants Reply Br. at 16 (citing Ex. MSO-4 at 2) (emphasis in original)).

173 Id. P 663.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 42 -

interface necessarily also controls it elsewhere around the lake.”174  The Presiding Judge found that Joint Applicants offered no support for this logical leap.

93. 	Relying on principles articulated in Order No. 890 to resolve cost allocation

disputes, which the Commission discussed and expanded upon in Opinion No. 494, the 
Presiding Judge concluded that:  (1) the proposed cost allocation did not “fairly assign [] 
costs among participants, including those who cause them to be incurred and those who 
otherwise benefit from them; (2) did not “provide [] adequate incentives to construct new 
transmission;” and (3) was not “generally supported by state authorities and participants 
across the region.”175

ii.	Joint Applicants’ Brief on Exceptions

94.	In addition to their other arguments distinguishing the instant proceeding from

Opinion No. 494 and AEP,176 Joint Applicants contend that, while the facilities in

Opinion No. 494 and AEP had never been the subject of interregional review, the

Original PAR and ITC PARs were discussed among the utilities around Lake Erie and were specifically addressed and endorsed in several interregional studies over many years.177  Joint Applicants assert that, although a formalized interregional planning process did not exist at the time, the ITC PARs were subjected to what sufficed as “interregional planning” at the time.178

95. 	Joint Applicants also disagree with the Presiding Judge’s finding that the Original 
PAR was constructed to benefit Detroit Edison and its customers and built strictly for 
local concerns.  Instead, Joint Applicants assert that the fundamental purpose of the 
Original PAR was “to improve the reliability of the bulk power system by controlling 
circulating loop flows around Lake Erie that would otherwise interfere with the ability to 
carry out scheduled transactions.”179  Joint Applicants point to the Department of Energy

174 Id. P 662 (quoting Joint Applicants Reply Br. at 16 (citing Ex. NYI-1 at 12 n.3,

37 n.9)).

175 Id. P 651 (citing Opinion No. 494, 119 FERC ¶ 61,063 at P 38 (quoting Order No. 890, FERC Stats. & Regs. ¶ 31,241 at P 559)).

176 See supra PP 74-75.

177 Joint Applicants Brief on Exceptions at 17-18. 178 Id. at 18.

179 Id. at 41 (citing Ex. ITC Tab 4 at 4-5 (emphasis added)).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 43 -

Presidential Permit issued in 2001 authorizing the Original PAR as acknowledging that 
Detroit Edison had claimed in its application that approval of the Original PAR would 
“provide enhanced control over the inadvertent power flow between Michigan and 
Ontario and, by extension, around Lake Erie.”180  Joint Applicants argue that, contrary to 
the Presiding Judge’s findings, the words “by extension, around Lake Erie” are present in 
both Detroit Edison’s filing and the Department of Energy permit itself.  Joint Applicants 
argue that, more importantly, the point at issue is that Detroit Edison intended the 
Original PAR to serve not only local needs but also loop flow around Lake Erie.  Further, 
Joint Applicants argue that, since loop flow is “very similar” at each of the various 
interfaces around Lake Erie, controlling loop flow at the Michigan/Ontario interface 
necessarily and unavoidably has the effect of controlling it elsewhere around the lake. 
Joint Applicants argue that this fact is supported by NYISO and PJM’s support for the 
installation and activation of the ITC PARs at that location for that purpose.  According 
to Joint Applicants, NYISO and PJM would have no other interest in the ITC PARs.181

iii.	Briefs Opposing Exceptions

96.	In addition to arguments discussed above, NYISO and PJM assert that MISO

treated the ITC PARs as existing facilities for purposes of the MTEP06 planning process, 
and as a result, the ITC PARs were like-for-like replacements of the Original PAR and 
ineligible for cost sharing under the MISO Tariff at Attachment FF.182  NYISO notes that 
the ITC PARs were approved for construction in the MTEP06 and that the cost of the 
ITC PARs did not qualify for region-wide cost sharing as a baseline reliability project; 
rather, the cost was allocated to ITC’s customers under a license-plate rate.  PJM argues 
that Joint Applicants cannot circumvent local cost allocations by replacing the Original 
PAR with the ITC PARs.  Also, PJMTOs assert that there is a several-year disconnect 
between the planning for the ITC PARs and the post hoc allocation of their costs to

180 Id. (quoting Ex. MSO-4 at 2 (emphasis added)).

181 Id. at 42.

182 NYISO Brief opposing Exceptions at 17-18; PJM Brief opposing Exceptions at 
32-33 (citing Ex. PJM-11, Ex. PJM-6); PJMTOs Brief opposing Exceptions at 14-15 
(citing Ex. PJM-6 throughPJM-11; Tr. 297:1-15, 304:11-19, 304:1-3, 559:19-560:2); 
NYTOs Brief opposing Exceptions at 46 (citing Initial Decision, 141 FERC ¶ 63,021 at 
PP 451-453).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 44 -

NYISO and PJM, and even MISO witness Mr. Chatterjee’s testimony and a MISO email to ITC corroborate that MISO’s policy does not permit the ITC PARs costs to be 
allocated outside of the ITC zone.183

97. 	Contrary to Joint Applicants’ argument that the Original PAR and ITC PARs were 
installed to meet interregional purposes, several parties argue that the record 
demonstrates that the ITC PARs were designed and installed to meet local purposes and 
benefit Joint Applicants’ own customers.  For example, NYISO argues that the 2001 
Presidential Permit for the Original PAR recited the contents of Detroit Edison’s 
application stating that “Detroit [Edison] claimed that the combined effect of these two 
proposals would be to provide enhanced control over the inadvertent power flow between 
Michigan and Ontario, and by extension, around Lake Erie.”184  NYISO states that 
nowhere in the “Discussion,” “Finding and Decision,” or “Order” sections of the 
Presidential Permit is there a finding that the Original PAR was being installed to meet an 
interregional need, nor does Detroit Edison’s claim actually state that the “enhanced 
control” is being sought for anything other than Detroit Edison’s own purposes.185

98. 	PJM also agrees with the Presiding Judge that the ITC PARs were constructed to benefit local ITC customers and were not planned regionally, barring any cost allocation to PJM.186  According to PJM, the record belies Joint Applicants’ claim that the ITC 
PARs were designed and intended to address interregional needs as well as local needs because (1) the Original PAR was planned in the late 1990s by Detroit Edison and Hydro One (the predecessor company to Ontario Hydro) to resolve local needs and was not the product of a Commission-approved transmission planning process; and (2) the ITC PARs have the identical purpose as the Original PAR and were approved by MISO as “like-for-
like” replacements in the MISO planning process.187

99. 	PJM, PJMTOs, and NYTOs argue that the purpose of the Original PAR was to

address local needs.  PJM states that ITC witness Mr. Capra’s testimony supports the

notion that the fundamental purpose of the Original PAR was a local need to facilitate the

183 PJMTOs Brief opposing Exceptions at 14-15 (citing Ex. PJM-6 through PJM--
11; Tr. 297:1-15, 304:11-19, 304:1-3, 559:19-560:2).

184 NYISO Brief opposing Exceptions at 71 (quoting Ex. MSO-4 at 2).

185 Id.

186 PJM Brief opposing Exceptions at 25 (citing Initial Decision, 141 FERC ¶ 63,021 at PP 655, 659).

187 Id. at 26 & nn.103-04.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 45 -

ability to carry out scheduled transactions that would be scheduled within Michigan. 
Further, PJM argues that ITC’s agreement to pay for the facilities without contribution 
from others is further demonstration that ITC was furthering local needs.  According to 
PJM, if ITC believed that the facility served regional needs, then ITC would have sought 
contributions from others before, not after, the facilities were planned and fully 
constructed.188  Further, NYTOs agree with the Presiding Judge that the record shows 
that ITC and Hydro One built the ITC PARs to encourage economic transactions between 
Michigan and Ontario and to meet local reliability needs in Michigan.189  Specifically, 
NYTOs and PJMTOs argue that the main impetus to build the Original PAR came from a 
Michigan Public Service Commission directive to expand available transmission 
capability within the state by at least 2,000 MW in compliance with a state statute 
enacting retail choice in Michigan.190  According to PJMTOs, when ITC planned to 
replace the Original PAR with the ITC PARs, the original planning purpose - to expand 
transmission capability to meet state law requirements - did not change.191  Trial Staff 
argues that, as in Opinion No. 494, the fact that the ITC PARs are used today in ways that 
differ from when the facilities were first constructed does not provide a basis for finding 
that a license-plate rate design is no longer just and reasonable.192

100.   PJM also dismisses Joint Applicants’ argument that the ITC PARs were installed 
to address interregional needs because controlling loop flow at the Michigan/Ontario 
interface “necessarily and unavoidably has the effect of controlling it elsewhere around 
the Lake.”193  Rather, PJM argues that Joint Applicants’ statement is unremarkable since 
operation on one system will always affect flows on neighboring systems.  According to

188 See PJM Brief opposing Exceptions at 27, 30-31.

189 NYTOs Brief opposing Exceptions at 45 (citing Initial Decision, 141 FERC ¶ 63,021 at PP 448-450, 727).

190 PJMTOs Brief opposing Exceptions at 32-33; see NYTOs Brief opposing Exceptions at 45 (citing Ex. ITC Tab F at 4:21-5:3).

191 PJMTOs Brief opposing Exceptions at 33.

192 Trial Staff Brief opposing Exceptions at 20-21 (citing Opinion No. 494, 119 FERC ¶ 61,063 at P 51).

193 PJM Brief opposing Exceptions at 27-28 (quoting Joint Applicants Brief on Exceptions at 42).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 46 -

PJM, the fact that the impact of the ITC PARs may extend beyond ITC’s zone does not mean that the facilities were planned and designed to meet external needs.194

101.   Several parties argue that Opinion No. 494 and AEP are applicable in this case and 
demonstrate the lack of evidence in the record showing that Joint Applicants’ facilities 
were planned to address the regional needs of either NYISO or PJM.  First, NYISO 
challenges Joint Applicants’ statement that the transmission facilities in AEP had never 
been the subject of any interregional review.  NYISO states that, in response to AEP’s 
argument that it “in fact did coordinate the development of its [high-voltage] system with 
other utilities in the region,” the Commission explained “AEP has not shown that the 
level and type of coordination it says occurred in the development of its existing high-
voltage facilities is comparable to the RTO regional planning processes currently in 
place.”195  Agreeing with the Presiding Judge, PJMTOs assert that merely because many 
of the participants in this case, as well as the Commission, may have said that the issue of 
controlling Lake Erie loop flow is worthy of interregional attention does not mean that 
NYISO, PJM, or their stakeholders directly and financially benefit from Joint Applicants’ 
operation of the ITC PARs, nor does it serve as evidence to support the conclusion that 
the facilities were the product of interregional planning efforts involving NYISO and 
PJM.196  Also, Trial Staff argues that Joint Applicants did not approach PJM at all for 
interregional planning purposes and only approached NYISO about cost sharing in 2009, 
after the ITC PARs had been planned and the decision to replace the failed Original PAR 
had been unilaterally reached by ITC.197  Finally, NYTOs agree with the Presiding Judge 
that the ITC PARs were not built as a result of coordinated interregional transmission 
planning and that ITC did not negotiate a cost sharing arrangement pursuant to such a

plan.198

102.   Finally, MISOTOs argue that Joint Applicants failed to address the fact that the 
Presiding Judge did not rely on Opinion No. 494 and AEP alone in determining that the 
proposed cost allocation was improper.  MISOTOs state that the Presiding Judge relied 
on a multitude of factors, including his determination that the decisions previously relied 
upon by Joint Applicants did not support their proposal and justified its rejection; that the

194 PJM Brief opposing Exceptions at 28.

195 NYISO Brief opposing Exceptions at 19 (citing AEP I, 122 FERC ¶ 61,083 at

P 98).

196 PJMTOs Brief opposing Exceptions at 16. 
197 Trial Staff Brief opposing Exceptions at 21. 
198 NYTOs Brief opposing Exceptions at 23.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 47 -

allocation of costs is inconsistent with MTEP06, and MISO’s determination that the costs

were appropriately allocated to the ITC zone alone; and that neither NYISO nor PJM

participated in the planning or MTEP process for the Original PARs or ITC PARs.199

iv.	Commission Determination

a.	Lack of Regional Planning Process

103.   With respect to whether the ITC PARs are the result of joint transmission planning 
so as to warrant regional cost allocation, as the Commission held in AEP and Opinion 
No. 494, cost allocations must be shown to be just, reasonable, and not unduly 
discriminatory or preferential, as well as consistent with the principles of cost causation. 
Opinion No. 494 and AEP provide guidance on how joint planning efforts can help make 
this demonstration.

104.   Engaging in a joint planning process helps ensure that costs are being allocated to 
those who benefit or incur costs and that the projects are necessary to meet reliability and 
economic needs within a region or across regions.200  We disagree with Joint Applicants 
that the development of the ITC PARs resulted from a meaningful joint planning effort. 
As the Presiding Judge correctly recognized, merely acknowledging that an issue is 
worthy of interregional attention does not mean that the ITC PARs were a product of 
planning efforts involving NYISO or PJM.  Further, Joint Applicants do not show that the 
level and type of coordination Joint Applicants claim occurred between NYISO, PJM, 
and Joint Applicants in the development of the ITC PARs were comparable to regional 
planning processes.  Although Joint Applicants argue that the ITC PARs were included in 
the MTEP06 planning process, MISO concedes that NYISO was not invited to participate 
in the MTEP06 and did not do so.201  Similarly, PJM argues that it was not given the 
opportunity to participate in the MTEP06.202  Thus, neither NYISO nor PJM participated 
in the planning decision processes for either the Original PAR or the ITC PARs.203  This

199 MISOTOs Brief opposing Exceptions at 15 (citing Initial Decision, 141 FERC ¶ 63,021 at PP 378, 394-400, 451-453, 572-574, 622-623).

200 Opinion No. 494, 119 FERC ¶ 61,063 at P 44; AEP I, 122 FERC ¶ 61,083 at

P 96.

201 NYTOs Initial Br. at 14 (citing Ex. NYT-9, Ex. NYT-10 at 1, Ex. NYI-45 at 1, and Ex. NYI-10 at 1).

202 PJM Initial Br. at 31.

203 Initial Decision, 141 FERC ¶ 63,021 at P 623.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 48 -

lack of a meaningful, inclusive planning process is important to consider when evaluating whether the cost allocation proposal for the ITC PARs properly assigns costs to NYISO and PJM.  While Opinion No. 494 and AEP did not mandate that a joint planning effort precede a regional cost allocation, we find that the lack of a joint planning effort is an important factor for the Commission to consider in this proceeding.

b.	Lack of Benefits to NYISO and PJM by

Operation of ITC PARs

i.	Presiding Judge’s Findings

105.   The Presiding Judge found that Joint Applicants failed to show that NYISO or 
PJM will be benefited by the operation of the ITC PARs.204  First, the Presiding Judge 
found that Joint Applicants failed to produce any credible benefits analysis to support the 
proposed cost allocation.205  The Presiding Judge found that the study performed on 
NYISO’s behalf by Dr. David Patton estimating that, between October 2008 and 
November 2009 “loop flow had caused a total of approximately $430 million in pricing 
inefficiencies in the four control areas around Lake Erie,” is inaccurately portrayed by 
Joint Applicants, because the purpose of the study was not to estimate the impact of 
unscheduled power flows on congestion costs, but to determine the potential benefits that 
improved scheduling and coordinated congestion management could provide.206

106.   The Presiding Judge found that the three studies cited by Joint Applicants in which 
PJM had some participation took place in 2007, 2008, and 2009, after the installation of 
the ITC PARs had been approved and included in the MTEP06 and after ITC had already 
committed to pay for the ITC PARs on its own.  The Presiding Judge found that Joint 
Applicants did not demonstrate that those three studies are relevant for cost allocation 
purposes.207

107.   The Presiding Judge found that although Joint Applicants contend that Lake Erie 
loop flow changes direction frequently, none of the studies cited provide any guidance on 
expected loop flow direction in the future; moreover, each predates NYISO’s tariff

204 Id. PP 732-749.

205 Id. P 732.

206 Id. P 733. 
207 Id. P 735.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 49 -

revisions prohibiting the scheduling of circuitous transactions from NYISO across the

Michigan-Ontario interface, which stemmed much of the counterclockwise loop flows.208

108.   Second, in addition to not producing a credible benefits analysis, the Presiding 
Judge found that Joint Applicants have failed to prove that benefits accrue to NYISO or 
PJM from the ITC PARs to justify the proposed cost allocation.209  In this regard, the 
Presiding Judge found that Joint Applicants have failed to show that the ITC PARs 
provide reliability benefits to New York or PJM.  The Presiding Judge explained that 
NYISO is correct in pointing out that when challenged on the benefits analysis, Joint 
Applicants switched theories and claimed the ITC PARs were instead a reliability project 
for which cost causation, not beneficiary pays, principles apply.  The Presiding Judge 
also found that Joint Applicants’ assertion that the ITC PARs provide reliability benefits 
is flawed because (1) when MISO included the ITC PARs in MTEP06, MISO rejected 
the notion that the ITC PARs were a reliability project; (2) Joint Applicants conceded 
they have not performed any studies of reliability impacts of the ITC PARs; (3) Joint 
Applicants have not produced any evidence that NYISO or PJM contributed to the 
decision to construct the ITC PARs; and (4) the overwhelming weight of the evidence 
shows the costs were incurred to avoid curtailment of scheduled economic energy 
imports to Michigan from Ontario.210

109.   The Presiding Judge found that the following scenarios, pointed out by NYTOs, in 
which the New York transmission system could be harmed bear note.  First, if the 
Michigan-Ontario PARs are operated to reduce counterclockwise loop flows, constraints 
on the New York transmission system could develop.  Second, if the Michigan-Ontario 
PARs are not successfully operated to conform actual power flows to scheduled power 
flows, but are still declared to be “regulating” for purposes of the North American 
Electric Reliability Corporation Interchange Distribution Calculator, New York may not 
be able to use Transmission Loading Relief to obtain relief from the unscheduled Lake 
Erie loop flows.  Third, New York may also be harmed if MISO and IESO do not 
accurately anticipate power flows and move the Michigan-Ontario PARs in a direction 
that exacerbates unscheduled flows, or if the Michigan-Ontario PARs are operated in a 
manner that regularly causes unscheduled power flows over the New York transmission 
system.  The Presiding Judge found that that these concerns, coupled with Joint 
Applicants’ failure to put forth credible, persuasive evidence concerning future flows,

208 Id. P 737.

209 Id. P 740. 
210 Id. P 742.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 50 -

caused him to accept NYTOs’ scenarios of unintended future harms as credible threats to NYISO’s system.211

110.   The Presiding Judge also found that PJM derives no benefit from the ITC PARs, 
but is harmed by the flow-to-schedule operation of them.  The Presiding Judge found that 
PJM would have incurred an annual harm of $11.4 million in 2010 and $16 million in 
2011 had the ITC PARs been so operating.212  The Presiding Judge found that the ITC 
PARs would reduce costly redispatch that would be required under market-to-market 
coordination between PJM and NYISO.  Additionally, the Presiding Judge found that 
contrary to ITC witness Shavel’s testimony that PJM would benefit from the operation of 
the ITC PARs, there would likely be no costs to PJM at all from NYISO, and that under 
the recently accepted market-to-market coordination process between PJM and NYISO, 
each RTO is granted a “firm flow entitlement” on monitored flowgates, meaning PJM 
would be able to place loop flows on NYISO’s system similar to those it has placed in the 
past, without having to redispatch.213  Therefore, the Presiding Judge found that Joint 
Applicants have failed to produce evidence to prove NYISO and PJM will benefit from 
operation of the ITC PARs.214

ii.	Joint Applicants’ Briefs on Exceptions

111.   Joint Applicants assert that one of the most important factual issues is the extent to 
which NYISO and PJM benefit from the physical control of loop flows provided by the 
ITC PARs and that the Presiding Judge improperly found that NYISO and PJM will not 
derive sufficient benefits from ITC’s PARs to justify the proposed cost allocation to 
them.215  Joint Applicants argue that the Presiding Judge failed to properly consider the 
numerous prior reports and regulatory filings in which, prior to the filing of this cost 
allocation proposal, both NYISO and PJM recounted the numerous problems caused on 
their systems by Lake Erie loop flow and endorsed the installation and activation of the 
ITC PARs to help control loop flow.  Joint Applicants contend that Joint Applicants’ 
2007 and 2008 loop flow studies, NYISO’s filings at the Department of Energy in the

211 Id. P 744.

212 Id. P 745. 	“Flow to schedule operation” refers to MISO’s assertion that the

PARs were being operated to hold actual flow to scheduled flow.  See Ex. MSO-3 (Rebuttal Testimony of Mr. Mallinger) at 8:11-12.

213 Id. PP 746-747.

214 Id. P 749.

215 Joint Applicants Brief on Exceptions at 5, 26.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 51 -

PARs Presidential Permit proceeding, and NYISO’s filings at the Commission in Docket 
No. ER08-1281 emphasized the need for and importance of the ITC PARs for helping to 
control loop flow.216  Joint Applicants argue that these prior statements by NYISO and 
PJM add up to an admission that NYISO and PJM will benefit substantially from the 
physical control of loop flow that the ITC PARs would provide.217  Joint Applicants also 
contend that the Presiding Judge improperly disregarded the testimony of ITC’s witness 
Shavel and MISO’s witness Mallinger confirming that loop flow-related problems would 
necessarily be eliminated or ameliorated by physical loop flow control.218

112.   Joint Applicants argue that the record contains evidence of the costs that

uncontrolled loop flow can impose on NYISO and PJM.  Joint Applicants contend that, 
among other things, on August 16, 2010, NYISO filed a study with the Commission in 
Docket No. ER08-1281, which was prepared by NYISO’s independent market advisor 
Dr. David Patton, estimating that loop flow had caused a total of $430 million in pricing 
inefficiencies in the four control areas around Lake Erie between November 2008 and 
October 2009, including approximately $140 million in NYISO and $70 million in PJM. 
Joint Applicants assert that NYISO’s witness Pike initially confirmed that the $430

million figure represented “the cost of congestion” caused by loop flow during that

period, but later argued that to determine congestion costs, the forward and reverse loop 
flows should be netted, which would substantially decrease the congestion costs.  Joint 
Applicants also argue that even if the netting argument is accepted, which it should not 
be, the remaining costs to NYISO and PJM of $18 million and $4 million, respectively, 
still exceed the ITC PARs costs proposed for allocation.  Additionally, Joint Applicants 
contend that although the Presiding Judge stated that the purpose of the Patton study was 
to estimate the benefits of improved scheduling and coordination and not to estimate

congestion costs, the Presiding Judge ignored that the Patton study states that the first

step in estimating the value of coordinated scheduling is to estimate pricing inefficiencies caused by loop flow.219

216 Id. at 33.

217 Id. at 34.

218 Id. at 34-35.

219 Id. at 36 (citing Initial Decision, 141 FERC ¶ 63,021 at P 733).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 52 -

iii.	Briefs Opposing Exceptions

113.   PJMTOs, PJM, NYTOs, NYISO, and Trial Staff argue that the Presiding Judge

correctly found that Joint Applicants failed to show that NYISO or PJM will be benefited by the operation of the ITC PARs.220

114.   PJMTOs assert that the Presiding Judge correctly found that the Joint Applicants 
failed to make a sufficient showing that the ITC PARs will benefit NYISO and PJM such 
that the costs associated with the PARs should be allocated to NYISO and PJM. 
PJMTOs argue that rather than make such a showing, Joint Applicants instead claim that 
“it is self-evident that the physical elimination or reduction of loop flow that the PARs 
will provide will similarly eliminate or reduce” the problems caused by loop flows. 
PJMTOs contend that Joint Applicants point to historical problems caused by loop flows, 
but fail to present any evidence of the benefits to PJM that would result from the 
termination of loop flows.  PJMTOs continue that although Joint Applicants propose to 
allocate 23.8 percent of the costs of the ITC PARs to PJM, Joint Applicants have not 
demonstrated that PJM or the PJMTOs receive any benefits at all from installation and 
operation of the ITC PARs.  Additionally, PJMTOs argue that Joint Applicants have 
neither evaluated the economic impacts of the planned operation of the ITC PARs, nor 
assessed or determined the physical or economic impacts of the ITC PARs on PJM’s 
transmission system.221  PJMTOs also contend that the possibility that MISO may benefit 
from the elimination of loop flows on its system does not constitute a benefit to PJM and 
PJMTOs.222

115.   PJM argues that Joint Applicants presented no evidence quantifying any benefit to 
PJM and that neither MISO nor ITC ever evaluated the economic impacts produced by 
the planned operation of the ITC PARs.  PJM contends that as to the impacts on PJM, the 
record contains only PJM witness Bresler’s study of the impact of the ITC PARs, and that 
study shows that PJM will be harmed, not benefited, by the flow-to-schedule operation of 
the ITC PARs,223  which would cost its market participants millions of dollars

220 See, e.g., PJMTOs Brief Opposing Exceptions at 26-28; PJM Brief Opposing Exceptions at 49-60; NYTOs Brief Opposing Exceptions at 33-35; NYISO Brief 
Opposing Exceptions at 51-59; Trial Staff Brief on Exceptions at 41-44.

221 PJMTOs Brief Opposing Exceptions at 26-27.

222 Id. at 28.

223 PJM Brief Opposing Exceptions at 50.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 53 -

annually.224  Against this, PJM argues that Joint Applicants provided only generalized statements that the surrounding areas would benefit.

116.   PJM asserts that the various studies upon which Joint Applicants rely do not

provide a basis for cost allocation to PJM.  PJM argues that Joint Applicants failed to

perform any studies of their own demonstrating an identified need for the ITC PARs, the 
harmful flows that give rise to that need, the system conditions under which that need 
arises, or that the ITC PARs would provide any benefit to others.225  PJM continues that 
the studies upon which Joint Applicants primarily rely were produced by NYISO or its 
consultants and that PJM was never approached about sharing costs for the ITC PARs 
until Joint Applicants submitted the instant cost allocation proposal.  PJM argues that 
Joint Applicant’s reliance on NYISO’s filing with the Commission cannot support a cost

allocation to PJM because the filing and associated Patton study is the product of NYISO. 
PJM contends that the three regional studies cited by Joint Applicants in which PJM had 
some participation took place in 2007, 2008, and 2010, which occurred after the 
installation of the ITC PARs had been approved and included in the MTEP06 and after 
ITC already undertook to pay for the ITC PARs on its own.226  PJM argues that any PJM 
statements in these reports were in the context only of indicating lack of opposition to 
Joint Applicant’s installation of already planned and approved projects and have no 
bearing on cost allocation.

117.   NYTOs argue that Joint Applicants failed to show that the ITC PARs enhance

service reliability and have not provided a credible measurement of the benefits

associated with that service.227  NYTOs contend the record shows that the only reliability 
benefit the ITC PARs provide is the reduction of thermal overloads on the ITC system, 
further asserting that the Presiding Judge correctly found that “Joint Applicants have 
failed to show that the ITC PARs provide reliability benefits to New York or PJM.”228 
NYTOs argue that Joint Applicants fail to cite record evidence to contradict the Presiding 
Judge’s findings and failed to show that NYISO or PJM “caused” ITC to install the ITC 
PARs as they now contend.  NYTOs also argue that with no credible reliability theory to 
support Joint Applicants’ inter-regional cost allocation plan, the only alternative cost

224 Id. at 51-53.

225 Id. at 53-56. 
226 Id. at 55.

227 NYTOs Brief Opposing Exceptions at 33.

228 Id. at 33-34 (citing Initial Decision, 141 FERC ¶ 63,021 at P 742).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 54 -

allocation theory is based on the beneficiary pays approach, which Joint Applicants contend is not their theory either.229

118.   NYISO asserts that Joint Applicants have not performed, and did not submit, any 
studies that quantify the expected benefits to NYISO and its customers from the 
operation of the ITC PARs, and the data that NYISO submitted in Exhibit NYI-66 proves 
that the ITC PARs have not controlled Lake Eric loop flow in the manner Joint 
Applicants claimed the ITC PARs would.230  NYISO argues that MISO witness 
Chatterjee admitted that MISO did not perform a study of the “benefits” of the ITC PARs 
to NYISO or PJM and that ITC admitted that it did not create any documents relating to 
the economic or reliability benefits of the ITC PARs.  Additionally, NYISO contends that 
MISO and ITC stated that they did not perform assessments of studies to identify specific 
reliability criteria that are potentially violated by Lake Erie loop flow.231

119.   NYISO argues that its statement indicating support for the construction and

operation of the ITC PARs were all made before the ITC PARs entered service and were 
premised on untested MISO and ITC claims regarding loop flow control capabilities of 
the ITC PARs.232  NYISO contends that because all of these documents were produced 
before the ITC PARs entered service, it was not possible for NYISO to know how 
effective the collective operation of the ITC PARs would be, or what impact the 
operation of those facilities would have on the New York Control Area.233

120.   NYISO argues that Joint Applicants offered testimony from MISO witness

Mallinger and ITC witness Shavel that identified areas in which generalized benefits,

such as reductions in transmission congestion and system losses, might occur if the ITC 
PARs operate perfectly at all times, to the limits of their purported control capability. 
NYISO contends that the Mallinger and Shavel testimonies did not address or attempt to 
discount their claimed benefits to reflect any trade-offs that occur between and among the 
Independent System Operators (ISOs) and RTOs that surround Lake Erie.  NYISO notes 
that, for example, a reduction in counterclockwise Lake Erie loop flow that might benefit 
MISO could, simultaneously, harm NYISO, assuming both transmission systems are

229 Id. at 34-35.

230 NYISO Brief Opposing Exceptions at 52. 231 Id. at 53.

232 Id.

233 Id. at 54.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 55 -

experiencing congestion on transmission facilities that are impacted by Lake Erie loop flow at the same time.234

121.   NYISO argues that Joint Applicants did not submit any evidence supporting their 
claim that the ITC PARs will control 600 MW of Lake Erie loop flow nearly 100 percent 
of the time.  Additionally, NYISO asserts that Exhibit NYI-66 demonstrates that the ITC 
PARs did not effectively conform actual power flows to scheduled power flows during 
the first 104 days of operation (from April 5 to July 18, 2012), and that the ITC PARs 
were frequently a cause of additional Lake Erie loop flow during that time period.235

NYISO also argues that Joint Applicants assert that the Patton study, which was

performed for NYISO, estimated that between October 2008 and November 2009, “loop 
flow had caused a total of $430 million in pricing inefficiencies in the four control areas 
around Lake Erie.”  However, as NYISO witness Pike explained, the “$430 million is not 
a cost incurred by the ISOs and RTOs around Lake Erie” but rather it “is an estimate of 
the total gross value of the over-priced and under-priced loop flow for the specific period 
. . . without regard to whether the loop flow was increasing or decreasing congestion

costs or whether that loop flow was circulating around Lake Erie, or not.”236

Additionally, NYISO argues that the Patton study suggests that there may be times when NYISO, PJM, MISO, and IESO can better coordinate interregional transaction 
scheduling and dispatch to increase economic efficiency by taking advantage of 
beneficial loop flows, and that operating the ITC PARs on a strict flow-to-schedule basis could actually prevent these potential benefits of interregional coordination from being realized.237  NYISO contends that because the direction and magnitude of loop flow can vary significantly from hour-to-hour, day-to-day, year-to-year, a one year snapshot like the Patton study does not present a valid basis for reaching any conclusions about the expected long-term impact of loop flow on congestion costs.238

122.   Trial Staff argues that Joint Applicants have presented no evidence that NYISO or 
PJM will enjoy “substantial benefits” from the presence of the ITC PARs.239  With regard 
to Joint Applicants’ contention that the Presiding Judge ignored the numerous reports and

234 Id.

235 Id. at 55-56. 
236 Id. at 56. 
237 Id. at 57. 
238 Id. at 58-59.

239 Trial Staff Brief Opposing Exceptions at 41.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 56 -

regulatory filings in which NYISO and PJM recounted the problems caused by Lake Erie loop flow on their systems and endorsed the prompt installation of the ITC PARs to help control loop flow, Trial Staff asserts that Joint Applicants mischaracterize this issue. 
Trial Staff argues that the Presiding Judge did consider three studies produced by Joint Applicants as evidence that PJM and NYISO will receive benefits from the operation of the PARs.  However, Trial Staff states that the Presiding Judge found the studies 
irrelevant to the issue of cost allocation because they were undertaken in 2007, 2008, and 2009, after the decision to install and pay for the PARs had been made by ITC and after the installation had been approved in MTEP06.240

123.   Trial Staff notes Joint Applicants’ contention that the Patton study concluded that 
Lake Erie loop flow caused a total of $430 million in pricing inefficiencies in the control 
areas around Lake Erie, and that this conclusion translates into an acknowledgement by 
PJM and NYISO that they will benefit from the elimination of those flows by a similar 
magnitude.  However, Trial Staff argues that the Presiding Judge considered the study 
and found that the purpose of the study “was not to estimate the impact of unscheduled 
power flows on congestion costs, but to determine the potential benefits that improved 
scheduling and coordinated congestion management could provide.”241

124.   Trial Staff points out that Joint Applicants do not address the Presiding Judge’s

findings that the cited reports are irrelevant or mischaracterized.  Instead, Trial Staff

states that Joint Applicants continue to present them as evidence of benefits that accrue to 
PJM and NYISO by virtue of the operation of the ITC PARs.  Additionally, Trial Staff 
notes that Joint Applicants do not address the Presiding Judge’s observation that on 
rebuttal, MISO witness Chatterjee claimed, “because the Joint Applicants view the PARs 
as a reliability project, their cost allocation is not based on a beneficiary pays theory.” 
Trial Staff states that the Presiding Judge found that this testimony is inconsistent with 
the MTEP06, in which “MISO rejected the notion that the ITC PARs were a reliability 
project.”242

240 Id. at 42-43.

241 Id. at 43-44 (citing Initial Decision, 141 FERC ¶ 63,021 at P 733). 
242 Id. at 44 (citing Initial Decision, 141 FERC ¶ 63,021 at P 742).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 57 -

iv.	Commission Determination

a.	Lack of Benefits to NYISO and PJM by

Operation of ITC PARs

125.   With respect to whether, notwithstanding the lack of joint planning, there is

sufficient evidence in this record to conclude that Joint Applicants’ proposed cost

allocation is just and reasonable, based on the factual record in the Initial Decision, we 
affirm aspects of the Presiding Judge’s finding that Joint Applicants failed to show that 
NYISO or PJM will benefit from the operation of the ITC PARs.  Moreover, to the extent 
that Joint Applicants may have demonstrated some benefit to NYISO or PJM from the 
operation of the ITC PARs, we find that any such benefit does not outweigh the 
considerations discussed above that counsel against Joint Applicants’ proposal. 
Therefore, we find that the proposed cost allocation has not been shown to be just and 
reasonable.243

126.   First, we find that the Presiding Judge properly found that Joint Applicants failed 
to produce any credible benefits analysis to support the proposed cost allocation and 
failed to prove that benefits accrue to NYISO or PJM from the ITC PARs to justify the 
proposed cost allocation.244  We agree that Joint Applicants failed to show that the ITC 
PARs provide reliability benefits to NYISO or PJM and that - as NYISO witness Pike, 
NYTOs, and PJM witness Bresler provide - NYISO and PJM may actually be harmed by 
the planned operation of the ITC PARs.245  For example, a reduction in counterclockwise 
loop flow that may benefit MISO might, at the same time, harm NYISO if both 
transmission systems are experiencing congestion on transmission facilities that are 
affected by loop flow.  Additionally, we find unconvincing the testimony of ITC witness 
Shavel and MISO witness Mallinger stating that PJM and NYISO will benefit from the 
ITC PARs because general benefits, such as reductions in transmission congestion and 
system losses, might occur if the ITC PARs operate perfectly at all times.  We note that 
these testimonies do not address any trade-offs that might occur between and among the 
ISOs and RTOs that surround Lake Erie.246

243 See Initial Decision, 141 FERC ¶ 63,021 at P 723. 244 See id. PP 732, 740

245 See id. PP 742-744. 
246 See id. PP 756-747.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 58 -

127.   Second, we find that the Presiding Judge properly considered the numerous reports 
and regulatory filings in which NYISO and PJM acknowledged that they would benefit 
from the ITC PARs.  The Presiding Judge found that the 2007, 2008, and 2009 studies 
cited by Joint Applicants, in which PJM participated, were conducted after the 
installation of the ITC PARs had been approved and included in the MTEP06 after ITC 
had already committed to pay for the ITC PARs on its own.  We find that NYISO’s and 
PJM’s statements in these reports and regulatory filings were premised on untested MISO 
and ITC claims regarding loop flow control capabilities and made without full knowledge 
of the operational instructions for the ITC PARs.  Accordingly, Joint Applicants’ reliance 
on these statements as a credible benefits analysis for its proposed cost allocation is 
insufficient.

128.   Third, we find that the Presiding Judge properly accorded weight to the Patton 
study, which estimated that between October 2008 and November 2009, loop flow had 
caused approximately $430 million in pricing inefficiencies and that this cost was not 
incurred by the ISOs and RTOs around Lake Erie.  We agree that the purpose of the study 
was not to estimate the impact of unscheduled power flows on congestion costs but rather 
to determine the potential benefits that improved scheduling and coordinated congestion 
management could provide.247  Additionally, as NYISO explains, the study suggests that 
there may be times when NYISO, PJM, MISO, and IESO can better coordinate 
interregional transaction scheduling and dispatch to increase economic efficiency by 
taking advantage of beneficial loop flows, and operating the ITC PARs on a strict flow-
to-schedule basis could actually prevent this potential interregional coordination from 
being realized.  Moreover, the estimated cost of congestion calculated in the study was an 
intermediate step in the process of determining potential production cost savings that 
could be achieved by implementing an identified set of market improvements.248

129.   Moreover, with respect to the Joint Applicants’ May 23, 2013 motion to lodge 
slide 12 of a 2012 State of the Markets Report issued by the Commission’s Office of 
Enforcement,249 Slide 12 merely demonstrates that ITC has benefitted by “congestion 
costs in Michigan [that] are lower with fewer binding constraints and the interchange 
capacity across the Michigan-Ontario interface has been boosted.”  However, Slide 12 
does not analyze the degree to which NYISO and PJM benefit, if at all, from the ITC

247 See id. P 732.

248 See NYISO Brief Opposing Exceptions at 57. 249 See supra P 22.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 59 -

PARs. Thus, slide 12 is not dispositive on the issue of benefits to NYISO and PJM, and we deny the motion to lodge.250

130.   Similarly, with respect to the Joint Applicants’ April 7, 2014 motion to lodge a 
performance study and related report, which we deny above, the documents do not help 
Joint Applicants support the proposed cost allocation.  The performance study and related 
report show that the ITC PARs, “in conjunction with controls already operational 
elsewhere on the system,” have helped to limit the flows over the Michigan-Ontario. 
But, the study was performed to address a Joint and Common Market initiative to 
evaluate the ability of the ITC PARs to have actual flow equal scheduled flow.  In fact, 
the study and related report note that the study should be considered “a limited scope 
study that addressed a specific [Joint and Common Market] Initiative.”  Similar to the 
studies submitted by the Joint Applicants during the proceeding, as discussed above, this 
study and related report do not produce any credible benefits analysis to support the 
proposed cost allocation and failed to demonstrate that NYISO, PJM accrue benefits from 
the ITC PARs.  While it shows Lake Erie flow is decreased, during the hearing it was 
shown that a reduction in counterclockwise loop flow that may benefit MISO might, at 
the same time, harm NYISO if both transmission systems are experiencing congestion on 
transmission facilities that are affected by loop flow.251  Thus, the performance study and 
related report are not dispositive on the issue of benefits to NYISO and PJM, and we 
deny the motion to lodge.

131. 	Therefore, for the reasons discussed above, Joint Applicants’ proposed cost 
allocation has not been shown to be just and reasonable.  Accordingly, we reject it.

132. 	Pursuant to our determination in this order, within 30 days of the date of this

order, Joint Applicants are required to submit a compliance filing making any necessary 
changes to the Tariff.  In addition, Joint Applicants shall refund all amounts collected 
pursuant to their October 20, 2010 filing in excess of rates in effect prior to January 1, 
2011, with interest at the rate prescribed by section 35.19a of the Commission’s Rules of 
Practice and Procedure, 18 C.F.R. § 35.19a (2016), and then file with the Commission a 
refund report, within thirty (30) and sixty (60) days, respectively, of the date of the

issuance of this order, unless there is a timely request for rehearing in these dockets.  In

250 See, e.g., California Indep. Sys. Operator Corp., 137 FERC ¶ 61,062, at P 13 
(2011) (denying motion to lodge where the proffered document did not assist in the 
Commission’s decision-making); Maritimes & Northeast Pipeline, L.L.C., 93 FERC 
¶ 61,117, at 61,339 (2000) (the Commission granted the motion to lodge but held that it 
was not persuaded that the information contained therein was dispositive on the issue).

251 See Initial Decision, 141 FERC ¶ 63,021 at PP 742-744.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 60 -

that event, the refunds and refund report must be submitted within thirty (30) and sixty

(60) days, respectively, of the Commission's final disposition of any such rehearing request.

5.	Remaining Issues

133.   In their Brief on Exceptions, Joint Applicants argue that the Presiding Judge

erroneously found that Joint Applicants failed to comply with the Commission’s

regulations by not providing cost of service data.252  In view of our determination that the proposed cost allocation has not been shown to be just and reasonable, we find that this issue is moot and we need not address it.

134.   Joint Applicants also argue that the Presiding Judge erroneously found that the proposed allocation of ITC PARs costs to PJM is precluded by the JOA.  In view of our determination that the proposed cost allocation has not been shown to be just and 
reasonable, we find that this issue is moot and we need not address it.

135.   Joint Applicants also argue that the Presiding Judge erroneously found that Joint 
Applicants failed to show that the benefits of the ITC PARs were roughly commensurate 
with the proposed costs to be allocated.253  Concerning the ITC PARs cost allocation 
proposal, Joint Applicants argue that the Presiding Judge’s findings of fact were 
erroneously found.254  In view of our determination that the proposed cost allocation has 
not been shown to be just and reasonable, we find that the issues of fact regarding the 
contributions to loop flow, the DFAX study, whether the filing creates a service 
obligation of MISO and ITC to NYISO or PJM or their customers, whether the ITC 
PARs will control Lake Erie loop flow, and the impact of MISO’s January 2012 
testimony on PJM’s cost responsibility to MISO (see Issues 6-10 in the Appendix) are 
moot and we need not address them.

136.   Finally, Joint Applicants argue that the Presiding Judge erroneously found that 
Joint Applicants failed to satisfy the elements of the judicial estoppel doctrine raised 
against NYISO’s challenge of the efficacy of the ITC PARs.  In its Initial Brief, NYISO 
argued that the PARs, including the ITC PARs, will experience outages.  According to 
NYISO, Joint Applicants’ failure to address the possibility of such outages in the 
proposed tariff revisions was one of many reasons that their proposed charge to the

252 See id. PP 667-668.  This issue is subsumed within Issue 4.

253 See Appendix, Issue 5.

254 See Appendix, Issues 6-10.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 61 -

NYISO’s customers was unjust and unreasonable.255  To support its argument, NYISO reviewed the outage history of the PARs between Ontario and Michigan and stated that “the history of [these] PARs indicates that they are prone to failure.”256

137.   In their Initial Brief, Joint Applicants argue that NYISO is estopped from

challenging the efficacy of the PARs because NYISO’s position is inconsistent and

irreconcilable with the position it took regarding the PARs both before the Commission 
in Docket No. ER08-1281-000257 and before the Department of Energy in the ITC 
Presidential Permit proceeding.258  Joint Applicants contend that NYISO violated the 
doctrine of judicial estoppel by deliberately changing positions “according to the 
exigencies of the moment.”259  According to Joint Applicants, NYISO touted the 
capability of the PARs and their benefits in the exigent circumstances proceeding and 
filed two sets of comments in support of the PARs in the Presidential Permit proceeding 
at the Department of Energy, never suggesting the PARs would not work as proposed.260

138.   The Presiding Judge found that Joint Applicants failed to allege, or convincingly 
prove, both that they relied on NYISO’s prior testimony in the exigent circumstances or 
Presidential Permit proceedings and changed their position in this proceeding as a result 
of that reliance.  Further, the Presiding Judge found that in none of the statements cited 
by Joint Applicants from those proceedings did NYISO take a position on the justness 
and reasonableness of recovering the costs of the ITC PARs through rates charged to 
NYISO and PJM customers or on the effectiveness of the ITC PARs.261

255 NYISO Initial Br. at 150-153.

256 Id. at 150.

257 The Commission required NYISO to submit status reports addressing its

progress in developing long-term, comprehensive solutions to the occurrence of the Lake Erie region loop flows.  See N.Y. Indep. Sys. Operator, Inc., 128 FERC ¶ 61,049.

258 Joint Applicants Initial Br. at 22-28, 33.

259 Id. at 39 (citing Mo. Interstate Gas, LLC, 122 FERC ¶ 61,136, at P 29 (2008), vacated sub nom. Mo. Pub. Serv. Comm’n v. FERC, 601 F.3d 581 (D.C. Cir. 2010) and New Hampshire v. Maine, 532 U.S. 742, 749-50 (2001) (quoting United States v. 
McCaskey, 9 F.3d 368, 378 (5th Cir. 1993))).

260 Id. at 39-40 (citing Ex. ITC-3 at 10-11 and the attached July 21, 2008, exigent circumstances filing at 4 n.11, 7 n.30, 26-27, Ex. ITC-26 at 7-8, Ex. ITC-23 at 17, Ex. ITC-14 at 4, and Ex. MSO-7).

261 Initial Decision, 141 FERC ¶ 63,021 at PP 892-893.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 62 -

139.   In their Brief on Exceptions, Joint Applicants argue that the Presiding Judge

erroneously found that the doctrine of judicial estoppel does not apply to the facts of this 
case.  Joint Applicants argue that the Presiding Judge failed to address NYISO’s attack of 
the PARs operating plan and instead focused on NYISO’s claim that the PARs are prone 
to failure.  Joint Applicants contend that there could not be more inconsistency than that 
between NYISO’s “specific, unconditional support for the operating plan before [the 
Department of Energy] and its attack on the plan as discriminatory in this case.”262 
Further, Joint Applicants argue that the Initial Decision failed to recognize that the 
essence of the judicial estoppel doctrine is whether a party has taken a position on an 
issue in one case and thereby gained a benefit, and then sought to take a contrary position 
on the same issue in a subsequent case to “fit the exigencies of the moment” and gain 
another separate advantage.263

140.   The Commission has said “the doctrine of judicial estoppel applies only where, as 
a result of prior testimony, parties have relied upon that testimony and changed positions 
by reason of that testimony.”264  At no point in Joint Applicants’ Brief on Exceptions do 
they argue that they relied upon NYISO’s prior testimony made in the exigent 
circumstances and the Department of Energy Presidential Permit proceedings.  Further, 
Joint Applicants never argue that they changed positions by reason of NYISO’s 
testimony.  Thus, Joint Applicants have failed to make the required allegations under the 
doctrine of judicial estoppel.  Accordingly, we affirm the Initial Decision on this issue.

141.   In view of our determinations on the Initial Decision herein, we will dismiss the requests for rehearing as moot.

The Commission orders:

(A)    The Initial Decision is hereby affirmed in part, and reversed in part, and the remaining determinations of the Presiding Judge are dismissed as moot, as discussed in the body of this order.

(B)    Joint Applicants are hereby directed to submit a compliance filing to revise 
the MISO Tariff within 30 days of the date of this order, as discussed in the body of this 
order.

262 Joint Applicants Brief at 24-25.

263 Id. at 25 (referencing New Hampshire v. Maine, 532 U.S. 742 (2001)).

264 San Diego Gas & Elec. Co. v. Sellers of Energy and Ancillary Servs., 115 FERC ¶ 61,230, at P 33 n.59 (2006).

Docket Nos. ER11-1844-001 and ER11-1844-002	- 63 -

(C) 	Joint Applicants are hereby ordered to make refunds of all amounts 
collected pursuant to their October 20, 2010 filing in excess of rates in effect prior to 
January 1, 2011, with interest at the rate prescribed by section 35.19a of the 
Commission’s Rules of Practice and Procedure, 18 C.F.R. § 35.19a (2016), and then to 
file with the Commission a refund report, within thirty (30) and sixty (60) days, 
respectively, of the date of the issuance of this order, unless there is a timely request for 
rehearing in these dockets.  In that event, the refunds and refund report must be submitted 
within thirty (30) and sixty (60) days, respectively, of the Commission's final disposition 
of any such rehearing request.

(D)   Joint Applicants’ motions to lodge are hereby denied, as discussed in the body of this order.

(E)	Joint Applicants’ motion to strike is hereby dismissed as moot, as discussed

in the body of this order.

(F)	The requests for rehearing of the Hearing Order are hereby dismissed as

moot, as discussed in the body of this order.

By the Commission. ( S E A L )

Nathaniel J. Davis, Sr., 
	Deputy Secretary.

Docket Nos. ER11-1844-001 and ER11-1844-002	- 64 -

APPENDIX

Issues Addressed by the Initial Decision

ISSUE 1:  Whether the FPA and applicable Commission policies thereunder permit MISO and ITC to make, and the Commission to approve, the October 20, 2010 filing (as amended on January 31, 2012)?

ISSUE 2:  Whether the JOA between MISO and PJM precludes allocation of costs associated with the ITC PARs to PJM?

ISSUE 3:  Whether there are any other customer or contractual relationships or

interregional plans, or lack thereof, that are relevant to the proposed cost allocation?

ISSUE 4:  Whether the allocation of the costs of the ITC PARs to NYISO and PJM, and 
the level of such allocations, is just, reasonable, and not unduly discriminatory or 
preferential under the FPA and the applicable Commission policies, orders, and precedent 
thereunder (including but not limited to the policies, if applicable, contained in Order No. 
1000)?

ISSUE 5:  Whether any allocation of costs of the ITC PARs to NYISO and PJM and their 
customers (or others) is appropriate based on cost causation/incurrence and/or beneficiary 
pays principles or on other considerations and, if so, is the proposed cost allocation 
roughly commensurate with:  (a) the extent to which NYISO and PJM and their 
customers (or MISO, IESO, or others) caused ITC to incur the costs of the 
installation and operation of the ITC PARs (and, to the extent relevant, the reasons for 
which Detroit Edison/ITC incurred costs for installation of the Original PAR); and/or

(b) the extent to which NYISO and PJM and their customers (or MISO, IESO, or others) 
will benefit from (or be harmed by) the installation and operation of the ITC PARs?

ISSUE 6:  What is the extent of the contributions to loop flows of MISO, IESO, NYISO, PJM, and others, and do they represent a basis for MISO/ITC to allocate the costs of the ITC PARs to PJM and NYISO?

ISSUE 7:  Whether Joint Applicants’ DFAX study provides an adequate basis for the proposed cost allocation?

ISSUE 8:  Whether the filing creates a service obligation of MISO and ITC to NYISO or PJM or their customers and, if so, what is the nature of the obligation?

ISSUE 9:  Whether and to what extent will the PARs control Lake Erie loop flow,

including whether, if any of the ITC PARs (or the Hydro One PARs) are unavailable,

bypassed, or not being operated in a manner that is consistent with the Presidential Permit

Docket Nos. ER11-1844-001 and ER11-1844-002	- 65 -

issued to ITC by the Department of Energy, NYISO, PJM, or their customers nonetheless should be required to pay the charges at issue in this proceeding?

ISSUE 10:  Whether, if the costs of the ITC PARs are allocated to PJM, the cost

responsibility assigned to PJM by MISO’s January 2012 testimony, which increases

PJM’s allocation above the amount allocated by the MISO/ITC filing, may be imposed on PJM?

ISSUE 11:  Whether, if the costs of the ITC PARs are allocated to PJM or NYISO, PJM or NYISO is responsible (respectively) for paying MISO in the case of a PJM or NYISO customer’s failure to pay PARs-related charges?265

265 The Presiding Judge determined that this issue was moot in view of his finding that it was unjust and unreasonable to allocate the costs of the ITC PARs to NYISO and PJM.  Accordingly, the Presiding Judge also denied Joint Applicants’ December 11, 2012 motion to lodge.  Initial Decision, 141 FERC ¶ 63,021 at P 923.  Joint Applicants did not except to the Initial Decision on this issue.