UNITED STATES OF AMERICA 
	BEFORE THE

FEDERAL ENERGY REGULATORY COMMISSION

Essential Reliability Services	)

and the Evolving Bulk-Power System	)	Docket No. RM16-6-000

Primary Frequency Response	)

JOINT COMMENTS OF ISO NEW ENGLAND INC.,

NEW YORK INDEPENDENT SYSTEM OPERATOR, INC.,

PJM INTERCONNECTION, L.L.C., SOUTHWEST POWER POOL, INC. AND 
	INDEPENDENT ELECTRICITY SYSTEM OPERATOR

Pursuant to the Federal Energy Regulatory Commission’s (“Commission”) Notice of 
Inquiry (“NOI”) issued on February 18, 2016,1 ISO New England Inc. (“ISO-NE”), New York Independent System Operator, Inc. (“NYISO”), PJM Interconnection, L.L.C. (“PJM”), 
Southwest Power Pool, Inc. (“SPP”), and Independent Electricity System Operator (“IESO”) (together, the “Indicated ISOs/RTOs”) submit these joint comments in response to the questions posed by the Commission in the NOI.

In the NOI, the Commission seeks comment on possible actions to ensure that the

provision of primary frequency response continues to remain at levels adequate to maintain the 
reliability of the Bulk-Power System in light of the ongoing transformation of the nation’s 
generation resource mix.2  Specifically, the Commission seeks comment on three possible 
actions: (1) modifications to the pro forma Large Generator Interconnection Agreement 
(“LGIA”) and Small Generator Interconnection Agreement (“SGIA”) mandating primary 
frequency response requirements for new resources; (2) new primary frequency response

1 Notice of Inquiry, Essential Reliability Services and the Evolving Bulk-Power System - Primary Frequency Response, Docket No. RM16-6-000 (February 18, 2016).

2 NOI at P 37.

requirements for existing resources; and (3) the requirement to provide and compensate for 
primary frequency response.3  As fully explained below in the answers to the Commission’s 
specific questions, the Indicated ISOs/RTOs believe that the pro forma LGIA and SGIA should be revised to include primary frequency response requirements for all newly interconnecting 
resources.  In addition, the Indicated ISOs/RTOs believe that a NERC Reliability Standard that requires all NERC registered generators to provide primary frequency response should be 
developed.  Through this NERC Reliability Standard, the same requirements imposed on new resources should be imposed on existing resources.  The Indicated ISOs/RTOs also believe that additional infrastructure is needed to verify primary frequency response performance.  Finally, the Indicated ISOs/RTOs do not believe that separate compensation or a market mechanism are needed for primary frequency response.  Detailed answers to the Commission’s specific 
questions are included in Section II of these joint comments.

I.	IDENTIFICATION OF FILING PARTIES

ISO-NE is the private, non-profit entity that serves as the Regional Transmission

Organization (“RTO”) for the six New England states.  NYISO is a not-for-profit corporation responsible for providing open-access transmission service and administering open and 
competitive wholesale markets in New York State.  PJM serves as the RTO in all or part of thirteen states and the District of Columbia.  SPP is the RTO for all or part of fourteen states. IESO is the RTO for Ontario, Canada.  Among other functions, the Indicated ISOs/RTOs are registered with NERC as Balancing Authorities.

3 Id. at P 40.

2

II.	ANSWERS TO QUESTIONS POSED IN THE NOI

A. Modifications to the pro forma LGIA and SGIA

1.  Should the pro forma LGIA and SGIA be revised to include requirements for all newly 
	interconnecting generating resources, including non-synchronous resources, to:

1.1. Install the capability necessary to provide primary frequency response?

Yes.  All newly interconnecting generating resources, regardless of technology type, should be 
required to install the capability necessary to provide primary frequency response.  Some ISOs 
already require these capabilities.4  For example, in ISO-NE, the LGIA already requires the 
provision and maintenance of a functioning governor on all new generating units comprising the 
Large Generating Facility in accordance with applicable provisions of the ISO New England 
Operating Documents and Applicable Reliability Standards.  ISO New England Operating 
Procedure No. 14 (“OP-14”) contains specific frequency response requirements.

Similarly, the NYISO’s LGIA requires that governors and automatic voltage regulators be in 
automatic operation at all time when the facility is operating and connected to the New York 
State Transmission System.5  Where governors and automatic voltage regulators are not capable 
of such automatic operation, the facility owner is required to notify the NYISO and to ensure that 
its real and reactive power are within the design capability of the facility’s generating unit(s) and 
steady state  stability limits as well as NYISO system operating limits (i.e., thermal, voltage and 
transient stability limits).6

PJM Manuals also require generators to operate on unrestricted governor control to assist in maintaining interconnection frequency, except for the period immediately before being removed from service and immediately after being placed in service.  Governor outages during periods of operations must be kept to a minimum and must be immediately reported to PJM. When a generator governor is not available, the unit output should not fluctuate from pre-scheduled output unless otherwise directed.7

In addition to requirements in the LGIA and SGIA, a NERC Reliability Standard that requires all 
NERC registered generators to provide primary frequency response should be developed.  This 
will provide independent reliability value, and will also facilitate Balancing Authorities’ 
compliance with the requirements of NERC Reliability Standard BAL-003-1.  Currently, under 
NERC Reliability Standard BAL-003-1 Balancing Authorities are obligated to meet frequency 
response requirements.  However, their ability to meet those requirements is dependent on the

4 The Indicated ISOs/RTOs believe that non-FERC jurisdictional interconnecting resources should also contribute to system reliability by providing primary frequency response, where applicable, through the appropriate establishment of industry standards.

5 NYISO Open Access Transmission Tariff Section 30, Appendix 6, § 9.5.4. 
6 Id.

7 PJM Manual 14D.

3

frequency response provided by generators.  NERC Reliability Standard BAL-003-1 in essence places a responsibility on Balancing Authorities without establishing the corresponding authority for Balancing Authorities to require primary frequency response capability from generators within their footprints.  Accordingly, Balancing Authorities have limited control of compliance with their obligations regarding frequency response.  To mitigate this disconnect, a NERC Reliability Standard should impose appropriate frequency response requirements on generators that apply regardless of technology type.  This standard should set the floor.  The SGIA and LGIA could impose more stringent frequency response requirements if warranted based on system conditions, as determined by the relevant interconnection studies. Furthermore, generator obligations under a NERC Reliability Standard and under the LGIA/SGIA should be coordinated to ensure efficient and effective implementation.

1.2. Ensure that prime mover governors (or equivalent frequency control devices) are 
	enabled and set pursuant to NERC’s Primary Frequency Control Guideline (i.e., 
	droop characteristics not to exceed 5 percent, and dead band settings not to exceed 
	±0.036 Hz)?

Absent unique local requirements (e.g. some remote areas of the grid may need a smaller droop), NERC’s Guidelines provide a sound baseline and are consistent with current requirements in some regions, for example, ISO-NE, NYISO, and PJM.   However, the NERC Guidelines should not preclude more stringent requirements if warranted.

1.3.  Ensure that the MW response provided (when there is available headroom) in 
	response to frequency deviations above or below the governor’s dead band from 60 
	Hz is:

1.3.1.  Sustained until system frequency returns to within the governor’s dead band 
	setting?

Yes.

1.3.2   Provided without undue delay and responds in accordance with a specified 
	droop parameter?

Yes.

2. What are the costs associated with making a newly interconnecting generation resource 
	capable of providing primary frequency response?

Specifically, what are the pieces of equipment or software needed to provide primary 
frequency response, and what are the costs associated with those pieces of equipment or 
software? Are there significant differences between synchronous and non-synchronous 
resources in providing primary frequency response, (e.g., the type of equipment necessary)?

4

The Indicated ISOs/RTOs defer to the equipment manufacturers for exact costs; however, the Indicated ISOs/RTOs believe that the incremental costs related to properly setting the governor and distributed controls are relatively minor.

The Indicated ISOs/RTOs are not aware of any rotating generators that do not have some type of speed and MW control.  The issue is whether the equipment is set to operate when needed. Moreover, the provision of reliability support outweighs any potential one-time cost associated with primary frequency response equipment.

3.  Regarding question (1) above, are the governor control settings recommended by NERC’s 
	Primary Frequency Control Guideline the appropriate settings to include in the pro forma 
	LGIA and SGIA? Why or why not?

Yes, if generators in an Interconnection had common settings, it means the maneuvering done by 
any single generator for a frequency perturbation is significantly reduced and reliability is 
enhanced.

4.  Regarding new resources, including non-synchronous resources, are there physical, technical, 
	or operational limitations/concerns to promptly providing sustained primary frequency 
	response in the direction necessary to counteract under-frequency and over-frequency 
	deviations? How should new requirements account for such limitations?

To the best of their knowledge, the Indicated ISOs/RTOs are unaware of any physical, technical, or operational limitations that prevent generators from promptly providing sustained primary frequency response.

5.  Are metrics or monitoring useful to evaluate whether new resources:

5.1. Operate with governors (or equivalent frequency control devices) enabled? Yes, this information is useful and should be required.

5.2. Set governor control settings as described in question (1) above? Yes, this information is useful and should be required.

5.3. Provide sustained MW response (when the unit has available headroom and system 
	frequency deviates outside of the dead band) that is in the direction necessary to 
	correct the frequency deviation and responsive in accordance with a specified droop 
	parameter?

Yes, this information is useful and should be required.

6.  How would transmission providers verify that new resources provide adequate primary 
	frequency response performance?

5

The Indicated ISOs/RTOs believe that there are different ways to verify generator performance with respect to primary frequency response.  The Commission should allow each region to develop rules that meet the verification goal and are consistent with a region’s rules.

For example, ISO-NE and NYISO examine frequency events to determine system performance. 
It takes multiple events for ISO-NE and NYISO to be able to classify generators as fully 
performing, partially performing, or non-performing.  To be able to accurately determine an 
individual generator’s performance, the measurement would have to be done with sufficient 
granularity to capture the necessary data for validation. In addition, the measurements would 
need to be time synchronized, meaning that the time stamps for the same event is the same across 
wide areas. The data would also need to be readily available in a usable format.  One possible 
implementation - already found useful by the Indicated ISOs/RTOs - could be a network of 
Phasor Measurement Units.

PJM currently monitors generator performance during frequency excursions as part of the BAL003 pilot and communicates outlier performance to the respective generating units.

In the SPP region, SPP receives frequently sampled data (every few seconds) from the generator. 
SPP notes that there may be precision issues with sampling and time synchronization, but this 
data could serve as the basis for assessing performance.  To the extent modifications are 
required, SPP could develop appropriate changes or new rules to facilitate accurate verification 
procedures.

6.1.  What information is necessary in order to facilitate performance verification? Please see answer to question A.6 above.

6.2.  What changes, if any, to existing infrastructure 	(including, but not limited to

telemetry and software tools) would be required in order to verify primary frequency response performance?

The answer to this question depends on the level of accuracy required for verification.  SCADA 
data may provide a basis for adequate verification, but may not be as precise as other means, 
such as using Phasor Measurement Units as the basis for verification.    High speed recorders 
(such as Phasor Measurement Units mentioned in the answer to question A.6) would provide 
more precise measurement potential, but the cost of developing the infrastructure needed to 
support this means of measurement may vary by region.  Furthermore, other support capabilities 
such as upgraded communications and increased data storage may also facilitate performance 
verification procedures.

As discussed above, with respect to performance verification, the Commission should allow each 
region to develop rules that achieve the goal of verification in a manner that is consistent with 
the region’s rules and circumstances.  The Commission could then review such proposals and 
assess them on their merits relative to the Commission’s ultimate goals with respect to 
verification.

6.3.  What limitations based on resource type, if any, should be considered

6

The Indicated ISOs/RTOs are not aware of any limitations that would preclude a resource type from providing primary frequency response verification to the Balancing Authority.

7.  How would transmission providers ensure compliance with the new rules?

Appropriate rules, which could include a NERC Reliability Standard establishing requirements for  generators  to  provide  primary  frequency  response  as  well  as  appropriate  regional interconnection and/or tariff rules, would need to be established.  A NERC Reliability Standard would be subject to NERC’s compliance and enforcement programs and regional tariff rules would be subject to the same processes that ISOs and RTOs utilize for other regional interconnection and/or tariff rules.

7.1.  Are penalties appropriate to ensure that new generating resources adhere to the new 
	requirements described in question (1) above, and if so, how should such penalties 
	be structured and implemented?

As mentioned above, a NERC Reliability Standard establishing requirements for generators to 
provide primary frequency response should be developed.  This should include data requirements 
and violation severity levels developed through the NERC standards development process.  The 
current NERC Reliability Standards template includes measurement and penalty specifications. 
If a region has more stringent requirements for primary frequency response, penalties may be 
warranted for non-compliance with such regional rules.  Each region should determine if 
incremental regional rules and associated penalties are appropriate.  The ISOs/RTOs note that 
penalties for violation of a NERC Reliability Standard and any penalties for failure to comply 
with regional reliability rules should not overlap (i.e. an entity should not be subject to

duplicative penalties).

7.2. Are penalties appropriate only if a resource receives compensation for adhering to 
	the new requirements described in question (1) above?

Primary  frequency  response  should  be  an  inherent  characteristic  of  resources  that  are interconnected to the power grid.    As such, penalties would be appropriate for violation of a NERC Reliability Standard, the LGIA and SGIA and/or regional tariffs regardless of whether a generator receives separate compensation for its capabilities and operation.

B. 	New Primary Frequency Response Requirements for Existing Resources

1.  Should the Commission implement primary frequency response requirements for existing 
	resources, as discussed above for new generators? If so, what is an appropriate means of 
	doing so (e.g., changes to transmission provider tariffs or improvements to existing reliability 
	standards)? How would transmission providers ensure that existing resources adhere to new 
	primary frequency response requirements?

Yes, the same requirements imposed on new resources should be imposed on existing resources. 
At a minimum, requirements to provide primary frequency response should be included in a 
NERC Reliability Standard that applies to registered generators.  This standard should include

7

requirements for both new and existing resources, and should recognize the potential need for a phased implementation for existing resources. This approach would not preclude the adoption of more stringent local standards if a particular area needs to do so.

2.  As  noted  above,  some  existing  generating  units  set  dead  bands  wider  than  those 
	recommended by NERC’s Primary Frequency Control Guideline, and some units have 
	control settings set in a manner that results in the premature withdrawal of primary frequency 
	response. Should the Commission prohibit these practices? If so, by what means?

These practices should be prohibited.   NERC Guidelines provide a sound baseline. It is possible that unique local requirements (e.g. some remote areas of the grid may need a smaller droop), may require deviation from the NERC Guidelines.  If generators can show that they are not able to meet the guidelines, they should either apply for an exemption or an extension of time to meet them pursuant to local requirements.

At a minimum, a generator should be required to provide notice to the system operator of its 
situation along with a corrective action plan and a timeline for compliance.  System operators 
need to be aware of each generator’s circumstances in order to manage them.  To the extent a 
NERC Reliability Standard is developed, it should recognize the potential need for exemptions 
and for coordination of such exemptions with appropriate reliability entities, e.g. Reliability 
Coordinators.

3. What are the costs of retrofitting existing units, including non-synchronous resources, and 
	with specific reference to such factors as equipment types and MW capacity, to be capable of 
	providing sustained primary frequency response?

In general, the equipment resides today on the vast majority of existing units.  The cost is associated with setting the controls that are already in place.  The Indicated ISOs/RTOs defer to equipment manufacturers for specific costs.  However, the Indicated ISOs/RTOs believe that the provision of reliability support outweighs any potential one-time cost associated with setting primary frequency response equipment.

4.  Regarding existing units, are there physical, technical, or operational limitations or concerns 
	to promptly providing sustained primary frequency response in the direction necessary to 
	counteract under-frequency and over-frequency deviations?

Generally, transmission operators do not set system operating limits that would preclude generators from providing primary frequency response.  If a generator believes there are valid reasons why it cannot provide primary frequency, those reasons should be reviewed and addressed through a robust case-by-case exemption process pursuant to local requirements.  Any potential conflict between the need for frequency response and operational choices made for reliable operation would need to be reviewed by the respective system operators.

8

C.	Requirement to Provide and Compensate for Primary Frequency Response

Service

1.  Should all resources be required to provide minimum levels of: (1) primary frequency 
	response capability; and (2) primary frequency response performance in real-time?

1.1. “Capability” involves having a turbine governor or equivalent equipment that has the 
	ability to sense changes in system frequency, and is enabled and set with 
	appropriate governor settings (e.g., droop and dead band), and assuming capacity 
	(or “headroom”) has been set aside, the physical ability to ramp the resource 
	quickly enough in order to provide useful levels of primary frequency response to 
	help arrest the frequency deviation.

Yes.  The Indicated ISOs/RTOs agree that all generating resources should be required to install the capability necessary to provide primary frequency response.

1.2. 	“Performance” would involve putting the “capability” into actual service: i.e.,

actually operating the resource with governors or equivalent equipment enabled, 
ensuring that governor controls (e.g., droop and dead band) and other settings are 
properly set and coordinated, such that when capacity (or “headroom”) has been set 
aside, the unit promptly provides sustained primary frequency response during 
frequency excursions, until system frequency returns to within the governor’s dead 
band setting.

Yes.  The Indicated ISOs/RTOs believe that generators should be required to provide primary frequency response under a NERC Reliability Standard.

2.  Is it necessary for every generating resource to install the capability necessary to provide 
	primary frequency response? Or is it more appropriate for balancing authorities to identify 
	and procure the amount of primary frequency response service that they need to meet their 
	obligations under Reliability Standard BAL-003-1 and the optimum mix of resources to meet 
	that need?

Requiring all new and existing units to have governor response spreads the requirement over a 
large mix of resources.  This diversity is needed to address issues that could happen at the same 
time, e.g. some units may lack sufficient headroom, some units may be offline due to scheduled 
maintenance or forced outage, and/or some units may not be dispatched due to light load 
conditions.  Requiring all units to provide primary frequency response ensures that the system 
operators will be able to meet emerging real-time events, which may not be the case if the system 
only has a smaller mix of frequency responsive resources.  In addition, when more generators 
provide primary frequency response, the system will respond quicker to events.  Since each 
generator’s response is based on the frequency movement observed by that generator, not the 
number of generators responding, more generators responding to an event will not result in over-
response to the event.

9

2.1. To the extent that balancing authorities are responsible for procuring adequate 
	primary frequency response service, does the current framework for blackstart 
	provide a useful guide for how primary frequency response service could be 
	procured?

No.  Primary frequency response and blackstart are two different types of capabilities.  There are also fundamental differences in the required equipment, abilities and training.

Blackstart requirements are relative to a specific/defined issue and are, therefore, known and static.  Accordingly, blackstart capability can be required from a limited set of resources.  On the other hand, primary frequency response needs are relative to dynamic system conditions.  As such, the most effective manner to meet the dynamic needs for primary frequency response is to establish uniform capability requirements that provide the system operator with a known amount of response, which facilitates the operator’s ability to manage dynamic conditions in the most efficient and effective way possible.

2.2.  Does the Commission’s  recent  rulemaking  allowing  third-party  sales of 
	frequency response services at market based rates allow balancing authorities 
	to procure sufficient amounts of primary frequency response as required by 
	BAL-003-1?

Requiring all generators to provide primary frequency response would result in sufficient primary frequency response.  Third party sales could complement that baseline capability, but such services should augment rather than replace the requirement that all resources provide primary frequency response.

2.3. To the extent that balancing authorities centrally optimize primary frequency 
	response, wherein an algorithm optimizes in the operating horizon the set of 
	resources in which to allocate primary frequency response headroom: should all 
	newly interconnecting resources be required to install the necessary capability 
	in these areas? Can balancing authorities predict far ahead of the operating 
	horizon the least-cost set of resources from which it will optimize the provision 
	of primary frequency response?

Balancing Authorities do not centrally optimize primary frequency response.  If all resources are required to provide primary frequency response, then the rest of the issues are addressed.  Please see answer to question C.2 above.

2.4. Would the costs of requiring all resources to have the capability to provide 
	primary frequency response be significantly greater than the costs that would 
	result from an Interconnection-wide or balancing authority-wide optimization 
	of which generators should be capable of providing primary  frequency 
	response?

Please see answers to questions A.2, B.3, and C.2 above.

10

2.5. Would the costs of requiring all new resources to enable and set their governors, 
	or equivalent equipment, to be able to provide primary frequency response in 
	real-time be significantly greater than the costs that would result from an 
	Interconnection-wide  or  balancing  authority-wide  optimization  of  which 
	generators should provide primary frequency response in real-time?

Please see answers to questions A.2 and C.2 above.

2.6.  Please  discuss  the  viability  of  implementing  an  Interconnection-wide 
	optimization mechanism.

Please see answer to question C.2.3 above.

2.7. Would requiring every resource to be capable of providing primary frequency 
	response result in over-procurement or inefficient investment in primary 
	frequency response capability to the detriment of customers?

Conventional generators have been required to have functioning governors for decades, so 
there should be no additional cost for those resources.  Manufacturers of non-conventional 
generation (e.g., wind, solar) have already developed the software needed to provide 
primary frequency response through their power electronics.  Requiring all resources to 
provide frequency response establishes appropriate robustness in the system to cover the 
wide range of contingency conditions typically seen in operations and results in a system 
with no actuation of under-frequency load shedding.  Please see answer to question C.2 
above for additional details.

2.8.  Without rules to compel performance, how would balancing authorities ensure 
	that the optimal set of resources chosen by an optimization algorithm actually 
	enable governor controls with appropriate governor settings so that they 
	provide sustained primary frequency response when capacity (or “headroom”) 
	has been reserved and frequency deviates outside of their dead band settings?

The Indicated ISOs/RTOs do not believe that an optimization algorithm is necessary or appropriate. Please see answer to question C.2 above.  As discussed throughout these comments, the most effective and efficient way to obtain sufficient primary frequency response is to establish a clear, uniform requirement that all newly interconnected resources and existing resources have primary frequency response capability through a combination of provisions in the LGIA/SGIA, tariff provisions, and/or a NERC Reliability Standard.

3.  If generation resources were required to have minimum levels of primary frequency 
	response capability or performance, should such resources be compensated for providing 
	primary frequency response capability, performance, or both? If so, why? If not, why?

Primary frequency response should be an inherent characteristic of resources that are 
interconnected to the power grid.  Moreover, primary frequency response is essential for 
reliability and should be provided broadly across each Interconnection.  As such, it should

11

be required by a combination of provisions in the LGIA/SGIA, tariff provisions, and/or a NERC Reliability Standard.

The Indicated ISOs/RTOs do not presently provide specific compensation for primary frequency response, and they have not experienced concerns with primary frequency response in their areas.

The  Indicated  ISOs/RTOs  have  not  undertaken  any  efforts  to  develop  a  separate compensation mechanism for primary frequency response.  If the Commission deems it necessary to develop new compensation mechanisms in addition to payments already made to generators, the Indicated ISOs/RTOs urge the Commission to allow flexibility for each ISO/RTO to develop approaches suitable to its particular circumstances.

Because the incremental cost to provide frequency response is minimal and because in most 
cases generators presently have this capability through governor controls, establishing the 
“right” level of additional/separate compensation for frequency response could be quite 
contentious.  While for some ancillary services it is appropriate to establish compensation 
and/or market mechanisms to incent behavior that may not otherwise be appropriately 
incented, in the case of frequency response, given that the incremental cost of providing the 
service is de minimis and given all of the other issues that ISOs and RTOs are currently 
addressing, the Indicated ISOs/RTOs do not believe that the best use of their resources and 
processes at this time would be to engage in debating the “right” level of compensation for 
primary frequency response or whether performance incentives are missing.  The Indicated 
ISOs/RTOs believe that the Commission’s goals may be achieved through the development 
of a new NERC Reliability Standard (or an appropriate extension of NERC Reliability 
Standard  BAL-003-1).    For  this  reason,  the  Indicated  ISOs/RTOs  request  that  the 
Commission hold this issue in abeyance pending the development of a NERC Reliability 
Standard as outlined above and an analysis of the results of the implementation of that 
standard in achieving the reliability requirements under the current overall compensation 
scheme for generators.

3.1. If payment is based on capacity (or “headroom”) that is set aside for primary 
	frequency response, how should such a capacity payment be structured and 
	determined?

Please see answer to question C.3 above.

3.2. If payment is based on actual performance, either alone or in combination with a 
	capacity-based payment, please discuss possible rate structures applicable to 
	primary frequency response performance.

Please see answer to question C.3 above.

3.3. Will a market price provide resources with sufficient incentive to invest in 
	primary frequency response capability and make the service available to the 
	balancing authority in real-time, absent a requirement that resources maintain 
	the capability to provide primary frequency response and perform as required?

12

Please see answer to question C.3 above.

4.  Currently, how do RTOs/ISOs ensure that they have the appropriate amount of primary 
	frequency response capability during operations?

The Indicated ISOs/RTOs are subject to NERC Reliability Standard BAL-003-1 and monitor 
their performance to the standard.  The NYISO relies on the NERC Reliability Standard BAL-
003-1 to maintain an appropriate amount of primary frequency response capability during 
operations.

Some ISOs also have regional rules for primary frequency response.  For example, currently, 
ISO-NE ensures that it has sufficient amount of primary frequency response through its local 
requirements in OP-14.  Specifically, Section II.I.1 of OP-14 provides that, for each Generator 
with a capability of ten MW or greater, the Lead Market Participant is required to provide, 
maintain and operate a “functioning governor,” which includes hardware or software that

provides autonomous frequency-responsive power control.  This requirement applies to all types 
of Generators.  Section II.I.4 of OP-14 further provides that all Generators 10 MW and greater 
within the New England Reliability Coordinator Area are expected to have a functioning 
governor and provide primary frequency response and support to the New England transmission 
system.  Section 9.6.2.2 of ISO-NE’s LGIA also requires the provision and maintenance of a 
functioning governor on all generating units comprising the Large Generating Facility in 
accordance with applicable provisions of the ISO New England Operating Documents and 
Applicable Reliability Standards.

PJM’s rules are set forth in PJM Manual 14D, as discussed in the answer to question A.1.1 
above.

4.1. Are resources contracted for primary frequency response outside of the market 
	optimization and dispatch?

Resources are not contracted for primary frequency response in ISO-NE, NYISO, PJM, or 
SPP.

4.2. Alternatively, does the market optimization and dispatch incorporate primary 
	frequency response in its optimization?

No, dispatch is not optimized for primary frequency response in ISO-NE, NYISO, PJM or 
SPP.

5. Would it be appropriate for RTOs/ISOs to create a product for primary frequency 
	response service?

Please see answer to question C.3.

13

6.  Are there benefits to separating Frequency Response Service under Schedule 3 and 
	creating a separate ancillary service covering each individually? If so, how should a new 
	pro forma Primary Frequency Response Ancillary Service be structured?

Based on their experience, the Indicated ISOs/RTOs do not see the benefit from creating a separate ancillary service for primary frequency response.  In addition, as noted above, because the incremental cost to provide frequency response is minimal and because in most cases generators presently have this capability through governor controls, establishing the “right” level of compensation for frequency response could be quite contentious.  Please see answer to question C.3 above.

7.  When compensating for primary frequency response, should compensation be different 
	inside and outside of RTOs/ISOs?

Please see answer to question C.3 above. As already stated, the Indicated ISOs/RTOs 
believe that a new separate compensation mechanism is not necessary.  However, if the 
Commission deems it necessary to develop new separate compensation mechanisms, all 
Balancing Authorities, not only ISOs and RTOs, should be required to develop such 
mechanisms  because  all  Balancing  Authorities  need  primary  frequency  response. 
Conversely, if it can be simply required to be a cost of reliable generator operation (similar 
to, for example, maintenance, staffing, metering, software, and communications) that should 
be priced into generator operation in non-ISO/RTO areas, then the same should be true in 
the ISO/RTO regions.

8.  What procurement requirements or compensation mechanisms could be used for primary 
	frequency response from stored energy resources? When considering requirements or 
	compensation for stored energy resources, how should possible additional costs or other 
	concerns be addressed?

As already stated, the Indicated ISOs/RTOs believe that a new separate compensation mechanism is not necessary.  Please see answer to question C.3 above.

14

III.	CONCLUSION

The Indicated ISOs/RTOs respectfully request that the Commission consider their

answers to the questions posed in the NOI.

Respectfully submitted,

/s/ Margoth R. Caley	/s/ Carl F. Patka

Raymond W. Hepper	Robert E. Fernandez, General Counsel

Vice President, General Counsel and	Raymond Stalter, Director of Regulatory Affairs

Corporate Secretary	Carl F. Patka, Assistant General Counsel

Theodore J. Paradise, Assistant General Counsel -	James Sweeney, Attorney

Operations and Planning	New York Independent System Operator, Inc.

Margoth R. Caley, Regulatory Counsel	10 Krey Boulevard

ISO New England	Rensselaer, NY  12144

Inc.	Tel:  (518) 356-6000

One Sullivan Road	Fax:  (518) 356-4702

Holyoke, MA 01040-2841	rfernandez@nyiso.com

rhepper@iso-ne.com	rstalter@nyiso.com

tparadise@iso-ne.com	cpatka@nyiso.com

mcaley@iso-ne.com	jsweeney@nyiso.com

/s/  Craig Glazer	/s/  Matt Morais

Craig Glazer	Paul Suskie

Vice President - Federal Government Policy	Sr. VP Regulatory Policy

Robert Eckenrod, Senior Counsel	& General Counsel

PJM Interconnection, L.L.C.	Matt Morais

2750 Monroe Blvd.	Associate General Counsel, Markets and

Audubon, PA 19403	Regulatory Policy

Craig.Glazer@pjm.com	Southwest Power Pool, Inc.

Robert.Eckenrod@pjm.com	201 Worthen Drive

Little Rock, AR 72223-4936

mmorais@spp.org

/s/  Nancy Marconi

Nancy Marconi, Manager, Regulatory Affairs Maia Chase

Senior Analyst - Regulatory Affairs

Independent Electricity System Operator

1600-120 Adelaide St. West

Toronto, ON  M5H 1T1

nancy.marconi@ieso.ca 
maia.chase@ieso.ca

Dated: April 25, 2016

15