UNITED STATES OF AMERICA 
	BEFORE THE

FEDERAL ENERGY REGULATORY COMMISSION

Reliability Standard for Transmission	)

System Planned Performance for	)	Docket No. RM15-11-000

Geomagnetic Disturbance Events	)

JOINT COMMENTS OF ISO NEW ENGLAND INC., MIDCONTINENT 
	INDEPENDENT SYSTEM OPERATOR,

INDEPENDENT ELECTRICITY SYSTEM OPERATOR,

NEW YORK INDEPENDENT SYSTEM OPERATOR, INC., AND 
	PJM INTERCONNECTION, L.L.C.

Pursuant to Rule 213 of the Rules of Practice and Procedure of the Federal Energy

Regulatory Commission1 (the “Commission”), ISO New England Inc., Midcontinent System

Operator, Independent Electricity Operator2, the New York Independent System Operator, Inc., 
and PJM Interconnection, L.L.C., (together, the “ISOs/RTOs”) respectfully submit these joint 
comments in response to the Notice of Proposed Rulemaking issued by the Commission in the 
above-referenced docket on May 14, 2015, proposing approval of Reliability Standard TPL-007-

1 - Transmission System Planned Performance for Geomagnetic Disturbance Events (the “NOPR”).3

The proposed Reliability Standard establishes requirements for certain entities, including 
Planning Coordinators and Transmission Planners, to assess the vulnerability of their 
transmission systems to geomagnetic disturbance events (“GMDs”).  GMDs occur when the sun 
ejects charged particles that interact and cause changes in the earth’s magnetic fields which, in

1 18 C.F.R. § 385.213 (2013).

2 Independent Electricity System Operator joins the comments in Section II.A but does not join the comment in Section II.B.

3 See Reliability Standard for Transmission System Planned Performance for Geomagnetic Disturbance Events, 151 FERC ¶ 61,134 (2015), 80 Fed. Reg. 29990 (May 26, 2015).

turn, can induce currents that threaten Bulk Power System reliability.  Entities that do not meet 
certain performance requirements, based on the results of their vulnerability assessments, must 
develop a plan to meet the requirements.  The North American Electric Reliability Corporation 
(“NERC”) submitted proposed Reliability Standard TPL-007-1 for Commission approval in 
response to a Commission directive in Order No. 779.4  In addition to proposing approval of the 
Reliability Standard, the Commission proposes to direct that NERC develop modifications to the 
benchmark GMD event definition set forth in Attachment 1 of the proposed Reliability Standard 
so that the definition is not based solely on spatially-averaged data, and to further define the 
geographic areas over which spatial averaging occurs.  The Commission also proposes to direct 
NERC to submit a work plan, and subsequently one or more informational filings, that address 
specific GMD-related research areas.5

I.	IDENTIFICATION OF FILING PARTIES

ISO New England is the private, non-profit entity that serves as the regional transmission organization (“RTO”) for the six New England states.  Midcontinent Independent System 
Operator is the RTO for fifteen states in the United States and the Canadian province of 
Manitoba.  Independent Electricity System Operator is the RTO for Ontario, Canada.  The New York Independent System Operator is the ISO for the New York Control Area.  PJM 
Interconnection, L.L.C. serves as the RTO in all or part of thirteen states and the District of 
Columbia.  Among other functions, the ISOs/RTOs are registered with NERC as Planning 
Coordinators and Transmission Planners.

4 Petition of the North American Electric Reliability Corporation for Approval of Proposed Reliability Standard TLP-007-1 Transmission System Planned Performance for Geomagnetic Disturbance Events, Docket No. RM15-11-000 (filed January 21, 2014) (“NERC Petition”).

5 Id.

2

II.	COMMENTS

ISOs/RTOs provide these comments in response to two topics addressed by the

Commission in the NOPR.

A.	The ISOs/RTOs Request that FERC Accept NERC’s Benchmark GMD

Event Definition as Filed.

In its petition, NERC explained that the purpose of the benchmark GMD event is to 
“provide a defined event for assessing system performance during a low probability, high 
magnitude GMD event.”6  NERC further explained that the benchmark GMD event represents 
the most severe GMD event expected in a 100-year period as determined by a statistical analysis 
of recorded geomagnetic data.  The benchmark GMD event definition is used in the GMD 
Vulnerability Assessments that must be conducted by Planning Coordinators and Transmission 
Planners under Requirement R4 of proposed Reliability Standard TPL-007-1. 
	One of the four elements of the GMD event definition is the reference peak geoeletric field amplitude, which NERC determined, based on spatially-average data, to be 8 V/km.7  In the NOPR, the Commission proposes to direct NERC to modify the benchmark GMD event so that the reference peak geoelectric field amplitude element of the benchmark GMD event definition is not based solely on spatially-averaged data.  The Commission explained that NERC could satisfy this proposal by revising Reliability Standard TPL-007-1 to require applicable entities to conduct GMD Vulnerability Assessments and thermal impact assessments using two different benchmark GMD events: the first benchmark GMD event using the spatially-averaged reference

6 NOPR at P 25 (citing NERC Petition at 15).

7 The other three elements of the GMD benchmark event definition are: a scaling factor to account for 
local geomagnetic latitude; a scaling factor to account for local Earth conductivity; and a reference 
geomagnetic field time series or wave shape to facilitate time-domain analysis of GMD impact on 
equipment.  NOPR at P 26 (citing NERC Petition, Ex. D (White Paper on GMD Benchmark Event 
Description)).

3

peak geoelectric field value (8 V/km), and the second using the non-spatially averaged peak 
geoelectric field value found in the GMD Interim Report (20 V/km).  The revised Reliability 
Standard could then require applicable entities to take corrective actions, using engineering 
judgment based on the results of both assessments.8  Additionally, the Commission seeks 
comment regarding the scaling factor used to account for geomagnetic latitude in the benchmark 
GMD definition.9

The ISOs/RTOs respectfully request that the Commission accept the benchmark event to 
be used in GMD Vulnerability Assessments and thermal assessments as submitted by NERC. 
First, the benchmark GMD event using the spatially-averaged reference peak geoelectric field 
value of 8 V/km should be clearly established in the standard.  The determination of which value 
should be used to determine whether corrective actions are needed should not be left up to the 
discretion of the applicable entities under the standard.  Second, because of the nature of the

benchmark GMD event definition and the manner in which it was developed, the Commission

should afford due weight to NERC’s technical expertise.  The GMD Task Force,10 which worked 
on the development of the standard for over four years and included ISO New England, 
Midcontinent Independent System Operator and PJM representatives, concurred with the use of 
the 8 V/km for the peak geomagnetic field because it found the value to be sufficiently supported 
by science and specific data obtained from Europe and Canada.  Notably, the data was evaluated 
after the GMD Interim Report was issued and, for that reason, the 20 V/km value did not take 
into account all of the data currently available.  In addition to availability of additional data , the

8 NOPR at 36.

9 NOPR at P 37.

10 The NERC Petition explains the NERC-sponsored GMD Task Force was formed in early 2011 and used an open process involving leading experts from industry, government and private researchers, as well as equipment and software vendors.  See NERC Petition at 8.

4

20 V/km value does not consider latitude or the resistivity of the earth’s crust for areas that may be less susceptible to GMD and the resultant geomagnetically-induced currents (“GIC”).  As such, the standard drafting team found that the 20 V/km was an overly conservative number that did not account for wide range effects caused by a severe GMD event.  Similarly, currently 
available data supports the scaling factor used to account for geomagnetic latitude in the 
benchmark GMD definition submitted by NERC.

For these reasons, the ISOs/RTOs support using the 8 V/km benchmark GMD event as 
proposed by NERC, and do not support using two different values for the determination of the 
benchmark event.  The ISOs/RTOs also support the use of the scaling factor as proposed by 
NERC.

B.	The Commission Should Accept NERC’s Proposed  Implementation Plan

Without Modification.

NERC proposed a phased, five-year implementation period for proposed Reliability

Standard TPL-007-1.  NERC stated that this implementation period is necessary, among other things, to give time for development of viable Corrective Action Plans, which may require applicable entities to develop, perform, and/or validate new or modified studies, assessments, procedures and because some mitigation measures may be significant budget, siting, or 
construction planning requirements.11

The proposed implementation plan states that Requirement R1 shall become effective on 
the first day of the first calendar quarter that is six months after Commission approval. For 
Requirement R2, NERC proposes that the requirement shall become effective on the first day of 
the first calendar quarter that is 18 months after Commission approval. NERC proposes that

11 NOPR at P 61 (citing NERC Petition Ex. B (Implementation Plan for TPLC-007-1) at 2).

5

Requirement R5 shall become effective on the first day of the first calendar quarter that is 24

months after Commission approval. NERC proposes that Requirement R6 shall become effective on the first day of the first calendar quarter that is 48 months after Commission approval. And 
for Requirement R3, Requirement R4, and Requirement R7, NERC proposes that the 
requirements shall become effective on the first day of the first calendar quarter that is 60 months after Commission approval.12

In the NOPR, the Commission proposes to approve the implementation plan and effective 
dates submitted by NERC.  However, the Commission also states that, given the serial nature of 
the requirements in the proposed Reliability Standard, it is concerned about the duration of the 
timeline associated with any mitigation stemming from a Corrective Action Plan.  For that 
reason, the Commission seeks comment as to whether the length of the implementation plan, 
particularly with respect to Requirements R4, R5, R6, and R7 could be reasonably shortened.13 
	Under Requirement R7 of proposed Reliability Standard TPL-007-1, Planning 
Coordinators and Transmission Planners concluding, through the GMD Vulnerability 
Assessment conducted under Requirement R4, that their system does not meet the performance 
requirements specified in the Reliability Standard, must develop a Corrective Action Plan 
addressing how the performance requirements will be met.  As NERC explained in its Petition, 
ample time is needed for the development of viable Corrective Action Plans, which may require 
applicable entities to obtain necessary data, and to develop, perform, and/or validate new or 
modified studies, assessments, and procedures.  During the standard development process, while 
ISO New England supported the 60 month implementation timeline, it requested that the

12 Id. at P 62.

13 Id. at P 63.

6

allocation of time for Requirement R6 be modified so that an additional six months, for a total of

18 months, would be allocated for implementation of Requirement R7.  Specifically, ISO New 
England explained that, once a Corrective Action Plan for one transformer is developed, the 
entity responsible for developing the Corrective Action Plan will have to run the model again to 
determine whether another Corrective Action Plan for other transformers is needed as a result of 
the first Corrective Action Plan.  This step may have to be completed iteratively.  Thus, the 12 
month period proposed for entities responsible for developing Corrective Action Plans to have 
from the time they receive the results of the thermal impact assessments under Requirement R6 
is insufficient.  ISO New England suggested that the time for implementation of Requirement R6 
be changed from 48 months to 42 months.  By making that change, the time for implementation 
for Requirement R7 would remain at 60 months, but responsible entities would have 18 months 
to develop the Corrective Action Plans.

Although the standard drafting team recognized the challenge of transformer modeling 
and supported ISO New England’s position, it did not modify the implementation timeline as 
requested by ISO New England because it concluded that stakeholder feedback strongly 
indicated the need for 48 months to complete Requirement R6.  As a result, under NERC’s 
proposal, Planning Coordinators and Transmission Planners will only have 12 months to develop Corrective Action Plans under Requirement R7, which is not sufficient time in the ISOs/RTOs’ 
view.  If the timeline for implementation of Requirement R7 is shortened to less than 12 months as suggested by the Commission, it would be very difficult, if not infeasible, for Planning 
Coordinators and Transmission Planners to develop Corrective Action Plans and evaluate their 
impacts.  For that reason, the ISOs/RTOs urge the Commission to accept NERC’s proposed 
implementation timeline without modification.

7

III.	CONCLUSION

ISOs/RTOs respectfully requests that the Commission consider their comments on

proposed Reliability Standard TPL-007-1.

Respectfully submitted,

/s/ Margoth R. Caley

Raymond W. Hepper

Vice President, General Counsel and Corporate Secretary

Theodore J. Paradise

Assistant General Counsel - Operations and Planning

Margoth R. Caley 
Regulatory Counsel

ISO New England Inc.

One Sullivan Road

Holyoke, MA 01040-2841 rhepper@iso-ne.com

tparadise@iso-ne.com 
mcaley@iso-ne.com

/s/ Carl F. Patka

Robert E. Fernandez, General Counsel 
Raymond Stalter, Director of Regulatory Affairs Carl F. Patka, Assistant General Counsel Christopher R. Sharp, Compliance Attorney

New York Independent System Operator, Inc.

10 Krey Boulevard 
Rensselaer, NY  12144 
Tel:  (518) 356-6000 
Fax:  (518) 356-4702 
rfernandez@nyiso.com 
rstalter@nyiso.com 
cpatka@nyiso.com

csharp@nyiso.com

8

/s/ Stephen G. Kozey

Stephen G. Kozey

Senior Vice-President, Legal and Compliance Services, General Counsel and Secretary

Midcontinent Independent System Operator, Inc.

P.O. Box 4202

Carmel, Indiana 46082-4202 
stevekozey@misoenergy.org

/s/  Craig Glazer

Craig Glazer

Vice President - Federal Government Policy Robert Eckenrod

Senior Counsel

PJM Interconnection, L.L.C.

Craig.Glazer@pjm.com 
Robert.Eckenrod@pjm.com

/s/  Nancy Marconi

Nancy Marconi, Manager, Regulatory Affairs Maia Chase

Senior Analyst - Regulatory Affairs

Independent Electricity System Operator

1600-120 Adelaide St. West Toronto, ON  M5H 1T1

nancy.marconi@ieso.ca maia.chase@ieso.ca