UNITED STATES OF AMERICA 
	BEFORE THE

FEDERAL ENERGY REGULATORY COMMISSION

Requirements for Frequency and Voltage	)

Ride Through Capability of Small	)	RM16-8-000

Generating Facilities	)

COMMENTS OF THE ISO/RTO COUNCIL

Pursuant the Federal Energy Regulatory Commission’s (“Commission”) Notice of

Proposed Rulemaking (“NOPR”) issued on March 17, 2016,1 the ISO/RTO Council (“IRC”) 
submits the following comments on the Commission’s proposal to modify the pro forma Small 
Generator Interconnection Agreement (“SGIA”) to require newly interconnecting small 
generating facilities that are subject to the interconnection procedures of an Independent System 
Operator or Regional Transmission Organization to ride through abnormal frequency and voltage 
events and not disconnect during such events.  Specifically, in the NOPR, the Commission 
proposes to revise the pro forma SGIA to include proposed section 1.5.7, which would require 
interconnection customers to ensure the frequency ride through capability and the voltage ride 
through capability of small generating facilities that execute agreements following the effective 
date of the proposed section 1.5.7.2

As explained in Section III below, the IRC agrees with the Commission that it is

appropriate to subject small generating facilities to ride through requirements.  The IRC supports 
the addition of section 1.5.7 to the SGIA as well as the specific requirements in proposed section

1.5.7.  The IRC also supports the Commission’s proposal to permit appropriate entities to seek

1 Requirements for Frequency and Voltage Ride Through Capability of Small Generating Facilities, 154 FERC ¶ 61,222 (2016).

2 NOPR at P 11.

1

“independent entity variations” from the proposed revisions to the pro forma SGIA, demonstrate that previously-approved variations in existing provisions of transmission providers’ SGIAs continue to be consistent with or superior to the pro forma SGIA, or both.3  Finally, the IRC respectfully submits clarifying language for proposed section 1.5.7, as well as comments 
regarding the demonstration of compliance with the requirements.

I.	IDENTIFICATION OF FILING PARTY

The IRC is comprised of the Alberta Electric System Operator (“AESO”); California 
Independent System Operator Corporation (“CAISO”); Electric Reliability Council of Texas, Inc. (“ERCOT”); the Independent Electricity System Operator (“IESO”); ISO New England Inc. (“ISO-NE”); Midcontinent Independent System Operator, Inc. (“MISO”); New York 
Independent System Operator, Inc. (“NYISO”); PJM Interconnection, L.L.C. (“PJM”); and 
Southwest Power Pool, Inc. (“SPP”).4

II.	BACKGROUND

In Order No. 2003, the Commission required large generating facilities (i.e. facilities

larger than 20 MW) to have ride through capability for abnormal voltage and frequency

conditions.5  The Commission defined “ride through” as “a Generating Facility staying

connected to and synchronized with the Transmission System during system disturbances within 
a range of over- and under-frequency conditions, in accordance with Good Utility Practice.”6  In

3 NOPR at P 17.

4 ERCOT, AESO and IESO are not subject to the Commission’s jurisdiction and are not joining these comments.

5 Standardization of Generator Interconnection Agreements and Procedures, Order No. 2003, FERC Stats. & Regs. ¶ 31,146 (2003), order on reh’g, Order No. 2003-A, FERC Stats. & Regs. ¶ 31,160, order on reh’g, Order No. 
2003-B, FERC Stats. & Regs. ¶ 31,171 (2004), order on reh’g, Order No. 2003-C, FERC Stats. & Regs. ¶ 31,190 (2005), aff'd sub nom. Nat’l Ass’n of Regulatory Util. Comm’rs v. FERC, 475 F.3d 1277 (D.C. Cir. 2007), cert. denied, 552 U.S. 1230 (2008) (“Order No. 2003”).

6 Order No. 2003 at P 562 n.88.

2

Order No. 2006, however, the Commission declined to extend the same requirement to small generating facilities (i.e. facilities 20 MW or smaller) based on the rationale that such facilities would have minimal impact on the transmission system.7  While the Commission reconsidered this requirement in Order No. 792, it declined to extend ride through requirements to small generating facilities at that time because the Institute of Electrical and Electronics Engineers (“IEEE”) was in the process of amending IEEE Standard 1547.8

In the NOPR, the Commission points out that it already requires generators

interconnecting under the Large Generator Interconnection Agreement (“LGIA”) to have ride 
through capability,9 and, as such, it would be unduly discriminatory not to also impose these 
requirements on small generating facilities.10  The Commission explains that conditions have 
changed since it last evaluated whether to impose ride through requirements on small generating 
facilities, and that the penetration of small generating facilities, such as distributed energy 
resources, has increased since the Commission analyzed the impact of small generating facilities 
in Order No. 2006.11  The Commission also states that IEEE “has revised its standards, and IEEE 
Standard 1547a now provides wider trip settings that give small generating facilities greater 
ability to ride through disturbances.”12  Moreover, the Commission is concerned that small

7 Order No. 2006, FERC Stats. & Regs. ¶ 31,180 (“Order No. 2006”) at P 24.

8 NOPR at PP 5-7.

9 Id. at P1.  Article 9 of the LGIA, together with North American Electric Reliability Corporation (“NERC”)

Reliability Standard PRC-024-2 (Generator Frequency and Voltage Protective Relay Settings) (effective July 1,

2016), generally require generating facilities larger than 20 MW to ride through frequency and voltage disturbances. See id. n.5.

10 See id. at Summary, P 8.

11 Id. at P 3, 8, n.7.

12 Id. at P 8.  The Commission explains that "[s]ince the Commission issued Order No. 792, IEEE has completed a 
partial revision of IEEE Standard 1547, which is IEEE Standard 1547a.  IEEE is also in the process of fully revising 
IEEE Standard 1547.  IEEE Standard 1547a permits generating facilities to have wider trip setting[s] compared with 
IEEE Standard 1547.  However, IEEE Standard 1547a includes permissive -and not mandatory- ride through 
requirements." Id. at P 6.

3

generating facilities, in the aggregate or in significant combination, could exacerbate an initial 
disturbance by tripping off-line instead of riding through a disturbance.13  The Commission 
concludes that there is now reason to subject small generating facilities to ride through 
requirements.14

III.	COMMENTS

As the Commission correctly points out, small generating facilities are becoming a larger 
portion of the energy supply.  The aggregation or significant combination of small generating 
facilities that do not ride through transmission disturbances can lead to undesirable consequences 
for system operations, including causing an otherwise acceptable system post-contingency 
response to exhibit unacceptable low or high voltage or thermal limit exceedances.  In a worst 
case scenario, if a number of small generating facilities do not ride through all transmission 
disturbances, what would otherwise be a System Operating Limit could become an 
Interconnection Reliability Operating Limit.15  For these reasons, the IRC agrees with the 
Commission that small generating facilities should be required to ride through abnormal 
frequency and voltage events and not disconnect during such events.  These requirements are 
consistent with other requirements that ISOs and RTOs already have in place.  For instance, ISO-
NE recently submitted revisions to Schedules 22 and 23 to its Open Access Transmission Tariff

13 NOPR at P 8.

14 Id.

15 In its comments in the Order No. 792 proceeding, ISO-NE supported the Commission’s proposal and pointed out 
that, according to a report that was issued by NERC’s Integration of Variable Generation Task Force, high 
penetrations of small generators interconnecting to the distribution system could impact the reliability of the bulk 
power system in a number of ways due to their lack of voltage and frequency ride-through capabilities in response to 
disturbances on the bulk power system.  Accordingly, ISO-NE requested that the Commission revise the proposed 
modifications in Order No. 792 to include a voltage ride-through provision.   See Small Generator Interconnection 
Agreements and Procedures, Comments of ISO New England Inc.; Docket No. RM13-2-000 (June 3, 2013).

4

(“ISO-NE OATT”) 16 to extend the pro forma low-voltage ride through requirements for wind 
generators to all inverter-based generating facilities.17  The Commission accepted ISO-NE’s 
revisions18 and, as a result, all inverter-based generating facilities in New England must be able 
to ride-through voltage disturbances.    Similarly, in 2015, the Commission accepted 
amendments to PJM’s pro forma interconnection agreements19 requiring that all wind and non-
synchronous units be capable of providing voltage and frequency ride-through capabilities similar 
to those for legacy generating resources in PJM.20  As a result of amendments, going forward, all 
resource owners within PJM must be able to provide such ride-through capabilities irrespective of 
size.

The IRC supports the Commission’s proposal to add section 1.5.7 to the SGIA.21  The 
IRC supports the requirements included in the proposed new section including: (1) that the 
interconnection customer ensure “frequency ride through” capability and “voltage ride through 
capability” of its small generating facility; (2) that the interconnection customer enable those 
capabilities such that its small generating facility does not disconnect automatically or 
instantaneously from the system or equipment of the transmission provider and any affected 
systems for a defined under-frequency or over-frequency condition, or an under-voltage or over-

16 Schedule 22 to the ISO-NE OATT contains the Standardized Large Generator Interconnection Procedures (“LGIP”) and LGIA, and Schedule 23 to the ISO-NE OATT contains the Standardized Small Generator Interconnection Procedures (“SGIP”) and SGIA.

17 ISO New England Inc. and the Participating Transmission Owners Administrative Committee, Revisions to Schedules 22, 23 and 25 of the Open Access Transmission Tariff Relating to Certain Interconnection Process Improvements; Docket No. ER16-946-000, (February 16, 2016) at 18.

18 ISO New England Inc. and Participating Transmission Owners Administrative Committee, 155 FERC ¶ 61,031 
(2016).

19 Attachment O to the PJM OATT is PJM’s Form of Interconnection Service Agreement.

20 PJM Interconnection, L.L.C., 151 FERC ¶ 61,097 (2015).

21 MISO does not have a separate SGIA (or LGIA), but will implement the final language as appropriate within its Generator Interconnection Agreement.

5

voltage condition; and (3) that the transmission provider coordinate the small generating

facility’s protective equipment settings with any automatic load shedding program (e.g. underfrequency load shedding, under-voltage load shedding).

The IRC also supports the Commission’s proposal to permit appropriate entities (i.e.

ISOs/RTOs) to seek “independent entity variations” from the proposed revisions to the pro

forma SGIA, demonstrate that previously-approved variations in existing provisions of

transmission providers’ SGIAs continue to be consistent with or superior to the pro forma SGIA, or both.  Independent entity variations and regional differences should be allowed as part of 
compliance with a final order in this proceeding.

The IRC supports the Commission’s proposal to not include specific frequency and

voltage ride through parameters but rather allow for the development of appropriate system-

specific standards through industry efforts, including but not limited to, IEEE’s efforts.  The IRC 
notes, however, that NERC Reliability Standards already provide requirements for coordination 
of automatic under-frequency generator tripping with automatic under-frequency load shedding 
programs that should be incorporated into the new ride through requirements.  Accordingly, the 
IRC respectfully suggests that NERC Reliability Standards and Regional Entity standards be 
explicitly mentioned in new section 1.5.7 of the SGIA.  Specifically, proposed SGIA section

1.5.7 requires that “defined conditions shall be in accordance with Good Utility Practice and

consistent with any standards and guidelines that are applied to other generating facilities in the 
Balancing Authority Area on a comparable basis,”22  Section 1.5.7 also refers to the appropriate 
range of under-frequency and over-frequency conditions and under-voltage and over-voltage 
conditions “in accordance with Good Utility Practice and consistent with any standards and

22 NOPR at P 12.

6

guidelines that are applied to other generating facilities in the Balancing Authority Area on a

comparable basis.”23  The IRC recommends that the pro forma language refer specifically to

NERC Reliability Standard PRC-024 and applicable Regional Entity standards.  The IRC

proposes that, in both instances, conditions be defined “in accordance with Good Utility Practice 
and consistent with any standards and guidelines that are applied to other generating facilities in 
the Balancing Authority Area on a comparable basis, including but not limited to, NERC 
Reliability Standard PRC-024 (or its successor) and applicable Regional Entity standards.” 
	The IRC also recommends that, where the Commission proposes to require that the small generating facility’s protective equipment settings comply with “the Transmission Provider’s automatic load-shed program,” the Commission instead refer to the NERC Reliability Standards and Regional Entity standards for coordination of automatic generator tripping with automatic load shedding, and as appropriate, permit individual Transmission Providers to also reference their automatic load-shed program.

Finally, the IRC submits that the proposed required characteristics for small generating 
facilities should be demonstrated “as tested,” and this should be specified in proposed SGIA 
section 1.5.7.  Demonstrating characteristics “as tested” is already required under Section 24 of 
the LGIA.  While a similar requirement is not present in the SGIA, pursuant to the Commission’s 
direction in Order No. 2006, the “as tested” requirement is applied to small generating 
facilities.24

23 NOPR at 12.

24 See Order No. 2006 at P 59.

7

III.	CONCLUSION

The IRC respectfully supports adoption of the Commission’s proposal in the NOPR, with

the revisions suggested in these comments.

Respectfully submitted,

/s/ Anna McKenna

Roger E. Collanton, General Counsel Anna McKenna*

Assistant General Counsel, Regulatory

California Independent System Operator Corporation

250 Outcropping Way Folsom, California 95630 amckenna@caiso.com

/s/ Margoth Caley

Raymond W. Hepper

Vice President, General Counsel, and Secretary Theodore J. Paradise

Assistant General Counsel, Operations and Planning

Margoth Caley* 
Regulatory Counsel

ISO New England Inc.

One Sullivan Road

Holyoke, Massachusetts 01040 mcaley@iso-ne.com

/s/ Stephen G. Kozey

Stephen G. Kozey*

Vice President, General Counsel, and Secretary

Erin M. Murphy*

Managing Assistant General Counsel

Midcontinent Independent System Operator, 
Inc.

P.O. Box 4202

Carmel, Indiana 46082-4202 skozey@midwestiso.org

Dated: May 23, 2016

/s/ Sara B. Keegan

Robert E. Fernandez, General Counsel Raymond Stalter,

Director of Regulatory Affairs 
Sara B. Keegan, Senior Attorney*

New York Independent System Operator, 
Inc.

10 Krey Boulevard 
skeegan@nyiso.com

/s/ Craig Glazer

Craig Glazer*

Vice President-Federal Government Policy James M. Burlew*

Counsel

PJM Interconnection, L.L.C.

Suite 600

1200 G Street, N.W. Washington, D.C. 20005 202-423-4743

Craig.Glazer@pjm.com 
James.Burlew@pjm.com

/s/ Paul Suskie

Paul Suskie*

Sr. VP Regulatory Policy & General Counsel

Matt Morais

Associate General Counsel, Markets and Regulatory Policy

Southwest Power Pool, Inc.

201 Worthen Drive

Little Rock, Arkansas 72223-4936 mmorais@spp.org

*Designated to receive service

8