10 Krey Boulevard  Rensselaer, NY  12144

February 15, 2017

By Electronic Delivery

Honorable Kimberly D. Bose, Secretary Federal Energy Regulatory Commission 888 First Street, NE

Washington, DC 20426

Re:  Docket No. ER17-386-000, New York Independent System Operator, Inc.

- Compliance Filing

Dear Secretary Bose:

On November 18, 2016, the New York Independent System Operator, Inc. (“NYISO”) 
submitted in this proceeding proposed amendments to Section 5.14.1.2 of its Market 
Administration and Control Area Services Tariff (“Services Tariff”) to define the ICAP Demand 
Curves applicable for the 2017/2018 Capability Year (“2016 DCR Filing”).1  The NYISO also 
proposed the methodologies and inputs that will be used in conducting the annual updates to 
determine the ICAP Demand Curves for the 2018/2019, 2019/2020 and 2020/2021 Capability 
Years.

On January 17, 2017, the Federal Energy Regulatory Commission (“Commission”)

accepted the NYISO’s proposal, subject to the requirement that the NYISO “submit a

compliance filing, within 30 days of the date of this order, revising its Services Tariff to remove 
inclusion of SCR emissions controls in the peaking plant design for the NYCA ICAP Demand 
Curve” (“2016 DCR Order”).2  The Commission further directed the NYISO “to update any and 
all inputs affected by” the Commission’s directive to remove the inclusion of selective catalytic 
reduction (“SCR”) emissions controls from the peaking plant design for the NYCA ICAP 
Demand Curve.3

The NYISO submits this compliance filing to address the Commission’s directive in the 
2016 DCR Order to revise the NYCA ICAP Demand Curve parameters and related inputs to

1 See Docket No. ER17-386-000, New York Independent System Operator, Inc., Proposed ICAP Demand Curves for the 2017/2018 Capability Year and Parameters for Annual Updates for Capability Years 2018/2019, 2019/2020 and 2020/2021 (November 18, 2016).  Capitalized terms not otherwise 
defined herein shall have the meaning specified in the Services Tariff and the NYISO Open Access 
Transmission Tariff (“OATT”).

2 New York Independent System Operator, Inc., 158 FERC ¶ 61,028 at P 58 (2017). 
3 Id.

Honorable Kimberly D. Bose February 15, 2017

Page 2

reflect removal of SCR emissions controls from the peaking plant design for this capacity 
region.4

I.	Documents Submitted

1.	This filing letter;

2.	A blacklined version of the proposed compliance revisions to Section 5.14.1.2 of the

Services Tariff (“Attachment I”); and

3.	A clean version of the proposed compliance revisions to Section 5.14.1.2 of the

Services Tariff (“Attachment II”).

II.	Description of Compliance Filing and Tariff Revisions

In compliance with Ordering Paragraph B of the 2016 DCR Order, the NYISO has

revised the parameters of the NYCA ICAP Demand Curve for the 2017/2018 Capability Year set forth in the table in Section 5.14.1.2 of the Services Tariff to reflect removal of the SCR 
emissions controls from the peaking plant design for this capacity region.  The revised reference point price for the NYCA ICAP Demand Curve for the 2017/2018 Capability Year is $9.08 per kW-month and the revised maximum value is $15.85 per kW-month.

The NYISO has also revised the data values for the NYCA ICAP Demand Curve set

forth in the table in Section 5.14.1.2.2.3 of the Services Tariff to reflect the modification to the 
peaking plant design directed by the Commission.  The revised peaking plant gross cost for the 
NYCA ICAP Demand Curve for the 2017/2018 Capability Year is $126.79 per kW-year and the 
revised net Energy and Ancillary Services revenue offset value is $35.70 per kW-year.

The NYISO also provides updates below to certain of tables included in the 2016 DCR 
Filing to reflect the determinations set forth in the 2016 DCR Order.5  The tables summarize

4 As part of developing this compliance filing, the NYISO has also posted an updated version of 
the net Energy and Ancillary Services (“EAS”) revenues model to its website.  The updated model has 
disabled the functionality to assess locations and peaking plant designs not approved by the Commission 
in the 2016 DCR Order.  No other changes to the model’s logic were made.  This streamlined version of 
the net EAS revenues model will be used by the NYISO in conducting the annual updates to determine 
the ICAP Demand Curves for the 2018/2019 through 2020/2021 Capability Years.  The streamlined

version of the net EAS revenues model is posted on the NYISO’s website within the “Demand Curve 
Reset Annual Updates” section of the “Reference Documents” folder, available at: 
http://www.nyiso.com/public/markets_operations/market_data/icap/index.jsp.  The version of the model 
containing all of the peaking plant designs and locations assessed during the 2016 ICAP Demand Curve reset (“DCR”) process remains available on the NYISO’s website within the “Final Net EAS Model 
September 13 2016” section of the “2017-2021 Demand Curve Reset” subfolder of the “Reference 
Documents” folder, available at:

http://www.nyiso.com/public/markets_operations/market_data/icap/index.jsp.

Honorable Kimberly D. Bose February 15, 2017

Page 3

certain of the data and inputs to be used by the NYISO in conducting the tariff prescribed annual 
updates to determine the ICAP Demand Curves for the 2018/2019 through 2020/2021 Capability 
Years.6

The table below summarizes the data inputs that will be used for this reset period in determining the net EAS revenue projections for each peaking plant.

Data Input Value/Source

Factor Used in Annual

Updates for Each ICAP 
	Demand Curve

Net EAS Revenue Model, including Commitment and Dispatch Logic

NYCA7	G-J Locality8	NYC	LI

The net EAS revenues model is posted on the NYISO website within the “Demand Curve Reset Annual Updates” section of the “Reference Documents” folder, available at:

http://www.nyiso.com/public/markets_operations/market_data/icap/ind ex.jsp

1x0 Siemens

Peaking plant

Variable Cost per Start ($/Start) (per unit)9

SGT6-5000F5 
	without

SCR/CO 
$10,300

1x0 Siemens	1x0 Siemens	1x0 Siemens

SGT6-5000F5	SGT6-5000F5	SGT6-5000F5

with SCR/CO	with SCR/CO	with SCR/CO

$10,500	$11,000	$10,900

The applicable values are provided within the “Lummus Performance

and OM Data” spreadsheet posted with the net EAS revenues model

Net Plant Heat Rate (HHV	(see “Demand Curve Reset Annual Updates” section of the “Reference

basis), Degraded	Documents” folder, available at:

http://www.nyiso.com/public/markets_operations/market_data/icap/ind 
ex.jsp)

5 2016 DCR Filing at 42-45.  The NYISO has also updated certain of the hyperlinks within the 
first table to provide access to the streamlined version of the net EAS revenues model recently posted to 
its website.

6 The table detailing the data sources and weighting factors that will be used for this reset period 
in calculating the composite escalation factor for annually adjusting the levelized localized embedded cost 
of each peaking plant is unaltered by the Commission-directed changes to the NYCA ICAP Demand 
Curve peaking plant design and, therefore, is not reproduced herein.  See 2016 DCR Filing at 41.

7 The data inputs for NYCA are based on the use of Load Zone F as the location for the NYCA ICAP Demand Curve peaking plant.

8 The data inputs for the G-J Locality are based on the use of Load Zone G (Dutchess County) as the location for the G-J Locality ICAP Demand Curve peaking plant.

9 The total start-up cost is calculated as the start-up fuel quantity multiplied by the applicable fuel 
price, plus the variable O&M cost per start.   The start-up fuel quantity for each peaking plant is provided 
within the “Lummus Performance and OM Data” spreadsheet posted with the net EAS revenues model 
(see “Demand Curve Reset Annual Updates” section of the “Reference Documents” folder, available at: 
http://www.nyiso.com/public/markets_operations/market_data/icap/index.jsp).

Honorable Kimberly D. Bose February 15, 2017

Page 4

Data Input Value/Source

Factor Used in Annual

Updates for Each ICAP 
	Demand Curve

Energy Prices (day-ahead and real-time)

Operating Reserves Prices 
(day-ahead and real-time)

Level of Excess Adjustment Factors

Ancillary Services Adder for Voltage Support Service

($/kW-yr.)

Peaking plant primary Fuel 
Type

Peaking plant  secondary Fuel Type (if any)

NYCA7	G-J Locality8	NYC	LI

This data is publically available through the NYISO DSS System, via the NYISO website

This data is publically available through the NYISO DSS System, via the NYISO website

The applicable values are provided within the “LOE AFs for Net EAS” spreadsheet posted with the net EAS revenues model (see “Demand Curve Reset Annual Updates” section of the “Reference Documents” folder, available at:

http://www.nyiso.com/public/markets_operations/market_data/icap/ind ex.jsp)

$1.43	$1.43	$1.43	$1.43

Natural Gas	Natural Gas	Natural Gas	Natural Gas

-	ULSD	ULSD	ULSD

Fuel tax adder  - Gas	-	-	6.9%	1.0%

Fuel tax adder - ULSD 
	Transportation cost adder -
Gas ($/MMBtu)

Transportation cost adder -
ULSD ($/MMBtu)

Real-time intraday gas premium/discount

Fuel Pricing Point  - Gas 
Fuel Pricing Point - ULSD

-

$0.27

-

10%

Iroquois 
	Zone 2

-

-

$0.27

$1.50

10%

Iroquois 
	Zone 2

New York 
	Harbor

4.5%	-

$0.20	$0.25

$1.50	$1.50

20%	30%

Transco	Transco

Zn 6 NY	Zn 6 NY

New York	New York 
	Harbor 	Harbor

Fuel Price Data source - Gas

Fuel Price Data Source -
ULSD

Peaking plant Variable 
Operating and Maintenance 
Cost

SNL Financial

EIA ULSD spot price data, available at:

-	https://www.eia.gov/dnav/pet/hist/LeafHandler.ashx

?n=PET&s=EER_EPD2DXL0_PF4_Y35NY_DPG &f=D

The applicable values are provided within the “Lummus Performance and OM Data” spreadsheet posted with the net EAS revenues model (see “Demand Curve Reset Annual Updates” section of the “Reference Documents” folder, available at:

http://www.nyiso.com/public/markets_operations/market_data/icap/ind ex.jsp)

Honorable Kimberly D. Bose February 15, 2017

Page 5

Data Input Value/Source

Factor Used in Annual

Updates for Each ICAP 
	Demand Curve

Peaking plant CO2 Emissions 
Rate

Peaking plant NOx Emissions 
Rate

Peaking plant SO2 Emissions 
Rate

CO2 Emission Allowance 
Cost

NOx Emission Allowance 
Cost

SO2 Emission Allowance 
Cost

NYISO Rate Schedule 1 
Charges for Injection Billing 
Units

NYCA7	G-J Locality8	NYC	LI

The applicable values are provided within the “Lummus Performance and OM Data” spreadsheet posted with the net EAS revenues model (see “Demand Curve Reset Annual Updates” section of the “Reference Documents” folder, available at:

http://www.nyiso.com/public/markets_operations/market_data/icap/ind ex.jsp)

The applicable values are provided within the “Lummus Performance and OM Data” spreadsheet posted with the net EAS revenues model (see “Demand Curve Reset Annual Updates” section of the “Reference Documents” folder, available at:

http://www.nyiso.com/public/markets_operations/market_data/icap/ind ex.jsp)

The applicable values are provided within the “Lummus Performance and OM Data” spreadsheet posted with the net EAS revenues model (see “Demand Curve Reset Annual Updates” section of the “Reference Documents” folder, available at:

http://www.nyiso.com/public/markets_operations/market_data/icap/ind ex.jsp)

RGGI regional allowance auction results, available on RGGI’s website at https://www.rggi.org/market/co2_auctions/results

SNL Financial 
SNL Financial

This data is publically available through the NYISO website at:

http://www.nyiso.com/public/markets_operations/market_data/miscella neous/index.jsp?docs=rate-schedule-1

Honorable Kimberly D. Bose February 15, 2017

Page 6

The table below summarizes the data inputs that will be used for this reset period in calculating the ICAP Demand Curve parameters.10

Data Input Value

Factor Used in Annual Updates for Each ICAP Demand Curve

Type of 
Value

NYCA11	G-J Locality12	NYC	LI

ICAP Demand Curve Parameter Values

Fixed for

Zero-crossing point	Reset Period	112%	115%	118%	118%

Reference Point Price Calculation

Peaking Plant Net 
Degraded Capacity

(DMNC ICAP MW) Peaking Plant Summer Capability Period

DMNC

Peaking Plant Winter Capability Period

DMNC

Level of Excess

Fixed for

Reset Period

Fixed for

Reset Period

Fixed for

Reset Period

Fixed for 
Reset Period

217.0	218.0	217.6	219.1

224.6	226.8	226.9	224.9

230.3	230.3	228.7	230.3

100.6%	101.5%	102.3% 	103.9%

III.

WSR Values

Effective Date

Updated 
Annually

These values are updated annually and will be publically available via the NYISO website

Consistent with the effective date accepted by the 2016 DCR Order, the NYISO respectfully requests an effective date of January 17, 2017 for the compliance revisions to Section 5.14.1.2 of the Services Tariff.

IV.	Service

The NYISO will send an electronic link to this filing to the official representative of each 
party to this proceeding, the official representative of each of its customers, each participant on 
its stakeholder committees, the New York State Public Service Commission, and the New Jersey

10 This table includes correction of the typographical error included in the 2016 DCR Filing with respect to the degraded capacity value for the G-J Locality ICAP Demand Curve peaking plant.  See Docket No. ER17-386-000, supra, Filing to Correct Typographical Error (December 8, 2016).

11 The data inputs for NYCA are based on the use of Load Zone F as the location for the NYCA ICAP Demand Curve peaking plant.

12 The data inputs for the G-J Locality are based on the use of Load Zone G (Dutchess County) as the location for the G-J Locality ICAP Demand Curve peaking plant.

Honorable Kimberly D. Bose February 15, 2017

Page 7

Board of Public Utilities.  In addition, the complete filing will be posted on the NYISO’s website 
at www.nyiso.com.

V.	Conclusion

The NYISO respectfully requests: (i) that the Commission accept this compliance filing; and (ii) an effective date of January 17, 2017 for the compliance revisions to Section 5.14.1.2 of the Services Tariff.

Respectfully submitted,

/s/ Garrett E. Bissell 
Garrett E. Bissell 
Senior Attorney

New York Independent System Operator, Inc.

10 Krey Blvd.

Rensselaer, New York 12144 (518) 356-6107

gbissell@nyiso.com

cc:	Michael Bardee

Nicole Buell

Anna Cochrane 
Kurt Longo 
Max Minzner 
Daniel Nowak 
Larry Parkinson

J. Arnold Quinn 
Douglas Roe

Kathleen Schnorf 
Jamie Simler

Gary Will