UNITED STATES OF AMERICA 
	BEFORE THE

FEDERAL ENERGY REGULATORY COMMISSION

New York State Reliability Council	Docket No. ER13-572-000

MOTION TO INTERVENE AND COMMENTS OF

THE NEW YORK INDEPENDENT SYSTEM OPERATOR, INC.

Pursuant to Rules 212 and 214 of the Commission’s Rules of Practice and Procedure, 18 
C.F.R. §§ 385.212, 385.214 (2006), the New York Independent System Operator, Inc. 
(“NYISO”) respectfully moves to intervene in this proceeding and offers its comments in support 
of the filing made by the New York State Reliability Council (“NYSRC”).  The NYISO believes 
that an Installed Reserve Margin (“IRM”) of 17.0 percent for the New York Control Area 
(“NYCA”) for the upcoming 2013/2014 Capability Year,1 which runs from May 1, 2013 
through April 30, 2014, falls within a range of reasonable determinations for the level of 
installed capacity required to maintain the reliability of the NYCA bulk power system. 
Accordingly, the NYISO supports the NYSRC’s request that the Commission approve an IRM 
of 17.0 percent.

The NYISO requests that the Commission grant any waivers that may be necessary to

accept and approve the NYSRC’s filing effective February 15, 2013.  This date allows sufficient time for the NYISO to calculate and post the minimum capacity requirements and for market participants to prepare for the first Installed Capacity (“ICAP”) auction for the Summer 2013 Capability Period, scheduled for March 28-29, 2013.  Without this basic information, the 
efficiency of the NYISO’s installed capacity auction could be seriously impaired.

1 Capitalized terms have the meaning ascribed to them in the NYISO’s Market Administration and Control Area Services Tariff (“Services Tariff”).

Finally, as in prior years the NYISO respectfully suggests that the Commission

coordinate its decision in this proceeding with the actions that the New York Public Service 
Commission (“NYPSC” or “State Commission”) may soon take in response to the NYSRC’s filing.  Inconsistent determinations by the Commission and the NYPSC would create uncertainty about what IRM the NYSRC should provide to the NYISO to use, and, potentially, subject the NYISO to contradictory regulatory mandates.  At the same time, the NYISO respectfully 
requests that the Commission not allow jurisdictional considerations to delay timely 
implementation of the auction process.

In support thereof, the NYISO states:

I.	Communications and Correspondence

All communications regarding this filing should be directed to:

Robert E. Fernandez, General Counsel

Raymond Stalter, Director, Regulatory Affairs *Carl Patka, Assistant General Counsel 
*Kristin Bluvas, Attorney

10 Krey Boulevard

Rensselaer, NY 12144 
Tel:  (518) 356-8540 
Fax:  (518) 356-7678 
rfernandez@nyiso.com

rstalter@nyiso.com

cpatka@nyiso.com 
kbluvas@nyiso.com

* Persons designated for receipt of service.

II.	Background

Section 3.03 of the NYSRC Agreement, which was approved by the Commission as part

of the formation of the NYISO and the NYSRC, obligates the NYSRC to submit any proposed revisions to the NYCA IRM to the Commission for approval before the beginning of the

2

Capability Year to which the change would apply. The IRM was set at 18.0% between the

2000/2001 and the 2006/2007 Capability Years.2  The Commission accepted an IRM of 16.5% for the 2007/2008 Capability Year,3 15% for the 2008/2009 Capability Year,4 16.5% for the 2009/2010 Capability Year, 5 18.0% for the 2010/2011 Capability Year,6 15.5% for the 
2011/2012 Capability Year7 and 16.0% for the current Capability Year.8

The current NYCA IRM of 16.0% means that Load Serving Entities (“LSEs”) in the

NYCA must procure ICAP equal to 116.0% of their forecast peak load.9  In addition, there are separate location-specific ICAP requirements for LSEs in New York City and on Long Island that reflect the existence of transmission constraints in those areas.

At the request of the NYSRC, the NYISO conducted a technical study to provide

parameters for establishing NYCA IRM requirements for the 2013/2014 Capability Year.  The 
NYISO employed General Electric’s Multi-Area Reliability Simulation (MARS) model to 
determine the amount of installed capacity that is required NYCA-wide to meet the governing 
resource adequacy criterion that the probability of an unplanned disconnection of firm load not 
exceed one occurrence in ten years.10  The NYISO’s base case evaluation yielded a minimum 
NYCA IRM of 17.1 percent for the 2013/2014 Capability Year. The NYISO reported its results 
to the NYSRC’s Installed Capacity Subcommittee in the Technical Study Report.

The subcommittee reviewed the results of the study, with verification of the data inputs

2 New York State Reliability Council, 90 FERC 61,313 (2000).

3 New York State Reliability Council, 118 FERC 61,179 (2007).

4 New York State Reliability Council, 122 FERC 61, 186 (2008).

5 New York State Reliability Council, Docket No. ER09-437-000 (February 6, 2009).

6 New York State Reliability Council, Docket No. ER10-416-000 (January 28, 2010).

7 New York State Reliability Council, Docket No. ER11-2392-000 (January 24, 2011).

8 New York State Reliability Council, Docket No. ER12-597-000 (February 3, 2012).

9 For the 2006/2007 Capability Year, for example, the forecast peak load for the NYCA was 33,295 MW.  The

18.0% IRM means the minimum ICAP requirement was 39,288 MW (i.e., 18% more than 33,295 MW).

10 This criterion is known as the “Loss of Load Expectation” or “LOLE” and is a standard contained in the reliability rules of the Northeast Power Coordinating Council (NPCC) and the NYSRC.

3

and modeling by General Electric.  The NYSRC’s filing provides highlights of the Technical

Study Report at pages 8, 9, 10, and 11 and includes the study itself as an attachment.  As described 
in its filing, the NYSRC Executive Committee relied on this base case result as well as its 
evaluation of modeling and assumption changes and numerous sensitivity studies, which 
resulted in IRMs higher and lower than the base case IRM. Based upon its experience and 
expertise, the NYSRC adopted an IRM for the 2013/2014 Capability Year of 17.0 percent.

On December 17, 2012, the NYSRC filed its proposed 2013/2014 NYCA IRM with the Commission.  The NYSRC requested that the Commission accept its filing and issue an order no later than February 15, 2013.

The NYSRC has informed the NYISO that, consistent with past practice, it intends to 
provide a copy of its filing to the NYPSC.  The NYISO expects that the NYPSC will initiate a 
proceeding to review the proposed IRM and will accept comments from interested parties.  The 
NYISO plans to file comments with the State Commission in support of the NYSRC’s proposal.

III.	Motion to Intervene

The NYISO is the independent body responsible for providing open access transmission service, maintaining reliability, and administering competitive wholesale markets for electricity, capacity, and ancillary services in New York State.  Pursuant to its Commission-approved 
tariffs, the NYISO is also responsible for administering the ICAP auctions, including the 
Capability Period Auction scheduled for March 28-29, 2013.11 The NYISO’s Services Tariff also requires LSEs within the NYCA to procure sufficient levels of ICAP, including locational ICAP requirements for New York City and Long Island.

Together with the ICAP Demand Curves, the NYCA IRM is a critical input into the

11 The ICAP auction processes are described in Sections 5.13 and 5.14 of the Services Tariff. 
	4

NYISO’s ICAP auctions because it is used to calculate the LSEs’ minimum NYCA-wide

capacity requirements, and its methodology and data inputs are used to calculate the Locational 
Capacity Requirements (“LCRs”). Specifically, after the NYSRC provides the IRM to the 
NYISO, the NYISO uses the NYSRC’s IRM to determine the capacity requirements for New 
York State as a whole.  It then uses the methodology and data underlying the determination of 
the base case for the IRM, and the IRM determined by the NYSRC, to calculate the LCRs for 
LSEs. Those LCRs, together with the demand curve, determine the minimum amount of 
capacity that must be procured by LSEs. The NYISO informs the LSEs of their minimum 
capacity requirements and conducts auctions for each Capability Period (summer and winter six-
month capability periods) as well as monthly and spot market auctions.12 Because the NYISO 
cannot fulfill its tariff obligations without the IRM, the NYISO has a unique interest in this 
proceeding that cannot be adequately represented by any other entity and should therefore be 
permitted to intervene with all rights of a party.

IV.	Comments

A.	The NYSRC’s Proposal to Establish a NYCA IRM of 17.0% is

Reasonable.

As explained above, the NYSRC has requested Commission approval to increase the

NYCA IRM from 16.0 percent to 17.0 percent.  The NYISO believes that the proposed IRM 
falls within a range of potentially reasonable IRM levels.  As was noted above, the NYSRC’s 
technical study yielded a base case that resulted in a minimum NYCA IRM of 17.1 percent. 
The NYSRC Executive Committee determined, based upon the base case result, modeling and 
assumption changes and numerous sensitivities, that a 17.0 percent IRM satisfies the resource 
adequacy criterion and should be adopted.  The NYISO will adjust the LCRs to meet the LOLE

12 See Services Tariff §§5.12-5.14

5

resource adequacy criterion.  The NYISO believes that it was reasonable for the NYSRC to

have adopted the 17.0 percent level because it correctly applied the LOLE criterion and the

Technical Study Report to select an IRM level within a range of reasonable IRM levels that will maintain reliability in New York for the upcoming 2013/2014 Capability Year.

B. 	The Commission Should Act Expeditiously.

The NYISO requests that the Commission act in time to provide a decision by February 
15, 2013.   Pursuant to its tariff, the NYISO has scheduled the first ICAP auction for the six-
month Summer 2013 Capability Period to occur on March 28 and 29, 2013.13  The outcome of 
this auction will affect the monthly and spot capacity auctions the NYISO will conduct in April 
for May 2013.

The NYISO must know the NYCA IRM sufficiently ahead of the scheduled auction so 
that it can calculate the minimum NYCA-wide and locational capacity requirements and 
transmit this information to auction participants.  If the Commission acts by February 15, 2013 -
the 60th day after the NYSRC filing - the NYISO is confident that it could complete this work 
on time.

Moreover, in accordance with its manuals and past practice, the NYISO has informed 
Market Participants that the new minimum requirements will be available by March 18, 2013. 
This information is conveyed in advance of the capacity auction for the six-month Summer 
Capability Period in order to provide Market Participants with sufficient notice of their capacity 
requirements so that they may develop or adjust their bidding strategies. The NYISO would 
prefer to start making the necessary calculations as early as possible in advance of this deadline.

13 The NYISO intends to ask the NYPSC to act promptly in considering the proposed IRM level, for the same reasons discussed herein.

6

Further, without timely information, it will be much harder for ICAP Suppliers and LSEs to make economically-efficient capacity procurement decisions.

C.	The Commission Should Coordinate with the NYPSC to Avoid Imposing

Inconsistent Requirements on the NYSRC.

As in previous years, the NYISO respectfully suggests that the Commission coordinate

its review of the NYSRC’s proposed NYCA IRM revision with the NYPSC’s inquiry into the

subject. To the extent that both the Commission and the NYPSC address common questions, the 
NYISO also asks that the Commission take measures to ensure that its determinations are 
compatible with the NYPSC’s. If the two agencies were to issue conflicting or contradictory 
orders to the NYSRC concerning the IRM level, confusion may ensue as to what IRM level the 
NYSRC should provide to the NYISO to use in the locational capacity calculations. If the 
NYSRC receives conflicting regulatory directives, it will be forced to choose between them, 
leaving its choice susceptible to almost certain litigation. The probability of such litigation and 
the uncertainty as to its outcome will engender uncertainty about the LSEs’ minimum 
requirements for the auction for the six-month Summer Capability Period (and possibly even the 
subsequent monthly and spot auctions). The resulting disruption and confusion would negatively 
affect the NYISO-administered markets, and, potentially, threaten the reliability of the New 
York State transmission system.

Conflicting Commission and NYPSC rulings could also put the NYISO in the difficult position of being subject to inconsistent federal and state requirements. This would greatly 
complicate the NYISO’s ability to fulfill its ICAP-related responsibilities under its tariffs. The NYISO could also be exposed to demands for refunds, and other legal claims, from either LSEs claiming that the NYISO unlawfully required them to over-procure, or from generators alleging an unlawful under-procurement and lost revenues.

7

The NYISO recognizes that the parallel Commission and NYPSC reviews of the

NYSRC’s proposed NYCA IRM revisions may give rise to disagreement between the agencies 
as to whether the Commission or the NYPSC, or both, have jurisdiction over the NYCA IRM. If a 
jurisdictional dispute arises, the NYISO respectfully submits that the Commission should not 
allow the possibility of such a dispute to interfere with the timely administration of the ICAP 
auctions.

V.	Conclusion

WHEREFORE, for the foregoing reasons, the New York Independent System Operator, 
Inc. respectfully requests that the Commission: (i) accept its motion to intervene; (ii) accept the 
NYSRC’s proposed revision to the NYCA IRM with an effective date of February 15, 2013; 
and (iii) coordinate with the NYPSC in order to avoid the possibility of inconsistent federal and 
state rulings.

Respectfully submitted,

/s/ Kristin A. Bluvas

Kristin A. Bluvas Attorney

New York Independent System Operator, Inc.

December 21, 2012

8

CERTIFICATE OF SERVICE

I hereby certify that I have this day served the foregoing document upon each person

designated on the official service list compiled by the Secretary in this proceeding in accordance with the requirements of Rule 2010 of the Rules of Practice and Procedure, 18 C.F.R. §385.2010. 
	Dated at Rensselaer, NY this 21st day of December, 2012.

/s/ Joy A. Zimberlin

Joy A. Zimberlin

New York Independent System Operator, Inc.

10 Krey Blvd.

Rensselaer, NY 12144 (518) 356-6207