UNITED STATES OF AMERICA 
	BEFORE THE

FEDERAL ENERGY REGULATORY COMMISSION

Reliability Standards for	)	Docket No.	RM12-22-000

Geomagnetic Disturbances	)

COMMENTS OF ALBERTA ELECTRIC SYSTEM OPERATOR, CALIFORNIA 
INDEPENDENT SYSTEM OPERATOR, ELECTRIC RELIABILITY COUNCIL OF 
TEXAS, THE INDEPENDENT ELECTRICITY SYSTEM OPERATOR OF ONTARIO,

INC., ISO NEW ENGLAND INC., MIDWEST INDEPENDENT TRANSMISSION SYSTEM OPERATOR, INC., NEW YORK INDEPENDENT SYSTEM OPERATOR, 
	INC., AND SOUTHWEST POWER POOL, INC.

The Alberta Electric System Operator (“AESO”), California Independent System 
Operator (“CAISO”), Electric Reliability Council of Texas (“ERCOT”), the Independent 
Electricity System Operator of Ontario, Inc. (“IESO”), ISO New England Inc. (“ISO-
NE”), Midwest Independent Transmission System Operator, Inc. (“MISO”), New York 
Independent System Operator, Inc. (“NYISO”), and Southwest Power Pool, Inc. (“SPP”)1 
(collectively, “Joint ISOs/RTOs”) submit the following comments in response to the 
Notice of Proposed Rulemaking (the “NOPR”) regarding the development of Reliability 
Standards to address the potential risks to the Bulk-Power System from geomagnetic 
disturbances (“GMD”)  issued by the  Federal  Energy Regulatory Commission (the

“Commission”) on October 18, 2012, in this proceeding.2

1 The IESO is not subject to the Commission’s jurisdiction, and these comments do not constitute agreement or acknowledgement that it can be subject to the Commission’s jurisdiction.  The AESO is also non-jurisdictional members of the IRC, but is not joining in these comments.

2 Reliability Standards for Geomagnetic Disturbances, 141 FERC ¶ 61,045 (2012).

I.	BACKGROUND AND SUMMARY

A.	Background

On April 20, 2012, the Commission issued a Technical Conference Agenda for a 
conference to be held on April 30, 2012, in Docket No. AD12-13-000.  The Technical 
Conference Agenda invited comments on the Technical Conference discussions, which 
focused on the reliability of the Bulk-Power System as affected by GMD, including the 
risks and impacts from geomagnetically induced currents (“GIC”) to transformers and 
other equipment on the Bulk-Power System and options for addressing or mitigating the 
risks and impacts.  On May 21, 2012, the ISO/RTO Council (“IRC”)3 submitted the 
following comments on the issues presented in the Technical Conference:4

Additional analysis of actual data observation is necessary before any 
reliability standards are proposed in this area given the need for 
additional information on GMD impacts and effective mitigation.

In order to enable decisions on such standards, the North American 
Electric  Reliability  Corporation (“NERC”)  should  work  with  its

stakeholders to assemble a common repository on geomagnetically 
induced  currents (“GIC”)  indicators (such  as  neutral  currents  at

selected   locations),   such   that   researchers   can   correlate   this phenomenon to actual observed impacts.

NERC’s interim report provides a sound framework for continuous improvement.

The industry has made observable progress since the blackout in Quebec in 1989.

The industry should work towards a manufacturers’ technical standard that rates a transformer’s estimated GIC resiliency.

3 The IRC is comprised of AESO, CAISO, ERCOT, IESO, ISO-NE, MISO, NYISO, PJM Interconnection, L.L.C. (“PJM”), and SPP.

4 See Geomagnetic Disturbances to the Bulk-Power System, Comments of ISO/RTO Council; Docket No. AD12-13-000 (filed May 21, 2012) (“Technical Conference Comments”).

2

The IRC supports the comments of PJM provided at the technical conference.

As noted above, on October 18, the Commission issued the NOPR proposing to 
address the vulnerabilities regarding GMD by directing NERC “to develop and file for 
approval Reliability Standards that address the potential severe, wide-spread impact of 
GMD  events  on  the  reliable  operation  of  the  Bulk-Power  System.”5    Under  the 
Commission’s proposal, the GMD Reliability Standards would be filed in two phases.

In the first phase of the proposal, the Commission would direct NERC to submit:

Reliability Standards that require owners and operators of the Bulk-Power 
System to develop and implement operational procedures to mitigate the 
effects of GMDs consistent with the reliable operation of the Bulk-Power 
System.6

NERC would be required to file the Phase I Reliability Standards with the Commission 
within 90 days of the effective date of a Final Rule in this proceeding.7  In the NOPR, the 
Commission does not propose to require specific operational procedures, but offers 
guidance and identifies certain examples of existing operational procedures to mitigate 
GMD events.

In the second phase, the Commission would direct NERC to develop Reliability 
Standards that would set forth a multi-phase process.8  More specifically, within six 
months of the effective date of a Final Rule in this proceeding, NERC would file the 
Phase II Reliability Standards requiring “owners and operators of the Bulk-Power

5 NOPR at P 15.

6 NOPR at P 16.  For ease of reference, the comments hereinafter refer to the first phase of the Commission’s proposal as “Phase I”.

7  NOPR at P 16.

8 NOPR at P 25.  For ease of reference, the comments hereinafter refer to the second phase of the Commission’s proposal as “Phase 2”.

3

System” to: 	(1) “conduct initial and on-going assessments of the potential impacts of 
GMDs on Bulk-Power System equipment and on the Bulk-Power System as a whole”;9 
and, (2) “[b]ased on those assessments . . . develop and implement a plan so that 
instability, uncontrolled separation, or cascading failures of the Bulk-Power System, 
caused by damage to critical or vulnerable Bulk-Power System equipment, or otherwise, 
will not occur as a result of a GMD.”10  Although the Commission does not propose to 
require specific solutions, the Phase II Reliability Standards would require the plans to 
include “strategies for protecting against the potential impact of GMDs.”11

B. 	Summary of the Joint ISOs/RTOs Comments

The Joint ISOs/RTOs generally support the Commission’s multi-phased approach to address the vulnerabilities regarding GMD.  To facilitate the development and implementation of the Phase I and Phase II Reliability Standards in a manner that achieve the intended reliability benefits, however, the Joint ISOs/RTOs offer the comments set forth in Section III, below.

To summarize, the Joint ISOs/RTOs’ comments request that the Commission, in a 
Final Rule in this proceeding, direct NERC to develop GMD Reliability Standards that:

Account for the applicability of existing Reliability Standards to the issues 
raised by GMDs before developing new GMD requirements to avoid the 
potential for duplicative requirements that provide no incremental reliability 
benefit.

Achieve Adequate Level of Reliability by affording the relevant functional 
entities the authority and discretion to  develop  the Phase  I operational 
procedures that meet the needs of their respective systems, and the flexibility

9  NOPR at P 23.

10  NOPR at P 23.

11 NOPR at P 23.

4

necessary to determine the Phase II plans, solutions or means that are adequate  and  necessary  to  address  the  risks  identified  in  the  GMD vulnerability assessments.

Consistent with NERC construct, define regional scope and responsibilities in 
the same terms as functional entities and areas and equipment as existing 
reliability operational and equipment protection requirements.  For example, 
requirements for the Phase II primary assessments and mitigation plans 
associated with Bulk-Power System equipment should be the responsibility of 
equipment owners and Bulk-Power System as a whole assessments and 
mitigation should be assigned to other appropriate functional entities - e.g., 
Transmission Operator.

In addition, with respect to the Phase I procedures, the Commission should clarify 
that the relevant functional entities - and not NERC - should have the authority and 
discretion to develop the Phase I procedures, as they have the detailed knowledge and 
information  necessary  to  understand  potential  GMD  impacts  and  to  develop  the 
appropriate operational procedures.  However, NERC can play a valuable role that is 
consistent  with  the  NOPR’s  approach12  by  developing  non-binding  best  practices 
reference document based on existing operational procedures, inter alia, and a non-
exclusive  illustrative  list  of  considerations  to  guide  the  development  of  Phase  I 
procedures.  Regarding Phase I, the Commission should also clarify the relationship 
between NERC’s reporting requirement and NERC’s role in reviewing the functional 
entities procedures.  With respect to Phase II, the Commission should clarify certain 
aspects of the assessment parameters.

Finally, the Commission’s Final Rule should allow a year for the Phase I and II 
Reliability Standard development to be completed, and direct NERC to develop an

12 That is, not to dictate specific procedures or solutions, but to provide guidance and examples that support their development. See NOPR at PP 17-18, 26, 34.

5

implementation timeframe that accounts for the coordination between functional entities and prioritizes implementation schedules based on degrees of impacts.

II.	COMMENTS

A.	NERC Should be Required to Consider Existing Standards Prior to

the Development of GMD Reliability Standards to Avoid the Potential for Duplicative Requirements

Existing NERC Reliability Standards establish a comprehensive set of Bulk-
Power System operational and equipment protection requirements that may address the 
concerns with the impact of GMD events on the reliable operation of the Bulk-Power 
System.  Among the Commission’s concerns with the impacts of GMDs, for example, is 
the potential for GICs introduced by GMDs to cause voltage instability due to increased 
reactive power (“VAr”) consumption and loss of VAr support.13  Because GMD raises 
voltage  concerns,  existing  NERC  Reliability  Standards  like  Voltage  and  Reactive 
Control, VAR-001-2 R2,14 should be examined first to see if they can be used and/or 
modified rather than create a new standard to address GMD VAr control.  Accordingly, 
the Joint ISOs/RTOs request that the Commission direct NERC to first consider the 
applicability of existing Reliability Standards (e.g., Voltage and Reactive Control15) to

13 See NOPR at P 25.

14 The Voltage and Reactive Control Standard requires each Transmission Operator to acquire sufficient reactive resources - which may include, but are not limited to, reactive generation scheduling, transmission line and reactive resource switching, and controllable load - within its area to protect the voltage levels under normal and contingency conditions.  This includes the Transmission Operator’s share of the reactive requirements of interconnecting transmission circuits.

15 Existing Reliability Standards and procedures associated with restoration are another example.  The NOPR states that “the proposed Reliability Standards should also address operational procedures for restoring GMD impacted portions of the Bulk-Power System that take into account the potential for equipment that is damaged or out-of-service for an extended period of time.”  See NOPR at P 20.   It is unclear how restoration procedures for GMD impacts would differ from restoration procedures that are already in place for existing exposure.  Thus, existing restoration requirements and/or procedures should be examined before new requirements and/or procedures are developed.

6

the issues raised by GMDs before developing new GMD requirements.  Such an analysis would avoid the potential for duplicative and/or redundant obligations that provide no incremental reliability benefit.

B.	Phase I Comments

1.	The Phase I Reliability Standards Should Provide for Procedures

That Are Consistent With an Adequate Level of Reliability, Which May Differ by Region.

In Phase I, the Commission proposes to require NERC to develop Reliability Standards that would have “owners and operators” develop operating procedures to mitigate the effects of GMDs.

Any procedures developed should be required to support an Adequate Level of 
Reliability to be consistent with the reliability goals of Section 215 of the Federal Power 
Act.16  However, it is notable that the need for, and the effectiveness of, the operational 
procedures that would be required by the proposed Phase I Reliability Standards will 
depend on the geographic location of the system and the structural make-up of the grid 
(e.g. type, location and operational characteristics of the Bulk-Power System equipment 
and load characteristics).  The owners and operators of the Bulk-Power System have the 
detailed knowledge and information necessary to understand potential GMD impacts and 
to develop procedures to address them.17  Accordingly, in order to achieve the intended

16 See 16 U.S.C. § 824(o)(c)1 (“Section 215”).

17 As the Technical Conference Comments stated, significant progress has been made since the blackout in 
Quebec in 1989.  See Technical Conference Comments at pp 3-4.  GMD procedures already exist and are 
being utilized in PJM, ISO-NE, MISO and NYISO.  See id.  For example, because the Hudson Valley is 
particularly vulnerable to GMDs due to its geological composition, NYISO has been involved in GMD 
operational protocols for over 30 years.  NYISO has incorporated guidance provided by NPCC operating 
procedures designed to protect its system against GMD and continuously monitors ground currents at 
susceptible  facilities.    Since  adopting  these  procedures,  NYISO  has  not  experienced  a  significant 
disturbance caused by GICs.  NYISO Transmission and Dispatching Operations Manual, Section 4.2.11,

(continued...)

7

reliability benefits, the owners and operators should have authority and discretion under 
the Phase I Reliability Standards to develop the required operational procedures.  This 
approach is consistent with the Commission’s proposal and would facilitate more 
immediate development of Phase I procedures, as they would allow functional entities 
with varied topology and structure to more easily develop and garner industry-wide 
support for the GMD Reliability Standards proposed for development in Phase I.18

2. 	The Relevant Functional Entities - and Not NERC - Should Have

Authority and Discretion to Develop the Phase I Procedures

The NOPR appears to provide NERC a direct role in the development of 
functional entities’ operational plans and procedures.  More specifically, the NOPR at P

19 provides:

The Commission expects that the ERO and owners and operators of the Bulk-Power System will draw on industry’s experience in developing and implementing existing operational procedures.

This appears to set an expectation that NERC, as the ERO, will have a direct role in the 
development and implementation of functional entities operational plans and procedures 
to address GMD and to ensure compliance with any GMD-related reliability standards.

As stated above, it is the owners and operators of the Bulk-Power System that 
have the detailed knowledge and information necessary to understand potential GMD 
impacts and to develop the appropriate procedures to address them.  The insertion of a 
third-party with governmental authority and oversight into each functional entities’

internal process and procedure planning and development will inhibit, rather than

________________________

(...continued)

Solar	Magnetic	Disturbances,	available	at:

http://www.nyiso.com/public/webdocs/markets_operations/documents/Manuals%20and%20Guides/Manua 
ls/Operations/trans_disp.pdf.

18 See NOPR at PP 18 and 19.

8

enhance, such development for a number of reasons, e.g., the time and resources that 
would be necessary to educate the ERO on each transmission system, its topology, 
equipment, etc. and the potential difficulties and conflicts that could occur where the 
ERO and a functional entity disagree on the rigor of proposed plans and procedures.  In 
order to achieve the intended reliability benefits within the intended time frame, the 
owners and operators should have authority and discretion under the Phase I Reliability 
Standards to develop the required operational procedures.   Accordingly, the Joint 
ISOs/RTOs respectfully request that the Commission provide such clarification in its 
Final Rule.

3.	NERC Should Develop a Non-Binding Best Practices Reference

Document to Support the Development of Phase I Operating

Procedures

As discussed above, the relevant functional entities should have the authority and 
discretion to develop Phase I operational procedures that meet the needs of their 
respective systems.  However, NERC can play a valuable role in  supporting the 
development of the operational procedures by maintaining a non-binding best practices 
reference guide that can be used by the functional entities in developing their procedures. 
As noted by the Commission, the NERC Interim GMD Report19 already provides 
examples of operational procedures for this purpose.20  In addition, the NOPR notes that 
some areas already have GMD operating procedures in place.  Collectively, these, as well 
as any other relevant information and procedures, could serve as the basis for such a 
reference document, which would be similar to a NERC Guideline, which is intended to

19 See North American Electric Reliability Corp., 2012 Special Reliability Assessment Interim Report: 
Effects of Geomagnetic Disturbances on the Bulk Power System (February 2012 (“NERC Interim GMD 
Report”), available at http://www.nerc.com/files/2012GMD.pdf.

20 See NOPR at P 19.

9

provide guidance on a particular topic for use by Bulk-Power System users, owners, or operators and are not intended to provide binding norms, to create reliability standards, or to create parameters by which compliance to standards is enforced.  This could provide significant value to the functional entities and would facilitate the more immediate development of Phase I operational procedures by functional entities.21

4. 	NERC Should Define the Regional Scope and Responsibility for

the Phase I Reliability Standard(s) Procedures in  the Same Terms of   Functional   Entities   and   Their   Respective   Areas   and/or Equipment as Existing Reliability Operational and Equipment Protection Requirements

The  NOPR  discusses  assigning  the  obligations  under  the  proposed  GMD 
Reliability Standards in terms of owners and operators of the Bulk-Power System.  Under 
the NERC construct, owners and operators are assigned responsibility based on their 
functional status.22  As discussed above, existing NERC Reliability Standards establish a 
comprehensive set of Bulk-Power System requirements based on functional entity and/or 
traditionally defined coordination areas and footprints, e.g., reliability coordination area, 
balancing authority area, etc.  Accordingly, the Commission should clarify that any 
additional operational procedures defined by NERC for the Phase I Reliability Standards 
should ensure that the responsibilities assigned therein are consistent with existing NERC 
Reliability Standards in terms of the role of each of these entities.23

21 The NOPR supports this approach and distinction between the substantive and informational support roles of the functional entities and NERC, respectively.  See NOPR at P 20:

While the proposed Reliability Standards should not necessarily specify what operational 
procedures must be adopted, the ERO should give owners and operators of the Bulk-
Power System guidance as to what procedures have been or are expected to be effective 
in mitigating the effects of GMDs consistent with the reliable operation of the Bulk-
Power System.

23 For purposes of GMD Reliability Standards, the key reliability functional entities from an operational 
perspective may include:  Reliability Coordinator (“RC”), Balancing Authority (“BA”), Transmission 
Operator (“TOP”) and Generator Operator (“GOP”) functions.  From a planning perspective, the standards

(continued...)

10

More specifically, the scope of the area operational procedures should be defined 
in terms of functional entity equipment for the relevant functional entity equipment 
owners - e.g. TOs/GOs/GOPs - and by functional area for the relevant operational 
functional entities - e.g. RCs, TOPs and BAs.  The relevant functional areas are the 
logical areas for developing and applying GMD mitigation procedures.  Presumably, 
current  Reliability  Standards  requirements  and  the  traditional  approach  utilized  in 
existing Reliability Standards would be considered, but given that the NOPR discusses 
responsibilities in terms of owners and operators generally, the Commission should 
provide clarification in this regard to avoid the potential that the applicable area for 
procedures developed pursuant to the Phase I Standards be defined in a different manner.

Applying the above concepts, with respect to Phase I procedures and Phase II 
assessments and plans, responsibility should align with function - equipment owners 
should be responsible for procedures, assessments and plans for their equipment, and 
functional operational entities should be responsible for procedures/assessments and 
plans for their functional areas, with appropriate coordination with equipment owners and 
any other relevant functional entities (e.g., TOPs and BAs within an RC area may

coordinate their procedures/assessments/plans with the RC in the development of its 
plan).  For example, for equipment procedures, each generator owner and operator could 
be  tasked  with  developing  procedures  for  their  generation  equipment,  and  could 
coordinate as necessary given the common interests.  The same could apply to TOs and

________________________

(...continued)

may include:  Planning Authority (“PA”), Planning Coordinator (“PC”) and Transmission Planner (“TP”). With respect to the Bulk-Power System, the standards may include:  Transmission Owners (“TO”) and Generation Owners (“GO”).

11

TOPs for transmission equipment.  With respect to operational procedures, RCs, TOPs and BAs could develop procedures for their respective areas.

Finally, any necessary coordination should also be appropriately scoped and defined.   For  example, the existing  Reliability  Standards often have a  maximum functional area limit such as a reliability coordination area or a balancing authority coordination area.  These also represent a logical limit to the boundaries for the application of the operational procedures for GMD mitigation.  Nonetheless, it is important to note that areas that are not synchronously connected should not be required to coordinate, because there is no risk of cross-regional GMD impacts if areas are only connected by asynchronous DC tie connections.

Related to the issue of assigning responsibility to the appropriate functional entity, at footnote 48 in the NOPR, the Commission states the Phase II assessments should consider the impact to the Bulk-Power System from GMD effects on non-Bulk Power System facilities.  Non-Bulk Power System equipment interconnects with Bulk-Power System  at  distinct  interfaces  that  are  comprised  of  the  non-Bulk-Power  System equipment and specific Bulk-Power System equipment.  The assessment responsibility of the impact of non-Bulk-Power System facilities to the Bulk-Power System should lie with the functional entities that own and operate the Bulk-Power System equipment that interconnects with the non-Bulk-Power System equipment.  These entities are in the best position to assess that operational relationship.

In all cases, the requirements for the Phase I Reliability Standards - whether for 
individual  operating  procedures  or  plans  or  for  plans  or  procedures  addressing

12

coordination -should harmonize and be consistent with the existing Reliability Standards and their existing equipment protection and other requirements.

5. 	NERC  Should  Establish  a  Non-Exclusive  Illustrative  List  of

Considerations to Guide the Development of Phase I Standard Operating Procedures

Given the potential impact to equipment, the NOPR states that:

the  proposed  Reliability  Standards  should  also  address  operational procedures for restoring GMD impacted portions of the Bulk-Power System that take into account the potential for equipment that is damaged or out-of-service for an extended period of time.24

The Standards should not mandate any particular procedures or considerations regarding 
system  restoration  because  they  may  not  be  relevant  depending  on  the  regional 
conditions.  Requiring implementation and/or consideration of inapplicable procedures or 
inputs/considerations   into   the   development   of   procedures   may   undermine   the 
effectiveness of the procedures and would not provide any benefit to overall Bulk-Power 
System reliability.

6. 	NERC  Should  Establish  a  Phase  I  Standard  Implementation

Timeframe  that  Accounts  for  the  Relationship  Between  the 
Operational Procedures Developed by the Different Functional 
Entities

The NOPR does not mandate a particular implementation timeline for the Phase I 
Reliability  Standards,  but  does  recommend 90  days  after  Commission  approval.25

Although expeditious development of the Phase I Reliability Standard procedures is 
desirable, 90 days is ambitious given the potential need to coordinate between multiple 
entities.  In other contexts, the Commission has allowed a year for the NERC standards 
drafting process to promulgate and submit a standard.  As the Technical Conference

24 NOPR at P 20.

25 NOPR at P 21.

13

Comments indicate, there is a great deal of data on GICs, geological variations, and differing regional system needs that should be considered in creating NERC Reliability Standards in this area.  The Phase I Standards will also serve as the foundation for Phase II.  Accordingly, the Commission should allow a year for the Phase I and Phase II Reliability Standards development to be completed, and direct NERC to develop the implementation timeline once it has a better idea of the degree of coordination that will be needed between the different functional entities.

In establishing the implementation timeframes, the coordination procedures and related  implementation  timeline  should  account  for  the  sequential  nature  of  the responsibilities related to the development of the procedures.  For example, if the RC Area procedures require inputs based on other functional entity procedures, the standards would have to account for that in setting compliance timelines.  Setting a general single period - e.g. six months - may prove unworkable if the operational procedure inputs to the RC Area procedures take 5 months to develop.  In that example, the RC would have to wait for the procedures of the other relevant functional entities, which would put it in the untenable position of having to develop its procedures in 1 month especially given the stakeholder process requirements of some organizations.

7. 	The Commission Should Clarify the Relationship of the NERC

Reporting   Requirements   for   Phase   I   Reliability   Standard Procedure  Effectiveness  and  NERC’s  Role  in  Reviewing  the Functional Entity Procedures

The  NOPR  proposes  that,  after  implementation  of  the  Phase  I  Reliability 
Standards, NERC would be required to provide periodic reports on the effectiveness of

14

the operational procedures.26  In addition, NERC would be required to periodically review the procedures and make recommendations to the relevant functional entities that they incorporate lessons-learned and new research findings.27

As an initial matter, it is unclear how these reports and reviews relate to Phase II. 
Specifically,  Phase  II  appears  to  require  a  more  thorough  assessment  of  GMD 
issues/impacts.  Based on those assessments, entities are required to develop plans to 
manage GMD impacts “so that instability, uncontrolled separation, or cascading failures 
of the Bulk-Power System, caused by damage to critical or vulnerable Bulk-Power 
System equipment, or otherwise, will not occur as a result of a GMD.”  These plans will 
include operational procedures, among other things.  Presumably, given the more 
thorough analysis in Phase II, the Phase II operating procedures would replace the Phase 
I procedures, which appear to be more of a temporary means to achieve some degree of 
GMD mitigation in the more immediate timeframe pending compliance with Phase II.  If 
that is the case, it is not clear that the Phase I reporting and effectiveness review provide 
any value.

Assuming the Phase I operating procedures are different than the Phase II plans 
and, therefore, the Phase I reports and effectiveness reviews proposed in the NOPR have 
merit, absent experiencing actual GMD events, it is unclear how the effectiveness will be 
measured.  If an event does occur, the functional entities are in the best position to assess 
the effectiveness of their GMD mitigating measures.28  Accordingly, to the extent NERC

26 See NOPR at P 21.

27 NOPR at P 21.

28 As discussed in Section III.C.1, below, the effectiveness of GMD mitigating measures can be determined 
through the installation of monitoring equipment.  Monitoring equipment should be recognized as 
	(continued...)

15

provides  the  periodic  reports  described  in  the  NOPR,  they  should  be  based  on assessments provided by the relevant functional entities.  Similarly, the functional entities are in the best position to review their procedures and assess the value of incorporating best practices/lessons learned and/or new research findings.  Finally, it is notable that, since effectiveness can only be reviewed and assessed following a GMD occurrence or event, NERC has already established an event analysis program, through which it could perform any necessary reviews and assessments.

8. 	NERC Should Coordinate the Initial Actions Proposed in the

NOPR with the Phase II Equipment Assessments

Simultaneous with the development and implementation of the Phase I Reliability Standards, the Commission is proposing to require NERC to identify facilities most atrisk from GMD and to conduct wide-area GMD assessments.  The Commission notes certain characteristics that would scope these activities - i.e., critical transformers (e.g., step-up transformers at large generating facilities) and Bulk-Power System facilities that serve critical and priority loads.

These actions appear similar to the requirements in the Phase II Standards, which require Bulk-Power System equipment and system assessments, and it is likely that NERC will rely on information from the entities that will be performing the Phase II assessments.  Thus, practically speaking, the relevant functional entities will likely be required to begin performing the Phase II assessments before the standards are in place, and they will be doing that analysis at the same time they are focused on complying with the Phase I Reliability Standards.

________________________

(...continued)

providing a mechanism to measure the effectiveness of mitigating plans, and as an acceptable solution to second stage needs assessments.

16

As such, the Commission should ensure that any such overlap of responsibilities 
is coordinated and does not undermine the effectiveness of the proposed phased process. 
Granted, the results from this analysis could be used in Phase II, but effectively requiring 
it during Phase I may distract necessary resources from Phase I compliance, thereby 
defeating the intent of the phased approach to GMD mitigation.  At a minimum, the 
results of this analysis should be complementary to the Phase II equipment and system 
assessments to ensure the actions are coordinated and do not overlap or conflict with 
Phase II tasks.

C.	Phase II Comments

1.	The Phase II Reliability Standards Should Provide for Plans that

Are Consistent With an Adequate Level of Reliability

The proposed Phase II Reliability Standards would require the relevant owners and operators to conduct assessments of GMD impacts on the Bulk-Power System equipment and on the Bulk-Power System as a whole.29  Based on those assessments, they would develop a plan “so that instability, uncontrolled separation, or cascading failures of the Bulk-Power System, caused by damage to critical or vulnerable BulkPower System equipment, or otherwise, will not occur as a result of a GMD.”30  The NOPR, however, states that “the plan cannot be limited to operational procedures or enhanced training alone, but should, subject to the needs identified in the assessments,” protect equipment from the effects of GMDs.31

29 See NOPR at P 23.

30 NOPR at P 23.

31 NOPR at P 23.  The NOPR does not propose any specific solutions, but references different approaches 
to equipment protection.  See NOPR at PP 23, 34.  The means noted included automatically blocking geo-
magnetically induced currents from entering the Bulk-Power System, instituting specification requirements

(continued...)

17

The Phase II Reliability Standards should be results-based and should establish a non-exclusive means of being compliant.  They should not mandate a plan or solution to protect equipment because such measures may not be relevant or applicable given regional conditions or the results of the GMD vulnerability assessments.  While some Phase II assessments may demonstrate the need for costly measures, others may show that significant GMDs are so infrequent in nature and pose fewer risks such that operational protocols may be adequate and necessary measures.  Accordingly, the Phase II Reliability Standards should afford functional entities the flexibility necessary to determine the plans, solutions or means that are adequate and necessary to address the risks identified in the GMD vulnerability assessments.

In a similar vein, the Commission should clarify that the use of automatic 
protection measures, such as automatic blocking devices, is not a required solution under 
the proposed Phase II Reliability Standards.  As the NOPR states, “some assessments will 
demonstrate that automatic blocking is necessary in some instances.”32  Likewise, some 
assessments may show that the risks are so minimal that only operational protocols are 
warranted.  The needs assessments should inform whether measures are needed and, to 
the extent they are, which measures are adequate and necessary to protect against the 
risks identified.

For example, a GMD vulnerability assessment may indicate that an Adequate 
Level of Reliability could be achieved through the installation of monitoring equipment.

Monitoring equipment is a key component to achieving a comprehensive and effective

________________________

(...continued)

for new equipment, inventory management, and isolating certain equipment that is not cost effective to 
retrofit.

32 NOPR at P 34.

18

program to mitigate GMD risks on the Bulk-Power System and, according to the NERC Interim Report:

Monitors are a key source of real-time information that can guide system 
operators in determining real-time response.  The monitors can also 
provide valuable historical records of previous storm activity that can be 
evaluated and factored into power system planning and analysis.33

Because the NERC Interim Report recommends monitoring equipment to arm system operators with information that can help them assess imminent transformer impacts due to GICs and take appropriate actions to prevent damage to equipment and a system blackout, it is important to recognize that the installation of such equipment and associated measures may be an appropriate solution depending upon the results of an entity’s of a GMD assessment.34

Accordingly, the Joint ISOs/RTOs request that the Commission clarify the 
requirements of the Phase II Reliability Standards to recognize that these standards 
should: (1) focus on the criteria for the GMD assessments, provided that the scope of 
criteria must remain flexible to enable functional entities to apply all relevant criteria 
regardless of whether they are established in the standards; (2) provide that the results of 
the GMD assessments should dictate the identified solutions; and, (3) be designed with 
the intent of achieving an Adequate Level of Reliability, which, depending on the results 
of the GMD assessments, may not require development and implementation of plans or 
solutions to protect equipment.

33 NERC GMD Interim Report at p 71.

34 Id.

19

2.	NERC Should Define the Scope and Responsibility for the Phase II

Procedures in the Same Terms of Functional Entities and Their Respective   Areas   and/or   Equipment   as   Existing   Reliability Operational and Equipment Protection Requirements.

The Phase II proposal, as described above, creates two distinct tasks - one for Bulk-Power System equipment assessment and GMD mitigation and one for Bulk-Power System as a whole assessment and mitigation.  As explained earlier, under the NERC construct, owners and operators are assigned responsibility based on their functional status.  Accordingly, as with the Phase I Reliability Standards, the Phase II Reliability Standards should be clear in assigning the assessment responsibilities.

By way of example, Bulk-Power System equipment is generally under the 
purview of the equipment owners.  Because the Commission makes clear in the NOPR 
that the final Reliability Standard must contain “uniform evaluation criteria”, see P28, 
equipment owners are capable of assessing possible negative impacts on Bulk-Power 
System equipment.  Hence, it would follow that requirements for the primary assessment 
and mitigation plans associated with Bulk Power System equipment should be the 
responsibility of the equipment owners and Bulk-Power System as a whole assessment 
and mitigation should be assigned to other appropriate functional entities - e.g. TOP.

More specifically, with respect to the system assessment, although the details will 
be developed in the Standards development process, similar to the Phase I scope and 
coordination, it is logical to define scope in terms of existing functional entities’ 
requirements and functional areas, and to require coordination between the relevant 
functional entities in the same manner as discussed above - e.g. equipment owner

assessment and mitigation plans could be inputs into BA and TOP assessments and plans, 
which could then be inputs into the RC assessment and plans.  Consistent with the Phase

20

I comments, it is reasonable to cap the Phase II assessments in terms of area scope based 
on RC Areas.  The relevant existing, functional areas are the logical areas for developing 
and  applying  GMD  standards  and  requirements.    Presumably,  current  Reliability 
standards requirements and the traditional approach utilized in existing Reliability 
Standards  would  continue  to  be  considered,  but  the  Commission  should  provide 
clarification in this regard to avoid the potential that the applicable area for procedures 
developed pursuant to the Phase II Standards be defined in a different manner and result 
in inconsistent or duplicative responsibilities when coupled with existing Reliability 
Standards and requirements.

3. 	The Commission Should Clarify Certain Aspects of the Proposed

Parameters that Should be Considered in the Phase II Standard Development Process

In the NOPR, the Commission proposes to require NERC to consider specific parameters in the Phase II Standards development process.  Specifically, in Paragraphs 28 to 32, the NOPR proposes the following parameters:

1.  Uniform  evaluation  criteria  for  owners  and  operators  to  follow  when 
	conducting their assessments;

2.  Assessments should evaluate the primary and secondary effects of GICs on 
	Bulk-Power System transformers, including the effects of GICs originating 
	from and passing to other regions;

3.  Assessments should evaluate the effects of GICs on other Bulk-Power System 
	equipment, system operations, and system stability, including the anticipated 
	loss of critical or vulnerable devices or elements resulting from GIC-related 
	issues;

4.  Wide-area or Regional assessments of GIC impacts should be performed in 
	conjunction with assessments by owners and operators of their own Bulk-
	Power System components;

5.  Assessments  should  be  periodically  updated,  taking  into  account  new 
	facilities, modifications to existing facilities, and new information, including 
	new research on GMDs, to determine whether there are resulting changes in

21

GMD impacts that require modifications to Bulk-Power System mitigation schemes.

The  proposal  to  establish  uniform  assessment  criteria  will  facilitate  the 
effectiveness of the resulting procedures and plans, and the proposed criteria are 
reasonable.  However, the list should not be exhaustive, nor should entities be required to 
act on the basis of each parameter if their reviews/assessments show no reliability 
impacts.  As discussed above, GMD impacts will vary between regions based on several 
factors.  Accordingly, while a uniform set of parameters may assist entities in conducting 
analyses and provide a base for reliability analyses, they should be considered factors 
rather than separate requirements, and entities should have the discretion to consider any 
and all parameters that are relevant for their particular characteristics that define their 
systems.  For this same reason, assessment of a particular parameter may not result in an 
actionable issue.  In those circumstances, entities should not be required to develop plans 
to address that parameter - a determination of no impact should be acceptable.

With respect to the second and third parameters, without commenting on the proposed substance, similar to prior comments, the responsibility for the proposed assessment parameter should lie with the equipment owner when equipment related, and with the relevant functional entity when related to Bulk-Power System operation.  Again, there should be appropriate coordination between assessments as necessary.

With respect to the fourth parameter, it is reasonable to expect that the relevant functional entities would engage in an iterative process that would allow for coordination of their respective assessments, ultimately leading to a wide-area assessment.

Finally,  the  fifth  parameter  would  require  periodic  assessments.    This  is 
reasonable and advisable, but it appears to overlap with the proposal in Phase I to require

22

NERC to do periodic reviews of entities GMD mitigation procedures.  As discussed in relation to that aspect of the NOPR, the relevant functional entities are best suited to review and assess their plans and procedures, which is what appears to be contemplated by the fifth recommended parameter.  The Commission should clarify that the functional entities should perform these reviews, and should reconcile this with the Phase I proposal to have NERC perform periodic reviews.  The Joint ISOs/RTOs believe the proposed NERC reviews are likely unnecessary because they will be redundant with these reviews, the functional entities are better situated to perform these assessments, which could then be provided to NERC for their input, and, in the event that a GMD occurrence or event occurred, the NERC event analysis program is already established and could be utilized to evaluate the plans and procedures utilized to respond.

4. 	The Commission Should Allow Sufficient Time for Establishing

Phase II Reliability Standards and Prioritize the Implementation Schedule Based on Degrees of Impact

In the NOPR, the Commission proposes to require NERC to submit Phase II 
Reliability Standards within six months of the date of a Final Rule.  As with the Phase I 
Standards, although speedy development of the Phase II Reliability Standard procedures 
is desirable, six months is ambitious given the potential need to coordinate between 
multiple entities.  In other contexts, the Commission has allowed a year for the NERC 
standards drafting process to promulgate and submit a standard.  As the Technical 
Conference Comments state, there is a great deal of data on GICs, geological variations, 
and differing regional system needs that should be considered in creating NERC 
standards in this area.  Moreover, Phase II Reliability Standards need to be built upon 
completed Phase I Standards, and allowing only three months between the Phase I and 
Phase II standards will not allow sufficient time for the NERC Standards development

23

process to address all of the Phase II issues adequately.  Accordingly, the Commission 
should allow a year for the Standards development process for both phases to be 
completed, and direct NERC to develop the implementation timeline once it has a better 
idea of the degree of coordination that will be needed between the different functional 
entities.

In the NOPR, the Commission also proposes an implementation schedule that prioritizes implementation based on relative impacts to the reliable operation of the BulkPower System in order to provide equipment that presents greater risk with necessary protection measures as soon as possible.  This proposal is logical and should facilitate appropriate focusing of resources in the most efficient and effective manner.

The implementation schedule also should allow for the completion of GMD vulnerability assessments before requiring owners and operators of the Bulk-Power System to develop solutions.  This will ensure that solutions are adequate and necessary to mitigate the risks identified in the needs assessments.

III.	CONCLUSION

The Joint ISOs/RTOs respectfully request that the Commission formulate the 
Final Rule in this proceeding in a manner consistent with the comments submitted herein.

Respectfully submitted,

24

/s/ Nancy Saracino 
Nancy Saracino 
General Counsel

Anthony Ivancovich

Deputy  General Counsel, Regulatory* Anna McKenna

Assistant General Counsel, Regulatory

California Independent System Operator Corporation

151 Blue Ravine Road Folsom, California 95630 amckenna@caiso.com

/s/ Matthew Morais

Matthew Morais*

Assistant General Counsel

Electric Reliability Council of Texas, Inc.

2705 West Lake Drive 
Taylor, Texas 76574 
mmorais@ercot.com

/s/ Theodore J. Paradise

Raymond W. Hepper

Vice President, General Counsel, and Secretary

Theodore J. Paradise*

Assistant General Counsel, Operations and Planning

ISO New England Inc.

One Sullivan Road

Holyoke, Massachusetts 01040 tparadise@iso-ne.com

/s/ Stephen G. Kozey

Stephen G. Kozey*

Vice President, General Counsel, and Secretary

Midwest Independent Transmission System Operator, Inc.

P.O. Box 4202

Carmel, Indiana 46082-4202 skozey@midwestiso.org

Dated:  December 21, 2012

25

/s/ Carl F. Patka

Carl F. Patka*

Assistant General Counsel Raymond Stalter

Director of Regulatory Affairs

New York Independent System Operator, Inc.

10 Krey Blvd

Rensselaer, New York 12144 cpatka@nyiso.com

_/s/Diana Pommen

Diana D. Pommen, MBA*

Director Interjurisdictional Affairs and Compliance

Alberta Electric System Operator

2500, 330 - 5th Avenue SW Calgary, AB T2P 0L4

diana.pommen@aeso.ca

/s/ Paul Suskie

Paul Suskie*

Senior Vice President, Regulatory Policy and General Counsel

Southwest Power Pool, Inc.

415 North McKinley, Suite 140 Little Rock, Arkansas 72205 psuskie@spp.org

/s/Brian Rivard

Brian Rivard*

Manager - Regulatory Affairs& Sector Policy Analysis

Ontario’s Independent Electricity System Operator

655 Bay Street, Suite 410 Toronto, Ontario M5G 2K4 brian.rivard@ieso.ca