UNITED STATES OF AMERICA 
	BEFORE THE

FEDERAL ENERGY REGULATORY COMMISSION

Communication of Operational Information	)	Docket No. RM13-17-000

Between National Gas Pipelines and	)

Electric Transmission Operators	)

The New York Independent System Operator (“NYISO”) submits these comments in response to the Notice of Proposed Rulemaking (the “NOPR”) issued by the Federal Energy Regulatory Commission (“FERC” or “Commission”) in this proceeding.

I.	INTRODUCTION

The NYISO supports FERC efforts to encourage sharing of non-public, operational

information regarding gas supply and transport for the purpose of promoting reliable service or operational planning.  Improved knowledge of any real-time conditions on the gas pipeline system that could impact generator capability would help maintain reliability.  For that reason, the NYISO joins the ISO/RTO Council (“IRC”) Comments in support of this NOPR.  The NYISO hereby supplements those Comments with the following proposals:

(1) FERC should encourage sharing of non-public operational information by 
	generators, fuel managers, and intrastate and local gas distribution company 
	(“LDC”) pipelines;

(2) FERC  should  encourage  pipelines  to  provide  greater  detail  to  electric 
	transmission operators when issuing notifications; and

(3) Generators should notify transmission operators that they are off-schedule and 
	participate in discussions between transmission operators and pipeline owners, 
	but only when it is necessary and appropriate to do so for reliability.

These additions will provide more information and flexibility to improve the ability of 
the NYISO and other transmission operators to maintain reliability during cold weather periods.

1

II.	COMMENTS

A.	FERC Should Encourage the Sharing of Non-Public, Operational

Information by Generators, Fuel Managers, and Intrastate and LDC Pipelines

The NYISO supports the ability to obtain non-public, operational information from

interstate gas pipelines.  However, given the reality of the way gas is bought and sold—not just 
shipped through the gas pipeline system—the NYISO notes that involving only interstate 
pipelines and transmission operators in the proposed information sharing could give an 
incomplete picture of generator capability.  While there are likely situations where knowledge of 
pipeline pressure or capacity is enough to infer generator capability, there are also situations 
where the pipeline has adequate capacity, but has no knowledge of whether a generator is able to 
purchase gas.  Only the generator and/or its fuel manager would know if additional gas supply 
will or can be purchased.  To that end, it is important that transmission operators receive that 
information.

Further, for the NYISO, receiving information from intrastate and LDC pipelines would 
also be useful. The majority of New York Control Area (NYCA) gas-fired generators are not 
directly connected to the interstate pipelines.  In fact, of all gas-fired generation capacity in New 
York, about 30% is directly connected to the interstate pipelines.  While sharing detailed 
information that would impact directly connected units would be helpful, understanding the same 
level of detail about the majority of the NYCA gas-fired capacity located behind an LDC— 
which includes virtually all units in New York City and Long Island —would be most helpful. 
	Extending the NOPR to include intrastate and LDC pipelines—and explicitly 
encouraging the option of such communications from generators and fuel managers—would 
allow the NYISO to receive detailed operational information impacting the majority of its gas-

2

fired generators.  While the NYISO is aware that state regulations govern the operations of intrastate pipelines, Hinshaw pipelines, and LDCs, FERC should encourage the same shared communication between these entities and transmission operators.

B. 	The NYISO Supports the Types of Non-Public Operational Information

Sharing Proposed By FERC  and Proposes that FERC Also Support Sharing of More Specific Details on Pipeline-issued Notifications

As noted in the IRC Comments in response to this NOPR, the NYISO and the IRC

support the examples of non-public operational information sharing provided by the Commission 
in the NOPR.  In particular, given the timing of when generators purchase and nominate gas day-
ahead, the NYISO agrees that receiving information as to whether intra-day changes to a 
particular shippers’ nomination quantity can be accommodated in real-time would aid its 
operators’ understanding of specific generator capability.  Likewise, the ability to share 
information regarding the nominated quantities of shippers who are or who supply gas-fired 
generators would enhance NYISO operators’ knowledge of real-time, next hour fuel capability 
of gas-fired units, especially during cold weather events.  Flexibility to allow generator 
participation when sharing this kind of information is important.  And, as noted above, the 
NYISO in particular would benefit from receiving this kind of information about units located 
behind an LDC.

In terms of additional useful information, the NYISO notes that, while the interstate

pipelines presently post critical and non-critical information on their online Electronic Bulletin 
Boards (“EBBs”), more specific information that would indicate the extent to which a particular 
notification may impact a specific generator would also be useful.  For example, knowing that an 
interstate pipeline is restricting secondary in or out of the path or interruptible nominations 
during the intra-day cycles is of some value, but knowing how that might impact generator

3

capacity located upstream or downstream of that delivery point (especially given what that

generator may or may not have nominated day-ahead) is another piece of operational information the NYISO would find valuable.  Simply put, receiving greater detail as to the specific impact a 
secondary service restriction will have on a particular generator or generators beyond what is 
provided in the EBB—e.g. this secondary restriction will limit capacity north of this delivery 
point during these specific hours—would enhance a transmission operator’s ability to maintain 
electric system reliability.

C.	Transmission Operators Should Have the Flexibility to Include Generator

Owners in Information Sharing, But Their Participation Should Not Be

Mandated.

As a preliminary matter, the NYISO expects that its generators will, as a matter of course, 
react to fuel availability concerns by derating their capacity when circumstances dictate. 
However, the dynamic nature of operating conditions, particularly during cold weather events, 
make additional detailed information desirable.  For that reason, along with the IRC, the NYISO 
supports a requirement that generators share necessary information with the electric transmission 
operator regarding the possibility that the generator’s natural gas service may be disrupted. 
	In addition, the NYISO notes that transmission operators need flexibility to decide 
whether or not to include generators when receiving non-public, operational information from 
pipeline owners, given the varying reasons why the non-public information may be sought.  The 
reasons a generator might be off-schedule vary, and those reasons will affect whether it is 
necessary or appropriate for the generator to be included in a communication between the 
transmission operator and pipeline owner.  For instance, the availability of gas transmission 
capability may be important to a generator needing to seek additional gas.  In that circumstance, 
it may be appropriate to institute a three-way communication among the transmission operator,

4

pipeline owner, and generator, particularly if that generator’s scheduled dispatch is critical to reliability.  By contrast, if an operational issue on a pipeline makes it impossible for multiple generators along that pipeline to receive their purchased, nominated gas, it is less appropriate to include the generators in communication between the ISO and the interstate pipeline.

In sum, in most cases, the generators already inform the NYISO of any operating limitations by derating their available capacity.  However, understanding their hour ahead generating capability over the dispatch day more completely and, in particular, the reasons underlying any consequent inability to respond to further dispatch signals, will best allow the NYISO to assess and respond to reliability concerns.

III.	CONCLUSION

For the foregoing reasons, the NYISO respectfully requests that Commission consider the NYISO’s comments as articulated above.

/s/ Carl F. Patka

Carl F. Patka

Assistant General Counsel 
Christopher R. Sharp 
Compliance Attorney 
Raymond Stalter

Director, Regulatory Affairs

New York Independent System Operator, Inc.

10 Krey Blvd

Rensselaer, New York 12144

August 26, 2013

5

CERTIFICATE OF SERVICE

I hereby certify that I have this day served the foregoing document upon each person

designated on the official service list compiled by the Secretary in this proceeding in accordance 
with the requirements of Rule 2010 of the Rules of Practice and Procedure, 18 C.F.R. § 
385.2010.

Dated at Rensselaer, NY this 26th day of August, 2013.

By:	/s/ John C. Cutting

John C. Cutting

New York Independent System Operator, Inc.

10 Krey Blvd.

Rensselaer, NY 12144 (518) 356-7521