UNITED STATES OF AMERICA 
	BEFORE THE

FEDERAL ENERGY REGULATORY COMMISSION

New York Independent System Operator, Inc.	)	Docket No. ER14-500-000

REQUEST FOR LEAVE TO ANSWER AND ANSWER OF THE NEW YORK 
	INDEPENDENT SYSTEM OPERATOR, INC.

Pursuant to Rules 212 and 213 of the Commission’s Rules of Practice and Procedure,1 the 
New York Independent System Operator, Inc. (“NYISO”) submits this request for leave to 
answer, and its answer to, the comments and protests that challenge its November 29, 2013 filing 
proposing revised ICAP Demand Curves (the “November Filing”).2  Comments and protests 
were submitted by: (i) the New York Transmission Owners (“NYTOs);3 (ii) Multiple 
Intervenors, jointly with the City of New York (“MI/City”); (iii) the New York State Public 
Service Commission (“NYPSC”); (iv) the Independent Power Producers of New York 
(“IPPNY”); (v) Entergy Nuclear Power Marketing, LLC (“Entergy”); (vi) Astoria Generating 
Company, L.P. and the NRG Companies (together, the “Indicated Suppliers”); (vii) TC 
Ravenswood, LLC (“Ravenswood”); (viii) the Electric Power Supply Association (“EPSA”); and

1 18 C.F.R. §§ 385.212 and 385.213 (2013).

2 New York Independent System Operator, Inc., Proposed Tariff Revisions to Implement Revised ICAP Demand Curves and a New ICAP Demand Curve for Capability Years 2014/2015, 2015/2016 and 2016/2017 and Request for Partial Phase-In and for Any Necessary Tariff Waivers, Docket No. ER14-500-000; and 
Unrelated Ministerial Tariff Correction, Docket No. ER12-360-000 (filed Nov. 29, 2013).

3 The NYTOs are: Central Hudson Gas & Electric Corporation, Consolidated Edison Company of New 
York, Inc., Long Island Power Authority, New York Power Authority, New York State Electric & Gas 
Corporation, Niagara Mohawk Power Corporation d/b/a National Grid, Orange and Rockland Utilities, Inc., and 
Rochester Gas and Electric Corporation.  The NYTOs support the November Filing as a just and reasonable 
package but ask the Commission to address certain concerns if the filing is not accepted in its entirety.  See 
NYTOs at 3.

(ix) the New York Supplier and Environmental Advocacy Group4 (“NY-SEA Group”).5  In

addition, this answer briefly responds to Entergy’s January 6, Motion for Leave to Answer and Answer (“Entergy Answer”).

For the reasons set forth below, the Commission should issue an order by January 28, 
2014 rejecting all challenges to the November Filing.  The Commission should accept the 
NYISO’s proposed amendments to Section 5.14.1.2 of the Market Administration and Control 
Area Services Tariff (“Services Tariff”), effective January 28, 2014, without directing any 
modifications, initiating hearing procedures, adopting a suspension period, or imposing a refund 
condition.  Commission action by that date would allow the NYISO to make timely preparations 
in advance of the proposed May 1, 2014 date that the proposed ICAP Demand Curves and G-J 
Locality would be first applied. 6

I.	REQUEST FOR LEAVE TO ANSWER

The NYISO seeks to respond to pleadings that are styled as “comments,” “protests,” as 
well as to an answer.  The Commission’s regulations allow answers to “comments” as a matter 
of right.  The Commission has discretion7 to accept answers to protests and answers and has

4 The NY-SEA Group is composed of Dynegy Marketing and Trade, LLC, Empire Generating Co., LLC, Exelon Corp., Invenergy LLC, The PSEG Companies, Brookfield Energy Marketing, LP, New Athens Generating company, LLC, Environmental Advocates of New York, Natural Resources Defense Council the Pace Energy & Climate Center, and LockPort Energy Associates, L.P.

5 In this Answer, the NYISO sometimes refers to the IPPNY, Entergy, the Indicated Suppliers, Ravenswood, EPSA and the NY-SEA Group collectively as the “Supply Interests.”

6 See New York Independent System Operator, Inc., Proposed Tariff Revisions to Establish and

Recognize a New Capacity Zone and Request for Action on Pending Compliance Filing, Docket No. ER13-
1380-000 (April 30, 2013) at 30 (requesting a late January 2014 effective date for a number of proposed tariff 
revisions related to the establishment of the “G-J Locality” to coincide with the then-anticipated effective date of 
the ICAP Demand Curves proposed in this filing and noting that “[a]ctivities in preparation of the 2014/2015 
Capability Year, such as the calculation of LCRs [i.e., Locational Capacity Requirements] and the Imports 
Rights processes, and each of the auctions associated with the month of May 2014 all occur before May 1, 
2014”).

7 See 18 C.F.R. § 385.213(a)(2).

2

done so when they help to clarify complex issues, provide additional information, or are

otherwise helpful to its decision-making process.8  The Commission should follow its precedent and accept the NYISO’s answer in this instance.  The issues in this proceeding are complex and will have a significant impact on the Installed Capacity (“ICAP”) Demand Curves9 and thus on both Capacity markets and consumers.  This answer will help the Commission better understand the issues and the consequences of its decisions.10

II. 	THE CHALLENGES TO THE NOVEMBER FILING SHOULD BE REJECTED

The proposed ICAP Demand Curves, and the underlying ICAP Demand Curve

parameters, for the 2014/2015, 2015/2016, and 2016/2017 Capability Years that are included in 
the November Filing are reasonable, amply supported, and consistent with all Services Tariff 
requirements.  They are based on analyses conducted by the NYISO and its consultants11 and 
reflect the input of NYISO stakeholders and the independent Market Monitoring Unit (“MMU”). 
The proposals ultimately reflect the independent judgment of the NYISO’s Board of Directors 
(“Board”) as to what technology meets the tariff requirements for the representative proxy plant

8 See, e.g., Southern California Edison Co., 135 FERC ¶ 61,093 at P 16 (2011) (accepting answers to protests “because those answers provided information that assisted  [the Commission] in [its] decision-making process”); New York Independent System Operator, Inc., 134 FERC ¶ 61,058 at P 24 (2011) (accepting the 
answers to protests and answers because they provided information that aided the Commission in better 
understanding the matters at issue in the proceeding); New York Independent System Operator, Inc., 140 FERC ¶ 61,160 at P 13 (2012) and PJM Interconnection, LLC, 132 FERC ¶ 61,217 at P 9 (2010) (accepting answers to answers and protests because they assisted in the Commission’s decision-making process).

9 Terms with initial capitalization in this Answer have the meaning set forth in the Services Tariff and if 
not defined in the Services Tariff, have the meaning set forth in the NYISO’s Open Access Transmission Tariff.

10 In addition, to the extent that the Commission determines that the 15 day period for submitting

answers under Rule 213(d)(1) is applicable to this filing the NYISO respectfully requests that this answer be

accepted a few days out of time.  The NYISO and its consultants worked diligently to complete this answer

within the 15-day period, but it was not practicable to do so, given that the answer period encompassed both the Christmas and New Year’s holidays and given the major early January snowstorm in Albany, New York.

11 The NYISO’s consultants encompass the team of NERA Economic Consulting (“NERA”), with

Sargent and Lundy (“S&L”) as NERA’s subcontractor (collectively identified as “NERA/S&L”) as well as the Brattle Group (“Brattle”) and Licata Energy & Environmental Consulting (“Licata”) (together, “Brattle/Licata”), who were hired by the NYISO to provide additional analysis related to the proxy unit choice for New York City (“NYC”), Long Island (“LI”) and the G-J Locality.

3

in each ICAP Demand Curve region.  As discussed in more detail below, the proposed ICAP

Demand Curves will send appropriate price signals to both existing Installed Capacity Suppliers and potential entrants to encourage efficient investments.

The possibility that the adoption of certain alternative parameters or assumptions might 
also result in just and reasonable ICAP Demand Curves does not mean that the proposals set 
forth in the November Filing are unjust, unreasonable, or “outside the zone of reasonableness” 
mandated by the Federal Power Act.12  No party to this proceeding has shown that the November 
Filing’s proposals fall short of this statutory standard.  The Commission should therefore issue 
an order accepting the NYISO’s proposed tariff amendments by January 28, 2014 without 
requiring any modifications.

A. 	The NYISO’s Selection of the F Class Frame with SCR as the Proxy Unit for

NYC, LI, and the G-J Locality Was Reasonable and Well Supported

1.	Claims that the Board Lacked  Tariff Authority to Select the F Class

Frame with SCR or to Retain Brattle/Licata Are Wholly Without

Merit

The November Filing included a complete explanation of the Board’s authority to select the F class frame combustion turbine with selective catalytic reduction (“SCR”) emission 
controls (the “F class frame with SCR”) as the proxy unit for NYC, LI, and the G-J Locality.13 That description demonstrated that the further due diligence conducted by Brattle/Licata helped the Board to come to a reasonable conclusion on a complex issue.

12 See, e.g., New York Independent System Operator, Inc., 122 FERC ¶ 61,064 at P 14, n.12 (2008)

(“2008 DCR Order”) (“The Commission does not need to show that other proposals that arguably fall within a 
zone of reasonableness are not just and reasonable and, indeed, we must approve NYISO’s proposals if 
supported as just and reasonable even if there are other just and reasonable proposals”) citing Midwest 
Independent  Transmission System Operator, 118 FERC ¶ 61,209 at P 67 (2007); FPC v. Conway Corp., 
426 U.S. 271, 278 (1976) (“there is no single cost-recovering rate, but a zone of reasonableness.”)

13 See November Filing at 11-12.

4

Nevertheless, the Supply Interests argue at length that the Services Tariff prevented the 
Board from selecting the F class frame with SCR or from retaining Brattle/Licata to inform its 
decision.  IPPNY and the Indicated Suppliers assert that the NYISO violated the “spirit” of the 
tariff,14 implicitly conceding that the NYISO’s action satisfied its express requirements.  Other 
parties go further and claim that the NYISO’s actions were actually prohibited by the Services 
Tariff.15

In either case, the Supply Interests’ entire position is based on at least three

fundamentally flawed premises.  First, the Supply Interests are correct to the extent that they note 
that Section 5.14.1.2 of the Services Tariff establishes an extensive, and collaborative, 
stakeholder process for the selection of independent consultants to develop recommended ICAP 
Demand Curve parameters.  They are wrong, however, to suggest that the existence of this 
process means that NERA/S&L’s recommendations, or the initial recommendations of the 
NYISO staff, are binding on the Board.  In reality, it is the Supply Interests that would 
effectively revise the Services Tariff by reinterpreting it to make consultants, stakeholders, 
and/or the NYISO staff, instead of the Board, responsible for deciding what would be proposed 
to the Commission.  Their reading cannot be squared with: (i) the fact that Section 5.14.1.2.9 
empowers the Board to “review and adjust” consultant and staff recommendations after hearing 
stakeholder arguments; (ii) Section 5.14.1.2.11’s unambiguous statement that the NYISO will 
file ICAP Demand Curves “as approved by the ISO Board of Directors;” and (iii) various other 
provisions in the tariffs, the NYISO’s organic agreements, and Commission precedent that make 
independent Boards ultimately responsible for decision making in ISOs/RTOs.  Indeed, if the 
Board were not able to modify consultant or staff recommendations there would be no reason to

14 See IPPNY at 22-29; Indicated Suppliers at 18.

15 Ravenswood at 7-13.

5

provide for stakeholder arguments to the Board regarding those recommendations, or for the Board’s review and approval of them.  Of course, the Board does have the authority to make proposals that differ from consultant recommendations as the Commission has confirmed by accepting such proposals in prior ICAP Demand Curve resets.16

Second, the Supply Interests ignore the fact that the Board already had a sufficient basis 
to exercise its authority to select the F class frame with SCR before it retained Brattle/Licata.  As 
the November Filing noted, stakeholders that supported the selection of that technology made a 
strong case for its adoption.17  The NYTOs have now provided the Commission with a copy of 
their October 2013 written comments, which they transmitted to the Board, in advance of the 
oral arguments to the Board.18  MI/City and others made similar arguments.  Together these 
stakeholders persuasively argued that the Board had to at least consider whether the F class 
frame with SCR was economically viable given that, among other things, four such units had 
become operational at the nominally 800 MW, $800 million, Marsh Landing Generating Station 
in California (“Marsh Landing”).

Given both the commercial operation of the four Marsh Landing units under California’s 
stringent emissions requirements and the significant fixed cost savings that the F class frame 
with SCR proxy plant technology presents over the LMS100 technology,19 the Board did not 
believe that it could reasonably ignore the considerations presented by the NYTOs and MI/NYC. 
Nor could the Board disregard the fact that the Commission had authorized the PJM

16 See, e.g., 2008 DCR Order at PP 26, 31, 60-61 (accepting NYISO modifications to excess Capacity level estimates recommended by NERA based on an analysis by Mr. David Lawrence and accepting the 
NYISO’s judgment not to include an additional risk factor that NERA had recommended).

17 See November Filing at 10.

18 NYTOs at Attachment D.

19 For example, the total capital investment required to install an LMS100 combustion turbine in Zone F 
was estimated to be $1,432/kW compared to a total capital investment of $718/kW for the SGT6-5000(F) 
(simple-cycle without SCR).  See Exhibit CDU-2 to Ungate Affidavit at 4, and NERA/S&L Report at 46.

6

Interconnection, LLC (“PJM”) to use a similar technology for a similar purpose in its capacity market design for several years.20  The Board could not reasonably refuse to consider any of 
these factors simply because of S&L’s view that a unit should not be found to meet the tariff’s economic viability requirement without at least twelve months of operating data.  At the time 
that the Board was making its decision, the Marsh Landing units had been in commercial 
operation for nearly six months and all available information indicated that they were satisfying all applicable permit requirements.

Because the Board had both the authority and a strong factual basis for making its

selection without Brattle/Licata’s input, it cannot be asserted that the Board’s choice was

improper.  It is without reason or merit to insist that the Board be required to make less well-
informed decisions.  There is nothing in the Services Tariff that requires the Board to wholly 
ignore critical information, such as the continuing successful operation of the four Marsh 
Landing units, as the Supply Interests would have it do.  It would be without reason or merit to 
reinterpret the Services Tariff to deprive the Board of its ability to conduct additional due 
diligence, or to take into account recent industry developments that were not accounted for in the 
stakeholder process.21  Mere speculation that the process for developing ICAP Demand Curve 
recommendations would somehow be undermined if the Board were permitted to conduct a 
complete review of the results is hardly a valid rationale for forcing the Board to turn a blind eye 
to relevant information.22  The notion that the Board not be allowed to seek additional 
information before making a decision also cannot be reconciled with the Indicated Suppliers’

20 MI/City at 13, 24.

21 See, e.g. Ravenswood at 13.

22 Id.

7

position that the Board must act reasonably when exercising its discretion under the Services 
Tariff.23

Third, far from violating the Services Tariff or treating stakeholders unfairly, the Board 
went above and beyond the tariff’s requirements by providing the greatest practicable 
transparency and opportunity for stakeholder input on the report produced by Brattle/Licata on 
November 1, 2013 (“Brattle Report”).  As the November Filing notes, the Board gave early 
notice that it would seek additional due diligence on the proxy plant technology question after it 
heard oral arguments.  The Board informed stakeholders that this due diligence would be made 
available for their review and that they would have an opportunity to submit additional written 
comments for the Board’s consideration before a decision was made.  The time available for 
comments was necessarily limited given the Services Tariff filing deadline.  The NYISO was 
also committed to implementing the new curves by May 1, 2014 in order to, among other things, 
timely implement the G-J Locality (an objective that the Supply Interests generally support). 
There was sufficient time for the Supply Interests to present the Board with most of the 
arguments that they are now making in this proceeding.  This is partly due to the fact that the 
NYISO responded quickly to a series of detailed technical questions posed by IPPNY.24 
	Similarly, there is no basis for the Supply Interests to complain that the Board did not follow the Services Tariff’s RFP procedures for selecting a consultant to develop a full set of ICAP Demand Curve recommendations.  As the NYISO explained in response to another 
stakeholder question, because Brattle/Licata was not retained for the purpose specified in Section

5.14.1.2.1 of the Services Tariff, its selection was not subject to the RFP requirements.25

23 See Indicated Suppliers at 21.

24 November Filing, Attachment VI.

25 Indicated Suppliers, Attachment A.

8

More generally, the Supply Interests’ claims that the Board’s actions were “opaque” or 
“non-collaborative,” or otherwise inconsistent with the spirit of the Services Tariff are both 
untrue and greatly exaggerated.  No stakeholder can reasonably claim that this issue was sprung 
on them at the “eleventh hour.”26  As MI/City have noted, it should have been clear to all 
participating stakeholders for several months prior to the oral arguments before the Board that 
certain stakeholders were urging the NYISO to select the F class frame with SCR technology as 
the proxy unit for NYC, LI, and the G-J Locality.27  The Supply Interests may have been 
disappointed with the outcome but cannot reasonably suggest that they were unaware that the 
issue was under review by the Board and might be decided against them.

2.	The Board and Brattle/Licata Were Not “Biased” in Favor of F Class

Frame with SCR Technology

Certain parties speculate that the Board’s selection of the F class frame with SCR was the 
product of a bias against existing generators.28  Such allegations are unsupported and 
irresponsible.  The NYISO is a not-for-profit, impartial, and independent entity with no financial 
stake in the outcome of this proceeding.29  The NYISO’s objective is to set the ICAP Demand 
Curves at a level that will “improve system and resource reliability by valuing the ICAP 
resources available above the system’s required levels, and provid[e] more effective economic 
signals for new investment.”30  The NYISO has used its best judgment to attempt to develop

26 Indicated Suppliers at 16; IPPNY at 10.

27 See MI/City at 33-34.

28 See, e.g., Ravenswood at 7-13; Indicated Suppliers at 15-18; and IPPNY at 22-29.

29 See, e.g., the NYISO’s Mission Statement:  “The Mission of the New York Independent System

Operator, in collaboration with its stakeholders, is to serve the public good and provide benefit to consumers by: 
maintaining and enhancing reliability; operating open, fair and competitive wholesale electricity markets; 
planning the power system for the future; and providing factual information to policy makers and other 
stakeholders,” available at: <http://www.nyiso.com/public/about_nyiso/nyisoataglance/purpose/index.jsp.>

30 2008 DCR Order at P 2.

9

proposed ICAP Demand Curves that serve this objective and believes that its proposal is reasonable and well-supported.

Similarly, some parties claim that Brattle/Licata were biased and that their retention was 
itself evidence of the Board’s bias.  According to this theory, Brattle in particular was bound to 
conclude that a frame combustion turbine with SCR was viable because it had previously made 
that recommendation to PJM and supposedly could not give contrary advice to the NYISO 
without “disastrous” harm to its reputation.31  The Supplemental Chupka Affidavit 
(Attachment 1) and Supplemental Licata Affidavits (Attachment 2) dispose of these claims. 
Mr. Chupka avers that he was directed to provide an independent review of a single issue, to 
reach his own conclusions based upon an assessment of the facts that were ascertainable using 
his best judgment, and he did exactly that.32  He also points out that he had no personal role in 
Brattle’s past work for PJM and that Brattle’s representation of PJM and other clients played no 
role in his evaluation.33  Mr. Licata confirms that neither the NYISO nor Brattle directed him to 
give his opinion as to whether the F class frame with SCR was technically feasible or 
economically viable.34  It was “only after… an in-depth review of the technical data and design 
criteria available for past and present high temperature applications,” as well as after “a thorough 
examination of the Marsh Landing design, and “a thorough review of all available emission

31 IPPNY at 27.

32 See Supplemental Chupka Affidavit at P 4.

33 Id.

34 Supplemental Licata Affidavit at P 8.

10

data” that he concluded that it was.35  In short, there is no merit to the Supply Interests’ assorted allegations that the selection of Brattle/Licata was “result-oriented.”36

3.	Challenges to the NYISO’s Selection of the F Class Frame with SCR

Should Be Rejected

The November Filing provided an in-depth explanation of the reasons supporting the 
NYISO’s conclusion that the F class frame with SCR was technically and economically viable 
for NYC, LI, and the G-J Locality.37  Moreover, as the Supplemental Chupka Affidavit states, 
Brattle/Licata have continued to review additional information that has become available in the 
two months since they completed the Brattle Report.38  Mr. Licata has likewise had additional 
discussions with SCR manufacturers, which further enhanced his understanding of SCR

capabilities.  This new information and further review has only reinforced and confirmed

Brattle/Licata’s initial judgment regarding the viability of F class frame with SCR technology.39 
	Nevertheless, the Supply Interests attempt to challenge the reasonableness of the 
NYISO’s choice.  This section, and the affidavits accompanying this answer, refute their 
principal arguments in detail.  To the extent that the NYISO does not address an argument it 
should not be construed as agreement with that claim or as an admission of fault or error by the NYISO, NERA/S&L or Brattle/Licata.  The NYISO has not responded to arguments that were 
redundant or clearly irrelevant or flawed.  Consistent with the Commission’s procedural rules, 
the NYISO has focused on answering erroneous and misleading statements in order to correct the record and facilitate the Commission’s review.

35 Supplemental Licata Affidavit at P 9.

36 See, e.g., Indicated Suppliers at 17-18.  Consequently, there is also no cause for concern that the

Supply Interests were harmed by the inapplicability of the Services Tariff’s RFP procedures to Brattle/Licata.

37 See, e.g., November Filing at 13-16.

38 Supplemental Chupka Affidavit at P 5.

39 Supplemental Licata Affidavit at PP 36-39.

11

a.  Assertions that Brattle/Licata Did Not Have Sufficient Time to 
	Prepare a Reliable Analysis Are Inaccurate and Misleading

The Supply Interests argue that the Brattle/Licata analysis should have little weight 
because it was completed in less time than the NERA/S&L Report.40  But a simplistic 
comparison of the duration of the NERA/S&L and Brattle/Licata examinations is misleading. 
NERA/S&L was responsible for developing every parameter and assumption that would impact 
the proposed ICAP Demand Curves.  They were also responsible for presenting them to 
stakeholders for review and comment, then evaluating every issue and comment presented by 
stakeholders in order to make a final recommendation on how the parameter or assumption 
should be treated.  Their work encompassed hundreds of discrete questions covering the 
numerous issues and assumptions required to complete the ICAP Demand Curve reset process. 
By contrast, Brattle/Licata focused intensively on a single issue and was able to build on the 
work that NERA/S&L had already done.41  The Commission should not draw a false inference 
that the Brattle Report was inadequate or “rushed” simply because it was completed in a shorter 
timeframe than the NERA/S&L Report.  In reality, the Brattle Report was far more 
comprehensive and uncovered new facts directly related to the technical and economic viability 
of the F class frame with SCR.

The Supplemental Licata Affidavit provides additional detail regarding the depth and 
thoroughness of the Brattle/Licata review42 and the ways in which it surpassed NERA/S&L’s 
work.43  In particular, Brattle/Licata took a broader view than S&L, which had largely assumed 
that the higher temperature of exhaust gases leaving the F class combustion turbine precluded the

40 See, e.g., IPPNY at 8-9.

41 Brattle/Licata began their work by reviewing the treatment of this issue in the NERA/S&L Report as well as the July 9th S&L presentation to stakeholders.

42 Supplemental Licata Affidavit at PP 7-13.

43 Id. at PP 14-17.

12

application of a SCR.  Brattle/Licata approached the exhaust temperature issue as a primary

question for their evaluation.  Brattle/Licata also investigated much more closely the causes of

the failed SCR applications in Kentucky and Puerto Rico, which S&L had cited, with an effort to 
determine if those failures were caused by inherent technical challenges for SCR presented by 
the F class frame turbines and how SCR and catalyst technology may have evolved to address 
these issues in the years since those failures.  Brattle/Licata considered SCR application with 
catalysts experiencing temperatures above the 850 ˚F threshold used in S&L’s work.  S&L did 
not address several long-running high temperature SCR applications on frame scale combustion 
turbines or report on various failures of SCRs installed on aeroderivative machines. 
Brattle/Licata also had access to more data and additional input from manufacturers than 
NERA/S&L.44  Thus the Commission should conclude that it was reasonable for the Board to 
rely on the Brattle Report and should be confident that the Commission too may rely on this 
information.

b.  Arguments that the Successful Operation of the Four Marsh

Landing Units Do Not Support the Viability of F Class Frame with SCR Technology Should Be Rejected

The Supply Interests make various claims to try to support their theory that the successful 
operation of the four Marsh Landing units should not be relevant to the selection of a proxy unit 
for NYC, LI, and the G-J Locality.  As the November Filing noted, however, it is not reasonable 
to suggest that the Board should have simply ignored the reality that that a major F class frame 
with SCR facility had been operating and meeting stringent emissions requirements for six 
months when making its economic viability determination.  In addition, the Supplemental Licata 
Affidavit and Supplemental Chupka Affidavits refute the more specific claims advanced by the 
Supply Interests.

44 See Supplemental Licata Affidavit at P 16.

13

It is important to emphasize the size and scope of Marsh Landing when evaluating the 
Supply Interests’ claims that there is only “one example” of an operational F class frame with 
SCR.  Marsh Landing is composed of four similar F class frame turbines operating in simple 
cycle mode with SCR emissions controls for NOx.  The very magnitude of the project 
demonstrates the confidence that its developer had in F class frame with SCR technology.  At the 
very least, the Commission should recognize that the Board’s economic viability determination 
reflected the fact that there were four, not one, operational F class frames with SCR units at the 
time that it was made.

IPPNY and Mr. Ott also allege that there is limited operational data for the Marsh

Landing units since they commenced operation in May and June of 2013.45  But the

Supplemental Licata Affidavit explains that there is ample data showing that the units, which began testing in November 2012, have been meeting their permit requirements going back to their initial startups.  This includes EPA data from the commercial operation of the first unit in May 2013 through the end September 2013, which was used in the Brattle Report, as well as compliance testing data that Mr. Licata obtained going back to January 2013, which is discussed below.  EPA data for the fourth quarter of 2013 should be available soon and Mr. Licata does not anticipate that it will reveal any compliance issues.46

Mr. Ott also asserts that of the 507 hours of Marsh Landing’s operating data that were 
reviewed by Brattle only 82 were from the third quarter of 2013.  Mr. Ott suggests that peaking 
units in NYC would be required to run much more frequently.47  Although the facility did not run 
frequently in the third quarter, there is nothing to suggest this is attributable to SCR performance

45 IPPNY at 13, 15, Ott Affidavit at P 15.

46 See Supplemental Licata Affidavit at P 37.

47 IPPNY, Ott Affidavit at P 25.

14

or that the facility was incapable of operating for a greater number of hours.  It appears that there 
was simply a lack of demand for the units’ output at the time.  In any event, as the Supplemental 
Chupka Affidavit notes, looking to the third quarter alone is highly misleading.  A more 
reasonable comparison would be between the first LMS100 unit operating for 584 hours in 2007, 
which was the basis for the LMS 100 technology as a proxy unit for the first time, versus the four 
Marsh Landing units running for a total of 507 commercial operating hours in five months.48 
	There is absolutely no basis for IPPNY’s and Mr. Ott’s contention that the Marsh 
Landing units are “struggling to perform” and to satisfy applicable environmental limitations in 
California.49  The Supplemental Licata Affidavit disproves this assertion by referring to a report 
submitted to the California Air Pollution Control Board’s Bay Area Air Quality Management 
District on June 6, 2013 (hereafter “Compliance Report”).  The Compliance Report covers the 
period from January 14 through April 21, 2013.50  It demonstrates that Marsh Landing was in 
compliance with all permit conditions, with NOx emissions of approximately 2 ppm 
demonstrated; start-up times from cold start to full load of between 8-11 minutes; and had a shut-
down time of 5 minutes.

IPPNY’s and Mr. Ott’s criticism of the Brattle Report for its supposed failure to include 
data on the amount of excess ammonia exiting the stack at Marsh Landing is equally 
unfounded.51  While Mr. Ott claims that ammonia slip data is more important to judge the 
performance of the SCR than the NOx emissions data, the data provided in Compliance Report 
shows ammonia slip values well below the 10 ppm levels specified in the Marsh Landing air

48 See Supplemental Chupka Affidavit at P 16.

49 IPPNY at 16, Ott Affidavit at P 16.

50 Although the NYISO does not believe that twelve months of operational data should be a minimum requirement for a finding of economic viability, it would note that if the results of this report were included, there would be nearly twelve months of data for the Marsh Landing units.

51 IPPNY 16-17, Ott Affidavit at P 19.

15

permit.52  Thus, even if Mr. Ott were correct regarding the relative importance of ammonia slip, 
the data show that the Marsh Landing units have not experienced ammonia-related difficulties. 
	IPPNY criticizes the Brattle Report for not attaching significance to the fact that “Marsh Landing is supported by a 10 year contract pursuant to which all of its energy, capacity, and 
other products are purchased by a California investor-owned utility.”53  But this argument is 
entirely speculative; IPPNY itself only asserts that it is “likely” that the plant owner is recovering 
all of its capital costs under the ten year contract term.  IPPNY also relies on an unproven 
assumption that the fact that parties in California chose a particular method to finance Marsh 
Landing dictates that other financing arrangements could not be used in New York.  Moreover, 
the argument effectively seeks to force the NYISO to consider financing issues as part of its 
economic viability analysis that are not required by the Services Tariff.

c.  The Other High Temperature SCR Applications Discussed in the 
	Brattle Report Were Highly Relevant to the NYISO’s Economic 
	Viability Analysis

IPPNY54 and the Indicated Suppliers55 claim that that the McClellan and McClure

facilities were not “valid references” for the viability of the F class frame with SCR.  They note 
that neither facility is an F class frame but instead use significantly smaller units with lower gas 
temperatures.  These differences were not material for the purposes of the Brattle/Licata analysis, 
as SCR systems are indifferent to the source of the flue gas.  McClure is a single frame unit, with 
dual fuel capability that has over 3,600 operating hours with a high temperature SCR. 
Approximately 25% of this operating time included firing backup oil.  Importantly, the SCR 
design for McClure was similar to that used for Marsh Landing, i.e., it is based on the injection

52 Supplemental Licata Affidavit at P 36.

53 IPPNY at 20-21.

54 IPPNY at 17.

55 Indicated Suppliers at 22-23.

16

of tempering air to cool the exhaust gas temperatures at the face of the catalyst to 790 °F, down 
from the turbine exit temperature of 969 °F, for efficient NOx removal while operating within 
the designed temperature range for the selected catalyst.  McClure is therefore an example of a 
unit having an SCR of similar design to Marsh Landing’s that demonstrates the design’s ability 
to operate successfully on a frame unit burning both gas and oil.  Further, Mr. Licata reviewed 
emissions data going back to 2004 showing compliance with permit conditions.  This history, 
which demonstrates successful high temperature SCR operation firing dual fuel, is clearly

relevant to S&L’s prior work that largely focused on SCR and catalyst performance issues when experiencing temperatures greater than 750-800 °F.  As such, they are undoubtedly relevant to the NYISO’s economic viability determination.

McClellan has a GE Frame 7E gas turbine and is fired on gas in simple cycle mode.  It

has exhaust gas temperatures of 1020 °F and has no tempering air introduced into the SCR, yet it 
has demonstrated compliant environmental performance over its ten plus year service life.  This 
unit has a capacity of approximately 75 MW and is similar in design to several simple cycle units 
operating with SCR in Japan.  Because McClellan is used primarily for black starts, it has 
experienced a large number of starts during the past 10 years and the NYISO understands it is 
still operating with the original catalyst.  Based on the official emissions compliance report 
conducted on September 19, 2013, the unit is still in compliance with its permit.  Hence, 
McClellan clearly demonstrates that F class frame with SCR technology is viable at significantly 
higher exhaust gas temperatures, including temperatures that are proximate to an F class turbine, 
and is clearly relevant to the F class frame with SCR’s technical and economic viability. 
McClellan’s sustained performance further validates the design trade off methodology presented 
in the Brattle Report and the materials provided by Mitsubishi Power Systems Americas 
(“MPSA”).  SCR manufacturers are able to trade-off between the costs of using higher 
	17

temperature catalysts in the SCR and the costs of introducing dilution air into the exhaust gas to 
reduce the temperature across the face of the catalysts.  In addition, the frequent starts stress the 
high temperature catalyst in a number of ways: 1) the physical strength of catalyst can degrade 
over time, 2) thermal stress can cause cracking in the catalyst which affects the ceramic fiber 
structure, and 3) sintering can occur if there is a maldistribution of temperature or flow. 
McClellan’s successful performance indicated that there has not been any significant 
deterioration of the high temperature catalyst used in this installation, notwithstanding these 
stressors.56  Both McClure and McClellan are also clearly relevant to the engineering design 
issues of operating high temperature SCR applications, including those with dual fuel capability. 
	The Supplemental Licata Affidavit reiterates the Brattle Report’s finding that S&L 
should not have concluded that higher temperature SCR applications, such as those found on 
simple cycle frame units were unproven.  Mr. Licata provides additional information showing 
that there are multiple SCRs on frame units in the United States and Japan that have operated for 
years above 900 ˚F.57  He also explains that it is irrelevant for Mr. Ott, for example,58 to 
emphasize that catalyst effectiveness and life will erode when placed on a F class turbine 
operated in simple cycle mode because the same is true of all SCR applications.  All catalysts are 
designed to operate within certain temperature ranges and can be damaged or cease to function if 
exposed to temperatures above or below those limits.  Mr. Licata’s communications with SCR 
manufacturers further confirmed that any risk associated with higher temperature SCR

56 Supplemental Licata Affidavit at P 20.

57 See Supplemental Licata Affidavit at PP 20-26.

58 IPPNY, Ott Affidavit at P 16.

18

applications can be readily mitigated.59  Thus, the non-frame units examined by Brattle/Licata provide relevant operational information.

IPPNY and Mr. Ott raise a number of other technical issues regarding frame units with

SCR that similarly have no probative value because they are equally applicable to aeroderiviative 
units (the economic viability and technical feasibility of which IPPNY accepts).  Mr. Ott 
identified non-performance issues involving catalyst failure, ammonia maldistribution, tempering 
air maldistribution, seals issues/bypass, high ammonia slip, high inlet NOX and other issues.60 
Mr. Chupka explains, however, that all of the issues appear to also affect SCR applications on 
aeroderivative units.61  As Mr. Chupka notes, the reality is that all SCR applications, including at 
commercially and economically viable facilities, face potentially significant engineering issues 
but these issues can be identified, addressed, and, in most cases, fixed.62  The Commission 
should therefore not allow Mr. Ott’s claims to lead it to conclude that the F class frame with SCR 
is not economically viable.

d.  Brattle/Licata Correctly Concluded that the Failure of Earlier

SCR Applications in Puerto Rico and Kentucky Did Not Preclude 
a Finding the F Class Frame with SCR to Be Economically Viable

The November Filing recounted how NERA/S&L had pointed to past failures with

combined frame and SCR configurations at the Cambalache Facility Puerto Rico and the

Riverside Generation Station Kentucky in the 1990s and in 2001 to support their assessment that 
the F class frame with SCR was not viable.63  It went on to explain that the Brattle Report had 
“explained the distinguishing characteristics of the failed Puerto Rico and Kentucky SCR

59 See Supplemental Licata Affidavit at PP 22- 23.

60 See IPPNY, Ott Affidavit at P 8.

61 See Supplemental Chupka Affidavit at P 14.

62 Id.

63 See November Filing at 8-9.

19

installations and emphasized that their failure did not mean that SCR technology was

incompatible with a F class frame unit today.”64  IPPNY argues that the operating history of the Kentucky facility “cannot be dismissed as irrelevant.”65

The Supplemental Licata Affidavit refutes IPPNY’s claim.  Mr. Licata describes in detail 
the numerous design flaws and engineering failures that contributed to the problems at the 
Kentucky facility and why it is reasonable to conclude that the various errors would not be 
repeated today.  He also explains, as Mr. Ott does not dispute, that the same was true of the 
Puerto Rico facility.66  Mr. Chupka notes that Mr. Ott uses a selective reference to the Brattle 
Report67 to incorrectly imply that Brattle/Licata could not identify causes of underperformance at 
the Kentucky facility.  Although Brattle/Licata could not publicly disclose all of the relevant 
information the Brattle Report made it quite clear, while referring to non-public information, that 
improper engineering and construction led to the failure of that SCR system.68 
	In short, the evidence shows that the NYISO was right to conclude that the past failures in Kentucky and Puerto Rico did not preclude a finding that F class frame with SCR technology was viable.  As Mr. Chupka notes “combining the Frame unit with an SCR poses challenges that require good engineering to overcome” but Marsh Landing has demonstrated that the 
combination is practicable and economically viable.

64 November Filing at 27.

65 IPPNY, Ott Affidavit at P 10.

66 See Supplemental Licata Affidavit at P 15.

67 See IPPNY, Ott Affidavit at P 27.

68 See Supplemental Chupka Affidavit at P 15.

20

e.  The F Class Frame with SCR Is Capable of Satisfying Fuel-
	Switching Requirements in NYC

The Indicated Suppliers and Mr. Baker contend that the NYISO and its consultants failed 
to account for the supposed inability of the Marsh Landing units and other F class frames with 
SCR to satisfy the “fuel swapping” requirement in NYC.69  Under that rule, a unit must be able 
to switch from firing natural gas to firing ultra-low sulfur diesel (“ULSD”) within 45 seconds. 
The Ungate Affidavit (Attachment 3) clarifies that there is “no inherent reason that the [F class 
frame with SCR] could not be modified to switch from firing natural gas to firing ULSD within

45 seconds because an F class combustion turbine from a competing manufacturer has been

modified for this capability.”70  Indeed, several F class frame units manufactured by GE and

operating in combined cycle configuration have recently been built in NYC.  These are subject to the 45 second fuel swapping requirement.  Thus, F class frame technology, of which the proxy unit is representative, is clearly capable of being designed and built with the ability to satisfy the fuel swapping requirement in NYC.

Indeed, the Supplemental Licata Affidavit establishes that, in particular, the Siemens F class frame with SCR can in fact satisfy the fuel-swapping requirement.  Mr. Licata’s affidavit includes an email from a Siemens engineer, Bonnie Marini, that states  “the Siemens turbine could meet the 45 second auto swap requirement established by Consolidated Edison for all units interconnected in New York City.”  He further states that “[i]n no respect does the auto swap requirement pose any undue risk for the effectiveness of the SCR.”71

69 Indicated Suppliers at 26-29, Baker Affidavit at PP 15-17.

70 Ungate Affidavit at P 35.

71 See Supplemental Licata Affidavit at 35.

21

f.   The Services Tariff Does Not Require New Technologies to Enjoy 
	Widespread Market Acceptance Before they May Be Found to Be 
	“Viable”

IPPNY argues that the F class frame with SCR is not a “viable” technology under the 
Services Tariff because relatively few units have been developed and none have been proposed 
in New York to date.72  These arguments are attempting to create new “economic viability” 
criteria that are not found in the Services Tariff.  The Tariff states only that “[f]or purposes of 
[the review of the ICAP Demand Curves], a peaking unit is defined as the unit with technology 
that results in the lowest fixed costs and highest variable costs among all other units’ technology 
that are economically viable.”73  As the Commission said when it accepted the use of the 
LMS100 as a proxy unit for the first time in 2008, the Services Tariff does not specify a 
definition of “economic viability.”74  It certainly does not require that a given technology win 
widespread acceptance in the marketplace before it may be deemed to be viable.  Instead, the 
Commission noted that viability determinations are a “matter of judgment.”75  The Commission 
has specified that “only reasonably large scale, standard generating facilities that could be 
practically constructed in a particular location should be considered.”76 
	As the Supplemental Chupka Affidavit relates, economic viability is not necessarily the same as widespread market acceptance.  Economic viability in the context of the NYISO tariff does not require that a specific proxy unit be commonplace.  As Mr. Chupka states, a proxy unit should be found to be viable if it satisfies the five NERA/S&L screening criteria which the F

72 IPPNY at 21.

73 Services Tariff Section 5.14.1.2.

74 New York Independent System Operator, Inc., 125 FERC ¶ 61,299 at P 20 (2008).

75 Id.

76 Id.

22

class frame with SCR does.77  Economically viable technologies are those that can supply

capacity and energy to the market.78  For example, a very low fixed cost technology that has

prohibitively high variable costs may not be economically viable if it is never dispatched.  The F Class frame with SCR satisfies the tariff condition, as it has lowest fixed costs and highest 
variable costs of the technologies examined.  Moreover, the NERA modeling demonstrates that it would supply both energy and capacity economically into the market.79

As noted in the November Filing and above, S&L did not believe that the F class frame 
with SCR should be found to be viable until at least twelve months of operating data was 
available.  While this requirement reflects S&L’s judgment, the Services Tariff imposes no such 
requirement.  IPPNY and Mr. Ott would apply a much more conservative criterion, insisting that 
“a full catalyst life cycle is needed before the technology is proven.”80  As Mr. Chupka 
demonstrates, assuming that the Marsh Landing units ran 1,000 hours per year and that 
successfully attained 25,000 hours of catalyst life, Mr. Ott would wait for a quarter of a century 
before arriving at a conclusion regarding the technology,81 which is clearly unreasonable.  Again, 
there is no tariff basis for such an unreasonably restrictive definition of “economic viability.” 
	Other parties isolate individual factors that the Commission considered in its orders 
accepting the LMS100 to try to suggest that the F class frame with SCR falls short of what the 
Commission requires as evidence of viability.82  The November Filing explained that the Board’s 
selection of the F class frame with SCR was reasonable and consistent with the Commission’s

77 See Supplemental Chupka Affidavit at P 6, citing NERA/S&L Report at 18.

78 Supplemental Chupka Affidavit at P 8.

79 See Id. at P 8.

80 IPPNY, Ott Affidavit at P 10.

81 See Supplemental Chupka Affidavit at P 17.

82 Indicated Suppliers at 19-20.

23

precedent.  There is, at a minimum, as much reason to conclude that the F class frame with SCR 
is economically viable today as there was for the LMS100 in 2007-2008.  Although there are 
some ways in which the evidence of viability differs from then, e.g., the existence of 15 months 
of operating data for the single LMS100 unit installed at the time, there are others in which the 
case for the F class frame with SCR is stronger, e.g., the fact that here are currently four units at 
Marsh Landing that must meet stringent environmental restrictions in California instead of the 
single LMS100 in South Dakota that existed in the 2007-2008 timeframe.  The only truly

important consideration is whether the Board’s selection of the F class frame with SCR was a

reasonable judgment.  The NYISO respectfully submits that the record in this proceeding clearly shows that the selection was reasonable and well-supported because an F class frame with SCR could be “practically constructed” in southeastern New York.

To the extent, however, that the Commission deems “market acceptance” to be material to the question of whether a potential proxy unit technology is economically viable it should find that there is sufficient market interest to support the selection of the F class frame with SCR. The Supplemental Licata Affidavit provides more information than was included in the 
November Filing illustrating the growing commercial interest in this technology.83

g.  IPPNY’s “Asymmetric Risk” Theory Has No Basis in the Services 
	Tariff

IPPNY and Mr. Younger assert that the supposed “uncertainty” concerning the viability 
of F class frame with SCR technology “creates a substantial asymmetric market risk.”84 
According to Mr. Younger, the NYISO should err on the side of selecting a proxy unit that is 
known with certainty to be economically viable in order to avoid the alleged risks that the cost of

83 See Supplemental Licata Affidavit at P 40.

84 See IPPNY at 29-31; Younger at PP 69-74.

24

“market suppression and out-of-market subsidies” will be borne by consumers.  But the Services Tariff does not allow, and certainly does not require, the NYISO to mitigate the risk of market suppression by being biased towards more expensive proxy units and higher demand curves.  It simply requires the NYISO to select the lowest fixed cost, highest variable cost unit that it 
reasonably concludes is economically viable, without considering whether a more expensive unit is more certain to be economically viable.  This is exactly what the NYISO did in 2007 when the LMS100 technology was selected for the first time even though it was not fully proven in New York.  The NYISO simply may not select a more expensive technology to be a proxy unit 
because of speculative concerns with a less expensive technology.

Furthermore, Mr. Younger’s concern over “asymmetrical market risk” is itself one-sided 
and incomplete because it fails to recognize the risks associated with selecting a proxy unit 
which reflects an unrealistically high cost of new entry.  Notwithstanding the immediately 
apparent cost borne by consumers of artificially higher capacity costs, ICAP Demand Curves that 
significantly exceed the actual cost of new entry in a Locality could result in the construction of 
more capacity in that Locality than is actually required.  Such an overbuild, aside from being an 
obvious departure from market efficiency, would artificially increase the excess capacity of any 
other Localities in which the Locality was nested and in the NYCA as a whole.  Thus, the 
strategy of erring on the side of higher demand curves to avoid the risk of market suppression 
and out-of-market subsidies suggested by Mr. Younger would, ironically, succeed in 
accomplishing exactly the opposite of its intended purpose.  That is, it would suppress prices in 
the Rest of the State region, while also causing consumers in the Locality with an overstated 
ICAP Demand Curve to pay for extra capacity that, even if it was needed in the NYCA, could 
likely have been procured at a lower cost from a different part of the state.

25

h.  The NYISO’s Cost Calculations for the F Class Frame with SCR 
	Were Accurate, Well Supported, and Consistent with Calculations 
	Approved in Prior ICAP Demand Curve Reset Orders

The Indicated Suppliers claim that the NYISO’s cost estimates for the F class frame with 
SCR were flawed in various ways.85  The Ungate Affidavit demonstrates that the S&L cost 
estimates relied upon by the November Filing were reasonable.86  The Supplemental Licata 
Affidavit also emphasizes that Brattle/Licata reviewed S&L’s cost estimates, including the 
operating costs that S&L developed for the LMS100 and then adjusted for the frame unit.87 
Mr. Licata notes that he discussed these cost issues with S&L and MPSA.  Mr. Ungate’s and 
Mr. Licata’s affidavits both indicate that MPSA  concurred that S&L’s estimates were 
reasonable, and while conservatively high in their estimation, would be appropriate for the 
purposes of obtaining financing.88

i. 	There Is No Need to Include an Additional Risk Premium in the

Capital Costs for the F Class Frame with SCR

The Indicated Suppliers and Mr. Niemann assert that the NYISO has understated the risks 
and costs associated with the F Class frame with SCR because it is a “first-of-a-kind” 
technology.89  The Supplemental Chupka Affidavit explains that this argument is invalid because 
the F class frame with SCR is not truly a “first-of-a-kind” technology (such as utility scale fuel 
cell technology).  In Mr. Chupka’s view, that designation is typically reserved for an entirely 
innovative technology, not the initial combination of proven components in a new application 
where the component technology does not undergo a significant transformation.  The

85 See Indicated Suppliers at 30-36; Niemann Affidavit at PP 26-34.

86 Ungate Affidavit at PP 8-13.

87 See Supplemental Licata Affidavit at P 41.

88 Id. and Ungate Affidavit at P 13.

89 Indicated Suppliers, Niemann at P 16-17, 23.

26

configuration of an F class frame turbine combined with an SCR does not constitute such a

unique and innovative combination, even with the addition of 45-second fuel-switching

capability.90  Many generating units employ unique combinations of existing technologies, or are 
constructed to meet idiosyncratic local requirements but are generally not viewed as being “first-
of-a-kind.”  For such units, the better approach to mitigating risk is to apply conservative 
engineering and construction principles.  As the Supplemental Chupka Affidavit explains, this is 
exactly what was done by the S&L cost model and by MPSA in designing the Marsh Landing 
SCRs and is the necessary and common component highlighted in the Brattle Report required for 
all high temperature SCR applications, including the ICAP Demand Curve proxy plants.91

B. 	The NYISO’s Selection of the F Class Frame Without SCR As The Proxy

Unit for the NYCA Was Reasonable and Consistent with the Services Tariff

The NYISO selected the F class frame with dry low NOx combustion for NOx emissions 
control and a cap on operating hours (the “F class frame without SCR”) as the proxy unit for the 
NYCA.  This determination was based on NERA/S&L’s conclusion that this technology had the 
lowest fixed costs and highest variable costs, and was economically viable.92  As noted by the 
NYPSC and MI/City, the unit’s technology has proven to be viable over time, and has been used 
to set the NYCA ICAP Demand Curve since 2003.93  Significantly, the NYISO concluded that 
the F class frame without SCR was capable of meeting all applicable environmental

regulations.94

90 See Supplemental Chupka Affidavit at P 10.

91 See Supplemental Chupka Affidavit at 12.

92 November Filing at 31.

93 See, e.g., New York Independent System Operator, Inc., 125 FERC ¶ 61,299 at P 20 (2008); DPS at 3-4 and MI/City at 19-22.

94 Attachment IV to November Filing at 9-12.

27

Certain parties have challenged the selection of the F class frame without SCR and urged the Commission to instead adopt the LMS100 unit with SCR as the proxy unit for the NYCA - a unit that has fixed costs that are nearly double those of the F class frame without SCR.  The 
grounds offered in support of these arguments are unfounded or inaccurate and the Commission should not accept them.

1.	Compliance with Environmental Regulations

IPPNY, the NY-SEA Group and the Indicated Suppliers question if the F class frame

without SCR could satisfy applicable permitting requirements in light of state and federal

environmental regulations,95 but they fail to show that the unit would not be able to comply with 
currently applicable environmental regulations.  As demonstrated in the November Filing and in 
the attached Affidavit of Christopher Ungate, the NYISO and NERA/S&L analyzed the ability of 
the F class frame without SCR to meet applicable environmental regulations that apply to the 
NYCA ICAP Demand Curve region.96  The conclusion was that the unit, relying on dry low NOx 
combustion for emissions control instead of an SCR system and with a federally enforceable 
annual operating limit of 1075 hours while firing only natural gas, could remain under the 
currently applicable project significance threshold of 40 tons/year for NOx prevalent throughout 
this region.  That threshold is established in 6 NYCRR Part 231, New York’s New Source 
Review for New and Modified Facilities.97 Accepting a federally enforceable annual operating

limit ensures that the emissions of NOx will be below the applicable regulatory significance

levels (i.e., 40 tons per year) and allows the “Major Source” to avoid the installation of state-of-
the-art emission control technology necessary to meet BACT/LAER emission rates typically

95 IPPNY at 31-39; NY-SEA Group at 2-3, 9-13; Indicated Suppliers at 43.

96 See, e.g., Attachment IV to November Filing at 9-11.

97 Id. at 14.  The facility was modelled with a limit on operations of 950 hours to ensure that the facility did not inadvertently exceed limits.

28

required under the Clean Air Act’s New Source Review preconstruction permitting requirements. 
The NYISO and NERA/S&L confirmed that this would be a legitimate permitting approach for 
the proxy unit through discussions with the Director of the Division of Air Resources of the New 
York State Department of Environmental Conservation (“NYDEC”) and his staff. 98  NYDEC 
confirmed that imposing an operational limit, and treating the F class frame without SCR as a 
“synthetic minor”99 for NOx, was a reasonable and feasible approach to comply with the NOx 
emissions limit.100

The NYISO and NERA/S&L also analyzed the compliance of the F class frame without 
SCR with New York’s CO2 performance standards for major electric generating facilities.101 
NERA/S&L’s modelling confirmed that the F class frame without SCR would meet Part 251’s 
input and output-based requirements.  The NYDEC also confirmed that, contrary to the 
assertions of the NY-SEA Group,102 the permitting of the F class frame without SCR would not 
be obstructed by a BACT determination, as there is no commercially available post-combustion 
control technology for CO2.

Finally, IPPNY and the NY-SEA suggested that the long-term operational viability of the 
F class frame without SCR is uncertain due to potential future environmental regulations.103  The 
possibility that a unit might become inoperable, from a financial or engineering perspective, due 
to the imposition of future, as yet unknown, environmental regulations does not suffice to rebut

98 Ungate Affidavit at P 33; November Filing at 11.

99 The term “synthetic minor” is generally used to describe a source with permit conditions that limit its potential to emit to less than major source levels, but with a potential to emit in the absence of any permit 
conditions above major source levels.

100 Ungate Affidavit at P 33; November Filing at 11. 101 6 NYCRR Part 251.

102 NY-SEA Group at 19-21.

103 IPPNY at 39-41; NY-SEA Group at 21-22.

29

the NYISO’s conclusion based on known facts that the F class frame without SCR will be viable 
through the three year ICAP Demand Curve reset period.  As Mr. Ungate explains, for this and 
previous ICAP Demand Curve reset studies, the environmental control assumptions for the proxy 
unit have been based on the regulations that are currently in force, as it is impossible to know 
what regulatory requirements will be in the future and what controls might be needed to meet

them.104

The F class frame without SCR proxy plant in the Rest of State area therefore can comply with all currently applicable environmental regulations.  It is economically and operationally viable, and the Commission should confirm its selection.

2.	Article 10

IPPNY105 and the NY-SEA Group106 argued that Article 10 of the New York Public Service Law would be an insurmountable hurdle for a developer of the F class frame without SCR, and thus that the Commission must reject the selection of this unit.  This argument is not persuasive because it is based purely on speculation and a misreading of Article 10.

Because the current Article 10 siting law was only recently enacted, there is inadequate 
history to conclude that the F class frame without SCR could not obtain certificates for 
construction and operation through the Siting Board process.107  IPPNY and the NY-SEA Group 
seem to base their assumptions about its application on conjecture.  For example, it is far from 
certain that the public’s participation in the proceedings would prevent the permitting of the

104 Ungate Affidavit at P 42.

105 IPPNY at 31-32.

106 NY-SEA Group at 16-18. 
107 Ungate Affidavit at P 45.

30

proxy unit.  And the simple fact that public groups can be “well-funded”108 pursuant to the

intervenor funding provisions of Article 10 hardly refutes the NYISO’s determination that the F 
class frame without SCR can practicably be constructed.  Developers of any type of generation 
facility expect and generally receive vocal opposition from public groups, and the level of 
funding is not a reliable indicator of the efficacy or effect of a group’s advocacy. 
	Even though the current Article 10 is a new law, it is not as revolutionary as the 
protestors describe.109  The Article 10 law recently enacted essentially replaces an old Article X 
siting law, which was allowed to sunset in 2002.  The old Article X siting law had in turn 
replaced the old Article 8 that had sunsetted in the 1990s.  All of these siting laws are modeled 
after the comprehensive environmental review requirements found in Article 8 of New York’s 
Conservation Law, the State Environmental Quality Review Act (“SEQRA”).110  And in fact, 
during all of the NYISO’s past ICAP Demand Curve resets when there was no effective siting 
law to substitute for it, SEQRA applied.  SEQRA, like Article 10, requires that all agencies, 
when deciding to approve or undertake a proposed project make a finding that the “adverse 
environmental impacts be minimized to the maximum extent practicable.”111  Thus, in past ICAP 
Demand Curve reset proceedings where no Article X or Article 10 siting law was in place, the 
proxy units were subject to the same requirement being highlighted by the protestors: SEQRA’s 
requirement that they must, “consistent with social, economic and other essential considerations, 
to the maximum extent practicable, minimize or avoid adverse environmental effects.”112  The 
Commission approved the NYISO’s selection of the F class frame without SCR as the proxy unit

108 NY-SEA Group, Anderson Affidavit at P 18.

109 See, e.g., NY-SEA Group, Anderson Affidavit at P 12. 110 NY Env. Cons. Law, §§ 8-0101- 8-0117. 
111 NY Env. Cons. Law § 8-0109.

112 See, e.g., NY Env. Cons. Law §§ 	3-0301(1)(b), 3-0301(2)(m) and 8-0113.

31

for the NYCA in the past two ICAP Demand Curve resets, when it was subject to this

requirement.  Nearly identical language in Public Service Law Section 168.(3)(c)  prohibits the 
Siting Board from issuing a certificate without making a finding that “the adverse environmental 
effects of the construction and operation of the facility will be minimized or avoided to the 
maximum extent practicable.”  There is no reason to believe that the same language would be 
applied differently under Article X than under SEQRA to prevent the permitting of the F class 
frame without SCR.

Importantly, Article 10 does not mandate the manner in which developers can meet the 
standard that impacts be minimized to the maximum extent practicable, nor does it supplant or 
supersede the NYDEC’s delegated authority to enforce the Clean Air Act’s New Source Review 
requirements.  It certainly does not make a blanket finding that simple cycle frame turbines are 
not eligible to be sited and operated in New York State.113  Rather, Article 10 and its 
implementing regulations require that, if the facility is likely to result in “any significant and 
adverse disproportionate environmental impact,” the developer must identify specific measures it 
will take to avoid that impact.114  Should the F class frame without SCR have such an impact, the 
developer would include the most cost-effective measures to minimize that impact.115  In the 
case of the proxy unit for the NYCA, this would not be an insurmountable hurdle, because, as 
demonstrated above, the F class frame without SCR was designed to comply with all applicable 
environmental regulations, and thus should have no disproportionate environmental impact. 
	Moreover, the NY-SEA Group’s self-serving allegation that no developer would bring the F class frame without SCR before the Article 10 Siting Board out of concern that the Siting

113 Ungate Affidavit at P 44.

114 6 NYCRR Part 487.10. 
115 Ungate Affidavit at P 43.

32

Board or a public group might raise questions about the lack of an SCR system, thus delaying the 
permitting and increasing the risk, is hardly compelling.116  A reasonable developer of generation 
facilities builds time, and money, for the permitting process into their project plans.  This is as 
true for the developer of a wind facility as it would be for a unit with SCR or a unit that relied on 
other means to meet environmental limitations.  But more importantly, Article 10 contains a 
strict statutory provision that mandates that a final decision by the Siting Board must be issued 
within 12 months of a determination that the application is complete, with the option to extend 
the deadline in “extraordinary circumstances” by no more than six months.117 
	Finally, the NY-SEA Group argued that Article 10’s requirement for a cumulative air quality impact analysis, which would entail modeling the F class frame without SCR with nearby facilities to determine if the NAAQS can be met, would reveal that the proxy unit could not 
comply with the one-hour NO2 standard.118  Mr. Ungate explains that this concern is speculative, 
as, in his experience, rapid start frame units like the F class frame without SCR can reach 
emission compliant loads within approximately 10 minutes and have a full load controlled NOx 
emission rate in the range of nine ppm when firing natural gas.  These frame units are more 
readily able to demonstrate compliance with the one-hour NO2 standard during start-up than 
units with higher combustion NOx emissions, such as at 25 ppm, that rely on SCR systems for 
additional NOx control.119

116 NY-SEA Group at 18.

117 Article 10, Section 165.4.(a).

118 NY-SEA Group at 17, Anderson Affidavit at P 48. 119 Ungate Affidavit at P 41.

33

As Mr. Ungate concludes, “[n]othing in the Siting Board regulations would preclude permitting a simple cycle frame peaking unit in upstate NY.”120

3.	Economic Viability

The NY-SEA Group argued that a developer would not invest in the F class frame 
without SCR, given the limitation on its operating hours,121 and that technology cannot be 
properly designated as the proxy unit under the Services Tariff in light of those limits.  They 
contend that this is especially true because with this limitation the proxy unit “may not be an 
eligible [Energy Limited Resource (“ELR”)] capacity resource.122  These concerns are 
misplaced, and are based on a misreading of the Services Tariff.  There is no requirement in the Services Tariff or elsewhere that a facility must be able to qualify as an ELR capacity resource in order to be selected as the proxy unit.  Nor is there a requirement that a generating facility must qualify as an ELR in order to sell capacity in the NYISO market.

Furthermore, the limit on the proxy unit’s operating hours is not significantly less than 
the average annual expected estimated dispatch hours for this type of unit, which ranges from 
982 to 1025 hours.123  The proxy unit’s operating limitation of 1075 hours a year is above that 
range, and the NYISO’s conservative downward adjustment to 950 hours to account for the lack 
of perfect foresight124 is slightly below the lower limit of the average range.  This indicates that 
the proposed proxy unit would not need to participate in the NYISO’s energy markets as an

120 Ungate Affidavit at P 39.

121 See, e.g., NY-SEA Group, Gerlach Affidavit at P 18. 122 NY-SEA Group at 28-28.

123 November Filing, Attachment IV at 14.  The average consists of units with annual operations that are well under this level as well as units with operations well in excess of 1075 hours per year.  Id. at n.12.

124 November Filing, Attachment IV at 14.

34

ELR, suggested by the NY-SEA Group, in order to comply with its operating limits.  There are 
units facing similar limits on their operations that are economically viable in the NYISO market.

C. 	The NYISO Was Reasonable to Assume that the NYC, LI, and G-J Locality

Proxy Units Would Have Dual Fuel Capability

The NYISO assumed that the proxy units in NYC, LI and the G-J Locality would be

required to have dual fuel capability.  Proxy units siting in these Localities would be subject to this requirement as a contingency in the event of a system loss of gas supply if the operators 
purchase gas pursuant to a tariff of a local distribution company.  In the alternative, the operators would be forced to pay prohibitively high costs for the purchase of gas from interstate 
pipelines.125  MI/City disagrees with this assumption, arguing that dual fuel capability is not 
necessary and the assumption artificially inflates the price of the proxy unit for the G-J 
Locality.126  The NYTOs127 also criticize the dual fuel requirement, arguing that there are more economical ways to address this issue for the proxy unit in the G-J Locality than by imposing the dual fuel capability requirement.  The NYTOs posit that the proxy unit could enter into a natural gas peaking contract, pursuant to which it could purchase delivered gas at an index price with 
one day’s notice.  The costs associated with this contract would be, the NYTOs allege, more 
economic than imposing the dual fuel capability requirement.128

The Commission should not adopt these recommendations and should instead accept the 
NYISO’s dual-fuel assumption for the proxy units in all Localities, including the G-J Locality. 
NERA/S&L recommended the dual fuel assumption in order to expand the options for the 
economical siting of the proxy unit.  If the proxy unit did not have backup fuel capability, it

125 November Filing at 18-19.

126 MI/City at 51-55.

127 As stated above at n.3, the NYTOs only raise this objection, and their other objections, if the Commission does not accept this Filing in its entirety.

128 NYTOs, Attachment C at 8-10.

35

could not be sited on the network of a local distribution company, because those companies’ 
tariffs require dual fuel capability.  The unit would then have to seek a site within a reasonable 
distance from an interstate pipeline, obtain firm pipeline capacity from that pipeline, and 
construct a lateral pipeline to connect to the interstate pipeline at a cost of $2-3 million a mile. 
NERA/S&L therefore determined that the incremental costs of dual fuel capability, 
approximately $8,500,000, would be more economical than the estimated cost of interconnecting 
to an interstate pipeline.129

Furthermore, natural gas peaking contracts, the option proposed by the NYTOs, are not a viable option for the proxy units.  The parameters used to develop the ICAP Demand Curves 
must be generally applicable to all proxy units, and in the NYISO’s experience, these types of contracts have a very limited availability.  In addition, natural gas peaking contracts are not 
typically available to units the size of the proxy unit, and often include a provision that requires the purchaser to re-supply the gas purchased on this basis.  The period within which a supplier has to satisfy the re-supply provision varies, but can be as short as that same day.  Hence these contracts are a less than ideal way to address the need for back-up gas supplies, especially on the coldest days of the year, when back-up fuel is most likely to be needed.  These contracts are 
therefore not an economic or viable option for the proxy unit.

D.	The November Filing’s Financing Assumptions Were Reasonable

1.	Original Issue Discount Costs

In the November Filing, the NYISO adopted the recommendation of NERA/S&L and did 
not include additional original issue discount (“OID”) costs in the levelized carrying charges for

129 Ungate Affidavit at PP 30-31.  NERA’s assumption of the gas interconnection cost estimate of

$5,395,000 to either a local distribution company network or to an interstate pipeline includes a lateral pipeline of less than 0.5 mile.

36

the proxy units.130  IPPNY criticizes this decision, arguing that NERA/S&L’s analysis of the

Yield to Maturity (“YTM”) of bonds “by definition[ ] leaves out OID,” which are a “substantial 
portion of total debt costs” and a “standard component of any financing.”131 
	The Commission should disregard IPPNY’s complaints, as it was reasonable not to 
include OID costs in the financing costs that were modelled for the ICAP Demand Curves. 
IPPNY’s argument is based on project financing assumptions, which are different than those that 
the ICAP Demand Curve reset analysis uses.  Moreover, IPPNY is incorrect that the analysis of 
the YTM of bonds omits OID costs.  Using the YTM method, NERA/S&L evaluated the market 
value of bonds, not their face value.  As such, a portion of OID costs, if any existed, would have 
been captured in the NERA/S&L analysis.  But as none of the debt issuances that NERA/S&L 
analyzed included OID costs, NERA/S&L concluded that the inclusion of OID costs would not 
be reasonable.132  Supplemental Meehan Affidavit attached hereto as Attachment 4. 
	IPPNY also notes that the amount of debt financing costs assumed in the development of the ICAP Demand Curves is substantially below the amount that has recently and actually been incurred by two New York developers.133  As discussed in the November Filing,134 this issue was fully vetted during the stakeholder process, and the NYISO was not presented with a compelling reason why the amount that NERA/S&L chose was not reasonable.  These complaints are 
unfounded and the Commission should disregard them.

130 November Filing at 25-26.

131 IPPNY at 64.

132 Supplemental Meehan Affidavit at P 22. 133 IPPNY at 64-65.

134 November Filing, Attachment IV at 23-23.

37

2.	Amortization Period

The ICAP Demand Curves in the November Filing were based on an amortization period of 20 years for the Frame units and 25 years for the LMS100 unit.135  The decision to adopt these periods, which is explained at length in the affidavit of NERA’s Gene Meehan that was 
submitted in support of the November Filing, was based on Mr. Meehan’s judgment that these periods would be likely to attract investment in each type of unit.136

Three parties challenge the amortization period:  MI/City137 and the NYPSC,138 which 
argue in favor of a 30 year period, and IPPNY, which argues that the Commission should adopt 
even shorter amortization periods than those recommended by NYISO (a 14 year assumed 
capital recovery period for the NYC ICAP Demand Curve and an 18 year assumed capital 
recovery period for the G-J Locality and NYCA ICAP Demand Curves).139 
	As no party provides compelling evidence or arguments in support of its request, the Commission should not accept the invitation either to lengthen or shorten the amortization 
periods set out in the November Filing.  The amortization periods do not need to be shortened to 
expedite or ensure the recovery of investment in the proxy unit, because the amortization periods 
that NERA/S&L selected already incorporate the risks that a developer in the New York markets 
might face.  The amortization periods cannot be viewed in isolation of all the parameters 
considered in the ICAP Demand Curve reset process.140  For example, Mr. Meehan assumed that 
there would be some excess capacity in the market, given the NYISO’s Comprehensive

135 November Filing at 23-25.

136 Meehan Affidavit to November Filing at P 19. 137 MI/City at 49-51.

138 NYPSC at 7.

139 IPPNY at 41-55.

140 Supplemental Meehan Affidavit at P 7.

38

Reliability Planning Process,141 and he recognized that the Frame unit’s higher heat rate places it at risk for a more uncertain future.142

Moreover, the amortization period is not the same as the expected physical lifespan of a 
unit.  Rather, an amortization period represents the timeframe over which a reasonable investor 
expects to recover a return on a potential investment, given a neutral set of assumptions about 
market conditions.  As Mr. Meehan explains, the risk that a developer will not recover his 
investment during the amortization period is balanced by the potential that revenues will accrue 
after the amortization period concludes, during the remaining years of the unit’s life.143 
	Similarly, the Commission should not lengthen the amortization periods to 30 years, as MI/City and NYPSC urge.  Thirty years is the outer limit of what Mr. Meehan thought could be the reasonable range of amortization periods.  Nevertheless, given his considerations about the risks facing developers, he recommended the use of a more reasonable value is in the middle of that range.144

Finally, even assuming for the sake of argument that there has been “government

subsidized out-of-market intervention”145 in the capacity markets, the Commission should not 
shorten the amortization periods.  As Mr. Meehan discusses, the reset of the ICAP Demand 
Curves is not the appropriate forum to examine whether the issue exists and, if it did exist, to 
evaluate how to address it.  Moreover, the Commission recently accepted buyer-side mitigation 
measures that will apply to the G-J Locality, which are substantially similar to the rules that 
apply to New York City.  In addition, the Commission has before it a proceeding in which

141 Id. at P 10.

142 Id. at P 15. 
143 Id. at P 8. 
144 Id. at P 11.

145 The NYISO does not concede that there has been any such intervention.

39

IPPNY has sought rule changes to address “government subsidies” in the Rest of NYCA.146 
IPPNY’s rationales for the adjustment therefore fail and should be rejected.  The NYISO has 
demonstrated the reasonableness of the amortization period, and that it should not be adjusted.

3.	The Assumed Return On Equity

In the November Filing, the NYISO adopted the recommendation of NERA/S&L to develop the levelized carrying costs for the proxy units using, among other factors, a 12.5% return on equity for determining the weighted average cost of capital.147

MI/City148 and the NYPSC149 protest the NYISO’s use of a 12.5% return on equity,

arguing that the Capital Asset Pricing Model (“CAPM”) analysis performed by NERA/S&L

concluded that the cost of equity should be 11.29%, and that the 1.21% increase from that level was an “arbitrary and unjustified adder” to account for “unspecified investment risks faced by merchant generation developers.”150

These protests are based on an incorrect conclusion, and the Commission should accept 
the NYISO’s proposed use of a 12.5% return on equity.  The addition of 1.21% was not to 
account for risk.  Rather, it is an adjustment, as Mr. Meehan discusses in depth in his affidavit 
that supports the November Filing, that calibrates the return on equity that resulted from the 
CAPM analysis to the regulated return on equity, which is much higher.151  The calibration 
adjustment is conservative and a higher adjustment could easily be justified, as the regulated

146 Independent Power Producers of New York, Inc. v. New York Independent System Operator, Docket No. EL13-62.

147 November Filing at 22-23. 148 MI/City at 46-48.

149 NYPSC at 8. 
150 MI/City at 47.

151 Meehan Affidavit to November Filing at P 22.

40

return on equity is among the lowest in the country.152  The Commission should therefore accept as reasonable the return on equity of 12.5% that NERA/S&L used to develop the proxy unit’s levelized carrying charges.

E.	The November Filing’s Property Tax Assumptions Were Reasonable

1.	NYC Tax Abatement

The November Filing reasonably assumed that the proxy unit in the NYC Locality would 
receive a property tax abatement that would continue through the entirety of the reset period and 
based the ICAP Demand Curve for that Locality on that assumption.153  The Indicated Suppliers 
call this assumption “improper,” as the property tax abatement is scheduled to sunset on 
March 31, 2015.154

The Commission should find the inclusion of this assumption to be reasonable.  First, it is 
very likely that the abatement will be legislatively extended.  In the 2013 New York State 
Legislative Session, Speaker Sheldon Silver introduced Assembly Bill 7806A, which provided 
for the extension of the property tax abatement in addition to the expansion of several other tax-
based incentive programs in New York City.  Governor Cuomo vetoed the bill because it 
expanded those programs, which the Governor found was unwarranted.  Despite his veto, the 
Governor noted that “if the Legislature were to pass a bill that extends, but not expands, the 
programs extended in this bill, I would sign that bill.”155  The Governor’s veto statement clearly 
signifies that, when Speaker Silver or another legislator introduces a bill that extends the 
property tax abatement program, and when that bill is passed, Governor Cuomo will sign it.

152 Supplemental Meehan Affidavit at P 18.  See also NERA/S&L Report at 85-86. 153 November Filing at 20-21.

154 Indicated Suppliers at 36-38.

155 Veto Message No. 203 (Jul. 3, 2013).

41

In addition, even if the Governor did not sign a bill that extended the tax abatement

program beyond March 31, 2015, a unit that has been completed and is in commercial operations during the period in which the ICAP Demand Curves will be in effect - May 1, 2014 through April 30, 2017 - would have necessarily received its permit in time to qualify for the existing abatement.156  Thus, the Commission should find that the proxy unit in the NYC Locality would be eligible for and would benefit from the property tax abatement.  The Indicated Suppliers’ criticism of this assumption is therefore baseless.

2.	Property Taxes Outside of NYC

In the November Filing, the NYISO accepted the recommendation of NERA/S&L to use 
a uniform property tax rate of 0.75% in the regions of the state beyond New York City.  This rate 
takes into account the ability of generators to enter into agreements with localities to make 
payments in lieu of property taxes (“PILOT Agreements”).157  IPPNY argues that the assumed 
level of property taxes is too low, as it is unreasonable to assume that these PILOT Agreements 
would last for the entire operating life of the proxy units, or, in the case of the proxy unit in the 
NYCA, that communities would agree to that type of agreement with the developer of an 
uncontrolled unit.158  On the other hand, the NYTOs argue that the property tax rates in the 
NYCA and the G-J Locality are overstated, especially if an amortization period of less than

30 years is adopted.159

156 Supplemental Meehan Affidavit at P 25 and MI/City at 38-39 (explaining that as it typically takes at least two years for new generation facilities to be constructed, to be operational as of May 1, 2014, the proxy unit would have to have obtained a building permit years prior to the termination of the current abatement 
program on April 1, 2015).

157 November Filing at 21. 158 IPPNY at 65.

159 NYTOs at Attachment B.

42

The NYISO’s decision to accept the assumption of a property tax rate of 0.75% does take 
into account the fact that property taxes will increase after the PILOT Agreements end as well as 
the fact that some generators have been able to obtain much lower rates.  The rate is based on 
NERA/S&L’s finding that four projects (the Athens, Bethlehem, and Empire projects in the 
Hudson Valley, and the Caithness project on Long Island) were able to negotiate PILOT 
Agreements at rates substantially below two percent, which was the property tax rate initially 
recommended by NERA/S&L.  For the three projects located in the Hudson Valley, the average 
rate of the first year of the PILOT Agreement was 0.45%, which escalated to 0.81% in the 
twentieth year.  The rate chosen by NERA/S&L balances this escalation with the recognition that 
different regions of the state have different tax rates.160  As neither IPPNY nor the NYTOs offer 
evidence to rebut the evidence presented by the NYISO in support of its assumption, the 
Commission should adopt the reasonable assumption in the November Filing that the property 
tax for regions beyond New York City is 0.75%.

F.	The Level of Excess Capacity Included in the NERA/S&L Analysis Was

Reasonable, Consistent with the Services Tariff, and with Commission

Precedent

The excess capacity levels proposed in the November Filing were developed in

accordance with revisions to Services Tariff Section 5.14.1.2, which were accepted by the

Commission during its consideration of the 2010 ICAP Demand Curve reset.161  The revisions

require the NYISO to set excess capacity levels used in the ICAP Demand Curve reset process at the megawatt capacity of the proxy peaking plant used to determine CONE for each of the 
capacity regions.162

160 Supplemental Meehan Affidavit Meehan at P 19; See also Attachment IV to November Filing at 19. 161 November Filing at 27-28.

162 See New York Independent System Operator, Inc., 136 FERC ¶ 61,192 at P 63 (2011).

43

IPPNY protests that the levels of excess capacity built into the NYCA ICAP Demand

Curve do not adequately account for the risks faced by developers of new generating facilities.163 
The NYISO’s reduction of the size of the proxy peaking plant to a single frame unit, IPPNY 
argues, has resulted in “an unreasonable small assumed average of excess.”164  IPPNY asks the 
Commission to order the NYISO to double the excess capacity level for the NYCA locality and, 
in future ICAP Demand Curve resets, to direct the NYISO to adopt a proposal of the MMU to set 
the average excess capacity level at one percent of the capacity requirement plus 50 percent of 
the capacity of the proxy unit.165  In the alternative, IPPNY asks the Commission to waive the 
language of the NYISO tariff, because “it requires an unreasonably small assumed excess 
level.”166

The Commission should not accept any of IPPNY’s requests.  NERA/S&L and the

NYISO implemented the directive in the Services Tariff in order to develop the level of excess 
capacity and has thereby fulfilled its tariff obligations.  IPPNY does not present any justification 
for its requested waiver.  There is no concrete problem that the waiver would address, as the 
level of excess capacity in the November Filing results from the correct application of the 
Commission-approved tariff provision.  The fact that IPPNY disagrees with the results of that 
application is not sufficient.  Nor does the Commission’s previous acceptance of a higher level of 
excess mean that the lower level included in this reset process is a result so unjust, unreasonable, 
or unlawful that it would justify the waiver of a provision of the Services Tariff.

163 IPPNY at 48-55.

164 Id. at 52.

165 Id. at 53-55. 
166 Id. at 53-55.

44

Finally, IPPNY’s request that the Commission order the NYISO to implement the MMU’s proposal in future resets is essentially a request to amend the Services Tariff.  Such requests should proceed through the stakeholder process, consistent with the Commission’s precedent that discourages attempts to make end-runs around ISO governance procedures by proposing changes that have not had the benefit of stakeholder vetting.167

G. 	There Is No Justification for Including a “Regulatory Risk Factor”

The November Filing explained that it was not necessary to include a regulatory risk 
adjustment in the ICAP Demand Curves.  IPPNY disputes this determination.168  Despite its 
criticism, IPPNY does not present any information or evidence that would rebut the NYISO’s 
conclusion that the ICAP Demand Curves are reasonable without including a regulatory risk 
adjustment.169  As explained in the November Filing, the NYISO has Commission-approved 
capacity market power mitigation rules in effect, and is engaged in a continuous process of 
improving those rules with stakeholder input.  Moreover, NERA/S&L took into account the 
alleged risks that IPPNY raises as NERA/S&L developed the parameters of the new ICAP 
Demand Curves.  As the Commission explained in the 2008 Demand Curve Order, the ICAP

Demand Curves proposed by NYISO incorporate the likelihood of uneconomic entry and excess 
capacity in the estimates of energy and ancillary service revenues and the resulting net CONE.170 
	Finally, as with the request to shorten the amortization period,171 the ICAP Demand 
Curve reset process is not the appropriate vehicle to address IPPNY’s claims regarding alleged 
problems with the NYISO market structure (or the Entergy Answer’s claims regarding the harm

167 See, e.g., ISO New England, Inc., 130 FERC ¶ 61,145 at P 34 (2010).

168 IPPNY at 42-43.

169 November Filing at 26-27. 
170 2008 DCR Order at P 60.

171 See Section II.D.2 above and Supplemental Meehan Affidavit at P 15.

45

to the NYISO market ostensibly caused by New York state actions).172  Accordingly, the Commission should not order the NYISO to include a regulatory risk adjustment.

H.	The NYISO’s Selection of the Zero Crossing Point Is Reasonable and

Complies with the Services Tariff

The November Filing did not propose any changes to the existing zero crossing points for 
the NYCA, NYC and LI ICAP Demand Curves after concluding that such changes could 
introduce undue volatility and uncertainty into the market.  The NYISO also proposed a 115% 
zero crossing point for the G-J Locality, based on the midpoint between the current NYCA and 
NYC current crossing points.173  The NYTOs ask the Commission to order the NYISO to use the 
zero crossing point of 114% for the G-J Locality,174 as initially recommended by the independent 
MMU in its preliminary analysis presented to stakeholders at the August 22, 2013 ICAP working 
group, rather than the NYISO staff recommendation of a 115% , which the NYTOs argue was 
arbitrarily chosen.

The NYTOs are incorrect, however, to assert that the zero crossing point of 114% was 
recommended by the independent MMU.  It is correct that a 114% zero crossing point was 
discussed with stakeholders on August 22, based on the MMU’s preliminary results, using a 
newly proposed methodology and an incomplete data set.  At that time stakeholders 
overwhelmingly indicated that the methodology proposed by the MMU should not be sanctioned 
because it needed to be fully vetted by the NYISO and stakeholders.  In its review of the various 
methodologies and recommendations regarding the zero crossing points, the NYISO found that 
the analyses conducted were highly sensitive to methodology, input assumptions, and

172 See Entergy Answer at 5-6 (asserting that “regulated solutions” allegedly pursued by the NYPSC “are predicated on relying on regulation to correct identified constraints outside the market which, in turn, will harm the competitive markets.”).

173 November Filing at 32-35. 
174 NYTOs, Attachment B.

46

transmission system topology and agreed that adopting any methodology to adjust the zero

crossing point at this time could result in fluctuations to the recommended zero crossing point at each Demand Curve reset, introducing undue volatility and uncertainty in the market.  As a 
result, the NYISO proposed to make no changes to the existing NYCA, NYC and LI zero 
crossing points, and recommended to establish a 115% zero crossing point for the NCZ based on the midpoint between the current NYCA and NYC zero crossing points.  The NYISO’s proposed NCZ 115% zero crossing recommendation was consistent with the consultant’s recommendation. 
	Subsequently, the independent MMU received the complete data set and completed its analysis.  Several stakeholders requested that this analysis be shared even though the NYISO had determined it would be inappropriate to use it to set the zero crossing points in this ICAP 
Demand Curve reset.  The results of this analysis using the complete data set was distributed to 
stakeholders on September 13, 2013 and resulted in zero crossing point of 114.6%.  Therefore, 
the Commission should not grant the NYTO’s request.

I.	The November Filing’s Assumptions About Net Energy and Ancillary

Service Revenues and Costs Are Reasonable and Consistent with the Services

Tariff

To develop the likely projected Energy and Ancillary Services Revenues (“Revenues”) of the proxy units, NERA/S&L used historical data from November 1, 2009 through October 31, 2012 to benchmark the operation of the NYISO system.175  In the November Filing, the NYISO discussed at length why the level of revenues projected by NERA/S&L was reasonable and 
should be accepted by the Commission.176

In its protest, IPPNY argues that if the Commission orders the NYISO to adopt the

LMS100 unit as the proxy unit for NYC, then the NYISO should eliminate the ten minute non-

175 Attachment IV to the November Filing at 23-25.

176 November Filing at 29-29.

47

spinning reserve revenues built into the assumptions for that Locality, as an SCR cannot reach

full operation in ten minutes and that the unit would need to secure allowances to operate outside 
of compliance requirements and exceed emissions limits.177  As Mr. Meehan explains, a unit can 
obtain a special permit that that would allow for certain exceedances, such as those under startup 
and shutdown which makes it reasonable to assume that the LMS100 could earn this level of 
revenues.178

In their protest, the NYTOs argue that the projected revenues are too low and should be 
adjusted upward to account for increased revenues that will result from recent market changes, 
specifically, the revised scarcity pricing rules.  They also argue that 30 years of revenues should 
be included in the analysis, not 20 years.  The NYTOs also criticize the inclusion of “dummy,” 
or proxy, variables for Astoria Energy II, which went online halfway through the historical 
period, and Bayonne Energy Center, which began commercial operations midway through the 
last year of the period, and the lack dummy variables for the retirement of the Astoria 2 and 4 
during the historical period.179  Although the units that retired previously had low capacity 
factors and thus did not have a widespread or significant impact on prices, the entry of Astoria 
Energy II and Bayonne Energy Center have had much higher capacity factors and have had 
widespread, material impacts on prices that would be unreasonable to ignore.  Thus, dummy 
variables were reasonably used to capture the impact of the units.180

177 IPPNY at 65-66.

178 Supplemental Meehan Affidavit at P 26. 179 NYTOs, Attachments B and D.

180 Supplemental Meehan Affidavit at P 23.  A variable was not used for the Bayonne Energy Center for the LI Locality, given the outage of the Neptune Cable in the summer when that facility went into service.

48

J.	The November Filing’s Interconnection Cost Assumptions Were Reasonable

and Consistent with the Services Tariff

In the November Filing, the NYISO proposed that the Commission approve the

interconnection cost projections developed by NERA/S&L, which developed the projections 
based on averages of the interconnection costs incurred by developers.181  The NYTOs raise 
several arguments about the assumptions made by NERA/S&L relating to the interconnection 
cost assumptions in the NYC Locality.182  As discussed below, the NYISO’s assumptions are 
reasonable and in one case, already take into account the issue that the NYTOs raise.  The 
Commission should therefore accept the NYISO’s interconnection cost assumptions as filed. 
	The NYTOs first argue that the calculation of average stand-alone (“SA”) System 
Upgrade Facilities (“SUFs) for the NYC Locality should be modified to exclude gas insulated 
switchgear (“GIS”) because NERA’s estimates of Energy and Ancillary Services Revenues are 
based only on open air substations.183  This is incorrect, as Mr. Ungate used the average of the 
interconnection costs for three projects, two of which are open air but one that is a GIS 
substation.184  Furthermore, the Energy and Ancillary Services prices are not dependent on 
whether the substation at the point of price observation is an open air or GIS substation.  NERA 
developed the SUF assumptions so they would be representative of costs that the developer of 
the proxy unit could expect in the NYC Locality, and that estimate would not be representative if 
the cost of SA SUFs for GIS substations were excluded from the average.185

181 November Filing at 19-20.

182 NYTOs at Attachments B and D. 
183 Id.

184 Ungate Affidavit at P 24. 185 Id. at P 25.

49

The NYTOs also argue that it is inappropriate to include what they characterize as the

“unusually high” cost of System Protection SUF for the South Pier Improvement Project (“South 
Pier”) in the calculation of average System Protection SUFs incurred by the proxy unit because 
South Pier rejected its cost allocation.186  The South Pier project, which was included in the 
Commission approved interconnection cost assumptions used in the 2010 ICAP Demand Curve 
reset, is but one of eight projects that NERA used to develop the representative average of the 
costs that a developer of a proxy unit in the NYC Locality would face.  These costs include 
System Protection SUFs, Connecting Transmission Owner Attachment Facilities (“CTO AFs”) 
and Headroom payments, which are payments to prior developers who paid for SUFs that have 
capacity in excess of their needs and which the proxy unit will use.  Although South Pier had 
higher than average System Protection SUF costs, it had lower than average CTO AF and 
Headroom payment costs.  Therefore excluding South Pier would not have a significant impact 
on the total of the average costs.187

In addition, the NYTOs assert that that the facilities for which Headroom payments must be made would potentially not be needed at the level of capacity surplus that NERA/S&L used the CONE.  But Headroom payments are a potential category of interconnection costs that a 
developer could incur, and as such, including them is reasonable.  NERA/S&L used an average of recent history of Headroom payments, which results in a reasonable estimate of these costs for the NYC ICAP Demand Curve proxy unit.  As the CONE for the proxy unit is not based on a specific Point of Interconnection or a specific set of conditions, the details of a specific 
interconnection location cannot be used to compute a specific cost.188

186 NYTOs at Attachment D.

187 Ungate Affidavit at P 27. 188 Id. at P 28.

50

Finally, the NYTOs also state that the calculation of average Headroom payments

incurred by the proxy unit should be modified to reflect that Headroom values have depreciated significantly since the Class Year 2009/10.189  The NYISO agrees, and the effect of this 
depreciation has already been taken into account by including Class Year 2011 in the average for Headroom payments, as explained by Mr. Ungate in his Affidavit.190

K. 	The Commission Should Accept the November Filing’s Proposal to Phase-In

the Price Impacts of the G-J Locality ICAP Demand Curve

The November Filing proposed a “phase-in” of the ICAP Demand Curve parameters for 
the new G-J Locality to ameliorate the potential short-term consumer impacts that could result 
from creating the new Locality.191  The Supply Interests object to the November Filing’s 
proposal but fail to provide any rationale that would justify rejecting it. 
	As the November Filing noted, the NYPSC has stated that the implementation of the G-J Locality without a phase-in could result in a 25% retail rate increase to consumers in that 
region.192  MI/City also emphasize that absent a phase-in “the proposed reference price value for 
the NCZ ICAP Demand Curve would represent an increase of nearly 33 percent to the reference 
point value that currently applies to the Lower Hudson Valley	 ”193  They also indicate that

“extraordinary” rate “[i]mpacts of that magnitude are likely to cause large employers in the

Lower Hudson Valley to experience multi-million dollar increases in annual energy costs which 
could be very detrimental to job growth and retention in the region.”194  The justification for the

189 NYTOs at Attachment D.

190 Ungate Affidavit at P 29.

191 November Filing at ii, 36-44. 192 November Filing at 40, n. 120. 193 MI/City at 3.

194 Id. at 42.

51

proposed phase-in is summarized by MI/City: “[w]hile the implementation of the NCZ has been expected to result in capacity price increases for the Lower Hudson Valley, it now has become apparent that such increases may be of enormous magnitude thereby justifying the use of a 
gradual phase-in to mitigate rate shock.”195

The Supply Interests have not shown that concerns regarding the short-term consumer 
impacts of establishing a new Locality are unfounded.  They have not refuted the November 
Filing’s position that a “properly structured phase-in would not interfere with long-term 
investment decisions given the longer-term revenue forecast horizon typically used by 
developers ‘[s]o long as a sufficient price signal is present in the third-year of the G-J Locality 
ICAP Demand Curve and beyond.’”196  Nor have they shown that the phase-in proposal does not 
strike a reasonable balance between competing interests or would result in unjust and 
unreasonable rates.  In particular, the Entergy Answer’s assertion that a phase-in would harm 
investment was already addressed by the November Filing.  The Affidavit of Rana Mukerji 
concluded that “the fact that the clearing prices are expected to increase significantly starting in 
the first year of the proposed ICAP Demand Curve for the G-J Locality, with the Locational 
Minimum Installed Capacity Requirement specific to that Locality, and the fact that the full 
ICAP Demand Curve with escalation is in effect for the third year, will provide sufficient market 
signals to attract new capacity and retain existing capacity needed to meet requirements.”197 
Because the lead time for the construction of new generation is at least two to three years “the 
phase-in should not affect the market entry decision for most new generating capacity.”198  Even

195 Id. at 41.

196 November Filing at 37.

197 Attachment IX to the November Filing at P 15. 198 Id. at P 16.

52

if it were true, as the Entergy Answer asserts,199 the prospect of a phase-in may have impacted the market calculations of an individual project would hardly indicate that price signals under a phase-in would be insufficient overall to attract and retain capacity required to meet 
requirements.  Furthermore, any uncertainty that may exist at this time over the phase-in will be ameliorated when the Commission issues an order addressing it.

The Supply Interests rely heavily on groundless procedural arguments.  They are wrong 
to claim that the November Filing’s voluntary submission of the phase-in proposal is somehow a 
collateral attack on the August Order’s refusal to impose such a phase-in on the NYISO.200  The 
August Order stated that the Commission would not “require” a phase-in but that finding does 
not preclude the NYISO from proposing one.201  The NYISO remained free to ask the 
Commission to adopt a phase-in in a subsequent filing under Section 205 of the FPA. 
	The Supply Interests are also wrong to contend that a phase-in would violate the Services Tariff.202  Even if the Commission were to determine that the phase-in was inconsistent with the Services Tariff  the November Filing included a valid and good faith request for a waiver.  There is simply no basis for the allegations that the NYISO is not acting in good faith. 
	The notion that the NYISO’s requested waiver would somehow be a collateral attack is erroneous because, as stated above, the August Order did not preclude voluntary phase-in 
proposals.  It is also illogical to suggest that a waiver request constitutes a collateral attack since, 
by definition, waiver requests seek case-specific relief from accepted tariff provisions.  Thus, if

199 See Entergy Answer at 8-9, citing Answer of the NRG Companies to the New York Independent System Operator, Inc.’s Request for Partial Reconsideration, Docket No. ER13-1380 (November 12, 2013). The NYISO has not conceded that the assertions in either of these filings are valid.

200 See IPPNY at 61-63 and Entergy at 17-19.

201 August Order at P 31.

202 See NYTOs at 6-7.

53

the NYISO’s waiver request is a collateral attack it would be difficult to see how other waiver requests would not be.

Finally, the NYTOs have noted that their support for the November Filing is “based in

significant part” on the NYISO’s “commitment” to work with stakeholders “to address” what the 
NYTOs characterize as a “deficiency” in the phase-in proposal.203  The NYTOs reference the 
fact that the NYISO proposal “will not eliminate price separation between the new G-J Locality 
and the rest of the NYCA when the transmission constraint causing the need for the new capacity 
zone is eliminated.”204  The NYISO is discussing this issue with stakeholders, in part in response 
to the August Order’s statement that “NYISO should work with its stakeholders, and if a 
mechanism for zone elimination is deemed necessary, NYISO should file appropriate tariff 
revisions with the Commission.”205  In fact, the NYISO has committed that it “will examine the 
circumstances under which we might eliminate capacity zones once adequate investments have 
been made.”206  The NYISO would simply note that the outcome of its discussions with 
stakeholders regarding potential zone elimination mechanisms should not be prejudged in this 
proceeding.

203 See NYTOs at 6-7. 
204  Id.

205 August Order at P 82.

206  NYISO 2014 Business Plan Highlights, available at:

˂http://www.nyiso.com/public/webdocs/company/strategic_plan/2014_NYISO_BusinessPlanHighlights_final.p 
df˃.

54

III.	THE COMMISSION SHOULD REJECT REQUESTS THAT IT INITIATE

ADMINISTRATIVE HEARINGS, ADOPT A SUSPENSION PERIOD, OR

IMPOSE A REFUND CONDITION

A.	There Is No Need for a Traditional Hearing Before an Administrative Law

Judge

Certain parties request that the Commission initiate traditional administrative hearing

procedures in this proceeding.207  These requests should be rejected because no party has shown that a hearing is necessary or would serve any useful purpose.

To the extent that the Commission determines that there are any genuine disputed issues 
of material fact in this case they would be of the kind that are normally resolved based on written 
pleadings rather than by litigation before an administrative law judge.  The Commission has held 
that traditional administrative law judge hearing procedures are needed only when questions of 
witness intent, credibility, and motive are at issue and disputed matters cannot be resolved on the 
basis of the written record.  It has also stated that a hearing to evaluate the credibility of

witnesses is “usually unnecessary where the issues involve technical information	 ”208

The most controversial question in this proceeding is the choice of proxy unit for the

NYC, LI, and G-J Localities.  This is a fundamentally technical question driven by differences in 
expert opinions regarding power plant and SCR engineering, environmental compliance, project 
costs, and other complex fact-intensive details, many of which involve forward-looking 
judgments.  The issues reduce to whether it was reasonable for the Board to conclude that F 
Class Frame with SCR technology was economically and technically viable in light of the 
available information on the performance of the four Marsh Landing units and other factors.

207 Indicated Suppliers at 44-46, Ravenswood at 5-6 and the NY-SEA Group at 2. 
208 Iroquois Gas Transmission System, L.P., 53 FERC ¶ 61,194 at 61,685 (1990).

55

This question in no way implicates witness intent, credibility, or motive,209 but can readily be resolved based on the extensive written submissions in this docket.

Given the amount of information included in the November Filing, the affidavits and 
reports that were submitted with it, and in the subsequent pleadings (including this answer, its 
supporting affidavits, and their attachments), the Commission has a robust record upon which it 
can reach a well-informed judgment without resorting to administrative law judge proceedings. 
If the Commission believes that additional information is needed on certain points it could 
readily obtain it through other means,210 e.g., by requiring the NYISO to submit additional 
information in writing.  Turning to administrative law judge procedures in this case would be a 
departure from prior ICAP Demand Curve reset proceedings.  There were disputed technical 
issues in the initial 2003 ICAP Demand Curve filing and in the 2005, 2008, and 2011 resets but, 
with the exception of a 2005 technical conference, the Commission resolved them solely based 
on written submissions.211  The Commission did not initiate hearing procedures in any of those 
cases and none are required here.

The Commission would be right to once again decline to set an ICAP Demand Curve 
proposal for hearing because traditional administrative law judge proceedings are time-
consuming.  A hearing would thus delay the implementation of new ICAP Demand Curves, 
extend the effectiveness of curves based on older data, and create market uncertainty.  Initiating

209 As noted above in Section II.A.2, certain parties have made sweeping allegations of bias against the Board and Brattle/Licata.  See, e.g., Ravenswood at 5-6.  Such unsupported and baseless claims are no basis for further inquiry by the Commission, let alone for a traditional administrative hearing.

210 The Commission has held that there is no need for a hearing if a dispute can “be resolved through the presentation of additional documentary evidence, including affidavits, letters, contracts and technical data.” Iroquois Gas Transmission System, L.P., 53 FERC ¶61,194 at 61,685 (1990).  See, also Transwestern Pipeline Company, LLC, 122 FERC ¶ 61,165 at P 16 (2008).

211 See New York Independent System Operator, Inc., 111 FERC ¶ 61,117 at P 1 (2005); 2008 DCR Order at P 1; New York Independent System Operator, Inc., 134 FERC ¶ 61,058 at P 167 (2011) (“2011 DCR Order”) and 136 FERC ¶ 61,192 at P 2 (2011).

56

hearing procedures would thereby subvert the capacity market price stability and certainty that are the very reason for having ICAP Demand Curves in the first place.212  As noted above, additional procedural requirements that delay the Commission’s issuance of an order beyond January 28, 2014 could materially delay the NYISO’s ability to apply new ICAP Demand Curves and the G-J Locality by May 1, 2014.

B.	There Is No Need to Adopt a Suspension Period or Impose a Refund

Condition

The November Filing is clear that the NYISO proposed to implement new ICAP Demand 
Curves for the Capability Period beginning on May 1, 2014,213 which is consistent with the 
requirements of Section 5.14.1.2 of the Services Tariff.  The NYISO proposed that the 
underlying tariff revisions become effective after the standard sixty day notice period for filings 
made under Section 205 of the Federal Power Act, i.e., on January 28, 2014.  The fact that the 
proposed effective date is earlier than May 1, 2014 does not mean that the NYISO is seeking to 
apply the new ICAP Demand Curves for an ICAP Spot Market Auction for an Obligation 
Procurement Period before that date.  To be clear, under the November Filing’s proposal the 
currently effective ICAP Demand Curves would remain in effect through April 30, 2014.  The 
proposed expiration date of the current curves and the first date of the period to which the new 
curves would apply is unambiguously stated in the tariff revisions included in the November

212 See, e.g., New York Independent System Operator, Inc., 112 FERC ¶ 61,283 at P 39 (2005) (stating that “the entire ICAP Demand Curve process is based on the premise that it is important to the market to have price stability and certainty.”).

213 See November Filing at 36 (“The proposed ICAP Demand Curve for the G-J Locality would be effective for the start of the 2014/2015 Capability Year, i.e., on May 1, 2014.”).

57

Filing.214  The NYISO also proposed effective dates based on the statutory sixty day notice

period in its 2011, 2008, and 2005 ICAP Demand Curve reset filings.215

Ravenswood claims that “there is no reason why it is necessary to place the revised ICAP 
Demand Curves and proposed rates into effect [on January 28, 2014] since the rates by design, 
have no applicability until May 1, 2014.”216  This argument should be rejected because it is 
irrelevant.  As noted above, there is no question that the NYISO is not proposing to apply the 
new ICAP Demand Curves until the ICAP Spot Market Auction for May 2014.  But that does not 
mean the NYISO may not propose the standard effective date for its proposed tariff revisions at 
the expiration of the sixty day notice period, as is the standard practice under the Federal Power 
Act.

Ravenswood also suggests that “to be consistent with its actions the last time the NYISO 
filed to reset ICAP Demand Curves, the Commission should suspend the proposed rates for the 
maximum five month period allowed under FPA Section 205.”217  But Ravenswood’s desire for 
“consistency” is misplaced.218  The Commission suspended the 2011 ICAP Demand Curve 
proposal because it determined that it could not find the original version of that proposal to be

214 See November Filing at Attachments I and II (specifying the ending and starting dates for the currently effective and proposed ICAP Demand Curves).

215 See, e.g., New York Independent System Operator, Inc., Tariff Revisions to Implement Revised ICAP 
Demand Curves, Docket No. ER05-428-000 (filed Jan. 7, 2005) at 2; New York Independent Transmission 
System Operator, Inc., Tariff Revisions to Implement Revised ICAP Demand Curves for Capability Years 
2008/2009, 2009/2010 and 2010/2011, Docket No. ER08-283-000 (filed Nov. 30, 2007); and New York 
Independent System Operator, Inc., Tariff Revisions to Implement Revised ICAP Demand Curves for Capability 
Years 2011/2012, 2012/2013 and 2013/2014, Docket No. ER11-222-000 (filed Nov. 30, 2010) at 24.

216 Ravenswood at 14.  See also Entergy Answer at 13-14.

217 Ravenswood at 14.

218 The NYISO would also note, however, that Ravenswood has advanced a novel and expansive

interpretation of the Commission’s suspension precedent, which has always been understood to protect

customers, that would extend its protection to sellers.  This interpretation does not appear to have any basis in Commission precedent or the consumer protection objectives underlying the Federal Power Act.

58

just and reasonable.219  By contrast, the Commission accepted the 2008 ICAP Demand Curve

proposal as just and reasonable without any suspension on the NYISO’s requested effective date 
(January 29, 2008).  Because the protests advanced in this proceeding are, for the reasons 
specified in Section II above, without merit the Commission should follow the approach that it 
took in 2008 by accepting the November Filing without a suspension period.  The Commission 
should likewise accept the November Filing’s proposal without making it subject to refund.220

2192011 DCR Order at P 167.

220 If, however, the Commission were to decide to suspend the November Filing the NYISO has no

financial interest in the outcome and thus has no direct stakes in whether the Commission opts for the standard 
five month suspension period or a shorter one.  In this scenario, the NYISO would ask only that the Commission 
give the NYISO the same flexibility to propose alternative implementation dates that it provided in 2011, See 
2011 DCR Order at P 168, which was recently upheld by the United States Court of Appeals for the District of 
Columbia Circuit.  See TC Ravenswood v. Federal Energy Regulatory Commission, No. 12-1008 (Dec. 13, 
2013).  Similarly, if the Commission were to impose a refund condition it should do so with the understanding 
that refunds are unlikely to be a practicable solution in the context of centralized capacity markets.  See, e.g., 
Niagara Mohawk Power Corp. v. FPC, 379 F.2d 153, 159 (D.C. Cir. 1967) (establishing that the Commission’s 
equitable discretion is at its “zenith” when fashioning remedies); Astoria Generating Co., L.P. et. al. v. New 
York Independent System Operator, Inc., 140 FERC ¶ 61,189 at P 141 (2012) (Commission exercised its 
discretion not to require retroactive refunds, such as re-running capacity market auctions and instead imposed 
prospective-only relief.).

59

IV.	CONCLUSION

For the reasons set forth above, the Commission should grant the NYISO leave to 
answer, reject the protests, and accept the tariff revisions proposed in the November Filing 
without requiring any modifications, without initiating hearing procedures or suspending the filing, and without imposing a refund condition.  The November Filing’s proposed tariff 
revisions should be made effective on January 28, 2014 so that the proposed new ICAP Demand Curves may be applied beginning on May 1, 2014.

Respectfully Submitted,

/s/Ted J. Murphy

Ted J. Murphy 
Counsel to the

New York Independent System Operator, Inc.

January 9, 2014

cc:	Michael A. Bardee

Gregory Berson

Anna Cochrane

Jignasa Gadani

Morris Margolis

David Morenoff

Michael McLaughlin Daniel Nowak

60

CERTIFICATE OF SERVICE

I hereby certify that I have this day caused the foregoing document to be served upon each 
person designated on the official service list compiled by the Secretary in this proceeding in 
accordance with the requirements of Rule 2010 of the Commission Rules of Practice and Procedure,

18 C.F.R. § 385.2010 (2013).

Dated at Washington, DC, this 9th day of January, 2014.

/s/  Ted J. Murphy

Ted J. Murphy, Partner

Hunton & Williams LLP

2200 Pennsylvania Avenue, NW Washington, DC 20037

Tel: (202) 955-1500 
Fax: (202) 778-2201 
tmurphy@hunton.com

61

55430.000093 EMF_US 48881357v1