UNITED STATES OF AMERICA 
	BEFORE THE

FEDERAL ENERGY REGULATORY COMMISSION

Caithness Long Island II, LLC	)

)

Complainant,	)

)

v.	)	Docket No. EL15-84-000

)

New York Independent System Operator, Inc.	)

)

Respondent	)

ANSWER OF THE NEW YORK INDEPENDENT SYSTEM OPERATOR, INC.

Pursuant to Rule 2131 of the Commission’s Rules of Practice and Procedure, the New

York Independent System Operator, Inc. (“NYISO”) respectfully submits this answer to the July 
10, 2015 complaint filed by Caithness Long Island II, LLC (“Caithness”) in the above-captioned 
proceeding (“Complaint”).2  Caithness alleges that the NYISO’s recognition in its 
interconnection process of a Transmission Owner’s criterion required to ensure reliability on 
Long Island is inconsistent with the requirements of the NYISO’s Open Access Transmission 
Tariff (“OATT”).3  Caithness requests that the Commission direct the NYISO to ignore the 
Transmission Owner’s criterion at issue in the NYISO’s evaluation of upgrades required for 
Caithness’s proposed facility (the “Caithness Project”) to reliably interconnect to the New York 
State Transmission System.

1 18 C.F.R. § 385.213 (2014).

2 Caithness Long Island II, LLC v. New York Independent System Operator, Inc., Complaint of Caithness Long Island II, LLC, Request for Fast Track Processing and Request for Action by September 30, 2015, Docket No. EL15-84-000 (July 10, 2015) (“Complaint”).

3 Terms with initial capitalization that are not otherwise defined herein shall have the meaning set forth in Attachments S and X of the NYISO’s OATT, or, if not defined therein, in Section 1 of the OATT or Section 2 of the NYISO’s Market Administration and Control Area Services Tariff (“Services Tariff”).

Specifically, Caithness alleges that the NYISO’s application of the Long Island Power Authority’s (“LIPA’s”) Long Island local reliability interface transfer capability test within its Minimum Interconnection Standard evaluation is in direct conflict with its OATT.4  Caithness also alleges that application of this Long Island reliability criterion violates the Commission’s directive in Order No. 20035 that the NYISO provide two levels of interconnection service.6 
Finally, Caithness argues that application of this Long Island reliability criterion in the NYISO’s interconnection studies permits New York Transmission Owners to adopt rules unilaterally that conflict with explicit tariff provisions in the OATT.7

The Commission should deny the Complaint for the reasons set forth below and detailed 
in the affidavit of Steven L. Corey, NYISO Manager of Interconnection Projects in Attachment

2.8  The NYISO reviewed LIPA’s criterion and determined that its clear purpose was to address 
reliability issues unique to Long Island.  Therefore, in accordance with its OATT and 
Commission precedent, the NYISO is appropriately applying the criterion in its interconnection 
studies to evaluate whether upgrades are required to reliably interconnect projects on Long 
Island, including the Caithness Project.  While reliability driven upgrades may produce 
incidental “deliverability” benefits, LIPA’s criterion does not supplant the NYISO’s application 
of two separate and distinct levels of interconnection service as set forth in the OATT.

4 See Complaint at p 2.

5 Standardization of Generator Interconnection Agreements and Procedures, Order No. 2003, FERC Stats. 
& Regs. ¶ 31,146 (2003), order on reh’g, Order No. 2003-A, FERC Stats. & Regs. ¶ 31,160, order on reh’g, Order 
No. 2003-B, FERC Stats. & Regs. ¶ 31,171 (2004), order on reh’g, Order No. 2003-C, FERC Stats. & Regs. ¶ 
31,190 (2005), aff'd sub nom. Nat’l Ass’n of Regulatory Util. Comm’rs v. FERC, 475 F.3d 1277 (D.C. Cir. 2007) 
(“Order No. 2003”).

6 See Complaint at p 3.

7 See id.

8 Attachment 2, Affidavit of Steven L. Corey, NYISO Manager of Interconnection Projects (August 10, 2015) (“Corey Affidavit”).

2

I.	COMMUNICATIONS

Communications regarding this proceeding should be addressed to:

Robert E. Fernandez, General Counsel

Raymond Stalter, Director of Regulatory Affairs Karen G. Gach, Deputy General Counsel 
*Sara B. Keegan, Senior Attorney

New York Independent System Operator, Inc.

10 Krey Boulevard

Rensselaer, NY 12144 
Tel: (518) 356-6103 
Fax: (518) 356-7678 
rfernandez@nyiso.com 
rstalter@nyiso.com 
kgach@nyiso.com 
skeegan@nyiso.com

* Persons designated to receive service

II.	STATEMENT OF FACTS

A.	Caithness Project

Caithness is proposing to construct a combined-cycle generating facility that will

interconnect to the New York State Transmission System on Long Island, New York at the Sills 
Road 138 kV substation, which is owned by LIPA.9  The Caithness Project will be a temperature 
sensitive facility with an anticipated net summer output of 744 MW and an anticipated net winter 
output of 785 MW.  Caithness submitted its Interconnection Request for the project on March 
22, 2013.  Pursuant to the NYISO’s Large Facility Interconnection Procedures (“LFIP”) set forth 
in Attachment X of the OATT, the Caithness Project has proceeded through the required

interconnection studies.  The Caithness Project has completed the Interconnection Feasibility 
Study and Interconnection System Reliability Impact Study (“SRIS”) and has most recently

9 In the interconnection studies, PSEG Long Island LLC has acted on behalf of LIPA, which is the

Connecting Transmission Owner.  For purposes of this answer, the NYISO refers to both LIPA and PSEG Long Island LLC as “LIPA.”

3

entered the final interconnection study, the Interconnection Facilities Study (“Class Year Study”) for Class Year 2015 (“Class Year 2015 Study”).

B. 	NYISO’s Two Levels of Interconnection Service

A project seeking to interconnect to the New York State Transmission System or the 
Distribution System must obtain Energy Resource Interconnection Service (“ERIS”) in 
accordance with the requirements in Attachments X and S of the OATT.  ERIS is basic 
interconnection service that enables a Developer, subject to other requirements in the NYISO’s 
tariffs, to provide Energy and Ancillary Services in the NYISO-administered markets.  For 
purposes of ERIS, the NYISO evaluates whether a project can reliably interconnect its facility to 
the New York State Transmission System or Distribution System under the NYISO’s Minimum 
Interconnection Standard and identifies and allocates the costs of any System Upgrade Facilities 
required for the project.10

A project seeking to be eligible to participate in the NYISO-administered Installed

Capacity market must also obtain a second level of interconnection service - Capacity Resource 
Interconnection Service (“CRIS”).  Projects seeking CRIS are evaluated under the NYISO’s 
Deliverability Interconnection Standard.  The Deliverability Interconnection Standard evaluates 
the deliverability of a proposed project within a Capacity Region using a specified set of 
assumptions and a particular methodology described in detail in Attachment S to the OATT.11 
Because CRIS only addresses eligibility for participation in Installed Capacity markets, 
requesting CRIS is optional, and projects that satisfy the ERIS requirements for a reliable

10  Every Large Facility subject to Attachment X of the OATT and Small Generating Facility subject to

Attachment Z of the OATT must meet the Minimum Interconnection Standard, regardless of whether it elects ERIS only or whether it elects to interconnect with both ERIS and CRIS. See Corey Affidavit at P 7.

11 If a facility is not fully deliverable under the NYISO’s Deliverability Interconnection Standard, the

NYISO’s evaluation determines what System Deliverability Upgrades are required for the facility to be eligible to obtain the requested CRIS rights.

4

interconnection are permitted to interconnect without being evaluated for CRIS or satisfying the CRIS requirements.  The Caithness Project has elected to be evaluated in the Class Year 2015 Study for both ERIS and CRIS.

C.	Minimum Interconnection Standard

The objective of the Minimum Interconnection Standard is to identify the facilities 
required for a proposed project to reliably interconnect to the New York State Transmission 
System or Distribution System so that it can obtain ERIS.  The facilities include, but are not 
limited to, those required to mitigate any potential adverse electrical impacts from the proposed 
interconnection of a project.12  Impacts that require mitigation include those that would result in 
a degradation of system reliability and/or noncompliance with Applicable Reliability 
Requirements or Applicable Reliability Standards, which, as described below, include the 
reliability criteria and standards of the North American Electric Reliability Corporation 
(“NERC”), the Northeast Power Coordinating Council, Inc. (“NPCC”), the New York State 
Reliability Council (“NYSRC”), and the Connecting Transmission Owners.13 
	If the NYISO identifies any adverse reliability impacts and/or potential reliability 
standard violations, the NYISO considers whether these potential adverse impacts are 
manageable through the normal operating procedures of the NYISO or the Connecting 
Transmission Owner.14  While certain issues are manageable through normal operating 
procedures, that is often not the case.  It is, therefore, often necessary for the NYISO to identify

12 The NYISO’s Class Year Study also identifies attachment facilities that are required for the interconnection of the project.

13 See Corey Affidavit at P 8.

14 See id. at P 9.

5

System Upgrade Facilities to mitigate the adverse reliability impacts of the proposed project.15 This is particularly true with certain adverse reliability impacts experienced on Long Island, as described in Section II(E) below.

D. 	Application of Transmission Owners’ Criteria in Interconnection Studies

The NYISO has always acted in accordance with its tariff requirements in Attachments X 
and S of the OATT to incorporate Transmission Owners’ local criteria into the Applicable 
Reliability Requirements and Applicable Reliability Standards that serve as the basis for the 
NYISO’s evaluation of the reliability impacts of proposed projects under the Minimum 
Interconnection Standard.16  As summarized in the NYISO’s Transmission Expansion and 
Interconnection Manual, “NYISO does not have its own reliability criteria for transmission 
studies, but rather NYISO recognizes and applies the applicable reliability criteria and standards 
of NERC, NPCC, NYSRC and the local Transmission District(s) for transmission expansion and 
interconnection studies.”17

The term “Applicable Reliability Requirements” was introduced in 2001 as part of the

NYISO’s creation of its rules to allocate the costs of new interconnection facilities in Attachment 
S of the OATT.18  The definition of the term has not substantively changed since 2001. 
Applicable Reliability Requirements, which describes the standards applicable to the Class Year

15 See id.

16 OATT, Attachment S, Section 25.6.2; OATT, Attachment X, Sections 30.6.2, 30.7.3.

17 See NYISO Transmission Expansion and Interconnection Manual, Manual 23, Version 2.0 (November 2012) at Section 4.1, available on the NYISO’s website at:

http://www.nyiso.com/public/webdocs/markets_operations/documents/Manuals_and_Guides/Manuals/Planning/tei_ 
mnl.pdf.

18 See New York Independent System Operator, Inc., Order Accepting Tariff Revisions Subject to

Modifications, 97 FERC ¶ 61,118 (2001) (accepting tariff revisions describing Applicable Reliability Requirements, 
including Transmission Owners’ criteria, in Attachment S, Section IV.F.1.a(i)); New York Independent System 
Operator, Inc., Order on Compliance Filing, 98 FERC ¶ 61,201 (2002) (accepting minor revisions to definition of 
Applicable Reliability Requirement that incorporate details of term from Attachment S, Section IV.F.1.a(i)).

6

Study, include “[t]he NYSRC Reliability Rules and other criteria, standards and procedures, as described in Section 25.6.1.1.1.1 of this Attachment S	 ”19  The standards are further defined

in Section 25.6.1.1.1 to include: “ NYSRC Reliability Rules, NPCC Basic Design and Operating Criteria, NERC Planning Standards, NYISO rules, practices and procedures, and the Connecting Transmission Owner criteria included in FERC Form No. 715 . . . in effect when the Annual Transmission Baseline Assessment is commenced.…”20

In Order No. 2003, the Commission separately adopted the term “Applicable Reliability Standard,” which is the standard that applies to the NYISO’s performance of the Interconnection Feasibility Study and the Interconnection System Reliability Impact Study.  The Commission accepted the NYISO’s independent entity variation to the definition of this term to incorporate each Transmission Owner’s requirements and guidelines applicable for its Transmission 
District.21  As currently defined, Applicable Reliability Standards are:

the requirements and guidelines of the Applicable Reliability

Councils, and the Transmission District, to which the Developer’s 
Large Facility is directly interconnected, as those requirements 
and guidelines are amended and modified and in effect from time 
to time; provided that no Party shall waive its right to challenge the 
applicability or validity of any requirement or guideline as applied 
to it in the context of the Large Facility Interconnection 
Procedures.22

19 See OATT, Attachment S, Section 25.1.2 (emphasis added).

20 See OATT, Attachment S, Section 25.6.1.1.1.1 (emphasis added).

21 New York Independent System Operator, Inc., Order Conditionally Accepting Large Generator

Interconnection Procedures and Large Generator Interconnection Agreement, 108 FERC ¶ 61,159 (2004) at PP 91-
96, Order Denying Rehearing and Granting Request for Clarification, 111 FERC ¶ 61,347 (2005) at PP 15-17.

22 See OATT, Attachment X, Section 30.1 (emphasis added).

7

Consistent with the requirements of the OATT and Commission guidance,23 the NYISO reviews Transmission Owners’ criteria, and if accepted, applies such criteria under the Minimum Interconnection Standard.  All such criteria are also filed by the NYISO as part of the annual FERC Form No. 715 filing (Annual Transmission Planning and Evaluation Report).  The NYISO most recently filed its annual FERC Form No. 715 on April 1, 2015.24

E. 	Local Reliability Issues Unique to Long Island

Long Island historically has had to address unique reliability issues with its transmission 
system both as a result of being an island and also due to the particular location on the island of 
load and generation resources.  Long Island has limited interconnectivity with the rest of the 
New York State Transmission System or other systems (i.e., New England or PJM).25  It, 
therefore, has limitations on the extent to which it can rely on other systems for external help to 
satisfy local reliability needs.26  In addition, most of Long Island’s load is concentrated on the 
western part of the island, while much of the generation resources, including approximately 500 
MW of quick-start gas turbine units (“GTs”) used for operating reserves required for Long Island 
by the NYISO, 27  are located in the central and eastern parts of the island.28  Due to the location

23 See New York Independent System Operator, Inc., Order Granting Clarification, 124 FERC ¶ 61,156 
(2008) at PP 9-10 (clarifying that a New York Transmission Owner’s local planning and design criteria can be an 
Applicable Reliability Requirement or Applicable Reliability Standard if reviewed by the NYISO and made public).

24 The FERC Form No. 715 report is available on the NYISO’s website at:

http://www.nyiso.com/public/markets_operations/services/planning/documents/index.jsp.

25 See Corey Affidavit at P 20.

26 See id.

27 The NYISO has addressed the unique characteristics of Long Island throughout its tariffs.  Due to its unique situation, Long Island (Zone K) is a Locality under the NYISO’s tariffs and, as such, has special 
requirements designed to meet reliability needs.  For example, the NYISO annually determines a Locational Minimum Installed Capacity Requirement (“LCR”) for Long Island, which is the minimum amount of capacity required to be electrically located on Long Island.  The location of capacity and the LCR are designed so that the system will meet the NPCC and NYSRC reliability criteria.

28 See Corey Affidavit at P 22.

8

of the generation resources on the island, the ability to transfer power and operating reserves

from east to west has been, and continues to be, of critical importance to satisfying the reliability 
needs of Long Island.29  In addition, the ability to transfer operating reserves from the GTs’ 
location in central and eastern Long Island to the west and to export it to New York City has 
historically been of critical importance to satisfying New York City reliability needs.30

F.	LIPA Deliverability Guideline

LIPA adopted certain “Generation Deliverability Criteria” in its LIPA’s Transmission & 
Distribution Planning Criteria & Guidelines dated September 20, 2010.31  LIPA also provided 
the NYISO with a guideline containing the detailed implementation of their criteria (“LIPA 
Deliverability Guideline”).  The NYISO reviewed the LIPA Deliverability Guideline and 
rejected its application as an Applicable Reliability Standard under the Minimum 
Interconnection Standard because, as drafted, the guideline was beyond the scope of the 
Minimum Interconnection Standard.  In particular, the LIPA Deliverability Guideline set forth 
requirements that would have to be satisfied for projects to participate in the NYISO-
administered Installed Capacity market.  The guideline would have redefined the NYISO’s 
Deliverability Interconnection Standard - a specific test set forth in Attachment S to the OATT 
that cannot be modified by Transmission Owners - and, as such, directly conflicted with 
Attachment S.

29 See id.

30 See id.

31 See Complaint at Exhibit 3 - LIPA, Transmission & Distribution Planning Criteria & Guidelines (Sept. 20, 2010).

9

G.	2015 LIPA Guideline

Following discussions with LIPA, it was evident to the NYISO that LIPA’s intent in

adopting the LIPA Deliverability Guideline was to address specific reliability concerns on Long 
Island, and that the problematic language of the LIPA Deliverability Guideline reflected 
confusion regarding certain elements of the NYISO’s interconnection process.  LIPA 
subsequently issued a revised guideline entitled, “Long Island Local Reliability Interface 
Transfer Capability Test to be Applied as Part of Interconnection Studies” (“2015 LIPA 
Guideline”).32

The purpose of the 2015 LIPA Guideline is to “ensure LIPA’s transmission system 
reliability and integrity is not jeopardized as a result of proposed resource additions and that 
LIPA internal interface transfer capabilities are maintained to support the system load on Long 
Island (Zone K), within certain constraints.”33  The analyses required under the guideline will 
identify system reinforcements necessary on LIPA’s system for a project to interconnect and to 
ensure LIPA’s internal interface transfer capabilities are maintained to support the system load.34 
The 2015 LIPA Guideline provides that any resource addition to the Long Island transmission 
system shall be tested as outlined in the guideline to ensure the reliability of the system is 
maintained.35  The guideline does not seek to alter or replace the NYISO’s Deliverability 
Interconnection Standard applied to resources seeking to become Installed Capacity Suppliers.

32 See Attachment 3, “Long Island Local Reliability Interface Transfer Capability Test to be Applied as Part 
of Interconnection Studies” (March 1, 2015) (“2015 LIPA Guideline”).  LIPA issued a draft that was dated February 
10, 2015, which was posted for and discussed at the February 17, 2015 TPAS, and then a final version that was 
dated March 1, 2015 was included in the 2015 FERC Form No. 715 filed by the NYISO and posted on the NYISO 
website.

33 See id. at 1.

34 See id. at 1-2.

35 See id.

10

The NYISO independently determined that the clear purpose of the 2015 LIPA

Guideline was to address reliability issues unique to Long Island.  The NYISO asked LIPA to

present the revised guideline to the Transmission Planning Advisory Subcommittee (“TPAS”) of 
the NYISO’s stakeholder Operating Committee.  LIPA did so on February 17, 2015.  The 
NYISO announced to stakeholders at that meeting that it accepted the 2015 LIPA Guideline as 
an Applicable Reliability Standard for SRIS’s that commence after the guideline becomes 
effective and as an Applicable Reliability Requirement for the Class Year 2015 Study.36  The 
NYISO filed the 2015 LIPA Guideline as part of the FERC Form No. 715 submitted on April 1, 
2015.37

III.	ANSWER

A.	The NYISO’s Determination that the 2015 LIPA Guideline Should Apply as

an Applicable Reliability Requirement in Class Year 2015 Is Consistent With its OATT and Commission Precedent

1. 	The 2015 LIPA Guideline is an Applicable Reliability Requirement 
	Caithness misconstrues the NYISO’s tariff requirements when it states that the 2015 LIPA Guideline conflicts with the NYISO’s tariff.  The NYISO’s OATT contemplates the existence and application of Transmission Owners’ criteria as Applicable Reliability 
Requirements and Applicable Reliability Standards.  In addition, the Commission has accepted 
the NYISO’s process for applying Transmission Owners’ criteria as an Applicable Reliability

36 See Complaint at Exhibit 8 - Transmission Planning Advisory Subcommittee, Meeting Minutes, at 1-2 (Feb. 17, 2015).

37 See supra at n. 24.

11

Requirement or an Applicable Reliability Standard when they have been reviewed and approved by the NYISO.38

The NYISO’s process for applying local reliability rules and Transmission District

specific criteria is a well-established and Commission-approved practice that pre-dates the

implementation of the NYISO’s pro forma interconnection procedures in response to Order No. 
2003.39  In developing its pro forma requirements in Order Nos. 2003 and 2006, the Commission 
explicitly recognized the importance of accommodating local reliability rules in its Order Nos. 
2003 and 2006.40  The Commission proceeded to accept the NYISO’s independent entity 
variation in its Order No. 2003 compliance filing concerning the NYISO’s continued application 
of Transmission Owners’ criteria in its interconnection process.41  The Commission further 
confirmed that Applicable Reliability Requirements and Applicable Reliability Standards include

38 See New York Independent System Operator, Inc., Order Granting Clarification, 124 FERC ¶ 61,156 
(2008) at PP 9-10 (clarifying that a New York Transmission Owner’s local planning and design criteria can be an 
Applicable Reliability Requirement or Applicable Reliability Standard if reviewed by the NYISO and made public); 
see also New York Independent System Operator, Inc., et al., Order Denying Rehearing and Granting Request for 
Clarification, 111 FERC ¶ 61,347 (2005) at P 17 (clarifying that Applicable Reliability Standards must be approved 
by the NYISO).

39 Con Edison Company of New York, Inc., Order Accepting Interconnection Agreement for Filing, 107 FERC ¶ 61,103 (2003) at PP 9-10 (rejecting developer’s request to remove local reliability rule requirements from interconnection agreement, noting that “conformance with local reliability rules is important to ensure reliable 
delivery of electric energy.”).

40 The Commission stated in Order No. 2003: “Because we intend to supplement rather than supplant the work that regional reliability groups already have undertaken regarding interconnection, we are permitting a 
Transmission Provider, on compliance, to offer variations based on existing regional reliability requirements.” Order No. 2003 at P 823.  The Commission echoed this sentiment in Order No. 2006, wherein in recognized, “[t]he 
Commission has consistently held that an Interconnection Customer must adhere to established reliability practices within the control area with which it is interconnecting.” Standardization of Small Generator Interconnection 
Agreements and Procedures, Order No. 2006, 111 FERC ¶ 61,220 (2005) at P 208.

41 New York Independent System Operator, Inc., Order Conditionally Accepting Large Generator

Interconnection Procedures and Large Generator Interconnection Agreement, 108 FERC ¶ 61,159 (2004) at PP 91-
96, Order Denying Rehearing and Granting Request for Clarification, 111 FERC ¶ 61,347 (2005) at PP 15-17.

12

both local reliability rules adopted by NYSRC and Transmission Owners’ local criteria reviewed and approved by the NYISO.42

In this instance, the NYISO properly reviewed the 2015 LIPA Guideline and approved 
the criterion as an appropriate Applicable Reliability Requirement under the Minimum 
Interconnection Standard after determining that it was required to address reliability issues on 
Long Island.  In addition, consistent with the requirements for an Applicable Reliability 
Requirement under Attachment S of the OATT, the NYISO included the 2015 LIPA Guideline 
in its most recently filed annual FERC Form No. 715 on April 1, 2015.  The 2015 LIPA 
Guideline has, therefore, satisfied the requirements for an Applicable Reliability Requirement. 
	The implication inherent in Caithness’s Complaint is that a Transmission Owner’s 
criterion is in conflict with the OATT and cannot be applied as an Applicable Reliability 
Requirement if it is more stringent than NERC, NPCC, or NYSRC standards.  There is, however, 
no prohibition on a Transmission Owner’s criterion being more stringent than the other 
reliability standards listed in the definitions of Applicable Reliability Requirements and 
Applicable Reliability Standards.  The language concerning Transmission Owners’ criteria was 
included in the definitions of these terms because there are different and, potentially, more 
stringent local criteria that a developer must satisfy to ensure reliability based on the differing 
design and conditions of the system in each Transmission District.43

42 See supra at n. 38.

43 The NERC, NPCC, NYSRC and local Transmission Owner criteria are hierarchical and supplemental in nature in that: the NPCC criteria recognizes the NERC criteria, but includes regional criteria that are more stringent or more specific than the NERC criteria; the NYSRC and NYISO criteria recognizes NERC and NPCC criteria, but includes criteria that are more stringent or more specific than the NERC and NPCC criteria; and the local 
Transmission Owner criteria recognizes the other criteria, but includes criteria that are more stringent or more 
specific than the other criteria.  See Corey Affidavit at P 15 n. 6.

13

NERC, NPCC, and NYSRC criteria only apply to the (NERC) Bulk Electric System, the 
(NPCC) Bulk Power System, and/or transmission facilities under NYISO operational control, 
and do not apply to local “non-bulk” portions of the interconnected electric power systems.44 
For that reason, only Transmission Owners’ criteria apply to certain facilities that are not 
covered by the other, higher level criteria.45  The inclusion of these criteria in the NYISO’s 
interconnection studies is critical in determining whether a proposed facility will have any 
adverse impact on reliability.  Indeed, these criteria may be the only applicable reliability criteria 
related specifically to the local system.  If Transmission Owners’ criteria, such as the 2015 LIPA 
Guideline, were not incorporated into the NYISO’s interconnection studies as Applicable 
Reliability Requirements and addressed under the NYISO’s interconnection studies, it is not 
clear how reliability issues, such as those identified on Long Island, would be addressed. 
	Accordingly, the NYISO’s properly determined that the 2015 LIPA Guideline is an 
Applicable Reliability Requirement and must be applied as part of the Minimum Interconnection 
Standard evaluation in the Class Year 2015 Study.  The NYISO must, therefore, apply the 2015 
LIPA Guideline as required by Attachment S of the OATT.46

2. 	The 2015 LIPA Guideline Appropriately Addresses Reliability Needs

under the Minimum Interconnection Standard

Caithness contends that the 2015 LIPA Guideline improperly incorporates a deliverability test.47  Caithness argues that the guideline violates the NYISO’s Minimum Interconnection

44 See id. at P 15.

45 See id.

46 See OATT Attachment S, Section 25.6.2, which provides that “[t]he Annual Transmission Reliability 
Assessment will be conducted by NYISO staff to ensure New York State Transmission System compliance with 
Applicable Reliability Requirements.”  The Annual Transmission Reliability Assessment (“ATRA”) is the part of 
the Class Year Study that determines the System Upgrade Facilities required for each project to reliably interconnect to the New York State Transmission System under the Minimum Interconnection Standard in compliance with 
Applicable Reliability Requirements.

14

Standard by impermissibly imposing a deliverability test or requirement that could result in the identification of additional System Upgrade Facilities needed for ERIS.48  Caithness insists that applying the 2015 LIPA Guideline under the Minimum Interconnection Standard would also violate Commission policy by rendering meaningless Order No. 2003’s requirement to have two forms of interconnection service.49

The Commission should reject these arguments.  The 2015 LIPA Guideline must be

applied under the Minimum Interconnection Standard as it is clearly designed to address specific 
reliability issues unique to Long Island.  A Transmission Owner’s criterion that addresses a 
reliability issue is not prohibited from being applied as part of the Minimum Interconnection 
Standard simply because it shares similarities with certain deliverability analyses or may result in 
the identification of System Upgrade Facilities that have an incidental impact on deliverability. 
In addition, the NYISO’s application in the Class Year 2015 Study of the 2015 LIPA Guideline 
to evaluate projects’ reliable interconnection in Long Island under the Minimum Interconnection 
Standard does not in any way supplant or displace the NYISO’s distinct and separate evaluation 
for purpose of CRIS of projects’ deliverability under the NYISO’s Deliverability Interconnection 
Standard.

a.	The 2015 LIPA Guideline addresses

reliability concerns unique to Long Island

The 2015 LIPA Guideline is a reliability-based criterion intended to address reliability 
concerns unique to the Long Island transmission system and is appropriately classified as an

47 See Complaint at 13.

48 See id.

49 See id.

15

Applicable Reliability Requirement and Applicable Reliability Standard under the OATT.50  The 2015 LIPA Guideline is a “local Transmission District (i.e., Connecting Transmission Owner) reliability criterion.”51  As explained in the guideline, “[LIPA] considers preservation of the 
transfer capability of LIPA’s internal interfaces to be essential to ensure the reliability and 
integrity of the LIPA transmission system.”52  The guideline further explains:

The purpose of this testing requirement is to ensure LIPA’s

transmission’s system reliability and integrity is not jeopardized as 
a result of proposed resource additions and that LIPA internal 
interface transfer capabilities are maintained to support the system 
load on Long Island (Zone K), within certain constraints. The 
criterion will be used to assess proposed generation, merchant 
transmission or other power resources interconnecting to the Long 
Island Power Authority’s (LIPA’s) electric transmission 
system.…53

The analyses required under the 2015 LIPA Guideline will identify system reinforcements necessary on the LIPA system for a project to interconnect while ensuring LIPA’s internal interface transfer capabilities are maintained to support the system load.54

As described above, LIPA faces unique reliability concerns with the Long Island

transmission system: (i) as a result of Long Island being an island that has limited

interconnectivity with external resources, and (ii) also due to the particular location on Long

Island of load and generation resources that limit the ability to transfer power and operating

reserves from generation resources to where it is required to assist in ensuring reliability both on and off of Long Island.

50 See Corey Affidavit at P 17.

51 See 2015 LIPA Guideline at 1.

52 See id. at 1.

53 See id. at 1-2.

54 See id. at 2.

16

This is particularly true with respect to the local Long Island transmission interface

known as the “Holbrook interface,” behind (or east) of which are about 500 MW of quick-start 
GTs needed for operating reserves on Long Island.55  The 2015 LIPA Guideline is intended to 
address in particular the potential adverse impact that a new generating resource could have if it 
degraded LIPA’s ability to transfer power and operating reserves from east to west via the 
portion of the Long Island transmission system critical to local transmission system operating 
reliability.  As described above, this capability has been, and continues to be, of critical 
importance to meeting reliability needs both on and off of Long Island.56  The ability to transfer 
operating reserves located in central and eastern Long Island to the west and export it to New 
York City has historically been of critical importance to meeting Long Island and New York 
City reliability needs.57

Long Island reliability concerns specific to generation interconnected and interconnecting 
east of the Holbrook interface, relative to internal transmission limitations, cannot be addressed 
under the NYISO’s normal operating procedures - i.e., through the NYISO's security constrained 
unit commitment and dispatch process.  The NYISO does not secure transmission elements east 
of the Holbrook interface because the limiting constraints involve the impact of the contingency 
loss of local 138 kV facilities upon local 69 kV system facilities which are not secured by the

NYISO.58  Adverse reliability impacts due to internal transmission limitations on Long Island 
east of the Holbrook interface cannot be mitigated by the NYISO’s operating procedures.59

55 See Corey Affidavit at PP 22-23.

56 See id. at P 22.

57 See id. at P 22.

58 See id. at P 23.

59 See id. at P 23.

17

Therefore, if LIPA is unable to manage through its normal operating procedures adverse reliability impacts that would arise from the interconnection of new generation behind the constrained Holbrook interface, System Upgrade Facilities are necessary to address those reliability impacts.60

b.	The purpose of the 2015 LIPA Guideline is to

Identify System Upgrade Facilities Required to 
Reliably Interconnect Projects on Long Island

The NYISO tariff does not preclude the application of Transmission Owners’ criteria

necessary to ensure reliability under the Minimum Interconnection Standard simply because the 
criteria share similarities with certain deliverability analyses or may result in the identification of 
System Upgrade Facilities that may incidentally impact deliverability.  Instead of providing any 
substantive support that would call into question the legitimacy of the reliability issues identified 
by LIPA, Caithness focuses on the term deliverability.  Caithness essentially argues that any 
reliability standard that shares assumptions or analysis with any type of “deliverability” standard 
cannot be applied under the Minimum Interconnection Standard.  The Commission should reject 
this oversimplification.

There are necessarily some elements of deliverability within the reliability standards 
applicable under the Minimum Interconnection Standard.  The concept of deliverability in the 
context of transmission transfer capability has existed as part of reliability standards used in 
power system reliability evaluations for many years - well before the implementation of the 
NYISO’s Deliverability Interconnection Standard in 2008, which is a very specific adaptation of 
the general concept of deliverability.”61  By way of example, the definition of “Reliability” under

60 See id. at P 22.

61 See Corey Affidavit at P 10.

18

NPCC Directory 1 is “[t]he degree of performance of the bulk electric system that results in

electricity being delivered to customers within accepted standards and in the amount desired

[that] can be addressed by considering two basic and functional aspects of the electric system — Adequacy and Security.”62  “Adequacy” is defined by NPCC Directory 1 as “[t]he ability of the 
electric system to supply the aggregate electrical demand and energy requirements of the 
customers at all times, taking into account scheduled and reasonably expected unscheduled 
outages of system elements.”63  The concept of “Adequacy” used in NPCC Directory 1 might be categorized as a “deliverability” standard, but its purpose is clearly to maintain system reliability. 
	The purpose of upgrades identified under the Minimum Interconnection Standard is not to improve the delivery of power across, and the operating flexibility of, the transmission system, or to reduce congestion.64  The purpose of the Minimum Interconnection Standard upgrades is to address adverse electrical impacts that in the worst case may result in disconnection of load. 
However, upgrades required for reliability may indeed have the incidental effect of improving 
the deliverability of power or reducing congestion.65

This may occur in situations where the indicated power flow issues cannot be managed 
under the NYISO’s or Connecting Transmission Owner’s normal operating procedures.66  An 
example of such a situation was seen in the NYISO’s Class Year Studies for 2011 and 2012 in 
which a project proposing to interconnect to a 345 kV tie-line between the New York and New 
England systems triggered adverse power flow impacts that could not be managed by the NYISO

62 NPCC Directory 1 (emphasis added), available at:

https://www.npcc.org/Standards/Directories/Forms/Public%20List.aspx.

63 See id.

64 See Corey Affidavit at P 11.

65 See id.

66 See id.

19

or the Connecting Transmission Owner under normal operating procedures.67  As a result, the

NYISO identified the need for System Upgrade Facilities to mitigate the indicated adverse power flow impacts caused by the project.68  Those System Upgrade Facilities were determined to be required for reliability purposes under the Minimum Interconnection Standard, even though they had the incidental effect of improving the deliverability of power, retaining flexibility in system operations, and reducing congestion.69

Upgrades identified under the Minimum Interconnection Standard that have the

incidental effect of improving deliverability do not transform the standards that identified them into “deliverability requirements.”  The 2015 LIPA Guideline has the limited purpose of seeking to prevent new generation from degrading LIPA’s internal interface transfer capabilities, which are critical to supporting the system load on Long Island.70  An interconnection guideline that is intended to protect a Transmission Owner’s ability to continue to reliably serve load is not a 
“deliverability” requirement, even if it uses some assumptions or analyses that are also 
considered under a “deliverability” evaluation.

c.	Comparisons to the Rejected LIPA Deliverability

Guideline Do Not Alter the Reliability Purpose of the 2015 LIPA Guideline

Caithness makes much of the fact that LIPA proposed a previous guideline - the LIPA 
Deliverability Guideline - that, if it had been accepted by the NYISO, would have conflated the 
NYISO’s reliability and capacity requirements.  Importantly, however, the NYISO did not accept 
and is not proposing to apply the LIPA Deliverability Guideline.  The NYISO reviewed the

67 See id.

68 See id.

69 See id.

70 See 2015 LIPA Guideline at 1-2.

20

proposed LIPA Deliverability Guideline and determined that it was not appropriate to

incorporate that guideline to the Minimum Interconnection Standard.  The NYISO reached this 
conclusion because, as drafted, the proposed guideline would have modified the NYISO’s 
Deliverability Interconnection Standard, which is the standard applicable to resources seeking 
CRIS.  The NYISO’s tariff provides no mechanism for Transmission Owners to make such a 
modification.

Caithness insists that the LIPA Deliverability Guideline rejected by the NYISO was

substantively identical or materially similar to the 2015 LIPA Guideline, implying that the only real difference between the two documents is the replacement of the term “deliverability” with “reliability.”71  In fact, the 2015 LIPA Guideline is materially different from the LIPA 
Deliverability Guideline rejected by the NYISO.72  After rejecting the application of the LIPA Deliverability Guideline, the NYISO worked with LIPA to understand its legitimate reliability concerns regarding the Long Island transmission system that the LIPA Deliverability Guideline was intended to address.  LIPA subsequently modified its guideline in a way that specifically 
addressed the issues identified by the NYISO that had caused the NYISO to reject it.  In 
particular, LIPA eliminated the portion of the guideline that described it as a requirement for 
projects seeking CRIS and to participate in the NYISO-administered Installed Capacity market. The NYISO reviewed the final 2015 LIPA Guideline and determined that, as revised and 
supported by LIPA, it was appropriately a reliability criterion.

Contrary to Caithness’s assertion, the NYISO’s determination to apply the 2015 LIPA 
Guideline to projects proposing to interconnect to the Long Island transmission system does not

71 See Complaint at 11-12, 24-27.

72 See Corey Affidavit at P 18.

21

violate Order No. 2003’s dictate to create two levels of interconnection service.  Caithness’s

insistence that the NYISO’s application of the 2015 LIPA Guideline will essentially conflate the requirements for evaluating ERIS and CRIS mischaracterizes the purpose and application of the 2015 LIPA Guideline.  The NYISO’s application in the Class Year 2015 Study of the 2015 LIPA Guideline to evaluate projects’ reliable interconnection in Long Island under the Minimum 
Interconnection Standard for purposes of ERIS will not in any way supplant or displace the 
NYISO’s distinct and separate evaluation for purposes of CRIS of projects’ deliverability under the NYISO’s Deliverability Interconnection Standard.  The fact that significant System Upgrade Facilities might be required under the Minimum Interconnection Standard for a developer to 
obtain ERIS does not support a conclusion that there are not two levels of interconnection 
services.  The NYISO will separately perform an evaluation under its Deliverability 
Interconnection Standard and identify whether projects requesting CRIS are deliverable under 
this standard or will require System Deliverability Upgrades.

B.	NYISO Supports Expedited Commission Action as the Class Year 2015

Study Is Underway

The NYISO supports Caithness’s request for expedited treatment and a Commission Order as soon as possible.  The Class Year 2015 Study has now been underway for nearly five months.  An expedited Commission order will assist in mitigating potential delays in the Class Year 2015 Study that could arise as a result of the order and would minimize the potential adverse impacts on other Class Year members.

IV. 	COMPLIANCE WITH COMMISSION RULE 213(c)(2)(i)

Attachment 1 to this Answer addresses the formal requirements of Commission Rule 213(c)(2) in order to ensure the NYISO’s compliance with them.

22

V.	SUPPORTING ATTACHMENTS

The NYISO attaches the following documents in support of the facts of this answer:

•   Attachment 1 - Compliance with Commission Rule 213(c)(2)

•   Attachment 2 - Affidavit of Steven L. Corey

•   Attachment 3 - Long Island Local Reliability Interface Transfer Capability Test to be 
	Applied as Part of Interconnection Studies” (March 1, 2015).

VII.   CONCLUSION

WHEREFORE, for the foregoing reasons, the New York Independent System Operator, Inc. (“NYISO”), respectfully requests that the Commission deny the Complaint and the relief sought by Caithness.

Respectfully submitted,

/s/ Sara B. Keegan

Counsel for

the New York Independent System Operator, Inc.

August 10, 2015

23

CERTIFICATE OF SERVICE

I hereby certify that I have this day served the foregoing document upon each person

designated on the official service list compiled by the Secretary in this proceeding in accordance with the requirements of Rule 2010 of the Rules of Practice and Procedure, 18 C.F.R. §385.2010. 
	Dated at Rensselaer, NY this 10th day of August, 2015.

/s/ Joy A. Zimberlin

Joy A. Zimberlin

New York Independent System Operator, Inc.

10 Krey Blvd.

Rensselaer, NY 12144 (518) 356-6207

Attachment 1

Compliance with Commission Rule 213(c)(2)

A. 	Specific Admissions and Denials of Material Allegations

The answer of the New York Independent System Operator (“NYISO”) in this

proceeding addresses each material allegation raised by Caithness Long Island II, LLC

(“Caithness”).  In its Complaint, Caithness also includes a list of thirty-four statements, many of 
which go to minor factual details and cannot possibly be considered material allegations.  The 
NYISO is not required under Commission Rule 213(c)(2)(i) to address each of these statements. 
However, for the Commission’s convenience, the NYISO supplements its answer by submitting 
this specific list of admissions, denials, and defenses.  In addition to its statements in its answer, 
the NYISO admits or denies the factual allegations in the Caithness’s Complaint, as specified 
below.1  To the extent that any fact or allegation in the Complaint is not specifically admitted in

its answer or below, it is denied.  Except as specifically stated in its answer or below, the NYISO does not admit any facts in the form or manner stated in the Complaint.  Denials of allegations made in the text of the Complaint should be understood as encompassing all related allegations and assertions in, and regarding, the attachments accompanying the Complaint.

1.	Denials

•	The NYISO has insufficient information on which to form a belief as to the truth or

accuracy of the allegations regarding the Long Island Power Authority (“LIPA”)

competitive solicitation process set forth in the Complaint and therefore denies such

allegations.	(Complaint at 5).

•	The NYISO denies all allegations and characterizations that the NYISO has violated its

Open Access Transmission Tariff (“OATT” or “Tariff”) interconnection requirements. (Complaint at 1-2, 4, 21, 28-31).

• 	The NYISO denies all allegations and characterizations that the “Long Island Local

Reliability Interface Transfer Capability Test to be Applied as Part of Interconnection Studies” dated March 1, 2015 (“2015 LIPA Guideline”) is in direct conflict with or violates the NYISO OATT. (Complaint at 2, 3, 12, 31-33).

• 	The NYISO denies all allegations and characterizations that the application of the 2015

LIPA Guideline in the NYISO’s interconnection process violates Order No. 2003’s

requirement related to two levels of interconnection service. (Complaint at 3, 4, 12, 13-
14, 38-39).

• 	The NYISO denies all allegations and characterizations that the application of the 2015

LIPA Guideline in the NYISO’s interconnection process permits a Transmission Owner

1 Commission Rule 213(c)(2) provides that “the answerer must, to the extent practicable:

(i) Admit or deny, specifically and in detail, each material allegation of the pleading answered; and (ii) Set forth every defense relied on.”  18 C.F.R. § 385.213(c)(2).

to unilaterally adopt a rule that conflicts with NYISO Tariff provisions.  (Complaint at 3, 4, 37-40).

• 	The NYISO denies all allegations and characterizations that in December 2014 it

rejected the application of a guideline substantively or materially identical to the 2015 LIPA Guideline.  (Complaint at 3, 10, 25-26).

•	The NYISO denies all allegations and characterizations that the NYISO or the NYISO’s

Operating Committee rejected the LIPA Deliverability Guideline “because it applied a

deliverability test.”	(Complaint at 25).

•	The NYISO has insufficient information on which to form a belief as to the truth or

accuracy of the allegations set forth in the Complaint regarding LIPA’s or PSEG-Long 
Island’s application of tests similar to either the LIPA Deliverability Guideline or the 
2015 LIPA Guideline since the NYISO implemented the Deliverability Interconnection 
Standard in 2008, and therefore denies such allegations. (Complaint at 10-11).

• 	The NYISO denies that the NYISO, under normal operating conditions, dispatches

down generating resources east of the Holbrook interface on Long Island to stay within thermal limits of transmission facilities east of Holbrook, to avoid system overloads and to operate the system reliably.  (Complaint at 47).

•	The NYISO has insufficient information on which to form a belief as to the truth or

accuracy of the allegations set forth in the Complaint regarding PSEG Long Island’s re-

dispatch capability or practices with regard to resources east of Holbrook, and therefore

denies such allegations.  (Complaint at 47).

2.	Admissions

•	The NYISO admits that it commenced operation in November of 1999 and is the

operator of the New York State Transmission System and the administrator of the wholesale electricity markets in New York. (Complaint at 5, 10).

• 	The NYISO admits that it administers the NYISO Large Facility Interconnection

Procedures contained in Attachment X of the NYISO OATT. (Complaint at 5, 10).

• 	The NYISO admits that Caithness is the developer of a proposed generating facility

seeking to interconnect in the Town of Brookhaven, New York that is being studied as part of the NYISO‘s Class Year 2015 Interconnection Facilities Study (“Class Year 2015 Study”). (Complaint at 2, 5).

• 	The NYISO admits that pursuant to its OATT, the NYISO groups Developers by Class

Year for purposes of conducting the Class Year Interconnection Facilities Study to

determine the upgrades, including System Upgrade Facilities (or “SUFs”), required for to reliably interconnect proposed projects.  (Complaint at 2).

2

•	The NYISO admits that in the Class Year Study, it uses the Annual Transmission

Baseline Assessment (“ATBA”), as the base case against which to analyze the impacts of the Class Year projects, and that the ATBA includes all existing capacity resources with CRIS rights (Complaint at 22).

• 	The NYISO admits that Caithness satisfied the requirements for joining and has joined

the Class Year 2015 Study, and that its project is currently being evaluated as part of the Class Year 2015 Study. (Complaint at 2).

• 	The NYISO admits that it revised its OATT, in compliance with Order No. 2003, to add

a second level of interconnection service (i.e., Capacity Resource Interconnection

Service) that incorporates a deliverability component. (Complaint at 6-7, 10, 16-18).

• 	The NYISO admits that its OATT contains both Energy Resource Interconnection

Service, which provides a basic level of interconnection service, and Capacity Resource Interconnection Service, which provides interconnection customers with the ability to participate in the NYISO-administered Installed Capacity (“ICAP”) market to the extent of its deliverable capacity. (Complaint at 7).

• 	The NYISO admits that resources that opt for Energy Resource Interconnection Service

only, and not Capacity Resource Interconnection Service, need only satisfy the Minimum Interconnection Standard (or “MIS”) and not the Deliverability 
Interconnection Standard. (Complaint at 7, 13).

• 	The NYISO admits that the Minimum Interconnection Standard is distinguishable from

the Deliverability Interconnection Standard. (Complaint at 19).

• 	The NYISO admits that System Deliverability Upgrades required for CRIS are

identified by application of the deliverability test contained in the Deliverability

Interconnection Standard set forth in Attachment S of the OATT.  (Complaint at 7, 13, 
19).

• 	The NYISO admits that “NYCA Deliverability” is defined as the NYCA transmission

system being “able to deliver the aggregate of NYCA capacity resources to the aggregate of the NYCA load under summer peak load conditions” and that this is accomplished through ensuring the deliverability of new facilities in the Capacity Region where they propose to interconnect.  (Complaint at 18-19).

• 	The NYISO admits that one of the elements of the NYISO Deliverability

Interconnection Standard is that the NYISO places all generation resources with CRIS 
rights in service and uses a levelized generation dispatch in each Capacity Region. 
Levelization dispatch is achieved by scaling generation (up or down) proportionally, in 
each Capacity Region to match the demand. This “levelized dispatch” process results in 
all generation within each Capacity Region being at a uniform percentage of Pmax 
(Pmax represents a CRIS value derated by equivalent forced outage rates.)  (Complaint 
at 19, 46).

3

•	The NYISO admits that in the SRIS it identifies System Upgrade Facilities that are

“required for the proposed project to connect reliably to the system in a manner that meets the NYISO Minimum Interconnection Standard.”  (Complaint at 41).

• 	The NYISO admits that the definition of Minimum Interconnection Standard includes

the following language “The Standard does not impose any deliverability test or 
deliverability requirement on the proposed project.” (Complaint at 3, 8, 13, 41).

• 	The NYISO admits that under the Minimum Interconnection Standard, in order to

address reliability violations, among other methods, the NYISO will use normal

operating procedures of the NYISO and the Connecting Transmission Owner, including re-dispatch, to the extent possible. (Complaint at 8, 14, 19, 46).

•	The NYISO admits that the 2015 LIPA Guideline dispatch assumptions are unique to

the 2015 LIPA Guideline. (Complaint at 15).

• 	The NYISIO admits that as part of the NYISO Large Facility Interconnection Process

set forth in Attachment X, the NYISO performs the following tasks:  analyzes

Interconnection Requests; performs Interconnection System Reliability Impact Studies to assess whether and how a facility may be interconnected to the transmission system in a reliable manner under the NYISO Minimum Interconnection Standard; identifies the System Upgrade Facilities necessary to satisfy the Minimum Interconnection 
Standard; performs a Class Year Interconnection Facilities Study in which it groups 
eligible projects; as part of the Class Year Study, applies a Minimum Interconnection Standard evaluation to identify any System Upgrade Facilities not already identified in the System Reliability Impact Study; as part of the Class Year Study, applies the 
NYISO Deliverability Interconnection Standard to identify any System Deliverability Upgrades necessary for the proposed interconnecting projects to receive Capacity 
Resource Interconnection Service. (Complaint at 8).

• 	The NYISO admits that it provided a draft SRIS report for the Caithness Project to

Caithness on May 13, 2014, that such report included an analysis performed by PSEG Long Island, applying the LIPA Deliverability Guideline, and that such analysis 
identified several System Upgrade Facilities which costs were to be assigned to 
Caithness. (Complaint at 9, 40).

•	The NYISO admits that by letter dated June 5, 2014 to the NYISO, a representative of

Caithness objected to the inclusion of the alleged System Upgrade Facilities identified

by applying the LIPA Deliverability Guideline and that Caithness continued to object to

the identification of System Upgrade Facility triggered by evaluations under the LIPA

Deliverability Guideline.	(Complaint at 41, 42).

•	The NYISO admits that it objected to application of the LIPA Deliverability Guideline

because as written it attempted to modify standards applicable to resources requesting CRIS, and that the NYISO stated at the December 3, 2014 TPAS meeting that the LIPA Deliverability Guideline was not an appropriate guideline, as written, to apply under the Minimum Interconnection Standard. (Complaint at 9, 41, 42).

4

• 	The NYISO admits that the LIPA Deliverability Guideline includes the language quoted

at pp. 46-47 of the Complaint. (Complaint at 46-47).

• 	The NYISO admits that several NYISO representatives held discussions with LIPA and

PSEG Long Island representatives, that did not include Caithness representatives,

concerning the NYISO’s objections to the LIPA Deliverability Guideline and to attempt to clarify PSEG-Long Island’s intent with the guideline. (Complaint at 41-42, 43).

• 	The NYISO admits that in the SRIS scope and report for the Caithness Project that was

approved by the NYISO Operating Committee, the reference to the LIPA Deliverability 
Guideline was removed at the NYISO’s recommendation. (Complaint at 9-10, 42, 43).

• 	The NYISO admits that at the December 11, 2014 Operating Committee meeting, a

Caithness representative stated that Caithness wanted to work cooperatively with the NYISO and PSEG Long Island to determine whether any parts of the LIPA 
Deliverability Guideline contained reliability criteria that could apply, consistent with the NYISO Minimum Interconnection Standard, for the identification of System 
Upgrade Facilities in the Class Year 2015 Study. (Complaint at 42-43).

• 	The NYISO admits that in a February 17, 2015 NYISO subcommittee meeting, PSEG

Long Island presented the 2015 LIPA Guideline and the NYISO indicated that the

guideline was not subject to stakeholder approval, but that the NYISO had reviewed and accepted it and that it would be applied to the Class Year 2015 Study as an Applicable Reliability Requirement that may trigger System Upgrade Facilities for Class Year 2015 projects proposing to interconnect on Long Island, including Caithness. (Complaint at 2-
3, 6, 10, 11-12, 43, 44, 45).

• 	The NYISO admits that in the February 17, 2015 TPAS meeting, PSEG-Long Island

represented that the evaluations included in the 2015 LIPA Guideline had been applied for over a decade. (Complaint at 10).

• 	The NYISO admits that at the February 17, 2015 TPAS meeting, several market

participants’ representatives, including Caithness’s representative, objected to the

application of the 2015 LIPA Guideline under the Minimum Interconnection Standard and requested a follow up presentation that PSEG-Long Island agreed to consider. (Complaint at 44, 45).

• 	The NYISO admits that at the February 17, 2015 TPAS meeting, a Caithness

representative read the statement quoted on pp. 44-45 of the Complaint into the record. (Complaint at 44-45).

• 	The NYISO admits that the follow up presentation requested from PSEG-Long Island at

the February 17, 2015 was not provided.  (Complaint at 45).

• 	The NYISO admits that it is applying the 2015 LIPA Guideline in the Class Year 2015

Study because it is both an Applicable Reliability Standard and an Applicable

5

Reliability Requirement, which was effective and filed with the FERC Form No. 715 
prior to commencement of the Class Year 2015 ATBA.  (Complaint at 33-34, 45, 47).

• 	The NYISO admits that the 2015 LIPA Guideline states that it is to be applied in

NYISO SRISs and Class Year Facilities Studies and that “[u]pgrades identified through 
application of this local reliability criterion shall be considered [System Upgrade 
Facilities] under the NYISO MIS” and that “[b]ased on the location of the Project, all 
other resources within a specific Long Island region(s) will be dispatched at a level that 
reflects the forced outage rates” and that the purpose of the guideline is ‘to assure no 
bottling and that all resources can reliably serve the system load…to allow the output of 
all resources in one load center to be transferred to the adjacent load center.’” 
(Complaint at 11, 45-46, 47).

• 	The NYISO admits that the 2015 LIPA Guideline does not use the word “deliverability”

and does not state that it applies to capacity resources seeking to interconnect on Long Island, both of which statements appeared in the LIPA Deliverability Guideline. 
(Complaint at 11).

• 	The NYISO admits that it applies the NYISO Deliverability Interconnection Standard to

identify upgrades necessary for Capacity Resource Interconnection Service - such upgrades are known as System Deliverability Upgrades under the NYISO Tariff. (Complaint at 46).

• 	The NYISO admits that the NYISO, under normal operating conditions, may dispatch

down generating resources west of the Holbrook interface to stay within thermal limits of transmission facilities east of Holbrook, to avoid system overloads and to operate the system reliably.  (Complaint at 47).

B.	Defenses

In accordance with Commission Rule 213(c)(2)(ii), the NYISO sets forth the following defenses.

•   Complainant has failed to meet its burden of proof under section 206 of the FPA, and 
	Commission Rule 206.

•   Complainant has failed to show that the NYISO did not comply with its tariffs when it 
	recognized the 2015 LIPA Guideline as an Applicable Reliability Requirement under 
	Attachment S of the NYISO OATT.

•   Complainant has failed to show that the NYISO’s application of the 2015 LIPA

Guideline to the Class Year 2015 Study is a violation of the NYISO’s OATT or Order No. 2003.

6

C.	Proposed Resolution Process

Commission Rule 213(c)(4) states that an answer “is also required to describe the formal or consensual process it proposes for resolving the complaint.”  In compliance with that 
requirement, the NYISO requests that the Complaint be dismissed based solely on the pleadings in this proceeding.

7

Attachment 2

UNITED STATES OF AMERICA 
	BEFORE THE

FEDERAL ENERGY REGULATORY COMMISSION

Caithness Long Island II, LLC	)

)

Complainant,	)

)

v.	)

)

New York Independent System Operator, Inc.	)

)

Respondent	)

AFFIDAVIT OF 
STEVEN L. COREY

Mr. Steven L. Corey declares:

Docket No. EL15-84-000

1.  I have personal knowledge of the facts and opinions herein and if called to testify 
	could and would testify competently hereto.

A. Purpose of this Affidavit

2.  The purpose of this Affidavit is to describe the NYISO’s Minimum Interconnection 
	Standard and explain why it is appropriate for the 2015 LIPA Guideline to be applied 
	under the Minimum Interconnection Standard in the NYISO’s interconnection studies, 
	including the Class Year 2015 Facilities Study, for proposed interconnections to the 
	Long Island electric power system.1

B. Qualifications

3.  My name is Steven Corey, and I am the Manager of Interconnection Projects for the 
	NYISO.  In this position I am responsible for overseeing the NYISO’s administration

1 Capitalized terms not defined in this Affidavit shall have the meaning set forth in Attachments X and S of the NYISO Open Access Transmission Tariff, and if not therein, in Section 1 of the OATT or Section 2 of the NYISO Market Administration and Control Area Services Tariff.

1

of Interconnection Requests and the performance of all interconnection studies.  In this capacity, I am responsible for overseeing the NYISO’s administration of Attachments S, X and Z of the NYISO’s Open Access Transmission Tariff (“OATT”), including 
the application of the Minimum Interconnection Standard to projects in the NYISO’s interconnection queue.

4.  I joined the NYISO when it was formed in 1999.  From December 1999 until

November 2005, I was the Manager of Transmission Planning for the NYISO.  In November 2005, I became the Manager, Interconnection Projects and have held that position for nine years and eight months.

5.  Prior to the NYISO, I was employed for nearly 26 years by the New York Power Pool, 
	where, among other positions, I served as Manager of Transmission Planning before 
	the transition to the NYISO.  I received a Bachelor of Science degree in Electrical 
	Engineering from Clarkson College of Technology (now Clarkson University) and a 
	Master of Engineering degree in Electrical Engineering, also from Clarkson 
	University.

C. The NYISO Minimum Interconnection Standard

6.  The NYISO Minimum Interconnection Standard is defined in the NYISO OATT as:

the reliability standard that must be met by any Large

Generating Facility, or a Merchant Transmission Facility,

proposing to connect to the New York State Transmission

System or to the Distribution System.  The Standard is designed 
to ensure reliable access by the proposed project to the New 
York State Transmission System or to the Distribution System, 
as applicable.  The Standard does not impose any deliverability

2

test or deliverability requirement on the proposed interconnection.2

7. 	Every Large Facility subject to Attachment X of the NYISO OATT and Small

Generating Facility subject to Attachment Z of the NYISO OATT must meet the

Minimum Interconnection Standard, regardless of whether it elects Energy Resource Interconnection Service (“ERIS”) only or ERIS and Capacity Resource 
Interconnection Service (“CRIS”).

8. 	The Minimum Interconnection Standard is designed to ensure that the proposed

project can reliably interconnect to the New York State Transmission System (or to 
the Distribution System, as applicable).  The objective of the Minimum 
Interconnection Standard is to identify any potential adverse reliability impacts that 
would arise from the interconnection of a project.  Impacts that require mitigation 
include those that would result in a degradation of system reliability and/or non-
compliance with Applicable Reliability Requirements or Applicable Reliability 
Standards, which include the reliability standards of the North American Electric 
Reliability Corporation (“NERC”), the Northeast Power Coordinating Council, Inc. 
(“NPCC”), the New York State Reliability Council (“NYSRC”), or the Connecting 
Transmission Owner.  If the NYISO identifies any adverse reliability impacts and/or 
potential reliability standards violations, the NYISO considers whether these potential 
adverse impacts are manageable through the normal operating procedures of the 
NYISO or the Connecting Transmission Owner in accordance with the technical 
assumptions of the Minimum Interconnection Standard.3  If the NYISO identifies

2 OATT, Attachment X, Section 30.1.

3 See NYISO Transmission Expansion and Interconnection Manual, Section 3.6.1 (Minimum Interconnection Standard Technical Assumptions) (November 2012), available at:

3

adverse reliability impacts that cannot be managed through such normal operating

procedures, the NYISO will identify the required System Upgrade Facilities needed to mitigate such adverse reliability impacts.

9. 	The basic concepts of the Minimum Interconnection Standard as summarized above

were developed in the first year of the NYISO’s operation and have been applied in all 
NYISO interconnection studies ever since.  Since the NYISO’s inception, 
interconnection studies have used power flow, short circuit, and stability analyses to 
evaluate the impacts of proposed facilities on the New York State Transmission 
System (and later, Distribution System) with respect to thermal, voltage, fault current, 
and stability reliability criteria.  These evaluations often identify potential violations or 
adverse impacts relative to these reliability criteria.  When such potential violations or 
adverse reliability impacts are indicated, the study continues on to consider whether 
these potential adverse impacts are manageable through the normal operating 
procedures of the NYISO or Connecting Transmission Owner.  Generally speaking, 
operating procedures are not normally used to manage short circuit or stability issues, 
so it is usually necessary to identify System Upgrade Facilities to address such issues. 
Power flow (thermal or voltage criteria) issues are often manageable through the 
NYISO’s or Connecting Transmission Owner’s normal operating procedures.  For 
example, the NYISO routinely manages limitations on transmission facilities that are 
under the NYISO’s operational control through its security constrained unit 
commitment and real-time dispatch process.  However, power flow issues are not 
always manageable through the NYISO’s or Connecting Transmission Owner’s

http://www.nyiso.com/public/webdocs/markets_operations/documents/Manuals_and_Guides/Manuals/Planning/t 
ei_mnl.pdf.

4

normal operating procedures, and in such instances, it is necessary to identify System Upgrade Facilities to address power flow issues.

10. As a general matter, the concept of deliverability in the context of transmission

transfer capability has existed as part of reliability standards used in power system

reliability evaluations for many years - well before implementation of NYISO’s

Deliverability Interconnection Standard in 2008, which is a very specific adaptation of the general concept of deliverability.  By way of example, NPCC Directory 1 provides the following definition of “Reliability”:

Reliability - The degree of performance of the bulk electric 
system that results in electricity being delivered to customers 
within accepted standards and in the amount desired. Reliability 
may be measured by the frequency, duration, and magnitude of 
adverse effects on the electric supply. Electric system reliability 
can be addressed by considering two basic and functional 
aspects of the electric system — Adequacy and Security.4

“Adequacy” is defined by NPCC Directory 1 as “[t]he ability of the electric system to supply the aggregate electrical demand and energy requirements of the customers at all times, taking into account scheduled and reasonably expected unscheduled outages of system elements.”5 “Security” is defined by NPCC Directory 1 as “[t]he ability of the electric system to withstand disturbances such as electric short circuits or 
unanticipated loss of system elements.”

11.   The purpose of upgrades identified under the Minimum Interconnection Standard is 
	not to improve the delivery of power across and the operating flexibility of the 
	transmission system or to reduce congestion.  However, System Upgrade Facilities

4 See NPCC Directory 1 (emphasis added), available at:

https://www.npcc.org/Standards/Directories/Forms/Public%20List.aspx.

5 See id.

5

required for reliability in accordance with the Minimum Interconnection Standard may 
indeed have the incidental effect of improving the deliverability of power or reducing 
congestion.  This may occur in situations where the indicated power flow issues 
cannot be managed under the NYISO’s or Connecting Transmission Owner’s normal 
operating procedures.  An example of such a situation was seen in the Class Year 
Studies for 2011 and 2012 in which a project proposing to interconnect to a 345 kV 
tie-line between the New York and New England systems triggered adverse power 
flow impacts that could not be managed by the NYISO or the Connecting 
Transmission Owner under normal operating procedures.  As a result, the NYISO 
identified the need for System Upgrade Facilities to mitigate the indicated adverse 
power flow impacts caused by the project.  Those System Upgrade Facilities were 
determined to be required under the Minimum Interconnection Standard even though 
they would have the incidental effect of improving the deliverability of power, 
retaining flexibility in system operations, and reducing congestion.

12. Situations in which indicated adverse power flow impacts are manageable through the 
	NYISO’s normal operating procedures usually are fairly straightforward.  Impacts on 
	facilities that are under the NYISO’s operational control are generally manageable 
	through the NYISO’s normal operating procedures (via the NYISO’s security 
	constrained unit commitment and dispatch process).  Adverse power flow impacts on 
	transmission or distribution facilities that are not under the NYISO’s operational 
	control are not manageable through the NYISO’s normal operating procedures and 
	may or may not be manageable through the Connecting Transmission Owner’s normal 
	operating procedures.  A straightforward example of this situation is when the

6

impacted transmission or distribution facility is owned and operated by an entity other 
than the Connecting Transmission Owner.  However, there also have been instances in 
which adverse power flow impacts on facilities owned by the Connecting 
Transmission Owner were of such complexity that they were considered to be 
unmanageable through the Connecting Transmission Owner’s normal operating 
procedures.

D. Application of Reliability Standards and Applicable Reliability Requirements in the 
	NYISO’s Interconnection Process

13. Applicable Reliability Standards are the reliability requirements applicable to the 
	Minimum Interconnection Standard evaluations in the Interconnection Feasibility 
	Study and the Interconnection System Reliability Impact Study.  These include the 
	requirements and guidelines of the Applicable Reliability Councils - NERC, NPCC, 
	and NYSRC - and the Transmission District to which a Developer’s Large Facility is 
	directly interconnected, as those requirements and guidelines are amended and 
	modified and in effect from time to time.

14. Applicable Reliability Requirements are the reliability standards applicable to the 
	Minimum Interconnection Standard evaluations in the Class Year Interconnection 
	Facilities Study (“Class Year Study”).  These include NYSRC Reliability Rules, 
	NPCC’s Basic Design and Operating Criteria, NERC Planning Standards, NYISO 
	rules, practices and procedures, and the Connecting Transmission Owner criteria 
	included in FERC Form No. 715.

7

15. As described above, the Applicable Reliability Standards and Applicable Reliability 
	Requirements are primarily applied in the power flow, short circuit and stability 
	analyses performed in the interconnection studies as applicable.  (Stability analysis is 
	not performed for an Interconnection Feasibility Study.)  Power flow analysis is 
	performed to evaluate potential adverse impacts relative to NERC, NPCC, NYSRC 
	and the local Transmission Owner steady-state thermal and voltage criteria.  These 
	criteria include thermal and voltage performance standards for base case/no 
	contingency conditions and for simulated post-contingency conditions. 
	Interconnection studies typically evaluate on the order of several dozen to several 
	hundred “design criteria” contingencies.  A straightforward example of the 
	applicability of the local Transmission Owner criteria is that, NERC, NPCC, NYSRC 
	and NYISO criteria only apply to the (NERC) Bulk Electric System, the (NPCC) Bulk 
	Power System, and/or transmission facilities under the NYISO’s operational control, 
	and do not apply to local “non-bulk” portions of the interconnected electric power 
	systems.6  For that reason, only the local Transmission Owner criteria apply to the 
	facilities not covered by the other, higher level criteria.  All the Applicable Reliability 
	Standards and Applicable Reliability Requirements, including the local Transmission 
	Owner criteria, are used to identify potential adverse reliability impacts due to a 
	proposed interconnection project.  As previously described, the technical assumptions 
	of the Minimum Interconnection Standard are used to determine whether System

6 The NERC, NPCC, NYSRC and local Transmission Owner criteria are hierarchical and supplemental in nature in that: the NPCC criteria recognizes the NERC criteria, but includes regional criteria that are more stringent or more specific than the NERC criteria; the NYSRC and NYISO criteria recognizes NERC and NPCC criteria, but includes criteria that are more stringent or more specific than the NERC and NPCC criteria; and the local 
Transmission Owner criteria recognizes the NERC, NPCC, NYSRC and NYISO criteria, but includes criteria that are more stringent or more specific than the NERC, NPCC, NYSRC and NYISO criteria.

8

Upgrade Facilities are required to mitigate any indicated potential adverse reliability impacts.

E. NYISO’s Determination that the 2015 LIPA Guideline Is an Applicable Reliability 
	Requirement to be Applied in Class Year 2015

16. The NYISO determined that the 2015 LIPA Guideline, in effect when Class Year 
	2015 commenced, and filed in the FERC 715 before the Class Year Study’s Annual 
	Transmission Baseline Assessment (“ATBA”) was commenced, satisfies the definition 
	of an “Applicable Reliability Requirement” and therefore must be applied to Class 
	Year 2015.

17. The NYISO reviewed the 2015 LIPA Guideline and determined that it is a reliability-
	based criterion intended to address reliability issues unique to the Long Island 
	transmission system.  Its stated purpose is “to ensure LIPA’s transmission’s system 
	reliability and integrity is not jeopardized as a result of proposed resource additions 
	and that LIPA internal interface transfer capabilities are maintained to support the 
	system load on Long Island (Zone K), within certain constraints.”7  The 2015 LIPA 
	Guideline provides that any resource addition to the Long Island transmission system 
	shall be tested as outlined in the guideline to ensure the reliability of the system is 
	maintained.  The analyses required under the 2015 LIPA Guideline will identify system 
	reinforcements necessary on the LIPA system for a project to interconnect and to ensure 
	LIPA’s internal interface transfer capabilities are maintained to support the system load. 
	The 2015 LIPA Guideline applies a reliability evaluation to every resource proposing to

7 See Attachment 3, “Long Island Local Reliability Interface Transfer Capability Test to be Applied as Part of Interconnection Studies” (March 1, 2015).

9

interconnect on Long Island.  It does not seek to alter or replace the NYISO’s

Deliverability Interconnection Standard applied to resources seeking to become Installed 
Capacity Suppliers.  The NYISO therefore accepted the 2015 LIPA Guideline as an 
Applicable Reliability Standard and Applicable Reliability Requirement under the NYISO 
OATT.

18. The NYISO had previously reviewed and rejected an earlier guideline provided by

LIPA to implement certain “Generation Deliverability Criteria” in its Transmission & Distribution Planning Criteria & Guidelines dated September 20, 2010 (“LIPA 
Deliverability Guideline”).  The LIPA Deliverability Guideline rejected by the NYISO was materially different than the 2015 LIPA Guideline accepted by the NYISO as an “Applicable Reliability Requirement.”

19. The NYISO rejected the LIPA Deliverability Guideline because, as drafted, it was

beyond the scope of the Minimum Interconnection Standard.  The LIPA Deliverability Guideline would have redefined the NYISO’s Deliverability Interconnection Standard, setting forth requirements that would have to be satisfied for projects to participate in the NYISO-administered Installed Capacity market.  These requirements are within the exclusive province of the NYISO’s Class Year Deliverability Study and the 
NYISO’s application of the Deliverability Interconnection Standard.

F.  Unique Topography of the Long Island Transmission System

20. As an island, Long Island has limited interconnectivity with the rest of the New York 
	State Transmission System or other systems (i.e., New England or PJM).  It, therefore,

10

has limitations on the amount it can rely on other systems for external help to satisfy local reliability needs.

21. Because of its unique situation, Long Island (Zone K) is a Locality and, as such, has 
	special reliability requirements compared to portions of the NYS Power System that 
	are not Localities. (Currently the other New York Localities are New York City (Zone

J) and Lower Hudson Valley and New York City (Zones G though J)).  For example, NYISO annually determines a Locational Minimum Installed Capacity Requirement (“LCR”) for Long Island, which is the minimum amount of capacity required to be electrically located on Long Island.  The LCR is designed so that the system will meet NPCC and NYSRC reliability criteria.  This unique characteristic of Long Island 
serves as a legitimate basis for more stringent local transmission transfer criterion to ensure transmission is flexible enough in its local transmission operations that 
“electricity can be delivered to customers within accepted standards and in the amount desired,” consistent with the NPCC definition of Reliability.

22. Historically, maintaining internal interface transfer capability to allow a certain level 
	of operating flexibility has been important to Long Island because of its unique 
	topology of Load, generation, and the use of about 500 MW of quick-start gas turbine 
	units (“GTs”) for operating reserves required by the NYISO for this Locality.  Most of 
	Long Island’s Load is concentrated in the western area of the island, while much of its 
	generation resources and GT reserves are located in the central and eastern areas of the 
	island.  Therefore, the ability to transfer power and operating reserve from east to west 
	has been, and continues to be, of critical importance to meeting the reliability needs of 
	the island.  Also, the ability to transfer operating reserves located in central and

11

eastern Long Island to the west and export it to New York City has historically been of critical importance to meeting New York City reliability needs.

23. Long Island reliability issues specific to generation interconnected and interconnecting 
	east of a local transmission interface, the Holbrook interface, relative to internal 
	transmission limitations, cannot be addressed under the NYISO’s normal operating 
	procedures - i.e., through the NYISO’s security constrained unit commitment and 
	dispatch process.  The NYISO does not secure transmission elements east of the 
	Holbrook interface because the limiting constraints involve the impact of the 
	contingency loss of local 138 kV facilities upon local 69 kV system facilities which 
	are not secured by the NYISO.  As such, adverse reliability impacts due to internal 
	transmission limitations on Long Island east of the Holbrook interface cannot be 
	mitigated by the NYISO’s operating procedures.  Therefore, if LIPA is unable to 
	manage through its normal operating procedures adverse reliability impacts that would 
	arise from the interconnection of new generation behind the constrained Holbrook 
	interface, System Upgrade Facilities are necessary to address those reliability impacts 
	under the NYISO Minimum Interconnection Standard.  If the Commission were to 
	direct the NYISO to ignore the 2015 LIPA Guideline as an Applicable Reliability 
	Requirement and, therefore, to not identify required System Upgrade Facilities, these 
	local reliability issues on Long Island could go unaddressed for the reasons described 
	above.

This concludes my Affidavit.

12

Attachment 3

March 1, 2015

Long Island Local Reliability Interface Transfer Capability Test 
	To be Applied as part of Interconnection Studies

Effective Date: March 1, 2015

I. Introduction

As per Attachments S, X and Z of the NYISO’s Open Access Transmission Tariff

(“OATT”), the NYISO offers Energy Resource Interconnection Service to proposed

generation and merchant transmission facilities under the Large Facility Interconnection 
Procedures and Small Generator Interconnection Procedures (collectively, the 
“Interconnection Procedures”) in compliance with the NYISO Minimum Interconnection 
Standard (“MIS”).  All Large Facilities and Small Generating Facilities wishing to sell 
Energy and Ancillary Services in the NYISO markets must interconnect in compliance 
with the NYISO MIS. The NYISO evaluates an Interconnection Request for compliance 
with the MIS throughout the interconnection study process. The interconnection studies 
conducted under the Interconnection Procedures are conducted in accordance with 
requirements and guidelines of the Applicable Reliability Councils, and the Transmission 
District, to which the facility proposed to interconnect (“Applicable Reliability 
Standards”).  The interconnection study process includes short circuit/fault duty, steady 
state (thermal and voltage) and stability analyses designed to identify the Attachment 
Facilities, Distribution Upgrades and System Upgrade Facilities (SUFs) required for the 
reliable interconnection of Large Facilities and Small Generating Facilities to the New 
York State Transmission System or to the Distribution System in compliance with the 
NYISO MIS.  Note that, under the NYISO Interconnection Procedures, the term 
Distribution System does not include LIPA’s distribution facilities.

As per Attachment S of the NYISO OATT, the Class Year Interconnection Facilities 
Study (“Class Year Study”) is the process used to identify and cost allocate the System 
Upgrade Facilities that are required to ensure that New York State Transmission System 
facilities are sufficient to reliably serve existing load and meet load growth and changes 
in load patterns.  The Class Year Study evaluates projects for compliance with NYSRC 
Reliability  Rules,  NPCC  Basic  Design  and  Operating  Criteria,  NERC  Planning 
Standards, NYISO rules, practices and procedures, and the Connecting Transmission 
Owner criteria included in FERC Form No. 715 (collectively “Applicable Reliability 
Requirements”).

This Long Island Local Reliability Interface Transfer Capability Test shall be considered 
as an Applicable Reliability Standard under Attachments X and Z of the NYISO OATT 
and as an Applicable Reliability Requirement under Attachment S of the OATT because 
it is a local Transmission District (i.e. Connecting Transmission Owner) reliability

criterion. The Long Island Power Authority (“LIPA”) considers preservation of the 
transfer capability of LIPA’s internal interfaces to be essential to ensure the reliability 
and integrity of the LIPA transmission system.  The purpose of this testing requirement is 
to ensure LIPA’s transmission’s system reliability and integrity is not jeopardized as a 
result of proposed resource additions and that LIPA internal interface transfer capabilities 
are maintained to support the system load on Long Island (Zone K), within certain 
constraints.  The  criterion  will  be  used  to  assess  proposed  generation,  merchant

1

March 1, 2015

transmission or other power resources interconnecting to the Long Island Power 
Authority’s (LIPA’s) electric transmission system.  Application of this criterion will be 
performed in conjunction with the NYISO’s Minimum Interconnection Standard (MIS) 
procedure as part of the NYISO interconnection study process, particularly the System 
Reliability Impact Study (SRIS) and the Class Year Study processes. Upgrades identified 
through application of this local reliability criterion shall be considered SUFs under the 
NYISO MIS.

This  criterion  and associated testing requirements do not supersede formal study requirements of the NYISO Large Facility Interconnection Process, but rather serves as an additional study requirement for any proposed interconnection within LIPA system. The analysis will identify system reinforcements necessary on the LIPA system in order for a project to interconnect and to ensure LIPA’s internal interface transfer capabilities are maintained to support the system load.

II. Assumptions and Interface Definitions

1. 	Common study assumptions for this study are as follows:

A. 	The impact of a Project will be assessed at the maximum proposed  summer

output level, as specified by the Project developer in their Interconnection 
Request (up to summer name plate rating, or Dependable Maximum Net 
Capability (DMNC) if available, whichever is higher) regardless of  project 
technology.  It shall consider all supplemental power output associated with 
facility/technology (e.g., duct firing for generators with such capability, etc.).

B. 	Based on the location of the Project, all other resources within a specific Long

Island region(s) will be dispatched at a level that reflects forced outage rates. Renewable type resources such as solar and wind may be dispatched at less than full output, consistent with NYISO practices.

C.	Project power factor shall be based on reactive capability curve and reactive

needs of system.

D.	The impact of the proposed Project will be evaluated for summer peak load

conditions.

E.	Thermal analysis will be conducted to assess the reliability impact, with and

without the Project.

F.	The following thermal criteria should be utilized:

System Condition	Maximum Allowable Facility Loading

Pre-contingency	Summer Normal Rating

Post-contingency	Summer LTE Rating

Normal transfer criteria and contingency testing (N-1) will apply.

2

March 1, 2015

G. 	Phase angle regulators (PARs), switched shunts, and load tap changing (LTC)

transformers  will  be  modeled  as  regulating  pre-contingency  and  non-
regulating post-contingency.  PARs associated with the Lake Success to 
Jamaica (901) and Valley Stream to Jamaica (903) inter ties will be held 
constant to maintain the power wheel to Con Edison (286 MW). PARs 
associated with the Y49 inter tie may be adjusted, depending upon the 
location of the Project and the LIPA interface(s) being tested (refer to Table

1). The PAR associated with the NNC inter tie may be adjusted, depending 
upon the location of the Project and the LIPA interface(s) being tested (refer 
to Table 1). However, maximum normal Northport Interface power exit 
capabilities will be observed. In addition to PARs on ties, the LIPA system 
has several internal PARs that can be used to maximize generator exit 
capability (e.g., Barrett and Northport bus) and one at the Pilgrim substation 
that balances flows on the 138 kV and 69 kV systems. When assessing the 
system, the PARs schedules should be optimized to allow maximum transfers. 
These schedules can vary based on the transfer test being performed.  Once set 
however, the angles shall be maintained for testing contingency impacts for 
that scenario.

H. 	HVDC Inter ties. The Neptune HVDC power flow will be held constant to a

specific base case level, generally full import capability. The Cross Sound Cable (CSC) power flow will typically be dispatched at full import capability, but may be adjusted depending upon the location of the Project and the LIPA interface(s) being tested (refer to Table 1).

I. 	If applicable, SVC (Static VAR Compensators) and FACTS (Flexible AC

Transmission Systems) devices will be set to zero pre-contingency and allowed to operate to full range post-contingency.

J. 	Load forecast uncertainty (LFU) is incorporated into the evaluation for Part 2

of the deterministic load flow interface transfer test to account for the future load variations. Refer to Table 1 within Section III, column entitled “Steps for Testing Process”.

K.	All major assumptions will be documented in the study report.

2.	Major Definitions section:

•   CLR - Central Load region, geographically Eastern Nassau and Western 
	Suffolk Counties

•   NNC - Northport to Norwalk Harbor 138 kV inter tie to New England

•   DMNC - Dependable Maximum Net Capability, maximum expected net

capacity from the resource (excludes use by the resource not transferred to the grid, e.g., station service)

•   LFU - Load Forecast Uncertainty - Increase in peak demand, according to the 
	latest load forecast.

3. 	LIPA Interfaces - The Long Island Local Reliability Interface Transfer Capability

Test is designed to insure that LIPA internal interface transfer capabilities are

3

March 1, 2015

maintained to support the system load on Long Island (Zone K), within certain 
constraints. This involves the transfer of power output of resources within LIPA’s 
load centers (West, Central, East, and Northport), as well as tie line capability (i.e., to 
insure support from LIPA ties are unaffected).  The Long Island Local Reliability 
Interface Transfer Capability Test maximizes transfer capability West to East as well 
as East to West (depending on location of target resource) to assure no bottling and 
that all resources can reliably serve the system load such that the internal interface 
capability is sufficient to allow the output of all resources in one load center to be 
transferred to the adjacent load center.  When a new unit is being considered, the unit 
should be evaluated based on its location.

For example, a unit located East of Holbrook would be tested using two different tests. For the Part 1 test, generation East of Holbrook would be dispatched along with CSC, and generation and imports in the remaining regions would be reduced as needed. For the Part 2 test, LFU would be applied to the total system load, and all generation units in the East of Holbrook and Central and Northport region would be dispatched. Generation in the West of Newbridge region would be reduced as needed. Table 1  within  Section  III  summarizes  the  required  resource  dispatches  and application of LFU, reflecting the location of the Project.

The following diagram shows LIPA major facilities and interfaces.

4

March 1, 2015

LIPA System and Transmission Interfaces

4.  This section offers definitions of LIPA interfaces as noted above and in the LIPA

T&D Planning Criteria and Guidelines. Implementation of this procedure is based on the ability to transfer the output of resources across LIPA’s internal interfaces.

A. The Central Load Region (CLR) is generally defined as Eastern Nassau and 
	Western Suffolk area as bounded by the Newbridge and Holbrook interfaces, 
	where almost half of the LIPA system load is located. Interface exports and 
	imports are defined relative to the flow of energy to and from the CLR 
	(interface export is the flow into the CLR; interface import is a flow out of the 
	CLR).  The primary path for power transfers to LIPA’s CLR is across three 
	internal transmission interfaces: Newbridge Road, Northport and Holbrook. 
	The paths comprising these interfaces are used to transfer power from LIPA 
	interconnections (off-Island sources) and major generating facilities such as 
	Northport, Barrett, Far Rockaway, Glenwood, Port Jefferson, Holtsville and 
	Shoreham/Wading River to the LIPA CLR.

B. The Northport Region/Interface is used to define the amount of power from 
	the Northport Power Station and imports over the Northport to Norwalk 
	Harbor (NNC) interconnection to New England (Northeast Utilities) that can 
	be transferred to the LIPA system.

5

March 1, 2015

The Northport interface is comprised of the flow across the following circuits: 
	Northport - Pilgrim (138-677 A&B)

Northport - Pilgrim (138-679 A&B) 
Northport - Pilgrim (138-672) 
Northport - Elwood (138-678 A&B) 
Northport - Elwood (138-681 A&B)

C. 	The Newbridge Region/Interface is defined by an imaginary north-south line

running just west of the Syosset, Newbridge Road and Bellmore substations. It is used to define the amount of power from western Long Island generators and imports over the Consolidated Company of New York (Con Edison) ties that can be transferred to the LIPA CLR.

This interface is comprised of the flow across the following circuits: 
	East Garden City - Newbridge Road (138-462)

East Garden City - Newbridge Road (138-463) 
East Garden City - Newbridge Road (138-465) 
East Garden City - Newbridge Road (138-467) 
Freeport - Newbridge Road (138-461) 
Mitchell Gardens - Newbridge Road (69-475) 
Meadowbrook - Newbridge Road (69-466) 
Oyster Bay -- Syosset (69-533)

Jericho - Newbridge (69-474) 
Baldwin - Bellmore (69-459) 
Roosevelt - Bellmore (33-421)

Meadowbrook - Bellmore (33-432 & 33-433) Merrick - Bellmore (33-417)

D. 	The Holbrook Region/Interface is used to define the amount of generation that

can be transferred from generating sites located in the area east of a north-
south imaginary line just west of Port Jefferson and Holbrook substations.

This interface is comprised of the flow across the following circuits:

Holbrook - Ronkonkoma (138-875)

Holbrook - Ruland Road (138-882) 
West Bus - Pilgrim (138-881) 
Port Jefferson - Stony Brook (69-877) 
Holbrook - Nesconset (69-673) 
Holbrook - MacArthur (69-859) 
West Bus - Patchogue (69-841) 
Holbrook - Bohemia (69-775)

6

March 1, 2015

III. Testing Process

Deterministic Load Flow

Table 1 below summarizes the testing process for LIPA’s internal interfaces. In all cases the new resource is dispatched at the maximum 
proposed  summer output level, as specified by the Project developer in their Interconnection Request (up to summer name plate rating, or 
Dependable Maximum Net Capability (DMNC) if available, whichever is higher). The testing below is based on the existing LIPA system 
generation and load profile and the test methodology will need to revisited if a significant shift in generation and or load pattern occurs.

TABLE 1 - LIPA Internal Interface Testing Process

New Resource Location

(New resource dispatched at maximum proposed summer output level)

Steps for Testing	Newbridge Interface	Central/Northport Interface	Holbrook Interface

Process

Remaining Generation Dispatch	Remaining Generation Dispatch	Remaining Generation Dispatch

West of	Central/	East of	LFU	West of	Central/	East of	LFU	West of	Central/	East of	LFU

Newbridge	Northport	Holbrook	Newbridge	Northport	Holbrook	Newbridge	Northport	Holbrook

Reflecting	Reflecting	Reflecting

forced outage	forced outage	forced outage

Part 1	rates	Reduced	Reduced	N/A	Reduced	rates	Reduced	N/A	Reduced	Reduced	rates	N/A

(Y49 / Y50	(NNC Import	(CSC Import

Imports Max)	Optimized)	Max)

N/A

Part 2	N/A

(see Note 2)

Reduced (Net 
	Imports > 0)

Reflecting	Reflecting

forced outage  forced outage  Apply LFU

rates	rates	System

(NNC Import	(CSC Import	Wide 
	Optimized) 	Max)

Reflecting

forced outage Reduced (Net

rates

Imports > 0) 
	(NNC Import

Optimized)

Reflecting

forced outage  Apply LFU

rates	System

(CSC Import	Wide

Max)

Notes:

1. Both the Part 1 test and the Part 2 test need to be performed, depending upon the location of the Project. Results and criteria violations shall be documented for both Parts. 
	System upgrades shall be identified to mitigate the most severe of the Part 1 or Part 2 tests.

2. For the Part 2 test: Given the present LIPA system generation and load profile, stressing the Holbrook Interface and the Central/Northport Interface is not required for a Project located in the

Newbridge Region. The Part 2 test is required for Projects located in the Central/Northport and Holbrook regions to ensure interface transfer capabilities are maintained to support the system load.

3. Given the conservative nature of the Part 2 test, an increase in LIPA system load will be implemented (load forecast uncertainty).

4. For Projects located in the Holbrook region or the Central/Northport region, the Part 2 test allows for a reduction in West of Newbridge generation dispatch and a reduction in Con Edison - LIPA 
	import levels. Net Con Edison - LIPA import levels would be maintained at zero MW or greater (Y49 + Y50 flow - wheel to Con Edison shall be maintained greater than 0 MW).

7

March 1, 2015

Internal interface transfer capabilities shall be maintained to support the system load on 
Long Island (Zone K), within certain constraints, such that a new resource output can be 
transferred to the load without creating any system normal or contingency overloads. If 
thermal criteria violations are identified, or if internal interface transfer limitations are 
identified, then system upgrades to mitigate those limitations will be identified and 
considered.

IV. Summary

The Long Island Power Authority (“LIPA”) considers preservation of the transfer 
capability of LIPA’s internal interfaces to be essential to ensure the reliability and 
integrity of the LIPA transmission system. The purpose of this testing requirement is to 
ensure LIPA’s transmission’s system reliability and integrity is not jeopardized as a result 
of proposed resource additions and that LIPA internal interface transfer capabilities are 
maintained to support the system load on Long Island (Zone K), within certain

constraints.

Any resource addition to Long Island transmission system shall be tested as outlined 
above to ensure the reliability of the system is maintained. Upgrades identified through 
application of this local reliability criterion shall be considered SUFs under the NYISO 
MIS.

V. References

1) LIPA T&D Planning Criteria and Guidelines

http://www.lipower.org/pdfs/company/projects/energyplan10/energyplan10-e6.pdf

2) NYISO Tariffs - Open Access Transmission Tariff (OATT) - 25 OATT Attachment S; Rules To Allocate Responsibility for the Cost of New Interconnection Facilities

http://www.nyiso.com/public/markets_operations/documents/tariffviewer/index.jsp

8