10 Krey Boulevard   Rensselaer, NY  12144

October 20, 2015

By Electronic Delivery

Honorable Kimberly D. Bose, Secretary Federal Energy Regulatory Commission 888 First Street, NE

Washington, DC 20426

Re:  Docket No. ER15-1061-000, New York Independent System Operator -
	Notice of Effective Date and Errata Filing

Dear Secretary Bose:

On February 18, 2015, the NYISO filed proposed tariff revisions related to its

Comprehensive Shortage Pricing project.1  On April 20, 2015, the Federal Energy Regulatory 
Commission (“Commission”) approved the proposed revisions.2  The Commission directed the 
NYISO to establish an effective date for the tariff revisions “in November 2015, subject to the 
condition that NYISO provide the Commission with no less than two weeks’ notice of the actual 
effective date.”3

The NYISO submits this filing to provide notice to the Commission of the expected 
effective date for the accepted tariff revisions related to the Comprehensive Shortage Pricing 
project, except for the accepted revisions to Section 2.20 of the Services Tariff and Section 1.20 of the OATT.4  It has come to the NYISO’s attention that the previously accepted revisions to the Services Tariff contained certain ministerial errors.  The NYISO also submits an errata filing to correct these non-substantive issues.

1 Docket No. ER15-1061-000, New York Independent System Operator, Inc., Proposed Tariff

Revisions to Ancillary Service Demand Curves and the Transmission Shortage Cost (February 18, 2015). Capitalized terms not otherwise defined herein shall have the meaning specified in Section 2 of the 
NYISO Market Administration and Control Area Services Tariff (“Services Tariff”) and Section 1 of the NYISO Open Access Transmission Tariff (“OATT”).

2 New York Independent System Operator, Inc., 151 FERC ¶ 61,057 (2015) (“April 20 Order”).

3 Id. at P 20.

4 On October 16, 2015, the NYISO filed a request for an extension of the compliance filing

deadline as it relates to Section 2.20 of the Services Tariff and Section 1.20 of the OATT due to the

delayed implementation of the NYISO’s graduated transmission demand curve.  See Docket No. ER15-
1061-000, New York Independent System Operator, Inc., Motion for Extension of Compliance Filing Deadline, Shortened Response Period and Expedited Action of the New York Independent System 
Operator, Inc. (October 16, 2015) (“Extension Request”).

Honorable Kimberly D. Bose October 20, 2015

Page 2

I.	Documents Submitted

1.	This filing letter;

2.	A blacklined version of the ministerial corrections to the NYISO’s Services Tariff

(“Attachment I”);

3. 	A clean version of the accepted revisions to the NYISO’s Services Tariff (including

incorporation of the ministerial corrections) with an effective date of November 4, 
2015, except for the revisions to Section 2.20 of the Services Tariff (“Attachment 
II”); and

4. 	A clean version of the accepted revisions to the NYISO’s OATT with an effective

date of November 4, 2015, expect for the revisions to Section 1.20 of the OATT (“Attachment III).

II.	Notice of Effective Date

In compliance with Ordering Paragraphs A and B of the April 20 Order, the NYISO

hereby provides notice to the Commission that it expects to fully implement the accepted tariff revisions related to the Comprehensive Shortage Pricing project for the November 4, 2015 
market day, except for the revisions to Section 2.20 of the Services Tariff and Section 1.20 of the OATT.  Attachments II and III provide clean versions of the relevant tariff revisions with an 
effective date of November 4, 2015.5

On October 16, 2015, the NYISO submitted a request for extension in order to delay 
implementation of the revisions to Section 2.20 of the Services Tariff and Section 1.20 of the OATT.6  The requested extension is the result of the delayed implementation of a separate 
project - the graduated transmission demand curve.7  The NYISO has proposed to submit an additional compliance filing at least two weeks prior to the proposed effective date for the 
revisions to Section 2.20 of the Services Tariff and Section 1.20 of the OATT which will specify the date on which these revisions will take effect.8

5 Should the NYISO determine that it will be unable to implement the Comprehensive Shortage 
Pricing project, except for the revisions to Section 2.20 of the Services Tariff and Section 1.20 of the 
OATT, for the November 4, 2015 market day, it will promptly notify its Market Participants and the 
Commission.

6 See Extension Request.

7 Id. at 4-6.

8 Id. at 6.

Honorable Kimberly D. Bose October 20, 2015

Page 3

III.	Errata Revisions

In conducting a final review of the tariff revisions prior to implementation, certain non-
substantive, ministerial errors in the revisions to the Services Tariff were identified.  Ministerial 
errors were identified with respect to Section 4.4.3.1.2 of the Services Tariff, Section 15.4.6.1 of 
Rate Schedule 4 of the Services Tariff and Section 15.6.5.1 of Rate Schedule 6 of the Services 
Tariff, as set forth in Attachment I.  The NYISO hereby submits an errata filing to correct these 
non-substantive issues.9

Section 4.4.3.1.2 of the Services Tariff describes the maximum generation pickup mode of the Real-Time Dispatch-Corrective Action Mode (“RTD-CAM”) software.  The description of this mode includes an identification of certain locations in which the NYISO may initiate a 
maximum generation pickup event, including references to the existing reserve regions.  The NYISO inadvertently omitted addition of a reference to the new Southeastern New York 
(“SENY”) reserve region within this section.

Section 15.4.6.1 of Rate Schedule 4 of the Services Tariff describes the calculation of 
Real-Time Market clearing prices for Operating Reserves.  The tariff revisions approved by the 
April 20 Order add new Shadow Price definitions for SENY Operating Reserves products (i.e., 
SP7 through SP9).  The new Shadow Price definitions for the SENY reserve products 
inadvertently included a reference to an hourly granularity for pricing rather than the interval 
level pricing applicable to the Real-Time Market.  The errata submission replaces “hour” with 
“interval” in each of the applicable Shadow Price definitions for the SENY reserve products.

Section 15.6.5.1 of Rate Schedule 6 of the Services Tariff describes the compensation

paid to Suppliers of Quick Start Reserves.  The Quick Start Reserves providers are located within the SENY reserve region.  The equation for calculating the payments owed to Quick Start 
Reserves providers was inadvertently not updated to reflect the creation of the new SENY 
reserve region.  The errata submission replaces the references to “East” with “SENY” in two components of formula (i.e., P10MNSR and P30MR).

IV.	Service

The NYISO will send an electronic link to this filing to the official representative of each 
party to this proceeding, to the official representative of each of its customers, to each 
participant on its stakeholder committees, to the New York Public Service Commission, and to 
the New Jersey Board of Public Utilities.  In addition, the complete filing will be posted on the 
NYISO’s website at www.nyiso.com.

9 The NYISO informed Market Participants of its intent to submit this errata filing and briefly described the nature of the ministerial corrections at an Installed Capacity Working Group meeting held on October 19, 2015.

Honorable Kimberly D. Bose October 20, 2015

Page 4

V.	Conclusion

The New York Independent System Operator, Inc. respectfully requests that the Commission accept the ministerial, non-substantive corrections submitted as part of this compliance filing with an effective date of November 4, 2015.

Respectfully submitted,

/s/ Garrett E. Bissell 
Garrett E. Bissell 
Senior Attorney

New York Independent System Operator, Inc.

10 Krey Blvd.

Rensselaer, New York 12144 (518) 356-6107

gbissell@nyiso.com

cc:	Michael Bardee

Anna Cochrane 
Kurt Longo

Max Minzner 
Daniel Nowak 
Larry Parkinson

J. Arnold Quinn 
Douglas Roe

Kathleen Schnorf 
Jamie Simler

Kevin Siqveland Gary Will