10 Krey Boulevard   Rensselaer, NY  12144

November 30, 2015

By Electronic Delivery

Honorable Kimberly D. Bose, Secretary Federal Energy Regulatory Commission 888 First Street, NE

Washington, DC 20426

Re:  New York Independent System Operator, Inc., Docket No. ER16-___-000; 
	Proposed Revisions to Services Tariff and OATT to Implement 
	Improved Scarcity Pricing

Dear Secretary Bose:

In accordance with Section 205 of the Federal Power Act1 and Part 35 of the regulations 
of the Federal Energy Regulatory Commission (“Commission”), the New York Independent 
System Operator, Inc. (“NYISO”) respectfully submits proposed amendments to its Market 
Administration and Control Area Services Tariff (“Services Tariff”) and Open Access 
Transmission Tariff (“OATT”) to implement improved scarcity pricing logic in the Real-Time 
Market (“Comprehensive Scarcity Pricing”).2  Scarcity pricing refers to the pricing rules utilized 
for Energy and certain Ancillary Services in real-time during periods when the NYISO has called 
upon Special Case Resources (“SCRs”) and/or the Emergency Demand Response Program 
(“EDRP”) to provide load reduction to assist in maintaining system reliability.  The purpose of 
scarcity pricing is to ensure that real-time prices appropriately reflect the costs associated with 
deploying these demand response resources.

The NYISO Management Committee approved the proposed tariff revisions by a show of hands vote, with one vote in opposition, on October 28, 2015.  The NYISO requests an Order accepting these tariff revisions by January 29, 2016 (i.e., sixty days from the date of this filing letter).  This would allow the NYISO to confidently proceed with developing and deploying the software changes necessary to implement Comprehensive Scarcity Pricing before the proposed effective date of the tariff amendments.  The NYISO currently anticipates the proposed revisions will become effective on or before June 30, 2016.

1 16 U.S.C. § 824d.

2 Capitalized terms not otherwise defined herein shall have the meaning specified in Section 2 of the Services Tariff and Section 1 of the OATT.

Honorable Kimberly D. Bose November 30, 2015

Page 2

I.	Documents Submitted

1.	This filing letter;

2.	A clean version of the proposed revisions to the NYISO’s Services Tariff

(“Attachment I”);

3.	A clean version of the proposed revisions to the NYISO’s OATT (“Attachment II”);

4.	A blacklined version of the proposed revisions to the NYISO’s Services Tariff

(“Attachment III”); and

5.	A blacklined version of the proposed revisions to the NYISO’s OATT (“Attachment

IV”).

II.	Background

Scarcity pricing refers to the manner in which the NYISO seeks to ensure that real-time prices reflect the value of demand response resources when such resources are called upon to 
maintain system reliability.  The NYISO implemented its current, ex-post scarcity pricing logic on July 8, 2013.3

Under the current, ex post logic, the NYISO may adjust real-time energy prices, after

resource schedules have already been established, in the Load Zone(s) in which EDRP resources 
and/or SCRs are activated.  The NYISO adjusts real-time prices if it determines that the amount 
of EDRP resources and SCRs called upon to provide load reduction is greater than the amount of 
unscheduled (or latent) 30-Minute Reserve capability available from eligible resources (i.e., the 
“but-for test”).  The “but-for test” provides an indication of whether the NYISO would have 
likely experienced a shortage of Operating Reserves absent the activation of the EDRP and/or 
SCR program.4  This ex post methodology, however, has the potential to cause inconsistencies 
between resource schedules and pricing outcomes.  Such inconsistencies could result in the 
potential for uplift costs.5

3 New York Independent System Operator, Inc., 144 FERC ¶ 61,013 (2013).

4 The NYISO may also revise real-time Operating Reserves and Regulation Services prices, afterthe-fact, to the extent that the “but-for test” indicates that the NYISO would have been short Operating Reserves in the reserve region(s) to which the activated Load Zone(s) belong.

5 The New York Transmission Owners raised these concerns with the Commission in response to 
the NYISO’s proposal to implement its current, ex post scarcity pricing logic.  See, e.g., Docket No. 
ER13-909-000, New York Independent System Operator, Inc., Motion to Intervene and Protest of the New 
York Transmission Owners at 3-10 (March 1, 2013); Docket No. ER13-909-000, supra, Motion for 
Leave to Answer and Answer of the New York Transmission Owners at 5-8 (March 20, 2013); and 
Docket No. ER13-909-001, supra, Comments of the New York Transmission Owners in Response to the

Honorable Kimberly D. Bose November 30, 2015

Page 3

The current scarcity pricing methodology also does not apply to the NYISO’s Proxy

Generator Buses.  This may result in inefficient scheduling of imports and exports during the

periods when the NYISO is likely to activate the EDRP and/or the SCR program.  The NYISO’s Market Monitoring Unit, Potomac Economics, has previously recommended that the NYISO extend scarcity pricing to its external interfaces.6

In approving the NYISO’s current, ex post scarcity pricing methodology, the

Commission encouraged the NYISO to discuss with its stakeholders whether incorporation of 
scarcity pricing into the real-time commitment and dispatch software was feasible and 
warranted.7  Comprehensive Scarcity Pricing is the result of that effort.  The project will replace 
the current, ex post methodology by including scarcity pricing in the real-time optimization.

III. 	Overview of Comprehensive Scarcity Pricing and Justification

Comprehensive Scarcity Pricing will improve on the NYISO’s current scarcity pricing 
logic by incorporating scarcity pricing into the real-time optimization.  This will: (i) ensure 
consistency between resource schedules and pricing outcomes in real-time during EDRP and 
SCR program activations, thereby reducing the potential for uplift costs; and (ii) reflect the 
impacts of scarcity pricing at Proxy Generator Buses, thereby facilitating more efficient 
interchange transactions when EDRP and SCR program activations occur in real-time.

A. Incorporation of Scarcity Pricing in the Real-Time Optimization

Scarcity pricing will be incorporated into the optimization by establishing a supplemental 
30-Minute Reserve requirement in real-time during the periods when the NYISO has called upon 
EDRP resources and/or SCRs to provide load reduction.  The NYISO will seek to procure this 
additional 30-Minute Reserve requirement from eligible Suppliers located within the Load 
Zone(s) in which EDRP resources and/or SCRs have been activated.  Any resulting shortage in 
meeting the additional 30-Minute Reserve requirement will be priced at $500 per MW.8

New York Independent System Operator’s Response to the Commission’s Request for Further Information at 15-18 (May 30, 2013).

6 See Potomac Economics, 2013 State of the Market Report for the New York ISO Markets at 68 and 100 (May 2014), available at:

http://www.nyiso.com/public/webdocs/markets_operations/documents/Studies_and_Reports/Reports/Mar 
ket_Monitoring_Unit_Reports/2013/2013%20State%20of%20the%20Market%20Report.pdf.

7 New York Independent System Operator, Inc., 144 FERC ¶ 61,013 at P 27 (2013).

8 This represents the same value assigned to EDRP resources and SCRs under the current, ex post 
scarcity pricing logic.  This price is based on the curtailment strike price value submitted by nearly all 
SCRs.  Nearly 98 percent of all SCRs submit a strike price at or near $500 per MW.  See Docket No. 
ER01-3001-000, New York Independent System Operator, Inc., Annual Report at Attachment I, pp. 13-14 
(January 15, 2015).

Honorable Kimberly D. Bose November 30, 2015

Page 4

The amount of the additional 30-Minute Reserve requirement is based, in part, on the

expected load reduction to be provided by the EDRP resources and/or SCRs that the NYISO has 
activated (i.e., the “expected EDRP/SCR MW” value).  The expected EDRP/SCR MW value 
will be based on historical performance of EDRP resources and SCRs.  Separate values will be 
established for voluntary activations and mandatory activations.9  The expected EDRP/SCR MW 
value is the sum of the applicable value (i.e., voluntary or mandatory) for the Load Zone(s) 
activated by the NYISO for the same activation reason (i.e., the “scarcity reserve region”).10

Certain stakeholders raised concerns regarding the use of a 30-Minute Reserve product to 
incorporate scarcity pricing into the real-time optimization.  These stakeholders contended that 
this methodology could result in either: (i) inefficient dispatch of resources; or (ii) triggering of 
scarcity pricing during periods when the system may actually have sufficient resources available 
to meet all energy and reserve requirements absent the 30-minute ramp constraint imposed by 
use of a 30-Minute Reserve product.  In response to such concerns, the NYISO proposed to

offset the expected EDRP/SCR MW value by the amount of energy production capability that could be provided by available resources in greater than 30 minutes, but less than or equal to 60 minutes within the same Load Zone(s) as the activated demand response resources (i.e., the “available operating capacity” value).

This offset accounts for the fact that absent the availability of EDRP resources and SCRs, the real-time market software would seek to procure capability from Suppliers with longer 
ramping requirements.  The use of a 60-minute limitation appropriately aligns the value of the offset with the look-ahead functionality of the Real-Time Dispatch (“RTD”) software.

The NYISO also conducted an assessment of available capability during the most recent mandatory activations of the SCR program in July 2013 (i.e., July 15, 2013 through July 19, 2013).  As depicted in the following figures, the NYISO’s assessment demonstrates that during periods in which the EDRP and/or SCR program were activated very little, if any, additional capability is available that cannot be provided within 60 minutes.11

9 Mandatory activations refer to circumstances in which the NYISO has satisfied the notification requirements set forth in Section 5.12.11.1 of the Services Tariff for SCRs.  Voluntary activations 
encompass all activations of EDRP resources and SCR activations for which the NYISO has not satisfied the notification requirements of Section 5.12.11.1 of the Services Tariff.

10 For purposes of determining this value only, the “mandatory” value for SCRs will be utilized 
for all Load Zones as long as the NYISO has satisfied the notification requirements for any hour in any 
Load Zone for the day at issue.  In all other circumstances, the “voluntary” value for SCRs will be 
utilized.  The value assigned to EDRP resources will reflect the voluntary nature of the program.

11 On July 15, 2013 through July 17, 2013, the NYISO activated EDRP resources and SCRs in 
Southeastern New York (“SENY”) only.  On July 18, 2013 and July 19, 2013, the NYISO activated 
EDRP resources and SCRs in SENY only for the first hour of each event.  For the remaining duration of 
the events on these dates, the NYISO activated EDRP resources and SCRs in all Load Zones.  The figures 
demonstrate that during SENY activations, there was essentially no additional capability available beyond 
the amount that could be provided within 60 minutes.  During certain intervals of the statewide

Honorable Kimberly D. Bose November 30, 2015

Page 5

activations on July 18, 2013 and July 19, 2013, there was a very limited quantity of additional capability that could potentially be provided in greater than 60 minutes.

Honorable Kimberly D. Bose November 30, 2015

Page 6

Honorable Kimberly D. Bose November 30, 2015

Page 7

Assuming availability of production capability that cannot be provided in an hour or less may not be reasonable, especially during times of system constraints and high loads when the NYISO is most likely to call upon EDRP resources and/or SCRs.  The applicable expected EDRP/SCR 
MW value as offset by the applicable available operating capacity value will establish the 
additional 30-Minute Reserve requirement that the real-time software will seek to procure (i.e., the “scarcity reserve requirement”).

When the Load Zone(s) in which the NYISO has activated EDRP resources and/or SCRs 
are equivalent to the Load Zone(s) encompassed by an existing reserve region, the NYISO will 
revise the target level of reserves and the applicable 30-Minute Reserve demand curve for such 
region to include the applicable scarcity reserve requirement.  Any shortages of this additional 
requirement will be priced at $500 per MW.12  In circumstances where the activated Load 
Zone(s) are not equivalent to the Load Zone(s) encompassed by an existing reserve region, the 
NYISO will establish a separate 30-Minute Reserve requirement within the activated Load 
Zone(s) and apply a separate reserve demand curve for such area with any shortages in meeting 
the scarcity reserve requirement priced at $500 per MW (i.e., the “scarcity reserve demand 
curve”).

12 The NYISO currently establishes Operating Reserves requirements for four reserve regions: (i) 
the New York Control Area (“NYCA”) (i.e., all Load Zones); (ii) East of Central-East (i.e., Load Zones 
F-K); (iii) Southeastern New York (i.e., Load Zones G-K); and (iv) Long Island (i.e., Load Zone K).  The 
reserve regions are nested such that Operating Reserves held within a more constrained area 
simultaneously meet the needs of the larger area(s) within which it is nested.  For example, SENY is 
nested within both East of Central-East and NYCA.  Thus, Operating Reserves procured in SENY 
simultaneously serve to fulfill any applicable reserve requirements in East of Central-East and NYCA.

Honorable Kimberly D. Bose November 30, 2015

Page 8

Due to the nested nature of the NYISO’s reserve regions, it is also necessary to reflect the 
scarcity reserve requirement in “upstream” reserve regions to ensure appropriate pricing 
outcomes.  Accordingly, the NYISO will adjust the otherwise applicable 30-Minute Reserve 
requirement for the reserve region(s) to which all the Load Zone(s) of a scarcity reserve region 
belong to account for the scarcity reserve requirement relating thereto.  For example, if the 
NYISO activated EDRP resources and/or SCRs in Load Zones G-K (i.e., SENY), the otherwise 
applicable 30-Minute Reserve requirement for both the East of Central-East and NYCA regions 
would also be increased by an amount equal to the SENY scarcity reserve requirement.  If, 
however, the NYISO called upon EDRP resources and/or SCRs in Load Zones A-C and G-J to 
address the same reliability need, the scarcity reserve requirement for such activation would also 
be reflected in the NYCA region (i.e., the only reserve region to which all Load Zones that are 
part of the activation belong).

B. Related Adjustments to Shortage Pricing and Operating Reserve Requirements

Incorporation of scarcity pricing into the real-time optimization requires certain

corresponding revisions to ensure efficient market outcomes.  The NYISO proposes to increase 
the value of SENY 30-Minute Reserves from $25 per MW to $500 per MW, effective at all 
times.  This increase appropriately recognizes that EDRP resources and SCRs have historically 
been called upon to protect reserves in SENY.  This proposed change aligns the value of reserves 
with the cost of such resources.  During an activation of the EDRP and/or SCR program in 
SENY, this revised value also prevents the market software from electing to go short of lower-
priced reserves in order to fulfill the scarcity reserve requirement at a lesser cost.  Such an 
outcome would undermine the historically demonstrated purpose of activating EDRP resources 
and/or SCRs (i.e., to ensure the continued ability to hold sufficient reserves in SENY).

The proposed increase to the value of SENY 30-Minute Reserves necessitates a

corresponding adjustment to the value of the middle pricing point of the Regulation Service

Demand Curve (i.e., relating to shortages of Regulation Service greater than 25 MW, but less

than 80 MW).  The NYISO proposes to increase this value from $400 per MW to $525 per MW, 
effective at all times.  This adjustment maintains proper economic trade-offs between scheduling 
resources to provide Regulation Service or Operating Reserves.  Increasing this value prevents 
the market software from electing to go short of Regulation Service in order to provide SENY 
30-Minute Reserves.

Increasing the value of the SENY 30-Minute reserve demand curve to $500 per MW also 
requires adjustments to the target level for SENY 30-Minute Reserves during Storm Watch 
events.  Storm Watch events occur during actual or anticipated severe weather conditions. 
During these events, specific portions of the transmission system are operated in a more 
conservative manner by reducing transmission transfer limits.  Maintaining 1,300 MW of 
reserves in SENY during Storm Watch operations would result in the NYISO operating the 
system to N-1-1-1 criterion.  Valuing any shortage of the 1,300 MW SENY reserve requirement 
at $500 per MW during Storm Watch events would not accurately reflect system conditions due 
to the operating requirements during such events.  To ensure proper pricing outcomes, the 
NYISO will reduce the SENY 30-Minute Reserve requirement to zero during Storm Watch

Honorable Kimberly D. Bose November 30, 2015

Page 9

events.  This adjustment reflects the effective conversion of reserves held on facilities in SENY to reliance on reserves from other areas within NYCA by increasing available transfer capability through reduced flows into SENY.

The NYISO is also proposing to increase the NYCA 30-Minute Reserve demand curve

values priced at less than $500 per MW to $500 per MW, effective in real-time during any EDRP and/or SCR program activation.  This adjustment provides that, if activating a subset of all Load Zones assists in avoiding a shortage of statewide reserves, the NYCA Operating Reserves prices will appropriately reflect the value of the EDRP resources and/or SCRs.

The shortage pricing enhancements recently implemented by the NYISO included the 
application of a limitation on the contribution of reserves held on Long Island toward meeting 
the reserve requirements outside Long Island.13  This limitation appropriately recognizes certain 
transmission constraints that limit the flow of energy off Long Island.  NYISO operators conduct 
certain assessments of the transmission system capability prior to calling on EDRP resources 
and/or SCRs on Long Island to provide assistance outside Long Island.  These assessments 
determine whether the expected load reduction of demand response resources on Long Island 
will be deliverable off Long Island.  Operators only activate demand response resources on Long 
Island to provide assistance to other areas of the State if such deliverability is confirmed.  If 
EDRP resources and/or SCRs on Long Island are activated, the NYISO will increase the 
limitation on the contribution of Long Island reserves to the rest of the State by an amount equal 
to the applicable expected EDRP/SCR MW value of the demand response resources located on 
Long Island.  This increase to the limitation will apply for the duration of the EDRP and/or SCR 
program activation in real-time.

IV.	Description of Tariff Amendments

A. Definitions

The NYISO proposes to add the following definitions to Section 2 of the Services Tariff and Section 1 of the OATT: (i) “Available Operating Capacity;” (ii) “Expected EDRP/SCR 
MW;” (iii) “Scarcity Reserve Demand Curve;” (iv) “Scarcity Reserve Region;” and (v) “Scarcity Reserve Requirement.”

The NYISO proposes to define Available Operating Capacity as follows:

Available Operating Capacity: For purposes of determining a 
Scarcity Reserve Requirement, the capability of all Suppliers that 
are eligible to provide Operating Reserves and have submitted 
Energy Bids in the Real-Time Market to provide Energy in greater 
than 30 minutes but less than or equal to 60 minutes; provided,

13 See Docket No. ER15-1061-000, New York Independent System Operator, Inc., Proposed Tariff Revisions to Ancillary Service Demand Curves and the Transmission Shortage Cost at 4-5 (February 18, 2015); and Docket No. ER15-1061-000, supra, Letter Order (November 18, 2015).

Honorable Kimberly D. Bose November 30, 2015

Page 10

however, that this value shall not include any quantity of Energy 
and Operating Reserves scheduled to be provided by all such 
Suppliers.  The Available Operating Capacity value (in MW) shall 
be calculated by the RTD software for each normal RTD run.  For 
purposes of calculating a Scarcity Reserve Requirement in 
accordance with Section 15.4.6.2 of Rate Schedule 4 of this ISO 
Services Tariff, each RTD run shall utilize the value of Available 
Operating Capacity calculated during the immediately preceding 
normal RTD run and each RTC run shall utilize the value of 
Available Operating Capacity calculated during the most recently-
completed normal RTD run prior to the RTC run.

Available Operating Capacity represents the quantity of available production capability of

greater than 30 minutes but less than or equal to 60 minutes from Suppliers that have submitted bids in the Real-Time Market.  This value will be calculated during each normal RTD run.  This value will be subtracted from the expected load reduction from EDRP resources and/or SCRs to determine the quantity of additional 30-Minute Reserves that the NYISO will seek to procure in real-time for the duration of a given EDRP and/or SCR program activation.

The NYISO proposes to add the following new definition for Expected EDRP/SCR MW:

Expected EDRP/SCR MW: The aggregate Load reduction (in

MW) expected to be realized from EDRP and/or SCRs during the 
real-time intervals that the ISO has called upon EDRP and/or SCRs 
to provide Load reduction in a Scarcity Reserve Region, as 
determined based on the ISO’s calculation of the historical 
performance of EDRP and SCRs.  There will be separate values for 
voluntary and mandatory Load reductions.  When determining the 
historical performance of SCRs, provision of Load reduction shall 
be deemed mandatory if the ISO has satisfied the notification 
requirements set forth in Section 5.12.11.1 of this ISO Services 
Tariff as it relates to the SCRs in the applicable Load Zone, 
otherwise provision of such Load reduction shall be deemed 
voluntary.  When determining the historical performance of the 
EDRP, provision of Load reduction by EDRP shall be deemed 
voluntary.

The Expected EDRP/SCR MW value represents the quantity of load reduction that the NYISO anticipates to receive in real-time from the activated EDRP resources and/or SCRs.  The NYISO will determine separate values for this quantity based on whether a given demand response 
activation is deemed mandatory or voluntary.  This value is utilized in determining the quantity of additional 30-Minute Reserves that the NYISO will seek to procure in real-time for the 
duration of an EDRP and/or SCR program activation.

Honorable Kimberly D. Bose November 30, 2015

Page 11

The following definition of Scarcity Reserve Demand Curve is proposed for addition to the Services Tariff and the OATT:

Scarcity Reserve Demand Curve: A series of quantity/price 
points that defines the maximum Shadow Price for Operating 
Reserves to meet a Scarcity Reserve Requirement for which the 
pricing rules established in Section 15.4.6.1.1(b) of Rate Schedule

4 of this ISO Services Tariff apply corresponding to each possible 
quantity of Resources that the ISO’s software may schedule to 
satisfy that requirement.  A single Scarcity Reserve Demand Curve 
will apply to the Real-Time Market for each such Scarcity Reserve 
Requirement.

In circumstances where the Load Zone(s) in which demand response resources activated by the NYISO do not match the Load Zone(s) encompassed by an existing reserve region, the NYISO will create a separate Scarcity Reserve Demand Curve to apply to the additional 30-Minute Reserve requirement in the activated Load Zone(s).

The NYISO proposes to define Scarcity Reserve Region as follows:

Scarcity Reserve Region: A Load Zone or group of Load Zones containing EDRP and/or SCRs that have been called by the ISO to address the same reliability need, as such reliability need is 
determined by the ISO.

A Scarcity Reserve Region is established for the Load Zone(s) in which the NYISO activates 
EDRP resources and/or SCRs for the same reliability reason.  The Scarcity Reserve Region 
defines the geographic area within which resources must be located in order to provide the 
additional 30-Minute Reserve requirement that will be utilized to incorporate scarcity pricing 
into the real-time optimization.  If the NYISO activates EDRP resources and/or SCRs in 
different geographic areas in response to different reliability needs, the NYISO may establish 
more than one Scarcity Reserve Region in real-time.  For example, if the NYISO simultaneously activated Load Zones A-C to meet one reliability need and Load Zones G-K to meet a different 
reliability need, the NYISO would establish two separate Scarcity Reserve Regions for the 
duration of the respective activations (i.e., one region encompassing Load Zones A-C and a 
second region encompassing Load Zones G-K).

The NYISO proposes to add the following new definition for Scarcity Reserve Requirement:

Scarcity Reserve Requirement: A 30-Minute Reserve

requirement established by the ISO for a Scarcity Reserve Region 
in accordance with Rate Schedule 4 of this ISO Services Tariff.

Honorable Kimberly D. Bose November 30, 2015

Page 12

A Scarcity Reserve Requirement represents the amount of additional 30-Minute Reserves

required to be procured within a Scarcity Reserve Region.  Section 15.4.6.2 of Rate Schedule 4 of the Services Tariff establishes the methodology for calculating the value of each Scarcity Reserve Requirement.

B. Services Tariff Rate Schedule 3

The NYISO proposes to delete references to the current, ex post scarcity pricing

implementation in Section 15.3.5.1 of Rate Schedule 3 of the Services Tariff.  The NYISO also proposes to delete Section 15.3.5.2 of Rate Schedule 3 of the Services Tariff in its entirety 
because it describes the current, ex post scarcity pricing methodology that is being replaced by Comprehensive Scarcity Pricing.  Deletion of Section 15.3.5.2 requires renumbering of the 
subsequent subsections within Section 15.3.5, as well revisions to subsection cross-references therein and within Section 15.3.3(b).

The NYISO also proposes to revise Section 15.3.7 of Rate Schedule 3 of the Services

Tariff to increase the value of the middle pricing point of the Regulation Service Demand Curve from $400 per MW to $525 per MW.  As described in Section III.B above, this revision is 
required to maintain proper trade-offs within the market software related to the scheduling of Regulation Service and 30-Minute Reserves.

C. Services Tariff Rate Schedule 4

The proposed revisions to Rate Schedule 4 of the Services Tariff provide for: (i)

establishing a requirement to procure additional 30-Minute Reserves in real-time during

activations of the EDRP and/or SCR program (i.e., Scarcity Reserve Requirement); (ii) the

calculation of the applicable Scarcity Reserve Requirement for each EDRP and/or SCR program activation; (iii) inclusion of costs related to procuring Operating Reserves to meet each Scarcity Reserve Requirement in Real-Time Market prices; (iv) establishment of revised 30-Minute 
Reserves demand curves to apply in real-time during certain EDRP and/or SCR program 
activations; (v) adjustments to the statewide 30-Minute Reserves demand curve values in realtime during all EDRP and/or SCR program activations; (vi) revising the value of the SENY 30-
Minute Reserves demand curve; and (vii) establishment of a Scarcity Reserve Demand Curve to apply in real-time during certain EDRP and/or SCR program activations.

Proposed revisions to Section 15.4.1.1 of Rate Schedule 4 of the Services Tariff provide 
for the establishment of Scarcity Reserve Requirements in real-time during EDRP and/or SCR 
program activations.  These revisions also establish the obligation for the NYISO to procure 
Operating Reserves to meet such requirements.  Section 15.4.1.1 also establishes the eligibility 
criteria for resources to supply Operating Reserves to meet Scarcity Reserve Requirements. 
Suppliers eligible to provide 30-Minute Reserves and located within the Scarcity Reserve Region 
associated with a Scarcity Reserve Requirement will be eligible to provide reserves to meet such 
requirements.

Honorable Kimberly D. Bose November 30, 2015

Page 13

The NYISO proposes to revise Section 15.4.3.1 of Rate Schedule 4 of the Services Tariff to provide that procurement of Operating Reserves necessary to meet Scarcity Reserve 
Requirements will be part of the co-optimized real-time commitment and dispatch processes. The NYISO also proposes to revise Section 15.4.4.1 of Rate Schedule 4 of the Services Tariff to clarify that the real-time prices calculated by the NYISO will, as appropriate, reflect costs related to meeting Scarcity Reserve Requirements.

Section 15.4.4.2 of Rate Schedule 4 of the Services Tariff establishes special settlement 
rules for Suppliers of Operating Reserves located on Long Island.  The NYISO proposes to 
revise these rules to address payments to Long Island Operating Reserves providers during 
EDRP and/or SCR program activations.  If an activation of the EDRP and/or SCR program 
includes Long Island in addition to at least one other Load Zone, the NYISO will pay Suppliers 
of Operating Reserves located on Long Island based on the applicable SENY Operating Reserves 
prices, as adjusted to account for any costs related to meeting the applicable Scarcity Reserve 
Requirement.

Section 15.4.4.3 of Rate Schedule 4 of the Services Tariff provides that the NYISO may substitute higher quality reserves to meet the requirements related to lower quality reserve 
products if such substitution results in a lower total, as-bid cost of fulfilling the applicable 
reserve requirements.14  The proposed revisions clarify that this same substitution authority applies equally to meeting any Scarcity Reserve Requirements in real-time.

The NYISO proposes revisions to Section 15.4.6 of Rate Schedule 4 of the Services

Tariff to appropriately reflect the costs related to meeting Scarcity Reserve Requirements in realtime prices.  The NYISO proposes to add a new subsection 15.4.6.1.1 to address the procedures for incorporating Scarcity Reserve Requirement costs in real-time prices.

Subsection 15.4.6.1.1(a) addresses circumstances where the Load Zone(s) included as

part of an activation of the EDRP and/or SCR program match the Load Zone(s) encompassed by an existing reserve region.  In these circumstances, the NYISO will adjust the otherwise 
applicable 30-Minute Reserve requirement for the applicable reserve region to reflect the 
Scarcity Reserve Requirement.  The Shadow Price associated with meeting this revised 30-
Minute Reserve requirement constraint will be reflected in the applicable 30-Minute Reserve requirement constraint Shadow Price for the affected reserve region and utilized in the same manner as described in the formulae set forth in Section 15.4.6.1.

Subsection 15.4.6.1.1(b) relates to situations where the Load Zone(s) included as part of 
an activation of the EDRP and/or SCR program do not match the Load Zone(s) encompassed by 
an existing reserve region.  In these circumstances, the NYISO will reflect the Shadow Price 
associated with meeting the Scarcity Reserve Requirement constraint as an addition to the 
otherwise applicable Shadow Price of the 30-Minute Reserve requirement constraint for the 
reserve region to which all the Load Zone(s) of a Scarcity Reserve Region belong.  In such cases,

14 The ordering of Operating Reserves from highest to lowest quality is as follows: (i) Spinning Reserves; (ii) 10-Minute Non-Synchronized Reserves; and (iii) 30-Minute Reserves.

Honorable Kimberly D. Bose November 30, 2015

Page 14

the additional cost component related to meeting the Scarcity Reserve Requirement constraint is limited to being included in the calculation of prices for only the Load Zone(s) included as part of the Scarcity Reserve Region.

The NYISO proposes to delete the language in Section 15.4.6.2 of Rate Schedule 4 of the 
Services Tariff that describes the current, ex post scarcity pricing methodology.  This includes 
deletion of subsections 15.4.6.2.1, 15.4.6.2.2 and 15.4.6.2.3 in their entirety.  In place of the 
existing language, the NYISO proposes to revise Section 15.4.6.2 to describe the methodology 
for calculating the value of each Scarcity Reserve Requirement.  A Scarcity Reserve 
Requirement is calculated as the sum of the applicable Expected EDRP/SCR MW values for the 
Load Zone(s) encompassed by an activation of the EDRP and/or SCR program, less the 
Available Operating Capacity value for the same Load Zone(s); provided, however, that the 
resulting value cannot be less than zero.  For example, if the aggregate Expected EDRP/SCR 
MW value for a hypothetical activation was 500 MW and the applicable Available Operating 
Capacity value for a particular interval was 100 MW, the NYISO would establish a Scarcity 
Reserve Requirement of 400 MW.

Section 15.4.6.3 of Rate Schedule 4 of the Services Tariff provides the methodology for calculating balancing payments/charges resulting from deviations between a Supplier’s Day-
Ahead Operating Reserves schedule and its real-time Operating Reserves schedule.  The NYISO proposes revisions to Section 15.4.6.3 to clarify that the calculation of any balancing 
charges/payments will, as appropriate, account for real-time prices that reflect any applicable 
Scarcity Reserve Requirements.

The NYISO proposes several revisions within Section 15.4.7 of Rate Schedule 4 of the 
Services Tariff to address the implications of Scarcity Reserve Requirements on the applicable 
30-Minute Reserve demand curves in real-time during activations of the EDRP and/or SCR 
program.  The proposed revisions provide that in circumstances where the Load Zone(s) included 
as part of an activation of the EDRP and/or SCR program match the Load Zone(s) encompassed 
by an existing reserve region, the NYISO will utilize a revised 30-Minute Reserve demand curve 
for the affected reserve region.15  The revised demand curves reflect the addition of the Scarcity 
Reserve Requirement to the otherwise applicable 30-Minute Reserve requirement for the 
affected reserve region, with any shortage in meeting the Scarcity Reserve Requirement priced at 
$500 per MW.

When the Load Zone(s) included as part of an activation of the EDRP and/or SCR

program do not match the Load Zone(s) encompassed by an existing reserve region, the NYISO 
will implement a separate Scarcity Reserve Demand Curve for the affected Load Zone(s) in real-

15 The revised 30-Minute Reserve demand curves that will apply in these circumstances are set 
forth in the following provisions of Section 15.4.7: (i) Section 15.4.7(i) for statewide activations (i.e., all 
Load Zones); (ii) Section 15.4.7(j) for East of Central-East activations (i.e., Load Zones F-K); (iii) 
Section 15.4.7(k) for Southeastern New York activations (i.e., Load Zones G-K); and (iv) Section

15.4.7(l) for Long Island activations (i.e., Load Zone K).

Honorable Kimberly D. Bose November 30, 2015

Page 15

time for the duration of the activation.  The Scarcity Reserve Demand Curve will price any shortage in meeting the applicable Scarcity Reserve Requirement at $500 per MW.

Due to the nested nature of the NYISO’s existing reserve regions, the NYISO also

proposes revisions to Section 15.4.7 to reflect any Scarcity Reserve Requirements in “upstream” 
reserve regions in addition to the inclusion of this additional 30-Minute Reserve requirement in 
the Scarcity Reserve Region.  As described in Section III.A above, accounting for the Scarcity 
Reserve Requirement in “upstream” reserve regions is necessary to provide proper pricing 
outcomes.  The proposed revisions establish that, in addition to reflecting the Scarcity Reserve 
Requirement in the Scarcity Reserve Region, this requirement will also be accounted for in the 
existing reserve region(s) to which all of the Load Zone(s) included in the Scarcity Reserve 
Region belong.

The NYISO proposes to increase the value of the SENY 30-Minute Reserve demand

curve from $25 per MW to $500 per MW.  As described in Section III.B above, this proposal: (i) 
appropriately recognizes that EDRP resources and SCRs have historically been called upon to 
protect SENY reserves; and (ii) aligns the value of SENY reserves with the cost of such 
resources.

The NYISO also proposes to increase the statewide 30-Minute Reserve demand curve prices valued at less than $500 per MW to $500 per MW in real-time for the duration of all 
EDRP and/or SCR program activations.  As further detailed in Section III.B above, this revision seeks to properly reflect the cost of EDRP resources and/or SCRs in real-time prices to the extent that such resources assist in avoiding a statewide shortage of 30-Minute Reserves.

The NYISO proposes to modify the requirements for periodic reviews of the Operating Reserve Demand Curves in Section 15.4.7.  The proposed revisions provide that Comprehensive Scarcity Pricing will be included as part of these periodic reviews.

The NYISO also proposes a ministerial revision to Section 15.4.7 to clarify that the

Operating Reserve Demand Curves and Scarcity Reserve Demand Curves are utilized by both of NYISO’s real-time co-optimization software systems - Real-Time Commitment (“RTC”) and RTD.  Reference to RTC was inadvertently omitted from the current language.

D. Additional Tariff Revisions

The NYISO proposes certain other revisions to the following tariff provisions in

connection with Comprehensive Scarcity Pricing: (i) Section 4.4 of the Services Tariff; (ii) Attachment B of the Services Tariff; (iii) Attachment O of the Services Tariff; and (iv) Rate Schedule 3 of the OATT.

The NYISO proposes to delete Section 4.4.2.7 of the Services Tariff in its entirety

because it describes the current, ex post scarcity pricing methodology that is being replaced by 
Comprehensive Scarcity Pricing.  Deletion of this section requires renumbering of the 
subsequent subsection within Section 4.4.2.  The NYISO also proposes to revise language in

Honorable Kimberly D. Bose November 30, 2015

Page 16

Sections 4.4.2.5 and 4.4.2.6 of the Services Tariff to replace references to the current, ex post

logic with references to the new scarcity pricing methodology.  The NYISO proposes to include a reference to Scarcity Reserve Requirements within Sections 4.4.3.1.1 and 4.4.3.1.2 of the 
Services Tariff.  These additions clarify that during use of either the reserve pickup or maximum generation pickup modes of the Real-Time Dispatch-Corrective Action Mode (“RTD-CAM”) software, the NYISO will continue to recognize and satisfy any Scarcity Reserve Requirements that may be effective during such periods.

The NYISO proposes to delete Section 17.1.2.2 of Attachment B of the Services Tariff in its entirety.  This provision describes the current, ex post scarcity pricing logic that is being 
replaced by Comprehensive Scarcity Pricing.  The NYISO also proposes to delete language in Sections 17.1.1 and 17.1.2 that refers to the current, ex post scarcity pricing methodology.  The NYISO proposes to revise Section 17.1 to include a reference to the potential for establishing a Scarcity Reserve Demand Curve for certain Scarcity Reserve Requirements.

The NYISO proposes to revise Section 30.4.6.4.2 of Attachment O of the Services Tariff 
to include reference to the potential establishment of a Scarcity Reserve Demand Curve for 
certain Scarcity Reserve Requirements.  These revisions provide that the Scarcity Reserve 
Demand Curves are subject to the same periodic reviews as all other Operating Reserve Demand 
Curves.

The proposed renumbering of subsections within Section 15.3.5 of Rate Schedule 3 of the 
Services Tariff requires updates to certain cross-references to the Services Tariff within Rate 
Schedule 3 of the OATT.  The NYISO proposes to update certain cross-references in Section

6.3.2.2 of Rate Schedule 3 of the OATT to reflect such renumbering.

V.	Effective Date

The NYISO respectfully requests Commission action within sixty days from the date of this filing (i.e., January 29, 2016) in order to provide the NYISO and Market Participants with timely notice that the changes proposed herein have been accepted.  Such timely action by the Commission will: (a) allow the NYISO to confidently proceed with developing and deploying the software changes necessary to implement Comprehensive Scarcity Pricing; and (b) enable the NYISO to achieve the desired effective date for this proposal.

The NYISO requests a flexible effective date for the tariff revisions proposed in this

filing.  The NYISO proposes to submit a compliance filing at least two weeks prior to the

proposed effective date that will specify the date on which these revisions will take effect.  The 
NYISO currently anticipates the proposed revisions becoming effective on or before June 30, 
2016.  The NYISO, however, will be unable to propose a precise effective date until the software 
changes necessary to implement Comprehensive Scarcity Pricing are ready for deployment and 
testing thereof is completed.  Consistent with Commission precedent, the compliance filing will

Honorable Kimberly D. Bose November 30, 2015

Page 17

provide adequate notice to the Commission and Market Participants of the implementation date for Comprehensive Scarcity Pricing.16

To the extent necessary, the NYISO requests a waiver of the Commission’s regulations to 
allow the NYISO to make this filing more than 120 days prior to the date on which the proposed 
service is to become operational.17  No Market Participant will be prejudiced by this request 
because the proposed implementation timeframe was developed in consultation with Market 
Participants.  As such, Market Participants have known for some time that Comprehensive 
Scarcity Pricing is not likely to become effective until on or before June 30, 2016.  Furthermore, 
as noted above, the NYISO will provide at least two weeks prior notice before implementation of 
Comprehensive Scarcity Pricing.

VI.	Requisite Stakeholder Approval

The proposed amendments were approved by the NYISO Management Committee on October 28, 2015 by a show of hands vote with one vote in opposition.  The NYISO’s Board of Directors approved the proposed revisions on November 17, 2015.

VII.	Communications and Correspondence

All communications and service in this proceeding should be directed to:

Robert E. Fernandez, General Counsel

Raymond Stalter, Director, Regulatory Affairs *Garrett E. Bissell, Senior Attorney

10 Krey Boulevard

Rensselaer, NY 12144 
Tel:  (518) 356-6107 
Fax: (518) 356-7678

gbissell@nyiso.com

*Person designated for receipt of service.

VIII.	Service

The NYISO will send an electronic link to this filing to the official representative of each 
of its customers, to each participant on its stakeholder committees, to the New York State Public 
Service Commission, and to the New Jersey Board of Public Utilities.  In addition, the complete 
filing will be posted on the NYISO’s website at www.nyiso.com.

16 See, e.g., New York Independent System Operator, Inc., 106 FERC ¶ 61,111 at P 10 (2004); 
Docket No. ER11-2544-000, New York Independent System Operator, Inc., Letter Order at 1 (February 
10, 2011); Docket No. ER15-485-000, New York Independent System Operator, Inc., Letter Order at 2 
(January 15, 2015); and New York Independent System Operator, Inc., 151 FERC ¶ 61,057 at P 20 (2015).

17 See 18 C.F.R. § 35.3(a)(1).

Honorable Kimberly D. Bose November 30, 2015

Page 18

IX.	Conclusion

For the foregoing reasons, the NYISO respectfully requests that the Commission accept for filing the proposed revisions to the Services Tariff and the OATT that are attached hereto within sixty days of the date of this filing (i.e., by January 29, 2016) with a flexible effective date to be provided with two weeks’ notice.

Respectfully submitted,

/s/ Garrett E. Bissell 
Garrett E. Bissell 
Senior Attorney

New York Independent System Operator, Inc.

10 Krey Blvd.

Rensselaer, New York 12144 (518) 356-6107

gbissell@nyiso.com

cc:	Michael Bardee

Anna Cochrane 
Kurt Longo 
Max Minzner 
Daniel Nowak 
Larry Parkinson

J. Arnold Quinn 
Douglas Roe

Kathleen Schnorf 
Jamie Simler 
Gary Will