UNITED STATES OF AMERICA 
	BEFORE THE

FEDERAL ENERGY REGULATORY COMMISSION

)

Review of Generator Interconnection Agreements and Procedures

American Wind Energy Association

)

)	Docket No. RM16-12-000 
)

)	Docket No. RM15-21-000 
)

COMMENTS OF THE

NEW YORK INDEPENDENT SYSTEM OPERATOR, INC.

Pursuant to the Federal Energy Regulatory Commission’s (“Commission”) Notice

Inviting Post-Technical Conference Comments (“Notice Inviting Comments”) issued on June 3, 
2016,1 the New York Independent System Operator, Inc. (“NYISO”) submits these comments in 
response to certain questions posed by the Commission.  These comments supplement the 
comments that the NYISO submitted on September 8, 2015, individually,2 and with other 
Independent System Operators (“ISOs”) and Regional Transmission Organizations (“RTOs”),3 
in response to the June 19, 2015 petition by the American Wind Energy Association 
(“AWEA”).4

1 Review of Generator Interconnection Agreements and Procedures and American Wind Energy Association, Notice Inviting Post-Technical Conference Comments, Docket Nos. RM16-12-000 and 
RM15-21-000 (June 3, 2016); Review of Generator Interconnection Agreements and Procedures and 
American Wind Energy Association, Notice of Extension of Time, Docket Nos. RM16-12-000 and 
RM15-21-000 (June 16, 2016).

2 American Wind Energy Association, Motion to Intervene and Comments of the New York Independent System Operator, Inc., Docket No. RM15-21-000 (September 8, 2015).

3 American Wind Energy Association, Joint Comments of the California Independent System

Operator Corporation, the Midcontinent Independent System Operator, Inc., the New York Independent System Operator, Inc., and PJM Interconnection, L.L.C. on Petition to Revise Generator Interconnection Rules and Procedures, Docket No. RM15-21-000 (September 8, 2015); American Wind Energy 
Association, Comments of the ISO/RTO Council on Petition to Revise Generator Interconnection Rules and Procedures, Docket No. RM15-21-000 (September 8, 2015).

The NYISO reiterates in these comments that it strongly urges the Commission to

maintain the regional flexibility in interconnection processes provided for in Order No. 2003 and 
subsequent Commission orders that allows for regional variations from the Commission’s pro 
forma Large Generator Interconnection Procedures and pro forma Large Generator 
Interconnection Agreement, which variations are carefully tailored to the unique circumstances 
and stakeholders in each region.  The NYISO agrees with the goal of ensuring that 
interconnection processes are efficient, cost-effective, transparent, and provide for the provision 
of timely and accurate information and administers its interconnection process set forth in its 
Commission-approved tariff in a manner consistent with these goals.  Rather than order specific 
“one-size-fits-all” process improvements via a national rulemaking, the NYISO requests that the 
Commission permit it to develop appropriate solutions and process improvements through a 
collaborative effort with its stakeholders.

The NYISO has not hesitated to propose revisions to its tariff where the NYISO and its 
stakeholders have identified areas of potential process improvements.  Indeed, the NYISO has 
adopted a long line of improvements to its interconnection process, driven largely by stakeholder 
input, that are carefully tailored to circumstances unique to New York.  Just this month, the 
Commission approved tariff revisions the NYISO developed with its stakeholders that were 
prompted by concerns expressed by AWEA and its members related to their desire for increased 
flexibility in the interconnection process.5  In addition, the NYISO has committed to its

4 American Wind Energy Association, Petition for Rulemaking of the American Wind Energy

Association to Revise Generator Interconnection Rules and Procedures, Docket No. RM15-21-000 (June 19, 2015) (“AWEA Petition”).

5 New York Independent System Operator, Inc., Tariff Revisions Regarding Interconnection

Process Improvements, Docket No. ER16-1627-000 (June 6, 2016) (unpublished letter order) (approving tariff revisions intended to provide flexibility to interconnection customers by providing additional time to meet certain regulatory milestones and by permitting provisional entry into a Class Year Study pending satisfaction of the applicable regulatory milestone).

2

stakeholders to begin a comprehensive queue reform initiative in the third quarter of 2016 to

examine further opportunities with its stakeholders for improving its interconnection process for the benefit of all interconnection customers and ultimately consumers, including considering certain process enhancements described in the below comments.  As part of this previously-
planned queue reform process, the NYISO will be giving full consideration as to whether any of the proposals raised by AWEA in its petition or discussed at the recent Commission technical conference may have merit for New York.

I.	IDENTIFICATION OF FILING PARTY

The NYISO is the independent, not-for-profit corporation responsible for providing open 
access transmission service, maintaining reliability, and administering competitive wholesale 
markets for electricity, capacity, and ancillary services in New York State.  The NYISO 
administers the interconnection process for the New York State Transmission System and 
Distribution System pursuant to its Commission-approved Open Access Transmission Tariff 
(“OATT”).6   This proceeding involves questions related to potential revisions to the 
interconnection procedures applicable across all regions, including those administered by the 
NYISO pursuant to its OATT.

6 Terms with initial capitalization that are not otherwise defined herein shall have the meaning set forth in Attachments S and X of the NYISO’s Open Access Transmission Tariff (“OATT”), or, if not defined therein, in Section 1 of the OATT or Section 2 of the NYISO’s Market Administration and 
Control Area Services Tariff (“Services Tariff”).

3

II.	RESPONSES TO QUESTIONS POSED IN THE NOTICE INVITING

COMMENTS

A. 	Questions on Coordination/Queue Management

Question 1.1. During the technical conference panel on coordination, there was

discussion as to how the different RTOs/ISOs vary in design and operations that necessitate the need for regional flexibility (i.e., the independent entity variation standard or the regional 
differences standard) for generator interconnection procedures.  Please explain in further detail how the varying market design and operations necessitate regional differences in the generator interconnection queue processes.

NYISO Response to Question 1.1.  The NYISO continues to believe that differences among the different regions’ system characteristics, market design, planning requirements, and operations necessitate regional differences in their interconnection procedures.  The Commission explicitly recognized, in Order No. 2003 and in numerous subsequent orders, the need for 
regional flexibility in interconnection procedures in light of the significant differences affecting the various regions.7  In the NYISO, the regional variations approved by the Commission have been appropriate in light of, among other things, electrical characteristics, system topography and generation siting requirements uniquely affecting the NYISO.

The need for requirements unique to New York is due in large part to the fact that the

NYISO has a load center in New York City that is one of the largest in the country.  This creates

7 Standardization of Generator Interconnection Agreements and Procedures, Order No. 2003,

FERC Stats. & Regs. ¶ 31,146 (2003), order on reh’g, Order No. 2003-A, FERC Stats. & Regs. ¶ 31,160, 
order on reh’g, Order No. 2003-B, FERC Stats. & Regs. ¶ 31,171 (2004), order on reh’g, Order No. 
2003-C, FERC Stats. & Regs. ¶ 31,190 (2005), aff'd sub nom. Nat’l Ass’n of Regulatory Util. Comm’rs v. 
FERC, 475 F.3d 1277 (D.C. Cir. 2007) (“Order No. 2003”) at P 827 (acknowledging the differing 
characteristics of each region and providing ISO/RTOs with the flexibility to seek independent entity 
variations from the final rule “to customize its interconnection procedures and agreements to fit regional 
needs”).

4

unique challenges with regard to the transmission of electricity from generation sources located in upstate New York (including the majority of New York’s wind and large hydro-electric 
resources) to the load centers in downstate New York.

To address these unique challenges, the NYISO has Localities and Locational Minimum 
Installed Capacity Requirements.  The NYISO’s Deliverability Interconnection Standard was 
developed in light of such capacity requirements and has resulted in an analysis unique to the 
NYISO’s interconnection process with unique implications to interconnection customers that 
seek to become Installed Capacity Suppliers in New York.  The NYISO’s deliverability analysis 
is performed as part of a grouped Class Year Study in which projects requesting Capacity

Resource Interconnection Service are studied together to determine their collective impact on deliverability within their particular Capacity Region.  The result of such analysis may result in deliverability constraints that, if not addressed through System Deliverability Upgrades for 
which the interconnection customer agrees to post Security, limit the interconnection customer’s ability to participate in the NYISO’s market as an Installed Capacity Supplier.

The NYISO’s deliverability analysis is but one prong of its unique Class Year Study process.  The hallmark of the NYISO’s Class Year Study process is that it is performed for a group of projects that have achieved similar interconnection milestones to determine the 
cumulative impact of such projects.  Through this unique clustered study, the NYISO is able to equitably allocate upgrade costs and generate detailed good faith cost estimates that provide reasonable closure on upgrade costs.

A fundamental element of the Class Year Study and other NYISO interconnection studies 
is the unique set of reliability requirements that must be examined under the NYISO’s Minimum

5

Interconnection Standard.  Because the NYISO’s geographic footprint is limited to the State of 
New York, the NYISO is subject to requirements of the New York State Reliability Council -
requirements not applicable to any other ISO or RTO.  These requirements are among the 
Applicable Reliability Requirements that guide the evaluation of projects under the Minimum 
Interconnection Standard in the NYISO’s interconnection procedures and may trigger upgrades 
that would not be triggered under standards applicable in other states or regions.

As a single-state ISO, the NYISO’s interconnection procedures must also recognize New 
York State’s permitting process with respect to generation and transmission.  This permitting 
process and the regulatory milestones from such process that are referenced in the NYISO’s 
interconnection procedures were the subject of the NYISO’s most recent interconnection queue 
improvement.8

Each region contains a different mix of resources, resulting in different issues and

attributes that each region must address in its interconnection procedures.  While certain regions have experienced recent surges of solar interconnection requests, other have experiences surges in wind generator interconnection requests or energy storage interconnection requests.  These factors are attributable in large part to state renewable portfolio requirements that differ in 
different parts of the country.

In addition, while certain regions receive a large number of interconnection requests from 
wind generators proposing to build their facilities in remote locations, requiring long generator 
lead lines to interconnect to the bulk transmission system, the NYISO, being a one-state ISO 
with a limited geographic footprint, has not.  Unlike other regions, however, the NYISO is likely

8 See note 5.

6

to see penetration of distributed energy resources (“DER”) at a much more significant pace than other regions in light of the New York Public Service Commission’s “Reforming the Energy Vision” plan9 and recent revisions to the NYISO’s interconnection procedures to include Behindthe-Meter Net Generation Resources.10

The NYISO and its stakeholders have spent significant time and resources over the last decade in refining and enhancing its interconnection procedures in light of circumstances and 
concerns specific to New York.  As illustrated above, these procedures do not exist in a vacuum, but rather are intertwined with the NYISO’s market and planning requirements and reflect 
unique market rules (e.g., the absence of physical transmission rights), regional and state 
reliability requirements, state siting requirements, and a particular resource mix and transmission topography.  In addition, the NYISO has continued to develop its market rules and planning 
requirements in line with the interconnection procedures accepted by the Commission.  The 
interconnection procedures, therefore, should not be significantly revised without fully 
considering the impacts of such changes in diverse areas.

9 See, New York Public Service Commission, Order Adopting Order Adopting a Ratemaking and 
Utility Revenue Model Policy Framework, Proceeding on Motion of the Commission in Regard to 
Reforming  the Energy Vision, Case 14-M-0101 (May 19, 2016); see also New York Public Service 
Commission, Order Adopting Regulatory Policy Framework and Implementation Plan, Proceeding on 
Motion of the Commission in Regard to Reforming  the Energy Vision, Case 14-M-0101 (February 26, 
2015).

10 New York Independent System Operators, Inc., Order Accepting Proposed Tariff Revisions 
Subject to Condition, Docket No. ER16-1213-000 (May 17, 2016) (accepting proposed revisions to the 
NYISO’s tariff, including the NYISO’s interconnection procedures, to allow for the participation of 
Behind-the-Meter Net Generator Resources in NYISO’s energy, ancillary services, and capacity markets.)

7

Question 1.2. Should the interconnection process and the regional transmission planning process be coordinated to improve the efficiency of both?  If so, how?  Should the transmission planning process be used to identify transmission upgrades that would facilitate the 
interconnection process?  How can this be accomplished?

NYISO Response to Question 1.2.  The NYISO understands this question to be asking 
whether it would be appropriate or desirable to conflate the interconnection and regional 
transmission planning processes.  The NYISO’s interconnection process and regional 
transmission planning process are distinct in light of their different purposes; however, while 
distinct, the processes are complementary.  In response to the Order No. 1000 regional 
transmission planning and cost allocation directives11 the NYISO has proposed tariff revisions to 
provide for greater coordination between its interconnection process and its Comprehensive 
System Planning Process (“CSPP”), which is composed of the NYISO’s Reliability Planning 
Process, Economic Planning Process, and Public Policy Transmission Planning Process.

The NYISO submitted tariff revisions in response to the directives in the Commission’s 
December 23, 2015 Order12 in the NYISO’s Order No. 1000 regional proceeding that create new 
Transmission Interconnection Procedures (“TIP”), revise the NYISO’s existing interconnection

11  Transmission Planning and Cost Allocation by Transmission Owning and Operating Public Utilities, Order No. 1000, 136 FERC ¶ 61,051 (2011) (“Order No. 1000”), order on reh’g and 
clarification, Order No. 1000-A, 139 FERC ¶ 61,132 (2012) (“Order No. 1000-A”), order on reh’g and clarification, 141 FERC ¶ 61,044 (2012) (“Order No. 1000-B”). For convenience, unless otherwise 
specified, references in this filing to “Order No. 1000” should be understood to encompass Order Nos. 
1000, 1000-A, and 1000-B.

12  New York Independent System Operator, Inc., Order Conditionally Accepting Tariff Revisions 
and Requiring Further Compliance, 153 FERC ¶ 61,341 (2015) (“December Order”); The Commission 
has granted the NYISO a partial extension of 180 days to address certain tariff implementation issues 
associated with the pro forma operating agreement proposed in the March 2016 Compliance Filing.  See 
New York Independent System Operator, Inc., Notice of Extension of Time, Docket No. ER13-102-007 
(March 23, 2016).

8

and transmission expansion requirements, and reflect such new requirements in the CSPP.13

These tariff revisions, developed with stakeholder input, created the proposed TIP—a hybrid

interconnection process melding the existing Large Facility Interconnection Procedures with the 
existing transmission expansion procedures.  As proposed, the TIP provides transmission-
specific interconnection procedures that apply equally to incumbent and non-incumbent 
interconnection customers’ transmission projects.  The TIP also offers customers an opportunity 
to propose and develop transmission upgrades that may be related to an interconnection project 
or other goal - e.g., relieving increased congestion that a proposed generation project may create.

The TIP and CSPP are, in fact, distinct and necessarily so due to their specific aims.  The 
interconnection process is intended to ensure that a project being proposed, including under the 
CSPP, can connect to the system without adversely impacting system reliability.  This evaluation 
looks at all of the detailed mechanics specific to the proposed connection to the existing system 
and determines, for example, how the local system will accommodate the project (e.g., through a 
new substation connection or tap into an existing line).  These evaluations are quite different than 
those involved in the CSPP, which are focused on the evaluation of the proposed project to

determine whether it would satisfy the identified need and then select the project that is the more efficient or cost effective solution.

While the Transmission Interconnection Procedures and CSPP are distinct by design, 
they complement each other to the benefit of the NYISO’s planning process as a whole. 
Evaluation of the more efficient or cost effective solution, by necessity, requires the NYISO to

13  New York Independent System Operator, Inc., Compliance Filing, Docket No. ER13-102-009 (March 22, 2016) (“Compliance Filing”).

9

account for the system impacts of the proposed solutions.14  This is precisely what NYISO 
proposes to do by acknowledging that it “shall give due consideration to the results of any 
completed System Impact Study or System Reliability Impact Study, as applicable.”15  The 
NYISO proposes to include within the CSPP certain interconnection milestones to ensure that 
projects are timely progressing through the TIP, which develops information that is important for 
the NYISO’s determination of the more efficient or cost-effective transmission solution.

The NYISO does not believe that a new mechanism in its regional planning process is 
required to identify transmission upgrades to facilitate the interconnection process.  Existing 
mechanisms in the interconnection process, Transmission Expansion Process, and proposed 
mechanisms in the TIP identify upgrades necessary to interconnect a proposed project. 
Interconnection customers also have the opportunity, under OATT Sections 3.7 and 4.5, to 
propose additional upgrades - transmission expansion projects beyond those required for their 
interconnection projects - that they wish to have evaluated to facilitate their interconnection 
goals (e.g., transmission upgrades increasing transfer capability to increase the facility’s ability to inject more into the grid).  Further, the NYISO’s Public Policy Transmission Planning Process component of its CSPP also provides a means by which interested parties can propose 
transmission upgrades that could facilitate interconnection.

14  The NYISO conducts a system impact study of proposed regulated transmission solutions under its Reliability Planning Process, giving due consideration to the results of any completed System Impact Study or System Reliability Impact Study, and then affords an interconnection customer the ability to adjust its submission to address the impact and “remain eligible for selection.”  Proposed 
revisions to OATT Section 31.2.6.3.

15 See Proposed revisions to OATT Sections 31.2.6.3, 31.2.6.5, 31.4.8 pending in .

10

Question 1.3. Are more stringent requirements for interconnection customers to enter and progress through the generator interconnection queue an effective but nondiscriminatory way to deal with “unready” projects entering the queue?  What are the advantages and 
disadvantages to setting more stringent requirements for progressing through the interconnection queue?  If more stringent requirements are appropriate, what should these requirements be, and should they include non-financial requirements (site control, etc.)?

NYISO Response to Question 1.3.  Interconnection procedures should strike an

appropriate balance of the - at times conflicting - goals of flexibility, finality and speed.  More stringent requirements for interconnection customers16 to enter and progress through the 
interconnection queue would come at the expense of the flexibility that most interconnection customers in New York appreciate and need in the interconnection process.  The NYISO does not believe that more stringent requirements are necessary in its process at this time.  The 
NYISO, in consultation with its stakeholders and interconnection customers has already adopted a number of process revisions to address this balance:

•    Modifications to Class Year Study entry and re-entry rules to provide flexibility to 
	interconnection customers while at the same time tightening the overall process to 
	address “queue squatting” by projects not proceeding through the interconnection 
	process; specifically:

o   providing flexible Class Year start dates, avoiding overlapping Class Years, 
	and setting a schedule for completing major Class Year milestones;

o   providing the option of a Deliverability evaluation early in the NYISO 
	interconnection process prior to the Class Year study;

16 NYISO’s interconnection procedures refer to “Developers” (in the Large Facility

Interconnection Procedures), “Interconnection Customers” in the Small Generator Interconnection

Procedures, “Transmission Developers” in the proposed Transmission Interconnection Procedures, and “Eligible Customers” in the existing transmission expansion procedures.  Since the Commission refers to “interconnection customer” throughout, the NYISO uses that term in its responses to refer to any of the above project developers.

11

o   streamlining the cost allocation decision process;

o   permitting Headroom obligations for certain System Upgrade Facilities to be 
	satisfied by security; and

o   permitting security posting reductions for completed System Upgrade 
	Facilities.17

•    Modifications to limit extensions of Commercial Operation Date beyond a certain date18

-  unless the interconnection customer can demonstrate that it has made reasonable progress toward commercial operation.19

•    NYISO’s unique queue administration (not using a “hard” serial queue process) enables 
	the NYISO to provide greater flexibility to interconnection customers because projects 
	advance through the interconnection queue based on their own progress and the NYISO 
	is not required to re-study projects if a project with a higher queue number withdraws.  A 
	project may only enter a clustered Class Year Study when it has satisfied certain 
	milestones demonstrating its progress.

The above-referenced tariff revisions strived to balance the need to encourage projects to proceed through the interconnection process while at the same time recognizing the need to 
provide flexibility for interconnection customers.  Under certain circumstances, this approach may lengthen the total time a project takes to go from its Interconnection Request to Commercial Operation, but this is the balance carefully struck by the NYISO and its stakeholders that actively participate in the NYISO’s interconnection process and is to the benefit of interconnection 
customers that would otherwise have to withdraw their projects.

17 See New York Independent System Operator, Inc., Letter Order on Tariff Revisions, Docket No. ER10-290-000 (Jan. 6, 2010); New York Independent System Operator, Inc., Letter Order on Compliance Filing, Docket No. ER10-290-000 (Feb. 22, 2010).

18 Under these provisions, the Commercial Operation Date may be extended, as of right, without being a Material Modification, only up to the following date:  four (4) years from either the date the 
project completes a Class Year Study or, for Small Generating Facilities not subject to a Class Year 
Study, the date the NYISO tenders the Small Generator Interconnection Agreement to the interconnection customer.  See OATT Attachment X, Section 30.4.4.5.

19 See New York Independent System Operator, Inc., 142 FERC ¶ 61,113 (2013); see also, New York Independent System Operator, Inc., Letter Order on Compliance Filing, Docket Nos. ER13-588-001 and ER13-588-002 (April 1, 2013).

12

Question 1.7. Pro forma Large Generator Interconnection Procedures section 13.4 and 
similar sections in regional tariffs allow for an interconnection customer to require a 
transmission provider to use third party consultants in place of transmission provider staff if a 
transmission provider cannot complete a study within an agreed upon timeframe or the 
applicable time set for such a study.  How frequently do interconnection customers call upon this provision and to what effect?

NYISO Response to Question 1.7.  The use of third party consultants, when requested by the interconnection customer, can prove effective and efficient if the contractual agreements regarding such work are managed appropriately.  It is imperative that when third party 
consultants are used in connection with interconnection study work, they be subject to a contract between the consultant and the NYISO.  Where consultants have been subject only to bilateral 
contracts with the interconnection customer, the NYISO has at times experienced difficulty in 
obtaining objective and accurate study results.  There can be a tendency for consultants to offer result-oriented study results if their obligation is to the interconnection customer and not to 
perform tariff-defined studies under the direction of the NYISO.  The NYISO has found that this can best be addressed by managing the consultant’s deliverables through direct contract between the consultant and the NYISO.  While a useful tool, this approach continues to require the time of NYISO staff to ensure a tariff-compliant study is performed.

Question 1.8. What are the challenges associated with affected system coordination? 
How can coordination of interconnection requests among affected systems be improved?  Are 
there specific changes needed to the pro forma interconnection procedures, pro forma 
interconnection agreement, and/or other tariffs to help improve affected system coordination? 
Would common standards for modeling and assessing reliability across affected systems improve

13

such coordination?  Would more specific guidance in the pro forma interconnection procedures, pro forma interconnection agreement, and/or other tariffs on how and when affected systems should be involved in the interconnection process improve such coordination?

NYISO Response to Question 1.8.  For the NYISO, the challenges associated with

affected systems are somewhat different between affected systems within the NYISO (e.g., New York Transmission Owners within the NYISO’s footprint) in comparison with neighboring 
ISOs/RTOs and other systems.  The roles and requirements of the Transmission Owners within the NYISO as Connecting Transmission Owners and as Affected Transmission Owners are fairly well defined in the NYISO’s interconnection procedures.  As a result, those procedures have 
been working reasonably well.

While coordination of interconnection studies and system upgrades with affected systems outside NYISO’s footprint is somewhat more challenging due to regional differences, NYISO has been working with our neighboring regions - ISO New England and PJM - under the 
Northeastern ISO/RTO Planning Coordination Protocol to address these issues.

The primary challenges that NYISO has experienced associated with affected system 
coordination relate to interconnection projects proposing to connect on a tie line between two 
regions.  Improvements in this area should be made; one possibility is that an Interconnection 
Request be submitted in both regions.  This would provide for more efficient coordination with 
affected Transmission Owners within each region, more formal development and review of study 
results, and more complete identification of required upgrades and related cost estimates.

Question 1.9. At the technical conference, there was a discussion about whether all the 
right stakeholders (e.g., transmission owners, transmission providers, interconnection customers,

14

etc.) to the interconnection process were involved in the appropriate manner and at the right

times throughout the interconnection process.  What challenges and barriers, if any, are there to including the right stakeholders at the appropriate times in the interconnection process?  What mechanisms would help ensure that entities are involved at the appropriate times in the 
interconnection process?

NYISO Response to Question 1.9.   NYISO’s interconnection procedures involve

numerous stakeholders throughout the process.  First, the Connecting Transmission Owner is 
identified and is involved in the scoping meeting and each interconnection study.  Before the 
System Impact Study or System Reliability Impact Study, Affected Transmission Owners and 
Affected Systems are identified.  All of these parties, as well as any other interested party, may 
participate in discussions of the System Impact Study or System Reliability Impact Study scope 
in NYISO stakeholder meetings, specifically, the NYISO’s Transmission Planning Advisory

Subcommittee and the NYISO’s Operating Committee meetings.  Parties most directly impacted by a project - the interconnection customer, Connecting Transmission Owner(s), Affected 
Transmission Owner(s) and Affected System Operator(s) - all have ongoing opportunity for review and comment throughout the interconnection study process.

Question 1.10.   Should interconnection procedures be more specific about what

constitutes a material modification to a generator interconnection request?  Is it clear to

interconnection customers what types of modifications to their interconnection requests would and would not affect their place in the queue?  Do transmission owners and RTO/ISOs exercise any level of discretion in determining whether a customer has made a material modification? What is the range and nature of that discretion?  Please reference provisions in interconnection procedures, as applicable, in your answer.

15

NYISO Response to Question 1.10.  The pro forma tariff provisions that state what

modifications are automatically permitted (without a materiality determination) are helpful.

However, the pro forma provisions concerning the definition of a Material Modifications could 
be improved for regions such as New York that do not apply a “hard” queue approach. 
	In accordance with the pro forma interconnection procedures, a Material Modification “shall mean those modifications that have a material impact on the cost or timing of any 
Interconnection Request with a later queue priority date.”20  Because the NYISO does not 
employ the “hard” serial interconnection queue approach used in other regions, as described in 
response to question 1.12, the pro forma definition of Material Modification is not well suited for 
identifying what constitutes a material modification to an Interconnection Request in New York. 
The definition does not provide much guidance in New York where the concept of priority 
associated with higher Queue Positions has little if any meaning.  It is, therefore, possible for a 
contemplated modification to be deemed non-material under the pro forma definition of 
“Material Modification,” while also being so extreme that the modified project should be subject 
to a new Interconnection Request to fully evaluate whether it can reliably interconnect to the 
transmission system.

The NYISO has developed and issued implementing guidelines and procedures regarding 
materiality determinations in its Transmission Expansion and Interconnection Manual that 
supplement the tariff to address this concern.  Moreover, the NYISO has identified this as an area 
for consideration for potential improvement.  Since the tariff does not provide bright-line criteria 
for what constitutes a Material Modification, materiality determinations are ultimately a 
judgment call.  Also, the consequence of a modification determined to be material (loss of queue

20 See OATT Attachment X, Section 30.1 (Definition of “Material Modification”).

16

position) is rather dire, not only to the Interconnection Request itself, but also to other

interconnection projects that can be adversely impacted in some cases.  For this reason, the

NYISO plans to address this issue as part of comprehensive queue reforms to be discussed in its stakeholder process later this year.

Question 1.12.   Are there specific technologies, tools, or administrative processes that could improve the accuracy of cost and time estimates, reduce the processing time, or increase the efficiency of the interconnection queue process?

NYISO Response to Question 1.12.    The NYISO employs a unique approach in

administering its interconnection queue that it believes results in efficiencies and eliminates the 
“restudy” problem that is prevalent in other regions.  The NYISO’s approach differs significantly 
from the “hard” interconnection queue approach used in other regions.  Once an interconnection 
customer has submitted a valid Interconnection Request for its project and the project has been 
included in the NYISO’s interconnection queue, the interconnection customer’s advancement 
through the NYISO’s interconnection process, including the identification of required facilities 
and related costs to reliably interconnect its project, is largely driven by its own project 
development and not the progress, or lack thereof, of other projects with higher Queue Positions. 
While the NYISO takes Queue Position into account in determining the order of performing 
interconnection studies,21 it is only one of the factors taken into account.  To the extent 
practicable, the NYISO evaluates Interconnection Requests in parallel, not sequentially. 
	The NYISO does not include proposed projects in the base case of its interconnection studies simply because the project has a higher Queue Position than the studied project.  Rather, a project is only included in the base case when it has satisfied certain requirements, including

21 See OATT, Attachment X Section 30.4.1.

17

acceptance of the cost of, and provision of security for, any upgrades identified in the Class Year Interconnection Facilities Study (“Class Year Study”) to interconnect its project.  Therefore, unlike in other ISO/RTOs, the NYISO does not require a process to continuously re-study the facilities, and related costs, required to interconnect a project if projects with higher Queue 
Positions withdraw or fail to progress.

In addition to existing NYISO efforts to gain administrative efficiencies, such as its queue administration explained above, the NYISO also recently implemented changes to simplify the Interconnection Request form and to lower the study deposit for the Class Year Study for projects entering a Class Year for a “CRIS-only” request.22

The NYISO is reviewing additional process improvements, including improvements that might be made to the Class Year process and other steps within the interconnection process.  The NYISO is also evaluating potential administrative improvements that could increase the 
efficiency of queue administration.  The NYISO intends to discuss potential process and 
administrative improvements in the stakeholder process beginning in the third quarter of this 
year.  To the degree that these or other potential process improvements require tariff 
modifications, the NYISO would pursue such changes in our stakeholder process and, if 
approved by our stakeholders and Board, would timely file them with the Commission pursuant to Section 205 of the Federal Power Act.

Question 1.13.   Can technological advancements be incorporated into a project as it 
proceeds through the interconnection process (e.g., an inverter technology improvement that 
provides efficiency in cost and performance, more efficient battery storage) without presenting

22 These improvements were among the tariff revisions approved by the Commission in Docket No. ER16-1213-000 on May 17, 2016, described in note 8, supra.

18

system reliability concerns and causing delays to the interconnection study process?  If so, what changes to the interconnection procedures would allow the incorporation of technological 
advancements after the submission of an interconnection request?

NYISO Response to Question 1.13.   Technological advances and other project

modifications can be incorporated into a project if proposed at appropriate stages of the

interconnection study process.  Section 30.4.4 of the NYISO’s Large Facility Interconnection

Procedures specify what modifications may be made at various stages of the process, permitting 
more significant modifications prior to execution of the Interconnection System Reliability 
Impact Study Agreement.23  The NYISO recently made improvements to its processes to 
accommodate additional project modifications that result in only a de minimis increase in the 
energy capability of existing facilities.24  This revision was in response to stakeholder concerns 
that any increase in output triggered the requirement that an existing facility submit a new 
Interconnection Request, regardless of how minimal the increase might be.  By revising the tariff 
to permit limited increases in energy capability of existing facilities without requiring a new 
Interconnection Request, this enhancement eliminated unnecessary interconnection studies and 
their related costs.  It thereby added efficiencies to the NYISO’s interconnection process and 
provided added flexibility to existing facilities interconnected to the New York State 
Transmission System.  Among the interconnection customers who benefit from this added 
flexibility are wind generators who often change their turbine design or manufacturer and, as a 
result, may end up increasing their facility’s overall size by a small amount.

23 See NYISO OATT Attachment X, Section 30.4.4.1.

24 See New York Independent System Operator, Inc., Letter Order on Compliance Filing, Docket No. ER14-627-000 (Jan. 23, 2014).

19

Question 1.14.   There was discussion during the technical conference about the

challenges of getting technical and modeling information from turbine and equipment

manufacturers due to concerns about sharing proprietary business information on the

technologies.  What have been the challenges with getting turbine and other manufacturers to provide necessary technical information and models to transmission providers for 
interconnection studies?  How does this information disclosure challenge affect the study of interconnection requests and what should be done to facilitate a better information exchange between manufacturers and those performing interconnection studies?

NYISO Response to Question 1.14.    In the NYISO’s experience, obtaining essential technical information is not a problem for most Interconnection Requests.  Issues do arise, 
however, where the NYISO raises specific questions about characteristics and performance of a device - both steady-state and dynamic - that often need to be addressed by the manufacturer. Obtaining such information is often a challenge.

Most challenges related to modeling information concern vendor-specific models of new power system components.  It is usually a challenge to obtain representative examples of 
dynamic simulations performed by the manufacturer in the process of the model development and to obtain validation materials justifying the use of a model in interconnection studies.  For a vendor-specific model, simulation examples and validation materials are usually considered to be confidential and/or proprietary manufacturer information that vendors will not consent to sharing with the NYISO for use in its interconnection process.

20

The primary impact of this information disclosure challenge is that it makes it more 
difficult to interpret simulation results.  In the absence of representative examples of dynamic simulations with a device and, especially, of model validation materials, it is often not clear if study results are a solid basis for conclusions on the project’s performance and impact on the power system.  Consequently, additional evaluations, including sensitivity analyses, are needed, which delays interconnection studies.

As part of the queue reform initiatives the NYISO intends to discuss later this year, the 
NYISO intends to consider tariff or manual language to clarify what modeling information is 
required25 and the consequences for failure to provide such information on a timely basis. 
Among such proposals may be language providing for withdrawal from the Interconnection 
Queue if the interconnection customer fails to provide modeling information necessary and 
sufficient for proceeding with an interconnection study in a timely manner.  Additionally, 
NYISO intends to clarify that an interconnection customer is responsible for providing, in a 
timely manner, modeling information necessary and sufficient for proceeding with an 
interconnection study for another project if its performance may be affected by the 
interconnection customer’s project.  Failure to comply with such information requirements may 
result in withdrawal.

25 With respect to user-written dynamic models, which are the most common causes for concern,

“sufficient information” will likely be specified to include, but not be limited to, model documentation 
(user manuals/guides), model files and libraries, data files and spreadsheets, etc. sufficient for the use of 
the model and also representative simulation examples and validation materials.  The nomenclature of 
“sufficient information” should be subject to determination by the Transmission Provider on a case-by-
case basis.

21

B.    Transparency and Timing in the Generator Interconnection Study Process 
	Question 2.1. Are interconnection study delays and their causes communicated to  interconnection customers with an appropriate amount of detail and within appropriate 
timeframes?  Should standardized content and communication procedures be established to 
provide interconnection customers information and status updates on their requests?

NYISO Response to Question 2.1.  The NYISO staff involved with interconnection studies maintain an ongoing dialogue, by phone, by electronic mail and in-person, to keep 
interconnection customers updated regarding the status of their study.  To formalize these 
communications would likely lead to inefficiencies in these communications by reducing the existing flexibility both the NYISO and its interconnection customers currently have in initiating and maintaining such informal forms of communication.

Question 2.2. Are interconnection procedures sufficiently clear with regard to the "triggers" that could necessitate restudy?  Should interconnection procedures include a comprehensive list of triggers for restudy?

NYISO Response to Question 2.2.  Please see the NYISO’s response to Question 1.12 
in which the NYISO explains why re-studies are not an issue under the NYISO’s interconnection 
process.

Question 2.3. Are the triggers that cause restudies appropriate to the risk of reliability

concerns or reflective of likely cost allocation shifts due to changes in circumstances?  Are there 
triggers that should be included and, conversely, are there existing triggers that should be 
removed?  What specific changes, if any, should be made to restudy provisions or practices?

22

NYISO Response to Question 2.3.  Please see the NYISO’s response to Question 1.12 
in which the NYISO explains why re-studies are not an issue under the NYISO’s interconnection 
process.

Question 2.4. For interconnection requests that require restudy, would studying this 
group of requests together on a specified schedule (e.g., an annual restudy group) create 
efficiencies in the interconnection process? If yes, please explain why.  If not, please explain 
why not.

NYISO Response to Question 2.4.  Please see the NYISO’s response to Question 1.12 
in which the NYISO explains why re-studies are not an issue under the NYISO’s interconnection 
process.

Question 2.5. What specific historical information, not currently provided by

transmission providers, would assist interconnection customers early in the interconnection process in making siting decisions?

NYISO Response to Question 2.5.  The NYISO believes that it may be beneficial to 
allow interconnection customers in the Large Facility Interconnection Procedures to request a 
pre-application report similar to the process the Commission added to the Small Generator 
Interconnection Procedures.  Information provided on that form, as well as a one-line diagram of 
contemplated Points of Interconnection, could assist interconnection customers early in the 
interconnection process in making siting decisions.  This is an issue that the NYISO plans to 
explore with stakeholders in the comprehensive queue reforms it plans to discuss later this year.

23

Question 2.7. How can the use of non-disclosure agreements help reduce delays in the 
interconnection study process?  Would the utilization of generic models by transmission 
providers and transmission owners reduce delays in interconnection study processes?  Are 
specific changes to interconnection processes needed to better address challenges related to data 
acquisition?

NYISO Response to Question 2.7.  With regard to obtaining technical and modeling 
information from equipment manufacturers, these entities are not NYISO interconnection 
customers and are typically not formally involved in interconnection studies.  All technical and 
modeling information is to be provided by/via the interconnection customer; however, the ability 
to engage in 3-part communications among the NYISO, the interconnection customer and the 
manufacturer may help reduce delays related to obtaining data and further clarifications of the 
data.  While a non-disclosure agreement signed directly with a manufacturer might be a option to 
consider, such an agreement cannot address delays triggered by modeling and simulation issues 
that need to be discussed with various parties involved in a specific interconnection study and, 
more generally, in the NYISO interconnection process.  It would not be feasible for all such 
parties to be signatories to a non-disclosure agreement.  Further, any such non-disclosure 
agreement may conflict with tariff language requiring the protection of information designated as 
“Confidential.”  Therefore, to accommodate such non-disclosure agreements, revisions to the 
application of confidentiality provisions in the tariff may be necessary.

24

The use of generic models by transmission providers and transmission owners could

reduce delays in interconnection study processes.  However, generic models should only be used if there is convincing evidence that their use has been justified by both representative testing and interconnection study practices.  That is, instances in which it is not expected that the use of the model will adversely affect the quality and accuracy of simulations in comparison to what more accurate vendor-specific models would produce.

C. Certainty in Cost Estimates and Construction Time

Question 3.2. In situations where transmission providers use per unit cost guides to

develop cost estimates, should additional information and benchmarking of these cost guides be required? What would the process, timing and study cost effects be of developing detailed 
project specific estimates rather than estimates based on per unit costs?

NYISO Response to Question 3.2.  The NYISO’s Class Year Interconnection Facilities 
Study already provides detailed project-specific cost estimates.  Indeed, it is such detail that can 
lead to delays in the interconnection process.  In discussions with its stakeholders, however, 
stakeholders have made clear to the NYISO that they prefer a more detailed and lengthy process 
that produces more detailed cost estimates than a shorter, more abbreviated process with less 
detailed estimates.  The NYISO nonetheless recognizes the potential for additional process 
improvements that might be able to address certain timing issues related to the Class Year Study. 
This is among the discussion topics for the comprehensive queue reform effort the NYISO 
intends to address later this year.

25

Question 3.6. Does the current process to resolve disputes between interconnection

customers, transmission providers, and transmission owners work effectively?  Are changes

needed to the process to effectively resolve most disputes in a timely manner? Should

transmission providers play a role in mediating such disputes between interconnection customers and transmission owners?

NYISO Response to Question 3.6.  The NYISO has repeatedly used its existing dispute resolution process to vet concerns from interconnection customers and to mitigate disputes.  The NYISO believes that it can play a unique role in mediating disputes that arise in the 
interconnection process and strives to utilize dispute resolution to address interconnection 
customer concerns and to avoid disputes rising to litigation before the Commission.

D.   Interconnection of Electric Storage Resources

Question 4.1. Are changes to the pro forma Small Generator Interconnection Procedures 
or pro forma Large Generator Interconnection Procedures necessary to facilitate the 
interconnection of electric storage resources?  Similarly, are changes to the pro forma Small 
Generator Interconnection Agreement or pro forma Large Generator Interconnection Agreement 
necessary?  If so, please describe those changes and explain how the changes should be 
prioritized.

NYISO Response to Question 4.1.  The NYISO has evaluated three energy storage

facilities, each of which reached Commercial Operation - one (1) 120 MW uprate of an existing 
hydroelectric pump storage facility, (1) 20 MW flywheel energy storage facility; and (1) 20 MW 
battery facility.  The NYISO’s interconnection procedures were, and continue to be, flexible 
enough to accommodate the evaluation of these energy storage projects.  The NYISO does not

26

recommend a pro forma Interconnection Agreement be developed for such projects.  Just as the NYISO has done for Merchant Transmission Facilities under the Large Facility Interconnection Procedures, unique technologies can be accommodated through non-conforming revisions to the pro forma Interconnection Agreements as long as the Transmission Providers adequately justify to the Commission the reasons for revising pro forma provisions.

Question 4.2. What is the appropriate process to interconnect an electric storage resource as transmission equipment: the generator interconnection process, the transmission planning 
process, or some other process? Why?  If some other process is appropriate, please describe how that process would interact with existing processes.

NYISO Response to Question 4.2.  Please see the NYISO’s response to Question 4.1.

Question 4.3. Do current interconnection studies adequately account for the operational characteristics of electric storage resources?  If not, what could the Commission do to improve interconnection studies for electric storage resources?

NYISO Response to Question 4.3.  Yes, NYISO’s interconnection studies currently

account for the operating characteristics of electric storage resources, to the extent necessary

under the Minimum Interconnection Standard.  Interconnection studies for individual energy

storage projects typically evaluate the impact of the project on the system at the proposed design 
maximum power injection and maximum charging load, which is consistent with how other 
generation resources are evaluated.  Integration of individual energy storage devices into the 
NYISO-administered wholesale markets is also dependent on design and testing of the 
operational controls of the resource, which is not appropriately addressed by interconnection 
studies.

27

The NYISO has experienced challenges, however, with the accuracy of modeling 
information used to evaluate energy storage resources in the interconnection process.  The 
challenge varies depending on the nature of the energy storage resource.  For example, pump 
storage facilities with conventional generators face few modeling challenges because the 
interconnection studies account for the facility’s characteristics with greater accuracy.  Energy 
storage facilities using more newly developed technologies (e.g., flywheel storage systems and 
battery storage systems) face greater challenges.  The dynamic models used for them in recent 
interconnection studies are, in their nature, close to generic simulation tools and may turn out to 
be too simple for project-specific assessments.  At this time, little to no validation data has been 
presented to the NYISO to justify the use of such dynamic models of storage systems in 
interconnection studies.

Question 4.4. Should an interconnection customer be allowed to limit the requested level of interconnection service at a point of interconnection that includes multiple energy production devices, which may include electric storage resources, to a level that is lower than the cumulative rated capacity of all the resources at that point of interconnection?  What is the best way for an interconnection customer and a transmission provider and/or owner to establish the operational limit?  What safeguards, if any, are needed to ensure that the interconnection customer does not exceed the level of interconnection service in its interconnection agreement?

NYISO Response to Question 4.4.    Limiting the maximum power injection of multiple 
sources through a single point of interconnection to a value less than the cumulative rated 
capability of the individual resources should not be allowed without adequate provisions for 
enforcement of the maximum limit.  However, an interconnection customer should be allowed to 
submit proposals for review to the NYISO and Connecting Transmission Owner describing its

28

proposed maximum injection limit and the enforcement thereof to ensure it does not impact the resource’s ability to reliably interconnect to the transmission or distribution system. 
Enforcement of the maximum limit should include adequate provision for monitoring and 
corrective action by the transmission provider/operator as necessary to maintain reliability in the event that the maximum power limit is exceeded.

Question 4.5. Are there potential ways to streamline the interconnection process for the addition of electric storage resources to existing facilities when (a) the electric storage resource will be using existing interconnection service; and (b) the electric storage resource will be 
requesting new interconnection service?

NYISO Response to Question 4.5.    Any effort to revise the interconnection processes to better accommodate the addition of electric storage resources to existing facilities should be done in tandem with and in the context of existing market rules.  Adding a battery to an existing wind facility, for example, may be something that can be accommodated in the existing 
interconnection procedures.  However, under current market rules and operating requirements, the battery may not be able to participate as part of the existing facility.26

Question 4.6. What are the primary obstacles for interconnecting standalone or

aggregated distribution-level electric storage resources that want to participate in the RTO and ISO markets, and what are some potential solutions that address these obstacles?

26 For example, the NYISO has certain scheduling and settlement rules that are unique to

intermittent resources (e.g., wind and solar) that allow them to maximize their output and minimize their 
exposure to over-generation / under-generation penalties.  The addition of electric storage resources to the 
existing resources would prohibit the resource from participating as an intermittent resource and remove 
the benefits of these rules.  Some interconnection customers that are looking to connect new electric 
storage resources share some of the existing infrastructure with existing facilities, but bid and are 
scheduled independently of other resources at the facility.  Please see the NYISO’s response to Question

4.6 for information regarding NYISO’s efforts to address these and other related concerns.

29

NYISO Response to Question 4.6.     For standalone distribution-level electric storage 
resources, the primary challenges for the facility owner are ensuring that it can meet the various 
requirements to participate in the market.  A proposed interconnection for an aggregation of 
multiple energy production devices, including energy storage resources, can be challenging to 
integrate into the NYISO’s markets (for example, it may require development of appropriate 
metering configurations to accommodate the additions of different technologies).

The more significant challenges are presented when trying to incorporate energy storage resources into the NYISO-administered wholesale markets under existing market rules.  The NYISO is currently working with stakeholders to develop a DER Roadmap that will include the concepts and general structure for interconnection customer connected distributed energy 
resources, including energy storage resources, participating in the wholesale market.  Following the issuance of the Roadmap, the NYISO will continue working with stakeholders to develop market rules that will move the concepts into application.

V.  COMMUNICATIONS

Communications regarding this filing should be directed to:

Robert E. Fernandez, General Counsel

Raymond Stalter, Director of Regulatory Affairs Karen G. Gach, Deputy General Counsel 
*Sara B. Keegan, Senior Attorney

New York Independent System Operator, Inc.

10 Krey Boulevard

Rensselaer, NY 12144 
Phone:  (518) 356-6000 
Fax: (518) 356-4702 
skeegan@nyiso.com

*Designated to receive service.

30

VI. CONCLUSION

WHEREFORE, the NYISO respectfully requests that the Commission consider these

comments, refrain from initiating a proposed rulemaking, and allow the NYISO and other

ISOs/RTOs to address the above-referenced issues through their individual stakeholder processes 
in order that the solutions to each issue can be tailored as necessary to reflect regional 
differences.

Respectfully submitted,

/s/ Sara B. Keegan

Counsel for the New York Independent System Operator, Inc.

June 30, 2016

CC:    Michael Bardee 
	Anna Cochrane

Kurt Longo 
Max Minzner 
Daniel Nowak 
Larry Parkinson

J. Arnold Quinn 
Douglas Roe

Kathleen Schnorf 
Jamie Simler 
Gary Will

31

CERTIFICATE OF SERVICE

I hereby certify that I have this day served the foregoing document upon each person

designated on the official service list compiled by the Secretary in this proceeding in accordance with the requirements of Rule 2010 of the Rules of Practice and Procedure, 18 C.F.R. §385.2010. 
	Dated at Rensselaer, NY this 30th day of June 2016.

/s/ John C. Cutting

John C. Cutting

New York Independent System Operator, Inc.

10 Krey Blvd.

Rensselaer, NY 12144 (518) 356-7521