10 Krey Boulevard  Rensselaer, NY  12144

November 8, 2016

By Electronic Delivery

Honorable Kimberly D. Bose Secretary

Federal Energy Regulatory Commission 888 First St, NE

Washington, DC 20426

Re:    New York Independent System Operator, Inc., Errata Correcting Compliance Filing, 
	Docket No. ER17-61-00_

Dear Secretary Bose:

On October 12, 2016,1 the New York Independent System Operator, Inc. (“NYISO”)

submitted, in compliance with the Federal Energy Regulatory Commission’s (“Commission’s”) Order No. 827 and Order No. 828, proposed revisions to the pro forma Large Generator 
Interconnection Agreement (“LGIA”) and the Small Generator Interconnection Agreement (“SGIA”) included in the NYISO’s interconnection procedures set forth in Attachment X and Attachment Z of the NYISO Open Access Transmission Tariff (“OATT”).2

It has come to the NYISO’s attention that the tariff revisions filed by the NYISO only 
included a portion of the pro forma language required by the Final Rule in Order No. 828.  The 
NYISO submits this errata filing of a new version of OATT Section 32.5 to include the 
inadvertently omitted language, and respectfully requests that Commission accept the corrected 
tariff section with the same effective date that was requested in the October Compliance Filing, 
i.e., October 13, 2016.

I.	Inclusion of Inadvertently Omitted Language

In paragraph 25 of Order No. 828, the Commission included an excerpt from newly

adopted section 1.5.7 of the pro forma SGIA to show changes made to the Commission’s

proposal.  The NYISO included the excerpted portion of the section in its October Compliance 
Filing but omitted the balance of the section.  The NYISO hereby adds the rest of the section to 
its OATT and in five places changes the term “Transmission Provider” to “Transmission 
Owner,” consistent with prior compliance filings and for the reasons set forth in its October

1 See New York Independent System Operator, Inc’s Compliance Filing; Docket Nos. RM16-1-000, RM16-
8-000, ER17-61-000 (October 12, 2016) (“October Compliance Filing”).

2 Capitalized terms that are not otherwise defined in this filing shall have the meaning specified in

Attachment Z of the NYISO OATT, and if not defined therein, in Attachment X of the NYISO OATT and Section 1 of the NYISO OATT.

Honorable Kimberly D. Bose November 8, 2016

Page 2

Compliance Filing.  As corrected, Section 1.5.7 of Attachment Z to the NYISO OATT reads as follows:3

1.5.7 	The Interconnection Customer shall ensure “frequency ride

through” capability and “voltage ride through” capability of its 
Small Generating Facility.  The Interconnection Customer shall 
enable these capabilities such that its Small Generating Facility 
shall not disconnect automatically or instantaneously from the 
system or equipment of the Connecting Transmission Owner and 
any Affected Systems for a defined under-frequency or over-

frequency condition, or an under-voltage or over-voltage

condition, as tested pursuant to section 2.1 of this agreement.  The 
defined conditions shall be in accordance with Good Utility 
Practice and consistent with any standards and guidelines that are 
applied to other generating facilities in the Balancing Authority 
Area on a comparable basis. The Small Generating Facility’s 
protective equipment settings shall comply with the Transmission 
ProviderOwner’s automatic load-shed program.  The Transmission 
ProviderOwner shall review the protective equipment settings to 
confirm compliance with the automatic load-shed program.  The 
term “ride through” as used herein shall mean the ability of a Small 
Generating Facility to stay connected to and synchronized with the 
system or equipment of the Transmission ProviderOwner and any 
Affected Systems during system disturbances within a range of 
conditions, in accordance with Good Utility Practice and consistent 
with any standards and guidelines that are applied to other 
generating facilities in the Balancing Authority on a comparable 
basis.  The term “frequency ride through” as used herein shall 
mean the ability of a Small Generating Facility to stay connected 
to and synchronized with the system or equipment of the 
Transmission ProviderOwner and any Affected Systems during 
system disturbances within a range of under-frequency and over-
frequency conditions, in accordance with Good Utility Practice and 
consistent with any standards and guidelines that are applied to 
other generating facilities in the Balancing Authority Area on a 
comparable basis.  The term “voltage ride through” as used herein 
shall mean the ability of a Small Generating Facility to stay 
connected to and synchronized with the system or equipment of the 
Transmission ProviderOwner and any Affected Systems during 
system disturbances within a range of under-voltage and over-
voltage conditions, in accordance with Good Utility Practice and 
consistent with any standards and guidelines that are applied to

3 See October Compliance Filing at part IV.A.

Honorable Kimberly D. Bose November 8, 2016

Page 3

other generating facilities in the Balancing Authority Area on a comparable basis.

II.	List of Documents Submitted

The NYISO respectfully submits the following documents with this filing letter:

1.  A clean version of the corrected OATT Section (“Attachment I”); and

2.  A blacklined version of the corrected OATT Section (“Attachment II”).

III.	Effective Date

The NYISO respectfully requests that the Commission accept this errata filing with the tariff correction described above, with the same October 13, 2016 effective date requested in the October Compliance Filing.  The errata filing will bring the terms of the pro forma SGIA into line with the requirements of Order No. 828.

IV.	Service

The NYISO will send an electronic copy of this filing to the official representative of 
each party to this proceeding, to the official representative of each of its customers, to each 
participant on its stakeholder committees, to the New York Public Service Commission and the 
New Jersey Board of Public Utilities.  In addition, the complete public version of this filing will 
be posted on the NYISO’s website at www.nyiso.com.

V.	Communications and Correspondence

Communications and correspondence regarding this filing should be directed to:

Robert E. Fernandez, General Counsel

Raymond Stalter, Director of Regulatory Affairs 
Karen G. Gach, Deputy General Counsel 
*Sara Branch Keegan, Senior Attorney 
New York Independent System Operator, Inc.

10 Krey Boulevard

Rensselaer, NY 12144 
Tel:  (518) 356-6000 
rfernandez@nyiso.com 
rstalter@nyiso.com 
kgach@nyiso.com 
skeegan@nyiso.com

*Persons designated for receipt of service.

Honorable Kimberly D. Bose November 8, 2016

Page 4

VI.	Conclusion

WHEREFORE, the New York Independent System Operator, Inc. respectfully requests that the Commission accept this errata filing with an effective date of October 13, 2016.

Respectfully submitted,

By: /s/ Sara B. Keegan Sara B. Keegan

Senior Attorney

New York Independent System Operator, Inc.

10 Krey Boulevard

Rensselaer, NY 12144

(518) 356-8554

skeegan@nyiso.com

cc:	Michael Bardee

Anna Cochrane 
Kurt Longo 
Max Minzer 
Daniel Nowak 
Larry Parkinson

J. Arnold Quinn 
Douglas Roe

Kathleen Schnorf 
Jamie Simler

Gary Will

CERTIFICATE OF SERVICE

I hereby certify that I have this day served the foregoing document upon each person

designated on the official service list compiled by the Secretary in this proceeding in accordance with the requirements of Rule 2010 of the Rules of Practice and Procedure, 18 C.F.R. §385.2010. 
	Dated at Rensselaer, NY this 8th day of November 2016.

/s/ Joy A. Zimberlin

Joy A. Zimberlin

New York Independent System Operator, Inc.

10 Krey Blvd.

Rensselaer, NY 12144 (518) 356-6207