10 Krey Boulevard  Rensselaer, NY  12144

November 18, 2016

By Electronic Delivery

Honorable Kimberly D. Bose, Secretary Federal Energy Regulatory Commission 888 First Street, NE

Washington, DC 20426

Re:  New York Independent System Operator, Inc., Docket No. ER17-___-000; 
	Proposed ICAP Demand Curves for the 2017/2018 Capability Year and 
	Parameters for Annual Updates for Capability Years 2018/2019, 
	2019/2020 and 2020/2021

Dear Secretary Bose:

In accordance with Section 5.14.1.2.2 of the New York Independent System Operator, Inc. (“NYISO”) Market Administration and Control Area Services Tariff (“Services Tariff”),1 Section 205 of the Federal Power Act2 and Part 35 of the regulations of the Federal Energy 
Regulatory Commission (“Commission”), the NYISO respectfully submits proposed 
amendments to Section 5.14.1.2 of the Services Tariff to define the ICAP Demand Curves 
applicable for the 2017/2018 Capability Year.  The NYISO also proposes the methodologies and inputs that will be used in conducting the annual updates to determine the ICAP Demand Curves for the 2018/2019, 2019/2020 and 2020/2021 Capability Years.3

The ICAP Demand Curves, as well as the methodologies and inputs for the annual 
updates covered by this reset period,4 are the result of the extensive periodic review process 
required by Section 5.14.1.2.2 of the Services Tariff (commonly referred to as the “ICAP 
Demand Curve reset” or “DCR” process).  The NYISO’s proposed ICAP Demand Curves and 
methodologies and inputs for the upcoming annual updates have been informed by the thorough

1 Capitalized terms not otherwise defined herein shall have the meaning specified in the Services Tariff and the NYISO Open Access Transmission Tariff (“OATT”).

2 16 U.S.C. § 824d.

3 See Docket No. ER16-1751-000, New York Independent System Operator, Inc., Proposed 
Services Tariff Revisions to Implement Enhancements to the Periodic Reviews of the ICAP Demand Curves (May 20, 2016) (hereinafter referred to as the “DCR Enhancements Filing”); and New York 
Independent System Operator, Inc., 156 FERC ¶ 61,039 (2016) (hereinafter referred to as the “DCR Enhancements Order”).

4 References to “reset period” herein means the period of Capability Years for which ICAP Demand Curves resulting from the methodologies and inputs established during each DCR remain in effect.  For example, the reset period covered by this DCR encompasses the 2017/2018 through 
2020/2021 Capability Years.

Honorable Kimberly D. Bose November 18, 2016

Page 2

analysis of an independent consultant, supplemental analysis conducted by NYISO staff, and the comments of stakeholders and the Market Monitoring Unit (“MMU”).  The NYISO’s proposal is designed to ensure that the ICAP Demand Curves fulfill their fundamental objective of attracting new and retaining existing capacity necessary to ensure achievement of New York’s applicable statewide and locational minimum Installed Capacity requirements.5

As further described herein, although costs and offsetting revenues have been adjusted to 
reflect changes in the underlying markets since the last DCR (including more recent data and 
updated cost estimates), the basis of the ICAP Demand Curves remains largely unchanged from 
that approved by the Commission in 2014.6  The NYISO proposes the continued use of the F 
class frame turbine as the peaking unit7 technology for each of the ICAP Demand Curves. 
Consistent with the last reset, the NYISO also proposes to maintain the requirement that peaking 
plants include dual fuel capability for the New York City (“NYC”), Long Island (“LI”) and G-J 
Locality ICAP Demand Curves, while continuing use of a gas-only peaking plant design for the 
NYCA ICAP Demand Curve.  Furthermore, the NYISO proposes that the peaking plants for the 
NYC, LI and G-J Locality ICAP Demand Curves continue to include selective catalytic 
reduction (“SCR”) emissions control technology to ensure compliance with applicable 
environmental requirements.  The major change in the peaking plant design since the last reset is 
that the NYISO now proposes that the peaking plant for the NYCA ICAP Demand Curve also 
include SCR emissions controls.8

The NYISO respectfully requests: (i) issuance of an order on or before January 17, 2017 (i.e., sixty days from the date of this filing letter) accepting the proposed ICAP Demand Curves for the 2017/2018 Capability Year and the methodologies and inputs to be used in conducting the annual updates for the 2018/2019 through 2020/2021 Capability Years; and (ii) an effective date of January 17, 2017 for the proposed revisions to Section 5.14.1.2 of the Services Tariff to reflect the parameters of the ICAP Demand Curves for 2017/2018 Capability Year.

5 See, e.g., New York Independent System Operator, Inc., 118 FERC ¶ 61,182 at P 17 (2007).

6 See New York Independent System Operator, Inc., 146 FERC ¶ 61,043 (2014) (“2013 DCR 
Order”).

7 The Services Tariff requires use of the costs and projected net Energy and Ancillary Services 
revenues for a “peaking plant” in determining the values of the ICAP Demand Curves.  A “peaking unit” 
is defined as “the unit with technology that results in the lowest fixed costs and highest variable costs 
among all other units’ technology that are economically viable.”  The Services Tariff defines a “peaking 
plant” to mean “the number of units (whether one or more) that constitute the scale identified in the 
periodic review.”

8 In the last reset, the peaking plant for the NYCA ICAP Demand Curve was assumed to operate 
pursuant to a federally enforceable cap on annual operating hours in lieu of including SCR emissions 
controls.

Honorable Kimberly D. Bose November 18, 2016

Page 3

I.	Documents Submitted

1.	This filing letter;

2.	A clean version of the proposed revisions to the Services Tariff (“Attachment I”);

3.	A blacklined version of the proposed revisions to the Services Tariff (“Attachment

II”);

4. 	An Affidavit from Paul J. Hibbard, Dr. Todd Schatzki and Craig Aubuchon of

Analysis Group, Inc., including the Study to Establish New York Electricity Market 
ICAP Demand Curve Parameters dated September 13, 2016 (“Attachment III”);

5. 	An Affidavit from Thomas A. Vivenzio and Dr. William F. Frazier of Lummus

Consultants International, Inc. (“Attachment IV”); and

6. 	An Affidavit from David Allen of the NYISO including the Proposed NYISO

Installed Capacity Demand Curves for Capability Year 2017/2018 and Annual

Update Methodology and Inputs for Capability Years 2018/2019, 2019/2020, and 2020/2021 dated September 15, 2016 (“Attachment V”).

II.	Background and Overview of DCR Process

Section 5.14.1.2 of the Services Tariff requires that the NYISO conduct periodic reviews 
of the parameters of the ICAP Demand Curves.  The Services Tariff specifies that the DCR must 
assess: (i) the current localized levelized embedded cost of a peaking plant underlying each 
ICAP Demand Curve; and (ii) the likely projected net Energy and Ancillary Services (“EAS”) 
revenues to be earned by each peaking plant from participation in the NYISO-administered 
markets.9  The Services Tariff further requires that, for the purposes of the DCR and 
establishment of the ICAP Demand Curves, the costs and estimated revenues of each peaking 
plant should not be determined based on current market conditions.  Instead, the DCR requires 
that such costs and revenues be estimated under market conditions in which the available 
capacity is equal to the applicable minimum Installed Capacity requirement plus the MW value 
of the peaking plant (referred to herein as the “tariff-prescribed level of excess conditions”).10 
This requirement is designed to ensure that the ICAP Demand Curves are established at a level 
that should provide sufficient revenues to cover the costs of a peaking plant when market entry 
by such facility is required to maintain reliability.

As part of this DCR, the NYISO proposed to review the current reset process and identify 
potential enhancements thereto, including an assessment of increasing the period between resets. 
Stakeholders approved certain enhancements to the DCR process that were accepted by the

9 See Services Tariff § 5.14.1.2.2.

10 Id.

Honorable Kimberly D. Bose November 18, 2016

Page 4

Commission on July 18, 2016.11  The enhancements include: (i) extending the period between 
DCRs to four years; (ii) implementing annual updates of certain parameters for the Capability 
Years between DCRs; and (iii) implementing a more transparent and predictable methodology 
for estimating net EAS revenues expected to be earned by a peaking plant from participation in 
the NYISO-administered markets.  These enhancements are designed to provide for increased 
transparency, stability and predictability with respect to the DCR process and capacity market 
outcomes.

The NYISO conducted a process, which included stakeholder input, to select an

independent consultant for the DCR related to the ICAP Demand Curves beginning with the

2017/2018 Capability Year.12  In August 2015, the NYISO selected Analysis Group, Inc. (“AG”) 
to serve as the independent consultant for this DCR.13  The Independent Consultant commenced 
discussions with stakeholders in October 2015 and led discussions with stakeholders regarding 
the DCR during 12 Installed Capacity Working Group (“ICAPWG”) meetings between October 
2015 and August 2016.14  At each of these meetings, and through multiple opportunities to 
provide feedback and written comments, stakeholders provided input regarding the Independent 
Consultant’s assumptions, analysis, estimates and preliminary results.  The Independent 
Consultant also communicated with, and sought input from, the MMU at various stages 
throughout the process.  The Independent Consultant, together with NYISO staff, also met with 
the New York State Department of Environmental Conservation to review and discuss applicable 
environmental requirements for this DCR and developments since the last reset that impact such 
requirements.

Based on the numerous presentations and discussions at the ICAPWG meetings and

consideration of the feedback received throughout the stakeholder process, the Independent

Consultant issued its draft report on June 23, 2016.15  Stakeholders were provided the

opportunity to provide written comments in response to the draft report.16  After consideration of

11 See DCR Enhancements Filing and DCR Enhancements Order.

12 The Commission accepted ICAP Demand Curves resulting from the last reset run through the end of the 2016/2017 Capability Year.

13 See Services Tariff §§ 5.14.1.2.2.4.1 and 5.14.1.2.2.4.2.  Lummus Consultants International, 
Inc. (“Lummus”) serves as a subcontractor to AG to assist AG in the development of certain data and 
information related to the DCR.  AG, together with Lummus, is referred to herein as the “Independent 
Consultant.”

14 In total, the DCR was discussed during 18 ICAPWG meetings between October 2015 and September 2016.

15 See Services Tariff § 5.14.1.2.2.4.3.  The draft report provided preliminary values for the

2017/2018 Capability Year ICAP Demand Curves using the historic data period from May 2013 through 
April 2016 for determining net EAS revenue estimates.  AG and Lummus, Study to Establish New York 
Electricity Market ICAP Demand Curve Parameters (June 23, 2016), available at: 
http://www.nyiso.com/public/webdocs/markets_operations/committees/bic_icapwg/meeting_materials/20 
16-06-27/Analysis%20Group%20NYISO%20DCR%20Draft%20Report%20-%20FINAL.pdf.

16 See Services Tariff § 5.14.1.2.2.4.4.  Stakeholder comments in response to the Independent 
Consultant’s draft report are posted with the meeting material for the June 27, 2016 ICAPWG meeting,

Honorable Kimberly D. Bose November 18, 2016

Page 5

the comments received, the Independent Consultant issued an initial version of its final report on 
August 16, 2016, reflecting final recommendations and the final models for determining net EAS 
revenues and calculating the ICAP Demand Curve parameters.  This version of the final report 
contained interim values for the ICAP Demand Curves for the 2017/2018 Capability Year using 
the historic data period from August 2013 through July 2016 for determining net EAS revenue 
estimates.  The updated version of the Independent Consultant’s final report was issued on

September 13, 2016.17  The updated version reflected final values for the ICAP Demand Curves for the 2017/2018 Capability Year using the historic data period from September 2013 through August 2016 for determining net EAS revenue estimates.18

On August 17, 2016, NYISO staff issued its draft recommendations for the 2017/2018

ICAP Demand Curves and the methodologies and inputs to be used in conducting annual updates 
for the 2018/2019 through 2020/2021 Capability Years.19  In developing its draft 
recommendations, the NYISO considered the feedback from stakeholders throughout the 
process, as well as the analysis and recommendations of the Independent Consultant. 
Stakeholders were provided an opportunity to submit written comments in response to NYISO 
staff’s draft recommendations.20  After consideration of the feedback from both stakeholders and 
the MMU, NYISO staff issued its final recommendations on September 15, 2016.21

Stakeholders were then provided the opportunity to submit written comments to the 
NYISO Board of Directors (“Board”) in response to NYISO staff’s final recommendations.22

available at:

http://www.nyiso.com/public/markets_operations/committees/meeting_materials/index.jsp?com=bic_icap 
wg.

17 See Services Tariff § 5.14.1.2.2.4.6.

18 The updated version of the Independent Consultant’s final report is included as Exhibit D of the Affidavit of Paul J. Hibbard, Dr. Todd Schatzki and Craig Aubuchon attached hereto as Attachment III 
(“AG Affidavit”).

19 See Services Tariff § 5.14.1.2.2.4.7.  NYISO, Proposed NYISO Installed Capacity Demand

Curves for Capability Year 2017/2018 and Annual Update Methodology and Inputs for Capability Years 2018/2019, 2019/2020, and 2020/2021 (August 17, 2016), available at:

http://www.nyiso.com/public/webdocs/markets_operations/committees/bic_icapwg/meeting_materials/20 
16-08-19/Initial%20Draft%20NYISO%20DCR%20Recommendation%20Final.pdf.

20 See Services Tariff § 5.14.1.2.2.4.7.  Stakeholder comments in response to NYISO staff’s draft 
recommendations are posted with the meeting material for the September 8, 2016 ICAPWG meeting, 
available at:

http://www.nyiso.com/public/markets_operations/committees/meeting_materials/index.jsp?com=bic_icap 
wg.

21 See Services Tariff § 5.14.1.2.2.4.8.  NYISO staff’s final recommendations are included as

Exhibit A of the Affidavit of David Allen attached hereto as Attachment V (“Allen Affidavit”).  Appendix IV of NYISO staff’s final recommendations includes comments from the MMU in accordance with the requirements of Section 5.14.1.2.2.4.5 of the Services Tariff.

22 See Services Tariff § 5.14.1.2.2.4.9.  Stakeholder comments to the Board are posted on the

NYISO website within the “Demand Curve Reset Comments” section of the “2017-2021 Demand Curve

Honorable Kimberly D. Bose November 18, 2016

Page 6

Stakeholders were also provided the opportunity for oral presentations before the Board on

October 17, 2016.23  After consideration of stakeholder comments, NYISO staff’s final

recommendations (including the comments of the MMU), and the Independent Consultant’s final report, the Board directed the NYISO to file the proposed ICAP Demand Curves for the 
2017/2018 Capability Year, together with the proposed methodologies and inputs for use in 
conducting the annual updates for the 2018/2019 through 2020/2021 Capability Years, that are set forth in NYISO staff’s final recommendations.24

III.	Peaking Unit Technology and Design

Section 5.14.1.2.2 of the Services Tariff defines the peaking unit as the “technology that 
results in the lowest fixed costs and highest variable costs among all other units’ technology that 
are economically viable.”  The Commission has established that economic viability 
determinations are a matter of judgment that is informed by the consideration of multiple 
factors.25  These factors include: (i) the availability of the technology to most market 
participants; (ii) existence of sufficient operating experience to demonstrate that the technology 
is proven and reliable; (iii) whether the technology is dispatchable and capable of being cycled to 
provide peaking service; and (iv) the ability to achieve compliance with applicable 
environmental requirements and regulations.26  These criteria were applied in this DCR to 
determine the appropriate peaking unit technology and equipment design for each of the ICAP 
Demand Curves.27

A fundamental objective of the ICAP Demand Curves is that the underlying peaking 
plant should be able to capture sufficient revenues to support market entry if needed to ensure 
attainment of the applicable minimum capacity requirements.  To achieve this fundamental 
objective, the ICAP Demand Curves must be derived based on the costs and net EAS revenues of 
a representative peaking plant that can reliably be constructed and operated in multiple instances 
if necessary to ensure compliance with the applicable minimum capacity requirements. 
Establishing the ICAP Demand Curves purely on the basis of a single least possible cost design 
is likely to result in providing price signals that could sustain only the development of, at best, a 
single facility.  If, however, system conditions dictated a need to develop more than one peaking 
plant during a given reset period, such a market design would likely fail its objective and could

Reset” subfolder of the “Reference Documents” folder, available at:

http://www.nyiso.com/public/markets_operations/market_data/icap/index.jsp.

23 See Services Tariff § 5.14.1.2.2.4.9.

24 See Allen Affidavit at Exhibit A (“NYISO Staff Final Recommendations”).

25 See, e.g., 2013 DCR Order at P 60; New York Independent System Operator, Inc., 134 FERC ¶ 61,058 at P 37 (2011) (“2010 DCR Order”); and New York Independent System Operator, Inc., 125 FERC ¶ 61,299 at P 20 (2008) (“2007 DCR Rehearing Order”).

26 Id.

27 AG Affidavit, Exhibit D at 13 (“Independent Consultant Final Report”); and Affidavit of 
Thomas A. Vivenzio and Dr. William F. Frazier at ¶ 12 attached hereto as Attachment IV (“Lummus 
Affidavit”).

Honorable Kimberly D. Bose November 18, 2016

Page 7

require reliance on out-of-market action to ensure continued availability of sufficient resources to maintain reliability.

The NYISO carefully considered the views of all stakeholders in determining the peaking 
plant designs proposed herein, as well as current and past application of existing regulatory 
requirements.  The NYISO’s proposal is intended to ensure that the ICAP Demand Curves are 
capable of providing appropriate price signals regarding the value of capacity in each capacity 
region, while simultaneously ensuring that the curves are capable of providing the needed 
revenues to elicit new market entry if and when required to ensure that reliability is maintained. 
As described herein, the NYISO’s proposed peaking plant design for each ICAP Demand Curve 
is just and reasonable.

The peaking unit technology and plant designs (i.e., generator technology, dual fuel

capability and emission control technology) proposed by the NYISO are largely unchanged from 
those approved by the Commission in the last reset.  For the NYC, LI and G-J Locality ICAP 
Demand Curves, the peaking plant design is the same as the last reset.  For the NYCA ICAP 
Demand Curve, the NYISO proposes in this DCR to require the installation of SCR emissions 
control technology, which was not included as part of the peaking plant design in the last reset.

A. Peaking Unit Technology

Consistent with the last reset, the NYISO proposes continued use of a simple cycle F

class frame turbine as the peaking unit technology for all of the ICAP Demand Curves.28  The F class frame turbine remains the technology representing the lowest fixed costs and highest 
variable costs among all other technologies that were deemed economically viable.29

Certain stakeholders, however, contend that a simple cycle H class frame turbine should 
be selected as the peaking unit technology.  These stakeholders note that a developer proposing 
to potentially install a simple cycle H class frame turbine with SCR emissions controls recently 
cleared its proposed project in the ISO New England, Inc. (“ISO-NE”) forward capacity market 
auction for the 2019/2020 capacity commitment period.  These stakeholders have also noted that, 
in the currently ongoing process at ISO-NE to update the cost of new entry (“CONE”) value

underlying its capacity demand curve construct for the 2021/2022 capacity commitment period, the consultant hired by ISO-NE has proposed to base the costs of a simple cycle turbine design on the H class frame turbine.

The H class frame turbine in simple cycle configuration was not considered in this DCR 
because, at this time, it is not economically viable as required by the Services Tariff.  Currently, 
the H class frame turbine has no actual commercial operating experience in a simple cycle

28 NYISO Staff Final Recommendations at 40-41; Independent Consultant Final Report at 8-9, 12-18 and 93-94; and AG Affidavit at ¶ 23.

29 Id.

Honorable Kimberly D. Bose November 18, 2016

Page 8

configuration.  Therefore, the technology is unable to meet the screening criteria of having 
sufficient commercial operating experience to demonstrate that it is proven and reliable.30

The ICAP Demand Curves have never been established using a technology that was

without actual operating experience.  In two prior instances, the ICAP Demand Curves proposed 
by the NYISO have used relatively emerging technologies.  In the 2007 DCR, the NYISO 
proposed to establish the NYC and LI ICAP Demand Curves using the LMS100 aeroderivative 
technology.31  Additionally, for the 2013 DCR, the NYISO proposed to establish the NYC, LI 
and G-J Locality ICAP Demand Curves using a simple cycle F class frame turbine equipped with 
SCR emissions controls.32  In both cases, however, the technology possessed actual commercial 
operating experience demonstrating that the technology was proven and reliable.  At the time it 
was proposed, the LMS100 technology was in commercial operation at a single facility in South 
Dakota and had accumulated nearly 600 operating hours over 9 months.  The F class frame 
turbine with SCR emissions controls had accumulated approximately 500 operating hours over a

7 month period across 4 units operating at a single facility in California at the time it was

proposed by the NYISO.  In both cases, the Commission found that the respective commercial operating experience for each technology was sufficient to demonstrate that it was proven and, thus, economically viable.33

The simple cycle H class frame turbine lacks any similar track record of performance.  In 
fact, if actually constructed and brought into service, the proposed project that recently cleared in 
the ISO-NE forward capacity auction is likely to be the first facility to commercially operate the 
H class frame turbine technology with SCR emissions controls in a simple cycle configuration. 
This project, however, has not yet commenced construction nor has it received a siting permit 
necessary for it to proceed.  Moreover, it is unclear at this time whether the proposed project,

even if permitted and constructed, will ultimately utilize the H class frame turbine technology. 
The petition submitted by the project developer requesting approval to construct and operate the 
project specifically indicates that the project will utilize the H class frame turbine “or a 
comparable unit.”34  Even if the project ultimately is granted authorization to proceed and is

30 NYISO Staff Final Recommendations at 41; and Independent Consultant Final Report at 17.

31 Docket No. ER08-283-000, New York Independent System Operator, Inc., Tariff Revisions to Implement Revised ICAP Demand Curves for Capability Years 2008/2009, 2009/2010 and 2010/2011 at 5-7 (November 30, 2016); and New York Independent System Operator, Inc., 122 FERC ¶ 61,064 at P 23 (2008) (“2007 DCR Order”).

32 Docket No. ER14-500-000, New York Independent System Operator, Inc., Proposed Tariff

Revisions to Implement Revised ICAP Demand Curves and a New ICAP Demand Curve for Capability 
Years 2014/2015, 2015/2016 and 2016/2017 and Request for Partial Phase-In and for Any Necessary 
Tariff Waivers at 10-16 (November 27, 2013) (“2013 DCR Filing”); and 2013 DCR Order at P 57-60.

33 See, e.g., 2007 DCR Order at P 23 and 2013 DCR Order at P 58.

34 Massachusetts Energy Facilities Siting Board Docket No. EFSB15-06, NRG Canal 3

Development LLC, Canal Unit 3: Petition Before the Massachusetts Energy Facilities Siting Board for Approval to Construct at 1-1, 1-8 and 1-9 (December 3, 2015), available at:

http://web1.env.state.ma.us/DPU/FileRoomAPI/api/Attachments/Get/?path=EFSB15-
06%2fFullCanalUnit3EFSBPetition.pdf.

Honorable Kimberly D. Bose November 18, 2016

Page 9

constructed, the developer has indicated that the project is not expected to enter commercial operation until approximately mid-2019.35

At best, it will likely not be known until at least mid-2019 whether any simple cycle H 
class frame unit with SCR emissions controls may become commercially operational and 
available to potentially demonstrate that such technology is proven and reliable.  As such, this 
technology remains unproven at this time and reliance on it to serve as a peaking unit technology 
in New York is premature.  The NYISO will continue to monitor the developments related to the 
simple cycle H class frame unit and determine whether sufficient commercial operating 
experience has occurred to support consideration of this technology in the next reset.

With respect to the ongoing proceedings at ISO-NE to update the CONE value for its

demand curve construct for the 2020/2021 capacity commitment period, the consultant hired by 
ISO-NE has expressly acknowledged that there are no simple cycle H class frame turbines in 
commercial operation.36  Furthermore, the NYISO understands that ISO-NE does not require a 
similar “economic viability” determination, as is required by the Services Tariff, when selecting proxy technologies used to establish values for its demand curve construct.  Thus, the technology selections being discussed in the ongoing proceedings at ISO-NE are irrelevant to determinations made in the NYISO’s DCR.37

Despite this conclusion, cost and net EAS revenue estimates along with the resulting

ICAP Demand Curve parameters based on a simple cycle H class frame turbine were developed by the Independent Consultant for informational purposes only.  This information was developed to provide stakeholders a comparison of the relative difference in values between the F and H class frame turbines.  This information also helps to provide transparency to the marketplace as to the potential for outcomes in future DCRs in the event that the simple cycle H class frame turbine with SCR emissions controls is in fact constructed in the coming years and operates to a sufficient degree to demonstrate that the technology is proven and reliable.

B. SCR Emissions Controls

Consistent with the peaking plant designs approved by the Commission in the last reset, 
the NYISO proposes that the peaking plants for the NYC, LI and G-J Locality ICAP Demand 
Curves include SCR emissions controls to comply with applicable nitrogen oxides (“NOx”)

35 Id. at 1-3 and 1-20.

36 Concentric Energy Advisors, Inc., ISO-NE CONE and ORTP Analysis - An Evaluation of the 
entry cost parameters to be used in the Forward Capacity Auction to be Held in February 2018 (“FCA-
12”) and Forward [Draft Report] at 13 (October 2016), available at: https://www.iso-ne.com/library.

37 The structural differences between ISO-NE’s forward capacity market construct and the

NYISO’s nearer-term capacity market construct further demonstrate the irrelevance of the ongoing

proceedings in ISO-NE to this DCR.  The nearer-term nature of the NYISO’s capacity market construct 
supports the need for reliance on proven and reliable technologies to serve as the peaking unit.  This helps 
to ensure that the ICAP Demand Curves provide adequate price signals regarding the value of and need 
for capacity supply throughout the State based on current and near-term future system conditions.

Honorable Kimberly D. Bose November 18, 2016

Page 10

emissions requirements in New York.38  Due to changes in the applicable environmental

requirements since the last reset, the NYISO proposes to alter the peaking plant design for the

NYCA ICAP Demand Curve from the last reset to now include SCR emissions controls.39  These 
changes demonstrate that an alternative compliance approach of applying an annual operating 
hours cap in lieu of installing SCR emissions controls is, in the NYISO’s view, no longer a 
viable option for the NYCA ICAP Demand Curve peaking plant.  Unlike the last reset, a peaking 
plant without SCR emissions controls in this DCR would have the potential to emit considerably 
greater NOx emissions annually (i.e., 2.5 times more) than a similar plant design that includes 
such back-end controls.  This creates significant uncertainty regarding the ability of such a plant 
to receive the necessary permits and authorizations to be constructed and operate in New York. 
Moreover, a review of air permits for electric generators in New York indicates that no facility 
has been permitted using this alternative compliance option during the NYISO’s existence.

To be constructed and operate in New York, the peaking plant will be required to obtain 
all necessary air permits, as well as a certificate of environmental compatibility and public need 
from the New York State Board on Electric Generation Siting (“Siting Board”) pursuant to 
Article 10 of the New York Public Service Law (“PSL”).40  Obtaining the necessary air permits 
will require that the peaking plant achieve compliance with both New Source Performance 
Standards (“NSPS”) and New Source Review (“NSR”) permit requirements for applicable 
pollutants.41

NSPS Requirements

The NSPS requirements for NOx mandate that each of the peaking unit technologies

evaluated limit NOx emissions to less than 15 ppmv at 15% oxygen (“O2”) while operating on 
natural gas.  The F class frame turbine, which has a NOx emissions rate of 9 ppmv at 15% O2 
while operating on natural gas, is the only peaking unit technology evaluated that can achieve 
this requirement without the installation of SCR emissions controls.42  Therefore, regardless of 
the NSR requirements described below, the other peaking unit technologies evaluated (i.e., the 
LMS100 aeroderivative technology and Wartsila reciprocating engines) would require

installation of SCR emissions controls to obtain the air permits needed to operate in New York.43

38 2013 DCR Order at P 57-60.

39 Id. at P 74-77.  In the last reset, the NYISO proposed that the NYCA ICAP Demand Curve 
peaking plant operate pursuant to a federally enforceable limitation on annual operating hours in lieu of 
installing SCR emissions controls to achieve compliance with applicable NOx emissions requirements.

40 NYISO Staff Final Recommendations at 6-10; Independent Consultant Final Report at 19-29; and Lummus Affidavit at ¶ 24-29.

41 Id.

42 NYISO Staff Final Recommendations at 7; Independent Consultant Final Report at 19-20; and Lummus Affidavit at ¶ 26.

43 Although not economically viable for this DCR, the NSPS requirements for NOx would also mandate installation of SCR emissions controls on the H class frame turbine.

Honorable Kimberly D. Bose November 18, 2016

Page 11

The NSPS requirements for simple cycle combustion turbines also establish a capacity 
factor based limitation for carbon dioxide (“CO2”) emissions.  This limitation requires that the 
peaking unit technologies limit their operating hours over either a 12 month operating period or a 
three-year rolling average basis to less than the applicable capacity factor for a given technology. 
The applicable capacity factor limit for a simple cycle F class frame turbine is approximately 
38%, which translates into an operating hour limit of approximately 3,300 hours per year.44

NSR Requirements

The peaking plant must also comply with the applicable NSR requirements, including the 
application of Best Available Control Technology (“BACT”) and Lowest Achievable Emissions 
Rate (“LAER”) determinations for emissions of criteria pollutants and precursors.  For a given 
pollutant, the NSR requirements vary depending on whether the facility at issue is located in an 
area designated as in attainment or in nonattainment.  For attainment areas, a facility is subject to 
review under the Prevention of Significant Deterioration (“PSD”) requirements and a BACT

determination is required.  For facilities located in nonattainment areas, the applicable

requirements of the Nonattainment New Source Review (“NNSR”) program and LAER apply.

For this DCR, the applicable thresholds for NOx emissions are 100 tons per year in Load Zones C, F and G (Dutchess County) and 25 tons per year in Loads Zone G (Rockland County), J (NYC) and K (LI).45  Furthermore, the Independent Consultant concluded that any facility 
subject to a BACT/LAER determination would result in a requirement to include SCR emissions controls to reduce NOx emissions.46

For nonattainment areas (i.e., Load Zones J, K and G [Rockland County]) and peaking

plant designs that include dual fuel capability, the Independent Consultant concluded that the

peaking plant design must include SCR emissions controls.47  This determination is driven by the very restrictive NOx emissions threshold (i.e., 25 tons per year) in nonattainment areas and the much higher NOx emissions rates that result while operating on the peaking plant’s alternative fuel source (i.e., ultra-low sulfur diesel fuel oil [“ULSD”]).  Thus, SCR emissions controls are required to be included in the peaking plant designs for the G-J Locality, NYC and LI ICAP 
Demand Curves.  This result is the same as the last reset.

For a peaking plant located in an attainment area (i.e., Load Zones C, F and G [Dutchess 
County]) that is based on a gas-only F class frame turbine design, achievement of compliance 
with the NSR regulatory paradigm for NOx emissions presents a material issue in determining

44 NYISO Staff Final Recommendations at 7; and Independent Consultant Final Report at 20 and

27.

45 NYISO Staff Final Recommendations at 8-10; Independent Consultant Final Report at 21-28; and Lummus Affidavit at ¶ 27.

46 Independent Consultant Final Report at 23-26.

47 Id. at 26; and Lummus Affidavit at ¶ 25.

Honorable Kimberly D. Bose November 18, 2016

Page 12

the applicable peaking plant design and resulting costs thereof.48  The applicable environmental 
regulations do provide an alternative compliance option that could potentially be pursued in lieu 
of installing SCR emissions controls to reduce NOx emissions.  This alternative requires that the 
facility operate pursuant to a federally enforceable limitation on annual operating hours to ensure 
that annual emissions from the facility remain below the threshold for “major source” 
designation.49  This would allow the facility to avoid the otherwise applicable BACT/LAER 
assessment.  The Commission approved the NYISO’s proposal to use this alternative compliance 
approach for the NYCA ICAP Demand Curve peaking plant in the last reset.50

Although this alternative compliance option remains available in the regulations, the

Independent Consultant and the NYISO conclude that it is not a viable option for a

representative peaking plant in this DCR.  Changes in the applicable environmental requirements since the last reset now dictate that the peaking plant design should include SCR emissions 
controls regardless of whether the plant includes dual fuel capability.  These changes result in a gas-only peaking plant design without SCR emissions controls having the potential to emit 2.5 times more NOx annually than a similar plant design that includes these emissions controls.51 This poses a significant risk to the ability of such a plant to obtain the necessary permits and approvals for construction and operation in New York.

Certain stakeholders oppose this conclusion and the NYISO’s proposal to include SCR

emissions controls for a gas-only peaking plant design.  Other stakeholders, however, support the 
proposal to include SCR emissions controls in all locations.  As further described herein, the 
materially greater adverse potential environmental impacts associated with a plant design that 
does not include SCR emissions controls creates a significant risk that such a plant would not 
obtain the necessary approvals under Article 10 to proceed with construction.  Moreover, such a 
design has not been permitted during the NYISO’s existence.  Therefore, the Independent 
Consultant and the NYISO conclude that a representative peaking plant design should include 
SCR emissions controls in all locations regardless of whether it is a gas-only or dual fuel plant.

Article 10 Requirements

In addition to obtaining the necessary air permits to operate, each peaking plant must 
obtain a certificate of environmental compatibility and public need from the Siting Board.  To 
issue such a certificate, Article 10 mandates that the Siting Board find that “the adverse 
environmental effects of the construction and operation of the facility will be minimized or

48 The NYISO is proposing a dual fuel plant design for Load Zone G.  As such, SCR emissions controls would be required.

49 NYISO Staff Final Recommendations at 8-9; Independent Consultant Final Report at 27-28; and Lummus Affidavit at ¶ 27.

50 2013 DCR Order at P 74-77.

51 NYISO Staff Final Recommendations at 8-9; Independent Consultant Final Report at 27-28; and Lummus Affidavit at ¶ 29.

Honorable Kimberly D. Bose November 18, 2016

Page 13

avoided to the maximum extent practicable.”52  Article 10 also empowers the Siting Board to exercise its authority in granting a certificate regardless of any draft air permits (and 
accompanying restrictions and limitations contained therein) that may have been issued for a project.53  This reservation of independent authority to the Siting Board could permit the Siting Board to impose more stringent requirements than the air permits issued for a project or simply deny a project’s application, preventing it from being constructed.

In the last reset, when compared to a peaking plant design that included SCR emissions 
controls, the uncontrolled unit operating pursuant to an annual operating hours cap produced far 
less emissions on an annual potential to emit basis than the design including SCR emissions 
controls.54  Therefore, in the last reset, the NYISO concluded that the uncontrolled unit subject to 
an annual operating hours limitation represented a design that, arguably, would minimize the 
adverse impacts of NOx emissions to the maximum extent practicable.  As such, this design 
appeared reasonable and capable of obtaining a certificate from the Siting Board pursuant to 
Article 10.

The applicable environmental requirements have changed significantly since the last reset. 
These changes have now invalidated the rationale previously relied upon by the NYISO and 
demonstrate that the alternative compliance option of an annual operating hours cap in lieu of installing SCR emissions controls is not viable for this DCR.  Based on the environmental 
requirements applicable for this DCR, a peaking plant design without SCR emissions controls would now produce 2.5 times more NOx emissions on an annual potential to emit basis than a unit that includes such back-end controls, as shown in the figure below.55  Accordingly, the 
peaking plant design without SCR emissions controls no longer appears to comport with the 
requirements of Article 10.56  As a result there is significant uncertainty regarding whether such a design could obtain a certificate from the Siting Board.

52 PSL § 168(3)(c).

53 PSL § 172.  Article 10 expressly provides that “issuance by the department of environmental conservation of [air and other required] permits shall in no way interfere with the required review by the [Siting Board] of the anticipated environmental and health impacts relating to construction and operation of the facility as proposed, or its authority to deny an application for certification ….”

54 NYISO Staff Final Recommendations at 8-9; and Independent Consultant Final Report at 27.

55 NYISO Staff Final Recommendations at 8-9; Independent Consultant Final Report at 27; and Lummus Affidavit at ¶ 27-29.

56 Id.

Honorable Kimberly D. Bose November 18, 2016

Page 14

120

100

80

60

40

20

0

No operating hour 
	limit

Operating hour 
	limit ~ 950

hours/year

2013 DCR

Operating hour limit ~ 
	2,500 hours/year

CO2 NSPS operating 
	hour limit ~ 3,360

hours/year

Current DCR

Synthetic Minor with no SCR	Plant Design with SCR

Additional Relevant Factors Considered

Research conducted by the NYISO regarding air permits for electric generation facilities in New York further supports the conclusion that the alternative compliance option to avoid SCR emissions controls is not viable for this DCR.  The NYISO is not aware of a single instance 
during its existence in which a permit was issued in New York for an electric generation facility that authorized the use of an annual operating hours cap in lieu of installing SCR emissions 
controls to reduce NOx emissions.57

This conclusion is further supported by other changes in the applicable limitations on 
NOx emissions implemented since the last reset.  The following changes clearly indicate a 
continued progression of requiring further reductions in NOx emissions from power plants:

•   On November 1, 2016, the State announced the implementation of new regulations to 
	reduce NOx emissions from existing distributed generation facilities throughout New 
	York.  The new requirements are more stringent than the standards recently enacted by 
	the U.S. EPA for such facilities.58

•   On October 1, 2015, the U.S. EPA revised the national ambient air quality standard

(“NAAQS”) for ozone from 75 ppb to 70 ppb.  The revised standard will require the State to revise its State Implementation Plan (“SIP”) to achieve compliance with the more

57 NYISO Staff Final Recommendations at 9.

58 See Rules for Distributed Generation Sources (6 NYCRR Part 222), available at: 
http://www.dec.ny.gov/regulations/104487.html.

Potential to Emit NOx (tons/year)

Honorable Kimberly D. Bose November 18, 2016

Page 15

stringent standard.  SIP revisions could include mandating additional emission control measures for existing facilities and/or revisions to the NSR requirements.59

•   On September 7, 2016, the U.S. EPA also significantly reduced New York’s seasonal 
	NOx emissions budget under the Cross State Air Pollution Rule (“CSAPR”).60  The 
	revised budget, which takes effect on May 1, 2017, reduces the State’s emissions budget 
	by approximately 50%.  The new budget is nearly 10% below the actual 2015 NOx 
	emissions of affected electric generators in New York.

The foregoing clearly demonstrates that changes in the applicable regulatory

requirements since the last reset undermine the continued viability of the alternative compliance 
option of using an annual operating hours limitation in lieu of installing SCR emissions controls 
in New York for this DCR.  As such, a reasonable and representative peaking plant design 
should include SCR emissions controls in all locations.  Failure to include such controls is likely 
to result in a design that is either incapable of being constructed in New York or, at best, 
potentially constructed in a single, limited one-off circumstance without the ability to be 
repeated, if necessary.  This could result in the establishment of ICAP Demand Curves that may 
ultimately fail to produce adequate price signals to elicit and support new entry into the market 
when needed to maintain reliability.

C. Dual Fuel Capability

Consistent with the last reset, the NYISO proposes that the peaking plant designs for the NYC, LI and G-J Locality ICAP Demand Curves continue to include dual fuel capability.61  The NYISO also proposes to maintain the gas-only peaking plant design approved by the 
Commission in the last reset for the NYCA ICAP Demand Curve.62

Similar to the last reset, certain stakeholders continue to oppose the inclusion of dual fuel 
capability for the G-J Locality ICAP Demand Curve.  These stakeholders maintain that it is 
possible for a peaking plant to interconnect directly to an interstate pipeline in Load Zone G. 
This would avoid the imposition of any applicable local gas distribution company (“LDC”) gas 
tariff requirements for dual fuel capability imposed on generators directly interconnecting to the 
LDC gas system.  Furthermore, these stakeholders contend that, in the absence of LDC imposed

59 NYISO Staff Final Recommendations at 9-10; and Independent Consultant Final Report at 27-

28.

60 U.S. EPA, Final Cross-State Air Pollution Rule Update (September 7, 2016), available at: 
https://www.gpo.gov/fdsys/pkg/FR-2016-10-26/pdf/2016-22240.pdf.

61 2013 DCR Order at P 83.

62 Id.  The NYISO’s proposal differs from the recommendations of the Independent Consultant in this respect.  The Independent Consultant recommended that dual fuel capability be included in the 
peaking plant design for all locations, including the NYCA ICAP Demand Curve.  See Independent 
Consultant Final Report at 32-33; and AG Affidavit at ¶ 23 and 28-30.  The MMU concurred with the Independent Consultant’s recommendation for dual fuel capability for the NYCA ICAP Demand Curve, as it relates to a peaking plant located in Load Zone F.

Honorable Kimberly D. Bose November 18, 2016

Page 16

dual fuel requirements, dual fuel capability should only be included in the G-J Locality ICAP 
Demand Curve if the incremental revenues derived from such capability fully offset the cost 
thereof over the three-year historic period covered by the net EAS revenues model for a given 
Capability Year.

Other stakeholders oppose the NYISO’s proposal to continue use of a gas-only peaking 
plant design for the NYCA ICAP Demand Curve.  These stakeholders contend that several 
factors support including dual fuel capability for all locations.   They first note that the State’s 
growing reliance on natural gas to produce electricity indicates a need for dual fuel capability 
statewide in order to ensure continued reliability.  These stakeholders also note that public 
policies that promote increasing reliance on intermittent renewable generation to serve consumer 
electricity demand underscore the importance of dual fuel capability in all locations.  Increased 
levels of intermittent renewable generation will place a growing demand on flexible generation 
to be available to serve in a load following capacity and quickly meet demand when intermittent 
renewable facilities, such as wind and solar, are unavailable.  Lastly, these stakeholders note that 
dual fuel capability serves as an important hedge to help mitigate electricity price spikes during 
periods when natural gas prices spike.

The conditions that the Commission found justified the inclusion of dual fuel capability for the NYC, LI and G-J Locality ICAP Demand Curves in the last reset remain unaltered.  For NYC and LI, there are local electric reliability rules that require dual fuel capability.63  In these locations, nearly all generation is interconnected to the LDC gas system and LDC gas tariffs 
impose dual fuel requirements on electric generators.64  Therefore, dual capability is mandated in these areas and must be included in the peaking plant design.

Load Zones C, F and G, however, are somewhat differently situated.  Currently, there are 
not mandatory requirements imposed by local electric reliability rules that would require units in 
these areas to include dual fuel as part of interconnecting to the electric system.65  Generators in 
these locations may also possess the option of directly interconnecting to the interstate pipeline 
system in order to avoid the imposition of any LDC gas tariff mandates for dual fuel capability.66 
Therefore, in the absence of a mandatory requirement for dual fuel capability, other relevant

factors must be evaluated to determine whether such capability is necessary in a given location to deem the peaking plant design “economically viable” under the Services Tariff.  This includes consideration of the other benefits and costs associated with dual fuel capability, such as the 
reliability benefit of having an onsite alternate fuel source.

63 NYISO Staff Final Recommendations at 4.

64 Id.

65 The NYISO has identified a project for 2017 to further assess capacity market performance

assurance and potential dual fuel requirements.  To the extent that this project results in the imposition of mandatory dual fuel requirements, the NYISO will assess any implications thereof on the proposed ICAP Demand Curves as part of that separate project effort.

66 NYISO Staff Final Recommendations at 4.

Honorable Kimberly D. Bose November 18, 2016

Page 17

Dual fuel capability presents the opportunity for additional revenue earnings through the 
potential ability to operate on an alternative, lower cost fuel during periods of natural gas price 
spikes.67  In this manner, dual fuel capability also serves as a price hedging mechanism to 
mitigate the level of electricity price spikes during periods of high natural gas prices.68  The 
impacts of this price hedge were demonstrated during the winter 2013/2014 period.  While gas 
prices in certain areas of the State increased by nearly 400% in January 2014, compared to 
December 2013, wholesale electricity prices in New York increased by less than half the spike in 
gas prices.  In large part, this was due to the existence of dual fuel capability and the ability of 
generators with such capability to operate on a lower cost alternative fuel.69  Dual fuel capability 
also provides reliability benefits in light of the State’s growing reliance on natural gas fired 
generation to meet electricity demand.70

Additionally, there are concerns regarding the ability of pipeline developers to expand the capability of the interstate pipeline system in New York.  The Constitution Pipeline project was recently denied certain required permits, indefinitely delaying construction of that project. 
Kinder Morgan also recently announced the cancellation of its North East Energy Direct pipeline project.  Both of these projects would have expanded the capacity available on the interstate 
pipeline system running through New York.71

In approving the inclusion of dual fuel capability for the G-J Locality ICAP Demand

Curve in the last reset, the Commission identified various relevant considerations that supported 
inclusion of this capability.72  It was noted that LDC gas tariffs in Load Zone G include 
requirements for dual fuel capability for LDC connected generation facilities.73  The 
Commission also noted other considerations that supported inclusion of dual fuel capability for 
the G-J Locality ICAP Demand Curve such as: (i) the relative costs of dual fuel capability versus 
securing firm gas service through an interstate pipeline interconnection coupled with a firm gas 
contract; (ii) the growing reliance on natural gas fired generation in New York; and (iii) siting

67 Id. at 5; Independent Consultant Final Report at 32-33; and AG Affidavit at ¶ 30.

68 NYISO Staff Final Recommendations at 4.

69 NYISO, Winter 2013-2014 Cold Weather Operating Performance (presented at the March 13, 
2014 Joint Electric-Gas Coordination Working Group and Market Issues Working Group meeting) at 22, 
available at:

http://www.nyiso.com/public/webdocs/markets_operations/committees/bic_miwg/meeting_materials/201 
4-03-13/Winter%202013-1014%20NYISO%20Cold%20Snap%20Operations%20EGCW-MIWG.pdf.

70 NYISO Staff Final Recommendations at 4; Independent Consultant Final Report at 33; and AG Affidavit at ¶ 30.

71 The NYISO takes no position on the merits of either pipeline project or the regulatory

proceedings relating thereto.  The NYISO merely cites these two projects as examples of recent pipeline development efforts in New York.

72 2013 DCR Order at P 83.

73 Id.

Honorable Kimberly D. Bose November 18, 2016

Page 18

flexibility afforded by included dual fuel capability.74  These considerations remain unchanged for the G-J Locality.

The G-J Locality is a relatively geographically constrained region.  The inclusion of dual 
fuel capability provides increased siting flexibility for the peaking plant by allowing site 
selections that would require either an interconnection to the LDC gas system or the interstate 
pipeline system.  This increased siting flexibility increases the potential for a developer to 
identify a location that coincidentally minimizes both electric and gas interconnection costs.75 
This region is also primarily located downstream of the constraints on the interstate pipeline 
system.  Therefore, the current concerns regarding the ability to expand pipeline infrastructure 
and gas pipeline capacity in New York underscore the reliability benefits gained from dual fuel 
capability in this region.  Based on consideration of all of the foregoing factors, the NYISO 
proposes to maintain dual fuel capability for the G-J Locality ICAP Demand Curve.

While recognizing the reliability and other benefits of dual fuel capability, the

circumstances presented in Load Zones C and F are distinguishable from the G-J Locality.  The 
upstate New York region is far less geographically constrained and generally presents greater 
availability of sites and infrastructure (both electric and gas) with which a new facility could 
interconnect.76  Moreover, natural gas supply conditions in the upstate New York region are, at 
least in the near term, more favorable than the lower Hudson Valley due, in part, to the fact that 
this region is generally located upstream of the interstate pipeline constraints in State and has 
connections to natural gas supplies from the nearby shale gas producing regions.77  The

NYISO’s interconnection queue also indicates that developers proposing conventional

generation projects in the upstate region are generally not including dual fuel capability at this

time.78  The NYISO, therefore, has concluded that, for this DCR, a gas-only peaking plant design for the NYCA ICAP Demand Curve remains reasonable.

D. Peaking Plant Costs

The Services Tariff requires that the DCR assess “the current localized levelized

embedded cost of a peaking plant” for each ICAP Demand Curve.79  Consistent with prior resets, 
the Independent Consultant conducted a rigorous analysis to develop estimates of the capital 
investment costs for the peaking plant designs for each ICAP Demand Curve, as well as the

74 Id.

75 NYISO Staff Final Recommendations at 4-5; Allen Affidavit at ¶ 10; Independent Consultant Final Report at 32-33; and AG Affidavit at ¶ 30.

76 NYISO Staff Final Recommendations at 5; and Allen Affidavit at ¶ 11.

77 Id.

78 Allen Affidavit at ¶ 11.

79 See Services Tariff § 5.14.1.2.2.

Honorable Kimberly D. Bose November 18, 2016

Page 19

associated fixed operations and maintenance (“O&M”) and variable O&M costs for each peaking 
plant.80

The capital investment cost estimates include the direct installed costs of the plant,

owner’s costs, financing costs during construction and working capital and inventories costs. 
The direct installed costs are comprised of the cost to engineer, procure and construct (“EPC”) 
each peaking plant, the associated electric interconnection costs and the gas interconnection 
costs.  Other costs not covered by EPC, such as social justice costs, financing costs during 
construction, working capital and inventory costs, and any applicable deliverability costs are 
included as part of the owner’s cost.81  The EPC cost estimates are not site-specific and, instead, 
reflect generic sites within each of the relevant Load Zones assessed.  A contingency was applied 
to the total direct and indirect project costs to account for the uncertainties inherent in the generic 
site estimates and the potential for cost increases that could result during detailed design and 
procurement.82  For the NYISO’s proposed peaking plant designs, the applicable peaking plant 
capital investment cost estimates (in 2015 dollars) are $960 per kW for the NYCA ICAP 
Demand Curve, $1,168 per kW for the G-J Locality ICAP Demand Curve, $1,272 per kW for the 
NYC ICAP Demand Curve and $1,313 per kW for the LI ICAP Demand Curve.83  The NYISO 
proposes to adopt the cost estimates developed by the Independent Consultant for each of the 
relevant peaking plant designs.84

As required by the Commission,85 the NYISO conducted an assessment to determine 
whether any of the peaking plants would incur deliverability costs under the tariff-prescribed 
level of excess conditions.86  The NYISO’s assessment determined that the peaking plants in all 
locations, except Long Island, were deliverable.87  For Long Island, it was determined that 
certain transmission system upgrades would be required in order to award Capacity Resource 
Interconnection Service (“CRIS”) rights for the peaking plant.88  The deliverability upgrades 
required for the peaking plant design proposed by the NYISO for the LI ICAP Demand Curve 
consist of replacing approximately 3 miles of 69 kV overhead transmission line conductors.89 
The estimated cost of these upgrades, plus a contingency, is $18.48 million.90  These costs are

80 Independent Consultant Final Report at 33-48 and 109-147; and Lummus Affidavit at ¶ 15-22 and 32-35.

81 Id.

82 Id.

83 NYISO Staff Final Recommendations at 14-15.

84 Id. at 14-19.

85 See, e.g., 2010 DCR Order at P 53.

86 NYISO Staff Final Recommendations at 10-13.

87 Id. at 12.

88 Id.

89 Id.

90 Id.; and Independent Consultant Final Report at 41 and 112.

Honorable Kimberly D. Bose November 18, 2016

Page 20

included as separate line item in the owner’s cost category of the capital investment cost for the NYISO’s proposed LI ICAP Demand Curve peaking plant.91

The NYISO assessed whether the System Deliverability Upgrades (“SDUs”) required for its proposed peaking plant design for the LI ICAP Demand Curve would potentially result in the award of Incremental TCCs that could serve as an offset to the cost of such upgrades.92  The 
NYISO concluded that the required SDUs would not result in the award of any Incremental 
TCCs because the relevant upgrades are limited to reconductoring of certain 69 kV transmission lines on Long Island.  The 69 kV transmission system on Long Island is currently not secured in the Day-Ahead Market or the TCC auctions.  Therefore, the upgrades would not be eligible for any Incremental TCC award at this time.93

The Independent Consultant also developed the fixed and variable O&M costs, as well as the performance characteristics for each peaking plant design.94  Fixed O&M consists of two components - fixed plant expenses and fixed non-operating expenses.  Typical fixed plant 
expenses include plant staff labor costs, routine O&M costs, routine planned maintenance, and administrative and general expenses.  The total fixed O&M costs also account for other expenses such as site leasing costs, insurance and property taxes.  The proposed property tax rates for the peaking plants are further discussed in Section III.E below.

Variable O&M costs are those costs directly related to the generation of electricity,

including start-up costs.  The total variable O&M costs generally consist of two components -
consumables (e.g., ammonia for the SCR, chemicals, water and other production-related 
expenses, including SCR and oxidation catalyst replacement) and major equipment maintenance. 
	The performance characteristics for each peaking plant design include the average 
degraded net capacity output (including seasonal values), net heat rate, seasonal average 
Dependable Maximum Net Capability (“DMNC”) capacity ratings, plant start-up time and fuel 
required for start-up.  The variable O&M and performance characteristics are used in 
determining net EAS revenue estimates and the ICAP Demand Curve parameters for each 
Capability Year.

The NYISO proposes to adopt the fixed O&M costs, variable O&M costs and

performance characteristics developed by the Independent Consultant for each of the relevant peaking plants.95

91 Id.

92 See, e.g., 2010 DCR at P 63; and NYISO Staff Final Recommendations at 12.

93 NYISO Staff Final Recommendations at 12.

94 Id. at 18-19, 21-22 and 47-51; Independent Consultant Final Report at 42-53, 118-123 and 132-
147; and Lummus Affidavit at ¶ 20-22.

95 NYISO Staff Final Recommendations at 18-19, 21-22 and 47-51.

Honorable Kimberly D. Bose November 18, 2016

Page 21

E. Property Taxes

The NYISO proposes the same property tax treatment for the peaking plants that was

approved by the Commission in the last reset.96  For the NYC ICAP Demand Curve, the peaking plant will qualify for the as-of-right 15 year tax abatement provided for under the New York State Real Property Tax law.97  For years 16-20 of the proposed amortization period, the NYC ICAP Demand Curve peaking plant will be subject to an effective tax rate of 4.8%.98

For all locations outside of NYC, the NYISO proposes that the peaking plants be subject 
to an effective tax rate of 0.75% for the entire 20 year proposed amortization period.  This rate is 
based on the assumption that the peaking plants outside NYC will enter into a Payment in Lieu 
of Taxes (“PILOT”) agreement that will cover the proposed 20 year amortization period.99

In the last reset, the 0.75% tax rate accepted by the Commission for locations outside 
NYC was primarily based on a review of PILOT agreements for three, more recent combined 
cycle facilities constructed in New York.  For this DCR, the Independent Consultant broadened 
the dataset by reviewing 2014 PILOT payment data reported publicly by the Office of the New 
York State Comptroller.100  Based on this data, the Independent Consultant identified PILOT 
agreements for 11 natural gas fired generators in New York.101  Using the capital investment cost 
information included in the Comptroller’s data, the Independent Consultant calculated effective 
tax rates for each of these facilities.102  The effective tax rates for the examined facilities ranged 
from 0.2% to 2.1%, with a median value of 0.83%.103  Therefore, the Independent Consultant 
proposed retaining use of the currently approved 0.75% property tax rate for all locations outside 
NYC.

Certain stakeholders contend that the proposed 0.75% property tax rate for locations

outside NYC is too low.  These stakeholders contend that public policies favoring additional

renewable generation and other clean energy resources, as well as property tax increase

restrictions implemented since the last reset are likely to place upward pressure on future PILOT payments for natural gas fired generators, such as the peaking plant.

96 See 2013 DCR Order at P 90-91 and 94.

97 New York Real Property Tax Law §§ 489-aaaaaa et seq.

98 NYISO Staff Final Recommendations at 21; Independent Consultant Final Report at 45-46; and AG Affidavit at ¶ 33.

99 NYISO Staff Final Recommendations at 21-22 and 48-51; Independent Consultant Final Report at 45-46; and AG Affidavit at ¶ 34-35.

100 Id.

101 Id. 
102 Id. 
103 Id.

Honorable Kimberly D. Bose November 18, 2016

Page 22

In response to these claims, the NYISO requested and obtained a copy of the recent

PILOT agreement for a new natural gas fired, combined cycle facility that is currently under

construction in the lower Hudson Valley region.104  The average effective tax rate for this facility 
over the first 20 years of the PILOT agreement is 0.18% in real dollar terms.105  This effective 
tax rate is lower than the effective tax rates for three other recent combined cycle facilities 
constructed in New York (i.e., Athens, Bethlehem and Empire).106  This demonstrates that the 
property tax increase restrictions and public policies favoring renewable generation resources do 
not appear to have had an adverse impact on the tax rates afforded to new fossil fuel fired 
generators in New York.107

Certain other stakeholders contend that the 0.75% tax rate for locations outside of NYC is 
too high and should be reduced to a value closer to 0.5%.  These stakeholders contend that the 
Independent Consultant’s effective tax rate calculations are overstated because the underlying 
capital investment cost for each of the examined facilities was not translated to 2014 dollars to 
provide for consistency with the year in which the relevant PILOT payments were made.

In response to these concerns, the NYISO conducted certain additional analysis regarding PILOT agreements for natural gas fired generators in New York.108  The NYISO supplemented the analysis performed by the Independent Consultant by converting the underlying capital 
investment cost for each project to 2014 dollars and then recalculating the effective tax rates. The effective tax rates for this alternative methodology range from 0.15% to 1.6%, with a 
median value of 0.77% for the examined facilities located outside NYC.109

Based on its additional analysis, as well as the initial analysis conducted by the

Independent Consultant, the NYISO has concluded that the 0.75% property rate tax approved by the Commission in the last reset for locations outside NYC remains a reasonable and appropriate value and should be retained for this DCR.

IV.	Net EAS Revenue Offset

The Services Tariff requires that the DCR assess the likely net EAS revenues to be 
earned by the peaking plant for each ICAP Demand Curve from participation in the NYISO-
administered markets.110  As part of the DCR enhancements accepted by the Commission on 
July 18, 2016, the NYISO proposed to replace the net EAS revenue estimation methodology

104 NYISO Staff Final Recommendations at 49.

105 Id. at 49.

106 Id.

107 Id.

108 Id. at 48-51. 
109 Id.

110 See Services Tariff § 5.14.1.2.2.

Honorable Kimberly D. Bose November 18, 2016

Page 23

used for the past three resets with a more transparent and formulaic methodology that relies on actual historic data.111

The net EAS revenues model developed by the Independent Consultant determines the 
estimated annual net EAS revenues that would be earned by each peaking plant based on the 
prior 36 months of historic data on market prices and variable costs (i.e., September through 
August).112  Generally, for each hour of the historic period, the model determines whether each 
peaking plant should be committed and dispatched to produce Energy or provide Operating 
Reserves based on a consideration of historic LBMPs and reserve prices (both as adjusted to 
account for the tariff-prescribed level of excess conditions), coincident fuel and emission 
allowance prices, non-fuel variable costs, start-up costs and the operational characteristics of the 
peaking plant.  The model considers both Day-Ahead and real-time commitment and dispatch 
opportunities, while respecting the physical operating characteristics of the peaking plant.  This 
includes the ability of the peaking plant to buy-out of a previously determined Day-Ahead 
commitment in real-time to the extent it would be economically advantageous for the plant to do 
so, as well as the ability to produce Energy or provide Operating Reserves in real-time in the 
absence of a prior Day-Ahead commitment.

The commitment and dispatch logic of the model is summarized in the figures below.113 
	Net EAS Revenues Model Day-Ahead Commitment Logic

Energy Block

Profitable?

Yes

Reserve Profit >= 
	Energy Profit?

Yes	No

Commit DAM	Commit DAM

Reserve	Energy

No

Reserve Profit > 0?

Yes	No

Commit DAM	No DAM

Reserve	Commitment

111 DCR Enhancements Filing at 5-7; and DCR Enhancements Order at P 16.

112 NYISO Staff Final Recommendations at 22-29; Independent Consultant Final Report at 68-85; and AG Affidavit at ¶ 36-46.  For example, the historic data period used by the net EAS revenues model for the 2017/2018 Capability is September 2013 through August 2016.

113 Independent Consultant Final Report at 71.

Honorable Kimberly D. Bose November 18, 2016

Page 24

Net EAS Revenues Model Real-Time Commitment and Dispatch Logic

DAM

Commitment?

Energy	No Commitment

Reserve

RTD Reserve 
More Profitable?

Yes	No

Buy Out of Energy 
Commitment at RTD 
Price w/ Fuel Penalty

Provide

RTD Energy

More Profitable?

No

Yes

Buy Out of Reserve

Commitment at RTD	Similar logic to

Price	day-ahead using

real-time prices

to select Provide

Reserves

Dispatch	Dispatch

dispatch Reserves

The model also accounts for any operating hour restrictions or limitations imposed on the peaking plant to comply with applicable environmental requirements.114  These limitations are 
essentially applied after-the-fact.  The model will first determine the optimal dispatch of the 
peaking plant for a given 12 month period (i.e., September through August).  If the optimal 
dispatch exceeds a specified annual operating hours limitation, the model will then reduce the 
number of hours that it determined the peaking plant would otherwise produce Energy to ensure compliance with the specified limitation.  In doing so, the model reduces the hours in which the peaking plant would otherwise produce Energy by eliminating the hours with the lowest level of net Energy revenues first.  The model continues eliminating hours based on increasing values of net Energy revenues earned in each hour until a sufficient number of hours have been eliminated to ensure compliance with the specified limitation.

The net EAS revenues determined by the model are increased by an adder to reflect

expected revenues for Ancillary Services not accounted for in the model.115  The value of this 
adder for the NYISO’s proposed peaking plants is $1.43 per kW-year to account for voltage 
support service (“VSS”) revenues that are likely to be earned by the peaking plant.  Additional 
details regarding the commitment and dispatch logic, assumptions and inputs used by the model 
are provided in the Independent Consultant Final Report and are summarized in the table in 
Section VI.B below.116

The net EAS revenues model developed by the Independent Consultant achieves the 
desired objectives of transparency and predictability, while simultaneously ensuring that the

114 Id. at 70.

115 NYISO Staff Final Recommendations at 22 and 39; Independent Consultant Final Report at 72; and AG Affidavit at ¶ 43.

116 Independent Consultant Final Report at 67-85; and AG Affidavit at ¶ 36-53.

Honorable Kimberly D. Bose November 18, 2016

Page 25

estimates it produces are reasonable and appropriate.  The proposed model was thoroughly vetted 
with stakeholders and is posted publicly on the NYISO’s website.117  The NYISO proposes to 
adopt the Independent Consultant’s net EAS revenues model.  This model was used to produce 
the net EAS revenue estimates utilized in determining the ICAP Demand Curves for the 
2017/2018 Capability Year and will be used in producing the net EAS revenue estimates as part 
of the annual update process for the 2018/2019 through 2020/2021 Capability Years.

A. Natural Gas Hub Prices

Fuel prices are one of the single largest drivers of variable costs for the peaking plants. 
Therefore, use of reasonable and representative fuel prices is critically important to the ability of 
the net EAS revenues model to produce appropriate and reasonable results.  The Services Tariff 
requires that, as part of the DCR, the appropriate data sources for fuel prices be determined.118 
For natural gas prices, this includes both the data source from which the applicable historical 
prices are determined, as well as the appropriate natural gas hub pricing point for each peaking 
plant location.

The selection of the appropriate gas hub pricing point for each location is not a

straightforward exercise because, for nearly all locations, there are multiple available options. 
Therefore, in this DCR, a multi-factor assessment was conducted to determine the appropriate 
natural gas hub pricing point for each location.119  The criteria considered by the assessment 
were: (1) correlation of gas hub prices with LBMPs for the relevant location and the extent to 
which the gas hub prices reflect New York electricity market dynamics; (2) the liquidity and 
depth of trading activity at the gas hub; (3) geographic proximity of the gas hub to the location at 
issue; and (4) precedent for the gas hub prices being used in prior DCRs and other NYISO 
studies and evaluations (including NYISO planning studies and evaluations conducted by the 
MMU).

An important factor for this DCR was the correlation of the gas hub prices to LBMPs for 
the location and the extent to which the relevant gas hub prices reflect electricity market 
dynamics.  In some instances it became readily apparent from a review of historic data that 
certain candidate gas hub pricing points were likely not representative of marginal fuel supply 
costs in the electricity market, particularly during winter months such as the winter 2013-2014 
period.120

117 The net EAS revenues model posted on the NYISO website within the “Final Net EAS Model September 13, 2016” section of the “2017-2021 Demand Curve Reset” subfolder of the “Reference 
Documents” folder, available at:

http://www.nyiso.com/public/markets_operations/market_data/icap/index.jsp.  Prior iterations of the

model are also available within this same area of the NYISO website, tracking the evolution of the model throughout the DCR and any adjustments thereto in response to stakeholder feedback.

118 See Services Tariff § 5.14.1.2.2.2.

119 NYISO Staff Final Recommendations at 22-24 and 53-68; Independent Consultant Final Report at 74-80; and AG Affidavit at ¶ 47-53.

120 Independent Consultant Final Report at 74-78; and AG Affidavit at ¶ 48.

Honorable Kimberly D. Bose November 18, 2016

Page 26

Gas hub pricing points that are not correlated with electricity market dynamics and 
pricing outcomes may reflect near-term arbitrage opportunities for generators that can obtain 
access to such lower cost fuel supplies.  While these arbitrage opportunities are reflective of 
current conditions, they may not be reflective of gas supply pricing under the longer-term 
equilibrium conditions that are required to be considered in establishing the ICAP Demand 
Curves.121  Use of these gas hub pricing points could result in significantly overstating the net 
EAS revenues that a peaking plant would expect to earn under the tariff-prescribed level of 
excess conditions.  Any such material overstatement of net EAS revenues could result in the 
establishment of ICAP Demand Curves that do not provide appropriate price signals regarding 
the value of capacity.122

The figures below depict the relative correlation of various potential gas hub pricing points for the locations assessed during this DCR.123

121 The DCR requires that net EAS revenue estimates reflect the expected conditions when new 
entry is needed (i.e., the tariff-prescribed level of excess conditions), not current system conditions.

122 The NYISO conducted sensitivity analysis regarding certain of the alternative gas hub pricing 
points advocated for by some stakeholders.  This analysis indicated that use of Dominion North for Load 
Zone C would result in a reference point price for the 2017/2018 Capability Year NYCA ICAP Demand 
Curve that is approximately 40% lower than the currently effective value for the 2016/2017 Capability 
Year.  Replacing Iroquois Zone 2 with Millennium for Load Zone G would result in a reference point 
price for the 2017/2018 Capability Year G-J Locality ICAP Demand Curve that is nearly 60% lower than 
the currently effective value for the 2016/2017 Capability Year.  See NYISO Staff Final 
Recommendations at 54.

123 Independent Consultant Final Report at 75-78.

Honorable Kimberly D. Bose November 18, 2016

Page 27

Natural Gas Hub Prices and LBMPs for Load Zone C

Monthly Average	DAM LBMP

Spot Fuel Prices

($/MMBtu)

$35	$200

Dominion N	TETCO M3	Millennium East	C-Central (LBMP)

$30

$25

$20

$15

$10

$5

$0

1	3	5	7	9	11	1	3	5	7	9	11	1	3	5	7	9	11	1	3

2012	2013	2014 	2015 Source: ICE (Millennium East); SNL (All Others).

Natural Gas Hub Prices and LBMPs for Load Zone F

Monthly Average 
	Spot Fuel Prices

($/MMBtu)

$35

$180

$160

$140

$120

$100

$80

$60

$40

$20

$0

5

DAM LBMP

$200

$30

$25

$20

$15

$10

$5

$0

Iroquois Zn 2

1	2	3	4	5	6	7	8	9 1011 12 1	2	3	4

2012

Source: SNL Financial.

TGP Z6

5 	6 	7 	8 	9 1011 12 1 	2 	3 	4 	5 
	2013

F - Capital (LBMP)

6 	7 	8 	9 1011 12 1 	2 	3 	4 	5 	6 
2014 	2015

$180

$160

$140

$120

$100

$80

$60

$40

$20

$0

Honorable Kimberly D. Bose November 18, 2016

Page 28

Natural Gas Hub Prices and LBMPs for Load Zone G

Monthly Average Spot Fuel Prices ($/MMBtu)

$35

Iroquois Z2	TGP Z6	TETCO M3

$30

$25

$20

$15

$10

$5

$0

1	2	3	4	5	6	7	8	9 1011 12 1	2	3	4	5	6	7	8

2012	2013

Source: ICE (Millennium East); SNL (All Others).

DAM LBMP

$200

Millennium East	G-Hudson Valley (LBMP)

$180

$160

$140

$120

$100

$80

$60

$40

$20

$0

9 1011 12 1	2	3	4	5	6	7	8	9 1011 12 1	2	3	4	5	6

2014	2015

Natural Gas Hub Prices and LBMPs for Load Zones J and K

Monthly Average 
	Spot Fuel Prices

($/MMBtu)

$35	Iroquois Zn 2

$30

$25

$20

$15

$10

$5

$0

1	2	3	4	5	6	7	8	9 1011 12 1

2012

Source: SNL Financial.

Transco Zn 6 NY	J - NYC (LBMP)

2	3	4	5	6	7	8	9 1011 12 1	2	3	4	5	6	7	8

2013	2014

DAM LBMP

K - LI (LBMP)	$200

$180

$160

$140

$120

$100

$80

$60

$40

$20

$0

9 1011 12 1	2	3	4	5	6

2015

Honorable Kimberly D. Bose November 18, 2016

Page 29

The Services Tariff also mandates that the gas hub pricing selections made in the DCR 
remain fixed for the duration of the four year reset period.  Thus, ensuring that the gas hub is 
both liquid and has a reliable history of trading activity is critically important to provide 
assurance that it will continue to produce appropriate and reasonable prices going forward.  In 
the case of certain alternative gas hub pricing points that were considered (i.e., Dominion North 
for Load Zone C and Millennium for Load Zone G [Rockland County]), the Independent 
Consultant’s review of historic trading activity indicated that, although trading at each of these 
gas hubs has been increasing in recent years, they currently lack the depth of trading history 
provided by other candidate gas hubs for the same locations (e.g., TETCO M3 and Iroquois Zone 
2, respectively).124

Based on the evaluation of the potential gas hub pricing points for each location using the multi-factor assessment described above, the following gas hub prices are proposed for use 
during the reset period encompassed by this DCR:125

Load Zone	Natural Gas Hub

Load Zone C	TETCO M3

Load Zone F	Iroquois Zone 2

Load Zone G	Iroquois Zone 2

Load Zone J	Transco Zn 6 NY

Load Zone K	Transco Zn 6 NY

For most Load Zones, the natural gas hub pricing points proposed for this DCR are the 
same as those utilized in the last reset.  The limited changes are the use of Iroquois Zone 2 
instead of Tennessee Zone 6 for Load Zone F, and the use of Iroquois Zone 2 as the sole gas hub 
pricing point for Load Zone G.126  For Load Zone F, Iroquois Zone 2 and Tennessee Zone 6 are 
very similarly situated as it relates to the evaluation of the specified criteria.  Iroquois Zone 2, 
however, was selected because Tennessee Zone 6 is more likely to be affected by electricity 
market and supply conditions in ISO-NE.  This could result in Tennessee Zone 6 prices being 
inconsistent with New York market dynamics and conditions.  Iroquois Zone 2 is proposed as the 
sole gas hub pricing point for Load Zone G because it is far better correlated than TETCO M3 to 
LBMPs in the zone and, therefore, is most reflective of market dynamics in Load Zone G.127

124 Id. at 79.

125 NYISO Staff Final Recommendations at 23; Independent Consultant Final Report at 78; and AG Affidavit at ¶ 49-53.

126 In the last reset, Iroquois Zone 2 was used as the applicable gas hub pricing point for the

Dutchess County location in Load Zone G and TETCO M3 was used as the gas hub pricing point for the Rockland County location in Load Zone G.

127 NYISO Staff Final Recommendations at 23; Independent Consultant Final Report at 77-79; and AG Affidavit at ¶ 51-53.

Honorable Kimberly D. Bose November 18, 2016

Page 30

Certain stakeholders oppose the proposed gas hub pricing points for Load Zone C and 
Load Zone G.  These stakeholders contend that the Services Tariff requires that gas hub pricing 
point selections be based solely on geography.  Accordingly, they advocate for use of Dominion 
North for Load Zone C and Millennium or TETCO M3 for the Rockland County location in 
Load Zone G.  Other stakeholders, including the MMU (as it relates solely to Load Zone G), 
contend that for certain locations a “blended” gas hub price should be utilized.  For Load Zone 
G, these stakeholders advocate for a blend consisting of unspecified portions of Iroquois Zone 2, 
Millennium and/or TETCO M3.  With respect to Load Zone C, certain stakeholders argue for a 
blended price that might consist of unspecified portions of Dominion North, Millennium and/or 
TETCO M3.

Contrary to the assertions of these stakeholders, the Services Tariff does not include any mandate that gas hub pricing point selections be based solely on geography.  The Services Tariff merely requires that a gas hub pricing point be selected for each of the relevant locations and clarifies that selection of such gas hub pricing points is a decision that must be made as part of the DCR.128  Thus, the Services Tariff merely dictates that the applicable gas hub pricing points be those that are determined as part of the extensive stakeholder process required by the DCR and reflect those that are ultimately accepted by the Commission.

The NYISO and the Independent Consultant fully considered the alternative gas hub

pricing points advocated by certain stakeholders.  Dominion North and Millennium were

ultimately not recommended for use in this DCR because both gas hub pricing points: (i) are not well correlated with electricity market pricing outcomes and, thus, may not be representative of fuel supply costs incurred by marginal supply resources in the energy market; and (ii) have lower levels of trading history and activity in comparison to readily available and reasonable 
alternatives (e.g., TETCO M3 and Iroquois Zone 2).129

Furthermore, use of a “blended” gas hub price for any location is not appropriate.  There is no readily available publication that produces a “blended” price for the locations at issue. Therefore, the NYISO would be in the position of having to “create” such a price.  The NYISO does not have any principled rationale, at this time, for developing what the appropriate “blend” would be for any given location that would ensure that any such blending methodology is 
appropriate and sustainable for the four year reset period.130  Therefore, the NYISO does not support the use of any blended price mechanism at this time.

B. Real-Time Pricing

The net EAS revenues model makes real-time commitment and dispatch decisions based 
solely on Real-Time Dispatch (“RTD”) LBMPs.  Certain stakeholders noted that this does not 
align with the NYISO’s actual Real-Time Market, in which prices produced by the Real-Time

128 See Services Tariff § 5.14.1.2.2.2.

129 NYISO Staff Final Recommendations at 23; Independent Consultant Final Report at 77-79; and AG Affidavit at ¶ 50 and 52-53.

130 AG Affidavit at ¶ 53.

Honorable Kimberly D. Bose November 18, 2016

Page 31

Commitment (“RTC”) software are used for commitment and actual real-time settlements and payments to generators are based on the LBMPs determined by RTD.  Certain stakeholders contend the model’s reliance solely on RTD prices may result in a significant overstatement of the net EAS revenues that are likely to be earned by a peaking plant.

The Independent Consultant has assessed the potential impacts of using only RTD prices 
in the model.131  A review of the RTC prices during the historical period relevant for the 
2017/2018 ICAP Demand Curves indicates that, on average, RTC and RTD prices were not 
significantly different.  The Independent Consultant found that there was no systematic 
difference between RTC and RTD prices and that RTC prices were either higher or lower than 
RTD prices, depending on the interval.132  The Independent Consultant conducted certain 
sensitivity analysis by replacing the RTD prices used in the model with RTC prices and found 
that the resulting net EAS revenue estimates were not materially different.  In fact, the net EAS 
revenue estimates using RTC prices were generally less than 1% lower than the estimates 
produced using RTD prices.133  Additionally, unlike RTC prices, the hourly integrated RTD 
prices are already posted and publicly available on the NYISO’s website.  Therefore, it was 
concluded that use of RTD prices only in the model produced reasonable and appropriate results. 
As such, no modifications to the model were deemed necessary.  The NYISO concurs with this 
conclusion and proposes that the net EAS revenues model use only RTD prices for real-time 
commitment and dispatch.

C. Fuel Availability

In the last reset, net EAS revenue estimates for gas-only peaking plants were reduced to account for the potential of natural gas unavailability.  The logic applied in the last reset 
eliminated any net Energy revenues on days when the maximum temperature did not exceed 20oF.134  This logic was developed based on the NYISO’s review of then available confidential outage data for generators participating in its markets.  Certain stakeholders have advocated for the inclusion of a similar reduction mechanism for this DCR.

The NYISO has again reviewed confidential data available to it regarding generator

operations and availability in New York over the three-year historic period of relevance for the

131 NYISO Staff Final Recommendations at 27-28; Independent Consultant Final Report at 70; AG Affidavit at ¶ 45; and AG, NYISO 2015/2016 ICAP Demand Curve Reset: Stakeholder Comments Related to Net Energy and Ancillary Services Revenues Model at 5-14 (presented at the July 20, 2016 ICAPWG meeting), available at:

http://www.nyiso.com/public/webdocs/markets_operations/committees/bic_icapwg/meeting_materials/20 
16-07-

20/AG%20Draft%20Net%20EAS%20Feedback%2007202016%20ICAPWG%20Final%207%2014%202 016%20(2).pdf.

132 Id.

133 Id.

134 NYISO Staff Final Recommendations at 27.

Honorable Kimberly D. Bose November 18, 2016

Page 32

2017/2018 Capability Year.  This review has indicated that the logic applied in the last reset can no longer be supported.

Notably, however, the mere absence of dual fuel capability and the requirement for a gasonly peaking plant to bid only on the basis of applicable gas prices likely provides an appropriate accounting for the loss in economic value from not having dual fuel capability.  Because of the existing dual fuel capability within New York’s generation fleet, increases in LBMPs during 
spikes in gas prices tend to be less than the underlying increase in gas prices.  This is, in part, the result of generators operating on lower cost alternative fuels.135  As a result, a gas-only unit may be uneconomic and not scheduled by the net EAS revenues model during periods of gas price spikes.  This appropriately reduces the gas-only unit’s potential energy revenue earnings 
compared to the earnings of a unit with dual fuel capability.

Some stakeholders have also urged that the net EAS revenues model be revised to

incorporate additional logic to reflect potential difficulties in replenishing ULSD for a dual fuel 
peaking plant during winter conditions.136  The onsite storage for ULSD incorporated into the 
peaking plant design for a dual fuel unit provides the capability to operate for 96 hours before 
needing to replenish the oil supply.137  The Independent Consultant reviewed the results of the 
net EAS revenues model for the 2017/2018 Capability Year ICAP Demand Curves and 
determined that for each location the minimum number of days to burn through the entire 96 
hours of ULSD was 7 days for Load Zone J, 19 days for Load Zone K and 55 days for Load 
Zones F and G.  Moreover, the maximum run-time on ULSD in any 12-month period was 123 
hours in Load Zone K, which occurred during the 2013-2014 period.138  These results indicate 
that the onsite storage assumed for dual fuel peaking plants is adequate.  These results also 
demonstrate that conditions (including any replenishment delays) that could result in ULSD 
being unavailable for energy production are not anticipated to occur.

The NYISO concludes that the net EAS revenues model produces reasonable and

appropriate results.  No additional adjustments appear necessary to account for the concerns raised by certain stakeholders regarding potential fuel availability issues.

135 See, e.g., NYISO, Winter 2013-2014 Cold Weather Operating Performance (presented at the March 13, 2014 Joint Electric-Gas Coordination Working Group and Market Issues Working Group meeting) at 22, available at:

http://www.nyiso.com/public/webdocs/markets_operations/committees/bic_miwg/meeting_materials/201 
4-03-13/Winter%202013-1014%20NYISO%20Cold%20Snap%20Operations%20EGCW-MIWG.pdf.

136 NYISO Staff Final Recommendations at 27; and Independent Consultant Final Report at 80. 
	137 This equates to a 4 day on-site oil reserve (or 6 days of operation on oil during on-peak 
 periods), which is included in the in the upfront investment cost estimates for peaking plants designs that 
include dual fuel capability.  This represents an increase to the on-site oil reserve requirement of 3 days 
from the last reset.

138 Independent Consultant Final Report at 80 and 158.

Honorable Kimberly D. Bose November 18, 2016

Page 33

D. Intraday Natural Gas Costs

The net EAS revenues model includes intraday fuel premium/discount values for

determining real-time (or intraday) natural gas prices.139  The applicable values in the model are 10% for Load Zones C, F and G, 20% for Load Zone J and 30% for Load Zone K.140  These are the same values used by the MMU in its 2015 State of the Market Report for determining 
intraday gas prices.  These represent average values over the course of a year and are applied in every real-time hour.  The applicable real-time gas price is determined by increasing the relevant day-ahead gas price for the hour by the applicable premium value.

Certain stakeholders contend that the premium values likely understate “true” intraday gas prices during winter gas demand peak periods when gas prices spike and the intraday 
markets can be volatile.  As a result, these stakeholders argue that the net EAS revenues model likely overstates real-time energy market revenues earned by a peaking plant.  Other 
stakeholders, however, contend that application of the premiums in all real-time hours may overstate intraday gas prices during periods when there are no significant differences between day-ahead and intraday gas prices.  These stakeholders note that this could actually result in an understatement of revenues by the net EAS revenues model.

The Independent Consultant assessed the potential impacts of the proposed intraday

premium values and determined that they are not likely to result in any materially significant

under- or over-statement of estimated net EAS revenues for the peaking plants.141  This

assessment noted that any potential over-statement of revenues during winter peak periods would likely be offset by an understatement of revenue earnings during other months.142  The NYISO also reviewed proprietary gas price data, which confirms that the proposed values represent 
reasonable average annual values.143  Therefore, the NYISO proposes to adopt the intraday gas premium/discount values proposed by the Independent Consultant.

139 NYISO Staff Final Recommendations at 29; Independent Consultants Final Report at 80; and AG Affidavit at ¶ 46.

140 Id.

141 NYISO Staff Final Recommendations at 29; Independent Consultant Final Report at 69; and 
AG, NYISO 2015/2016 ICAP Demand Curve Reset: Stakeholder Comments Related to Net Energy and 
Ancillary Services Revenues Model at 16-21 (presented at the July 20, 2016 ICAPWG meeting), available 
at:

http://www.nyiso.com/public/webdocs/markets_operations/committees/bic_icapwg/meeting_materials/20 
16-07-

20/AG%20Draft%20Net%20EAS%20Feedback%2007202016%20ICAPWG%20Final%207%2014%202 016%20(2).pdf.

142 Id.

143 NYISO Staff Final Recommendations at 29.

Honorable Kimberly D. Bose November 18, 2016

Page 34

E. Level of Excess Adjustment Factor Values

The Service Tariff mandates that net EAS revenue estimates for the peaking plant reflect the tariff-prescribed level of excess conditions.144  Consistent with the methodology approved by the Commission in the last reset, the NYISO proposes to account for this requirement by using level of excess adjustment factors (“LOE-AF”).145  The net EAS revenues model multiplies 
historic LBMPs and reserve prices by the relevant LOE-AF values to approximate market 
outcomes under the tariff-prescribed level of excess conditions.146

The LOE-AF values are determined using production cost modeling simulations to

determine projected LBMPs based on current system conditions and LBMPs under system

conditions that reflect the tariff-prescribed level of excess conditions.147  The LOE-AF values are determined by dividing the projected LBMPs under the tariff-prescribed level of excess 
conditions by the projected LBMPs under current system conditions.

As was done in the last reset, the production cost modeling was conducted using GE

Energy Consulting’s Multi Area Production Simulation (“GE-MAPS”) software program.  The relevant LBMPs for each case were determined for the years covered by this reset (i.e., 2017-
2021) using the 2016 Congestion Assessment Resource Integration Study (“CARIS”) Phase 2 base case dataset.  This database was developed in accordance with the applicable tariff and 
other requirements and was reviewed with stakeholders on several occasions at the Electric 
System Planning Working Group before being presented to the Business Issues Committee on July 13, 2016.  The 2016 CARIS Phase 2 database is the most current CARIS database 
representation of the New York market and the assumptions regarding load forecasts, fuel and emission allowance prices and resource mix changes.

Use of the CARIS Phase 2 database and the assumptions contained therein is consistent 
with commitments made during the stakeholder discussions related to the DCR.  Certain 
stakeholders, however, now advocate for certain adjustments to the resource mix assumptions 
embedded in the CARIS Phase 2 database.148  These stakeholders contend that, in light of the 
recent Clean Energy Standard order issued by the New York State Public Service Commission 
(“CES Order”),149 the CARIS Phase 2 database used to determine the LOE-AF values should be 
revised to no longer assume the retirement of the Ginna and Fitzpatrick nuclear facilities in 2017. 
The CES Order, in part, includes a requirement for Load Serving Entities to purchase zero-

144 Services Tariff §§ 5.14.1.2.2 and 5.14.1.2.2.2.

145 See 2013 DCR Filing at 28; 2013 DCR Order at P 2 and 165.

146 NYISO Final Recommendations at 25-27 and 70-72; Independent Consultant Final Report at 81-83 and 150-151; and AG Affidavit at ¶ 41-42.

147 Id.

148 NYISO Staff Final Recommendations at 26.

149 See Case 15-E-0302, Proceeding on Motion of the Commission to Implement a Large-Scale

Renewable Program and a Clean Energy Standard, Order Adopting a Clean Energy Standard (issued and effective August 1, 2016.).

Honorable Kimberly D. Bose November 18, 2016

Page 35

emission credits from qualifying nuclear plants in New York.  These stakeholders contend that 
the CES Order should result in the retention of the Ginna and Fitzpatrick nuclear facilities.

Notably, neither Ginna nor Fitzpatrick have formally rescinded their previously issued notices, or statements, of intent to retire since issuance of the CES Order or provided any other notification to the NYISO that would meet the NYISO’s CARIS database inclusion rules to modify the currently assumed retirement of these facilities.  Therefore, the LOE-AF values derived from the current CARIS Phase 2 database remain the appropriate values.  As such, the NYISO proposes use of these LOE-AF values for this DCR.150

F.  Impacts of Shortage Pricing

Certain stakeholders have advocated for the development of an unspecified adder to the 
net EAS revenue estimates determined by the net EAS revenues model to account for the 
resulting changes in shortage pricing from the NYISO’s implementation of revised shortage 
pricing costs on November 4, 2015 (“Comprehensive Shortage Pricing”).151  The actual impacts 
of Comprehensive Shortage Pricing on market outcomes and prices since its implementation are 
already captured by the model.  Moreover, the annual update process ensures that these impacts 
continued to be recognized in a timely manner.  In fact, capturing the impacts of market rule 
changes, such as Comprehensive Shortage Pricing, was a primary motivation for the new annual 
updating process.152  Accordingly, there is no need for any such adjustment as the annual update 
process will capture the effects of Comprehensive Shortage Pricing on market outcomes as they 
actually occur.

V.	ICAP Demand Curve Parameters

The key parameters necessary for establishing the ICAP Demand Curves are: (i) the

maximum allowable price of capacity; (ii) the reference point price; and (iii) the point at which the price of capacity declines to zero (commonly referred to as the zero-crossing point).  The maximum allowable price of capacity is established at 1.5 times the applicable localized 
levelized embedded cost of the peaking plant.  The reference point price is determined, in part, based on the net CONE value, derived by subtracting the relevant net EAS revenue estimate for a peaking plant from the levelized embedded cost value of the same plant.

150 In response to the concerns raised by the stakeholders advocating for adjustments to the

retirement assumptions for Ginna and Fitzpatrick that are embedded in the 2016 CARIS Phase 2 database, the NYISO developed alternative LOE-AF values and results for a revised database that did not include these retirements.  See NYISO Staff Final Recommendations at 71-72.

151 See Docket No. ER15-1061, New York Independent System Operator, Inc., Proposed Tariff

Revisions to Ancillary Service Demand Curves and the Transmission Shortage Cost (February 18, 2015); and New York Independent System Operator, Inc., 151 FERC ¶ 61,057 (2015).

152 See DCR Enhancements Filing at 10.

Honorable Kimberly D. Bose November 18, 2016

Page 36

A. Levelized Fixed Charge and Financial Parameters

The Services Tariff requires that the DCR assess “the current localized levelized

embedded cost of a peaking plant” for each ICAP Demand Curve.153  This requires that the upfront capital investment costs for each peaking plant, including property tax and insurance, be translated into an annualized level.  This translation accounts for: (i) the weighted average cost of capital (“WACC”) that is assumed to be required by a developer of the peaking plant to recover its up-front investments costs, plus a reasonable return on that investment; (ii) the term in years over which the developer is assumed to recover its up-front investment costs (commonly referred to as the “amortization period”); and (iii) the applicable tax rates.154  The WACC is derived from a series of financial parameters related to the development of the peaking plant, including the 
required return on equity (“ROE”), the cost of debt (“COD”), and the capital structure for the 
project (as reflected in the ratio of debt to equity [“D/E ratio”]).155

The Independent Consultant developed the parameters necessary to translate the up-front investment costs of the peaking plant for each ICAP Demand Curve into an annualized level 
based on an assessment of relevant data and information, as well as its reasoned judgment and experience.156  The proposed parameters, as well as the analysis conducted to derive such 
parameters, were fully vetted with stakeholders.  The proposed parameters are designed to 
appropriately reflect the financial risks faced by a developer in pursuing the construction and 
operation of a peaking plant in New York on a merchant basis.157  After consideration of the 
relevant data and information, as well as feedback from stakeholders, the table below reflects the financial parameters recommended by the Independent Consult for use in translating the up-front investment costs of the peaking plant into an annualized level.

Financial Parameter	Recommended Value

ROE	13.4%

COD	7.75%

D/E Ratio	55/45

WACC	10.3%

Amortization Period	20 years

The proposed ROE was derived based on analyzing data from several sources, including estimates for the ROE of certain publicly traded independent power producing companies

153 See Services Tariff § 5.14.1.2.2.

154 NYISO Staff Final Recommendations at 20-21; Independent Consultant Final Report at 54-66 and 148-159; and AG Affidavit at ¶ 54-70.

155 Id.

156 Id. 
157 Id.

Honorable Kimberly D. Bose November 18, 2016

Page 37

(“IPPs”).158  This assessment, using the capital asset pricing model (“CAPM”), identified ROEs for the IPPs ranging from 10.0% to 12.5%.159  Because these values represent a portfolio of 
projects and financing structures, the Independent Consultant also reviewed data regarding the ROE for stand-alone project finance approaches to generation projects.  This data indicated that the required ROE for a project finance approach was significantly higher and likely in the range of 15% or greater.160  Based on the Independent Consultant’s reasoned judgment and experience, the value of 13.4% was recommended to reflect a balance between the lower values determined for the asset portfolios of IPPs and the higher project finance values.161

The proposed COD value was determined based on a review of debt costs for IPPs.  The 
data reviewed by the Independent Consultant indicated that debt costs for IPPs have ranged from 
5% to 8% since 2013.162  The 7.75% value, which is toward the upper end of the observed range 
of debt costs, was selected by the Independent Consultant as consistent with more recent generic 
debt costs of firms with ratings similar to that of IPPs, which value is close to 8% in recent 
months.163

The proposed D/E ratio (i.e., 55/45) was based on an analysis of IPP capital structures. The Independent Consultant found that current IPP capital structures are high compared to 
historic levels.164  The Independent Consultant recommended use of a lower value to: (i) 
recognize announcements by several IPPs that they will seek to deleverage their current capital structures; and (ii) provide greater consistency with the information obtained from other sources indicating a likely lower debt level for merchant projects similar to the peaking plant than is currently evidenced by the portfolio-wide capital structure of IPPs.165

The proposed 20-year amortization period reflects the same value approved by the

Commission for the F class frame turbine in the last reset.166  Given the proposal to continue use of this same technology, the NYISO finds that continued use of the previously approved 
amortization period value is reasonable.  The Independent Consultant assessed the currently 
approved amortization period value and concluded that it remains an appropriate and reasonable value for the peaking plant.167

158 Independent Consultant Final Report at 59-60; and AG Affidavit at ¶ 64-65.

159 Id.

160 Id. 
161 Id.

162 Independent Consultant Final Report at 57-59 and 148-149; and AG Affidavit at ¶ 63. 163 AG Affidavit at ¶ 63.

164 Independent Consultant Final Report at 60-61; and AG Affidavit at ¶ 66. 165 AG Affidavit at ¶ 66.

166 2013 DCR Order at P 117-118.

167 Independent Consultant Final Report at 55-56; and AG Affidavit at ¶ 57-58.

Honorable Kimberly D. Bose November 18, 2016

Page 38

Certain stakeholders have advocated for either reductions, or increases, to certain of the 
proposed parameters values (e.g., ROE, COD, the amortization period and/or the D/E ratio).  The NYISO has considered these comments and finds the Independent Consultant’s recommended 
financial parameters to be justified based on the analysis conducted by the Independent 
Consultant.  As such, the NYISO proposes to adopt the financial parameters recommended by 
the Independent Consultant.

B. ICAP Demand Curve Reference Point Calculation

Subtracting the estimated annual net EAS revenues for a peaking plant from its

annualized fixed charge value produces an annual net CONE value.  The ICAP Demand Curves are utilized in the monthly ICAP Spot Market Auctions administered by the NYISO.  Therefore, the annual net CONE value must be translated into a monthly value for use in the auctions.  The Services Tariff also requires that the reference point value for each ICAP Demand Curve be determined under the tariff-prescribed level of excess conditions.168

In past resets, accounting for the tariff-prescribed level of excess conditions in calculating the ICAP Demand Curve reference point values has been accomplished through a procedure that was not entirely transparent to market participants.169  Consistent with the principles of increased transparency, predictability and understandability that have guided the recent enhancements to 
the DCR, the Independent Consultant has proposed a more formulaic and transparent manner to account for the tariff-prescribed level of excess conditions when calculating the ICAP Demand 
Curve reference point values.170

The NYISO finds that the proposed revisions to the calculation of the ICAP Demand 
Curve reference point values are consistent with the requirements of the Services Tariff and an enhancement to the current procedures that results in a more transparent and formulaic process. Accordingly the NYISO proposes to adopt the Independent Consultant’s revised formula for 
calculating these values.

The translation of the annual net CONE value into a monthly reference point value for 
use in the ICAP Sport Market Auctions also includes an annual adjustment to account for 
seasonal differences in capacity availability (commonly referred to as the winter-to-summer ratio 
or “WSR”).  This adjustment is intended to reflect the fact that changes in capacity availability 
between the Summer Capability Period and Winter Capability Period contribute to differences in 
capacity prices throughout the year.  To provide for revenue adequacy for the peaking plant 
when market entry is needed to maintain the applicable minimum capacity requirements, these 
seasonal differences are accounted for through use of annually updated WSR values.

168 See Services Tariff § 5.14.1.2.2.

169 NYISO Staff Final Recommendations at 32-34; Independent Consultant Final Report at 90-92; and AG Affidavit at ¶ 23.

170 Id.

Honorable Kimberly D. Bose November 18, 2016

Page 39

The NYISO calculated the final WSR values for the 2017/2018 Capability Year consistent with the requirements of the Services Tariff.171  The table below provides the applicable WSR values used in calculating the reference point values for the 2017/2018 Capability Year.172

ICAP Demand Curve	2017/2018 WSR Value

NYCA	1.037

G-J Locality	1.054

NYC	1.077

LI	1.075

For the 2017/2018 Capability Year, the calculated reference point value for the NYCA ICAP Demand Curve was the same for each of the locations evaluated.  Consistent with past resets, the NYISO proposes continued use of Load Zone F as the location for determining the parameters of the NYCA ICAP Demand Curve.173  Although the calculated reference point 
values for each location are the same, Load Zone F results in the lowest annual net CONE value for the NYCA ICAP Demand Curve.174

C. ICAP Demand Curve Zero-Crossing Point

The Services Tariff requires that each DCR assess “the associated point at which the

dollar value of the ICAP Demand Curves should decline to zero.”175  The current zero-crossing point values approved by the Commission for each ICAP Demand Curve are (i) 112% of the 
applicable minimum capacity requirement for NYCA; (ii) 115% of applicable minimum capacity requirement for the G-J Locality; (iii) and 118% of respective applicable minimum capacity 
requirements for NYC and LI.176

The NYISO currently has ongoing efforts to assess, with its stakeholders, the process for 
establishing the minimum capacity requirements for Localities and whether any adjustments

171 See Services Tariff § 5.14.1.2.2.3; Docket No. ER16-1751-000, New York Independent System Operator, Inc., Request for Leave to Answer and Answer of the New York Independent System Operator, Inc. (June 27, 2016); and DCR Enhancements Order at P 29-30.

172 NYISO Staff Final Recommendations at 31-32; and Independent Consultant Final Report at 88-89.  The detailed spreadsheets related to the calculation of the applicable WSR values for the 
2017/2018 Capability Year are posted on the NYISO’s website within the “2017-2021 Demand Curve Reset” subfolder of the “Reference Documents” folder, available at:

http://www.nyiso.com/public/markets_operations/market_data/icap/index.jsp.

173 NYISO Staff Final Recommendations at 40-41.

174 Id.

175 See Services Tariff § 5.14.1.2.2.

176 2013 DCR Filing at 32-35; and 2013 DCR Order at P 140.

Honorable Kimberly D. Bose November 18, 2016

Page 40

thereto are warranted.  In light of these ongoing efforts, the NYISO and the Independent

Consultant agreed that it would not be appropriate to propose any adjustments to the currently effective zero-crossing point values for the ICAP Demand Curves for this reset period.177  In the interest of market stability, the NYISO proposes to retain the current zero-crossing point values for each ICAP Demand Curve (i.e., 112% for the NYCA ICAP Demand Curve, 115% for the G-J Locality ICAP Demand Curve and 118% for the NYC and LI ICAP Demand Curves).178 
Stakeholders did not indicate any objection to this proposal.  The NYISO will, as required by the Services Tariff, reassess the zero-crossing point values in the next DCR.

VI.	Annual Updates

The recently approved enhancements to the DCR process include conducting transparent and formulaic annual updates to establish the ICAP Demand Curves for the second through 
fourth years encompassed by each reset period.179  The annual update process consists of updates to the following parameters each year: (i) adjusting the levelized localized embedded cost of the peaking plant for each ICAP Demand Curve based on a composite escalation factor;180 (ii) 
determining new net EAS revenue estimates for each peaking plant using updated cost and 
market price information;181 (iii) determining updated WSR values;182 and (iv) determining the 
revised values of the ICAP Demand Curves utilizing the updated values described above.183  The Services Tariff requires that the NYISO post the results of annual updates to its website on or 
before November 30th of the calendar year prior to the commencement of the Capability Year for which the updated ICAP Demand Curves apply.184

A. Composite Escalation Factor for Adjusting Peaking Plant Costs

The levelized localized embedded cost of the peaking plant for each ICAP Demand

Curve will be updated annually using a single, NYCA-wide composite escalation factor.185  The 
composite escalation factor measures the year-over-year percentage change in values for certain 
publicly available inflation indices that relate to the costs of building a new power plant.  The 
composite escalation factor consists of four components: (i) changes in construction material

177 NYISO Staff Final Recommendations at 34; Independent Consultant Final Report at 87-88; and AG Affidavit at ¶ 23.

178 Id.

179 DCR Enhancements Filing at 10-17; and DCR Enhancements Order at P 27-30. 180 See Services Tariff § 5.14.1.2.2.1.

181 See Services Tariff § 5.14.1.2.2.2. 
182 See Services Tariff § 5.14.1.2.2.3 
183 Id.

184 See Services Tariff § 5.14.1.2.2.  For example, the updated ICAP Demand Curves for the 
2018/2019 Capability Year will be posted to the NYISO’s website on or before November 30, 2017.

185 See Services Tariff § 5.14.1.2.2.1.

Honorable Kimberly D. Bose November 18, 2016

Page 41

costs (“materials component”); (ii) changes in turbine generator costs (“turbine component”); 
(iii) changes in labor costs (“labor component”); and (iv) changes in the general cost of goods 
and services (“general component”).  The costs of the proposed peaking plant for each ICAP 
Demand Curve are broken down into each of these general cost categories in order to derive 
average NYCA-wide weighting factors that should be applied to each component.

The table below provides the proposed data source and weighting factor for each of the components to be used in determining the applicable composite escalation factor values during this reset period.186

Cost 
Component

Index Value

Data	Weighting 
Interval 	Factor

BLS Quarterly Census of Employment and

Labor

Materials

Wages, New York - Statewide, NAICS 2371 
	Utility System Construction, Private, All

Establishment Sizes, Average Annual 
BLS Producer Price Index for Commodities, Not

Seasonally Adjusted, Intermediate Demand by 
	Commodity Type (ID6), Materials and

Components for Construction (12)

Annually	28%

Monthly	37%

BLS Producer Price Index for Commodities, Not

Turbine	Seasonally Adjusted, Machinery and Equipment	Monthly	20%

(11), Turbines and Turbine Generator Sets (97)

Bureau of Economic Analysis: Gross Domestic

General	Product Implicit Price Deflator, Index 2009 =	Quarterly	15%

100, Seasonally Adjusted

Section 5.14.1.2.2.4.11 of the Services Tariff requires that the NYISO calculate and 
report the final values for the composite escalation factor and the inflation rate for the general component thereof that would have applied for the 2017/2018 Capability Year had an annual update been conducted for such year.  These values are relevant for certain aspects of the 
NYISO’s buyer-side capacity market mitigation measures (“BSM Rules”).187  The relevant final value of the composite escalation factor for the 2017/2018 Capability Year is 1.48%, and the applicable value of the general component thereof is 1.22%.

B. Net EAS Model Inputs

The net EAS revenue projections for each peaking plant are refreshed as part of the

annual update process.  For purposes of the annual updates for this reset period, the NYISO will 
utilize the same net EAS revenues model used to determine the net EAS revenue projections for

186 NYISO Staff Final Recommendations at 38; and Independent Consultant Final Report at 101-

102.

187 The BSM Rules are set forth in Section 23.4.5.7 et seq. of Attachment H of the Services Tariff.

Honorable Kimberly D. Bose November 18, 2016

Page 42

the 2017/2018 Capability Year, updating the model to replace the oldest twelve month period in the underlying dataset with the most recent twelve month period ending in August.188

The model used for projecting net EAS revenues, the commitment and dispatch logic of that model (including the manner in which the model will account for the operating 
characteristics of each peaking unit technology and any operating hours restrictions or limitations relating thereto), and the data inputs used for determining the applicable market prices and costs used by the model were developed as part of the DCR and will remain fixed for the four year 
period covered by this DCR.189

The table below summarizes the proposed data inputs to be used for this reset period.190

Data Input Value/Source

Factor Used in Annual

Updates for Each ICAP 
	Demand Curve

Net EAS Revenue Model, including Commitment and Dispatch Logic

NYCA191	G-J Locality192	NYC	LI

The net EAS revenues model is posted on the NYISO website within the “Final Net EAS Model September 13, 2016” section of the “2017-
2021 Demand Curve Reset” subfolder of the “Reference Documents” folder, available at:

http://www.nyiso.com/public/markets_operations/market_data/icap/ind ex.jsp.

1x0 Siemens

Peaking plant

Variable Cost per Start 
($/Start) (per unit)193

1x0 Siemens	1x0 Siemens	1x0 Siemens

SGT6-5000F5	SGT6-5000F5	SGT6-5000F5

with SCR/CO	with SCR/CO	with SCR/CO

$10,300	$10,500	$11,000

SGT6-

5000F5 with 
	SCR/CO

$10,900

188 See Services Tariff § 5.14.1.2.2.2.  For example, for the annual update to determine ICAP

Demand Curve values for the 2018/2019 Capability Year, the annual net EAS revenue projection will be based on cost and pricing data for the period from September 1, 2014 through August 31, 2017

189 In certain circumstances, these factors will represent a value that will remain fixed for the four year reset period.  In other instances, these factors will relate to a data source that will be used for 
determining applicable market price or cost information used by the model.

190 NYISO Staff Final Recommendations at 38-40.

191 The data inputs for NYCA represent the NYISO’s proposal to use Load Zone F as the appropriate location for the NYCA ICAP Demand Curve peaking plant.

192 The data inputs for the G-J Locality represent the NYISO’s proposal to use Dutchess County as the appropriate location for the G-J Locality ICAP Demand Curve peaking plant.

193 The start-up cost is calculated as the start-up fuel quantity multiplied by the applicable day ahead fuel price, plus the variable O&M cost per start.   The start-up fuel quantity for the proposed peaking plant technology and design is provided in the Independent Consultant Final Report.  See Independent Consultant Final Report at 140.

Honorable Kimberly D. Bose November 18, 2016

Page 43

Data Input Value/Source

Factor Used in Annual

Updates for Each ICAP 
	Demand Curve

Net Plant Heat Rate (HHV basis), Degraded

Energy Prices (day-ahead and real-time)

Operating Reserves Prices 
(day-ahead and real-time) 
Level of Excess Adjustment 
Factors

Ancillary Services Adder for Voltage Support Service

($/kW-yr.)

Peaking plant primary Fuel 
Type

Peaking plant  secondary (if any)  Fuel Type

NYCA191	G-J Locality192	NYC	LI

See NYISO Staff Final Recommendation at 18 (Table 9)

This data is publically available through the NYISO DSS System, via the NYISO website

This data is publically available through the NYISO DSS System, via the NYISO website

See NYISO Staff Final Recommendations at 26 (Table 13)

$1.43	$1.43	$1.43	$1.43

Natural Gas	Natural Gas	Natural Gas	Natural Gas

-	ULSD	ULSD	ULSD

Fuel tax adder  - Gas	-	-	6.9%	1.0%

Fuel tax adder - ULSD 
	Transportation cost adder -
Gas ($/MMBtu)

Transportation cost adder -
ULSD ($/MMBtu)

Real-time intraday gas premium/discount

Fuel Pricing Point  - Gas 
Fuel Pricing Point - ULSD

-	-

$0.27	$0.27

$2.00	$1.50

10%	10%

Iroquois	Iroquois

Zone 2	Zone 2

New York	New York 
	Harbor 	Harbor

4.5%	-

$0.20	$0.25

$1.50	$1.50

20%	30%

Transco	Transco

Zn 6 NY	Zn 6 NY

New York	New York 
	Harbor 	Harbor

Fuel Price Data source - Gas Fuel Price Data Source -

ULSD

Peaking plant Variable 
Operating and Maintenance 
Cost

SNL Financial

https://www.eia.gov/dnav/pet/hist/LeafHandler.ashx?n=PET&s=EER_ 
	EPD2DXL0_PF4_Y35NY_DPG&f=D

See Independent Consultant Final Report at 119 for the applicable data relating to the proposed peaking plants for the G-J, Locality, NYC and LI ICAP Demand Curves; and Independent Consultant Final Report at 133 for the applicable data relating to the proposed peaking plant for the NYCA ICAP Demand Curve.  The applicable values are also

provided within the “Lummus Performance and OM Data” spreadsheet posted with the net EAS revenues model (see the “Final Net EAS

Model September 13, 2016” section of the “2017-2021 Demand Curve Reset” subfolder of the “Reference Documents” folder, available at:

http://www.nyiso.com/public/markets_operations/market_data/icap/ind ex.jsp)

Honorable Kimberly D. Bose November 18, 2016

Page 44

Data Input Value/Source

Factor Used in Annual

Updates for Each ICAP 
	Demand Curve

Peaking plant CO2 Emissions 
Rate

Peaking plant NOx Emissions 
Rate

Peaking plant SO2 Emissions 
Rate

CO2 Emission Allowance 
Cost

NOx Emission Allowance 
Cost

SO2 Emission Allowance 
Cost

NYISO Rate Schedule 1 
Charges for Injection Billing 
Units

NYCA191	G-J Locality192	NYC	LI

See Independent Consultant Final Report at 140.  The applicable values are also provided within the “Lummus Performance and OM Data”

spreadsheet posted with the net EAS revenues model (see the “Final Net EAS Model September 13, 2016” section of the “2017-2021

Demand Curve Reset” subfolder of the “Reference Documents” folder, available at:

http://www.nyiso.com/public/markets_operations/market_data/icap/ind ex.jsp)

See Independent Consultant Final Report at 140.  The applicable values are also provided within the “Lummus Performance and OM Data”

spreadsheet posted with the net EAS revenues model (see the “Final Net EAS Model September 13, 2016” section of the “2017-2021

Demand Curve Reset” subfolder of the “Reference Documents” folder, available at:

http://www.nyiso.com/public/markets_operations/market_data/icap/ind ex.jsp)

See Independent Consultant Final Report at 140.  The applicable values are also provided within the “Lummus Performance and OM Data”

spreadsheet posted with the net EAS revenues model (see the “Final Net EAS Model September 13, 2016” section of the “2017-2021

Demand Curve Reset” subfolder of the “Reference Documents” folder, available at:

http://www.nyiso.com/public/markets_operations/market_data/icap/ind ex.jsp)

RGGI Regional Allowance Auction Results, available on RGGI’s 
	website at https://www.rggi.org/market/co2_auctions/results

SNL Financial 
SNL Financial

http://www.nyiso.com/public/markets_operations/market_data/miscella 
	neous/index.jsp?docs=rate-schedule-1

C. ICAP Demand Curve Parameter Updates

The NYISO will utilize the updated levelized embedded cost values and annual net EAS 
revenue projections to derive the updated values of the ICAP Demand Curves.194  The maximum 
value of each ICAP Demand Curve is set at an amount equal to the monthly value of the updated 
levelized embedded cost for the applicable peaking plant, multiplied by 1.5.  The reference point 
is set at the annual net CONE value for each peaking plant, translated into a monthly value that

194 See Services Tariff § 5.14.1.2.2.3.

Honorable Kimberly D. Bose November 18, 2016

Page 45

accounts for seasonal differences in capacity availability and the tariff-prescribed level of excess conditions.  Calculations of the reference point value will use annually updated WSR values. The applicable capacity ratings for each peaking plant used in calculating the reference point price were determined during the DCR and will remain fixed for the four year period of the reset. The proposed zero-crossing point for each ICAP Demand Curve DCR was also determined 
during the DCR and will remain fixed for the reset period of this DCR.

The table below summarizes the proposed data inputs to be used in calculating the ICAP Demand Curve parameters for this reset period.195

Data Input Value

Factor Used in Annual	Type of

Updates for Each ICAP	Value Demand Curve

NYCA196	G-J Locality197	NYC	LI

ICAP Demand Curve Parameter Values

Fixed for

Zero-crossing point	Reset Period	112%	115%	118%	118%

Reference Point Price Calculation

Peaking Plant Net 
Degraded Capacity

(DMNC ICAP MW)

Peaking Plant Summer Capability Period

DMNC

Peaking Plant Winter Capability Period

DMNC

Level of Excess

WSR Values

Fixed for

Reset Period

Fixed for

Reset Period

Fixed for

Reset Period

Fixed for

Reset Period

Updated 
Annually

217.0	128.0	217.6	219.1

224.6	226.8	226.9	224.9

230.3	230.3	228.7	230.3

100.6%	101.5%	102.3% 	103.9%

These values are updated annually and will be 
	publically available via the NYISO website.

195 NYISO Staff Final Recommendations at 36-37.

196 The data inputs for NYCA represent the NYISO’s proposal to use Load Zone F as the appropriate location for the NYCA ICAP Demand Curve peaking plant.

197 The data inputs for the G-J Locality represent the NYISO’s proposal to use Dutchess County as the appropriate location for the G-J Locality ICAP Demand Curve peaking plant.

Honorable Kimberly D. Bose November 18, 2016

Page 46

VII.	Description of Tariff Amendments

The NYISO proposes to revise Section 5.14.1.2 of the Services Tariff to reflect the

parameters of the ICAP Demand Curves for the 2017/2018 Capability Year.  Specifically, the 
NYISO proposes to modify the table in Section 5.14.1.2 of the Services Tariff to include a new 
column specifying the applicable parameters of the ICAP Demand Curves for the 2017/2018 
Capability Year, while deleting the existing columns specifying the parameters for the 
2013/2014 through 2015/2016 ICAP Demand Curves.  The NYISO also proposes to populate the 
table included in Section 5.14.1.2.2.3 of the Services Tariff with the relevant values for the 
2017/2018 Capability Year.

VIII.	Effective Date

The NYISO respectfully requests issuance of an order by Commission accepting the

proposed ICAP Demand Curves for the 2017/2018 Capability Year and the methodologies and 
inputs to be used in conducting annual updates for the 2018/2019 through 2020/2021 Capability 
Years within sixty days from the date of this filing (i.e., on or before January 17, 2017).  The 
NYISO requests an effective date of January 17, 2017 for the proposed revisions to Section

5.14.1.2 of the Services Tariff to reflect the parameters of the 2017/2018 Capability Year ICAP Demand Curves.

IX.	Communications and Correspondence

All communications and service in this proceeding should be directed to:

Robert E. Fernandez, General Counsel

Raymond Stalter, Director, Regulatory Affairs *Garrett E. Bissell, Senior Attorney

10 Krey Boulevard

Rensselaer, NY 12144 
Tel:  (518) 356-6107 
Fax: (518) 356-7678

gbissell@nyiso.com

*Person designated for receipt of service.

X.	Service

The NYISO will send an electronic link to this filing to the official representative of each 
of its customers, to each participant on its stakeholder committees, to the New York State Public 
Service Commission, and to the New Jersey Board of Public Utilities.  In addition, the complete 
filing will be posted on the NYISO’s website at www.nyiso.com.

Honorable Kimberly D. Bose November 18, 2016

Page 47

XI.	Conclusion

The proposal set forth herein to establish the ICAP Demand Curve parameters for the 
2017/2018 Capability Year, as well as the methodologies and inputs to be used in conducting 
annual updates to the ICAP Demand Curves for the 2018/2019 through 2020/2021 Capability 
Years are the result of the extensive stakeholder process required by the Services Tariff. 
Although various stakeholders advocate for certain changes to the proposal that would either 
lower or increase the reference point values of the ICAP Demand Curves, the NYISO’s proposal 
is just and reasonable.  The NYISO respectfully requests: (i) that the Commission issue an order 
accepting the NYISO’s proposal on or before January 17, 2017; and (ii) an effective date of 
January 17, 2017 for the proposed revisions to Section 5.14.1.2 of the Services Tariff.

Respectfully submitted,

/s/ Garrett E. Bissell 
Garrett E. Bissell 
Senior Attorney

New York Independent System Operator, Inc.

10 Krey Blvd.

Rensselaer, New York 12144 (518) 356-6107

gbissell@nyiso.com

cc:	Michael Bardee

Nicole Buell

Anna Cochrane 
Kurt Longo 
Max Minzner 
Daniel Nowak 
Larry Parkinson

J. Arnold Quinn 
Douglas Roe

Kathleen Schnorf 
Jamie Simler 
Gary Will