10 Krey Boulevard  Rensselaer, NY  12144

March 28, 2016

By Electronic Delivery

Ms. Kimberly D. Bose, Secretary

Federal Energy Regulatory Commission 888 First Street, NE

Washington, DC 20426

Re:    New York Independent System Operator, Inc., Report of the Results of 
	Triennial NCZ Study, Docket No. ER16-____-000

Dear Ms. Bose:

In accordance with Section 5.16.4 of the Market Administration and Control Area

Services Tariff (“Services Tariff”), the New York Independent System Operator, Inc. (“NYISO”) respectfully submits this report of the results of its recently completed triennial New Capacity Zone (“NCZ”) Study.  As discussed below, the NCZ Study1 did not identify a Highway 
deliverability constraint.  Therefore, in accordance with the Services Tariff, tariff revisions to create an NCZ are not proposed herein.2

I.	LIST OF DOCUMENTS SUBMITTED

The NYISO respectfully submits the following documents:

1.	This filing letter;

2.	The NYISO’s 2016 New Capacity Zone Study Report (“Attachment I”); and

3.	Confirming Affidavit of Steven Corey (“Attachment II”).

II.	BACKGROUND

In September 2011 the Commission issued an order3 directing the NYISO to file tariff

revisions establishing a specific process for evaluating, identifying and, if necessary, establishing 
NCZs in the New York Control Area.  The NYISO made that filing in November 2011, and in

1 Capitalized terms not defined herein have the meaning set forth in the Services Tariff, and if not defined therein, then as defined in the NYISO’s Open Access Transmission Tariff (“OATT”).

2 Services Tariff Section 5.16.4(b).

3 New York Independent System Operator, Inc., 136 FERC ¶ 61,165 (2011).

Ms. Kimberly D. Bose, Secretary March 28, 2016

Page 2

the August 2012 Order, the Commission accepted the filing and made it effective as of January 
9, 2012.

The August 2012 Order accepted Section 5.16 of the Services Tariff.  As discussed

below, this provision requires the NYISO to commence a triennial NCZ Study by September 1 of 
the year preceding an ICAP Demand Curve Reset Filing Year (in this instance 2015,) review the 
inputs and assumptions to be used in it with stakeholders by October 1 of that preceding year,4 
and complete the NCZ Study by January 15 of the ICAP Demand Curve Reset Filing Year.5  The 
Services Tariff also requires the NYISO to make one of two types of NCZ filings on or before 
March 31 of each ICAP Demand Curve Reset Filing Year,6 in this instance, by March 31, 2016.

Under Sections 5.16.2 and 5.16.4(a), if the NCZ Study identifies a constrained Highway 
interface into one or more Load Zones, the NYISO is to identify the boundary of one or more 
NCZs, and file tariff revisions to implement new NCZ(s).  In 2013, the NYISO conducted an 
NCZ Study that identified a constrained Highway Interface and triggered the creation of the G-J 
Locality.7

By contrast, Section 5.16.4(b) states that “[i]f the NCZ Study does not identify a

constrained Highway interface, the ISO shall file with the Commission the ISO’s determination 
that the NCZ Study did not indicate that any New Capacity Zone is required pursuant to this 
process, along with a report of the results of the NCZ Study.”  As noted above, and discussed 
below, the NYISO’s 2016 NCZ Study did not identify a constrained Highway interface.

Finally, Section 5.16.4 specifies that the NYISO “shall provide an opportunity for the Market Monitoring Unit to review and comment on the NCZ Study … consistent with Services Tariff Attachment O Section 30.4.6.3.2.”

III. 	THE 2016 NEW CAPACITY ZONE STUDY REPORT

As required by Services Tariff Sections 5.16.4 and 5.16, the NYISO commenced work on the 2016 NCZ Study by September 1, 2015 and completed it by January 15, 2016.  A copy of the 2016 New Capacity Zone Study Report is included as Attachment I to this filing.

The 2016 NCZ Study concluded that “all of the Highway Interfaces were found to have 
positive Additional Transmission Capacity, i.e., none of the Highway Interfaces were found to be

4 Services Tariff Section 5.16.1.2.

5 Services Tariff Section 5.16.

6 Services Tariff Section 2.9.

7 See New York Independent System Operator, Inc., Proposed Tariff Revisions to Establish and Recognize a New Capacity Zone and Request for Action on Pending Compliance Filing, Docket No. ER13-1380-000 (April 30, 2013).

Ms. Kimberly D. Bose, Secretary March 28, 2016

Page 3

constrained.”  Thus, the conclusion of the 2016 NCZ Study was “that there is no need to trigger the Services Tariff requirement for the filing of tariff revisions to establish an NCZ.”8

As discussed in more detail therein, the 2016 NCZ Study was performed in accordance with the procedures and methodology set forth in Section 5.16.  The rules require the NYISO to use, in large part, the deliverability methodology from the Class Year Study set forth in 
Attachment S to the NYISO OATT.  The NYISO’s conduct of the 2016 NCZ Study and its conclusions are endorsed by the Confirming Affidavit of Steven Corey.

IV. 	MARKET MONITORING UNIT REVIEW

In accordance with Section 5.16.4, the NYISO provided the Market Monitoring Unit

(“MMU”) with an opportunity to review the 2016 New Capacity Zone Study Report.9  The MMU asked the NYISO a few questions but raised no objections.

V.	STAKEHOLDER REVIEW

On September 28, 2015, the NYISO presented to the Installed Capacity (“ICAP”) 
Working Group the NCZ Study inputs and assumptions. On January 13, 2016, the NYISO 
presented the results of the NCZ Study to the ICAP Working Group.  The NYISO released a 
final version of the 2016 New Capacity Zone Study Report incorporating stakeholder feedback 
on January 15, 2016.  At the January 19, 2016 meeting of the ICAP Working Group, the NYISO 
responded further to stakeholder questions regarding the NCZ Study and the report.  Also in 
response to a stakeholder request at the January 19, 2016 ICAP Working Group meeting the 
February 8, 2016 the Interconnection Project Facilities Study Working Group meeting, the 
NYISO provided further information regarding certain NCZ Study inputs on February 23, 2016.

VI.	SERVICE

This filing will be posted on the NYISO’s website at www.nyiso.com. In addition, the 
NYISO will e-mail an electronic link to this filing to the official representative of each party to 
this proceeding, to each of its customers, to each participant on its stakeholder committees, to the 
New York Public Service Commission, and to the New Jersey Board of Public Utilities.

8 2016 New Capacity Zone Study Report at 12.

9 See Services Tariff Section 5.16.4(b).

Ms. Kimberly D. Bose, Secretary March 28, 2016

Page 4

VII.   COMMUNICATIONS

Copies of correspondence concerning this filing should be served on:

Robert E. Fernandez, General Counsel Ray Stalter, Director of Regulatory Affairs *Gloria Kavanah, Senior Attorney

New York Independent System Operator, Inc.

10 Krey Boulevard

Rensselaer, NY 12144 
Tel: (518) 356-6000 
Fax: (518) 356-4702 
rfernandez@nyiso.com 
rstalter@nyiso.com

gkavanah@nyiso.com

*persons designated to receive service

VIII.   CONCLUSION

*Ted J. Murphy

Hunton & Williams LLP 
2200 Pennsylvania Avenue, NW Washington, DC 20037-1701 Tel: (202) 955-1500

Fax: (202) 778-2201 
tmurphy@hunton.com

In accordance with the above, the New York Independent System Operator, Inc. respectfully submits this filing.

Respectfully submitted,

/s/ Gloria Kavanah

Gloria Kavanah

New York Independent System Operator, Inc.

Dated:  March 28, 2016

cc:	Michael A. Bardee

Anna Cochrane 
Kurt Longo 
Max Minzner 
Daniel Nowak 
Larry Parkinson

J. Arnold Quinn 
Douglas Roe

Kathleen Schnorf 
Jamie Simler 
Gary Will

CERTIFICATE OF SERVICE

I hereby certify that I have this day served the foregoing document upon each person

designated on the official service list compiled by the Secretary in this proceeding in accordance with the requirements of Rule 2010 of the Rules of Practice and Procedure, 18 C.F.R. §385.2010. 
	Dated at Rensselaer, NY this 28th day of March 2016.

/s/ Joy A. Zimberlin

Joy A. Zimberlin

New York Independent System Operator, Inc.

10 Krey Blvd.

Rensselaer, NY 12144 (518) 356-6207

Attachment I

2016 New Capacity Zone Study Report

January 15, 2016

Table of Contents

Table of Contents	2

1.	Introduction	3

2.	New Capacity Zone Study Methodology	3

3.	NCZ Study Case Modeling and Assumptions	4

4.	NCZ Study Results	11

5.	Conclusions	12

1. Introduction

The New Capacity Zone1 (NCZ) Study is performed to determine whether any Highway interface(s) are constrained, which would trigger the Services Tariff requirement to file tariff revisions with the 
Commission to establish an NCZ(s).

The previous (2013) NCZ Study, which was performed for the 2017 Summer Capability Period, led to creation of the G-J Locality, encompassing Load Zones G through J.

This 2016 NCZ Study was performed for the 2020 Summer Capability Period and, since none of the

Highway interfaces were found to be constrained, the conclusion of this 2016 NCZ Study is that there is no need to trigger the Services Tariff requirement to propose tariff revisions to establish an NCZ.

2. New Capacity Zone Study Methodology

2.1.	Background

The NCZ Study is a deliverability study that is performed in accordance with the procedures and methodology set forth in Section 5.16 of the Services Tariff.

The NCZ Study rules require that it be performed using in large part the Deliverability test methodology in 
Attachment S of the OATT to determine if there is a constrained Highway interface into one or more Load 
Zones.

The scope of the NCZ Study is limited to the evaluation of Deliverability across the Highways, and not Byways in accordance with Section 5.16.1 of the Services Tariff.2  The methodology for evaluating and measuring Deliverability across the Highways is described below.

2.2.	Transfer Capability Across Highway Interfaces

The NCZ Study was conducted by testing the transfer capability across the Highway interfaces within the 
Rest of State (ROS) Capacity Region (Load Zones A through F) and across the UPNY-ConEd Highway 
interface located within the Lower Hudson Valley (“LHV”) Capacity Region (Load Zones G through I). For 
the ROS, Generation-to-generation shifts are simulated for combinations of Load Zones within the 
Capacity Region, increasing generation “upstream” of an interface and reducing generation “downstream” 
of that interface (as such terms are used in the definition of “Highway” in Attachment S.)  Transfer limit 
assessment determines the ability of the network to deliver capacity from generation in one (or more) 
surplus zone(s) to other deficient zone(s) within the Capacity Region.  The transfer capability across the 
UPNY-ConEd interface is evaluated by increasing generation upstream of the interface (Load Zone G) 
and decreasing generation downstream of the interface (Load Zones H and I).

In the actual transfer limit assessment, all transmission facilities within the NYISO are monitored.

Contingencies tested in the transfer limit assessment include all “emergency transfer criteria”

contingencies defined by the applicable Northeast Power Coordinating Council (NPCC) Criteria and New York State Reliability Council (NYSRC) Reliability Rules.

The concept of First Contingency Incremental Transfer Capability (FCITC) is used in the determination of deliverable capacity across ROS Highway interfaces within the Capacity Region.  The FCITC measures the amount of generation in the exporting zone that can be increased to load the interface to its

1 Terms with initial capitalization used but not defined herein have the meaning set forth in the Market Administration and Control 
Area Services Tariff (Services Tariff), and if not defined therein, then as set forth in the Open Access Transmission Tariff (OATT). 
An NCZ is a “single Load Zone or group of Load Zones that is proposed as a new Locality….” See Services Tariff Section 2.14.

2 Section 5.16.1 of the Services Tariff sets forth the NCZ Study Methodology.

New Capacity Zone Study Report | 3

transmission limit.3  It is the additional generation capacity that could be exported from a given zone(s) above the base case dispatch level.

a.   All generators in the exporting zone(s) are uniformly increased (scaled) in proportion to their 
	maximum power limits (Pmax) while all generators in the importing zone(s) are decreased 
	uniformly in proportion to the difference between their initial generation dispatch level (Pgen) 
	and their minimum power limits (Pmin).  The FCITC and Highway transmission constraint(s) 
	for the exporting zone(s) are noted for each export/import combination.

b.   The net generation available4 is compared to the FCITC Highway transmission constraint(s) 
	for the exporting zone(s) transfer.  If the net generation available upstream is greater than the 
	calculated FCITC, that amount of generation above the FCITC is considered to be 
	constrained or “bottled” capacity and may not be fully deliverable under all conditions. 
	(Byway constraints normally evaluated in an interconnection study are not evaluated in the 
	NCZ Study.)

If the net generation available upstream is less than the FCITC (that is, there is not sufficient 
available generation upstream to reach the transmission limit,) the difference is an indication 
of the available “transfer capability” to accommodate additional generation resources in the 
upstream area.

3. NCZ Study Case Modeling and Assumptions

This section of the report describes the assumptions and base case conditioning steps of the NCZ Study, consistent with Section 5.16.1 of the Services Tariff.  (See presentation, New Capacity Zone Study 
(NCZ) Inputs and Assumptions presented by the NYISO at the September 28, 2015 Installed Capacity Working Group meeting.5)

3.1.	NCZ Study Assumption Matrix

The NCZ Study case setup utilizes results from extensive NYISO studies and reports. The sources for the parameters used in the NCZ study are summarized in Table 1.

3 The amount of such generation is described in Services Tariff § 5.16.1.1.1, and in Table 1.

4 The “net generation available” in any defined exporting zone is the difference between the sum of the zonal generators’ Pmax and the sum of the zonal generators’ actual MW output.

5 This presentation is available at:

<http://www.nyiso.com/public/webdocs/markets_operations/committees/bic_icapwg/meeting_materials/2015-09-
28/agenda%206%20ICAPWG_09-28-2015_NCZ%20Study%20Inputs%20and%20Assumptions.pdf>.

New Capacity Zone Study Report | 4

Table 1: Parameters Established in NYISO Studies and Reports

#	Parameter

1	Installed Capacity Requirement

Description

NYCA Installed Capacity Requirement to achieve LOLE less than 0.1 day per year, which is based on the Installed Reserve Margin (IRM) identified by the New York State Reliability Council (NYSRC)  and accepted by the PSC

Reference

2015 NYSRC IRM report for the 
period May 2015 to April 2016

2

3

IRM Emergency Transfer Limits

Locational Minimum Installed 
Capacity Requirements (LCRs)

Emergency transfer limits on Highway interfaces 
corresponding to the interface limits used in the IRM study

The LCRs for the NYC (Zone J), Long Island (Zone K) and Zones 
G through J Localities approved by the Operating Committee.

2015 LCR report approved by 
	Operating Committee on 
	January 15, 2015

Load model

NCZ Study Capability Period peak demand forecast contained

4	Peak Load Forecast	in the latest NYISO Load and Capacity Data report (i.e., “Gold

Book”)

2020 Summer peak load 
conditions from 2015 Gold Book

5

Impact of Load Forecast	Uncertainty in forecasting NYCA loads due to uncertainty in 
Uncertainty (LFU) 	forecasted weather and economic conditions

2015 NYSRC IRM report

Generator model

Generators with Capacity Resource Interconnection Service

6

7

8

Existing CRIS generators and 
transmission facilities with UDRs

Planned generation projects or 
Merchant Transmission Facilities

UCAP Derate Factor (UCDF)

(CRIS) and transmission facilities with Unforced Capacity Deliverability Rights (“UDRs”) in‐service on the date of the latest Load and Capacity Data report

Projects that have accepted either (a) Deliverable MW or (b) a System Deliverability Upgrade cost allocation and provided cash or posted required security pursuant to Attachment S of the OATT, which for (a) and (b) is from a Class Year Final

Decision Round that occurs prior to the NCZ Study Start Date, excluding any such projects subsequently withdrawn from the NYISO Interconnection Queue

Factor used to convert ICAP to Unforced Capacity (UCAP) based on historic availability data by resource type on a Capacity Region basis

2015 Gold Book

2015 NYSRC IRM report and 
	2015 NYISO LCR report

9	Deactivated CRIS units

Units retaining CRIS rights for three years after being considered “deactivated” unless the ability to transfer those rights has been exercised or expired

Generator units deactivated 
	before September 1, 2012

Transmission model

Identified as existing in the NYISO Load and Capacity Data

10	Existing transmission facilities	report most recently published prior to the NCZ Study Start

Date, September 1 2015 for this study

11

12

Firm plans for changes to 
transmission facilities by TOs

System Upgrade Facilities and 
System Deliverability Upgrades

Planned changes of facilities in the latest Load and Capacity

Data report that are scheduled to be in‐service prior to the	2015 Gold Book NCZ Study Capability Period, Summer 2020 for this study

Facilities associated with planned projects identified in (7) above, except that System Deliverability Upgrades will only be modeled if the construction is triggered

Import/Export model

13	External System Import/Export

Base case direct transfer

14	schedules from ROS to other

Capacity Regions

NYCA scheduled imports from HQ/PJM/ISO‐NE/IESO

Actual flow scheduled from ROS to LHV, NYC and LI consistent with the IRM and the LCRs

NYISO Tariffs ‐ OATT Section 25, 
	Attachment S

ROS to LHV:	738 MW

ROS to NYC :	2,548 MW

ROS to LI:	780 MW 
Total from ROS:  4,066 MW

New Capacity Zone Study Report | 5

3.2.	NCZ Study Base Case Creation

The NCZ Study base case is a five-year look-ahead of the New York Control Area (NYCA). The base

case originates from the 2015 NYISO FERC 715 2020 Summer peak load case, and then is customized to meet the specific requirements of Section 5.16.1 of the Services Tariff. The conditioning steps are applied to the modeling of load, NYCA generation, and external system import/export.

3.2.1.	Load Modeling

Load forecast is the baseline forecast of coincident Summer 2020 peak demand before reductions for

Emergency Demand Response Providers. Load Forecast Uncertainty (LFU) based on the 2015 IRM

study is applied individually to the peak load forecast MW for each of the four Capacity Regions:

   ROS	12.42%

   LHV	12.42%

   NYC	7.10%

   LI	9.10%

Table 2 shows a summary of baseline peak load forecast plus LFU.

Table 2: Summary of Baseline Peak Load Forecast plus LFU

Zone	Baseline	LFU	Total

ROS	12215	1518	13733

LHV	4449	553	5002

NYC	12251	870	13121

LI	5394	491	5885

3.2.2.	NYCA Generator Modeling

The initial CRIS capability and available capacity resources are determined by the combination of various

inputs, consistent with Section 5.16.1 of the Services Tariff:

I.	The CRIS (MW) capability of approved generating units is modeled according to the CRIS cap

listed in 2015 Gold Book.

II. 	CRIS rights terminate three years after deactivation pursuant to Attachment S to the OATT. Thus,

based on the NCZ Study Start Date of September 1, 2015 of this NCZ Study, units deactivated in 
and before September 2012 are not modeled in the NCZ Study case. Generators deactivated 
after September 1, 2012 are modeled as in-service with their applicable CRIS levels, per the 
2015 Gold Book.

III.	The Pmax data for each respective resource within the NYCA Study base case power flow

representation is the CRIS value derated by applicable equivalent forced outage rate below:

III.1.	Derates are applied to specific types of intermittent generation resources:

a.   Small hydro	45.00%

b.   Large hydro	0.09%

c.   Land-based Wind	85.50%

d.   Landfill Gas	19.40%

e.   Solar	47.30%

f.	Pumped Storage hydro	0.0216%

New Capacity Zone Study Report | 6

III.2.	Derates are applied to the aggregate of all remaining generation (“Uniform Capacity”)

within the exporting zone(s) for the purpose of determining the net capacity available for

deliverability.  These are the ICAP/UCAP translation factors for each Capacity Region

consistent with the 2015 IRM study:

a.   ROS	3.60%

b.   LVH	12.50%

c.   New York City	10.20%

d.   Long Island	10.40%

III.3.	The “derated capacity,” or Pmax is available to supply load and losses within each

Capacity Region and adjacent Capacity Region(s).  When power transfers are simulated,

all generation in the exporting zone(s) is uniformly increased to its Pmax.

III.4.	Tables 3 and 4 summarize the Resource Capacity and Capacity Derates for the NCZ

Study base case:

Table 3: Summary of Resource Capacity by Type

Landfill	Large	Small	Pumped

Zone	Gas	Hydro	Hydro	Storage	Wind	Solar	Uniform	Total CRIS

A	18.4	2,460.0	3.1	240.0	120.5	2,265.1	5,107.1

B	15.6	54.8	717.8	788.2

C	40.1	77.0	509.4	6,115.7	6,742.2

D	6.4	856.0	73.4	385.5	354.5	1,675.8

E	11.2	451.4	441.7	272.4	1,176.7

F	9.3	415.6	1,165.1	2,974.1	4,564.1

ROS	101.0	3,316.0	1,075.3	1,405.1	1,457.1	0.0	12,699.6	20,054.1

G	19.0	99.1	3,656.2	3,774.3

H	2,120.4	2,120.4

I	0.0

LHV	19.0	0.0	99.1	0.0	0.0	0.0	5,776.6	5,894.7

J	10,239.9	10,239.9

K	2.6	31.5	5,399.9	5,434.0

NYCA	122.6	3,316.0	1,174.4	1,405.1	1,457.1	31.5	34,116.0	41,622.7

New Capacity Zone Study Report | 7

Table 4: Summary of Capacity Derates by Resource Type

Total	Landfill	Large	Small	Pumped	Land based	Uniform	Total	Total

Zone	CRIS	Gas	Hydro	Hydro	Storage	Wind	Solar	Capacity	Capacity	UCAP

(MW)	Derates	Derates	Derates	Derates	Derates	Derates	Derates	(MW)

A	5,107.1	3.6	2.2	1.4	5.2	103.0	0.0	81.5	196.9	4,910.2

B	788.2	3.0	0.0	24.7	0.0	0.0	0.0	25.8	53.5	734.7

C	6,742.2	7.8	0.0	34.7	0.0	435.5	0.0	220.2	698.1	6,044.1

D	1,675.8	1.2	0.8	33.0	0.0	329.6	0.0	12.8	377.4	1,298.4

E	1,176.7	2.2	0.0	203.1	0.0	377.7	0.0	9.8	592.8	583.9

F	4,564.1	1.8	0.0	187.0	25.2	0.0	0.0	107.1	321.1	4,243.0

ROS	20,054.1	19.6	3.0	483.9	30.4	1,245.8	0.0	457.2	2,239.8	17,814.3

G	3,774.3	3.7	0.0	44.6	0.0	0.0	0.0	457.0	505.3	3,269.0

H	2,120.4	0.0	0.0	0.0	0.0	0.0	0.0	265.1	265.1	1,855.4

I	0.0	0.0	0.0	0.0	0.0	0.0	0.0	0.0	0.0	0.0

LHV	5,894.7	3.7	0.0	44.6	0.0	0.0	0.0	722.1	770.4	5,124.3

J	10,239.9	0.0	0.0	0.0	0.0	0.0	0.0	1,044.5	1,044.5	9,195.4

K	5,434.0	0.5	0.0	0.0	0.0	0.0	14.9	561.6	577.0	4,857.0

NYCA	41,622.7	23.8	3.0	528.5	30.4	1,245.8	14.9	2,785.3	4,631.6	36,991.1

Column descriptions:

 	“Total CRIS Capacity” is the total from Table 3.

   Each “Derate” column is the amount of capacity reduction based on the application of the 
	derate factor to the represented capacity.

   Uniform Capacity Derate uses the specific ICAP/UCAP translation factor for the Capacity 
	Region; hydro and wind use the technology-specific derate factors.

 	“Total All Capacity Derates” is the sum of category derates by zone.

New Capacity Zone Study Report | 8

3.2.3.	Capacity Regions Import/Export Modeling

The initial generation and interchange schedules for the NYCA and the four Capacity Regions are determined via the combination of various inputs:

1.   External Generation Source

I.   Inter-Area external interchange schedules include the following grandfathered long-term firm 
	power transactions for the NCZ Study base case by Tariff:

   External CRIS Right:  Quebec (via Chateauguay) to NY	1090 MW

   Existing Transmission Capacity for Native Load (ETCNL): PJM to NYSEG	1080 MW

II.   Generating capacity associated with firm export commitments are represented as follows:

   NYPA to AMP-Ohio, PA-RECs	182 MW

   NYPA to ISO-NE (Vermont)	91 MW

III.   Grandfathered external firm capacity imports:

   ISO-NE to NY	0 MW

   Ontario (IESO) schedule	0 MW

IV.   Generator reactive (MVAr) capabilities as determined by and applicable NERC, NPCC and

NYSRC standards and NYISO procedures.

V.   Wheeling contracts:

   ROS to NYC via ABC/JK through PJM	1,000 MW

   ROS to NYC via Lake Success/Valley Stream through LIPA	287 MW

   ROS to LIPA via Northport Norwalk Cable through ISO-NE	0 MW

The total external generation resources including items (I) to (V) are summarized in Table 5.

Table 5: Summary of External Generation Resources (MW)

From

To	ROS import	LHV import	NYC import	LI import	NYCA

Ontario	0	0	0	0	0

HQ	1090	0	0	0	1,090

PJM	-102(1)	0	1,000	0	898

ISO NE	-91	0	0	0	-91

Total External

Generation Source	897	0	1,000	0	1,897

Note 1: ROS import from PJM is the sum of ETCNL 1080 MW into NYCA, 182 MW NYPA

export to AMP-Ohio and PA-RECs, and 1000 MW from ROS flowed through LHV to PJM via J&K lines: (1080 MW - 182 MW - 1000 MW =  - 102 MW)

New Capacity Zone Study Report | 9

2.   ROS Direct MW Transfer

Actual base case interchange schedules between NYCA Capacity Regions are set consistent with the IRM and the LCRs:

   ROS (A-F) supply to LHV (G-I):	738 MW

   ROS (A-F) supply to NYC (J) through LHV (G-I):	2,548 MW

   ROS (A-F) supply to Long Island through LHV (G-I):	780 MW

(combined with 287 MW wheeling contract, Y49/Y50 flow is scheduled to 1067 MW)

3.   Unforced Capacity Deliverability Rights (UDR)

Controllable transmission projects with UDRs are represented at their respective UDR capacity from the External Control Area into the respective NYISO Load Zone.

   Cross-Sound Cable to Long Island	330 MW

   Neptune HVdc to Long Island	660 MW

   Linden VFT to New York City	315 MW

   Hudson Transmission Project to New York City	660 MW

The total import of each Capacity Region including items (1) to (3) is summarized in Table 6.

Table 6: Summary of Capacity Region Imports from External Sources (MW)

From	ROS Import	LHV Import	NYC Import	LI Import

To	(A-F)	(G-I)	(J)	(K)

Total External Source	897	0	1,000	0

ROS direct MW transfer	0	738	2,548	780

LHV direct MW transfer	0	0	0	0

Total UDR	0	0	975	990

All CRIS generation within each Capacity Region is placed in service and scaled proportional to the ratio of its Pmax to the sum of the Pmax in the respective exporting or importing zone(s) or Capacity Region. Actual generation is proportionally scaled (up or down) to match the demand.6

Phase Angle Regulators (PARs) controlling external tie lines are set consistent with NYISO Service Tariff, 
Attachment M-1, NYISO-PJM Joint Operating Agreement and applicable operating procedures and 
agreements.

6 Demands include load (including load forecast uncertainty), transmission losses, and external schedule commitments

New Capacity Zone Study Report | 10

4. NCZ Study Results

Deliverability tests were performed for each of the five Highway interfaces located within the ROS

Capacity Region and for the UPNY-ConEd Highway interface located within the LHV Capacity Region. 
The deliverability tests within the ROS Capacity Region (Zones A through F) are evaluated from west-to-
east and north-to-south by exporting from one (or more) zones (exporting zones) to the remaining zone(s) 
within the ROS Capacity Region.  The deliverability test for the UPNY-ConEd Highway within the LHV 
Capacity Region (Zones G through I) is evaluated by exporting from Zone G to Zones H and I.

The level of deliverability across each Highway interface is measured as either Additional Transmission 
Capacity (i.e., deliverability “headroom”), or Bottled Generation Capacity, which is calculated as the First 
Contingency Incremental Transfer Capability (FCITC) of the interface less the amount of net available 
capacity in the exporting Zone(s). A summary of the Highway interface deliverability analysis for the NCZ 
Study case is presented in Table 7. As shown in the table, all Highway interfaces were determined to 
have Additional Transmission Capacity and, therefore, passed the Highway deliverability test.

Table 7:  Highway Deliverability Test Results

Additional

Capacity	Highway	Exporting  Importing 
	Region 	Interfaces 	Zone(s) 	Zone(s)

Load	Base

(incl.	Generation

LFU and	Dispatch	UCAP (3)

losses)	(exporting

(1)	zones) (2)

Net	FCITC

Available	(export

Capacity	limit)

(4)	(5)

Transmission 
	Capacity (+)

or Bottled	Constraint Generation

Capacity (-) 
	(6)

ROS

LHV

Dysinger-
	East

West

Central 
Volney-

East

Moses-
	South

Total East

UPNY-
ConEd

A	BCDEF

AB	CDEF

ABC	DEF

D	ABCEF

ABCDE	F

G	HI

a	b	c

2,948	4,740	4,910

5,267	5,449	5,645

8,557	11,284	11,689

879	1,252	1,298

11,037	13,102	13,571

2,560	2,731	3,269

d = c - b	e	f = e - d

170	1637.1	1,467

195	1885.5	1,690

405	2985.7	2,581

46	1251.6	1,205

470	316

786.1

538	670.5	132

Lockport-Tele Rd 115 kV @ STE L/O

Niagara - New Roch 
345 kV

Farmington 4-Pannell 115 kV @ NOR

Edic-Porter 345/230 
Transformer @ NOR 
Adirondack B2-Moses 
230 kV @ STE L/O 
Chat-Massena-Marcy 
765 kV w/Rej HQ-NY 
Rock Tavern-CPV

Valley 345 kV @ STE L/O Coopers Corners-
Middletown tap

Rock Tavern - CPV 
Valley 345 kV @ STE 
L/O Coopers Corners-
Middletown tap

Column descriptions:

1.	“Load” includes the load forecast uncertainty and transmission losses within the exporting zone(s).

2.	“Base Generation Dispatch” is the actual generation output in the exporting zone(s).

3.	“UCAP” is the amount of UCAP in the exporting zone(s).

4. 	“Net Available Capacity” the excess UCAP in the exporting zone(s) available for export. It is the

difference between UCAP (c) and Base Generation Dispatch (b).

5. 	“FCITC” is the incremental transfer limit corresponding to the most limiting FCTTC in the Highway

interface analysis calculated by the thermal analysis software (PSS®MUST).

6. 	“Additional Transmission Capacity or Bottled Generation Capacity” is the available unused transfer

capability (+) or the amount of UCAP that is bottled (-) by the interface transfer limit constraint. It is calculated by FCITC (e) less Net Available Capacity (d).

New Capacity Zone Study Report | 11

5. Conclusion

All of the Highway interfaces were found to have positive Additional Transmission Capacity, i.e.,  none of 
the Highway interfaces were found to be constrained. The conclusion of this 2016 NCZ Study is that there 
is no need to trigger the Services Tariff requirement for the filing of tariff revisions to establish an NCZ. In 
accordance with the Services Tariff, the NYISO will file its determination with the Commission by March 
31, 2016.7

7 See Services Tariff Section 5.16.4(b).

New Capacity Zone Study Report | 12

Attachment II

UNITED STATES OF AMERICA 
	BEFORE THE

FEDERAL ENERGY REGULATORY COMMISSION

New York Independent System Operator, Inc.	Docket No. ER16-___-000

CONFIRMING AFFIDAVIT OF

STEVEN COREY

Mr. Steven Corey declares:

1.	I have personal knowledge of the facts and opinions herein and if called to testify could and

would testify competently hereto.

2. 	My name is Steven Corey, and I am a Principal Electric Systems Planner for the New York

Independent System Operator, Inc. (“NYISO”).  From November 2005 through October 2015 I was the Manager of Interconnection Projects for the NYISO.

3. 	My responsibilities include interconnection studies, which include the NYISO’s Class Year

Interconnection Facilities Study1 (“Class Year Study”) pursuant to OATT Attachment S; 
addressing requests for Capacity Resource Interconnection Service (“CRIS”) and Energy 
Resource Interconnection Service (“ERIS”); performing engineering and related analyses of 
proposed new, and changes to existing, generation and merchant transmission 
interconnections, including system impacts; and providing input to interconnection 
agreements.  I was responsible for performing the NYISO’s 2016 New Capacity Zone 
(“NCZ) Study and the preparation of the 2016 New Capacity Zone Study Report (“2016 NCZ 
Study Report”), which are the subject of this filing, and the 2013 NCZ Study.

4. 	My responsibilities for the Class Year Studies include determining the eligibility of projects

to participate in a particular Class Year Study, identifying the inputs in the Class Year Study, determining the System Upgrade Facilities(“SUFs”) necessary for projects electing ERIS and the project cost allocation(s) of the SUFs; and determining whether projects electing CRIS are deliverable, and if not deliverable, the necessary System Deliverability Upgrade(s) 
(“SDUs”) and project cost allocation(s) thereof.

5. 	Prior to these positions, I was Manager of Transmission Planning for the NYISO for six

years.  I was responsible for interconnection studies during that time as well.  Prior to the 
NYISO, I was employed for nearly 26 years by the New York Power Pool, where, among 
other positions, I served as Manager of Transmission Planning before the transition to the

1 Capitalized terms that are not otherwise defined herein have the meaning set forth in the

NYISO’s filing with which this Affidavit is submitted, and if not defined therein, then as defined in the

Market Administration and Control Area Services Tariff (“Services Tariff”) or the NYISO’s Open Access Transmission Tariff (“OATT”).

NYISO.  I received a Bachelor of Science degree in Electrical Engineering from Clarkson College of Technology (now Clarkson University) and a Master of Engineering degree in Electrical Engineering, also from Clarkson University.

6. 	I submit this affidavit in support of the NYISO’s 2016 NCZ Study Report, which is being

filed with the Commission as Attachment I to the instant filing.  The 2016 NCZ Study Report informs the Commission of the NYISO’s study and its inputs, the results thereof, and its 
review with stakeholders and the Market Monitoring Unit, all of which were performed in accordance with the rules set forth in the Services Tariff and the OATT.

7. 	The purpose of this affidavit is to confirm that I led the team conducting the NCZ Study and

that the study was conducted in accordance with the requirements of the Services Tariff.  As 
stated in the instant filing, the 2016 NCZ Study used the deliverability methodology from the 
Class Year Study set forth in OATT Attachment S with identified adjustments, the key one of 
which is that the evaluation is limited to an assessment of deliverability across Highway 
interfaces.

8. 	I also confirm that I was personally involved with, and led the team that conducted the

analyses described in the 2016 NCZ Study Report.  I confirm that the statements and facts,

including its descriptions of the analysis, methodology, and results, set forth in the 2016 NCZ Study Report it are true and correct to the best of my knowledge and understanding.

9. 	In particular, I confirm that I support the 2016 NCZ Study’s conclusion that “all of the

Highway Interfaces were found to have positive Additional Transmission Capacity, i.e., none 
of the Highway Interfaces were found to be constrained” and therefore, “there is no need to 
trigger the Services Tariff requirement for the filing of tariff revisions to establish an NCZ.”2

10. I also confirm that I made presentations, as required by the Services Tariff, and participated 
	in stakeholder meetings discussing the NCZ Study, its inputs and assumptions, and the 
	results, and they are as described in the instant filing.

This concludes my Affidavit.

2 2016 NCZ Study Report at 12.

2