10 Krey Boulevard  Rensselaer, NY  12144

January 23, 2017

By Electronic Delivery

Honorable Kimberly D. Bose, Secretary Federal Energy Regulatory Commission 888 First Street, NE

Washington, DC 20426

Re:    New York Independent System Operator, Inc., Proposed Tariff Revisions

Regarding Interconnection Process Improvements, Request for Expedited Commission Action, Request for Waiver of Prior Notice Requirement, and Request for Shortened Comment Period; Docket No. ER17-____

Dear Secretary Bose:

In accordance with Section 205 of the Federal Power Act1 and Part 35 of the Federal

Energy Regulatory Commission’s (“Commission”) regulations,2 the New York Independent

System Operator, Inc. (“NYISO”) respectfully submits proposed revisions to the interconnection procedures set forth in Attachments S (Section 25) and X (Section 30) of its Open Access 
Transmission Tariff (“OATT”).3

The proposed revisions improve upon the NYISO’s interconnection study process by 
providing Developers with additional flexibility in addressing the regulatory milestone 
requirement that must be met for a project to enter into a Class Year Interconnection Facilities 
Study (“Class Year Study”).  The tariff revisions were developed as part of an ongoing effort by 
NYISO staff and stakeholders to identify and implement improvements to current tariff 
requirements related to the interconnection process.  The revisions address a specific concern 
raised by Developers and were broadly approved by stakeholders with limited abstentions.

The NYISO respectfully requests that the Commission issue an order no later than

February 22, 2017, that the Commission waive its prior notice requirements to make the tariff 
revisions effective no later than February 22, 2017, and that the Commission adopt a shortened 
comment period of seven days to allow these proposed tariff revisions to apply to the next Class 
Year Study, which is scheduled to start on March 1, 2017.  As described in Part IV of this letter, 
there is good cause for the Commission to adopt a shortened comment period and to 
expeditiously issue an order with a February 22, 2017 effective date.  The requested effective

1 See 16 U.S.C. § 824d (2000).

2 18 C.F.R § 35 et seq. (2009).

3 Capitalized terms not otherwise defined in this letter have the meaning set forth in Attachments S, X and Z of the 
OATT.

Honorable Kimberly D. Bose, Secretary January 23, 2017

Page 2

date and expedited treatment may significantly benefit up to 18 Developers in the NYISO’s interconnection queue and will not, to the NYISO’s knowledge, prejudice any stakeholder. NYISO stakeholders and interested parties have been on notice since December 9, 2016 of the proposed tariff revisions, which were approved without stakeholder objection.

I.	Documents Submitted

The NYISO submits the following documents with this filing letter:

•   A clean version of the proposed revisions to Attachments S and X of the OATT 
	(“Attachment I”); and

•   A blacklined version of the proposed revisions to Attachment S and X to the OATT 
	(“Attachment II”).

II.	Background

Attachment X to the OATT contains the NYISO’s procedures for evaluating proposed

interconnections of Large Generating Facilities and Merchant Transmission Facilities to the New 
York State Transmission System or Distribution System.  Attachment X establishes three 
successive Interconnection Studies of each proposed project.  The first study is the 
Interconnection Feasibility Study, which is a high-level evaluation of the configuration and local 
system impacts.4  The second study is the Interconnection System Reliability Impact Study 
(“SRIS”), which is a detailed single-project study that evaluates the project’s impact on transfer 
capability and system reliability.5  The third and final study is the Class Year Study.6

The Class Year Study is a detailed study that evaluates the cumulative impact of a group 
of projects - a “Class Year” of projects - that have met specified eligibility requirements by the 
Class Year Start Date and have elected to enter that Class Year Study.7  The Class Year Study 
identifies the upgrade facilities needed to reliably interconnect all of the projects in the Class 
Year.8  The Class Year Study procedures are primarily contained in Attachment S to the OATT.9

4 See Attachment X, Section 30.6.

5 See Attachment X, Section 30.7.

6 See Attachment X, Section 30.8.

7 See Attachment X, Section 8.2; see also Attachment S, Sections 25.6.2.3.1 and 25.6.2.3.4 (Class Year eligibility and re-entry criteria).

8 Specifically, the Class Year Study allocates the cost of System Upgrade Facilities and System Deliverability Upgrades identified in the study among the projects in the Class Year in accordance with the cost allocation methodologies set forth in Attachment S to the OATT.

9 Attachment X details the obligations related to execution of a Class Year Study Agreement and provides a highlevel scope of the Class Year Study and Class Year Study procedures, but it incorporates by reference the terms of Attachment S, which provide more detailed Class Year Study procedures.

Honorable Kimberly D. Bose, Secretary January 23, 2017

Page 3

The hallmark of the NYISO’s Class Year Study process is that it is performed for a group of projects that have achieved similar developmental milestones to determine the cumulative 
impact of such projects.  Specifically, to enter a Class Year, a Developer’s project must: (i) have an SRIS approved by the NYISO’s stakeholder Operating Committee and (ii) must have satisfied one of the regulatory milestones described in Section 25.6.2.3.1 of Attachment S.  The regulatory milestones are primarily state regulatory determinations or actions related to siting and 
permitting requirements for the facility.

For generators, the most commonly applicable regulatory milestone is a determination by the New York Department of Public Service (“DPS”) that a facility’s Article 10 application 
concerning the siting of power plants over 25 MW is in compliance with New York Public 
Service Law § 164 (i.e., that the application is “deemed complete”).10  Section 25.6.2.3.1.1.7 of Attachment S requires:

For a Large Generator that is larger than 25 MW, a determination pursuant to Article 10 of the Public Service Law that the Article 10 application filed for the Large Generator is in compliance with Public Service Law § 164.

The milestone is satisfied when a project’s Article 10 application has been deemed complete by 
DPS.

The NYISO intended this Article 10 milestone to be comparable to a Developer

satisfying one of the following milestones relied on under the former power plant siting process 
that preceded the relatively new Article 10 process: (i) the application is deemed complete or (ii) 
the Draft Environmental Impact Statement is deemed complete.11  The new Article 10 process 
places much of the developer requirements at the inception of that process, and developers have 
raised concerns through the NYISO’s stakeholder process regarding their ability to timely 
complete this milestone within the NYISO’s Class Year Study eligibility time gframe.  As a 
result, projects may not be able to reach the completed application stage in time to enter a desired 
Class Year Study.

In response, the NYISO recently proposed, and the Commission accepted, revisions to

the interconnection process that were intended to permit additional time within which a

Developer can satisfy regulatory milestones, while still encouraging projects to move through the interconnection process without unnecessary delays.12  Specifically, the NYISO revised the

10 See Attachment S, Section 25.6.2.3.1.1.7. For Merchant Transmission Facilities, the most commonly applicable regulatory milestone is a determination by the DPS that the facility’s Article VII application is in compliance with New York Public Service Law §122. See Attachment S, Section 25.6.2.3.1.1.7.

11 See New York Independent System Operator, Inc., 142 FERC ¶ 61,113 (2013) (accepting insertion of Article 10 regulatory milestone in Section 25.6.2.3.1.1.7 of Attachment S).

12 See New York Independent System Operator, Inc., Letter Order, Docket No. ER16-1627-000 (June 6, 2016) (accepting tariff revisions proposed by the NYISO in its May 5, 2016, filing in this docket).

Honorable Kimberly D. Bose, Secretary January 23, 2017

Page 4

Class Year requirements to allow a project to provisionally enter a Class Year Study without

having met its regulatory milestone.  The project would then be withdrawn if it has not satisfied 
the regulatory milestone requirement within 90 days of the Class Year Start Date.  In addition, 
the recent tariff revisions provide a project more time to meet its regulatory milestone before it is 
subject to withdrawal from the NYISO’s interconnection queue.  Rather than having to meet the 
milestone within two years after the approval of the SRIS for the project by the Operating 
Committee, the tariff now allows a project three Class Years to achieve its regulatory milestone.

Notwithstanding these improvements, Developers have continued to express concerns 
regarding the challenges they face to timely enter and complete a Class Year Study due to the 
regulatory milestone requirement.  Absent further process changes, as many as 18 projects may 
not be eligible to enter the next Class Year Study.  In light of these concerns, the NYISO 
proposes the tariff revisions described in Part III to provide Developers with additional flexibility 
to satisfy the regulatory milestone requirement, and is seeking expedited treatment of this 
proposal from the Commission in order to address these issues in time for the next Class Year 
Study.

The proposed revisions to Attachments S and X were approved by the NYISO's

stakeholders after an extensive and open process, including four stakeholder meetings.  This

process resulted in a consensus among stakeholders on the amendments proposed in this filing. 
While there were stakeholders who abstained from the Operating Committee and Management 
Committee votes approving the proposal and tariff language, no stakeholders opposed the 
proposal or proposed tariff revisions.  The tariff revisions have been approved by the NYISO’s 
Board of Directors.

III.	Description of the Proposed Tariff Modifications

A.	Deposit In Lieu of Satisfying Regulatory Milestone

The NYISO proposes to revise the Class Year eligibility requirements in Section

25.6.2.3.1 of Attachment S to provide Developers with an alternative to satisfying the regulatory milestone requirement to enter a Class Year.  As revised, Section 25.6.2.3.1 provides that a 
Developer that has obtained Operating Committee approval of the SRIS for its project may enter a Class Year by either: (i) demonstrating that its project has satisfied one of the applicable 
Attachment S regulatory milestones (as is currently required), or (ii) submitting a two-part 
deposit13 in lieu of satisfying the regulatory milestone.14

The first part of the deposit is an “at risk” refundable deposit of $100,000.  This amount 
is fully refundable to the Developer if it proceeds to satisfy the applicable regulatory milestone

13 These deposits in lieu of the regulatory milestone are in addition to the $100,000 Class Year study deposit.

14 The NYISO proposes conforming revisions to Section 30.8.1 of the OATT.

Honorable Kimberly D. Bose, Secretary January 23, 2017

Page 5

by the earlier of: (i) twelve months after the Class Year Start Date or (ii) the Operating

Committee’s approval of the Class Year Study.  The second part of the deposit is a fully

refundable deposit in the amount of $3,000 per MW.  This portion of the deposit is refundable upon the earlier of the Developer’s satisfaction of the applicable regulatory milestone or its withdrawal of its project from the NYISO’s interconnection queue.

The proposed revisions will enable Developers of projects that are prepared to proceed, 
but have not completed the Article 10 application process, to enter into a Class Year Study.  The 
NYISO has set the two-part deposit at a level that is sufficient to indicate that the Developer 
making the deposit is likely to proceed with its project, which is consistent with the purpose of 
the regulatory milestone for entering into a Class Year.  The Commission has previously 
indicated that the use of a deposit can demonstrate a project’s commercial viability and its ability 
to proceed to construction.15  Moreover, the Commission has accepted both in the NYISO’s 
interconnection process and in other regions the use of a deposit as an appropriate mechanism for 
demonstrating a project’s capability to proceed in the interconnection process.

Both the Southwest Power Pool, Inc. (“SPP”) and the Midcontinent Independent System 
Operator, Inc. (“MISO”) use a Developer’s provision of deposits in an amount comparable to the 
NYISO’s proposal as milestones for the project to advance in the interconnection process.

SPP requires that an Interconnection Customer submit with its executed Definitive

Interconnection System Impact Study Agreement a security deposit in the amount of $1000 per MW, which deposit is refundable at commercial operation or if the interconnection request is 
withdrawn prior to executing the Facilities Study agreement.16  In addition, the Interconnection Customer must provide an additional security deposit with an executed Interconnection Facilities Study Agreement equal to $3000 per MW that is refundable unless the withdrawal of the project increases the upgrade costs to other customers or the cost estimate for network upgrades has 
increased between studies by at least 25%.17

MISO requires an Interconnection Customer to make an initial milestone payment of 
$4000 per MW before its preliminary System Impact Study and to make subsequent milestone payments prior to the Revised System Impact Study and the Final System Impact Study of 10% and 20% of the costs of the required Network Upgrades (less previously paid amounts), 
respectively.18  As the Interconnection Customer makes further milestone payments, its previous milestone payments become at risk.

15  See Midwest Independent Transmission System Operator, Inc., 138 FERC ¶ 61,233 (2012) at P 148 (“By placing 
the risk of losing the capital contribution on the customer, each interconnection customer must consider its project 
and the accompanying risks before making the commitment to enter the Definitive Planning Phase and proceed to 
commercial operation. In so doing, we believe that the M2 milestone payment will help to ensure that projects that 
enter the Definitive Planning Phase are commercially viable and likely to proceed to commercial operation.”)

16 See SPP OATT, Attachment V Section 8.2.f.

17 See SPP OATT, Attachment V Section 8.9.

18 See Midcontinent Independent System Operator, Inc., 158 FERC ¶ 61,003 (2017) at PP 37-43.

Honorable Kimberly D. Bose, Secretary January 23, 2017

Page 6

Finally, the NYISO’s OATT includes an analogous deposit process by which a

Developer that does not possess Site Control may provide a deposit for its project to proceed 
through the interconnection process in lieu of demonstrating Site Control.19  The deposit will 
become non-refundable if the Developer does not demonstrate Site Control within a set period.

B. 	Time Frame for Satisfying Regulatory Milestone

The NYISO’s proposed revisions do not eliminate a Developer’s requirement to satisfy a 
regulatory milestone prior to completing the NYISO’s interconnection process, even if the 
Developer satisfies the Class Year eligibility requirements and enters a Class Year Study by 
submitting a deposit in lieu of satisfying a regulatory milestone at that time.  As described above, 
the NYISO recently revised Attachment S to modify the time frames by which a Developer must 
satisfy the regulatory milestone.  In light of the additional revisions proposed in this filing, the 
NYISO proposes to revise these timing requirements to ensure that the applicable Attachment S 
regulatory milestones have been satisfied within a specified time after the completion of the 
Class Year Study.

First, the NYISO proposes to eliminate in Sections 25.6.3.1 and 25.6.2.3.3 the

requirements that permit a project to enter a Class Year provisionally as long as it proceeds to satisfy a regulatory milestone with 90 days.20  This provisional process is no longer needed as a Developer can enter into a Class Year by submitting a deposit to the NYISO.

Second, the NYISO proposes to revise the requirement in Section 25.6.2.3.2 that a project 
must enter a Class Year and satisfy a regulatory milestone within 90 days after the Class Year 
Start Date of the third Class Year Study after the Operating Committee’s approval of the 
project’s SRIS.  Instead, the NYISO proposes to require that a Developer must satisfy a 
regulatory milestone within six months after the date the NYISO tenders the Developer with the 
draft Standard Large Generator Interconnection Agreement (“Interconnection Agreement”).21 
This aligns with the time frame under the tariff within which an Interconnection Agreement must 
be executed (or a request submitted by the Developer to file an unexecuted Interconnection 
Agreement).  Unless requested earlier, the NYISO tenders the Interconnection Agreement as 
soon as practicable after completion of the Class Year in which the project accepted its Project 
Cost Allocation and posted Security.22  Under the NYISO’s proposed tariff revisions, if a 
Developer does not satisfy its regulatory milestone within six months of the NYISO’s tender of

19 See OATT, Attachment X Section 30.3.3.1.

20 The NYISO also proposes to relocate from Section 25.6.2.3.1 to Section 25.6.2.3.1.1 the requirement that the applicable regulatory body must determine that a permitting application is complete.

21 The NYISO proposes conforming revisions to Section 30.11.1 of the OATT.

22 The proposed revisions are only applicable to Large Facilities.  Small Generating Facilities are not subject to the 
regulatory milestone requirement in Attachment S.  The only Small Generating Facilities subject to a Class Year 
Study are those with non-Local System Upgrade Facilities or those that request Capacity Resource Interconnection 
Service - in either case, they may enter the Class Year Study without satisfying a regulatory milestone.

Honorable Kimberly D. Bose, Secretary January 23, 2017

Page 7

the draft Interconnection Agreement, its project will be withdrawn from the NYISO’s interconnection queue.

The revised process provides Developers with additional time to complete the regulatory milestone, while ensuring that a project satisfies its regulatory milestone requirement within a specified time period after completion of the Class Year Study.  Moreover, notwithstanding the additional time provided to the Developer, the Developer still has an incentive to satisfy its 
regulatory milestone as soon as possible.  Otherwise, as described above, the Developer may forfeit the $100,000 first part of its deposit.

IV.	Request for Expedited Consideration, Wavier of Prior Notice Period and Request

for Shortened Comment Period

The NYISO requests that the Commission act expeditiously and issue an order accepting the proposed tariff revisions no later than February 22, 2017.  The NYISO also requests waiver of the prior notice requirements23 in order that its proposed tariff revisions may become effective on or before February 22, 2017.

There is good cause for the Commission to shorten the usual 60 day notice period24 and 
issue an order by February 22, 2017, making the tariff revisions effective on or before February 
22, 2017.  The scheduled Class Year Start Date for the next Class Year is March 1, 2017.  The 
requested effective date will provide up to 18 Developers25 proposing over 2,600 MW of new 
generation (over 2,000 MW of which is from proposed renewable resources) with additional 
options to meet the Class Year eligibility requirements, so that their projects may be eligible to 
enter into the next Class Year Study.  The requested effective date is not expected to prejudice 
any stakeholder as the tariff revisions provide all Developers with additional flexibility to

participate in the Class Year Study.

On the other hand, an effective date after February 22, 2017 will harm up to 18

Developers that may not be able to satisfy the existing eligibility requirements and would,

therefore, be unable to enter into a Class Year Study beginning March 1, 2017.  The subsequent Class Year Study will likely not begin before March 1, 2018.

23 18 C.F.R. §§ 35.3 and 35.11.

24 Section 35.11 of the Commission’s regulations provides that “[u]pon application and for good cause shown, the Commission may, by order, provide that a rate schedule, tariff, or service agreement, or part thereof, shall be 
effective as of a date prior to the date of filing or prior to the date the rate schedule or tariff would become effective in accordance with these rules.”

25 Ten projects in the NYISO’s interconnection queue that may be impacted by these tariff revisions have Operating 
Committee-approved SRISs and an additional 8 such projects have SRISs in progress that might be approved prior 
to March 1, 2017 scheduled Class Year Start Date.  With these proposed tariff revisions in place, all of these 18 
projects with Operating Committee-approved SRISs could be eligible to enter the Class Year 2017 Study.

Honorable Kimberly D. Bose, Secretary January 23, 2017

Page 8

NYISO stakeholders and interested parties have been on notice since December 9, 2016 
of the proposed tariff revisions.26  In developing the tariff revisions, the NYISO informed 
stakeholders of its intent to request an effective date that would permit the application of the new 
tariff revisions to Class Year 2017.27  These tariff revisions were approved without stakeholder 
objection.

The requested effective date of no later than February 22, 2017 will allow the NYISO to advise potential Class Year Project Developers whether these tariff revisions have been approved and whether they will be eligible to enter the Class Year Study without having satisfied the 
regulatory milestone requirement.  Eligible projects would then have time to consider their 
options and notify the NYISO as to whether they seek to enter Class Year 2017.

V.	Requisite Stakeholder Approval

The tariff revisions proposed in this filing were the product of discussions with

stakeholders in the NYISO’s Transmission Planning Advisory Subcommittee of the Operating Committee beginning on December 1, 2016.  The proposed changes to the OATT were first vetted with stakeholders on December 9, 2016 and were ultimately unanimously approved (with abstentions) by the Operating Committee on December 15, 2016, and by the Management 
Committee on December 21, 2016.  The NYISO Board of Directors also approved the filing of these proposed changes and authorized the NYISO to make this filing.

VI.	Communications and Correspondence

All communications and services in this proceeding should be directed to:

Robert E. Fernandez, General Counsel 
Raymond Stalter, Director of Regulatory Affairs Karen G. Gach, Deputy General Counsel *Sara B. Keegan, Senior Attorney

New York Independent System Operator, Inc.

10 Krey Boulevard

Rensselaer, NY 12144 Phone:  (518) 356-6000 Fax: (518) 356-4702

*Ted J. Murphy

Hunton & Williams LLP 
2200 Pennsylvania Avenue, NW Washington, DC  20037

Tel: (202) 955-1500 
Fax: (202) 778-2201 
tmurphy@hunton.com

*Michael J. Messonnier, Jr.28

26 See, e.g., New York Independent System Operator, Inc., 135 FERC 61,014 (2011) at P 11 (waiving 60 day prior 
notice requirement for good cause, noting that interested parties were aware of the proposed tariff revisions months 
in advance and the earlier effective date was required to enable the revisions to be implemented for timely 
application).

27 See Slide 11 of Modifications to Class Year Regulatory Milestone Requirements (presented by NYISO to December 21, 2016 Management Committee meeting), available at:

http://www.nyiso.com/public/webdocs/markets_operations/committees/mc/meeting_materials/2016-12-
21/Agenda%2005_Regulatory%20Milestone%20Proposal.pdf.

28 The NYISO respectfully requests waiver of 18 C.F.R. § 385.203(b)(3) to permit service on counsel for the NYISO

Honorable Kimberly D. Bose, Secretary January 23, 2017

Page 9

skeegan@nyiso.com

* Persons designated for receipt of service.

VII.   Service

Hunton & Williams LLP 951 E. Byrd Street

Richmond, VA 23219 
Tel: (804) 788-8200 
Fax: (804) 344-7999

mmessonnier@hunton.com

The NYISO will send an electronic link to this filing to the official representative of each 
of its customers, to each participant on its stakeholder committees, to the New York Public 
Service Commission, and to the New Jersey Board of Public Utilities.  In addition, the complete 
filing will be posted on the NYISO’s website at www.nyiso.com.

VIII.   Conclusion

For the foregoing reasons, the NYISO respectfully requests that the Commission act 
expeditiously by adopting a shortened comment period of seven days and issuing an order 
accepting for filing the proposed revisions to the OATT that are attached hereto no later than 
February 22, 2017, with the changes becoming effective no later than February 22, 2017.

Respectfully submitted,

/s/ Sara B. Keegan

Sara Branch Keegan 
Senior Attorney

New York Independent System Operator, Inc.

10 Krey Blvd.

Rensselaer, New York 12144 (518) 356-8554

skeegan@nyiso.com

cc:	Michael Bardee	Nicole Buell

Anna Cochrane	Kurt Longo

Max Minzner	Daniel Nowak

Larry Parkinson	J. Arnold Quinn

Douglas Roe	Kathleen Schnorf

Jamie Simler	Gary Will

in both Washington, D.C. and Richmond, VA.

Attachment I

25.6	Cost Allocation Methodology For ERIS

25.6.1	Cost Allocation Between Developers and Connecting Transmission

Owners (ATBA).

The cost of System Upgrade Facilities is first allocated between Developers and

Connecting Transmission Owners, in accordance with the rules that are discussed below in this Section 25.6.1.

25.6.1.1 	The cost of System Upgrade Facilities is allocated between Developers

and Connecting Transmission Owners based upon the results of an Annual

Transmission Baseline Assessment of the five-year need for System Upgrade

Facilities.  The Annual Transmission Baseline Assessment, as described in these 
rules, will be conducted by the NYISO staff in cooperation with Market 
Participants.  No Market Participant will have decisional control over any 
determinative aspect of the Annual Transmission Baseline Assessment.   The 
NYISO and its staff will have decisional control over the entire Annual 
Transmission Baseline Assessment.  If, at any time, the NYISO staff decides that 
it needs specific expert services from entities such as Market Participants, 
consultants or engineering firms for it to conduct the Annual Transmission 
Baseline Assessment, then the NYISO will enter into appropriate contracts with 
such entities for such input.  As it conducts each Annual Transmission Baseline 
Assessment, the NYISO staff will provide regularly scheduled status reports and 
working drafts, with supporting data, to the Operating Committee to ensure that 
all affected Market Participants have an opportunity to contribute whatever 
information and input they believe might be helpful to the process.  Each 
completed Annual Transmission Baseline Assessment will be reviewed and

approved by the Operating Committee. Each Annual Transmission Baseline

Assessment is reviewable by the NYISO Board of Directors in accordance with provisions of the Commission-approved ISO Agreement.

25.6.1.1.1 	The purpose of the Annual Transmission Baseline Assessment is to

identify the System Upgrade Facilities that Transmission Owners are expected to need during the five-year period covered by the Assessment to reliably meet the load growth and changes in the load pattern projected for the New York Control Area, with cost estimates for the System Upgrade Facilities.

25.6.1.1.1.1   Procedure for Annual Transmission Baseline Assessment.

The procedure used to identify the System Upgrade Facilities that will ensure that New 
York State Transmission System facilities are sufficient to reliably serve existing load and meet 
load growth and changes in load patterns in compliance with NYSRC Reliability Rules, NPCC 
Basic Design and Operating Criteria, NERC Planning Standards, NYISO rules, practices and 
procedures, and the Connecting Transmission Owner criteria included in FERC Form No. 715 
(collectively “Applicable Reliability Requirements”).  The procedure will use the Applicable 
Reliability Requirements in effect when the Annual Transmission Baseline Assessment is

commenced.  The procedure will be:

25.6.1.1.1.1.1	The NYISO staff will first develop the Existing System

Representation.

25.6.1.1.1.1.2	The NYISO staff will then utilize the Existing System

Representation to develop existing system improvement plans with each

Transmission Owner.  These improvement plans will use NYISO data from the 
annual NYISO Load and Capacity Data Report to project system load growth and

changes in load patterns, including those that reflect demand side management, 
and will identify the System Upgrade Facilities needed year-by-year for the 
existing system to reliably serve projected load in the Transmission Owner’s 
Transmission District for a five-year period.  The NYISO staff will integrate these 
existing system improvement plans into the Annual Transmission Baseline 
Assessment to ensure that the System Upgrade Facilities needed for a five-year 
period are identified on a New York State Transmission System-wide basis.  The 
Annual Transmission Baseline Assessment will identify each anticipated System 
Upgrade Facility project, its estimated cost, its anticipated in-service date, and the 
status of the project (in construction, budget approval received, budget approval 
pending).

25.6.1.1.1.1.3	The NYISO will identify in the Annual Transmission Baseline

Assessment the System Upgrade Facilities needed to reliably meet projected load growth and changes in load pattern without the interconnection of any proposed Developer projects, except for those proposed projects included in the Existing System Representation pursuant to Section 25.5.5.

25.6.1.1.1.1.4 	NYISO staff will perform thermal, voltage, and stability analyses,

as appropriate, to determine the normal and emergency transfer capabilities of the statewide existing system.

25.6.1.1.1.1.5	NYISO staff will perform resource reliability analysis of the

existing system to verify that the existing system meets Applicable Reliability

Requirements.  The results of this analysis will be reported for the entire state and for each of the New York zones.

25.6.1.1.1.1.6	If the transmission and generation facilities included in the

Existing System Representation, combined with previously approved and accepted System Upgrade Facilities, are insufficient to meet Applicable Reliability Requirements on a year by year basis, then the NYISO staff will develop feasible generic solutions that satisfy the Applicable Reliability Requirements, in accordance with Section 25.6.1.2, below.

25.6.1.1.1.1.7 	If the existing system meets Applicable Reliability Requirements,

the NYISO staff will perform short circuit analysis to determine whether there is sufficient interrupting capability in the existing system.  If there are any breaker overloads, the NYISO staff will determine the System Upgrade Facilities needed to mitigate the short circuit overloads.

25.6.1.1.1.1.8	A reassessment of Sections 25.6.1.1.1.1.4 through 25.6.1.1.1.1.6

shall be reassessed and, to the extent required by Good Utility Practice, repeated if the improvement plan impacts the transmission transfer capability of the 
system.  The results of the short circuit analysis will be treated in the same 
manner as the results of thermal, voltage and stability analyses for all purposes under these cost allocation rules.

25.6.1.1.1.1.9	Each Annual Transmission Baseline Assessment conducted by

NYISO staff will be reviewed and approved by the Operating Committee, and its effectiveness will be subject to the approval of the Operating Committee. In its report to the Operating Committee, the NYISO shall explain its reasons for all of its recommendations.

25.6.1.1.1.1.10	Each most recently completed Annual Transmission Baseline

Assessment will be reviewed the following year by the NYISO staff and updated, as necessary, following the criteria and procedures described herein.

25.6.1.2 	In developing solutions as required by Section 25.6.1.2.6, the NYISO will,

as it develops its own generic solutions, also utilize the following procedures.

25.6.1.2.1 	The NYISO will first select as generic solutions proposed Class Year

Developer projects sufficient to meet Applicable Reliability Requirements on a 
year by year basis.  If a proposed Class Year Developer project is larger than 
necessary, the NYISO shall select that portion or segment of the project that is 
sufficient to meet but not exceed Applicable Reliability Requirements.  If the 
proposed Developer project is not capable of being segmented or if the Developer project cannot meet Applicable Reliability Requirements on a year by year basis, the NYISO shall not select it.

25.6.1.2.2 	If the generation and transmission facilities included in the Existing

System Representation, together with any proposed Developer projects that

qualify as solutions pursuant to Section 25.6.1.2.1, above, are not sufficient to 
meet Applicable Reliability Requirements, the NYISO shall complete the 
development of its own generic solutions, taking into account any generic 
solutions proposed pursuant to Section 25.6.1.2.3, below, for inclusion in the 
ATBA.

25.6.1.2.3 	Market Participants may also propose generic solutions for inclusion in the

ATBA.  The Market Participant proposing such solutions shall provide the

NYISO with all data necessary for the NYISO to determine the feasibility of such proposed generic solutions.

25.6.1.2.4 	The NYISO shall develop and consider alternative sets of proposed

generic solutions that fairly represent the range of feasible solutions to Applicable Reliability Requirements.

25.6.1.2.5 	The NYISO shall determine the feasibility of additional generic solutions

developed pursuant to Sections 25.6.1.2.2, 25.6.1.2.3 and 25.6.1.2.3, according to the following criteria:

25.6.1.2.5.1   The NYISO shall select only solutions that are based on proven

technologies that have actually been licensed and financed, are under construction or have already been built in similar locations.

25.6.1.2.5.2   The NYISO shall select as additional generic solutions only units and 
	facilities that can reasonably be placed in service in time to meet Applicable 
	Reliability Requirements on a year by year basis.  In making this determination, 
	the NYISO shall consider the size and type of facility, access to fuel, access to 
	transmission facilities, transmission upgrade requirements, construction time, and 
	Good Utility Practice.

25.6.1.2.6 	The NYISO will submit its proposed generic solutions and the alternatives

that it considered to Market Participants and to an independent expert for review 
and will make the results of the expert’s review available to Market Participants. 
The independent expert shall review the feasibility of the proposed generic 
solutions developed pursuant to Sections 25.6.1.2.2, 25.6.1.2.3 and 25.6.1.2.3, and 
of generic solutions based on the segmentation of any Class Year developer

projects under Section 25.6.1.2.1, according to the criteria set forth in Section 25.6.1.2.5.

25.6.1.2.6.1   If the independent expert concludes that one or more generic is not 
	feasible, the NYISO shall eliminate that solution from further review.

25.6.1.2.6.2   If the NYISO does not adopt the expert’s recommendations, it will state in 
	its report to the Operating Committee its reasons for not adopting those 
	recommendations.

25.6.1.2.7 	Subject to Section 25.6.1.2.7, below, in the event that more than one

generic solution or set of solutions satisfies the feasibility requirement of Section

25.6.1.2.7, the NYISO shall compare the System Upgrade Facilities that would be necessary to interconnect each such generic solution and shall adopt the solution that is most consistent with Good Utility Practice.  For these purposes, in 
comparing alternative solutions, a generic solution that satisfies sub-load pocket deficiencies shall normally be selected first.

25.6.1.2.7.1   The NYISO shall be responsible for determining whether any generic 
	solution or proposed Developer Project meets Applicable Reliability 
	Requirements.

25.6.1.3 	With the exception of those upgrades that were previously allocated to,

and accepted by Developer projects as a part of the Annual Transmission

Reliability Assessment in the Final Decision Round of previous Class Years,

Developers are not responsible for the cost of any System Upgrade Facilities that 
are identified in the Annual Transmission Baseline Assessment, or any System

Upgrade Facilities that resolve in whole or in part a deficiency in the system identified in the Annual Transmission Baseline Assessment.

25.6.1.4 	Developers are responsible for 100% of the cost of the System Upgrade

Facilities, not already identified in the Annual Transmission Baseline Assessment 
that are needed as a result of their projects, and required for their projects to 
reliably interconnect to the transmission system in a manner that meets the 
NYISO Minimum Interconnection Standard.  The System Upgrade Facilities 
necessary to accommodate Developer projects will be determined by the 
Interconnection Facilities Studies and the Annual Transmission Reliability 
Assessment. The criteria and procedures that will be followed to conduct the 
Annual Transmission Reliability Assessment are discussed below.

25.6.1.4.1 	If a Connecting Transmission Owner or Developer elects to construct

System Upgrade Facilities that are larger or more extensive than the minimum

facilities required to reliably interconnect the proposed project, and are reasonably 
related to the interconnection of the proposed project, then the Connecting 
Transmission Owner or Developer is responsible for the cost of those System 
Upgrade Facilities in excess of the minimum System Upgrade Facilities required 
by the Developer projects.  If there is Headroom associated with these larger 
System Upgrade Facilities and a Developer of any subsequent project 
interconnects and uses the Headroom within ten years of its creation, such 
subsequent Developer shall pay the Connecting Transmission Owner or the 
Developer for this Headroom in accordance with these rules, including 
Section 25.8.7, below.

25.6.1.5	The System Upgrade Facilities cost for which a Developer is responsible

will be determined on a “net” basis; that is, the Developer’s System Upgrade

Facilities cost will be determined net of the benefits, or System Upgrade Facility 
cost reductions, that result from the construction and operation of its project and 
the related upgrades.  The net cost responsibility of a Developer will not be less 
than zero.  Also, the cost responsibility of the Connecting Transmission Owner 
for System Upgrade Facilities will be no greater than it would have been without 
the Developer’s project.  Specifically, the Connecting Transmission Owner shall 
not be required to pay (in total) more than 100% of the cost of installing a specific 
piece of equipment.

25.6.1.5.1 	The purpose of this approach is to allocate to the Developer the

responsibility for the cost of the net impact of its project on the needs of the

transmission system for System Upgrade Facilities.  Thus, a Developer is

responsible for the cost of the System Upgrade Facilities that are required by, or 
caused by, its project.  A Developer is not responsible for the cost of System 
Upgrade Facilities that would be required anyway, without the construction of its 
project.  If a Developer’s project reduces the cost of System Upgrade Facilities 
that would be required anyway, that beneficial cost reducing impact will be 
recognized.

25.6.1.5.2 	The net System Upgrade Facilities cost and cost reduction benefits of a

Developer’s project are determined by NYISO staff comparing and netting the 
results of an Annual Transmission Baseline Assessment with the corresponding 
Annual Transmission Reliability Assessment in accordance with these rules.

25.6.1.5.3	The net System Upgrade Facilities cost and cost reduction benefits of a

Developer’s project are comprised of those costs and cost reduction benefits

caused by (1) the construction of System Upgrade Facilities not contained in the Annual Transmission Baseline Assessment, and (2) eliminating or reducing the need for the construction of System Upgrade Facilities contained in the Annual Transmission Baseline Assessment, due to the construction of System Upgrade Facilities associated with the proposed project.

25.6.1.5.4 	The Developer’s net cost responsibility will be determined using constant

dollars.  That is, when netting the cost of System Upgrade Facilities required for 
its project, as identified in the Annual Transmission Reliability Assessment, with 
those identified in the Annual Transmission Baseline Assessment, the cost of 
System Upgrade Facilities in the out-years of the Annual Transmission Baseline 
Assessment and the out-years of the Annual Transmission Reliability Assessment 
will be discounted to a current year value for netting.  The cost of out-year System 
Upgrade Facilities will be discounted to a current value using the weighted 
average cost of capital of the Connecting Transmission Owner.

25.6.2 	Cost Allocation Among Developers (ATRA).

The Developers’ share of the cost of System Upgrade Facilities is allocated among

Developers based upon the NYISO Annual Transmission Reliability Assessment. The Annual 
Transmission Reliability Assessment will be conducted by NYISO staff to ensure New York 
State Transmission System compliance with Applicable Reliability Requirements.  The NYISO 
staff will conduct the Annual Transmission Reliability Assessment, as described in these rules, in 
cooperation with Market Participants.  No Market Participant will have decisional control over

any determinative aspect of the Annual Transmission Reliability Assessment.  The NYISO and 
its staff will have decisional control over the entire Annual Transmission Reliability Assessment. 
If, at any time, the NYISO staff decides that it needs specific expert services from entities such 
as Market Participants, consultants or engineering firms for it to conduct the Annual 
Transmission Reliability Assessment, then the NYISO will enter into appropriate contracts with 
such entities for such input.  As it conducts each Annual Transmission Reliability Assessment, 
the NYISO staff will provide regularly scheduled status reports and working drafts, with 
supporting data, to the Operating Committee to ensure that all affected Market Participants have 
an opportunity to contribute whatever information and input they believe might be helpful to the 
process.  Each completed Annual Transmission Reliability Assessment will be reviewed and 
approved by the Operating Committee.  Each Annual Transmission Reliability Assessment is 
reviewable by the NYISO Board of Directors in accordance with the provisions of the 
Commission-approved ISO Agreement.

25.6.2.1 	The Annual Transmission Reliability Assessment for each Class Year will

identify the System Upgrade Facilities required for all Class Year Projects, with cost estimates for the System Upgrade Facilities.  The System Upgrade Facilities identified through the Annual Transmission Reliability Assessment will only be those System Upgrade Facilities that are not already included in an Annual 
Transmission Baseline Assessment.

25.6.2.2 	For each Annual Transmission Reliability Assessment, the NYISO will

utilize the Existing System Representation used for the corresponding Annual Transmission Baseline Assessment.

25.6.2.3	Each Annual Transmission Reliability Assessment will update the results

of Interconnection System Reliability Impact Studies that have previously been performed for certain proposed interconnection projects.

25.6.2.3.1 	Subject to the additional requirements in Sections 25.6.2.3.2 - 25.6.2.3.4,

below, a Large Facility is eligible to project included in a given Class Year Study 
(i.e., become a Class Year Project), if on or before the Class Year Start Date (i) 
the Operating Committee has approved (1) an Interconnection System Reliability 
Impact Study for the project performed pursuant to Attachment X of the NYISO 
OATT or (2) a System Impact Study for the project performed pursuant to 
Attachment P to the NYISO OATT, and (ii) either (1) the regulatory milestone 
has been satisfied in accordance with Sections 25.6.2.3.1.1, 25.6.2.3.1.2, or

25.6.2.3.1.3; or (2) the Developer, in lieu of satisfying the regulatory milestone 
requirement, submits a two-part deposit consisting of (1) $100,000; and (2)

$3,000/MW for the nameplate capability of the Large Facility.  The $100,000 
portion of the deposit submitted pursuant to subsection (ii)(2) of this Section

25.6.2.3.1 will be fully refundable if, within twelve months after the Class Year Start Date or the Operating Committee’s approval of the Class Year Study, 
whichever occurs first, the Developer satisfies an applicable regulatory milestone and provides the NYISO with adequate documentation that the Large Facility has satisfied an applicable regulatory milestone.  The $3,000/MW deposit will be 
fully refundable upon the earlier of the Large Facility’s satisfaction of an 
applicable regulatory milestone or the Large Facility’s withdrawal from the 
NYISO’s interconnection queue.  :

25.6.2.3.1.1   The Developer must obtain or achieve at least one of the regulatory 
	determinations or actions for the Large Facility described in this Section

25.6.2.3.1.1.  To satisfy the regulatory milestone, an applicable regulatory body 
(e.g., local, state, or federal) must determine that the permitting application 
submitted to site and construct the Large Facility is complete, as described below:

25.6.2.3.1.1.1	In connection with the Large Facility’s air or water permit

application, either (i) a notice of determination of completeness mailed to the

applicant by the New York State Department of Environmental Conservation

(“DEC”) pursuant to 6  NYCRR § 621.6(c), as may be amended from time to

time, or public notice of a complete application in the Environmental Notice

Bulletin, or (ii) in the absence of such notices, a demonstration that the permit

application is deemed to be complete pursuant to 6 NYCRR § 621.6(h), as may be amended from time to time.

25.6.2.3.1.1.2	A negative declaration issued for the Large Facility by the lead

agency pursuant to the New York State Environmental Quality Review Act (“SEQRA”).

25.6.2.3.1.1.3	Under SEQRA, either (i) a determination by the lead agency,

documented in minutes or other official records, that the Draft Environmental

Impact Statement for the Large Facility is adequate for public review, (ii) a notice of completion of a Draft Environmental Impact Statement for the project issued by the lead agency pursuant to SEQRA, or (iii) public notice of completion in the Environmental Notice Bulletin.

25.6.2.3.1.1.4	For a Large Facility that is a Merchant Transmission Facility, a

determination pursuant to Article VII that the Article VII application filed for the 
Merchant Transmission Facility is in compliance with Public Service Law §122.

25.6.2.3.1.1.5	A Notice of Availability of a Draft Environmental Impact

Statement for the Large Facility  filed with the U.S. Environmental Protection Agency pursuant to the National Environmental Policy Act of 1969 (“NEPA”) and its implementing regulations.

25.6.2.3.1.1.6 	A final Finding of No Significant Impact for the project issued by

the lead agency pursuant to NEPA and its implementing regulations.

25.6.2.3.1.1.7 	For a Large Generator that is larger than 25 MW, a determination

pursuant to Article 10 of the Public Service Law that the Article 10 application 
filed for the Large Generator is in compliance with Public Service Law § 164.

25.6.2.3.1.2   A Large Facility located outside New York State will satisfy the

regulatory milestone by achieving Section 25.6.2.3.1.1.5 or 25.6.2.3.1.1.6, above, or by satisfying a milestone comparable to that specified in Section 25.6.2.3.1.1.1 through 25.6.2.3.1.1.4, above, under applicable permitting laws.

25.6.2.3.1.3   In the event that none of the permitting processes referred to in Section

25.6.2.3.1.1 and 25.6.2.3.1.2 apply to the Large Facility, the Large Facility will be considered to have satisfied the regulatory milestone and will qualify for Class Year entry as of the date the Operating Committee approved the Large Facility’s Interconnection System Reliability Impact Study.

25.6.2.3.1.4   After a Large Facility’s Interconnection System Reliability Impact Study 
	is approved by the Operating Committee and until the NYISO confirms that the

Large Facility has satisfied the regulatory milestone, the Developer must inform 
the NYISO each year, within five business days of the Class Year Start Date, 
whether or not the Large Facility has satisfied the regulatory milestone described 
above. If a project fails to inform the NYISO by this date, the Interconnection 
Request of the project will be deemed to be withdrawn in accordance with Section

3.6 of the Large Facility Interconnection Procedures contained in Attachment X.

25.6.2.3.2 	A project must satisfy the applicable regulatory milestone in Section

25.6.2.3.1, above, within six (6) months after the date the NYISO tenders to the 
project Developer the Standard Large Generator Interconnection Agreement for 
the project pursuant to Section 30.11.1 of Attachment X to the NYISO OATT.

25.6.2.3.3 	If a project fails to satisfy the regulatory milestone within this time period,

the Interconnection Request of the project will be deemed to be withdrawn in

accordance with Section 30.3.6 of the Large Facility Interconnection Procedures contained in Attachment X.

25.6.2.3.4 	Once a project has an Operating Committee-approved SRIS or the NYISO

has determined the project is required to enter a Class Year Study pursuant to

Attachment Z, then the project may enter up to two, but no more than two, of the 
next three consecutive Class Year Studies.  The first Class Year with a Class Year 
Start Date after the date the Operating Committee approves a project’s 
Interconnection System Reliability Impact Study will count as the first of the 
three consecutive Class Year Studies.  For purposes of this Section 25.6.2.3.4, a 
Class Year that a project enters and from which it later withdraws for ERIS

evaluation pursuant to Section 25.7.7.1 or 25.6.2.3.3 of this Attachment S, counts as one of the two Class Years a project may enter.

25.6.2.3.4.1   Except as provided in Section 25.6.2.3.4.3, the project must accept its 
	System Upgrade Facilities cost allocation and post required security for Energy 
	Resource Interconnection Service from a Class Year ATRA that is no later than 
	the first to occur of either (i) the second Class Year ATRA the project enters, or 
	(ii) the third consecutive Class Year that starts after the project satisfies the 
	eligibility criteria for inclusion in the Class Year ATRA.  If the project fails to 
	accept its System Upgrade Facilities cost allocation and post security by this 
	deadline, the Interconnection Request of the project will be deemed to be 
	withdrawn in accordance with Section 30.3.6 of the Large Facility 
	Interconnection Procedures contained in Attachment X.

25.6.2.3.4.2   Except as provided in Section 25.6.2.3.4.3, below, if a project has not 
	accepted its System Upgrade Facilities cost allocation and posted required 
	security for Energy Resource Interconnection Service from either the first or 
	second Class Year that starts after the project satisfies the eligibility criteria for 
	inclusion in the Class Year ATRA and has not entered both the first and second 
	such Class Year ATRA, then the project must enter the third Class Year ATRA 
	(by executing the Class Year Interconnection Facilities Study Agreement and 
	providing the required data and deposit).  If the developer fails to do so within the 
	timeframes specified in Attachments X or Z, as applicable, the Interconnection 
	Request of the project will be deemed to be withdrawn in accordance with Section

30.3.6 of the Large Facilities Interconnection Procedures contained in Attachment

X.

25.6.2.3.4.3   A project that was a member of a completed Class Year but did not accept 
	its System Upgrade Facilities cost allocation and post any required security as of 
	January 17, 2010 will be able to enter any one of the three consecutive Class Year 
	ATRAs starting after that date.  If the project enters one of these Class Year 
	ATRAs and fails to accept its System Upgrade Facilities cost allocation and post 
	required security, the Interconnection Request of the project will be deemed to be 
	withdrawn in accordance with Section 30.3.6 of the Large Facility 
	Interconnection Procedures.  If the project has not entered either the first or 
	second such Class Year, then the project must enter the third Class Year ATRA 
	(by executing the Class Year Interconnection Facilities Study Agreement and 
	providing the required data and deposit).  If the Developer fails to do so within the 
	timeframes specified in Attachments X or Z, as applicable, the Interconnection 
	Request of the project will deemed to be withdrawn in accordance with Section

30.3.6 of the Large Facilities Interconnection Procedures.

25.6.2.4 	The Annual Transmission Reliability Assessment will update

Interconnection System Reliability Impact Study results in accordance with the 
Class Year Interconnection Facilities Study procedures in Section 30.8 of the 
Large Facility Interconnection Procedures in Attachment X to the NYISO OATT.

25.6.2.5 	For interconnection projects included in each Annual Transmission

Reliability Assessment, the Interconnection System Reliability Impact Study 
updated results will specify the impact of each project in the Class Year on the

reliability of the transmission system, that is, the pro rata contribution of each

project in the Class Year to each individual System Upgrade Facilities identified in the updates.

25.6.2.5.1 	In the case of a new System Upgrade Facility that has a functional

capacity not readily measured in amperes or other discrete electrical units, such as 
a System Upgrade Facility dedicated to system protection, the pro rata impact of 
each project in the Class Year on the reliability of the transmission system will be

based upon the number of projects in the Class Year contributing to the need for 
the new System Upgrade Facility.  The pro rata impact of each project in the 
Class Year needing such a new System Upgrade Facility will be equal. 
Accordingly, the pro rata contribution of each of the projects to the need for the 
new System Upgrade Facility will be equal to (1/a), where “a” is the total number 
of projects in the Class Year needing the new System Upgrade Facility.

25.6.2.5.2 	In the case of a new System Upgrade Facility that has a capacity readily

measured in amperes or other discrete electrical units, the impact of each project 
in the Class Year will be stated in terms of its pro rata contribution to the total 
electrical impact on each individual System Upgrade Facility in the Class Year of 
all projects that have at least a de minimus impact, as described in Section

25.6.2.6.1 of these rules.  The contribution to electrical impact will be measured in various ways depending on the nature of the transmission problem primarily causing the need for the individual System Upgrade Facility.

25.6.2.5.2.1   Contribution to short circuit current for interrupting duty beyond the rating 
	of equipment.

25.6.2.5.2.2   Contribution to MW loading on the critical element for thermal overloads 
	under the test conditions that cause the need for a System Upgrade Facility.  MW 
	contribution will be calculated by multiplying the associated distribution factor by 
	the declared maximum MW of the project.  The distribution factor is calculated 
	by pro rata displacement of New York System load by the added generation.

25.6.2.5.2.3   Contribution to voltage drop on the most critical bus for voltage problems. 
	A critical bus will be defined as representative for voltage conditions during a 
	specific contingency.  The pro rata impact of each project is measured as the ratio 
	of the voltage drop at the critical bus caused by the project when none of the other 
	projects are represented, to the voltage drop at the critical bus when all of the 
	projects in the Class Year are represented.

25.6.2.5.2.4   Contribution to transient stability problems as measured by the fault

current calculated for the most critical stability test that is causing the need for the System Upgrade Facility.

25.6.2.6 	For each individual electrical impact standard listed in subsections 6.(a)(1)

through 6.(a)(4) below, a Developer will not be responsible for the cost associated with a corresponding System Upgrade Facility if  its project’s contribution is less than the de minimus impacts defined below.  The costs of projects that would otherwise have been allocated to certain Developer’s projects but for the sub-de minimus impact exemption, shall be allocated 100 percent to the other Developers in the Class Year according to their pro rata contribution.

25.6.2.6.1	De minimus impact is defined in terms of any one of the factors listed

below in this subsection.  Examples of computations used to determine de minimus impact are shown in ISO Procedures.

25.6.2.6.1.1   Short Circuit Contribution:  Equal to or greater than 100 amperes of the 
	existing rating of the equipment that needs to be replaced.

25.6.2.6.1.2   Thermal Loadings:  Equal to or greater than 10 MW on the most limiting 
	monitored element under the most critical contingency that is causing the need for 
	transmission improvements.

25.6.2.6.1.3   Voltage Effects:  Equal to or greater than 2% of the voltage drop occurring 
	with all Class Year Projects at the most critical bus.

25.6.2.6.1.4   Stability Effects:  Equal to or greater than 100 amperes of the fault current 
	for the most critical stability test that is causing the need for the System Upgrade 
	Facility.

25.6.2.7	The pro rata contribution of each project in the Class Year to each of the

System Upgrade Facilities identified in the Annual Transmission Reliability

Assessment.

25.6.2.7.1 	First, in accordance with Section 25.6.1.5 of these rules, the total cost of

System Upgrade Facilities identified in the Annual Transmission Reliability

Assessment is compared and netted with the total cost of System Upgrade

Facilities identified in the Annual Transmission Baseline Assessment.  If the total cost of System Upgrade Facilities identified in the Annual Transmission 
Reliability Assessment does not exceed the total cost of System Upgrade

Facilities identified in the Annual Transmission Baseline Assessment, then there is no cost to be allocated among Class Year Developers.

25.6.2.7.2 	If the total cost of System Upgrade Facilities identified in the Annual

Transmission Reliability Assessment does exceed the total cost of System

Upgrade Facilities identified in the Annual Transmission Baseline Assessment by 
some amount, then this amount (“Overage Cost”) is a cost to be allocated among 
Class Year Developers.  Appendix One to this Attachment S sets out an example

of an allocation of Overage Cost among Class Year Developers.

25.6.2.7.3 	The Overage Cost represents a percentage of the total cost of System

Upgrade Facilities identified in the Annual Transmission Reliability Assessment (“Overage Cost Percentage”).

25.6.2.7.4 	Each System Upgrade Facility identified in the Annual Transmission

Reliability Assessment has a cost specified for it in the Annual Transmission Reliability Assessment.

25.6.2.7.5 	The pro rata contribution of each project in the Class Year to a System

Upgrade Facility identified in the Annual Transmission Reliability Assessment represents a percentage contribution to the need for that System Upgrade Facility (“Contribution Percentage”).

25.6.2.7.6 	An individual Developer’s pro rata responsibility for the cost of each

System Upgrade Facility identified in the Annual Transmission Reliability

Assessment is the product of (a) the Overage Cost Percentage; (b) the Developer’s 
Contribution Percentage for the particular System Upgrade Facility; and (c) the

cost of the particular System Upgrade Facility as specified in the Annual Transmission Reliability Assessment.

25.6.2.7.7 	If the least cost solution identified is to install one System Upgrade

Facility (e.g., a series reactor) rather than replacing a number of  System Upgrade Facilities (e.g., breakers), the NYISO staff will determine each Developer’s 
Contribution Percentage by calculating what each Developer’s pro rata 
contribution would have been on the System Upgrade Facilities not replaced (e.g., breakers) and applying that percentage to the System Upgrade Facility that is 
installed (e.g., series reactor).

30.8	Class Year Interconnection Facilities Study

30.8.1	Class Year Interconnection Facilities Study Agreement

As soon as practicable after a Study Start Date is established pursuant to Section 25.5.9 
of Attachment S to the OATT, the NYISO shall provide a Class Year Interconnection Facilities 
Study Agreement for the next Class Year in the form of Appendix 4 to these Large Facility 
Interconnection Procedures to each Developer and Interconnection Customer who has not 
previously received an agreement for the next Class Year, upon confirmation by the NYISO that 
the Developer is an Eligible Class Year Project or upon request if the Developer is requesting to 
enter a Class Year Study only to request CRIS.  The NYISO shall tender a Class Year 
Interconnection Facilities Study Agreement at an earlier point to any Developer or 
Interconnection Customer confirmed by the NYISO to be an Eligible Class Year Project that so 
requests.    When the NYISO provides a Class Year Interconnection Facilities Study Agreement 
to an Eligible Class Year Project, the NYISO shall, at the same time, also provide one to that 
Eligible Class Year Project’s Connecting Transmission Owner.  The Class Year Interconnection 
Facilities Study Agreement shall provide that the Class Year Project shall compensate the 
NYISO and Connecting Transmission Owner for the actual cost of the Class Year 
Interconnection Facilities Study.  When the NYISO provides the Class Year Interconnection 
Facilities Study Agreement to the Eligible Class Year Project, the NYISO shall provide to the 
Eligible Class Year Project a non-binding good faith estimate of the cost and timeframe for 
completing the Class Year Interconnection Facilities Study.  The Eligible Class Year Project 
shall execute the Class Year Interconnection Facilities Study Agreement and deliver the executed 
Class Year Interconnection Facilities Study Agreement to the NYISO by the later of (1) the 
study start date of the Annual Transmission Reliability Assessment, or (2) thirty (30) Calendar

Days after the Developer’s receipt of the Class Year Interconnection Facilities Study Agreement. 
Starting with the Class Year subsequent to Class Year 2012, with the executed Class Year 
Interconnection Facilities Study Agreement, the Class Year Project shall deliver to the NYISO

(1) the required technical data; (2) the Class Year Project’s interconnection service evaluation 
election; (3) for Large Facilities not yet In-Service, an updated proposed In-Service Date and 
updated proposed Commercial Operation Date (subject to the ten (10) year limitation set forth in 
Section 30.3.1); (4) a study deposit of $100,000 (if the Class Year Project seeks evaluation for 
ERIS or ERIS and CRIS), or $50,000 (if the Class Year Project seeks only CRIS); and (5) if the 
Developer has not satisfied the applicable regulatory milestone described in Section 25.6.2.3.1.1 
of Attachment S to the OATT, a two-part deposit consisting of $100,000 plus $3,000/MW 
deposit as required by Section 25.6.2.3.1(ii)(2).  At the same time the Class Year Project 
provides the above items to the NYISO, the Class Year Project shall deliver the executed Class 
Year Interconnection Facilities Study Agreement, together with the required technical data (as 
applicable), to the Transmission Owner.  The NYISO and Transmission Owner shall execute the 
Class Year Interconnection Facilities Study Agreement within ten (10) Business Days of receipt 
of the Class Year Interconnection Facilities Study Agreement executed by the Class Year Project 
and the required technical data.

30.8.1.1 	NYISO shall invoice the Class Year Project on a monthly basis for the

work to be conducted on the Class Year Interconnection Facilities Study each 
month.  Any Class Year Project having elected only ERIS shall not be invoiced 
for any part of the cost of the Class Year Deliverability Study.  Any Class Year 
Project that elects to reduce the MW of CRIS it requests to be evaluated in the 
Class Year Deliverability Study and thereby opts out of any additional detailed

studies, if required, for System Deliverability Upgrades, shall not be invoiced for any additional detailed studies required for System Deliverability Upgrades.  The Class Year Project shall pay invoiced amounts within thirty (30) Calendar Days of receipt of invoice.  NYISO shall continue to hold the amounts on deposit until 
settlement of the final invoice.

30.8.2 	Scope of Class Year Interconnection Facilities Study

The Class Year Interconnection Facilities Study shall be performed concurrently as a 
combined Class Year Interconnection Facilities Study for a Class Year, as determined in 
accordance with Attachment S of the NYISO OATT, to fulfill the requirements of this Section

30.8, and the requirements of the Annual Transmission Reliability Assessment and Class Year Deliverability Study called for by Attachment S.

The combined Class Year Interconnection Facilities Study shall specify and estimate the 
cost of the equipment, engineering and design work, permitting, site acquisition, procurement 
and construction work and commissioning needed for the Class Year in accordance with Good 
Utility Practice and, for each of these cost categories, shall specify and estimate the cost of the 
work to be done at each substation and/or on each feeder to physically and electrically connect 
each facility in the Class Year to the Transmission System.  The combined Class Year

Interconnection Facilities Study shall also identify the electrical switching configuration of the 
connection equipment, including, without limitation: the transformer, switchgear, meters, and 
other station equipment; the nature and estimated cost of any Connecting Transmission Owners’ 
Attachment Facilities, any Distribution Upgrades, any System Upgrade Facilities and, for Class 
Year Projects seeking CRIS, any System Deliverability Upgrades necessary to accomplish the 
interconnection of each Class Year Project; and shall include a schedule showing the estimated

time required to complete the engineering and design, permitting, site acquisition, procurement, 
construction, installation and commissioning phases of the Class Year Projects.  The schedule 
shall contain major milestones to facilitate the tracking of the progress of each Class Year 
Project.

30.8.2.1 	Following commencement of the activities described in this schedule, for

each Class Year Project not yet In-Service, the Class Year Project, that Class Year 
Project’s Connecting Transmission Owner and each Affected Transmission 
Owner(s) shall report every other month on the progress of their respective 
activities to the NYISO and to each other.  Such reports shall be in a format 
consistent with, and include the content required by, applicable ISO Procedures. 
In these bimonthly reports, each Class Year Project and Connecting Transmission 
Owner and Affected Transmission Owner(s) shall report any material variance 
from earlier schedule estimates for their respective activities, and the reasons for 
such variance.  In addition, the Connecting Transmission Owner and Affected 
Transmission Owner(s) shall report any material variance from earlier cost 
estimates for its activities, and the reasons for such variance.

30.8.3 	Class Year Interconnection Facilities Study Procedures

The NYISO shall coordinate the Class Year Interconnection Facilities Study with the 
Connecting Transmission Owners and Affected Transmission Owners, and with any other 
Affected System pursuant to Section 30.3.5 above.  The NYISO shall utilize existing studies to 
the extent practicable in performing the Class Year Interconnection Facilities Study.  The 
NYISO shall follow the procedures set forth in Attachment S of the NYISO OATT and shall use

Reasonable Efforts to complete the study and issue a Class Year Interconnection Facilities Study report to the Class Year Projects within the timeframe called for in Attachment S. 
	At the request of any Class Year Project, or at any time the NYISO determines that it will not meet the required time frame for completing the Class Year Interconnection Facilities Study, NYISO shall notify the Class Year Projects as to the schedule status of the Class Year 
Interconnection Facilities Study.  If the NYISO is unable to complete the Class Year 
Interconnection Facilities Study and issue a cost allocation report within the time required, it 
shall notify the Class Year Projects and provide an estimated completion date and an explanation of the reasons why additional time is required.

Upon request, the NYISO shall provide each Class Year Project supporting

documentation, workpapers, and databases or data developed in the preparation of the Class Year 
Interconnection Facilities Study, subject to non-disclosure arrangements consistent with Section

30.13.1.

30.8.4	Study Report Meeting

Within ten (10) Business Days of providing a draft Class Year Interconnection Facilities 
Study report to Class Year Projects, the NYISO and Connecting Transmission Owners and 
Affected Transmission Owners shall meet with Developers (and Interconnection Customers, as 
applicable) for Class Year Projects to discuss the results of the Class Year Interconnection 
Facilities Study.

30.8.5	Re-Study

If re-study of the Class Year Interconnection Facilities Study and cost allocation report is 
required pursuant to Section 25.8.2 and Section 25.8.3 of Attachment S, NYISO shall so notify

Class Year Projects and conduct such re-study in accordance with the requirements of

Attachment S.  Any cost of re-study shall be borne by the Class Year Projects being re-studied.

30.11	Standard Large Generator Interconnection Agreement (LGIA)

30.11.1	Tender

As soon as practicable upon completion of the Developer decision process and

satisfaction of Security posting requirements described in Section 25.8 of Attachment S,

acceptance by the Developer of its Attachment S cost allocation, the NYISO shall tender to the 
Developer and Connecting Transmission Owner a draft Standard Large Generator 
Interconnection Agreement (“LGIA”) together with draft appendices completed to the extent 
practicable.  The draft Standard Large Generator Interconnection Agreement shall be in the form 
of the NYISO’s Commission-approved Standard Large Generator Interconnection Agreement, 
which is in Appendix 6 to this Attachment X.  Within six (6) months after the date the NYISO 
tenders the draft LGIA, the Developer must have satisfied the applicable regulatory milestone 
described in Section 25.6.2.3.1.  If the Developer has not done so,  the NYISO will withdraw the 
project pursuant to Sections 25.6.2.3 of Attachment S to the OATT and pursuant to Section

30.3.6 of this Attachment X.

30.11.2	Negotiation

Notwithstanding Section 30.11.1, at the request of the Developer the NYISO and

Connecting Transmission Owner shall begin negotiations with the Developer concerning the

LGIA and its appendices at any time after the Developer executes the Class Year Interconnection 
Facilities Study Agreement.  The NYISO, Connecting Transmission Owner and the Developer 
shall finalize the appendices and negotiate concerning any disputed provisions of the draft LGIA 
and its appendices subject to the six (6) month time limitation specified below in this Section

30.11.2.  If the Developer determines that negotiations are at an impasse, it may request

termination of the negotiations at any time after tender of the draft LGIA pursuant to Section

30.11.1 and request submission of the unexecuted LGIA to FERC or initiate Dispute Resolution procedures pursuant to Section 30.13.5.  If the Developer requests termination of the 
negotiations, but within sixty (60) Calendar Days thereafter fails to request either the filing of the unexecuted LGIA or initiate Dispute Resolution, it shall be deemed to have withdrawn its 
Interconnection Request.  Unless otherwise agreed by the Parties, if the Developer has not 
executed the LGIA, requested filing of an unexecuted LGIA, or initiated Dispute Resolution 
procedures pursuant to Section 30.13.5 within six (6) months of tender of draft LGIA, it shall be deemed to have withdrawn its Interconnection Request.

30.11.3	Execution and Filing

Within fifteen (15) Business Days after receipt of the executed LGIA, the Developer shall 
provide the NYISO and Connecting Transmission Owner (A) reasonable evidence of continued 
Site Control or (B) posting of $250,000, non-refundable additional security with the Connecting 
Transmission Owner, which shall be applied toward future construction costs.  At the same time, 
Developer also shall provide the NYISO and Connecting Transmission Owner reasonable 
evidence that one or more of the following milestones in the development of the Large 
Generating Facility, at the Developer election, has been achieved: (i) the execution of a contract 
for the supply or transportation of fuel to the Large Generating Facility; (ii) the execution of a 
contract for the supply of cooling water to the Large Generating Facility; (iii) execution of a 
contract for the engineering for, procurement of major equipment for, or construction of, the 
Large Generating Facility; (iv) execution of a contract for the sale of electric energy or capacity 
from the Large Generating Facility; or (v) application for an air, water, or land use permit. 
	The Developer shall either: (i) execute three (3) originals of the tendered Standard Large Generator Interconnection Agreement and return them to the NYISO and Connecting

Transmission Owner; or (ii) request in writing that the NYISO and Connecting Transmission 
Owner file with FERC an LGIA in unexecuted form.  As soon as practicable, but not later than 
ten (10) Business Days after receiving either the two executed originals of the tendered LGIA (if 
it does not conform with a Commission-approved standard form of interconnection agreement) 
or the request to file an unexecuted LGIA, the NYISO and Connecting Transmission Owner 
shall file the LGIA with FERC.  The NYISO will draft the portions of the LGIA and appendices 
that are in dispute and assume the burden of justifying any departure from the pro forma LGIA 
and appendices.  The NYISO will provide its explanation of any matters as to which the Parties 
disagree and support for the costs that the Connecting Transmission Owner proposes to charge to 
the Developer under the LGIA.  An unexecuted LGIA should contain terms and conditions 
deemed appropriate by the NYISO for the Interconnection Request.  The Connecting 
Transmission Owner will provide in the filing any comments it has on the unexecuted 
agreement, including any alternative positions, it may have with respect to the disputed 
provisions.  If the Parties agree to proceed with design, procurement, and construction of 
facilities and upgrades under the agreed-upon terms of the unexecuted LGIA, they may proceed 
pending Commission action.

30.11.4 	Commencement of Interconnection Activities

If the Developer executes the final Standard Large Generator Interconnection Agreement, the NYISO, Connecting Transmission Owner and the Developer shall perform their respective obligations in accordance with the terms of the LGIA, subject to modification by FERC.  Upon submission of an unexecuted LGIA in accordance with Section 30.11.3, the Parties shall 
promptly comply with the unexecuted LGIA, subject to modification by FERC.

30.11.5 	Termination of the Standard Large Generator Interconnection Agreement

The classification of a Large Generating Facility as Retired will be grounds for the

termination of its Standard Large Facility Interconnection Agreement (LGIA).   The NYISO will 
file with the Federal Energy Regulatory Commission a notice of termination of the LGIA as soon 
as practicable after the Large Generating Facility is Retired.  The termination of a non-
conforming pro forma LGIA will be effective only upon acceptance by the Federal Energy 
Regulatory Commission of the notice of termination and proposed effective date.  Upon the 
effective date of the termination of the LGIA access to the Point of Interconnection of the Large 
Generating Facility will be available on a non-discriminatory basis pursuant to the ISO’s 
applicable interconnection and transmission expansion processes and procedures.

Attachment II

25.6	Cost Allocation Methodology For ERIS

25.6.1	Cost Allocation Between Developers and Connecting Transmission

Owners (ATBA).

The cost of System Upgrade Facilities is first allocated between Developers and

Connecting Transmission Owners, in accordance with the rules that are discussed below in this Section 25.6.1.

25.6.1.1 	The cost of System Upgrade Facilities is allocated between Developers

and Connecting Transmission Owners based upon the results of an Annual

Transmission Baseline Assessment of the five-year need for System Upgrade

Facilities.  The Annual Transmission Baseline Assessment, as described in these 
rules, will be conducted by the NYISO staff in cooperation with Market 
Participants.  No Market Participant will have decisional control over any 
determinative aspect of the Annual Transmission Baseline Assessment.   The 
NYISO and its staff will have decisional control over the entire Annual 
Transmission Baseline Assessment.  If, at any time, the NYISO staff decides that 
it needs specific expert services from entities such as Market Participants, 
consultants or engineering firms for it to conduct the Annual Transmission 
Baseline Assessment, then the NYISO will enter into appropriate contracts with 
such entities for such input.  As it conducts each Annual Transmission Baseline 
Assessment, the NYISO staff will provide regularly scheduled status reports and 
working drafts, with supporting data, to the Operating Committee to ensure that 
all affected Market Participants have an opportunity to contribute whatever 
information and input they believe might be helpful to the process.  Each 
completed Annual Transmission Baseline Assessment will be reviewed and

approved by the Operating Committee. Each Annual Transmission Baseline

Assessment is reviewable by the NYISO Board of Directors in accordance with provisions of the Commission-approved ISO Agreement.

25.6.1.1.1 	The purpose of the Annual Transmission Baseline Assessment is to

identify the System Upgrade Facilities that Transmission Owners are expected to need during the five-year period covered by the Assessment to reliably meet the load growth and changes in the load pattern projected for the New York Control Area, with cost estimates for the System Upgrade Facilities.

25.6.1.1.1.1   Procedure for Annual Transmission Baseline Assessment.

The procedure used to identify the System Upgrade Facilities that will ensure that New 
York State Transmission System facilities are sufficient to reliably serve existing load and meet 
load growth and changes in load patterns in compliance with NYSRC Reliability Rules, NPCC 
Basic Design and Operating Criteria, NERC Planning Standards, NYISO rules, practices and 
procedures, and the Connecting Transmission Owner criteria included in FERC Form No. 715 
(collectively “Applicable Reliability Requirements”).  The procedure will use the Applicable 
Reliability Requirements in effect when the Annual Transmission Baseline Assessment is

commenced.  The procedure will be:

25.6.1.1.1.1.1	The NYISO staff will first develop the Existing System

Representation.

25.6.1.1.1.1.2	The NYISO staff will then utilize the Existing System

Representation to develop existing system improvement plans with each

Transmission Owner.  These improvement plans will use NYISO data from the 
annual NYISO Load and Capacity Data Report to project system load growth and

changes in load patterns, including those that reflect demand side management, 
and will identify the System Upgrade Facilities needed year-by-year for the 
existing system to reliably serve projected load in the Transmission Owner’s 
Transmission District for a five-year period.  The NYISO staff will integrate these 
existing system improvement plans into the Annual Transmission Baseline 
Assessment to ensure that the System Upgrade Facilities needed for a five-year 
period are identified on a New York State Transmission System-wide basis.  The 
Annual Transmission Baseline Assessment will identify each anticipated System 
Upgrade Facility project, its estimated cost, its anticipated in-service date, and the 
status of the project (in construction, budget approval received, budget approval 
pending).

25.6.1.1.1.1.3	The NYISO will identify in the Annual Transmission Baseline

Assessment the System Upgrade Facilities needed to reliably meet projected load growth and changes in load pattern without the interconnection of any proposed Developer projects, except for those proposed projects included in the Existing System Representation pursuant to Section 25.5.5.

25.6.1.1.1.1.4 	NYISO staff will perform thermal, voltage, and stability analyses,

as appropriate, to determine the normal and emergency transfer capabilities of the statewide existing system.

25.6.1.1.1.1.5	NYISO staff will perform resource reliability analysis of the

existing system to verify that the existing system meets Applicable Reliability

Requirements.  The results of this analysis will be reported for the entire state and for each of the New York zones.

25.6.1.1.1.1.6	If the transmission and generation facilities included in the

Existing System Representation, combined with previously approved and accepted System Upgrade Facilities, are insufficient to meet Applicable Reliability Requirements on a year by year basis, then the NYISO staff will develop feasible generic solutions that satisfy the Applicable Reliability Requirements, in accordance with Section 25.6.1.2, below.

25.6.1.1.1.1.7 	If the existing system meets Applicable Reliability Requirements,

the NYISO staff will perform short circuit analysis to determine whether there is sufficient interrupting capability in the existing system.  If there are any breaker overloads, the NYISO staff will determine the System Upgrade Facilities needed to mitigate the short circuit overloads.

25.6.1.1.1.1.8	A reassessment of Sections 25.6.1.1.1.1.4 through 25.6.1.1.1.1.6

shall be reassessed and, to the extent required by Good Utility Practice, repeated if the improvement plan impacts the transmission transfer capability of the 
system.  The results of the short circuit analysis will be treated in the same 
manner as the results of thermal, voltage and stability analyses for all purposes under these cost allocation rules.

25.6.1.1.1.1.9	Each Annual Transmission Baseline Assessment conducted by

NYISO staff will be reviewed and approved by the Operating Committee, and its effectiveness will be subject to the approval of the Operating Committee. In its report to the Operating Committee, the NYISO shall explain its reasons for all of its recommendations.

25.6.1.1.1.1.10	Each most recently completed Annual Transmission Baseline

Assessment will be reviewed the following year by the NYISO staff and updated, as necessary, following the criteria and procedures described herein.

25.6.1.2 	In developing solutions as required by Section 25.6.1.2.6, the NYISO will,

as it develops its own generic solutions, also utilize the following procedures.

25.6.1.2.1 	The NYISO will first select as generic solutions proposed Class Year

Developer projects sufficient to meet Applicable Reliability Requirements on a 
year by year basis.  If a proposed Class Year Developer project is larger than 
necessary, the NYISO shall select that portion or segment of the project that is 
sufficient to meet but not exceed Applicable Reliability Requirements.  If the 
proposed Developer project is not capable of being segmented or if the Developer project cannot meet Applicable Reliability Requirements on a year by year basis, the NYISO shall not select it.

25.6.1.2.2 	If the generation and transmission facilities included in the Existing

System Representation, together with any proposed Developer projects that

qualify as solutions pursuant to Section 25.6.1.2.1, above, are not sufficient to 
meet Applicable Reliability Requirements, the NYISO shall complete the 
development of its own generic solutions, taking into account any generic 
solutions proposed pursuant to Section 25.6.1.2.3, below, for inclusion in the 
ATBA.

25.6.1.2.3 	Market Participants may also propose generic solutions for inclusion in the

ATBA.  The Market Participant proposing such solutions shall provide the

NYISO with all data necessary for the NYISO to determine the feasibility of such proposed generic solutions.

25.6.1.2.4 	The NYISO shall develop and consider alternative sets of proposed

generic solutions that fairly represent the range of feasible solutions to Applicable Reliability Requirements.

25.6.1.2.5 	The NYISO shall determine the feasibility of additional generic solutions

developed pursuant to Sections 25.6.1.2.2, 25.6.1.2.3 and 25.6.1.2.3, according to the following criteria:

25.6.1.2.5.1   The NYISO shall select only solutions that are based on proven

technologies that have actually been licensed and financed, are under construction or have already been built in similar locations.

25.6.1.2.5.2   The NYISO shall select as additional generic solutions only units and 
	facilities that can reasonably be placed in service in time to meet Applicable 
	Reliability Requirements on a year by year basis.  In making this determination, 
	the NYISO shall consider the size and type of facility, access to fuel, access to 
	transmission facilities, transmission upgrade requirements, construction time, and 
	Good Utility Practice.

25.6.1.2.6 	The NYISO will submit its proposed generic solutions and the alternatives

that it considered to Market Participants and to an independent expert for review 
and will make the results of the expert’s review available to Market Participants. 
The independent expert shall review the feasibility of the proposed generic 
solutions developed pursuant to Sections 25.6.1.2.2, 25.6.1.2.3 and 25.6.1.2.3, and 
of generic solutions based on the segmentation of any Class Year developer

projects under Section 25.6.1.2.1, according to the criteria set forth in Section 25.6.1.2.5.

25.6.1.2.6.1   If the independent expert concludes that one or more generic is not 
	feasible, the NYISO shall eliminate that solution from further review.

25.6.1.2.6.2   If the NYISO does not adopt the expert’s recommendations, it will state in 
	its report to the Operating Committee its reasons for not adopting those 
	recommendations.

25.6.1.2.7 	Subject to Section 25.6.1.2.7, below, in the event that more than one

generic solution or set of solutions satisfies the feasibility requirement of Section

25.6.1.2.7, the NYISO shall compare the System Upgrade Facilities that would be necessary to interconnect each such generic solution and shall adopt the solution that is most consistent with Good Utility Practice.  For these purposes, in 
comparing alternative solutions, a generic solution that satisfies sub-load pocket deficiencies shall normally be selected first.

25.6.1.2.7.1   The NYISO shall be responsible for determining whether any generic 
	solution or proposed Developer Project meets Applicable Reliability 
	Requirements.

25.6.1.3 	With the exception of those upgrades that were previously allocated to,

and accepted by Developer projects as a part of the Annual Transmission

Reliability Assessment in the Final Decision Round of previous Class Years,

Developers are not responsible for the cost of any System Upgrade Facilities that 
are identified in the Annual Transmission Baseline Assessment, or any System

Upgrade Facilities that resolve in whole or in part a deficiency in the system identified in the Annual Transmission Baseline Assessment.

25.6.1.4 	Developers are responsible for 100% of the cost of the System Upgrade

Facilities, not already identified in the Annual Transmission Baseline Assessment 
that are needed as a result of their projects, and required for their projects to 
reliably interconnect to the transmission system in a manner that meets the 
NYISO Minimum Interconnection Standard.  The System Upgrade Facilities 
necessary to accommodate Developer projects will be determined by the 
Interconnection Facilities Studies and the Annual Transmission Reliability 
Assessment. The criteria and procedures that will be followed to conduct the 
Annual Transmission Reliability Assessment are discussed below.

25.6.1.4.1 	If a Connecting Transmission Owner or Developer elects to construct

System Upgrade Facilities that are larger or more extensive than the minimum

facilities required to reliably interconnect the proposed project, and are reasonably 
related to the interconnection of the proposed project, then the Connecting 
Transmission Owner or Developer is responsible for the cost of those System 
Upgrade Facilities in excess of the minimum System Upgrade Facilities required 
by the Developer projects.  If there is Headroom associated with these larger 
System Upgrade Facilities and a Developer of any subsequent project 
interconnects and uses the Headroom within ten years of its creation, such 
subsequent Developer shall pay the Connecting Transmission Owner or the 
Developer for this Headroom in accordance with these rules, including 
Section 25.8.7, below.

25.6.1.5	The System Upgrade Facilities cost for which a Developer is responsible

will be determined on a “net” basis; that is, the Developer’s System Upgrade

Facilities cost will be determined net of the benefits, or System Upgrade Facility 
cost reductions, that result from the construction and operation of its project and 
the related upgrades.  The net cost responsibility of a Developer will not be less 
than zero.  Also, the cost responsibility of the Connecting Transmission Owner 
for System Upgrade Facilities will be no greater than it would have been without 
the Developer’s project.  Specifically, the Connecting Transmission Owner shall 
not be required to pay (in total) more than 100% of the cost of installing a specific 
piece of equipment.

25.6.1.5.1 	The purpose of this approach is to allocate to the Developer the

responsibility for the cost of the net impact of its project on the needs of the

transmission system for System Upgrade Facilities.  Thus, a Developer is

responsible for the cost of the System Upgrade Facilities that are required by, or 
caused by, its project.  A Developer is not responsible for the cost of System 
Upgrade Facilities that would be required anyway, without the construction of its 
project.  If a Developer’s project reduces the cost of System Upgrade Facilities 
that would be required anyway, that beneficial cost reducing impact will be 
recognized.

25.6.1.5.2 	The net System Upgrade Facilities cost and cost reduction benefits of a

Developer’s project are determined by NYISO staff comparing and netting the 
results of an Annual Transmission Baseline Assessment with the corresponding 
Annual Transmission Reliability Assessment in accordance with these rules.

25.6.1.5.3	The net System Upgrade Facilities cost and cost reduction benefits of a

Developer’s project are comprised of those costs and cost reduction benefits

caused by (1) the construction of System Upgrade Facilities not contained in the Annual Transmission Baseline Assessment, and (2) eliminating or reducing the need for the construction of System Upgrade Facilities contained in the Annual Transmission Baseline Assessment, due to the construction of System Upgrade Facilities associated with the proposed project.

25.6.1.5.4 	The Developer’s net cost responsibility will be determined using constant

dollars.  That is, when netting the cost of System Upgrade Facilities required for 
its project, as identified in the Annual Transmission Reliability Assessment, with 
those identified in the Annual Transmission Baseline Assessment, the cost of 
System Upgrade Facilities in the out-years of the Annual Transmission Baseline 
Assessment and the out-years of the Annual Transmission Reliability Assessment 
will be discounted to a current year value for netting.  The cost of out-year System 
Upgrade Facilities will be discounted to a current value using the weighted 
average cost of capital of the Connecting Transmission Owner.

25.6.2 	Cost Allocation Among Developers (ATRA).

The Developers’ share of the cost of System Upgrade Facilities is allocated among

Developers based upon the NYISO Annual Transmission Reliability Assessment. The Annual 
Transmission Reliability Assessment will be conducted by NYISO staff to ensure New York 
State Transmission System compliance with Applicable Reliability Requirements.  The NYISO 
staff will conduct the Annual Transmission Reliability Assessment, as described in these rules, in 
cooperation with Market Participants.  No Market Participant will have decisional control over

any determinative aspect of the Annual Transmission Reliability Assessment.  The NYISO and 
its staff will have decisional control over the entire Annual Transmission Reliability Assessment. 
If, at any time, the NYISO staff decides that it needs specific expert services from entities such 
as Market Participants, consultants or engineering firms for it to conduct the Annual 
Transmission Reliability Assessment, then the NYISO will enter into appropriate contracts with 
such entities for such input.  As it conducts each Annual Transmission Reliability Assessment, 
the NYISO staff will provide regularly scheduled status reports and working drafts, with 
supporting data, to the Operating Committee to ensure that all affected Market Participants have 
an opportunity to contribute whatever information and input they believe might be helpful to the 
process.  Each completed Annual Transmission Reliability Assessment will be reviewed and 
approved by the Operating Committee.  Each Annual Transmission Reliability Assessment is 
reviewable by the NYISO Board of Directors in accordance with the provisions of the 
Commission-approved ISO Agreement.

25.6.2.1 	The Annual Transmission Reliability Assessment for each Class Year will

identify the System Upgrade Facilities required for all Class Year Projects, with cost estimates for the System Upgrade Facilities.  The System Upgrade Facilities identified through the Annual Transmission Reliability Assessment will only be those System Upgrade Facilities that are not already included in an Annual 
Transmission Baseline Assessment.

25.6.2.2 	For each Annual Transmission Reliability Assessment, the NYISO will

utilize the Existing System Representation used for the corresponding Annual Transmission Baseline Assessment.

25.6.2.3	Each Annual Transmission Reliability Assessment will update the results

of Interconnection System Reliability Impact Studies that have previously been performed for certain proposed interconnection projects.

25.6.2.3.1 	Subject to the additional requirements in Sections 25.6.2.3.2 - 25.6.2.3.4,

below, a Large Facility is eligible to project included in a given Class Year Study 
(i.e., become a Class Year Project), if on or before the Class Year Start Date (i) 
the Operating Committee has approved (1) an Interconnection System Reliability 
Impact Study for the project performed pursuant to Attachment X of the NYISO 
OATT or (2) a System Impact Study for the project performed pursuant to 
Attachment P to the NYISO OATT, and (ii) either (1) the regulatory milestone 
has been satisfied in accordance with Sections 25.6.2.3.1.1, 25.6.2.3.1.2, or

25.6.2.3.1.3, subject to the limitations described in Section 25.6.2.3.2 below; or

(2) the Developer, in lieu of satisfying the regulatory milestone requirement,

submits a two-part deposit consisting of (1) 	$100,000; and (2) 	$3,000/MW for the

nameplate capability of the Large Facility.  The $100,000 portion of the deposit 
submitted pursuant to subsection (ii)(2) of this Section 25.6.2.3.1 will be fully 
refundable if, within twelve months after the Class Year Start Date or the 
Operating Committee’s approval of the Class Year Study, whichever occurs first, 
the Developer satisfies an applicable regulatory milestone and provides the 
NYISO with adequate documentation that the Large Facility has satisfied an 
applicable regulatory milestone.  The $3,000/MW deposit will be fully refundable 
upon the earlier of the Large Facility’s satisfaction of an applicable regulatory 
milestone or the Large Facility’s withdrawal from the NYISO’s interconnection

queue.  A Large Facility that has an Operating Committee-approved

Interconnection System Reliability Impact Study, but that has not yet satisfied the regulatory milestone may provisionally enter a Class Year Study, but will be 
withdrawn from such Class Year Study if it has not satisfied the regulatory 
milestone requirement within 90 days after the Class Year Start Date.  To satisfy the regulatory milestone, an applicable regulatory body (e.g., local, state, or 
federal) must determine that the permitting application submitted to site and 
construct the Large Facility is complete, as described below:

25.6.2.3.1.1   The Developer must obtain or achieve at least one of the following

regulatory determinations or actions for the Large Facility described in this

Section 25.6.2.3.1.1.  To satisfy the regulatory milestone, an applicable regulatory 
body (e.g., local, state, or federal) must determine that the permitting application 
submitted to site and construct the Large Facility is complete, as described below:

25.6.2.3.1.1.1	In connection with the Large Facility’s air or water permit

application, either (i) a notice of determination of completeness mailed to the

applicant by the New York State Department of Environmental Conservation

(“DEC”) pursuant to 6  NYCRR § 621.6(c), as may be amended from time to

time, or public notice of a complete application in the Environmental Notice

Bulletin, or (ii) in the absence of such notices, a demonstration that the permit

application is deemed to be complete pursuant to 6 NYCRR § 621.6(h), as may be amended from time to time.

25.6.2.3.1.1.2	A negative declaration issued for the Large Facility by the lead

agency pursuant to the New York State Environmental Quality Review Act (“SEQRA”).

25.6.2.3.1.1.3	Under SEQRA, either (i) a determination by the lead agency,

documented in minutes or other official records, that the Draft Environmental

Impact Statement for the Large Facility is adequate for public review, (ii) a notice of completion of a Draft Environmental Impact Statement for the project issued by the lead agency pursuant to SEQRA, or (iii) public notice of completion in the Environmental Notice Bulletin.

25.6.2.3.1.1.4	For a Large Facility that is a Merchant Transmission Facility, a

determination pursuant to Article VII that the Article VII application filed for the 
Merchant Transmission Facility is in compliance with Public Service Law §122.

25.6.2.3.1.1.5	A Notice of Availability of a Draft Environmental Impact

Statement for the Large Facility  filed with the U.S. Environmental Protection Agency pursuant to the National Environmental Policy Act of 1969 (“NEPA”) and its implementing regulations.

25.6.2.3.1.1.6 	A final Finding of No Significant Impact for the project issued by

the lead agency pursuant to NEPA and its implementing regulations.

25.6.2.3.1.1.7 	For a Large Generator that is larger than 25 MW, a determination

pursuant to Article 10 of the Public Service Law that the Article 10 application 
filed for the Large Generator is in compliance with Public Service Law § 164.

25.6.2.3.1.2   A Large Facility located outside New York State will satisfy the

regulatory milestone by achieving Section 25.6.2.3.1.1.5 or 25.6.2.3.1.1.6, above,

or by satisfying a milestone comparable to that specified in Section 25.6.2.3.1.1.1 through 25.6.2.3.1.1.4, above, under applicable permitting laws.

25.6.2.3.1.3   In the event that none of the permitting processes referred to in Section

25.6.2.3.1.1 and 25.6.2.3.1.2 apply to the Large Facility, the Large Facility will be considered to have satisfied the regulatory milestone and will qualify for Class Year entry as of the date the Operating Committee approved the Large Facility’s Interconnection System Reliability Impact Study.

25.6.2.3.1.4   After a Large Facility’s Interconnection System Reliability Impact Study 
	is approved by the Operating Committee and until the NYISO confirms that the 
	Large Facility has satisfied the regulatory milestone, the Developer must inform 
	the NYISO each year, within five business days of the Class Year Start Date, 
	whether or not the Large Facility has satisfied the regulatory milestone described 
	above. If a project fails to inform the NYISO by this date, the Interconnection 
	Request of the project will be deemed to be withdrawn in accordance with Section

3.6 of the Large Facility Interconnection Procedures contained in Attachment X.

25.6.2.3.2 	A project must satisfy the applicable regulatory milestone described in

Section 25.6.2.3.1, above, within 90 days six (6) months after the date the NYISO tenders to the project Developer the Standard Large Generator Interconnection Agreement for the project pursuant to Section 30.11.1 of Attachment X to the 
NYISO OATTthe Class Year Start Date of the third Class Year Study beginning after the Operating Committee’s approval of the Interconnection System 
Reliability Impact Study for the project.

25.6.2.3.3	If a project fails to satisfy the regulatory milestone within this time period,

the Interconnection Request of the project will be deemed to be withdrawn in

accordance with Section 30.3.6 of the Large Facility Interconnection Procedures contained in Attachment X.

25.6.2.3.3 	A Project that provisionally enters a Class Year Study but fails to meet a

regulatory milestone described in Section 25.6.2.3.1 within 90 days after the Class Year Start Date will be withdrawn from the Class Year Study.

25.6.2.3.4 	Once a project has an Operating Committee-approved SRIS or the NYISO

has determined the project is required to enter a Class Year Study pursuant to

Attachment Z, then the project may enter up to two, but no more than two, of the next three consecutive Class Year Studies.  The first Class Year with a Class Year Start Date after the date the Operating Committee approves a project’s 
Interconnection System Reliability Impact Study will count as the first of the 
three consecutive Class Year Studies.  For purposes of this Section 25.6.2.3.4, a Class Year that a project enters and from which it later withdraws for ERIS 
evaluation pursuant to Section 25.7.7.1 or 25.6.2.3.3 of this Attachment S, counts as one of the two Class Years a project may enter.

25.6.2.3.4.1   Except as provided in Section 25.6.2.3.4.3, the project must accept its 
	System Upgrade Facilities cost allocation and post required security for Energy 
	Resource Interconnection Service from a Class Year ATRA that is no later than 
	the first to occur of either (i) the second Class Year ATRA the project enters, or 
	(ii) the third consecutive Class Year that starts after the project satisfies the 
	eligibility criteria for inclusion in the Class Year ATRA.  If the project fails to

accept its System Upgrade Facilities cost allocation and post security by this deadline, the Interconnection Request of the project will be deemed to be withdrawn in accordance with Section 30.3.6 of the Large Facility 
Interconnection Procedures contained in Attachment X.

25.6.2.3.4.2   Except as provided in Section 25.6.2.3.4.3, below, if a project has not 
	accepted its System Upgrade Facilities cost allocation and posted required 
	security for Energy Resource Interconnection Service from either the first or 
	second Class Year that starts after the project satisfies the eligibility criteria for 
	inclusion in the Class Year ATRA and has not entered both the first and second 
	such Class Year ATRA, then the project must enter the third Class Year ATRA 
	(by executing the Class Year Interconnection Facilities Study Agreement and 
	providing the required data and deposit).  If the developer fails to do so within the 
	timeframes specified in Attachments X or Z, as applicable, the Interconnection 
	Request of the project will be deemed to be withdrawn in accordance with Section

30.3.6 of the Large Facilities Interconnection Procedures contained in Attachment

X.

25.6.2.3.4.3   A project that was a member of a completed Class Year but did not accept 
	its System Upgrade Facilities cost allocation and post any required security as of 
	January 17, 2010 will be able to enter any one of the three consecutive Class Year 
	ATRAs starting after that date.  If the project enters one of these Class Year 
	ATRAs and fails to accept its System Upgrade Facilities cost allocation and post 
	required security, the Interconnection Request of the project will be deemed to be 
	withdrawn in accordance with Section 30.3.6 of the Large Facility

Interconnection Procedures.  If the project has not entered either the first or

second such Class Year, then the project must enter the third Class Year ATRA 
(by executing the Class Year Interconnection Facilities Study Agreement and 
providing the required data and deposit).  If the Developer fails to do so within the 
timeframes specified in Attachments X or Z, as applicable, the Interconnection 
Request of the project will deemed to be withdrawn in accordance with Section

30.3.6 of the Large Facilities Interconnection Procedures.

25.6.2.4 	The Annual Transmission Reliability Assessment will update

Interconnection System Reliability Impact Study results in accordance with the 
Class Year Interconnection Facilities Study procedures in Section 30.8 of the 
Large Facility Interconnection Procedures in Attachment X to the NYISO OATT.

25.6.2.5 	For interconnection projects included in each Annual Transmission

Reliability Assessment, the Interconnection System Reliability Impact Study 
updated results will specify the impact of each project in the Class Year on the 
reliability of the transmission system, that is, the pro rata contribution of each 
project in the Class Year to each individual System Upgrade Facilities identified 
in the updates.

25.6.2.5.1 	In the case of a new System Upgrade Facility that has a functional

capacity not readily measured in amperes or other discrete electrical units, such as 
a System Upgrade Facility dedicated to system protection, the pro rata impact of 
each project in the Class Year on the reliability of the transmission system will be 
based upon the number of projects in the Class Year contributing to the need for 
the new System Upgrade Facility.  The pro rata impact of each project in the

Class Year needing such a new System Upgrade Facility will be equal.

Accordingly, the pro rata contribution of each of the projects to the need for the new System Upgrade Facility will be equal to (1/a), where “a” is the total number of projects in the Class Year needing the new System Upgrade Facility.

25.6.2.5.2 	In the case of a new System Upgrade Facility that has a capacity readily

measured in amperes or other discrete electrical units, the impact of each project 
in the Class Year will be stated in terms of its pro rata contribution to the total 
electrical impact on each individual System Upgrade Facility in the Class Year of 
all projects that have at least a de minimus impact, as described in Section

25.6.2.6.1 of these rules.  The contribution to electrical impact will be measured in various ways depending on the nature of the transmission problem primarily causing the need for the individual System Upgrade Facility.

25.6.2.5.2.1   Contribution to short circuit current for interrupting duty beyond the rating 
	of equipment.

25.6.2.5.2.2   Contribution to MW loading on the critical element for thermal overloads 
	under the test conditions that cause the need for a System Upgrade Facility.  MW 
	contribution will be calculated by multiplying the associated distribution factor by 
	the declared maximum MW of the project.  The distribution factor is calculated 
	by pro rata displacement of New York System load by the added generation.

25.6.2.5.2.3   Contribution to voltage drop on the most critical bus for voltage problems. 
	A critical bus will be defined as representative for voltage conditions during a 
	specific contingency.  The pro rata impact of each project is measured as the ratio 
	of the voltage drop at the critical bus caused by the project when none of the other

projects are represented, to the voltage drop at the critical bus when all of the projects in the Class Year are represented.

25.6.2.5.2.4   Contribution to transient stability problems as measured by the fault

current calculated for the most critical stability test that is causing the need for the System Upgrade Facility.

25.6.2.6 	For each individual electrical impact standard listed in subsections 6.(a)(1)

through 6.(a)(4) below, a Developer will not be responsible for the cost associated with a corresponding System Upgrade Facility if  its project’s contribution is less than the de minimus impacts defined below.  The costs of projects that would otherwise have been allocated to certain Developer’s projects but for the sub-de minimus impact exemption, shall be allocated 100 percent to the other Developers in the Class Year according to their pro rata contribution.

25.6.2.6.1 	De minimus impact is defined in terms of any one of the factors listed

below in this subsection.  Examples of computations used to determine de minimus impact are shown in ISO Procedures.

25.6.2.6.1.1   Short Circuit Contribution:  Equal to or greater than 100 amperes of the 
	existing rating of the equipment that needs to be replaced.

25.6.2.6.1.2   Thermal Loadings:  Equal to or greater than 10 MW on the most limiting 
	monitored element under the most critical contingency that is causing the need for 
	transmission improvements.

25.6.2.6.1.3   Voltage Effects:  Equal to or greater than 2% of the voltage drop occurring 
	with all Class Year Projects at the most critical bus.

25.6.2.6.1.4   Stability Effects:  Equal to or greater than 100 amperes of the fault current 
	for the most critical stability test that is causing the need for the System Upgrade 
	Facility.

25.6.2.7	The pro rata contribution of each project in the Class Year to each of the

System Upgrade Facilities identified in the Annual Transmission Reliability

Assessment.

25.6.2.7.1 	First, in accordance with Section 25.6.1.5 of these rules, the total cost of

System Upgrade Facilities identified in the Annual Transmission Reliability

Assessment is compared and netted with the total cost of System Upgrade

Facilities identified in the Annual Transmission Baseline Assessment.  If the total cost of System Upgrade Facilities identified in the Annual Transmission 
Reliability Assessment does not exceed the total cost of System Upgrade 
Facilities identified in the Annual Transmission Baseline Assessment, then there is no cost to be allocated among Class Year Developers.

25.6.2.7.2 	If the total cost of System Upgrade Facilities identified in the Annual

Transmission Reliability Assessment does exceed the total cost of System

Upgrade Facilities identified in the Annual Transmission Baseline Assessment by 
some amount, then this amount (“Overage Cost”) is a cost to be allocated among 
Class Year Developers.  Appendix One to this Attachment S sets out an example

of an allocation of Overage Cost among Class Year Developers.

25.6.2.7.3 	The Overage Cost represents a percentage of the total cost of System

Upgrade Facilities identified in the Annual Transmission Reliability Assessment (“Overage Cost Percentage”).

25.6.2.7.4	Each System Upgrade Facility identified in the Annual Transmission

Reliability Assessment has a cost specified for it in the Annual Transmission Reliability Assessment.

25.6.2.7.5 	The pro rata contribution of each project in the Class Year to a System

Upgrade Facility identified in the Annual Transmission Reliability Assessment represents a percentage contribution to the need for that System Upgrade Facility (“Contribution Percentage”).

25.6.2.7.6 	An individual Developer’s pro rata responsibility for the cost of each

System Upgrade Facility identified in the Annual Transmission Reliability

Assessment is the product of (a) the Overage Cost Percentage; (b) the Developer’s Contribution Percentage for the particular System Upgrade Facility; and (c) the cost of the particular System Upgrade Facility as specified in the Annual 
Transmission Reliability Assessment.

25.6.2.7.7 	If the least cost solution identified is to install one System Upgrade

Facility (e.g., a series reactor) rather than replacing a number of  System Upgrade Facilities (e.g., breakers), the NYISO staff will determine each Developer’s 
Contribution Percentage by calculating what each Developer’s pro rata 
contribution would have been on the System Upgrade Facilities not replaced (e.g., breakers) and applying that percentage to the System Upgrade Facility that is 
installed (e.g., series reactor).

30.8	Class Year Interconnection Facilities Study

30.8.1	Class Year Interconnection Facilities Study Agreement

As soon as practicable after a Study Start Date is established pursuant to Section 25.5.9 
of Attachment S to the OATT, the NYISO shall provide a Class Year Interconnection Facilities 
Study Agreement for the next Class Year in the form of Appendix 4 to these Large Facility 
Interconnection Procedures to each Developer and Interconnection Customer who has not 
previously received an agreement for the next Class Year, upon confirmation by the NYISO that 
the Developer is an Eligible Class Year Project or upon request if the Developer is requesting to 
enter a Class Year Study only to request CRIS.  The NYISO shall tender a Class Year 
Interconnection Facilities Study Agreement at an earlier point to any Developer or 
Interconnection Customer confirmed by the NYISO to be an Eligible Class Year Project that so 
requests.    When the NYISO provides a Class Year Interconnection Facilities Study Agreement 
to an Eligible Class Year Project, the NYISO shall, at the same time, also provide one to that 
Eligible Class Year Project’s Connecting Transmission Owner.  The Class Year Interconnection 
Facilities Study Agreement shall provide that the Class Year Project shall compensate the 
NYISO and Connecting Transmission Owner for the actual cost of the Class Year 
Interconnection Facilities Study.  When the NYISO provides the Class Year Interconnection 
Facilities Study Agreement to the Eligible Class Year Project, the NYISO shall provide to the 
Eligible Class Year Project a non-binding good faith estimate of the cost and timeframe for 
completing the Class Year Interconnection Facilities Study.  The Eligible Class Year Project 
shall execute the Class Year Interconnection Facilities Study Agreement and deliver the executed 
Class Year Interconnection Facilities Study Agreement to the NYISO by the later of (1) the 
study start date of the Annual Transmission Reliability Assessment, or (2) thirty (30) Calendar

Days after the Developer’s receipt of the Class Year Interconnection Facilities Study Agreement. 
Starting with the Class Year subsequent to Class Year 2012, with the executed Class Year 
Interconnection Facilities Study Agreement, the Class Year Project shall deliver to the NYISO

(1) the required technical data, ; (2) the Class Year Project’s interconnection service evaluation 
election, ; (3) for Large fFacilities not yet In-Service, an updated proposed In-Service Date and 
updated proposed Commercial Operation Date (subject to the ten (10) year limitation set forth in 
Section 30.3.1); (4), and a study deposit of $100,000 (if the Class Year Project seeks evaluation 
for ERIS or ERIS and CRIS), or $50,000 (if the Class Year Project seeks only CRIS); and (5) if 
the Developer has not satisfied the applicable regulatory milestone described in Section

25.6.2.3.1.1 of Attachment S to the OATT, a two-part deposit consisting of $100,000 plus

$3,000/MW deposit as required by Section 25.6.2.3.1(ii)(2).  At the same time the Class Year

Project provides the above items to the NYISO, the Class Year Project shall deliver the executed Class Year Interconnection Facilities Study Agreement, together with the required technical data (as applicable), to the Transmission Owner.  The NYISO and Transmission Owner shall execute the Class Year Interconnection Facilities Study Agreement within ten (10) Business Days of 
receipt of the Class Year Interconnection Facilities Study Agreement executed by the Class Year Project and the required technical data.

30.8.1.1 	NYISO shall invoice the Class Year Project on a monthly basis for the

work to be conducted on the Class Year Interconnection Facilities Study each 
month.  Any Class Year Project having elected only ERIS shall not be invoiced 
for any part of the cost of the Class Year Deliverability Study.  Any Class Year 
Project that elects to reduce the MW of CRIS it requests to be evaluated in the 
Class Year Deliverability Study and thereby opts out of any additional detailed

studies, if required, for System Deliverability Upgrades, shall not be invoiced for any additional detailed studies required for System Deliverability Upgrades.  The Class Year Project shall pay invoiced amounts within thirty (30) Calendar Days of receipt of invoice.  NYISO shall continue to hold the amounts on deposit until 
settlement of the final invoice.

30.8.2 	Scope of Class Year Interconnection Facilities Study

The Class Year Interconnection Facilities Study shall be performed concurrently as a 
combined Class Year Interconnection Facilities Study for a Class Year, as determined in 
accordance with Attachment S of the NYISO OATT, to fulfill the requirements of this Section

30.8, and the requirements of the Annual Transmission Reliability Assessment and Class Year Deliverability Study called for by Attachment S.

The combined Class Year Interconnection Facilities Study shall specify and estimate the 
cost of the equipment, engineering and design work, permitting, site acquisition, procurement 
and construction work and commissioning needed for the Class Year in accordance with Good 
Utility Practice and, for each of these cost categories, shall specify and estimate the cost of the 
work to be done at each substation and/or on each feeder to physically and electrically connect 
each facility in the Class Year to the Transmission System.  The combined Class Year

Interconnection Facilities Study shall also identify the electrical switching configuration of the 
connection equipment, including, without limitation: the transformer, switchgear, meters, and 
other station equipment; the nature and estimated cost of any Connecting Transmission Owners’ 
Attachment Facilities, any Distribution Upgrades, any System Upgrade Facilities and, for Class 
Year Projects seeking CRIS, any System Deliverability Upgrades necessary to accomplish the 
interconnection of each Class Year Project; and shall include a schedule showing the estimated

time required to complete the engineering and design, permitting, site acquisition, procurement, 
construction, installation and commissioning phases of the Class Year Projects.  The schedule 
shall contain major milestones to facilitate the tracking of the progress of each Class Year 
Project.

30.8.2.1 	Following commencement of the activities described in this schedule, for

each Class Year Project not yet In-Service, the Class Year Project, that Class Year 
Project’s Connecting Transmission Owner and each Affected Transmission 
Owner(s) shall report every other month on the progress of their respective 
activities to the NYISO and to each other.  Such reports shall be in a format 
consistent with, and include the content required by, applicable ISO Procedures. 
In these bimonthly reports, each Class Year Project and Connecting Transmission 
Owner and Affected Transmission Owner(s) shall report any material variance 
from earlier schedule estimates for their respective activities, and the reasons for 
such variance.  In addition, the Connecting Transmission Owner and Affected 
Transmission Owner(s) shall report any material variance from earlier cost 
estimates for its activities, and the reasons for such variance.

30.8.3 	Class Year Interconnection Facilities Study Procedures

The NYISO shall coordinate the Class Year Interconnection Facilities Study with the 
Connecting Transmission Owners and Affected Transmission Owners, and with any other 
Affected System pursuant to Section 30.3.5 above.  The NYISO shall utilize existing studies to 
the extent practicable in performing the Class Year Interconnection Facilities Study.  The 
NYISO shall follow the procedures set forth in Attachment S of the NYISO OATT and shall use

Reasonable Efforts to complete the study and issue a Class Year Interconnection Facilities Study report to the Class Year Projects within the timeframe called for in Attachment S. 
	At the request of any Class Year Project, or at any time the NYISO determines that it will not meet the required time frame for completing the Class Year Interconnection Facilities Study, NYISO shall notify the Class Year Projects as to the schedule status of the Class Year 
Interconnection Facilities Study.  If the NYISO is unable to complete the Class Year 
Interconnection Facilities Study and issue a cost allocation report within the time required, it 
shall notify the Class Year Projects and provide an estimated completion date and an explanation of the reasons why additional time is required.

Upon request, the NYISO shall provide each Class Year Project supporting

documentation, workpapers, and databases or data developed in the preparation of the Class Year 
Interconnection Facilities Study, subject to non-disclosure arrangements consistent with Section

30.13.1.

30.8.4	Study Report Meeting

Within ten (10) Business Days of providing a draft Class Year Interconnection Facilities 
Study report to Class Year Projects, the NYISO and Connecting Transmission Owners and 
Affected Transmission Owners shall meet with Developers (and Interconnection Customers, as 
applicable) for Class Year Projects to discuss the results of the Class Year Interconnection 
Facilities Study.

30.8.5	Re-Study

If re-study of the Class Year Interconnection Facilities Study and cost allocation report is 
required pursuant to Section 25.8.2 and Section 25.8.3 of Attachment S, NYISO shall so notify

Class Year Projects and conduct such re-study in accordance with the requirements of

Attachment S.  Any cost of re-study shall be borne by the Class Year Projects being re-studied.

30.11	Standard Large Generator Interconnection Agreement (LGIA)

30.11.1	Tender

As soon as practicable upon completion of the Developer decision process and

satisfaction of Security posting requirements described in Section 25.8 of Attachment S,

acceptance by the Developer of its Attachment S cost allocation, the NYISO shall tender to the 
Developer and Connecting Transmission Owner a draft Standard Large Generator 
Interconnection Agreement (“LGIA”) together with draft appendices completed to the extent 
practicable.  The draft Standard Large Generator Interconnection Agreement shall be in the form 
of the NYISO’s Commission-approved Standard Large Generator Interconnection Agreement, 
which is in Appendix 6 to this Attachment X.  Within six (6) months after the date the NYISO 
tenders the draft LGIA, the Developer must have satisfied the applicable regulatory milestone 
described in Section 25.6.2.3.1.1.  If the Developer has not done so,  the NYISO will withdraw 
the project pursuant to Sections 25.6.2.3 of Attachment S to the OATT and pursuant to Section

30.3.6 of this Attachment X.

30.11.2	Negotiation

Notwithstanding Section 30.11.1, at the request of the Developer the NYISO and

Connecting Transmission Owner shall begin negotiations with the Developer concerning the

LGIA and its appendices at any time after the Developer executes the Class Year Interconnection 
Facilities Study Agreement.  The NYISO, Connecting Transmission Owner and the Developer 
shall finalize the appendices and negotiate concerning any disputed provisions of the draft LGIA 
and its appendices subject to the six (6) month time limitation specified below in this Section

30.11.2.  If the Developer determines that negotiations are at an impasse, it may request

termination of the negotiations at any time after tender of the draft LGIA pursuant to Section

30.11.1 and request submission of the unexecuted LGIA to FERC or initiate Dispute Resolution procedures pursuant to Section 30.13.5.  If the Developer requests termination of the 
negotiations, but within sixty (60) Calendar Days thereafter fails to request either the filing of the unexecuted LGIA or initiate Dispute Resolution, it shall be deemed to have withdrawn its 
Interconnection Request.  Unless otherwise agreed by the Parties, if the Developer has not 
executed the LGIA, requested filing of an unexecuted LGIA, or initiated Dispute Resolution 
procedures pursuant to Section 30.13.5 within six (6) months of tender of draft LGIA, it shall be deemed to have withdrawn its Interconnection Request.

30.11.3	Execution and Filing

Within fifteen (15) Business Days after receipt of the executed LGIA, the Developer shall 
provide the NYISO and Connecting Transmission Owner (A) reasonable evidence of continued 
Site Control or (B) posting of $250,000, non-refundable additional security with the Connecting 
Transmission Owner, which shall be applied toward future construction costs.  At the same time, 
Developer also shall provide the NYISO and Connecting Transmission Owner reasonable 
evidence that one or more of the following milestones in the development of the Large 
Generating Facility, at the Developer election, has been achieved: (i) the execution of a contract 
for the supply or transportation of fuel to the Large Generating Facility; (ii) the execution of a 
contract for the supply of cooling water to the Large Generating Facility; (iii) execution of a 
contract for the engineering for, procurement of major equipment for, or construction of, the 
Large Generating Facility; (iv) execution of a contract for the sale of electric energy or capacity 
from the Large Generating Facility; or (v) application for an air, water, or land use permit. 
	The Developer shall either: (i) execute three (3) originals of the tendered Standard Large Generator Interconnection Agreement and return them to the NYISO and Connecting

Transmission Owner; or (ii) request in writing that the NYISO and Connecting Transmission 
Owner file with FERC an LGIA in unexecuted form.  As soon as practicable, but not later than 
ten (10) Business Days after receiving either the two executed originals of the tendered LGIA (if 
it does not conform with a Commission-approved standard form of interconnection agreement) 
or the request to file an unexecuted LGIA, the NYISO and Connecting Transmission Owner 
shall file the LGIA with FERC.  The NYISO will draft the portions of the LGIA and appendices 
that are in dispute and assume the burden of justifying any departure from the pro forma LGIA 
and appendices.  The NYISO will provide its explanation of any matters as to which the Parties 
disagree and support for the costs that the Connecting Transmission Owner proposes to charge to 
the Developer under the LGIA.  An unexecuted LGIA should contain terms and conditions 
deemed appropriate by the NYISO for the Interconnection Request.  The Connecting 
Transmission Owner will provide in the filing any comments it has on the unexecuted 
agreement, including any alternative positions, it may have with respect to the disputed 
provisions.  If the Parties agree to proceed with design, procurement, and construction of 
facilities and upgrades under the agreed-upon terms of the unexecuted LGIA, they may proceed 
pending Commission action.

30.11.4 	Commencement of Interconnection Activities

If the Developer executes the final Standard Large Generator Interconnection Agreement, the NYISO, Connecting Transmission Owner and the Developer shall perform their respective obligations in accordance with the terms of the LGIA, subject to modification by FERC.  Upon submission of an unexecuted LGIA in accordance with Section 30.11.3, the Parties shall 
promptly comply with the unexecuted LGIA, subject to modification by FERC.

30.11.5 	Termination of the Standard Large Generator Interconnection Agreement

The classification of a Large Generating Facility as Retired will be grounds for the

termination of its Standard Large Facility Interconnection Agreement (LGIA).   The NYISO will 
file with the Federal Energy Regulatory Commission a notice of termination of the LGIA as soon 
as practicable after the Large Generating Facility is Retired.  The termination of a non-
conforming pro forma LGIA will be effective only upon acceptance by the Federal Energy 
Regulatory Commission of the notice of termination and proposed effective date.  Upon the 
effective date of the termination of the LGIA access to the Point of Interconnection of the Large 
Generating Facility will be available on a non-discriminatory basis pursuant to the ISO’s 
applicable interconnection and transmission expansion processes and procedures.