UNITED STATES OF AMERICA 
	BEFORE THE

FEDERAL ENERGY REGULATORY COMMISSION

)

Reform of Generator Interconnection	)	Docket No. RM17-8-000

Procedures and Agreements	)

)

COMMENTS OF

THE NEW YORK INDEPENDENT SYSTEM OPERATOR, INC.

The New York Independent System Operator, Inc. (“NYISO”) respectfully submits these 
comments in response to the December 15, 2016 Notice of Proposed Rulemaking (“NOPR”) 
issued by the Federal Energy Regulatory Commission (“Commission”) that proposes to revise 
the Commission’s regulations, the pro forma Large Generator Interconnection Procedures (“Pro 
Forma LGIP”), and the pro forma Large Generator Interconnection Agreement (“Pro Forma 
LGIA”).1

If the Commission decides to proceed with a rulemaking at this time, the NYISO urges the Commission to require reforms to the interconnection process without confining parties to specific tariff language and mechanisms through which such reforms are best addressed.  Due to the unique interconnection issues in each region and the significant Commission-approved 
variations among the regional interconnection processes, the NYISO urges the Commission to allow parties to tailor appropriate tariff revisions and/or demonstrate to the Commission how 
they are addressing, or plan to address, the NOPR’s concerns in a manner consistent with or 
superior to the NOPR’s proposed revisions.

1 Reform of Generator Interconnection Procedures and Agreements, Notice of Proposed Rulemaking, Docket No. RM17-8-000 (December 15, 2016) (“NOPR”).

The uniform revisions proposed by way of specific language in the NOPR revise pro

forma provisions that have evolved significantly over time to address the unique situations that exist in all regions of the country.  Since Order No. 2003, the NYISO, along with the other 
Independent System Operators (“ISOs”) and Regional Transmission Organizations (“RTOs”), in coordination with regional stakeholders, have proposed, and the Commission has accepted, 
significant variations from the Pro Forma LGIP and Pro Forma LGIA that reflect the specific circumstances of their respective regions.

The NYISO’s interconnection process has evolved based on an ongoing and collaborative 
effort with its stakeholders to develop and implement interconnection process improvements, 
which are driven largely by the input of stakeholders based on their experience in the 
interconnection process in New York.  As a result, the NYISO’s interconnection process has 
evolved from the Pro Forma LGIP and Pro Forma LGIA to become carefully tailored to 
circumstances unique to New York.  The NYISO and its stakeholders are currently in the process 
of developing further process improvements as part of a comprehensive queue reform effort 
involving over 30 different process enhancements, which the NYISO anticipates filing with the 
Commission later this year, following stakeholder approval.2  The NYISO requests that, in place 
of a one-size-fits-all rulemaking, the Commission allow regional efforts, such as those currently 
underway by the NYISO, to drive the necessary improvements to the interconnection process. 
	The NYISO would support a Commission requirement that each ISO and RTO consider and address, as applicable, the specific concerns raised in the NOPR through its own governance process.  The NYISO would further support a requirement that each ISO and RTO report to the

2 See Proposed Interconnection Queue Improvement List - 2017 Comprehensive Queue Reform Initiative, the most recent version of which is at Attachment I; see also, Comprehensive Interconnection Process 
Improvements Initiative - Parts 1 and 2 posted for the April 3, 2017 Interconnection Issues Task Force at 
Attachments II and III.

2

Commission regarding such efforts on an annual basis in order for the Commission to track each region’s progress in addressing the interconnection-related concerns that prompted the NOPR. 
	The NYISO submits specific comments on each of the NOPR’s proposals in Part III 
below for the Commission’s consideration; however, the NYISO respectfully requests that the 
Commission continue to permit ISO/RTOs to seek “independent entity variations” from any 
revisions to the Pro Forma LGIP and Pro Forma LGIA to enable them to customize the proposed revisions as necessary to fit regional needs.3  Absent such variations, the NYISO would be 
required to significantly alter the framework of its interconnection process.  This would have the unfortunate effect of overturning long-settled and understood expectations and disrupting the 
careful balancing of interests in the process that already have been broadly agreed upon by 
NYISO stakeholders and accepted by the Commission.

II.	BACKGROUND

The NYISO’s Standard Large Facility Interconnection Procedures4 contained in

Attachment X of its Open Access Transmission Tariff (“OATT”) (“NYISO LFIP”) establish the 
requirements by which the NYISO, in coordination with the relevant Connecting Transmission 
Owner,5 administers the proposed interconnection of a Large Facility greater than 20 MW to the 
New York State Transmission System or Distribution System.6  The NYISO LFIP were

3 See NOPR at P 232.

4 Capitalized terms not otherwise defined in this letter have the meaning set forth in Attachments X and Z of the NYISO’s Open Access Transmission Tariff (“OATT”), as amended by the enclosed proposed revisions to Attachments X and Z of the OATT.

5 The term “Transmission Provider” as defined in the Pro Forma LGIP encompasses both the NYISO and 
the New York Transmission Owners.  The NYISO LFIP, with its Commission-approved variations from the Pro 
Forma LGIP, assigns the responsibilities of “Transmission Providers” to the NYISO, as the system operator, and the 
New York Transmission Owners, as the owners of the impacted transmission and distribution facilities in New 
York.

6 The term “Large Facility” as defined in Attachment X of the NYISO OATT concerns a Large Generating 
Facility or a Merchant Transmission Facility.  With the exception of controllable transmission facilities that seek 
Capacity Resource Interconnection Service and transmission facilities proposed by a Transmission Owner as part of

3

developed with extensive stakeholder involvement in response to the Commission’s Order No. 
2003.7

In Order No. 2003, the Commission acknowledged the differing characteristics of each 
region and provided ISOs and RTOs with the flexibility to seek independent entity variations 
from the final rule “to customize its interconnection procedures and agreements to fit regional 
needs.”8  Accordingly, while generally following the Pro Forma LGIP and Pro Forma LGIA, the 
NYISO LFIP and the NYISO’s Standard Large Generator Interconnection Agreement (“NYISO 
LGIA”) include numerous independent-entity variations accepted by the Commission that are 
specifically tailored to the unique circumstances in New York.  Since Order No. 2003, the 
NYISO, in conjunction with Developer and stakeholder input, has continued to implement 
additional and significant revisions to interconnection process to update and enhance the New 
York-specific interconnection requirements in Attachments P, S, X, and Z of the OATT. 
	In particular, the NYISO’s interconnection process includes significant Commission-
approved variations from the Pro Forma LGIP and other ISOs’ and RTOs’ procedures 
concerning the treatment of proposed projects in the interconnection queue, the scope of

its local plan, the interconnection of transmission facilities are addressed through the NYISO’s separate

Transmission Interconnection Procedures (“TIP”) located in Attachment P of the NYISO OATT.  The TIP are

currently pending at the Commission.  See New York Independent System Operator, Inc., Compliance Filing, Docket 
No. ER13-102-009 (March 22, 2016); Errata Correcting Compliance Filing, Docket No. ER13-102-010 (May 24, 
2016).

7 Standardization of Generator Interconnection Agreements and Procedures, Order No. 2003, FERC Stats. & Regs. ¶ 31,146 (2003) (“Order No. 2003”), order on reh’g, Order No. 2003-A, FERC Stats. & Regs. ¶ 31,160 (“Order No. 2003-A”), order on reh’g, Order No. 2003-B, FERC Stats. & Regs. ¶ 31,171 (2004), order on reh’g, Order No. 2003-C, FERC Stats. & Regs. ¶ 31,190 (2005), aff'd sub nom. Nat’l Ass’n of Regulatory Util. Comm’rs v. FERC, 475 F.3d 1277 (D.C. Cir. 2007).

8 Order No. 2003 at P 827.

4

interconnection studies, and the process for allocating the cost of System Upgrade Facilities and 
System Deliverability Upgrades.9  Some of the more significant variations are highlighted below.

A.    The NYISO’s Unique Interconnection Queue Provides for Parallel, Rather 
	than Sequential, Project Evaluation

The NYISO’s interconnection queue approach differs significantly from the “hard” or 
“serial” interconnection queue approach used in other ISO/RTO regions.  Once a Developer has 
submitted a valid Interconnection Request for its project and the project has been included in the 
NYISO’s interconnection queue, the Developer’s advancement through the NYISO’s 
interconnection process, including the identification of required facilities and related costs to 
reliably interconnect its project, is largely driven by its own project development and not the 
progress, or lack thereof, of other projects with higher Queue Positions (i.e., Interconnection 
Requests that preceded the project).  While the NYISO takes Queue Position into account in 
determining the order of performing interconnection studies,10 it is only one of the factors that 
impact the manner in which the NYISO performs its interconnection studies.  To the extent 
practicable, the NYISO evaluates Interconnection Requests in parallel, not sequentially. 
	The NYISO does not include proposed projects in the base case of its interconnection studies simply because the project has a higher Queue Position than the studied project.  Rather, a project is only included in the base case when it has satisfied certain requirements, including its Developer’s acceptance of the cost of, and provision of security for, any upgrades identified in the Class Year Interconnection Facilities Study (“Class Year Study”) to interconnect its project.

9 The Commission refers to “Interconnection Customers” in the NOPR.  In these comments, the NYISO uses the term “Developer,” which is the term used in Attachments X and S of the OATT to refer to a project 
developer for a Large Facility.  In addition, the Commission refers to “network upgrades” in the NOPR.  In these comments, the NYISO uses the following terms defined in Attachments S and X of the OATT: “System Upgrade Facilities,” which refer to the upgrades required to reliably interconnect a Large Facility, and “System Deliverability Upgrades,” which refer to the upgrades required to make a Large Facility deliverable.

10 See OATT, Attachment X Section 30.4.1.

5

For this reason, when studying a Developer’s proposed project, the NYISO does not model in its 
base case other projects that are not progressing in their development simply because they have a 
higher Queue Position.  Therefore, unlike other ISOs and RTOs, the NYISO does not require a 
process to continuously re-study the facilities, and related costs, required to interconnect a 
project if other projects with higher Queue Positions withdraw or fail to progress. 
	In addition, as described below, a project may only advance to be studied with a cluster of other projects in the final Class Year Study when it has met certain eligibility requirements, the satisfaction of which are independent of its Queue Position.  That is, a project with a lower Queue Position that has satisfied the required eligibility requirements may advance into the Class Year Study prior to a project with a higher Queue Position that has not progressed sufficiently to satisfy the eligibility requirements.

B. 	Other Unique Elements of the NYISO’s Interconnection Study Process

The NYISO LFIP call for three successive interconnection studies of each proposed

project, which provide for increasingly detailed analysis.  First is the Interconnection Feasibility 
Study (“Feasibility Study”), which is a high-level, single-project evaluation of the configuration 
and local system impacts.  It includes thermal, voltage and short circuit analyses that indicate 
potential overloads the project may cause.  The Feasibility Study identifies and provides good-
faith non-binding cost estimates for the System Upgrade Facilities and Connecting Transmission 
Owner’s Attachment Facilities that are needed solely as a result of the project. 
	The second study is the Interconnection System Reliability Impact Study (“SRIS”), a detailed single-project study that evaluates the project’s impact on transfer capability and system reliability.  The SRIS consists of short circuit, stability and power flow analyses.  The SRIS 
identifies the facilities required for the project to reliably interconnect under the NYISO’s

6

Minimum Interconnection Standard - i.e., the identification of adverse impacts to reliability caused by the project that would prevent it from obtaining Energy Resource Interconnection Service (“ERIS”) without upgrades to mitigate such impacts.11  The SRIS report includes not only a detailed description of such required facilities and equipment, but also includes a good faith cost estimate and estimated construction schedule.

Among the unique variations in the NYISO’s SRIS is the Developer’s ability to opt for an additional preliminary evaluation of its proposed facility under the NYISO’s Deliverability Interconnection Standard.  This was added to the NYISO LFIP in 2013 in an effort to provide Developers with additional information earlier in the process.  This option provides the 
Developer with a preliminary indication of potential deliverability issues, reveals the possibility that System Deliverability Upgrades may be required for the Developer to obtain Capacity 
Resource Interconnection Service (“CRIS”), and provides a preliminary cost estimate for 
potential System Deliverability Upgrades.12

The final study in the interconnection process is the Class Year Study, which is a

construct unique to the NYISO, the continued use of which most stakeholders support.13  There 
is no queue prioritization of projects in the Class Year Study.  Through this unique clustered

11 ERIS is the basic interconnection service that enables a Developer, subject to other requirements in the NYISO’s tariffs, to provide Energy and Ancillary Services in the NYISO-administered markets.  For purposes of 
ERIS, the NYISO evaluates whether a project can reliably interconnect its facility to the New York State 
Transmission System or Distribution System under the NYISO’s Minimum Interconnection Standard and identifies and allocates the costs of the Connecting Transmission Owner’s Attachment Facilities and any System Upgrade 
Facilities required for the project.

12 A project seeking to be eligible to participate in the NYISO-administered Installed Capacity market must obtain in addition to ERIS a second level of interconnection service - CRIS.  For purposes of CRIS, the NYISO evaluates whether a project is deliverable under the NYISO’s Deliverability Interconnection Standard and identifies and allocates the costs of any System Deliverability Upgrades required to make the project deliverable.

13 In discussions with stakeholders regarding suggested revisions to the Class Year Study process in 2012 and again in 2016, the majority of stakeholders indicated a desire to retain the Class Year Study structure with its detailed cost estimates and other study outputs.

7

study, the NYISO is able to equitably allocate upgrade costs and generate detailed cost estimates that provide reasonable accuracy on upgrade costs.

III.	COMMENTS

A.	Interconnection Process Improvements Will Be Most Effective if

Developed on a Regional Level

The NYISO acknowledges that improvements can be made to the interconnection

process.  Indeed, AWEA and other stakeholders have a number of valid suggestions for

improvement of the interconnection process that the NYISO has already started to address.14 While the NYISO supports initiatives to improve the interconnection processes, it urges the Commission to allow for regionally tailored solutions to these concerns.

It is through unique and regionally tailored efforts that reforms are likely to have the most 
success in addressing the concerns raised by AWEA in its initial petition.15  As demonstrated by 
the attached list of pending proposals to reform the NYISO’s interconnection procedures, many 
of these issues are unique to the NYISO and its Class Year Study process - reforms that would 
be wholly inapplicable to other ISOs and RTOs.  Given the extensive variations among 
interconnection procedures across regions, a nationwide rulemaking is not the appropriate 
vehicle for reform and would require the Commission to address a significant number of 
independent entity variations16 from ISOs and RTOs in response to many of the new uniform pro 
forma rules proposed in the NOPR.

The Commission has often acknowledged that each region has unique characteristics and 
has, accordingly, accepted numerous and significant variations from the Pro Forma LGIP and

14 See Attachments I, II and III (describing the interconnection process improvements the NYISO is discussing with stakeholders).

15 Petition for Rulemaking of the American Wind Energy Association to Revise Generator Interconnection Rules and Procedures, Docket No. RM15-21-000 (June 19, 2015) (“AWEA Petition”).

16 See NOPR at P 232.

8

Pro Forma LGIA across the regions.17  As with the interconnection procedures of other ISOs and 
RTOs, the NYISO’s LFIP contains rules that have evolved over time and include significant 
differences from the Pro Forma LGIP and other ISOs’ and RTOs’ rules.  The NYISO and its 
stakeholders have spent substantial time and resources over the last decade in refining and 
enhancing these procedures in light of circumstances and concerns specific to New York.  These 
procedures do not exist in a vacuum but rather are intertwined with the NYISO’s market and 
planning requirements and reflect unique market rules (e.g., the absence of physical transmission 
rights), regional and state reliability requirements, state siting requirements, and a particular 
resource mix and transmission topography.  The procedures cannot be abruptly changed in the 
manner proposed in the NOPR without potentially creating adverse impacts in diverse areas.18 
	As the concerns raised in the NOPR are not universally applicable, the proposed uniform solutions are often inapplicable or conflict with regional procedures that the Commission has previously accepted in the context of a regional variation.  Recognizing the unique aspects to each region’s interconnection procedures, when the Commission has identified the need for 
interconnection process improvements across regions, it has generally left it up to the individual 
ISOs and RTOs to address the issue with their stakeholders within the context of their region.19

17See Order No. 2003 at P 827 (acknowledging the differing characteristics of each region and providing 
ISO/RTOs with the flexibility to seek independent entity variations from the final rule “to customize its 
interconnection procedures and agreements to fit regional needs”); see also Interconnection Queuing Practices, 
Order on Technical Conference, 122 FERC ¶ 61,252 (March 20, 2008) (“Queue Management Order”) at P 8.

18 For example, certain NOPR proposals require significant re-allocation of administrative resources

currently devoted to performing interconnection studies.  Other proposals require information to be posted publicly on OASIS that could reveal Critical Energy Infrastructure Information.  Other proposals require information to be made available that is unique to ISOs and RTOs that engage in restudies or that offer physical transmission rights. In order for the NYISO, which does not offer physical transmission rights, to post the congestion and curtailment information required by the NOPR, could require the NYISO to undergo significant software modifications to make information available that has little if any benefit to prospective Developers.

19 See e.g., Interconnection for Wind Energy, Order No. 661, FERC Stats. & Regs. ¶ 31,186 (2005) (“Order 
No. 661), order on reh’g, Order No. 661-A, FERC Stats. & Regs. ¶ 31,198 (“Order No. 661-A”).  In Order 661, the 
Commission responded to concerns regarding the interconnection of wind generation not by replacing regionally-
tailored interconnection procedures; rather, the Commission supplemented the existing procedures with a wind-

9

For example, in its order regarding Interconnection Queuing Practices in Docket No. AD08-2-
000, the Commission identified concerns that Interconnection Requests for Large Generating 
Facilities were not being efficiently processed due to surges in the volume of new generation, 
including an unprecedented demand in some regions for renewable generation.20  In its Order the 
Commission stated:

While the Commission could take action to impose solutions, and may need to do 
so if the RTOs and ISOs do not act themselves, we agree that we should allow 
each region the opportunity to propose its own solution. Although there are some 
common issues affecting all the regions, there are also significant differences in 
the nature and scope of the problem from region to region; there may, therefore, 
be no one right answer for how to improve queue management. Further, any 
solution involves a balancing of interests. Therefore, we urge the RTOs and ISOs 
to work with their stakeholders to develop consensus proposals.21

ISOs and RTOs responded to the Commission’s Queue Management Order by submitting 
numerous reforms tailored to their individual processes.22  ISOs and RTOs have not concluded 
their reforms but rather continue to work with their stakeholders to identify additional process 
improvements that address Developers’ concerns, including many of the concerns raised in the 
NOPR.  In place of a nationwide rulemaking, the Commission should instead require ISOs and 
RTOs to demonstrate the manner in which they are or plan to improve their interconnection

processes in light of the concerns raised in the NOPR.

The NYISO would support a requirement that it address applicable concerns in its

stakeholder process, and would also support a Commission requirement that the ISOs and RTOs submit a report to the Commission tracking the manner in which we have addressed or are 
addressing interconnection concerns.  Such a process would have several benefits over a

related addendum.  Notably, as with Order No. 2003, the Commission permitted independent entity variations under Order No. 661 as well.  See Order No. 661-A at PP 41-46.

20 Queue Management Order at P 3.

21 Queue Management Order at P 8.

22 NOPR at P 27.

10

nationwide rulemaking.  First, allowing the ISOs and RTOs to address these issues in each of our unique stakeholder processes would (a) eliminate the host of independent entity variations the 
Commission would certainly receive in compliance filings; and (b) provide for regionally 
tailored solutions to the unique issues facing each region.  Second, such a reporting requirement would provide accountability on the part of the ISOs and RTOs to address the interconnection 
concerns that prompted the NOPR.

The NYISO has 36 proposals before stakeholders now, all of which are designed to

improve the interconnection process.  Through this comprehensive interconnection process

improvement initiative, the NYISO seeks to address the very concerns that prompted this NOPR. The NYISO’s proposals, summarized in Attachment I, have the following objectives:

•	to increase administrative efficiency;

•	to increase transparency;

•	to expedite the interconnection study process;

•	to allow Developers to proceed through the entire interconnection process more

quickly, particularly the Class Year Study, while allowing as much flexibility as

possible;

•	to clarify existing practices/procedures that Developers find confusing; and

•	to update practices and procedures.

Through a collaborative queue improvement process with its stakeholders, the NYISO 
identified potential process improvements in late 2016.  Based on stakeholder input, the NYISO 
starting vetting detailed proposals with stakeholders in the Interconnection Issues Task Force 
(“IITF”) - a subcommittee of the NYISO’s Operating Committee - on March 2, 2017.  Further 
details were presented to stakeholders on April 3, 2017.23  The NYISO plans to provide draft 
tariff language to stakeholders at the May and June IITF meetings and to request approval from

23 See Attachments II and III.

11

the NYISO’s Operating Committee, Management Committee and Board of Directors for a

Section 205 filing in July and August of 2017.  As a result of this interconnection queue reform 
initiative, the NYISO anticipates submitting a Section 205 filing to Commission later this year 
that will include comprehensive tariff revisions that the NYISO believes will significantly 
improve its interconnection procedures and address the concerns that prompted the NOPR.

B. 	Comments on Specific Revisions Proposed in the NOPR

The NYISO supports the Commission’s general goals set forth in the NOPR that

interconnection processes provide timely and accurate information, are transparent, and have the 
flexibility to accommodate new technologies.24  The NYISO currently administers its 
interconnection process25 and works with stakeholders to develop process improvements, as 
needed, consistent with these goals.26  However, as detailed below, many of the Commission’s 
proposed revisions in the NOPR are either inapplicable to the New York-specific rules 
previously accepted by the Commission or are contrary to accomplishing the stated goals in the 
NOPR and, if implemented, could add delay and cost to the interconnection study process.

1.  Re-Studies

The Commission proposes to revise the Pro Forma LGIP to require transmission

providers that conduct cluster studies to conduct re-studies on a scheduled, periodic basis.27

The Commission further seeks comments regarding whether regions should retain discretion to

24 See NOPR at PP 4-5.

25 See Attachments P, S, X, and Z of the OATT.

26 Terms with initial capitalization that are not otherwise defined herein shall have the meaning set forth in 
Attachments S and X of the NYISO’s Open Access Transmission Tariff (“OATT”), or, if not defined therein, in 
Section 1 of the OATT or Section 2 of the NYISO’s Market Administration and Control Area Services Tariff 
(“Services Tariff”).

27 NOPR at PP 46-49.

12

conduct re-studies outside of these established schedules and whether further reforms are needed to improve the transparency and accuracy of re-study triggers.28

As noted above, the NYISO does not perform re-studies in the NYISO LFIP to modify 
the upgrades required for projects or their cost estimates based on changes to higher-queued 
projects or system conditions.  The NYISO may perform clustered interconnection studies 
outside of its Class Year Study process in its Small Generator Interconnection Procedures29 and 
Transmission Interconnection Procedures;30 however, in performing such clustered studies, the 
NYISO does not study every prior project in the interconnection queue and these procedures do 
not provide for re-studies.  For this reason, the NYISO does not take a position regarding the 
Commission’s proposed revisions to the re-study requirements in the Pro Forma LGIP that may 
be applicable to other transmission providers.  The NYISO would anticipate requesting an 
independent entity variation from any revisions that would adversely impact its Class Year Study 
process.

As described above, the NYISO studies a cluster of projects in its Class Year Study that 
have each satisfied certain eligibility requirements, regardless of their queue position.  The Class 
Year Study will determine the facilities, and related costs, to interconnect all projects in the Class 
Year.  If one or more Developers decline to accept their respective costs, the NYISO will remove 
their projects from the Class Year Study and update the facility and cost information for the 
remaining Developers.  Only when all remaining Developers accept their costs and provide the 
required security will the Class Year Study be final.  This update process is performed in

28 NOPR at PP 50-51.

29 OATT Attachment Z § 32.1.6.

30 OATT, Attachment P § 22.5.2 - currently pending before the Commission in Docket No. ER13-102-009.

13

accordance with tight, tariff-prescribed time frames.31  A Developer is only responsible for

project costs in excess of its secured amount under limited circumstances set forth in Attachment 
S of the OATT.  The NYISO’s process effectively replaces the need for a “re-study” process and 
has the significant effect of providing clarity with respect to cost-sharing of upgrade facilities.

2.  Option to Build

The Commission proposes to revise the Pro Forma LGIA to allow the interconnection customer to unilaterally exercise the option to build.32  The NYISO does not take a position on this proposal.

3.  Self-Funding of Network Upgrades

The Commission proposes to revise the Pro Forma LGIA to require an agreement

between a transmission owner/provider and interconnection customer before the transmission 
owner/provider may elect to initially fund network upgrades.33  The Commission also seeks 
comments regarding the benefits to the interconnection customer of funding or foregoing its 
opportunity to fund network upgrades.34  Finally, the Commission seeks comments on any 
potential harm to the interconnection customer by requiring agreement with the transmission 
owner/provider.35

The NYISO does not take a position on this proposal, since it is not relevant to the

NYISO interconnection process.  The NYISO LGIA does not provide for the Transmission

Owner to self-fund network upgrades in the manner that the Commission is addressing with this

31  The Developer must indicate whether it will accept its respective costs within thirty days of the initial determination and within seven days of subsequent determinations.  NYISO OATT, Attachment S Section 25.8.2. The NYISO must update the facility and cost information within fourteen calendar days.  NYISO OATT, 
Attachment S Section 25.8.3.

32 NOPR at PP 59-63.

33 NOPR at P 71.

34 NOPR at P 73.

35 NOPR at P 73.

14

proposal.36  Specifically, the Commission previously accepted, as an independent entity

variation, the removal of the following language that is included in the Pro Forma LGIA from

Section 11.3 of the NYISO LGIA: “Unless Transmission Provider or Transmission Owner elects 
to fund the capital for the Network Upgrades, they shall be solely funded by Interconnection 
Customer.”

The NYISO’s proposal to remove this language from the NYISO LGIA was accepted by 
the Commission in its Order on the NYISO’s Order No. 2003 compliance filing in which it 
recognized that some transmission providers have permissibly adopted a “but for” pricing 
approach versus the “crediting” pricing approach for transmission service.  Under this “but for” 
pricing approach, the rules set forth in Attachment S of the NYISO OATT allocate to each 
Developer its responsibility for the cost of the net impact of the interconnection of its project on 
the reliability of the transmission system.  The Developer is held responsible for the cost of the 
interconnection facilities that are caused by its project - the facilities that would not be needed 
“but for” the Developer’s project.  Under the NYISO’s cost allocation provisions in Attachment 
S, a Developer is not responsible for the cost of facilities that are required anyway, without the 
construction of its project, to maintain system reliability.  The cost of such facilities is borne by 
Transmission Owners under the NYISO’s cost allocation procedures.

In New York, it is not generally anticipated that the installation of interconnection

facilities required for a project, such as circuit breakers, will improve the deliverability of power 
or reduce system congestion.  Therefore, transmission credits under the “crediting” approach are 
not applicable.  In the event that an interconnection facility does improve the deliverability of

36 The NYISO LFIP allows Developers and Transmissions Owners to enter alternative cost allocation

agreements as long as such agreements do not “increase the cost responsibility or cause a material adverse change in the circumstances as determined by [Attachment S of the NYISO’s OATT] of any Developer or Transmission 
Owner who is not a party to such agreement.”  NYISO OATT, Attachment S Section 25.5.1.

15

power or reduce system congestion, the NYISO’s “but for” process provides for the possibility 
that Incremental Transmission Congestion Contracts (“TCCs”) could be created.  Such TCCs are 
well-defined, long-term and tradable capacity rights (in lieu of transmission credits).37  As the 
Commission recognized in its Order on the NYISO’s Order No. 2003 compliance filing, the 
NYISO’s process is different from the type of “and” pricing that is prohibited by Order No, 2003 
as follows: “Since transmission costs in the NY Control Area are paid for by the load receiving 
the power, the Developer is not stuck paying for both the physical upgrades themselves and the 
right to use them.”38

As a result of the “but for” paradigm in New York, the Transmission Owner’s option to 
self-fund the capital of upgrade facilities is not relevant in the NYISO’s interconnection process. 
For this reason, the NYISO does not take a position regarding the Commission’s proposed 
revisions to the self-funding requirements that may be applicable to other entities.  The NYISO 
would anticipate requesting an independent entity variation from any revisions regarding these 
requirements to maintain its existing exclusion of the self-funding language from the NYISO 
LGIA.

4.  Dispute Resolution

The Commission proposes to revise its regulations to require ISOs and RTOs to establish interconnection dispute resolution procedures that allow a disputing party to unilaterally seek 
dispute resolution and provide for ISO/RTO staff or subcontractors to serve as the neutral 
decision-makers.39

37 See New York Independent System Operator, Inc. and New York Transmission Owners, Order Conditionally Accepting Large Generator Interconnection Procedures and Large Generator Interconnection Agreement, 108 FERC ¶ 61,159 (Aug. 5, 2004) at PP 57-59.

38 Id. at P 58.

39 NOPR at PP 84-85.

16

The NYISO opposes the proposed revisions as unnecessary since they would duplicate 
existing opportunities for dispute resolution offered under the interconnection process.  While 
the NOPR’s proposal appears to be premised on the notion that a party cannot unilaterally invoke 
dispute resolution, the NOPR does not recognize the significant role that existing NYISO 
governance procedures and formal interconnection dispute resolution procedures already serve -
procedures that may be invoked unilaterally by any party to the interconnection process.40 
	Extensive dispute resolution procedures were required by Order No. 200341 and are 
detailed in the Pro Forma LGIP and in Section 30.13.5 of the NYISO’s LGIP.42  These 
procedures allow any party, including the developer, to raise a dispute at any point during the 
process.  When such a dispute arises, the tariff requires a senior representative of each party to be 
designated to meet with the other parties and to attempt to resolve the dispute within 30 days. 
When interconnection disputes arise, the NYISO works with all parties to address the issue 
pursuant to these dispute resolution procedures.

In cases where the complaining party opts to vet its concerns in the NYISO’s governance 
process, the NYISO accommodates such requests and, in response, may propose tariff revisions 
to address the issue in dispute.  In cases in which a party requests dispute resolution, the NYISO 
leads the efforts to facilitate discussions between the designated representatives of the parties to 
timely address the issue.  This process has worked effectively in resolving disputes that can be 
resolved without Commission intervention.  Adding another layer of formal administrative

review within the NYISO’s procedures would likely only serve to make the dispute resolution process lengthier and less efficient.

40 OATT Attachment X § 30.13.5.1.

41 Order No. 2003 at PP 287-291.

42 OATT Attachment X § 30.13.5.

17

The NOPR appears to be considering a role for subcontractors in resolving disputes. 
While the NYISO supports the use of subcontractors as a resource and tool in completing 
interconnection studies, the NYISO is concerned about a framework that would outsource 
responsibility for final technical decisions to subcontractors.  ISOs and RTOs are independent 
entities with the ultimate responsibility of administering their tariffs, including the 
interconnection process.  This obligation is explicitly recognized in Section 30.2.2 of the 
NYISO’s LGIP.43  Moreover, Section 30.13.2 of the NYISO’s LGIP states that even when the 
NYISO uses subcontractors, the NYISO remains obligated to comply with the requirements of 
its tariff.  Therefore, the NYISO would object to any process that would allow a subcontractor’s 
determination—for example, regarding appropriate network upgrades—to override the NYISO’s 
judgment concerning what is required under the tariff and applicable reliability standards.

5.  Caps on Network Upgrade Costs

The Commission seeks comment on whether it should revise the Pro Forma LGIP and 
Pro Forma LGIA to provide for a cost cap that would limit an interconnection customer’s 
network upgrade costs at the higher bound of a transmission provider’s cost estimate plus a 
stated accuracy margin following a certain stage in the interconnection study process.44  The

43 OATT Attachment X, § 30.2.2 provides:

The NYISO shall receive, process and analyze all Interconnection Requests in a 
timely manner as set forth in the Large Facility Interconnection Procedures. As 
described herein, the NYISO will process and analyze all Interconnection

Requests with independence and impartiality, in cooperation with and with input 
from the Developers, Connecting Transmission Owners and other Market 
Participants. The NYISO will perform, oversee or review the Interconnection

Studies  to  ensure  compliance   with  the   Large   Facility  Interconnection 
Procedures. The NYISO will use the same Reasonable Efforts in processing and 
analyzing Interconnection Requests from all Developers, whether or not the

Large  Generating  Facilities  or  Merchant  Transmission  are  owned  by  a Connecting Transmission Owner, its subsidiaries or Affiliates, or others.

44 NOPR at P 95.

18

Commission also seeks comments on how to minimize potential cost shifts to other parties if a 
cap is imposed and alternate proposals to provide more cost certainty.45 
	The NYISO’s tariff already provides for detailed provisions regarding how to allocate actual costs that exceed cost estimates from the Class Year Study.  Specifically, Attachment S of the NYISO OATT establishes an explicit Commission-approved process that was developed by the NYISO and its stakeholders to allocate the responsibility for the costs of facilities that are above the estimated cost amount determined in the Class Year Study.  Pursuant to that process, a Developer must accept, and provide security for, the estimated cost of facilities required to 
reliably interconnect its project if it wants to proceed to interconnect its project.  The Developer 
is not responsible for costs above the accepted and secured amount, except in the specific 
circumstances described in Attachment S—e.g., changes to the design or operating 
characteristics of the project that impact the scope or cost of related upgrades.46  In determining 
which party would be responsible for costs above the estimated amount, Section 25.8.6.4 of 
Attachment S of the NYISO OATT provides detailed cost causation principles to allocate such 
cost responsibility among the Developer and Connecting Transmission Owners in a well-defined 
and balanced manner.

Adoption of bright line cost caps would likely require more detailed studies and cost 
estimates at, or prior to, the Class Year Study stage.  Such additional detail would come at 
increased cost and time, both of which are contrary to the stated principles of the NOPR.  For 
this reason, the NYISO does not support the Commission’s proposed revisions to develop a cost 
cap requirement in the Pro Forma LGIP and Pro Forma LGIA.  To the extent the Commission 
adopts such a cost cap proposal, the NYISO anticipates requesting an independent entity

45 NOPR at P 95.

46 OATT Attachment S § 25.8.6.4.

19

variation from any revisions that would adversely impact the actual cost provisions in its tariff that were painstakingly developed by the NYISO and its stakeholders to carefully balance the interest of, and the potential for cost shifts among, Developers, Transmission Owners, and Load Serving Entities in New York.

6.  Contingent Facilities

The Commission proposes to revise the Pro Forma LGIP to require transmission

providers to identify contingent facilities,47 detail the methodology for determining such

facilities, and provide the estimated network upgrade costs and in-service completion time of

each such contingent facility, when the information is not commercially sensitive.48  In addition, the Commission seeks comments on how transmission providers currently identify contingent 
facilities, what improvements to existing approaches are recommended, and how the process can be standardized.49

The identification of contingent facilities is not relevant to the NYISO LFIP.  As

described above, the NYISO studies a cluster of projects in its Class Year Study.  The results of 
this study are only final when all Developers remaining in the Class Year have accepted their 
allocation of the costs required for the System Upgrade Facilities necessary to reliably 
interconnect the remaining projects and have provided security in the amount of their respective 
cost allocation.  If one of these Developers then fails to proceed with its project, it forfeits its 
security to the extent necessary to defer its portion of the cost of the upgrades required to reliably 
interconnect the remaining projects in the Class Year.  In addition, in developing its base case to

47 The Commission defines “contingent facilities” as “those unbuilt interconnection facilities and network upgrades upon which the interconnection request’s costs, timing, and study findings are dependent and, if not built, could cause a need for restudies of the interconnection request or a reassessment of network upgrades and/or cost and timing.”  NOPR at P 97.

48 NOPR at PP 103-104.

49 NOPR at P 105.

20

study the reliable interconnection of projects in future Class Years, the NYISO only includes 
facilities that are either already interconnected or projects that have provided the security 
required to cover the costs of necessary upgrades.  For this reason, the NYISO does not take a 
position regarding the Commission’s proposed revisions to the Pro Forma LGIP regarding the 
determination of contingent facilities that may be applicable to other entities.  The NYISO would anticipate requesting an independent entity variation from any revisions that would adversely 
impact its Class Year Study process.

7.  System Modeling and Assumptions

The Commission proposes to revise the Pro Forma LGIP to require that transmission

providers provide on their OASIS sites network models and underlying assumptions (e.g., shift 
factors, dispatch assumptions, load power factors, and power flows) used for interconnection 
studies in their LGIPs.50  The Commission also proposes that non-confidential supporting data be 
included on OASIS and that transmission providers detail the network modeling assumptions 
used during their studies.51  The Commission seeks comments on whether there are other 
specific network model details/underlying assumptions that should be posted on OASIS and 
described in the LGIP and whether transmission providers should provide notice of any 
variations from posted assumptions for a specific study.52  Finally, the Commission seeks 
comments on confidentiality/security concerns regarding posting/describing specific model 
assumptions.53

50 NOPR at P 119.

51 NOPR at PP 109, 118.

52 NOPR at P 120.

53 NOPR at P 121.

21

The NYISO strongly supports transparency with regards to data that can assist potential 
Developers and already provides dispatch assumptions, load power factors, and power flows, 
together with other data and studies.  Rather than posting such data on OASIS (the non-
password-protected portion of the NYISO’s website), the NYISO posts interconnection studies 
with detailed appendices to the password-protected portion of its website because they contain 
CEII.  Pursuant to the NYISO’s procedures to protect against disclosure of CEII, the NYISO 
only posts CEII materials to the password-protected portion of its website that is accessible only 
by individuals who have the appropriate CEII clearance.  Dispatch assumptions, load power 
factors, and power flows are contained in network models that contain CEII.  These network 
models are too large to post on the password-protected portion of the NYISO’s website; 
however, the NYISO has a secure portal, separate from its public website - “NYISO ePlanning”

- that permits Developers with appropriate CEII clearance to access large files such as

interconnection base cases and models.  The NYISO believes this is the appropriate vehicle

through which to make dispatch assumptions, load power factors and power flows available to Developers.

In the NYISO’s interconnection process, the network models containing load power 
factors and power flows are already available on the NYISO’s ePlanning portal to authorized 
Developers and other interested Stakeholders who submit the required CEII forms and are 
approved to receive CEII.  In addition, study assumptions are already detailed in the specific 
study scopes.  Before a Developer even submits an Interconnection Request, it can request the 
standard base cases currently being used by the NYISO for Feasibility Studies and SRISs.  With 
the appropriate CEII approvals, the NYISO can provide the cases to the Developer.  Before a 
study begins, the NYISO also details the specific scope and assumptions (including dispatch

22

assumptions) to be used for each interconnection study.  These details are provided in the

interconnection study forms, study agreements, and appendices to the study agreements.

While the NYISO has no objection to making the above data available through secure 
portals it currently maintains, the NYISO does not support providing shift factors which are not 
informative to NYISO Developers.  First, because shift factors are not as informative in the 
NYISO as they might be in other regions, they provide little, if any, value to Developers in their 
siting determinations.  Shift factors generally only pertain to power flow and thermal analyses, 
which are more applicable to interconnections in ISOs or RTOs that offer physical transmission 
rights.  Shift factors are not applicable to short circuit or system protection issues, and are not 
applicable to voltage or stability issues except to the extent that voltage and stability limitations 
may sometimes be expressed in terms of power flow limits (e.g., voltage or stability-constrained 
transfer limits).  Since the System Upgrade Facilities identified by NYISO for ERIS most often 
address the physical interconnection, system protection and/or short circuit matters, and only 
occasionally address power flow limitations, shift factors are not as relevant to NYISO 
interconnection issues.  Second, in the NYISO, shift factors are calculated as a result of power 
flow analyses, and therefore are not readily available.  Unlike power flows, shift factors are not 
available “off-the-shelf.”  For these reasons, the NYISO opposes providing shift factors to 
prospective Developers.

8.  Congestion/Curtailment Information

The Commission proposes to revise its regulations to require transmission providers to 
post congestion and curtailment information in one location on their OASIS.54  In particular, the 
Commission proposes to require transmission providers to post on OASIS more granular

54 NOPR at P 128.

23

congestion and curtailment information - specifically, information on congestion data

representing (i) total hours of curtailment on all interfaces, (ii) total hours of transmission

provider-ordered generation curtailment and transmission service curtailment due to congestion 
on that facility or interface, (iii) the cause of the congestion (e.g., a congestion or an outage), and (iv) total megawatt hours of curtailment due to lack of transmission for that month.55  The 
Commission proposes that this data be posted on a monthly basis by the 15th day of the following month and maintained for a minimum of three years.56  The Commission seeks comments on the level of detail appropriate for congestion and curtailment information, the frequency of reporting, the length of time reported data should cover, and whether there is interconnection-request-
specific congestion and curtailment information that could be provided to interconnection 
customers as part of the interconnection study process.57  Finally, the Commission proposes to 
revise the Pro Forma LGIP to require transmission providers/owners to provide curtailment and 
congestion information at the scoping meeting.58

The NYISO has historically made available a significant amount of system information 
on its public website, including congestion and curtailment information.59  The NYISO’s public

55 NOPR at P 130.

56 NOPR at P 130.

57 NOPR at P 132.

58 NOPR at P 133.

59 This includes (1) aggregate statewide wind curtailment information every month (See, e.g.,  NYISO Operations Metrics Report an example of which is available at the following link:

http://www.nyiso.com/public/webdocs/markets_operations/committees/mc/meeting_materials/2015-08-

26/Agenda%2003_Operations_Report.pdf; (2) congestion analysis published in the biennial Congestion Assessment and Resource Integration Study (“CARIS”) and, in years in which the CARIS is not published, such analysis appears in the Reliability Needs Assessment (See, e.g., the 2013 CARIS Report, available at:

http://www.nyiso.com/public/webdocs/markets_operations/services/planning/Planning_Studies/Economic_Planning 
_Studies_(CARIS)/CARIS_Final_Reports/2013_CARIS_Final_Report.pdf) and

https://www.nyiso.com/public/webdocs/markets_operations/services/planning/Planning_Studies/Reliability_Plannin 
g_Studies/Reliability_Assessment_Documents/2016RNA_Final_Oct18_2016.pdf and (3) additional data specific to renewable resources (See, e.g., the NYISO’s 2010 Wind Study, providing a detailed analysis of constraints, 
estimates of bottled wind, and required transmission upgrades at varying levels of wind penetration).

24

website allows users to generate custom reports that identify real-time limiting constraints on a five-minute basis for historic operating days.  Such reports provide the five-minute timestamp, the limiting facility, the specific limiting contingency and the constraint cost.60  This information provides Developers with insight regarding which areas of the transmission system are 
constrained by economic dispatch.

With respect to congestion, NYISO posts all active constraints, and their associated 
shadow prices, with every real-time run of its security constrained dispatch system software 
model (nominally every 5-minutes).  In addition, NYISO produces an LBMP for every pricing point in the NYISO’s footprint with every real-time run, and this LBMP includes the marginal 
cost of congestion.  Therefore, a potential interconnecting customer could use the NYISO’s 
LBMP data to examine the frequency with which the LBMP (at their interconnection point) falls at or below their own anticipated costs, which can give them a good idea of how often they 
would not be fully economic to generate.

With respect to curtailments, unlike regions in which firm transmission service is

available, NYISO does not typically curtail generation in the manner assumed by the NOPR. 
Rather, in the face of system constraints, the NYISO economically dispatches resources higher 
or lower based on their impacts to the constraints.  This is not “curtailment” in the sense it is 
used in the NOPR; rather it is an economic signal to the facility to reduce its output when 
LBMPs fall at or below the facility’s offers.  The NYISO does not have firm or non-firm 
transmission service that is separately curtailed like other regions.  In the NYISO, such 
transmission service is inherently included to the extent that the resource is economic to provide

60 These reports are available publicly on the NYISO’s website at

http://www.nyiso.com/public/markets_operations/market_data/custom_report/index.jsp?report=limiting_constraints.

25

energy.  Therefore, the curtailment data requested by AWEA and proposed in the NOPR would not be useful data to Developers seeking to interconnect in New York.

Indeed, the NYISO may not even have the capability to provide certain data proposed by 
the NOPR.  As the Commission is aware and has previously approved, the NYISO offers Open 
Access based upon a “financial reservation” transmission model, which materially differs from 
the “physical reservation” transmission model contemplated by the Order No. 890 pro forma 
OATT.61  For example, the information conveyed by the NYISO’s Available Transfer Capability 
(“ATC”) largely differs from physical reservation ISO/RTO regimes because it is not a 
determinant as to whether additional requests for transmission can be satisfied.62  Based on 
numerous compliance filings under Order No. 890 and No. 890-A and various waivers filed and 
approved by the Commission, the NYISO is not obligated to maintain and post the same OASIS-
related information as RTOs and ISOs with a physical reservation transmission system.63 
	The information the NYISO can provide that appears most responsive to AWEA’s 
concerns is either (1) information regarding the extent to which a facility is likely to be required

61  See New York Independent System Operator, Inc., 123 FERC ¶ 61,134 (2008), at PP 8-13; New York 
Independent System Operator, Inc., Letter Order on Compliance Filing, Docket No. OA08-13-003 (November 12, 
2008); New York Independent System Operator, Inc., Compliance with Order No. 890, Docket No. OA08-13-000 
(April 11, 2008); New York Independent System Operator, Inc., Compliance Filing, Docket No. OA08-13-000 
(October 11, 2007).

62  Request for Limited OASIS Waivers, Docket No. EL99-77-000 (July 9, 1999), at pp 5-6; see also New York Independent System Operator, Inc., Filing in Compliance with May 7, 2008 Order, Docket No. OA08-13-003 (June 6, 2008), at pp 4-6; New York Independent System Operator, Inc., Filing in Compliance with Order No. 890-
A, Docket No. OA08-107-000 (April 15, 2008), at pp 8-11; see also New York Independent System Operator, Inc., 130 FERC ¶ 61,104 (2010), at PP 9-14.

63 See New York Independent System Operator, Inc., Letter Order, Docket Nos. ER11-2048-003, -004 (June 6, 2011); New York Independent System Operator, Inc., 133 FERC ¶ 61,208 (2010), at PP 12-13 (granting the 
NYISO’s amended waiver request from OASIS posting requirements that were incompatible with the NYISO’s 
transmission service); New York Independent System Operator, Inc., 132 FERC ¶ 61,239 (2010), at P 22; New York Independent System Operator, Inc., 125 FERC ¶ 61,274 (December 5, 2008), at PP 8-13; New York Independent 
System Operator, Inc., Letter Order, Docket No. OA08-13-003 (November 12, 2008); New York Independent System Operator, Inc., 127 FERC ¶ 61,005 (2009), at P 7; New York Independent System Operator, Inc., 125 FERC ¶ 
61,275 (2008); New York Independent System Operator, Inc., 94 FERC ¶ 61,215 (2001), at P 61,795; Central 
Hudson Gas & Electric Corp., 88 FERC ¶ 61,253 (1999).

26

to be dispatched down under the Minimum Interconnection Standard - information available in the SRIS; or (2) information that may be gleaned from deliverability analyses performed as part of the NYISO’s Class Year Study and, at the Developer’s option, at the SRIS stage.  This 
information would likely be the most useful to project Developers seeking to determine whether their projects will have to “compete for the as-available transmission capacity” - AWEA’s stated concern in the petition that prompted this NOPR.64

Deliverability under the NYISO OATT is the ability to deliver the aggregate of New

York Control Area (“NYCA”) resources to the aggregate of the NYCA load under summer peak 
load conditions.  This is evaluated by analyzing each proposed project in a Class Year Study 
within its respective Capacity Zone.  In the Class Year Study’s deliverability analysis, the 
NYISO determines the deliverable capacity across specified interfaces within the NYCA.  The 
NYISO’s deliverability evaluations determine whether generation is constrained or “bottled” 
capacity and may not be fully deliverable under all conditions or, in the alternative, whether 
there is available “transfer capability” to accommodate additional generation resources in the 
upstream area.  For the NYISO, such information is already concisely packaged in the most 
recent deliverability analyses rather than through operational data posted on the public website.65 
	In addition to having access to the most recent deliverability analyses from Class Year Studies, Developers can also request deliverability information tailored specifically to their 
project in the SRIS.  Through an interconnection process improvement proposed by the NYISO 
in 2012, and accepted by the Commission in 2013, the NYISO permits Developers to request a

64 AWEA Petition at 38-39.

65 The NYISO’s deliverability analyses from each Class Year Study are available on the password-

protected portion of its website.  As noted above, access to such information can be gained by authorized individuals 
who have completed the appropriate request forms, executed a CEII non-disclosure agreement, demonstrated a 
legitimate business need for the information, and have been approved to obtain CEII under the NYISO’s CEII 
procedures.

27

preliminary deliverability evaluation as part of their SRIS analysis.66  Before this tariff revision, 
the scope of the SRIS included only the evaluation of a project’s impact on the safety and 
reliability of the New York State Transmission System and, if applicable, an Affected System, to 
determine what upgrades are needed under the NYISO Minimum Interconnection Standard.67 
The scope of the SRIS did not include a deliverability analysis which, prior to such tariff 
revisions, was performed only within the Class Year Study process.68  While Developers could 
and may still request the NYISO’s deliverability base case and obtain copies of deliverability 
study reports completed to date, Developers expressed an interest in obtaining information 
regarding potential deliverability issues associated with their projects earlier in the 
interconnection process.  The NYISO addressed this concern through Commission-accepted 
revisions to the NYISO LFIP that allow a Developer to request a preliminary Deliverability 
analysis for its project at the SRIS stage.

In light of the expansive information already provided, the NYISO opposes the

Commission’s proposal to the extent it requires the NYISO to provide additional congestion and curtailment information.  As explained above, additional operational data posted to the NYISO’s public website would not provide the information that AWEA seeks and that the NOPR 
anticipates Developers will find useful.  Due to the differences in the NYISO’s curtailment and congestion management practices, the information that is most relevant for Developers in New York is that which is already available through deliverability analyses which can be requested by the Developer prior to the Class Year Study.

66 New York Independent System Operator, Inc., Order Accepting Tariff Revisions With Modifications, 142 FERC ¶ 61,113 (Issued February 15, 2013).

67 See Attachment X, Section 30.7.3.

68 See Attachment S, Section 25.7.

28

The NYISO does not oppose providing available curtailment and congestion information 
to Developers at the scoping meeting—specifically, to the extent known at the particular Point of 
Interconnection, the amount of bottled capacity that may not be fully deliverable under all 
conditions.  The NYISO’s provision of further detail, however, would expand the scope of the 
scoping meeting and initial studies so as to potentially expand the time, required resources, and 
cost of the NYISO’s interconnection process, in direct contradiction to the stated goals of the 
NOPR.

The NYISO proposes that instead of the proposed OASIS postings, which as noted

above, are neither implementable nor useful to NYISO Developers, the Commission should

consider adding the option of a pre-application request for Large Facilities similar to that

required for the Small Generator Interconnection Procedures (“SGIP”) under Order No. 792.

Under such a procedure, a Large Facility Developer could complete a request form with

information about a proposed or contemplated Point of Interconnection and, based on the

information provided, the NYISO would coordinate with the Connecting Transmission Owner to 
provide information, to the extent it is readily available, such as existing or known constraints 
(e.g., electrical dependencies at the Point of Interconnection, short circuit interrupting capacity 
issues, power quality or stability issues on the circuit, capacity constraints, or secondary 
networks).  This appears to be precisely what the NOPR seeks to obtain for Developers and 
would be much more helpful to a Developer than operational data pulled from OASIS.  This 
information would, by contrast, be tailored to the specific Point of Interconnection contemplated 
by the Developer.  The NYISO urges the Commission to consider such an approach as an 
alternative to requiring cumbersome posting requirements that are not applicable in all regions 
and which can only provide historical data - data that is of little use to a Developer and indeed

29

may be misleading compared to data that could be provided through an interconnection study or in response to a pre-application request.

9.  Electric Storage Resources as Generating Facility

The Commission proposes to revise the definition of “Generating Facility” in the Pro

Forma LGIP and Pro Forma LGIA to include electric storage resources by inserting “and/or

storage for later injection” in the definition.69  The definition of “Generation Facility” in the

NYISO’s LGIP already captures electric storage facilities.  The NYISO therefore does not take a position on these proposed revisions other than to suggest that any revisions to the definition of “Generating Facility” intended to specifically reference energy storage resources reflect not only that the facility may store energy for later injection, but also for withdrawal, as energy storage 
facilities typically do both.

10.  Reporting on Progress of Interconnection Studies

The Commission proposes to revise the Pro Forma LGIP to establish reporting

requirements on transmission providers’ completion of interconnection studies within established 
time frames.70  Specifically, transmission providers must post on their OASIS site, on a quarterly 
basis, detailed statistics related to processing each type of interconnection study and 
interconnection service request withdrawals, which information must be maintained for three 
years.71  If a transmission provider has more than 25% of any study type exceeding study 
deadlines for two consecutive quarters, it must (1) file informational reports at the Commission 
for the next four calendar quarters that describe the reason for each study delay and any steps

69 NOPR at PP 138-139.

70 NOPR at P 148.

71 NOPR at PP 148-149.

30

taken to remedy the cause of the delay; and (2) post on OASIS the total number of employee/ consultant hours devoted to processing studies that quarter.72

The Commission seeks comments regarding whether to require fewer or additional

interconnection processing statistics, whether it is proposing the appropriate summary data

requirements to enhance transparency, and what, if any, customization should be made to adjust 
for different regional processes.73  Finally, the Commission seeks comments as to whether 
interconnection customers have sufficient information regarding the cause of study delays, 
whether transmission providers should be required to provide more detailed explanations, 
whether the transmission provider should have to inform the interconnection customer regarding 
its process for revising study timelines once a delay occurs, and whether it must also describe in 
sufficient detail any relevant details that could further affect the revised timeline.74 
	The NYISO currently has extensive processes in place to ensure that consistent, thorough communication occurs with each Developer and with the NYISO’s stakeholder community.  The NYISO also currently maintains on its OASIS a list of all valid Interconnection Requests, 
together with the status of the Interconnection Request including, for example, where the project 
is in the study process, what studies have been completed, etc.  The NYISO also updates the 
Transmission Planning Advisory Subcommittee (“TPAS”) - a subcommittee of the NYISO’s 
Operating Committee - on the status of all pending Large Facility studies.  Such updates are 
included in the monthly TPAS agenda posted on the OASIS.  More detailed status updates and 
information relevant to specific projects are provided directly to the Developer throughout the 
study process.

72 NOPR at PP 148-149.

73 NOPR at P 150.

74 NOPR at P 151.

31

Adding additional detail regarding the status of a particular study is not informative to the 
specific Developer, who already knows its status.  Moreover, additional administrative 
requirements to track study statistics will not expedite the study process.  Rather, the best way to 
expedite the studies is through targeted interconnection process improvements such as those the 
NYISO has proposed to its stakeholders.  Among the NYISO’s proposals are the following, each 
of which is designed to make the study process move along more quickly and efficiently:

•   Electronic Form Submission;

•   Expedited Study Agreement Processing (by eliminating the Connecting 
	Transmission Owner from the necessary signatories);

•   Standardized format of Study Reports;

•   Reinforcement of the Roles and Responsibilities of Parties in the Interconnection 
	Study Process;

•   Allowing projects with Multiple Voltage Levels to submit only one 
	Interconnection Request;

•   Providing for Additional Class Year Start Dates (to allow Class Years to start as 
	soon as possible after the prior Class Year Study completes);

•   Bifurcating the Class Year Study (to allow certain Class Year Developers to 
	complete their Class Year Study early); and

•   Making the Feasibility Study optional at the Developer’s election.

The NYISO urges the Commission to allow it to tailor appropriate process improvements 
with the goal of expediting the studies rather than merely tracking their status.  The NYISO 
already publishes average study times for each study in its Transmission Expansion and 
Interconnection Manual, and would not oppose sharing periodic statistics with its stakeholders 
on average study timelines.  This would help illustrate the impact of the NYISO’s process 
improvements and identify where additional improvements may be needed.  Such data would be

32

much more informative to prospective Developers than the detailed statistics proposed in the 
NOPR.

Posting information such as the number of days required to complete an interconnection study is only informative if additional detail is revealed, such as the reason for particular delays. To reveal such information may require disclosure of Confidential Information (e.g., where 
delays are due to Developer’s data being invalid, or where there is a pending withdrawal or 
pending dispute resolution negotiations).  In addition, such detailed information regarding the 
status of a particular study is appropriately shared only with the Developer, not all projects in the interconnection queue.  The NYISO does not believe providing additional details on a particular project’s status on a publicly viewable report would provide any benefit to that project in regards to the processing of its Interconnection Request.

The NYISO must evaluate a multitude of projects that make use of a wide variety of

technologies, seek to interconnect at different points on the electric system possessing different system characteristics, and often introduce unique complexities not previously addressed in 
earlier interconnection studies.  In addition, the performance of interconnection studies requires the active participation and input of multiple parties, including the provision of extensive 
information and technical data by Developers.  In the NYISO’s experience, the responsiveness of the Developer and the accuracy of the information it submits are directly related to the NYISO’s ability to timely perform interconnection studies.75  The NYISO must also coordinate with all 
Affected Systems which, for certain projects, include multiple Affected Transmission Owners and Affected System Operators from other Control Areas.

75 Developers often provide inaccurate information that requires significant back and forth discussion to

verify and also modify their project specifications and location during the process, all of which can considerably add to the time required to complete a study.  Developer’s refusal to provide timely information and/or the provision of inaccurate or conflicting information can considerably delay the performance of studies that require accurate inputs before the study can begin.

33

Given these factors, the NYISO requires flexibility in performing the interconnection

studies to evaluate the unique complexities of each project and should be evaluated based on its 
performance of studies in accordance with the Reasonable Efforts standard.  The requirement to 
submit explanatory filings to the Commission on a quarterly basis upon failure to meet strict, 
rigid deadlines, despite using Reasonable Efforts under the NYISO LFIP, is unnecessarily 
punitive and would jeopardize the NYISO’s ability to allow flexibility to Developers in its 
interconnection procedures.  For example, the NYISO would have to consider process changes 
that would require issuance of a withdrawal notice for failure to provide valid data rather than the 
NYISO’s current practice of working with Developers to validate and supplement insufficient 
data.  In addition, the NYISO’s ability to accommodate changes requested by Developers to their 
projects would be much more limited.  Maintaining such flexibility is something that Developers 
in the NYISO’s process have expressed the desire to retain, and even expand.  To implement this 
NOPR proposal would necessarily limit such flexibility and, as a result, create an inefficient 
process in which projects would find themselves more easily subject to withdrawal and required 
to go back through the interconnection study process.

11.  Affected Systems

The Commission seeks comment on whether it should prescribe guidelines for affected 
systems analyses and coordination or if it should impose study requirements and associated 
timelines on affected systems that are also public utility transmission providers.76  The 
Commission also seeks comment on whether to standardize the process for coordinating an 
affected system analysis and whether to develop a standard affected system study agreement.77 
Finally, the Commission seeks comments on proposals or additional steps that the Commission

76 NOPR at P 159.

77 NOPR at P 159.

34

could take (e.g., conducting a workshop or technical conference focused on improving issues that 
arise when affected systems are impacted by a proposed interconnection).78 
	The NYISO does not support the Commission prescribing pro forma guidelines for 
affected systems analysis and coordination or imposing study requirements and associated 
timelines on affected systems - at least for the Northeast region.  The NYISO is already working 
with its neighbors, PJM Interconnection, L.L.C. (“PJM”) and ISO New England Inc. (“ISO-
NE”), under the Northeastern ISO/RTO Planning Coordination Protocol to improve existing 
processes for addressing affected systems.  The NYISO, PJM, and ISO-NE have already made 
significant strides in improving their processes.  For example, they have established procedures 
to govern the coordination of study costs, estimates of study costs, development of study scopes, 
work flow among the impacted ISOs and RTOs and their respective Transmission Owners, and 
sharing of information among the impacted parties.  Because these procedures vary based on the 
unique characteristics of the respective NYISO, PJM and ISO-NE interconnection processes, the 
NYISO does not believe that pro forma procedures would be the most beneficial way to address 
areas of improvement.

12.  Requesting Interconnection Service Below Generating Facility Capacity

The Commission proposes to modify the Pro Forma LGIP to establish a process by which 
transmission providers consider interconnection customer requests for interconnection service 
below their generating facility capacity.79  Under this proposal, an interconnection customer 
requesting service below its generating facility capacity must install appropriate monitoring and 
control technologies and would be subject to reasonable provisions to enforce a maximum export

78 NOPR at P 159.

79 NOPR at P 167.  The Commission also proposes to modify the definitions of Large Generating Facility 
and Small Generating Facility in the Pro Forma LGIP and LGIA, so that they are based on the level of 
interconnection service for the generating facility rather than the generating facility capacity.  NOPR at P 172.

35

limit, a notification process to a facility that has exceeded its limit, and a process for resolving disputes.80  The Commission seeks comments on the types and availability of control 
technologies and protective equipment and the extent to which penalties should apply if the 
interconnection customer exceeds its limit.81  The Commission also seeks comments on whether additional revisions to the Pro Forma LGIP and Pro Forma LGIA are required, whether 
transmission providers should describe proposed processes on compliance, or whether such 
requests should be processed on an ad hoc basis.82

The NYISO does not oppose a process by which it and the Connecting Transmission

Owner would consider a Developer’s request for interconnection service at a proposed maximum 
injection limit below its generating facility capacity.  However, to ensure reliability, two 
evaluations are critical: (1) short circuit analysis of the full generating facility capability; and (2)

steady-state and dynamic study evaluations of the specific mechanism by which this limit will be 
enforced.  These evaluations are both necessary in order to ensure the mechanism does not 
impact the resource’s ability to reliably interconnect to the New York State Transmission System 
or Distribution System and that, in the event the mechanism fails, there are no adverse short 
circuit impacts.

The NYISO suggests that the maximum limit of the generating facility should be set forth 
in the interconnection agreement.  The NYISO and Connecting Transmission Owner should have 
the ability to take corrective actions as necessary to maintain reliability in the event that the 
maximum power limit is exceeded—e.g., the ability to curtail the resource.  NYISO does not, 
however, support penalties for non-compliance, other than being subject to breach of the

80 NOPR at P 168.

81 NOPR at PP 168-169.

82 NOPR at P 173.

36

Interconnection Agreement, which may provide for termination of the facility’s interconnection 
service.

13.  Provisional Agreements

The Commission proposes to revise the Pro Forma LGIP and Pro Forma LGIA to allow 
interconnection customers to request provisional interconnection service and operate under 
provisional interconnection agreements based on existing and regularly updated studies that 
demonstrate that necessary interconnection facilities/network upgrades are in place to meet 
applicable reliability requirements.83  The transmission provider would provide additional 
studies as necessary to determine whether provisional service can be reliably accommodated and 
whether stability, short circuit, and/or voltage issues would arise, and such studies would be 
updated by the transmission provider on a quarterly basis.84  The Commission seeks comment on 
the proposal, the means to mitigate any risks and liabilities for provisional service, and under 
what circumstances such service is beneficial.85  The Commission also seeks comments 
regarding whether there is a need to establish a pro forma provisional LGIA as well as any 
important details related to the service (e.g., when the service could be requested, when 
milestone payments would be required).86

The NYISO does not oppose requirements for providing provisional interconnection

service and in fact already does so under the Limited Operation provision of the NYISO LGIA. 
Currently, the NYISO tenders an LGIA upon the earlier of (1) completion of the Class Year 
Study in which the Developer accepts its Project Cost Allocation and posts required Security for

83 NOPR at P 186.

84 NOPR at PP 188, 190.

85 NOPR at P 188.

86 NOPR at P 190.

37

upgrades required for reliability - System Upgrade Facilities; or (2) upon request from the

Developer, an option available to the Developer once it has executed a Class Year Facilities

Study Agreement.87  Under the LGIA, if the Developer wishes to go in-service prior to the

completion of required System Upgrade Facilities, the Developer may request a limited

operations study under Article 5.9 of the LGIA.  Through such a study, the NYISO and the

Connecting Transmission Owner determine whether and the extent to which the facility can

reliably interconnect on a provisional basis.  Among NYISO’s pending queue process

improvements is a proposal to provide specific tariff language outlining the manner in which this 
practice could be extended to requests that pre-date execution of the LGIA as long as such tariff 
language provides the NYISO and Connecting Transmission Owner the opportunity to fully 
evaluate the reliability impacts of the project going in-service prior to completion of its required 
upgrades.88

The NYISO does not support performing limited operation study updates on a quarterly 
basis.  Consistent with its existing practice for performing limited operation studies, the NYISO 
proposes that the provisional time frame be defined upfront and be studied at the outset to 
provide a permissible output over the defined time frame.  The NYISO would, however, propose 
to retain the discretion to update its analysis as needed based on system changes.  In addition, the 
NYISO does not support the development of a new provisional interconnection agreement.  A 
separate provisional interconnection agreement unnecessarily complicates and prolongs the 
interconnection agreement negotiations.  Instead, the terms and conditions of the limited

87 See Attachment X, Section 30.11.1 and 30.11.2.

88 See Issue No. 10 described in Attachment I and Attachment II.

38

provisional service should be documented in the existing pro forma interconnection agreement, which can be amended, as needed, after the provisional service has ended.89

14.  Surplus Interconnection Service

The Commission proposes to require transmission providers to revise their Pro Forma 
LGIP and Pro Forma LGIA to include an expedited process for interconnection customers to 
utilize or transfer surplus interconnection service at existing generating facilities.90  The 
Commission further proposes that this process would not only afford priority to an existing 
generating facility owner or its affiliate to use the surplus interconnection service, but would also 
establish an open and transparent process for the sale of that surplus interconnection service if 
the owner and its affiliates elect not to use it and make it available to another party.91  The 
Commission proposes that this expedited process for surplus interconnection service be available 
for any quantity of surplus interconnection service, regardless of whether it is above or below the

20 MW threshold for small and large generator interconnection.92

The NYISO opposes tariff revisions that would allow an existing facility to simply

“transfer” interconnection service provided for in its LGIA that it is not using.  An energy

storage resource that wants to use the interconnection service that may not be used from time to 
time by a variable wind generator cannot simply “plug-and-play” by obtaining the wind 
generator’s existing interconnection service.  It is not simply a matter of the MW capacity of an 
interconnection that is deemed reliable; it is the MW capacity along with the other specific

89 See, e.g., New York Independent System Operator, Inc., Service Agreement No. 2305 Among NYISO, NYSEG & Greenidge Generation LLC (non-conforming LGIA providing for Limited Operation; accepted by the Commission in a January 5, 2017 letter order in Docket No. ER17-352-000), available via etariff at the following link:  Agreement No. 2305, LGIA (SA 2305) NYISO, NYSEG & Greenidge Generation LLC, 0.0.0.

90 NOPR at P 200-202.

91 NOPR at P 201.

92 NOPR at P 191.

39

technical characteristics of the facility that was evaluated in the interconnection process. Megawatts are not simply interchangeable.

Developers are obligated to notify the NYISO of any modifications to the facility 
compared to what was evaluated in the interconnection studies.  If a generator ends up 
constructing a facility that is smaller than proposed during the interconnection process, the 
Developer should inform the NYISO so that change can be considered and reflected in an 
amendment to the project’s Interconnection Agreement and system models.  The Developer is 
required to provide this information under Article 24.4 of the NYISO’s LGIA.  If, however, a 
new facility is proposing to use the “surplus interconnection service,” it should be required to 
submit a new Interconnection Request as any other new facility would be required to do.  This is 
necessary despite the original facility not using all the interconnection service for which it was 
evaluated.  Short circuit issues, for example, must be evaluated to ensure the new facility does 
not create an adverse reliability impact.  If the new facility seeks to use 20 MW or less of the 
existing “surplus” interconnection service, it could proceed under the SGIP which allow the 
parties to agree to waive some or even all of the interconnection studies required.  In many 
circumstances it might be appropriate to proceed directly to a Small Generator Facilities Study 
and a Small Generator Interconnection Agreement (“SGIA”), requiring only limited time and 
cost to be spent by the Developer in the interconnection study process. 
	Moreover, this proposal raises concerns with Open Access.  The Commission has noted the potential for undue discrimination and preferential treatment by an owner of existing 
generation when it has the ability to transfer interconnection service to some customers and not 
others.93  Accordingly, the NYISO developed, and the Commission approved, its LGIA and

93 See, e.g., Midwest Independent System Operator, Inc., 140 FERC ¶ 61,237 (2012), at PP 50-51 (“[W]e are concerned that MISO’s present proposal creates opportunities for undue discrimination and preferential

40

SGIA in a manner that ensures that access to a point of interconnection will be available on a

non-discriminatory basis.94  For example, under the NYISO’s Commission-approved tariff, once 
a generator is retired and its interconnection agreement is terminated, access to that generator’s 
point of interconnection will be available to proposed projects, including the retired generator 
itself, through the generally applicable interconnection or transmission expansion processes, 
unless temporary use is required to maintain reliability.95  The right to a particular point of 
interconnection is therefore a contractual right.  The NOPR would expand this into a property 
right by allowing a generator to transfer interconnection service to a third party when the 
generator has no property interest to transfer - i.e., no ownership interest in the facilities or 
obligation to maintain or operate the facilities.  This appears to be in conflict with the principle 
of Open Access.

The NYISO’s tariff already includes processes to permit Developers to make use of

surplus capacity created by upgrades they are required to fund due to their projects.  Specifically, 
Attachment S of the NYISO OATT establishes a “Headroom” mechanism pursuant to which a 
Developer may recover the costs of certain upgrades that other Developers use.  Under the 
Headroom requirements, if a Developer pays for upgrades that create functional or electrical 
capacity on the electric system in excess of that needed for the Developer’s project, then the 
Developer may be reimbursed by a subsequent Developer for their use of the excess capacity of

treatment by providing an owner of an existing generator the ability to grant access to this service to some customers 
and not to others.”); Midwest Independent System Operator, Inc., 155 FERC ¶ 61,274 (2016), at P 19 (rejecting 
MISO’s compliance filing regarding the ability to retain and transfer interconnection service for open access 
concerns).

94 See New York Independent System Operator, Inc., 151 FERC 61,075 (2015), at P 27; New York

Independent System Operator, Inc., Compliance Filing, Docket No. ER14-2518-003 (June 1, 2015) at pp 4-5; New York Independent System Operator, Inc., Response to Deficiency Letter, Docket Nos. ER14-2518-000, -001 
(February 12, 2015); see also Erie Power, LLC, 148 FERC ¶ 61,038 (2014), at P 21.

95 See New York Independent System Operator, Inc., Response to Deficiency Letter, Docket Nos. ER14-
2518-000, -001 (February 12, 2015), at pp 2-3; New York Independent System Operator, Inc., 151 FERC ¶ 61,075 (2015), at PP 27, 32-35, 48.

41

the upgrades, to the extent the headroom meets the electrical or functional Headroom requirements of Attachment S.

Such Headroom can be created by a Developer that elects to construct System Upgrade Facilities that are larger or more extensive than the minimum facilities required to reliably 
interconnect its proposed project (“Elective System Upgrade Facilities”).  The Developer can construct Elective System Upgrade Facilities as long as they are reasonably related to the 
interconnection of the proposed project.  Headroom can also result simply from the fact that 
commercially available facilities may be somewhat larger than what is required for a particular project, to the extent the headroom meets the electrical or functional Headroom requirements of Attachment S.  If a Developer of a later project uses the Headroom created and paid for by the earlier Developer, the later Developer must pay the original Developer for this Headroom in 
accordance with specific Headroom reimbursement rules.

15.  Material Modifications

The Commission proposes to revise the Pro Forma LGIP to establish a technological 
change procedure to assess and, if necessary, study whether the transmission provider can 
accommodate a technical change request without it being considered a material modification.96 
For the new procedure, the Commission proposes that the interconnection customer provide a 
request to the relevant transmission provider, which notification would include analysis to 
demonstrate that the proposed incorporation of the technical advancement would result in equal 
or better electrical performance.97  The Commission proposes that the interconnection customer 
may submit such request prior to the execution of the Facilities Study Agreement, upon which 
the transmission provider would use sound engineering judgment to determine whether it can

96 NOPR at P 217.

97 NOPR at P 218.

42

accommodate the proposed technological change without it constituting a material modification, 
or whether a study of the proposed change is required, such study to be performed within 30 
days.98

The Commission seeks comments on these requirements, including whether the new

procedure should specify what technological advancements can be incorporated at various stages 
of the interconnection process, which requirements apply to the interconnection customer and 
transmission provider, and what is appropriate for the information and study requirements.

The NYISO does not oppose this proposal if it is limited to assessing the materiality of, 
and considering whether it can accommodate, a modification related to the specific technology 
type initially proposed for the project.  The NYISO, however, opposes tariff changes that could 
require it to accommodate as a non-material modification a change to the technology type of the 
project that would essentially constitute a new facility - e.g., the addition of a battery element to 
a wind project or the addition of a solar element to a wind project.  Such “modifications” are

treated as new facilities requiring new Interconnection Requests under the NYISO’s current

procedures.  This is, in part, due to the fact that under current market rules, such a dual-

technology resource cannot be treated as a single resource in the NYISO’s markets.  Current

market rules require such a resource to be treated as two separate resources with separate bidding points and separate metering.

Even with changes to market rules that would allow such resources to be treated as one “facility,” the proposal to add one technology to an existing alternative technology may 
nonetheless be a material modification.  Different technologies operate differently in the markets and need to be studied differently, using the appropriate modeling data for that type of

98 NOPR at PP 219, 223.

43

technology.  For example, a solar facility has a different capacity value than a battery and cannot 
be evaluated in short-circuit, stability, or deliverability analyses in the same way as a wind 
facility or combined-cycle plant.  Therefore, a proposal to combine two different technology 
types at one Point of Interconnection may be a material modification.  Stability and short circuit 
analysis would need to be performed and subsynchronous torsional interactions may also need to 
be evaluated before such a modification could be considered non-material. 
	While the NYISO could support allowing certain minor technical modifications reflecting technological advances to the same technology type (e.g., change to the type of wind turbines), it only supports allowing such modifications early in the interconnection study process.  The 
NYISO opposes allowing modifications to projects later in the interconnection process as the 
evaluation of such technology changes require updates to much of the analyses performed in the 
SRIS.  In such cases, the NYISO must evaluate the proposed additions or modifications to 
determine the short circuit, voltage, and stability impact to the system.

16.  Modeling Electric Storage Resources

The Commission proposes to require that transmission providers evaluate their methods 
for modeling electric storage resources for interconnection studies, identify whether their current 
modeling and study processes adequately and efficiently account for the operational 
characteristics of electric storage resources, and report to the Commission why and how their 
existing practices are or are not sufficient.99  In particular, the Commission seeks comments on 
whether establishing a unified model for studying electric storage resources would expedite the 
study process and reduce the time and cost expended.100  Finally, the Commission seeks

99 NOPR at P 229.

100 NOPR at P 229.

44

comments on what information electric storage resources should provide that is not already consistently provided with interconnection requests.101

The NYISO finds its electric storage modeling methods to be sufficient.  The NYISO’s interconnection studies currently account for the operating characteristics of electric storage resources to the extent necessary under its Minimum Interconnection Standard.  Interconnection studies for individual energy storage projects typically evaluate the impact of the project on the system at the proposed design maximum power injection and maximum charging load, which is consistent with how other generation resources are evaluated.

While the NYISO has experienced challenges with the accuracy of modeling information used to evaluate energy storage resources in the interconnection process, the NYISO does not support a unified model for studying electric storage resources.  The evaluation and modeling assumptions for an electric storage resource are very different depending on whether the resource seeks to provide energy and capacity or only regulation solution.  A unified model would not provide the required flexibility.  The NYISO finds its electric storage modeling methods to be sufficient as long as the Developer provides accurate modeling data and validation of such 
data.102  Electric storage resources should be required to provide accurate data and validation as any other facility in the interconnection process is required to do.

101 NOPR at P 230.

102 The NYISO filed comments in response to the Commission’s Notice of Proposed Rulemaking for 
Electric Storage Participation in Markets Operated by Regional Transmission Organizations and Independent 
System Operators in Docket Nos. RM16-20-000 and RM16-20-000 concerning, among other things, the 
implementation of appropriate rules to integrate electric storage resources in the RTO/ISO markets.  See Electric 
Storage Participation in Markets Operated by Regional Transmission Organizations and Independent System 
Operators, Comments of the New York Independent System Operator, Inc., Docket Nos. RM16-20-000 and RM16-
20-000 (February 13, 2017).  In the event the Commission directs changes in the market rules that affect the 
operation of the system, the NYISO may need to revisit its electric modeling methods for interconnection studies.

45

17.  Reforms to SGIA/SGIP

The Commission seeks comment on whether any of the proposed reforms should be applied to small generating facilities and implemented in the pro forma Small Generator Interconnection Procedures and Small Generator Interconnection Agreement.103

The NYISO opposes the application of these proposals to the SGIP and SGIA.  FERC

addressed efficiencies in the SGIP through Order No. 792 and made considerable revisions to the process that may be difficult to reconcile with proposals in this NOPR.  Also, in Order No. 2006 the Commission emphasized its intent that the SGIP be more streamlined than the LGIP. 
Layering these numerous proposals onto the existing SGIP would serve to make the SGIP more cumbersome, not more streamlined.  Moreover, applying these NOPR proposals to the SGIP could add delay and inefficiency in the interconnection process for Small Generators, which 
would appear to be precisely what the Commission seeks to avoid.

IV. 	COMMUNICATIONS AND CORRESPONDENCE

All communications and correspondence concerning these Comments should be served as 
follows:

Robert E. Fernandez, General Counsel

Raymond Stalter, Director of Regulatory Affairs Karen G. Gach, Deputy General Counsel 
*Sara B. Keegan, Senior Attorney 
*Brian R. Hodgdon, Attorney

New York Independent System Operator, Inc.

10 Krey Boulevard

Rensselaer, NY 12144 
Phone:  (518) 356-6000 
Fax: (518) 356-4702

skeegan@nyiso.com 
bhodgdon@nyiso.com

*Person designated for receipt of service.

103 NOPR at P 11.

46

V.	CONCLUSION

WHEREFORE, for the foregoing reasons, the NYISO respectfully requests that the

Commission consider these comments when considering further action with regards to its NOPR.

Respectfully submitted,

/s/ Sara B. Keegan

Sara B. Keegan, Senior Attorney 
Brian R. Hodgdon, Attorney

New York Independent System Operator, Inc.

10 Krey Boulevard

Rensselaer, NY 12144

skeegan@nyiso.com 
bhodgdon@nyiso.com

Dated:  April 13, 2017

cc:	Michael Bardee

Nicole Buell

Anna Cochrane 
Kurt Longo

David Morenoff 
Daniel Nowak 
Larry Parkinson

J. Arnold Quinn 
Douglas Roe

Kathleen Schnorf 
Jamie Simler 
Gary Will

47