UNITED STATES OF AMERICA 
	BEFORE THE

FEDERAL ENERGY REGULATORY COMMISSION

Essential Reliability Services and	)

the Evolving Bulk-Power System— )	Docket No. RM16-6-000

Primary Frequency Response	)

SUPPLEMENTAL COMMENTS OF THE ISO-RTO COUNCIL ON 
	NOTICE OF PROPOSED RULEMAKING REGARDING

PRIMARY FREQUENCY RESPONSE

Pursuant to the Federal Energy Regulatory Commission’s (the “Commission” or “FERC”) Notice of Request for Supplemental Comments issued on August 18, 2017,1 the ISO-RTO Council (“IRC”)2 respectfully submits these supplemental comments.

I.	BACKGROUND

On  November	17,	2016,  the  Commission  issued  a  Notice  of  Proposed

Rulemaking3 proposing revisions to its pro forma Large Generator Interconnection 
Agreement (“LGIA”)  and  pro  forma  Small  Generator  Interconnection  Agreement 
(“SGIA”) to require new large and small generating facilities, both synchronous and non-

1 Essential Reliability Services and the Evolving Bulk-Power System - Primary Frequency Response, Notice of Notice of Request for Supplemental Comments, 160 FERC ¶ 61,011 (Aug. 18, 2017) (“Request for Supplemental Comments”).

2 The IRC comprises the Alberta Electric System Operator (“AESO”), California Independent System 
Operator (“CAISO”), Electric Reliability Council of Texas, Inc. (“ERCOT”), the Independent Electricity 
System  Operator  of  Ontario,  Inc. (“IESO”),  ISO  New  England,  Inc. (“ISO-NE”),  Midcontinent

Independent System Operator, Inc. (“MISO”), New York Independent System Operator, Inc. (“NYISO”), PJM Interconnection, L.L.C. (“PJM”), and Southwest Power Pool, Inc. (“SPP”).  The AESO and ERCOT are not subject to the Commission’s jurisdiction with respect to the matters addressed in this rulemaking and, therefore, do not join these comments.

3 Essential Reliability Services and the Evolving Bulk-Power System - Primary Frequency Response, Notice of Proposed Rulemaking, 157 FERC ¶ 61,122 (Nov. 17, 2016) (“NOPR”).

synchronous, to install, maintain, and operate equipment capable of providing primary frequency response as a condition of interconnection.4  Multiple parties, including the IRC,5 filed comments in response to the NOPR.  In response to certain comments, the Commission issued the Request for Supplemental Comments to better understand the possible ramifications of the proposed primary frequency response requirements on electric storage resources and small generators.

II.	COMMENTS

The IRC supports the requirements proposed in the NOPR and the application of 
such requirements to all resource types, including electric storage resources and small 
generators.  The purpose of the Commission’s proposal is to ensure adequate levels of 
primary frequency response continue to exist given the transformation in the resource 
mix  and the  Commission’s  concerns  about  declining  frequency response.6   This 
transformation includes the retirement of baseload, synchronous generating facilities and 
the loss of the inertia and primary frequency response contributions from such generators. 
At  the  same  time,  asynchronous  generators,  small  generators,  distributed  energy 
resources, and electric storage resources comprise an increasing percentage of the future 
generation mix.  Providing an exemption or variation to the NOPR requirements for 
small generators and electric storage resources could allow such resources to avoid 
solving the very problem to which such resources contribute and the NOPR rules were 
meant to address.  In fact, the Commission has conducted recent proceedings exploring

4 Id. at P 44.

5 Comments of the ISO-RTO Council on Notice of Proposed Rulemaking Regarding Primary Frequency Response, Docket No. RM16-6-000 (Jan. 24, 2017) (“IRC NOPR Comments”).

6 Id. at P 3.

2

the increased participation of small and storage resources in the wholesale markets.  The performance expectations discussed in those proceedings seems out of synch with an effort to exempt these resources from performance expectations.

The  Commission’s  proposed  requirements  are  consistent  with  guidelines 
developed by North American Electric Reliability Corporation (“NERC”) to maintain and 
enhance the reliability of the bulk electric system.  As FERC stated in the NOPR, the 
NERC Essential Reliability Services Task Force, “…concluded that it is prudent and 
necessary to ensure that primary frequency response capabilities are present in the future 
generation resource mix, and recommended that all new generators support the capability 
to manage frequency.”7  Furthermore, the NERC guidelines on which the NOPR 
requirements are based recommend that “…all resources connected to an Interconnection 
be equipped with a working governor or equivalent frequency control device” with 
response characteristics such as those described in the guidelines8 and proposed in the 
NOPR.  Similar to traditional resources and large generators, electric storage resources 
and small generators should contribute their fair share of primary frequency response in 
accordance with the requirements proposed in the NOPR.

The NOPR proposals are also consistent with current requirements of PJM, 
NYISO, ISO-NE, and CAISO.  As stated in its NOPR comments, a number of ISOs and 
RTOs already require resources, including small generators and/or electric storage 
resources, to install, maintain, and operate equipment capable of providing primary 
frequency response as a condition of interconnection.  These requirements have been in

7 Id. at P 15.

8 See NERC Primary Frequency Control Guideline Final Draft, p. 3 (Dec. 2015),

http://www.nerc.com/comm/OC/Reliability%20Guideline%20DL/Primary_Frequency_Control_final.pdf 
(“NERC Guideline”).

3

place for several years, have not resulted in operational issues or challenges associated 
with such requirements, and have not required exemptions for either electric storage 
resources or small generators.  Moreover, areas with substantial penetration of renewable 
resources already impose a primary frequency response capability requirement on all 
resources, with no negative impacts.9  To the best of its knowledge, the IRC is unaware 
of any limitations that would render the Commission’s proposed requirements infeasible 
or unduly burdensome for electric storage resources or small generators.

III.	ANSWERS TO QUESTIONS POSED IN THE REQUEST FOR

SUPPLEMENTAL COMMENTS

In response to the certain questions posed by the Commission, the IRC provides the following.10

A. 	IRC  Response  Regarding  Challenges,  Operational  Implications,  and

Impacts of the Proposed Requirements on Electric Storage Resources (Questions 1(a), (b), and (c) in Section II A)

The IRC is not aware of any challenges of requiring electric storage resources to 
implement the proposed operating settings for droop, deadband, and timely and sustained 
response proposed in the NOPR.  Moreover, as stated in section II above, the NOPR 
proposal is consistent with NERC guidelines and the current requirements of certain 
RTOs and ISOs.

9 For example, in the European Union, all generators seeking to connect to the grid must have primary 
frequency response capability.  See ENTSO-E Requirements for Generators, Chapter 1, Article 13 available 
at https://electricity.network-codes.eu/network_codes/rfg/.

10 The IRC responds to only certain questions in the Request for Supplemental Comments because many of the questions in the Request for Supplemental Comments are technical questions that are better addressed by electric storage resources, small generators, and their manufacturers.

4

B.	IRC  Response  Regarding  Risks  Associated  with  Requiring  Electric

Storage Resources to Provide Primary Frequency Response (Question 2 in Section II A)

The IRC is not aware of risks associated with requiring electric storage resources to provide timely and sustained primary frequency response, such as possible adverse effects on an electric storage resource’s ability to fulfill other obligations (e.g., providing energy or other ancillary services).  With regard to sustained response, NERC states in its Reliability Guideline that frequency deviations often persist for longer than one minute, and frequency response should be sustained until the frequency returns to a value within the governor deadband.11  The Commission’s proposed requirements to provide sustained frequency response is consistent with NERC’s guideline and should be applied to both traditional and electric storage resources.

C. 	IRC Response Regarding the Relationship between Electric Storage

Resources  Being  Online  and  the  Provision  of  Primary  Frequency Response (Question 3(a) and (b) in Section II A)

As the IRC indicated in the IRC NOPR Comments, all newly interconnecting 
generating resources, and all existing interconnections that require the submission of a 
new interconnection request, should be required to install the capability necessary to 
provide primary frequency response and operate in accordance with the settings proposed 
in the NOPR.12  Moreover, electric storage resources should be required to provide 
primary frequency response in accordance with each RTO’s and ISO’s respective tariff 
and in a manner similar to all other resources.  For example, under PJM’s tariff, all 
resources, including electric storage resources, that are actively providing energy or

11 NERC Guideline at p. 11.

12 IRC NOPR Comments at p. 2.

5

certain ancillary services are expected to provide primary frequency response.  Similarly, 
in ISO-NE, the LGIA already requires the provision and maintenance of a functioning 
governor on all new generating units comprising the Large Generating Facility in 
accordance with applicable provisions of the ISO New England Operating Documents 
and applicable Reliability Standards.  ISO New England Operating Procedure No. 14 
contains specific frequency response requirements.  If an electric storage resource is 
online but is not providing energy or certain ancillary services, it is not expected to 
provide primary frequency response, similar to all other resources within PJM.

D. 	IRC Response Regarding Whether an Exemption is Appropriate for All or

a Subset of Small Generating Facilities (Question 3 in Section II B)

For the reasons stated above in section II, exemptions are not appropriate for small generators or any subset thereof.

E. 	IRC Response Regarding the Extent to which Small Generating Facilities

are Necessary to ensure Adequate Primary Frequency Response (Question

4 in Section II B)

Given small generators’ increasing market penetration, small generators should be 
required to provide adequate primary frequency response in a manner similar to large 
generators.  For example, within PJM, 30 new generators were placed in service in the 
past year.  Of those, 25 are small generators (i.e., generators having a capacity of no more 
than 20 MW) and 5 are large generators.  Similarly, in ISO-NE, 12 new generators were 
placed in service in the past year.  Of those, 8 are small generators, and 4 are large 
generators.

6

F.	IRC Response Regarding Whether PJM’s Changes to its Interconnection

Agreements Address Concerns Regarding Costs and Barriers and whether 
PJM’s Approach is Viable in other Regions (Question 5 in Section II B)

PJM has not experienced any decrease in the number of interconnections requests or   interconnections   of   small   non-synchronous   generators   since   requiring   nonsynchronous generating facilities to install enhanced inverters that include primary frequency response capability.  The PJM approach is viable in other regions.

IV.	CONCLUSION

In response to the Request for Supplemental Comments, the IRC respectfully

requests that the Commission consider the comments contained herein.

Respectfully submitted,

/s/ James M. Burlew	/s/ Margoth R. Caley

Craig Glazer	Raymond W. Hepper

Vice President-Federal Government Policy	Vice President, General Counsel, and

James M. Burlew	Secretary

Senior Counsel	Theodore J. Paradise

PJM Interconnection, L.L.C.	Assistant General Counsel, Operations and

2750 Monroe Boulevard	Planning

Audubon, Pennsylvania  19403	Margoth R. Caley

james.burlew@pjm.com	Senior Regulatory Counsel

ISO New England Inc.

One Sullivan Road

Holyoke, Massachusetts  01040 mcaley@iso-ne.com

/s/ Anna McKenna	/s/ Gregory J. Campbell

Roger E. Collanton, General Counsel	Robert E. Fernandez, General Counsel

Anna McKenna	Raymond Stalter

Assistant General Counsel, Regulatory	Director of Regulatory Affairs

Andrew Ulmer Director, Federal Regulatory	Gregory J. Campbell, Attorney

Affairs	New York Independent System Operator,

California Independent System Operator	Inc.

Corporation	10 Krey Boulevard

250 Outcropping Way	Rensselaer, NY  12144

Folsom, California  95630	gcampbell@nyiso.com

amckenna@caiso.com

7

/s/ Andre Porter	/s/ Paul Suskie

Andre Porter	Paul Suskie

Vice President and General Counsel	Executive Vice President & General Counsel

Joseph G. Gardner	Tessie Kentner

Vice President & Chief Compliance Officer	Senior Attorney

Midcontinent Independent System	Southwest Power Pool, Inc.

Operator, Inc.	201 Worthen Drive

720 City Center Drive	Little Rock, Arkansas  72223-4936

Carmel, Indiana  46032	psuskie@spp.org

aporter@misoenergy.org

/s/ Tam Wagner

Tam Wagner

Senior Manager, Regulatory Affairs Maia Chase

Senior Regulatory Analyst

Independent Electricity System Operator

1600-120 Adelaide Street West

Toronto Ontario  M5H1T1 
Canada

tam.wagner@ieso.ca 
maia.chase@ieso.ca

October 10, 2017

8

CERTIFICATE OF SERVICE

I hereby certify that I have this day served the foregoing document upon each 
person designated on the official service list compiled by the Secretary in this proceeding.

Dated at Norristown, PA, this 10th day of October, 2017.

James M. Burlew

Senior Counsel

PJM Interconnection, L.L.C. 
2750 Monroe Boulevard 
Audubon, PA  19403 
(610) 666-4345