UNITED STATES OF AMERICA 
	BEFORE THE

FEDERAL ENERGY REGULATORY COMMISSION

Grid Reliability and Resilience Pricing	)	Docket No. RM18-1-000

COMMENTS OF THE ISO/RTO COUNCIL

The ISO/RTO Council (“IRC”)1 respectfully submits these comments in response 
to the Federal Energy Regulatory Commission’s (“Commission” or “FERC”) October 2, 
2017  Notice  Inviting  Comments, 2  the  September 28, 2017  Notice  of  Proposed

Rulemaking by the United States Department of Energy (“DOE”),3 and Commission’s 
Office  of  Energy  Policy  and  Innovation’s (“OEPI”)  October 4, 2017  request  for

information.4  The IRC and its members support the Commission’s goals of promoting 
competitive markets, facilitating appropriate price formation in those markets, and 
fostering a reliable electric system.  However, the proposal set forth in the NOPR is far-
reaching and would degrade the efficiency and effectiveness of existing organized

1

2

3

4

The IRC is composed of the Alberta Electric System Operator (“AESO”), the 
California Independent System Operator Corporation (“CAISO”), the Electric 
Reliability Council of Texas, Inc. (“ERCOT”), the Independent Electricity System 
Operator (“IESO”),  ISO  New  England  Inc. (“ISO-NE”),  the  Midcontinent 
Independent System Operator, Inc. (“MISO”), the New York Independent System 
Operator,  Inc. (“NYISO”),  PJM  Interconnection,  L.L.C. (“PJM”),  and  the 
Southwest Power Pool, Inc. (“SPP”).  AESO is not subject to the Commission’s 
jurisdiction and ERCOT is not subject to the Commission’s jurisdiction as it 
relates to the issues raised in this proceeding.  Thus, AESO and ERCOT are not 
joining  these  comments.    Individual  IRC  members  may  also  file  separate 
comments.

Grid Reliability and Resilience Pricing, Notice Inviting Comments, Docket No. RM18-1-000 (Oct. 2, 2017).

Grid Resiliency Pricing Rule, 82 Fed. Reg. 46,940 (proposed Oct. 10, 2017) (“NOPR”).

Grid Reliability and Resilience Pricing, Letter Requesting Information, Docket No. RM18-1-000 (Oct. 4, 2017) (“OEPI Letter”).

wholesale markets, would provide improper incentives and disincentives to current and 
future market participants, would not promote the goals stated in the NOPR (i.e.,

enhancement of electric reliability and resilience5), and would reverse the progress the 
Commission  and  the  nation’s  regional  transmission  organizations (“RTO”)  and

independent system operators (“ISO”) have made in developing robust and reliable 
competitive markets.  The NOPR’s broad cost recovery proposal also stands in stark 
contrast to other types of narrowly-tailored cost recovery mechanisms like reliability 
must-run (“RMR”) mechanisms, out-of-market compensation for units dispatched out-of-
merit for reliability or voltage reasons, or state renewable portfolio standards, each of 
which are adjuncts to the competitive markets and operate in tandem with those markets.

Moreover, the NOPR proposal and rationale are vague in many respects, as the 
many questions from Commission Staff set forth in the October 4, 2017 OEPI Letter 
underscore, making it difficult to craft a final rule in this proceeding without substantial 
additional consideration, dialogue, and evidence.  As noted below, the proposed remedy

5

The NOPR refers extensively to “resiliency” and “resilience,” but contains no 
definition of those terms.  The NOPR also fails to identify with sufficient 
specificity what “resiliency” problem that it seeks to address, which makes it 
impossible for the Commission to articulate a rational connection between the 
perceived problem and the drastic cost of service remedy that the NOPR seeks to 
propose. 	Lacking  such  adequate  definition  and  connection,  the  NOPR 
undermines the Commission’s ability to engage in reasoned decision-making. 
See, e.g., Occidental Petroleum Corp. v. SEC, 873 F.2d 325, 338 (D.C. Cir. 1989) 
(“[I]n order to allow for meaningful judicial review, the agency must produce an 
administrative record that delineates the path by which it reached its decision.”); 
Chicago v. FPC, 458 F.2d 731, 742 (D.C. Cir. 1971) (“In the first place, review 
would be a relatively futile exercise in formalism if no inquiry were permissible 
into the existence or nonexistence of the condition which the Commission 
advances as the predicate for its regulatory action.  A regulation perfectly 
reasonable and appropriate in the face of a given problem may be highly 
capricious if that problem does not exist.”); Mori v. Dep’t of the Navy, 917 F. 
Supp. 2d 60, 64 (D.D.C. 2013) (“An agency action that lacks explanation is a 
textbook example of arbitrary and capricious action.”); see infra Section I.B.1.

2

would do little to support overall system reliability and may actually degrade that reliability as a limited class of units are being supported irrespective of each region’s specific needs, a unit’s location on the grid, or a unit’s ability to solve specific locational grid reliability issues.

In addition, the procedural timeframe for this proceeding is unreasonable.  First, 
the truncated period for public comment makes it impossible for interested parties to 
provide thorough analysis and comments sufficient to enable the Commission to build a 
comprehensive and meaningful record to aid its decision-making process.  Specifically, 
given the extremely short deadline for comments, the members of the IRC have not had 
sufficient time to analyze comprehensively the potential impacts to reliability and market 
prices that could result from the proposed rule, much less the magnitude of such impacts. 
Of equal importance, the compliance timeframe set forth in the NOPR (i.e., tariff 
revisions  within  fifteen  days  following  the  effective  date  of  a  final  rule  with 
implementation to follow fifteen days thereafter) is arbitrary, unnecessary, and will not 
promote  the  development  of  well-founded  market  design.    That  timeframe  also 
essentially   prohibits   opportunity   for   RTO/ISO   stakeholder   involvement   in   the 
development  of  compliance  proposals  and  little  time  for  public  comment  and 
Commission consideration once those proposals are filed.

Accordingly, the IRC urges the Commission to decline to adopt the NOPR as a 
final rule.  The IRC, however, responds to certain questions posed by Commission Staff 
below.6

6

The omission of a response to any questions does not indicate that the IRC or its 
members believe the question to be unimportant.  In the interest of time given the 
short period for public comment, the IRC has responded only to select questions 
from the OEPI Letter.  However, the IRC and its members believe that the

3

I.	GENERAL COMMENTS

A.	The NOPR Would Undermine Competitive Markets and Is Legally

Infirm

1. 	If Adopted, the NOPR Proposal Would Negatively Impact the

Competitiveness of Capacity and Energy Markets in a Manner 
Detrimental to Consumers with No Concomitant Reliability Benefit

Providing guaranteed, full cost recovery for a subset of generators as proposed in 
the NOPR (which presumably would allow full recovery of fixed costs for regions with 
centralized capacity markets and full recovery of variable costs in energy markets) will 
distort   market   prices,   convert   competitive   market   structures   into   a   two-tiered 
compensation system, and undermine, rather than enhance, reliability.  The proposal 
threatens to undermine price formation and competition in the  nation’s organized 
electricity markets.

The negative consequences of the NOPR proposal are obvious.  By affording 
certain generators guaranteed, full fixed and variable cost recovery for providing some 
undefined “resiliency” benefit based on an arbitrary “fuel-security”7 standard, the NOPR 
will shield eligible generators from the competitive forces that discipline market bidding 
behavior and ensure that market dispatch and prices are based on least cost, security 
constrained optimization of the resource portfolio.8  Generators that do not qualify for the

numerous OEPI Letter questions deserve thoughtful consideration and further discussion before any final rule is issued.

7

8

The NOPR establishes a ninety-day fuel supply as a requirement, but nowhere does the NOPR explain why ninety days is the appropriate or necessary standard, nor does it explain how such supply will be evaluated (e.g., ninety days’ worth of fuel for the resource operating at what level?) or by whom.

The NOPR’s cost recovery proposal is far different from other, existing cost-
recovery   mechanisms   like   RMR   provisions,   out-of-market   dispatch   and 
compensation  of  units  that  address  reliability  and  voltage  issues,  or  state 
renewable portfolio standards.  In contrast to the NOPR’s proposed carte blanche

4

compensation will be competitively disadvantaged compared to eligible generators. Those select “eligible generators” (unlike the rest of the class of generators or demand response providers) will now have the opportunity to bid into the market at unrealistically low prices that have no relation to marginal costs, knowing that they will be made whole irrespective of their submitted bid, through the NOPR’s full cost of service payment guarantee.  Accordingly, market prices, including prices in centralized capacity markets with regard to fixed costs and prices in energy markets with regard to variable costs, will be distorted from what would otherwise occur in a competitive environment.  Congress’s and the Commission’s policy of fostering competitive economic outcomes in energy markets9 would be stymied by the NOPR proposal.

recovery of costs to all qualifying “fuel-secure” generators (with no apparent 
requirement to justify costs and with no showing of need), Commission-approved 
mechanisms like RMR provisions are limited in applicability, tied to specific, 
identified needs, generally limited in duration, do not involve the full fixed and 
variable cost recovery of the scope set forth in the NOPR, and therefore do not 
have the price-distorting impact that the NOPR’s cost proposal would.  Such 
existing mechanisms have been designed to work alongside competitive markets, 
not to supplant market forces.

9

See, e.g., Wholesale Competition in Regions with Organized Electric Markets, 
Order No. 719, 2008-2013 FERC Stats. & Regs., Regs. Preambles ¶ 31,281, at 
P 1 (2008) (indicating that national policy, as embodied in the Energy Policy Act 
of 2005, “has been, and continues to be, to foster competition in wholesale 
electric power markets”), as amended, 126 FERC ¶ 61,261, order on reh’g, Order 
No. 719-A, 2008-2013 FERC Stats. & Regs., Regs. Preambles ¶ 31,292, at P 122 
(stating that the “Commission’s policy continues to be to promote in wholesale 
electric power markets” as ratified by Congress in the Energy Policy Act of 
2005), reh’g denied, Order No. 719-B, 129 FERC ¶ 61,252 (2009); Promoting 
Wholesale Competition Through Open Access Non-Discriminatory Transmission 
Services by Public Utilities; Recovery of Stranded Costs by Public Utilities and 
Transmitting Utilities, Order No. 888, 1991-1996 FERC Stats. & Regs., Regs. 
Preambles ¶ 31,036, at 31,644 (1996) (indicating that a “goal of the Energy Policy 
Act [of 1992] was to promote greater competition in bulk power markets by 
encouraging new generation entrants”), order on reh’g, Order No. 888-A, 1996-
2000 FERC Stats. & Regs., Regs. Preambles ¶ 31,048, order on reh’g, Order No. 
888-B, 81 FERC ¶ 61,248 (1997), reh’g denied, Order No. 888-C, 82 FERC

5

Moreover,  the  NOPR  proposal  would  actually  harm,  rather  than  promote, 
reliability.  Contrary to the NOPR’s assumptions, reliability will be set back because the 
NOPR’s pricing proposal would fundamentally alter the economics for all generators in 
each region’s footprint.  The NOPR proposal would provide compensation to particular 
units that may otherwise retire because they are older, less efficient, and less reliable than 
newer units.10  Supplanting newer, efficient units with older, less reliable ones in the 
markets will threaten reliability and market efficiency.  This problem will be exacerbated 
because the NOPR does not outline any minimum performance standards or criteria for 
determining whether eligible resources are situated in an optimal location to support 
future reliability needs (including, particularly local reliability and voltage needs).

Likewise troubling are the improper incentives that the proposal would create for 
state regulators and generator owners.  By guaranteeing full cost recovery at the RTO 
level for resources that are not subject to retail cost of service rate regulation, the NOPR 
might encourage generator owners to seek ways potentially to try to remove resources 
from retail rate base to take advantage of potentially more attractive cost recovery at the 
wholesale level.  The costs of such a shift may then be re-allocated from retail ratepayers 
in a state to a larger number of customers at the RTO/ISO level (depending on the cost 
allocation method that the Commission approves in each region).  The proposal also 
could encourage the restoration of retired and mothballed units that utilities and states 
previously determined were no longer cost-effective and useful, because the proposed full

¶ 61,046 (1998), aff’d in part & remanded in part sub nom. Transmission Access Policy Study Group v. FERC, 225 F.3d 667 (D.C. Cir. 2000), aff’d sub nom. New York v. FERC, 535 U.S. 1 (2002).

10

See DOE Staff Report at 21-23 (discussing coal plant retirements, most of which are older, less efficient units that are nearing or at the end of useful life).

6

cost of service recovery at the RTO level would artificially change the economics for such units.

2. 	Even If Carefully Crafted, the NOPR Could Create Tensions

Between the States and Federal Government

By picking winners and losers and favoring certain resource types over others (as 
envisioned by the NOPR), the Commission may upset the delicate balance between 
federal and state regulatory regimes.  Federal imposition of guaranteed, full variable and 
fixed cost of service recovery for select generation resources through the wholesale 
markets may create new areas for conflict.  Issues related to which ratepayers must bear 
the burden of supporting the resources the DOE identifies as requiring such cost support 
will engender considerable litigation and is an ironic example of a government solution in 
place of reliance on competitive outcomes.  Cost allocation conflicts will ensue both 
among customers and states within a particular RTO and across RTO boundaries.  In 
particular, states within an RTO that do not have generation resources eligible for the 
NOPR’s cost recovery mechanism scheme may be adverse to paying for a federally-
mandated cost of service guarantee for a unit in a neighboring state.

Furthermore, the Commission is currently evaluating the balance between state 
and federal authority and its effects on wholesale markets in Docket No. AD17-11-000.11 
The Commission has begun to build a record in that docket and should allow its ongoing

11

See State Policies and Wholesale Markets Operated by ISO New England Inc., New York Independent System Operator, Inc., and PJM Interconnection, L.L.C., Notice of Technical Conference, Docket No. AD17-11-000, at 1 (Mar. 3, 2017) (announcing a technical conference to discuss certain matters affecting wholesale capacity  markets  and  stating  that “there  is  an  open  question  of  how  the competitive wholesale markets, particularly in states or regions that restructured their retail electricity service, can select resources of interest to state policy makers while preserving the benefits of regional markets and economic resource selection” (emphasis added)).

7

proceedings to continue, while allowing individual RTO regions to pursue specific reforms to the extent that they can justify such reforms, rather than rushing to adopt a NOPR proposal that may drive further conflict among states and stakeholders.

3. 	The Timeline Does Not Provide a Meaningful Opportunity for

Public Comment and Impairs the Ability of RTOs and ISOs to Comply with the Final Rule

The NOPR sets forth an extremely short time frame for the Commission to gather and consider public comment, and sets up an unrealistic expectation that RTOs and ISOs will be able to develop, submit, and implement compliance filings in sixty days—and only thirty days after the final rule is effective.  The Commission should not place RTOs and ISOs in the untenable position of being unable to comply with the final rule by adopting such a short period for compliance.

The  Administrative  Procedure  Act 	(“APA”)  requires  that  the  Commission

provide notice to the public and an opportunity for public comment before issuing a regulation.12  The APA prohibits Commission actions that are arbitrary and capricious,13 meaning that any final rule authored by the Commission must reflect reasoned decisionmaking based on substantial  evidence in  the record developed in  the rulemaking proceeding.14  The extremely shortened timeframe set forth in the NOPR undermines the Commission’s ability to adhere to these statutory directives.

12

13

14

5 U.S.C. § 553(b).

5 U.S.C. § 706(2)(A).

See Seminole Elec. Coop. v. FERC, 861 F.3d 230, 234 (D.C. Cir. 2017) (“To 
satisfy this standard, FERC must demonstrate that it has made a reasoned decision 
based upon substantial evidence in the record, and the path of its reasoning must 
be clear.” (quoting Entergy Servs., Inc. v. FERC, 568 F.3d 978, 981 (D.C. Cir. 
2009))); Mid-Tex Elec. Coop. v. FERC, 773 F.2d 327, 338 (D.C. Cir. 1985) (the

8

The  NOPR  was  issued  by  the  DOE  pursuant  to  its  authority  under  the 
Department of Energy Organization Act, which requires a Commission response within 
“such reasonable time limits as may be set by the Secretary.”15  Given the importance and 
complexity of the issues involved in the NOPR and the significant potential consequences 
to  competitive  markets  and  market  design,  sixty  days  for  public  comment  and 
Commission action is unreasonable.  As the OEPI Letter and its numerous detailed 
questions make plain, there are myriad issues and substantial policy questions that need 
to be addressed in considering the NOPR proposal.  Allowing the public only twenty-one 
days from the issuance of the NOPR (and a mere thirteen days from its publication in the 
Federal Register) does not afford the public an opportunity to provide robust comment on 
and analysis of the NOPR proposal and the OEPI Staff’s many questions.  Similarly, 
allowing only fifteen days for reply comments, when thousands of comments are 
expected to be filed, is equally unreasonable.  This approach will undermine the 
Commission’s ability to marshal the substantial evidence needed to make a reasoned 
decision.

Likewise, the extremely short timeframe for RTOs and ISOs to develop, submit, 
and implement their compliance filings deprives them and their stakeholders of the ability 
to design effective compliance mechanisms following issuance of a final rule.  As 
discussed below, the NOPR would afford only forty-five days for the development and 
submission of compliance filings, which would go into effect a mere fifteen days 
thereafter.  Given the complex market design issues involved, the need for what are likely

Commission’s decision must be supported by substantial evidence and be the result of reasoned decision-making).

15

42 U.S.C. § 7173(b).

9

substantial  market  rule  and  software  modifications,  the  potential  impact  on  other 
processes RTOs and ISOs administer to promote and ensure reliable operations, and the 
varying and conflicting stakeholder views that RTOs/ISOs will need to consider, the 
timeline set forth in the NOPR is unrealistic and threatens the ability of RTOs and ISOs 
to comply with the final rule in any meaningful sense in that short amount of time.

Finally, the NOPR provides no justification for such an expeditious timeframe. 
The sixty-day mandate is unsupported by the DOE Staff Report, 16  which identifies 
potential issues and areas for further study regarding future market concerns, but does not 
outline any imminent threat or emergency that would mandate quick Commission action. 
The development of just and reasonable rates and market redesigns cannot be made so 
quickly, particularly given complex, region-wide issues like cost allocation.  Rushing 
through a final rule presents the real possibility of future court challenges on the basis 
that the Commission acted arbitrarily and capriciously in its rulemaking process.

B.	The NOPR Lacks the Basis to Justify Such Considerable Reform to

Existing Markets

1. 	The NOPR Fails to Provide Sufficient Justification to Satisfy the

Commission’s Burden under Federal Power Act Section 206

To change an existing tariff or practice affecting rates pursuant to Federal Power 
Act (“FPA”) section 206, 17  the Commission must find that the existing practice is 
“unjust, unreasonable, unduly discriminatory or preferential,” and that the remedial 
practice it imposes is “just and reasonable.”18  As noted above, the Commission must

16

17

18

Staff  Report  to  the  Secretary  on  Electricity  Markets  and  Reliability,  U.S. Department of Energy (Aug. 17, 2017) (“DOE Staff Report”).

16 U.S.C. § 824e. Id. § 824e(a).

10

support its findings (both that the existing rate is unjust and unreasonable and the new 
rate is just and reasonable) with “substantial evidence” in the record19 and provide a 
“rational connection between the facts found and the choice made.”20  In other words, to 
impose market reforms via rulemaking, the Commission must: (1) identify the issue and 
the reforms it intends to address; (2) examine evidence relevant to this issue; (3)

determine whether the issue is of sufficient consequence as to make the existing rates unlawful; and (4) identify a just and reasonable replacement rate.

The NOPR fails to provide sufficient information and detail on which the 
Commission may find substantial evidence to support the imposition of the proposed cost 
of service rate recovery mechanism.  Also absent is any indication of how the proposed 
new rate is just and reasonable and not unduly discriminatory or preferential.  The FPA 
and judicial precedent  both  hold  that, in changing a rate under section 206, the

Commission must show not only how the existing rate is unjust and unreasonable, but also how the new rate satisfies the statutory just and reasonable standard.  Given the very prescriptive directive to establish a new rate (i.e., full cost of service rate recovery for generators that satisfy the requirements), the onus is on the Commission to demonstrate how this new rate is just and reasonable for all affected generators, across all markets, and to all ratepayers.  The NOPR does not even mention this obligation.

19

20

5 U.S.C. § 706(2)(E).

Motor Vehicle Mfrs. Ass’n v. State Farm Mut. Auto. Ins. Co., 463 U.S. 29, 43 (1983) (quoting Burlington Truck Lines, Inc. v. United States, 371 U.S. 156, 168 (1962)).

11

Rather, the NOPR recites facts from the past fifteen years regarding changes to 
electric  generation  mix 21  and  quotes  selectively  from  a  North  American  Electric 
Reliability Corporation (“NERC”) report advising that “these changing characteristics 
must be well understood and properly managed.”22  But no attempt is made to understand 
the current resource mix or examine any effect on reliability from such changes.  The 
mere fact that there are changes in resource mixes cannot support adoption of disruptive 
rules that could significantly adversely affect the competitive wholesale markets that the 
Commission fostered pursuant to Congressional mandates in its Energy Policy Acts of 
1992 and 2005.23

In addition, the NOPR does not tie cost recovery eligibility to any specific 
identified grid need.  Under the NOPR, all resources that satisfy the requirements will be 
entitled to full cost recovery regardless of whether the resource is actually needed to 
provide any reliability benefit.  As the DOE Staff Report points out, other assets such as 
transmission and energy storage resources also can provide benefits that should not be 
ignored.  The grid and market may already be sufficiently reliable and robust in an area 
where an “eligible resource” is located, thereby obviating the need to compensate the 
resource for providing what would essentially be a redundant service.  Providing

21

22

23

NOPR at 46,943.

Id.  at  46,943  (quoting  NERC  Letter  to  Secretary  of  Energy  Rick  Perry, May 9, 2017, Attachment “Synopsis of NERC Reliability Assessments” at 1); see infra Section I.B.3 (discussing NOPR’s omission of facts from discussion on the issues highlighted by the 2014 Polar Vortex).

Energy Policy Act of 2005, Pub. L. No. 109-58, 119 Stat. 594 (2005); Energy Policy Act of 1992, Pub. L. 102-486, 106 Stat. 2776 (1992).

12

guaranteed and unlimited cost recovery for an unneeded service is contrary to the Commission’s obligation to ensure just and reasonable rates.

The NOPR proposal also exceeds the limited cost of service-type mechanisms that the Commission allows in certain limited and justified circumstances, such as the Commission’s policies addressing RMR units, for which a need must be demonstrated before such units are entitled to additional compensation.  The NOPR does not discuss why a more limited and need-based remedy coupled with existing market mechanisms is insufficient to address the perceived problem.  Instead, the NOPR promises full cost compensation  regardless  of  whether  a  resource  is  needed  or  actually  has  been demonstrated to provide benefits or whether it already has a reasonable opportunity to recover its costs under existing market structures.

Finally, the NOPR presents more questions than it answers.  For example:  How is 
the ninety-day amount of on-site fuel supply determined?  Is it the amount of fuel supply 
that would allow the unit to run at maximum output for ninety days?  If it is an amount 
less than that, how is the allowable amount determined?  When there are multiple units at 
a site, can they share ninety days’ worth of fuel and both qualify for the subsidy?  If an 
eligible resource runs for a day and thus consumes one day’s worth of fuel, is it 
disqualified from further cost of service recovery until it receives another fuel delivery? 
The lack of eligibility and performance standards in the NOPR makes it difficult for the 
Commission to craft a solid final rule that satisfies the Commission’s mandate to ensure 
just and reasonable rates while avoiding opportunities for manipulation and the potential 
for parties to assert discrimination claims.

13

2.	The NOPR Is Inconsistent with the Sources It Cites in Support of

Its Proposal

The NOPR relies heavily on a few select sources to support both its call for urgency and its radical pricing proposal.  In so doing, the NOPR cherry-picks certain excerpts from its sources and ignores other findings in those reports that undercut both its baseload compensation proposal and the haste with which it has insisted FERC adopt the rule.  A more comprehensive reading of the sources cited in the NOPR reveals no need to rush to issue a final rule and provides no justification for imposing the NOPR’s compensation scheme on the markets.

Primarily, the NOPR relies on the DOE staff’s August 	2017 report to the

Secretary of Energy analyzing electricity markets and reliability.  However, contrary to the NOPR’s selective references to the DOE Staff Report, the report fails to identify any emergency that would justify adopting the NOPR proposal with such alacrity.  In fact, the DOE Staff Report actually finds that RTOs and ISOs currently are effectively managing reliability and addressing market design and price formation issues, and that, while an adverse situation may arise in the future, such adversity is not imminent.24

Notably,  the  DOE  Staff  Report  repeatedly  stresses  the  importance  of  fuel 
neutrality to the concepts of reliability and resilience, yet the NOPR appears to seek to

24

See, e.g., DOE Staff Report at 63 (noting that reliability today is adequate despite the retirement of eleven percent of the generating capacity that was available in 2002, but noting that it would not be prudent simply to assume that future reliability will mirror current trends); id. at 102 (“The centrally-organized markets are  successfully  achieving  reliable  and  economically  efficient  delivery  of wholesale energy in their short-term operations, but the changing circumstances portend potential long-term problems.” (emphasis added)).

14

promote specific fuel types (i.e., coal and nuclear) above other types.25  For example, the DOE Staff Report recommends that the Commission

should study and make recommendations regarding efforts 
to   require   valuation   of   new   and   existing [essential

reliability services] by creating fuel-neutral markets and/or 
regulatory mechanisms that compensate grid participants 
for services that are necessary to support reliable grid 
operations.  Pricing mechanisms or regulations should be 
fuel and technology neutral and centered on the reliability 
services provided.26

The DOE Staff Report also quotes a report by the R Street Institute stating, “[f]uel 
neutrality is essential for both monopoly-utility resource planning and competitive 
markets to manage risk and achieve reliability efficiently.”27   These conclusions and 
recommendations do not support the NOPR proposal to favor certain fuel types over 
others.

The DOE Staff Report also does not justify the NOPR’s focus on providing full cost compensation for a subset of resources for their purported reliability and resiliency benefits.  For example, the DOE Staff Report identifies other categories of assets and resources that also promote reliability and resilience, including, for example, investment in additional transmission infrastructure and electric storage resources.28

25

26

27

28

NOPR at 46,942 (discussing data on coal and nuclear retirements). DOE Staff Report at 126 (emphasis added).

Id. at 90 (emphasis added).

Id. at 73 (discussing the ways in which energy storage can provide grid-level 
services); id. at 74-75 (“Transmission investments provide an array of benefits 
that  include  providing  reliable  electricity  service  to  customers,  relieving 
congestion, facilitating robust wholesale market competition, enabling a diverse 
and changing energy portfolio, and mitigating damage and limiting customer 
outages (resilience)  during  adverse  conditions. 	Well-planned  transmission 
investments also reduce total costs.”); id. at 128 (recommending further research

15

Moreover, the NOPR is inconsistent with the Secretary’s letter accompanying it. 
Rather than taking an “all of the above” approach as the Secretary suggested in his letter, 
the NOPR ignores the benefits provided by other assets and instead focuses on certain 
favored generation resources because they have the capability to store fuel.  Any notion 
of “fuel-neutral” or “all of the above” is absent from the NOPR’s compensation proposal.

Further undermining the rationale for the NOPR, the DOE Staff Report also relies 
on and quotes the R Street Institute report, which explicitly eschews “bailouts for coal 
and nuclear” and other subsidies because they “skew investment risk and can undermine 
incentives for reliability-enhancing behavior.”29  Contrary to the NOPR, the DOE Staff 
Report notes that, “[w]hile having fuel onsite reduces the risk that a generator will be 
unable to operate when needed, every type of fuel and power generation source has 
known vulnerabilities that can compromise its ability to perform reliably.”30  Thus, by the 
DOE’s own assessment, on-site fuel is not the silver bullet to ensuring reliability that the 
NOPR makes it out to be.31

The NOPR also quotes selectively from the DOE Staff Report’s discussion of 
extreme weather events, calling attention to the fact that during the 2014 Polar Vortex,

regarding  metrics  to  evaluate  resilience  provided  by,  among  other  things, transmission capability, demand response, and electricity storage).

29

30

31

Id. at 90-91 (quoting Devin Hartman, “Why Risk and Reliability Matter More than Fuel Diversity,” R Street Shorts No. 39 (May 2017)).

Id. at 91 (emphasis added).

See id. at  95 (“Still, fuel availability does not always guarantee dependable performance, particularly during extreme weather events.” (emphasis added)); id. at 98 (observing that, during Superstorm Sandy, “[t]hree nuclear reactors totaling 2,845 MW of capacity were shut down, and five operated at reduced levels due to”   several   factors   including   transmission   and   distribution   outages   and “precautionary measures to protect equipment”).

16

“American Electric Power reported that it deployed 89 percent of its coal units scheduled for retirement in 2014 . . . and Southern Company reported using 75 percent of its coal units slated for closure.”32  What the NOPR omits, however, is that the DOE Staff Report observes that the generating units in question were “older plants nearing the end of their useful lives,”33 meaning that market prices were not—and certainly were not the only— reason for such anticipated retirements.

Notably absent from the DOE Staff Report’s recommendations is any suggestion 
of a proposal comparable to the NOPR.  While the report does identify certain issues for 
further  research,  including  potential  non-market  structures  to  provide  equitable 
compensation for “desired grid attributes,” 34  nowhere does the report suggest that a 
substantial threat is imminent necessitating hurried implementation of a rule to target 
certain favored generation resource types.  Indeed, the DOE Staff Report is devoid of any 
suggestion that an emergency exists that compels the Commission to abandon its market 
principles in favor of regressing to cost of service recovery for a subset of wholesale

energy  market  resources.	Rather,  the  DOE  Staff  Report  is  measured  in  its

recommendation that the Commission continue its other pending market price formation

efforts  and, as discussed above, focus on fuel-neutral market  reforms rather than

subsidies to preferred generator types.35

32

33

34

35

NOPR at 46,942 (citing DOE Staff Report at 98). DOE Staff Report at 98.

Id. at 128.

See id. at 126.

17

3.	References to Storm Damage Do Not Support Subsidizing Certain

Generation Resources

The Secretary’s letter transmitting the DOE’s proposal invokes “the devastation 
wrought by the [2014] Polar Vortex, Superstorm Sandy, and Hurricanes Harvey, Irma, 
and Maria” in support of guaranteed cost recovery for “fuel-secure” resources.  However, 
such storms have much greater overall impact on the transmission and distribution 
infrastructure than generation resources.  Poles and wires may be felled by strong winds 
and may take significant time for service to be restored, as the lines are naturally spread 
out over vast service territories and crews must travel to each affected line.  By contrast, 
generation facilities are generally manned and less susceptible to the destructive weather 
forces.  And, on-site fuel generally would not prevent operational issues resulting from 
flooding or other damage associated with such storms.  In any event, downed power lines 
render generation resources undeliverable during and immediately following weather 
events, whether or not those generators are able to operate and have ample fuel on site.

Superstorm Sandy well demonstrates the disparate impact of such storms on the 
different parts of the electric infrastructure.  NERC’s “Hurricane Sandy Event Analysis 
Report,” evaluated the storm’s impact  on the bulk  power system,  including both 
generation and transmission assets.  NERC found that “[w]hile there was sufficient 
generation capacity available to meet the load as restoration progressed, there were 
some  cases  where  customer  restoration  was  hindered  by  local  area  transmission 
outages.”36  NERC’s evaluation found that “[o]ver the course of the event, 20,007 MW of

36

Hurricane Sandy Event Analysis Report, North American Electric Reliability 
Corp., 5 (Jan. 2014), http://www.nerc.com/pa/rrm/ea/Oct2012HurricanSandyEvnt 
AnlyssRprtDL/Hurricane_Sandy_EAR_20140312_Final.pdf (emphasis added).

18

generation capacity was rendered unavailable,”37 including nuclear, coal, and other fossil 
fuel resources.38  In other words, NERC found that the operational risks arising from 
severe weather events extend to the so-called “fuel-secure” nuclear and coal resources.

Also, 16,738 MW of fossil fuel generation became unavailable during the storm.39 However, NERC found that “this loss did not result in any capacity issues,” “[b]ecause of the amount of load preemptively off or unavailable to the distribution system.”40  As such, the loss of generation was not a significant contributing factor to the loss of service faced by customers during the storm.

In addition, the relative short duration of such events (usually numbered in the days or weeks) undermines the NOPR’s prescription for a ninety-day fuel supply.  Even if access to fuel were interrupted, it is highly doubtful that such access would not be restored for a ninety-day period.  Guaranteeing full cost recovery for retention of ninety days of on-site fuel appears unnecessary and would provide no ratepayer benefit, rendering such cost recovery unjust and unreasonable.

37

38

39

40

Id. at 5 (footnote omitted).

NERC  also  identified  several  generator  operational  risks  from  the  storm, including: (1) increased potential for Loss of Off-site Power (“LOOP”) to nuclear generating facilities; (2) possibility of LOOP resulting from switchyard damage, or loss of normal condenser cooling and loss of availability of service water as a result of high water; (3) precipitator fly ash buildup and higher gas flow pressure because of operating without auxiliary feeds; (4) curtailments due to wet coal, which is normal during significant precipitation events; (5) danger from the loss of building siding; and (6) potential lack of fuel because of damage to the fuel provider’s facilities.  Id. at 23.

Id. at 22. 
Id.

19

II.	RESPONSES TO SELECT OEPI LETTER QUESTIONS

A.	Need for Reform

Question 2:    The proposed rule references the events of the 2014 Polar 
	Vortex, citing the event as an example of the need for the 
	proposed  reform.    Do  commenters  agree?    Were  the 
	changes both operationally and to the RTO/ISO markets in 
	response to these events effective in addressing issues 
	identified during the 2014 Polar Vortex?

The NOPR asserts that the 2014 Polar Vortex “was a warning that the current and 
scheduled retirements of fuel-secure plants could threaten the reliability and resiliency of 
the electric grid.”41  However, the NOPR omits discussion of the impact of such severe 
cold on so-called “fuel-secure” plants.  In fact, the DOE Staff report recognized that 
“[m]any coal plants could not operate due to conveyor belts and coal piles freezing.”42  In 
PJM, of the approximately 40,200 MW of forced generator outages, coal steam outages 
(considering all sources of failure) were the largest generator-plant-type category, at 
13,700 MW, and nuclear outages totaled 1,400 MW.43  As a general matter, ISO-NE has 
observed that a significant portion of the oil and coal units in its region could not 
“provide reliable backup when gas problems arise due to increased outage rates, start-up

41

42

43

NOPR at 46,492 (citing DOE Staff Report at 98).

DOE Staff Report at 98.  The DOE Staff Report also concluded that “[w]hile coal facilities typically store enough fuel onsite to last for 30 days or more, extreme cold can lead to frozen fuel stockpiles and disruption in train deliveries.”  DOE Staff Report at 11-12.

Analysis of Operational Events and Market Impacts during the January 2014 
Cold  Weather  Events,  PJM  Interconnection,  L.L.C., 26 (May 8, 2014), 
http://www.pjm.com/~/media/library/reports-notices/weather-related/20140509-
analysis-of-operational-events-and-market-impacts-during-the-jan-2014-cold-

weather-events.ashx.

20

problems, and other operational difficulties.”44  Thus, coal and nuclear resources were not unaffected by the severe weather.  Nonetheless, “grid operators generally met demand, even under these severe conditions.”45

The 2014 Polar Vortex and earlier severe winter weather conditions did, however, highlight operational issues that contributed to the forced outages and poor performance, and compelled examination of the underlying causes and remedies.  The regions most affected—PJM and ISO-NE—undertook detailed reviews to rectify those issues.  PJM and ISO-NE each found that most, if not all, of the operational issues could be addressed if  generation  suppliers  made  investments  in  weatherization  or  increased  operating budgets and commitments for future fuel deliveries.46  Both regions proposed (and the Commission generally accepted) market solutions that: (1) pay generation resources for better performance and allow recovery of investment in operational reliability of the resource, including forward fuel costs; and (2) impose a strong monetary penalty for poor performance—with limited to no exceptions.47

44

45

46

47

Filings of Performance Incentives Market Rule Changes of ISO New England Inc. and New England Power Pool, Docket No. ER14-1050-000, Attachment I-1a (Transmittal letter on behalf of the ISO) at 3 (Jan. 17, 2014) (“ISO-NE Pay-for-
Performance Transmittal”).

DOE Staff Report at 98.

ISO-NE Pay-for-Performance Transmittal at 3; Reforms to the Reliability Pricing 
Market (“RPM”) and Related Rules in the PJM Open Access Transmission Tariff 
(“Tariff”) and Reliability Assurance Agreement Among Load Serving Entities 
(“RAA”) of PJM Interconnection, L.L.C., Docket No. ER15-623-000, at 19 (Dec. 
12, 2014).

See PJM Interconnection, L.L.C., 151 FERC ¶ 61,208, at P 9 (2015), order on 
reh’g, 155 FERC ¶ 61,157, at P 26 (2016), aff’d sub nom. Advanced Energy 
Mgmt. All. v. FERC, 860 F.3d 656, 670 (D.C. Cir. 2017); ISO New England Inc., 
147 FERC ¶ 61,172 (2014), reh’g denied, 153 FERC ¶ 61,223 (2015), appeal

21

In addition, the NYISO implemented a number of operational and market changes to improve system and resource performance.  The operational changes include new fuel monitoring  capabilities  for  the  generation  fleet  and  improvement  of  gas-electric coordination and communication with natural gas pipelines and Local Distribution Companies.  In November 2015, the NYISO implemented the Comprehensive Shortage Pricing project that augmented its procurement of reserve products to improve the responsiveness of the system to unplanned contingency events.48  The implementation included  new  locational  reserve  requirements,  increased  procurement  targets  and escalating price tiers to improve alignment of market signals with reliability needs.  In addition, the NYISO implemented an improved ability to reflect day-ahead and intra-day supplier fuel costs in Generator offers to reflect the costs of operation during these extreme events.  The changes NYISO has implemented since the 2014 Polar Vortex support improved supplier performance and resilience.

Since imposition of operational changes and these market reforms, ISO-NE, NYISO, and PJM have ably maintained reliability in their respective regions.

pending sub nom. New England Power Generators Ass’n v. FERC, No. 16-1023 (D.C. Cir. Jan. 19, 2016).

48

N.Y. Indep. Sys. Operator, Inc., 151 FERC ¶ 61,057, at P 19 (2015); N.Y. Indep. Sys. Operator, Inc., 158 FERC ¶ 61,028, at PP 164, 166, reh’g denied, 160 FERC ¶ 61,020 (2017).

22

Question 4:    The proposed rule references the retirement of coal and 
	nuclear resources and a concern from Congress about the 
	potential further loss of valuable generation resources as a 
	basis for action.  What impact has the retirement of these 
	resources had on reliability and resilience in RTOs/ISOs to 
	date?    What  impact  on  reliability  and  resilience  in 
	RTOs/ISOs  can  be  anticipated  under  current  market 
	constructs?

As an initial matter, in relying on the letter from the chairmen of the U.S. House 
of   Representatives   and   Senate   energy   committees, 49   the   NOPR   misinterprets 
Congressional sentiments.  First, the sentiments of Congress are best understood through 
the legislation Congress has passed, and in the Energy Policy Acts of 1992 and 2005, 
Congress expressed a desire that the Commission promote and facilitate the creation of 
competitive energy markets.50  The NOPR would counteract those express Congressional 
directives.

Regarding the impact  of the retirements of coal  and nuclear resources  on 
reliability in RTOs/ISOs, the markets “are currently functioning as designed—to ensure

49

50

NOPR at 46,943 (citing Letter from Lisa Murkowski, Chairman, U.S. Senate Committee on Energy and Natural Resources, Fred Upton, Chairman, U.S. House of Representatives Committee on Energy and Commerce, and Ed Whitfield, Chairman, U.S. House of Representatives Subcommittee on Energy and Power to Norman Bay, Chairman, Federal Energy Regulatory Commission (July 8, 2015) (on file with the U.S.  Senate  Committee  on  Energy  and  Natural  Resources)).    The  chairmen requested that the Commission direct the RTOs/ISOs to find market solutions— not a reversion to cost-based ratemaking—to address the issue of baseload generation  retirements,  consistent  with  long-held  Congressional  policy  of encouraging competitive wholesale energy markets.  Specifically, the chairmen sought market reforms that would “[y]ield clearing prices in both energy and capacity markets that, in context, reflect true marginal cost of supply, promote necessary investment, and produce meaningful price signals that clearly indicate where new supply and investment are needed.”  Id. at 2.

E.g., Energy Policy Act of 2005, Pub. L. No. 109-58, § 1281, 119 Stat. 594, 978 (2005) (“The Commission is directed to facilitate price transparency in markets for the sale and transmission of electric energy interstate commerce, having due regard for the public interest, the integrity of those markets, fair competition, and the protection of consumers.”).

23

reliability and minimize the short-term cost of wholesale electricity.”51  Indeed, such 
retirements have not negatively impacted resource adequacy.  Figure 4.2 of the DOE 
Staff Report shows that each RTO/ISO’s region has maintained a five-year average 
reserve margin of between fifteen and thirty percent, sometimes well in excess of their 
respective targets, even in the face of significant changes in the resource mix.52

Given that reliability has been maintained throughout each RTO and ISO despite 
recent retirements, the members of the IRC have not seen a negative impact on reliability 
from the retirement of any resource.53  To the extent that a resource seeks to retire but the 
RTO/ISO determines that such resource is required to maintain reliability, the RTO or 
ISO may enter into a backstop agreement (e.g., an RMR agreement) to keep the resource 
available—and maintain reliability—until a fix is in place.  In addition, each RTO and 
ISO currently has tens of thousands of megawatts of generation in its interconnection 
queue, and has seen much new generation added over the past fifteen or so years.  Taken 
together,  the  NOPR’s  proposed  cost  recovery  scheme  is  not  needed  to  maintain 
reliability.

In fact, the proposal may erode reliability.  Providing certain classes of generation 
units full cost of service recovery without regard to their location or other unit-specific

51

52

53

DOE Staff Report at 10.

Id. at 66; see also id. at 65 (“NERC reports that all regions project more than sufficient planning reserve margins.”).

It should be noted that whether a generation unit retires  “prematurely” is a subjective determination.  The DOE Staff Report grappled with how to best address the assumption that baseload generation resources are being forced into “premature retirement.”  Id. at 7-8.  In the end, because “not every power plant retirement is cause for alarm” and “some observed power plant retirements were appropriate and consistent with markets,” the DOE Staff Report focused on “retirement trends.”  Id. at 8.

24

reliability attributes could well discourage investment in new resources needed in other 
parts of the system as investment dollars flock to support resources that enjoy the DOE’s 
proposed cost of service guarantee.  But reliability issues are often locational rather than 
system-wide.  The DOE proposal does nothing to add tools for RTOs to attract 
investment in those areas experiencing reliability challenges and, if anything, makes the 
task of attracting investment in those key areas of the system that much more difficult to 
achieve.

B.	Eligibility - Fuel Supply Requirement

Question 3:    Does the vulnerability or non-availability of on-site fuel 
	supplies vary depending upon fuel type, location, region, or 
	other factors?

Of course numerous factors affect vulnerability and non-availability of on-site 
fuel supplies.  For many man-made and natural disasters, the presence of on-site fuel 
supply would not prevent a resource from a forced outage or damage to the generation 
unit, and a Nuclear Regulatory Commission directive can render unavailable to the grid a 
single nuclear plant or an entire class of units notwithstanding the availability of on-site 
fuel.  Additionally, on-site coal piles are susceptible to freezing.  An earthquake or 
tsunami can damage a nuclear facility.  Wildfires and flooding can ruin fuel stored on 
site.

C.	Implementation

Question 3:    What is the expected impact of this proposed rule on entry 
	of new generation, reserve margins, retirement of existing 
	resources, and on resource mix over time?

The proposed rule’s compensation scheme would impact the RTOs and ISOs with 
centralized capacity markets by discouraging, rather than promoting, new entry, and 
could hasten, rather than forestall, retirement of existing generation.  By providing full

25

cost of service recovery of fixed costs to a subset of favored generators, the NOPR 
proposal if adopted would serve as a barrier to entry for new generation that lacks such a 
subsidy in those regions with centralized capacity markets.  In such markets, resources 
that are not receiving such cost guarantees will be unable to compete with subsidized 
resources, forcing more of those non-favored resources out of the market.  By enacting 
the subsidy, the Commission would merely be shifting the impetus to retire from one 
category of generators to another.  As the DOE Staff Report notes, “subsidies beget 
subsidies,”54  and competition from resources that currently obtain subsidies “reduces 
revenues for traditional baseload power plants by lowering the wholesale electric prices 
they receive and by displacing a portion of their output.”55   It logically follows that 
subsidizing “fuel-secure”  resources  would  likewise  distort  prices  in  such  capacity 
markets and improperly displace other generation resources.

In the long run, the NOPR would also undermine efforts in such RTOs and ISOs 
to develop a diverse resource mix, as subsidized generators will crowd others out of the 
market.  Further, if the NOPR applies to new resources, developers will target new 
investment toward new generation resources that qualify as “fuel-secure” under the

NOPR, knowing that there will be relatively little risk that the developer will lose money 
on its investment.56  However, resources that typically have much on-site fuel supply tend 
to be fairly inflexible and unable to quickly ramp up or down to match swings in load. 
Accordingly, there likely is a saturation point at which too many resources of a single

54

55

56

DOE Staff Report at 14 n.q. Id. at 14.

The NOPR proposes guaranteed cost recovery plus a fair rate of return.  NOPR at 46,945.

26

type negatively affects an RTO/ISO’s ability to meet demand and satisfy reserve requirements.

Finally, as discussed above, to the extent that a reliability concern arises from a 
pending retirement, RTOs and ISOs have already adopted mechanisms to study and 
postpone retirements until the reliability concerns can be addressed (e.g., RMR-type 
mechanisms).  Placing a broad, full (i.e., fixed and variable) cost of service recovery 
mechanism on top of existing reliability-based mechanisms would serve only to incent 
investment in generators that qualify for the NOPR’s subsidy, to the detriment of efforts 
to maintain a diverse resource portfolio that can efficiently and economically supply 
energy and reserves.

D.	Rates

Question 1:    The proposed rule lists compensable costs that should be 
	included in the rate as operating and fuel expenses, costs of 
	capital  and  debt,  and  a  fair  return  on  equity  and 
	investment. Are   there   other   costs   that   would   be 
	appropriate to be included in the rate?  Would any of the 
	listed costs be inappropriate for inclusion?

The NOPR institutes a rate-setting regime whereby RTOs and ISOs would be 
obligated to “establish a tariff that provides a just and reasonable rate” providing 
“recovery of costs and a return on equity for such resources dispatched during grid 
operations”  that “include[s]  pricing  to  ensure  that  each  eligible  resource  is  fully

compensated for the benefits and services it provides,” such that “each eligible resource 
recovers its fully allocated costs and a fair return on equity.”57  The Commission should 
clarify that it does not propose to put RTOs and ISOs in a rate-setting function by 
requiring them to develop tariffs that assess what is a just and reasonable rate and a fair

57

NOPR at 46,948.

27

return on equity for each eligible generator.  Rather, the Commission should clarify that 
the ISOs and RTOs would adopt tariff language allowing for cost of service recovery for 
eligible generators, but each generator would be required to obtain approval from the 
Commission that the cost of service rates they seek to recover under the RTO’s or ISO’s 
tariff are just and reasonable.  The Commission should be the authority to determine 
which costs a generator would be permitted to recover as part of a Commission 
proceeding in which interested parties, including the RTO or ISO if it chooses, are free to 
participate.  The Commission, not RTOs or ISOs, is the appropriate body to determine 
just and reasonable rates, including designing a rate that “fully compensate[s]”58 each 
eligible generator for all of its costs, which the NOPR defines to include “operating and 
fuel expenses, costs of capital and debt, and a fair return on equity and investment.”59

The NOPR also fails to address the process for parties to challenge costs that are 
flowed through the compensation regime established by the rule.  Once the RTOs and 
ISOs file their tariff mechanisms and generators complete their rate approval process at 
the Commission, generators presumably would be permitted to flow through their costs 
with little or no oversight.  Under a cost of service paradigm, parties are able to challenge 
whether an asset is used and useful and whether expenditures were justified and 
prudently incurred.  Historically, this opportunity was afforded whenever the utility 
applied for a rate change.  With the proliferation of formula rates (at least in the

transmission  setting),  the  Commission  has  gone  to  great  lengths  to  ensure  that 
transmission providers establish detailed formula rate protocols that provide opportunities

58

59

NOPR at 46,948.

Id.

28

for interested parties to review and challenge costs and expenses before they are automatically flowed-through RTO rates. 60   None of these consumer protections are spelled out in the NOPR proposal.

Question 4:    How would the requirement that eligible resources receive 
	full cost recovery be reconciled with the requirement, as 
	stated in the regulatory text, that resources be dispatched 
	during grid operations?

In markets where generation resources receive payments only when responding to 
dispatch instructions, full cost recovery through the market does not appear attainable 
absent a guaranteed must-run requirement.  That is, the “full cost recovery” rate would 
need to be designed based on a certain set of dispatch hours, i.e., the denominator in the 
rate calculation.  Without a predetermined denominator, it is impracticable to design a 
rate that would allow a generation resource to recover its full cost of service solely in 
response to market payments for dispatch.  Stated another way, a cost of service rate is 
antithetical  to  the  competitive  wholesale  market  construct,  where  generators  are 
compensated at the applicable marginal price during their run time.

60

See, e.g., Midwest Indep. Transmission Sys. Operator, Inc., 143 FERC ¶ 61,149, at PP 16-19, 34, 83 (2013) (requiring transmission owners to revise their formula rate  protocols  to  improve  transparency  and  establish  informal  and  formal challenge procedures); see also Kansas City Power & Light Co., 148 FERC ¶ 61,034 (2014) (same); Westar Energy, Inc., 148 FERC ¶ 61,033 (2014) (same); UNS Elec., Inc., 148 FERC ¶ 61,032 (2014) (same); Louisville Gas & Elec. Co., 148 FERC ¶ 61,031 (2014) (same); Empire Dist. Elec. Co., 148 FERC ¶ 61,030, at P 4 (2014) (same).

29

E.	Other

Question 1:    The proposed requirement for submitting a compliance 
	filing is 15 days after the effective date of any Final Rule in 
	this proceeding, with the tariff changes to take effect 15 
	days after the compliance filings are due.  Please comment 
	on the proposed timing, both to develop a mechanism for 
	implementing the required changes and to implement those 
	changes, including whether or not such changes could be 
	developed and implemented within that timeframe.

The proposed requirement that RTOs and ISOs submit their compliance filings a 
mere fifteen days after the effective date of the final rule (and thus only forty-five days 
after the rule is published) is unreasonable and contrary both to Commission policy and 
past practices.  The NOPR proposes a drastic redesign of existing competitive market 
structures, but provides very little implementation details and no discussion about 
acceptable cost allocation for the proposal.  Given the dearth of specificity in the NOPR, 
parties will be left guessing as to what might be an acceptable compliance proposal until 
such time as the final rule is issued.  Giving only forty-five days from that point will deny 
RTOs and ISOs adequate time to craft compliant policies and develop tariff revisions. 
Equally significantly, a forty-five day window from issuance of the final rule to 
submission of compliance filings provides very little time for RTOs and ISOs to initiate 
stakeholder discussions, let alone time for the RTOs and ISOs to consider what are very 
likely to be highly disparate stakeholder views on the RTO/ISO’s compliance proposal. 
Ironically, the NOPR specifically requests “detailed comments” regarding the “processes 
for RTOs/ISOs to vet proposed changes amongst their stakeholders,”61 yet the proposed 
timeline is insufficient to accommodate such stakeholder vetting.  Accordingly, the

61

NOPR at 46,946.

30

proposal significantly undermines RTO/ISO efforts to adhere to the Commission’s 
longstanding policy that RTOs/ISOs consider the views of their stakeholders.62 
	The compressed, fifteen-day deadline from the submission of Tariff changes for implementation  of  the  compensation  mechanism  is  even  more  problematic.    The considerable market design changes proposed in the NOPR will require substantial changes to market procedures and software,63 which cannot possibly occur within fifteen days after the tariffs are submitted.  Changes of this magnitude often take months, if not years, to develop before they are implemented.  The fifteen-day effective date proposal also deprives the Commission of sufficient time to consider RTO/ISO compliance proposals once filed, and provides very little, if any, time for public comment, which is contrary to notice and due process requirements of the FPA and APA.64  Finally, in the event that the Commission requires changes to an RTO’s original compliance proposal, such original compliance proposal, flawed as it may be, will already be in effect before the Commission orders changes.  This will, by definition, result in customers being

62

63

64

See, e.g., Order No. 719 at PP 502-10 (requiring RTOs and ISOs to implement mechanisms  to  comply  with  RTO/ISO “responsiveness”  criteria  including:

(1) ensuring that the views of all customers or other stakeholders are brought before  the  RTO/ISO’s  board; (2)  fairness  in  balancing  diverse  interests;

(3) consideration of minority viewpoints; and (4) ongoing responsiveness).

Because the compliance proposals likely will not be finalized until shortly before submission of the compliance filings, software engineers will not be able to begin any meaningful development of the necessary software changes until the tariffs are submitted.  The likelihood of having redesigned market systems in place to meet the fifteen-day effective date is slim.

Obviously, the Commission’s customary twenty-one day comment period for rate submissions cannot possibly be accommodated under the expedited schedule required by the NOPR.

31

subject to unjust and unreasonable rates for a period of time until compliance revisions are in effect.

The drastically compressed timeframe for submission of compliance filings and 
implementation is also contrary to the Commission’s customary practices when issuing 
new market regulations.  Given the complexity and significant impact of market design 
changes,  the Commission  typically affords  substantially more time  to  submit and 
implement compliance filings after final rules are issued.65  Market-related rulemakings 
that are far less complicated and far less controversial have afforded considerably more 
time for submission of compliance filings and implementation than the NOPR proposes.

Question 2:    Please comment on the proposed rule’s estimated burden of 
	$291,042   per   respondent   RTO/ISO,   to   develop   and 
	implement new market rules as proposed, including the 
	potential software upgrades required to do so.

The estimated cost burden is unrealistically low.  To implement the NOPR, each RTO must incur expenses related to, for example, market design changes, stakeholder meetings, tariff drafting efforts, software changes, and costs and fees associated with litigating regulatory proceedings.  If experience is any guide, such efforts will be in millions of dollars for each RTO.  The NOPR’s estimate is unrepresentative of the total cost of complying with a rule of this magnitude.

65

See, e.g., Settlement Intervals and Shortage Pricing in Markets Operated by Regional Transmission Organizations and Independent System Operators, Order No. 825, III FERC Stats. & Regs., Regs. Preambles ¶ 31,384, at PP 204-05 (2016) (providing 120 days for submittal of compliance filing); Demand Response Compensation in Organized Wholesale Energy Markets, Order No. 745, 2008-
2013 FERC Stats. & Regs., Regs. Preambles ¶ 31,322, at P 81 (providing 120 days for submittal of compliance filing), order on reh’g & clarification, Order No. 745-A, 137 FERC ¶ 61,215 (2011), reh’g denied, Order No. 745-B, 138 FERC ¶ 61,148 (2012), vacated, Elec. Power Supply Ass’n v. FERC, 753 F.3d 216 (D.C. Cir. 2014), rev’d & remanded, 136 S. Ct. 760 (2016); Order No. 719 at P 578 (providing six months for submittal of compliance filings).

32

Question 3:    Please describe any alternative approaches that could be 
	taken to accomplish the stated goals of the proposed rule.

Rather than adopt a uniform cost of service compensation requirement for each 
RTO/ISO-administered competitive wholesale market, the Commission should highlight 
in its final action on the NOPR any issues identified by the Commission or public 
commenters that warrant further evaluation, and then leave it to each RTO and ISO to 
assess whether the issue is relevant to its market and, if so, propose a solution appropriate 
for its market.  As the DOE Staff Report recognizes and the Commission repeatedly has 
acknowledged, each RTO/ISO market has different features and designs.66  Imposing a 
one-size-fits-all solution to an issue that may not exist in all markets without any regard 
for different market impacts, structures, and designs, is bad regulatory policy.  When 
promulgating new market requirements, the Commission frequently espouses a respect 
for regional differences and flexibility, and in fact often eschews requests that the 
Commission require uniformity.67  The Commission should not abandon this policy by 
adopting the NOPR’s one-size-fits-all compensation proposal.

66

67

See, e.g., Order No. 719 at P 234 (“[B]ecause each market design is different, the changes to market rules should reflect each region’s market design.”); see also Electric Storage Participation in Markets Operated by Regional Transmission Organizations   and   Independent   System   Operators,   Notice   of   Proposed Rulemaking, IV FERC Stats. & Regs., Proposed Regs. ¶ 32, 718, at P 2 (2016) (“Each RTO/ISO establishes the participation models for different types of resources and the technical requirements for providing services in a slightly different way.”); see also DOE Staff Report at 102 (noting that “U.S. market structures vary widely”).

See, e.g., Cal. Indep. Sys. Operator Corp., 134 FERC ¶ 61,211, at P 129 (2011) 
(“The Commission has previously rejected requests to require a one size fits all 
approach to resource adequacy and does so again in this proceeding.”); Frequency 
Regulation Compensation in the Organized Wholesale Power Markets, Order 
No. 755, 2008-2013 FERC Stats. & Regs., Regs. Preambles ¶ 31,324, at P 75 
(2011) (declining to mandate standardized market rules, instead allowing RTOs 
“flexibility to design market rules that accommodate their markets”), reh’g

33

III.	CONCLUSION

For  the  foregoing  reasons,  the  IRC  members  respectfully  request  that  the Commission decline to adopt the NOPR as a final rule and instead adhere to its longstanding support for competitive markets.  The reforms proposed in the NOPR would undermine markets structures that the Commission and the RTOs/ISOs have worked decades to develop and refine, and would degrade, rather than enhance, the reliability of the nation’s energy system.  Rather than adopt the NOPR, the Commission should continue its efforts to incorporate state policies, enhance price transparency, and foster the consideration of reliability concerns in markets.

Respectfully submitted,

/s/ James M. Burlew Craig Glazer

Vice President-Federal Government Policy Suite 600

1200 G Street, N.W. 
Washington, D.C. 20005 Craig.Glazer@pjm.com James M. Burlew

Senior Counsel

PJM Interconnection, L.L.C.

2750 Monroe Boulevard 
Audubon, Pennsylvania  19403 james.burlew@pjm.com

/s/ Raymond W. Hepper

Raymond W. Hepper

Vice President, General Counsel, and 
	Secretary

Maria Gulluni

Deputy General Counsel

ISO New England Inc.

One Sullivan Road

Holyoke, Massachusetts  01040 mgulluni@iso-ne.com

denied, Order No. 755-A, 138 FERC ¶ 61,123 (2012); Order No. 719 at PP 59, 
86, 160 (declining to mandate that RTOs develop standardized procedures for 
demand response); Long-Term Firm Transmission Rights in Organized Electricity 
Markets, Order No. 681, 2006-2007 FERC Stats. & Regs., Regs. Preambles 
¶ 31,226, at PP 22, 84-85, order on clarification, Order No. 681-A, 117 FERC 
¶ 61,201 (2006), order on reh’g, Order No. 681-B, 126 FERC ¶ 61,254 (2009).

34

/s/ Anna McKenna 
Roger E. Collanton 
General Counsel 
Anna McKenna

Assistant General Counsel, Regulatory Andrew Ulmer

Director, Federal Regulatory Affairs

California Independent System Operator Corporation

250 Outcropping Way Folsom, California  95630 amckenna@caiso.com

/s/ Andre Porter

Andre Porter

Vice President & General Counsel Eric Stephens

Deputy General Counsel Michael Kessler

Managing Assistant General Counsel

Midcontinent Independent System 
	Operator, Inc.

720 City Center Drive Carmel, Indiana 46032 317-249-5173

aporter@misoenergy.org

/s/ Tam Wagner

Tam Wagner

Senior Manager, Regulatory Affairs Maia Chase

Senior Regulatory Analyst

Independent Electricity System Operator

1600-120 Adelaide Street West Toronto Ontario  M5H1T1

Canada

tam.wagner@ieso.ca 
maia.chase@ieso.ca

October 23, 2017

35

/s/ Raymond Stalter

Robert E. Fernandez General Counsel

Raymond Stalter

Director, Regulatory Affairs Karen G. Gach

Deputy General Counsel

New York Independent System Operator, Inc.

10 Krey Boulevard Rensselaer, NY  12144 rstalter@nyiso.com

/s/ Paul Suskie

Paul Suskie

Executive Vice President & General 
	Counsel

Richard Dillon

Director, Market Policy

Southwest Power Pool, Inc.

201 Worthen Drive

Little Rock, Arkansas  72223-4936 psuskie@spp.org