UNITED STATES OF AMERICA 
	BEFORE THE

FEDERAL ENERGY REGULATORY COMMISSION

Grid Reliability and Resilience Pricing	)	Docket No. RM18-1-000

COMMENTS OF THE NEW YORK INDEPENDENT SYSTEM OPERATOR, INC.

In accordance with the Notice Inviting Comments issued by the Commission on October 
2, and with the October 11 Notice of Publication in the Federal Register, in the above-referenced 
proceeding, the New York Independent System Operator, Inc. (“NYISO”) hereby submits these 
comments in response to the Secretary of Energy’s (“Secretary’s”) proposed “Grid Resiliency 
Pricing Rule” (the “NOPR”).1  The NYISO has also prepared responses to all but one of the 
questions posed by Commission Staff’s October 4 information request.2  In addition, the NYISO 
is a party to and supports the comments that are being submitted concurrently by the ISO/RTO 
Council in this docket.

The NYISO’s mission includes maintaining and enhancing regional reliability, operating 
open, fair, and competitive wholesale electricity markets, planning the power system of the 
future, and providing factual information to policy makers, stakeholders, and investors.  The 
NYISO is also committed to maintaining the integrity of competitive wholesale electric markets 
to preserve the many benefits that they have provided to consumers.  The NYISO has actively 
facilitated efficient wholesale price formation efforts and performed transmission system 
planning to maintain reliability as resource mixes have evolved over time.  This includes

1 Department of Energy, Notice of Proposed Rulemaking, Grid Resiliency Pricing Rule, 82 Fed. Reg. 46,940 (Oct. 10, 2017) (“NOPR”).

2 See the Attachment to these comments which contains the NYISO’s responses to all of Staff’s questions except for “Other - Question 5” (“Attachment”).

1

exploring the grid “resiliency” issues raised in the NOPR.  As discussed below, and in the Attachment,3 the NYISO’s market rules, to a large extent, already value and compensate resources that provide “resiliency” in various ways.

If the Commission decides to act in this docket, it should, as it has in earlier Department 
of Energy-initiated4 rulemakings,5 seek to achieve the Secretary’s stated policy objectives but 
modify the NOPR to reflect current system needs and to develop more practicable solutions.  The 
NYISO cannot support the NOPR’s proposed regulatory changes in their current form.  The 
proposed “grid resiliency pricing” rule is flawed and premised on assumptions and statements 
that are not accurate as they relate to New York.  The NOPR does not establish that its proposal 
is appropriate or that “grid resiliency” issues should be addressed the same way in different 
regions.  The NOPR appears to call for the proliferation of cost-based compensation mechanisms 
without regard for cost effectiveness or tangible benefits.  It therefore threatens serious harm to 
both markets and consumers.  Furthermore, the NOPR’s deadlines for ISOs and RTOs to develop 
and implement compliance filings are unreasonably abbreviated and unworkable. 
	Through any action in this docket, the Commission should preserve the integrity of 
existing market designs and accommodate regional differences.  Finally, the Commission must 
give ISOs/RTOs a reasonable amount of time to develop and implement any rule changes.

3 See Attachment, NYISO Response to “Need for Reform - Question 1.”

4 The Secretary initiated this proceeding under Section 403 of the Department of Energy Organization Act.  42 U.S.C. §7173.

5 See  FERC Statutes and Regulations ¶30,701, Ceiling Prices; Old Gas Pricing Structure, Order No. 451, (June 6, 1986) at 30,210 (explaining that the Commission was adopting a modified version of a rule first proposed by the Secretary and that its action represented “an endorsement of the objectives set forth in the DOE proposal, modified to recognize the current needs of the natural gas market for 
regulatory change and the most practical means of meeting those needs.”)

2

I.	COMMUNICATIONS AND CORRESPONDENCE

All communications and correspondence concerning these Comments should be served as 
follows:

Robert E. Fernandez, General Counsel

Raymond Stalter, Director, Regulatory Affairs Karen G. Gach, Deputy General Counsel

*Alex M. Schnell, Assistant General Counsel/Registered Corporate Counsel *James H. Sweeney, Senior Attorney

10 Krey Boulevard

Rensselaer, NY 12144 
Tel:  (518) 356-6000 
Fax: (518) 356-8825 
aschnell@nyiso.com 
jsweeney@nyiso.com

*Person designated for receipt of service.

II.	COMMENTS

A.	The NOPR’s Findings Are Inconsistent with the NYISO’s Reliability Analyses, its

Experience with Extreme Weather Conditions, and its Current Resource Mix

A central premise of the NOPR is the Secretary’s concern that ISO/RTO market rules 
have driven large scale retirements of “fuel secure” generation which has in turn created a 
reliability “crisis.”  The NOPR asserts that, “[i]mmediate action is necessary to ensure fair 
compensation in order to stop the imminent loss of generators with on-site fuel supplies, and 
thereby preserve the benefits of generation diversity and avoid the severe consequences that 
additional shut-downs would have on the electric grid.”6  While the NYISO shares the

Secretary’s concerns about reliability and “resiliency” as a general proposition, the NOPR's 
specific findings are not consistent with the NYISO’s experience or with conditions in New 
York.

6 NOPR at 46,945.

3

Although the NOPR makes many references to grid “resiliency” it does not adequately develop the concept or define the term.  The NYISO looks to the National Infrastructure 
Advisory Council’s definition of “resilience” as “the ability to reduce the magnitude and/or duration of disruptive events.”7  The NYISO understands resiliency to be closely interrelated with reliability as “a means of providing incremental reliability above and beyond that required to maintain the minimum reliable operation of the system.”8  All references by the NYISO to “resilience” and “resiliency” in these comments reflect this understanding.

1.	The NYISO Is Not Aware of Any Imminent Threat to Reliability Due to

Retirements of “Fuel Secure” Generation

The NYISO is responsible for the reliable operation of the wholesale electric system in 
New York State.  It has a deep understanding of how the wholesale electric system operates dayto-day, frequently conducts operational studies, and engages in comprehensive system and 
resource planning.  The NYISO is not aware of any imminent emergency likely to develop on 
the wholesale electric system that necessitates drastic and immediate action, particularly in the 
form proposed in the NOPR.

The NYISO engages in seasonal assessment and preparedness studies to review system 
operation, available capacity, gas-electric coordination and fuel inventory.  In addition, the 
NYISO conducts reliability planning, economic planning, transmission planning and analyzes 
the reliability criteria impacts every time a generator in the New York Control Area (“NYCA”) 
deactivates or retires.  Recent NYISO analyses have all concluded that all resource adequacy 
criteria have been satisfied and are expected to continue to be satisfied for the foreseeable future.

7 National Infrastructure Advisory Council, Critical Infrastructure Resilience - Final Report and Recommendations at 8 (September 8, 2009), available at:

https://www.dhs.gov/sites/default/files/publications/niac-critical-infrastructure-resilience-final-report-09-
08-09-508.pdf.

8 See  Attachment,  NYISO Response to “Need for Reform - Question 2.”

4

The NYISO has not identified any imminent threat to reliability in New York from alleged flaws in resiliency pricing.

2. 	The NYISO Effectively Managed Reliability During the “2014 Polar Vortex”

and has Made Changes to Achieve Even Greater Resiliency

The Proposal points to the “2014 Polar Vortex” as a “warning that the current and

scheduled retirements of fuel-secure plants could threaten the reliability and resiliency of the

electric grid.”9  Winter 2013-2014 was characterized by numerous periods of colder than average weather beginning in December 2013 and extending into February 2014.  The winter included five major cold snaps that extended across much of the United States.

While the “2014 Polar Vortex” presented extreme weather conditions in New York, the 
NYISO effectively managed reliability throughout this event and has taken many steps to reduce 
the risks posed by similar events in the future.  The NYISO has substantially addressed the 
concerns that were identified as a result of the Polar Vortex; but the NYISO and its market 
participants remain vigilant on maintaining reliability and regularly review market mechanisms 
that will continue to improve on our readiness.  The NOPR does not accurately characterize the 
risks that events like the Polar Vortex events could pose to New York in the future. 
	On January 7, 2014, the NYISO set a new record winter peak load of 25,738 MW during the Polar Vortex.  The NYISO met all reliability criteria and reserves requirements without 
activating emergency procedures at any time during the winter operating period.  It did so despite 
significant generator capacity derates on some of the coldest days, including generation 
resources that would appear to qualify under the NOPR as “eligible grid and reliability 
resources.”  In the early part of the winter, the NYISO’s efforts focused on managing generator 
capacity derates, some of which resulted from fuel supply or cold weather issues.  The NYISO

9 See  NOPR at 46,942-43.

5

also worked with the New York Transmission Owners (“NYTOs”) to cancel or reschedule

transmission outages.  During the latter part of the winter, due to the increased use of oil-fired

resources, the NYISO’s efforts focused on monitoring potential fuel depletions that could lead to generator capacity derates and working with generators to ensure that their operating status was accurately reflected in the markets.

As discussed in greater detail in the Attachment,10 the NYISO has implemented various 
operational and market design changes in response to the Polar Vortex.  It has continued to 
perform seasonal fuel assessments of gas transportation, alternative fuel inventories and 
predicted replenishment rates each winter since 2013-2014.  A new web-based portal allows 
generators to submit updated fuel information that provides greater situational awareness of 
generator availability to NYISO operators.  The NYISO has also improved generator energy 
offer reference level management so that NYCA generators may now submit the most up-to-date 
fuel price or type information when it is needed.  The NYISO has enhanced its gas system 
awareness by incorporating generators’ fuel capability information into the visual displays used 
by control room operators.  The NYISO also coordinates with pipelines and local gas distribution 
companies to better reconcile pipeline outage scheduling with the NYISO’s scheduling. 
	In addition, the NYISO has made improvements to the Energy and Ancillary Service 
Markets to enhance the quantity of resiliency services that it purchases and the value assigned to 
them.  In November 2015, the NYISO implemented its “Comprehensive Shortage Pricing 
Enhancements” which augmented its procurement of reserve products to improve system

10 Attachment, NYISO Response to “Need for Reform - Question 2” and  “90-day Requirement -
Question 2.”

6

responsiveness to unplanned contingency events.11  The implementation included new locational 
reserve requirements, increased procurement targets and escalating price tiers.  Improved 
shortage pricing rules capture the escalating value of regulation, reserves and transmission 
security under shortage conditions and thus better account for the value of resiliency.  Similarly, 
in July 2016, the NYISO implemented its “Comprehensive Scarcity Pricing Enhancements” 
which improved price formation protocols to better reflect operations during critical demand 
response activations.

Finally, many other features have been incorporated into the NYISO’s capacity market 
rules that reflect the importance of resiliency to withstand severe weather events.  As discussed 
in the Attachment,12 these include basing the downstate Installed Capacity (“ICAP”) Demand 
Curves on an assumption that peaking plant designs will include dual fuel capability.  This 
means that capacity payments in New York already compensate for the costs of having and 
maintaining dual fuel capability.  The ICAP Demand Curves also reflect the costs of hardening 
infrastructure at New York City generation plants to better withstand major storms.  The NYISO 
is open to exploring through its stakeholder process other market-based mechanisms that might 
be needed to more fully reflect the value of resiliency.  However, the NOPR’s approach would 
distort, if not destroy, wholesale market signals needed to attract and retain resources required 
for reliability.

3.	New York’s Resource Mix and Risk of Losing Additional “Fuel

Secure” Generation Differ Substantially from What the NOPR

Envisions

11 New York Independent System Operator, Inc., Proposed Tariff Revisions to Ancillary Service Demand Curves and the Transmission Shortage Cost, Docket No. ER15-1061-000 (February 18, 2015); New York Independent System Operator, Inc., 151 FERC ¶ 61,057 (2015).

12 See  Attachment, NYISO Response to “Need for Reform - Question 1.”

7

The NOPR assumes that all ISO/RTO regions with organized energy and capacity

markets are heavily dependent on “fuel secure” generation and are equally vulnerable to large 
scale retirements by such resources.  New York, however, has a diverse resource mix with little 
coal-fired generation.  Further, the majority of nuclear plants in New York are already eligible 
for supplemental compensation.  To the extent that additional grid resiliency is needed in New 
York it appears that investments in transmission and distributed resources would be a more 
practical and cost-effective way to provide it.  In fact, the NYISO Board recently approved a 
major new public policy transmission project to increase access to hydroelectric resources in 
western New York that will enhance grid resiliency.13  The Commission should not take any 
action in this proceeding that overlooks the real world characteristics of New York’s resource 
mix.

The NYCA’s current resource mix is described in more detail in the Attachment.14

Briefly, more than sixty percent of existing generation capacity in the NYCA burns natural gas or oil with a majority of these resources capable of burning both (i.e., dual fuel units).  Nuclear generation contributes approximately fourteen percent of existing generation capacity, while less than three percent of existing generation capacity uses coal as its fuel source.  The remaining generation capacity, approximately twenty percent, is hydroelectric generation (run-of-river and pond storage), wind generation, and other renewable generation.

It is important to understand that most nuclear generators in New York are already

eligible to receive payments under a state program for their zero-emissions attributes, i.e., Zero-

13 See  Press Release, NYISO Selects NextEra Transmission Project to Increase Access to Hydro 
Power Addresses Public Policy Transmission Need in Western New York (October 17, 2017) available at 
<http://www.nyiso.com/public/webdocs/media_room/press_releases/2017/NYISO-Selects-NextEra-
Transmission-Project-to-Increase-Access-to-Hydro-Power.pdf>

14 See Attachment, NYISO Response to “Need for Reform -- Question 4.”

8

Emissions Credit (“ZEC”) payments, which supplement energy, capacity, and ancillary services 
revenues.15  In 2016, the New York State Public Service Commission (“NYPSC”) issued its 
Order Adopting a Clean Energy Standard, in part, to compensate nuclear generators for their 
environmental attributes.16 “Upon a determination of facility-specific public necessity, the

owner of the zero-emissions generating facility would be offered a multi-year contract . . . to

purchase ZECs from the period beginning on the first day of the two-year tranche for which that facility was found eligible, through March 31, 2029.”17  The ZEC payments are designed to prevent premature retirement by compensating nuclear generators for a specific attribute, i.e., zero carbon emissions, to which New York State assigned a value.

Further, it is unclear whether any of the few remaining coal units in New York would

qualify for the 90 day on-site fuel requirement.  In short, it appears that very little of New York’s generation fleet, if any, is contemplated under the NOPR.  Nevertheless the NOPR represents an approach that is directly at odds with NYISO’s well-functioning market design.

B.	The Commission Should Not Adopt the NOPR’s Proposed Changes in their Current

Form

1. 	If the Commission Decides to Issue a Final Rule on “Grid Reliability and

Resiliency Pricing” it Should Enhance Existing Market Mechanisms to 
Ensure that they Appropriately Value Resiliency When It Is Needed

15 Three nuclear generators in the NYCA are eligible to receive ZEC payments; (1) the R.E.

Ginna Nuclear Power Plant, (2) the James A. FitzPatrick Nuclear Generating Facility, and (3) the Nine Mile Point 1 and 2 Nuclear Station.  The Indian Point Nuclear Generation Facility is not eligible to 
receive ZEC payments and has agreed to shut down beginning in 2020 pursuant to a contract with the State of New York.

16 NYPSC Case No. 15-E-0302 - Proceeding on Motion of the Commission to Implement a

Large-Scale Renewable Program and a Clean Energy Standard, Order Adopting a Clean Energy Standard (August 1, 2016).

17 Id. at p. 50.

9

Since they were established roughly two decades ago, ISO/RTO-administered

competitive wholesale electric markets have provided significant benefits to consumers including 
increased generation efficiency, reduced reserve requirements, fuel cost savings, and improved 
investment signals.  Generation performance and operational improvements have reduced 
reserve margin requirements, producing savings of $540 million in New York alone since 
2000.18  Since the NYISO’s inception, fuel efficiency improvements of the State’s generation 
fleet have exceeded the national average by more than 300%, producing approximately $7 billion 
in fuel cost savings.  Over this same time period, emissions of harmful pollutants from the 
State’s generators have decreased dramatically providing significant air quality improvements. 
Between 2000 and 2016, SO2 emissions declined 98%, NOx emissions fell by 87% and CO2 
emissions were reduced by 43%.19

Competitive markets have achieved these significant benefits while shifting the risk of

generation investments from consumers to independently-owned generating companies and their investors.  Competitive markets have also fostered greater grid resiliency by better identifying 
and valuing it.

There is every reason to expect that the benefits of ISO/RTO-administered wholesale

energy markets will continue in the future.  However, the existing markets could be severely

disrupted if special cost-based compensation mechanisms for favored resource types become

widespread.  Such subsidies could ultimately jeopardize reliability, skew investment signals, and

18 See, e.g., New York Independent System Operator, Inc., Powering New York - Responsibly, available at

http://www.nyiso.com/public/webdocs/media_room/publications_presentations/Other_Reports/Other_Re 
ports/NYISO_15_Year_Brochure.pdf.

19 See  New York Independent System Operator, Inc., Power Trends: New York’s Evolving Electric Grid, “From the CEO”; available at

http://www.nyiso.com/public/webdocs/media_room/press_releases/2017/Child_Power_Trends_2017/201 
7_Power_Trends.pdf.

10

harm consumers.  These risks are acute in New York, notwithstanding its relatively limited

amount of in-state coal-fired generation, given the potential that energy from subsidized coal-
fired generation in neighboring states might be imported into New York. 
	The Commission should recognize that existing ISO/RTO market designs already value “resiliency” in various ways and that the best way to ensure that resiliency is appropriately valued is to work within the ISO/RTO market frameworks, not outside of them.  Market rules can be adjusted to accommodate changing public policy priorities, such as those targeted in the NOPR, without making excessive and harmful use of cost-of-service mechanisms.20

2. 	The NYISO Market Design to a Large Extent Values Resiliency by Linking

Compensation to Resource Performance in Cost Effective Ways and Can Be Modified to the Extent Necessary to Ensure that Resiliency Is Not 
Undervalued

The NYISO-administered markets have been designed in a manner that seeks to provide proper financial incentives and price signals to assure the continued reliable operation of the electric system in New York.21  The NYISO’s existing market design values resilience as an element of reliability.  All resources that satisfy defined performance criteria are eligible to 
compete to provide reliability services in the NYISO-administered markets - regardless of 
technology or fuel type.  Importantly, resources are paid for the reliability and resilience services that they provide based on competitive market outcomes.

NYISO market mechanisms, such as the ICAP Demand Curve and shortage pricing rules, provide compensation not just for the level of service needed to meet minimum reliability

20 As Commissioner LaFleur reportedly emphasized at a recent conference, market designs have 
previously been adjusted to compensate resources that provide services but that in each case “the market 
design started with an attribute, figured out why it was needed and then used the market to price it.”  DOE NOPR on Grid Resiliency Lights Firestorm; Eyes Turn to FERC for Response, Foster Electric Report No. 3168 (October 6. 2017).

21 See  Attachment, NYISO Response to “Need for Reform - Question 1.”

11

standards but for incremental contributions that exceed the minimum requirements.  However, most of these market structures recognize that the value of procuring additional reliability 
services progressively diminishes after the reliability standards are satisfied and reduces 
compensation for additional increments accordingly.  The NOPR does not consider the need to prevent customers from paying for redundant resiliency that provides no real reliability benefit. Any rule aimed at properly valuing resiliency should limit resiliency compensation to instances where it is beneficial and cost-effective.

As discussed in the Attachment,22 the NYISO prefers technology-neutral market-based 
solutions to meet reliability and resiliency objectives that can be demonstrated to meet a specific 
need.  Suppliers that demonstrate high levels of operating performance and fuel assurance should 
be eligible to receive higher market-based revenues.  If the Commission determines that the 
existing NYISO markets are not fully valuing resiliency benefits, the Commission should 
recognize that it is necessary to define a specific reliability need and the minimum amount of 
qualified capacity necessary to meet it.  The NYISO should then be permitted to develop market 
rules to select among all eligible resources to meet the need, without over-procuring (or 
overpaying).  The NYISO is confident that if the behaviors or characteristics that provide 
enhanced resiliency can be clearly articulated, the markets can be harnessed to achieve the 
desired benefits at the lowest costs to consumers.  Such rules would be more efficient and cost-
effective than the cost-based compensation arrangements envisioned by the proposed rule.

22 See  Attachment, NYISO Responses to “General Eligibility  - Question 4” and “Other -
Question 3.”

12

In the alternative, if the Commission requires ISOs/RTOs to adopt cost-based

compensation mechanisms, they should be as limited in scope and duration as possible.23  This is 
consistent with the Commission’s prior findings that ISO/RTO administered competitive markets 
should utilize out-of-market solutions, such as cost-of-service based compensation mechanisms, 
only as a measure of last resort for meeting immediate reliability needs.24  The Commission has 
emphasized that use of such mechanisms when absolutely necessary to maintain short-term 
reliability must be of limited duration to avoid undermining price formation in the competitive 
markets.25

Introducing cost-of-service rates for certain generation resources without demonstrating a 
specific need for particular services from those resources is contrary to the basic principles that 
have made markets successful and may have adverse effects on reliability.  Doing so would 
effectively insulate certain generation resources from temporal and location-based wholesale 
market price signals and remove the incentives for resources to maintain and efficiently operate 
their facilities.  Reductions in energy and capacity prices resulting from making resources 
indifferent to price signals could place additional financial strain on other existing generation 
resources.  Such financial strain could inadvertently accelerate the retirement or mothballing of

23 See  Attachment at n. 9, for a description of the NYISO’s “minimum oil burn” rules which are an example of a carefully-tailored, appropriately narrow-in-scope cost-based compensation regime for resiliency services that complements the NYISO’s markets.

24 See, e.g., New York Independent System Operator, Inc., 150 FERC ¶ 61,116 at P 16 (2015)

(directing tariff provisions to providing for the rates, terms and conditions to retain generation resources 
seeking to deactivate that are needed for transmission system reliability as “a last resort option for 
meeting immediate reliability needs”); California Independent System Operator Corporation, 134 FERC 
¶ 61,211, at P 130 (2011) (directing tariff provisions providing that risk of retirement designation may be 
exercised “only if all other available procurement measures fail to procure the resources needed for 
reliable operation”).

25 See, e.g., New York Independent System Operator, Inc., 150 FERC ¶ 61,116 at P 2 (2015); PJM Interconnection, L.L.C, 107 FERC ¶ 16,112 at P 20-21 (2004); Midwest Independent Transmission 
System Operator, Inc., 108 FERC ¶ 61,163 at P 368 (2004).

13

other generation facilities, or stall the development of new more efficient generation, that is not eligible for cost-of-service rates under the NOPR.

Cost-of-service compensation for certain resources will also impede the market’s ability 
to procure the most efficient resources that minimize costs to consumers.  Such compensation 
unnecessarily transfers the risk that certain resources may not be economically viable from 
private investors and developers to those that are unable to manage and mitigate such risk -
consumers.  Significantly, the NOPR does not address the reliability concerns that arise when 
resources are insulated from the financial consequences of their operation or explain how the 
broad use of cost-based compensation mechanisms could be reconciled with the organized 
markets.26

C. 	To the Extent that the Commission Adopts a Final Rule it Should Direct ISOs/RTOs

to Make Compliance Filings that Address “Grid Reliability and Resiliency” Pricing in a Manner that Is Appropriate for their Markets and Regions

1.	If the Commission Decides to Issue a Final Rule it Should Permit ISOs/RTOs

to Take the Lead in Developing Effective Solutions for their Individual

Regions

For the reasons set forth above, if the Commission decides to address “Grid Reliability 
and Resiliency Pricing” issues in this docket it should not adopt the approach proposed by the 
NOPR.  If the Commission determines that the New York markets are not fully valuing 
resiliency benefits, it should direct the NYISO to work with its stakeholders to define the 
appropriate attribute to address a specific need, value that attribute, and determine the minimum 
amount of qualified capacity necessary to meet it.  The NYISO should then be permitted to 
develop market rules to select among all eligible resources to meet the need in the most 
economically efficient manner.

26 See  Attachment, NYISO Responses to “Other - Questions 1 and 2.” 
	14

Similarly other affected ISOs/RTOs should have an opportunity to evaluate whether their existing market designs already sufficiently address grid resiliency concerns in their region.  If further grid resiliency needs are identified, then that ISO/RTO should work with its stakeholders to develop revised market rules to procure and compensate resiliency resources to the extent that they are needed.  Each region should be permitted to define what resiliency services should be priced given its system conditions and market design.

Different ISO/RTO regions have different resource mixes and face different retirement 
scenarios.  This may necessitate their having different resiliency products.  The ISOs/RTOs and their stakeholders are best situated to evaluate grid reliability and determine whether and what 
resiliency products may be warranted for their regions.  For instance, a 90-day on-site fuel 
inventory, if justifiable at all, may not be the appropriate standard for every region.  The 
appropriate on-site fuel inventory may vary depending on the average fuel storage space 
available to the existing fleet of generation resources.  There are few resources that could satisfy the 90-day on-site fuel inventory requirement in the NYCA yet substantial resiliency exists 
through other means.  The “essential energy and ancillary reliability services” could also vary by ISO/RTO region or even within a region.  For example, the need for operating reserves in an area may outweigh the need for regulation service in that location.  Any compensation for “essential energy and ancillary reliability services” services should be set by the ISO/RTO-administered 
markets to provide accurate regional price signals to investors.

The Commission should not attempt to impose uniform implementation on all

RTOs/ISOs.  Each ISO/RTO employs different pricing methods, has different market rules,

relies on a different mix of resources and uses different software to implement its markets.  The 
Commission has recognized that ISOs/RTOs do not and need not have identical rules or software

15

for their markets to produce compatible results.27  The Commission has also recognized that the practical ability of each ISO/RTO to implement software changes, including the potential costs, often justifies allowing ISOs/RTOs to comply with Commission mandates in ways that 
accommodate regional differences rather than insisting on “one-size fits all” solutions.28  It will be necessary to take the same approach in this proceeding and attempting to do otherwise would not constitute “reasoned decision-making.”

2. 	If the Commission Decides to Issue a Final Rule It Should Allow ISOs/RTOs

a Reasonable Time to Develop Compliance Filings and to Implement Compliance Tariff Revisions

The Proposal would require ISOs/RTOs to submit compliance filings within 15 days after 
the effective date of any Final Rule and that the tariff changes take effect 15 days after the 
compliance filings are due.  These deadlines are simply not realistic and attempting to impose 
them would not be reasoned decision-making.  The NYISO requests that if the Commission 
adopts a final rule in this proceeding it extend the compliance deadline and provide flexibility to 
each ISO/RTO to review, develop and implement (if necessary) the objectives discussed in the 
NOPR.

ISOs/RTOs will need time to analyze whether new market products are needed to protect 
electric system reliability.  The NYISO has not identified a new market product that needs to be 
introduced and individually compensated in the immediate future.  But if the creation of new 
market products is mandated by the Commission, the NYISO will need time to work with its

27 See, e.g., New York Independent System Operator, Inc., 142 FERC ¶ 61,202 at PP 24-26 (2013)

(“NYISO’s compliance obligation does not require NYISO to redesign its market. [footnote omitted]  This would be 
particularly unnecessary here where, as NYISO points out, it would be costly and economically inefficient to do 
so.”).

28 Id.  See also, New York Independent System Operator, Inc., 133 FERC ¶ 61,246 at P 25 (2010).

16

stakeholders to develop appropriate market rules.  Significant additional time will be required to 
code, test, and implement the software changes necessary to achieve compliance. 
	As discussed in the Attachment,29 if the Commission were to issue a final rule that 
directed the NYISO to provide cost-based compensation to eligible fuel-secure resources the 
NYISO would expect to devote resources and time comparable to what has been needed to 
implement its generator deactivation process.  Specifically, even working as expeditiously as 
practicable, the NYISO would need approximately six months to develop necessary market rule 
changes and eighteen months to develop and implement software from the date that the NYISO’s 
market rule changes were accepted.

Accordingly, the NYISO requests that the Commission provide ISOs/RTOs at least 180 days from the effective date of the issuance of any Final Rule in this proceeding to submit their compliance filings.  ISOs/RTOs will need this time to evaluate the concepts addressed in this proceeding and to propose region-specific timelines in the event that market rule and software changes are necessary.  The NYISO also requests that the Commission allow each ISO/RTO to request an effective date (or a series of staged effective dates) for any compliance tariff revisions in accordance with its software development schedule.  As discussed above, there is no imminent risk that would necessitate a faster timetable in New York.

III.	CONCLUSION

WHEREFORE, for the foregoing reasons, the NYISO respectfully requests that the 
Commission not adopt a final rule in the form proposed by the Secretary; however, if the 
Commission concludes that action to address “Grid Reliability and Resiliency Pricing” is 
needed, the NYISO requests that the Commission direct ISOs/RTOs to submit compliance

29 See  Attachment, NYISO Response to “Other -- Question 1.”

17

filings only after a reasonable time to ensure that resiliency benefits are properly valued in their markets in the manner best-suited to their respective regions.

Dated: October 23, 2017

Respectfully submitted,

/s/  Karen G. Gach 
Robert E. Fernandez 
General Counsel 
Karen G. Gach

Deputy General Counsel Alex M. Schnell

Assistant General Counsel/

Registered Corporate Counsel

New York Independent System Operator, Inc.

10 Krey Blvd.

Rensselaer, New York 12144

18

ATTACHMENT

The NYISO’s Responses to

Commission Staff’s October 4, 2017 Information Request

Need for Reform

1. 	What is resilience, how is it measured, and how is it different from

reliability?  What levels of resilience and reliability are appropriate?  How 
are reliability and resilience valued, or not valued, inside RTOs/ISOs?  Do 
RTO/ISO energy and/or capacity markets properly value reliability and 
resilience?  What resources can address reliability and resilience, and in 
what ways?

As it relates to the electric system, the concepts of reliability and resiliency are highly

interrelated and often synonymous.  The operation of the system to maintain reliability has embedded within it many considerations of resilience.

Resilience refers to “the ability to reduce the magnitude and/or duration of disruptive events.”1 
Resiliency generally encapsulates four concepts: (i) robustness, which refers to the ability of 
infrastructure to absorb disturbances and continue operating; (ii) resourcefulness, referring the 
capability to successfully manage disturbances; (iii) rapid recovery, which relates to the ability 
to re-establish any lost service as quickly as possible; and (iv) adaptability, referring the ability 
to incorporate lessons learned from past events to improve future system functionality and the 
ability to weather disruptive events.2  Reliability is generally defined in terms of two

foundational characteristics: (i) resource adequacy, which refers to the ability of the electric system to continuously supply the aggregate electricity demand and energy requirements of customers taking into account both scheduled and reasonably expected unscheduled outages of system components; and (ii) transmission security, referring to the ability of the electric system to withstand sudden disturbances, such as the unanticipated loss of system components, and continue to supply and deliver electricity.3

Reliability and resilience are not necessarily separate and distinct concepts in relation to the

electric system.  Rather, these two concepts are highly intertwined and often indistinguishable. 
The requirements for reliable operation of the electric system encompass many aspects of 
resiliency.  For example, maintaining reliability includes, among other resilience measures:

(i) advance contingency planning by operating the system to meet N-1 contingencies thereby

ensuring that the failure of one system component will not disrupt the continued operation of the 
system; (ii) redundancy and rapid recovery in the form of procuring voltage support, regulation, 
and reserves to assist with responding to unanticipated disturbances that may arise and 
mandatory compliance other standards and requirements that mandate expeditious system

1 National Infrastructure Advisory Council, Critical Infrastructure Resilience - Final Report and Recommendations 
at 8 (September 8, 2009), available at: https://www.dhs.gov/sites/default/files/publications/niac-critical-
infrastructure-resilience-final-report-09-08-09-508.pdf.

2 National Infrastructure Advisory Council, A Framework for Establishing Critical Infrastructure Resilience Goals 
at 5 (October 19, 2010), available at: https://www.dhs.gov/sites/default/files/publications/niac-framework-
establishing-resilience-goals-final-report-10-19-10-508.pdf.

3 Id. at 15.

1

recovery following major system disturbances; and (iii) emergency preparedness procedures and 
standards, such as requirements for black start capability, coordination of system restoration and 
operations during geomagnetic disturbances.  As has been aptly observed, the risk management 
practices and rapid recovery procedures encompassed by continuously maintaining the reliability 
of the electric system “are so ingrained in the operations and culture of the [electric] industry that 
many within the industry do not label them as resilience, and many outside the industry are

unaware of the extensive resources expended to minimize all-hazard risks.”4

The appropriate levels of reliability are clearly defined in the reliability standards and operating 
and system planning requirements imposed upon the NYISO by the Federal Energy Regulatory 
Commission (“FERC” or the “Commission”), North American Electric Reliability Corporation 
(“NERC”), the Northeast Power Coordinating Council, Inc. (“NPCC”) and the New York State 
Reliability Council, L.L.C. (“NYSRC”).  Together, these entities define a vast array of 
requirements that the NYISO must abide by in its operation of, and planning related to, the bulk 
electric system and administration of the competitive wholesale markets in New York.

The NYISO markets have been designed in a manner that seeks to provide proper financial

incentives and price signals to assure the continued reliable operation of the electric system in New York.  Therefore, the NYISO markets inherently value and support elements of resilience that are embedded in maintaining reliability.

The NYISO administers both day-ahead and real-time markets to procure the necessary Energy and Ancillary Services to reliably operate the system and continuously meet the electricity 
demands of customers, while simultaneously respecting the capability of transmission facilities to accommodate the delivery of such power, at the lowest overall production cost based on the offers submitted by resources competing to provide service.5

The NYISO’s Day-Ahead and Real-Time Markets perform a simultaneous co-optimized

commitment/dispatch of resources to provide the necessary levels of energy, regulation  and 
operating reserves to address all system needs and maintain reliability.  The markets generally 
secure the transmission system to address single contingency events (i.e., N-1 contingencies).6 
The markets also secure for certain multiple contingency events (i.e., N-1-1 contingencies) to 
comply with reliability requirements imposed by the NYSRC, as well as operating reserve 
constraints, which include requirements to meet N-1-1 contingencies and to restore the system to 
normal operating conditions following a contingency.7  The clearing prices determined by the

4 Id. at 6.

5 Voltage control and black start service capability are cost-based Ancillary Services that are not procured through competitive markets administered by the NYISO.

6 Notably, a subset of these single contingency events involve the simultaneous outage of multiple elements.

Examples include: (i) the failure of a circuit breaker due to a fault-to-ground may be cleared by the operation of

multiple circuit breakers, resulting in the outage of multiple system components; and (ii) the simultaneous phase-to-
ground fault of two adjacent transmission circuits on a multiple circuit transmission tower.

7 For example, the operating reserve constraints modeled in both the Day-Ahead and Real-Time Markets include:

(i) 1,300 MW of 30-minute reserves being procured in the Southeastern New York reserve region in order to prepare

2

Day-Ahead and Real-Time Markets for Energy, Regulation Service and Operating Reserves 
reflect the costs of securing the system to meet these contingency events and procure the 
necessary level of services to meet reliability requirements for which they are designed.

The Day-Ahead and Real-Time Markets administered by the NYISO also use “shortage” pricing 
to reflect appropriate values for services when insufficient resource capability is available to 
provide all needed services.  Shortage pricing is implemented by various demand curves that 
represent the escalating value of regulation, reserves and transmission security as the level of 
insufficient resource capability to provide each such service increases.  Escalating prices under 
shortage conditions provides proper price signals regarding the value of these reliability and 
resiliency services and ensures that resources capable of providing these services are 
appropriately compensated for the service provided in response to actual system conditions. 
Shortage pricing also provides appropriate incentives for resources committed day-ahead to 
make appropriate arrangements and take necessary actions, including ensuring fuel supply 
availability, to meet their commitments in real-time in order to avoid the potential of having to 
buy-out of their obligations at high shortage pricing levels in real-time during periods of system 
stress.

Complementing the Energy and Ancillary Services markets, the NYISO also administers a

capacity market.  The capacity market assists with maintaining reliability on a longer-term

horizon by ensuring that sufficient resource capability is available to meet peak customer

demands, plus a reserve margin to address potential contingencies and other unanticipated events 
that may result in the need for additional resource capability to adequately serve system needs.

The capacity market provides price signals indicating the value of resource capability in various 
locations throughout the State.  This is accomplished, in part, through the use of a sloped 
capacity demand curve (i.e., the ICAP Demand Curve) in the ICAP Spot Market Auction.  The 
foundational basis for pricing underlying the ICAP Demand Curves is the projected net cost to 
build a new peaking facility in various locations throughout the State where resources need to be 
located to adequately serve system needs.8  The ICAP Demand Curves are designed to properly 
value capacity in relation to the applicable minimum requirements needed to ensure reliability 
(i.e., forecasted peak demands, plus a reserve margin or a minimum amount required to be 
located within a certain geographic area due to transmission constraints that limit the capability 
to flow power throughout the State).  The ICAP Demand Curves inherently provide for valuation 
of resilience by continuing to value certain levels of capacity in excess of the minimum amounts 
required.

the system to withstand the next worse contingency following the worst contingency for the UPNY-SENY interface; 
(ii) a 10-minute reserve requirement of 1,200 MW for the East of Central-East reserve region to rapidly restore 
flows on the Central East interface to within the applicable Interconnection Reliability Operating Limits (“IROL”) 
following the worst contingency and prepare the system to withstand the next worst contingency; and (iii) a 2,620 
MW 30-minute reserve requirement applicable for the statewide (i.e., New York Control Area or NYCA) reserve 
region to prepare the system to withstand the two worst supply contingencies without the need to interrupt deliver of 
energy to serve load.

8 A peaking unit is defined as the “the unit with technology that results in the lowest fixed costs and highest variable 
costs among all other units’ technology that are economically viable.”  A peaking plant may consist of one or more 
units.

3

In addition to providing an overall construct that values resilience in terms of paying for certain levels of resource capacity beyond the applicable minimum levels required, the estimated cost of constructing a new peaking plant that underlies certain ICAP Demand Curves provides for 
additional valuation of resilience.  For the downstate population centers of New York (i.e., the G-J Locality, New York City and Long Island), the projected costs include various components related to improved resilience, such as dual fuel capability and, in the case of New York City, 
certain infrastructure hardening costs.

The peaking plant designs underlying the ICAP Demand Curves for each of these downstate 
areas include dual fuel capability which can result in improved generator fuel assurance and 
availability.  This includes both the cost of the necessary infrastructure to store alternative fuel 
onsite and the cost of obtaining an adequate reserve of such back-up fuel.  The cost estimates 
currently provide for a fuel reserve that is sufficient to accommodate operation on an alternative 
fuel for 96 hours of operation before needing to be replenished.  For New York City, the 
estimated costs also include additional storm hardening expenses related to raising the site 
elevation of plants to meet local zoning requirements enacted in response to flooding that 
occurred as a result of superstorm Sandy.  Including these costs as part of the basis for capacity 
market pricing in the downstate load centers provides the necessary price signals for investment 
in new generation facilities located in these areas to include such resiliency improving measures.

All resources (without regard to fuel type) that have demonstrated the ability to meet the

performance criteria associated with providing a service that the NYISO procures through its

markets are eligible to participate in the relevant market(s), and to compete with other resources 
to provide the desired service.  Resources are paid for the reliability and resilience service that 
they are scheduled to provide based on the outcomes determined by the competitive markets.

In addition to the competitive wholesale markets it administers, the NYISO also conducts

extensive system planning to ensure the reliability of the system into the future.  The NYISO’s 
Comprehensive System Planning Process includes reliability, economic and public policy 
planning procedures.  The reliability planning process is conducted biennially to identify any 
risks to resource adequacy or transmission security over a forward looking ten-year planning 
horizon.  To the extent that a reliability need is identified, the NYISO solicits solutions to resolve 
any such need, and considers all resource types (i.e., transmission, generation and demand 
response/energy efficiency) on an equivalent basis as it relates to the ability of any proposal to 
resolve an identified need.  The reliability planning process strives to achieve market-based 
solutions whenever possible, rather than relying on regulated solutions to resolve any identified 
reliability needs.  If market-based solutions are insufficient, the NYISO conducts a comparative 
analysis to identify and select the most cost-effective or efficient regulated transmission solution 
to resolve the reliability need.  The public policy planning process is intended to identify 
potential transmission needs that may be driven by public policy requirements.  In certain 
instances state and federal policies may desire specific outcomes that are not otherwise served by 
the NYISO’s other long-term planning procedures and market operations.  This could, for 
example, include the provision of incremental resiliency above and beyond that necessary to 
achieve the minimum level of reliability mandated by applicable requirements or additional 
infrastructure to improve energy delivery capability in support of investments in new supply

4

resources and/or changes in the resource mix that may result from the implementation and pursuit of certain public policy objectives.

To the extent the concepts reliability and resilience are not already interwoven, resiliency could 
be best understood as a means of providing incremental reliability above and beyond that 
required to maintain minimum reliable operation of the system.  This could include measures 
that seek to provide even greater levels of adequacy and security beyond normal operating and 
planning criteria, such as measures designed to withstand extreme contingency events.  The 
necessity or reasonableness of implementing such incremental measures should be properly 
assessed in terms of cost effectiveness and expected future grid needs.  In other words, the 
propriety of implementing measures to provide even greater levels of reliability than those 
currently provided for in the operation and planning of the electric system should be carefully 
examined in consideration of the benefits and costs related to such measures, both as determined 
in light of the market design and construct, and the evolving system configuration and structure 
within which they are intended to be deployed.

2. 	The proposed rule references the events of the 2014 Polar Vortex, citing the

event as an example of the need for the proposed reform.  Do commenters

agree?  Were the changes both operationally and to the RTO/ISO markets in response to these events effective in addressing issues identified during the 2014 Polar Vortex?

The NYISO prefers to address enhancements to resilience, including power supplier availability 
and performance, through enhanced operational capabilities and targeted improvements to its 
market rules.  The NYISO implemented operational and market changes in response to the 2014 
Polar Vortex.  The operational changes include new fuel monitoring capabilities for the 
generation fleet and improvement of gas-electric coordination and communication with natural 
gas pipelines and Local Distribution Companies (“LDCs”).  In November 2015, the NYISO 
implemented the Comprehensive Shortage Pricing project that included energy market changes 
to increase the New York Control Area 30-minute operating reserve requirements and implement 
more extreme operating reserve shortage pricing in order to better align the market signals with 
reliability needs.  In addition, the NYISO implemented an improved ability to reflect day-ahead 
and intra-day supplier fuel costs in Generator offers.  The changes NYISO has implemented 
since the 2014 Polar Vortex support improved supplier performance and resilience.

The NYISO continues to evaluate the need for additional market rule changes to further improve supplier performance and to enhance resilience.  As New York’s power system evolves it is 
necessary to continually assess how to best maintain reliability and enhance resilience in a cost 
effective manner.

5

3.	The proposed rule also references the impacts of other extreme weather

events, specifically hurricanes Irma, Harvey, Maria, and superstorm Sandy. Do commenters agree with the proposed rule’s characterization of these events?  For extreme events like hurricanes, earthquakes, terrorist attacks, or geomagnetic disturbances, what impact would the proposed rule have on the time required for system restoration, particularly if there is associated severe damage to the transmission or distribution system?

To the extent that the proposed rule references on-site storage of fuel supply that increases the 
access to and availability of resources, the NYISO believes that on-site fuel storage would 
enhance a power supplier’s ability to provide essential reliability services, including restoration 
capabilities, for some of the extreme events identified in the Commission’s question.  On-site 
storage may help limit the need to deliver fuel via a transportation network that may be 
compromised by an extreme event.  However, the types of service disruption experienced during 
extreme weather events, such as superstorm Sandy in New York, are varied.  The NYISO’s first-
hand experience with extreme weather events does not demonstrate that the proposed on-site fuel 
storage requirements will address, in a cost-effective manner, the resiliency concerns raised in 
the NOPR.  For example, flooding during extreme weather events can compromise equipment at 
generation facilities.  The transmission system and distribution networks that are necessary to 
transmit power from generators to loads can be impacted by extreme events.  Flooding of 
generating units, and damage to the transmission system are two examples of service disruptions 
that New York utilities experienced during superstorm Sandy that are not solved by on-site fuel 
storage.

4. 	The proposed rule references the retirement of coal and nuclear resources

and a concern from Congress about the potential further loss of valuable

generation resources as a basis for action.  What impact has the retirement of these resources had on reliability and resilience in RTOs/ISOs to date?  What impact on reliability and resilience in RTOs/ISOs can be anticipated under current market constructs?

The NYISO Capacity Market is designed to ensure that sufficient resources are available to

address expected system requirements, including a measured capacity surplus to address

uncertainty in resource and transmission availability.   The NYISO Energy Markets procure

sufficient energy to meet load requirements and sufficient operating reserves to respond to

contingencies.  The NYISO has managed the retirement of supply resources through its generator deactivation process, which includes reliability planning and market protocols to address any impacts retirements are expected to have on reliability and resilience.

A number of coal resources have already retired in New York.  In a few cases, local transmission 
reliability needs associated with those deactivations were identified.  To address the identified 
reliability needs, short-term reliability must-run contracts were entered into with the deactivating 
resource while transmission upgrades were constructed to permit the retirements.  A relatively 
small percentage of coal resources remain available as part of the New York Control Area

6

(“NYCA”) generating capability; 3% in terms of the 2017 NYCA Summer Capability and 1% of 
the 2016 NYCA Energy Production.  The majority of the nuclear generating fleet in the NYCA 
is eligible for the New York State Zero Emissions Credit (“ZEC”) program which helps 
supplement these Generators’ ongoing financial viability.  Nuclear resources accounted for 14% 
of the 2017 NYCA Summer Capability and provided 30% of the 2016 NYCA Energy 
Production.

5. 	Is fuel diversity within a region or market itself important for resilience?  If

so, has the changing resource mix had a measurable impact on fuel diversity, or on resilience and reliability?

Fuel diversity, in and of itself, does not ensure reliability or resilience.  The value of fuel

diversity is that there is a lower likelihood that a single issue (sometimes referred in the industry 
as a “common mode failure”) would compromise a significant portion of the power supply.  For 
example, if the only type of fuel on the supply side is natural gas then, holding all else constant, 
an interruption in the availability or deliverability of natural gas to generators could have a 
significant impact on the electric grid.9  Power supplier performance and fuel assurance are more 
significant reliability criteria than fuel diversity.  Power supplier performance incorporates all 
criteria that impact whether, when the NYISO schedules a generator, that generator can be 
counted on to operate to meet the schedule it received.  For example, a generator with a 90-day 
on-site supply of coal that cannot reliably start-up when it is scheduled to start would have poor 
power supplier performance.  The availability of such a poorly performing resource would do 
little to improve system reliability or resilience.  Regarding fuel assurance, there are numerous 
means to ensure a dependable fuel supply.  In New York, many gas-fired generating units that 
have interruptible gas pipeline service also have dual fuel capability and on-site storage of the 
alternate fuel, which promotes reliability and resilience.

Although fuel diversity and maintaining an on-site fuel supply mitigates certain types of

reliability risks, neither characteristic provides a guarantee of reliability or resilience and

resources with these characteristics are unlikely to be the lowest costs alternative to achieving 
reliability and resiliency across a range of possible contingencies.  A more cost effective 
approach to ensuring the power grid satisfies reliability and resilience criteria would be to offer

9 The New York State Reliability Council (“NYSRC”) has implemented “minimum oil burn” local reliability rules 
in New York City and on Long Island to address the risk that a natural gas fuel supply interruptions might harm 
electric reliability.  The minimum oil burn rules are designed to provide an essential reliability service in a manner 
that does not undermine the operation of the NYISO’s markets.  The rules require that, under specified load 
conditions, designated New York City and Long Island generators burn an alternate, on-site fuel (usually oil) instead 
of natural gas, and that other specifically designated online generators be capable of automatically switching from 
burning natural gas to consuming their alternate, on-site fuel without shutting down.  See NYSRC Reliability Rules & 
Compliance Manual, Local Reliability Rules G.2 and G.3 (“[T]he NYS Bulk Power System shall be operated so that 
the loss of a single gas facility does not result in the loss of electric load within the New York City or Long Island 
zones”).  Section 4.1.9 of the NYISO’s Market Administration and Control Area Services Tariff allows generators 
that comply with minimum oil burn directives to recover costs associated with burning the alternate fuel instead of 
natural gas.  This compensation mechanism provides generators with cost recovery in exchange for providing a 
resiliency service, but only when the service is truly needed.

7

financial incentives to achieve desired power supplier performance criteria, and to rely on the

competitive market to provide resources that satisfy the criteria at least cost.  On-site fuel storage 
may be critical to power supplier performance in some locations.  In other locations, 90 days of 
on-site fuel storage might not appreciably improve the reliability or resilience of the power 
system, even though achieving that criterion would significantly impact the cost of electricity for 
customers.  Implementing the one-size-fits-all approach set forth in the proposed rule (which 
proposes to pay a significant premium to obtain 90 days of on-site fuel storage) is not guaranteed 
to improve the reliability or resilience of the power system.  The proposed rule would, more 
likely, increase costs and fall short of achieving the reliability objectives that a better targeted 
proposal might achieve.

Eligibility

General Eligibility Questions

1. 	In determining eligibility for compensation under the proposed rule, should

there be a demonstration of a specific need for particular services?  What should be the appropriate triggering and termination provisions for 
compensation under the proposed rule?

The NYISO prefers market based solutions to meet reliability and resiliency objectives that can 
be demonstrated to meet a specific need.  As a prerequisite to implementing the proposed rule, 
the Commission should first confirm that an identified reliability or resiliency need cannot be 
adequately satisfied through market-based mechanisms.  Developing a rule that (a) requires a 
demonstrated need to be identified, (b) defines the service that is necessary to meet the need, and

(c) allows market-based solutions to be presented to address the need, will help ensure that

consumers will receive the necessary services at the lowest cost.  In the absence of a

demonstrated, defined reliability need, it is unclear how to ensure that load is paying a just and reasonable rate for the service(s) the proposed rule would require the NYISO to procure.

With regard to eligibility under the proposed rule, the triggering provisions should require the 
demonstration of a reliability need for specific service(s), identify the quantity of each service 
that needs to be procured to protect reliability, and should require a determination that each 
selected resource will address the identified reliability need.  The reliability assessment should 
evaluate the particulars of the need including, for example, determining the number of days of 
on-site fuel storage that are necessary to address the identified reliability need.  Compensation

should be aligned with addressing the reliability need at least cost.  Termination of compensation 
should occur if the resource fails to satisfy the terms of the agreement, when market-based 
mechanisms are developed to address the need, or if the grid evolves in a manner that eliminates 
the need.

8

2.	As the proposed rule focuses on preventing premature retirements, should a

final rule be limited to existing units or should new resources also be eligible 
for cost-recovery?  Should it also include repowering of previously retired 
units?  Alternatively, should there be a minimum number of MW or a 
maximum number of MW for resources receiving cost-of service payments 
for resilience services?  If so, how should RTOs/ISOs determine this MW 
amount?  Should this also include locational and seasonal requirements for 
eligible resources?

The NYISO prefers market based solutions to meet reliability criteria and/or resiliency objectives that can be demonstrated to meet a specific need on either a seasonal or locational basis.  The Commission should determine a specific reliability need and criteria for determining the 
minimum amount of qualified MW necessary to address the need.  Market rules should then be developed to select among all eligible resources to satisfy the reliability need.

ISOs and RTOs should not be required to procure more of any product or service than the

amount that has been demonstrated to be needed for reliability or resiliency.  Requiring ISOs and RTOs to procure more of a product than the identified reliability or resiliency need could impose costs on consumers that exceed the expected benefits.

ISOs and RTOs should be permitted to consider all of the benefits that each resource can provide (including but not limited to benefits that result from the electrical location of the resource) when selecting the appropriate mix of resources to satisfy a reliability need.

3. 	Are there other technical characteristics that should be required for an

eligible unit besides on-site fuel capability?  If so, what are those technical 
characteristics and what benefits do they provide?  What types of resources 
can meet the proposed eligibility criteria of the proposed rule?  What 
proportion of total current generating capacity does this represent?

The NYISO prefers market based solutions to meet reliability and resiliency objectives that can 
be demonstrated to meet a specific need.  Power suppliers that can demonstrate high levels of 
operating performance and fuel assurance should be eligible to receive higher market based 
revenues.

In addition to the ability to store a large supply of fuel on-site, the Commission should consider 
what level of storm hardening and responsiveness to changing system conditions the unit should 
possess to be considered providing resiliency service and to be eligible for compensation.  If 
resiliency includes the expectation to be responsive to changing system conditions, then eligible 
resources should be capable of starting up quickly and adjusting its output levels on demand. 
The NYISO’s markets currently provide incentives to suppliers to ensure their resource is 
available and ready to perform.  Because a resource’s failure to be available when needed or to 
perform when called upon can have adverse reliability impacts, the NYISO’s market rules are 
designed to incent availability and responsiveness through market compensation and to impose 
penalties when suppliers fail to meet their obligations.  The NYISO has seen both improved

9

availability and performance from suppliers since the wholesale electricity markets started in 
1999.  For example, power suppliers that continuously demonstrate their ability to start on time and follow NYISO instructions are rewarded for their performance through increased energy 
revenues and capacity sales.  In contrast, suppliers that fail to start or follow NYISO instructions can be penalized and ultimately suspended from participating in the sales of various market 
products.  Suppliers are not penalized if they are unable to perform due to electric delivery 
system issues like transmission outages.

With regard to the Commission’s question about the types of NYCA resources that are capable of meeting the eligibility criteria included in the proposed rule, it is not clear to the NYISO that any resources other than existing nuclear units are capable of satisfying the proposed eligible 
grid reliability and resiliency requirements.  Existing nuclear units represent 14% of total NYCA capacity.  Remaining coal units currently represent 3% of total NYCA capacity.  As explained in the NYISO’s response to “Need for Reform - Question 4” above, the majority of the nuclear 
generating fleet in the NYCA is already eligible for the ZEC program which helps supplement these Generators’ ongoing financial viability.

4. 	If technically capable of sustaining output for a sufficient duration (and

meeting other relevant requirements), should resources such as

hydroelectric, geothermal, dual-fuel with adequate on-site storage,

generating units with firm natural gas contracts, or energy storage (each of which might have a demonstrable store of energy to draw upon to sustain an electrical output, if not necessarily fuel) also be eligible?  Why or why not?  If technical capability is the appropriate criterion for eligibility, what specific technical capability should be required to be eligible?

The NYISO prefers technology neutral market based solutions to meet reliability and resiliency 
objectives that can be demonstrated to meet a specific need.  If FERC determines that a 
reliability need exists that requires ISOs and RTOs to retain high capacity factor resources that 
can operate for months without resupply, then all power suppliers that can demonstrate adequate 
levels of operating performance and fuel assurance should be eligible to provide the new 
reliability service.

If the singular objective is sustained, long term output at consistent levels (classic “baseload” operation), it is unclear how energy storage could achieve this performance without recharging its capacity.  Further definition of the desired resiliency service in terms of output levels, 
duration and flexibility would be necessary to identify the specific resource types that can 
provide the desired service.

10

5.	The proposed rule would require that eligible resources be able to provide

essential energy and ancillary reliability services and includes a nonexhaustive list of services.  What specific services should a resource be required to provide in order to be eligible?

The NYISO prefers market based solutions to meet reliability and resiliency objectives that can 
be demonstrated to meet specific energy and ancillary reliability services needs.  It is unclear 
what specific services or operating characteristics the NOPR is attempting to ensure are procured 
to improve the reliable operation and resiliency of the power system.  A resiliency service that is 
responsive to real-time disruptions and changes on the power system should require resources 
that are capable of responding quickly to changing system requirements.  Energy and ancillary 
service providers in New York are nominally required to respond to 5-minute dispatch signals, to 
be capable of ramping the unit up and down to provide ancillary services.  Another valuable real-
time operations reliability characteristic is the ability of a resource to start quickly in response to 
unexpected system events.

6. 	The proposed rule would limit eligibility to resources that are not subject to

cost of service rate regulation by any state of local regulatory authority.  How should the Commission and/or RTOs/ISOs determine which resources satisfy this eligibility requirement?

ISOs and RTOs are not cost-of-service rate regulators.  They are not ordinarily involved in state or local proceedings involving cost-of-service rate regulation within their geographic footprints. They should therefore not be required to determine whether resources are subject to cost of 
service rate regulation.

Regardless of the entity that is made responsible for verifying eligibility, the owners of resources 
seeking compensation under any final rule adopted in this proceeding should be required to 
certify and acknowledge their resource’s eligibility.  If the owner of a resource were to make a 
false or misleading statement to the Commission (or to an ISO or RTO) it would be subject to 
enforcement action under Section 35.41(b) of the Commission’s regulations.  Implementing a 
certification and acknowledgement requirement would strongly discourage ineligible resources 
from inappropriately seeking compensation.  The proposed requirement would also reduce the 
administrative burden imposed on the entity responsible for verifying eligibility.  That entity 
would only need to confirm that a certification and acknowledgement had been completed and 
executed, and that the facts stated in the certification and acknowledgement, if true, are sufficient 
to demonstrate eligibility.  If it were subsequently determined that the resource had made false or 
misleading statements then the matter could be referred to the Commission’s Office of 
Enforcement.

Section 23.4.5.7.9.2 of the NYISO’s Market Administration and Control Area Services Tariff 
imposes a certification and acknowledgement requirement on resources seeking a “Competitive 
Entry Exemption” from the application of “buyer-side” capacity market power mitigation rules. 
It could serve as a model.  The Commission would need to carefully consider the language to be 
included in a certification and acknowledgement form, particularly to the definition of  “state

11

cost-of-service rate regulation” to ensure that the requirements was neither over- nor under-

inclusive.  ISOs and RTOs should not be responsible for determining the necessary scope of the certification.

90-day Requirement

1. 	The proposed rule defines eligible resources as having a 90-day fuel supply.

How should the quantity of a given resource’s 90 days of fuel be determined? 
For example, should each resource be required to have sufficient fuel for 24 
hours/day and sustained output at its upper operating limit for the entire 90-
day period?  Would there be any need for regional differences in this 
requirement?

The NYISO prefers market based solutions to meet reliability and resiliency objectives that can 
be demonstrated to meet a specific need.  If a resource demonstrates that it can provide a 
necessary reliability benefit at least cost, then NYISO would propose to develop market 
compensation for providing the reliability and resilience product.  Power suppliers that can 
demonstrate high levels of daily operating performance and fuel assurance might become eligible 
to receive additional market-based revenues.  Should the Commission enact a 90-day on-site fuel 
storage requirement, the NYISO supports consideration of regional differences in determining 
how to apply such a requirement.

Where multiple resources that are under common ownership share on-site fuel storage, imposing 
the proposed 90-day requirement could incentivize some Generators at a location to be retired so 
that the remaining Generator(s) have sufficient fuel on-site to qualify as eligible grid reliability 
and resiliency resources (“EGRs”).  Such a result would not be expected to enhance system 
reliability.

2. 	Is there a direct correlation between the quantity of on-site fuel and a given

level of resilience or reliability?  Please provide any pertinent analyses or

studies. If there is such a correlation, is 90 days of on-site fuel necessary and sufficient to address outages and adverse events?  Or is some other duration more appropriate?

Some level of on-site fuel storage may be correlated to a power supplier’s ability to provide

essential reliability services, including restoration capabilities, for some extreme events.

Evidence that the NYISO has reviewed indicates that an on-site fuel supply of less than 90 days 
may be more cost effective in meeting resiliency objectives than mandating a 90-day minimum.

Gas system constraints resulting in Operational Flow Orders that restrict Generators’ non-firm 
gas use rarely last longer than two or three days based on a review of historical events.  The 
Polar Vortex of 2014 had a three day duration (January 6-8, 2014), however it is possible that a 
longer duration event could occur in the future.  The NYISO’s ICAP Demand Curves for the

12

Hudson Valley, New York City and Long Island include the costs of onsite alternative fuel (Ultra 
Low Sulfur Diesel or “ULSD”) needed to support 96 hours of operation for a proxy peaking unit. 
The adequacy of this level of alternative fuel was supported by an analysis of the expected 
operations of a proxy peaking unit over a historical three year period that included the Polar 
Vortex of 2014.  The NYISO’s assessment determined that the minimum number of days to burn 
through the entire 96 hours of ULSD was 7 days for New York City, 19 days for Long Island and

55 days for the Hudson Valley.  These results indicate that the onsite storage assumed for dual fuel peaking plants is adequate.  These results also demonstrate that conditions (including any 
replenishment delays) that could result in ULSD being unavailable for energy production are not anticipated to occur.10

During superstorm Sandy both Nine Mile Point Unit 1 and Indian Point Unit 3 were unavailable due to the loss of the transmission exits to the plants.  Neither plant suffered storm damage and both of the affected Units had adequate fuel available.  The availability of on-site fuel storage did not enhance the named Generators’ performance during superstorm Sandy.

Fuel Supply Requirement

1. 	The proposed rule requires that resources must be in compliance with all

applicable environmental regulations.  How should environmental

regulations be considered when determining eligibility?  For example, if a 
unit that was capable of keeping 90-days of fuel on-site was subject to 
emission limits that would prevent it from running at its upper operating 
limit for 90 days, should that unit be eligible under this proposed rule?

If the Commission orders the NYISO to implement a cost-of-service rate structure for EGRs, the NYISO believes that the eligibility requirements should recognize applicable environmental 
regulations that might restrict a Generator’s operation.  Further definition of the resiliency 
product that is being sought under the proposed rule is required in order to determine how 
environment regulations would impact the delivery of the desired service.  If a resource is 
incapable of providing the service requested due to environment regulations then it should be 
precluded from being an EGR and receiving compensation.  A resource with an emission limit that prevents it from running for 90 days, using on-site fuel, is not available for 90 days and 
should not qualify as an EGR under the proposed rule.

10 See NYISO’s November 18, 2016 filing in FERC Docket No. ER17-386 at 32.

13

2.	As the proposed rule references the need for resilience due to extreme

weather events, including hurricanes, should there be any other eligibility 
criteria for the resource or fuel supply (e.g., storm hardening)?  What 
considerations should be given to the vulnerability of 90-day fuel supplies to 
natural or man-made disasters such as extreme cold temperatures, icing, 
flooding conditions, etc. that may impact the on-site fuel supply?

The resiliency service that the proposed rule seeks to procure needs to be better defined in order for the NYISO to determine the characteristics and performance requirements that should be applied to determine eligibility.  If the Commission orders the NYISO to implement a cost-of-
service rate structure for suppliers with a 90-day fuel supply, the NYISO believes that eligibility should require a reasonable expectation of resource performance in addition to requiring the resource to meet fuel assurance requirements.

3. 	Does the vulnerability or non-availability of on-site fuel supplies vary

depending upon fuel type, location, region, or other factors?

The NYISO would not normally expect that vulnerability or non-availability of on-site fuel supplies would vary materially depending upon fuel type, location, region, or other factors unknown at this time.

Implementation

1. 	How would eligible resources receiving cost of service compensation under

the proposed rule be committed and dispatched in the energy market?

If the Commission orders the NYISO to implement a cost-of-service rate structure for EGRs, the 
NYISO would require each EGR to offer into the energy market at its cost-based reference level. 
This proposal is consistent with how the NYISO proposes to require reliability must-run 
resources to offer energy and ancillary services.11  Each EGR would be committed and 
dispatched based on its incremental cost of providing energy and ancillary services.  Under the 
NYISO’s Generator Deactivation Process (“RMR”) design, any “revenues” an EGR receives in 
NYISO energy markets that exceed its incremental costs are refunded back to the NYCA loads 
that are responsible for paying the EGR’s full cost-of-service rate.  This bidding construct can 
help defray some of the costs to NYCA loads for maintaining EGRs.  In addition, requiring 
EGRs to offer energy and ancillary services consistent with their demonstrated incremental cost 
of providing the services will minimize the subsidy that NYCA loads must pay by dispatching 
EGRs based on their incremental operating costs.

11 See the RMR Generator and Interim Service Provider Energy and Ancillary Service Market Participation Rules that the NYISO proposes to add to Section 23.6 of its Market Services Tariff in its September 19, 2016 compliance filing in FERC Docket No. ER16-120.

14

2.	How would eligible resources receiving cost based compensation under the

proposed rule be considered in the clearing and pricing of centralized capacity markets?

Resources receiving full cost-of-service recovery would face zero additional (i.e. incremental)

cost to participate in the NYISO capacity market.  It is likely that EGRs would be required to sell their output into the NYISO’s ICAP market as a requirement for receiving a cost-of-service rate. Because the resource’s ICAP offer would be required to clear as a prerequisite to receiving the 
cost-of-service rate, the EGR would be expected or required to participate in the ICAP market as a price-takers (i.e. to offer its capacity into the marketplace at a price of $0/kW-mo).  Such 
participation would likely increase the quantity of capacity that clears in the NYISO ICAP 
market and decrease the market price for that capacity.  Because an EGR’s actual costs would 
significantly exceed its $0/kW-mo offer, over the longer-run, EGR participation in the NYISO’s ICAP market would be expected to alter price signals and to cause some resources that have 
lower overall costs than the EGRs to leave the market.  This would be expected to increase the 
overall capacity market cost to consumers in New York.

The NYISO’s current ICAP market rules only regulate capacity suppliers’ offer prices under a 
very limited set of circumstances (e.g. the NYISO “buyer-side mitigation” rules that apply to 
specific new entrants proposing to be electrically located within NYISO Load Zones G, H, I, J).

3. 	What is the expected impact of this proposed rule on entry of new

generation, reserve margins, retirement of existing resources, and on resource mix over time?

A well functioning and efficient market provides price signals for investment such that, as new 
resources come in, they tend to displace resources that are more expensive to maintain and 
operate on a going-forward basis.  Because the proposed rule does not include any cost-based 
selection criteria, and exempts EGRs from competing against other resources in the ISO/RTO 
markets, EGRs will be placed at the “bottom” of the supply stack in the capacity market 
(reducing the ICAP market price that is paid to other resources in the manner NYISO describes 
in its response to “Implementation - Question 2,” above).  Thus, EGRs will almost certainly 
displace other Generators that rely on the wholesale electricity markets for the bulk of their 
revenues in the long run.

Because the proposed rule protects EGRs from the need to compete with new, more efficient

resources to earn market revenues, the NYISO expects that the entry of new, efficient resources 
will be deferred due to the continued operation of higher cost EGRs that otherwise would have 
been expected to retire.  EGRs will present a new risk to market entry that would be expected to 
limit new entry and increase the level of compensation required to overcome the additional risk.

15

4.	Should there be performance requirements for resources receiving

compensation under the proposed rule?  If so, what should the performance requirement be, and how should it be measured, or tested?  What should be the consequence of not meeting the performance requirement?

In general, on-going monitoring, performance requirements and incentives/penalties are needed to ensure that EGRs provide a high level of service (as should be expected from resources that are providing a reliability and resiliency product).  Specifically, with respect to the proposed rule it is reasonable to assert that non-performance/compliance should directly reduce or eliminate the compensation received with the potential for a penalty adder.

If the Commission determines that EGRs must be paid their full costs plus a rate of return, then it is imperative that rules be developed to reduce the allowed compensation if an EGR fails to 
respond to operator instructions, fails to maintain its availability, or fails to meet other 
Commission-specified reliability or resiliency standards.  The financial incentives should align 
the Commission’s defined reliability goals with the EGR’s desire to maximize returns for its 
investors and shareholders.

5.	Should there be any restrictions on alternating between market-based and

cost-based compensation?

Toggling between cost-based and market-based rates should be restricted for EGRs for many of 
the same reason toggling is prohibited for reliability must-run generators.12  As the Commission 
has previously explained, permitting a Generator that elects to be paid a cost-of-service rate to 
toggle back to receiving market compensation at times when the market rate exceeds the cost-of-
service rate would result in unjust and unreasonable compensation to the toggling Generator.

Rates

1. 	The proposed rule lists compensable costs that should be included in the rate

as operating and fuel expenses, costs of capital and debt, and a fair return on 
equity and investment.  Are there other costs that would be appropriate to be 
included in the rate?  Would any of the listed costs be inappropriate for 
inclusion?

The NYISO is opposed to providing long-term compensation to NYCA resources outside of the markets that the NYISO administers.  For the reasons explained in its responses to the 
Commission’s other questions, the NYISO is concerned that compensating EGRs outside the NYISO administered markets could have adverse reliability impacts in New York.

12 See, e.g., ISO New England Inc., 125 FERC ¶ 61,102, at PP 45-48 (2008).

16

Most or all of the existing NYCA resources that might satisfy the Commission’s proposed EGR requirements were rate based generators that were divested by the New York Transmission 
Owners (“NYTOs”) prior to the commencement of the NYISO-administered markets in 1999. 
To the extent New York ratepayers have already paid for the EGRs, it would be inappropriate to charge New York ratepayers again for costs that were previously included in ratebase and 
recovered.  Using the purchase price to determine the ratebase on which a rate of return might be recovered for an EGR would be inappropriate because (a) using the purchase price would reward churn (selling the resource to enhance the ratebase that is eligible for a return), and (b) would 
provide a financial incentive to overpay for an EGR (again, because overpaying would result in a larger ratebase on which a return could then be earned).

2.	Should wholesale market revenues offset any cost of service payments

stemming from the proposed rule?

If the Commission orders the NYISO to implement a cost-of-service rate structure for EGRs, the 
NYISO would likely require each EGR to offer available energy and ancillary services into the 
energy market at the EGR’s cost-based reference level, and to offer all available capacity into the 
ICAP market at $0/kW-month.  This proposal is consistent with how the NYISO proposes to 
require Generators that seek to deactivate, but that remain in service pursuant to a reliability 
must-run contract, to offer energy and ancillary services.  The compensation mechanism reflects 
the fact that, by paying a full cost-of-service rate, New York loads will have already paid the 
EGR for its capacity.  EGRs would be committed and dispatched in the energy market using 
their cost-based offers.

Under the NYISO’s Generator Deactivation Process design, all capacity payments and any

“revenues” the EGR receives in NYISO energy markets that exceed its incremental costs would be credited to the NYCA loads that are responsible for paying the EGR’s full cost-of-service rate.  This construct can help defray some of the costs to NYCA loads for maintaining EGRs.  In addition, requiring EGRs to offer energy and ancillary services consistent with their 
demonstrated incremental cost of providing the services will minimize the subsidy that NYCA loads must pay by dispatching EGRs based on their incremental operating costs.

3.	How should RTOs/ISOs allocate the cost of the proposed rule to market

participants?

One method to allocate the cost of the proposed rule would be to consider the value associated with increased resilience is in the greater reliability of the entire NYCA system.  As such, the costs associated with this service should be allocated on a NYCA system-wide load ratio share basis, reflecting the collective value of the service provided.

17

4.	How would the requirement that eligible resources receive full cost recovery

be reconciled with the requirement, as stated in the regulatory text, that resources be dispatched during grid operations?

As explained in its responses to “Implementation - Question 1” and “Rate - Question 2,” the 
NYISO would propose to commit and dispatch EGRs based on their demonstrated, incremental cost of providing energy and ancillary services.  Requiring EGRs to offer energy and ancillary 
services consistent with their demonstrated incremental cost of providing the services will enable the NYISO to minimize the subsidy that NYCA loads must pay by dispatching EGRs based on their incremental operating costs.

If EGRs are compensated consistent with NYISO’s proposed reliability must-run rules, then

requiring EGRs to be committed and dispatched at times when their operation would increase the total production cost incurred to meet load (a) would not result in additional revenues to the 
Generator, but (b) would further decrease the efficiency of the NYISO’s market solution and increase the total cost incurred to serve NYCA load.

II.	Other

1.	The proposed requirement for submitting a compliance filing is 15 days after

the effective date of any Final Rule in this proceeding, with the tariff changes 
to take effect 15 days after the compliance filings are due.  Please comment 
on the proposed timing, both to develop a mechanism for implementing the 
required changes and to implement those changes, including whether or not 
such changes could be developed and implemented within that timeframe.

The NYISO’s comments address the need for additional time to submit compliance filings, make 
software changes and implement new market rules.  See Section II.C.2 of the NYISO’s 
Comments.

The NYISO is currently developing software to implement Generator Deactivation Process tariff provisions based on the Commission’s February 19, 2016 order (“Generator Deactivation 
Order”).  The NYISO spent eight months developing the market rules included in its Order 
compliance filing.  The NYISO’s implementation of the Generator Deactivation Process market rules filed with the Commission will require approximately twenty months to complete, with an expected software deployment during Fall 2018.  The implementation timeline includes the time required to develop functional requirements, write software and to test software performance. 
Thorough software testing also avoids unexpected conflict with other market and settlement 
rules.  This is a normal timeline to implement complex market and settlement rules without 
negatively impacting existing market and settlement logic.

If the Commission orders the NYISO to implement a cost-of-service rate structure for EGRs, the 
NYISO would expect to develop new market rules and software and to build on certain elements 
of the Generator Deactivation Process rules and software to implement the proposed EGR 
compensation rules.  The NYISO envisions the proposed rule requiring approximately the same 
level of effort as the Generator Deactivation Process compliance filing and software 
implementation; however, the exact timing depends heavily on the terms of any Final Rule.  The

18

NYISO estimates requiring six months or more, after the Commission issues any Final Rule, to develop the market rules for its compliance filing and approximately a year-and-a-half to 
develop and implement software, assuming the Commission accepts the NYISO’s initial 
compliance filing.

Both the proposed requirement for submitting a compliance filing 15 days after the effective date 
of any Final Rule in this proceeding, and the proposed requirement that tariff changes take effect

15 days after the compliance filing deadline, are unrealistic.  More time is needed to prepare market and settlement rules prior to submitting compliance filings and more time is needed to implement the necessary alternative provisions.  New market and settlement software cannot be implemented in a 15 day window without jeopardizing the integrity and quality of existing ISO and RTO market and settlement software.

2. 	Please comment on the proposed rule’s estimated burden of $291,042 per

respondent RTO/ISO, to develop and implement new market rules as 
proposed, including the potential software upgrades required to do so.

As discussed in the response to “Other - Question 1,” the NYISO expects to develop new market 
rules and software and to build on certain elements of its Generator Deactivation Process rules 
and software.  Based on a preliminary analysis, the NYISO expects to need, at a minimum, 
additional or new: (1) audit and validation rules to verify service performance; (2) penalty rules 
for EGRs that fail to satisfy their obligations; (3) capacity market rules to protect other market 
participants from the behavior of resources that are not dependent on capacity market payments;

(4) operating requirements that are different than the Generator Deactivation Process minimum operating standards; and (5) settlement rules.

The NYISO’s Generator Deactivation Process project implementation discussed in the response 
to “Other - Question 1” is expected to cost in excess of $1.5M.  The NYISO spent more than 
$500,000 to develop new market rules over an eight month period and to prepare its compliance 
filing.  The budget to develop functional requirements prior to software development was 
approximately $300,000.  The software upgrade project is ongoing and costs are expected to 
exceed $600,000.

The estimated burden to develop and implement new market rules in response to the proposed 
rule should be increased to at least $1.5M.  The NYISO estimates a cost of approximately 
$300,000 to develop market rules and to prepare its compliance filing.  Assuming the 
Commission accepts NYISO’s compliance filing, the NYISO’s estimated burden for developing 
functional requirements and software is approximately $1M.  The estimated burden assumes that 
the Commission does not require significant additional modifications to the NYISO’s pending 
Generator Deactivation Process compliance filing, and that the Commission allows the NYISO 
to achieve compliance with the proposed rule in a manner that is consistent with NYISO’s 
Generator Deactivation Process.  The estimated burden is likely to increase significantly if the 
NYISO cannot rely on some of its Generator Deactivation Process rules to achieve compliance 
with the proposed rule.

19

3.	Please describe any alternative approaches that could be taken to accomplish

the stated goals of the proposed rule.

Developing a rule that (a) requires a demonstrated reliability and/or resilience need to be

identified, (b) defines the service that is necessary to meet the need, and (c) allows technology neutral, market-based solutions to be offered to address the need, would help ensure that 
consumers receive the necessary services at the lowest cost.

Each ISO or RTO has worked collaboratively with its stakeholders to develop the markets

necessary to provide reliability and address resiliency for the unique needs of their respective 
systems.  ISOs and RTOs should be given the opportunity to demonstrate that their existing 
market designs already sufficiently address grid resiliency concerns in their region.  If, however, 
an ISO or RTO determines that resiliency is an operating characteristic or market product that 
needs to be addressed further, then that ISO or RTO should work with its stakeholders to develop 
revised market rules to procure, and compensate for, resiliency benefits in a cost effective 
manner.

The right approach is likely to vary by region.  For example, in New York there are unique

reliability rules, including dual fuel requirements in certain locations, such as in New York City, 
that support grid reliability.  The unique energy and capacity market designs in New York 
integrate reliability criteria to help meet demand at lowest cost.  Most recently, the NYISO 
refined its energy market design to provide price signals better aligned with system reliability 
needs during shortage situations.  In addition, storm hardening steps have been taken throughout 
the state to improve resiliency.  Implementing a one-size-fits-all approach would all but ensure 
that the selected approach is not the least cost approach for each affected region.

4. 	What impact would the proposed rule have on consumers?

Wholesale markets were developed and implemented to satisfy reliability requirements in a leastcost manner.  Using markets to allow competition to satisfy system needs permits the identified 
needs to be addressed efficiently.  The proposed rule provides guaranteed cost recovery to a 
limited set of resources.  The proposed rule does not demonstrate that the significant additional 
costs it will impose are consistent with the benefits that implementing the rule would provide to the New York Control Area.

The proposed rule would likely have both short- and long-term impacts on consumers.  In the 
near term, continued operation of uneconomic EGRs will cause non-EGR resources that would 
otherwise have been economic to exit the marketplace.  In the long term, continued retention of 
uneconomic EGRs would defer or negate the entry of newer, more efficient and lower cost 
resources.

20

Hypothetically speaking, if EGRs are truly being compensated to meet an as-yet unrecognized and unpriced reliability or resiliency need, then consumers would likely be harmless in the short run.  However, employing a cost of service model instead of a market model to procure the new service would likely increase costs to consumers in the long run, by decreasing the likelihood that competitive, lower priced alternatives that are capable of meeting the reliability need will be able to displace the existing, high-cost resources.

21