February 6, 2018

Hon. Kathleen H. Burgess

Secretary to the Commission

New York State Public Service Commission Empire State Plaza

Agency Building 3

Albany, New York 12223-1350 Phone: (518) 474-6530

Email:  secretary@dps.ny.gov

Subject:   Case 07-E-0088 - In the Matter of the Adoption of an Installed Reserve Margin 
	for the New York Control Area

Dear Secretary Burgess:

Pursuant to the New York State Public Service Commission’s January 3, 2018 Proposed

Rulemaking on the New York State Reliability Council’s Establishment of an Installed Reserve

Margin of 18.2% in the above-entitled proceeding, the New York Independent System Operator, Inc. hereby submits its comments.

Should you have any questions, please contact me at (518) 356-7656 or by email at dallen@nyiso.com.

Respectfully submitted,

/s/   David Allen

Robert E. Fernandez, General Counsel David Allen, Senior Attorney

New York Independent System Operator, Inc.

10 Krey Boulevard

Rensselaer, New York 12144 Tel: (518) 356-7656

Email:  dallen@nyiso.com

STATE OF NEW YORK

PUBLIC SERVICE COMMISSION

Case No. 07-E-0088 - In the Matter of the Adoption of an Installed Reserve Margin for the New 
	York Control Area

COMMENTS OF

THE NEW YORK INDEPENDENT SYSTEM OPERATOR, INC.

I.	Introduction

The New York Independent System Operator, Inc. (“NYISO”) respectfully offers these 
comments in response to the New York State Public Service Commission’s (“Commission”) 
January 3, 2018 notice in the above-captioned proceeding.1  The NYISO supports the 18.2 
percent Installed Reserve Margin (“IRM”) adopted by the New York State Reliability Council 
(“NYSRC”) for the New York Control Area (“NYCA”) in the upcoming 2018-2019 Capability 
Year,2 as proposed in its submission to the Commission and its filing with the Federal Energy 
Regulatory Commission (“FERC”).3  The proposed change to the IRM falls within a range of 
reasonable levels of installed capacity (“ICAP”) required to maintain reliability on the NYCA 
bulk power system.

The NYISO is the independent body responsible for providing open access transmission 
service, planning for and maintaining bulk power system reliability, and administering 
competitive wholesale markets for energy, capacity, and ancillary services in New York State. 
Among its responsibilities is the administration of ICAP auctions, including the Summer 2018

1 See Notice of Proposed Rulemaking, “New York State Reliability Council’s Establishment of an Installed Reserve Margin of 18.2%,” N.Y. Reg., I.D. No. PSC-01-18-00006-P (January 3, 2018).

2 Capitalized terms have the meaning ascribed to them in the NYISO’s Open Access Transmission Tariff (“OATT”) and its Market Administration and Control Area Services Tariff (“Services Tariff”).

3 See Case No. 07-E-0088, In the Matter of the Adoption of an Installed Reserve Margin for the New York Control Area, Informational Filing: New York State Reliability Council Adoption of Installed Reserve Margin for the New York Control Area (January12, 2018) (“NYSRC Submission”); New York State Reliability Council, L.L.C., Filing of Installed Capacity Requirement for the New York Control Area, FERC Docket No. ER18-524-000 
(December 22, 2017) (“NYSRC FERC Filing”).

1

Capability Period ICAP auction scheduled to commence on March 30, 2018.  In conjunction

with the ICAP Demand Curves, the IRM is a key input to the ICAP auction process, as it is used to calculate Load Serving Entities’ (“LSEs”) minimum capacity requirements.  Thus, the NYISO has a direct interest in this Commission’s review of the IRM adopted by the NYSRC for the 
2018-2019 Capability Year.

II.	Background

Section 3.03 of the New York State Reliability Council Agreement, which was approved 
by the FERC in connection with the formation of the NYISO and the NYSRC, obligates the 
NYSRC to submit any proposed revisions of the NYCA IRM to the FERC for approval before 
the beginning of the Capability Year to which the change would apply.4  The IRM was set at

18.0 percent for the 2000-2001 through 2006-2007, the 2010-2011 and the 2017-2018 Capability 
Years.5  In intervening years, the IRM has varied.  Both the Commission and the FERC accepted 
an IRM of 16.5 percent for the 2007-2008 Capability Year,6 15.0 percent for the 2008-2009 
Capability Year,7 16.5 percent for the 2009-2010 Capability Year,8 15.5 percent for the 2011-

4 New York State Reliability Council Agreement § 3.03 (December 2, 1999), available at 
http://www.nysrc.org/pdf/Agreements/NYSRC%20Agreement%20signed.PDF.

5 New York State Reliability Council, 90 FERC ¶ 61,313 (2000); Case No. 07-E-0088, Matter of the

Adoption of an Installed Reserve Margin, Order Adopting Installed Reserve Margin for the New York Control Area for the 2017-2018 Capability Year (February 12, 2010 and February 22, 2017); New York State Reliability Council, Letter Order, FERC Docket No. ER17-613-000 (January 31, 2017).

6 Case No. 07-E-0088, Matter of the Adoption of an Installed Reserve Margin, Order Adopting an Installed Reserve Margin for the New York Control Area (March 8, 2007); id., Confirming Order (March 21, 2007); see New York State Reliability Council, 118 FERC ¶ 61,179 (2007).

7 Case No. 07-E-0088, Matter of the Adoption of an Installed Reserve Margin, Order Adopting Installed 
Reserve Margin for the New York Control Area for the 2008-2009 Capability Year (February 29, 2008); id., 
Confirming Order (March 19, 2008); see New York State Reliability Council, 122 FERC ¶ 61,186 (2008).

8 Case No. 07-E-0088, Matter of the Adoption of an Installed Reserve Margin, Order Adopting Installed Reserve Margin for the New York Control Area for the 2009-2010 Capability Year (February 17, 2009); see New York State Reliability Council, Letter Order, FERC Docket No. ER09-437-000 (February 6, 2009).

2

2012 Capability Year,9 16.0 percent for the 2012-2013 Capability Year,10 17.0 percent for the 2013-2014, 2014-2015, and 2015-2016 Capability Years,11 and 17.5 percent for the 2016-2017 Capability Year.12

The current IRM of 18.0 percent requires LSEs in the NYCA to procure capacity equal to 
118.0 percent of their forecasted peak load.13  In addition, there are separate location-specific 
capacity requirements for LSEs in New York City, Long Island, and, collectively, Load Zones G, 
H, I, and J (the “G-J Locality”) that reflect the existence of transmission constraints in those 
areas.

At the request of the NYSRC and in accordance with the Agreement Between the New 
York Independent System Operator, Inc. and the New York State Reliability Council,14 the 
NYISO conducted a technical study for determining an IRM necessary to meet all applicable 
reliability criteria in the NYCA for the 2018-2019 Capability Year.  The NYISO performed the 
IRM study according to the procedures set forth in NYSRC’s Policy 5 and under the supervision

9 Case No. 07-E-0088, Matter of the Adoption of an Installed Reserve Margin, Order Adopting Installed Reserve Margin for the New York Control Area for the 2011-2012 Capability Year (February 22, 2011); see New York State Reliability Council, Letter Order, FERC Docket No. ER11-2392-000 (January 24, 2011).

10 Case No. 07-E-0088, Matter of the Adoption of an Installed Reserve Margin, Order Adopting Installed Reserve Margin for the New York Control Area for the 2012-2013 Capability Year (February 17, 2012); see New York State Reliability Council, Letter Order, FERC Docket No. ER12-597-000 (February 3, 2012).

11 Case No. 07-E-0088, Matter of the Adoption of an Installed Reserve Margin, Order Adopting Installed 
Reserve Margin for the New York Control Area for the 2013-2014 Capability Year (February 19, 2013); id., Order 
Adopting Installed Reserve Margin for the New York Control Area for the 2014-2015 Capability Year (February 24, 
2014); id., Order Adopting Installed Reserve Margin for the New York Control Area for the 2015-2016 Capability 
Year (March 2, 2015); see New York State Reliability Council, Letter Order, FERC Docket No. ER13-572-000 
(February 5, 2013); New York State Reliability Council, Letter Order, FERC Docket No. ER14-916-000 (February 
21, 2014); New York State Reliability Council, Letter Order, FERC Docket No. ER15-821-000 (March 3, 2015).

12 Case No. 07-E-0088, Matter of Adoption of an Installed Reserve Margin, Order Adopting Installed

Reserve Margin for the New York Control Area for the 2016-2017 Capability Year (February 26, 2016); New York State Reliability Council, Letter Order, FERC Docket No. ER16-623-000 (February 12, 2016).

13 For example, the NYCA forecast peak load for the 2006-2007 Capability Year was 33,295 MW.  The

18.0 percent IRM meant that the minimum ICAP requirement was 39,288 MW (i.e., 18 percent more than 33,295 
MW).

14 See Agreement Between the New York System Operator and the New York State Reliability Council, Article 3 (December 1, 1999), available at:

http://www.nyiso.com/public/webdocs/markets_operations/documents/Legal_and_Regulatory/Agreements/NYISO/i 
so_nysrc_agreement.pdf.

3

of the NYSRC Installed Capacity Subcommittee (“ICS”).  As in previous years, the NYISO 
employed General Electric’s Multi-Area Reliability Simulation (“GE-MARS”) model to 
determine the amount of ICAP that is required NYCA-wide to meet the governing resource 
adequacy criterion that the probability of an unplanned disconnection of firm load not exceed 
one occurrence in ten years.15  The NYISO’s base case evaluation yielded an IRM of 18.2 
percent for the 2018-2019 Capability Year.16  The NYISO reported its results to the ICS, which 
reviewed the results of the study, together with verification of the data inputs and modeling by 
General Electric, Consolidated Edison of New York, Inc., and PSEG Long Island.  The results 
were reflected in a Technical Study Report prepared by the ICS and provided to the Commission 
by the NYSRC on January 12, 2018, in support of its proposed revision to the NYCA IRM for 
the upcoming Capability Year.17

The NYSRC Executive Committee relied on the results contained in the Technical Study 
Report, as well as its evaluation of modeling changes, sensitivity studies, an assessment of the 
assumptions, and past experience, and adopted the base case value of 18.2 percent as the IRM for 
the 2018-2019 Capability Year.  On December 22, 2017, the NYSRC filed its proposed revision 
to the NYCA IRM with the FERC, requesting that the FERC accept and approve the filing no 
later than February 15, 2018 in order to be timely for the NYISO’s ICAP auction for the 2017 
Summer Capability Period.18

15 This criterion is known as the “Loss of Load Expectation” or “LOLE” and is the standard prescribed in the reliability rules of the Northeast Power Coordinating Council (“NPCC”) and the NYSRC.

16 NYSRC, Technical Study Report: New York Control Area Installed Capacity Requirement for the Period May 2018 to April 2019 (December 8, 2017), at p. 2.

17 See Case No. 07-E-0088, Matter of the Adoption of an Installed Reserve Margin, NYSRC Comments, Exhibits 1 and 2 (January 12, 2018).

18 NYSRC FERC Filing, at pp 8-12.

4

III.	Comments

A.	The NYSRC’s Decision to Establish a NYCA IRM of 18.2 Percent for the

2018-2019 Capability Period is Reasonable

As explained above, the NYSRC has proposed to increase the NYCA IRM from 18.0 
percent to 18.2 percent for the upcoming Capability Period.  The NYISO believes that the 
proposed increase is reasonable because the NYSRC appropriately applied the Loss-of-Load-
Expectation (“LOLE”) criterion to select an IRM falling within a range of reasonable IRMs that 
would maintain reliability in New York State for the 2018-2019 Capability Year. 
	Specifically, the base case evaluation described in the Technical Study Report yielded a NYCA IRM of 18.2 percent.  As described in the NYSRC FERC Filing, the NYSRC Executive Committee considered the base case results, as well as its evaluation of modeling and assumption changes and numerous sensitivity studies, and applied the LOLE criteria to produce IRMs that were higher and lower than the base case results and that would maintain reliability in the NYCA for the 2018-2019 Capability Year.19  Based on the study results and its experience and 
expertise, the NYSRC determined that an 18.2 percent IRM produced by the base case 
evaluation best satisfied the resource adequacy criterion and is appropriate to maintain reliability.

B.	The Commission Should Act Promptly

The 60-day comment period for the notice of rulemaking will run until March 5, 2018; and

therefore the NYISO respectfully requests that the Commission act on the NYSRC’s filing by 
March 6, 2018.20  A decision by March 6th will address the NYISO’s need to know the NYCA 
IRM sufficiently ahead of the first ICAP auction for the Summer 2018 Capability Period.  Once 
acted upon, the NYISO must complete a number of time-sensitive steps, including several

19 Id.

20 The NYISO similarly supported NYSRC’s request for the FERC to issue an order no later than February 15, 2018.  New York Independent System Operator, Inc., Motion to Intervene and Comments, FERC Docket No. ER18-524-000 (January 11, 2018), at pp 7-8.

5

seasonal preparation actions using the new IRM, finalizing the minimum NYCA-wide capacity 
requirement and the Locational Capacity Requirements (“LCRs”), and communicating this 
information to auction participants.21  These steps include the NYISO making its calculations as 
early as possible in advance of providing each LSE with its Summer 2018 Capability Period 
minimum capacity requirement.  Pursuant to its Services Tariff, the NYISO has scheduled the 
first ICAP auction for the Summer 2018 Capability Period to commence on or before March 30, 
2018.  Moreover, in accordance with its manuals and past practices, the NYISO has informed 
market participants that the new minimum capacity requirements will be available in the first full 
week of March prior to the Summer 2018 Capability Period Auction.  This timeline allows 
market participants sufficient time to take the necessary steps for participation in the upcoming 
Summer ICAP auctions.

If the Commission acts immediately following the close of the 60-day comment period, 
the NYISO is confident that it could complete its work on time and provide market participants 
the data they need on a schedule that promotes the effective functioning of its ICAP markets.22

21 In its calculation of the LCRs, the NYISO uses the IRM provided by the NYSRC to satisfy the LOLE

resource adequacy criterion.  The NYISO will use the 18.2 percent IRM adopted by the NYSRC to determine LCRs for the 2018-2019 Capability Year.

22 The NYISO notes that the FERC has accepted the NYSRC’s recommended IRM of 18.2 percent in its 
February 6 Letter Order.  See Letter Order, FERC Docket No. ER18-524-000 (February 6, 2018).  Therefore, to the 
extent the Commission issues its determination accepting the recommended IRM of 18.2 percent by March 6th the 
NYISO is confident that it will complete its seasonal preparations and conduct the March 30th Capacity Market 
Auction on time.

6

IV.	Conclusion

WHEREFORE, for the foregoing reasons, the NYISO respectfully requests that the

Commission: (i) act on the NYSRC filing by the March 6, 2018 Commission session; and (ii)

approve the NYSRC’s proposed NYCA IRM of 18.2 percent for the 2018-2019 Capability Year. 
	Respectfully submitted,

/s/  David Allen

Robert E. Fernandez 
General Counsel 
David Allen

Senior Attorney

New York Independent System Operator, Inc.

10 Krey Boulevard

Rensselaer, New York 12144 Tel: (518) 356-7656

7

CERTIFICATE OF SERVICE

I hereby certify that I have this day served the foregoing document upon each person designated on the official service list compiled by the Secretary in this proceeding. 
Dated at Rensselaer, NY this 8th day of February 2018.

/s/ John C. Cutting

John C. Cutting

New York Independent System Operator, Inc.

10 Krey Blvd.

Rensselaer, NY 12144 (518) 356-7521