May 22, 2018

By Electronic Delivery

Honorable Kimberly D. Bose, Secretary Federal Energy Regulatory Commission 888 First Street, NE

Washington, DC 20426

Re:    New York Independent System Operator, Inc., Proposed Tariff Revisions to 
	Establish External to Rest of State Deliverability Rights, Docket No. ER18-
	____-000

Dear Secretary Bose:

In accordance with Section 205 of the Federal Power Act (“FPA”) and Part 35 of the 
regulations of the Federal Energy Regulatory Commission (“Commission”), the New York 
Independent System Operator, Inc. (“NYISO”) respectfully submits proposed revisions to its 
Open Access Transmission Tariff (“OATT”) and Market Administration and Control Area 
Services Tariff (“Services Tariff”).  The proposed revisions will allow entities that fund 
transmission upgrades on External Interfaces sinking into the Rest of State (“ROS”)1 region to 
receive Capacity Resource Interconnection Service (“CRIS”) commensurate with the 
incremental transfer capability created by the transmission upgrade if determined to be 
deliverable under applicable procedures.  The proposed new rules also establish a new product, 
“External-to-ROS Deliverability Rights” (“EDRs”), by which such CRIS can be utilized to 
import capacity from External resources, and include associated qualification requirements, 
interconnection procedures, and market rules.

The NYISO’s proposed revisions will address inconsistencies in the currently effective

OATT that do not provide a clear manner for upgrades on interfaces connecting External Control 
Areas to the Rest of State to obtain CRIS, but that do allow certain other transmission upgrades 
to obtain CRIS—namely, controllable transmission sinking into a Locality that would be eligible 
for Unforced Capacity Deliverability Rights (“UDRs”).  The revisions also provide for the 
participation in the capacity market of External Resources holding EDRs, similar to the 
participation of other imported capacity.  As a result, they might encourage new transmission

1 Capitalized terms not otherwise defined in this filing letter shall have the meaning specified in 
the OATT and the Services Tariff.2 See H.Q. Energy Services (U.S.) Inc., Docket No. ER17-505-000, 
Motion to Intervene and Comments of the New York Indep. Syst. Operator, Inc. at 5 (December 21, 2016).

Honorable Kimberly D. Bose May 22, 2018

Page 2

investment, and eliminate unnecessary disparities between the treatment of transmission

upgrades in the interconnection process with respect to the eligibility for and evaluation of CRIS. The proposed revisions are therefore just, reasonable, and not unduly discriminatory.

These differences in eligibility for and evaluation of CRIS for transmission upgrades have previously been addressed by the Commission through tariff waivers that permitted a transmission upgrade on an External Interface sinking into the Rest of State to enter the current Class Year Study to be evaluated for CRIS.  In comments the NYISO submitted in response to these requested waivers, the NYISO acknowledged that even if the Commission granted the waivers, the NYISO would need to pursue a rule modification in order to allow the CRIS 
received in a manner such as that identified by HQUS, which coupled with an eligible External resource, to participate in the NYISO’s Installed Capacity market.2

For these reasons, the NYISO requests that the Commission accept the proposed tariff without any modifications.  Further, the NYISO respectfully asks that the proposed tariff 
revisions submitted in this filing become effective on the day following the conclusion of the standard statutory sixty-day notice period under Section 205 of the Federal Power Act, i.e., that they become effective on July 22, 2018.

I.	Documents Submitted

The NYISO respectfully submits the following documents with this filing letter:

1.	A clean version of the NYISO’s proposed tariff revisions to the OATT

(“Attachment I”);

2.	A blacklined version of the NYISO’s proposed tariff revisions to the OATT

(“Attachment II”);

3.	A clean version of NYISO’s proposed revisions to the Services Tariff

(“Attachment III”); and

4.	A blacklined version of NYISO’s proposed revisions to the Services Tariff

(“Attachment IV”).

II.	Communications and Correspondence

All communications and service in this proceeding should be directed to:

Robert E. Fernandez, General Counsel

Raymond Stalter, Director, Regulatory Affairs *Gloria Kavanah, Senior Attorney

2 See H.Q. Energy Services (U.S.) Inc., Docket No. ER17-505-000, Motion to Intervene and Comments of the New York Indep. Syst. Operator, Inc. at 5 (December 21, 2016).

Honorable Kimberly D. Bose May 22, 2018

Page 3

*Sara B. Keegan, Senior Attorney

10 Krey Boulevard

Rensselaer, NY 12144 
Tel:  (518) 356-6000 
rfernandez@nyiso.com 
rstalter@nyiso.com 
gkavanah@nyiso.com 
skeegan@nyiso.com

*Person designated for receipt of service.

III.	Background

The tariff revisions proposed in this filing address a gap that exists in the NYISO’s

currently effective tariffs.  The tariffs already establish a process for entities to request CRIS if 
they fund new or upgraded transmission that sinks in a Locality, i.e., Load Zone J, Load Zone K, 
and the G-J Locality.  But they do not contain a comparable mechanism for entities funding 
transmission upgrade projects connecting External Control Areas to the Rest of State to obtain 
CRIS.

The following is an overview of the current Tariff provisions, along with an explanation of the issues that can arise when they are applied, and that the instant proposal is seeking to resolve.  The OATT delineates the parameters within which a project can request CRIS in a Class Year over an External Interface.3  It provides, in pertinent part, that:

[t]he NYISO will determine whether the requests for External CRIS Rights within a given Class Year exceed the import limit, established pursuant to ISO procedures, for the 
applicable External Interface that is in effect on the Class Year Start Date when combined, to the extent not already reflected in the import limit, with [specified existing import rights.]  In addition to the other requirements stated herein, External CRIS Rights will only be awarded to the extent that the Combined Total MW does not exceed the import limit.4

External CRIS rights are only available to be requested in the Class Year Study if the transfer 
capability supporting such rights is already reflected in the Class Year base case, i.e., External CRIS rights are limited, among other factors, to the current capacity import limit in effect when a Class Year Study begins.

The sequence of the application of the OATT provisions can result in (or create a

substantial risk of) eliminating the ability to obtain any value for an investment.  This circularity 
begins with a transmission project needing to complete the development of its project before 
incremental MW at the External Interface would be demonstrated in a Class Year Study to be

3 See Section 25.7.11.1.4.2.2 of Attachment S to the OATT.

4 Id.

Honorable Kimberly D. Bose May 22, 2018

Page 4

available and thus allocable as CRIS to the requesting Developer.  However, if the incremental MW were created, they would first be reflected in the import limit.  Once reflected in the import limit, the above OATT provision requires that the incremental MW need to be reflected in the Class Year Study.  Thus, the requested CRIS would exceed the new import limit and could not be awarded by the NYISO.

The OATT and the Services Tariff provide the rules governing the annual establishment of the import rights limits and the procedures through which they are made available to Market Participants.  The implementation of these rules compounds the above-described issue because the incremental MW created by a merchant transmission project upgrade that could be reflected in the import rights, would available to be allocated through the NYISO’s “first come, first 
served” import rights process, placing the Developer on equal footing with all other Market 
Participants to secure those import rights.

Questions related to these issues were previously before the Commission in Docket No. 
ER17-505-000.  That proceeding involved the Cedar Rapids Transmission Intertie project (“the 
HQUS Project”), a proposed 80 MW transmission upgrade to the Interface between the province 
of Québec and the Rest of State which is under development by H.Q. Energy Services (U.S.) Inc. 
(“HQUS”).

Seeking a mechanism for transmission upgrade projects to obtain rights to offer

incremental capacity from an External Control Area into the Rest of State, HQUS sought waivers of several NYISO tariff provisions so that its transmission upgrade project could enter the 
NYISO’s 2017 Class Year Study for a deliverability evaluation in order to receive CRIS.

The NYISO supported the requested waivers and they were granted by the Commission.5 
In its support for the requested waivers, the NYISO highlighted HQUS’s acknowledgement that the 
CRIS it had “requested to receive in the Class Year Study may not be able to be used in the NYISO’s 
Installed Capacity market until rules are developed in 2018 that may ultimately determine the 
specific form of CRIS right HQUS may be eligible to obtain in the Class Year Study and the manner 
in which such form of rights might be implemented in the market.”6  The tariff revisions proposed in 
this filing provide such rules to HQUS and projects similarly situated to obtain and use CRIS based 
on incremental transfer capability created by transmission upgrades to External Interfaces with Rest 
of State.

5 On January 31, 2017, the Commission issued an order granting HQUS’ requested 
waivers, recognizing that the underlying tariff issues had been discussed for several years but had not been “addressed earlier because other projects took priority, and not because the NYISO or any 
stakeholder objected to HQUS’ ultimate proposed solution.”  See H.Q. Energy Services (U.S.) Inc., 158 FERC ¶ 61,098 (2017) at P 21.

6 Id.

Honorable Kimberly D. Bose May 22, 2018

Page 5

IV. 	Description of Proposed Tariff Revisions

The NYISO’s proposed tariff revisions provide a solution to the issue addressed for 
HQUS by the Commission’s waiver order in Docket No. ER17-505.  They establish a tariff 
mechanism for entities funding transmission upgrades on interfaces linking External Control 
Areas to the Rest of State to obtain EDRs and allow such entities to obtain CRIS by satisfying 
the deliverability requirements in Attachment S of the OATT.  The proposed tariff revisions treat EDRs on a basis comparable to UDRs and other External CRIS Rights in the Class Year review 
process.  They also set forth rules necessary to accommodate the introduction of the EDR 
provisions in the capacity market.

The proposed OATT revisions included in this filing have been made to a base version of 
the OATT that includes pending compliance tariff revisions submitted in Docket Nos. ER13-
102-012.7  While the NYISO previously requested that most of the revisions in connection with 
its Order No. 1000 compliance proceeding become effective on April 1, 2016, it requested that 
the Commission accept those revisions pertaining to the new Transmission Interconnection 
Procedures take effect on March 20, 2018.8  In the NYISO’s March 19 Filing, it noted in 
particular that making the provisions related to Transmission Interconnection Procedures 
prospectively effective starting on March 20, 2018 would avoid prejudicing the HQUS Project 
given its unique circumstances.9  Nothing about the instant filing changes the NYISO’s proposed 
treatment of the HQUS Project under the compliance filing submitted in Docket No. ER13-102-
012.

7 New York Independent System Operator, Inc., Compliance Filing, Docket No. ER13-102-012 (March 19, 2018) (“March 19 Filing”), corrected Errata Filing, Docket No. ER13-102-013 (April 6, 2018), corrected Errata Filing, Docket No. ER13-102-014 (May 2, 2018).

8 See March 19 Filing at p 14.

9 See id. at p 14 and n. 56.  Footnote 56 specifically addresses the HQUS Project, which occupies 
Position No. 430 in the NYISO’s interconnection queue: “Specifically, one project in the interconnection 
queue—Queue No. 430—is a proposed transmission upgrade that has been evaluated under Attachment 
P, is completing a Facilities Study under Attachment P, and will proceed to a Transmission 
Interconnection Agreement under Attachment P.  The NYISO’s proposed revisions to the definition of 
“Merchant Transmission Facility” and “Class Year Transmission Project,” if applied to existing projects 
in the interconnection queue, could arguably require the Queue No. 430 project to initiate an 
Interconnection Request under Attachment X and proceed through all of the interconnection studies in 
Attachment X, simply because the project is requesting CRIS associated with its project.  While not 
currently eligible for CRIS, and, therefore, not within the four corners of the definition of “Class Year 
Transmission Project,” Queue No. 430 is being evaluated in the current Class Year Study for CRIS, as a 
result of a Commission waiver in Docket No. ER17-505-000.  See H.Q. Energy Services (U.S.) Inc., 
FERC Docket No. ER17-505-000; Order Granting Tariff Waiver, 58 FERC ¶ 61,098 (2017).  As to not 
prejudice the Queue No. 430 project, the NYISO, therefore proposes that the revisions related to the new 
“Class Year Transmission Project” definition apply only to interconnection projects submitting 
applications or requests for interconnection after the requested March 20, 2018 effective date.”

Honorable Kimberly D. Bose May 22, 2018

Page 6

A.	Proposed New Definition

The NYISO is proposing to add a new defined term “External-to-ROS Deliverability Rights” (“EDRs”) to the Services Tariff in Section 2.5, and by reference thereto, to OATT Section 25.1.10  The new definition reads:

External-to-ROS Deliverability Rights (“EDRs”):  Rights, as measured in MW, 
associated with incremental transfer capability (i) on a new or existing Scheduled 
Line over an External Interface, with a terminus in Rest of State, and (ii) that has 
CRIS obtained pursuant to Attachment S of the OATT.  When combined with 
qualified Unforced Capacity which is located in an External Control Area either 
by contract or ownership, and which is deliverable to the [New York Control

Area] NYCA Interface with Rest of State over which it created the incremental transfer capability, EDRs allow such Unforced Capacity to be offered into the ISO-Administered Market.

Because EDRs by definition must have a terminus in Rest of State, if the area in which 
the project sinks becomes a new Locality and is thereby no longer in Rest of State, then EDRs 
that had been granted to it would cease to be effective.  During the stakeholder process in which 
the proposed EDR provisions were developed and approved, the NYISO indicated that it would 
work with its stakeholders in the future to discuss potential rules that would apply to EDRs in 
such a scenario.  The NYISO anticipates that it will explore such rules either as part of its

stakeholder project prioritization process or as part of the process under the Services Tariff in which the NYISO is to develop tariff revisions in the event the New Capacity Zone (“NCZ”) Study identifies a NCZ is to be established.11

B.	Other Proposed Revisions to the OATT

The NYISO is proposing to add a new clause to Section 25.1.1 of the OATT, “Purpose of 
the Rules,” to reflect the addition of EDR rules.  The new clause clarifies that an additional 
purpose of Attachment S will henceforth be to “allocate responsibility for the cost of 
interconnection facilities required for Capacity Resource Interconnection service (“CRIS”) and 
interconnection in compliance with the NYISO Deliverability Interconnection Standard.”

10 The version of Section 25.1 included in this filing incorporates the NYISO’s proposed addition of the term “Class Year Transmission Project” in the pending compliance filing in Docket No. ER13-102-
012.  The addition of “Class Year Transmission Project,” which encompasses transmission projects 
seeking UDRs that were previously included in the tariff definition of “Merchant Transmission Facility” permanently resolves one of the tariff issues that was addressed by waiver in Docket No. ER17-505-000. Similarly, the version of Section 25.1 included in this filing incorporates the revised definition of “Large Facility,” which includes a reference to “Class Year Transmission Projects” that was added by the 
pending compliance filing in Docket No. ER13-102-13.

11 See Section 5.16.4(a) of the Services Tariff.

Honorable Kimberly D. Bose May 22, 2018

Page 7

The NYISO is proposing to revise Section 25.3 of the OATT, “Deliverability

Interconnection Standard,” to establish that EDR and UDR projects larger than 2 MW are among the “Large Facilities” that must satisfy the NYISO Deliverability Interconnection Standard 
before they may receive CRIS (subject to certain currently effective exceptions).

The NYISO is also proposing a single change to Section 25.6, “Cost Allocation

Methodology for [Energy Resource Interconnection Service] ERIS.”  Specifically, the NYISO 
proposes to add language to Section 25.6.2.3.1 to specify that the regulatory “milestones” of that provision do not apply to projects that elect to enter a Class Year solely for the purpose of 
requesting CRIS.  That is, the milestones would not apply to EDRs.  The regulatory milestones do not apply to any “CRIS only” being evaluated only for deliverability in the Class Year 
Study—e.g., projects requesting increases in existing CRIS.  The regulatory milestone 
requirements only apply to projects that have proceeded through the Large Facility 
Interconnection Procedures for ERIS.  This language simply clarifies the existing rule and drafts the language in a way as to encompass EDRs.

The proposal also makes multiple modifications to Section 25.7, “Cost Allocation

Methodology for CRIS.”  First, it would add language to Section 25.7.3, “Capacity Regions,” to 
require projects requesting EDRs to be deliverable at their requested CRIS MW level throughout 
the Rest of State Capacity Region.  This requirement is the same as the existing requirement 
applicable to generators and other kinds of Class Year Transmission Projects that must be 
deliverable at their requested CRIS MW level throughout the Capacity Region in which the 
project is interconnected or is interconnecting.  Second, Section 25.7.4, “Participation in 
Capacity Markets,” would be revised to clarify that, just like Developers seeking UDRs, in order 
to be eligible to receive EDRs a Developer requesting EDRs must obtain CRIS by funding or 
committing to fund any System Deliverability Upgrades needed for its project to be deliverable 
at the requested level of CRIS.  Third, Section 25.7.8.2.3 would be revised to cross-reference 
Section 25.8.1 with regard to the maximum CRIS that can be requested (by any project, not just 
EDRs) in the Class Year Study.  Section 25.8.1, to reflect EDRs, would be revised to specify that 
a Class Year Project that is requesting EDRs may “request a MW level of CRIS, not to exceed 
the increase in transfer capability created by its associated Transmission Project . . .” as 
demonstrated in the System Impact Study to be performed under Attachment P to the OATT. 
This language effectuates the central purpose of this filing, i.e., to enable entities funding 
transmission upgrades between External Control Areas and the Rest of State to obtain a level of 
CRIS commensurate to the increase in transfer capability.  Sections 25.7.8 and 25.7.9 would also 
be adjusted to incorporate a minor revision to use the defined term “Class Year CRIS Projects” 
for those projects only in the Class Year Study for evaluation for CRIS.

Fourth, the NYISO would revise Section 25.7.10, “Deliverability of External Installed 
Capacity,” to provide that External Installed Capacity not associated with UDRs, EDRs, or 
External CRIS Rights will be evaluated separately, under the existing annual process for setting 
import rights for the upcoming Capability Year, to determine the amount of External Installed 
Capacity that can be imported to the New York Control Area.  Fifth, Section 25.7.12.3 would be 
amended to state that a Generator or Class Year Transmission Project (including entities seeking

Honorable Kimberly D. Bose May 22, 2018

Page 8

EDRs) that is requesting CRIS will be considered deliverable, so long as the Developer has paid 
its share of the total cost of System Deliverability Upgrades necessary to support the requested 
CRIS level or made a satisfactory commitment to do so.  All such projects would also be eligible 
to become an ICAP Supplier (subject to the eligibility requirements) after going into service.

Finally, the NYISO is proposing to revise Appendix 1 to its Large Facilities

Interconnection Procedures, i.e., the Interconnection Request form included in Section 30.14 of the OATT to require Developers to provide supplemental data to help confirm: (i) whether a project is a transmission project requesting CRIS; and (ii) if it is, to clarify whether the 
Developer is seeking UDRs or EDRs.

C.	Other Proposed Services Tariff Revisions

The NYISO is proposing multiple revisions to Section 5.12 of the Services Tariff,

“Requirements Applicable to Installed Capacity Suppliers.”  In general, these revisions reflect the proposed introduction of EDR rules in the OATT and provide treatment comparable to that for EDRs, UDRs, and Generators.  Many of the changes are ministerial in nature.

Proposed changes to Section 5.12.1, “Installed Capacity Supplier Qualification

Requirements” would clarify that transmission projects with associated incremental capacity that have EDRs and that have entered service may be Installed Capacity Suppliers (and thus if 
qualified, may offer capacity in the NYISO-administered markets.)  The NYISO’s proposed revisions in that Section and also in Section 5.12.8 specify that capacity associated with EDRs, like other forms of “External Installed Capacity that is not associated with UDRs” is not eligible to satisfy Locational Minimum Installed Capacity Requirements.

The NYISO also proposes to modify Section 5.12.2.1, “Provisions Addressing the

Applicable External Control Area” to establish that External resources using EDRs may be

Installed Capacity Suppliers if they demonstrate their deliverability in a manner comparable to

what is required of resources using UDRs.  Sections 5.12.2.2, “Additional Provisions Addressing 
Internal Deliverability and Import Rights” provides for the EDRs to be treated in the same 
manner as UDRs and External CRIS Rights in the annual import rights setting process and 
import rights deliverability analysis12  Section 5.12.4, “Required Certification for Installed 
Capacity” would likewise be modified to provide for parallel treatment of UDRs and EDRs (as 
applicable).

Proposed new Section 5.12.5.4, “Transmission Projects Granted External-to-ROS

Deliverability Rights” would specify that “[a]n owner of a transmission project that receives

EDRs must, among other obligations, submit outage data or other operational information when determined applicable by the ISO and in accordance with ISO Procedures.”  New Section

12 This treatment is consistent with the provisions of OATT Section 25.7.10.   See Section IV.B

infra.

Honorable Kimberly D. Bose May 22, 2018

Page 9

5.12.6.5, “Unforced Capacity for Outage Data and Operational Information Associated with

External-to-ROS Deliverability Rights” would require the NYISO to calculate the availability of External Interfaces associated with EDR projects in order to reduce the amount of EDRs for which UCAP may be offered.  These provisions are comparable to the capacity market 
requirements for UDR facilities.

V. 	Stakeholder and Independent Market Monitoring Unit Review

The tariff amendments proposed in this filing were approved by the NYISO Management 
Committee on March 28, 2018 unanimously, with abstentions.  They were approved by the 
NYISO’s independent Board of Directors on April 16, 2018.  In addition, this transmittal letter 
and the NYISO’s proposed tariff revisions, have been reviewed by the independent Market 
Monitoring Unit.

VI.	Requested Effective Date

In accordance with Section 205 of the FPA, the NYISO requests that its proposed tariff revisions be made effective on July 22, 2018, i.e., on the day following the expiration of the standard sixty-day notice period under the FPA.

VII.   Request Regarding Pending Tariff Revisions That Are Necessary For 
	Certain Tariff Revisions in this Filing

In its March 19 Filing, which is a compliance filing unrelated to this FPA Section 205 filing, the NYISO proposed revisions to the definition of “Merchant Transmission Facility” and “Class Year Transmission Project.”  The definition of Class Year Transmission Project proposed in the March 19 Filing is the defined term for those projects seeking EDRs in the Large Facility Interconnection Procedures.  As a result, should the Commission not accept the previously 
proposed language that is pending before it in Docket No. ER13-102-012 at the time it rules on this filing, the NYISO requests the Commission issue a compliance directive to make any 
necessary adjustments to the tariff language in the instant proposal so that the EDR tariff 
provisions are clear in the absence of the previously proposed language.

VIII.   Service

The NYISO will send an electronic link to this filing to the official representative of each 
of its customers, to each participant on its stakeholder committees, to the New York State Public 
Service Commission, and to the New Jersey Board of Public Utilities.  In addition, the complete 
filing will be posted on the NYISO’s website at www.nyiso.com.

Honorable Kimberly D. Bose May 22, 2018

Page 10

IX.	Conclusion

The New York Independent System Operator, Inc., respectfully requests that the Commission accept the proposed tariff revisions in this filing in their entirety without any modifications.

Respectfully submitted,

/s/ Gloria Kavanah

Gloria Kavanah 
Sara B. Keegan

Counsel to the New York Independent System Operator, Inc.

10 Krey Blvd.

Rensselaer, New York 12144 (518) 356-6103

gkavanah@nyiso.com 
skeegan@nyiso.com

cc:	Anna Cochrane

James Danly J. 
Jette Gebhart 
Kurt Longo

David Morenoff 
Daniel Nowak 
Larry Parkinson 
Arnold Quinn 
Douglas Roe

Kathleen Schnorf Gary Will