May 31, 2019

By Electronic Delivery

The Honorable Kimberly D. Bose Secretary

Federal Energy Regulatory Commission 888 First Street, NE

Washington, DC 20426

Re:    Amendment to New York Independent System Operator, Inc. Order No. 841 
	Compliance Filing; Docket No. ER19-467-00_

Dear Secretary Bose:

The New York Independent System Operator, Inc. (“NYISO”) respectfully submits

limited amendments to the tariff revisions that were included in its Order No. 8411 compliance 
filing submitted in the above-captioned docket on December 3, 2018 (“Compliance Filing”).  As 
the NYISO described in its May 1, 2019 filing in this docket,2 since the submission of the 
Compliance Filing, the NYISO has identified two implementation issues with respect to the 
ability of electric storage facilities to participate in the NYISO-administered markets as 
Generators that are Energy Limited Resources (“ELRs”).  Accordingly, the NYISO respectfully 
submits three limited corrective amendments to the revisions to the NYISO’s Market 
Administration and Control Area Services Tariff (“Services Tariff”) that were initially proposed 
in the Compliance Filing.  The purpose of the Tariff corrections is to reflect the NYISO’s 
inability to permit electric storage facilities other than the Blenheim-Gilboa Pumped Storage 
Power Project (“Gilboa”) to participate in its markets as ELRs that can Bid to withdraw Energy 
at their electrical locations.  Instead, electric storage facilities will be able to participate in the 
NYISO’s markets as Energy Storage Resources (“ESRs”) when the Commission permits the 
Tariff revisions proposed in the Compliance Filing to become effective.

As discussed below, the tariff revisions first proposed in the Compliance Filing, as 
amended here, continue to be just, reasonable, and compliant with Order No. 841.  The

1 Electric Storage Participation in Markets Operated by Regional Transmission Organizations and Independent System Operators, Order No. 841, 162 FERC ¶ 61,127 (February 15, 2018), 83 Fed. Reg. 9580 (Mar. 6, 2018), Errata Notice (Feb 28, 2018) (“Order No. 841”), Order on Reh’g. and Clarification, Order No. 841-A, 167 FERC ¶ 61,154 (May 16, 2019).

2 See Response to April 1, 2019 Letter and Notification of Implementation Issues that Necessitate Additional Limited Compliance Tariff Revisions in Docket No. ER19-467-000, filed May 1, 2019.

Honorable Kimberly D. Bose May 31, 2019

Page 2

Commission should accept the NYISO’s compliance tariff revisions as amended, and make them effective on the dates originally proposed in the Compliance Filing.3

I.	Background

A.	Identification of Errors in NYISO’s Filing Letter

At the time that the NYISO submitted the Compliance Filing, it believed that it would be 
able to accommodate participation by electric storage facilities as ELRs that are able to Bid and 
receive a schedule to withdraw Energy as negative generation at their electrical location. 
However, in the course of developing specifications to implement the rules and market design 
proposed in the Compliance Filing, the NYISO has determined that making the ability to 
withdraw Energy available to a broad range of Generators that are ELRs will not be possible by 
the NYISO’s proposed effective date, and would only be possible if NYISO undertakes a highly 
resource-intensive set of software and supporting tariff revisions to accommodate the operation 
of ELRs that are able to withdraw Energy as negative generation at their electrical location. 
Accordingly, the Compliance Filing’s statements on this point4 have proved to be inaccurate.

The Compliance Filing also stated that, after its proposed ESR-related tariff revisions 
become effective, electric storage facilities that need to withdraw Energy to recharge would be able to choose between operating as an ESR or operating as an ELR that can withdraw Energy.5 The NYISO has similarly concluded that it will not be able to expand the ability for ELRs to 
withdraw Energy by the effective date requested in the Compliance Filing.  Implementing ELRs as Generators that are able to withdraw Energy as negative generation at their electrical location will only be possible if and when the NYISO undertakes the resource-intensive software and 
supporting tariff revisions referenced above.

As explained below, developing the functionality required to permit ELRs to withdraw 
Energy as negative generation at their electrical location is not necessary to allow the vast 
majority or all of the electric storage facilities in the NYISO’s interconnection queue to 
participate in the ISO-administered markets.  The NYISO expects the ESR participation model to 
be a superior choice for these resources.  It is not possible for the NYISO to complete and 
implement both its ESR participation model and withdrawal-eligible ELRs by the effective date 
requested in the Compliance Filing.  To avoid delaying entry of electric storage facilities into the 
NYISO markets, the NYISO respectfully submits that it should be allowed to (a) proceed with 
the implementation of the ESR tariff revisions proposed in the Compliance Filing, as amended 
by this submission, and (b) to give its stakeholders the opportunity to weigh-in on the value of 
developing ELRs that can withdraw Energy as negative generation in the project prioritization 
process.6

3 See Compliance Filing at Section X.

4 See Compliance Filing at 15.

5 See Compliance Filing at 14-15.

6 The NYISO is presenting the development of ELRs that are able to withdraw Energy as negative generation at

their electrical location to its stakeholders as a project that can be prioritized for development commencing in 2020.

Honorable Kimberly D. Bose May 31, 2019

Page 3

B. 	The ESR Participation Model Will Provide Enhanced Revenues and Produce

a Superior Market Solution for Energy Storage Resources with Flexible Operating Characteristics

The NYISO’s proposed Tariff rules will permit ESRs to participate in its markets on a 
just and reasonable basis that is consistent with Order No. 841.  The ESR model is designed to 
accommodate the operation of advanced energy storage facilities and provides greater 
opportunities for these resources to earn revenues in the NYISO’s Energy and Ancillary Services 
markets than participating as an ELR that could Bid to withdraw Energy at its electrical location 
would.  For the vast majority of electric storage facilities, including all of the storage resources 
that are presently in the NYISO’s interconnection queue (which are all batteries), the NYISO’s 
ESR participation model will provide superior opportunities to earn market revenues.

The ESR participation model is the superior option for flexible advanced energy storage resources because it allows a resource to offer to be dispatched from its maximum withdraw 
level (its Lower Operating Limit or “LOL”) to its maximum injection level (its Upper Operating Limit or “UOL”).  A 10 MW storage resource using the ESR model can submit a single offer to be available from -10 MW to 10 MW.  The resource can be scheduled to inject Energy in one 
interval, and to withdraw Energy in the next interval if the LBMP at its location changes.  When offering this way, the storage resource can set price if it is scheduled for Energy, Operating 
Reserves and/or Regulation Service.

In contrast, the ELR participation model that permits Energy withdrawals requires a

storage resource to choose on an hour-by-hour basis (at least 75 minutes before the start of each market hour in real-time) whether it wishes to participate solely as an injection resource or solely as a withdrawing resource.  When real-time prices change dramatically intra-hour, the operation of an ELR that can either Bid to inject Energy, or to withdraw Energy (but not both) cannot fully respond to the change.  The ESR participation model enables the NYISO to maximize the use of, and the net revenues paid to, ESRs by flexibly modifying these resources’ schedules in response to intra-hour positive and negative price changes (spikes).

The ESR participation model also is superior to participating in the NYISO’s markets as 
an ELR that can Bid to withdraw Energy at its electrical location because the ESR participation 
model enhances the ability of ESRs to sell reserves, especially when the electric storage resource 
is scheduled to withdraw Energy.  A 10 MW ESR’s ability to offer a continuous operating range 
that extends from its LOL of -10 MW to its UOL of 10 MW allows the storage resource to be 
scheduled to provide up to 20 MW of Operating Reserves when it is scheduled to withdraw 10 
MW of Energy.

The participation model used for ELRs that can Bid to withdraw Energy at their electrical 
location would only allow an energy storage resource to be awarded up to 10 MW of Operating

If stakeholders indicate sufficient support for these changes, then the NYISO will move forward with developing this additional functionality.  See Section II.B.1, below.

Honorable Kimberly D. Bose May 31, 2019

Page 4

Reserves, as its Bid is bounded from zero to the UOL, or from zero to the LOL, depending on whether the ELR is injecting or withdrawing in that hour.  While both ESRs and withdrawaleligible ELRs can accrue Operating Reserve revenues while they are scheduled to withdraw Energy, an ESR’s opportunity to earn Operating Reserve revenues when it is scheduled to withdraw Energy is significantly greater.

In addition to the benefits participating energy storage resources receive, the ESR model 
is also expected to produce more efficient solutions and to enhance the efficiency of the 
NYISO’s markets as a whole.  The NYISO designed the ESR participation model to include state 
of charge management, which can improve the scheduling of energy storage resources in the 
Day-Ahead Market and increase the revenue potential of storage resources by allowing the 
NYISO’s market optimization to (i) account for charge/discharge losses with its roundtrip 
efficiency parameter, and (ii) determine the optimal hours to charge and discharge a storage 
resource based on the resource’s submitted hourly production cost and energy level.  This 
improved scheduling capability will benefit New York consumers by ensuring that charging and 
discharging of the participating ESR is performed while minimizing the overall production cost 
for all resources and customers participating in the NYISO’s Day-Ahead Market.

II.	Tariff Amendments

A.	Revisions to Services Tariff

The NYISO has identified three provisions in the proposed amendments contained in the 
Compliance Filing that erroneously state or suggest that the NYISO is able to accommodate 
participation in its markets by all electric storage facilities that are capable of withdrawing 
Energy to recharge or refill as ELRs that are eligible to withdraw Energy as negative generation 
at their electrical location.  The NYISO proposes here to delete such language to clarify that the 
NYISO lacks the ability to offer ELR as a participation model for electric storage facilities that 
must withdraw Energy from the grid to recharge or refill.  The three sections of the Services 
Tariff that require amendment (“Amended Tariff Provisions”), and the necessary changes, are as 
follows.

The first change is to the definition of Energy Limited Resource in Section 2.5 of the 
Services Tariff.  Specifically, the NYISO seeks to amend the definition of Energy Limited 
Resource proposed in the Compliance Filing, as follows (the proposed deletion is highlighted):

Energy Limited Resource: Capacity resources, not including BTM:NG Resources, that, 
due to environmental restrictions on operations, cyclical requirements, such as the need to 
recharge or refill, or other non-economic reasons, are unable to operate continuously on a 
daily basis, but are able to operate for at least four consecutive hours each day.  If an 
Energy Limited Resource requires Energy to recharge or refill, it is also a Withdrawal-
Eligible Generator. Energy Limited Resources must register their Energy limiting

characteristics with, and justify them to, the ISO consistent with ISO Procedures.

Resources that meet the qualifications to be an Energy Limited Resource, and choose to participate in the wholesale market as an Energy Limited Resource, are not subject to the rules applicable to Energy Storage Resources.

Honorable Kimberly D. Bose May 31, 2019

Page 5

The NYISO also seeks to amend the versions of Services Tariff Sections 15.4.2.1 and

15.4.3.1 that were proposed in the Compliance Filing as follows (the proposed deletions are highlighted):

15.4.2.1	Bidding and Bid Selection

Resources capable of providing Spinning Reserve, 10-Minute Non-Synchronized 
Reserve and/or 30-Minute Reserve in the Day-Ahead commitment may submit 
Availability Bids for each hour of the upcoming day.  If a Supplier offers Resources that 
are capable, based on their indicated commitment status, of providing Operating Reserves 
but does not submit an Availability Bid, its Day-Ahead Bid will be rejected in its entirety. 
A Supplier may resubmit a complete Day-Ahead Bid, provided that the new bid is timely.

*	*	*

For an Energy Limited Resource that is withdrawing Energy, the sum of the 
Resource’s Energy Schedule, the amount of Regulation Capacity it is scheduled to 
provide, and the amount of each Operating Reserves product it is scheduled to provide 
shall not exceed the lesser of zero or its Upper Operating Limit. For an Energy Storage

Resource that is withdrawing Energy, the sum of the Resource’s Energy Schedule, the 
amount of Regulation Capacity it is scheduled to provide, and the amount of Operating 
Reserves product it is scheduled to provide shall not exceed its Upper Operating Limit.

15.4.3.1	Bid Selection

The ISO will automatically select Operating Reserves Suppliers in real-time

from eligible Resources, that submit Real-Time Bids pursuant to Section 4.4 of, and

Attachment D to, this ISO Services Tariff.  Each Supplier will automatically be assigned a real-time Operating Reserves Availability bid of $0/MW for the quantity of Capacity that it makes available to the ISO in its Real-Time Bid.

*	*	*

For an Energy Limited Resource that is withdrawing Energy, the sum of the 
Resource’s Energy schedule, the amount of Regulation Capacity it is scheduled to 
provide, and the amount of each Operating Reserves product it is scheduled to provide 
shall not exceed the lesser of zero or its UOL. For an Energy Storage Resource that is

withdrawing Energy, the sum of the Resource’s Energy Schedule, the amount of

Regulation Capacity it is scheduled to provide and the amount of Operating Reserves product it is scheduled to provide shall not exceed its UOL.  The ISO may limit the 
availability of a Withdrawal-Eligible Generator to provide Operating Reserves based on its Energy Level constraints.

Honorable Kimberly D. Bose May 31, 2019

Page 6

The proposed amendments are very limited in scope, and are intended only to reflect the 
practical implementation limitations that the NYISO has identified.  None of the proposed 
changes affect Services Tariff provisions that have been accepted for filing by the Commission.

B.	Justification

1.	Implementation of Withdrawal-Eligible ELRs in

NYISO’s Energy and Ancillary Services Markets Will Require a Prolonged Effort that Will Delay the 
Participation of ESRs in the NYISO Markets and Will Provide Limited or No Benefits

The NYISO’s market and settlement systems are not presently designed to economically evaluate Bids to withdraw Energy, or to settle Energy withdrawals as negative generation at the generator bus, for any resource other than Gilboa.  Gilboa commenced operation before the 
NYISO-administered markets were first implemented in 1999, and is presently the only pumped storage resource in the New York Control Area (“NYCA”) that is able to withdraw Energy as negative generation to fill its reservoirs.

At the time that the NYISO submitted the Compliance Filing, it believed that the

software that accommodates Gilboa’s participation in the markets could be quickly adapted to 
permit other electric storage facilities to participate as ELRs that are able to withdraw Energy as 
negative generation at their electrical location.  The market and settlement software that NYISO 
employs to accommodate pumped storage as an ELR that can withdraw Energy is specifically 
tied to the Gilboa unit’s operation and to its associated generator buses.  In the process of 
developing software specifications to implement its Order No. 841 compliance proposal, the 
NYISO determined that the existing software could not be enhanced or expanded to 
accommodate a broader range of resources, and instead would need to be almost entirely 
reconstructed.  The existing software does not include the functionality to add new resources; not 
even resources that have operating characteristics similar to Gilboa’s.  Furthermore, the current 
software design provides limited bidding flexibility that is adequate to accommodate large 
pumped storage facilities, but that the NYISO does not expect to be sufficient for new battery 
technologies.7  Because of the described limitations of the existing software, the NYISO will not 
be able to permit new resources to withdraw Energy as negative generation until the ESR 
participation model is completed and deployed.

The NYISO cannot readily enhance and expand its existing software to permit new

resources that need to withdraw Energy in order to recharge to participate as Generators that are 
ELRs.  Substantial additional effort (effectively, a major new software redesign, using many of 
the same resources that the NYISO is relying on to implement the other Order No. 841 
compliance tasks) would be required to reconstruct and enhance the existing software to permit

7 For example, Gilboa’s Bids to withdraw Energy contain a single price (that Gilboa is willing to pay to withdraw

Energy) and a specific MW value, indicating the quantity of Energy that Gilboa will be scheduled to withdraw when its Bid is accepted.  The software is not designed to accept Bids to withdraw differing quantities of Energy at 
different prices.

Honorable Kimberly D. Bose May 31, 2019

Page 7

the scheduling and settlement of new ELRs that withdraw Energy as negative generation at their electrical location.  The NYISO anticipates implementing the ESR-related tariff revisions 
proposed in its Compliance Filing, as amended by this filing, no earlier than May 1, 2020.8  The NYISO would not be able to undertake the additional work to enable ELRs to withdraw Energy as negative generation before the ESR effort is completed without significantly impacting the delivery schedule for the ESR functionality.

Redeveloping the necessary software capabilities and implementing ELRs that can

withdraw Energy as negative generation at their location in the NYISO’s markets would require 
modifications to many of the same systems (e.g., the Market Information System, Security-
Constrained Unit Commitment, Real-Time Commitment, Real-Time Dispatch and Billing and 
Settlement System) that the NYISO must modify to implement ESR.  The NYISO employees 
and external contractors who possess the necessary expertise are currently fully engaged in 
developing the functionality needed to implement ESR and in supporting the NYISO’s ongoing 
efforts to replace its Energy Management and Business Management Systems.  If the 
Commission were to instruct the NYISO to develop and implement ELRs that can withdraw 
energy as negative generation before the ESR project is complete, then the NYISO’s employees 
and contractors would be required to divide their time between the ELR and ESR projects, which 
would significantly delay NYISO’s efforts to complete and deploy its proposed ESR 
participation model for energy storage facilities.

As explained in Section I.B of this filing letter, the NYISO expects that the ESR

participation model will provide greater opportunities for electric storage facilities to earn market 
revenues than operating as an ELR that is able to withdraw Energy might, and that the NYISO’s 
markets will operate more efficiently if electric storage facilities participate as ESRs.  As further 
explained below, the NYISO is not aware of any electric storage facilities in its interconnection 
queue that would not be able to participate in the NYISO’s markets as ESRs.  In light of these 
facts, it is unnecessary for the Commission to instruct the NYISO to delay the implementation of 
the ESR participation model until the NYISO is also able to permit Generators that are Energy 
Limited Resources to withdraw Energy as negative generation at their electrical location.  Such a 
delay would only impede the ability of viable energy storage resources to participate in the ISO-
administered markets.  The NYISO requests that the Commission accept the tariff revisions

specified above so that it may concentrate its resources on implementing the ESR participation model as quickly as practicable.

In order to determine whether software enhancements needed to accommodate

withdrawal-eligible ELRs are of high value to the NYISO’s stakeholders and are worth pursuing, 
the NYISO is in the process of presenting this set of enhancements to its stakeholders as a 
project that can be prioritized for development commencing in 2020.9  If stakeholders indicate

8 See Compliance Filing at 2, 64.

9 See proposed Project #37, entitled WEELR Participation Model, at the following link:

https://www.nyiso.com/documents/20142/6544060/Project%20Candidate%20Descriptions%20-
%20clean.pdf/48f51ad1-b2c7-e36f-5270-846eb6778c6f

Honorable Kimberly D. Bose May 31, 2019

Page 8

sufficient support for these changes, then the NYISO will move forward with developing this additional functionality, including any necessary supporting Tariff revisions.

Facts stated in this section regarding the NYISO’s ability to develop necessary market and settlement software to implement its ESR participation model, and/or to develop the ability to accommodate ELRs that can withdraw Energy as negative generation at their location, are confirmed in the Affidavit of Brandon Cheely, the NYISO’s Manager of Reliability and Markets Technologies, which is included as Attachment I hereto.

2. 	The NYISO’s Order No. 841 Compliance Proposal

Remains Just and Reasonable, and Does Not Unduly 
Discriminate Against Any Type of Electric Storage 
Facility

The NYISO respectfully submits that, even without the enhanced ELR functionality

referenced above, its proposal to comply with Order No. 841 is just, reasonable, and not unduly discriminatory, and should be approved.  For the vast majority of electric storage facilities, 
including all of the electric storage facilities that are currently in the NYISO’s interconnection queue, participating as an ESR will provide greater market revenues to the resource than 
participating as an ELR that can withdraw Energy would, and will enable the NYISO to develop a more efficient least-cost market solution.

a.	Because Gilboa Is Different From the

Electric Storage Facilities Entering the NYISO Markets Today Treating it Differently Is Justified

All electric storage facilities in the NYISO’s current interconnection queue are based on 
advanced battery technology.10  The NYISO understands based on discussions with its 
stakeholders and developers that the advanced storage technologies being contemplated for 
future deployment in New York as ESRs, including the projects in the NYISO’s interconnection 
queue, are capable of being synchronized to the grid without injecting or withdrawing any 
Energy and can be dispatched to inject or withdraw Energy from an idle state (where there is no 
Energy injection or withdrawal occurring).  No start-up decision or minimum load, or related 
commitment costs, should be required for these resources to accurately represent their 
capabilities.  Rather, when available, these electric storage facilities can respond in milliseconds 
without advance notice to a dispatch instruction, and can idle at zero output.  The ESR 
participation model is designed to accommodate the operation of battery-based and other 
advanced energy storage facilities.

There is one electric storage facility in the NYISO’s markets - Gilboa - that is eligible to 
submit start-up bids, to recover minimum generation costs, and to withdraw Energy as negative

10 There are no pumped storage projects in the NYISO’s interconnection queue and the NYISO is not aware of any developer that plans to interconnect a new pumped storage facility to the New York Control Area.

Honorable Kimberly D. Bose May 31, 2019

Page 9

generation in the NYISO’s markets.  Gilboa entered service in 1973 and has participated in the 
NYISO’s markets since their inception in 1999.  The scheduling and operation of battery-based 
and other advanced energy storage facilities is very different from the manner in which pumped 
storage hydroelectric technologies, such as Gilboa, must operate.  Unlike a battery, Gilboa relies 
on enormous hydroelectric turbines to produce Energy and to pump water back into its 
reservoirs.  While a battery-based electric storage facility can inject small amounts (a MW or 
less) of Energy, it is not possible to operate the large hydroelectric turbines at Gilboa to produce 
similarly small quantities of Energy.  The turbines simply will not spin, or will not spin quickly 
enough, to produce electricity.  When the turbines are used to pump water into the reservoir at 
Gilboa they require a substantial amount of Energy to operate and are not capable of starting 
nearly-instantaneously.  These differences between advanced energy storage facilities and 
pumped storage facilities justify treating advanced energy storage facilities differently in the 
NYISO’s markets.  There is no immediate need for the NYISO to develop additional 
functionality to accommodate large hydroelectric pumped storage facilities because no such 
facilities have been proposed for interconnection to the NYCA.

b.	The ESR Participation Model Will

Provide Electric Storage Facilities with 
Flexible Operating Characteristics the 
Opportunity to Participate in the 
NYISO’s Markets on a Just and 
Reasonable Basis

Section I.B of this filing letter explains in detail how the NYISO’s ESR participation 
model gives electric storage facilities with flexible operating characteristics the opportunity to 
earn enhanced revenues in the NYISO’s markets.  The proposed ESR rules will provide flexible 
electric storage facilities greater opportunity to earn Energy and Ancillary Services market 
revenues than participating as an ELR that can Bid to withdraw Energy at its electrical location 
might.  The proposed ESR rules will permit electric storage facilities with flexible operating 
characteristics to participate in the NYISO’s markets on a just and reasonable basis.

III.	Documents Submitted

Along with this filing letter, the NYISO respectfully submits the following documents:

1.  The Affidavit of Brandon Cheely (“Attachment I”);

2.  A clean version of the proposed revisions to the NYISO’s Services Tariff 
	(“Attachment II”); and

3.  A blacklined version of the proposed revisions to the NYISO’s Services Tariff 
	(“Attachment III”).

Honorable Kimberly D. Bose May 31, 2019

Page 10

IV. 	Effective Date and Comment Period

The changes reflected in the Amended Tariff Provisions are very narrow in scope, and do not affect the NYISO’s timeframe for developing the other changes necessary to implement its Order No. 841 compliance proposal.  Accordingly, the NYISO continues to ask for the same effective dates requested in Section X of the Compliance Filing.

In addition, the NYISO respectfully requests that the Commission limit the scope of the 
comments that might be submitted on this filing to the specific changes reflected in the Amended 
Tariff Provisions.  As emphasized above, the amendments proposed herein are limited to the 
narrow issue of the NYISO’s ability to accommodate the full participation in the NYISO-
administered markets of energy storage resources as ELRs that are able to withdraw Energy as 
negative generation at their electrical location.  The comments to be submitted on this filing 
should be limited to this issue, and to the specific tariff amendments being proposed by the 
NYISO in this filing.  Parties to this proceeding have had notice of, and a full opportunity to 
comment on, all other aspects of the Compliance Filing, and the Commission should not permit 
parties to comment on issues that are not implicated by the present filing.

V.	Service

The NYISO will send an electronic link to this filing to the official representative of each 
party to this proceeding, to the official representative of each of its customers, to each participant 
on its stakeholder committees, and to the New York Public Service Commission. In addition, a 
complete copy of the documents included with this filing will be posted on the NYISO’s website 
at www.nyiso.com.

VI.	Conclusion

The NYISO respectfully submits that the amendments to the Compliance Filing, as set 
forth above, are just, reasonable, and fully compliant with Order No. 841.  Accordingly, the 
NYISO asks that the Commission accept the Compliance Filing, as amended herein, without 
modification.

Respectfully submitted,

/s/ Alex M. Schnell

Alex M. Schnell

Assistant General Counsel/

Registered Corporate Counsel

New York Independent System Operator, 
Inc.

10 Krey Blvd.

Rensselaer, New York 12144 (518) 356-6000

aschnell@nyiso.com

Honorable Kimberly D. Bose May 31, 2019

Page 11

cc:	Anna Cochrane

James Danly 
Jignasa Gadani 
Jette Gebhart 
Kurt Longo 
John C. Miller 
David Morenoff 
Daniel Nowak 
Larry Parkinson 
Douglas Roe 
Frank Swigonski 
Gary Will