10 Krey Boulevard, Rensselaer, NY 12144

Ph: 518.356.6000  |  Fax: 518.356.8899

February 24, 2020

By Electronic Delivery

Honorable Kimberly D. Bose, Secretary Federal Energy Regulatory Commission 888 First Street, NE

Washington, DC 20426

Re:    New York Independent System Operator, Inc., Docket No. ER20-____-000; 
	New Capacity Zone Study Report

Dear Secretary Bose:

In accordance with the requirements of Section 5.16.4 of the New York Independent

System Operator, Inc. (“NYISO”) Market Administration and Control Area Services Tariff

(“Services Tariff”), the NYISO hereby submits a report describing the results of the recently

completed New Capacity Zone (“NCZ”) study (“NCZ Study”).1  The 2019/2020 NCZ Study did not identify any constrained Highway interfaces.  Accordingly, tariff revisions to establish a NCZ are not required at this time.

I.	Overview of NCZ Study and Results

Section 5.16 of the Services Tariff requires the NYISO to conduct a NCZ Study in

conjunction with the periodic reviews of the ICAP Demand Curves.2  The NYISO performs the NCZ Study to determine whether any Highway interfaces are constrained.  If the NCZ Study 
identifies any constrained Highway interfaces, Section 5.16 requires the NYISO to develop and propose tariff revisions to implement a NCZ.  If, however, the NCZ Study does not identify any constrained Highway interfaces, Section 5.16.4(b) requires the NYISO to file such determination with the Federal Energy Regulatory Commission (“Commission”), together with a report 
summarizing the results of the NCZ Study.

The NYISO conducted the 2019/2020 NCZ Study in accordance with the procedures and 
methodology set forth in Section 5.16 of the Services Tariff.  The NYISO reviewed the NCZ 
Study inputs and assumptions with stakeholders at the September 24, 2019 NYISO Installed 
Capacity Working Group meeting.3  Following completion of the assessment, the NYISO posted

1 Capitalized terms not otherwise defined herein shall have the meaning specified in the Services Tariff and the NYISO Open Access Transmission Tariff.

2 The NYISO conducts periodic reviews of the ICAP Demand Curves every four years in accordance with the requirements of Section 5.14.1.2.2 of the Services Tariff.

3 See Section 5.16.1.2 of the Services Tariff.

Website: www.nyiso.com 	|   LinkedIn: NYISO 	|   Twitter: @NewYorkISO

Honorable Kimberly D. Bose February 24, 2020

Page 2

the NCZ Study report to its website on January 3, 2020.4  The NYISO subsequently discussed the report with stakeholders at the January 8, 2020 NYISO Installed Capacity Working Group meeting.  Stakeholders did not express any opposition to the report.5

As indicated in the study report included as Attachment I to this filing, the 2019/2020

NCZ Study did not identify any constrained Highway interfaces.6  Therefore, no tariff revisions 
to implement a NCZ are required at this time.  In accordance with the requirements of Section

5.16.4(b), the NYISO submits this filing to apprise the Commission of this determination and provide a copy of the report summarizing the results of the 2019/2020 NCZ Study.

II.	Communications and Correspondence

Please direct all communications and service in this proceeding to:

Robert E. Fernandez, Executive Vice President & General Counsel Karen G. Gach, Deputy General Counsel

Raymond Stalter, Director, Regulatory Affairs 
*Garrett E. Bissell, Senior Attorney 
New York Independent System Operator, Inc.

10 Krey Boulevard

Rensselaer, NY 12144

Telephone:  518-356-6000 
Email: gbissell@nyiso.com

*Person designated for receipt of service.

III.	Service

The NYISO will send an electronic link to this filing to the official representative of each 
of its customers, each participant on its stakeholder committees, the New York State Public 
Service Commission, and the New Jersey Board of Public Utilities.  The NYISO will also post 
the complete filing on its website at www.nyiso.com.

4 See Section 5.16 of the Services Tariff.

5 In accordance with the requirements of Section 5.16.1.3 and 5.16.4 of the Services Tariff, the NYISO also provided the Market Monitoring Unit an opportunity to provide feedback.  The Market Monitoring Unit did not express any objections to the report.

6 See NYISO, 2019/2020 New Capacity Zone Study (December 2019) at 13-14.

Honorable Kimberly D. Bose February 24, 2020

Page 3

IV.	Conclusion

The NYISO respectfully requests that the Commission accept this informational filing. 
	Respectfully submitted,

/s/ Garrett E. Bissell

Garrett E. Bissell 
Senior Attorney

New York Independent System Operator, Inc.

cc:	Anna Cochrane

James Danly 
Jignasa Gadani 
Jette Gebhart 
Kurt Longo 
John C. Miller 
David Morenoff 
Daniel Nowak 
Larry Parkinson 
Douglas Roe 
Frank Swigonski 
Eric Vandenberg 
Gary Will

Attachment I

2019/2020 New Capacity Zone 
Study

A Report by the

New York Independent System Operator

December 2019

Table of Contents

TABLE OF CONTENTS	2

1. INTRODUCTION	3

2. NEW CAPACITY ZONE STUDY METHODOLOGY	3

2.1 Background	3

2.2 Transfer Capability Across Highway Interfaces	3

3. NCZ STUDY CASE MODELING AND ASSUMPTIONS	5

3.1 NCZ Study Assumption Matrix	5

3.2 NCZ Study Base Case Creation	6

3.2.1 Load Modeling	6

3.2.2 NYCA Generator Modeling	7

3.2.3 External System Imports Modeling	9

3.3 Balancing Generation and Load	12

4. NCZ STUDY RESULTS	13

5. CONCLUSION	14

2019/2020 New Capacity Zone Study 	| 	2

1. Introduction

The New Capacity Zone (NCZ)1 Study is performed to determine whether any Highway interface(s) are constrained, which would trigger the Services Tariff requirement to file tariff revisions with the 
Commission to establish a NCZ(s).

The previous (2015/2016) NCZ Study, which was performed for the 2020 Summer Capability Period, did not find any Highway interfaces constrained that would trigger the Services Tariff requirement to file tariff revisions with the Commission to establish a NCZ.

This 2019/2020 NCZ Study was performed for the 2024 Summer Capability Period and, since none of 
the Highway interfaces were found to be constrained, the conclusion of this 2019/2020 NCZ Study is also 
that there is no need to trigger the Services Tariff requirement to propose tariff revisions to establish a 
NCZ.

2. New Capacity Zone Study Methodology

2.1 Background

The NCZ Study is a deliverability study that is performed in accordance with the procedures and methodology set forth in Section 5.16 of the Services Tariff.

The NCZ Study rules require that it be performed using in large part the Deliverability test

methodology in Attachment S of the OATT to determine if there is a constrained Highway interface into one or more Load Zones.

The scope of the NCZ Study is limited to the evaluation of Deliverability across the Highways, and not Byways in accordance with Section 5.16.1 of the Services Tariff.2  The methodology for evaluating and measuring Deliverability across the Highways is described below.

2.2 Transfer Capability Across Highway Interfaces

The NCZ Study was conducted by testing the transfer capability across the Highway interfaces within 
the Rest of State (ROS) Capacity Region (Load Zones A through F) and across the UPNY-ConEd Highway 
interface located within the Lower Hudson Valley (LHV) Capacity Region (Load Zones G through I). For the

1 Terms with initial capitalization used but not defined herein have the meaning set forth in the Market Administration and Control Area Services Tariff (Services Tariff), and if not defined therein, then as set forth in the Open Access Transmission Tariff (OATT).

2 Section 5.16.1 of the Services Tariff sets forth the NCZ Study Methodology.

2019/2020 New Capacity Zone Study 	| 	3

ROS, generation-to-generation shifts are simulated for combinations of Load Zones within the Capacity Region, increasing generation “upstream” of an interface and reducing generation “downstream” of that interface (as such terms are used in the definition of “Highway” in Attachment S of the OATT). Transfer limit assessment determines the ability of the network to deliver capacity from generation in one (or 
more) surplus zone(s) to other deficient zone(s) within the Capacity Region. The transfer capability across the UPNY-ConEd interface is evaluated by increasing generation upstream of the interface (Load Zone G) and decreasing generation downstream of the interface (Load Zones H and I).

In the actual transfer limit assessment, all transmission facilities within the New York Control Area 
(NYCA) are monitored. Contingencies tested in the transfer limit assessment include all “emergency 
transfer criteria” contingencies defined by the applicable Northeast Power Coordinating Council (NPCC) 
Basic Design and Operating Criteria and New York State Reliability Council (NYSRC) Reliability Rules.

The concept of “first contingency incremental transfer capability” (FCITC) is used in the determination of deliverable capacity across ROS Highway interfaces within the Capacity Region. The FCITC measures the amount of generation in the exporting zone that can be increased to load the interface to its 
transmission limit.3 It is the additional generation capacity that could be exported from a given zone(s) above the base case dispatch level.

a.   All generators in the exporting zone(s) are uniformly increased (scaled) in proportion to their 
	maximum power limits (Pmax) while all generators in the importing zone(s) are decreased 
	uniformly in proportion to the difference between their initial generation dispatch level (Pgen) 
	and their minimum power limits (Pmin). The FCITC and Highway transmission constraint(s) 
	for the exporting zone(s) are noted for each export/import combination.

b.   The net generation available4 is compared to the FCITC Highway transmission constraint(s) 
	for the exporting zone(s) transfer. If the net generation available upstream is greater than the 
	calculated FCITC, that amount of generation above the FCITC is considered to be constrained 
	or “bottled” capacity and may not be fully deliverable under all conditions. (Byway constraints 
	normally evaluated in an interconnection study are not evaluated in the NCZ Study.)

If the net generation available upstream is less than the FCITC (that is, there is not sufficient 
available generation upstream to reach the transmission limit,) the difference is an indication 
of the available “transfer capability” to accommodate additional generation resources in the

3 The amount of such generation is described in Services Tariff § 5.16.1.1.1, and in Table 1.

4 The “net generation available” in any defined exporting zone is the difference between the sum of the zonal generators’ Pmax and the sum of the zonal generators’ actual MW output.

2019/2020 New Capacity Zone Study 	| 	4

upstream area.

3. NCZ Study Case Modeling and Assumptions

This section of the report describes the assumptions and base case conditioning steps of the NCZ Study, consistent with Section 5.16.1 of the Services Tariff. (See the presentation titled “New Capacity Zone Study (NCZ) Inputs and Assumptions” presented by the NYISO at the September 24, 2019 Installed Capacity Working Group meeting.5)

3.1 NCZ Study Assumption Matrix

The NCZ Study case setup utilizes results from various studies and reports. The sources for the parameters used in the NCZ Study are summarized in Table 1.

Table 1: Parameters Established in Other Studies and Reports

#	Parameter	Description	Reference

NYCA Minimum Installed Capacity Requirement 
to achieve LOLE less than 0.1 day per year, which 
is based on the NYCA Installed Reserve Margin 
(IRM) identified by the New York State Reliability

1	Installed Capacity Requirement

Council (NYSRC)  and accepted by the Commission

2019 NYSRC IRM report (for the  2019-2020 Capability Year)

Emergency transfer limits on ROS interfaces	Transfer limit from the 2019 NYSRC IRM report used for the Total

2	IRM Emergency Transfer Limits	corresponding to IRM study	East Interface limit

The Locational Minimum Installed Capacity

Requirements (LCR) for the NYC (Load Zone J)

and Long Island (Load Zone K) Capacity Regions	2019 NYISO LCR report (for the 2019-2020 Capability Year;

3	Locational Capacity Requirements	and for the G-J Locality	approved by Operating Committee on January 17, 2019)

Load model

NCZ Study Capability Period peak demand

forecast contained in the  ISO’s most recent Load

4	Peak Load Forecast	and Capacity Data report (i.e., “Gold Book”)	2024 Summer peak load conditions from 2019 Gold Book

The impact to IRM due to uncertainty relative to

5	Load Forecast Uncertainty	forecasting NYCA loads	2019 NYSRC IRM report

Generator model

Generators with Capacity Resource

Interconnection Service (“CRIS”) and

transmission facilities with Unforced Capacity

Existing CRIS generators, and all projects 
	with Unforced Capacity Deliverability 
6 	Rights

Planned generation projects or 
7 	Merchant Transmission Facilities

Deliverability Rights (UDRs) in-service on the date 
of the ISO’s most recent Load and Capacity Data 
report

Projects that have accepted either (a) Deliverable 
MW or (b) a System Deliverability Upgrade cost 
allocation and provided cash or posted required 	2019 Gold Book

5 This presentation is available at:

https://www.nyiso.com/documents/20142/8372822/2019%20NCZ%20Inputs%20and%20Assumptions_Final2.pdf/500c661b-d621-

c70c-2c41-56b31baa029d

2019/2020 New Capacity Zone Study 	| 	5

#	Parameter	Description	Reference

security pursuant to OATT Attachment S

Factor used to convert ICAP to Unforced Capacity

(UCAP) based on derated generator capacity

8	UCAP Derate Factor (UCDF)	incorporating historic availability	2019 NYSRC IRM report and 2019 NYISO LCR report

Units retaining CRIS rights for three years after

being considered “deactivated” unless the ability

to transfer those rights has been exercised or	Generator units deactivated before September 1, 2016 are

9	Deactivated CRIS units	expired	removed

Transmission model

Identified as existing in the ISO’s most recent

10	Existing transmission facilities

Firm plans for changes to transmission 
11 	facilities by TOs

System Upgrade Facilities and System 
12 	Deliverability Upgrades

Load and Capacity Data report

Planned changes of facilities in the ISO’s most recent Load and Capacity Data report that are scheduled to be in-service prior to the 2024 Summer Capability Period

Facilities associated with planned projects 
identified in (7) above, except that System

Deliverability Upgrades will only be modeled if 
the construction is triggered 	2019 Gold Book

Import/Export model

NYCA scheduled imports from HQ/PJM/ISO-

13	External System Import/Export	NE/IESO	OATT Attachment S

- ROS to NYC: 2,770 MW

Base case direct transfer from ROS to	Actual flow scheduled from ROS to LHV, NYC, and	-LHV to NYC: 300 MW

14	other New York Capacity Regions	LI consistent with the IRM and the LCRs	-ROS to LI: 820 MW

3.2 NCZ Study Base Case Creation

The NCZ Study base case is a five-year look-ahead. The base case originates from the 2019 NYISO FERC 715 2024 Summer peak load case, and then is customized to meet the specific requirements of Section 5.16.1 of the Services Tariff. The conditioning steps are applied to the modeling of load, NYCA generation, and external system import/export.

3.2.1 Load Modeling

The Load forecast used in the NCZ Study base case is the coincident 2024 Summer firm peak load before reductions for the Emergency Demand Response Program. The following adjustments for “load forecast uncertainty” (LFU) are applied to each of the 4 (four) Capacity Regions:

ROS	9.82%

LHV	8.39%

NYC	5.40%

LI	7.10%

Table 1A shows a summary of baseline peak load forecast, plus LFU.

Table 1A: Summary of 2024 Summer Peak Load Forecast Assumptions (MW)

2019/2020 New Capacity Zone Study 	| 	6

Capacity Region	Baseline	LFU	Total

ROS	10,978	1,078	12,056

LHV	4,187	351	4,538

NYC	11,487	620	12,107

LI	4,870	346	5,216

3.2.2 NYCA Generator Modeling

The initial CRIS capability and available capacity resources are determined as follows:

 	CRIS (MW) capability of existing generating units, as listed in the 2019 Gold Book and

proposed generating units with CRIS that accepted their cost allocation in a prior Class Year are modeled in the NCZ Study base case.

 	CRIS Expiration:  Units deactivated for more than 3 years lose their CRIS rights pursuant to

Section 25.9.3.1 of Attachment S of the OATT. The CRIS for a facility is modeled in the NCZ Study base case unless that CRIS will expire prior to the NCZ Study Start Date (September 1, 2019).  As a result, units deactivated before September 1, 2016 are not modeled in the NCZ Study base case.  Units deactivated after September 1, 2016 are modeled as in-service using their respective CRIS levels as set forth in the 2019 Gold Book.

	The Pmax data for each respective resource within the NCZ Study base case is the CRIS value

derated by applicable equivalent forced outage rate, as detailed below.  This step incorporates

the ICAP/ UCAP translation of different generators resources and Capacity Regions.

•	Derates applied to certain specific types of generation resources are as follows:

○ Small hydro	47.33%

○ Large hydro	1.94%

○ Land-based Wind	82.57%

○ Landfill Gas	24.65%

○ Solar	50.13%

○ Offshore Wind	38.00%

•	Derates for other resources not within the categories identified above are applied to

the aggregate of all remaining generation (“Uniform Capacity”) within the Capacity

Region. The following ICAP/UCAP translation factors for each Capacity Region were

utilized for the NCZ Study (these values are consistent with the 2019 NYSRC IRM

2019/2020 New Capacity Zone Study 	| 	7

study):

○ Rest of State (ROS)	3.74%

○ Lower Hudson Valley (LHV)	9.35%

○ New York City (NYC)	9.67%

○ Long Island (LI)	9.50%

   The “derated capacity,” or Pmax, is available to supply load and losses within each Capacity 
	Region and adjacent Capacity Region(s).  When power transfers are simulated, all generation 
	in the exporting area is uniformly increased in proportion to its Pmax.

   Table 2 and Table 3 below summarize the capacity resource assumptions used for the NCZ 
	Study.

Table 2: Summary of Capacity by Resource Type (MW)

Zone

Landfill 
	Gas

Large	Offshore 
Hydro 	Wind

Small

Solar	Uniform 
Hydro

Land-

based	Total CRIS 
Wind

A	18.40	2,700.00	0.00	6.90	0.00	1,224.40	404.80	4,354.50

B	15.60	0.00	0.00	54.80	0.00	702.00	0.00	772.40

C	42.10	0.00	0.00	109.80	0.00	6,184.90	916.50	7,253.30

D	6.40	856.00	0.00	70.60	0.00	335.90	678.40	1,947.30

E	11.20	0.00	0.00	454.20	0.00	272.40	521.60	1,259.40

F	10.90	1,165.10	0.00	424.50	0.00	3,037.70	0.00	4,638.20

ROS	104.60	4,721.10	0.00	1,120.80	0.00	11,757.30	2,521.30	20,225.10

G	19.00	0.00	0.00	99.10	0.00	4,696.20	0.00	4,814.30

H	0.00	0.00	0.00	0.00	0.00	2,120.40	0.00	2,120.40

I	0.00	0.00	0.00	0.00	0.00	0.00	0.00	0.00

LHV	19.00	0.00	0.00	99.10	0.00	6,816.60	0.00	6,934.70

J	0.00	0.00	0.00	0.00	0.00	10,226.49	0.00	10,226.49

K	2.60	0.00	500.00	0.00	76.40	5,419.80	0.00	5,998.80

Grand Total	126.20	4,721.10	500.00	1,219.90	76.40	34,220.19	2,521.30	43,385.09

“Total CRIS” represents the sum of CRIS capacity for all resources.

“Uniform” is the CRIS capacity related with any generator that is not in a technology-specific group listed in Table 2.

2019/2020 New Capacity Zone Study 	| 	8

Table 3: Summary of Capacity After Derates by Resource Type (MW)

Zone

Landfill	Large	Offshore 
	Gas 	Hydro 	Wind

Small

Solar	Uniform 
Hydro

Land-

based	Total UCAP 
Wind

A	13.86	2,647.62	0.00	3.63	0.00	1,178.61	70.56	3,914.28

B	11.75	0.00	0.00	28.86	0.00	675.75	0.00	716.36

C	31.72	0.00	0.00	57.83	0.00	5,953.58	159.75	6,202.88

D	4.82	839.39	0.00	37.19	0.00	323.34	118.25	1,322.98

E	8.44	0.00	0.00	239.23	0.00	262.21	90.91	600.79

F	8.21	1,142.50	0.00	223.58	0.00	2,924.09	0.00	4,298.38

ROS	78.82	4,629.51	0.00	590.33	0.00	11,317.58	439.46	17,055.69

G	14.32	0.00	0.00	52.20	0.00	4,257.11	0.00	4,323.62

H	0.00	0.00	0.00	0.00	0.00	1,922.14	0.00	1,922.14

I	0.00	0.00	0.00	0.00	0.00	0.00	0.00	0.00

LHV	14.32	0.00	0.00	52.20	0.00	6,179.25	0.00	6,245.76

J	0.00	0.00	0.00	0.00	0.00	9,237.59	0.00	9,237.59

K	1.96	0.00	190.00	0.00	38.10	4,904.92	0.00	5,134.98

Grand Total	95.09	4,629.51	190.00	642.52	38.10	31,639.33	439.46	37,674.02

Each derate column is the amount of capacity after reduction based on the application of the applicable derate factor, using, as 
applicable, the specified technology-specific derating factor or the specified ICAP/UCAP translation factor for the Capacity Region. 
In other words, the data presented in Table 3 represents the capacity values specified in Table 2 as adjusted to account for the 
applicable UCDF.

3.2.3 External System Imports Modeling

The initial generation and interchange schedules for the NYCA and the four New York Capacity Regions6 are determined as follows:

External Generation Source

1.   Inter-Area external interchange schedules include the following grandfathered long-term firm 
	power transactions for the NCZ Study base case year (2024):

a.   External CRIS Right:  Quebec (via Chateauguay) to NY:	1,110 MW

b.   Existing Transmission Capacity for Native Load (ETCNL):

PJM to NYSEG:	1,080 MW

2.   Generating capacity associated with firm export commitments are represented as follows:

a.   NYPA to AMP-Ohio, PA-RECs	183 MW

b.   NYPA to ISO-NE (Vermont)	84 MW

6 Schedules representing short-term external ICAP are not modeled in this assessment; deliverability of external ICAP is determined

during the annual process of setting import rights.

2019/2020 New Capacity Zone Study 	| 	9

3.   Grandfathered external firm capacity import rights:

a.   ISO-NE to NY	0 MW

b.   Ontario (IESO) schedule	0 MW

4.   Generator reactive (MVAr) capabilities as determined by applicable NYSRC, NPCC, and NERC

requirements, and NYISO procedures.

5.   Wheeling contracts:

a.   ROS to NYC via ABC/JK through PJM	0 MW

b.   ROS to NYC via Lake Success/Valley Stream through LIPA	287 MW

c.   ROS to LIPA via Northport Norwalk Cable through ISO-NE	0 MW

The total external generation resources including items (1) through (5) are summarized in Table .

Table 4: Summary of External Generation Resources (MW)

Capacity Regions	ROS Import	LHV Import	NYC Import	LI Import	NYCA

External Regions	(A-F)	(G-I)	(J)	(K)

Ontario	0	0	0	0	0

HQ	1,1907	0	0	0	1,190

PJM	8978	0	0	0	897

ISO NE	-84	0	0	0	-84

Total External Generation Source	2,003	0	0	0	2,003

ROS and LHV Direct MW Transfer

Actual base case interchange schedules between New York Capacity Regions are consistent with the

IRM and the LCRs:

   ROS (A-F) supply to New York City through LHV (G-I):	2,770 MW

   ROS (A-F) supply to Long Island through LHV (G-I):	820 MW

(Y49/Y50 flow including the 287 MW wheeling contract is scheduled to 820 MW)

   LHV (G-I) supply to New York City:	300 MW

7 ROS import from HQ is the sum of External CRIS right 1,110 MW via Chateauguay and 80 MW External-to-ROS Deliverability Rights 
	associated with the Cedar Rapids Transmission Project.

8 ROS import from PJM is the sum of ETCNL 1,080 MW into NYCA and 183 MW NYPA export to AMP-Ohio and PA-RECs (1,080-183 = 897 
MW).

2019/2020 New Capacity Zone Study 	| 	10

Unforced Capacity Deliverability Rights and External-to-ROS Deliverability Rights

Transmission projects with UDRs and External-to-ROS Deliverability Rights (EDRs) are represented at 
their respective UDR and EDR capacity from the external area into the respective NYCA Capacity Region.

   Linden VFT to New York City	315 MW

   Cross-Sound Cable to Long Island	330 MW

   Neptune HVDC to Long Island	660 MW

   Hudson Transmission Project to New York City	660 MW

   Cedar Rapids Transmission Project	80 MW

The total import of each Capacity Region is summarized in Table 5. As derived from the external

resources, Tables 6 and 7 detail the NY-PJM scheduled flows.

Table 5: Summary of External Resources into Capacity Regions (MW)

To

From

Total External Source

ROS Import	LHV Import	NYC Import	LI Import

(A-F)	(G-I)	(J)	(K)

2,003	0	0	0

ROS direct MW transfer	0	0	2,770	820

LHV direct MW transfer	0	0	300	0

Total UDR	0	0	975	990

Table 6: PJM - New York Scheduled Interchange and Wheels

PJM - New York Scheduled Interchange and Wheels	MW

ETCNL (PJM to ROS)	1,080

NYPA Exports (from ROS)	-183

ConEd /PSE&G Wheel:

ROS to PJM via LHV (ROS to LHV, LHV to PJM via the J&K tie-lines)	0

PJM to NYC (via the ABC tie-lines)	0

Wheel for RECO Load:

PJM to ROS and LHV (20% PJM to ROS, ROS to LHV, 80% PJM to LHV)	597

LHV to PJM (RECO Load)	-597

PJM  to NY Net Interchange Schedule via the AC Tie-lines	897

2019/2020 New Capacity Zone Study 	| 	11

Table 7: PJM - New York Scheduled Flows

PJM - New York Scheduled Flows	MW

PJM to ROS (A - F):

46%  of PJM to NY Net Interchange (0.46 * 897)	412

20%  of  RECO Load (0.20 * 387)	77

Total Scheduled Flow to ROS via the zones A and C tie-lines	489

PJM to LHV (to Zone G):

32%  of PJM to NY Net Interchange via 5018 tie (0.32 * 897)	287

80%  of  RECO Load  via the 5018 tie (0.80 * 387)	310

J&K ties (0 MW Wheel and 15% of PJM to NY Net Interchange) (0.15 * 897)	135

RECO Load delivered from LHV	-387

Total Scheduled Flow to LHV via the Zone G tie-lines	345

PJM to NYC (to Zone J)

ABC ties (0 MW Wheel and 7% of PJM to NY Net Interchange, B&C out) (0.07 * 897)	63

Total PJM to New York Flows (489 + 345 + 63)	897

3.3 Balancing Generation and Load

This step balances the supply of resources and demand of loads and losses. All CRIS generation within each Capacity Region is placed in-service and scaled proportional to the ratio of its Pmax to the sum of the Pmax in the respective exporting or importing zone(s) or Capacity Region. Actual generation is 
proportionally scaled (up or down) to match the demand.9

Phase Angle Regulators (PARs) controlling external tie lines are set consistent with the NYISO-PJM 
Joint Operating Agreement (see Attachment CC of the OATT) and applicable operating procedures and 
agreements.

UDRs are converted into proxy generators while the amount of external resources remains the same.

9 Demands include load (including load forecast uncertainty), transmission losses, and external schedule commitments

2019/2020 New Capacity Zone Study	|	12

4. NCZ Study Results

Deliverability tests were performed for each of the five Highway interfaces located within the ROS

Capacity Region and for the UPNY-ConEd Highway interface located within the LHV Capacity Region. The 
deliverability tests within the ROS Capacity Region (Load Zones A through F) are evaluated from west-to-
east and north-to-south by exporting from one (or more) zones (exporting zones) to the remaining 
zone(s) within the ROS Capacity Region. The deliverability test for the UPNY-ConEd Highway within the 
LHV Capacity Region (Load Zones G through I) is evaluated by exporting from Load Zone G to Load Zones 
H and I.

The level of deliverability across each Highway interface is measured as either Additional

Transmission Capacity (i.e., deliverability “headroom”), or Bottled Generation Capacity, which is

calculated as the FCITC of the interface less the amount of net available capacity in the exporting zone(s). A summary of the Highway interface deliverability analysis for the NCZ Study case is presented in Table 8. As shown in the table, all Highway interfaces were determined to have Additional Transmission Capacity and, therefore, passed the Highway deliverability test.

Table 8: Highway Deliverability Test

Net

FCITC*	Available

Interface	Source	Sink	(MW)	Capacity@

[a]	(MW)

[b]

Transmission 
	(+)

or Bottled (-)	Constraint

Capacity 
	(MW)

[c=a-b]

West Central	AB	CDEF	2,706	827	1,879	(1)

Dysinger East	A	BCDEF	2,426	699	1,728	(2)

Moses South	D	ABCEF	1,311	236	1,075	(3)

Volney East	ABC	DEF	3,353	1,935	1,418	(4)

Total East	ABCDE	F	3,136	2,278	858	(5)

UPNY-ConEd	G	HI	3,289	2,278	1,011	(6)

Notes:

*FCITC is the incremental transfer limit corresponding to the most limiting constraint in the Highway interface analysis @“Net Available Capacity” is the excess UCAP in the exporting zone(s) available for export

(1) Mortimer - Lawler 115 kV ckt 2 STE 158 MW L/O Mortimer - Lawler 115 kV ckt 1

(2) Dysinger - New Rochester 345 kV ckt 2 STE 1685 MW L/O Dysinger - New Rochester 345 kV ckt 1

(3) Adirondack B2 - Porter 230-kV ckt 1 @ STE 560 MW L/O Chateauguay-Massena, Massena-Marcy 765-kV w. Rej. HQ-NY

(4) Edic 345 kV - Porter 230 kV ckt 1 @ STE 637 L/O Moses E - Moses W 230 kV ckt 1

(5) Porter2 - Rotrdm.2 230-kV ckt 2 @ STE 560 MW L/O Porter2 - Rotrdm.2 230-kV ckt 1

(6) Lovett - Buchanan S 345 kV ckt 1 @ STE 2531 MW L/O Buchanan N - Ramapo 345 kV ckt 1

2019/2020 New Capacity Zone Study 	| 	13

5. Conclusion

All of the Highway interfaces were found to have positive Additional Transmission Capacity, i.e., none of the Highway interfaces were found to be constrained. The conclusion of this 2019/2020 NCZ Study is 
that there is no need to trigger the Services Tariff requirement for the filing of tariff revisions to establish a NCZ. In accordance with the Services Tariff, the NYISO will file its determination with the Commission on or before March 31, 2020.10

10 See Services Tariff Section 5.16.4(b).

2019/2020 New Capacity Zone Study	|	14