10 Krey Boulevard     Rensselaer, NY  12144

November 2, 2012

Submitted Electronically

Kimberly D. Bose

Secretary

Federal Energy Regulatory Commission 888 First Street N.E.

Washington, D.C. 20426

Re:    New York Independent System Operator, Inc.’s Proposed Amendments to 
	its Market Power Mitigation Measures revising Mitigation Measures for 
	10-Minute Non-Synchronized Reserves and New York City Day-Ahead 
	Market Spinning Reserves;  Docket No. ER13-___-___.

Dear Ms. Bose:

The New York Independent System Operator, Inc. (“NYISO”) submits this filing

pursuant to Section 205 of the Federal Power Act1 to propose amendments to its Market

Administration and Control Area Services Tariff (“Services Tariff”) that provide for the

incremental removal of the $2.52 reference level cap2 on 10-Minute Non-Synchronized

reserves and the Bid limit of $0/MWh3 on New York City (“NYC”) Day-Ahead Market

(“DAM”) Spinning Reserves.4  The incremental process for eliminating both these limits will 
increase each limit over one to two years prior to removing the limits altogether.  In this 
filing, the NYISO proposes to implement the first step in the process - raising both limits to 
$5.00/MWh.

Dr. LeeVanSchaick explains in his affidavit, attached hereto, that the current limits on 
the reserves markets restrict the opportunity for generators to reflect their costs for reserves 
offered in the Energy Market and to respond efficiently to market incentives.5  Increasing, and 
eventually removing, these limits should increase market efficiency by allowing generators to 
respond to market incentives in their ancillary services offers.  In addition, removing these

1 16 U.S.C. § 824d.

2 Services Tariff § 23.3.1.4.5.

3 Services Tariff § 23.5.3.3.

4 Capitalized terms that are not otherwise defined herein shall have the meaning specified in the Services Tariff.

5 Affidavit of Dr. Pallas LeeVanSchaick at P 7-8.

Kimberly D. Bose, Secretary November 2, 2012

Page 2

limits should improve convergence of Day-Ahead and Real-Time Operating Reserve prices in 
peak load hours.  The gradual increasing of the limits prior to complete removal will protect 
NYISO customers from unforeseen market impacts and provide the NYISO’s Market 
Monitoring Unit time to evaluate the markets as Day-Ahead Operating Reserve offer prices 
increase.

I.	LIST OF DOCUMENTS SUBMITTED

The NYISO submits the following documents:

1.	This filing letter;

2.	An affidavit of Pallas LeeVanSchaick, PhD., of Potomac Economics, the

NYISO’s Market Monitoring Unit (“Attachment I”);

3.	A clean version of the proposed revisions to the NYISO’s Services Tariff

(“Attachment II”); and

4.	A backline version of the proposed revisions to the NYISO’s Services Tariff

(“Attachment III”).

II.	COPIES OF CORRESPONDENCE

Correspondence concerning this filing should be served on:

Robert E. Fernandez, General Counsel

Raymond Stalter, Director, Regulatory Affairs *Mollie Lampi, Assistant General Counsel *James H. Sweeney, Attorney

New York Independent System Operator, Inc.

10 Krey Boulevard

Rensselaer, NY 12144 
Tel: (518) 356-7659 
Fax: (518) 356-7678

mlampi@nyiso.com 
jsweeney@nyiso.com

* Person designated for receipt of service

III. 	BACKGROUND AND JUSTIFICATION

The NYISO’s Market Monitoring Unit (“MMU”) recommended that the NYISO

modify two mitigation provisions that may limit competitive reserve offers in the Day-Ahead 
Market.  According to the MMU, the two existing mitigation provisions lead to Day-Ahead

Kimberly D. Bose, Secretary November 2, 2012

Page 3

clearing prices being set below competitive levels in certain hours.6  If suppliers were able to reflect competitive conditions in their offers, Day-Ahead prices would increase and result in more consistency between Day-Ahead and Real-Time clearing prices.  Such consistency 
would then lead to more efficient commitment and scheduling of resources in the Day-Ahead Market.7  Dr. LeeVanSchaick’s affidavit explains that the current mitigation measures are not sufficiently flexible to allow reserve suppliers to raise their offer prices when it would be 
justifiable in a competitive market.8

The first mitigation provision caps a generator’s reference level for 10-Minute Non-
Synchronized reserves at $2.52/MWh.9  The reference level cap originated as the remedy for 
a defined market flaw in the non-synchronous reserves market that occurred between January 
and March 2000.10  In early 2000, the NYISO observed bidding patterns into the 10-Minute 
Non-Synchronized reserve markets east of its central east transmission constraint indicating 
the exercise of market power.  In response, the Commission granted the NYISO’s request for 
a $2.52 bid restriction on 10-Minute Non-Synchronized reserves.11  In an order issued on

November 8, 2000, the Commission extended the bid cap until such time as the NYISO is

able to show that “the competitive state of the non-spinning reserve market has reached a

level of improvement that would warrant a lifting of, or increase in, the existing $2.52 cap.”12 
By 2003, competitive conditions had significantly improved and the bid cap was transformed 
into the $2.52 reference level cap.13  Additional significant improvements have been made to 
the 10-Minute Non-Synchronized reserve market since that time.  Most importantly, 10-
Minute Non-Synchronized reserve capability has increased substantially in the New York 
Control Area (“NYCA”).14  “Many new combined cycle and peaking generators have been 
built in Eastern New York, adding approximately 1.8 GW of additional Spinning Reserve and 
10-Minute Non-Synchronized Reserve capability.”15  The NYISO’s Services Tariff also now 
includes physical withholding measures that should prevent Generators from failing to offer 
this product.  These measures include bright line conduct16 and impact thresholds17, that seek

6 Affidavit of Dr. Pallas LeeVanSchaick at P 11.

7 Affidavit of Dr. Pallas LeeVanSchaick at P 12.

8 Affidavit of Dr. Pallas LeeVanSchaick at P 11.

9 See Docket No. ER03-836-000.

10 See Docket No. ER00-3591.

11 New York Independent System Operator, Inc., Order on Tariff Filing and Complaints, 91 FERC ¶ 61,128 
(2000).

12 New York Independent System Operator, Inc., Order Extending Bid Cap, Acting on Tariff Sheets, and Establishing Technical Conference, 93 FERC ¶ 61,142 at p. 61,437 (2000).

13 New York Independent System Operator, Inc., Order Conditionally Accepting Proposed Tariff Revisions, 104 FERC ¶ 61,002 (2003).

14 See also Affidavit of Dr. Pallas LeeVanSchaick at P 7.

15 Affidavit of Dr. Pallas LeeVanSchaick at P 13 and 20.

16 Services Tariff § 23.3.1.1.

17 Services Tariff §23.3.2.

Kimberly D. Bose, Secretary November 2, 2012

Page 4

to identify electric facilities not offering to sell or schedule their output or provide services to 
the NYISO market.  As a result, the NYISO and its MMU believe the remedy designed in 
2003 is no longer necessary and the 10-Minute Non-Synchronized Reserve market will 
perform competitively without a reference level cap.18  In addition, 10-Minute Non-
Synchronized reserve suppliers will benefit from the ability to adjust Day-Ahead offers in 
response to market signals.  Once the reference level cap (of $2.52/MWh) is raised, the 
NYISO will calculate individual reference levels for generators that offer this product in 
accordance with the NYISO’s existing Market Mitigation Measures, Attachment H of the 
Services Tariff (“Market Mitigation Measures”).19  The NYISO’s Market Mitigation 
Measures methods for calculating reference levels include: (1) by the lower of the mean or the 
median of a Generator’s accepted Bids; 20 (2) in consultation with the Market Party submitting 
the Bid or Bids at issue;21 or (3) if necessary, the NYISO will determine a reference level on 
the basis of its own estimate of the Generator’s costs or an appropriate average of competitive 
bids of similar facilities.22

The second mitigation provision requires NYC generators to offer zero ($0/MWh) for 
their Spinning Reserves.  This requirement predates the formation of the NYISO and 
originates in a New York State Public Service Commission (“NYSPSC”) order23 that required 
defined levels of 10-minute reserve to be located in NYC.24  This rule was the basis for the 
provision in the Consolidated Edison of NY divestiture agreements that divested generation 
was required to be offered for dispatch by the NYISO Security Constrained Dispatch 
program.25  As discussed above, substantial additional Spinning Reserve capacity has been 
added to the NYCA since 200326 and Spinning Reserves suppliers will also benefit from the 
ability to adjust Day-Ahead offers in response to market signals.  The NYISO is proposing to 
remove the requirement that generators must offer zero ($0/MWh) from Section 23.5.3.3 of 
its Services Tariff.  Spinning Reserves suppliers must continue to offer this product even after 
the revisions proposed in this filing take effect.  Once the Bid limit (of $0/MWh) is raised, the 
NYISO will calculate individual reference levels in accordance with the NYISO’s existing 
Market Mitigation Measures for generators that offer this product.27

18 Affidavit of Dr. Pallas LeeVanSchaick at P 12 and 22.

19 See Services Tariff § 23.3.1.4.

20 See Services Tariff § 23.3.1.4.1.1 (accepted Bids in competitive periods over the most recent 90 day period for which the necessary input data are available to the ISO’s reference level calculation systems).

21 See Services Tariff § 23.3.1.4.1.3 (The reference level for a Generator’s Energy Bid is intended to reflect the Generator’s marginal costs).

22 See Services Tariff § 23.3.1.4.2 (this section applies if a reference level cannot be determined using method 1 or 2 due to insufficient data).

23 Section 23.5.3.1 is a reliability based requirement in response to NYSPSC Case No. 27302 that required specified levels of 10-minute reserve to be located and available in NYC.

24 See generally FERC Docket No. ER98-3169.

25 Id.

26 Affidavit of Dr. Pallas LeeVanSchaick at P 13 and 20.

27 See Services Tariff § 23.3.1.4.

Kimberly D. Bose, Secretary November 2, 2012

Page 5

The NYISO and the MMU believe that NYISO’s Market Mitigation Measures limit 
the potential risk of the revisions proposed in this filing.28  The existing conduct-and-impact 
framework will apply to these reserve markets upon the effective date of this filing and will 
limit behavior that could have a substantial impact on clearing prices.29  The conduct-and-
impact framework consists of two parts.  First, the conduct test identifies Operating Reserve 
suppliers that increase their offer prices by a specified amount (the lesser of $50 per MWh or 
300 percent) above their reference level. 30  Second, the impact test estimates the effect of 
such conduct on clearing prices, and if the impact is estimated to be greater than $100 per 
MWh or 200 percent, the conduct will be mitigated. 31  The NYISO’s Market Mitigation

Measures will protect these reserve markets from non-competitive behavior in the unlikely

event that either reserve market does not perform competitively going forward.32  The gradual implementation of these proposed revisions will provide additional protection to the NYISO customers.  If the increased limits have negative effects on the market, the MMU will be able to recommend remaining at a certain limit or reverting back to the prior limit.33

The NYISO reviewed the market power impacts of removing the reference level cap 
and spinning reserves Bid limit using the Herfindahl-Hirschman Index (“HHI”) and Pivotal 
Supplier/Residual Supplier Indices (“RSI”).34   The NYISO evaluated market conditions on 
an hourly basis during one high load period in the summer, July 2011, when most supplier 
resources were in-service and one mild load period in a shoulder season, October 2011, when 
a substantial share of supplier resources were on planned outages.  The NYISO’s HHI and 
RSI analysis evaluated market concentration indices for four products distinguished by

summer and shoulder seasons and peak versus off-peak hours.35  The four products evaluated were: (1) Spinning Reserve in Eastern New York; (2) Spinning Reserve in NYCA; (3) 10-
Minute Total Reserve in Eastern New York; and (4) 10-Minute Total Reserve in NYCA.  The NYISO analyzed a total of sixteen different situations.

The HHI is a standard measure of market concentration based on each supplier’s 
market share.36  The analysis showed that in most hours the average HHI values indicate a 
lack of concentration in the reserves markets.  There is, however, some evidence of 
concentration in the NYC DAM Spinning Reserves market in certain low load hours.  This

28 Affidavit of Dr. Pallas LeeVanSchaick at P 21.

29 Id.

30 Id. citing Services Tariff §23.3.1.2.1.2.

31 Id. citing Services Tariff §23.3.2.1.1.

32 Affidavit of Dr. Pallas LeeVanSchaick at P 22.

33 Affidavit of Dr. Pallas LeeVanSchaick at P 24.

34 See NYISO “Changes to 2 Ancillary Service Mitigation Provisions” Presentation to the Market Issues Working Group, February 2, 2012,

http://www.nyiso.com/public/webdocs/committees/bic_miwg/meeting_materials/2012-02-
02/AS_MitigationPresentation.pdf.

35 See Affidavit of Dr. Pallas LeeVanSchaick at P 14.

36 Affidavit of Dr. Pallas LeeVanSchaick at P 15.

Kimberly D. Bose, Secretary November 2, 2012

Page 6

increased concentration results from fewer available reserve suppliers during low demand 
periods.  The NYISO believes that the exercise of market power in these hours is unlikely. 
The other existing Market Mitigation Measures and the gradual removal of the $0/MWh Bid limit are sufficient to protect the competitiveness of this reserve market.  HHI statistics are not a definitive measure of potential market power; therefore, the NYISO also performed the RSI analysis to supplement the HHI results.

The Pivotal Supplier/Residual Supplier Indices evaluate whether one specific supplier is necessary to meet demand in the market.  If one or more suppliers are pivotal, the market may be subject to substantial market power abuse.37  The NYISO did not identify any pivotal suppliers in any hours for the Non-Synchronized or Spinning Reserves markets for either July or October 2011.38  Similarly, the RSI did not indicate a cause for concern in either reserves market.  As Dr. LeeVanSchaick explains, the RSI results suggest that there is limited potential for suppliers to exercise market power in these markets.39

The NYISO also conducted a Consumer Impact Analysis of this project, at the request 
of several stakeholders, which showed potential gains from improved efficiency and generally 
small increases in total load payments.40  The Consumer Impact Analysis reviewed potential 
impacts on reliability, costs/market efficiencies, the environment, and transparency of the 
market.  According to the analysis, no negative impacts are expected on reliability or the 
environment and no changes are expected to the transparency of the markets.  With respect to 
costs and market efficiencies, the NYISO found that Day-Ahead offer prices increased 
slightly depending on the time of the day and the forecasted daily peak load.  These slightly 
higher prices result in Day-Ahead reserve commitment patterns that more closely resemble 
the Real-Time due to better convergence of Day-Ahead and Real-Time prices.  The study 
found a potential gain from improved efficiency because when the Day-Ahead Market more 
closely approximates the Real-Time operating conditions, the Real-Time Market is better 
positioned to respond to any unanticipated conditions.

IV.	PROPOSED TARIFF REVISIONS

The NYISO proposes the following revisions to Sections 23 and 30 of its Services

Tariff:

•   Section 23.3.1.4.5 - revised to indicate that the reference level for 10-Minute Non-
	Synchronized reserves shall be the lower of (i) the amount determined in accordance 
	with the provisions of Section 23.3.1.4.1.1, or (ii) $5.00 per MW.  Revisions also

include the proposed implementation plan discussed in Section V of this filing letter.

37 Affidavit of Dr. Pallas LeeVanSchaick at P 18.

38 Affidavit of Dr. Pallas LeeVanSchaick at P 19.

39 Id.

40 See: presentation at http://www.nyiso.com/public/webdocs/committees/mc/meeting_materials/2012-03-
28/agenda_04_Ancillary_Service_Mitigation_Consumer_Impact_Analysis_MC.pdf.

Kimberly D. Bose, Secretary November 2, 2012

Page 7

•   Section 23.5.3.3 - revised to indicate that In-City generators must Bid $5.00 or less for 
	the availability portion of Day-Ahead Spinning Reserves Bids.  Revisions also include 
	the proposed implementation plan discussed in Section V of this filing letter.

•   Section 30.4.6.2.12 - the proposed change sets forth the Market Monitoring Unit’s

role in monitoring and evaluating the 10-Minute Non-Synchronized reserves and Day-
Ahead Spinning Reserves markets that the NYISO administers.  The proposed change 
also sets forth the process for the Market Monitoring Unit to recommend adjustments 
to the reference level cap used in Section 23.3.1.4.5 of the Market Mitigation 
Measures and to the must Bid limit used in Section 23.5.3.3 of the Market Mitigation 
Measures.

The tariff revisions proposed in this filing are submitted herewith in both clean and blackline versions.

V. 	PROPOSED IMPLEMENTATION PLAN

The NYISO proposes to implement the removal of the $2.52/MWh reference level cap 
on 10-Minute Non-Synchronized reserves and the must Bid limit of $0/MWh on NYC DAM 
Spinning Reserves in three or more steps.  The NYISO requests approval of all steps in this 
filing.  As discussed below, the NYISO proposes to submit an informational compliance filing 
to the Commission notifying it of the effective limit at least two weeks prior to implementing 
a revision to the limit.  The first step, proposed to be implemented on the effective date of this 
filing, would increase the reference level cap on 10-Minute Non-Synchronized reserves to

$5.00/MWh and increase the must Bid limit on NYC DAM Spinning Reserves to $5.00/MWh or less.  The second step would increase the reference level cap of 10-Minute Non-
Synchronized reserves to $10.00/MWh and increase the must Bid limit on NYC DAM 
Spinning Reserves to $10.00/MWh or less.  The third step would remove the reference level 
cap on 10-Minute Non-Synchronized reserves and remove the must Bid limit on NYC DAM Spinning Reserves while maintaining the requirement that Generators offer NYC DAM 
Spinning Reserves.  The limits must be set at $2.52/MWh or $0.00/MWh (respectively for 
each reserves market), $5.00/MWh, or $10.00/MWh until eliminated.  A description of the 
steps and lifting process, including the dollar limits, is included in the NYISO’s proposed 
tariff revisions.  Gradually lifting these requirements prior to their ultimate removal should 
minimize abrupt impacts to the markets and will allow the competitiveness of the markets to be evaluated by the MMU as the restrictions increase.

The NYISO’s MMU will independently evaluate the competitiveness of both the 10-
Minute Non-Synchronized reserves market and Spinning Reserves market and issue 
recommendations to the NYISO on when to move to the next step.  The MMU does not have 
to raise the two limits simultaneously; the stepped removal process of the $2.52/MWh 
reference level cap on 10-Minute Non-Synchronized reserves and the must Bid limit of 
$0/MWh on NYC DAM Spinning Reserves will progress independently.  The MMU will 
evaluate each market as part of its quarterly or State of the Market reports but may issue a 
recommendation to move between steps at any time.  The scope of the MMU’s evaluation 
will include, but not be limited to, an analysis of: (i) the competitiveness of the reserves

Kimberly D. Bose, Secretary November 2, 2012

Page 8

market and whether there is conduct that the NYISO or the MMU determines to constitute an 
abuse of market power; and (ii) how an adjustment to the limitation is expected to impact the 
convergence of day-ahead and real-time prices for that reserves market.  The MMU may 
recommend maintaining the $5.00/MWh limits, lowering the $5.00/MWh limits (but not 
lower than $2.52/MWh or $0.00/MWh, respectively), or raising the $5.00/MWh limit to 
$10.00/MWh.  After the second step, the MMU may recommend maintaining the 
$10.00/MWh limits, lowering the $10.00/MWh limits back to $5.00/MWh, or removing the 
limit entirely.  This pattern of recommendations will continue until the restrictions are 
completely removed.  The limit in each reserves market must complete the stepping process 
prior to complete removal of the restriction, i.e. increase from $2.52/MWh or $0.00 /MWh, 
respectively, to $5.00/MWh, then to $10.00/MWh and then be removed.41

The MMU will make its first set of recommendations within seven months of the 
effective date of this filing.  The first evaluation for each reserves market will include data 
from at least one of the following months; March, April, September or October.  The MMU 
will continue to make subsequent recommendations within six months of its latest 
recommendation until the limits are completely removed.  The NYISO will duly consider and, 
absent any material change in circumstances, implement the MMU’s mitigation restriction 
recommendation.

When, based on the MMU’s recommendation, either limit will be increased, decreased 
or removed, the NYISO proposes to submit an informational compliance filing that includes 
an appropriately revised tariff section (either Section 23.3.1.4.5 or Section 23.5.3.3) 
specifying the limit from the options described above.  The informational compliance filing 
will specify the limit, from the defined set of options, and include tariff revisions containing 
the actual limit to be in effect for the next period of time.  For each revision in the selection of 
one of the pre-specified limits, the NYISO will include the MMU’s recommendation with its 
compliance filings.  The NYISO will also provide contemporaneous notice of its decision to 
Market Participants.  Such notices will be provided to the Commission and Market 
Participants at least two weeks prior to the implementation of a revised limit.  When the 
MMU recommends, and the NYISO implements, elimination of either restriction, the NYISO 
will submit a compliance filing to the Commission removing the limits specified in Section

23.3.1.4.5 or Section 23.5.3.3, respectively, from the Services Tariff and containing the appropriate corresponding revisions to Section 30.4.6.2.12.

VI.	EFFECTIVE DATE

The NYISO respectfully requests that the tariff revisions proposed in this filing be permitted to become effective on January 22, 2013; more than 60 days after the date of this filing.  The NYISO intends to implement these revisions commencing with the January 22, 2013, Real-Time Market and the January 23, 2013, Day-Ahead Market.

41 The limits must be set at $2.52/MWh or $0.00/MWh (respectively for each reserves market), $5.00/MWh, or $10.00/MWh until eliminated.

Kimberly D. Bose, Secretary November 2, 2012

Page 9

VII.   STAKEHOLDER APPROVAL

The NYISO’s Management Committee unanimously approved these tariff

amendments on May 30, 2012, with abstentions.  The NYISO Board of Directors approved these tariff amendments on July 17, 2012.

VIII.  SERVICE LIST

The NYISO will send an electronic link to this filing to the official representative of 
each of its customers, to each participant on its stakeholder committees, to the New York 
Public Service Commission, and to the New Jersey Board of Public Utilities.  In addition, the 
complete filing will be posted on the NYISO’s website at www.nyiso.com.

IV.	CONCLUSION

WHEREFORE, for the foregoing reasons, the New York Independent System

Operator, Inc. respectfully requests that the Commission accept the proposed tariff changes identified in the Attachments hereto, with an effective date of January 22, 2013.

Respectfully submitted,

/s/ James H. Sweeney

James H. Sweeney, Attorney

New York Independent System Operator, Inc.