1900 K STREET, NW 
	SUITE 1200

WASHINGTON, DC  20006-1109

Honorable Kimberly D. Bose, Secretary Federal Energy Regulatory Commission 888 First Street, NE

Washington, DC 20426

123 MAIN STRET

WHITE PLAINS, NEW YORK 10601

January 7, 2010

Re:    Filing of an Executed Large Generator Interconnection Agreement Among 
	the New York Independent System Operator, Inc., the New York Power 
	Authority, and Astoria Energy II LLC, and Request for Waiver of 60-Day 
	Notice Period, Docket No. ER11- __ -000

Dear Ms. Bose:

Pursuant to Section 205 of the Federal Power Act,1 Section 35.12 of the Commission’s 
regulations,2 and Section 30.11.3 of the New York Independent System Operator, Inc.’s 
(“NYISO’s”) Large Facility Interconnection Procedures,3 the NYISO and the New York Power 
Authority (“NYPA”) (together, the “Joint Filing Parties”) hereby tender for filing an executed 
Large Generator Interconnection Agreement entered into by the NYISO, NYPA, as the 
Connecting Transmission Owner, and Astoria Energy II LLC (“Astoria”), as the Developer (the 
“Astoria Agreement”).4  The Astoria Agreement is labeled as Service Agreement No. 1678.

The Joint Filing Parties respectfully request that the Commission accept the Astoria

Agreement for filing.  With the limited exceptions described in Part I.B of this letter, the Astoria 
Agreement conforms to the NYISO’s pro forma Large Generator Interconnection Agreement 
(“Pro Forma LGIA”) that is contained in Attachment X to the NYISO’s OATT.  Further, as 
described in Part II of this letter, the Joint Filing Parties respectfully request a waiver of the

1 16 U.S.C. § 824d (2008).

2 18 C.F.R. § 35.12 (2009).

3 Section 30.11.3 of Attachment X of the NYISO OATT.

4 Capitalized terms not otherwise defined have the meaning ascribed to them in the NYISO’s OATT and Attachments S and X to the NYISO OATT.

Honorable Kimberly D. Bose January 7, 2010

Page 2 of 6

Commission’s prior notice requirements5 to make the Astoria Agreement effective as of December 20, 2010, the date of its execution.

I.	Discussion

A.	Background

Astoria is constructing a combined cycle generation facility (“Facility”) that will be

located in New York City.  The Facility has a net summer capability of approximately 550 MW and a net winter capability of approximately 650 MW.  Additional details regarding the Facility can be found in Appendix C of the Astoria Agreement.

The Facility will interconnect with the New York State Transmission System at the new 
345 kV NYPA Annex Substation.  The Facility’s Point of Interconnection is located at the 
NYPA Annex Substation between breaker positions 1 and 2.  Figure A-1 in Appendix A of the 
Astoria Agreement provides a one-line diagram showing the Point of Interconnection.

Under the Agreement, Astoria is responsible for constructing the Attachment Facilities and the System Upgrade Facilities.  Astoria has contracted with Consolidated Edison Company of New York, Inc. (“Con Edison”) through a separate agreement to perform the construction and installation of certain System Upgrade Facilities located at Con Edison’s East 13th Street 
Substation and its Farragut Substation.  These System Upgrade Facilities are described in detail in Section 2.b of Appendix A of the Agreement.

B. 	The Astoria Agreement Closely Conforms to the Pro Forma LGIA

Contained in Attachment X of the NYISO OATT

The Astoria Agreement was executed on December 20, 2010, by the NYISO, NYPA, and Astoria.  The Astoria Agreement closely follows the language in the Pro Forma LGIA contained in Attachment X of the NYISO OATT.  However, the Astoria Agreement does contain limited variations from the Pro Forma LGIA described in Sections B.1 through B.6 below that are 
necessary because of NYPA’s unique legal status as a public authority governed under the New York Public Authorities Law and the unique circumstances of Astoria’s project.  The Joint Filing Parties submit that the changes specified below satisfy the Commission’s standard for variations from the Pro Forma LGIA, because unique circumstances exist that require a non-conforming agreement.6  Therefore, the Joint Filing Parties respectfully request that the Commission accept the Astoria Agreement with these limited non-conforming changes.

5 See Prior Notice and Filing Requirements Under Part II of the Federal Power Act, 64 FERC ¶61,139, reh’g denied, 65 FERC ¶ 61,081 (1993).

6 See, e.g., PJM Interconnection, LLC, 111 FERC ¶ 61,163 at PP 10-11, reh’g denied, 112 FERC ¶ 61,282

(2005).

Honorable Kimberly D. Bose January 7, 2010

Page 3 of 6

1.	Modification to Reflect Astoria’s Acquisition of Installed Capacity

Deliverability Rights

The NYISO will provide Astoria with both Energy Resource Interconnection Service and 
Capacity Resource Interconnection Service (“CRIS”) as provided for in Section 4.1.1 of the Pro 
Forma LGIA.  The Facility was not evaluated for deliverability in the Class Year 2010 
Interconnection Facilities Study.  However, in accordance with Section 25.9.4 of Attachment S 
of the NYISO OATT, the Facility will acquire, by transfer from the deactivated Charles Poletti 
Power Project, 576 MW of Installed Capacity deliverability rights when the Facility achieves 
Commercial Operation.  Accordingly, the parties have agreed to modify the Astoria Agreement 
by making Section 4.1.1 of the Astoria Agreement, which indicates that Astoria has elected for 
the NYISO to provide it with CRIS, subject to Section 6 of Appendix A of the Astoria 
Agreement.  Section 6 of Appendix A establishes that the Facility will acquire 576 MW of 
Installed Capacity deliverability rights from the deactivated Charles Poletti Power Project upon 
achieving Commercial Operation, and that the NYISO will provide 576 MW of CRIS.

2. 	Modification to Ensure Compliance with New York’s Labor Law

Section 5.2 of the Pro Forma LGIA lists the general conditions applicable to the

Developer’s Option to Build.  The parties have agreed to amend this list of conditions by adding a statement that the Developer must comply with Section 220 of New York’s labor law, which requires that for work performed on NYPA’s existing facilities, workman, laborers, and 
mechanics must be paid at least the prevailing wage set forth in that statute.  Section 220 also addresses pay supplements, work hours, and payroll findings.  The Commission has previously approved this change to the Pro Forma LGIA.7

3. 	Modification to Address NYPA’s Eminent Domain Authority

NYPA is a corporate municipal instrumentality and a political subdivision of the State of New York, organized under the laws of New York, and operating pursuant to Title 1 of Article 5 of the New York Public Authorities Law (“PAL”).  Under Section 1007 of the PAL, NYPA has the right to take real property through eminent domain when the NYPA Trustees, in their 
direction, deem an eminent domain taking necessary or convenient to acquire real property for 
the purposes described in such statute.  The parties have agreed to modify Section 5.13 of the 
Astoria Agreement to make it clear that NYPA can only use efforts to acquire property by 
eminent domain if and to the extent consistent with New York law (i.e., PAL Section 1007). 
NYPA must retain the right to have its Trustees review, on a case-by-case basis, each request for NYPA to exercise its power of eminent domain and to exercise their discretion to approve or 
deny such request, consistent with the requirements of New York law.  The Commission has 
previously approved this change to the Pro Forma LGIA.8

7 See New York Independent System Operator, Inc. and New York Power Authority, Letter Order, Docket No. ER08-1507-000 (November 4, 2008).

8  See id.

Honorable Kimberly D. Bose January 7, 2010

Page 4 of 6

4.	Addition to Address Short Circuit Concerns at Con Edison’s

Farragut Substation

The short circuit analysis performed as part of the Annual Transmission Reliability 
Assessment (“ATRA”) for the Class Year 2010 Interconnection Facilities Study identified 
certain breakers, including breakers in Con Edison’s Farragut Substation, as overdutied as a 
result of the impacts of Class Year 2010 projects, including the impact of the Facility.  The 
ATRA investigated mitigation solutions and determined that placing the existing Gowanus 345 
kV Series Reactors (“SRs”) R41 and R42 in service would mitigate the overdutied breaker 
condition identified.  If, however, during the operation of the Facility, one or both of these SRs 
were to fail, the operation of the Facility might be interrupted or reduced until a replacement for 
the SRs is operational.  The parties agreed to insert Section 9.10 in the Astoria Agreement to 
indicate that the Facility could be interrupted or reduced in the event of the failure of one or both 
SRs.

5.	Modification to Cost Responsibilities for Operation and Maintenance

Costs

Section 10.5 of the Pro Forma LGIA states that the Developer will be responsible for the 
expenses associated with owning, operating, maintaining, repairing, and replacing both the 
Developer’s Attachment Facilities and the Connecting Transmission Owner’s Attachment 
Facilities.  The parties agreed to modify Section 10.5 in the Astoria Agreement to provide that 
the Connecting Transmission Owner will be responsible for owning, operating, maintaining, 
repairing, and replacing its Attachment Facilities.  The Developer will continue to be responsible 
for owning, operating, maintaining, repairing, and replacing its Attachment Facilities.

6.	Other Modifications

The Astoria Agreement also includes a small number of modifications to correct the following typographical errors in the Pro Forma LGIA:

•   In the table of contents, the term “Interconnection” has been capitalized to make it 
	consistent with the other headings.

•   In the preamble to Article 1, the reference to Section 30.1.0 has been modified to clarify 
	that the reference is to Section 30.1 of Attachment X of the NYISO OATT.

•   In the final sentence of Section 9.6.3, the reference to “NPCC criteria A-3” has been 
	updated to “NPCC Directory #12.”

•   In the final sentence of Section 27.3, an extra “or” has been removed.

II. 	Proposed Effective Date and Request for Waiver of Notice Requirement

The Joint Filing Parties request a December 20, 2010, effective date for the Astoria

Agreement, which is the date of execution.  The Joint Filing Parties respectfully request that the

Honorable Kimberly D. Bose January 7, 2010

Page 5 of 6

Commission waive the prior notice requirement in order to permit the requested effective date. The Commission has previously permitted interconnection agreements to become effective upon the date of execution.9

III.	Communications and Correspondence

The following persons should be included in the official service list in this proceeding

and all communications concerning this filing should be addressed to them:

For the NYISO

Robert E. Fernandez, General Counsel

* Karen Georgenson Gach, Deputy General Counsel New York Independent System Operator, Inc.

10 Krey Boulevard

Rensselaer, NY 12144 
Tel: (518) 356-6000 
Fax: (518) 356-4702 
rfernandez@nyiso.com 
kgach@nyiso.com

* - Designated to receive service.

For NYPA

Arthur Cambouris, Deputy General Counsel *Andrew F. Neuman, Special Counsel

*Amy J. Levine, Principal Attorney New York Power Authority

123 Main Street

White Plains, New York  10601 Tel: (914) 390-8028 or

(914) 390-8023

* J. Kennerly Davis10 Hunton & Williams LLP 951 East Byrd Street

Richmond, VA 23219 
Tel: (804) 788-8559 
Fax: (804) 788-8218 
kdavis@hunton.com

Ted J. Murphy

Hunton & Williams LLP 
1900 K Street, NW, Suite 1200 Washington, DC 20006-1109 Tel: (202) 955-1500

Fax: (202) 778-2201 
tmurphy@hunton.com

9 See, e.g., New York Independent System Operator, Inc. and Niagara Mohawk Power Corp., Letter Order, Docket No. ER08-985-000 (June 26, 2008) (accepting interconnection agreement effective as of the date of 
execution); New York Independent System Operator, Inc. and New York Power Authority, Letter Order, Docket No. ER08-861-000 (May 27, 2008) (same); New York Independent System Operator, Inc. and New York Power 
Authority, Letter Order, Docket No. ER08-699-000 (May 16, 2008) (same).

10 The NYISO respectfully requests waiver of 18 C.F.R. § 385.203(b)(3) to permit service on counsel for the NYISO in both Washington, D.C. and Richmond, Virginia.

Honorable Kimberly D. Bose January 7, 2010

Page 6 of 6

Andrew.neuman@nypa.gov 
Amy.levine@nypa.gov

* - Designated to receive service.

IV.	Documents Submitted

The NYISO submits the following documents:

1.  This filing letter;

2.  A clean version of the Astoria Agreement (“Attachment I”); and

3.  A blacklined version of the Astoria Agreement showing the changes from the body of 
	the Pro Forma LGIA (“Attachment II”).

V.	Service

The NYISO will send a copy of this filing to NYPA and Astoria.  The NYISO will send 
an electronic link to this filing to the official representative of each of its customers, to each 
participant on its stakeholder committees, to the New York Public Service Commission, and to 
the electric utility regulatory agency of New Jersey.  In addition, the complete public version of 
this filing will be posted on the NYISO’s website at www.nyiso.com.

VI.	Conclusion

For the foregoing reasons, the Joint Filing Parties respectfully request that the

Commission accept this Astoria Agreement for filing with an effective date of December 20, 
2010.

Respectfully submitted,

/s/ Ted J. Murphy

Ted J. Murphy 
Counsel for the

New York Independent System Operator, Inc.

/s/ Andrew F. Neuman

Andrew F. Neuman 
Special Counsel

New York Power Authority

Enclosures