UNITED STATES OF AMERICA 
	BEFORE THE

FEDERAL ENERGY REGULATORY COMMISSION

Frequency Regulation Compensation	}

In the Organized Wholesale Power	}	Docket Nos.   RM11-7-000 and

Markets	}	AD10-11-000

}

COMMENTS OF NEW YORK INDEPENDENT SYSTEM OPERATOR, INC.

The New York Independent System Operator, Inc. (“NYISO”) appreciates the

opportunity to submit comments in response to the Federal Energy Regulatory Commission’s

(“Commission”) February 17, 2011 Notice of Proposed Rulemaking regarding compensation for 
Frequency Regulation Service in wholesale electric markets1 (“NOPR”).2  As a member of the 
ISO/RTO Council (“IRC”) and a signatory to the joint IRC comments filed in this proceeding, 
the NYISO supports the IRC recommendation that regulation compensation mechanisms provide 
an incentive to follow ISO operational instructions rather than simply reward Area Control Error 
(“ACE”) correction efforts.  The IRC correctly argues that any final rule should permit flexibility 
in developing compensation mechanisms to enable ISOs and RTOs to develop cost-effective

frequency response solutions that reflect their varying assets, market structures and size, and the mix of regulation resource types that are necessary to achieve reliability standard compliance in their regions.3

The NYISO also agrees with the IRC recommendation that the Commission’s final rule 
permit ISOs/RTOs to recognize the importance to reliability of an integrated set of regulation

1 Frequency Regulation Compensation in the Organized Wholesale Power Markets, Proposed Rulemaking, 134 FERC ¶ 61,124 (2011)  (“NOPR”).

2 The NYISO respectfully requests that the Commission exercise its discretion and accept these comments one day out of time.  These comments may prove useful to the Commission and no party will be prejudiced if they are 
accepted at this early stage in a rulemaking proceeding.

3 See: “Comments of ISO/RTO Council” filed May 2, 2011 in this docket (“IRC Comments”), pp. 6 - 8.

1

resources reflecting varying characteristics that include duration as well as rapidness of response 
in developing responsive compensation mechanisms.  Finally, the NYISO agrees with the IRC 
that compensation for regulating capacity provided be based on a uniform Market-Clearing Price 
(“MCP”) which includes the ISO/RTO-calculated opportunity cost of the marginal resource.

The NYISO has two additional comments.  First, the NYISO strongly supports the

Commission’s explicit acknowledgement of the importance of performance-based compensation 
to regulation market compensation reform.4  Performance accuracy is significantly important to 
regulation markets to incentivize appropriate behavior and maintain market efficiency.  As the 
IRC indicates, however, performance should reflect accuracy in responding to control signals.

Second, the NYISO reiterates and emphasizes the IRC recommendation that any final 
rule provide ISOs/RTOs the flexibility necessary to develop their own cost-effective frequency 
response solutions reflecting their varying assets, market structures and Balancing Authority 
Area (“BAA”) size.  The NYISO is concerned that without an opportunity to develop solutions 
in a manner best suited to its region and mix of suppliers, ISO/RTOs could be required to 
institute compensation mechanisms that would increase costs to consumers without 
demonstrating that such mechanisms actually provide additional reliability benefits of equal or 
greater value.

I.	The NYISO Regulation Service Market

The NYISO facilitates a Regulation Service market in which about 70 Generators and 
two Limited Energy Storage Resources (“LESRs”) participate.  In addition, Demand Side 
Resources are eligible to participate in the Regulation Service markets provided that they have 
appropriate metering and communication systems in place.  Using Day-Ahead and real-time

4 NOPR PP 35 - 36 and 39.

2

energy bids, regulation ramp rates and regulation capacity offers (expressed in MW/minute), the 
NYISO schedules Regulation Service providers in the Day-Ahead and Real-Time Markets and 
pays a uniform MCP for each megawatt of Regulation Service awarded.5  The NYISO’s MCP 
for Regulation Service incorporates the lost opportunity costs that the marginal resource 
experiences as a result of its Regulation Service award.6  In addition, the NYISO measures the 
real-time performance of its Regulation Service suppliers and uses it as a factor in their 
compensation although it measures performance as how accurately the resource responded to the 
NYISO dispatch signal, not how much ACE correction it provided.7  Thus, a unit with a 6 MW 
Regulation Service award may be paid only for 3 MWs in any hour in which its performance 
factor in responding to the NYISO dispatch signal was measured at 0.5.  The NYISO notes that 
its fleet of Regulation Service providers has a significantly high performance factor, hovering 
around 91%.

The NYISO provides six-second schedules (Automatic Generation Control (“AGC”)

basepoints) to its regulating units in response to imbalances between internal generation and

load.8  Before the introduction of LESRs to its system in October 2010, the NYISO prorated the 
signal necessary to correct these imbalances across all its regulating units in proportion to their 
Regulation Service award.  At the request of one of its LESRs, the NYISO began distributing its 
regulation signal first to its LESRs (reflecting their maximum response available at the time) 
with the balance (if any) of the regulation signal prorated to the remaining regulation providers.

5 NYISO Market Administration and Control Area Services Tariff (“Services Tariff”), Section 15.3

6 Services Tariff Sections 15.3.4.1, 15.3.5.  For New York’s small storage resources which cannot sustain output for long periods of time, the use of inter-temporal opportunity costs would not be appropriate as their need to recharge is a real-time activity, not susceptible to re-scheduling to lower cost hours.  See discussion at NOPR P. 36.

7 Services Tariff Section 15.3.3

8 In dispatching to balance load and generation, the NYISO does not dispatch its regulating units to solve for frequency imbalances.

3

Both before and after the introduction of the NYISO’s LESRs, the NYISO’s Control 
Performance as measured by CPS 1 and CPS 2 has been high.  Annual Control Performance is 
charted and presented to the Management Committee monthly.9  As these charts indicate, the 
NYISO’s historical average control performance is well above criteria, both before and after the 
introduction of LESRs.  Moreover, the NYISO’s Day-Ahead MCPs for regulation service have 
dropped from an average of $43/MW of regulation service capacity in 2010 to an average of 
$11/MW in January 2011 with the recent addition of new supply.  The average response rate has 
also risen.  On April 22, 2006 it was 4.69 MW/minute; on April 22, 2011, it was 7.63/MW 
minute.10  The NYISO believes that its regulation market is competitive, produces an efficient 
price, incentivizes the addition of new, efficient resources and provides a product that enhances 
reliability. Nonetheless, the NYISO stands ready to explore additional compensation approaches 
depending on the Commission’s final rule.

II. 	The Final Rule Should Permit ISOs/RTOs to Develop Regulation Compensation 
Mechanisms That Reflect the Contribution and Accuracy of their Regulation Resources in

Responding to ISO Control Signals

The NYISO strongly supports the IRC recommendation that the Commission’s proposed 
Section 35.28(g)(3) be revised to include a payment for performance that reflects “the correlation 
between a frequency regulating resource’s response and the control signals of the pertinent 
independent system operator” rather than link performance to contributions to correcting ACE.11 
The purpose of regulation is to manage the deviations incurred by short-term mismatches 
between supply and demand, to improve system frequency, and to comply with NERC control

9 See: March 2010 to March 2011 Control Performance as presented to the April Management Committee at 
http://www.nyiso.com/public/webdocs/committees/mc/meeting_materials/2011-04-
27/Operations_Report_201103_v1.pdf

10 These response rates do not include LESRs.

11 IRC Comments p. 7.

4

performance standards. A compliance mechanism designed solely to move ACE to zero is too narrow and could be counterproductive during certain circumstances.

III. 	The Commission Should Allow ISOs/RTOs the Flexibility to Develop Regulation

Response Compensation Mechanisms That Reflect the Needs and Characteristics of 
	Individual BAAs

The NYISO also strongly supports the IRC recommendation that the Commission’s final 
rule permit ISOs/RTOs the flexibility to develop regulation compensation rules that are 
appropriate for each region, in light of the mix of regulation resource types that are necessary to 
achieve reliability standard compliance in their region.  Flexible compliance opportunities should 
also offer ISOs/RTOs the opportunity to recognize the importance to reliability of an integrated 
set of regulation resources reflecting varying characteristics that include duration as well as 
rapidness of response in developing responsive compensation mechanisms.  As the IRC noted, 
just as fast response can provide valuable service, sustainability of response is also an important 
contribution to reliable service.  Traditional regulation response providers are capable of 
sustaining their response as long as the ISO directs them to, in response to a system event, for 
instance.   BAAs need to ensure that their compensation solutions retain traditional generation 
among their fleet of regulation response providers in order to maintain reliable service. 
	In addition, ISO/RTOs should be permitted the flexibility to ensure that their 
compensation mechanisms do not dissuade the participation of Demand Side Resources not 
capable of fast-response in the regulation market.  Individual ISOs/RTOs are best positioned to 
craft regulation compensation mechanisms to avoid treating other new entrants in a 
discriminatory manner or presenting barriers to the entry of other types of nontraditional 
suppliers such as Demand Side Resources.

5

Moreover, to the extent that frequent up and down movement is a function an ISO’s AGC protocol, the ISO/RTO should be permitted the flexibility to look at changing its regulation 
deployment protocol. As mentioned earlier, the NYISO moved from a regulation deployment 
that prorated the control signal to all its regulating units based on the regulation award of each 
supplier, to one that deployed LESRs first.  Pursuant to a prorated regulation deployment, 
resources that sold the same ramping capacity into the regulation market would be sent the same deployment signal and would be expected to provide the same amount of “up and down” 
regulation service per interval.  As such, the appearance that more “up and down” movement 
was being requested of a set of resources would end.

For all these reasons, the Commission should permit each ISO/RTO the flexibility to develop compensation mechanisms that incorporate a uniform clearing price including the 
marginal resource’s opportunity costs and reflects performance as it relates to accuracy of 
following control signals in a manner that best reflects the needs of its BAA.  To the extent that the Commission issues a rule requiring a mileage payment,12 ISOs/RTOs should be provided the flexibility to develop one that best suits their existing optimization and /or settlement processes. For instance, an ISO/RTO may be able to maintain an existing bidding and scheduling structure while bifurcating the settlement into a capacity and a mileage component thereby reducing the potential for needlessly difficult, expensive or complex changes.

12 NOPR PP. 37-38.

6

IV.	Conclusion

The Commission should allow each ISO/RTO the flexibility to incorporate MCPs and performance-based compensation reforms that best suit the reliability needs of their Balancing Authority Areas and the characteristics of their existing and emerging resources.

Respectfully submitted,

/s/ Mollie Lampi

Mollie Lampi

Assistant General Counsel 
NYISO

10 Krey Blvd.

Rensselear, New York  12144 (518) 356 7530

mlampi@nyiso.com

May 3, 2011

7