December 28, 2010

VIA ELECTONIC FILING

The Honorable Kimberly D. Bose Secretary

Federal Energy Regulatory Commission 888 First Street, NE

Washington, DC 20426

RE:   Niagara Mohawk Power Corporation

Docket No. ER06-694-_____ and  ER11-_____

Amended and Restated Interconnection Agreement between Niagara Mohawk Power Corporation and Niagara Wind Power, LLC and Erie Wind, LLC, First Revised Service Agreement No. 914

Dear Secretary Bose:

Pursuant to Section 205 of the Federal Power Act (“FPA”)1 and Part 35 of the 
Commission’s regulations,2 Niagara Mohawk Power Corporation  d/b/a National Grid 
USA (hereafter “Niagara Mohawk”), submits for filing First Revised Service Agreement 
No. 914 between Niagara Mohawk and Niagara Wind Power, LLC and Erie Wind, LLC 
(“Amended Steel Winds I IA”).  Pursuant to the Commission’s Order No. 714, the 
Amended Steel Winds I IA has been designated by the New York Independent System 
Operator, Inc. (“NYISO”) as First Revised Service Agreement No. 914 under NYISO’s 
Open Access Transmission Tariff (“OATT”).  With the exceptions noted in Section II of 
this letter, the Interconnection Agreement conforms to the NYISO’s pro forma Small 
Generator Interconnection Agreement (“SGIA”) that is contained in Attachment Z of the 
NYISO OATT.

The Amended Steel Winds I IA supersedes the Original Service Agreement No. 914 (“Original Steel Winds I IA”) between Niagara Mohawk and Steel Winds LLC (Niagara Wind Power LLC is Steel Winds LLC’s successor).3

In addition, for the reasons discussed below, this Interconnection Agreement is 
being filed contemporaneously with the joint filing by the NYISO and Niagara Mohawk 
of Service Agreement No. 1676, an executed SGIA by and among the NYISO, Niagara 
Mohawk, Erie Wind, LLC and Niagara Wind Power, LLC (“Steel Winds II IA”).

1

2

3

16 U.S.C. § 824d.

18 C.F.R. Part 35. 
On March 2, 2006, Niagara Mohawk submitted for filing the Original Steel Winds I IA in Docket

No. ER06-694-000.  By letter order dated March 31, 2006, the Commission accepted the agreement for 
filing.

Amended and Restated Interconnection Agreement between Niagara Mohawk Power Corporation and Niagara Wind Power, LLC and Erie Wind, LLC 
December 28, 2010

Page 2

I.	BACKGROUND AND OVERVIEW OF FILING

Niagara Wind Power, LLC (“Niagara Wind Power”) is the current owner of the 
existing 20 MW Steel Winds I wind generation plant and is currently interconnected to 
Niagara Mohawk’s transmission system through facilities located at an existing collection 
station.  Erie Wind, LLC, a Niagara Wind Power affiliate, will own and construct a 15 
MW wind generation plant (“Steel Winds II”).   As described in the Steel Winds I IA, the 
interconnection of the Steel Winds II plant will utilize and require modifications to the 
existing facilities located at the existing collection station currently used for the 
interconnection of the Steel Winds I plant.  As a result, Niagara Wind and Erie Wind 
have agreed to an undivided joint ownership interest in certain interconnection facilities 
that are required to be utilized by both the Steel Winds I and Steel Winds II plants.  These 
jointly-owned interconnection facilities are described in Attachment 2 to the Amended 
Steel Winds I IA.

Due to the jointly-owned interconnection facilities required to interconnect Erie 
Wind’s Steel Wind II plant, the NYISO, Niagara Mohawk, Erie Wind, and Niagara Wind 
Power have executed a four (4) party small generator interconnection agreement - the 
Steel Winds II IA - to effectuate the interconnection of the 15 MW Steel Winds II plant. 
Erie Wind, the Interconnection Customer under the Steel Winds II IA, will also have a 
sole ownership interest in certain additional Interconnection Facilities described in 
Attachment 2 to this Interconnection Agreement that are required to be constructed and 
installed to enable the interconnection of the Steel Winds II plant to Niagara Mohawk’s 
transmission system.  The Original Steel Winds I IA is being revised to reflect this 
undivided ownership interest in the Jointly Owned Interconnection Facilities and to add 
Erie Wind, LLC as a party to the Amended Steel Winds I IA.  In recognition of these 
joint ownership interests, the parties have agreed to minor variations from the pro forma 
NYISO SGIA.4

In addition, in order to accommodate Erie Wind’s development schedule and 
allow the Steel Winds II plant to begin commercial operation prior to completion of 
required System Upgrade Facilities that are described in Attachment 6 of the 
Interconnection Agreement, the parties have agreed that an Interim Constrained 
Operation Period will begin upon the Initial Synchonization Date of the Steel Winds II 
plant and will be terminated upon the earlier of (a) December 31, 2011 or (b) ten business 
days after the System Upgrade Facilities and Interconnection Facilities are In Service. 
During the Interim Constrained Operation Period, both Niagara Wind and Erie Wind 
shall ensure that the delivered output of the combined Steel Winds I and Steel Winds II 
Small Generating Facilities does not exceed 10 MW on each of the Lines 149 and 150.

4

A number of modifications to the pro forma SGIA were necessary in order to resolve operational

and administrative concerns that result from the joint ownership of interconnection facilities.   For example, Niagara Wind and Erie Wind have agreed that Niagara Wind will be the operational and billing contact among the parties for the Steel Winds I and Steel Winds II facilities.

Amended and Restated Interconnection Agreement between Niagara Mohawk Power Corporation and Niagara Wind Power, LLC and Erie Wind, LLC 
December 28, 2010

Page 3

II.	PRO FORMA VARIATIONS

As noted herein, the Steel Winds I IA is based on the NYISO’s pro forma SGIA; 
however the parties have agreed that a number of modifications to the pro forma SGIA 
were necessary primarily as a result of (a) the Jointly Owned Interconnection Facilities 
and (b) the Interim Constrained Operating Period.  All of the parties to the Steel Winds I 
IA agree that these changes are necessary.  The Parties, however, are aware that the 
Commission disfavors significant variations from the approved pro forma 
interconnection agreements, and have accordingly made every effort to limit the number 
of changes.

The Commission has accepted changes to the terms of the pro forma

interconnection agreements where, as here, there are unique circumstances associated 
with the interconnections, including “reliability concerns, novel legal issues or other 
unique factors.”5 The Parties have included as Attachment B to this filing a blackline of the Steel Winds I IA against the NYISO’s pro forma SGIA to highlight the extent of 
changes to the pro forma and where these changes occur in the document.  The Parties respectfully request that the Commission accept these modifications in light of the unique factors and circumstances explained herein.

A. 	Revisions to reflect the Jointly-Owned Interconnection Facilities

The Steel Winds I IA contains several changes that address the joint ownership of 
certain Interconnection Facilities.  For example, the Steel Winds I IA contains several 
recitals that introduce and describe the existing collection station and the joint ownership 
of interconnection facilities therein that are currently being utilized by the existing Steel 
Winds I plant that will also be utilized, as modified, for the interconnection of the Steel 
Winds II plant.  In addition, the Interconnection Agreement contains several 
modifications and additions to the pro forma SGIA that address operational and 
administrative issues associated with the joint ownership of Interconnection Facilities.

There are a number of areas where coordination between Niagara Wind Power 
and Erie Wind is of particular concern.  Section 1.5.7 was added to the document to 
reflect that Niagara Wind Power will act as the Operational Contact for Erie Wind on 
issues related to the Steel Winds II plant and the existing collection station, which 
contains both the sole use Interconnection Facilities and the Jointly Owned 
Interconnection Facilities required for both the Steel Winds I and Steel Winds II plants. 
Section 2.3 provides that both Niagara Wind Power and Erie Wind are obligated to 
provide access to the NYISO and/or Niagara Mohawk to inspect these facilities prior to 
energization of these facilities.  The amended language in section 4.1 provides that Erie 
Wind and Niagara Wind Power are jointly and severally liable for the cost of

5

See PJM Interconnection, LLC, 111 FERC ¶ 61,163 at PP-10-11, reh’g denied  112 FERC ¶

61,282 (2005).

Amended and Restated Interconnection Agreement between Niagara Mohawk Power Corporation and Niagara Wind Power, LLC and Erie Wind, LLC 
December 28, 2010

Page 4

modifications to the Jointly Owned Interconnection Facilities, while changes in Article 6 
indicate that all bills for work conducted by Niagara Mohawk on behalf of Erie Wind 
pursuant to the terms of the Agreement shall be provided to Niagara Wind Power as the 
designated operational contact. Section 7.7 was added to the Interconnection Agreement 
to specifically recognize that Niagara Wind and Erie Wind are jointly and severally liable 
for all obligations and responsibilities related to the Jointly Owned Interconnection 
Facilities.

In addition changes were made to the Glossary of Terms found in Attachment 1 of 
the Steel Winds I IA.  These changes provide new defined terms where necessary, such 
as “Existing Collection Station,” “Jointly Owned Interconnection Facilities” and 
“Operational Contact” as well as modify existing defined terms in the pro forma SGIA. 
These changes were required to accurately describe the unique circumstance created by 
the joint ownership of interconnection facilities within the existing collection station.

B. 	Revisions related to the Interim Constrained Operating Period

The Interconnection Agreement has also been modified from the pro forma SGIA 
to reflect the agreement of the Parties to provide for a limited period where the 20 MW 
Steel Winds I plant and the 15 MW Steel Winds II plant are subject to a combined output 
limit of 20 MW total with no more than a 10 MW maximum output on each of Niagara 
Mohawk’s lines 149 and 150.  This Interim Constrained Operation Period will allow Erie 
Wind to bring its Steel Wind II plant into service prior to the final construction and

installation of the required System Upgrade Facilities.  This limited interim operation period has been evaluated and reviewed by the Parties.

The Steel Winds I IA contains additional language that provides the terms and duration of the Interim Constrained Operation Period.  The additional language reflects that the Parties have agreed that the delivered output of the combined Steel Winds I and the Steel Winds II plants will be limited during this period.  Section 1.9 was added to the Steel Winds I IA along with additional defined terms required to describe this unique circumstance, including “Interim Constrained Operation,” “Interim Constrained 
Operation Period” and “Final Interconnection.”

III.	EFFECTIVE DATE

Niagara Mohawk respectfully requests that the Commission accept the Amended Steel Winds I IA with an effective date of December 20, 2010, the date the Parties 
executed the Agreement.  The Commission has allowed interconnection agreements to become effective on the date of execution, even when that date precedes the date that an interconnection agreement is filed.

Amended and Restated Interconnection Agreement between Niagara Mohawk Power Corporation and Niagara Wind Power, LLC and Erie Wind, LLC 
December 28, 2010

Page 5

IV.	COMMUNICATIONS

Communications regarding this filing should be addressed to the following

individuals, whose names should be entered on the official service list maintained by the

Secretary with respect to this docket:6

Daniel Galaburda

Assistant General Counsel National Grid

40 Sylvan Road

Waltham, MA 02451 (781) 907-1847

Daniel.Galaburda@us.ngrid.com

V.	ATTACHMENTS

Sean A. Atkins 
Stacey Tyrewala

Alston & Bird LLP The Atlantic Building 950 F Street, NW

Washington, DC  20004 
Tel:  (202) 756-3300 
Fax:  (202) 756-3333

sean.atkins@alston.com 
stacey.tyrewala@alston.com

Attachment A	Small Generator Interconnection Agreement with Niagara Wind

Power, LLC and Erie Wind, LLC,

First Revised Service Agreement No. 914

Attachment B	Small Generator Interconnection Agreement with Niagara Wind

Power, LLC and Erie Wind, LLC redlined against the NYISO pro

forma SGIA

6	Niagara Mohawk respectfully requests waiver of 18 C.F.R. § 385.203(b)(3) to allow four persons

to be added to the service list in this proceeding.

Amended and Restated Interconnection Agreement between Niagara Mohawk Power Corporation and Niagara Wind Power, LLC and Erie Wind, LLC 
December 28, 2010

Page 6

Copies of this filing have been served upon Niagara Wind, Erie Wind, the New York Public Service Commission and the NYISO.

Sincerely,

/s/ Daniel Galaburda

Sean A. Atkins	Daniel Galaburda

Stacey Tyrewala	Assistant General Counsel

Alston & Bird LLP	National Grid

The Atlantic Building	40 Sylvan Road

950 F Street, NW	Waltham, MA 02451

Washington, DC  20004	Tel:  (781) 907-1847

Tel:  (202) 756-3300	Daniel.Galaburda@us.ngrid.com

sean.atkins@alston.com

stacey.tyrewala@alston.com

Counsel for Niagara Mohawk Power 
Corporation, d/b/a National Grid

LEGAL02/32254006v2