UNITED STATES OF AMERICA 
	BEFORE THE

FEDERAL ENERGY REGULATORY COMMISSION

Cyber Systems in Control Centers	)	Docket No. RM16-18-000

COMMENTS OF THE 
THE ISO/RTO COUNCIL

The ISO/RTO Council (“IRC”) respectfully submits these comments in response 
to the Federal Energy Regulatory Commission’s (“FERC” or “Commission”) Notice of 
Inquiry (“NOI”) for possible modifications to the Critical Infrastructure Protection 
(“CIP”) Reliability Standards regarding the cybersecurity of Control Centers used to 
monitor and control the Bulk Electric System (“BES”) in real time.1 
	The IRC strongly supports measures to enhance cyber security on the nation’s bulk power system and in the control rooms that maintain reliable operations on the grid. Nevertheless, after careful review by the IRC members’ operations and IT experts, the IRC believes that mandatory Reliability Standards as proposed in the Commission’s NOI would not enhance cyber security of the power grid relative to the operational risks, 
issues, and costs that would result.  As described in more detail below, the IRC believes 
that the logical separation provided under current Reliability Standards and practices 
results in the same level of protection without the added cost or potential negative 
impacts that could arise if physical separation of the Internet from BES Cyber Systems in 
Control Centers and application whitelisting were mandated.

Accordingly, the IRC submits these comments opposing modifications to CIP

Reliability Standards that would require separating the Internet from BES Cyber Systems

1 Notice of Inquiry, Cyber Systems in Control Centers, 156 FERC ¶ 61,051 (July 21, 2016).

1

in Control Centers.  Currently effective NERC Reliability Standards already provide 
mandatory and enforceable controls and protections to prevent adverse impacts on the 
BES.  Additionally, in the new version of CIP Reliability Standards that is currently 
being developed, NERC is already addressing FERC’s directives in Order No. 822.2 
Those directives deal with the concerns described in the NOI.  Furthermore, as described 
below, requiring complete isolation between the Internet and BES Cyber Systems in 
Control Centers presents potential complications and undesirable consequences.  The 
IRC also opposes modifications to CIP Reliability Standards that would require 
“application whitelisting” for BES Cyber Systems in Control Centers.  CIP Reliability 
Standards should allow flexibility regarding the technology that is used to comply with 
their requirements, and “application whitelisting” is a technology that presents many 
challenges and does not provide the needed flexibility, as described herein.

I.	IDENTIFICATION OF FILING PARTY

The IRC is comprised of the following Independent System Operators (“ISOs”) 
and Regional Transmission Organizations (“RTOs”): Alberta Electric System Operator 
(“AESO”); California Independent System Operator Corporation (“CAISO”); Electric 
Reliability Council of Texas, Inc. (“ERCOT”); the Independent Electricity System 
Operator (“IESO”); ISO New England Inc. (“ISO-NE”); Midcontinent Independent 
System Operator, Inc. (“MISO”); New York Independent System Operator, Inc. 
(“NYISO”); PJM Interconnection, L.L.C. (“PJM”); and Southwest Power Pool, Inc.

2 Order No. 822, Revised Critical Infrastructure Protection Reliability Standards, 154 FERC ¶ 61,037 (2016).  Note that FERC Orders Nos. 706 and 791 also require protections against malware.  The Standard Drafting Team that is currently developing the new version of CIP Reliability Standards will address FERC’s directives in these three FERC orders.

2

(“SPP”). 3  All IRC members have Control Centers that perform the functions of a transmission operator.

II.	COMMENTS

A.	FERC SHOULD NOT REQUIRE MODIFICATIONS TO CIP

RELIABILITY STANDARDS RELATED TO SEPARATION BETWEEN THE INTERNET AND BES CYBER SYSTEMS IN CONTROL CENTERS

1. 	Current Reliability Standards Already Provide for Separation

Between the Internet and BES Cyber Systems, And Reliability 
Standards In Development Will Further Address FERC’s 
Concerns

The Commission seeks comments on whether CIP Reliability Standards should be 
modified to require isolation between the Internet and BES Cyber Systems in Control 
Centers performing the functions of a transmission operator.  If isolation is required, the 
Commission asks whether logical isolation is preferable to physical isolation (or vice 
versa).4

With respect to communications within a transmission operator’s Control Center, 
as the Commission correctly points out in the NOI, logical and physical separation are 
already addressed in current CIP Reliability Standards.  For example, Reliability 
Standard CIP-005-5, Requirement R1, requires protections for BES Cyber Systems that 
include segmentation of networks supporting those systems and management of incoming 
and outgoing traffic for any access point to an Electronic Security Perimeter (“ESP”). 
Requirement R1 in Reliability Standard CIP-005-5 also requires direct analysis of 
incoming and outgoing network traffic for known or suspected malicious communication.

3 The AESO and IESO are not FERC jurisdictional.

4 NOI at P 11.

3

Reliability Standard CIP-005-5, Requirement R2, protects against unauthorized

interactive remote access (note that this protects against not only Internet traffic but also 
against any untrusted network traffic).  Reliability Standard CIP-006-6, Requirements R1 
and R2, protect against unauthorized physical access to BES Cyber Systems and their 
related network infrastructure components (including Enterprise Access Control and 
Monitoring Systems - EACMS, Physical Access Control Systems - PACS and Protected 
Cyber Assets - PCA cases).  Reliability Standard CIP-007-6, Requirement R3, requires 
that a responsible entity arrange to protect against malware using one or more means at 
the system or via the network layer.  This protection can include network isolation 
techniques as well as Intrusion Detection/Prevention (“IDS/IPS”) solutions where such 
protection is deemed appropriate and effective with regard to compliant operation of 
reliability functions.5

In addition to the current standards, in Project 2016-02, NERC is developing the 
next version of CIP Reliability Standards to address, among other things, FERC’s 
directives in Order No. 822.  Those directives include modifications to CIP Reliability 
Standards to “require responsible entities to implement controls to protect, at a minimum, 
communication links and sensitive BES data communicated between BES Control 
Centers in a manner that is appropriately tailored to address the risks posed to the BES by 
the assets being protected (i.e., high, medium, or low impact).”6  The modifications to

5 See Section 3.1 of Reliability Standard CIP-007-6 Guidance and Technical Basis.

6 Order No. 822 at P 53.  FERC made clear that this directive also applies to Control Center

communications from facilities at all impact levels, regardless of ownership; the directed

modification should encompass communication links and data for intra-Control Center and inter-
Control Center communications.  Id. at P 58.  FERC also clarified that the reliability gap 
addressed in Order No. 822 pertains to the lack of mandatory security controls to address how 
responsible entities should protect sensitive BES communications and data. Id. at P 60.

4

CIP Reliability Standards developed pursuant to this directive will better secure Control 
Centers from cyberattacks and, as such, will address the Commission’s concerns in the 
NOI.

2.	Complications Would Arise If Complete Isolation Between The

Internet And BES Cyber Systems Is Required Within Control

Centers

As stated above, sufficient logical and physical isolation between the Internet and

BES Cyber Systems is already in place pursuant to current CIP Reliability Standards.

Additional requirements in CIP Reliability Standards for complete isolation between the Internet and BES Cyber Systems within Control Centers would result in several 
complications for the ISOs/RTOs.

At some ISOs/RTOs, many reliability functions are not connected to the Internet 
and do not directly use data from the Internet.  However, in other ISOs/RTOs’ Control 
Centers, many BES Cyber Systems require the Internet to properly function.  For 
instance, at some ISOs/RTOs, the Internet is used for market services systems, weather 
forecasting systems, situational awareness systems, and systems that allow information 
sharing with other parties.  All these systems are currently used in control room operator 
consoles and other BES Cyber Assets within the ESP for economic and efficiency 
purposes.  Consequently, if complete isolation from the Internet is expected, segregating 
external facing sites such as a market portal from BES Cyber Systems would require a 
significant amount of re-architecture and re-development.  Essentially, the overall market 
system architecture would need to be redesigned to accommodate a split between the 
Internet-facing systems and internal systems for those ISOs/RTOs that include market 
systems in their CIP programs.

5

In addition to the daily functioning of the above systems, ISOs/RTOs use remote 
access through intermediate systems for activities such as critical operational support.  If 
remote access through an intermediate system is not allowed due to dependence on the 
Internet, then ISOs/RTOs would need to provide onsite technical and system support 24 
hours a day, seven days a week. Although many regions already have on-site support 24 
hours a day, seven days a week, the extent of on-site support would have to be

substantially increased.  Additionally, this type of isolation from the Internet will make 
all Internet-based vendor support models inoperable, requiring vendors to provide 
alternative means to provide needed IT support.   Moreover, Requirement R2 in CIP-005-

5 already requires that Interactive Remote Access include two-factor separation for accessing BES Cyber Assets.

It is also important to note that many systems within the ESP have connections to 
non-CIP systems, which in turn connect to the Internet.  This is how cyber security 
updates to operating systems and applications are downloaded and applied as required by 
CIP Reliability Standards.  In addition, the Internet is required for updates to signatures 
for systems addressing malware, including intrusion detection systems and anti-virus 
deployments.  If Internet use is disallowed and the systems inside the ESP have to be 
completely self-contained, corporate and market operations support systems would 
require a massive re-architecture.  All back-office systems, as well as downstream 
consumers of operational data, such as market settlements, would need to be evaluated 
and likely redesigned or re-implemented to enable full isolation. Thus, the Commission’s 
proposal would sweep away the availability of the array of support tools that have proven

6

helpful to operators ranging from system support updates to weather updates, as well as future support tools/technologies.

Finally, for some ISOs/RTOs, BES Cyber Systems rely on shared cyber assets, 
specifically circuits that carry BES and Internet traffic (for example, a market portal). 
These internet based systems are utilized particularly to accommodate smaller generators 
and demand response/distributed energy resources that may not have the financial 
viability to invest in a private network.  If this is an issue, then some ISOs/RTOs systems 
would need to be migrated off the Internet to an alternate solution, such as a private Wide 
Area Network (“WAN”).  This would require every market participant to connect to a 
highly available private network, which could significantly raise the cost of participation 
in the wholesale energy markets, thereby creating a potential barrier to entry.  Also, 
shared hardware such as switches, firewalls, routers, and related equipment would need 
to be remediated.  These changes could require substantial financial, resource and time 
investment for market participants to reengineer their entire market infrastructure.

3. 	Complications Would Arise If Complete Physical Isolation

Between The Internet And BES Cyber Systems Is Required

The IRC submits that, with respect to communication between transmission

operators, the multiple layers of logical separation that are currently used within shared 
data paths are considered best practices and are already used between ISOs/RTOs’ 
Control Centers and other transmission operators.  Specifically, ISOs/RTOs encrypt 
communicated data, which can only be decrypted by those who are authorized to receive 
the data, and telecommunication providers use multi-protocol label switching to tag the

7

data.7  Tagged data can only be received by the set of the telecommunication provider’s customers that are connected with that particular label.  If, notwithstanding these multiple layers of logical separation, the Commission directs that CIP Reliability Standards be modified to require complete physical isolation between the Internet and BES Cyber 
Systems, complications would arise.

With respect to the cost and resource impact of imposing physically separate

networks, the cost will depend on the circumstances of each entity and available existing 
infrastructure.  However, it is plausible that the cost, in terms of dollars and resources, 
could potentially be significant.  The problem is that the corresponding reliability benefits 
relative to the existing Reliability Standards and business practices will be minimal to 
null, and, as discussed, could actually create issues that result in circumstances that are 
less effective than the current paradigm from both a reliability and functional perspective. 
Thus, there is no rational justification for the change and associated cost/resource 
impacts.  Moreover, even if a transmission operator can physically separate data 
connections, the separation would not serve to increase system security because those 
connections will still have to share common physical infrastructure such as telephone 
poles, power sources, and common data centers.  Thus, even if a transmission operator 
built its own dedicated path, a physical attack to telecommunications infrastructure could 
still take both the common Internet path and a dedicated data path out of service.

B. 	APPLICATION WHITELISTING FOR BES CYBER SYSTEMS IN

CONTROL CENTERS SHOULD NOT BE REQUIRED

Reliability Standards should establish “what” responsible entities are required to 
do, but should not be prescriptive with respect to “how” responsible entities should

7  See NIST SP 800-47, Security Guide for Interconnecting Information Technology Systems.

8

comply with the requirements in the standards.8  More specifically, as the Commission 
has recently stated, CIP Reliability Standards should be results-based in order to provide 
flexibility to account for the range of technologies and entities involved in BES 
communications.9  Thus, rather than requiring that a specific technology be used to 
protect BES Cyber Systems, CIP Reliability Standards should establish the goals for 
protection.  Indeed, in keeping with this fundamental principle, Reliability Standard CIP-
007-6 already allows the use of “application whitelisting” as one of the methods that can 
be used to protect BES Cyber Systems from malware.  Specifically, the Guidance for 
Reliability Standard CIP-007-6, Requirement R3 provides as follows (emphasis added):

3.1. Due to the wide range of equipment comprising the BES Cyber 
Systems and the wide variety of vulnerability and capability of that 
equipment to malware as well as the constantly evolving threat and 
resultant tools and controls, it is not practical within the standard to 
prescribe how malware is to be addressed on each Cyber Asset. 
Rather, the Responsible Entity determines on a BES Cyber System 
basis which Cyber Assets have susceptibility to malware intrusions 
and documents their plans and processes for addressing those risks and 
provides evidence that they follow those plans and processes. There 
are numerous options available including traditional antivirus solutions 
for common operating systems, white-listing solutions, network 
isolation techniques, Intrusion Detection/Prevention (IDS/IPS) 
solutions, etc. If an entity has numerous BES Cyber Systems or Cyber 
Assets that are of identical architecture, they may provide one process 
that describes how all the like Cyber Assets are covered. If a specific 
Cyber Asset has no updateable software and its executing code cannot 
be altered, then that Cyber Asset is considered to have its own internal 
method of deterring malicious code.

3.2. When malicious code is detected on a Cyber Asset within the

applicability of this requirement, the threat posed by that code must be 
mitigated. In situations where traditional antivirus products are used, 
they may be configured to automatically remove or quarantine the

8 See, e.g., Order No. 829, Revised Critical Infrastructure Protection Reliability Standards, 156 FERC ¶ 61,050 (2016) at P 45.

9 Revised Critical Infrastructure Protection Reliability Standards, 154 FERC ¶ 61,037 (2016) at P

55.

9

malicious code. In white-listing situations, the white-listing tool itself 
can mitigate the threat as it will not allow the code to execute, 
however steps should still be taken to remove the malicious code 
from the Cyber Asset. In some instances, it may be in the best interest 
of reliability to not immediately remove or quarantine the malicious 
code, such as when availability of the system may be jeopardized by 
removal while operating and a rebuild of the system needs to be 
scheduled. In that case, monitoring may be increased and steps taken 
to insure the malicious code cannot communicate with other systems. 
In some instances the entity may be working with law enforcement or 
other governmental entities to closely monitor the code and track the 
perpetrator(s). For these reasons, there is no maximum timeframe or 
method prescribed for the removal of the malicious code, but the 
requirement is to mitigate the threat posed by the now identified 
malicious code.

Entities should also have awareness of malware protection

requirements for Transient Cyber Assets and Removable Media

(“transient devices”) in CIP-010-2. The protections required here in CIP-007-6, Requirement R3 complement, but do not meet, the 
additional obligations for transient devices.

Additionally, Attachment 1 to Reliability Standard CIP-010-2, specifically lists 
application whitelisting as one of the methods allowed to achieve the objective of 
mitigating the introduction of malicious code (per Transient Cyber Asset Capability). 
	Notably, while some ISOs/RTOs have used application whitelisting tools to 
protect their BES Cyber Assets, requiring application whitelisting in all instances would 
present several obstacles.  For instance, tuning for whitelisting is challenging and 
implementations could have real-time operational impacts.  Not all operating systems 
work well with whitelisting, as they can cause an accidental Denial of Service (“DoS”). 
Routine activities, such as operating system patches, cause multiple files to change which 
can conflict with whitelisting.  False positives can prevent systems from functioning 
properly and application whitelisting can cause additional performance overhead on 
servers and devices.  Additionally, to achieve the desired end result, tuning solutions

10

requires check-summing or an equivalent to ensure a malicious program is not just renamed to an allowed program.

The most effective “application whitelisting” relies on accurate and well-

maintained baselines in line, with the recent implementation of enhanced configuration 
management controls required under CIP Reliability Standard CIP-010-2.  In addition, if 
“application whitelisting” is not available for a given device or operating system, or could 
create significant operational impact, other alternatives should be allowed to achieve the 
same security objective.  This would be consistent with the shift in language within 
Reliability Standard CIP-007-6 Requirement 3, Part 3.1, which now allows entities to 
select their method to deter, detect, or prevent malicious code, rather than specifically 
requiring installation of anti-virus/anti-malware, as was the case in Reliability Standard 
CIP-007-3.  Similarly, NERC Reliability Standard CIP-010-2, Requirement R4 requires 
each responsible entity, for its high impact and medium impact BES Cyber Systems and 
associated Protected Cyber Assets, to implement one or more documented plans for 
Transient Cyber Assets and Removable Media that include the sections in Attachment 1 
(which, as described above, includes application whitelisting as one of the methods that 
responsible entities can use).

Therefore, for all the reasons noted, the IRC respectfully submits that additional requirements in CIP Reliability Standards specifically requiring “application 
whitelisting” are not necessary, and, in fact, may prove to be problematic and 
counterproductive.

11

III.	CONCLUSION

The IRC requests that the Commission consider these comments on

the NOI.

Respectfully submitted,

/s/ Anna McKenna	/s/ Carl Patka

Roger E. Collanton, General Counsel	Robert E. Fernandez, General Counsel

Anna McKenna	Raymond Stalter,

Assistant General Counsel, Regulatory	Director of Regulatory Affairs

California Independent System Operator	Carl Patka, Assistant General Counsel

Corporation	New York Independent System Operator,

250 Outcropping Way	Inc.

Folsom, California 95630	10 Krey Boulevard

amckenna@caiso.com	cpatka@nyiso.com

/s/ Margoth Caley	/s/ Craig Glazer

Raymond W. Hepper	Craig Glazer

Vice President, General Counsel, and Secretary	Vice President-Federal Government Policy

Theodore J. Paradise	James M. Burlew

Assistant General Counsel, Operations and	Senior Counsel

Planning	PJM Interconnection, L.L.C.

Margoth Caley	Suite 600

Senior Regulatory Counsel	1200 G Street, N.W.

ISO New England Inc.	Washington, D.C. 20005

One Sullivan Road	202-423-4743

Holyoke, Massachusetts 01040	Craig.Glazer@pjm.com

mcaley@io-ne.com	James.Burlew@pjm.com

/s/ Stephen G. Kozey	/s/ Nathan Bigbee

Stephen G. Kozey	Chad V. Seely

Senior Vice President	Vice President and General Counsel

Joseph G. Gardner	Nathan Bigbee

Vice President & Chief Compliance Officer	Assistant General Counsel

Midcontinent Independent System	Electric Reliability Council of

Operator, Inc.	Texas, Inc.

720 City Center Drive	7620 Metro Center Drive

Carmel, Indiana 46032	Austin, Texas 78744

stevekozey@misoenergy.org	Nathan.bigbee@ercot.com

12

/s/ Nancy Marconi

Nancy Marconi

Sr. Manager, Regulatory Affairs

Independent Electricity System Operator

1600-120 Adelaide Street West Toronto  Ontario  M5H1T1

Canada

/s/ Matt Morais

Paul Suskie

Sr. VP Regulatory Policy & General Counsel

Matt Morais

Associate General Counsel, Markets and Regulatory Policy

Southwest Power Pool, Inc.

201 Worthen Drive

Little Rock, Arkansas 72223-4936

mmorais@spp.org

Dated: September 26, 2016

13

/s/ Diana Pommen

Diana Pommen

Director Interjurisdictional Affairs and Compliance

Alberta Electric System Operator

2500, 330 - 5 Avenue SW 
Calgary, Alberta T2P 0L4

Diana.pommen@aeso.ca

CERTIFICATE OF SERVICE

I hereby certify that I have this day served the foregoing document upon each

person designated on the official service list compiled by the Secretary in this proceeding. 
	Dated at Holyoke, Massachusetts this 26th day of September, 2016.

/s/ Julie Horgan

Julie Horgan

eTariff Coordinator

ISO New England Inc. 
One Sullivan Road 
Holyoke, MA 01040 
(413) 540-4683

14