## 25.4 Interconnection Facilities Covered by Attachment S

### 25.4.1 Interconnection Standards

The interconnection facilities covered by these cost allocation rules are those required for the proposed project to reliably interconnect to the transmission system in a m**a**nner that meets the NYISO Minimum Interconnection Standard for ERIS, and the NYISO Deliverability Interconnection Standard for CRIS.

### 25.4.2 Interconnection Facilities

The interconnection facilities covered by these cost allocation rules are comprised of the following three types of facilities: Attachment Facilities, System Upgrade Facilities and System Deliverability Upgrades.