## Summary
EXHIBIT B Scenario 1: 1000 MW ICAP Hypothetical Qualifying Exit in Load Zones J and K in November 2014*
Reference Price Point Impact Summary for 2016/17 ICAP Demand Curves**
|  | WSR (NYISO Proposal) | WSR (Unadjusted) | Delta |  |  |  |  | WSR (NYISO Proposal) | WSR (Unadjusted) | Delta
| NYCA | 1.039 | 1.034 | -0.005 |  |  |  | NYCA | 8.87 | 8.64 | -0.23
| GHIJ | 1.058 | 1.046 | -0.012 |  |  |  | GHIJ | 12.12 | 11.52 | -0.6
| NYC | 1.083 | 1.07 | -0.013 |  |  |  | NYC | 19.06 | 18.17 | -0.89
| LI | 1.085 | 1.063 | -0.022 |  |  |  | LI | 8.78 | 8.1 | -0.68
| 1 Year Winter-to-Summer Ratio Summary | [7 empty] | Reference Point formula parameters from the 2016/17 ICAP Demand Curves:
|  | Year 3 (9/15-8/16) |  | Year 2 (9/14-8/15) |  | Year 1 (9/13-8/14) |  |  | ARR | AssmdCAP | SDMNC | WDMNC | ZCP
|  | NYISO Proposal | Unadjusted | NYISO Proposal | Unadjusted | NYISO Proposal | Unadjusted | NYCA | 93.48 | 206.5 | 210.1 | 226.2 | 1.12
| NYCA | 1.0469 | 1.0469 | 1.0395 | 1.0227 | 1.0321 | 1.0321 | GHIJ | 122.91 | 205.6 | 209.4 | 225.2 | 1.15
| GHIJ | 1.0659 | 1.0659 | 1.0497 | 1.0258 | - | - | NYC | 183.47 | 205.3 | 208.8 | 223.6 | 1.18
| NYC | 1.0982 | 1.0982 | 1.0859 | 1.0486 | 1.064 | 1.064 | LI | 83.92 | 206.8 | 210.7 | 225.2 | 1.18
| LI | 1.0911 | 1.0911 | 1.0938 | 1.0269 | 1.0715 | 1.0715
Entry/Exit Adjustment Summary
| ZONE | GEN_PTID | GEN_NAME | Year 3 | Year 2 | Year 1
| J | N/A | Hypothetical Qualifying Exit |  | Remove
| K | N/A | Hypoothetical Qualifying Exit |  | Remove
|  | Year 3 | Year 2 | Year 1
NYCA | NYISO | 1.0469 | 1.0395 | 1.0321
| Unadj | 1.0469 | 1.0227 | 1.0321
GHIJ | NYISO | 1.0659 | 1.0497
| Unadj | 1.0659 | 1.0258
NYC | NYISO | 1.0982 | 1.0859 | 1.064
| Unadj | 1.0982 | 1.0486 | 1.064
LI | NYISO | 1.0911 | 1.0938 | 1.0715
| Unadj | 1.0911 | 1.0269 | 1.0715
*Based on preliminary data that would be used in calculating the winter-to-summer ratio values for the 2017/2018 Capability Year. Because data is not yet available for July 2016 and August 2016, data from June 2016 is used as a proxy for these months.
The underlying adjustments for certain, actual qualifying resource entry and exit actions, consistent with the NYISO's proposal, are accounted for in both the "NYISO Proposal" and "Unadjusted" values in order to isolate the impacts associated with
the hypothetical resource exits assumed in the example.
**The reference price calculations utilize the currently-effective reference point formula and do not reflect any potential adjustments thereto being discussed as part of the ongoing ICAP Demand Curve reset process to establish
ICAP Demand Curves beginning with the 2017/2018.

## NYCA
NYCA WSR (NYISO Proposal) | 1.039
NYCA WSR (Unadjusted) | 1.034
NYCA 1 Year WSRs (NYISO Proposal) | 1.0469 | [11 empty] | 1.0395 | [11 empty] | 1.0321
NYCA 1 Year WSRs (Unadjusted) | 1.0469 | [11 empty] | 1.0227 | [11 empty] | 1.0321
UCAP Sales | Year 3 | [11 empty] | Year 2 | [11 empty] | Year 1
NYCA | 2016-06-01 | 2016-06-01 | 2016-06-01 | 2016-05-01 | 2016-04-01 | 2016-03-01 | 2016-02-01 | 2016-01-01 | 2015-12-01 | 2015-11-01 | 2015-10-01 | 2015-09-01 | 2015-08-01 | 2015-07-01 | 2015-06-01 | 2015-05-01 | 2015-04-01 | 2015-03-01 | 2015-02-01 | 2015-01-01 | 2014-12-01 | 2014-11-01 | 2014-10-01 | 2014-09-01 | 2014-08-01 | 2014-07-01 | 2014-06-01 | 2014-05-01 | 2014-04-01 | 2014-03-01 | 2014-02-01 | 2014-01-01 | 2013-12-01 | 2013-11-01 | 2013-10-01 | 2013-09-01
Locational EFORd | 9.61% | 9.61% | 9.61% | 9.61% | 9.06% | 9.06% | 9.06% | 9.06% | 9.06% | 9.06% | 8.54% | 8.54% | 8.54% | 8.54% | 8.54% | 8.54% | 7.32% | 7.32% | 7.32% | 7.32% | 7.32% | 7.32% | 9.08% | 9.08% | 9.08% | 9.08% | 9.08% | 9.08% | 8.31% | 8.31% | 8.31% | 8.31% | 8.31% | 8.31% | 8.91% | 8.91%
Base Generation UCAP | 35571.1 | 35571.1 | 35571.1 | 35571.1 | 38432.2 | 38675.3 | 38745 | 38743.4 | 38698.9 | 38709.5 | 36723.3 | 36743.4 | 36694.8 | 36708.7 | 36330.2 | 36267.2 | 39147.3 | 39128.1 | 38975.4 | 38938.2 | 38742 | 38592.9 | 35629.7 | 35577.6 | 35537.8 | 35450.5 | 35447.2 | 35464.2 | 37860.1 | 37834 | 37833.2 | 37759.2 | 37741.9 | 37722.2 | 36140.8 | 36140.8
SCR UCAP | 1160.7 | 1160.7 | 1160.7 | 1139.6 | 865.6 | 857.2 | 856.4 | 863.5 | 782 | 818.6 | 1275.9 | 1253 | 1240.9 | 1234 | 1227.7 | 1192.2 | 851.7 | 858.9 | 819.6 | 834.8 | 827.3 | 812.7 | 1070.9 | 1011.4 | 1008.1 | 996.2 | 976.5 | 953.7 | 845.2 | 835.2 | 835.5 | 791.3 | 814.1 | 800.1 | 1098.1 | 1085.4
Imports | 1357.8 | 1357.8 | 1357.8 | 1187.5 | 1158.8 | 1143.7 | 660.3 | 832.2 | 804.3 | 1136.3 | 1408.2 | 1166.1 | 1129 | 1092.2 | 1102.8 | 1415.9 | 1188.1 | 1187.6 | 673.4 | 854.9 | 538.8 | 1369.6 | 1485.3 | 1471.9 | 1465.1 | 1376.7 | 1355.6 | 1197.8 | 1089.9 | 664.7 | 357.8 | 331.4 | 665 | 1089.9 | 1089.9 | 1089.9
Base Total UCAP Available | 38089.6 | 38089.6 | 38089.6 | 37898.2 | 40456.6 | 40676.2 | 40261.7 | 40439.1 | 40285.2 | 40664.4 | 39407.4 | 39162.5 | 39064.7 | 39034.9 | 38660.7 | 38875.3 | 41187.1 | 41174.6 | 40468.4 | 40627.9 | 40108.1 | 40775.2 | 38185.9 | 38060.9 | 38011 | 37823.4 | 37779.3 | 37615.7 | 39795.2 | 39333.9 | 39026.5 | 38881.9 | 39221 | 39612.2 | 38328.8 | 38316.1
Base ICAP Available | 42139.1 | 42139.1 | 42139.1 | 41927.4 | 44487.1 | 44728.6 | 44272.8 | 44467.8 | 44298.6 | 44715.6 | 43087 | 42819.2 | 42712.3 | 42679.7 | 42270.6 | 42505.2 | 44440.1 | 44426.6 | 43664.6 | 43836.7 | 43275.8 | 43995.6 | 41999.4 | 41861.9 | 41807 | 41600.7 | 41552.2 | 41372.3 | 43401.8 | 42898.7 | 42563.5 | 42405.8 | 42775.6 | 43202.3 | 42077.9 | 42064
Adjustment for Entry/Exit (ICAP MW) | 0 | 0 | 0 | 0 | -49.3 | -423.5 | -498.5 | -498.5 | -572.8 | -572.8 | -595 | -595 | 0 | 0 | 0 | 0 | 0 | 0 | 166.6 | 166.6 | 351 | 529.7 | 549.4 | 669.6 | 0 | 0 | 0 | 0 | -18.3 | 3.5 | 3.5 | 97.4 | 97.4 | 99 | -482.3 | -482.3
Hypothetical Zone J Qualifying Exit (ICAP MW) | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000
Hypothetical Zone K Qualifying Exit (ICAP MW) | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000
Scenario 1 ICAP Available | 40139.1 | 40139.1 | 40139.1 | 39927.4 | 42437.8 | 42305.1 | 41774.3 | 41969.3 | 41725.8 | 42142.8 | 40492 | 40224.2 | 40712.3 | 40679.7 | 40270.6 | 40505.2 | 42440.1 | 42426.6 | 41831.2 | 42003.3 | 41626.8 | 42525.3 | 42548.8 | 42531.5 | 41807 | 41600.7 | 41552.2 | 41372.3 | 43383.5 | 42902.2 | 42567 | 42503.2 | 42873 | 43301.3 | 41595.6 | 41581.7
Hypothetical Zone J Qualifying Exit | [22 empty] | -1000 | -1000
Hypothetical Zone K Qualifying Exit | [22 empty] | -1000 | -1000
NYCA Modification | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2000 | -2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NYCA ICAP Total (Adjusted) | 40139.1 | 40139.1 | 40139.1 | 39927.4 | 42437.8 | 42305.1 | 41774.3 | 41969.3 | 41725.8 | 42142.8 | 40492 | 40224.2 | 40712.3 | 40679.7 | 40270.6 | 40505.2 | 42440.1 | 42426.6 | 41831.2 | 42003.3 | 41626.8 | 42525.3 | 40548.8 | 40531.5 | 41807 | 41600.7 | 41552.2 | 41372.3 | 43383.5 | 42902.2 | 42567 | 42503.2 | 42873 | 43301.3 | 41595.6 | 41581.7

## GHIJ
GHIJ WSR (NYISO Proposal) | 1.058
GHIJ WSR (Unadjusted) | 1.046
GHIJ 1 Year WSRs (NYISO Proposal) | 1.0659 | [11 empty] | 1.0497
GHIJ 1 Year WSRs (Unadjusted) | 1.0659 | [11 empty] | 1.0258
UCAP Sales | Year 3 | [11 empty] | Year 2 | [11 empty] | Year 1
GHIJ | 2016-06-01 | 2016-06-01 | 2016-06-01 | 2016-05-01 | 2016-04-01 | 2016-03-01 | 2016-02-01 | 2016-01-01 | 2015-12-01 | 2015-11-01 | 2015-10-01 | 2015-09-01 | 2015-08-01 | 2015-07-01 | 2015-06-01 | 2015-05-01 | 2015-04-01 | 2015-03-01 | 2015-02-01 | 2015-01-01 | 2014-12-01 | 2014-11-01 | 2014-10-01 | 2014-09-01 | 2014-08-01 | 2014-07-01 | 2014-06-01 | 2014-05-01 | 2014-04-01 | 2014-03-01 | 2014-02-01 | 2014-01-01 | 2013-12-01 | 2013-11-01 | 2013-10-01 | 2013-09-01
Locational EFORd | 7.93% | 7.93% | 7.93% | 7.93% | 8.45% | 8.45% | 8.45% | 8.45% | 8.45% | 8.45% | 5.77% | 5.77% | 5.77% | 5.77% | 5.77% | 5.77% | 5.26% | 5.26% | 5.26% | 5.26% | 5.26% | 5.26% | 5.87% | 5.87%
Base Generation UCAP | 13742.8 | 13742.8 | 13742.8 | 13742.8 | 14812.8 | 14808.2 | 14807.9 | 14806.3 | 14782.7 | 14793.3 | 14263.6 | 14283.7 | 14254.6 | 14275.1 | 13896.6 | 13858.8 | 14919.1 | 14898.8 | 14746.3 | 14746.3 | 14591.9 | 14442.8 | 13325.8 | 13275.7
SCR UCAP | 443.4 | 443.4 | 443.4 | 436.2 | 308.1 | 292.3 | 291.4 | 292.4 | 286.5 | 275.7 | 499.8 | 471.7 | 461.3 | 459 | 455.9 | 438.6 | 286.1 | 289.2 | 288.1 | 284.7 | 280.5 | 274.7 | 417.9 | 381.9
Base Total UCAP Available | 14186.2 | 14186.2 | 14186.2 | 14179 | 15120.9 | 15100.5 | 15099.3 | 15098.7 | 15069.2 | 15069 | 14763.4 | 14755.4 | 14715.9 | 14734.1 | 14352.5 | 14297.4 | 15205.2 | 15188 | 15034.4 | 15031 | 14872.4 | 14717.5 | 13743.7 | 13657.6
Base ICAP Available | 15408 | 15408 | 15408 | 15400.2 | 16516.5 | 16494.2 | 16492.9 | 16492.2 | 16460 | 16459.8 | 15667.4 | 15658.9 | 15617 | 15636.3 | 15231.3 | 15172.8 | 16049.3 | 16031.2 | 15869.1 | 15865.5 | 15698.1 | 15534.6 | 14600.7 | 14509.2
Adjustment for Entry/Exit (ICAP MW) | 0 | 0 | 0 | 0 | -49.3 | -49.3 | -49.3 | -49.3 | -123.6 | -123.6 | -99.4 | -99.4 | 0 | 0 | 0 | 0 | 0 | 0 | 166.6 | 166.6 | 304.1 | 482.8 | 504.3 | 624.5
Hypothetical Zone J Qualifying Exit (ICAP MW) | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000
Scenario 1 ICAP Available | 14408 | 14408 | 14408 | 14400.2 | 15467.2 | 15444.9 | 15443.6 | 15442.9 | 15336.4 | 15336.2 | 14568 | 14559.5 | 14617 | 14636.3 | 14231.3 | 14172.8 | 15049.3 | 15031.2 | 15035.7 | 15032.1 | 15002.2 | 15017.4 | 15105 | 15133.7
Hypothetical Zone J Qualifying Exit | [22 empty] | -1000 | -1000
GHIJ Modification | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1000 | -1000
GHIJ ICAP Total (Adjusted) | 14408 | 14408 | 14408 | 14400.2 | 15467.2 | 15444.9 | 15443.6 | 15442.9 | 15336.4 | 15336.2 | 14568 | 14559.5 | 14617 | 14636.3 | 14231.3 | 14172.8 | 15049.3 | 15031.2 | 15035.7 | 15032.1 | 15002.2 | 15017.4 | 14105 | 14133.7

## NYC
NYC WSR (NYISO Proposal) | 1.083
NYC WSR (Unadjusted) | 1.07
NYC 1 Year WSRs (NYISO Proposal) | 1.0982 | [11 empty] | 1.0859 | [11 empty] | 1.064
NYC 1 Year WSRs (Unadjusted) | 1.0982 | [11 empty] | 1.0486 | [11 empty] | 1.064
UCAP Sales | Year 3 | [11 empty] | Year 2 | [11 empty] | Year 1
NYC | 2016-06-01 | 2016-06-01 | 2016-06-01 | 2016-05-01 | 2016-04-01 | 2016-03-01 | 2016-02-01 | 2016-01-01 | 2015-12-01 | 2015-11-01 | 2015-10-01 | 2015-09-01 | 2015-08-01 | 2015-07-01 | 2015-06-01 | 2015-05-01 | 2015-04-01 | 2015-03-01 | 2015-02-01 | 2015-01-01 | 2014-12-01 | 2014-11-01 | 2014-10-01 | 2014-09-01 | 2014-08-01 | 2014-07-01 | 2014-06-01 | 2014-05-01 | 2014-04-01 | 2014-03-01 | 2014-02-01 | 2014-01-01 | 2013-12-01 | 2013-11-01 | 2013-10-01 | 2013-09-01
Locational EFORd | 9.53% | 9.53% | 9.53% | 9.53% | 10.49% | 10.49% | 10.49% | 10.49% | 10.49% | 10.49% | 6.92% | 6.92% | 6.92% | 6.92% | 6.92% | 6.92% | 5.06% | 5.06% | 5.06% | 5.06% | 5.06% | 5.06% | 5.44% | 5.44% | 5.44% | 5.44% | 5.44% | 5.44% | 6.63% | 6.63% | 6.63% | 6.63% | 6.63% | 6.63% | 5.59% | 5.59%
Base Generation UCAP | 8896.7 | 8896.7 | 8896.7 | 8896.7 | 9843.1 | 9843.1 | 9842.8 | 9841.2 | 9817.6 | 9828.2 | 9322.7 | 9343.9 | 9314.8 | 9340.1 | 9303.9 | 9266.1 | 10377.3 | 10376 | 10223.5 | 10223.5 | 10221.5 | 10221.5 | 9278.3 | 9286.7 | 9257 | 9244.5 | 9241.2 | 9254.6 | 9895.1 | 9902.8 | 9902.8 | 9900 | 9897.8 | 9877.8 | 9415.8 | 9415.8
SCR UCAP | 358.1 | 358.1 | 358.1 | 350 | 254.6 | 238.8 | 238.2 | 239.5 | 236.5 | 229.3 | 415.7 | 388.5 | 381.3 | 380.7 | 377.8 | 366 | 230.8 | 233.1 | 233.3 | 230.4 | 227.2 | 222.9 | 349.3 | 319 | 316.4 | 312.3 | 303.7 | 298.3 | 236.9 | 234.5 | 235 | 232.8 | 229.7 | 224.9 | 357.1 | 349.7
Base Total UCAP Available | 9254.8 | 9254.8 | 9254.8 | 9246.7 | 10097.7 | 10081.9 | 10081 | 10080.7 | 10054.1 | 10057.5 | 9738.4 | 9732.4 | 9696.1 | 9720.8 | 9681.7 | 9632.1 | 10608.1 | 10609.1 | 10456.8 | 10453.9 | 10448.7 | 10444.4 | 9627.6 | 9605.7 | 9573.4 | 9556.8 | 9544.9 | 9552.9 | 10132 | 10137.3 | 10137.8 | 10132.8 | 10127.5 | 10102.7 | 9772.9 | 9765.5
Base ICAP Available | 10229.6 | 10229.6 | 10229.6 | 10220.7 | 11281 | 11263.4 | 11262.4 | 11262 | 11232.3 | 11236.1 | 10462.3 | 10455.9 | 10416.9 | 10443.4 | 10401.4 | 10348.1 | 11173.4 | 11174.5 | 11014.1 | 11011 | 11005.5 | 11001 | 10181.4 | 10158.3 | 10124.1 | 10106.5 | 10094 | 10102.4 | 10851.4 | 10857.1 | 10857.6 | 10852.3 | 10846.6 | 10820 | 10351.5 | 10343.7
Adjustment for Entry/Exit (ICAP MW) | 0 | 0 | 0 | 0 | -49.3 | -49.3 | -49.3 | -49.3 | -123.6 | -123.6 | -99.4 | -99.4 | 0 | 0 | 0 | 0 | 0 | 0 | 166.6 | 166.6 | 166.6 | 166.6 | 134.8 | 134.8 | 0 | 0 | 0 | 0 | 0 | -15.4 | -15.4 | -15.4 | -15.4 | -15.4 | -12.7 | -12.7
Hypothetical Zone J Qualifying Exit (ICAP MW) | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000
Scenario 1 ICAP Available | 9229.6 | 9229.6 | 9229.6 | 9220.7 | 10231.7 | 10214.1 | 10213.1 | 10212.7 | 10108.7 | 10112.5 | 9362.9 | 9356.5 | 9416.9 | 9443.4 | 9401.4 | 9348.1 | 10173.4 | 10174.5 | 10180.7 | 10177.6 | 10172.1 | 10167.6 | 10316.2 | 10293.1 | 10124.1 | 10106.5 | 10094 | 10102.4 | 10851.4 | 10841.7 | 10842.2 | 10836.9 | 10831.2 | 10804.6 | 10338.8 | 10331
Hypothetical Zone J Qualifying Exit | [22 empty] | -1000 | -1000
NYC Modification | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1000 | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NYC ICAP Total (Adjusted) | 9229.6 | 9229.6 | 9229.6 | 9220.7 | 10231.7 | 10214.1 | 10213.1 | 10212.7 | 10108.7 | 10112.5 | 9362.9 | 9356.5 | 9416.9 | 9443.4 | 9401.4 | 9348.1 | 10173.4 | 10174.5 | 10180.7 | 10177.6 | 10172.1 | 10167.6 | 9316.2 | 9293.1 | 10124.1 | 10106.5 | 10094 | 10102.4 | 10851.4 | 10841.7 | 10842.2 | 10836.9 | 10831.2 | 10804.6 | 10338.8 | 10331

## LI
LI WSR (NYISO Proposal) | 1.085
LI WSR (Unadjusted) | 1.063
LI 1 Year WSRs (NYISO Proposal) | 1.0911 | [11 empty] | 1.0938 | [11 empty] | 1.0715
LI 1 Year WSRs (Unadjusted) | 1.0911 | [11 empty] | 1.0269 | [11 empty] | 1.0715
UCAP Sales | Year 3 | [11 empty] | Year 2 | [11 empty] | Year 1
LI | 2016-06-01 | 2016-06-01 | 2016-06-01 | 2016-05-01 | 2016-04-01 | 2016-03-01 | 2016-02-01 | 2016-01-01 | 2015-12-01 | 2015-11-01 | 2015-10-01 | 2015-09-01 | 2015-08-01 | 2015-07-01 | 2015-06-01 | 2015-05-01 | 2015-04-01 | 2015-03-01 | 2015-02-01 | 2015-01-01 | 2014-12-01 | 2014-11-01 | 2014-10-01 | 2014-09-01 | 2014-08-01 | 2014-07-01 | 2014-06-01 | 2014-05-01 | 2014-04-01 | 2014-03-01 | 2014-02-01 | 2014-01-01 | 2013-12-01 | 2013-11-01 | 2013-10-01 | 2013-09-01
Locational EFORd | 7.27% | 7.27% | 7.27% | 7.27% | 9.02% | 9.02% | 9.02% | 9.02% | 9.02% | 9.02% | 7.83% | 7.83% | 7.83% | 7.83% | 7.83% | 7.83% | 8.28% | 8.28% | 8.28% | 8.28% | 8.28% | 8.28% | 7.65% | 7.65% | 7.65% | 7.65% | 7.65% | 7.65% | 7.37% | 7.37% | 7.37% | 7.37% | 7.37% | 7.37% | 6.84% | 6.84%
Base Generation UCAP | 5642.7 | 5642.7 | 5642.7 | 5642.7 | 5967 | 5967 | 5967 | 5967 | 5941.1 | 5941.1 | 5563.4 | 5563.4 | 5546.9 | 5546.9 | 5546.9 | 5546.9 | 6015.8 | 6015.8 | 6015.8 | 6001 | 6001 | 6001 | 5626.4 | 5626.4 | 5626.4 | 5626.4 | 5626.4 | 5626.4 | 6081.9 | 6081.9 | 6081.9 | 6078.4 | 6069.8 | 6069.8 | 5679.2 | 5679.2
SCR UCAP | 47.3 | 47.3 | 47.3 | 49 | 38.4 | 43.7 | 43.6 | 43.3 | 39.8 | 39.3 | 66.8 | 67.4 | 67.2 | 66.1 | 65.9 | 65.5 | 37.6 | 37.8 | 37.8 | 37.7 | 37.8 | 37.6 | 59.3 | 59.3 | 59.3 | 59.2 | 58.7 | 58 | 42.5 | 42.5 | 42.2 | 41.5 | 41.2 | 40.8 | 81.8 | 81.7
Base Total UCAP Available | 5690 | 5690 | 5690 | 5691.7 | 6005.4 | 6010.7 | 6010.6 | 6010.3 | 5980.9 | 5980.4 | 5630.2 | 5630.8 | 5614.1 | 5613 | 5612.8 | 5612.4 | 6053.4 | 6053.6 | 6053.6 | 6038.7 | 6038.8 | 6038.6 | 5685.7 | 5685.7 | 5685.7 | 5685.6 | 5685.1 | 5684.4 | 6124.4 | 6124.4 | 6124.1 | 6119.9 | 6111 | 6110.6 | 5761 | 5760.9
Base ICAP Available | 6136 | 6136 | 6136 | 6137.9 | 6600.7 | 6606.6 | 6606.5 | 6606.1 | 6573.8 | 6573.3 | 6108.4 | 6109.1 | 6091 | 6089.8 | 6089.6 | 6089.1 | 6599.8 | 6600 | 6600 | 6583.8 | 6583.9 | 6583.7 | 6156.6 | 6156.6 | 6156.6 | 6156.5 | 6156 | 6155.2 | 6611.6 | 6611.6 | 6611.3 | 6606.8 | 6597.2 | 6596.7 | 6183.9 | 6183.8
Adjustment for Entry/Exit (ICAP MW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hypothetical Zone K Qualifying Exit (ICAP MW) | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000 | -1000
Scenario 1 ICAP Available | 5136 | 5136 | 5136 | 5137.9 | 5600.7 | 5606.6 | 5606.5 | 5606.1 | 5573.8 | 5573.3 | 5108.4 | 5109.1 | 5091 | 5089.8 | 5089.6 | 5089.1 | 5599.8 | 5600 | 5600 | 5583.8 | 5583.9 | 5583.7 | 6156.6 | 6156.6 | 6156.6 | 6156.5 | 6156 | 6155.2 | 6611.6 | 6611.6 | 6611.3 | 6606.8 | 6597.2 | 6596.7 | 6183.9 | 6183.8
Hypothetical Zone K Qualifying Exit | [22 empty] | -1000 | -1000
LI Modification | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1000 | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LI ICAP Total (Adjusted) | 5136 | 5136 | 5136 | 5137.9 | 5600.7 | 5606.6 | 5606.5 | 5606.1 | 5573.8 | 5573.3 | 5108.4 | 5109.1 | 5091 | 5089.8 | 5089.6 | 5089.1 | 5599.8 | 5600 | 5600 | 5583.8 | 5583.9 | 5583.7 | 5156.6 | 5156.6 | 6156.6 | 6156.5 | 6156 | 6155.2 | 6611.6 | 6611.6 | 6611.3 | 6606.8 | 6597.2 | 6596.7 | 6183.9 | 6183.8