## Instructions
FERC-922 (OMB Control No. 1902-0262) Expiration Date: to be determined
The views expressed in this Information Collection Request do not represent the views of the Commission, the Chairman, or any Commissioner.
Structure of the Information Collection Request
There are three groups of Metrics in this Information Collection Request
Group 1: Administrative and Descriptive Metrics
All reporting entities should answer these metrics
These metrics are identified by yellow shading in the title row of the worksheet and on the worksheet tabs
Group 2: Energy Market Metrics
All RTOs/ISOs should answer these metrics
These metrics are identified by green shading in the title row of the worksheet and on the worksheet tabs
Group 3: Capacity Market Metrics
The four RTOs/ISOs with forward capacity markets should answer these metrics
These metrics are identified by blue shading in the title row of the worksheet and on the worksheet tabs
Contact Information
Please complete the following text fields before entering any data in subsequent worksheets.
Balancing Authority Area Name: |  | NYISO
Name of the Contact Person |  | Shaun Johnson
Phone Number of the Contact Person |  | 518-356-5000
Email address of the Contact Person |  | sjohnson@nyiso.com
Data Reporting Period
Respondents (utilities and RTOs/ISOs) without centralized capacity markets should enter the first calendar year of the five reporting periods.
RTOs/ISOs with centralized capacity markets should enter the four-digit year of the first delivery period of the five reporting periods.
For example, if June 2014 is the start of the first delivery period, enter 2014
YEAR
Enter first reporting period (enter a 4 digit year in YYYY format) |  | 2014
Expiration Date
To be Determined
Where to Send Comments on Public Reporting Burden
The burden for the FERC-922 is estimated to average 402 hours per response, including the time for reviewing instructions,
searching existing data sources, gathering and maintaining the data, and completing and reviewing the collection of information.
Send comments regarding the burden estimate or any aspect of the collection of information, including suggestions for reducing
burden, to the Federal Energy Regulatory Commission, 888 First Street NE, Washington, DC 20426 (Attention: Information Clearance Officer);
and to the Office of Information and Regulatory Affairs, Office of Management and Budget, Washington, DC 20503 (Attention: Desk Officer
for the Federal Energy Regulatory Commission). No person shall be subject to any penalty if any collection of information does not display
a valid control number (44 U.S.C. § 3512 (a)).

## #1 Reserve Margins
| Balancing Authority Area Respondent Name: | NYISO
Group 1: Metric #1 Reserve Margins
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
1 | Forecasted Peak Demand (MW). Enter the value of the forecasted net coincident peak load (actual peak, not normalized) integrated over the peak hour; net of behind-the-meter photovoltaic and energy efficiency for the entire Balancing Authority Area for the given reporting period. For some RTOs/ISOs, this number may have been determined prior to an initial capacity auction. | 33666 | 33567 | 33359 | 33178 | 32903
1.01 | Publication Date of the Forecasted Peak Demand. Enter the date in MM/YYYY format of the last binding capacity auction or the date of the forecast from the most recent planning process at which time the peak demand was forecasted. | 2013-12-01 | 2014-12-01 | 2015-12-01 | 2016-12-01 | 2017-12-01
1.02 | Total Anticipated Installed Capacity (MW). Enter the amount of capacity expected to be available for the entire Balancing Authority Area at the time the Forecasted Peak Demand was calculated for the reporting period. This is the cleared capacity in the binding auction for ISOs/RTOs with a capacity market. For IOUs and RTOs/ISOs without capacity markets use the generation estimate used for the planning process (e.g., Resource Adequacy, etc.) | 41297 | 41610 | 41552 | 40799 | 42257
1.03 | Publication Date of the Estimate of the Total Anticipated Installed Capacity. Enter the date in MM/YYYY format. (This may be the same date as the Date of Forecasted Peak Demand) | 2014-04-01 | 2015-04-01 | 2016-04-01 | 2017-04-01 | 2018-04-01
1.04 | Anticipated Reserve (MW). The value for Anticipated Reserves for the entire Balancing Authority Area for the given reporting period is calculated as [Total Anticipated Installed Capacity – Forecasted Peak Demand]. (Automatically calculated) | 7631 | 8043 | 8193 | 7621 | 9354
1.05 | Anticipated Reserve Margin (%). The Anticipated Reserve Margin is the ratio of the amount of anticipated reserves in relation to the forecasted demand, calculated as [(Total Anticipated Installed Capacity – Forecasted Peak Demand) / Forecasted Peak Demand]. (Automatically calculated) | 0.22667 | 0.23961 | 0.2456 | 0.2297 | 0.28429
1.06 | Actual Peak Demand (MW). Enter the value of the net coincident peak load (actual peak, not normalized) integrated over the peak hour; net of behind-the-meter photovoltaic and energy efficiency for the entire Balancing Authority Area for the given reporting period. | 29782 | 31139 | 32075 | 29699 | 31861
1.07 | Total Available Installed Capacity (MW). Enter the amount of capacity that was available for the entire Balancing Authority Area at the time the Actual Peak Demand was realized during the reporting period. This is the available capacity at the time of the Actual Peak Demand. | 41984 | 41712 | 41833 | 42850 | 42043
1.08 | Date of the Actual Peak Demand. Enter the date in DD/MM/YYYY format. | 2014-09-02 | 2015-07-29 | 2016-08-11 | 2017-07-19 | 2018-08-29
1.09 | Actual Reserve (MW). The value for the actual reserves for the entire Balancing Authority Area for the given reporting period calculated as [Total Actual Installed Capacity – Actual Peak Demand]. (Automatically calculated) | 12202 | 10573 | 9758 | 13151 | 10182
1.1 | Actual Reserve Margin (%). The actual reserve margin is the ratio of the amount of reserves procured for a specific reporting period, calculated as [(Total Actual Installed Capacity – Actual Peak Demand) / Actual Peak Demand]. (Automatically calculated) | 40.97% | 33.95% | 30.42% | 44.28% | 31.96%
1.11 | Adjustment methodology. Describe your adjustment methodology by technology. | Not Applicable
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
| Available Generating Capability at Peak | 38665 | 39141 | 38816 | 39125 | 39199
| Actual SCRs | 1189 | 1124 | 1248 | 1192 | 1219
| Actual Net Capacity Purchases | 2130 | 1447 | 1769 | 2533 | 1625
| Total | 41984 | 41712 | 41833 | 42850 | 42043

## #2 Heat Rates
| Balancing Authority Area Respondent Name: | NYISO
Group 1: Metric #2 Average Heat Rates
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
2 | Average Heat Rate of Oil-fired Steam Generation (Btu/kWh). | 9827.5841 | 9829.5264 | 9836.5544 | 9837.4353 | 9831.7755
2.01 | Average Heat Rate of Natural Gas-fired Steam Generation (Btu/kWh). | 9978.3935 | 10046.2711 | 9995.1606 | 10144.787 | 10053.3824
2.02 | Average Heat Rate of Coal-fired Generation (Btu/kWh). | 9855.9789 | 10009.2009 | 9743.1699 | 9667.7706 | 9588.649
2.03 | Average Heat Rate of Combustion Turbine Generation (Btu/kWh). | 9794.0587 | 9914.717 | 9945.7674 | 9798.3443 | 9991.6724
2.04 | Average Heat Rate of Combined Cycle Generation (Btu/kWh). | 7901.728 | 7911.9859 | 8129.6245 | 8077.6559 | 8281.9161
2.05 | Explanatory Text. Explanations, for example, if you haven't used the primary fuel for dual-fuel units, please explain. | Not Applicable
〖𝐻𝑅〗_𝑇= (∑24_(𝑖=1)^𝑛▒(〖𝐻𝑅〗_𝑖∗ 〖𝑀𝑊ℎ〗_𝑖 ) )/(∑24_(𝑖=1)^𝑛▒〖𝑀𝑊ℎ〗_𝑖 )
MWhi - Total Production of Resource i

## #3 Fuel Diversity
| Balancing Authority Area Respondent Name: | NYISO
Group 1: Metric #3 Fuel Diversity
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Summer Capacity Rating by Fuel Type (MW)
3 | Biomass | 476 | 479.5 | 381.3 | 346 | 350.4
3.01 | Coal | 1495.1 | 1468.6 | 1017.3 | 1010.5 | 979.4
3.02 | Geothermal | 0 | 0 | 0 | 0 | 0
3.03 | Natural Gas | 20878 | 21464.8 | 21999 | 22117.4 | 22408.5
3.04 | Other Fuel | 0 | 0 | 0 | 0 | 0
3.05 | Petroleum Products | 2538.6 | 2660.2 | 2577.9 | 2499.1 | 2494.4
3.06 | Solar | 31.5 | 31.5 | 31.5 | 31.5 | 31.5
3.07 | Nuclear (All Fuel Types) | 5418.3 | 5400 | 5401.5 | 5375.3 | 5401.6
3.08 | Water (Hydro) | 4272.1 | 4292 | 4315 | 4251.2 | 4251.9
3.09 | Pumped / Hydro Storage | 1406.1 | 1407.2 | 1405.7 | 1406.8 | 1408.6
3.1 | Wind | 1462.6 | 1460.7 | 1446.3 | 1739.5 | 1739.2
3.11 | Battery | 0 | 0 | 0 | 0 | 0
Total Energy Generated by Fuel Type (MWh)
3.12 | Biomass | 3194000 | 3029000 | 2877000 | 2918000 | 2729000
3.13 | Coal | 4325000 | 2046000 | 1493000 | 567000 | 692000
3.14 | Geothermal | 0 | 0 | 0 | 0 | 0
3.15 | Natural Gas | 59585000 | 61764000 | 60237000 | 50832000 | 55120000
3.16 | Other Fuel | 849000 | 825000 | 836000 | 795000 | 811000
3.17 | Petroleum Products | 182000 | 146000 | 136000 | 74000 | 152000
3.18 | Solar | 51000 | 52000 | 54000 | 47000 | 49000
3.19 | Nuclear (All Fuel Types) | 43041000 | 44620000 | 41638000 | 42175000 | 43003000
3.2 | Water (Hydro) | 25974000 | 25879000 | 26314000 | 29554000 | 29045000
3.21 | Wind | 3986000 | 3984000 | 3943000 | 4219000 | 3985000
3.22 | Explanatory Text. Add any explanatory text if necessary | Notes: Biomass includes methane, refuse, and wood. Natural Gas includes all generation from dual fuel (gas & oil) units. Petroleum Products shows generation from oil only units. Other Fuel in 3.16 shows generation from pumped storage units. "Summer Capacity" means the Net Summer Capacity rating as defined by the Energy Information Administration (EIA). Note: There is no row for Energy Generated (MWh) by Fuel Type for the Pumped Storage and Battery Categories

## #4 Capacity Factor
Balancing Authority Area Respondent Name: |  |  | NYISO
Group 1: Metric #4 Capacity Factor by Technology Type
|  | Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
| Technology / Fuel Type | Units | Capacity Factor* | Capacity Factor* | Capacity Factor* | Capacity Factor* | Capacity Factor*
4 | Coal (All types) | All sizes | 33.02% | 15.9% | 16.71% | 6.402% | 8.069%
4.01 | Oil (Steam) | All sizes | 0.6515% | 0.4707% | 0.2359% | 0.2533% | 0.3391%
4.02 | Natural Gas (Steam) | All sizes | 16.14% | 15.44% | 14.41% | 10.12% | 11.82%
4.03 | Gas / Oil Turbine | All sizes | 8.198% | 7.61% | 7.971% | 4.661% | 5.641%
4.04 | Combined Cycle | All sizes | 55.6% | 58.14% | 55.61% | 49.99% | 51.97%
4.05 | Nuclear (All Fuel Types) | All sizes | 90.69% | 94.33% | 87.75% | 89.57% | 90.87%
4.06 | Hydro | All sizes | 69.41% | 68.83% | 69.42% | 79.36% | 77.98%
4.07 | Wind | All sizes | 31.1% | 31.13% | 31.04% | 27.68% | 26.16%
4.08 | Solar | All sizes | 18.19% | 18.55% | 19.21% | 16.77% | 17.48%
4.09 | Explanatory Text. Add any explanatory text if necessary |  | * Note: The capacity factor will range between 0 and 1. For example, a value of 0.89 indicates a capacity factor of 89 percent.

## #5 EEA Hours
| Balancing Authority Area Respondent Name: | NYISO
Group 1: Metric #5 Emergency Energy Alerts (EEA Level 1 or Higher)
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
5 | Number of EEAs (Level 1 or higher) (Integer). Report the number of recognized EEAs during the reporting period. If an alert escalates from a lower level to a higher level (e.g., a Level 1 converts to a Level 2 or 3), report as one event. | 1 | 0 | 1 | 0 | 0
5.01 | Number of EEA Hours (HH:MM). Report the sum of hours in which any level of an EEA occurred during the reporting period. Report a number in the form HH:MM where HH is the number of hours and MM is the number of minutes. | 6 | 0 | 5.05 | 0 | 0
5.02 | Amount of Load Shed during EEA Alerts (MWh). Report the total MWh of load that were shed during the EEAs in the reporting period. (Do not report the amount of interruptible load terminated due to emergency conditions). | 0 | 0 | 0 | 0 | 0
5.03 | Explanatory Text. Add any explanatory text if necessary. | Not Applicable

## #6 Performance During EEA
Balancing Authority Area Respondent Name: |  |  | NYISO
Group 1: Metric #6 Performance by Technology Type during EEA Level 1 or Higher
|  | Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
| Technology / Fuel Type | Units | Performance | Performance | Performance | Performance | Performance
6 | Coal (All types) | All sizes | 93.92% | 0% | 76.64% | 0% | 0%
6.01 | Oil (Steam) | All sizes | 47.09% | 0% | 21.85% | 0% | 0%
6.02 | Natural Gas (Steam) | All sizes | 66.6% | 0% | 79.88% | 0% | 0%
6.03 | Gas / Oil Turbine | All sizes | 55.94% | 0% | 77.62% | 0% | 0%
6.04 | Combined Cycle | All sizes | 77.57% | 0% | 93.28% | 0% | 0%
6.05 | Nuclear (All Fuel Types) | All sizes | 80.79% | 0% | 99.35% | 0% | 0%
6.06 | Hydro | All sizes | 83.71% | 0% | 65.33% | 0% | 0%
6.07 | Wind | All sizes | 72.74% | 0% | 42.56% | 0% | 0%
6.08 | Solar | All sizes | 3.288% | 0% | 62.45% | 0% | 0%
6.09 | Explanatory Text. Add any explanatory text if necessary |  | Not Applicable
* 100
𝑇_𝑘= ((∑24_(𝑖=1)^𝑁▒〖𝑀𝑊〗_𝑖𝑘 )/〖𝑃𝑚𝑎𝑥〗_𝑖𝑘 )/𝑁 * 100

## #7 Resource Availability
Balancing Authority Area Respondent Name: |  |  | NYISO
Group 1: Metric #7 Resource Availability (EFORd)
|  |  | 2014 | 2015 | 2016 | 2017 | 2018
| Technology / Fuel Type | Units | EFORd | EFORd | EFORd | EFORd | EFORd
7 | Coal (All types) | All sizes | 6.5467 | 8.1133 | 31.026 | 10.3167 | 16.91
7.01 | Oil (Steam) | All sizes | 2.9793 | 2.6743 | 7.4964 | 4.0355 | 6.7964
7.02 | Natural Gas (Steam) | All sizes | 7.073 | 5.0313 | 4.4629 | 6.7424 | 3.9428
7.03 | Gas / Oil Turbine | All sizes | 12.5632 | 16.3295 | 13.6618 | 10.7369 | 12.0697
7.04 | Combined Cycle | All sizes | 6.3535 | 2.9581 | 2.7596 | 2.1752 | 1.471
7.05 | Nuclear (All Fuel Types) | All sizes | 2.9617 | 1.9283 | 1.5667 | 6.4033 | 3.0333
7.06 | Hydro | All sizes | 48.17 | 46.2254 | 48.571 | 48.9213 | 44.1887
7.07 | Wind | All sizes | 84.9765 | 84.4139 | 83.2361 | 80.2756 | 80.9331
7.08 | Solar | All sizes | 52.75 | 48.24 | 50.44 | 47.9 | 52.4
7.09 | Explanatory Text. Add any explanatory text if necessary. |  | Methodology Unit and fuel characteristics defined in the NYISO Load & Capacity Data Report ("Gold Book", 2014 - 2018) Table III-2 - Existing Generating Facilities. Totals were derived by cross referencing unit EFORd's in ICAP AMS database. 7.00: Fuel Type 1 = "BIT" 7.01: Unit Type = "ST", Fuel Type 1 = "FO6" 7.02: Unit Type = "ST", Fuel Type 1 = "NG" 7.03: Unit Type = "CG", "GT", "JE", "IC" 7.04: Generation Type ID = 2 7.05: Generation Type ID = 5 7.06: Generation Type ID = 3 7.07: Generation Type ID = 6 7.08: Generation Type ID = 10 Source Data - https://www.nyiso.com/library --> Planning Reports - https://icap.nyiso.com/ucap/

## #8 RMR Capacity
| Balancing Authority Area Respondent Name: | NYISO
Group 2: Metric #8 Number and Capacity of Reliability Must-Run Units
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
8 | Number of RMR Units (Integer). Number of generation units under reliability must-run (RMR) or equivalent contracts in each reporting period. Please note that RTOs and ISOs use various terms to refer to such arrangements, e.g., “System Support Resources” in MISO. For the purposes of this report, such arrangements are collectively referred to as RMR. (RMR refers to "out of market" contracts for specific generation units in the organized markets.) | NA | NA | NA | NA | NA
8.01 | Total Capacity of RMR Units (MW). Sum of the Nameplate capacity of the generation units under RMR or equivalent contracts for each reporting period. | NA | NA | NA | NA | NA
8.02 | Total Available Installed Capacity (MW). (Automatically copied from Metric 1) | 41984 | 41712 | 41833 | 42850 | 42043
8.03 | RMR MW as Percent of Total Available Installed Capacity (%). The Total Capacity of RMR units as a percentage of the Total Available Installed Capacity of the Balancing Authority Area. (Automatically calculated) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
8.04 | Explanatory Text. Add any explanatory text if necessary | The NYISO has not implemented any reliability must run agreements with any generation units or capacity suppliers. As a result, the values for the reporting period 2014-2018 reflect a zero balance.

## #9 RMR Contract
| Balancing Authority Area Respondent Name: | NYISO
Group 2: Metric #9 Reliability Must-Run Contract Usage
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
9 | Hours RMR Units Were Used (Integer). Number of unit hours that generation units under reliability must-run (RMR) or equivalent contracts were called upon. | NA | NA | NA | NA | NA
9.01 | Total MWh Provided by RMR Units (Integer). Sum of the MWh that all RMR units provided in each reporting period. | NA | NA | NA | NA | NA
9.02 | Total Cost of RMR Units ($). Sum of the costs of all RMR contracts for each reporting period. | 0 | 0 | 0 | 0 | 0
9.03 | Explanatory Text. Add any explanatory text if necessary | The NYISO has not implemented any reliability must run agreements with any generation units or capacity suppliers. As a result, the values for the reporting period 2014-2018 reflect a zero balance.

## #10 Demand Response
| Balancing Authority Area Respondent Name: | NYISO
Group 2: Metric #10 Demand Response Capability
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
10 | Total MWh of Demand Response (MWh). MWh of Demand Response resources in each reporting period. (Includes RTO/ISO-registered and controlled demand response. See the User Guide for instructions.) | 1210.72 | 1325.34 | 1266.7 | 1236.9 | 1314.56
10.01 | Total Available Installed Capacity (MW). (Automatically copied from Metric 1) | 41984 | 41712 | 41833 | 42850 | 42043
10.02 | Demand Response Resources as a Percent of Total Available Installed Capacity (%). The Total MW of Demand Response as a percentage of the Total Available Installed Capacity of the Balancing Authority Area. (Automatically calculated) | 0.028838 | 0.031774 | 0.03028 | 0.028866 | 0.031267
10.03 | Actual Peak Demand (MW). (Automatically copied from Metric 1) | 29782 | 31139 | 32075 | 29699 | 31861
10.04 | Demand Response Resources as a Percent of Actual Peak Demand (%). The Total MW of Demand Response as a percentage of the Actual Peak Demand in the Balancing Authority Area. (Automatically calculated) | 0.040653 | 0.042562 | 0.039492 | 0.041648 | 0.041259
10.05 | Explanatory Text. Provide any additional information if necessary. | NA

## #11 UnitHours Mtgted
| Balancing Authority Area Respondent Name: | NYISO
Group 2: Metric #11 Unit Hours Mitigated
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
11 | Number of Unit Hours With Active Mitigation (Day-ahead) (Integer). Provide the number of unit hours in each reporting period that any generation unit(s) offer was mitigated in the day-ahead energy market. | 657 | 1199 | 921 | 1214 | 1216
11.01 | Number of Unit Intervals With Active Mitigation (Real-time) (Integer). Provide the number of unit intervals in each reporting period that any generation unit(s) was mitigated in the real-time energy market. | 1419 | 1725 | 1196 | 4920 | 16840
11.02 | Percent of Unit Hours With Active Mitigation (Day-ahead) (%). Calculate the fraction of unit hours in each reporting period that any generation unit(s) offer cap in the day-ahead energy market was set due to mitigation and report that as a percent of the number of all unit hours. (Automatically calculated) | 7.5% | 13.69% | 10.48% | 13.86% | 13.88%
11.03 | Percent of Unit Intervals With Active Mitigation (Real-time) (%). Calculate the fraction of unit intervals in each reporting period that any generation unit(s) offer cap in the real-time market was set due to mitigation and report that as a percent of the number of all unit hours. (Automatically calculated) | 1.35% | 1.641% | 1.135% | 4.68% | 16.02%
11.04 | Explanatory Text. Provide any additional information if necessary. | While the NYISO has numerous types of mitigation, the mitigation data utilized in these calculations solely pertains to day-ahead and real-time incremental energy mitigation. The auto-calculation for 11.03 Percent of Unit Intervals With Active Mitigation (Real-time( (%) was adjusted to account for the number of real-time intervals in our market where incremental energy mitigation may be applied (5 minute intervals). Additionally, a technical issue resulted in real-time mitigation data from January 2016 through April 2016 to be unavailable. This data collection issue did not impact the NYISO's application of the mitigation provisions in our tariffs for this period. All other data for this metric is complete.

## #12 Wholesale Power
| Balancing Authority Area Respondent Name: | NYISO
Group 2: Metric #12 Wholesale Power Costs by Charge Type
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Net Energy (MWh)
12 | Net Energy for Load. Total generation plus imports minus exports minus losses. From FERC Form No. 714, Schedule 3, Balancing Authority Net Energy for Load and Peak Demand Sources by Month, Net Energy for Load, Column (e), sum the entries in column (e) for the months in the reporting period (Lines 1-12). To compute the Net Energy for Load for a Reporting Period which spans calendar years, you will need to include months from another annual Form No. 714. See User Guide. | 160024764 | 161572341 | 160798154 | 156370004 | 161114468
Wholesale Power Cost Components ($)
12.01 | Energy Component of Total Wholesale Power Cost ($). Report the total energy component (including system marginal price, congestion and losses) of wholesale power costs paid by load and exports for each reporting period. This component is the real-time load weighted average locational marginal price. | -5427403709.97 | -3632484905.91 | -2943880130.15 | -2979206117.86 | -4058180156.6
12.02 | Capacity Component of Total Wholesale Power Cost ($). Report the total capacity component of wholesale power costs paid by load for each reporting period. If your RTO/ISO does not have a centralized capacity market enter zero. | NA | NA | NA | NA | NA
12.03 | Transmission Component of Total Wholesale Power Cost ($). Report the total FERC-approved Transmission Charges paid by load for each reporting period. | -105980019.161 | -104006853.8504 | -134256656.7453 | -123513776.9868 | -137704154.4109
12.04 | Ancillary Service Component of Total Wholesale Power Cost ($). Report the total ancillary service component of wholesale power costs paid by load for each reporting period. Include the cost for all ancillary services such as black start, reactive power etc. that are not included in the Operating Reserve charge type. | -70714513.0359 | -74469109.9288 | -72198730.6746 | -74109210.1823 | -88456424.3842
12.05 | Operating Reserves Component of Total Wholesale Power Cost ($). Report the total operating reserves component of wholesale power costs paid by load for each reporting period. Include costs for ancillary services, such as regulation, spinning and non-spinning reserves, and ramp products. | -93590267.1575 | -81358432.2352 | -137480508.2168 | -119329694.1656 | -130514980.3628
12.06 | RTO and Regulatory Fee Component of Total Wholesale Power Cost ($). Report the total RTO cost and regulatory fee component of wholesale power costs paid by load for each reporting period. Include charges to NERC/Reliability organizations (including Reliability Entity fees), RTO startup and expansion fees, etc. | -113714695.4908 | -116416037.8564 | -145878741.9147 | -152503888.7423 | -155447814.3932
12.07 | Other Cost Component of Total Wholesale Power Cost ($). If the RTO accounts for cost categories that are not included in the above list (i.e., uplift charges), please report those costs here and describe the cost category in the Explanatory Text category below. Note, for example, that the PJM Balancing Operating Reserve credit and Day Ahead Operating Reserve credit are included in this line. | -22859717.8552 | 11804408.105 | 23970352.4384 | 44057813.7627 | 31788116.3046
12.08 | Total Wholesale Power Cost ($). The worksheet calculates the total wholesale power cost paid by load for each reporting period in dollars by summing the cost components in lines 12.01 through 12.07. (Automatically calculated) | -5834262922.6704 | -3996930931.6758 | -3409724415.2629 | -3404604874.1742 | -4538515413.8465
12.09 | Explanatory Text. Please report any unusual events that provide context to this metric. For instance, the expansion of the RTO/ISO footprint may explain changes in the capacity costs. | The values reported in 12.00 differ from the values reported in Column e of Part II Schedule 3 of the FERC Form 714 (FF714) report in two ways. First, 12.00 includes generation plus imports minus exports minus losses. Column e (FF714) includes generation plus imports minus exports, and does not subtract losses. Second, the values are read from different metering systems. 12.00 is read from the settlements metering system, while Column e (FF714) is based on operational telemetry metering. The values for 12.02 are not available as the NYISO does not record the capacity components of total wholesale power. The values paid by load is not information recorded by the NYISO but rather held by the individual transmission owners.
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Wholesale Power Cost Components ($/MWh)
12.1 | Energy Component of Total Wholesale Power Cost (Automatically calculated) | 0.93026 | 0.90882 | 0.86338 | 0.87505 | 0.89416
12.11 | Capacity Component of Total Wholesale Power Cost (Automatically calculated) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
12.12 | Transmission Component of Total Wholesale Power Cost (Automatically calculated) | 0.018165 | 0.026022 | 0.039375 | 0.036278 | 0.030341
12.13 | Ancillary Service Component of Total Wholesale Power Cost (Automatically calculated) | 0.012121 | 0.018632 | 0.021174 | 0.021767 | 0.01949
12.14 | Operating Reserves Component of Total Wholesale Power Cost (Automatically calculated) | 0.016041 | 0.020355 | 0.04032 | 0.035049 | 0.028757
12.15 | RTO/ISO and Regulatory Fee Component of Total Wholesale Power Cost (Automatically calculated) | 0.019491 | 0.029126 | 0.042783 | 0.044793 | 0.034251
12.16 | Other Cost Component of Total Wholesale Power Cost (Automatically calculated) | 0.0039182 | -0.0029534 | -0.00703 | -0.012941 | -0.0070041
12.17 | Total Wholesale Power Cost (Automatically calculated) | 1 | 1 | 1 | 1 | 1

## #13 Price Cost Markup
| Balancing Authority Area Respondent Name: | NYISO
Group 2: Metric #13 Price Cost Markup
t = hours in reporting period (e.g., 8,784 hours * 12 five-minute intervals in a leap year or 8,760 hours * 12 five-minute intervalsin other years) Pi = Real-Time price-based offer in hour i Ci = Real-Time cost-based offer in hour i PC = Price Cost Markup
Calculate two supply curves for each five-minute interval of the real-time market in the reporting period. The first curve (price curve) is based on the offer used in the price formation for that interval. The second curve (cost curve) is based on the default bid of the unit for that interval. For each curve, starting at the lowest cost offers, aggregate the MWs of the curves until the aggregated MW value equals the real-time demand for that interval. The intersection of the demand curve with the supply curves provides two prices.
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
13 | Average of the Price Cost Margin ($). Report the average price cost markup of all of the hours. | -6.7467 | -2.6277 | -2.3744 | 0.048192 | -1.1027
13.01 | Top Ten Percent of the Price Cost Margin ($). Report the average price cost markup of the highest price 10 percent of the hours. | -34.932 | -3.5311 | 0.28152 | 3.9582 | 4.1052
13.02 | Bottom Ten Percent of the Price Cost Margin ($). Report the average price cost markup of the lowest price 10 percent of the hours. | -7.1523 | -11.6317 | -13.5324 | -12.8155 | -10.6823
13.03 | Explanatory Text. Explain any variations from this formula, e.g., the RTO/ISO used the difference of Pi and Ci for the marginal resource for each five minute interval. | PC is calculated as the average of the difference of Pi and Ci of the marginal resource in each five-minute real-time dispatch (RTD) interval. There are often multiple marginal units for the NYCA in each five minute interval; as such all averages may account for multiple marginal units in each interval, therefore multiple price differences and multiple associated LBMPs in each interval when applicable. The top 10% and bottom 10% priced intervals were determined by ranking all RTD Time-Weighted Interval (TWI) LBMPs, which are zonal and weighted to the hourly level, associated with each marginal unit in each RTD interval from highest to lowest. Note: This calculation does not account for physical restrictions on units, transmission constrains or ramping restrictions.
| Narrative: | There is an evident difference in the data for 2014 as compared to 2015 – 2018. This difference is being driven by large differences between generator bid prices and generator reference prices during the time of the 2014 North American cold wave which extended from January 2014 through April 2014. During this extreme weather period, generator reference prices on units that were marginal tended to be sustainably higher than bid prices in many instances. More specifically, due to very high fuel prices, generator reference prices were quite high, even exceeding $1000, while generator bids were capped at $1000. Furthermore, these high reference prices may also account for the opportunity cost associated with ensuring that generators capable of burning oil would also not burn up all of their oil so that these units would be available for reliability purposes. There are also likely to have been some instances where generators were able to procure lower costs fuels during certain hours in the real-time market, therefore submitting lower priced bids against higher reference values associated with their default fuel. In June 2014, market participants became able to submit fuel costs adjustments in the day-ahead market, which could have also contributed to larger differences between bids and references in real-time in the first half of 2014.
𝑃𝐶= (∑24_(𝑖=1)^𝑁▒〖(𝑃_𝑖 − 𝐶_𝑖)〗)/𝑡

## #14 Fuel Adj Price
| Balancing Authority Area Respondent Name: | NYISO
Group 2: Metric #14 Fuel-Adjusted Wholesale Energy Price
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
14 | System-wide LMP ($). Provide the average real-time LMP for the reporting period. | 52.5101 | 33.8058 | 25.6744 | 27.9128 | 35.1537
14.01 | Reference Year (YYYY). Report the reference year for the fuel price adjustment. | 2018 | 2018 | 2018 | 2018 | 2018
14.02 | Fraction of Hours that Natural Gas was the Marginal Fuel. For purposes of this metric, estimate the fraction of hours in the reporting period that natural gas was the marginal fuel. Report the fraction with two decimal places. | 0.7427 | 0.78028 | 0.81985 | 0.87414 | 0.86676
14.03 | Fraction of Hours that Coal was the Marginal Fuel. For purposes of this metric, estimate the fraction of hours in the reporting period that coal was the marginal fuel. Report the fraction with two decimal places. | 0.025521 | 0.0090192 | 0.007197 | 0.0015246 | 0.00079846
14.04 | Fuel Adjustment Factor Natural Gas. Calculate the natural gas price adjustment for each reporting period compared to the Reference Year. Report the fraction with two decimal place. | 1.4844 | 0.89209 | 0.52518 | 0.71942 | 1
14.05 | Fuel Adjustment Factor Coal. Calculate the coal price adjustment for each reporting period compared to the Reference Year. Report the fraction with two decimal places. | 1.3954 | 1.2312 | 0.98414 | 0.95169 | 1
14.06 | Fuel-Adjusted Wholesale Price ($). The spreadsheet will automatically calculate the adjustment based on the equation above. (Automatically calculated) | 71.9317 | 31.0298 | 15.6769 | 21.0648 | 35.1537
14.07 | Explanatory Text. Explain any variations from this formula, e.g., unable to estimate the fraction of hours that a fuel was marginal. | 14.00 - System-wide LMP ($) is calculated as the average of our real-time time weighted interval (TWI) LBMP across all zones for each year. 14.01 and 14.02 are calculated as the fraction of real-time intervals marginal for the respective fuel type. Since it is possible to have more than one marginal unit in each interval, the marginal unit with the highest fuel cost was selected as "the marginal unit". For example, in an interval with two marginal units, one a natural gas unit and another a wind unit, the natural gas unit would be selected as "the marginal unit" due to its higher fuel cost (that of wind being zero). The same methodology is applied to compare all other fuel types. Units with dual fuel types are counted towards the natural gas units if their fuel mix is greater than 50% natural gas. 14.04 - Fuel Adjustment Factor Natural Gas is based on pricing for natural gas from Transco Z6. 14.05 - Fuel Adjustment Factor Coal is based on pricing for coal from SNL for the Northern Appalachia region, which includes pricing for Pittsburgh Seam 13000 3.00 Rail, Pittsburgh Seam 13000 4.00 Rail, and Upper Ohio River 12500.00 Barge. The $/ton values provided were converted to $/mmbtu using the average heat content of coal for the Electric Power Sector (sourced from EIA) for years 2014 through 2018. A single average heat content for the entire period is used. From here, the minimum of the three pricing options for day in each year was selected as the representative price for marginal coal units in our data.
𝑃_𝑎𝑑𝑗=𝐿𝑀𝑃[(𝐹_𝑔𝑎𝑠∗〖𝐴𝑑𝑗〗_𝑔𝑎𝑠 )+(𝐹_𝑐𝑜𝑎𝑙∗〖𝐴𝑑𝑗〗_𝑐𝑜𝑎𝑙 )]

## #15 Price Convergence
| Balancing Authority Area Respondent Name: | NYISO
Group 2: Metric #15 Energy Market Price Convergence
Compute this metric four different ways using these two values, the load-weighted average of real time prices and the load-weighted average of day-ahead prices.
Equation 1: |  | Equation 3:
Equation 2: |  | Equation 4:
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
15 | Equation 1 ($/MWh). Load weighted average of price differences between DA and RT market. See Equation 1. | -2.5786 | -0.23235 | 0.21168 | -0.35301 | 0.7974
15.01 | Equation 2 ($/MWh). Load weighted average of absolute value of price differences. See Equation 2. | 20.7696 | 14.5556 | 12.0827 | 11.2453 | 13.6252
15.02 | Equation 3 ($/MWh). Load weighted average of quotient of price difference and DA price. See Equation 3. | -0.033582 | 0.018238 | -0.0076148 | -0.008829 | 0.0090191
15.03 | Equation 4 ($/MWh). Load weighted average of absolute value of quotient of price difference and DA price. See Equation 4. | 0.30932 | 0.39996 | 0.40328 | 0.37607 | 0.33585
15.04 | Explanatory Text. Provide any additional information if necessary. | Based on discussions with FERC Staff about this metric, the NYISO believes a summation may be misplaced in the equations provided. The NYISO re-displayed the formulas in red and used them with our data to arrive at the responses for 15.00 - 15.03. In 2017, there were four instances where day ahead prices were = $0, and in 2018, there were 63 instances where day ahead prices were = $0; these intervals were removed from the calculations of equations 3 & 4.
Zonal Convergence (optional)
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
15.05 | Zone Name
15.06 | Equation 1 ($/MWh). Load weighted average of price differences between DA and RT market. See Equation 1. | 0 | 0 | 0 | 0 | 0
15.07 | Equation 2 ($/MWh). Load weighted average of absolute value of price differences. See Equation 2. | 0 | 0 | 0 | 0 | 0
15.08 | Equation 3 ($/MWh). Load weighted average of quotient of price difference and DA price. | 0 | 0 | 0 | 0 | 0
15.09 | Equation 4 ($/MWh). Load weighted average of absolute value of quotient of price difference and DA price. | 0 | 0 | 0 | 0 | 0
Add Zone
𝑖=ℎ𝑜𝑢𝑟𝑠 𝑖𝑛 𝑟𝑒𝑝𝑜𝑟𝑡𝑖𝑛𝑔 𝑦𝑒𝑎𝑟 (𝑒.𝑔., 8,784 ℎ𝑜𝑢𝑟𝑠 𝑖𝑛 𝑙𝑒𝑎𝑝 𝑦𝑒𝑎𝑟𝑠 𝑎𝑛𝑑 8,760 ℎ𝑜𝑢𝑟𝑠 𝑖𝑛 𝑜𝑡ℎ𝑒𝑟 𝑦𝑒𝑎𝑟𝑠)
∑24_(𝑖=1)^𝑛▒〖𝑀𝑊〗_𝑖/𝑀𝑊∗ ∑24_(𝑘=1)^𝑛▒((〖𝑅𝑇〗_𝑖𝑘−〖𝐷𝐴〗_𝑖𝑘 ) 〖𝑀𝑊〗_𝑖𝑘)/(∑24_(𝑘=1)^𝑛▒〖𝑀𝑊〗_𝑖𝑘 )
∑24_(𝑖=1)^𝑛▒〖𝑀𝑊〗_𝑖/𝑀𝑊∗ ∑24_(𝑘=1)^𝑛▒(((〖𝑅𝑇〗_𝑖𝑘−〖𝐷𝐴〗_𝑖𝑘)/〖𝐷𝐴〗_𝑖𝑘 ) 〖𝑀𝑊〗_𝑖𝑘)/(∑24_(𝑘=1)^𝑛▒〖𝑀𝑊〗_𝑖𝑘 )
∑24_(𝑖=1)^𝑛▒〖𝑀𝑊〗_𝑖/𝑀𝑊∗ ∑24_(𝑘=1)^𝑛▒((|〖𝑅𝑇〗_𝑖𝑘−〖𝐷𝐴〗_𝑖𝑘 |) 〖𝑀𝑊〗_𝑖𝑘)/(∑24_(𝑘=1)^𝑛▒〖𝑀𝑊〗_𝑖𝑘 )
∑24_(𝑖=1)^𝑛▒〖𝑀𝑊〗_𝑖/𝑀𝑊∗ ∑24_(𝑘=1)^𝑛▒(((|〖𝑅𝑇〗_𝑖𝑘−〖𝐷𝐴〗_𝑖𝑘 |)/〖𝐷𝐴〗_𝑖𝑘 ) 〖𝑀𝑊〗_𝑖𝑘)/(∑24_(𝑘=1)^𝑛▒〖𝑀𝑊〗_𝑖𝑘 )
∑_(𝑖=1)^𝑛▒〖𝑀𝑊〗_𝑖/𝑀𝑊∗ ∑_(𝑘=1)^𝑛▒((〖𝑅𝑇〗_𝑖𝑘−〖𝐷𝐴〗_𝑖𝑘 ) 〖𝑀𝑊〗_𝑖𝑘)/(∑_(𝑘=1)^𝑛▒〖𝑀𝑊〗_𝑖𝑘 )
∑_(𝑖=1)^𝑛▒〖𝑀𝑊〗_𝑖/𝑀𝑊∗ ∑_(𝑘=1)^𝑛▒(((〖𝑅𝑇〗_𝑖𝑘−〖𝐷𝐴〗_𝑖𝑘)/〖𝐷𝐴〗_𝑖𝑘 ) 〖𝑀𝑊〗_𝑖𝑘)/(∑_(𝑘=1)^𝑛▒〖𝑀𝑊〗_𝑖𝑘 )
∑_(𝑖=1)^𝑛▒〖𝑀𝑊〗_𝑖/𝑀𝑊∗ ∑_(𝑘=1)^𝑛▒((|〖𝑅𝑇〗_𝑖𝑘−〖𝐷𝐴〗_𝑖𝑘 |) 〖𝑀𝑊〗_𝑖𝑘)/(∑_(𝑘=1)^𝑛▒〖𝑀𝑊〗_𝑖𝑘 )
∑_(𝑖=1)^𝑛▒〖𝑀𝑊〗_𝑖/𝑀𝑊∗ ∑_(𝑘=1)^𝑛▒(((|〖𝑅𝑇〗_𝑖𝑘−〖𝐷𝐴〗_𝑖𝑘 |)/〖𝐷𝐴〗_𝑖𝑘 ) 〖𝑀𝑊〗_𝑖𝑘)/(∑_(𝑘=1)^𝑛▒〖𝑀𝑊〗_𝑖𝑘 )
∑_(𝑖,𝑘=1)^𝑛▒〖[((〖𝑅𝑇〗_𝑖𝑘−〖𝐷𝐴〗_𝑖𝑘 ) 〖𝑀𝑊〗_𝑖𝑘)/(∑_(𝑖,𝑘=1)^𝑛▒〖𝑀𝑊〗_𝑖𝑘 )]〗
∑_(𝑖,𝑘=1)^𝑛▒〖[((〖(𝑅𝑇〗_𝑖𝑘−〖𝐷𝐴〗_𝑖𝑘)/〖𝐷𝐴〗_𝑖𝑘 ) 〖𝑀𝑊〗_𝑖𝑘)/(∑_(𝑖,𝑘=1)^𝑛▒〖𝑀𝑊〗_𝑖𝑘 )]〗
∑_(𝑖,𝑘=1)^𝑛▒〖[((|〖𝑅𝑇〗_𝑖𝑘−〖𝐷𝐴〗_𝑖𝑘 |) 〖𝑀𝑊〗_𝑖𝑘)/(∑_(𝑖,𝑘=1)^𝑛▒〖𝑀𝑊〗_𝑖𝑘 )]〗
∑_(𝑖,𝑘=1)^𝑛▒〖[((〖(|𝑅𝑇〗_𝑖𝑘−〖𝐷𝐴〗_𝑖𝑘 |)/〖𝐷𝐴〗_𝑖𝑘 ) 〖𝑀𝑊〗_𝑖𝑘)/(∑_(𝑖,𝑘=1)^𝑛▒〖𝑀𝑊〗_𝑖𝑘 )]〗

## #16 Congestion Management
| Balancing Authority Area Respondent Name: | NYISO
Group 2: Metric #16 Congestion Management
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
16 | Total Day-Ahead Congestion Charges (RTO/ISO wide) ($). For each reporting period, enter the sum of (Day-Ahead MWh*CLMP) where Day-Ahead MWh consists of MWh settled at day-ahead market energy prices (which includes financial schedules and virtual transactions) and CLMP is the congestion component of the day-ahead energy market price. | 578495036.78 | 539664837.81 | 438275990.31 | 414641426.38 | 500635410.31
16.01 | Net Payments to FTR Holders (RTO/ISO wide) ($). Enter the sum of reporting period congestion charges distributed to holders of Financial Transmission Rights (FTRs) or their equivalent such as Transmission Congestion Rights (TCR) or Congestion Revenue Rights (CRRs), net of revenue received from counterflow FTR holders. | 647340810.03 | 576759203.22 | 538281240.93 | 475965408.65 | 587299278.55
16.02 | Net Energy for Load (RTO/ISO wide) (MWh). (Automatically copied from Metric 12) | 160024764 | 161572341 | 160798154 | 156370004 | 161114468
16.03 | Congestion Charges per MWh of Load Served (RTO/ISO wide) ($/MWh). The worksheet will calculate the ratio of the Total Day-Ahead Congestion Charges divided by the Net Energy for Load. (Automatically calculated) | 3.615 | 3.3401 | 2.7256 | 2.6517 | 3.1073
16.04 | Net Payments to FTR Holders as a percent of Total Congestion Charges (RTO/ISO wide) (%). The worksheet will calculate the ratio of Net Payments to FTR Holders divided by the Total Day-Ahead Congestion Charges. (Automatically calculated) | 1.119 | 1.0687 | 1.2282 | 1.1479 | 1.1731
16.05 | Net Payments to Load Serving Entities (LSEs) through FTRs, ARRs, etc. ($). Total revenue received by LSEs through financial instruments such as auction revenue rights and financial transmission rights, net of charges paid for counterflow ARRs or FTRs. If an ARR is "self-scheduled" (i.e. converted) into an FTR, please report only the revenue (or charge) received from the FTR. | NA | NA | NA | NA | NA
16.06 | Net Payments to Load Serving Entities (LSEs) as a percent of Total Congestion Charges (%) The worksheet will calculate the percentage of revenue received by LSEs through FTRs and ARRs as a percent of Total Day-Ahead Congestion Charges for the reporting period expressed as a percent. (Automatically Calculated) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
16.07 | Explanatory Text. Provide any additional information if necessary. | Transmission Owner DAM Congestion Balancing Payments/Charges not included in 16.00; 16.05 is not applicable to the NYISO Market. Any cash imbalance in the NYISO’s DAM Congestion settlements are allocated (charge /credit) to the NYCA Transmission Owners on a daily level. The overall amount of this allocation is not included in 16.00 and would make the difference between codes 16.00 and 16.01 net zero.

## #17 Admin Cost
| Balancing Authority Area Respondent Name: | NYISO
Group 2: Metric #17 Administrative Costs
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
17 | Administrative Costs ($). Sum the administrative costs (both capital and non-capital) billed by the RTO/ISO for each reporting period. RTOs/ISOs with capacity markets should see the User Guide for instructions. | 4384954 | 4581156 | 4595109 | 4641338 | 4332879
17.01 | Administrative Costs (FERC Form No. 1) ($). Report the TOTAL Administrative & General Expenses (row 197), page 323 from the last quarter of the filing for the reporting period. RTOs/ISOs with capacity markets should see the User Guide for instructions. | 64799887 | 66194297 | 69266109 | 71870700 | 72054812
17.02 | Net Energy for Load (MWh). (Automatically copied from Metric 12) | 160024764 | 161572341 | 160798154 | 156370004 | 161114468
17.03 | Administrative Costs per MWh of Load Served (%). The worksheet will calculate Administrative Costs divided by the Net Energy for Load for each reporting period . (Automatically calculated) | 2.74% | 2.835% | 2.858% | 2.968% | 2.689%
17.04 | Administrative Costs (FERC Form No. 1) per MWh of Load Served (%). The worksheet will calculate Administrative Costs (FERC Form No. 1) divided by the Net Energy for Load for each reporting period. (Automatically calculated) | 40.49% | 40.97% | 43.08% | 45.96% | 44.72%
17.05 | Explanatory Text. Describe any significant changes to administrative charges that influence the Administrative Costs reported above, such as prior-year collection true-ups, expansion of RTO/ISO footprint, etc. | Metric 17.00 data source: NYISO's Independent Auditors' Reports, "Administrative and other expenses", included in NYISO Annual Reports for 2014-2018, publicly available at https://www.nyiso.com/library.

## #18 Net Revenues
| Balancing Authority Area Respondent Name: | NYISO
Group 2: Metric #18 New Entrant Net Revenues
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Net Revenue for New Entrant (Combustion Turbine)
18 | Prototypical New Entrant Variable Production Cost (Combustion Turbine) ($). Enter the new entrant's estimated variable production cost for a combustion turbine for the reporting period. | 16467880 | 11533860 | 13787800 | 17922320 | 9986860
18.01 | Prototypical New Entrant Energy Revenues Received (Combustion Turbine) ($). Enter the new entrant's estimated revenue received from RTO/ISO energy and ancillary services (as defined in the RTO/ISO Tariff) for a combustion turbine for the given reporting period. | 23298340 | 19866600 | 20479940 | 25104820 | 15109900
18.02 | Size in MW of Prototypical New Entrant (Combustion Turbine) (MW). Enter the nameplate capacity of the unit used in the calculation. | 260 | 260 | 260 | 260 | 260
18.03 | Net Revenue for New Entrant (Combustion Turbine) ($). The difference between the Prototypical New Entrant Energy Revenues Received less the Prototypical New Entrant's Variable Production Cost. (Automatically calculated) | 6830460 | 8332740 | 6692140 | 7182500 | 5123040
Net Revenue for New Entrant (Combined Cycle)
18.04 | Prototypical New Entrant Variable Production Cost (Combined Cycle) ($). Enter the new entrant's estimated variable production cost for a combustion cycle for the reporting period. | 77929520 | 57515640 | 59582420 | 72979460 | 62261920
18.05 | Prototypical New Entrant Energy Revenues Received (Combined Cycle) ($). Enter the new entrant's estimated revenue received from RTO/ISO energy and ancillary services (as defined in the RTO/ISO Tariff) for a combined cycle for the given reporting period. | 117239740 | 85575640 | 88733080 | 105971120 | 87982360
18.06 | Size in MW of Prototypical New Entrant (Combined Cycle) (MW). Enter the nameplate capacity of the unit used in the calculation. | 460 | 460 | 460 | 460 | 460
18.07 | Net Revenue for New Entrant (Combined Cycle) ($). The difference between the Prototypical New Entrant Energy Revenues Received less the Prototypical New Entrant's Variable Production Cost. (Automatically calculated) | 39310220 | 28060000 | 29150660 | 32991660 | 25720440
18.08 | Explanatory Text. Please provide a description on how the cost and revenue estimate were derived for a hypothetical new entrant, including the assumed location (i.e., high cost zone, etc.) | Methodology Variable production costs and final revenues were determined by running the Net Energy and Ancillary Services SAS program from the 2017 Demand Curve Reset. For consistency with Demand Curve reset/Annual Update process, the same months were used for analysis (September -> August). The proxy CT unit Siemens SGT6-5000F5 was selected for all years, in zone Capital (Rest of State locality), gas only with SCR. the proxy CC unit Siemens SGT6-8000H CC was selected for all years, in zone Capital (Rest of State locality), gas only with SCR. 18.00 & 18.04: Variable Production cost was calculated as Energy Revenues (18.01, 18.05) minus Final Hourly Profit from Net EAS Model, multiplied by applicable Size in MW (Nameplate Capacity). 18.01 & 18.05: Energy Revenues was calculated as the applicable DAM/RTD revenues (LBMPs, 30 reserve) depending on model commitment decisions. 18.02: Nameplate capacity sourced from GE website. Source Data - SAS Net Eas Model: Installed Capacity Data - Reference Documents - 2017-2021 Demand Curve Reset - Final Net EAS Model September 13 2016 https://www.nyiso.com/installed-capacity-market -https://www.siemens-energy.com/global/en/offerings/power-generation/gas-turbines.html - 2014-2016: Att IV 2013 NYISO Stff Rprt - 2017: NYISO Staff Recommendations - ICAP Demand Curve Reset - pg.41 - 2018: Demand Curve 2018-2019

## #19 Avail 825 Shortage
| Balancing Authority Area Respondent Name: | NYISO
Group 2: Metric #19 Order No. 825 Shortage Intervals and Reserve Price Impacts
s = a shortage event Ts = duration of event s i = 5-minute interval before shortage in reporting period k = 5-minute interval during shortage in reporting period MW = reserves for 5-minute interval RMCP = Reserve Market Clearing Price for highest quality product (i.e., spinning reserve) for 5-minute interval
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
19 | Number of Shortage Events. Total number of distinct shortage events in reporting period. An event is a contiguous set of shortage intervals defined by Order No. 825 that occurred in the reporting period. Report an integer. | 40 | 6 | 0 | 0 | 1
19.01 | Total Duration of Shortage Events. Total minutes/hours where shortage occurred during the reporting period. Report an integer. | 290 | 50 | 0 | 0 | 5
19.02 | Average Duration of Shortages. The worksheet will calculate the ratio of the Total Duration of Shortage Events divided by the Number of Shortage Events. (Automatically calculated) | 7.25 | 8.3333 | #DIV/0! | #DIV/0! | 5
19.03 | Total Size of Shortage Events. Total MW shortage during the reporting period. This is a multi-step calculation. First, for each shortage event calculate the difference between the average MW available during the shortage and the average of the MWs required of the highest quality reserve product (i.e., spinning reserve) in the three intervals before the shortage began. Second, for each event create the product of this difference and the event duration and sum these for the reporting period. Report an integer. | 23533 | 4336 | 0 | 0 | 383
19.04 | Average Size of the Shortage Events. The average size of all of the shortage events in the reporting period. Divide Total Size of Shortage Events by the Total Duration of Shortage Events. (Automatically Calculated) | 81.1483 | 86.72 | #DIV/0! | #DIV/0! | 76.6
19.05 | Total Price Differential of the Shortage Events. The price differential of the shortage event (the increase between 5-minute intervals) in the reporting period. This is a multi-step calculation. First, for each shortage event calculate the difference between the reserve market clearing price of the highest quality reserve product (i.e., spinning reserve) in the three intervals before the shortage began and the average price of the reserve product in the shortage, and multiply this difference by the duration of the shortage. Sum for all events for the reporting period. Report in $/MWh. | -114783.5 | -21106.83 | 0 | 0 | -1751.07
19.06 | Average Price Differential of the Shortage Events. The average size of the price differential of the shortage events in the reporting period. Divide Total Price Differential of the Shortage Events by the Total Duration of Shortage Events. (Automatically Calculated) | -395.8052 | -422.1366 | #DIV/0! | #DIV/0! | -350.214
19.07 | Total Price Impact of the Shortage Events. The total price impact of the shortage events in the reporting period. For each event where shortage pricing occurred, multiply the duration of the shortage event by the product of the average size of each shortage event and the price differential of each shortage event. | -11348634.62 | -2754870.62 | 0 | 0 | -133956.6
19.08 | Average Price Impact of the Shortage Events. The average price impact of the shortage events in the reporting period. Divide the Total Price Impact of the Shortage Events by the Total Duration of Shortage Events. (Automatically Calculated) | -39133.2228 | -55097.4124 | #DIV/0! | #DIV/0! | -26791.32
19.09 | Explanatory Text (if necessary). Report any relevant information about this metric that is not captured above e.g. including the product the price change is associated with, improvements to the methodology, etc. | Please note the following: - Metrics were calculated using data for NYCA 10 Minute Spin reserves. - We used data from normal Real-time Dispatch runs only. We did not use data from non-routine, RTD Corrective Action Mode runs. - There were no shortages of NYCA 10 Minute Spin reserves in 2016 or 2017. - We reported duration of shortage events in minutes. - The requirement for NYCA 10 Minute Spin reserves is 655 MW. - The shortage demand curve price for NYCA 10 Minute Spin reserves changed from $500 to $775 on 11/04/2015. - For 19.03, we used the Average MW Scheduled for the 3 intervals prior to the shortage event as well as for the intervals during the shortage event. - For one of the shortage events in 2015, 2 of the 3 prior intervals are part of a different shortage event. For two of the shortage events in 2014, 1 of the 3 prior intervals is part of a different shortage event. - For 19.05, we used the NYCA 10 Minute Spin clearing prices, per the instructions from FERC. However, due to the cascading nature of reserve clearing prices in NYISO's markets, we think that using the NYCA 10 Minute Spin shadow prices would be an improvement to the methodology in the future.
2014 had significantly more shortage events than the subsequent years in the reporting period. All but one of the shortage events occurred during the early 2014 North American cold wave. Of the 40 shortage events reported for the year, 15 of them occurred between 1/2/14 and 1/9/14, and 24 occurred between 1/20/14 and 3/26/14.
∑8_(𝑖+𝑘)▒〖(𝐴𝑉𝐸(〖𝑀𝑊〗_𝑖, 〖𝑀𝑊〗_(𝑖−1), 〖𝑀𝑊〗_(𝑖−2) )−𝐴𝑉𝐸(〖𝑀𝑊〗_𝑘 ))∗𝑇_𝑠 〗
∑8_(𝑖+𝑘)▒〖((𝐴𝑉𝐸(〖𝑀𝑊〗_𝑖, 〖𝑀𝑊〗_(𝑖−1), 〖𝑀𝑊〗_(𝑖−2) )−𝐴𝑉𝐸(〖𝑀𝑊〗_𝑘 )))/(𝑇𝑜𝑡𝑎𝑙 𝐷𝑢𝑟𝑎𝑡𝑖𝑜𝑛 𝑜𝑓 𝑆ℎ𝑜𝑟𝑡𝑎𝑔𝑒 𝐸𝑣𝑒𝑛𝑡𝑠)∗𝑇_𝑠 〗
∑8_(𝑖+𝑘)▒〖(𝐴𝑉𝐸(〖𝑅𝑀𝐶𝑃〗_𝑖, 〖𝑅𝑀𝐶𝑃〗_(𝑖−1), 〖𝑅𝑀𝐶𝑃〗_(𝑖−2) )−𝐴𝑉𝐸(〖𝑅𝑀𝐶𝑃〗_𝑘 ))∗𝑇_𝑠 〗
∑8_(𝑖+𝑘)▒〖((𝐴𝑉𝐸(〖𝑅𝑀𝐶𝑃〗_𝑖, 〖𝑅𝑀𝐶𝑃〗_(𝑖−1), 〖𝑅𝑀𝐶𝑃〗_(𝑖−2) )−𝐴𝑉𝐸(〖𝑅𝑀𝐶𝑃〗_𝑘 )))/(𝑇𝑜𝑡𝑎𝑙 𝐷𝑢𝑟𝑎𝑡𝑖𝑜𝑛 𝑜𝑓 𝑆ℎ𝑜𝑟𝑡𝑎𝑔𝑒 𝐸𝑣𝑒𝑛𝑡𝑠)∗𝑇_𝑠 〗
∑8_(𝑖+𝑘)▒〖([𝐴𝑉𝐸(〖𝑀𝑊〗_𝑖, 〖𝑀𝑊〗_(𝑖−1), 〖𝑀𝑊〗_(𝑖−2) )−𝐴𝑉𝐸(〖𝑀𝑊〗_𝑘 )]∗[𝐴𝑉𝐸(〖𝑅𝑀𝐶𝑃〗_𝑖, 〖𝑅𝑀𝐶𝑃〗_(𝑖−1), 〖𝑅𝑀𝐶𝑃〗_(𝑖−2) )−𝐴𝑉𝐸(〖𝑅𝑀𝐶𝑃〗_𝑘 )])∗𝑇_𝑠 〗
∑8_(𝑖+𝑘)▒〖((█([𝐴𝑉𝐸(〖𝑀𝑊〗_𝑖, 〖𝑀𝑊〗_(𝑖−1), 〖𝑀𝑊〗_(𝑖−2) )−𝐴𝑉𝐸(〖𝑀𝑊〗_𝑘 )]∗@[𝐴𝑉𝐸(〖𝑅𝑀𝐶𝑃〗_𝑖, 〖𝑅𝑀𝐶𝑃〗_(𝑖−1), 〖𝑅𝑀𝐶𝑃〗_(𝑖−2) )−𝐴𝑉𝐸(〖𝑅𝑀𝐶𝑃〗_𝑘 )])))/(𝑇𝑜𝑡𝑎𝑙 𝐷𝑢𝑟𝑎𝑡𝑖𝑜𝑛 𝑜𝑓 𝑆ℎ𝑜𝑟𝑡𝑎𝑔𝑒 𝐸𝑣𝑒𝑛𝑡𝑠)∗𝑇_𝑠 〗

## #20 Net CONE Comparison
| Balancing Authority Area Respondent Name: | NYISO
Group 3: Metric #20 Net Cost of New Entry (Net CONE) value
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Net Cost of New Entry
20 | Capacity Zone Name | NYCA | NYCA | NYCA | NYCA | NYCA
20.01 | Net CONE value Used at the Most Recent Update ($/MW-Year). Report the estimated Net CONE value used in the most recent update to the Net CONE value for each reporting period. | 89500 | 91470 | 93480 | 107580 | 100190
20.02 | Date of the Most Recent Net CONE Update (MM/YYYY). Enter the date in MM/YYYY format. | 2013-11-01 | 2013-11-01 | 2013-11-01 | 2016-11-01 | 2017-11-01
20.03 | Actual Net CONE value in Reporting Period ($/MW-Year). Rerun the estimate for each historical reporting period using the actual value of local marginal prices (LMP) realized in that reporting period (e.g., if the estimate for 2014 was produced in 2011 for the initial auction, use the 2014 LMPs and re-run the Net CONE for 2014). | N/A | N/A | N/A | 115294.6317 | 109525.8652
20.04 | Explanatory Text. Provide any additional information if necessary. | Methodology Actual Net CONE values were derived with re-runs of the 2017 Demand Curve Reset with input files containing actualized NYISO LBMPs, Ancillary Service prices, and fuel/offset prices. For consistency with Demand Curve reset/Annual Update process, the same months were used for analysis (September -> August). Re-runs for 2017 and 2018 were for the proxy-unit, consistent with the unit analyzed for the net CONE used in demand curve purposes. The unit and configuration is as follows: - SGT6-5000F5 with SCR, gas only in NYCA. - SGT6-5000F5 with SCR, dual fuel in GHIJ, NYC, and LI. 20.01: Annual ICAP Revenue Req. per kW i.e. "Net CONE" per Demand Curve reset and Annual Updates 20.02: FERC filing dates. Net CONE for years 2014, 2015, and 2016 were all determined during the 2014 DCR process. 2017 and 2018 Net CONE determined in Annual Update process. 20.03: 2014, 2015, & 2016: The 2014 Demand Curve Reset - Net EAS model, applicable to demand curves used for 2014, 2015, and 2016, was not provided by the Consultants. Since this model was used to derive Net EAS and Net CONE, a comparison of Net CONE value used for Demand Curve update and Actualized Net CONE is not applicable. 2017 & 2018: Actual Net CONE defined as Gross CONE from Annual Updates/Demand Curve Reset minus Net EAS revenues from re-run of 2017 Net EAS model. Source Data - https://www.nyiso.com/installed-capacity-market - SAS Net Eas Model: Installed Capacity Data - Reference Documents - 2017-2021 Demand Curve Reset - Final Net EAS Model September 13 2016 - 2014, 2015, 2016: 2014-2017 Demand Curve Parameters and Demand Curves - 2017: NYISO Staff Recommendations - ICAP Demand Curve Reset - pg.41 - 2018: Demand Curve 2018-2019
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Net Cost of New Entry
20 | Capacity Zone Name | G-J | G-J | G-J | G-J | G-J
20.01 | Net CONE value Used at the Most Recent Update ($/MW-Year). Report the estimated Net CONE value used in the most recent update to the Net CONE value for each reporting period. | 117600 | 120260 | 122910 | 134410 | 148670
20.02 | Date of the Most Recent Net CONE Update (MM/YYYY). Enter the date in MM/YYYY format. | 2013-11-01 | 2013-11-01 | 2013-11-01 | 2016-11-01 | 2017-11-01
20.03 | Actual Net CONE value in Reporting Period ($/MW-Year). Rerun the estimate for each historical reporting period using the actual value of local marginal prices (LMP) realized in that reporting period (e.g., if the estimate for 2014 was produced in 2011 for the initial auction, use the 2014 LMPs and re-run the Net CONE for 2014). | N/A | N/A | N/A | 143900.1898 | 158358.4792
20.04 | Explanatory Text. Provide any additional information if necessary. | Not Applicable
Net Cost of New Entry
20 | Capacity Zone Name | NYC | NYC | NYC | NYC | NYC
20.01 | Net CONE value Used at the Most Recent Update ($/MW-Year). Report the estimated Net CONE value used in the most recent update to the Net CONE value for each reporting period. | 175650 | 179520 | 183470 | 153850 | 177220
20.02 | Date of the Most Recent Net CONE Update (MM/YYYY). Enter the date in MM/YYYY format. | 2013-11-01 | 2013-11-01 | 2013-11-01 | 2016-11-01 | 2017-11-01
20.03 | Actual Net CONE value in Reporting Period ($/MW-Year). Rerun the estimate for each historical reporting period using the actual value of local marginal prices (LMP) realized in that reporting period (e.g., if the estimate for 2014 was produced in 2011 for the initial auction, use the 2014 LMPs and re-run the Net CONE for 2014). | N/A | N/A | N/A | 176835.3658 | 193662.5638
20.04 | Explanatory Text. Provide any additional information if necessary. | Not Applicable
Net Cost of New Entry
20 | Capacity Zone Name | LI | LI | LI | LI | LI
20.01 | Net CONE value Used at the Most Recent Update ($/MW-Year). Report the estimated Net CONE value used in the most recent update to the Net CONE value for each reporting period. | 80350 | 82120 | 83920 | 90770 | 125110
20.02 | Date of the Most Recent Net CONE Update (MM/YYYY). Enter the date in MM/YYYY format. | 2013-11-01 | 2013-11-01 | 2013-11-01 | 2016-11-01 | 2017-11-01
20.03 | Actual Net CONE value in Reporting Period ($/MW-Year). Rerun the estimate for each historical reporting period using the actual value of local marginal prices (LMP) realized in that reporting period (e.g., if the estimate for 2014 was produced in 2011 for the initial auction, use the 2014 LMPs and re-run the Net CONE for 2014). | N/A | N/A | N/A | 133980.544 | 153154.4287
20.04 | Explanatory Text. Provide any additional information if necessary. | Not Applicable
Add Zone

## #21 Resource Deliverability
| Balancing Authority Area Respondent Name: | NYISO
Group 3: Metric #21 Resource Deliverability
| Capability Year | 15/16 | 16/17 | 17/18 | 18/19 | 19/20
Reporting Year= Capability year
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Resource Deliverability - Maximum Importable External Capacity into a Capacity Zone
21 | Capacity Zone Name | Zone J | Zone J | Zone J | Zone J | Zone J
21.01 | Import Limitation into a zone (MW). The amount of external capacity that can be imported into this zone for purposes of the capacity auction. Determined at the time of the initial auction. Report for all capacity zones that are separately modeled. | 1767.45 | 1968.29 | 2299 | 2159 | 2250.11
21.02 | Locational Generation Requirement (or equivalent) in the zone (MW). The amount of capacity located inside the zone necessary (or is it available) to meet the estimated demand in the zone (calculated at the time of the initial auction). Report for all capacity zones that are separately modeled. | 10015.55 | 9960.7 | 9494 | 9511.05 | 9288.9
21.03 | Locational Generation Procured in the zone (MW). The amount of capacity that was actually procured for the zone in the auction. An RTO/ISO with a downward sloping demand curve may actually procure more capacity than the Locational Requirement. Report the actual amount of capacity procured in the auction for this zone. | 10087.6692 | 10341.5342 | 10212.225 | 10293.1089 | 10245.0759
21.04 | Explanatory Text. Report any relevant information about this zone during the reporting period (e.g., changes in boundaries, significant changes in load). | 21.03: Total ICAP MW sales in May spot auction for each locality/year. UCAP MW convered to ICAP MW using derating factor from Automated Market System.
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Resource Deliverability - Maximum Importable External Capacity into a Capacity Zone
21 | Capacity Zone Name | K | K | K | K | K
21.01 | Import Limitation into a zone (MW). The amount of external capacity that can be imported into this zone for purposes of the capacity auction. Determined at the time of the initial auction. Report for all capacity zones that are separately modeled. | 384.72 | 193.865 | 136.975 | 189.945 | 189.56
21.02 | Locational Generation Requirement (or equivalent) in the zone (MW). The amount of capacity located inside the zone necessary (or is it available) to meet the estimated demand in the zone (calculated at the time of the initial auction). Report for all capacity zones that are separately modeled. | 5880.72 | 5732.865 | 5615.975 | 5616.945 | 5605.56
21.03 | Locational Generation Procured in the zone (MW). The amount of capacity that was actually procured for the zone in the auction. An RTO/ISO with a downward sloping demand curve may actually procure more capacity than the Locational Requirement. Report the actual amount of capacity procured in the auction for this zone. | 6149.9729 | 6087.8811 | 6133.398 | 6124.1525 | 6116.3039
21.04 | Explanatory Text. Report any relevant information about this zone during the reporting period (e.g., changes in boundaries, significant changes in load). | 21.03: Total ICAP MW sales in May spot auction for each locality/year. UCAP MW converted to ICAP MW using derating factor from Automated Market System.
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Resource Deliverability - Maximum Importable External Capacity into a Capacity Zone
21 | Capacity Zone Name | G-J | G-J | G-J | G-J | G-J
21.01 | Import Limitation into a zone (MW). The amount of external capacity that can be imported into this zone for purposes of the capacity auction. Determined at the time of the initial auction. Report for all capacity zones that are separately modeled. | 1954.92 | 1552.3 | 1630.9 | 1365.185 | 875.49
21.02 | Locational Generation Requirement (or equivalent) in the zone (MW). The amount of capacity located inside the zone necessary (or is it available) to meet the estimated demand in the zone (calculated at the time of the initial auction). Report for all capacity zones that are separately modeled. | 14336.08 | 14787.7 | 14678.1 | 14695.815 | 15042.51
21.03 | Locational Generation Procured in the zone (MW). The amount of capacity that was actually procured for the zone in the auction. An RTO/ISO with a downward sloping demand curve may actually procure more capacity than the Locational Requirement. Report the actual amount of capacity procured in the auction for this zone. | 14423.3507 | 15165.5524 | 15383.8384 | 15484.5183 | 15770.7489
21.04 | Explanatory Text. Report any relevant information about this zone during the reporting period (e.g., changes in boundaries, significant changes in load). | 21.03: Total ICAP MW sales in May spot auction for each locality/year. UCAP MW converted to ICAP MW using derating factor from Automated Market System.
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Resource Deliverability - Maximum Importable External Capacity into a Capacity Zone
21 | Capacity Zone Name | NYCA | NYCA | NYCA | NYCA | NYCA
21.01 | Import Limitation into a zone (MW). The amount of external capacity that can be imported into this zone for purposes of the capacity auction. Determined at the time of the initial auction. Report for all capacity zones that are separately modeled. | 2490 | 2740 | 2700 | 2689 | 2957
21.02 | Locational Generation Requirement (or equivalent) in the zone (MW). The amount of capacity located inside the zone necessary (or is it available) to meet the estimated demand in the zone (calculated at the time of the initial auction). Report for all capacity zones that are separately modeled. | 39389.22 | 39273.39 | 39198 | 39150.04 | 38938.626
21.03 | Locational Generation Procured in the zone (MW). The amount of capacity that was actually procured for the zone in the auction. An RTO/ISO with a downward sloping demand curve may actually procure more capacity than the Locational Requirement. Report the actual amount of capacity procured in the auction for this zone. | 40868.5658 | 42044.063 | 41473.3931 | 43040.4586 | 42411.1986
21.04 | Explanatory Text. Report any relevant information about this zone during the reporting period (e.g., changes in boundaries, significant changes in load). | 21.03: Total ICAP MW sales in May spot auction for each locality/year. UCAP MW converted to ICAP MW using derating factor from Automated Market System.
Add Zone
Add Zone
Add Zone
Add Zone
Add Zone
Add Zone
Add Zone
Add Zone
Add Zone
Add Zone
Add Zone

## #22 New Capacity (Entry)
| Balancing Authority Area Respondent Name: | NYISO
Group 3: Metric #22 New Capacity (Entry)
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
New Capacity Added
22 | Capacity Zone Name | NYCA | NYCA | NYCA | NYCA | NYCA
22.01 | Number of Generation Units Added (Integer). Total number of generation units added during the reporting period. | 6 | 0 | 2 | 1 | 5
22.02 | Increase in Capacity with Supply Obligations (MW). Amount of generating capacity that has cleared in an auction, that now has an obligation to offer into the capacity market during the reporting period. Do not report existing capacity that has been uprated. | 703 | 0 | 293 | 106 | 809
22.03 | Explanatory Text. Provide any additional information if necessary. | Methodology Summer MWs added to NYCA per the Installed Capacity Market Operations Winter-Summer ratio process for adjustment of NYCA demand curve. Source Data https://www.nyiso.com/installed-capacity-market -Reference Data - Demand Curve Reset Annual Updates - Winter Summer Ratio files
New Capacity Added
22 | Capacity Zone Name | GHIJ | GHIJ | GHIJ | GHIJ | GHIJ
22.01 | Number of Generation Units Added (Integer). Total number of generation units added during the reporting period. | 5 | 0 | 0 | 0 | 5
22.02 | Increase in Capacity with Supply Obligations (MW). Amount of generating capacity that has cleared in an auction, that now has an obligation to offer into the capacity market during the reporting period. Do not report existing capacity that has been uprated. | 658 | 0 | 0 | 0 | 809
22.03 | Explanatory Text. Provide any additional information if necessary. | Methodology Summer MWs added to GHIJ per the Installed Capacity Market Operations Winter-Summer ratio process for adjustment of GHIJ demand curve. Source Data https://www.nyiso.com/installed-capacity-market -Reference Data - Demand Curve Reset Annual Updates - Winter Summer Ratio files
New Capacity Added
22 | Capacity Zone Name | NYC | NYC | NYC | NYC | NYC
22.01 | Number of Generation Units Added (Integer). Total number of generation units added during the reporting period. | 1 | 0 | 0 | 0 | 3
22.02 | Increase in Capacity with Supply Obligations (MW). Amount of generating capacity that has cleared in an auction, that now has an obligation to offer into the capacity market during the reporting period. Do not report existing capacity that has been uprated. | 168 | 0 | 0 | 0 | 132
22.03 | Explanatory Text. Provide any additional information if necessary. | Methodology Summer MWs added to NYC per the Installed Capacity Market Operations Winter-Summer ratio process for adjustment of NYC demand curve. Source Data https://www.nyiso.com/installed-capacity-market -Reference Data - Demand Curve Reset Annual Updates - Winter Summer Ratio files
New Capacity Added
22 | Capacity Zone Name | LI | LI | LI | LI | LI
22.01 | Number of Generation Units Added (Integer). Total number of generation units added during the reporting period. | 0 | 0 | 0 | 0 | 0
22.02 | Increase in Capacity with Supply Obligations (MW). Amount of generating capacity that has cleared in an auction, that now has an obligation to offer into the capacity market during the reporting period. Do not report existing capacity that has been uprated. | 0 | 0 | 0 | 0 | 0
22.03 | Explanatory Text. Provide any additional information if necessary. | No changes in LI.
Add Zone

## #23 Capacity Retire (Exit)
| Balancing Authority Area Respondent Name: | NYISO
Group 3: Metric #23 Capacity Retirement (Exit)
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Capacity Retirement (Exit)
23 | Capacity Zone Name | NYCA | NYCA | NYCA | NYCA | NYCA
23.01 | Number of Generation Units Taken out of Service (Integer). Total number of generation units taken out of service during the reporting period. | 1 | 8 | 3 | 10 | 2
23.02 | Decrease in Capacity with Supply Obligations (MW). Amount of generating capacity that no longer has an obligation to offer into the capacity market during the reporting period. Do not report generation capacity that has been de-rated. | 33 | 554 | 41 | 294 | 154
23.03 | Explanatory Text. Provide any additional information if necessary. | Methodology Summer MWs removed from NYCA per the Installed Capacity Market Operations Winter-Summer ratio process for adjustment of NYCA demand curve. Source Data https://www.nyiso.com/installed-capacity-market -Reference Data - Demand Curve Reset Annual Updates - Winter Summer Ratio files
23 | Capacity Zone Name | GHIJ | GHIJ | GHIJ | GHIJ | GHIJ
23.01 | Number of Generation Units Taken out of Service (Integer). Total number of generation units taken out of service during the reporting period. | 1 | 4 | 3 | 8 | 1
23.02 | Decrease in Capacity with Supply Obligations (MW). Amount of generating capacity that no longer has an obligation to offer into the capacity market during the reporting period. Do not report generation capacity that has been de-rated. | 33 | 58 | 41 | 231 | 14
23.03 | Explanatory Text. Provide any additional information if necessary. | Methodology Summer MWs removed from GHIJ per the Installed Capacity Market Operations Winter-Summer ratio process for adjustment of GHIJ demand curve. GHIJ and NYC numbers are the same due to zone J is nested in GHIJ locality and no capacity exits in GHI zones. Source Data https://www.nyiso.com/installed-capacity-market -Reference Data - Demand Curve Reset Annual Updates - Winter Summer Ratio files
23 | Capacity Zone Name | NYC | NYC | NYC | NYC | NYC
23.01 | Number of Generation Units Taken out of Service (Integer). Total number of generation units taken out of service during the reporting period. | 1 | 4 | 3 | 8 | 1
23.02 | Decrease in Capacity with Supply Obligations (MW). Amount of generating capacity that no longer has an obligation to offer into the capacity market during the reporting period. Do not report generation capacity that has been de-rated. | 33 | 58 | 41 | 231 | 14
23.03 | Explanatory Text. Provide any additional information if necessary. | Methodology Summer MWs removed from NYC per the Installed Capacity Market Operations Winter-Summer ratio process for adjustment of NYC demand curve. Source Data https://www.nyiso.com/installed-capacity-market -Reference Data - Demand Curve Reset Annual Updates - Winter Summer Ratio files
23 | Capacity Zone Name | LI | LI | LI | LI | LI
23.01 | Number of Generation Units Taken out of Service (Integer). Total number of generation units taken out of service during the reporting period. | 0 | 0 | 0 | 0 | 0
23.02 | Decrease in Capacity with Supply Obligations (MW). Amount of generating capacity that no longer has an obligation to offer into the capacity market during the reporting period. Do not report generation capacity that has been de-rated. | 0 | 0 | 0 | 0 | 0
23.03 | Explanatory Text. Provide any additional information if necessary. | No changes in LI.
Add Zone

## #24 Forecasted Demand
| Balancing Authority Area Respondent Name: | NYISO
Group 3: Metric #24 Forecasted Demand
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Forecasted Demand
24 | Capacity Zone Name | NYCA
24.01 | Demand in the Zone (time of initial auction) (MW). Total estimated coincident peak demand integrated over the hour needed for this zone at the time of the initial auction for the reporting period. Note that this load value is not weather-normalized and is the peak value assigned to that zone from the estimated region peak at the time of the initial auction. | 33666 | 33567 | 33359 | 33178 | 32903
24.02 | Peak Demand Realized in the Zone (during actual reporting period) (MW). Peak demand (not weather normalized) realized in this zone during the reporting period. | 29782 | 31139 | 32075 | 29699 | 31861
24.03 | Explanatory Text. Provide any additional information if necessary. | 24.01 from ICAP Automated Market System. 24.01 Forecasted loads assume no demand response impacts 24.02 Actual loads include the impacts of demand response programs 24.02 from 2020 Gold Book I-4a: Summer coincident peak demand NYCA
24 | Capacity Zone Name | GHIJ
24.01 | Demand in the Zone (time of initial auction) (MW). Total estimated coincident peak demand integrated over the hour needed for this zone at the time of the initial auction for the reporting period. Note that this load value is not weather-normalized and is the peak value assigned to that zone from the estimated region peak at the time of the initial auction. | 16291 | 16340 | 16309 | 16061 | 15918
24.02 | Peak Demand Realized in the Zone (during actual reporting period) (MW). Peak demand (not weather normalized) realized in this zone during the reporting period. | 14551 | 14778 | 15141 | 14774 | 15130
24.03 | Explanatory Text. Provide any additional information if necessary. | 24.01 from ICAP Automated Market System. 24.01 Forecasted loads assume no demand response impacts 24.02 Actual loads include the impacts of demand response programs 24.02 from 2020 Gold Book I-5: Baseline Peak Demand in G-to-J Locality
24 | Capacity Zone Name | NYC
24.01 | Demand in the Zone (time of initial auction) (MW). Total estimated coincident peak demand integrated over the hour needed for this zone at the time of the initial auction for the reporting period. Note that this load value is not weather-normalized and is the peak value assigned to that zone from the estimated region peak at the time of the initial auction. | 11783 | 11929 | 11794 | 11670 | 11539
24.02 | Peak Demand Realized in the Zone (during actual reporting period) (MW). Peak demand (not weather normalized) realized in this zone during the reporting period. | 10572 | 10586 | 10990 | 10671 | 11070
24.03 | Explanatory Text. Provide any additional information if necessary. | 24.01 from ICAP Automated Market System. 24.01 Forecasted loads assume no demand response impacts 24.02 Actual loads include the impacts of demand response programs 24.02 from 2020 Gold Book I-3a: Non-coincident summer peak demand NYC
24 | Capacity Zone Name | LI
24.01 | Demand in the Zone (time of initial auction) (MW). Total estimated coincident peak demand integrated over the hour needed for this zone at the time of the initial auction for the reporting period. Note that this load value is not weather-normalized and is the peak value assigned to that zone from the estimated region peak at the time of the initial auction. | 5496 | 5539 | 5479 | 5427 | 5376
24.02 | Peak Demand Realized in the Zone (during actual reporting period) (MW). Peak demand (not weather normalized) realized in this zone during the reporting period. | 5035 | 5236 | 5394 | 5121 | 5394
24.03 | Explanatory Text. Provide any additional information if necessary. | 24.01 from ICAP Automated Market System. 24.01 Forecasted loads assume no demand response impacts 24.02 Actual loads include the impacts of demand response programs 24.02 from 2020 Gold Book I-3a: Non-coincident summer peak demand LI Source Data: ICAP Automated Market System https://icap.nyiso.com/ucap/ldf_maintain_peakload_display.do NYISO Gold Book 2020 https://www.nyiso.com/documents/20142/2226333/2020-Gold-Book-Final-Public.pdf/9ff426ab-e325-28bc-97cf-106d792593a1?t=1588251915775
Add Zone
Add Zone
Add Zone

## #25 Capacity Procure
| Balancing Authority Area Respondent Name: | NYISO
Group 3: Metric #25 Capacity Market Procurement and Prices
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Capacity Market Procurement & Prices (RTO-wide) |  | NYCA | NYCA | NYCA | NYCA | NYCA
25 | Date That the Capacity Auction took Place (MM-YYYY). Enter the date that the initial capacity auction took place. | 2014-06-01 | 2015-06-01 | 2016-06-01 | 2017-06-01 | 2018-06-01
25.01 | Start Date of the Reporting Period of capacity auction (MM-YYYY). | 2014-07-01 | 2015-07-01 | 2016-07-01 | 2017-07-01 | 2018-07-01
25.02 | Total Capacity Offered into the Auction (RTO-wide) (MW). Enter the total capacity that offered into the entire RTO for the relevant reporting period. | 37411 | 38515.9 | 37903.5 | 38811.8 | 38187.6
25.03 | Total Capacity Cleared (RTO-wide) (MW). Enter the total capacity the cleared for the entire RTO during the relevant reporting period. | 37411 | 38490.5 | 37901.2 | 38811.8 | 38187.6
25.04 | Capacity Market Clearing Price (RTO-wide) ($/MW-day). Enter the RTO-wide clearing price for the relevant reporting. | 200.526 | 130.835 | 140.3682 | 74.2932 | 138.7245
25.05 | Explanatory Text. Provide any additional information if necessary. | Methodology July month is selected as the representative month due to July being the NYISO's summer peaking month. 25.00: July Spot Auction execution month 25.01: Delivery month 25.02/25.07: Average of total UCAP MW offered in capability year (Requirements + Excess + Unsold) 25.03/25.08: Average of total UCAP MW sold in capability year (Requirements + Excess) 25.04/25.09: Average of Spot Market Clearing Price in capability year, converted from kW/month to MW/day ($/kw-month) * (1000/30.42 (average amount of days in month)) 25.10: Sum of all bilateral MWs in month of July. MWs may be re-offered into NYISO administered auctions Source Data - https://www.nyiso.com/installed-capacity-market Monthly Reports - Monthly UCAP Reports - 2019 ICAP Market Report - December 2019
Capacity Market Procurement & Prices (Zonal)
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
25.06 | Capacity Zone Name | GHIJ | GHIJ | GHIJ | GHIJ | GHIJ
25.07 | Total Capacity Offered into the Auction (Zonal) (MW). Enter the total capacity that offered into each zone where price separation occurred for the relevant reporting period. | 13585.4 | 14722.5 | 14179.6 | 14420.2 | 14988.8
25.08 | Total Capacity Cleared (Zonal) (MW). Enter the total capacity that cleared in each zone where price separation occurred during the relevant reporting period. | 13585.4 | 14697.1 | 14179.6 | 14420.2 | 14988.8
25.09 | Capacity Market Clearing Prices (Zonal) ($/MW-day). Enter the clearing price for each zone where price separation occurred for the relevant reporting period. | 404.9967 | 274.8192 | 304.0763 | 320.5128 | 333.9908
25.1 | Amount of Capacity in this Zone in Bilateral Contracts, if Known (MW). Total capacity of bilateral contracts in this zone during the relevant period. | 3635.8 | 8697 | 9583 | 7683.9 | 9944.9
Capacity Market Procurement & Prices (Zonal)
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
25.06 | Capacity Zone Name | NYC | NYC | NYC | NYC | NYC
25.07 | Total Capacity Offered into the Auction (Zonal) (MW). Enter the total capacity that offered into each zone where price separation occurred for the relevant reporting period. | 9551.7 | 9715.1 | 9252.6 | 9902.7 | 9496.6
25.08 | Total Capacity Cleared (Zonal) (MW). Enter the total capacity that cleared in each zone where price separation occurred during the relevant reporting period. | 9551.7 | 9689.7 | 9252.6 | 9902.7 | 9496.6
25.09 | Capacity Market Clearing Prices (Zonal) ($/MW-day). Enter the clearing price for each zone where price separation occurred for the relevant reporting period. | 614.3984 | 501.6437 | 401.7094 | 324.1289 | 333.9908
25.1 | Amount of Capacity in this Zone in Bilateral Contracts, if Known (MW). Total capacity of bilateral contracts in this zone during the relevant period. | 13996.6 | 16590.1 | 13545.4 | 14741.2 | 14103.4
Capacity Market Procurement & Prices (Zonal)
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
25.06 | Capacity Zone Name | LI | LI | LI | LI | LI
25.07 | Total Capacity Offered into the Auction (Zonal) (MW). Enter the total capacity that offered into each zone where price separation occurred for the relevant reporting period. | 5675.7 | 5612.7 | 5689.4 | 5782.7 | 5740.6
25.08 | Total Capacity Cleared (Zonal) (MW). Enter the total capacity that cleared in each zone where price separation occurred during the relevant reporting period. | 5675.7 | 5612.7 | 5687.1 | 5782.7 | 5740.6
25.09 | Capacity Market Clearing Prices (Zonal) ($/MW-day). Enter the clearing price for each zone where price separation occurred for the relevant reporting period. | 212.3603 | 189.6778 | 143.6555 | 219.9211 | 219.5924
25.1 | Amount of Capacity in this Zone in Bilateral Contracts, if Known (MW). Total capacity of bilateral contracts in this zone during the relevant period. | 6066.5 | 6010.8 | 5858.7 | 5971.9 | 5881.6
Add Zone

## #26 Capacity Obligation
| Balancing Authority Area Respondent Name: | NYISO
Group 3: Metric #26 Capacity Obligations and Performance Assessment Events
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Capacity Obligations (RTO-wide)
26 | Total Capacity with Capacity Obligation (RTO-wide) (MW). Enter the cleared capacity eligible for bonus payments or subject to penalties for the entire RTO during the reporting period. | NA | NA | NA | NA | NA
26.01 | Total Number of Performance Assessment Events (RTO-wide) (Integer). | NA | NA | NA | NA | NA
26.02 | Total Duration of Performance Assessment Events (RTO-wide) (Hours). | NA | NA | NA | NA | NA
26.03 | Explanatory Text. Provide any additional information if necessary. | The NYISO doesn’t provide bonus payments for capacity eligibility, therefore this metric is not applicable
Capacity Obligations (Zonal)
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
26.04 | Capacity Zone Name
26.05 | Total Capacity with Capacity Obligations (Zonal) (MW). Enter the cleared capacity eligible for bonus payments or subject to penalties for the zone during the reporting period. | NA | NA | NA | NA | NA
26.06 | Total Number of Performance Assessment Events (Zonal) (Integer). | NA | NA | NA | NA | NA
26.07 | Total Duration of Performance Assessment Events (Zonal) (Hours). | NA | NA | NA | NA | NA
Add Zone

## #27 Over Perform
| Balancing Authority Area Respondent Name: | NYISO
Group 3: Metric #27 Capacity Over-Performance
Equation 1.
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Capacity Eligible for Bonus Payments for Over-Performance (RTO-wide)
27 | Total Number of Units That Over-Performed During Assessment Events (RTO-wide) (Integer). | NA | NA | NA | NA | NA
27.01 | Weighted Average Capacity that Over-Performed During Assessment Events (RTO-wide) (MW). See Equation 1. | NA | NA | NA | NA | NA
27.02 | Explanatory Text. Provide any additional information if necessary. | The NYISO does not perform "assessment events" therefore, this metrics is not applicable.
Capacity Eligible for Bonus Payments for Over-Performance (Zonal)
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
27.03 | Capacity Zone Name
27.04 | Total Number of Units That Over-Performed During Assessment Events (Zonal) (Integer). | NA | NA | NA | NA | NA
27.05 | Weighted Average Capacity that Over-Performed During Assessment Events (Zonal) (MW). See Equation 1. | NA | NA | NA | NA | NA
Add Zone
(∑24_(𝑠=1)^𝑛▒(𝐶_𝑠∗𝑇_𝑠 ) )/(∑24_(𝑠=1)^𝑛▒𝑇_𝑆 )
𝑇_𝑠=𝐷𝑢𝑟𝑎𝑡𝑖𝑜𝑛 𝑜𝑓 𝐸𝑣𝑒𝑛𝑡 𝑠
𝐶_𝑆=𝐴𝑣𝑒𝑟𝑎𝑔𝑒 𝐶𝑎𝑝𝑎𝑐𝑖𝑡𝑦 𝑂𝑣𝑒𝑟−𝑝𝑒𝑟𝑓𝑜𝑟𝑚𝑎𝑛𝑐𝑒 𝑑𝑢𝑟𝑖𝑛𝑔 𝐸𝑣𝑒𝑛𝑡 𝑠

## #28 Under Perform
| Balancing Authority Area Respondent Name: | NYISO
Group 3: Metric #28 Capacity Under-Performance
Equation 1.
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Capacity Facing Penalty Payments for Under-Performance (RTO-wide)
28 | Total Number of Units That Under-Performed During Assessment Events (RTO-wide) (Integer). | NA | NA | NA | NA | NA
28.01 | Weighted Average Capacity that Under-Performed During Assessment Events (RTO-wide) (MW). See Equation 1. | NA | NA | NA | NA | NA
28.02 | Explanatory Text. Provide any additional information if necessary. | The NYISO does not perform "assessment events" therefore, this metrics is not applicable.
Capacity Facing Penalty Payments for Under-Performance (Zonal)
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
28.03 | Capacity Zone Name
28.04 | Total Number of Units That Under-Performed During Assessment Events (RTO-wide) (Integer). | NA | NA | NA | NA | NA
28.05 | Weighted Average Capacity that Under-Performed During Assessment Events (RTO-wide) (MW). See Equation 1. | NA | NA | NA | NA | NA
Add Zone
(∑24_(𝑠=1)^𝑛▒(𝐶_𝑠∗𝑇_𝑠 ) )/(∑24_(𝑠=1)^𝑛▒𝑇_𝑆 )
𝑇_𝑠=𝐷𝑢𝑟𝑎𝑡𝑖𝑜𝑛 𝑜𝑓 𝐸𝑣𝑒𝑛𝑡 𝑠
𝐶_𝑆=𝐴𝑣𝑒𝑟𝑎𝑔𝑒 𝐶𝑎𝑝𝑎𝑐𝑖𝑡𝑦 𝑈𝑛𝑑𝑒𝑟−𝑝𝑒𝑟𝑓𝑜𝑟𝑚𝑎𝑛𝑐𝑒 𝑑𝑢𝑟𝑖𝑛𝑔 𝐸𝑣𝑒𝑛𝑡 𝑠

## #29 Total Bonus
| Balancing Authority Area Respondent Name: | NYISO
Group 3: Metric #29 Total Capacity Bonus Payments and Penalties
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Total Capacity Bonus Payments and Penalties (RTO-wide)
29 | Total Bonus Payments for Over-Performance (RTO-wide) ($). | NA | NA | NA | NA | NA
29.01 | Total Penalties Charged for Under-Performance (RTO-wide) ($). | NA | NA | NA | NA | NA
29.02 | Total Capacity that Under-Performed (RTO-wide) (Integer). (Automatically copied from Metric #28.01) | NA | NA | NA | NA | NA
29.03 | Total Capacity with Supply Obligations (RTO-wide) (Integer). (Automatically copied from Metric #26.00) | NA | NA | NA | NA | NA
29.04 | Fraction of Capacity That did not Meet its Obligation (%). The spreadsheet will calculate the ratio by dividing the total capacity that did not meet its obligations by the total obligation. (Automatically calculated) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
29.05 | Explanatory Text. Provide any additional information if necessary. | The NYISO does not issue capacity based bonus payments or penalties.
Total Capacity Bonus Payments and Penalties (Zonal)
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
29.06 | Capacity Zone Name
29.07 | Total Bonus Payments for Over-Performance (Zonal) ($). | NA | NA | NA | NA | NA
29.08 | Total Penalties Charged for Under-Performance (Zonal) ($). | NA | NA | NA | NA | NA
Add Zone