## Sheet1
CENTRAL HUDSON GAS & ELECTRIC CORPORATION
FERC Docket No. ER20-715-001
CH-1.4 Attachment 1
[10 empty] | Annual | Full COR | Annual | Full COR
[9 empty] | COR | Cost of Removal | to be Collected | Cost of Removal | to be Collected
Description of Material | Account | ASL | Total Cost | OH's | Labor | Cost w/OH | Contingency (4%) | Total Cost | Rate | over ASL | over ASL | over 40 Years | over 40 Years
Package Substation: | 135311 | 53 | 800000 | 96838 | 42851 | 939689 | 37927.0609 | 977616.0609 | 0.3774% | 3689.523 | 195544.7197 | 4888.618 | 195544.7197
345kV Circuit Breaker | 135311 | 53 | 260000 | 31472 | 18568 | 310040 | 12513.6146 | 322553.6146 | 0.3774% | 1217.3173 | 64517.8191 | 1612.9455 | 64517.8191
Control & Power Cable | 135311 | 53 | 160000 | 19368 | 5562 | 184930 | 7464.0135 | 192394.0135 | 0.3774% | 726.095 | 38483.0354 | 962.0759 | 38483.0354
Contracts | 135311 | 53 | 1065000 | 128916 |  | 1193916 | 48187.9907 | 1242103.9907 | 0.3774% | 4687.7005 | 248448.1244 | 6211.2031 | 248448.1244
Engineering & Design | 135311 | 53 | 0 | 0 | 630971 | 630971 | 25466.8039 | 656437.8039 | 0.3774% | 2477.3963 | 131302.0024 | 3282.5501 | 131302.0024
Subtotal 135311 |  |  | 2285000 |  |  | 3259546 | 131559.4836 | 3391105.4836 |  | 12798.0321 | 678295.701 | 16957.3925 | 678295.701
Site Work Contract: | 135200 | 80 | 2800000 | 338934 |  | 3138934 | 126691.4276 | 3265625.4276 | 0.125% | 4082.0318 | 326562.5428 | 8164.0636 | 326562.5428
Transmission (90%) | 135510 | 55 | 1350000 | 163414.8 |  | 1513414.8 | 61083.3747 | 1574498.1747 | 0.9091% | 14313.7629 | 787256.9598 | 19681.424 | 787256.9598
Transmission (10%) | 135610 | 70 | 150000 | 18157.2 |  | 168157.2 | 6787.0416 | 174944.2416 | 0.5% | 874.7212 | 61230.4846 | 1530.7621 | 61230.4846
Smart Wires Devices | 135XXX | 40 | 9350000 | 1131797 | 667764 | 11149561 | 450010.6725 | 11599571.6725 | 0.25% | 28998.9292 | 1159957.1673 | 28998.9292 | 1159957.1673
Total |  |  | 15935000 |  |  | 19229613 | 776132 | 20005745 |  | 61067.4772 | 3013302.8554 | 75332.5714 | 3013302.8554
* 40 year life based on manufacturer specs for the major components. COR rate of .25% based on the Net Salvage % used for transformers.