- 40.25.10	APPENDIX 10 TO ATTACHMENT HH

- CERTIFICATION CODES AND STANDARDS

- IEEE1547 Standard for Interconnecting Distributed Resources with Electric Power Systems (including use of IEEE 1547.1 testing protocols to establish conformity)

- UL 1741 Inverters, Converters, and Controllers for Use in Independent Power Systems

- IEEE Std 929-2000 IEEE Recommended Practice for Utility Interface of Photovoltaic (PV) Systems

- NFPA 70 (2002), National Electrical Code

- IEEE Std C37.90.l-1989 (R1994), IEEE Standard Surge Withstand Capability (SWC) Tests for Protective Relays and Relay Systems

- IEEE Std C37.90.2 (1995), IEEE Standard Withstand Capability of Relay Systems to Radiated Electromagnetic Interference from Transceivers

- IEEE Std C37.108-1989 (R2002), IEEE Guide for the Protection of Network Transformers

- IEEE Std C57.12.44-2000, IEEE Standard Requirements for Secondary Network Protectors

- IEEE Std C62.41.2-2002, IEEE Recommended Practice on Characterization of Surges in Low Voltage (1000V and Less) AC Power Circuits

- IEEE Std C62.45-l992 (R2002), IEEE Recommended Practice on Surge Testing for Equipment Connected to Low-Voltage (1000V and Less) AC Power Circuits

- ANSI C84.1-1995 Electric Power Systems and Equipment – Voltage Ratings (60 Hertz)

- IEEE Std 100-2000, IEEE Standard Dictionary of Electrical and Electronic Terms
NEMA MG 1-1998, Motors and Small Resources, Revision 3

- IEEE Std 519-1992, IEEE Recommended Practices and Requirements for Harmonic Control in Electrical Power Systems

- NEMA MG 1-2003 (Rev 2004), Motors and Generators, Revision 1