**40.25.10 APPENDIX 10 TO ATTACHMENT HH**

**CERTIFICATION CODES AND STANDARDS**

* IEEE1547 Standard for Interconnecting Distributed Resources with Electric Power Systems (including use of IEEE 1547.1 testing protocols to establish conformity)
* UL 1741 Inverters, Converters, and Controllers for Use in Independent Power Systems
* IEEE Std 929-2000 IEEE Recommended Practice for Utility Interface of Photovoltaic (PV) Systems
* NFPA 70 (2002), National Electrical Code
* IEEE Std C37.90.l-1989 (R1994), IEEE Standard Surge Withstand Capability (SWC) Tests for Protective Relays and Relay Systems
* IEEE Std C37.90.2 (1995), IEEE Standard Withstand Capability of Relay Systems to Radiated Electromagnetic Interference from Transceivers
* IEEE Std C37.108-1989 (R2002), IEEE Guide for the Protection of Network Transformers
* IEEE Std C57.12.44-2000, IEEE Standard Requirements for Secondary Network Protectors
* IEEE Std C62.41.2-2002, IEEE Recommended Practice on Characterization of Surges in Low Voltage (1000V and Less) AC Power Circuits
* IEEE Std C62.45-l992 (R2002), IEEE Recommended Practice on Surge Testing for Equipment Connected to Low-Voltage (1000V and Less) AC Power Circuits
* ANSI C84.1-1995 Electric Power Systems and Equipment – Voltage Ratings (60 Hertz)
* IEEE Std 100-2000, IEEE Standard Dictionary of Electrical and Electronic Terms  
  NEMA MG 1-1998, Motors and Small Resources, Revision 3
* IEEE Std 519-1992, IEEE Recommended Practices and Requirements for Harmonic Control in Electrical Power Systems
* NEMA MG 1-2003 (Rev 2004), Motors and Generators, Revision 1