## 15.3A Rate Schedule “3-A” -Charges Applicable to Suppliers That Are Not Providing Regulation Service

### 15.3A.1 Persistent Undergeneration Charges

A Supplier, other than a Supplier exempted in Section 15.3A.2 of this Rate Schedule, that is not providing Regulation Service, and persistently operates at a level below its schedule to provide Energy shall pay a persistent undergeneration charge to the ISO, unless its operation is within a tolerance described below, provided, however, no persistent undergeneration charges shall apply to a Fixed Block Unit that has reached a percentage of its Normal Upper Operating Limit, which percentage shall be set pursuant to ISO Procedures and shall be initially set at seventy percent (70%). Persistent undergeneration charges per interval shall be calculated as follows:

Persistent undergeneration charge = Energy Difference x Max (MPRCDAM, MPRCRT) x Length of Interval in seconds/3600 seconds

Where:

Energy Difference in (MW) is determined by subtracting the actual Energy provided by the Supplier from its RTD Base Point Signal for the dispatch interval. The Energy Difference shall be set at zero for any Energy Difference that is otherwise negative or that falls within a tolerance, set pursuant to ISO Procedures, and which shall contain a steady-state and a dynamic component. The steady-state component shall initially be 3% of the Supplier’s Normal Upper Operating Limit or Emergency Upper Operating Limit, as applicable, and the dynamic component shall be a time constant that shall initially be set at fifteen minutes;

MPRCDAM is the Regulation Capacity Market Price in the Day-Ahead Market; and

MPRCRT is the Regulation Capacity Market Price in the Real-Time Market.

#### 15.3A.1.1 Overgeneration Charges

An Intermittent Power Resource that depends on wind or solar energy as its fuel, for which the ISO has imposed a Wind and Solar Output Limit, that operates at a level above its schedule shall pay an overgeneration charge to the ISO, unless its operation is within a tolerance described below.

An Intermittent Power Resource that depends on landfill gas as its fuel, or a Limited Control Run-of-River Hydro Resource that participates in the ISO-Administered Markets as part of a Co-located Storage Resource, for which the ISO has imposed a Wind and Solar Output Limit, that operates at a level above its schedule shall pay an overgeneration charge to the ISO, unless the Resource’s operation is within a tolerance described below.

A Hybrid Storage Resource that is not providing Regulation Service, that is scheduled to inject Energy, and that operates at a level above its schedule shall pay an overgeneration charge to the ISO, unless its operation is within a tolerance described below.Overgeneration charges per interval shall be calculated as follows:

Overgeneration charge = Energy Difference x Max (MPRCDAM, MPRCRT) x Length of Interval in seconds/3600 seconds

Where:

Energy Difference in (MW) is determined by subtracting the RTD Base Point Signal for the dispatch interval from the actual Energy provided by the Resource for the same interval. The Energy Difference shall be set at zero for any Energy Difference that is otherwise negative or that falls within a tolerance, set pursuant to ISO Procedures, which shall initially be set at 3% of the Resources’ Normal Upper Operating Limit or Emergency Upper Operating Limit, as applicable;

MPRCDAM is the Regulation Capacity Market Price in the Day-Ahead Market; and

MPRCRT is the Regulation Capacity Market Price in the Real-Time Market

15.3A.1.2 Persistent Over-Withdrawal Charges

An Energy Storage Resource, a Hybrid Storage Resource, an Aggregation of Energy Storage Resources, or DER Aggregation that includes at least one Withdrawal-Eligible Generator that is (a) scheduled to withdraw Energy, (b) not providing Regulation Services, and (c) persistently withdrawing Energy at a level exceeding its withdrawal schedule, shall pay a persistent over-withdrawal charge to the ISO unless its operation is within the applicable tolerance described below. Persistent over-withdrawal charges per interval shall be calculated as follows:

Persistent Over-Withdrawal Charge = Energy Difference x Max (MPRCDAM, MPRCRT) x Length of Interval in seconds/3600 seconds

Where:

Energy Difference in (MW) is determined by subtracting the Resource’s actual energy operating level from its RTD Base Point Signal. The Energy Difference shall be set at zero for any Energy Difference that is otherwise negative or that falls within a tolerance, set pursuant to ISO Procedures, and which shall contain a steady-state and a dynamic component. The steady-state component shall initially be an absolute value of 3% of the Resource’s Maximum Withdrawal Limit, as applicable, and the dynamic component shall be a time constant that shall initially be set at fifteen minutes;

MPRCDAM is the Regulation Capacity Market Price in the Day-Ahead Market; and

MPRCRT is the Regulation Capacity Market Price in the Real-Time Market.

### 15.3A.2 Exemptions

The following types of Generator shall not be subject to persistent undergeneration charges:

15.3A.2.1 Generators, except for the Generator of a Behind-the-Meter Net Generation Resource and a Generator in an Aggregation, providing Energy under contracts (including PURPA contracts), executed and effective on or before November 18, 1999, in which the power purchaser does not control the operation of the supply source but would be responsible for payment of the persistent undergeneration or performance charge;

15.3A.2.2 Existing topping turbine Generators and extraction turbine Generators producing electric Energy resulting from the supply of steam to the district steam system in operation on or before November 18, 1999 and/or Generators utilized in replacing or repowering existing steam supplies from such units (in accordance with good engineering and economic design) that cannot follow schedules, up to a maximum total of 533 MW of such units;

15.3A.2.3 Limited Control Run of River Hydro Resources;

15.3A.2.4 Intermittent Power Resources and Aggregations of Intermittent Power Resources that depend on landfill gas as their fuel;

15.3A.2.5 Intermittent Power Resources and Aggregations of Intermittent Power Resources that depend on wind or solar energy as their fuel;

15.3A.2.6 Prior to the Capability Period beginning May 1, 2025, Capacity Limited Resources, Aggregations of Capacity Limited Resources, Energy Limited Resources and Aggregations of Capacity Limited Resources, to the extent that their real-time Energy injections are equal to or greater than their bid-in upper operating limits but are less than their Real-Time Scheduled Energy Injections. Beginning with the Capability Period beginning May 1, 2025, Energy Limited Resources to the extent that their real-time Energy injections are equal to or greater than their bid-in upper operating limits but are less than their Real-Time Scheduled Energy Injections;

15.3A.2.7 Generators operating in their Start-Up Period or their Shutdown Period and, for Generators comprised of a group of generating units at a single location, which grouped generating units are separately committed and dispatched by the ISO, and for which Energy injections are measured at a single location, each of the grouped generating units when one of the grouped generating units is operating in its Start-Up or Shutdown Period; and

15.3A.2.8 Generators operating during a Testing Period.

15.3A.2.9 Energy Storage Resources and Hybrid Storage Resources with schedules to withdraw Energy are instead subject to persistent over-withdrawal charges.

For Generators and Resources described in Sections 15.3A.2.1, 15.3A.2.2, 15.3A.2.3, and 15.3A.2.4 above, this exemption shall not apply in an hour if the Generator or Resource has bid in that hour as ISO-Committed Flexible or Self-Committed Flexible.