## 5.6 Requirements For Inclusion Within The New York Control Area

To be included within the NYCA a Supplier or a Load must meet the following requirements:

(a) Its facilities must be included within the NYCA.

(b) It must accept and comply with NYCA standards with respect to system design, equipment ratings, operating practices and maintenance practices as set forth in the ISO Procedures so that sufficient electrical equipment control capability, information and communication are available to the ISO for planning and operation of the NYCA.

(c) Its facilities must be able to respond to command and control instructions from the ISO.

(d) It must have compatible operational communication mechanisms, maintained at its expense, to interact with the ISO and for Internal requirements.

(e) It must ensure the continued compatibility of its local Energy management system, system monitoring and telecommunications systems to satisfy the technical requirements of interacting with the ISO as the ISO directs the operation of the NYCA.