## 3.16	Metering and Power Factor Correction at Receipt and Delivery Point(s)

### 3.16.1	Transmission Customer Obligations:

Unless otherwise agreed, the Transmission Customer shall be responsible for installing and maintaining compatible metering and communications equipment to accurately account for the Capacity and Energy being transmitted under Part 3 of this Tariff and to communicate the information to the Transmission Owner and the ISO.  Such equipment shall remain the property of the Transmission Customer.

### 3.16.2	Access to Metering Data:

The ISO and Transmission Owner shall have access to metering data, which may reasonably be required to maintain reliability and to facilitate measurements and billing under the Service Agreement.

### 3.16.3	Power Factor:

Unless otherwise agreed, the Transmission Customer is required to maintain a power factor within the same range as the Transmission Owner pursuant to Good Utility Practices.  The power factor requirements are specified in the Service Agreement where applicable.